## Engineers Estimate
ENGINEER'S ESTIMATE
Adak Airport Lighting Replacement Rebid
N/A /58433
Last Modified: 1/9/2008
Item Number | Pay Item | Pay Unit | Unit Price | Plan Quantity | Plan Amount
Basic Bid
G-100a | Mobilization and Demobilization | Lump Sum | All Req'd | All Req'd | 450000
G-115a | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 75000
G-135a | Construction Surveying by the Contractor | Lump Sum | All Req'd | All Req'd | 35000
G-135b | Extra Three Person Survey Party | Hour | 400 | 30 | 12000
G-300a | CPM Scheduling | Lump Sum | All Req'd | All Req'd | 5000
L-100b | Regulator, L-828 | Each | 18000 | 5 | 90000
L-100e | Taxiway Edge Light, L-861T | Each | 5000 | 10 | 50000
L-100f | Wind Cone Handhole, L-867, Size D | Each | 780 | 3 | 2340
L-100n | Airport Sign, Type L-858 | Each | 10700 | 17 | 181900
L-100ag(1) | Handhole Cover Only | Each | 2300 | 19 | 43700
L-107a | 8-foot Lighted Wind Cone, in place | Each | 21600 | 1 | 21600
L-108a | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 4.5 | 16300 | 73350
L-108c | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 3100 | 8680
L-108g | Ground Rod | Each | 500 | 3 | 1500
L-108h | Underground Cable #14 AWG, 2-Conductor, Copper, 600V, Type "SOOW-A/SOOW" | Linear Foot | 7.5 | 1100 | 8250
L-109c | Electrical Enclosure and Foundation in Place | Each | 77300 | 1 | 77300
L-109d | Installation of Electrical Equipment in New or Existing Structure | Each | 92300 | 1 | 92300
L-110c | 2-inch PVC Conduit | Linear Foot | 27 | 2000 | 54000
L-110g | 2-inch PE Conduit | Linear Foot | 27 | 700 | 18900
L-110u | Cleaning of Existing Ducts | Linear Foot | 5 | 6300 | 31500
L-119a | Obstruction Light | Each | 8000 | 1 | 8000
P-151c | Clearing & Grubbing | Acre | 5000 | 0.7 | 3500
P-152h(2) | Borrow Measured in Final Position | Cubic Yard | 35 | 2870 | 100450
P-154a | Subbase Course | Cubic Yard | 100 | 440 | 44000
P-157a | Erosion and Pollution Control Administration | Lump Sum | All Req'd | All Req'd | 10000
P-157b | Temporary Erosion and Pollution Control | Contingent Sum | All Req'd | All Req'd | 15000
P-157e | Erosion and Pollution Control Price Adjustment | Contingent Sum | All Req'd | All Req'd | 0
P-208a | Crushed Aggregate Surface Course | Cubic Yard | 300 | 65 | 19500
P-640b | Segmented Circle (Panel-Type) | Lump Sum | All Req'd | All Req'd | 40000
P-670a | Hazard Marker Barrier, Timber | Each | 750 | 20 | 15000
P-680a | Silt Fence | Linear Foot | 10 | 1600 | 16000
U-500b | Electrical Line Extension | Lump Sum | All Req'd | All Req'd | 51200
Additive Alternate #1
G-115a.1 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 5500
L-145a.1 | Standby Generator and Enclosure | Lump Sum | All Req'd | All Req'd | 175000
Additive Alternate #2
G-115a.2 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 1000
L-100f.2 | Wind Cone Handhole, L-867, Size D | Each | 780 | 2 | 1560
L-107a.2 | 8-foot Lighted Wind Cone, in place | Each | 1500 | 1 | 1500
L-108c.2 | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 300 | 840
L-108e.2 | Underground Cable #8 AWG, Copper, 600 V, Type "C", L-824 | Linear Foot | 4.5 | 600 | 2700
L-108g.2 | Ground Rod | Each | 500 | 1 | 500
L-110g.2 | 2-inch PE Conduit | Linear Foot | 27 | 300 | 8100
P-680a.2 | Silt Fence | Linear Foot | 10 | 140 | 1400
P-684a.2 | Floating Silt Curtain | Linear Foot | 150 | 90 | 13500
Additive Alternate #3
G-115a.3 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 2000
L-100f.3 | Wind Cone Handhole, L-867, Size D | Each | 780 | 3 | 2340
L-107a.3 | 8-foot Lighted Wind Cone, in place | Each | 18600 | 1 | 18600
L-108a.3 | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 4.5 | 3400 | 15300
L-108c.3 | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 1700 | 4760
L-108g.3 | Ground Rod | Each | 500 | 1 | 500
L-110g.3 | 2-inch PE Conduit | Linear Foot | 27 | 800 | 21600

## Bid Comparison
Bid Comparison
Adak Airport Lighting Replacement Rebid
N/A /58433
Bids Opened: 2/22/2008
Item Number | Pay Item | Pay Unit | Unit Price | Plan Quantity | Plan Amount | (+/-)%
Basic Bid
G-100a | Mobilization and Demobilization | Lump Sum | All Req'd | All Req'd | 450000
1 | LAKLOEY, INC. |  |  |  | 550000 | 22.22%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 1006000 | 123.6%
G-115a | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 75000
1 | LAKLOEY, INC. |  |  |  | 100000 | 33.33%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 100000 | 33.33%
G-135a | Construction Surveying by the Contractor | Lump Sum | All Req'd | All Req'd | 35000
1 | LAKLOEY, INC. |  |  |  | 79000 | 125.7%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 65000 | 85.71%
G-135b | Extra Three Person Survey Party | Hour | 400 | 30 | 12000
1 | LAKLOEY, INC. |  | 400 |  | 12000 | 0%
2 | BERING PACIFIC CONSTRUCTION |  | 200 |  | 6000 | -50%
G-300a | CPM Scheduling | Lump Sum | All Req'd | All Req'd | 5000
1 | LAKLOEY, INC. |  |  |  | 5000 | 0%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 5000 | 0%
L-100b | Regulator, L-828 | Each | 18000 | 5 | 90000
1 | LAKLOEY, INC. |  | 20000 |  | 100000 | 11.11%
2 | BERING PACIFIC CONSTRUCTION |  | 17000 |  | 85000 | -5.556%
L-100e | Taxiway Edge Light, L-861T | Each | 5000 | 10 | 50000
1 | LAKLOEY, INC. |  | 2000 |  | 20000 | -60%
2 | BERING PACIFIC CONSTRUCTION |  | 800 |  | 8000 | -84%
L-100f | Wind Cone Handhole, L-867, Size D | Each | 780 | 3 | 2340
1 | LAKLOEY, INC. |  | 3000 |  | 9000 | 284.6%
2 | BERING PACIFIC CONSTRUCTION |  | 1500 |  | 4500 | 92.31%
L-100n | Airport Sign, Type L-858 | Each | 10700 | 17 | 181900
1 | LAKLOEY, INC. |  | 10000 |  | 170000 | -6.542%
2 | BERING PACIFIC CONSTRUCTION |  | 18000 |  | 306000 | 68.22%
L-100ag(1) | Handhole Cover Only | Each | 2300 | 19 | 43700
1 | LAKLOEY, INC. |  | 1200 |  | 22800 | -47.83%
2 | BERING PACIFIC CONSTRUCTION |  | 2500 |  | 47500 | 8.696%
L-107a | 8-foot Lighted Wind Cone, in place | Each | 21600 | 1 | 21600
1 | LAKLOEY, INC. |  | 32000 |  | 32000 | 48.15%
2 | BERING PACIFIC CONSTRUCTION |  | 20000 |  | 20000 | -7.407%
L-108a | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 4.5 | 16300 | 73350
1 | LAKLOEY, INC. |  | 8 |  | 130400 | 77.78%
2 | BERING PACIFIC CONSTRUCTION |  | 5 |  | 81500 | 11.11%
L-108c | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 3100 | 8680
1 | LAKLOEY, INC. |  | 8 |  | 24800 | 185.7%
2 | BERING PACIFIC CONSTRUCTION |  | 3 |  | 9300 | 7.143%
L-108g | Ground Rod | Each | 500 | 3 | 1500
1 | LAKLOEY, INC. |  | 600 |  | 1800 | 20%
2 | BERING PACIFIC CONSTRUCTION |  | 300 |  | 900 | -40%
L-108h | Underground Cable #14 AWG, 2-Conductor, Copper, 600V, Type "SOOW-A/SOOW" | Linear Foot | 7.5 | 1100 | 8250
1 | LAKLOEY, INC. |  | 25 |  | 27500 | 233.3%
2 | BERING PACIFIC CONSTRUCTION |  | 9 |  | 9900 | 20%
L-109c | Electrical Enclosure and Foundation in Place | Each | 77300 | 1 | 77300
1 | LAKLOEY, INC. |  | 120000 |  | 120000 | 55.24%
2 | BERING PACIFIC CONSTRUCTION |  | 55000 |  | 55000 | -28.85%
L-109d | Installation of Electrical Equipment in New or Existing Structure | Each | 92300 | 1 | 92300
1 | LAKLOEY, INC. |  | 80000 |  | 80000 | -13.33%
2 | BERING PACIFIC CONSTRUCTION |  | 50000 |  | 50000 | -45.83%
L-110c | 2-inch PVC Conduit | Linear Foot | 27 | 2000 | 54000
1 | LAKLOEY, INC. |  | 100 |  | 200000 | 270.4%
2 | BERING PACIFIC CONSTRUCTION |  | 130 |  | 260000 | 381.5%
L-110g | 2-inch PE Conduit | Linear Foot | 27 | 700 | 18900
1 | LAKLOEY, INC. |  | 40 |  | 28000 | 48.15%
2 | BERING PACIFIC CONSTRUCTION |  | 15 |  | 10500 | -44.44%
L-110u | Cleaning of Existing Ducts | Linear Foot | 5 | 6300 | 31500
1 | LAKLOEY, INC. |  | 8.5 |  | 53550 | 70%
2 | BERING PACIFIC CONSTRUCTION |  | 12 |  | 75600 | 140%
L-119a | Obstruction Light | Each | 8000 | 1 | 8000
1 | LAKLOEY, INC. |  | 15000 |  | 15000 | 87.5%
2 | BERING PACIFIC CONSTRUCTION |  | 24000 |  | 24000 | 200%
P-151c | Clearing & Grubbing | Acre | 5000 | 0.7 | 3500
1 | LAKLOEY, INC. |  | 11500 |  | 8050 | 130%
2 | BERING PACIFIC CONSTRUCTION |  | 3000 |  | 2100 | -40%
P-152h(2) | Borrow Measured in Final Position | Cubic Yard | 35 | 2870 | 100450
1 | LAKLOEY, INC. |  | 58 |  | 166460 | 65.71%
2 | BERING PACIFIC CONSTRUCTION |  | 48 |  | 137760 | 37.14%
P-154a | Subbase Course | Cubic Yard | 100 | 440 | 44000
1 | LAKLOEY, INC. |  | 120 |  | 52800 | 20%
2 | BERING PACIFIC CONSTRUCTION |  | 48 |  | 21120 | -52%
P-157a | Erosion and Pollution Control Administration | Lump Sum | All Req'd | All Req'd | 10000
1 | LAKLOEY, INC. |  |  |  | 5000 | -50%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 7800 | -22%
P-157b | Temporary Erosion and Pollution Control | Contingent Sum | All Req'd | All Req'd | 15000
1 | LAKLOEY, INC. |  |  |  | 15000 | 0%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 15000 | 0%
P-157e | Erosion and Pollution Control Price Adjustment | Contingent Sum | All Req'd | All Req'd | 0
1 | LAKLOEY, INC. |  |  |  | 0
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 0
P-208a | Crushed Aggregate Surface Course | Cubic Yard | 300 | 65 | 19500
1 | LAKLOEY, INC. |  | 300 |  | 19500 | 0%
2 | BERING PACIFIC CONSTRUCTION |  | 200 |  | 13000 | -33.33%
P-640b | Segmented Circle (Panel-Type) | Lump Sum | All Req'd | All Req'd | 40000
1 | LAKLOEY, INC. |  |  |  | 55600 | 39%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 65000 | 62.5%
P-670a | Hazard Marker Barrier, Timber | Each | 750 | 20 | 15000
1 | LAKLOEY, INC. |  | 700 |  | 14000 | -6.667%
2 | BERING PACIFIC CONSTRUCTION |  | 500 |  | 10000 | -33.33%
P-680a | Silt Fence | Linear Foot | 10 | 1600 | 16000
1 | LAKLOEY, INC. |  | 10 |  | 16000 | 0%
2 | BERING PACIFIC CONSTRUCTION |  | 7 |  | 11200 | -30%
U-500b | Electrical Line Extension | Lump Sum | All Req'd | All Req'd | 51200
1 | LAKLOEY, INC. |  |  |  | 51000 | -0.3906%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 35000 | -31.64%
Additive Alternate #1
G-115a.1 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 5500
1 | LAKLOEY, INC. |  |  |  | 5000 | -9.091%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 3000 | -45.45%
L-145a.1 | Standby Generator and Enclosure | Lump Sum | All Req'd | All Req'd | 175000
1 | LAKLOEY, INC. |  |  |  | 340000 | 94.29%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 199000 | 13.71%
Additive Alternate #2
G-115a.2 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 1000
1 | LAKLOEY, INC. |  |  |  | 7700 | 670%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 4200 | 320%
L-100f.2 | Wind Cone Handhole, L-867, Size D | Each | 780 | 2 | 1560
1 | LAKLOEY, INC. |  | 1500 |  | 3000 | 92.31%
2 | BERING PACIFIC CONSTRUCTION |  | 1400 |  | 2800 | 79.49%
L-107a.2 | 8-foot Lighted Wind Cone, in place | Each | 1500 | 1 | 1500
1 | LAKLOEY, INC. |  | 16000 |  | 16000 | 966.7%
2 | BERING PACIFIC CONSTRUCTION |  | 20000 |  | 20000 | 1233%
L-108c.2 | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 300 | 840
1 | LAKLOEY, INC. |  | 10 |  | 3000 | 257.1%
2 | BERING PACIFIC CONSTRUCTION |  | 2.5 |  | 750 | -10.71%
L-108e.2 | Underground Cable #8 AWG, Copper, 600 V, Type "C", L-824 | Linear Foot | 4.5 | 600 | 2700
1 | LAKLOEY, INC. |  | 10 |  | 6000 | 122.2%
2 | BERING PACIFIC CONSTRUCTION |  | 4 |  | 2400 | -11.11%
L-108g.2 | Ground Rod | Each | 500 | 1 | 500
1 | LAKLOEY, INC. |  | 400 |  | 400 | -20%
2 | BERING PACIFIC CONSTRUCTION |  | 250 |  | 250 | -50%
L-110g.2 | 2-inch PE Conduit | Linear Foot | 27 | 300 | 8100
1 | LAKLOEY, INC. |  | 50 |  | 15000 | 85.19%
2 | BERING PACIFIC CONSTRUCTION |  | 16 |  | 4800 | -40.74%
P-680a.2 | Silt Fence | Linear Foot | 10 | 140 | 1400
1 | LAKLOEY, INC. |  | 11 |  | 1540 | 10%
2 | BERING PACIFIC CONSTRUCTION |  | 5 |  | 700 | -50%
P-684a.2 | Floating Silt Curtain | Linear Foot | 150 | 90 | 13500
1 | LAKLOEY, INC. |  | 200 |  | 18000 | 33.33%
2 | BERING PACIFIC CONSTRUCTION |  | 65 |  | 5850 | -56.67%
Additive Alternate #3
G-115a.3 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 2000
1 | LAKLOEY, INC. |  |  |  | 8500 | 325%
2 | BERING PACIFIC CONSTRUCTION |  |  |  | 8000 | 300%
L-100f.3 | Wind Cone Handhole, L-867, Size D | Each | 780 | 3 | 2340
1 | LAKLOEY, INC. |  | 1000 |  | 3000 | 28.21%
2 | BERING PACIFIC CONSTRUCTION |  | 1200 |  | 3600 | 53.85%
L-107a.3 | 8-foot Lighted Wind Cone, in place | Each | 18600 | 1 | 18600
1 | LAKLOEY, INC. |  | 18000 |  | 18000 | -3.226%
2 | BERING PACIFIC CONSTRUCTION |  | 12000 |  | 12000 | -35.48%
L-108a.3 | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 4.5 | 3400 | 15300
1 | LAKLOEY, INC. |  | 8 |  | 27200 | 77.78%
2 | BERING PACIFIC CONSTRUCTION |  | 4 |  | 13600 | -11.11%
L-108c.3 | #6 Bare Copper Ground Conductor | Linear Foot | 2.8 | 1700 | 4760
1 | LAKLOEY, INC. |  | 8 |  | 13600 | 185.7%
2 | BERING PACIFIC CONSTRUCTION |  | 3 |  | 5100 | 7.143%
L-108g.3 | Ground Rod | Each | 500 | 1 | 500
1 | LAKLOEY, INC. |  | 400 |  | 400 | -20%
2 | BERING PACIFIC CONSTRUCTION |  | 300 |  | 300 | -40%
L-110g.3 | 2-inch PE Conduit | Linear Foot | 27 | 800 | 21600
1 | LAKLOEY, INC. |  | 42 |  | 33600 | 55.56%
2 | BERING PACIFIC CONSTRUCTION |  | 212.5 |  | 170000 | 687%

## LAKLOEY, INC.
Bid Rank: 1 |  | LAKLOEY, INC.
Adak Airport Lighting Replacement Rebid |  | 1216 RANGE VIEW ROAD
N/A /58433 |  | NORTH POLE, AK 99705-5389
Bids Opened: 2/22/2008
Item Number | Pay Item | Pay Unit | Unit Price | Plan Quantity | Plan Amount
Basic Bid
G-100a | Mobilization and Demobilization | Lump Sum | All Req'd | All Req'd | 550000
G-115a | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 100000
G-135a | Construction Surveying by the Contractor | Lump Sum | All Req'd | All Req'd | 79000
G-135b | Extra Three Person Survey Party | Hour | 400 | 30 | 12000
G-300a | CPM Scheduling | Lump Sum | All Req'd | All Req'd | 5000
L-100b | Regulator, L-828 | Each | 20000 | 5 | 100000
L-100e | Taxiway Edge Light, L-861T | Each | 2000 | 10 | 20000
L-100f | Wind Cone Handhole, L-867, Size D | Each | 3000 | 3 | 9000
L-100n | Airport Sign, Type L-858 | Each | 10000 | 17 | 170000
L-100ag(1) | Handhole Cover Only | Each | 1200 | 19 | 22800
L-107a | 8-foot Lighted Wind Cone, in place | Each | 32000 | 1 | 32000
L-108a | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 8 | 16300 | 130400
L-108c | #6 Bare Copper Ground Conductor | Linear Foot | 8 | 3100 | 24800
L-108g | Ground Rod | Each | 600 | 3 | 1800
L-108h | Underground Cable #14 AWG, 2-Conductor, Copper, 600V, Type "SOOW-A/SOOW" | Linear Foot | 25 | 1100 | 27500
L-109c | Electrical Enclosure and Foundation in Place | Each | 120000 | 1 | 120000
L-109d | Installation of Electrical Equipment in New or Existing Structure | Each | 80000 | 1 | 80000
L-110c | 2-inch PVC Conduit | Linear Foot | 100 | 2000 | 200000
L-110g | 2-inch PE Conduit | Linear Foot | 40 | 700 | 28000
L-110u | Cleaning of Existing Ducts | Linear Foot | 8.5 | 6300 | 53550
L-119a | Obstruction Light | Each | 15000 | 1 | 15000
P-151c | Clearing & Grubbing | Acre | 11500 | 0.7 | 8050
P-152h(2) | Borrow Measured in Final Position | Cubic Yard | 58 | 2870 | 166460
P-154a | Subbase Course | Cubic Yard | 120 | 440 | 52800
P-157a | Erosion and Pollution Control Administration | Lump Sum | All Req'd | All Req'd | 5000
P-157b | Temporary Erosion and Pollution Control | Contingent Sum | All Req'd | All Req'd | 15000
P-157e | Erosion and Pollution Control Price Adjustment | Contingent Sum | All Req'd | All Req'd | 0
P-208a | Crushed Aggregate Surface Course | Cubic Yard | 300 | 65 | 19500
P-640b | Segmented Circle (Panel-Type) | Lump Sum | All Req'd | All Req'd | 55600
P-670a | Hazard Marker Barrier, Timber | Each | 700 | 20 | 14000
P-680a | Silt Fence | Linear Foot | 10 | 1600 | 16000
U-500b | Electrical Line Extension | Lump Sum | All Req'd | All Req'd | 51000 | 2184260
Additive Alternate #1
G-115a.1 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 5000
L-145a.1 | Standby Generator and Enclosure | Lump Sum | All Req'd | All Req'd | 340000
Additive Alternate #2
G-115a.2 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 7700
L-100f.2 | Wind Cone Handhole, L-867, Size D | Each | 1500 | 2 | 3000
L-107a.2 | 8-foot Lighted Wind Cone, in place | Each | 16000 | 1 | 16000
L-108c.2 | #6 Bare Copper Ground Conductor | Linear Foot | 10 | 300 | 3000
L-108e.2 | Underground Cable #8 AWG, Copper, 600 V, Type "C", L-824 | Linear Foot | 10 | 600 | 6000
L-108g.2 | Ground Rod | Each | 400 | 1 | 400
L-110g.2 | 2-inch PE Conduit | Linear Foot | 50 | 300 | 15000
P-680a.2 | Silt Fence | Linear Foot | 11 | 140 | 1540
P-684a.2 | Floating Silt Curtain | Linear Foot | 200 | 90 | 18000
Additive Alternate #3
G-115a.3 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 8500
L-100f.3 | Wind Cone Handhole, L-867, Size D | Each | 1000 | 3 | 3000
L-107a.3 | 8-foot Lighted Wind Cone, in place | Each | 18000 | 1 | 18000
L-108a.3 | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 8 | 3400 | 27200
L-108c.3 | #6 Bare Copper Ground Conductor | Linear Foot | 8 | 1700 | 13600
L-108g.3 | Ground Rod | Each | 400 | 1 | 400
L-110g.3 | 2-inch PE Conduit | Linear Foot | 42 | 800 | 33600

## BERING PACIFIC CONSTRUCTION
Bid Rank: 2 |  | BERING PACIFIC CONSTRUCTION
Adak Airport Lighting Replacement Rebid |  | 7801 SCHOON STREET SUITE B
N/A /58433 |  | ANCHORAGE, AK 99518
Bids Opened: 2/22/2008
Item Number | Pay Item | Pay Unit | Unit Price | Plan Quantity | Plan Amount
Basic Bid
G-100a | Mobilization and Demobilization | Lump Sum | All Req'd | All Req'd | 1006000
G-115a | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 100000
G-135a | Construction Surveying by the Contractor | Lump Sum | All Req'd | All Req'd | 65000
G-135b | Extra Three Person Survey Party | Hour | 200 | 30 | 6000
G-300a | CPM Scheduling | Lump Sum | All Req'd | All Req'd | 5000
L-100b | Regulator, L-828 | Each | 17000 | 5 | 85000
L-100e | Taxiway Edge Light, L-861T | Each | 800 | 10 | 8000
L-100f | Wind Cone Handhole, L-867, Size D | Each | 1500 | 3 | 4500
L-100n | Airport Sign, Type L-858 | Each | 18000 | 17 | 306000
L-100ag(1) | Handhole Cover Only | Each | 2500 | 19 | 47500
L-107a | 8-foot Lighted Wind Cone, in place | Each | 20000 | 1 | 20000
L-108a | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 5 | 16300 | 81500
L-108c | #6 Bare Copper Ground Conductor | Linear Foot | 3 | 3100 | 9300
L-108g | Ground Rod | Each | 300 | 3 | 900
L-108h | Underground Cable #14 AWG, 2-Conductor, Copper, 600V, Type "SOOW-A/SOOW" | Linear Foot | 9 | 1100 | 9900
L-109c | Electrical Enclosure and Foundation in Place | Each | 55000 | 1 | 55000
L-109d | Installation of Electrical Equipment in New or Existing Structure | Each | 50000 | 1 | 50000
L-110c | 2-inch PVC Conduit | Linear Foot | 130 | 2000 | 260000
L-110g | 2-inch PE Conduit | Linear Foot | 15 | 700 | 10500
L-110u | Cleaning of Existing Ducts | Linear Foot | 12 | 6300 | 75600
L-119a | Obstruction Light | Each | 24000 | 1 | 24000
P-151c | Clearing & Grubbing | Acre | 3000 | 0.7 | 2100
P-152h(2) | Borrow Measured in Final Position | Cubic Yard | 48 | 2870 | 137760
P-154a | Subbase Course | Cubic Yard | 48 | 440 | 21120
P-157a | Erosion and Pollution Control Administration | Lump Sum | All Req'd | All Req'd | 7800
P-157b | Temporary Erosion and Pollution Control | Contingent Sum | All Req'd | All Req'd | 15000
P-157e | Erosion and Pollution Control Price Adjustment | Contingent Sum | All Req'd | All Req'd | 0
P-208a | Crushed Aggregate Surface Course | Cubic Yard | 200 | 65 | 13000
P-640b | Segmented Circle (Panel-Type) | Lump Sum | All Req'd | All Req'd | 65000
P-670a | Hazard Marker Barrier, Timber | Each | 500 | 20 | 10000
P-680a | Silt Fence | Linear Foot | 7 | 1600 | 11200
U-500b | Electrical Line Extension | Lump Sum | All Req'd | All Req'd | 35000 | 2547680
Additive Alternate #1
G-115a.1 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 3000
L-145a.1 | Standby Generator and Enclosure | Lump Sum | All Req'd | All Req'd | 199000
Additive Alternate #2
G-115a.2 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 4200
L-100f.2 | Wind Cone Handhole, L-867, Size D | Each | 1400 | 2 | 2800
L-107a.2 | 8-foot Lighted Wind Cone, in place | Each | 20000 | 1 | 20000
L-108c.2 | #6 Bare Copper Ground Conductor | Linear Foot | 2.5 | 300 | 750
L-108e.2 | Underground Cable #8 AWG, Copper, 600 V, Type "C", L-824 | Linear Foot | 4 | 600 | 2400
L-108g.2 | Ground Rod | Each | 250 | 1 | 250
L-110g.2 | 2-inch PE Conduit | Linear Foot | 16 | 300 | 4800
P-680a.2 | Silt Fence | Linear Foot | 5 | 140 | 700
P-684a.2 | Floating Silt Curtain | Linear Foot | 65 | 90 | 5850
Additive Alternate #3
G-115a.3 | Worker Meals and Lodging, or Per Diem | Lump Sum | All Req'd | All Req'd | 8000
L-100f.3 | Wind Cone Handhole, L-867, Size D | Each | 1200 | 3 | 3600
L-107a.3 | 8-foot Lighted Wind Cone, in place | Each | 12000 | 1 | 12000
L-108a.3 | Underground Cable #8 AWG, Copper, 5 kV FAA Type "C" (as specified on plans), L-824 | Linear Foot | 4 | 3400 | 13600
L-108c.3 | #6 Bare Copper Ground Conductor | Linear Foot | 3 | 1700 | 5100
L-108g.3 | Ground Rod | Each | 300 | 1 | 300
L-110g.3 | 2-inch PE Conduit | Linear Foot | 212.5 | 800 | 170000