SECTION 301
AGGREGATE BASE AND SURFACE COURSE

Sect 301: CR301.2 (CR301.2 Rplcd CR26)

Related Sect/Sp:  608/CR608.1.2

Special Provision

301-3.01 PLACING.  Add the following:

Base course material used for the sidewalk and pathway foundation shall be placed with a “Layton box” or similar equipment capable of providing a specified depth with a uniform surface.

CR301.2-090189