SECTION 511

MECHANICALLY STABILIZED EARTH (MSE) WALL

Sect 511: CR90

Related Sect/Sp:

Special Provisions

511-1.01 DESCRIPTION.  Add the following:

Construct the Mechanically Stabilized Embankment (MSE) Retaining Walls at the locations shown in the Plans and as provided in these specifications.  Constructing the MSE retaining walls shall consist of precast concrete facing panels connected to a metallic strip or grid reinforcement.  Manufacturers of MSE systems:

"Reinforced Earth" of the Reinforced Earth Company

88 Iverness Circle East, Suite E-101

Englewood, CO 80112

Phone:  (303) 790-1481

"Reinforced Soil Embankment" of Hilfiker Walls

1902 Hilfiker Lane

Eureka, CA  95503

Phone:  (800) 762-8962

Other manufacturers may be substituted for those listed.  All manufacturers are required to submit documentation, as noted in theses specifications, for review and approval by the Engineer.

Only one MSE wall system shall be selected for installation on this project.  The Department will not allow the use of multiple systems.

Submit complete working drawings for the selected wall system in accordance with the provisions in Subsection 105-1.02.  Verify the exiting ground elevations at the site before preparing the final working drawings.  Said working drawings shall contain all information required for the proper construction of the system and any required revisions or additions to drainage or other facilities.  Supplement the working drawings with calculations for the particular installation.  Working drawings and calculations shall demonstrate the internal stability as well as the external stability of the MSE wall.  An Engineer who is registered as a Civil Engineer in the State of Alaska shall sign and seal the drawings and calculations.  Submit a complete set of working drawings and calculations to the Engineer.  Allow the Engineer 3 weeks to review the working drawings and calculations.

MSE wall system dimensions may vary slightly from, but shall not be less than those of the Mechanically Stabilized Earth Walls shown on the Plans.

Use the minimum height and length for any system that will effectively retain the earth behind the structure for the loading conditions, contours, profile, or slope lines shown in the Plans or in the approved working drawings.  In addition, if the Plans show limiting parameters for the systems, the system selected shall conform to those parameters.

The construction of the MSE wall system shall conform to the details on the approved working drawings and to the details of the prequalified system on file with the State.

511-2.01 MATERIALS.  Add the following:

Materials furnished for the MSE retaining walls shall conform to the following:

General.  Make arrangements to purchase and/or manufacture the face elements, reinforcing-mesh, grid or strips, attachment devices, joint fill, and other necessary components from sources listed in these specifications and as shown in the contract Plans.  Use only materials conforming to the Plans, specifications or from sources listed in the contract documents unless receiving written consent from the Engineer.

1.	Structural Backfill and Foundation Fill.  Add the following:

Backfill materials used in the structure volume shall be free from organic or otherwise deleterious materials and shall conform to the following gradation limits as determined by WAQTC FOP for AASHTO T 27/T 11.  Plasticity Index (P.I.) shall not exceed 6 as determined by WAQTC FOP for AASHTO T 89 and WAQTC FOP for AASHTO T 90.

MSE backfill materials used in the structure volume shall be free (less than 1 percent as determined by ATM 203) from organic or otherwise deleterious materials and shall conform to the gradation requirements of Selected Material, Type A with a maximum size of 6 inches or less as determined by WAQTC FOP for AASHTO T 27/T 11.  The material shall have a sodium sulfate soundness loss of less than 10 percent after four cycles, as determined in accordance with AASHTO T 104.

Electrochemical Requirements.  The backfill materials shall meet the following criteria.

ELECTROCHEMICAL REQUIREMENTS

| REQUIREMENTS | VALUE | TEST METHOD |
| --- | --- | --- |
| Resistivity | 1200 ohm inches min. | AASHTO T 288 |
| pH | 5 - 10 | AASHTO T 289 |
| Chlorides | 50 ppm max. | AASHTO T 291 |
| Sulfates | 100 ppm max. | AASHTO T 290 |

The State shall perform corrosion tests.  Notify the Engineer of the MSE backfill source at least 60 days before wall construction for corrosion testing of the backfill materials.

2.	Wall Members.  Add the following:

a.	Concrete Face Panels.  Fabricate panels conforming to Section 501, with the following exceptions and additions.

(1)	Forms.  Do not strip the forms from the units until the concrete reaches a minimum compressive strength of 1000 psi.  Ship the units after reaching a minimum compressive strength of 3300 psi.  The Engineer will not accept panels with hairline cracks.

(2)	Angle Points.  Changes in the wall alignment shall be accomplished using prefabricated angled corner panels or special columns of the same texture and size as the flat panels, such that a continuous panel is traversing the angle point without a break in the normal horizontal and vertical joint pattern unless directed otherwise by the Engineer.  Bevel panels or field outs that disrupt the normal joint pattern and/or result in a single vertical line are not permissible.

(3)	Marking.  Clearly scribe the date of manufacture, the production lot number, and the piece mark, in the unexposed face of each panel.

(4)	Handling, Storage, and Shipping.  Handle, store, and ship all panels in such a manner as to protect them from chipping, discoloration, cracks, fractures, and excessive bending stresses.  Support panels in storage on firm blocking to protect the panel connection devices, and the exposed exterior finish.

(5)	Tolerances.  Manufacture all panels within the following tolerances.

(a)	Panel Dimensions.  Position of panel strap connection devices within 1 inch.  All other dimensions within 3/16 inch.

(b)	Panel Squareness.  Squareness as determined by the difference between the two diagonals, shall not exceed 1/2 inch.

(c)	Panel Surface Finish.  Surface defects on smooth formed surfaces measured on a length of 5 feet shall not exceed 0.1 inch.  Surface defects on the textured-finished surfaces measured over a length of 5 feet shall not exceed 3/16 inch.

(6)	Testing.

(a)	Compressive Strength.  Production lots shall determine the acceptance of concrete panels with respect to compressive strength.  A single compressive strength sample will represent a production lot of a group of panels.  A production lot will consist of either 10 panels or a single day's production, whichever is less.

During the production of the concrete panels, the manufacturer will randomly sample the concrete in accordance with WAQTC TM 2.  A single compressive strength sample, consisting of a minimum of four cylinders, will be randomly selected for every production lot.

Perform compression tests on a standard 6 inch by 12 inch test specimen in accordance with WAQTC FOP for AASHTO T 23.  Conduct compressive strength testing in accordance with AASHTO T 22.

For every compressive strength sample, cure a minimum of two cylinders in accordance with WAQTC FOP for AASHTO T 23 and test at 28 days.  The average compressive strength, when tested in accordance with AASHTO T 22, will provide a compressive strength test result that will determine the compressive strength of the production lot.

Compressive strength test result greater than or equal to 4000 psi will be accepted by the Engineer for the production lot.  If the compressive test result is less than 4000 psi, then the acceptance of the production lot will be based on the following acceptance criteria.  Meet each of the requirements:

1.	Ninety percent of the compressive strength test results for the overall production shall exceed 4060 psi.

2.	The average of any six consecutive compressive test results shall exceed 4200 psi.

3.	No individual compressive strength test result shall fall below 3600 psi.

(b)	Air Content.  Perform air content tests in accordance with WAQTC FOP for AASHTO T 152 or AASHTO T 196.  Take air content samples at the beginning of each day's production and take compressive samples at the same time to insure compliance.

(c)	Slump Test.  Perform the slump test in accordance with WAQTC FOP for AASHTO T 119.  Determine the slump at the beginning of each day's production and take the compressive samples at the same time.

(d)	Rejection.  Rejection of units shall be because of failure to meet any of the requirements specified above.  In addition, any of the following defects shall be sufficient cause for rejection.  The Engineer will determine if these conditions exits and if so reject the panel(s).

1.	Faulty casting causing defects.

2.	Defects indicating honeycombed or open texture concrete.

3.	Cracked or severely chipped panels.

4.	Unreasonable color variation on front face of panels.

b.	Joint Materials.  Bearing pads, joint filler, and joint cover materials shall be according to the MSE wall supplier's recommendations.

c.	Concrete Leveling Pad.  The concrete leveling pad shall be Class A and conform to Section 501.  The concrete for the pad shall be placed at least 24 hours prior to erecting the face panels.

3.	Soil Reinforcement.  Add the following:

Carefully inspect reinforcing and attachment devices to ensure that devices are true to size and free from defects that may impair strength and durability.  The metallic strip or grid shall meet the requirements of AASHTO Standard Specifications for Highway Bridges, latest Edition, and per the MSE wall suppliers design recommendations.

Add the following No. 5:

5.	Acceptance of Material.  Furnish the Engineer with a Certificate of Compliance certifying that all materials, excluding backfill, comply with the applicable contract specifications.  Furnish the Engineer with a copy of all test results performed by the Contractor necessary to assure Contract compliance.

Acceptance will be based on the Certificate of Compliance, accompanying test reports, and visual inspection by the Engineer.  The Engineer may require additional testing.

511-3.01 CONSTRUCTION.

1.	Excavation and Backfill.  Add the following:

a.	Foundation Preparation.  Grade the foundation for the structure level for a width equal to or exceeding the length of reinforcement elements plus 1 foot or as shown in the Plans.  Before wall construction, compact the foundation with two passes of a vibratory drum compactor, except where constructed on rock.  Remove foundation soils found to be unsuitable and replace with backfill according to Section 205.

At each panel foundation level, provide a cast-in-place unreinforced concrete leveling pad of the type shown in the Plans or approved working drawings.  Cure the footing a minimum of 24 hours before placement of wall panels.

3.	Retaining Wall Construction.  Add the following:

A field representative from the proprietary wall system shall be available during the erection of the wall.  The Services of the representative shall be at no additional cost to the State.

a.	Installation Tolerances.  Precast concrete panels shall be placed so that their final position is vertical, or battered as shown in the Plans.  Handle panels for erection by means of lifting devices connected to the upper edge of the panel or as per the MSE wall supplier's recommendations.  Panels shall be placed in successive horizontal lifts in the sequence shown on the working drawings as backfill placement proceeds.  As backfill material is placed behind the panels, maintain the panels in a vertical position by means of temporary wedges or bracing according to the wall supplier's recommendation.  For structures with precast facing panels, concrete vertical tolerances and horizontal alignment tolerances shall not exceed 3/4 inch when measured with a 10 foot straight edge.  During construction, the maximum allowable offset in any panel joint shall be 3/4 inch.  The overall vertical tolerance of the wall (top to bottom) shall not exceed 1/2 inch per 10 foot of wall height.  The plumb and tolerances of each panel row at the face shall be checked before erection of the next panel row.  Should panels be out of tolerance, remove the fill, and reset panels to proper tolerances.  Horizontal, vertical and slope joint openings between panels shall be uniform and no larger than 1 1/4 inch and no smaller than 1/2 inch.

Reinforcement elements shall be placed normal to the face of the wall, unless otherwise shown on the Plans.  Before placement of the reinforcing elements, backfill shall be compacted according to Section 205 and below.

b.	Backfill Placement.  Backfill placement shall closely follow erection of each course of panels.  Backfill shall be placed in such a manner as to avoid damage of disturbances of the wall materials or misalignment of the facing panels.  Remove and replace wall materials that become damaged during backfill placement at the Contractor's expense.  Correct misalignment or distortion of the wall facing panels due to placement of backfill exceeding the limits of this specification.

Backfill shall be compacted to 95 percent of the maximum density as determined by AASHTO T 99/T 180 or ATM 212.  Where spread footings support bridge or other structural loads, the top 5 feet below the bottom of the footing elevation shall be compacted to 98 percent as determined by AASHTO T 99/T 180 or ATM 212.  The maximum lift thickness after compaction shall not exceed 8 inches.  Decrease this lift thickness, if necessary to obtain the specified density.  The Engineer will determine field density using WAQTC FOP for AASHTO T 310 and WAQTC FOP for AASHTO T 224.

Use a lightweight mechanical tamper, roller, or vibratory system with at least three passes to achieve compaction within 3 feet of the back face of the wall facing.

The Engineer shall take a minimum of one density test at each level of soil reinforcement material.

Slope the last level of backfill away from the wall facing to permit rapid water runoff away from the wall face at the end of operations each day.  Do not allow surface runoff from adjacent areas to enter the wall construction site.

Replace Subsection 511-4.01 with the following:

511-4.01 METHOD OF MEASUREMENT.  Measure Mechanically Stabilized Embankment Retaining Walls by the square foot of wall face measured along the face of the wall.  Regardless of the type of system actually constructed, the square foot area for payment will be based on the height and length of each section of mechanically stabilized embankment retaining wall constructed as shown in the Plans.  The height of each section is the difference in elevation of the outer face from the bottom of the lowermost face panel to the top of the uppermost face panel, based on the approved working drawings.

Measure tapered wall sections using the average height resulting from the height measured at each end of the tapered section.

511-5.01 BASIS OF PAYMENT.  Replace the first sentence with the following:

The contract price paid per square foot of MSE retaining wall face shall include full compensation for furnishing all labor, materials, tools, equipment, and incidentals required to construct the earth retaining structure.  Including but not limited to:  MSE and random backfill soil, bar reinforcing steel, excavation, leveling pad, face panels, coping, and all parts of or appurtenances to the earth reinforcement system, complete-in-place, as shown in the Plans, as provided in the Standard Specifications, and Special Provisions, and as directed by the Engineer.

CR90-060412