SECTION 606

GUARDRAIL

Sect 606: CR60611.10.9.8.7.6.5.4.3.2.1; CR6061 Rplcs E74, CR6062 Rplcs E69, 73, CR6063 Rplcs E70, CR6064 Rplcs E71, CR6065 Rplcs E72, CR60611 Rplcs E96

Related Sect/Sp:  710/E83.84.85

Special Provisions

CONSTRUCTION REQUIREMENTS

Add the following Subsection 606-3.11 Length of Need Verification.

606-3.11 LENGTH OF NEED VERIFICATION.  After shaping the slopes and staking the proposed guardrail locations, notify the Engineer to field verify the beginning and ends.  The Engineer will approve the staked location of the guardrail before installation.  The Engineer may determine additional guardrail is necessary and the Contractor shall comply without delay.

CR6068-051513