SECTION 301
AGGREGATE BASE AND SURFACE COURSE

Sect 301: CR301.2 (CR301.2 Rplcd CR26)

Related Sect/Sp:  608/CR608.1.2

Special Provision

301-3.01 PLACING.  Add the following:

Place base course material, used for the sidewalk and pathway foundations, with equipment capable of providing a specified depth and uniform surface.

CR301.2-062116