SECTION 740
SIGNALS AND LIGHTING MATERIALS

Sect 740: CR740.1.2.3.4.5

Related Sect/Sp:  660/CR660.1; 661/CR661.1.2, 662/CR662; 667/CR667, 668/CR668.HTWR; 669/CR669.ATR

Related Sect/Sp:

Special Provisions

740-2.15 PEDESTRIAN SIGNALS.  Add the following after the 1st paragraph:

Provide pedestrian signal heads according to the following:

Replace item No. 7, "Terminal Blocks," with the following:

7.	Terminal Blocks:  Provide a rain tight terminal compartment with a 12 position terminal block.

CR740.2-022015