SECTION 301
AGGREGATE BASE AND SURFACE COURSE

Special Provision

Sect 301:  CR301.2 use of "Layton Box" in sidewalks and pathways

Related Sect/Sp:  608/CR608.1.2, CR703/CR703.1

301-3.01 PLACING.

Add the following:

Place base course material, used for the sidewalk and pathway foundations, with equipment capable of providing a specified depth and uniform surface.

CR301.2-062116