SECTION 660
SIGNALS AND LIGHTING

Special Provisions

Sect 660: HSM20.16	CR660 is updated by CR for CR. Attain the latest version from CR DOT Traffic Safety design personnel.

Related Sect/Sp:  SNtB; 105/CR105; 204/CR204.1; 504/CR504.1; 550/CR550.1, 643/CR643.1.2; 661/CR661; 668; 740/CR740.1.2.3

Related Sect/Sp:

Section 660 is being maintained as a placeholder, if you do not have signals and lighting, delete the Section. Include CR660.1, CR660.2, HSM20.16, and CR550.1 if including Central Region Section 660 from Traffic Safety Design.

660-3.04 JUNCTION BOXES.

Replace item 1 with the following:

1.	300 ft maximum for any conduit run containing either:

a.	One single cable, plus one bare or insulated equipment grounding conductor (EGC); or

b.	Two or fewer single pair No. 12 AWG (or smaller) loop lead-in cables, plus one bare or insulated EGC.

HSM20.16-113020