SECTION 660
SIGNALS AND LIGHTING

Special Provisions

Section 660 is being maintained as a placeholder, if you do not have signals and lighting, delete the Section. Include C660.1, C660.2, HSM20.16, and C550.1 if including Central Region Section 660 from Traffic Safety Design.

Sect 660: HMS20.16	Related Sect/Sp:  CSNtB; 105/C105; 204/C204.1; 504/C504.1; 550/C550.1, 643/C643.1.2; 661/C661; 668; 740/C740.1.2.3

C660 is updated by CR for CR	Attain the latest version from CR DOT&PF Traffic Safety design personnel

660-3.04 JUNCTION BOXES.

Replace item 1 with the following:

1.	300 ft maximum for any conduit run containing either:

a.	One single cable, plus one bare or insulated equipment grounding conductor (EGC); or

b.	Two or fewer single pair No. 12 AWG (or smaller) loop lead-in cables, plus one bare or insulated EGC.

HSM20.16-20.1130