Special Provisions

Add the following Section:

SECTION 668
HIGH TOWER LIGHTING

668-2.01 MATERIALS.

Sect 668: C668	Related Sect/Sp:  550/C550.1, 660/C660.1, 661/C661.1.2, 667/C667, 669/, 740/C740.740.1.2

Section place holder. Draft is held by Spec Engineer & Traffic Safety. Traffic Safety is using a project specials as the typical…

Section place holders. Keep or remove the place holder as required by the project. Remove the place holder content by (1) individually highlighting the content, including the page and section breaks, and then using the delete key or (2) in the navigation pane - select the section to be removed > right click the shaded section heading and select "delete" (this removes the Section, page and section breaks and all content in the section). Verify the headers and footers remain correct for the section before and after the deleted Section. Keeping the Section, delete "Place Holder" and "Section Place Holder" from the title and the code above.

Precast Concrete Products	Subsection 550-2.03

668-3.01 CONSTRUCTION REQUIREMENTS.

#.	Failed Equipment and Workmanship.  For the term of the Contract, from initial equipment installation through final acceptance, Subsection 105-1.16, when directed, promptly replace failed equipment, equipment components and repair workmanship.

668-5.01 BASIS OF PAYMENT.

	Replacing failed equipment, equipment components and repairing failed workmanship is subsidiary to 668 Pay Items.

C668-21.0701

For a starting point, contact Central Region Specification Engineer and coordinate with Traffic Safety design.

In your project special include the content noted herein.

1.	Add to 668-2.01. Materials.	"Precast Concrete Products	Subsection 550-2.03.

2.	Add as the last item under 668-3.01. Construction Requirements. "#.	Failed Equipment and Workmanship. For the term of … "

3.	Add to 668-5.01 Basis of Payment. "Replacing failed equipment, equipment components … " Include as a list of items as is in the typical version of 668, or add separately.

4.	If you have a "Warranty" subsection, delete it.