SECTION 703
AGGREGATES

Standard Modification

Section 702: HSM20.33-123121	Related Sect/Sp: 201/CR201.1.2; 206/CR306, 401/CR401, 408/CR408, 703/CR703.1

Apply to all projects with work related to Section 703

703-2.10 POROUS BACKFILL MATERIAL.

Add the following to the end of the paragraph:

Use Gradation A unless otherwise specified.

HSM20.33-123121