SPECIAL NOTICE TO BIDDERS

Bidders are hereby notified that information to assist in preparing bids is available at 4111 Aviation Avenue for the following:

1.	These items are available upon request in the Anchorage Department of Transportation and Public Facilities Building Plans Room:

a.	Quantity Computations

b.	Cross Sections

c.	Geotechnical Report, Sterling Highway MP 37-45 NH-OA3-3(11)/51994, April 1999.

d.	State of Alaska Department of Transportation and Public Facilities publication, Best Management Practices For Construction Erosion and Sediment Control and Maintenance and Operations Activities

e.	Department of Transportation and Public Facilities - Sign Face Fabrication Requirements

f.	Erosion and Sediment Control Plan

g.	Foundation Report, Sterling Highway MP 37-45, Retaining Wall, Project

NH-OA3-3(11)/51994, July 1998.

2.	Utility agreements pertaining to the disposition of all utility facilities on this project are available for review at the office of the Utilities Engineer, (907) 269-0647.

3.	An environmental document addressing concerns and environmental commitments has been approved and is available for review in the office of the Preliminary Design and Environmental Supervisor, (907) 269-0549.

4.	This is to notify all bidders that effective January 1, 1998, contract items under Section 643, Traffic Maintenance, will no longer be creditable under the Disadvantaged Business Enterprise Program for DBE credit as subcontractable items. The only current exception is item 643(3), Permanent Construction Signs.

For more information, contact the DOT&PF Civil Rights Office at (907) 269-0851 or Toll Free at 1-800-770-6236.

5.	The Department’s procedure for providing for the costs of on-site flagging has changed. In recognition of the benefits derived from a well coordinated flagging operation to both the traveling public and the Contractor’s operation, the Department’s position is that the Contractor is a full partner in this contract and should participate in the cost of flagging. Therefore, the amount paid by the Department to provide flagging has been changed from $45.00 / hour to a shared $32.00 / hour. The additional actual cost to provide a flagger shall be considered as incidental to other items of work. This change shall in no way relieve the Contractor from his responsibility to provide for safety and convenience of the public.

6.	This is to notify all bidders that the contract award process, when a DBE Goal is specified, will be modified as explained below.

Prior to award, the Department has been allowing a low bidder who did not submit sufficient good faith efforts (GFE) documentation to then submit additional DBE participation to meet the goal stated in the bid documents. The FHWA has informed us that this practice is not allowable. If GFE documentation is submitted and found to be insufficient, the bidder is to be declared nonresponsive.

For contract DBE requirements, refer to Section 120, DBE Program.

For more information, contact the DOT&PF Civil Rights Office at (907) 269-0851 or Toll Free at 1-800-770-6236.

7.	The United States Department of Transportation has recently issued new regulations for the DBE Program (49 CFR Part 26). New eligibility criteria for DBE firms have been added, including consideration of Personal Net Worth (PNW) of the DBE owner(s). This new criteria will be used to verify continued certification in the DBE Program. Contractors are requested to continue to use the same procedure they have been using until the Department can establish the PNW. If a DBE firm on a Project awarded after March 3, 1999 is decertified for failure to meet the PNW criteria, the Department will deal with the issue on a case by case basis.

8.	There are restrictions to the Contractor’s operations in the project area. See subsections 108-1.04, 203-3.01, and 643-3.08 of these Special Provisions.

9.	Required plans for work in stream, pit reclamation or other permitted activities may be submitted any time after receipt of written notification of apparent low bidder.

PART 4

STANDARD MODIFICATIONS

AND SPECIAL PROVISIONS

to the STATE OF ALASKA

1988 STANDARD SPECIFICATIONS FOR HIGHWAY CONSTRUCTION

SECTION 101

DEFINITIONS AND TERMS

Special Provisions

101-1.26 HIGHWAY, STREET OR ROAD. Delete this subsection in its entirety and substitute the following: A general term denoting a public way used by vehicles and pedestrians, including the entire area within the right-of-way. (2/18/99) R230

Standard Modifications

101-1.27 HOLIDAYS. Delete Items 2 and 3 and substitute the following:

2.	Martin Luther King Jr's. Birthday - Third Monday in January

3.	President's Day - Third Monday in February

(5/7/91)M30

Special Provisions

101-1.30 MAJOR CONTRACT ITEM. Replace “10%” with “5%”.

101-1.33 MINOR CONTRACT ITEM. Replace “10%” with “5%”.

Add the following subsection:

101-1.62a SUBSIDIARY. Not paid for directly. Compensation for such work is included in the payment for other items of work and no separate payment will be made.

(2/18/99) R230

101-1.73 NON-FROST SUSCEPTIBLE. Add the following subsection: Material that contains 6 percent or less passing the No. 200 screen as determined by sieve analysis performed on minus 3-inch material. (9/1/89)R1

SECTION 102

BIDDING REQUIREMENTS AND CONDITIONS

Standard Modifications

102-1.01 QUALIFICATION OF BIDDERS. Delete the second paragraph. (5/12/89)M1

Special Provisions

102-1.06 PREPARATION OF PROPOSAL. Replace the first sentence with the following: The bidder shall submit his proposal on the forms furnished by the Department, or legible copies thereof. (2/18/99)R231

Standard Modifications

102-1.06 PREPARATION OF PROPOSAL. Replace the second paragraph with the following: The bidder shall specify a unit price, in figures, for each pay item for which a quantity is given and shall also show the products of the respective unit prices and quantities written in figures in the column provided for that purpose and the total amount of the proposal obtained by adding the amounts of the several items. All the figures shall be in ink or typed. In the event of a discrepancy between unit bid prices and extensions, the unit bid price shall govern. Any changes shall be initialed by the person signing the proposal. (7/2/93)M58

Add the following: At certain bid openings a bidder may wish to submit bids on more work than he desires to have awarded to him. The bidder may indicate the total amount desired to be accepted and the Department will determine which of his low bids on these projects, up to the final total indicated, will be accepted. This limitation will only apply when the bidder has added the following statement to the Proposal Form for at least one of the projects being bid:

"We desire to disqualify all of our bids at this letting which exceed the total of $__________ or _____ contracts and hereby authorize the Department to determine which bids shall be disqualified."

(6/6/94)M31

Special Provisions

102-1.07 NON-RESPONSIVE PROPOSALS. Replace item 1. with the following:

1.	If the proposal is on a form other than that furnished by the Department, or legible copies thereof; or if the form is altered or any part thereof is detached; or if the proposal is improperly signed. (2/18/99)R231

Standard Modifications

102-1.07 NON-RESPONSIVE PROPOSALS. Delete item 3. in its entirety and substitute the following:

3.	If the bidder adds any provisions reserving the right to accept or reject any award, or to enter into a contract pursuant to an award, except for a maximum limit on the total amount of awards acceptable to the bidder at any one bid letting, as provided in Subsection 102-1.06, Preparation of Proposal.

(6/6/94)M31

102-1.07 NON-RESPONSIVE PROPOSALS. Add a new item as follows:

7.	If any of the unit prices bid are excessively unbalanced (either above or below the amount of a reasonable bid) to the potential detriment of the Department. (5/12/89)M2

Special Provisions

102-1.09 DELIVERY OF PROPOSALS. Delete the third paragraph. (2/18/99)R231

102-1.12 ADDENDA REQUIREMENTS. Delete this subsection in its entirety and substitute the following: Addenda will be issued to the individual or company to whom bidding documents were issued. Addenda may be issued by any reasonable method such as hand delivery, mail, telefacsimile, telegraph, courier, and in special circumstances by phone. Addenda will be issued to the address, telefacsimile number or phone number as stated on the planholder's list unless picked up in person or included with the bid documents. It is the bidder's responsibility to insure that he has received all addenda affecting the Invitation For Bids. No claim or protest will be allowed based on the bidder's allegation that he did not receive all of the addenda for an Invitation For Bids.

All addenda shall be acknowledged on the Proposal or by telegram or telefacsimile prior to the scheduled time of bid opening. If no addenda are received by the bidder, the word "None" should be entered on the Proposal Form. (10/28/96)R171

102-1.16 NON-COLLUSION AFFIDAVIT. Delete this subsection. (2/18/99)R231

SECTION 103

AWARD AND EXECUTION OF CONTRACT

Special Provisions

103-1.01 CONSIDERATION OF PROPOSALS. Add the following: The apparent low bidder shall submit a completed Subcontractor List, form 25D-5(C), within 5 working days following receipt of written notification by the Department.

If a bidder fails to list a subcontractor or lists more than one subcontractor for a particular portion of work and the value of that work is in excess of one-half of one percent of the total bid, the bidder agrees to perform that portion of work without the use of a subcontractor and to have represented that he is qualified to perform that work.

A bidder who attempts to circumvent the requirements of this subsection by listing as a subcontractor another Contractor who, in turn, sublets the majority of the work required under the contract, violates this subsection.

If a contract is awarded to a bidder who violates this subsection, the Contracting Officer may:

1.	cancel the contract without any damages accruing to the Department, or,

2.	after notice and a hearing, assess a penalty on the bidder in an amount that does not exceed 10 percent of the value of the subcontract at issue.

A bidder may replace a listed subcontractor who:

1.	fails to comply with AS 08.18,

2.	files for bankruptcy or becomes insolvent,

3.	fails to execute a contract with the bidder involving performance of the work for which the subcontractor was listed and the bidder acted in good faith,

4.	fails to obtain bonding,

5.	fails to obtain insurance acceptable to the Department,

6.	fails to perform the contract with the bidder involving work for which the subcontractor was listed,

7.	must be replaced in order for the prime Contractor to satisfy required State and/or Federal affirmative action requirements,

8.	refuses to agree or abide with the bidder's labor agreement, or,

9.	is determined by the Contracting Officer not to be responsible.

(4/1/93)R82

103-1.04 PERFORMANCE AND PAYMENT BONDS. In the third paragraph, under item 1.delete the first sentence and substitute the following: Escrow account, with a Federally-insured financial institution, in the name of the Department.

103-1.05 INSURANCE REQUIREMENTS. Delete this subsection in its entirety and substitute the following: The Contractor shall provide evidence of insurance with a carrier or carriers satisfactory to the Department covering injury to persons and/or property suffered by the State of Alaska or a third party, as a result of operations under this contract by the Contractor or by any subcontractor. This coverage will also provide protection against injuries to all employees of the Contractor and the employees of any subcontractor engaged in work under this contract. The delivery to the Department of a written 30 day notice is required before cancellation of any coverage or reduction in any limits of liability. Insurance carriers providing coverage shall have an acceptable financial rating.

The Contractor shall maintain in force at all times, during the performance of work under this contract, the following policies of insurance. All insurance policies shall comply with, and be issued by insurers licensed to transact the business of insurance under AS 21. Failure to maintain the specified insurance may, at the option of the Contracting Officer, be deemed as unacceptable work and remedied under Subsection 105-1.11. Where specific limits and coverages are shown, it is understood that they shall be the minimum acceptable. The requirements of this subsection shall not limit the Contractor's indemnity responsibility under Subsection 107-1.13. Additional insurance requirements specific to this contract are contained in the Special Provisions, when applicable.

1.	Workers' Compensation Insurance: The Contractor shall provide and maintain, for all employees of the Contractor engaged in work under this contract, Workers' Compensation Insurance as required by AS 23.30.045. The Contractor shall be responsible for Workers' Compensation Insurance for any subcontractor who provides services under this contract, to include:

a.	Waiver of subrogation against the State and Employer's Liability Protection in the amount of $500,000 each accident/$500,000 each disease.

b.	If the Contractor directly utilizes labor outside of the State of Alaska in the prosecution of the work, “Other States” endorsement shall be required as a condition of the contract.

c.	Whenever the work involves activity on or about navigable waters, the Workers' Compensation policy shall contain a United States Longshoreman’s and Harbor Worker’s Act endorsement, and when appropriate, a Maritime Employer’s Liability (Jones Act) endorsement with a minimum limit of $1,000,000.

Commercial General Liability Insurance: on an occurrence policy form covering all operations by or on behalf of the Contractor with combined single limits not less than:

$1,000,000 each occurrence

$1,000,000 for Personal Injury Liability

$2,000,000 aggregate for Products-Completed Operations

$2,000,000 general aggregate

The State of Alaska shall be named as additional insured. This insurance shall be considered to be primary and non-contributory to any other insurance carried by the State through self insurance or otherwise.

Automobile Liability Insurance: covering all vehicles used by the Contractor in the performance of services under this agreement with combined single limits not less than $1,000,000 each occurrence.

In addition to providing the above coverages the Contractor shall, in any contract or agreement with subcontractors performing work, require that all indemnities and waivers of subrogation it obtains, and that any stipulation to be named as an additional insured it obtains, also be extended to waive rights of subrogation against the State of Alaska and to add the State of Alaska as additional named indemnitee and as additional insured.

Evidence of insurance shall be furnished to the Department prior to the award of the contract. Such evidence, executed by the carrier's representative and issued to the Department, shall consist of a certificate of insurance or the policy declaration page with required endorsements attached thereto which denote the type, amount, class of operations covered, effective (and retroactive) dates, and dates of expiration. Acceptance by the Department of deficient evidence does not constitute a waiver of contract requirements.

When a certificate of insurance is furnished, it shall contain the following statement:

“This is to certify that the policies described herein comply with all aspects of the insurance requirements of (Project Name and Number).”

(2/18/99)R232

SECTION 104

SCOPE OF WORK

Special Provisions

104-1.02  CHANGES. Add the following after the third paragraph: Before a Change Order or Supplemental Agreement covering work for which there is no established contract price is approved, the Contractor shall submit detailed cost or pricing data regarding the changed or extra work. The cost or pricing data shall include an itemization of all costs including labor, materials, and equipment required for the work. The Contractor shall certify that the data submitted is, to his best knowledge and belief, accurate, complete and current as of a mutually determined specified date and that such data will continue to be accurate and complete during the performance of the changed or extra work. (2/18/99)R233

SECTION 105

CONTROL OF WORK

Standard Modifications

105-1.01 AUTHORITY OF THE ENGINEER. Add the following: The Engineer may, at reasonable times, inspect that part of the plant or place of business of the Contractor or subcontractor that is related to the performance of the contract.

The Engineer may audit the books and records of the Contractor or a subcontractor to the extent that the books and records relate to the performance of the contract or subcontract, including cost or pricing data submitted under subsection 104-1.02, Changes. Books and records that relate to the performance of the contract shall be maintained by the Contractor for a period of three years after the date of final payment under the prime contract and by the subcontractor for a period of three years after the date of final payment under the subcontract, unless a shorter period is authorized in writing by the Contracting Officer.

(5/12/89)M6

Special Provisions

105-1.01 AUTHORITY OF THE ENGINEER. Add the following paragraph:

When, in the opinion of the Engineer, conditions are such that the safety and/or convenience of the traveling public are adversely affected, the Contractor will be immediately notified in writing. The notice will state the defect(s), the corrective action(s) required, and the time required to complete such action(s). In no case shall this time exceed 24 hours. In the event that the Contractor fails to take the corrective action within the specified time, the Engineer may direct that the offending operations cease until the defect(s) is (are) corrected. The Engineer reserves the right to have corrective action taken by outside forces. The cost of work by outside forces shall be deducted from any monies due or that may become due under the terms of this Contract. (2/18/99)R234

105-1.02 PLANS AND WORKING DRAWINGS. Replace the second sentence of the second paragraph with the following: No work shall be performed until working drawings for such work, or changes thereto, are approved. (7/2/93)S62

Delete the last two sentences of the second paragraph and substitute the following: All working and detail drawings shall be full size, on white paper, and have dark blue or black lines. (2/18/99)R234

Replace the second sentence of the fourth paragraph with the following: The Contractor shall indicate on the working drawings all deviations from the plans and specifications and shall also itemize and explain all deviations in the letter of transmittal. (7/2/93)S62

In the next to last paragraph, delete “of the drawings for use by the Engineer” and substitute the following: “or an Autocad drawing interchange file format (.DFX) on 3.5-inch disk.” (2/18/99)R234

105-1.05 COOPERATION BY CONTRACTOR. In the last paragraph, insert the following before the last sentence: The superintendent shall have the authority to sign Directives for the Contractor. (2/18/99)R234

105-1.06 COOPERATION WITH UTILITIES. Add the following: The Contractor shall request locates from all the utilities having facilities in the area. Contractor shall use the locate call center for the following utilities:

Locate Call Center Anchorage Area 278-3121 Statewide 800-478-3121 who will notify the following:

Chugach Electric Association Interior Telephone Company

The Contractor shall contact the State Telecommunications Shop in Soldotna, 262-7584, to coordinate relocation of emergency phone.

All existing utilities shall remain in service until the new utilities are installed and put into service.

There are various utility appurtenances located within the project limits. The Contractor is required to cooperate with the utilities and coordinate his work schedule to allow them access to the project for their adjustments and/or relocations.

The Contractor is required to work around all utility facilities, either existing or relocated, throughout the project unless advised by the utility that the facility is abandoned in place.

Relocation or adjustment of underground utility appurtenances will not normally be performed when the ground is frozen. Also, the utilities may prohibit the Contractor, through the Engineer, from working near the utility's facilities when the ground is frozen.

Any changes in contract scheduling that result in the conditions in this specification not being met shall be the responsibility of the Contractor and additional coordination with the applicable utility will be required.

Prior to the relocation of the utility's facilities, construction staking may be required. The Contractor shall give the utility 14 days advance notice as to when the staking will be available and maintain the stakes until the utility relocation is completed.

Payment for this staking will be as follows:

1.	If, as part of the contract, the Contractor is required to provide staking in the area needed by the utility, this work will be subsidiary to Item 642(1), Construction Surveying.

2.	If construction staking or right-of-way staking is required by the utility in advance of the Contractor's normal schedule, the utility will request the staking, through the Engineer, 14 days prior to the time the staking is required for the utility to start their relocation. This staking will be paid under Item 642(3), Three Person Survey Party.

3.	If right-of-way staking is required by the utility, and staking the right-of-way is not a part of the contract, the utility will request the staking, through the Engineer, 14 days prior to the time the staking is required for the utility to start their relocation. This staking will be paid under Item 642(3), Three Person Survey Party.

R3

Specific coordination requirements for the specific utilities are included below:

Chugach Electric Association, Inc. (CEA)

CEA owns and operates overhead and underground primary and secondary electrical systems in the area of the project. This project will require CEA to extend an underground 120/240-volt secondary electrical service from their transformer on CEA pole 76-67-1A to Load Center “A”. The Contractor shall provide CEA fourteen (14) calendar days advanced written notification and ten (10) calendar days for the installation of the electrical service to the load center.

The Contractor shall have completed the installation of Load Center “A”, and have it inspected no later than August 7, to allow CEA to complete the installation of the underground electric service no later than August 31.

The Contractor shall adhere to CEA’s “Electrical Facility Clearance Requirements”, attached as Appendix A, while working around electrical facilities throughout the project. Any exceptions to the CEA requirements will require advance approval from CEA.

All work near CEA facilities shall be conducted in such a manner as to protect the utility facilities at all times from damage and outages resulting directly or indirectly from the Contractor's or subcontractor's operations.

The Contractor shall provide protection to CEA facilities. The Contractor shall notify CEA 24 hours in advance of all blasting operations within 1000 feet of CEA facilities. A visual inspection of transmission and/or distribution lines exposed to debris shall be performed by a qualified inspector approved and authorized by CEA at the Contractor's expense after every blasting operation. Payment for this inspection will be made directly from the Contractor to CEA. It is anticipated that approximately 4 hours per blast at a cost of $100/hour is needed to perform this work.

If facilities are damaged, the responsible party shall bear the costs of repair or replacement.

105-1.12 LOAD RESTRICTIONS. Delete this subsection in its entirety and substitute the following: The Contractor shall comply with all legal size and weight regulations of 17 AAC 25 and all restrictions in the “Administrative Permit Manual”.

The Engineer may waive the permit requirements of regulation 17 AAC 25 regarding oversize and overweight vehicle movements within the project limits when the Contractor submits an acceptable Traffic Control Plan, in accordance with Subsection 643-1.02.

Permits may be obtained from the Department’s Division of Measurement Standards & Commercial Vehicle Enforcement for movements of oversize and overweight equipment outside of the project limits.

(2/18/99)R235

105-1.13 MAINTENANCE DURING CONSTRUCTION. Delete the first paragraph and substitute the following: The Contractor shall maintain the work, and those portions of the project affected by the work, from the date physical construction begins until project completion. This maintenance shall be a continual and effective effort prosecuted day by day, with adequate equipment and forces to the end that the work, and those portions of the project affected by the work, are kept in satisfactory condition at all times.

The Contractor may be relieved of specified portions of this maintenance responsibility during a seasonal suspension of work (Subsection 643-3.07), following partial acceptance (Subsection 105-1.14), or following substantial completion (Subsection 108-1.07). The Department will be responsible for routine snow removal and ice control on only those portions of the project which are open for public use.

(2/18/99)R236

105-1.15 PROJECT COMPLETION. Delete the last paragraph and substitute the following: When all physical work and cleanup provided for under the contract is found to be complete, except for work specified under Subsection 618-3.04, Maintenance of Seeded Areas, and Subsection 621-3.04, Period of Establishment, a letter of project completion will be issued by the Engineer. Project completion will relieve the Contractor from further maintenance responsibilities, except under Subsections 618-3.04 and 621-3.04, and will stop the count of contract time but will not relieve him of any other obligations under the Contract. (2/18/99)R237

Standard Modifications

105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES. Add the following to the fifth paragraph:

5.	A statement certifying that the claim is made in good faith, that the supporting cost and pricing data are accurate and complete to the best of the Contractor's knowledge and belief, and that the amount requested accurately reflects the contract adjustment for which the Contractor believes the Department is liable. (7/2/93)M8

Special Provisions

105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES. Delete the ninth paragraph and substitute the following: Any appeal must be in writing, must be limited to the issues that were before the Engineer, and must list the specific exceptions to the Engineer's decision including specific provisions of the Contract which the Contractor intends to rely upon in his appeal. (2/18/99)R237

Add the following: Legal actions shall be commenced through the Superior Court, Alaska State Courts, Third Judicial District, in Anchorage. (8/5/93)R93

SECTION 106

CONTROL OF MATERIAL

Special Provisions

106-1.01 SOURCE OF SUPPLY AND QUALITY REQUIREMENTS. Add the following: All steel and iron products which are incorporated into the work, and the action of applying a coating to a covered product (i.e., steel and iron), shall be manufactured in the United States except that minor amounts of steel and iron products of foreign manufacture may be used, provided the aggregate cost of such does not exceed one tenth of one percent (0.1 percent) of the total contract amount, or $2500, whichever is greater. Coating includes epoxy coating, galvanizing, painting, and any other coating that protects or enhances the value of a material subject to the requirements of this paragraph. For the purposes of this paragraph, the cost is the value of the products as they are delivered to the project.

When steel and iron products manufactured in the United States are shipped to a foreign country where non steel or iron products are installed on or in them (ie, electronic components in a steel cabinet), the steel and iron is considered to meet the requirements of this subsection.

A certification of materials origin, attesting to compliance with this provision, shall be furnished to the Engineer prior to incorporating any steel or iron products into the project.

(10/9/96)R219

Add the following: YEAR 2000 WARRANTY: The Contractor warrants that each hardware, software, or firmware product or item delivered or developed under this contract shall accurately process date data (including, but not limited to calculating, comparing, and sequencing) from, into, during, and between the twentieth and twenty-first centuries, including leap year calculations, when used in accordance with the documentation provided by the Contractor.

If the contract requires that specific products or items perform as a system, then this Year 2000 Warranty shall also apply to those listed items as a system.

The duration and remedies available to the State for breach of the Year 2000 Warranty shall be as defined in, and subject to, the year 2000 terms and limitations of any general warranty provisions contained in this solicitation. In the absence of any such general warranty provision(s), the remedies available to the State shall include repair or replacement, without any cost to the State, of any listed product or item whose noncompliance is discovered and made known to the Contractor in writing by April 1, 2000 or within one (1) year after acceptance, or within the time limits of the Contractor’s warranty, whichever is longer.

Nothing in this Year 2000 Warranty shall be construed to limit any rights or remedies the State may otherwise have under the Uniform Commercial Code, State or Federal law, or with respect to defects other than Year 2000 performance.

The warranties contained herein are separate and distinct from any other warranties expressed or implied and are not subject to any disclaimer of warranty or limitation of the supplier’s liability.

(3/4/98)S79

106-1.02 LOCAL MATERIAL SOURCES. Under item 1. General, add the following to the first paragraph: If blend material is required to produce the specified product, it will be considered a subsidiary obligation and no separate payment will be made. (2/7/89)S32

Add the following after the first paragraph: The Contractor shall provide process control for reasonable assurance, that all materials submitted for acceptance conform to the contract specifications. Sampling and testing of all materials for process control, including screening, crushing, blending, stockpiling of aggregates, production and laydown of aggregate courses or mixtures, asphalt concrete mixtures, and monitoring of compaction, is the responsibility of the Contractor. Process control tests shall be made in accordance with the applicable test methods specified in the contract.

A process control plan shall be submitted at the pre-construction conference. The process control plan shall include, for each item being produced, the methods to be used for sampling and testing, the proposed testing frequency, personnel qualifications, and equipment descriptions. Process control will not be measured for payment but will be subsidiary to the applicable items being processed.

The Department has the exclusive right and responsibility for determining the acceptability of the construction and all incorporated materials. Acceptance testing by the Department is not to be considered as a replacement for process control testing by the Contractor. When the Contractor is not providing adequate process control testing, the Engineer may refuse to retest materials which have been shown to be unacceptable by standard acceptance testing procedures. (2/14/95)R201

Add the following to item 3. Designated Sources: The following material site is available for use in obtaining materials for this project.

M.S. 21-2-051-1	Located just east of Quartz Creek, between mileposts 40 and 41 of the Sterling Highway.

The location of this site is shown on the plans.

This material site is on lands managed by the Department of Natural Resources (DNR), State of Alaska, and is subject to 1) the provisions of the respective negotiated sales contracts contained in Appendix D, Material Site, and 2) provisions of the permits received from the Department of the Army, Corps of Engineers and Alaska Department of Fish and Game, contained in Appendix B, Permits. The mining operation and reclamation plan for these sites shall be done in accordance with the stipulations of these permits.

If the Contractor uses the material site listed above, he shall show the Engineer proof of payment of fees to DNR for materials extracted before final payments will be made for bid items using those materials.

In addition to the above provisions, the following guidelines pertain to the development and use of this site for Borrow, Type A; Borrow, Type C; Crushed Aggregate Base Course; and aggregate for Asphalt Concrete Pavement materials extraction for the subject project. All work necessary to develop and operate these sites for the production of Borrow, Type A; Borrow, Type C; Crushed Aggregate Base Course; and aggregate for Asphalt Concrete Pavement material extraction, including the removal and disposal of overburden, reject materials, providing site facilities, dust control, protecting and restoring adjacent property, and performing site cleanup, will not be paid for directly, but will be subsidiary to the Borrow, Type A; Borrow, Type C; Crushed Aggregate Base Course; and Asphalt Concrete Pavement pay items.

Rehabilitating the site shall consist of shaping the gravel extraction areas with ponds as described in the plans and as directed by the Engineer. Pit rehabilitation will be paid under Item 106(2), Pit Rehabilitation.

GENERAL CONDITIONS.

a.	Contractor's Responsibility. The Contractor and his agents, employees, and subcontractors are bound by all pertinent conditions of the development guidelines and the approved mining plan, along with all applicable State and local laws. Any variations from the specific or general stipulations must be approved by the Engineer.

b.	Contractor's Mining Plan.

1)	Prior to use of the site, a mining plan shall be submitted to the Department Regional Materials Engineer, allowing 3 weeks for review and approval. The mining plan will require a sketch map showing the site boundaries, the working boundary, proposed access route(s), temporary building and processing plant locations, and drainage diversion measures, if any. A mining plan narrative must accompany the sketch map and shall include dust suppression measures, measures to insure oil spill containment, and measures to prevent working area runoff contamination to water bodies.

2)	In addition to the mining sketch plan and narrative, the Contractor shall comply with all applicable conditions in the development guidelines.

3)	The Contractor shall provide the Engineer with an approved mining plan prior to use of the site.

c.	Changes in Conditions. Unforeseen conditions arising during construction and operation, in accordance with the development and mining plans, may make it necessary to revise or amend the development and/or mining plan. In that event, the Contractor and the Engineer shall agree as to what revisions or amendments shall be made.

DEVELOPMENT PLAN GUIDELINES.

a.	Objectives.

1)	To eliminate or minimize unauthorized uses, including dumping of waste, discharge of firearms, and unauthorized removal of materials.

2)	To minimize disturbance to the public and to adjacent lands and resources during site operation.

3)	To minimize soil erosion and air or water pollution.

4)	To rehabilitate the site after operations, leaving it in a natural appealing state; final site conditions adaptable to multipurpose utilization, specific wildlife enhancement or minimum deviation from surroundings, or to modify the site for fish/wildlife habitat enhancement.

b.	Aesthetics. Consideration must be given to all aesthetic values in the planning of site extraction and production operations, including associated roads and facilities.

1)	The location, size, shape, and depth of excavation will be considered to the extent that these factors create a visual impact related to the traveling public's angle of views, distance to view, and duration of view.

2)	Mitigating measures incorporated in site design will include the use of vegetation screens and existing landforms to eliminate or modify visual impact to the traveling public when practicable.

3)	When sites are located in areas of high scenic value, final site boundaries will be irregular and blend into land contours to approximate natural features as closely as is feasible.

4)	The site shall be left with excavated side slopes of 2:1 or flatter, and all excavated surfaces dressed to smooth contours.

c.	Survey Monuments. The Contractor shall mark and protect all survey monuments within or near the site against destruction, obliteration, or damage during the life of this contract. If any public land monuments, or corners, or accessories, including but not limited to, U.S. Coast and Geodetic, U.S. Geological Survey, and/or Bureau of Land Management survey monuments, are destroyed, obliterated or damaged, the Contractor, by utilization of a registered land surveyor, shall reestablish or restore the monuments, corners or accessories using surveying procedures in accordance with the "Manual of Instruction for the Survey of Public Lands of the United States, 1973 Ed.," and shall record such survey in the appropriate records.

d.	Vegetation Screens and Buffer Areas. A vegetative screen, as shown on the plans, shall be maintained to shield the site from the view of motorists traveling along the Sterling Highway.

e.	Cultural/Archaeological. Reasonable measures shall be taken to avoid destroying, damaging, or removing paleontological, historical, or archaeological sites or artifacts. In the event that objects of historic or scientific interest, or antiquities are discovered on the land, they will be left intact and immediately brought to the attention of the State archaeologist and the Engineer, and operations upon that portion of the site shall cease.

f.	Fire Suppression. The Contractor shall take all reasonable steps to prevent and suppress forest, brush, grass, or tundra fires on the site and in its vicinity. If burning is accomplished, it shall be in accordance with the Fire Plan contained in Subsection 201-2.01, General.

g.	Access Roads. Site access shall be limited to the existing access road plus one additional temporary access from the Sterling Highway. During dry conditions, dust along the access routes shall be controlled by water trucks or by the application of calcium chloride. After use of the site, the temporary access road shall be obliterated.

h.	Clearing. Clearing of vegetation and overburden shall be limited to the areas delineated on the plans.

I.	Timber. All trees shall be felled into the permit area away from live water courses. Timber not required for the fish pond shall be made available to the public in accordance with Section 201. All other trees and brush shall be burned in compliance with local ordinances or chipped and blended with overburden.

j.	Overburden. Overburden shall be cleared only to the extent necessary to provide specific project quantities, and stripped overburden shall be stockpiled within the confines of the site. Pushing overburden into standing timber, wetlands as shown on the plans, or drainage courses is not authorized.

k.	Disposal of Offsite Materials. No unusable soils or garbage from offsite locations, or garbage generated by the project, shall be disposed of within the site.

l.	Excavation Depth. If any material is removed from this material site, construction of fish ponds at the locations shown on the plans is required. The Contractor shall submit a detailed design and work plan to the Engineer for DNR approval. The detailed design and work plan shall be submitted to the Engineer two weeks prior to the start of any work on the fish ponds.

m.	Reject Materials. Reject materials shall be stockpiled separately within the site at a location identified and approved through the mining plan.

n.	Streams and Drainages.

1)	Where stream crossings are required, adequate bridges or culverts shall be provided to allow normal water flow.

2)	Existing drainage patterns should be altered only if necessary to prevent runoff contamination from the site causing erosion to adjacent lands or the entry of unacceptable levels of sediments into local water bodies.

3)	Upland site excavations shall be daylighted and graded to drain when necessary and feasible to prevent seasonal ponding.

4)	Contractor shall not construct the channel connecting the fish ponds to the adjacent stream without approval of the Engineer. Connection will not be made until all other work is complete and the level of water in the fish ponds has stabilized.

o.	Site Facilities.

1)	The Contractor shall provide portable sanitation facilities. The Contractor may also install a trailer or mobile home for an office or night watchman's use. If a trailer or mobile home is provided for a night watchman, provisions must be made for sanitary waste and garbage disposal. If the Contractor constructs any camp on the land, such location shall be indicated on the mining plan and approved by the Engineer, and the Engineer will have authority to require that said camp be kept in a neat and sanitary condition. The Contractor may leave equipment on the site until completion of project utilization with the understanding that the Department does not accept any responsibility for theft or damage.

2)	No garbage or trash generated during site use will be buried or disposed of within the site.

3)	Petroleum product storage tanks shall be surrounded by berms of sufficient volume to contain 150 percent of the total volume of the tank and have an impervious liner within the berm and under the tank. Measures must be taken during equipment servicing to prevent any petroleum products from spilling on the ground. Said storage tanks and liner shall be removed and the containment berm shall be graded to conform with the site floor upon completion of the project. Petroleum products shall not be stored on the site during winter shutdown.

4)	Crushers, asphalt hot plants, or other processing facilities may be located on the site in accordance with the contractors mining plan and must be operated in such a manner that no local, state, or federal laws, regulations, and guidelines are violated.

5)	No construction materials shall be stored in the site unless directly associated with the site operation or production of aggregate products for this project.

p.	Emissions. Emissions from pumps, motors, equipment, installations, and burning material must meet the air quality standards of the United States Public Health Service and the State of Alaska. All burning shall meet the requirements of all applicable State and Federal laws and regulations and in accordance with the burn plan contained in Subsection 201-2.01, General. After burning, unconsumed material shall be disposed of in a manner approved in advance by the Engineer.

q.	Explosives. Blasting materials, blasting caps, and related materials may be stored on Site. Storage facilities shall be secured and shall conform to applicable State and Federal laws and regulations. Personnel engaged in blasting activities shall be licensed by the State for these purposes and shall observe all applicable laws and regulations.

r.	Petroleum Products. Petroleum spills of any size shall be reported immediately to the Alaska Department of Environmental Conservation and the Engineer. Waste petroleum products shall be removed from the material site and properly disposed of elsewhere.

s.	Use of Materials.

1)	This site is available for Contractor's usage in the production of any project materials. If the Contractor elects to utilize this site, he shall abide by the stipulations of the development and mining plan.

2)	The Contractor shall not remove, or dispose of, material of any kind or quality other than that needed for use on this project.

t.	Hazards. This site shall be operated in a manner that is not hazardous to humans or to wildlife.

u.	Site Clean-Up. All site clean-up shall be performed and all Contractor's equipment shall be removed from this site within 30 days following the completion of product haul and/or the production and utilization of asphalt concrete or aggregate products from the site by the Contractor.

v.	Pit Rehabilitation. Pit rehabilitation will include all work shown on the drawings and required in the order or directive authorized by the Engineer and include the following:

1)	Portions of the site not required for access that are compacted as a result of the mining process, shall be scarified and fertilized in order to promote natural revegetation. Fertilizer shall be a 10-20-10 mixture applied at the rate of 40 lbs. per acre.

2)	Woody vegetation shall be planted or retained on pond islands. Each pond shall have a minimum of one island.

w.	Final Inspection. A final pit inspection will be done by the Engineer, Central Region Materials Engineer, the Contractor, and representatives of the State of Alaska, Department of Natural Resources, Department of Fish and Game, and the Department’s Environmental Section, after completion of operations and prior to the removal of equipment to ensure compliance with the appropriate stipulations. The Contractor shall notify the Engineer at least 21 days prior to the scheduled removal of rehabilitation equipment from the site so a final inspection can be performed.

MINING PLAN GUIDELINES

a.	General.

1)	The mining plan, by sketch map and narrative, describes the Contractor's proposed method of operation and must be in compliance with the conditions of the controlling development plan. After approval of the mining plan by the Engineer, it will be used as a site use field guide by the Contractor and Engineer.

2)	Sketch maps shall have a scale sufficient for clarity under field conditions and should not be overly complex or inflexible.

3)	All data that can be shown graphically should be shown in that manner unless it can be better described in the accompanying narrative.

4)	The use of multiple sheets should be avoided, if practical.

5)	Section and profile drawings should be used as appropriate.

b.	Sketch Maps. Items to be shown on sketch maps, when appropriate, shall include:

1)	Site boundary,

2)	Existing or proposed access route and design,

3)	Proposed working limits to be marked on the ground,

4)	Development stages,

5)	Approximate contours before and after excavation,

6)	High and low water lines,

7)	Vegetation lines and type of vegetation, screens and dimensions,

8)	Material stockpiling areas,

9)	Overburden and reject stockpiling areas,

10)	Other planned features, such as processing plants, temporary housing, well(s), weigh scales, etc.

11)	Final slope ratios and site drainage measures including grade and, when appropriate, daylighting ditches or stream diversions,

12)	Scale of drawing, North arrow, and specific dimensions as appropriate,

13)	When sites are to be developed as wildlife or fishery enhancement ponds, pond configurations, connections to existing bodies of water, final pond depths, slopes, and any islands shall be shown on the sketch maps.

c.	Narrative. The mining plan narrative may be made part of the mining plan sketch map or may be attached to the sketch map as conditions allow. Items to be addressed in the mining plan narrative shall include:

1)	Methods of operation,

2)	Length and times of operation (day, month, year, and working hours),

3)	Air and water pollution control measures,

4)	Rehabilitation measures.

d.	Supplements and Amendments. Supplements and amendments to an approved mining plan may be initiated by the Contractor or the Engineer when conditions warrant such action. Supplements and amendments must be mutually agreed upon and proper approval obtained prior to commencement of work of a changed nature.

1)	Minor changes are those that affect the handling of the details of the operation, but remain in compliance with the development plan. These changes may be authorized by the Engineer.

2)	Major changes are those which cause the final outcome of the site to be significantly different from the approved mining plan or are not in compliance with the development plan.

3)	Changes in final site outcome must be approved in writing by the Engineer.

4)	Changes not in compliance with the development plan must be authorized in writing by the Engineer.

Add the following to item 5. Contractor Furnished Sources: Any Contractor furnished material site or disposal area shall be an upland site. Site shall be approved by the Engineer.

Add the following: Prior to placing or removing any material in/from a location that is outside the project limits, the Contractor shall obtain a written statement from the State Historic Preservation Officer that material placement/extraction is not expected to impact any cultural resources. A copy of this statement shall be provided to the Engineer. The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at 762-2622. Should cultural resources be discovered during material testing or extraction activities, work at that site shall be stopped and the Engineer notified.

106-1.08 METHOD OF MEASUREMENT. Add the following subsection: Item 106(2), Pit Rehabilitation will not be measured for payment.

106-1.09 BASIS OF PAYMENT. Add the following subsection: Item 106(2), Pit Rehabilitation will be full compensation for providing all required labor, equipment, and materials to complete the authorized work.

Payment will be under:

Pay Item No.	Pay Item	Pay Unit

106(2)	Pit Rehabilitation	Contingent Sum

SECTION 107

LEGAL RELATIONS AND RESPONSIBILITY TO

PUBLIC

Special Provisions

107-1.02 PERMITS, LICENSES AND TAXES. Add the following: Prior to removing, stockpiling, staging or disposing of any material or equipment in, on or from a location not previously permitted by the contract, the Contractor shall obtain all necessary permits and clearances required. These permits and clearances may include, but are not limited to, State Historic Preservation Office clearance, a Division of Governmental Coordination Coastal Consistency Determination, Alaska Department of Natural Resources Mining Reclamation Permit, Alaska Department of Environmental Conservation permits, Alaska Department of Fish and Game Title 16 permit, US Fish and Wildlife endangered species clearance, US Army Corps of Engineers clearances and permits regarding wetlands, City or Borough Flood Hazard permit, Kenai Peninsula Borough Land Use Permit, local development permits, permission of property owner, etc.

The Contractor shall obtain a written statement from the State Historic Preservation Officer stating that material disposal, extraction, stockpiling or staging, on any off project site, is not expected to impact any cultural resources. The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at (907) 269-8715. Should cultural resources be discovered during construction activities, work at that site shall be stopped and the Engineer notified.

The Contractor shall provide a wetland specialist able to conduct wetlands determinations and delineations in accordance with the Corps of Engineers 1987 Wetland Delineation Manual, of any site outside the project limits or not previously permitted, that will be impacted by the Contractor's operations. These delineations will be subject to Corps of Engineers approval.

The Contractor shall provide a copy to the Engineer, of all permits or clearances received prior to Contractor's use of any site outside the project limits. Additionally, the Contractor shall provide the Engineer a written statement that all permits or clearances necessary have been obtained. Contractor shall also provide a written statement to the Engineer listing agencies or offices contacted which responded that no additional action was required on the part of the Contractor.

(7/8/98)R7

107-1.08 RAILWAY-HIGHWAY PROVISIONS. Delete the first paragraph and substitute the following: If the Department determines that the construction of the project will require that materials be hauled across the tracks of any railway, the Department will make arrangements with the railway for the use of such crossings. The Contractor shall obtain permits from the Railroad if additional temporary crossings are needed. (2/18/99)R239

107-1.11 PROTECTION AND RESTORATION OF PROPERTY AND LANDSCAPE. Add the following to the third paragraph: When working near designated wetlands the Contractor shall place no fill, nor operate equipment outside the slope limits. Refueling and servicing of equipment shall not be performed within 100 feet of wetlands.

Add the following after Item 10:

11.	If water for any construction purpose is required from a non-municipal water source, the Contractor shall obtain a Temporary Water Use Permit from the Water Resource Manager, and provide a copy to the Engineer. The Water Resource Manager is with the Department of Natural Resources in Anchorage and may be contacted at (907) 269-8624.

(7/8/98)R7

Add the following: The Contractor shall not excavate, nor use for fill, any material at any site suspected of or found to contain hazardous materials or petroleum fuels. The Contractor shall not stockpile, nor dispose of, any material at any site suspected of or found to contain hazardous materials or petroleum fuels.

The Contractor shall not use land from any park, recreation area, wildlife or waterfowl refuge, or any historical site located inside or outside of the project limits for material extraction, excess fill disposal, construction staging activities, equipment or material storage, or for any other purposes unless permitted by the contract. If the Contractor chooses to pursue permit modifications, such modifications shall be requested through the Engineer.

The Contractor shall do no work, stockpiling, staging, parking nor trespassing in or around any watercourses except for that work permitted in Quartz and Daves Creeks and Tern Lake that is specified by the contract.

All debris from the project construction shall be removed from the area as soon as possible and disposed of according to approved methods of the ADEC Solid Waste Program.

(7/8/98)R7

Standard Modifications

107-1.13 RESPONSIBILITY FOR DAMAGE CLAIMS. In the first sentence, change "claims or actions for injuries" to read "claims, actions or liabilities for injuries". (5/12/89)M9

Special Provisions

107-1.15 CONTRACTOR'S RESPONSIBILITY FOR WORK. Add the following to the end of the first paragraph: Damage caused by the public, prior to acceptance (Partial Acceptance or Project Completion), shall be corrected at the Contractor's expense. (5/7/91)S48

Standard Modifications

107-1.16 CONTRACTOR'S RESPONSIBILITY FOR UTILITY PROPERTY AND SERVICES. In the last sentence of the third paragraph delete: "by the local fire authority." (5/12/89)M10

Special Provisions

107-1.16 CONTRACTOR'S RESPONSIBILITY FOR UTILITY PROPERTY AND SERVICE. Delete paragraphs four and five in their entirety, and substitute the following: If utility facilities are damaged by the Contractor, the owning utility has the choice of making the repair or having the Contractor correct the damage. The Contractor shall reimburse the utility for repair costs, or provide at no cost, all materials, labor and equipment if he repairs the damage.

The Contractor will not be responsible for the costs of repairing damaged facilities when:

1.	The utility mislocates the facility in the field by more than 2.5 feet horizontally for non-frozen soil conditions, or

2.	When the location or existence of the buried facility is unknown by the utility.

(10/1/92)R8

Add the following before the last paragraph: Where the Contractor's operations meet any of the following conditions, the Contractor shall advise the owning Utility in writing at least 24 hours in advance of the work.

1.	Operations anticipated to be within 10 feet of an overhead electrical line.

2.	Operations anticipated to be within 3 feet of an underground electrical line according to locates provided by the owning Utility.

3.	Operations requiring use of equipment which is capable of coming within 10 feet of an overhead electrical line.

The notice shall indicate the location and duration of the work to be performed.

The Contractor shall provide an attendant whose sole responsibility is to perform as a safety observer while equipment is operating such that any part is capable of reaching within 15 feet of an overhead line.

Providing a safety observer for overhead electrical facilities, or a cable watch for buried electrical facilities, will not be paid for separately, but will be subsidiary to the item(s) of work being performed requiring these services.

(4/21/94)R170

Add the following subsections:

107-1.21 PERMITS. The following permits have been received on the Contractor's behalf by the Department:

1.	U.S. Army Corps of Engineers Nationwide Permit 23, Permit No. D-980853, dated April 15, 1999. This permit is for wetland involvement with the highway reconstruction, for installation of the Quartz Creek Spur dikes, and for material extraction at the Quartz Creek Material Site.

2.	State of Alaska Department of Fish and Game Title 16 Permits:

FG No. 98-KR-0165, dated April 2, 1999. This permit has an instream timing work window from May 15 through July 15. This permit covers the following sites:

a.	Quartz Creek spur dike construction and Quartz Creek channel dredging.

b.	Station 2183 overflow culverts.

c.	Station 2188 culvert and connecting channel.

d.	Station 2328+25 culvert. This site does not have an instream timing work window.

FG No. 98-II-0570 Amendment I, dated April 7, 1999. This permit has an instream timing work window from May 15 through July 15, for culvert at Station 1992+62.

FG No. 98-II-0571, dated August 24, 1998. This permit has an instream timing work window from May 15 through July 15, for culvert at Station 2186+36, and connecting channel to the material site.

FG No. 98-II-0572, dated August 25, 1998, for culvert at Station 2192+23.

FG No. 98-II-0573 Amendment I, dated April 7, 1999, for culvert at Station 2194+45.

FG No. 98-II-0574, dated August 25, 1998, for culvert at Station 2294+66.

FG No. 98-II-0575 Amendment I, dated April 7, 1999, for culvert at Station 2333+23.

FG No. 98-II-0576, dated August 25, 1998, for culvert at Station 2345+79.

FG No. 98-II-0577, dated August 25, 1998, for culvert at Station 2361+20.

FG No. 98-II-0578, dated August 25, 1998, for culvert at Station 2364+95.

FG No. 98-II-0579, dated August 25, 1998, for culvert at Station 2378+73.

3.	Alaska Department of Fish and Game Permit to “Take or Remove Nuisance Beaver(s)” No. 01-99, dated March 30, 1999. This permit is to remove the beaver dam and lodge at the Quartz Creek bridge and along the project corridor as needed.

4.	Alaska Department of Environmental Conservation Short-Term Water Quality Variance No. WQV2-4, dated April 5, 1999. This permit is for dredging operations in the Quartz Creek channel.

5.	Alaska Department of Natural Resources, Division of Parks and Outdoor Recreation, Park Use Permit No. 99-KA-0176, dated March 29, 1999. This permit is for dredging and installation of the Quartz Creek spur dikes, and for paving of MP 46 pullout.

6.	Kenai Peninsula Borough Planning Commission Resolution granting approval of a Land Use Permit to operate a sand, gravel or material site, dated February 8, 1999.

7.	Department of Natural Resources Land Use Permit # LAS-2239 for the use of the depleted material site MS 31-1-021-1 for the disposal of unusable excavation. This site is located east of the Seward Highway at MP 41.9.

The Contractor shall provide the information necessary to comply with the US Environmental Protection Agency National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska to discharge stormwater from the construction site. Requirements for this permit are given under Section 641, Erosion and Pollution Control.

The permits obtained by the Department are attached to these specifications as Appendix B. The terms, conditions, and stipulations contained in all the permits obtained by either the Department or the Contractor are hereby made a part of these specifications. It is the Contractor's responsibility to abide by the stipulations contained in each permit. If it is determined that an activity cannot be performed as specified in one of the permits, the Contractor shall cease work and immediately notify the Engineer. The Engineer will then decide if a permit modification is necessary. The Engineer will have copies of the permits posted in the project office.

It is the Contractor’s responsibility to obtain all permits required for actions not permitted previously by ADOT&PF. The Contractor is responsible for complying with all permit stipulations, conditions and/or terms. Agencies to contact for permit information may include, but is not limited to, the U.S. Army Corps of Engineers, the Environmental Protection Agency, the U.S. Fish and Wildlife Service, the Alaska Department of Fish and Game, the Alaska Department of Environmental Conservation, the Alaska Department of Natural Resources, and local or regional governments. The Contractor shall provide timely notification of such actions and permit acquisitions as may be required by federal, state, regional, and local authorities. The Contractor shall provide copies of all permits, and applicable Federal and State notifications to the Project Engineer.

(5/23/96)R9A

107-1.22 FEDERAL AFFIRMATIVE ACTION. The Federal Equal Employment Opportunity, Disadvantaged Business Enterprise, and On-the-Job Training affirmative action program requirements that are applicable to this Contract are contained in the project Special Provisions and Contract Forms, and may include:

Disadvantaged Business Enterprise (DBE) Program			Section 120

Training Program							Section 645

Federal EEO Bid Conditions						Form 25A301

EEO-1 Certification							Form 25A304

DBE Subcontractable Items						Form 25A324

ADOT&PF Training Program Request				Form 25A310

Training Utilization Report						Form 25A311

Contact Report							Form 25A321A

DBE Utilization Report						Form 25A325C

Summary of Good Faith Effort Documentation			Form 25A332A

Required Contract Provisions, Federal-Aid Contracts		Form 25D-55

In addition to the sanctions provided in the above references, non-compliance with these requirements is grounds for withholding of progress payments.

In addition to the reports required in the above references, the Contractor shall submit a copy of Form CC-257 to the Department by the 15th of each month of the current construction season, reflecting the composition of the previous month’s workforce. This information must also be made available, upon request, to the US Department of Labor, Office of Federal Contract Compliance Programs.

(8/13/98)S80

SECTION 108

PROSECUTION AND PROGRESS

Special Provisions

108-1.01 SUBLETTING OF CONTRACT. Delete the second paragraph. (6/6/94)S68

108-1.01 SUBLETTING OF CONTRACT. Delete the third paragraph on page 56 and substitute the following: The hauling of materials for the project by bona fide truck owner-operators who are listed as such on the certified payroll of the Contractor (or an approved subcontractor) shall not be considered as subcontracting under these provisions. Truck owner-operators shall be required to submit documentation to the Contractor as is necessary to prove the trucker is a bona fide owner-operator. As a minimum, those records, for each truck owner-operator, shall include current and valid copies of:

1.	Alaska Commercial Driver's License, with the appropriate endorsements for the class of vehicle to be operated,

2.	business license for trucking together with supporting documents that list the driver as the business owner or corporate officer,

3.	documents showing the driver's ownership interest in the truck including:

a.	truck registration, and

b.	lease (if truck is not registered in driver's name or in the name of the driver's company).

The Contractor shall maintain legible copies of such records for a period of at least three years after final acceptance of the project.

Additionally, to be classified as a valid owner-operator a truck driver must also qualify as an independent contractor under the following Alaska Department of Labor (DOL) criteria which establish whether or not they are an employee or an independent contractor. The status of owner-operators is subject to evaluation throughout the project period and when the criteria for an independent contractor are not found to exist, amended payrolls must be submitted listing the driver as an employee subject to all labor provisions of the contract. These criteria are:

1.	The owner-operator's right to control the manner in which the work is to be performed,

2.	the owner-operator's opportunity for profit or loss depending upon their managerial skill,

3.	the owner-operator's investment in equipment or materials required for their task, or the employment of helpers,

4.	whether the service rendered requires a special skill,

5.	the degree of permanence of the working relationship, or

6.	whether the service rendered is an integral part of the owner-operator's business.

The Contractor shall issue a placard to each owner-operator. The placard shall identify both the truck driver and the vehicle and shall be prominently displayed such that it is visible to the scale person or inspectors. The identification system must be approved by the Engineer prior to use.

(5/7/91)S49

108-1.03 PROSECUTION AND PROGRESS. In the first paragraph, delete the words "At this time" and substitute: "Five working days before the preconstruction conference". (5/7/91)S50

Standard Modifications

108-1.03 PROSECUTION AND PROGRESS. In Item 1. insert: ", in a format acceptable to the Engineer," immediately after the words: "a progress schedule".  (5/12/89)M11

Special Provisions

108-1.03 PROSECUTION AND PROGRESS. Delete Items 5.and 7, of the first paragraph and substitute the following:

5.	A draft Storm Water Pollution Prevention Plan, Hazardous Material Control Plan, Notice of Intent, and activities description, as required under Section 641.

7.	A letter designating the EEO Officer and the DBE Officer and those persons' responsibilities and authority.

(2/18/99)R160

Add the following: The construction of this project shall be planned and recorded with a Critical Path Method (CPM) schedule. The schedule shall be used for coordination and monitoring of all work under the contract including all activity of subcontractors, manufacturers, suppliers, utility companies and review activity of the Department.

1.	Preparation of CPM Schedule. At the preconstruction conference, the Contractor shall submit for the Engineer's approval, a detailed initial CPM schedule. The schedule shall meet the requirements set forth below.

The construction time, for the entire project shall not exceed the specified contract time.

Following the Engineer's review, if revisions to the proposed CPM schedule are required, the Contractor shall do so promptly. The CPM schedule must be finalized within 60 days of the Notice to Proceed.

2.	Schedule Requirements. The CPM schedule shall be presented as a Precedence Diagram Network developed in the activity-on-node format and shall include:

a.	activity description,

b.	activity duration,

c.	resources required for each of the project activities, including:

(1)	labor, showing:

-work days per week

-holidays

-shifts per day

-hours per shift

(2)	equipment, including the number of units of each type of equipment, and

(3)	materials.

The activity-on-node diagram shall show the sequence and interdependence of all activities required for complete performance of all items of work under this contract, including shop drawing submittals and reviews and fabrication and delivery activities.

No activity duration shall be longer than 15 working days without the Engineer's approval.

The Engineer reserves the right to limit the number of activities on the schedule.

3.	60-Day Preliminary Schedule. Before proceeding with any work on site, the Contractor shall prepare, submit, and receive the Engineer's approval of a 60-Day Preliminary Schedule. Schedule shall provide a detailed breakdown of activities scheduled for the first 60 days of the project and shall include mobilization, submittals, procurement, and construction.

No contract work may be pursued at the site without an approved 60-Day Preliminary Schedule or an approved CPM schedule.

4.	Schedule Updates. Job site progress meetings will be held monthly by the Engineer and the Contractor for the purpose of updating the CPM schedule. Progress will be reviewed to verify finish dates of completed activities, remaining duration of uncompleted activities, and any proposed logic and/or time estimate revisions. The Contractor shall submit a revised CPM schedule within 7 calendar days after this meeting. The revised schedule shall show finish dates of completed activities and updated times for the remaining work, including any addition, deletion, or revision of activities required by contract modification.

The contract completion time will be adjusted only for causes specified in this contract.

As determined by CPM analysis, only delays in activities which affect milestone dates or contract completion dates will be considered for a time extension.

It is understood by the Engineer and the Contractor that float is shared equally.

In addition to the CPM schedule, the Contractor shall, every two weeks during construction, submit a work plan detailing his proposed operations for the forthcoming two weeks. This plan shall detail the following:

1.	work activities,

2.	manpower involved by trade,

3.	work hours,

4.	equipment involved, and

5.	the location of the work to be performed.

Preparation and updating of the CPM schedule and two week work plans will not be paid for directly. Failure to submit the CPM work schedule and two week work plans as specified will result in partial withholding of progress payments in accordance with subsection 109-1.06, Progress Payments.

(12/13/96)R11

108-1.04 LIMITATION OF OPERATIONS. Add the following: No pile driving shall occur from Station 2016+23 to Station 2031+09, during the period March 1 to May 31.

Any proposed deviation from the work as shown on the plans between Station 2286+00 and Station 2290+00, and between Station 2341+00 and Station 2345+00, must be submitted to the Engineer for approval. Documents shall be prepared and stamped by an engineer registered in the State of Alaska. Work shall not commence until written approval from the Engineer is received by the Contractor.

108-1.05 CHARACTER OF WORKMEN, METHODS AND EQUIPMENT. Add the following: The Contractor shall provide the Engineer with make, model, year, capacity, horsepower, and the related information of every piece of powered equipment used on the project. This information shall be updated weekly unless otherwise directed by the Engineer. (9/1/89)R13

Standard Modifications

108-1.07 FAILURE TO COMPLETE ON TIME. Replace the third sentence of the first paragraph with the following: The amount of these deductions is to reimburse the Department for estimated additional contract administration expenses incurred as a result of the Contractor's failure to complete the work within the time specified.

Replace Table 108-1 with the following:

TABLE 108-1

DAILY CHARGE FOR LIQUIDATED DAMAGES

FOR EACH CALENDAR DAY OF DELAY

| Original Contract Amount |  |  |
| --- | --- | --- |
| From More Than | To and Including | Daily Charge |
| $ 0 | $ 100,000 | $ 300 |
| 100,000 | 500,000 | 550 |
| 500,000 | 1,000,000 | 750 |
| 1,000,000 | 2,000,000 | 1,000 |
| 2,000,000 | 5,000,000 | 1,500 |
| 5,000,000 | 10,000,000 | 2,500 |
| 10,000,000 | - | 3,000 |

(7/2/93)M49

Special Provisions

108-1.07 FAILURE TO COMPLETE ON TIME. Add the following after Table 108-1:

The daily charges may be terminated at or following the final inspection, if the Department has determined that the work is substantially complete and is in a condition for safe and convenient use by the traveling public. The work will be considered substantially complete when all necessary signing, striping, guardrail, and other safety appurtenances have been installed. For projects that will not be opened to the traveling public, the work will be considered substantially complete when it is ready for the subsequent project. This shall not be construed as a contractual right and its application will be contingent upon the Contractor's diligence in completing the remaining items of work.

108-1.09 TERMINATION OF WORK FOR DEPARTMENT'S CONVENIENCE. Delete the second sentence of the fourth paragraph and substitute the following: Payment for partially completed work will be made at actual costs incurred plus a reasonable profit.

Delete the fifth and sixth paragraphs and substitute the following:

After receipt of a Notice of Termination, the Contractor shall submit to the Contracting Officer, his claim for additional costs not covered above or elsewhere in these Specifications. Such claim may include such cost items as reasonable idle equipment time, mobilization efforts, bidding and project investigative costs, overhead expenses directly allocable to the project termination and not covered under work paid for in the preceding paragraph, legal and accounting charges and other expenses reasonably necessary in claim preparation, subcontractor costs not otherwise paid for, actual idle labor costs if work is stopped in advance of termination date, guaranteed payments for private land usage as part of the original Contract, and any other costs for which the Contractor feels reimbursement should be made. The intent of negotiating this claim would be to reach an equitable settlement figure with the Contractor for the actual costs incurred. In no event, however, will loss of anticipated profits or consequential damages be considered as part of any settlement.

For any claim related to operating equipment owned by the Contractor, the Contractor is entitled to recover equipment costs based on the Contractor's actual costs for ownership and actual operating expenses. For any claim related to idle equipment time for equipment owned by the Contractor, the Contractor is entitled to recover equipment rates based on the Contractor's internal ownership costs. Recovery for operating equipment or idle equipment time shall not be based on published rental rates. Claims for idle equipment time following termination of the contract are limited to a maximum of 30 days, and may not include any operating expenses. In the case of rented or leased equipment, the Contractor shall recover the lesser of its actual rental costs or fair market rental costs, and the amount paid shall not exceed 30 days rental.

(2/18/99)R241

SECTION 109

MEASUREMENT AND PAYMENT

Special Provisions

109-1.01 GENERAL. Add the following: When more than one type of material or work is specified for a pay item, letter or numeric suffixes, included within the parenthesis following the pay item number, will differentiate the types. (7/2/93)S63

109-1.02 MEASUREMENT OF QUANTITIES. After the ninth paragraph, insert the following: The Contractor shall furnish competent scale operators to weigh all materials measured and paid for on a weight basis.

The original daily weight record shall be furnished to the Engineer at the end of each shift.

The Engineer may, at random intervals, designate previously weighed vehicles to be reweighed, in his presence, to verify the weight of the materials being purchased. This will include empty or loaded vehicles as the Engineer may designate.

No direct payment will be made for furnishing scale operators, equipment, and incidentals required. Costs thereof will be subsidiary to bid prices of the material being weighed.

(7/2/93)S11

Add the following:

Conversion factors to the SI system of units are as follows:

| From | To | Symbol | Multiply by |
| --- | --- | --- | --- |

Length

| Inch | Millimeter | mm | 25.4 * |
| --- | --- | --- | --- |
| Foot | Meter | m | 0.304 8 * |
| Yard | Meter | m | 0.914 4 * |
| Mile | Kilometer | km | 1.609 344 * |
| Foot (U.S. Survey) | Meter | m | 0.304 800 6 |

Area

| Square Inch | Square Millimeter | mm2 | 645.15 * |
| --- | --- | --- | --- |
| Square Foot | Square Meter | m2 | 0.092 903 04* |
| Square Yard | Square Meter | m2 | 0.836 127 36* |
| Square Mile | Square kilometer | km2 | 2.590 00 |
| Acre | Square Meter | m2 | 4 046.856 |
| Acre | Hectare (10 000 m2) | ha | 0.404 685 6 |

Volume

| Cubic Inch | Cubic Millimeter | mm3 | 16.387 064 * |
| --- | --- | --- | --- |
| Cubic Foot | Cubic Meter | m3 | 0.028 316 8 |
| Cubic Yard | Cubic Meter | m3 | 0.764 555 |
| Acre Foot | Cubic Meter | m3 | 1 233.49 |
| 100 board feet | Cubic Meter | m3 | 0.235 974 |
| Cubic Foot | Liter | L | 28.316 85 |
| Gallon | Liter | L | 3.785 41 |

Temperature

| Degree Fahrenheit | Degree Celsius C | C | TC=(TF-32)/1.8 |
| --- | --- | --- | --- |

Force

| Pound-force (lbf) | Newton | N | 4.448 222 |
| --- | --- | --- | --- |
| Pound/square-inch(Psi) | Pascal | Pa | 6 894.757 |

Mass

| Pound-mass (lbm) | Kilogram | kg | 0.453 592 |
| --- | --- | --- | --- |
| Ton (Short, 2,000 lbs) | Megagram | Mg | 0.907 184 7 |
| Ton (Short, 2,000 lbs) | Kilogram | kg | 907.184 7 |

NOTE: * denotes an exact number.

All conversion factors are extracted from ASTM E 380-93, "Standard Practice for Use of the International System of Units (SI) (The Modern Metric System)," and AASHTO publication "Guide To Metric Conversion." (1/4/96)R136

Standard Modifications

109-1.03 SCOPE OF PAYMENT. Delete the last sentence of the fourth paragraph. (5/7/91)M33

Special Provisions

109-1.05 COMPENSATION FOR EXTRA WORK. Under item 3, Equipment, change the first sentence to read ..."Rental Rate Blue Book for Construction Equipment", published by Primedia Information, Inc., 10 Lake Drive, Hightstown, NJ 08520-5397.

Under item 3, Equipment, add the following to the second paragraph: The rental rate area adjustment factors for this project shall be as specified on the adjustment maps for the Alaska - South Region.

(2/18/99)R14

109-1.06 PROGRESS PAYMENTS. Add the following: Failure to submit schedules in accordance with subsection 108-1.03, Prosecution and Progress will result in withholding an amount equal to 5 percent of the total amount earned from all subsequent progress payments. This retainage will be released by the Engineer upon receipt of current schedules from the Contractor.

Failure to comply with the requirements of the National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska, as indicated under Section 641, Erosion and Pollution Control, will result in withholding an amount equal to 5 percent of the total amount earned from all subsequent progress payments. This retainage will be released by the Engineer upon satisfactory completion of the requirements of the permit.

(9/21/92)R137A

109-1.07 PAYMENT FOR MATERIALS ON HAND. Add the following: The location of stockpiled materials for payment in acceptable storage facilities off the project will be in Alaska, at a location acceptable to the Engineer. (9/1/89)R16

Add the following: Materials shall be physically separated from the other materials stored at the storage location. Materials shall be clearly labeled with the project name and number. Materials shall be stored in accordance with the manufacturer's published recommendations. A copy of any such recommendations shall be provided to the Engineer.

Should storage conditions become unsatisfactory, any payments made for the materials will be classified as unearned. If the Contractor has not earned sufficient funds to cover the cost of a deduction on the next progress payment, a request for repayment will be sent to the Contractor. The Contractor agrees to repay the Department within 30 days from the date of a request to refund payment when the storage conditions have become unsatisfactory. Unsatisfactory storage conditions include, but are not limited to:

1.	Storage not in accordance with the manufacturer's recommendations.

2.	Commingling or storage of other materials where any element of doubt exists as to which materials belong in which lot.

3.	Unsatisfactory labeling of materials.

4.	Any liens filed on the materials for storage or transport, or by the supplier or manufacturer of the material.

5.	Change of the storage locations without obtaining approval of the Engineer prior to the relocation.

6.	Damage to all or part of the materials by fire, theft, or other peril.

Should labor, travel, or any other costs be incurred for inspection off the limits of the project, the Contractor shall reimburse the Department for these costs.

The Contractor releases and discharges the Department from any liability arising out of, or in any way related to, the payment for materials on hand and/or to the storage or transport of these materials. The Contractor is responsible for damages or delays which may relate to the storage or transport of the materials.

(7/2/93)S64

Add the following Section:

SECTION 120

DISADVANTAGED BUSINESS ENTERPRISE (DBE) PROGRAM

Special Provisions

120-1.01 DESCRIPTION. The work consists of providing Disadvantaged Business Enterprises (DBEs), as defined in Title 49, CFR (Code of Federal Regulations), Part 23, with the maximum opportunity to participate in the performance of contracts financed in whole or in part with federal funds. The Contractor shall not, nor shall subcontractors or others associated with this contract discriminate on the basis of race, color, national origin, or sex in the award and performance of work under this contract. The Contractor shall carry out applicable requirements of 49 CFR part 26 in the award and administration of DOT-assisted contracts.

120-1.02 INTERPRETATION. It is the intent of this section to implement the requirements of 49 CFR, Part 23, in compliance with the Federal Highway Administration's DBE Program guidelines and the Department's federally approved DBE Program.

120-1.03 ESSENTIAL CONTRACT PROVISION. Failure to comply with the provisions of this section shall be considered a material breach of contract. The Department also considers failure to comply with this section to be so serious as to justify debarment action as provided in AS36.30.640(4).

120-1.04 DEFINITIONS AND TERMS

1.	Broker. A DBE that arranges for the delivery or provision of creditable materials, supplies, equipment, insurance, bonding, etc., within its certified category, that is necessary for the completion of the project. A broker of materials certified in a supply category must be responsible for scheduling the delivery of materials and fully responsible for ensuring that the materials meet specifications before credit will be given.

2.	Commercially Useful Function (CUF). The execution of a contract or a distinct element of work or service under a contract by the DBE actually performing, controlling, managing, and supervising the work involved with its own equipment and employees within its certified category. The determination of CUF is made by the Engineer after evaluating the way in which the work was performed during the execution of the contract.

3.	Disadvantaged Business Enterprise (DBE). A firm certified by the State of Alaska, Department of Transportation and Public Facilities, in accordance with 49 CFR, Part 23, or one granted that status under the Alaska Native Claims Settlement Act, 1991 Amendments and certified by the Department for participation in the Department's DBE program.

4.	Good Faith Efforts. The affirmative action measures that shall be taken by a contractor to meet the DBE Program objectives and goals for this project.

5.	Manufacturer. A DBE certified in a supply category that changes the shape, form, or composition of original material in some way and then provides that altered material to the project and to the general public or the construction industry at large on a regular basis.

6.	Original DBE Utilization Goal. The percent of work to be performed by certified DBEs that is established by the Department and specified in the contract bid schedule before approval of the Revised DBE Utilization Goal.

7.	Regular Dealer. A DBE certified in a supply category that

a.	maintains an in-house inventory on a regular basis of the particular product provided to this project,

b.	keeps an inventory in an amount appropriate for the type of work using that product, and

c.	offers that inventory for sale to the general public or construction industry at large (private and public sectors), not just supplied as needed on a project by project basis during the construction season, except where the product requires special or heavy equipment for delivery and the DBE possesses and operates this equipment on a regular basis throughout the construction season in order to deliver the product to the general public or construction industry at large. If the distribution equipment is rented or leased, it must be on a repetitive, seasonal basis.

8.	Revised DBE Utilization Goal. The DBE Utilization as submitted by the contractor and approved by the Department for this project on Form 25A325C. The Revised DBE Utilization Goal may be equal to, greater than, or less than the Original DBE Utilization Goal, if approved. Once approved, this Revised goal becomes the minimum required DBE participation during the execution of the contract.

120-2.01 UTILIZATION GOAL. The Original DBE Utilization Goal for this contract is shown on the Bid Schedule as a percentage of the total basic bid amount. In order for the work of the DBE to be credited towards meeting the Original DBE Utilization Goal at time of contract award, the DBE must be certified by the Department in a category covering the CUF to be performed at the time of listing on the "DBE Utilization Report" (Form 25A325C).

A bidder shall demonstrate the ability to meet the Original DBE Utilization Goal or perform and document all of the required Good Faith Efforts under Subsection 120-3.02 in order to be eligible for award of this contract.

120-3.01 DETERMINATION OF COMPLIANCE

1.	Phase I - Bid and Award. In addition to bid submission requirements, the apparent low bidder shall demonstrate DBE responsibility prior to award of this contract by:

a.	Submitting, within 15 days of receipt of the notice of intent to award, a copy of the DBE Utilization Report (Form 25A325C) listing the certified DBEs to be used to meet the goal.

b.	If the contractor submits less DBE utilization on Form 25A325C than is required to meet the Original DBE Utilization Goal, documentation of Good Faith Effort in the form of the Summary of Good Faith Effort Documentation (Form 25A332A and attachments) and DBE Contact Reports (25A321A) shall be submitted. If accepted by the Department, this lower DBE utilization becomes the Revised DBE Utilization Goal.

If the bidder cannot demonstrate the ability to meet the Original DBE Utilization Goal, failure to document the minimum required Good Faith Efforts will result in the bid being declared nonresponsive.

c.	Where the bidder submits more DBE utilization on Form 25A325C than is required by the Original DBE Utilization Goal, this higher DBE utilization, if accepted by the Department, becomes the Revised DBE Utilization Goal.

2.	Phase II - Construction. At the preconstruction conference, the Contractor shall submit, in writing, the designation of a DBE officer.

The CUF work items and creditable dollar amounts shown for a DBE on the DBE Utilization Report (Form 25A325C) shall be included in any subcontract, purchase order or service agreement with that DBE. Prior written request by the Contractor and approval from the Engineer is required for the replacement of a DBE for any reason. If DBE replacement is approved, the Contractor is obligated to replace the DBE with another DBE for the same work in order to still meet the Revised DBE Utilization Goal. If the Contractor cannot find a replacement DBE, the Contractor shall document the required Good Faith Efforts stipulated in Subsection 120-3.02 for the items of work to have been performed by the replaced DBE in order to have the Revised DBE Utilization Goal reduced.

120-3.02 GOOD FAITH EFFORT. The Contracting Officer will use all of the following criteria to judge if the bidder, who has not met the Original DBE Utilization Goal, has demonstrated sufficient Good Faith Effort to be eligible for award of the contract. Failure by the Contractor to perform and document any of the following actions 1-7 constitutes insufficient Good Faith Effort.

1.	Consideration of all subcontractable items. The Contractor shall, at a minimum, seek DBE participation for each of the subcontractable items upon which the DBE goal was established as identified by the Department prior to bid opening (see Form 25A324).

2.	Selection of the most appropriate items or portions of items to be performed by DBEs in order to increase the likelihood of achieving the stated goal.

3.	Notification at least 10 calendar days prior to bid opening to all DBEs listed in the Department's most current DBE Directory certified to perform those work items identified in Form 25A324 of the bidder's/Contractor's interest in securing the DBE's participation in the execution of the work. Each contact with the DBE shall be logged on a "Contact Report" (Form 25A321A).

4.	Request for DBE participation on specific items of work or services. Allegations of non-competitive DBE quotes must be documented and verifiable. A DBE quote that is more than 10.0% higher than the accepted non-DBE quote shall be deemed non-competitive, provided the DBE and non-DBE quotes are for the exact same work or service. Where the Contractor rejects a DBE quote as being non-competitive under this condition, the work performed and payments received by the non-DBE during the execution of the contract shall be consistent with the non-DBE's accepted quote. This does not preclude increases as a result of Change documents issued by the Department.

5.	Provision of assistance to DBEs who need help in obtaining bonding or insurance required by the bidder.

6.	Providing prospective DBEs with adequate information about the requirements of the contract regarding the specific item of work or service sought from the DBE.

7.	Follow-up of initial solicitations for interest by contacting DBEs to determine with certainty whether or not they were interested in bidding. Documentation of follow-up contacts shall be logged on the "Contact Report" (Form 25A321A).

Items 4. through 7. will be utilized to evaluate any request from the Contractor for a reduction in the Revised DBE Utilization Goal due to the default or decertification of a DBE and the Contractor's subsequent inability to obtain additional DBE participation.

120-3.03 COMMERCIALLY USEFUL FUNCTION (CUF). Measurement of attainment of the Revised DBE Utilization Goal shall be based upon the actual amount of money received by the DBEs for creditable CUF work on this project as determined by the Engineer in accordance with this Section.

CUF is limited to that of a:

a.	regular dealer,

b.	manufacturer,

c.	broker,

d.	subcontractor,

e.	joint-venture, or

f.	prime contractor.

In order for the CUF work of the DBE to be credited toward the goal, the Contractor shall ensure that all of the following requirements are met:

1.	The DBE shall be certified in the appropriate category at the time of:

a.	the Engineer's approval of the DBE subcontract; and

b.	the issuance of a purchase order or service agreement by the Contractor to a DBE performing as either a manufacturer, regular dealer, or broker (with a copy to the Engineer).

2.	The CUF performed by a DBE certified in a supply category will be evaluated by the Engineer to determine whether the DBE performed as either a broker, regular dealer, or manufacturer of the product provided to this project.

3.	A DBE trucking firm certified and performing work in a transportation/hauling category is restricted within that category to the CUF of a broker. (This does not effect the CUF of that same firm, when performing work as a subcontractor and certified in another category such as embankment or excavation which could include the hauling of materials for that work.)

4.	The Contractor will receive credit for the CUF performed by DBEs as provided in this Section. Contractors are encouraged to contact the Engineer in advance of the execution of the DBE's work or provision of goods or services regarding CUF and potential DBE credit.

5.	Should a DBE performing a CUF become decertified during the term of the subcontract, purchase order, or service agreement for reasons beyond the control of and without the fault or negligence of the Contractor, the work remaining under the subcontract, purchase order, or service agreement may be credited toward the Revised DBE Utilization Goal.

6.	Should the DBE be decertified between the time of contract award and the time of the Engineer's subcontract approval or issuance of a purchase order or service agreement, the work of the decertified firm shall not be credited toward the Revised DBE Utilization Goal. The Contractor must still meet the Revised DBE Utilization Goal by either:

a.	Withdrawing the subcontract, purchase order or service agreement from the decertified DBE and expending Good Faith Effort (Subsection 120-3.02, items 4-7) to replace it with one from a currently certified DBE for that same work or service through subcontractor substitution (Subsection 103-1.01), or

b.	Continuing with the subcontract, purchase order or service agreement with the decertified firm and expending Good Faith Effort to find other work not already subcontracted out and DBEs in an amount to meet the Revised DBE Utilization Goal through either

1)	subcontractor substitution (Subsection 103-1.01),

2)	increasing the participation of other DBEs on the project,

3)	documenting Good Faith Efforts (Subsection 120-3.02, items 4-7),

4)	or by a combination of the above.

7.	The DBE may perform work in categories for which it is not certified, but only work performed in the DBE's certified category meeting the CUF criteria may be credited toward the Revised DBE Utilization Goal.

8.	The Engineer shall consider the following criteria when determining what CUF is being performed by the DBE:

a.	The work performed shall be necessary and useful work required for the execution of the contract.

b.	The scope of work shall be distinct and identifiable with specific contract items of work, bonding, or insurance requirements.

c.	The work shall be performed, controlled, managed, and supervised by employees normally employed by and under the control of the certified DBE, with the exception allowed under (d) below. Either the DBE owner or an on-site DBE representative, DBE superintendent, or DBE foreman shall be responsible for the work at the site. All such DBE representatives must be designated as a key employee in the DBE's certification records with the Department prior to DBE subcontract award.

d.	The DBE shall use their own employees and equipment for the execution of the work. An exception to this requirement may be permitted where the DBE must perform a specialty task or where the work is in a remote area. In such instance, the DBE may temporarily augment its project workforce with another contractor's equipment and employees (not to include supervision) in order to perform the work, if the Department considers this normal practice performed by non-DBE contractors, within the Alaskan construction industry.

On any project, this practice shall not involve more than 33.3% of the DBE's subcontract value. Also, the Contractor shall submit a request in writing from the DBE and secure the Department's approval for such arrangement prior to commencement of the DBE's subcontract work involved. Exclusive of this arrangement, the DBE's project work force shall be regular DBE employees.

In all instances, the DBE shall be responsible for its payroll and labor compliance requirements concerning all workers under its control. DBE leases and payments for equipment must be documented; Contractor withholding or retainage for DBE labor and equipment usage is not permissible. Two-party checks to individuals are not permissible.

e.	The manner in which the work is sublet or performed shall conform to standard, statewide industry practice within Alaska, as defined by the Department. The work or provision of goods or services shall have a market outside of the DBE program (must be performed by non-DBE firms within the Alaskan construction industry). Otherwise, the work or service will be deemed a superfluous step in the contracting or purchasing process and no DBE credit will be allowed.

There shall be no DBE credit for lower-tier non-DBE subcontract work, unless the Department defines this lower-tier subcontracting as standard, statewide industry practice within Alaska.

f.	The cost of the goods and services shall be reasonable and competitive with the cost of these goods and services outside the DBE program within Alaska. Materials or supplies needed as a regular course of the Contractor's operations such as fuel, maintenance, office facilities, portable bathrooms, etc. are not creditable.

The cost of materials actually incorporated into the project by a DBE subcontractor is creditable toward the DBE goal only if the DBE is responsible for ordering and scheduling the delivery of creditable materials and fully responsible for ensuring that the materials meet specifications.

g.	All subcontract work, with the exception of truck hauling, shall be sublet by the same unit of measure as is contained in the Bid Schedule unless prior written approval of the Engineer is obtained.

h.	The DBE shall control all business administration, accounting, billing, and payment transactions (this requirement does not preclude the two-party check allowance described under i., below). The prime contractor shall not perform the business, accounting, billing, and similar functions of the DBE. The Engineer may, in accordance with AS 36.30.420(b), inspect the offices of the DBE and audit the records of the DBE to assure compliance.

i.	Credit will not be allowed for payments made by the Contractor to others on behalf of the DBE.

Two-party checks may be issued by the Contractor on an occasional basis to the DBE and another business for work or services performed under the contract; however, the Engineer shall be notified in writing in advance. DBE credit will not be given for these two-party payments, if issued on a routine basis or issued to an extent greater than that offered by the prime to non-DBEs on the project.

j.	A DBE trucking firm certified and performing work in the transportation/hauling category shall have a supervisor on-site at all times in charge of the dispatching of trucks and the hauling of materials before any DBE credit may be credited. The DBE supervisor must be regularly employed by the DBE and designated as a key employee in the DBE's certification records with the Department prior to prime contract award.

9.	The Contractor shall provide proof (canceled checks or bank statements that identify payor, payee, and amount of transfer) of the actual monies paid for the qualifying work, goods and services provided by DBEs.

10.	If the quantity of work of a bid item which involves a DBE is reduced by the Department, the Original and Revised DBE Utilization Goals on Form 25A325C are reduced proportionately.

120-3.04 DEFAULT OF DBE. In the event that a DBE who has been placed under contract or to whom a purchase order or similar agreement has been issued defaults on their work for whatever reason, the Contractor shall immediately notify the Engineer of the default and the circumstances surrounding the default. The Contractor shall take immediate steps, without any order or direction from the Engineer, to retain the services of other DBEs to perform the defaulted work. In the event that the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the Revised DBE Utilization Goal if, in the opinion of the Engineer, both of the following criteria have been met:

1.	The Contractor had no fault or negligence in the default and that the circumstances surrounding the default were beyond the control of the Contractor.

2.	The Contractor is unable to find replacement DBE participation and has adequately performed and documented the Good Faith Effort expended in accordance with items 4 through 7 of Subsection 120-3.02 GOOD FAITH EFFORT for the defaulted work.

The Revised DBE Utilization Goal will be adjusted to reflect only that amount of the defaulted DBE's work that can not be replaced.

120-4.01 METHOD OF MEASUREMENT. The Contractor shall be entitled to count toward the Revised DBE Utilization Goal those monies actually paid to certified DBEs for CUF work performed by the DBE as determined by the Engineer. The Contractor will receive credit for the utilization of the DBEs, as follows:

1.	Credit for work performed by a DBE prime contractor is 100%, not to exceed the Original DBE Utilization Goal.

2.	Credit for the CUF of a subcontractor is 100% of the monies actually paid to the DBE under the subcontract for creditable work and materials.

3.	Credit for the CUF of a manufacturer is 100% of the monies paid to the DBE for the creditable materials manufactured.

4.	Credit for the CUF of a regular dealer of a creditable material, product, or supply is 60% of its value. The value will be the actual cost paid to the DBE but will not exceed the bid price for the item.

5.	Credit for the CUF of a broker performed by a DBE certified in a supply category for providing a creditable material, product or supply is limited to a reasonable brokerage fee. The brokerage fee shall not exceed 5% of the cost of the procurement contract for the creditable item.

6.	Credit for the CUF of a broker performed by a DBE certified in the transportation/hauling category for arranging for the delivery of a creditable material, product or supply is limited to a reasonable brokerage fee. The brokerage fee shall not exceed 5% of the cost of the hauling subcontract.

7.	Credit for the CUF of a broker performed by a DBE certified in a bonding or insurance category for arranging for the provision of insurance or bonding is limited to a reasonable brokerage fee. The brokerage fee shall not exceed 5% of the premium cost.

8.	Credit for the CUF of a joint venture (JV) (either as the prime contractor or a subcontractor) may not exceed the percent of the DBE's participation in the joint venture agreement, as certified for this project by the Department. The DBE joint venture partner shall be responsible for performing all of the work as delineated in the certified JV agreement.

120-5.01 BASIS OF PAYMENT. Meeting the Revised DBE Utilization Goal will be considered subsidiary to other items of work and no separate payment will be made.

If the Contractor fails to utilize the DBEs listed on Form 25A325C as scheduled or fails to submit required documentation to verify proof of payment or documentation requested by the Department to help in the determination of CUF, retainage may be withheld from progress payments. The retainage shall be sufficient to assure funds are available to cover the cost of the disincentive or potential disincentive.

If the Contractor fails to meet the Revised DBE Utilization Goal, payments will be reduced as a disincentive. The amount of the disincentive shall be equal to 50% of the difference between the Revised DBE Utilization Goal expressed in dollars and the total creditable DBE participation as determined by the Engineer.

If and only after the Original DBE Utilization Goal established on Form 25A325C in terms of dollars has been met, the Contractor may be eligible for an incentive payment based upon the following calculation:

10% of the total dollar amount of CUF work performed by DBE subcontractors not needed in the calculation to meet the Original DBE Utilization Goal; except that the total incentive paid to the Contractor will not exceed 2% of the total basic bid amount at time of original contract award or $100,000, whichever is less.

Payment of the incentive will be made on the final estimate. The disincentive will be withheld in the form of retainage during the course of the project. If sufficient retainage has not been withheld to cover the cost of the disincentive, the Contractor shall remit same to the Department within 30 days of being billed for the amount due.

A Change Order is not required for DBE Adjustment. The Notice To Proceed shall constitute the notice required to initiate DBE Adjustment.

Payment or Deduction will be made under:

Pay Item No.	Pay Item	Pay Unit

120(1)	DBE Adjustment	Contingent Sum

(6/6/94)S33

SECTION 201

CLEARING AND GRUBBING

Special Provisions

201-2.01 GENERAL. Add the following: Timber 5 inches in diameter or larger at breast height shall be cut into 8 foot lengths, de-limbed, and stacked at locations approved by the Engineer for public removal. These locations shall be adjacent to the nearest side street or other approved site which does not create a traffic hazard due to lack of adequate parking for the public. The Department will notify the public of the availability of the timber once it has been stacked. The Contractor shall schedule his clearing and grubbing work so as to provide two weeks for the public to access those areas of the project where such timber is available prior to completion of the clearing and grubbing work in those areas. The Contractor shall dispose of any timber left by the public after the two week time period.

The Contractor shall perform all work necessary to preserve and/or restore land monuments and property corners from damage. Any land monument or property corner that is disturbed shall be restored in accordance with Sections 642 at the Contractor's expense. An undisturbed area 5 foot in diameter may be left around existing monuments and property corners. A list of land monuments and property corners is shown on the Right of Way maps. (2/26/97)R107

The Contractor shall comply with the following Fire Plan prior to beginning clearing and grubbing operations and prior to any other operations requiring burn sites:

FIRE PLAN

This plan shall be in effect from May 1 to September 30.

1.	Burn Site. All burn sites shall be approved by the Engineer, the State of Alaska, Department of Natural Resources, and the U.S. Forest Service before any burning may occur.

2.	Burn Permit. The Contractor shall obtain a burn permit in accordance with Alaska Statutes 11 AAC 95.400 through 11 AAC 95.490 and comply with all the requirements contained in the permit. Contact Alaska Department of Environmental Conservation field office in Kenai at (907)262-5210.

3.	Manpower and Equipment. At all times when burning is in progress, the Contractor shall have on the project a sufficient number of men to keep fires under control.

The Contractor shall keep a watchman on duty, during the night and weekend hours, checking on live fires.

The Contractor shall have two sealed tool boxes painted red and marked "For Fire Use Only". Tool boxes shall contain the following tools and equipment in good condition:

5 long-handled, round-pointed shovels, size "O" or larger

5 pulaskis

2 backpack pumps

1 file, 10 inch Mill Bastard

The Contractor shall have on the job at least one 1-1/2 inch portable fire pump capable of pumping 22 gallons per minute through 50 feet of 1-1/2 inch DJRL hose using a 1/4 inch nozzle. Pumps and accessories shall be kept in a box painted red and marked "For Fire Use Only". Each box shall be equipped with a hasp so that it may be sealed. Accessories shall include the following:

1500 feet of 1-1/2 inch hose with 9NH threads

8 feet (approx.) suction hose with strainer

1 gas tank and connector hose (if not on pump)

1 grease gun and grease

2 starter ropes

2 quarts oil

1 extra spark plug for each cylinder

1 crescent wrench, 10 inch

3 spanner wrenches, 1-1/2 inch

1 screwdriver, 6 inch

1 pliers, 8 inch

2 nozzles with changeable tips (1/4 inch, 5/16 inch, 3/8 inch) or adjustable outlet

4 adaptors, 1-1/2 inch IP female to 1-1/2 inch ANHC male (9 threads per inch)

1 siamese valve

1 check valve

12 washers, 1-1/2 inch

1 funnel

fuel to operate for 8 hours

This equipment shall be kept in good serviceable condition and shall be maintained at a location accessible to operations, and shall be tested at such time as may be required by the Engineer.

Each gasoline power saw shall be provided with a muffler in good condition, 1 chemical-pressurized fire extinguisher of not less than 8-ounce capacity, by weight. The muffler and extinguisher shall be maintained in good working order at all times. During periods of critical fire danger, additional precautionary measure, such as a round-pointed shovel, may be required when such saws are used. Any fueling of a power saw shall be done in an area which has first been cleared of material which will carry fire; such power saws shall be moved at least 10 feet from the place of fueling before starting.

Tank Truck or Trailer. Tanks will be not less than 300 gallons capacity. Pumps may be portable or power takeoff. Each will have a live reel containing at least 250 feet of 1 inch CFRL hose or 1 inch rubber hose. The hose will have iron pipe treads. Other equipment carried on the truck or trailer shall be the following:

An additional 250 feet of hose with 1 inch IP threads

2 reducers, 1-1/2 inch ANHC female to 1 inch IP male

2 adapters, 1-1/2 inch IP female to 1-1/4 inch ANHC male

2 spanner wrenches, 1-1/2 inch

15 feet suction hose with strainer

1 shutoff type nozzle

12 1-inch hose washers

1 extra spark plug

1 crescent wrench

1 pliers, 8 inch

1 screwdriver, 6 inch

1 grease gun and grease

2 quarts oil

1 funnel

fuel to operate for 8 hours

3.	In the Event of Fire. The Contractor shall do the following:

a.	Immediately fight the fire with available manpower and equipment.

b.	Notify the Engineer and the State of Alaska, Department of Natural Resources of all fires as soon as possible.

c.	Continue fighting the fire until it is out or until released by the State of Alaska, Department of Natural Resources.

d.	Remain in charge of the fire until released by the State of Alaska, Department of Natural Resources.

e.	When the State of Alaska, Department of Natural Resources assumes fire boss responsibilities or shifts these responsibilities to other qualified personnel, the Contractor's Representative will work directly under the fire boss and be responsible to him for directing the work of the Contractor's employees and equipment.

f.	Arrange for additional men and equipment if needed.

g.	Assume the responsibility for direction of all fire fighting as soon as possible when deemed practical.

4.	Fire Line. All burn piles shall have a 12 foot wide fire line constructed around the pile prior to burning.

5.	Posting. A copy of this plan and the permit shall be posted in a conspicuous location so that all employees will be aware of its provisions and their responsibilities for fire prevention and suppression.

6.	Additional Requirements. In the event of extremely dry and fire hazardous conditions, the Engineer may require the Contractor to take special precautions during clearing and grubbing operations. The Engineer will be the judge of when conditions have become fire hazardous.

201-2.06 DISPOSAL. Add the following to the first paragraph: The Quartz Creek material site, M.S. 21-2-051-1, shall not be used as a disposal location for materials from outside its limits.

Add the following: Materials disposed of outside the project limits on public or private wetlands shall be allowed only after a Department of the Army Section 404 Permit allowing this has been submitted to the Engineer.

All waste disposal areas shall be properly graded and drained.  The outer limits of waste shall be feathered into surrounding grounds with no noticeable break or variation readily discernable.

201-4.01 BASIS OF PAYMENT. Add the following: All work required to cut, de-limb and stack timber for public removal and to preserve and restore land monuments and property corners will be subsidiary to Items 201(1A) Clearing, and 201(2A) Grubbing. (2/26/97)R107

SECTION 202

REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Special Provisions

202-1.01 DESCRIPTION. Add the following: This work shall also include the relocation of an emergency telephone.

202-2.01 GENERAL CONSTRUCTION REQUIREMENTS. Add the following: The Contractor shall relocate the emergency phone, pole, and protective barriers to the location shown on the plans. Contractor shall coordinate with the State of Alaska, Division of Information Services, Telecommunications Section in Soldotna, 262-7584. The Telecommunication Section will remove and reinstall the electronic equipment, battery system, solar panel, and antenna system.

The Contractor shall protect the archaeological site shown on the plans at Station 2045+00 by erecting plastic safety fence material meeting the requirements of subsection 643-2.01 item 13.

202-2.04 REMOVAL OF PAVEMENT, SIDEWALKS, CURBS, ETC. Add the following: All of the asphalt pavement removed from the highway shall be used in the Asphalt Treated Base (ATB) and base course after processing.

202-4.01 BASIS OF PAYMENT. Add the following after the third paragraph: Item 202(37) Emergency Phone Relocation, will be paid at the contract lump sum price and shall be full compensation for removing and relocating the emergency phone, pole and barriers.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

202(37)	Emergency Phone Relocation	Lump Sum

SECTION 203

EXCAVATION AND EMBANKMENT

Special Provisions

203-1.01 DESCRIPTION. Add the following: This work shall also include excavating the stream channel and constructing spur dikes at Quartz Creek, and temporary stream diversions required for spur construction.

Standard Modifications

203-2.05 BORROW. Add the following: Borrow, Type A, B, or C when required, shall meet the requirements of Subsection 703-2.07, Selected Material, Type A, B, or C, respectively. (5/12/89)M12

Special Provisions

Add the following subsection:

203-2.07 SHOT ROCK EMBANKMENT. Shot rock embankment shall be free draining rock material removed from the excavation areas by means of blasting or ripping.

203-3.01 GENERAL. Add the following to the fifth paragraph: Prior to obliterating the existing roadway or driveways, the existing pavement shall be removed and disposed of in accordance with Subsection 202-2.04, Removal of Pavement, Sidewalks, Curbs, Etc. R177

Delete the eighth paragraph and substitute the following: Slope flattening with waste material is strictly prohibited. All waste shall be disposed of at Material Site 31-1-021-1, located at MP 41.9 on the Seward Highway and stabilized in accordance with the Storm Water Pollution Prevention Plan. *** deleted ***

Add the following: Roadway embankment slopes shall not be used as disposal sites for waste or surplus material.

Rock backslopes will require a second staking due to varying overburden thickness.

The Contractor shall stabilize the cut slopes by applying seed, mulch, fertilizer, and topsoil as needed, after each 20 feet (measured vertically) is exposed, before proceeding with additional excavation in those areas. All cut slopes shall be stabilized as required above in the same season as excavation takes place.

Excavating the stream channel and constructing the spur dikes at Quartz Creek shall consist of the following items of work:

1.	Channel excavation and placement of dikes to the dimensions shown on the plans. Dike cores shall be constructed of excavated materials and capped with Class II riprap. The method of placement and compaction of core material shall be at the Contractor’s option. Excess excavation shall be used within the work limits shown on the plans.

2.	Placement of silt fence as required.

3.	Diversion of Quartz Creek into the east channel for construction of the west spur dike.

4.	Diversion of Quartz Creek into the west channel for construction of the east spur dike.

5.	Placement of geotextile riprap liner, Class II riprap, select material Type C, matting, seeding and live stakes, as detailed on the plans.

6.	Removal of temporary stream diversions.

7.	Removal and disposal of the silt fence.

Prior to initiating the work required for channel excavation, the Contractor shall submit a detailed work plan for the Engineer’s approval. The work plan shall be submitted to the Engineer two weeks prior to the start of any work in Quartz Creek. The plan shall consist of the method of accomplishing all work elements and schedule for completion.

All stipulations contained in subsection 107-1.21 Permits, shall be followed.

203-3.02 EMBANKMENT CONSTRUCTION. On page 96, delete the first sentence of the second paragraph, and substitute the following: Roadway embankments shall be placed in horizontal layers not exceeding eight inches in thickness measured before compaction. Each layer of classified material shall have its joint offset from the joint below, longitudinally by one foot and transversely by 20-feet.

Add the following: Where the plans call for placement of selected material and excavation is required, the existing material may be left in place if tests determine that it will meet the appropriate selected material requirements. Any reduction in excavation or Borrow quantities as a result of this condition shall not constitute a basis for adjustment in contract unit prices except as provided for in Section 104 Scope of Work.

R23

Standard Modifications

203-3.02 EMBANKMENT CONSTRUCTION. On page 97, delete the fifth paragraph and substitute the following: All embankments shall be constructed with moisture and density control unless the Engineer determines that such controls are not feasible. (5/7/91)M35

Special Provisions

203-3.03 CONSTRUCTION OF EMBANKMENTS WITH MOISTURE AND DENSITY CONTROL. Delete the second paragraph and substitute the following: Embankment material, other than waste material shall be compacted to not less than 95 percent of the maximum density. Maximum densities will be determined by AASHTO T 180, or ATM T-12. In place field densities will be determined by ATM T-3 or ATM T-11. (1/8/97)R193

203-3.07 BLASTING REQUIREMENTS FOR EXCAVATION IN ROCK. Add the following subsection: Periodic geotechnical field inspections will be conducted by representatives of the Department as the backslopes of each cut are exposed, and when unfavorable geologic structure anomalies are encountered, specific recommendations on stabilization will be made. In the event the Contractor is required by the Engineer to revise a slope which has already been drilled and blasted according to specifications, the Contractor shall perform this work in accordance with subsection 109-1.05 Compensation for Extra Work.

Two weeks prior to any drilling or blasting in a cut, the Contractor shall submit a blast plan to the Department for review. The blast plan shall provide the following information:

1.	Station limits of cut or lift.

2.	Drill hole diameter.

3.	Drill pattern and spacing diagram.

4.	Proposed delay sequence of the blast holes.

5.	Explosive per hole and per delay (lb.)

6.	Types of explosives being employed.

7.	Powder factor.

8.	Time of day and day of week.

Review of the drilling, blasting and excavation procedures by the Engineer shall not relieve the Contractor of his responsibility for the accuracy and adequacy of the plan for obtaining adequate breakage, using proper detonation procedures and following proper safety procedures prior to and after the blast.

The Contractor may adopt methods of control blasting and excavation which vary from those required herein, provided short demonstration sections are first used to prove the acceptability of such methods to the satisfaction of the Engineer.

Rock blankets or other measures shall be implemented to prevent fly rock from entering the waters of the United States.

If in the opinion of the Engineer, the methods of excavation required herein or adopted by the Contractor are unsatisfactory in that they result in excessive rock throw, or do not produce a uniform slope and shear face within the neatlines specified, the Contractor shall adopt revised methods, by drilling, blasting, and excavating short sections until a technique is developed that will produce the acceptable results.

Drill hole conditions may vary from wet or filled with water to a dry condition. The Contractor will be required to use whatever type of explosive and/or accessories necessary to accomplish the specified result.

Storage and handling of explosives shall be in accordance with subsection 107-1.10 Use of Explosives.

The Contractor shall observe the entire blast area for 15 minutes following a blast to guard against rock fall before commencing work in the cut.

All rock that is loose, hanging, or creating a dangerous situation shall be removed during or upon completion of excavation as an integral sequence as each lift is excavated.

Material outside the planned neatline slopes which is unstable and constitutes potential slides in the opinion of the Engineer shall be excavated and removed. Such material shall be used in the construction of the embankment or disposed of as directed by the Engineer. The removal and disposal of slide and slipout material will be paid for at the contract unit price for Item 203(1) Common Excavation if determined not to be the fault of the Contractor's methods.

For all cuts over 10 feet in depth, the Contractor shall use pre-shearing along the lines of the cut slope face. This depth may be varied if field experience shows such variance will yield acceptable results.

Overburden stripping as shown on the plans shall be done before the associated pre-shear holes are drilled.

Material remaining 8 inches or more inside neat line rock slopes will be removed by pre-shearing techniques or other methods approved by the Engineer unless specifically exempted for aesthetic, geological, or safety reasons by the Engineer.

1.	Pre-Shear Blasting. Pre-shearing shall consist of drilling holes on the plane of the final cut slope and loading each hole with a well distributed explosive charge and firing the holes simultaneously to create a crack along the plane of the final cut slope. The detonation of the pre-shear line must be before the detonation of all other blasting in the cut. Production holes will be detonated next and buffer holes will be detonated last.

Spacing of pre-shear blast holes shall be initially set at 24 inches center to center. If experience shows that a wider spacing will give acceptable results then the Contractor, with the approval of the Engineer, will be permitted to utilize that spacing. The maximum explosive charge shall be approximately equal to 0.1 pounds of Kleenkut E, Ira Split, Tovex T-1 or equivalent per square foot of final surface rock slope. Ammonium nitrate fuel oil type explosives shall not be used in pre-shear holes. These holes will be loaded and detonated 30 feet beyond the end of the worked lift or to the end of the cut, as applicable. All pre-shear blast holes shall be stemmed full depth with sand or drill fines if initial results without stemming are considered inferior by the Engineer. Where backbreak becomes a definite problem in the opinion of the Engineer, guide holes shall be drilled between the controlled blast drill holes. These shall be of the same diameter and in the same plane as the pre-shear blast holes and shall not exceed 10 feet in depth. They shall remain unloaded.

2.	Buffer Blasting. Buffer holes shall be drilled approximately 3 feet out from the pre-shear holes and spaced 3 to 5 feet center to center. These holes will be drilled parallel to the final cut slope and the loads shall not exceed 50 percent of the average explosive loads in the nearest production holes.

3.	Production Blasting. In production blasting the amount of explosive per delay shall not exceed 500 pounds. This limit may be reduced or increased if ordered by the Engineer when the blast is in a position to damage equipment, utilities, or if other circumstances require a change. Production blast holes shall not be drilled closer than 6 feet to the pre-shear line. Where more than one lift is required, production holes shall not be drilled to an elevation lower than the pre-shear holes.

4.	Fluff Blasting. Fluff blasting shall consist of drilling and shooting the rock area to a depth of at least 6 feet beneath the bottom of profile grade as shown on the plans, resulting in a fractured or broken rock foundation. It is anticipated that, in comparison with production blasting, the center to center blast hole spacing will be closer and the powder load in each hole will be restricted to the bottom of the hole to minimize rifling. This procedure will effectively provide a stable interlock between the embankment material and the foundation material. This procedure will also facilitate drainage through the foundation material rather than drainage along the bedrock-embankment interface. The Contractor shall have a backhoe on site and available to enable the Engineer to verify the effectiveness of the fluff blasting.

203-4.01 METHOD OF MEASUREMENT. Add the following:

Areas of instability or potential slides ordered removed by the Engineer will be determined by resectioning.

Obliteration of driveways will be measured by each driveway removed.

Stream Excavation will not be measured for payment.

Standard Modifications

203-5.01 BASIS OF PAYMENT. Change Pay Items 203(5), (6) and (7) to read: Borrow, Type _____.

Add the following: When more than one type of borrow is specified, letter suffixes A, B, or C will be included within the parentheses of the item number in order to differentiate between the different Borrow types. (5/12/89)M12

Special Provisions

203-5.01 BASIS OF PAYMENT. Add the following: No separate payment will be made for furrow ditch. Excavation required to create furrow ditch will be paid for under Item 203(1) Common Excavation. If the Contractor uses the designated waste area all Erosion and Pollution Control measures in the designated waste area shall be paid under Item 641 (2) Pollution and Control.  All Erosion & Pollution Control Measures for alternative waste areas shall be incidental to Item 203(1) Common Excavation.

Item 203(41) Stream Excavation will include all work at Quartz Creek described in subsection 203-3.01 General. No separate payment will be made for stream excavation, dike construction, Select Material, Type C, and stream diversions. These items are subsidiary to Item 203(41) Stream Excavation. Riprap, riprap liner, silt fence, and matting will be paid under their respective bid items.

Add the following pay items:

Pay Item No.	Pay Item	Pay Unit

203(9B)	Obliteration Of Driveway	Each

203(41)	Stream Excavation	Lump Sum

SECTION 205

EXCAVATION, BACKFILL AND

FOUNDATION FILL FOR STRUCTURES

Special Provisions

205-3.03 BACKFILL. Add the following: All backfill placed within 1 foot of a structural unit shall be graded to pass the 3-inch sieve.

205-5.01 BASIS OF PAYMENT. Add the following: Grading and placement of material used within 1 foot of structural units will not be paid for directly, but will be subsidiary to Item 203(6A) Borrow, Type A.

(6/5/92)R154

SECTION 301

AGGREGATE BASE COURSE

Special Provisions

301-2.01 MATERIALS. Delete the second sentence of the first paragraph and substitute the following: The gradation of base course material shall conform to the requirements for Grading D-1. (10/1/91)R116

Add the following: At the Contractor's option, recycled asphalt pavement (RAP) may be substituted for crushed aggregate base course, inch for inch, if the following conditions are met:

1.	RAP shall be crushed or processed to 100 percent by weight passing the 11/2-inch sieve and 95-100 percent by weight passing the 1-inch sieve.

2.	The combined gradation of the extracted aggregate shall meet the following:

| Sieve | Percent Passing by Weight |
| --- | --- |
| 1 | 100 |
| ¾ | 70-100 |
| _ | 42-90 |
| No. 4 | 28-78 |
| No. 16 | 11-54 |
| No. 50 | 5-34 |
| No. 100 | 3-22 |
| No. 200 | 2-12 |

4.	The asphalt content shall be 2.5 - 5.0 percent by weight of the RAP.

301-3.03 SHAPING AND COMPACTION. Add the following: If recycled asphalt pavement is substituted for crushed aggregate base course, the following conditions shall be met:

1.	Density acceptance will be based upon a roller pattern. The roller pattern shall be determined by a test strip using a vibratory compactor with a minimum dynamic force of 40,000 pounds. The optimum density will be determined by the Engineer using a nuclear densometer gauge to monitor the test strip. Adequate water shall be added to aid compaction.

2.	After the appropriate coverage with the vibratory compactor, a minimum of 6 passes with a pneumatic tire roller shall be completed. Tires shall be inflated to 90 psi (+5 psi) and the roller shall have a minimum operating weight per tire of 3,000 pounds.

301-5.01 BASIS OF PAYMENT. Add the following: If recycled asphalt pavement is substituted for crushed aggregate base course, the accepted aggregate combination will be paid for as Item 301(1), Crushed Aggregate Base Course at the unit price shown on the bid schedule for that item.

R176A

Replace Section 306 with the following:

SECTION 306

ASPHALT TREATED BASE COURSE

Special Provisions

306-1.01 DESCRIPTION: This work is intended to produce a hot recycled Asphalt Treated Base Course. Existing pavement that is removed under Subsection 202-2.04 may be reused in the production of Asphalt Treated Base Course. Work shall include processing existing pavement to size, the furnishing of additional materials, mixing, hauling, spreading, and compaction of the Asphalt Treated Base Course.

306-2.01 AGGREGATE. Aggregates used for the production of Asphalt Concrete Pavement under Subsection 401-2.02 shall be combined with the Processed Asphalt Pavement. The total combined aggregate mixture shall conform to the requirements of Subsection 703-2.04, and be blended to produce a Type II gradation shown in Table 703-3.

306-2.02 ASPHALT CEMENT.  The grade of asphalt cement shall be PG 52-28. The asphalt cement shall conform to the applicable requirements of Section 702. Asphalt cement may be conditionally accepted at the source. The Contractor shall provide a manufacturer's certificate of compliance in accordance with Subsection 106-1.05 and test results of the applicable quality requirements of Section 702 before the material is shipped.

306-2.03 ANTI-STRIP ADDITIVES. Anti-strip agents in the amount determined by ATM T-14 shall be added into the asphalt cement. At least 90 per cent of the aggregate shall remain coated when tested in accordance with ATM T-14

306-2.04 PROCESSED ASPHALT PAVEMENT (PAP).  Existing pavement removed under Subsection 202-2.04 shall be processed so that all the material passes a 1 ½ inch sieve. The Contractor shall perform a minimum of one gradation and one asphalt content test for every 1000 tons of Processed Asphalt Pavement or a minimum of ten sets of tests which ever is greater.  From these samples, ten samples shall be split and submitted to the State Materials Lab.

Processed Existing Asphalt Pavement shall be stockpiled separate from other  aggregates.

306-2.05 COMPOSITION OF MIXES. The Contractor shall submit process control data of the Processed Asphalt Pavement and of the Asphalt Concrete aggregates supporting his proposed job mix design gradation. The asphalt treated base course shall be designed to have a residual asphalt cement target of four per cent (4.0%) of total mix weight.

At least 15 calendar days prior to the production, the Contractor shall submit the following to the Engineer:

1.	A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process control information, and the blend ratio of each aggregate stockpile and PAP. The proposed mix gradation must meet the requirements of Table 703-3, Type II. Gradation and asphalt content process control data of PAP shall be submitted for the Job Mix Design.

2.	Representative samples of each of the aggregates to be blended. Sample sizes: 100 pounds of each intermediate and/or coarse aggregate, 200 pounds of fine aggregate, 25 pounds of blend sand (if required), and 200 pounds of PAP.

3.	A minimum of three 1-gallon samples of the asphalt cement proposed for use in the mixture, including name of product, manufacturer, test results as required in Section 702, manufacturer's certificate of compliance in accordance with Section 106, and a temperature viscosity curve for the asphalt cement.

4.	A ½ pint sample of the anti-strip additive proposed, including name of product, manufacturer, and manufacturer's data sheet, and current Materials Safety Data Sheet (MSDS).

From this information, the Engineer will establish the Job Mix Design which will become a part of the contract and shall be followed unless modified in writing. The Job Mix Design will be determined in accordance with ATM T-17 at 4.0 per cent asphalt cement content (PAP residual plus additional asphalt cement) and ¼ per cent anti-strip included in the added asphalt. Job Mix Design test results will be available within 7 working days after receipt of a complete submittal. Approved Job Mix Designs will specify the target value for aggregates, asphalt cement, and the allowable temperature range for mixing and placement.

Changes in the Job Mix Design warranted by changes in the source of asphalt cement, source of aggregates, aggregate quality, aggregate gradation, or blend ratio shall be submitted by the contractor in the same manner as the original submittal. A new Job Mix Design will only apply to asphalt concrete mixture produced after the Contractor submittal of the new aggregate gradation.

Approved Job Mix Designs will have the full tolerances shown in Table 401-2 applied and will not be limited to the broad band listed in Table 703-3. Tolerances for the largest sieve specified will be plus 0% and minus 1%.

CONSTRUCTION REQUIREMENTS.

306-3.01 WEATHER LIMITATIONS. Refer to Subsection 401-3.01 WEATHER LIMITATIONS.

306-3.02 EQUIPMENT. Refer to Subsection 401-3.02 EQUIPMENT.

306-3.03 BITUMINOUS MIXING PLANTS. Refer to Subsection 401-3.03 BITUMINOUS MIXING PLANTS.

Add the following to the first paragraph: The asphalt plant shall be designed to combine Processed Asphalt Pavement with Asphalt Concrete aggregates to produce a hot recycled asphalt treated base mixture.

306-3.04 HAULING EQUIPMENT. Refer to Subsection 401-3.04 HAULING EQUIPMENT.

306-3.05 ASPHALT PAVERS. Refer to Subsection 401-3.05 ASPHALT PAVERS.

306-3.06 ROLLERS. Refer to Subsection 401-3.06 ROLLERS.

306-3.07 PREPARATION OF EXISTING SURFACE. Refer to Subsection 401-3.07 PREPARATION OF EXISTING SURFACE

306-3.08 PREPARATION OF ASPHALT. Refer to Subsection 401-3.08 PREPARATION OF ASPHALT.

306-3.09 PREPARATION OF AGGREGATES. Refer to Subsection 401-3.09 PREPARATION OF AGGREGATES.

306-3.10 MIXING. Refer to Subsection 401-3.10 MIXING.

306-3.11 TEMPORARY STORAGE OF ASPHALT CEMENT MIXTURE. Refer to Subsection 401-3.11 TEMPORARY STORAGE OF ASPHALT CEMENT MIXTURE.

306-3.12 SPREADING AND PLACING. Refer to Subsection 401-3.12 SPREADING AND PLACING.

306-3.13 COMPACTION. Refer to Subsection 401-3.13 COMPACTION.

306-3.14 JOINTS. Refer to Subsection 401-3.14 JOINTS.

306-3.15 SURFACE TOLERANCE. Refer to the first paragraph of Subsection 401-3.15 SURFACE TOLERANCE.

306-3.16 PATCHING DEFECTIVE AREAS. Refer to Subsection 401-3.16 PATCHING DEFECTIVE AREAS.

306-4.01 METHOD OF MEASUREMENT.  The Asphalt Treated Base will be measured by the ton in accordance with Subsection 109-1.02. The weight used will be the tons used in the accepted product and no deduction will be made for the weight of asphalt cement material and anti-stripping additive in the mixture.

Payment will be made for the total residual asphalt cement measured in the Asphalt Treated Base mix (from recycle processed pavement plus added asphalt cement). The weight of asphalt cement will be calculated using the percent of asphalt cement for each sublot multiplied by the total tonnage represented by that sublot. Percent of asphalt cement will be determined by ATM T-23, or AASHTO TP53. The same tests used for the acceptance testing of the sublot will be used for computation of the asphalt cement quantity.

Longitudinal joints will be measured by the yard. The distance measured will be in both directions from a longitudinal joint core location to a point equal distant to the next longitudinal joint core.

306-4.02 ACCEPTANCE SAMPLING AND TESTING. Asphalt Treated Base shall be sampled and tested according to  Asphalt Concrete Pavement specifications, Subsection 401-4.02 ACCEPTANCE SAMPLING AND TESTING.

306-5.01 BASIS OF PAYMENT.  Asphalt cement and anti-strip will be paid on a contingent sum basis at the rate of the bid unit price of Pay Item Number 401(2) PG 52-28 Asphalt Cement for the total tons of asphalt cement measured as specified in 306-4.01.

Anti-stripping additive will be incidental to item 306(2) Asphalt Cement PG 52-28.

The approved mix design will initiate Anti-Stripping Additive at the prescribed rate.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

306(1)	Asphalt Treated Base Course	Ton

306(2)	Asphalt Cement, PG 52-28	Contingent Sum

Add the following Section:

SECTION 308

CRUSHED ASPHALT PAVEMENT BASE

Special Provisions

308-1.01 DESCRIPTION. This item consists of pulverizing the full depth of existing asphalt concrete pavement, shaping and compacting to grade and maintaining until paved.

Additional base course may be added to the mixture for leveling as directed by the Engineer. Multiple passes will be required to accomplish pulverizing and blending of the asphalt concrete pavement when additional crushed aggregate base course is added.

308-2.01 MATERIALS. Pulverize the existing asphalt concrete pavement so that 100 percent by weight passes the 1.5 inch sieve and 95-100 percent by weight passes the 1 inch sieve.

Additional aggregate base course shall meet the requirements of Subsection 703-2.03.

CONSTRUCTION REQUIREMENTS

308-3.01 PULVERIZING AND PLACING. The pulverizing and mixing equipment shall have the following capabilities:

1.	self propelled

2.	able to process, full-depth in a single pass

3.	able to cut a minimum width of 8 feet in a single pass

4.	able to spray water on the processed material to control dust

If the Engineer directs the addition of base course, it shall be added after the pavement is pulverized.

308-3.02 SHAPING AND GRADING. The crushed asphalt pavement base shall be bladed until a smooth, uniform surface is obtained that is true to line, grade and cross-section and the mix is in condition for compacting.

The Contractor shall provide a finish grader that is equipped with an automatic cross slope control system. Finish grade shall be developed by spreading and shaping the material to produce the planned cross slopes (crowns or superelevations) by means of the automatic cross slope control system.

308-3.03 COMPACTION AND COMPACTION EQUIPMENT. The amount of compactive effort required shall be determined by the control strip method using a vibratory compactor with a minimum applied force per drum of 40,000 pounds. The control strip shall be at least 300 feet long. The location of the control strip shall be designated by the Engineer.

The Contractor shall be responsible for the development of the control strip. The Contractor shall select a minimum of two test sites on the control strip and take 15 second (minimum) readings with the nuclear densometer at each test site for every vibratory roller pass over the test site. Rolling shall continue until there is either a decrease or an increase of less than 1 lb/ft³ in average density per roller pass. A copy of the density readings developing the control strip will be supplied to the Engineer. The Engineer will obtain ten random nuclear density readings on the completed control strip. A density standard for the project will be determined by averaging the ten readings. Compaction requirements will be 98% of the density standard.

In areas inaccessible to rollers, the crushed asphalt pavement base shall be tamped with mechanical tampers until thoroughly compacted to the satisfaction of the Engineer.

308-3.04 SURFACE TEST. After rolling and compacting of the crushed asphalt pavement base course has been completed, the surface shall be tested for smoothness and accuracy of grade, crown, superelevation and width. The finished surface shall not vary more than 3/8 inch from a 10 foot straightedge when applied to the surface parallel with, and at right angles to, the centerline. Any portion lacking the required surface tolerance or failing in accuracy shall be scarified, reshaped, recompacted, and otherwise manipulated as the Engineer may direct until the required smoothness and accuracy are obtained.

308-3.05 WEATHER LIMITATIONS. If any imported crushed aggregate base course contains frozen materials or the underlying base course is frozen, construction shall be stopped.

308-4.01 METHOD OF MEASUREMENT. Crushed asphalt pavement base shall be measured for payment by the square yard of finished surface.

308-5.01 BASIS OF PAYMENT. The accepted quantity of crushed asphalt pavement base will be paid for at the contract unit price per square yard complete and in place. Water required for compaction of the crushed asphalt pavement base will be considered a subsidiary obligation.

Additional crushed aggregate base course, if required, will be paid for under Section 301.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

308(1)	Crushed Asphalt Pavement Base	Square Yard

(4/24/98)R27a

Delete Section 401 in its entirety and substitute the following:

SECTION 401

ASPHALT CONCRETE PAVEMENT

Special Provisions

401-1.01 DESCRIPTION. This work consists of the furnishing and mixing of aggregate, asphalt cement and additives at a mixing plant and the hauling, spreading, and compaction of the asphalt concrete mixture on a previously prepared surface, all as specified in the contract and in conformance with the lines, grades and thicknesses shown on the plans.

401-2.01 COMPOSITION OF ASPHALT CONCRETE MIXTURES - JOB MIX DESIGN. Asphalt concrete mixtures shall be composed of aggregate, asphalt cement, and required additives combined within the limits for the type and class of asphalt concrete specified in the contract.

The Contractor shall provide an asphalt concrete mixture that meets the asphalt concrete mix design requirements of Table 401-1 for the appropriate type and class of asphalt concrete.

At least 15 calendar days prior to the production of asphalt concrete pavement mixture, the Contractor shall submit the following to the Engineer:

1.	A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process control information, and the blend ratio of each aggregate stockpile. The proposed gradations must meet the requirements of Table 703-3, Asphalt Concrete Aggregate, for each type of asphalt concrete pavement specified in the bid schedule. Asphalt concrete mixtures produced from different plants shall not be mixed.

2.	Representative samples of each of the aggregates to be blended. Sample sizes: 100 pounds of each intermediate and/or coarse aggregate, 200 pounds of fine aggregate, 25 pounds of blend sand.

3.	A minimum of three 1-gallon samples of the asphalt cement proposed for use in the mixture, including name of product, manufacturer, test results as required in Section 702, manufacturer's certificate of compliance with Section 106, and a temperature viscosity curve for the asphalt cement.

4.	A ½ pint sample of the anti-strip additive proposed, including name of product, manufacturer, and manufacturer's data sheet, and current Materials Safety Data Sheet (MSDS).

From this information, the Engineer will establish the Job Mix Design which will become a part of the contract and shall be followed unless modified in writing. The Job Mix Design will be determined in accordance with ATM T-17 (version 01/93) and evaluated for conformance with the asphalt concrete mix design requirements of Table 401-1 for the appropriate type and class of asphalt concrete. Job Mix Design test results will be available within 7 working days after submittal. Approved Job Mix Designs will specify the target value for asphalt cement, additives, and the allowable temperature range for mixing.

Changes in the Job Mix Design warranted by changes in the source of asphalt cement, source of aggregates, aggregate quality, aggregate gradation, or blend ratio shall be submitted by the Contractor in the same manner as the original submittal. A new Job Mix Design will only apply to asphalt concrete mixture produced after the Contractor submittal of the new aggregate gradation.

All mix designs after a Job Mix Design has been approved for the Type and Class of Asphalt Concrete will be assessed a fixed fee of $1,500.00 each.

Approved Job Mix Designs will have the full tolerances shown in Table 401-2 applied and will not be limited to the broad band listed in Table 703-3. Tolerances will not be applied to the largest sieve specified.

Temporary pavement shall meet the minimum asphalt concrete mix design requirements for Asphalt Concrete Type II, Class B.

Table 401-1

Asphaltic Concrete Mix Design Requirements

| DESIGN PARAMETERS | CLASS "A" | CLASS "B" | CLASS "C" |
| --- | --- | --- | --- |
| Stability, lbs. | 1,800 min. | 1,200 min. | 750 min. |
| Flow, 0.01 inch (0.25 mm) | 8-14 | 8-16 | 8-18 |
| Voids in total mix, percent | 3-5 | 3-5 | 2-5 |
| Compaction, number of blows each side of test specimen | 75 | 50 | 35 |
| Dust-asphalt ratio* | 0.6-1.4 | 0.6-1.4 | N/A |
| Voids in the mineral aggregate (VMA),min. |  |  |  |
| Type I Type II Type III | 12.0 13.0 14.0 | 11.0 12.0 13.0 | N/A N/A N/A |

*Dust-asphalt ratio is defined as the percent of material passing the U.S. No. 200 sieve divided by the percent of asphalt (calculated by weight of mix).

401-2.02 AGGREGATES. Aggregate shall conform to the requirements of Subsection 703-2.04.

Aggregates for asphalt concrete mixtures shall be divided into a minimum of 2 piles, one coarse and one fine. If blend sand is used, it shall be an additional pile.

401-2.03 ASPHALT MATERIALS. The grade of asphalt cement will be specified in the bid schedule. The asphalt cement shall conform to the applicable requirements of Section 702. Asphalt cement may be conditionally accepted at the source. If the material is to be conditionally accepted at the source, the Contractor shall provide a manufacture's certificate of compliance in accordance with Subsection 106-1.05 and test results of the applicable quality requirements of Section 702 before the material is shipped.

If there is a change in the source of the asphalt cement, or if the kinematic viscosity (viscosity at 275 degrees Fahrenheit) of the asphalt cement used on the project changes from the viscosity of the asphalt cement supplied for the Job Mix Design by a factor of 2 (doubles or halves) or more, then operations shall be suspended until a new Job Mix Design is submitted for approval.

401-2.04 ANTI-STRIP ADDITIVES. Anti-strip agents shall be used in the proportions determined by ATM T-14 and shall be included in the approved Job Mix Design. At least 70% of the aggregate shall remain coated when tested in accordance with ATM T-14.

401-2.05 PROCESS QUALITY CONTROL. It is expressly understood that the contractor is solely responsible for the sampling and testing of material for process control of the asphalt concrete mixture in accordance with Subsection 106-1.02.

The Contractor shall employ a qualified person or company to perform process control testing. A process control plan shall be submitted at the project pre-construction conference in accordance with Subsection 106-1.02. Failure to perform process control forfeits the Contractor's right to retests as provided for in Subsection 401-4.02.

A paving and plant control plan shall be submitted at a pre-paving meeting to be held a minimum of 5 working days prior to initiating paving operations. The paving and plant control plan shall address joint construction, outline steps to assure product consistency, to minimize segregation, and to prevent premature cooling of the asphalt concrete mixture. This plan shall also include a proposed testing frequency for gradation, asphalt cement content, and compaction.

CONSTRUCTION REQUIREMENTS

401-3.01 WEATHER LIMITATIONS. The asphalt concrete mixture shall not be placed on a wet surface, on an unstable/yielding roadbed, when the base material is frozen, or when weather conditions prevent proper handling or finishing of the mixture. No asphalt concrete mixture for a leveling course shall be placed unless the surface temperature is 40 degrees F or warmer, and the date is prior to October 1.

401-3.02 EQUIPMENT. All equipment shall be in good working order and free of asphalt concrete mixture buildup. All equipment shall be available for inspection and demonstration of operation 24 hours prior to placement of asphalt concrete mix.

401-3.03 BITUMINOUS MIXING PLANTS. The Contractor shall use an asphalt plant designed to dry aggregates, maintain accurate temperature control, and accurately proportion asphalt cement and aggregates. The Contractor shall calibrate the asphalt mixing plant and furnish copies of the data to the Engineer at least 2 days prior to asphalt concrete mixture production.

The asphalt mixing plant shall have a scalping screen to prevent oversize material or debris from being incorporated into the asphalt concrete mixture. Aggregate and asphalt cement sampling locations meeting OSHA safety requirements shall be provided.

Proportioning (batch) scales shall not be used for weighing material for payment. Weigh scales used in conjunction with a storage silo may be used to weigh the final product for payment, provided the scales are certified.

401-3.04 HAULING EQUIPMENT. Trucks used for hauling asphalt mixtures shall have tight, clean, smooth metal beds which have been thinly coated with a minimum amount of paraffin oil, lime water solution or other manufactured asphalt release agent included on the Department's Approved Products List. Diesel fuel or fuel oil shall not be used as an asphalt release agent.

Each truck shall have a cover of canvas or other suitable material of such size as to protect the asphalt concrete mixture, when required, so that the mixture shall be delivered to the asphalt paver at the proper temperature.

401-3.05 ASPHALT PAVERS. Asphalt pavers shall be self-propelled units provided with a heated vibratory screed. Grade and cross slope shall be controlled through the use of automatic grade and slope control devices. The paver screed control system shall be automatically actuated by the use of an erected string line, mobile stringline (ski) on the high side of the paver at least 30 feet in length, or other approved grade follower. Grade control shall be used on either a) both the high and low sides or b) grade control on the high side and slope control on the low side.

The paver shall be equipped with a receiving hopper having sufficient capacity for a uniform spreading operation. The hopper shall be equipped with a distribution system to place the asphalt concrete mixture uniformly in front of the screed.

The screed assembly shall produce a finished surface of the required smoothness, thickness and texture without tearing, shoving or displacing the asphalt concrete mixture. Screed extensions used for paving a constant width shall be heated and vibrated. Auger extensions shall be within 1.5 feet of the screed extension on both sides.

The use of a Layton Box will be allowed on bikepaths, sidewalks, pathways and medians.

401-3.06 ROLLERS. The Contractor shall supply a sufficient number and weight of rollers to compact the mixture to the required density while maintaining the pace of the paving operations. Rollers shall be static or vibratory steel wheel and pneumatic tire type rollers. The rollers shall be self propelled and capable of reversing without backlash. They shall be specifically designed to compact hot asphalt concrete mixtures. The use of equipment which results in crushing of the aggregate will not be permitted.

Pneumatic tire rollers shall be fully skirted, have an operating weight per tire of at least 3,000 pounds and be operated in accordance with the manufacturer's instructions.

401-3.07 PREPARATION OF EXISTING SURFACE. Existing surfaces shall be prepared in conformance with the plans and specifications. Existing paved surfaces shall be cleaned of loose material by sweeping with a power broom, supplemented by hand sweeping, if necessary.

Contact surfaces of curbing, gutters, manholes, sawcut pavement, and other structures shall be coated with a uniform coating of tack coat material conforming to Section 402 prior to the asphalt concrete mixture being placed.

Surfaces which have received a prime coat shall be allowed to cure. Surfaces which have received an emulsion tack coat shall be allowed to break prior to placement of asphalt concrete mixture.

401-3.08 PREPARATION OF ASPHALT. A continuous supply of the asphalt cement shall be supplied to the mixer at a uniform temperature, within 25 degrees Fahrenheit of the Job Mix Design mixing temperature.

401-3.09 PREPARATION OF AGGREGATES. The aggregate for the asphalt concrete mixture shall be heated and dried to a temperature compatible with the mix requirements specified. The burner on the dryer shall be properly adjusted to avoid damage to the aggregate and to avoid the presence of unburned fuel on the aggregate. Any asphalt concrete mixture in which soot or fuel is present shall be wasted and no payment made.

Drying operations shall reduce the aggregate moisture content so that the moisture content of the asphalt concrete mixture, sampled at the point of acceptance for asphalt cement content, shall be no more than 0.5% (by total weight of mix), as determined by ATM T-25.

401-3.10 MIXING. The aggregate, asphalt cement and additives shall be combined in the mixer in the amounts required by the Job Mix Design.

The materials shall be mixed such that a complete and uniform coating of the aggregate is obtained. For batch plants, dry aggregate shall be in motion prior to the addition of asphalt cement. Wet mixing time shall be adequate to obtain 98% coated particles when tested in accordance with AASHTO T 195.

The temperature of the asphalt concrete mixture at the time of the mixing shall be as determined by the Job Mix Design.

401-3.11 TEMPORARY STORAGE OF ASPHALT CONCRETE MIXTURE. Asphalt concrete mixture drawn from silo type storage bins shall conform to all of the requirements for asphalt concrete mixtures as if loaded directly into hauling equipment from the mixing plant. Signs of visible segregation, heat loss, changes from the Job Mix Design, change in the characteristics of asphalt cement, lumpiness or stiffness of the mixture will be cause for rejection.

Rejected asphalt concrete mixture shall be disposed of by the Contractor at no cost to the State.

401-3.12 SPREADING AND PLACING. The asphalt concrete mixture shall be laid upon a surface approved by the Engineer, spread and struck off and compacted to the required compacted thickness. Asphalt pavers shall be used to distribute the asphalt concrete mixture in lanes of such widths as to hold to a practical minimum the number of longitudinal joints required, subject to the requirements of Subsection 401-3.14. Asphalt pavers shall also be used to distribute asphalt concrete mixture for leveling course unless otherwise allowed.

On areas where irregularities or unavoidable obstacles make the use of mechanical spreading and finishing equipment impracticable, the asphalt concrete mixture shall be spread, raked and luted by hand tools. For such areas the asphalt concrete mixture shall be placed to the required compacted thickness.

When the section of roadway being paved is open to traffic, adjacent traffic lanes shall be paved to the same elevation within 24 hours unless prevented by weather or other factors beyond the Contractor's control, in order to prevent lane edge dropoff. When the outside pavement edge dropoff exceeds 2 inches, approved material shall be placed against the pavement edge.

When multiple lifts are specified in the contract, the final lift shall not be placed until all lower lifts throughout that section, as defined by the Paving Plan, have been placed and accepted. Paving shall not begin until all adjacent curb has been poured and cured for 72 hours.

Asphalt concrete pavement to be placed over bridge deck membranes shall not be placed until the membrane has cured according to the manufacturer's specifications. Vehicles, except the paving machine and trucks hauling the asphalt concrete mixture for the overlay, shall not be operated on the membrane. Paving machines used on the membrane shall be rubber-tired or rubber-tracked. The Contractor shall follow the manufacturer's published minimum and maximum temperature limitations for the asphalt concrete mixture. Vibratory rollers, with the vibrator engaged, shall not be used on bridge decks.

401-3.13 COMPACTION. Immediately after the asphalt concrete mixture has been spread, struck-off and surface irregularities adjusted, it shall be thoroughly and uniformly compacted by rolling.

The target value for density will be 94% of the maximum specific gravity (MSG), as determined in accordance with AASHTO T 209. For the first lot of each type of asphalt concrete pavement, the MSG will be determined by the Job Mix Design. For additional lots, the MSG will be determined by the sample from the first sublot of the lot. Acceptance testing for field density will be determined in accordance with ATM T-18 except that a minimum 6" diameter core is required. (Acceptance testing for field density of leveling course or temporary pavement will not be done.)

The asphalt concrete pavement, including leveling course, shall receive a minimum of 3 complete passes with a pneumatic-tired roller. A pass is defined as once over each point on the pavement surface.

Areas not accessible to the rollers shall be graded with rakes and lutes and compacted with mechanical tampers. For depressed areas a trench roller may be used to achieve the required compaction.

Rollers or other vehicles shall not be parked or left standing on pavement that has not cooled sufficiently to prevent indentation.

401-3.14 JOINTS. Joints shall be constructed to ensure a continuous bond, texture, and smoothness between adjacent sections of the pavement. The minimum specification limit for longitudinal joint density will be 91 percent of the MSG of the panel completing the joint. The Contractor shall cut one 6 inch core centered on the longitudinal joint at each location the mat is cored for acceptance density testing. Density will be determined in accordance with ATM T-18.

When joining old existing pavement and new pavement, the old pavement shall be cut in a neat line with a power driven saw.

Improperly formed joints resulting in surface irregularities shall be removed full depth, replaced with new material, and thoroughly compacted. Rolling of joints after the material has cooled below 150 degrees Fahrenheit shall not be allowed. All pavement removal shall be precut to a neat line with a power driven saw.

A tack coat of asphalt cement or asphalt emulsion shall be applied on all cold joints and allowed to break prior to placing any fresh asphalt concrete mixture against the joint. This work shall be completed by the Contractor just prior to paving.

Transverse joints shall be formed by saw cutting back on the previous run to expose the full depth of the course or by using a removable bulkhead. Transverse joints shall not be perpendicular to centerline, but at a skew between 15-25 degrees.

The longitudinal joints in one layer shall offset those in the layer immediately below by at least six inches. The joints shall be at centerline or lane lines. Where preformed marking tape striping is required, the longitudinal joint in the top layer shall be offset 2 to not more than 6 inches from the edge of the stripe.

401-3.15 SURFACE TOLERANCE. The surface of the Asphalt Concrete Pavement will be measured after final rolling at selected locations using a 10 foot straightedge. The variation of the surface from the testing edge of the straightedge between any two contacts with the surface shall not exceed 3/16 inch.

The smoothness of the Asphalt Concrete Pavement in the driving lanes from Sta 1953+15 to 2383+85 will be measured by the Engineer with a California-type profilograph within 14 days after mainline paving is completed and all defects are corrected. No measurements will be taken in turn lanes, lane transitions, or within 25 feet of bridge abutments or matches with an existing pavement. The profilograph results (PrI) will be reduced within the 14 day period and a price adjustment will be calculated in accordance with Subsection 401-5.01. Any required traffic control devices or flagging shall be furnished by the Contractor in accordance with Section 643.

401-3.16 PATCHING DEFECTIVE AREAS. Any asphalt concrete mixture that becomes contaminated with foreign material, is segregated, or is in any way defective as determined by the Engineer shall be removed. Skin patching will not be permitted. Defective materials shall be removed for the full thickness of the course. The pavement shall be cut so that the sides are parallel to the direction of traffic and so that the edges are vertical. Edges shall be coated with a tack coat of material conforming to Section 402 and allowed to cure. Fresh asphalt concrete mixture shall be placed in sufficient quantity so that the finished surface will conform to grade and smoothness requirements. The asphalt concrete mixture shall be compacted to the density specified. All costs associated with the patching of defective areas shall be borne by the Contractor.

Any asphalt concrete mixture that becomes loose and broken, segregated, mixed with dirt, or is any other way defective shall be removed and replaced with fresh hot asphalt concrete mixture, which shall be compacted to conform with the surrounding area. Any area showing an excess or deficiency of asphalt cement shall be removed and replaced.

401-4.01 METHOD OF MEASUREMENT. The asphalt concrete mixture will be measured by the ton or by the square yard in accordance with Section 109. The tonnage used will be the tons used in the accepted pavement and no deduction will be made for the weight of asphalt cement material and anti-stripping additive in the mixture.

The weight of asphalt cement will be calculated using the percent of asphalt cement for each sublot multiplied by the total tonnage represented by that sublot. Percent of asphalt cement will be determined by ATM T-23, or AASHTO TP53. The same tests used for the acceptance testing of the sublot will be used for computation of the asphalt cement quantity.

No payment will be made for any asphalt cement in excess of 0.4% above the optimum asphalt content specified in the Job Mix Design.

Longitudinal joints will be measured by the yard. The distance measured will be in both directions from a longitudinal joint core location to a point equal distant to the next longitudinal joint core.

401-4.02 ACCEPTANCE SAMPLING AND TESTING. The quantity of each type of asphalt concrete mixture produced and placed shall be divided into lots and the lots evaluated individually for acceptance. The Department has the exclusive right and responsibility for determining the acceptability of all materials incorporated into the project. Acceptance sampling and testing shall be performed by the Engineer. The results of the acceptance testing performed by the Engineer will be made available to the Contractor within seven working days from the date of sampling.

A lot will normally be 5,000 tons. The lot will be divided into sublots of 500 tons, each randomly sampled and tested for asphalt cement content, density, and gradation in accordance with this subsection. If the project has more than one lot and less than eight additional sublots have been sampled at the time a lot is terminated, the material in the shortened lot will be included as part of the prior lot and the price adjustment computed for the prior lot shall include the samples from the shortened lot.

If eight or nine samples have been obtained at the time a lot is terminated, they will be considered as a lot and the price adjustment will be based on the actual number of test results (excluding outliers) in the shortened lot.

If the contract quantity is between 1,000 tons and 4,999 tons, the contract quantity will be considered one lot. The lot will be divided into 5 equal sublots and randomly sampled for asphalt cement content, density, and gradation in accordance with this subsection. The Engineer shall select one sample for every 1,000 tons of mix, or majority portion thereof, for testing. If the test result(s) conform to the specification limits, the lot will be accepted and the weight of asphalt cement for the lot will be calculated from the average of the asphalt cement content tests performed. If only one asphalt cement content test is performed, the weight of asphalt cement for the lot will be calculated from that one test result. If any of the test results fail to conform to specification limits, the remaining samples will be tested and the lot evaluated for price adjustment in accordance with Sub-section 401-4.03 with the exception that the Pay Factor shall not exceed 1.00 for any sieve size, asphalt cement content and density.

If the contract quantity is less than 1,000 tons, asphalt concrete pavement will be accepted for payment based on the Engineer's approval of a Job Mix Design and the placement and compaction of the asphalt concrete pavement to the specified depth and finished surface requirements and tolerances. Any area of finished surfacing that is segregated, fails to meet surface tolerance requirements, cools to below 150 degrees F prior to completing compaction, or is in any other way defective, shall be removed and replaced with new asphalt concrete pavement. Removal and replacement of defective pavement shall be at no additional cost to the Department.

Samples taken for the determination of asphalt cement content will be taken from behind the screed prior to initial compaction, or at the end of the auger. Asphalt cement content shall be determined by ATM T-23, or AASHTO TP53. With AASHTO TP53, the moisture content will be determined by ATM T-25.

Samples taken for the determination of aggregate gradation from drum mix plants will be from the combined aggregate cold feed conveyor via a sampling device, or from the stopped conveyor belt, or from asphalt concrete mixture samples taken from the same location as samples for the determination of asphalt cement content. The aggregate gradation for samples from the conveyor system will be determined according to ATM T-7. For asphalt concrete mixture samples, the gradation will be determined in accordance with AASHTO T 30 from the aggregate remaining after the ignition oven (AASHTO TP53) has burned off the asphalt cement.

Cold-feed conveyor sampling devices shall divert aggregate from the full width of the conveyor system and shall be maintained to provide a representative sample of the aggregate incorporated into the asphalt concrete mixture.

Samples taken for the determination of aggregate gradation from batch plants will be from the same location as samples for the determination of asphalt cement content, or from dry batched aggregates. The dry batched aggregate gradation will be determined according to ATM T-7. For asphalt concrete mixture samples, the gradation will be determined in accordance with AASHTO T 30 from the aggregate remaining after the ignition oven (AASHTO TP53) has burned off the asphalt cement, or from aggregate extracted in accordance with ATM T-16.

Within 24 hours of final rolling, the Contractor shall cut full depth samples from the finished mat lift for density acceptance testing. One core sample with a minimum diameter of 150 mm shall be taken from each sublot. The samples shall be neatly cut by a core drill at the randomly selected locations marked by the Engineer. ATM T-18 will be used to determine density. No samples shall be cut from asphalt concrete mats on bridge decks. Failure to cut core samples for density acceptance testing within the specified period will result in a penalty of $100.00 per sample per day. The accrued amount will be subtracted from the Contractor's payment for asphalt concrete pavement.

All voids left by sampling shall be backfilled with new asphalt concrete mixture and compacted within 24 hours of sampling. Failure to backfill voids left by sampling in the specified period will result in a penalty of $100.00 per hole per day. The accrued amount will be subtracted from the Contractor's payment for asphalt concrete pavement.

The Contractor may request a retest of any sample not within specification limits. This request shall be in writing and delivered to the Engineer within 7 days of receipt of the initial test result. Verbal requests with the written request to be delivered after the specified 7 days will not be accepted. The sample(s) for retesting shall be taken within 24 hours of the notice to the Engineer requesting the retest(s). The Engineer will mark the sample location for the retest. Failure to provide the sample(s) for retesting within the specified period forfeits the right for a retest for the affected sample(s). The original test result will be discarded and the retest result will be used in the price adjustment calculation regardless of whether the retest result gives a higher or lower pay factor. Only one retest per sample will be allowed.

401-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE. The following method of price adjustment will be applied to each type of Asphalt Concrete Pavement for which the contract quantity equals or exceeds 5,000 tons, except as defined in Subsection 401-4.02. The longitudinal joint density price adjustment will apply when Asphalt Concrete Pavement quantities are equal to or greater than 1000 tons.

All acceptance test results for a lot will be analyzed collectively and statistically by the Quality Level Analysis - Standard Deviation (Specification Conformance Analysis) Method using the procedures listed to determine the total estimated percent of the lot that is within specification limits.

Prior to computing the price adjustment, the validity of the test results shall be ascertained in accordance with SP-7, the Standard Practice for Determination of Outlier Test Results. Outlier test results shall not be included in the price adjustment calculations. If any sieve size on a gradation test, or the asphalt cement content is an outlier, then the gradation test results and the asphalt cement content results for that sample will not be included in the price adjustment. The density test results for that sample will be included in the price adjustment provided it is not an outlier also.

If the density test result is an outlier, the density test result will not be included in the price adjustment but the gradation and asphalt cement content results for that sample will be included provided neither is an outlier.

Quality Level Analysis (Specification Conformance Analysis) is a statistical procedure for estimating the percent compliance to a specification and is affected by shifts in the arithmetic mean (x) and by the sample standard deviation (s). Analysis of test results will be based on an Acceptable Quality Level (AQL) of 95.0% and a contractor's risk of 5.0% unless otherwise specified. AQL may be viewed as the lowest percent within the specification limits of a material that is acceptable as a process average and receive 100% pay. The contractor's risk is the probability that when the Contractor is producing material at exactly the AQL, the materials will receive less than 1.00 pay factor.

As an incentive to produce quality material, a pay factor greater than 1.00 may be obtained. The maximum pay factor obtainable is 1.05. The maximum pay factor for the largest sieve size specification for gradation will be 1.00. The price adjustment is based on the lowest of two pay factors. The first factor is a composite pay factor for asphalt concrete mixture which includes gradation and asphalt cement content. The second factor is a separate pay factor for density.

A lot containing material with less than a 1.00 pay factor, may be accepted at an adjusted price provided the pay factor is at least 0.75 and there are no isolated defects identified by the Engineer.

A lot containing material that fails to obtain at least a 0.75 pay factor will be rejected in accordance with Subsection 105-1.11. The Contractor may submit a written request for acceptance of the material at a reduced price or approved correction. Such a request shall include an engineering analysis showing expected effects on performance. The Engineer will determine whether or not the material may remain in place at the reduced price.

The Engineer can reject material which appears to be defective based on visual inspection. Such rejected material shall not be used in the work. No payment will be made for the materials rejected by the Engineer.

Quality Level Analysis. Procedures for computation of composite pay factor are as follows:

1.	Eliminate test results found to be outliers by SP-7 (the Standard Practice for Determination of Outlier Test Results) and any test results on material not incorporated into the work from the quality level analysis.

Determine the arithmetic mean (x) of the remaining test results:

Where:	Σ	= summation of

x=Σxn

x	= individual test value to xn

n	= total number of test values

x	is rounded to the nearest tenth for density and all sieve sizes except the #200 sieve. x is rounded to the nearest hundredth for asphalt cement content and the #200 sieve.

2.	Compute the sample standard deviation (s) after the outliers have been excluded:

Where:	Σ(x2)	=	summation of the squares of individual test values.

s=nΣ(x2)−(Σx)2n(n-1)

(Σx)2	=	square of the summation of the individual test values.

The sample standard deviation (s) is rounded to the nearest hundredth for density and all sieve sizes except the #200 sieve. The sample standard deviation (s) is rounded to the nearest 0.001 for asphalt cement content and the #200 sieve.

If the computed sample standard deviation (s) is <0.001, then use s = 0.20 for density and all sieve sizes except the #200 sieve. Use s = 0.020 for asphalt cement content and the #200 sieve.

3.	Compute the Upper Specification Limit (USL) and Lower Specification Limit (LSL). For aggregate gradation and asphalt cement content, the Specification Limits (USL and LSL) are equal to the Target Value (TV) plus and minus the allowable tolerances in Table 401-2. The tolerances for the largest sieve specified will be plus 0% and minus 1%. The TV is the specification value defined by the Job Mix Design. The TV for density is 94% of the maximum specific gravity (MSG), the LSL is 92% of MSG and the USL is 98%.

4.	Compute the Upper Quality Index (QU):

Where:	USL	= Upper Specification Limit

QU=USL-xs

QU	is rounded to the nearest hundredth.

5.	Compute the lower quality index (QL):

Where:	LSL	= Lower Specification Limit

QL=x-LSLs

QL	is rounded to the nearest hundredth.

6.	Determine PU (percent within the upper specification limit which corresponds to a given QU) from Table 401-3.

7.	Determine PL (percent within the lower specification limit which corresponds to a given QL) from Table 401-3.

8.	Determine the Quality Level (the total percent within specification limits) for aggregate gradation, asphalt cement content, and density.

QL = (PL + PU) - 100

9.	Using the Quality Levels from Step 8, determine the lot Density Pay Factor (DPF) and gradation and asphalt cement content pay factors (PF) from Table 401-4.

10.	Compute the asphalt concrete mixture Composite Pay Factor (CPF) for asphalt content and gradation using the following formula:

CPF=[f3/4} }  \(  { ital PF}  rSub { size 8{ ital 34
                                        )+f1/2} }  \(  { ital PF}  rSub { size 8{ ital 12
                                        )+.......fac(PFac)]Σf

Table 401-5 is used to determine the weight factor (f) for each sieve size, and asphalt cement content.

Table 401-2

LOWER SPECIFICATION LIMIT (LSL) and UPPER SPECIFICATION LIMIT (USL)

Measured Characteristics		LSL			USL

3/4 inch				TV-6.0		TV+6.0

½ inch				TV-6.0		TV+6.0

3/8 inch				TV-6.0		TV+6.0

No. 4					TV-6.0		TV+6.0

No. 8					TV-6.0		TV+6.0

No. 16				TV-5.0		TV+5.0

No. 30				TV-4.0		TV+4.0

No. 50				TV-4.0		TV+4.0

No. 100				TV-3.0		TV+3.0

No. 200				TV-2.0		TV+2.0

Asphalt %				TV-0.40		TV+0.40

Density				 92%			 98%

TABLE 401-3

Upper Quality Index (QU) or Lower Quality Index (QL)

| PU or PL | n = 3 | n = 4 | n = 5 | n = 6 | n = 7 | n = 8 | n = 9 | n = 10 to n = 11 | n = 12 to n = 14 | n = 15 to n = 18 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 100 | 1.16-10.0 | 1.48-10.0 | 1.68-10.0 | 1.81-10.0 | 1.90-10.0 | 1.96-10.0 | 2.01-10.0 | 2.05-10.0 | 2.10-10.0 | 2.15-10.0 |
| 99 | - | 1.45-1.47 | 1.61-1.67 | 1.71-1.80 | 1.77-1.89 | 1.82-1.95 | 1.85-2.00 | 1.87-2.04 | 1.92-2.09 | 1.94-2.14 |
| 98 | 1.15 | 1.42-1.44 | 1.55-1.60 | 1.63-1.70 | 1.68-1.76 | 1.71-1.81 | 1.73-1.84 | 1.75-1.86 | 1.78-1.91 | 1.80-1.93 |
| 97 | - | 1.39-1.41 | 1.50-1.54 | 1.56-1.62 | 1.60-1.67 | 1.62-1.70 | 1.64-1.72 | 1.66-1.74 | 1.68-1.77 | 1.69-1.79 |
| 96 | 1.14 | 1.36-1.38 | 1.45-1.49 | 1.50-1.55 | 1.53-1.59 | 1.55-1.61 | 1.56-1.63 | 1.57-1.65 | 1.59-1.67 | 1.60-1.68 |
| 95 | - | 1.33-1.35 | 1.40-1.44 | 1.44-1.49 | 1.47-1.52 | 1.48-1.54 | 1.49-1.55 | 1.50-1.56 | 1.51-1.58 | 1.52-1.59 |
| 94 | 1.13 | 1.30-1.32 | 1.36-1.39 | 1.39-1.43 | 1.41-1.46 | 1.42-1.47 | 1.43-1.48 | 1.44-1.49 | 1.45-1.50 | 1.45-1.51 |
| 93 | - | 1.27-1.29 | 1.32-1.35 | 1.34-1.38 | 1.36-1.40 | 1.37-1.41 | 1.37-1.42 | 1.38-1.43 | 1.38-1.44 | 1.39-1.44 |
| 92 | 1.12 | 1.24-1.26 | 1.28-1.31 | 1.30-1.33 | 1.31-1.35 | 1.31-1.36 | 1.32-1.36 | 1.32-1.37 | 1.33-1.37 | 1.33-1.38 |
| 91 | 1.11 | 1.21-1.23 | 1.24-1.27 | 1.25-1.29 | 1.26-1.30 | 1.26-1.30 | 1.27-1.31 | 1.27-1.31 | 1.27-1.32 | 1.28-1.32 |
| 90 | 1.10 | 1.18-1.20 | 1.20-1.23 | 1.21-1.24 | 1.21-1.25 | 1.22-1.25 | 1.22-1.26 | 1.22-1.26 | 1.22-1.26 | 1.23-1.27 |
| 89 | 1.08-1.09 | 1.15-1.17 | 1.16-1.19 | 1.17-1.20 | 1.17-1.20 | 1.17-1.21 | 1.17-1.21 | 1.18-1.21 | 1.18-1.21 | 1.18-1.22 |
| 88 | 1.07 | 1.12-1.14 | 1.13-1.15 | 1.13-1.16 | 1.13-1.16 | 1.13-1.16 | 1.13-1.16 | 1.13-1.17 | 1.13-1.17 | 1.13-1.17 |
| 87 | 1.05-1.06 | 1.09-1.11 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 | 1.09-1.12 |
| 86 | 1.04 | 1.06-1.08 | 1.06-1.08 | 1.05-1.08 | 1.05-1.08 | 1.05-1.08 | 1.05-1.08 | 1.05-1.08 | 1.05-1.08 | 1.05-1.08 |
| 85 | 1.02-1.03 | 1.03-1.05 | 1.02-1.05 | 1.02-1.04 | 1.01-1.04 | 1.01-1.04 | 1.01-1.04 | 1.01-1.04 | 1.01-1.04 | 1.01-1.04 |
| 84 | 1.01 | 1.00-1.02 | 0.99-1.01 | 0.98-1.01 | 0.98-1.00 | 0.97-1.00 | 0.97-1.00 | 0.97-1.00 | 0.97-1.00 | 0.97-1.00 |
| 83 | 0.98-1.00 | 0.97-0.99 | 0.96-0.98 | 0.95-0.97 | 0.94-0.97 | 0.94-0.96 | 0.94-0.96 | 0.93-0.96 | 0.93-0.96 | 0.93-0.96 |
| 82 | 0.97 | 0.94-0.96 | 0.92-0.95 | 0.91-0.94 | 0.91-0.93 | 0.90-0.93 | 0.90-0.93 | 0.90-0.92 | 0.90-0.92 | 0.89-0.92 |
| 81 | 0.94-0.96 | 0.91-0.93 | 0.89-0.91 | 0.88-0.90 | 0.87-0.90 | 0.87-0.89 | 0.87-0.89 | 0.86-0.89 | 0.86-0.89 | 0.86-0.88 |
| 80 | 0.92-0.93 | 0.88-0.90 | 0.86-0.88 | 0.85-0.87 | 0.84-0.86 | 0.83-0.86 | 0.83-0.86 | 0.83-0.85 | 0.83-0.85 | 0.82-0.85 |
| 79 | 0.90-0.91 | 0.85-0.87 | 0.83-0.85 | 0.81-0.84 | 0.81-0.83 | 0.80-0.82 | 0.80-0.82 | 0.80-0.82 | 0.79-0.82 | 0.79-0.81 |
| 78 | 0.88-0.89 | 0.82-0.84 | 0.79-0.82 | 0.78-0.80 | 0.77-0.80 | 0.77-0.79 | 0.77-0.79 | 0.76-0.79 | 0.76-0.78 | 0.76-0.78 |
| 77 | 0.85-0.87 | 0.79-0.81 | 0.76-0.78 | 0.75-0.77 | 0.74-0.76 | 0.74-0.76 | 0.73-0.76 | 0.73-0.75 | 0.73-0.75 | 0.72-0.75 |
| 76 | 0.83-0.84 | 0.76-0.78 | 0.73-0.75 | 0.72-0.74 | 0.71-0.73 | 0.71-0.73 | 0.70-0.72 | 0.70-0.72 | 0.70-0.72 | 0.69-0.71 |
| 75 | 0.80-0.82 | 0.73-0.75 | 0.70-0.72 | 0.69-0.71 | 0.68-0.70 | 0.67-0.70 | 0.67-0.69 | 0.67-0.69 | 0.67-0.69 | 0.66-0.68 |
| 74 | 0.77-0.79 | 0.70-0.72 | 0.67-0.69 | 0.66-0.68 | 0.65-0.67 | 0.64-0.66 | 0.64-0.66 | 0.64-0.66 | 0.63-0.66 | 0.63-0.65 |
| 73 | 0.75-0.76 | 0.67-0.69 | 0.64-0.66 | 0.63-0.65 | 0.62-0.64 | 0.61-0.63 | 0.61-0.63 | 0.61-0.63 | 0.60-0.62 | 0.60-0.62 |
| 72 | 0.72-0.74 | 0.64-0.66 | 0.61-0.63 | 0.60-0.62 | 0.59-0.61 | 0.58-0.60 | 0.58-0.60 | 0.58-0.60 | 0.58-0.59 | 0.57-0.59 |
| 71 | 0.69-0.71 | 0.61-0.63 | 0.58-0.60 | 0.57-0.59 | 0.56-0.58 | 0.56-0.57 | 0.55-0.57 | 0.55-0.57 | 0.55-0.57 | 0.54-0.56 |
| 70 | 0.66-0.68 | 0.58-0.60 | 0.55-0.57 | 0.54-0.56 | 0.53-0.55 | 0.53-0.55 | 0.52-0.54 | 0.52-0.54 | 0.52-0.54 | 0.51-0.53 |
| 69 | 0.63-0.65 | 0.55-0.57 | 0.52-0.54 | 0.51-0.53 | 0.50-0.52 | 0.50-0.52 | 0.49-0.51 | 0.49-0.51 | 0.49-0.51 | 0.49-0.50 |
| 68 | 0.60-0.62 | 0.52-0.54 | 0.48-0.51 | 0.48-0.50 | 0.47-0.49 | 0.47-0.49 | 0.47-0.48 | 0.46-0.48 | 0.46-0.48 | 0.46-0.48 |
| 67 | 0.57-0.59 | 0.49-0.51 | 0.46-0.47 | 0.45-0.47 | 0.45-0.46 | 0.44-0.46 | 0.44-0.46 | 0.44-0.45 | 0.43-0.45 | 0.43-0.45 |
| 66 | 0.53-0.56 | 0.46-0.48 | 0.44-0.45 | 0.42-0.44 | 0.42-0.44 | 0.41-0.43 | 0.41-0.43 | 0.41-0.43 | 0.41-0.42 | 0.40-0.42 |
| 65 | 0.50-0.52 | 0.43-0.45 | 0.41-0.43 | 0.40-0.41 | 0.39-0.41 | 0.39-0.40 | 0.38-0.40 | 0.38-0.40 | 0.38-0.40 | 0.38-0.39 |
| 64 | 0.47-0.49 | 0.40-0.42 | 0.38-0.40 | 0.37-0.39 | 0.36-0.38 | 0.36-0.38 | 0.36-0.37 | 0.35-0.37 | 0.35-0.37 | 0.35-0.37 |
| 63 | 0.44-0.46 | 0.37-0.39 | 0.35-0.37 | 0.34-0.36 | 0.33-0.35 | 0.33-0.35 | 0.33-0.35 | 0.33-0.34 | 0.32-0.34 | 0.32-0.34 |
| 62 | 0.40-0.43 | 0.34-0.36 | 0.32-0.34 | 0.31-0.33 | 0.31-0.32 | 0.30-0.32 | 0.30-0.32 | 0.30-0.32 | 0.30-0.31 | 0.30-0.31 |
| 61 | 0.37-0.39 | 0.31-0.33 | 0.29-0.31 | 0.28-0.30 | 0.28-0.30 | 0.28-0.29 | 0.27-0.29 | 0.27-0.29 | 0.27-0.29 | 0.27-0.29 |
| 60 | 0.33-0.36 | 0.28-0.30 | 0.26-0.28 | 0.26-0.27 | 0.25-0.27 | 0.25-0.27 | 0.25-0.26 | 0.25-0.26 | 0.24-0.26 | 0.24-0.26 |
| 59 | 0.30-0.32 | 0.25-0.27 | 0.24-0.25 | 0.23-0.25 | 0.22-0.24 | 0.22-0.24 | 0.22-0.24 | 0.22-0.24 | 0.22-0.23 | 0.22-0.23 |
| 58 | 0.26-0.29 | 0.22-0.24 | 0.21-0.23 | 0.20-0.22 | 0.20-0.21 | 0.20-0.21 | 0.19-0.21 | 0.19-0.21 | 0.19-0.21 | 0.19-0.21 |
| 57 | 0.23-0.25 | 0.19-0.21 | 0.18-0.20 | 0.17-0.19 | 0.17-0.19 | 0.17-0.19 | 0.17-0.18 | 0.17-0.18 | 0.17-0.18 | 0.16-0.18 |
| 56 | 0.19-0.22 | 0.16-0.18 | 0.15-0.17 | 0.15-0.16 | 0.14-0.16 | 0.14-0.16 | 0.14-0.16 | 0.14-0.16 | 0.14-0.16 | 0.14-0.15 |
| 55 | 0.15-0.18 | 0.13-0.15 | 0.12-0.14 | 0.12-0.14 | 0.12-0.13 | 0.12-0.13 | 0.11-0.13 | 0.11-0.13 | 0.11-0.13 | 0.11-0.13 |
| 54 | 0.12-0.14 | 0.10-0.12 | 0.09-0.11 | 0.09-0.11 | 0.09-0.11 | 0.09-0.11 | 0.09-0.10 | 0.09-0.10 | 0.09-0.10 | 0.09-0.10 |
| 53 | 0.08-0.11 | 0.07-0.09 | 0.07-0.08 | 0.06-0.08 | 0.06-0.08 | 0.06-0.08 | 0.06-0.08 | 0.06-0.08 | 0.06-0.08 | 0.06-0.08 |
| 52 | 0.05-0.07 | 0.04-0.06 | 0.04-0.06 | 0.04-0.05 | 0.04-0.05 | 0.04-0.05 | 0.04-0.05 | 0.04-0.05 | 0.04-0.05 | 0.04-0.05 |
| 51 | 0.01-0.04 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 | 0.01-0.03 |
| 50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |

NOTE: For negative values of QU or QL, use absolute values of QU or QL. PU or PL is then equal to 100 minus the table value of PU or PL.

| Pay Factor | n = 3 | n = 4 | n = 5 | n = 6 | n = 7 | n = 8 | n = 9 | n = 10 to n = 11 | n = 12 to n = 14 | n = 15 to n = 18 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.05 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 |
| 1.04 | 90-99 | 91-99 | 92-99 | 93-99 | 93-99 | 93-99 | 94-99 | 94-99 | 95-99 | 95-99 |
| 1.03 | 80-89 | 85-90 | 87-91 | 88-92 | 89-92 | 90-92 | 91-93 | 91-93 | 92-94 | 93-94 |
| 1.02 | 75-79 | 80-84 | 83-86 | 85-87 | 86-88 | 87-89 | 88-90 | 88-90 | 89-91 | 90-92 |
| 1.01 | 71-74 | 77-79 | 80-82 | 82-84 | 84-85 | 85-86 | 85-87 | 86-87 | 87-88 | 88-89 |
| 1.00 | 68-70 | 74-76 | 78-79 | 80-81 | 81-83 | 82-84 | 83-84 | 84-85 | 85-86 | 86-87 |
| 0.99 | 66-67 | 72-73 | 75-77 | 77-79 | 79-80 | 80-81 | 81-82 | 82-83 | 83-84 | 85 |
| 0.98 | 64-65 | 70-71 | 73-74 | 75-76 | 77-78 | 78-79 | 79-80 | 80-81 | 81-82 | 83-84 |
| 0.97 | 62-63 | 68-69 | 71-72 | 74 | 75-76 | 77 | 78 | 78-79 | 80 | 81-82 |
| 0.96 | 60-61 | 66-67 | 69-70 | 72-73 | 73-74 | 75-76 | 76-77 | 77 | 78-79 | 80 |
| 0.95 | 59 | 64-65 | 68 | 70-71 | 72 | 73-74 | 74-75 | 75-76 | 77 | 78-79 |
| 0.94 | 57-58 | 63 | 66-67 | 68-69 | 70-71 | 72 | 73 | 74 | 75-76 | 77 |
| 0.93 | 56 | 61-62 | 65 | 67 | 69 | 70-71 | 71-72 | 72-73 | 74 | 75-76 |
| 0.92 | 55 | 60 | 63-64 | 65-66 | 67-68 | 69 | 70 | 71 | 72-73 | 74 |
| 0.91 | 53-54 | 58-59 | 62 | 64 | 66 | 67-68 | 68-69 | 69-70 | 71 | 73 |
| 0.90 | 52 | 57 | 60-61 | 63 | 64-65 | 66 | 67 | 68 | 70 | 71-72 |
| 0.89 | 51 | 55-56 | 59 | 61-62 | 63 | 64-65 | 66 | 67 | 68-69 | 70 |
| 0.88 | 50 | 54 | 57-58 | 60 | 62 | 63 | 64-65 | 65-66 | 67 | 69 |
| 0.87 | 48-49 | 53 | 56 | 58-59 | 60-61 | 62 | 63 | 64 | 66 | 67-68 |
| 0.86 | 47 | 51-52 | 55 | 57 | 59 | 60-61 | 62 | 63 | 64-65 | 66 |
| 0.85 | 46 | 50 | 53-54 | 56 | 58 | 59 | 60-61 | 61-62 | 63 | 65 |
| 0.84 | 45 | 49 | 52 | 55 | 56-57 | 58 | 59 | 60 | 62 | 64 |
| 0.83 | 44 | 48 | 51 | 53-54 | 55 | 57 | 58 | 59 | 61 | 63 |
| 0.82 | 42-43 | 46-47 | 50 | 52 | 54 | 55-56 | 57 | 58 | 60 | 61-62 |
| 0.81 | 41 | 45 | 48-49 | 51 | 53 | 54 | 56 | 57 | 58-59 | 60 |
| 0.80 | 40 | 44 | 47 | 50 | 52 | 53 | 54-55 | 55-56 | 57 | 59 |
| 0.79 | 38-39 | 43 | 46 | 48-49 | 50-51 | 52 | 53 | 54 | 56 | 58 |
| 0.78 | 37 | 41-42 | 45 | 47 | 49 | 51 | 52 | 53 | 55 | 57 |
| 0.77 | 36 | 40 | 43-44 | 46 | 48 | 50 | 51 | 52 | 54 | 56 |
| 0.76 | 34-35 | 39 | 42 | 45 | 47 | 48-49 | 50 | 51 | 53 | 55 |
| 0.75 | 33 | 38 | 41 | 44 | 46 | 47 | 49 | 50 | 51-52 | 53-54 |
| 0 | 0-32 | 0-37 | 0-40 | 0-43 | 0-45 | 0-46 | 0-48 | 0-49 | 0-50 | 0-52 |

Table 401-5

WEIGHT FACTORS

Gradation				Factor "f"

No. 3/4 inch sieve			 4

No. ½ inch sieve			 4

No. 3/8 inch sieve			 4

No. 4					 4

No. 8					 4

No. 16					 5

No. 30					 5

No. 50					 5

No. 100				 5

No. 200				20

Asphalt %				40

401-5.01 BASIS OF PAYMENT. The accepted quantity will be paid for at the contract unit price for the pay item listed below, complete in place.

Tack coat will be subsidiary to asphalt cement unless specified as a pay item.

Anti-stripping additives will be paid on a contingent sum basis at a rate of $4.50 per .25 percent additive per ton of asphalt cement. A change order/directive is not required for anti-stripping additive pay item. The approved mix design will initiate Item 401(4), Anti-Stripping Additive, at the prescribed rate.

The Asphalt Price Adjustment will be the sum of the price adjustments for each lot and added to the Contractor's payment for Asphalt Concrete. The fees accrued for subsequent Job Mix Design evaluations as outlined in Subsection 401-2.01 will be subtracted from the Contractor's payment. The price adjustment will be based on either the Composite Pay Factor (CPF) or Density Pay Factor (DPF), whichever is the lowest value. A change order/directive is not required for the asphalt price adjustment pay item. The price adjustment for each individual lot shall be calculated as follows:

Price Adjustment = [(CPF or DPF)* -1] x (tons in lot) x (PAB)

PAB = Price Adjustment Base = $ 33.00/Ton

* Composite Pay Factor (CPF) or Density Pay Factor (DPF) whichever is lower value.

Longitudinal joint densities less than 91 percent of MSG, as defined is Subsection 401-3.14, will be measured in accordance with Subsection 401-4.01 and assessed a price adjustment of $0.25 per yard. The accrued amount will be accounted for under Item 401(5) Asphalt Price Adjustment.

A separate price adjustment for pavement smoothness as measured in accordance with Subsection 401-3.15 will be calculated in accordance with Table 401-6 and applied under Item 401(5) Asphalt Price Adjustment.

TABLE 401-6

| Average Profile Index (PrI) (Inches per Lane Mile) | Adjustment to Item 401(5) Asphalt Price Adjustment for pavement smoothness |
| --- | --- |
| 0.0 to 3.9 | Add $5,000 multiplied by (4.0 -PrI) |
| 4.0 to 6.0 | No Adjustment |
| 6.1 and greater | Deduct $5,000 multiplied by (PrI-6.0) but not to exceed $10,000 |

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

401(1)	Asphalt Concrete Pavement, Type___, Class ___	Ton

401(2)	PG 52-28 Asphalt Cement	Ton

401(3)	Asphalt Concrete Pavement, Type___, Class___	Square Yard

401(4)	Anti-Stripping Additive	Contingent Sum

401(5)	Asphalt Price Adjustment	Contingent Sum

Price adjustments will not apply to Item 401(1), Asphalt Concrete Pavement, when total quantities are less than 5,000 tons except as defined in Subsection 401-4.02.

(12/17/98)R199

SECTION 402

TACK COAT

Special Provisions

402-2.01 ASPHALT MATERIAL. Delete "CSS-1" and substitute "STE-1".

402-3.04 DILUTION OF ASPHALT MATERIAL. Delete this subsection in its entirety.

402-3.05 APPLICATION OF ASPHALT MATERIAL. Delete the first paragraph and substitute the following: The tack coat shall be uniformly applied with a pressure distributor at a rate of 0.02 to 0.10 gallons per square yard, as directed.

402-5.01 BASIS OF PAYMENT. Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

402(3)	STE-1 Asphalt for Tack Coat	Ton

(6/14/95)R33

SECTION 501

STRUCTURAL CONCRETE

Special Provisions

501-1.01 DESCRIPTION. Add the following: This work shall also include seismic upgrade which consists of the following item:

1.	Widen bearing seats and installing restrainer cables at pier 2 and

pier 3.

Standard Modifications

501-3.01 PROPORTIONING. Under Item 1., Determining the Proportions and Batch Weights, add the following to the second paragraph: Material properties shall be determined in accordance with the following test methods:

| Property | Test Method |
| --- | --- |
| Slump | AASHTO T 119 |
| Air Content | ATM T-8 |
| Compressive Strength | AASHTO T 22 |
| Unit Weight | AASHTO T 121 |
| Cement Content | AASHTO T 121 |

(7/2/93)M51

Special Provisions

501-3.01 PROPORTIONING. Revise this subsection as follows: In Table 501-1 Class of Concrete, under the category Coarse Aggregate Gradation, AASHTO M43, provide either the No. 57 or the No. 67 gradation for Class A, S and W concrete.

(9/1/89)R37

501-3.02 BATCHING. Add the following to item No. 5, Batching: Furnish the mix design number and a list of all ingredients, their individual weights, moisture contents of the various aggregates and the individual truck water meter reading when batched, with each truck load or batch of concrete supplied. (7/2/93)S54

501-3.06 PLACING CONCRETE. Replace the last sentence of Item 2. Pumping Concrete with the following: Concrete samples for testing shall be taken at the discharge end of the pipe. The Contractor shall provide the necessary samples of concrete as directed. (7/2/93)S65

Add the following to Item 8:

f.	Two part silicone seals. The expansion joint seals shall be constructed as shown on the plans. Nosing material shall be mixed and placed according to the manufacturer’s recommendations. Backer rod shall be of the diameter called out on the plans and shall be placed to allow the silicone sealant to be properly placed. The two part silicone sealant shall be placed according to the manufacturer;’s recommendations and as shown on the plans. All materials shall conform to the requirements of Section 705. Expansion joint seals will not be measured for payment but will be considered subsidiary to concrete.

Add the following to paragraph 8d, Strip Seals: Strip seals will not be measured for payment but will be considered subsidiary to concrete.

501-4.01 METHOD OF MEASUREMENT. Add the following: Item 501(7) Seismic Upgrade, will not be measured for payment. Item 501(23) Concrete Retaining Wall, will be measured by the square foot of the visible face of the retaining wall measured from the top of the footing to the top of the wall.

501-5.01 BASIS OF PAYMENT. Add the following: Payment for Item 501(23) Concrete Retaining Wall, shall be full compensation for all work required for the installation of the retaining wall including the footings.

Add the following pay items:

Pay Item No.	Pay Item	Pay Unit

501(7)	Seismic Upgrade	Lump Sum

501(23)	Concrete Retaining Wall	Square Foot

SECTION 503

REINFORCING STEEL

Special Provisions

503-1.01 DESCRIPTION. Add the following: This work will also include the epoxy coating of appropriate reinforcing steel bars. All reinforcing steel in the exposed vertical face of a retaining wall facing the roadway, and as noted on the plans shall be epoxy coated. (2/8/96)R38

503-2.01 MATERIALS. Add the following to the list of material specifications:

Structural Steel						716

503-3.05 SPLICING. Delete this subsection in its entirety and substitute the following: Unless otherwise shown specifically on the plans, all splices and splice locations for reinforcing steel shall be submitted to the Engineer for approval. Any proposed splices for bars in the pier cap shall be made by one of the following approved methods.

Mechanical Butt Splicing. Mechanical butt splicing shall be done using an exothermic process whereby molten filler metal, contained by a high strength steel sleeve of larger inside diameter than the bars, is introduced into the annular space between the bars and the sleeve and also between the ends of the bars. Upon cooling and hardening of the filler metal the splice shall be capable of transferring at least 90 percent of the specified ultimate tensile strength of one bar to the other by the mechanical strengths of the splice components. The splice shall not depend upon fusion of the filler metal with the bars nor shall the bars be heated to their melting point during the splicing process. The degree of heat required to effect the splice shall not decrease the structural properties of the bars nor significantly effect the original hardness of the bars.

All splicing shall be done in strict accordance with the recommendations of the manufacturer, utilizing the manufacturer's standard jigs, clamps, ignition devices, and other required accessories, and shall be done prior to the time the reinforcing bars are placed in the forms.

As a condition of approval, the process and the operators shall be prequalified prior to performing any construction splices. For process qualification, the Contractor shall submit 3 test splices prepared by the manufacturer, or as noted below.

For operator qualification, the Contractor shall submit 3 test splices prepared by each operator he intends to employ in making construction splices. Operator qualification splices shall be prepared on the site under the same conditions as the construction splices, in the presence of the Engineer and the 3 splices shall be prepared consecutively. An operator and the process may be qualified by the same set of splices, provided the splices are prepared as specified above for operator qualification.

The test samples shall be a minimum of 36-inches in length with the splice assembly positioned near the midpoint of the sample, using splice materials, methods and bars representative of the construction splicing. Test splices for process qualification shall be submitted to the Engineer at least one month prior to the time of placing bars is anticipated, and test splices for operator qualification shall be submitted for testing at least one week prior to the time construction splicing is anticipated. All test splices shall bear the operator's identification mark.

The test specimens shall be tensioned to 40,000 psi and relaxed to 3,000 psi. The elongation of the specimens shall then be checked and shall be not more than 0.030-inches measured between gauge points set on the bars at each end of the splice sleeves.

The elongation shall be measured in at least three locations approximately equidistant apart around the bar, and the value used will be the average of the measurements.

In addition to the above requirements, the test specimens shall develop a minimum strength of 80,000 psi.

Should any test splice for process qualification fail the above test, the set consisting of the three splices will be determined to be unacceptable and a second set of test splices shall be prepared and submitted for testing, as specified above. Subsequent failure of any test splice in the second set shall be cause for rejection of the process.

No operator will be considered qualified to perform construction splicing unless each splice in the set of test splices prepared by that operator successfully satisfies the testing requirements.

In addition, the Contractor shall submit to the Engineer for approval, copies of the splice manufacturer's literature and recommendations.

Reinforcing bars spliced by mechanical butt splices shall not deviate from the layout line by more than 1/4-inch over a 3-1/2 foot length of bar. All construction splices shall bear the operator's identification mark, and shall be made in strict accordance with the procedures which have been qualified by testing. Any splice which is made in any manner deviating from the qualified procedures shall be cut out and replaced. No concrete shall be placed around spliced bars until such splices have been approved by the Engineer.

The Contractor shall be responsible for providing adequate bar lengths to provide all test splices in addition to the lengths required on the plans.

Splices in adjacent bars shall be staggered. In no case will the Contractor be permitted to splice more than 30 percent of the bars within any vertical three foot column section, or any three foot horizontal footing or cap section.

Threaded Coupler Bolt Splicing. Threaded coupler bolt splicing shall be done using couplers of the tapered thread type, capable of providing a full positive connection which develops in tension or compression at least 125 percent of the specified yield strength of ASTM A-615 grade 60 reinforcing steel.

At least three test splices shall be made from bars rolled from each individual heat. Each and every splice shall provide the minimum specified strength. Failure of any test splice will result in rejection of the system.

All manufacturer's recommendations shall be completely and rigidly followed in the installation of threaded couplers. The coupler manufacturer shall provide a representative who is knowledgeable with the process to advise the Engineer and assist the Contractor in directing the work. The representative shall be on site and available throughout the splicing process until all splices are encased in concrete.

Threads shall be cut with an approved bar threader to ensure proper taper and thread engagement. Threads shall be undamaged and clean when installing the splice. Damaged threads shall be rejected and the bar replaced or the thread area removed and the threads recut.

The bars and the couplers shall be assembled using an approved inspection wrench, set to the proper torque setting for the size of bars being spliced. All splices shall be re-checked with the inspection wrench just prior to final form closure and placement of concrete, and extreme care shall be taken so that vibration or impact or any other factor does not loosen the couplers.

Cold Forged Butt Splicing. Cold forged mechanical splices shall use bar couplers of the appropriate size and shape swaged to the reinforcing bars by octagonal or other dies.

All splicing shall be done in strict accordance with the recommendations of the manufacturer, utilizing the manufacturer's standard jigs, clamps, presses, and other accessories.

As a condition of approval, the process shall be prequalified prior to performing any construction splices. For process qualification, the manufacturer shall prepare three test splices for each size of bar to be spliced. These splices shall be tested by an independent agency, and the results of the tests shall be submitted to the Engineer at least one month prior to the time that field splicing is anticipated. The test samples shall be approximately 36 inches in length with the splice assembly located near the midpoint of the sample, and shall be prepared using splice materials, methods, and bars representative of the construction splicing.

The test splices shall be tensioned to a stress of 3,000 psi in the bars, and the distance between gage points set on the reinforcing bars at each end of the splice sleeves measured. The bars shall then be tensioned to 40,000 psi, held at 40,000 psi for 120 seconds, and detensioned to 3,000 psi. The distance between gage points shall again be measured. The measurements shall be made at three locations approximately equidistant apart around the bar, and the value used shall be the average of the three measurements. The difference in the final and initial measurements shall not be more than +0.003 inches for splices to be located all in one plane, and +0.03 inches for splices that are to be staggered as specified below.

In addition, the splices shall develop a minimum strength of 90,000 psi in the bars for splices located all in one plane, and 80,000 psi in the bars for splices that are to be staggered as specified below.

Should any splice for process qualification fail the above tests, the set consisting of three splices will be determined to be unacceptable and a second set of test splices shall be prepared and tested as specified above. Subsequent failure of any test splice in the second set shall be cause for rejection of the process.

If the test specimens fail the requirements for splices all in one plane, but pass the requirements for staggered splices, then the construction splices shall be staggered, with splices in adjacent bars separated by at least 24 inches, and not more than 30 percent of the bars spliced within any vertical three foot column section or any three foot horizontal section for the footing or cap bars.

Operators shall be prequalified by satisfactorily completing a training course conducted by a representative of the splice manufacturer, at a location at or near the construction site. The course shall consist of at least three hours of instruction and practice, using the equipment and processes to be used for the production field splicing. No production splices shall be made by individuals who have not satisfactorily completed this course. An outline of the course shall be submitted to the Engineer for approval prior to conducting the class, and the Engineer shall monitor the course to insure that adequate expertise is achieved.

The instructor, or other knowledgeable representative, shall remain on the site to advise the Engineer and assist the Contractor until all splices are encased in concrete.

Reinforcing bars spliced by cold formed butt splices shall not deviate from the layout line by more than 1/4-inch over a four-foot length of bar. All construction splices shall bear the operator's identification mark, and shall be made in strict accordance with the procedures which have been qualified by testing. Any splice which is made in any manner deviating from the qualified procedure shall be cut out and replaced. No concrete shall be placed around bars until such splices have been approved by the Engineer.

(3/3/97)R148

503-5.01 BASIS OF PAYMENT. Add the following: If epoxy coating the reinforcing steel is required, it will be a subsidiary obligation and no separate payment will be made.

(2/8/96)R38

SECTION 504

STEEL STRUCTURES

Special Provisions

504-1.01 DESCRIPTION. Add the following after the first paragraph: This work shall also consist of furnishing and installing avalanche control gun mount bases at the locations and in accordance with the details shown on the plans.

504-2.01 MATERIALS. Add the following: Concrete for gun mount shall be Class A concrete, as described in Section 501.

504-3.01 FABRICATION. Delete the paragraph 8. Welding, and substitute the following:

8. Welding. All shop and field welding shall conform to the requirements of the latest Structural Welding Code (ANSI/AWS D1.1) or the latest Bridge Welding Code (AWS/AASHTO D1.5) as appropriate.

504-4.01 METHOD OF MEASUREMENT. Add the following: Item 504(8) Gun Mount Base, will not be measured.

504-5.01 BASIS OF PAYMENT. Add the following: Item 504(8), Gun Mount Base will be paid for on a lump sum basis for the accepted finished product and includes excavation, forming, concrete, retaining ring and steel cover. The pipe at each location shall be subsidiary to Item 504(8) Gun Mount Base.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

504(8)	Gun Mount Base	Lump Sum

SECTION 505

PILING

Special Provisions

505-4.01 METHOD OF MEASUREMENT. Add the following:

8.	Coping. The unit of measurement for coping shall be the linear foot of coping installed, as measured along the centerline of the coping.

505-5.01 BASIS OF PAYMENT. Payment for Item 505(16) Coping, shall include  furnishing and installing of all coping as shown on the plans, including all welding and cutting required for installation.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

505(16)	Coping	Linear Foot

SECTION 507

BRIDGE RAILING

Standard Modifications

507-4.01 METHOD OF MEASUREMENT. Add the following: It shall also include concrete and associated reinforcing steel included or partially contained within the limits of the concrete rail section. (5/12/89)M19

Add the following Section:

SECTION 509

MICROSILICA MODIFIED CONCRETE OVERLAY

Special Provisions

509-1.01 DESCRIPTION. The Contractor shall furnish and install a microsilica modified concrete (MMC) overlay as specified and at the location(s) shown in the Plans.

The Contractor shall have materials and equipment on site for patching of hydrodemolition blow-throughs.

509-2.01 MATERIALS. All material shall meet the requirements of Sections 701, 703, 705, 711, and the following:

1.	Portland Cement. Type I or Type IA meeting the requirements of Subsection 701-2.01.

2.	Fine Aggregate. Subsection 703-2.01.

3.	Coarse Aggregate. Quality requirements of Subsection 703-2.02, and the gradation requirements of AASHTO M 43 gradation No. 7.

4.	Sand For Abrasive Finish. Crushed sand, oven dried, and stored in moisture proof bags. The sand shall meet the following gradation requirements:

Sieve Size U.S. No.		Percent Passing by Weight

8				100

30				97-100

200				0-5

5.	High Molecular Weight Methacrylate (HMWM) Resin. Subsection 705-2.06.

6.	Microsilica Admixture. Subsection 711-2.04.

7.	Epoxy Resin Mortar. AASHTO M 235, Type 1, Grade 3.

CONSTRUCTION REQUIREMENTS

509-3.01 QUALITY CONTROL AND QUALITY ASSURANCE. A technical representative of the manufacturer of the microsilica admixture shall be present on-site prior to and during proportioning, batching, mixing, placing, finishing and covering of MMC for all installations including trial batch operations. The Contractor shall notify the technical representative sufficiently in advance of work to provide for the person’s presence on-site during MMC operations. The technical representative shall be capable of performing, demonstrating, inspecting and testing all of the functions required for placement of the MMC as specified and as approved by the Engineer. This technical representative shall aid in the proper installation of the MMC. Recommendations made by the technical representative on or off the job site, and approved by the Engineer, shall be adhered to by the Contractor, at the Contractor's expense.

The Contractor shall make a trial batch that meets specifications. Several trial batches may be necessary before a conforming trial batch is produced. A trial batch of the MMC shall be the size to be batched per truck and batched at least 4 days before the first section of the overlay is to be placed. The Contractor shall cast a test slab 12 feet wide, of the overlay thickness, and long enough to place the trial batch. The test slab shall be placed at a location approved by the Engineer. Individual batch weights shall be furnished to the Engineer. Sampling for slump, air entrainment, unit weight and surface tolerance will be performed by the Engineer to determine if the MMC meets specifications prior to actual placement on the bridge(s). The Contractor shall receive no additional compensation for mixing, placing, and finishing the test slab or for furnishing the required materials and samples. The Engineer shall be notified 7 days in advance of the trial batch preparation. The test slab shall remain the property of the Contractor and shall be removed and disposed of upon completion of testing.

Trial batches and test slab(s) will be required for each bridge location. If the method of mixing changes or the Contractor’s personnel for concrete operations changes, a new trial batch and test slab will be required.

The Engineer will perform slump and entrained air tests on each of the first two loads of each day of placement. MMC shall be sampled by discharging and setting aside a wheelbarrow load of concrete. Slump and entrained air tests will be performed in accordance with AASHTO T 119 and ATM T-8 respectively.

Operational control tests for slump and entrained air for MMC will be conducted on randomly selected samples with a minimum frequency of one set of tests for every 18 cubic yards. Samples shall be randomly selected in accordance with AASHTO T 141.

MMC specimens for compressive strength and permeability will be selected and tested by the Engineer. The Engineer will perform permeability tests according to AASHTO T 277 for concrete samples aged to 28 days for the Department’s information.

The Contractor shall remove and dispose of test samples upon completion of testing.

509-3.02 SUBMITTALS. The Contractor shall submit for approval, 20 calendar days prior to the date of placement, the materials proposed to be used in the mix. MMC placement shall not begin until approval has been received in writing.

The Contractor’s concreting superintendent, all foremen and all operators of the cylindrical finishing machine must have prior experience with placing and finishing concrete utilizing a cylindrical finishing machine and submit a list of projects substantiating such experience at least 7 days prior to the preconcreting conference.

The Contractor shall submit for approval, 7 calendar days prior to the preconcreting conference, the finishing, grinding and grooving machines proposed to be used.

509-3.03 PROPORTIONING MATERIALS. Proportioning tolerances shall be in accordance with Subsection 501-3.01. The MMC shall be a workable mix, uniform in composition and consistency. Mix proportions per cubic yard shall be:

Portland cement		658 lb.

Microsilica Fume		52 lb.

Fine aggregate		1540 lb.

Coarse aggregate		1540 lb.

Air				6% ±1.5%

Water/cement ratio		0.33 max.

Aggregate weights listed are based on a specific gravity of 2.67. The Engineer will adjust aggregate proportions for the specific gravity of the aggregates used and to adjust the workability to suit placement requirements.

The water/cement ratio shall be calculated using all of the available mix water, including the free water in both the coarse and fine aggregate and in the microsilica slurry, if a slurry is used.

The MMC shall have a maximum slump of 7 inches. The Contractor is responsible for adjusting the slump to accommodate the gradient of the deck. Water reducing admixtures, air entraining admixtures, and superplasticizers shall be added as recommended by the supplier of the microsilica admixture.

509-3.04 STORAGE OF MATERIALS. Storage of materials shall be in accordance with Subsection 106-1.06 Storage of Materials, and the following:

1.	Aggregate. Aggregates shall be stored and handled in such a manner as to prevent variations of more than 1.0 percent in moisture content of the stockpile.

2.	High Molecular Weight Methacrylate (HMWM) Resin. The HMWM resin shall be stored in a cool dry place and protected from freezing and exposure to temperature in excess of 100 F. The promoter and initiator, if supplied separate from the resin, shall not contact each other directly. Containers of promoters and initiators shall be stored together in a manner that will prevent leakage or spillage.

509-3.05 EQUIPMENT. Equipment used shall comply with the applicable requirements of Section 512.

1.	Air Compressor. Air compressors shall be equipped with oil traps in order to eliminate oil from being blown onto the roadway deck during sandblasting and air-cleaning.

2.	Vacuum Machine. Vacuum machines shall be capable of collecting all dust, concrete chips, free standing water and other debris encountered while cleaning during deck preparation. The machines shall be equipped with collection systems that will allow the machines to be operated in air pollution sensitive areas and shall be equipped so as not to contaminate the deck during final preparation for concrete placement.

3.	Blast Cleaning Equipment. The blast cleaning equipment shall be capable of removing dust, debris and loose, disintegrated concrete. The high pressure water blasting equipment shall produce a minimum pressure of 5000 psi. Sandblast or shotblast cleaning the surface is also acceptable.

4.	Water Spraying System. The water spraying system shall include a portable high pressure sprayer with a separate water supply. The sprayer must be readily available to all parts of the deck being overlaid and must be able to discharge water in a fine mist to prevent accumulation of free water on the deck. Sufficient water must be available to thoroughly soak the deck being overlaid and to keep the deck wet prior to concrete placement.

The Contractor shall certify that the water spraying system meets the following minimum requirements:

Pressure		2200 psi

Flow Rate		4.5 gal. per minute

Fan Tip		15 degree to 25 degree range

5.	Finishing Machine. The finishing machine shall be self-propelled and be capable of forward and reverse movement under positive control. Provisions shall be made for the raising and lowering of all screeds under positive control. The upper vertical limit of screed travel shall permit the screed to clear the finished overlay surface.

The finishing machine shall have the necessary adjustments to produce the required cross-section, line, and grade. When placing MMC in a lane or strip abutting a previously placed lane or strip, the side of the finishing machine adjacent to the completed lane of strip shall be equipped to travel on the completed lane or strip.

The finishing machine shall be equipped with a rotating cylindrical double-drum screed not exceeding 5 feet in length preceded by a vibrating pan. The vibrating pan shall be constructed of metal and be of sufficient length and width so as to properly consolidate the mixture. The vibrating frequency of the vibrating pan shall be variable with positive control between 3,000 and 6,000 rpm. A machine with a vibrating pan as an integral part may be proposed and will be considered for approval by the Engineer. Other finishing machines will be allowed subject to approval of the Engineer.

6.	Fogging Equipment. The fogging equipment shall be capable of increasing the humidity in the area of placement. The nozzles shall produce a fine, fog mist to maintain a sheen of moisture on the overlay surface without ponding. The maximum rate per nozzle shall be 1 gallon per minute. A “Fogg-it” triple head nozzle, as manufactured by the Fogg-it Nozzle Co., San Francisco, CA or an approved equal shall be used.

7.	Grinding Machine. The grinding machine shall be self-propelled with diamond blades, mounted on a multi-blade arbor with a minimum cutting head width of 3 feet. The machine shall not cause strain or damage to the underlying surface of the bridge deck. The machine shall be capable of producing uniformly ground and textured surfaces. Equipment that causes excessive ravels, aggregate fractures, spalls, or disturbance of transverse or longitudinal joints shall be repaired or replaced.

8.	Grooving Machine. The grooving machine shall be self-propelled with diamond blades mounted on a multiblade arbor with a minimum cutting head width of 3 feet. The grooving machine control device must align the grooves, detect variations in the overlay surface and automatically adjust the cutting head height to maintain the specified depth. A full complement of grooving blades and spacers shall be furnished to cut grooves.

509-3.06 DECK PREPARATION. The lane or strip being overlaid shall be thoroughly cleaned of all dust, free standing water, and loose particles. Should the final surface of the deck be contaminated by oil, grease, rust, or other foreign materials that may reduce the bond of the new concrete to the old, these materials shall be removed by detergent cleaning or other methods as approved by the Engineer followed by sandblasting, shotblasting or high pressure water blasting. Cleaning may be accomplished by using high pressure water blasting with a minimum pressure of 5000 psi, sandblasting, or shotblasting.

If an air supply system is used for blast cleaning and blowing, it shall be equipped with an oil trap in the air line, and provisions shall be made to prevent oil or grease contamination of the surface by any equipment prior to placement of the overlay.

Concrete removal, on adjacent portions of the structure, by hydrodemolition may proceed during the final cleaning and overlay placement phases of the work so long as the hydrodemolition operations are confined to areas which are a minimum of 100 feet away from the defined limits of the final cleaning or overlay placement in progress. If the hydrodemolition impedes or interferes in any way with the final cleaning or overlay placement as determined by the Engineer, the hydrodemolition work shall be terminated immediately and the hydrodemolition equipment removed sufficiently away from the area being prepared or overlaid to eliminate the conflict. If the grade is such that water and contaminates from the hydrodemolition operation will flow into the area being prepared or overlaid, the hydrodemolition operation shall be terminated and shall remain suspended for the first 24 hours of curing time after the completion of concrete placement.

Concrete removal by mechanical methods and cleaning in areas adjacent to a lane or strip being cleaned in final preparation for placing MMC shall be discontinued when final preparation is begun. Concrete removal by mechanical methods shall remain suspended until the concrete has been placed and the requirement for curing time has been satisfied. Sandblasting and cleaning shall remain suspended for the first 24 hours of curing time after the completion of concrete placing.

If, after final cleaning, the lane or strip being overlaid becomes contaminated, the Contractor shall flush the surface with high pressure water, or sandblast or shotblast the surface prior to placement of the overlay. MMC placement shall begin within 24 hours of the completion of deck preparation for the portion of the deck to be overlaid.

After the lane or strip to be overlaid has been prepared and immediately before placing the concrete, it shall be thoroughly soaked and kept continuously wet with water for a minimum period of 6 hours prior to MMC placement. All free standing water shall be removed prior to MMC placement. During MMC placement, the lane or strip shall be kept moist.

Traffic other than required construction equipment will not be permitted on any portion of the lane or strip being overlaid that has undergone final preparation for placing concrete unless approved by the Engineer. To prevent contamination from equipment after final cleaning, polyethylene sheeting shall be placed over prepared lanes or strips.

509-3.07 BATCHING AND MIXING MICROSILICA MODIFIED CONCRETE.

Batching of MMC shall be in accordance with Subsection 501-3.02.

Mixing of MMC shall be in accordance with Subsection 501-3.03, except that the volume of MMC transported by truck shall not exceed 4 cubic yards per truck until the Contractor can demonstrate that he can consistently handle more than 4.0 cubic yards per truck. The load size may then be increased with the concurrence of the Engineer.

509-3.08 FORMS. Forms shall be in accordance with Subsection 501-3.05. Forms for repair areas and hydrodemolition blow-through areas shall be removed after curing.

509-3.09 PLACING MICROSILICA MODIFIED CONCRETE. A preconcreting conference shall be held five to ten working days before placing MMC to discuss construction procedures, inspection procedures, personnel, and equipment to be used. Those attending shall include:

1.	(representing the Contractor) The superintendent and all foremen in charge of placing steel reinforcing bars, of placing the MMC, and of finishing it, the technical representative of the manufacturer of the microsilica admixture; and

2.	(representing the State) The Project Engineer and key inspection assistants. If the project includes more than one slab, and if the Contractor’s key personnel change between concreting operations, an additional conference shall be held just before each slab is placed.

The Contractor shall not place MMC overlays until the Engineer agrees that:

1.	MMC producing and placement rates will be high enough to meet placing and finishing deadlines,

2.	Finishers with enough experience have been employed, and

3.	Adequate finishing tools and equipment are at the site.

MMC placement shall be in accordance with the following requirements:

1.	All MMC shall be placed before it has taken its initial set and, in any case, within 30 minutes after mixing, except as otherwise permitted in section 501-3.03. MMC shall be placed in such manner as to avoid segregation of coarse or fine portions of the mixture, and shall be spread in horizontal layers when practicable. Special care shall be exercised in the bottom of slabs to assure the working of the concrete around nests of reinforcing steel, so as to eliminate rock pockets or air bubbles. Enough rods, spades, tampers and vibrators shall be provided to compact each batch before the succeeding one is dumped and to prevent the formation of joints between batches. Extra vibrating shall be done along all faces to obtain smooth surfaces. Care shall be taken to prevent mortar from splattering on forms and reinforcing steel and from drying ahead of the final covering with MMC.

Troughs, pipes, or short chutes used as aids in placing MMC shall be arranged and used in such a manner that the ingredients of the MMC do not become separated. Where steep slopes are required, troughs and chutes shall be equipped with baffle boards or shall be in short lengths that reverse the direction of movement. All chutes, troughs, and pipes shall be kept clean and free of hardened MMC by flushing thoroughly with water after each run. Water used for flushing shall be discharged clear of the MMC in place. Troughs and chutes shall be of steel or plastic or shall be lined with steel or plastic and shall extend as nearly as possible to the point of deposit. The use of aluminum pipes, chutes or tremies is prohibited. When discharge must be intermittent, a hopper or other device for regulating the discharge shall be provided.

2.	Pumping MMC. MMC may be placed by pumping provided the Contractor demonstrates that the pumping equipment to be used will effectively handle the MMC with the slump and air content specified and that it is so arranged that no vibrations result that might damage freshly placed MMC. The operation of the pump shall be such that a continuous stream of MMC without air pockets is produced. When pumping is completed, the MMC remaining in the pipeline, if it is to be used, shall be ejected in such a manner that there will be no contamination of the MMC or separation of the ingredients. After this operation, the entire equipment shall be thoroughly cleaned. Slump tests shall be taken at the discharge end of the pipe.

3.	The Contractor shall ensure that a sufficient number of trucks are used for MMC delivery to obtain a consistent and continuous delivery and placement of MMC throughout the pour.

Bulkheads shall be used for all joints. Subsequent to placing MMC against previously placed MMC, the joint shall be checked for bond and unbonded MMC shall be removed and replaced as specified in Subsection 509-3.13.

4.	MMC placement shall not begin if rain is expected. Adequate precautions shall be taken to protect freshly placed MMC in the event that rain begins during placement. MMC that is damaged by rain shall be removed and replaced by the Contractor, at the Contractor's expense, and to the satisfaction of the Engineer.

5.	MMC shall not be placed when the temperature of the MMC surface is less than 45 F or greater than 80 F, when the combination of air temperature, relative humidity, fresh MMC temperature and wind velocity at the construction site, produces an evaporation rate of 0.15 psf per hour as determined from Figure 1 of ACI Standard Practice for Curing Concrete.

If the Contractor elects to work at night to meet this criteria, adequate lighting shall be provided at the Contractor's expense and as approved by the Engineer.

6.	If MMC placement is stopped for a period of one half hour or more, the Contractor shall install a bulkhead transverse to the direction of placement at a position where the overlay can be finished full width up to the bulkhead. The bulkhead shall be full depth of the overlay and shall be installed to grade.

Further placement is permitted only after a period of 12 hours unless a gap is left in the lane or strip. The gap shall be of sufficient width for the finishing machine to clear the transverse bulkhead installed where MMC placement was stopped.

7.	High frequency internal vibrators of either the pneumatic, electrical or hydraulic type shall be used to compact MMC along the edges adjacent to bulkheads and where the overlay thickness exceeds 3 inches. The number of vibrators used, shall be ample to consolidate the fresh MMC within 15 minutes of placing in the forms. In all cases, the Contractor shall provide at least 2 concrete vibrators for each individual placement operation (1 may be a standby). Prior to the placement of any MMC the Contractor shall demonstrate that the 2 vibrators are in good working order and ready for use.

The vibrators shall be an approved type, with a minimum frequency of 5,000 cycles per minute and shall be capable of visibly affecting a properly designed mixture with a 1 inch slump for a distance of at least 18 inches from the vibrator.

Vibrators shall not be held against forms or reinforcing steel nor shall they be used for flowing the MMC or spreading it into place. Vibrators shall be so manipulated as to produce MMC that is free of voids, is of proper texture on exposed faces, and of maximum consolidation. Vibrators shall not be held so long in one place as to result in segregation of MMC or formation of laitance on the surface.

8.	MMC shall not be placed against the edge of an adjacent lane or strip that is less than 36 hours old.

9.	Patching MMC for repair areas shall be placed concurrent with the overlay placement.

10.	Patching MMC for repair areas or blow-through areas exceeding one square foot shall be placed flush to the nominal depth of removal as shown on the plans and prior to overlay placement.

11.	Epoxy resin mortar shall be used to patch overhead (underside) blow-through areas that cannot be patched with MMC from the roadway surface of the deck.

509-3.10 FINISHING MICROSILICA MODIFIED CONCRETE. Finishing shall be accomplished in accordance with the following requirements:

Rails shall be adjustable for elevation and shall be set to elevations with allowance for anticipated deflections as required to obtain a bridge surface deck true to the required grade and cross section. Rails shall be of a type and shall be so installed that no springing or deflection will occur under the weight of the finishing equipment, and shall be located so that finishing equipment may operate without interruption over the area being finished.

Interlocking rail sections or other approved methods of providing rail continuity are required. Plans for anchoring rails shall be submitted in accordance with Subsection 105-1.02, to the Engineer for approval. Hold-down devices shot into the concrete are not permitted unless the concrete is to be subsequently overlaid. Hold-down devices shall not penetrate the existing deck by more than 3/4 inch. Rails may be removed at any time after the MMC has taken an initial set. Adequate precautions shall be taken during the removal of the finishing machine and rails to protect the edges of the new surfaces.

The Contractor shall be responsible for setting screed control to obtain the nominal overlay thickness and profile grade specified as well as the finished surface smoothness requirements. The Engineer will verify or adjust the overlay profile prior to placement of MMC. Once verified, changes in the finishing machine elevation controls will not be permitted.

MMC shall be placed and struck-off approximately ½ inch above the final grade and then consolidated and finished to final grade with a single pass (the Engineer may require additional passes) of the finishing machine. Hand finishing may be necessary to close up or seal off the surface. The final product shall be a dense uniform surface.

The overlay surface shall not be allowed to dry out. The Contractor shall fog the air over the MMC, as needed, throughout the finishing process to maintain a visible moisture sheen on the surface.

An evaporation reducer, “Confilm” as manufactured by Master Builders, Inc., Seattle, WA, or an approved equal may be used judiciously with a misting device, during the finishing process, until the wet burlap is applied, to prevent the surface of the MMC from drying out.

Construction bulkheads shall be separated from the newly-placed MMC by passing a pointing trowel along the inside surfaces of the bulkheads. Care shall be exercised to ensure that this trowel cut is made for the entire depth and length of bulkheads after the MMC has stiffened sufficiently that it does not flow back.

MMC placed on sidewalk surfaces shall be struck off with a strike board, floated with a wooden float and textured with a broom finish.

509-3.11 CURING MICROSILICA MODIFIED CONCRETE. After final finishing, the MMC surface shall be immediately covered with a single layer of clean, wet burlap. The burlap cloth shall meet the requirements of AASHTO M 182, Class 4 and shall have a maximum width of 6 ft. The Engineer will determine the suitability of the burlap for reuse, based on the cleanliness and absorption ability of the burlap. Care shall be exercised to ensure that the burlap is well-drained and laid flat with no wrinkles on the deck surface. Adjacent strips of burlap shall have a minimum overlap of 6 inches. Once in place, the burlap shall be lightly fog-misted with water. A separate layer of white, reflective-type polyethylene sheeting shall immediately be placed over the wet burlap. The MMC shall then be wet-cured by keeping the burlap wet for a minimum of 72 hours after which the polyethylene sheeting and burlap may be removed.

After the burlap cover has been removed and the overlay surface has dried, but before opening to traffic, all joints and visible cracks shall be filled and sealed with a high-molecular-weight methacrylate resin (HMWM). Cracks 1/16 inch and greater in width shall receive two applications of HMWM. Immediately following the application of HMWM, the wetted surface shall be coated with sand for an abrasive finish.

After the curing requirements have been met, the Contractor may use compressed air to accelerate drying of the deck surface, crack identification, and sealing.

Traffic shall not be permitted on the finished MMC until the specified curing time is satisfied and until the MMC has reached a minimum compressive strength of 3000 psi. The compressive strength shall be determined from informational test cylinders cured on site under similar conditions of temperature and moisture as the MMC in the structure.

509-3.12 PROTECTING MICROSILICA MODIFIED CONCRETE. Freshly placed MMC shall be maintained at a temperature of not less than 45 F for at least 3 days. Any day in which a surface temperature of less than 45 F is recorded, shall add one day to the covered time.

If the air temperature drops below 35 F during the MMC curing period, then insulating blankets shall be placed over the curing materials. The insulating blankets shall be 2 inches in thickness and shall have a tough impermeable cover material.

509-3.13 CHECKING FOR BOND. After the requirements for curing have been met, the entire overlay surface will be tested by the Engineer to ensure total bond of the MMC to the bridge deck. MMC in unbonded areas shall be removed and replaced with MMC by the Contractor, at the Contractor's expense.

509-3.14 SURFACE TOLERANCE. The smoothness of the overlay shall also be evaluated with a California Profilograph furnished and operated by the Department.

Surface Tolerances shall comply with the following:

Surface Test (Method 1).

The finished surface of the concrete shall be tested using a 10-foot straightedge at locations selected by the Engineer. Variations in the surface from the testing edge of the straightedge between any two contacts, longitudinal or transverse, shall not exceed 0.125 (1/8) inch. Irregularities exceeding the specified tolerance shall be corrected at the Contractor’s expense by corrective grinding. Following correction, the area shall be retested to verify compliance with the specified tolerance.

Surface Test (Method 2).

The smoothness of the bridge deck shall be determined by using a profilograph over each designated lane. The surface finish shall be tested and corrected as follows:

The profile index shall be determined using a California-type profilograph furnished and operated by the Department. It shall be the Contractor’s responsibility to schedule profilograph testing operations. The Contractor shall request testing at least 7 days prior to need, and shall ensure that the entire area to be tested has been cleaned and cleared of all obstructions.

The profilogram is to be recorded on a scale of 1 inch or full scale, vertically. Motive power may be manual or by propulsion unit attached to the assembly. The profilograph will be moved longitudinally along the bridge deck at a speed no greater than 3 mph to minimize bounce. The results of the profilograph test will be evaluated as outlined in California test 526, which is attached to this special provision.

Bridge deck profiles shall be taken 3 feet from and parallel to each edge of each lane. Additional profiles may be taken to define the limits of an out-of-tolerance surface variation. The profiles will terminate 15 feet from each bridge end.

The Contractor shall furnish concrete finishing equipment and employ methods capable of producing a bridge deck surface having a profile index of 7 inches per mile or less. Finished surfaces which fail to conform to this smoothness tolerance shall be ground until the above tolerance is met.

When corrective work is necessary, the bridge deck will be evaluated using the profilograph in sections the length of the bridge or individual span, if bounded by expansion joints. Within each evaluation section, all areas represented by high points having deviations in excess of 0.3 inch in 25 feet or less shall be corrected. After correcting individual deviations in excess of 0.3 inch in 25 feet, corrections shall be made to reduce the average profile index to 7 inches per mile or less. Grinding shall not reduce the concrete cover on reinforcing steel to less than 1 ½ inches.

Corrections shall be made using an approved grinding machine. Bush hammers or other impact devices shall not be used. Corrective work shall be done at the Contractor’s expense.

Where corrections are made, the surface texture shall be re-established to provide a uniform texture as equal as possible to the surrounding uncorrected bridge deck by and at the Contractor’s expense.

509-3.15 GROOVING. After corrective grinding, the overlay surface shall be grooved transverse to the centerline of roadway.

Transverse grooving shall begin 1 foot from the curb line and run in a continuous pattern to 1 foot from the opposite curb line.

The grooves shall be cut 3/16 to 5/16 inch wide and 3/16 to 5/16 inch deep spaced on 1-1/4 to 1-1/2 inch centers.

509-4.01 METHOD OF MEASUREMENT. Measurement for MMC overlay shall be by the cubic yard of materials furnished and placed.

The volume in cubic yards shall be determined as the difference between the total volume (as indicated by the batch quantity tickets for the ready-mix trucks) of MMC overlay placed and accepted, less any wasted MMC. The volume of MMC remaining in the drum of the last ready-mix truck for each pour shall be weighed or measured by the Engineer.

Forming of full depth repair areas or hydrodemolition blow-through areas will be subsidiary.

509-5.01 BASIS OF PAYMENT. The contract unit price per cubic yard for MMC overlay will be full payment for preparing the existing bridge deck, disposing of the debris, constructing the overlay and finishing, curing, protecting, grinding and grooving the surface as specified.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

509(1)	Microsilica Modified Concrete Overlay	Cubic Yard

Add the following Section:

SECTION 510

STEEL BIN RETAINING WALLS

Special Provisions

510-1.01 DESCRIPTION. This item shall consist of furnishing and installing steel bin walls in reasonably close conformity with the lines, grades, and dimensions shown on the plans or as established by the Engineer. Partial removal of concrete wingwalls shall be incidental to this item.

General design criteria for the bin wall structure, such as location and elevations shall be as shown on the plans. Design details for the wall shall conform to one of the following manufactured systems or an approved equivalent:

1.	"Steelbin Retaining Wall", as manufactured by the Syro Steel Company. For information concerning purchase and delivery of Steel Bin Wall materials, contact:

Syro Steel Company

P.O. Box 99

Centerville, Utah 84014

Phone: (801) 292-4461

2.	"Bin-Type Retaining Wall, Type 1", as manufactured by the Contech Construction Products Company. For information concerning purchase and delivery of Steel Bin Wall materials, contact:

Contech Construction Products Inc.

1409 - 140th Place N.E., Suite 101

Bellevue, Washington 98007

Phone: (206) 641-3328

The Contractor shall make his own arrangements to purchase or manufacture all of the necessary components.

510-1.02 SUBMITTALS. The Contractor shall submit complete working drawings for the wall system in accordance with the provisions in Subsection 105-1.02, Plans and Working Drawings. The working drawings shall contain all information required for the proper construction of the wall system. The Contractor shall allow the Engineer two weeks to review the drawings after a complete set has been received.

The Contractor shall submit a Manufacturer's Certificate of Compliance in accordance with the provisions in Subsection 106-1.05, Certificate of Compliance, for all materials to be placed under Item 510(5), Steel Bin Walls. ****

510-2.01 MATERIALS. The steel bin walls shall consist of  ****  cells composed of galvanized steel members. They shall conform to the materials requirements of ASTM A444. Fasteners for the bin walls shall conform to ASTM A307 and shall be galvanized in accordance with ASTM A153.

510-3.01 CONSTRUCTION REQUIREMENTS.

1.	Design Details. The plans show type, location and details of the bin walls.

2.	Fabrication Requirements. All bin members shall be fabricated so that members of the same nominal size shall be interchangeable. Drilling, punching, or drifting bolt holes to correct defects in fabricating will not be permitted. Any members twisted, bent, or with holes improperly located shall be replaced by the Contractor at his expense.

3.	Excavation and Backfill. Excavation and backfill shall be performed in accordance with Section 205.

Temporary shoring will be required behind the bin walls to stabilize the backslope during erection of the bin walls. The temporary shoring shall be installed as per the plans and in accordance with Section 505, Piling.

4.	Finishing. The bin walls shall be galvanized.

510-4.01 METHOD OF MEASUREMENT. Steel bin walls will be measured for payment by the square foot. The measurement will be along the outer face for the height from the bottom of the base plate to the top of the top stringer and for a length measured from end to end of each section of wall.

510-5.01 BASIS OF PAYMENT. The contract price paid per square foot for steel bin walls shall include full compensation for furnishing all labor, materials, tools, equipment and incidentals, and for doing all the work involved in construction of the bin walls, complete in place.

Temporary shoring and painting will not be paid for directly, but will be subsidiary to Item 510(5), Steel Bin Walls.

Excavation will be subsidiary. Backfill will be paid under Item 203(6A), Borrow, Type A.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

510(5)	Steel Bin Walls	Square Foot

(9/20/93)R123 Revised (11/23/98)

Add the following Section:

SECTION 512

REMOVAL OF CONCRETE BRIDGE DECK

Special Provisions

512-1.01 DESCRIPTION. This work shall consist of the removal, wholly or in part, and satisfactory disposal of bridge deck concrete to the depth and limits as shown on the plans and/or as directed by the Engineer.

All unsound concrete shall be removed. Unsound concrete is defined as concrete that has spalls, cracks and/or delaminations.

CONSTRUCTION REQUIREMENTS

512-3.01 GENERAL. All work shall be performed in accordance with this Section, the applicable requirements of Section 202, and with the lines, dimensions, and thicknesses shown on the plans or ordered by the Engineer.

The Contractor shall take all steps necessary to prevent cutting or otherwise damaging any reinforcing steel designated to remain in place.

Following the concrete removal, the Engineer will inspect any exposed reinforcing steel. If, in the opinion of the Engineer, the bars are damaged or deteriorated at any point to less than 80 percent of their original cross section, including cracked or broken bars, the Contractor shall remove and replace these bars or sections of bars.

Replacement shall consist of removal of sufficient concrete to allow for splicing of a new piece of reinforcing steel. The spliced reinforcing steel shall extend 2 feet six inches beyond each end of the damage or deterioration unless otherwise indicated in the plans.

Any bars damaged by the Contractor shall be replaced at the Contractor's expense with no allowance for contract time extension.

Replacement of deteriorated, cracked, or broken steel reinforcing bars (not due to Contractor damage during operations) will be paid for in accordance with Subsection 109-1.05, Compensation for Extra Work.

512-3.02 METHOD OF REMOVAL. Removal of concrete to various depths shall be accomplished through the use of hydrodemolition equipment, except that mechanical impact methods may be used to remove concrete in those areas of the deck not accessible to hydrodemolition and power operated rotary milling machines may be used to scarify the upper deck to a nominal depth of 3/4 inch.

512-3.03 MILLING. Removal by milling shall conform to the following requirements:

1.	Equipment. Equipment shall consist of power-operated rotary milling machines capable of scarifying a minimum width of 4 feet per pass. Machines known to have the minimum specified capacity are the CMI Roto-Mill PR-225, the Gomaco Scaraplane, and the Barber Green RX-40.

2.	Concrete Removal. Prior to hydrodemolition, the concrete surface may be scarified to a nominal depth of 3/4 inch by using power-operated rotary milling machines.

512-3.04 HYDRODEMOLITION. Removal by hydrodemolition shall conform to the following requirements:

1.	Equipment. The equipment shall consist of low-pressure water filtration and feed systems, high-pressure water pumping systems, and remote-control stations for two remote-controlled demolishing units. Each unit shall have rotating jets and shall be capable of a nozzle pressure of 25000 psi.

The Equipment shall be operated by qualified personnel certified by the equipment manufacturer. Operator certification shall be submitted to the Engineer for approval before beginning concrete removal operation.

2.	Concrete Removal. Concrete deck removal shall be performed as shown on the plans.

Before concrete removal begins, the Engineer will select a trial area of sound concrete of the deck approximately 30 square feet in size. The demolishing unit shall be advanced over this area and the operating parameters established to achieve the depth of removal called for on the plans. A list of operating parameters to be used for production work shall be submitted to the Engineer for approval. During production work, the Engineer may require recalibration of the equipment if, in his opinion, satisfactory concrete removal is not being obtained. The resulting surface produced by hydrodemolition removal operation shall be a rough surface.

Debris shall be removed immediately after demolition operation to prevent rebonding to the surface of sound concrete. Any debris which is allowed to rebond shall be removed by the Contractor at no extra cost to the State, with no allowance for contract time extension. Special care shall be exercised to avoid any damage to the remaining sound concrete and reinforcing steel.

The Contractor shall be responsible for furnishing all the water required to operate the hydrodemolition equipment.

3.	Controlling Wastewater. For the purpose of controlling wastewater, the Contractor shall:

a.	Take measures to ensure that wastewater and debris do not fall from the deck onto the areas below or into drains. This includes plugging the drains and temporarily maintaining the curb line intact to confine the flow of water as well as any other measures that are needed.

Primary containment structures shall be required at all deck edges, drains, areas of spot repairs, and other areas where wastewater cannot be contained on the deck surface. These primary containment structures shall capture all wastewater not contained on the deck surface and route it to containment vessels for pretreatment before disposal.

Secondary containment may be required to prevent the escape of wastewater and debris from unanticipated events to the ground surface/river below.

Hydrodemolition blow-throughs are expected.

Containment structures for water blasting shall conform to the following portions of Section 5.3 of SSPC – Guide 6 (CON):

Class 3W Containment

5.3.1 Containment Materials, Type A2 (Flexible)

5.3.2 Penetrability, Type B3 (Water Impermeable)

5.3.3 Support Structure, Type C3 (Minimal)

5.3.4 Joints, Type D2 (Partial Seal)

5.3.5 Entryways Type E4 (Open Seam)

The precast concrete barrier shall be founded on a continuous expanded polyethylene seal (2 inch thick by 2 foot wide) to prevent wastewater from entering the adjacent traffic lane.

b.	Employ a method of filtering wastewater from the removal operation, such as settlement tanks, hay bales, etc., to ensure that wastewater is free of concrete particles and sediment before being discharged.

The Contractor shall submit a plan for wastewater treatment at the pre-construction conference. The plan shall include methods for containment, collection, filtration, storage and disposal of wastewater and debris. The Contractor shall address his proposed method for removing solids from the wastewater prior to being discharged.

Plans for wastewater treatment including containment and rigging shall be stamped by an Engineer registered in the State of Alaska and must be acceptable to the Alaska Department of Environmental Conservation.

If operations are to be pursued during nighttime hours, the Contractor shall provide adequate lighting as required to allow for the safe conduct of nighttime removal operations, and shall obtain the Engineer's approval for same, exercising care to avoid any hazardous glare in the direction of oncoming traffic.

4.	Reinforcing Steel. All reinforcing steel that is to remain in place and has been exposed by removal operations shall be cleaned of all rust and corrosive products immediately prior to concrete placement, including oil, dirt, concrete fragments, laitance, loose scale, and other coating of any character that would destroy or inhibit the bond with the new concrete.

When cleaned reinforcing steel is exposed to the elements for more than seven (7) calendar days before placement of concrete, adequate measures shall be taken by the Contractor, and approved by the Engineer, to protect the steel from contamination. Reinforcing steel contaminated as a result of the Contractor's failure to provide adequate protection, shall be sandblasted at the Contractor's expense with no allowance for contract time extension.

5.	Protection of Adjacent Traffic. A continuous six foot high plywood shield shall be securely attached to the precast concrete barrier to prevent debris from entering the adjacent traffic lane. Additional movable shields shall be provided immediately adjacent to hydrodemolition equipment.

Details of the shields and the method of attachment to the precast concrete barrier shall be included with the wastewater treatment plan submittal.

512-3.05 MECHANICAL METHODS. Concrete areas not accessible to hydrodemolition shall be removed by mechanical impact methods to the same depth as the adjacent areas. Sound concrete structures cracked or damaged by the Contractor's improper use of mechanical tools shall be repaired to the satisfaction of the Engineer with no allowance for additional payment or contract time extension.

Additional removal by mechanical methods may also be required by the Engineer if either of the following conditions exists:

1.	There is unsound concrete remaining after the hydrodemolition is done in an area.

2.	There is a lack of bond between the existing concrete and the reinforcing steel.

If unsound concrete exists or if the bond is broken around existing reinforcing steel, concrete shall be removed to provide a 3/4 inch minimum clearance around the reinforcing steel. Care shall be taken to not damage any of the existing reinforcing steel that is to remain in place.

The mechanical impact tool shall be operated at angles less than 45 degrees as measured from the deck surface to the tool. Jack hammers heavier than the nominal "30-pound" class and chipping hammers heavier than the nominal "15-pound" class shall not be used.

512-3.06 CLEANUP. Following concrete removal, the job site shall be cleaned and debris shall be removed and disposed of at location approved by the Engineer. Dust and loose particles shall be removed by flushing with water and/or vacuum cleaning.

512-4.01 METHOD OF MEASUREMENT. Removal of concrete will be measured by the square yard of the removed surface area, regardless of the depth of removal.

Removal and disposal of incidental items such as deck drains or dowels, repair of electrical conduits, replacement of electrical conduit expansion fittings, removal and reinstallation of pipe hangers, and removal and reinstallation of light fixtures, will not be measured for payment but will be subsidiary to Item 512(1), Removal of Concrete Bridge Deck.

Forming of full depth repair areas or hydrodemolition blow-through areas will be paid in accordance with subsection 109-1.05 Compensation for Extra Work.

512-5.01 BASIS OF PAYMENT. The contract unit price per square yard for removal of concrete bridge deck shall be full compensation for all labor, materials, equipment, containment structures, debris collection systems, wastewater filtration systems, and incidentals required to complete the work described in this Section.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

512(1)	Removal of Concrete Bridge Deck	Square Yard

SECTION 603

CULVERTS AND STORMDRAINS

Special Provisions

603-1.01 DESCRIPTION. Add the following: This work shall also consist of installing culvert marker posts. It shall also consist of all trimming and cleaning of existing pipes to be extended.

603-2.01 MATERIALS. Add the following: Culvert marker posts shall meet the requirements of subsection 730-2.05 Delineator Posts, for item 2. Flexible Posts. The color shall be blue with no other markings. The 2-½ inch by 72 inch post shall be rectangular in cross-section with reinforcing ribs capable of a minimum bending radius of 9 inches.

603-3.06 CULVERT MARKER POSTS. Add the following subsection: Culvert marker posts shall be installed on the approach side of storm drain outfalls 30 inches and smaller, field inlets not in paved parking lots, all end sections to cross culverts, or as directed by the Engineer. Forty-two inches of post shall remain above the ground after driving.

603-4.01 METHOD OF MEASUREMENT. Add the following: Culvert marker posts will not be measured for payment.

Cleaning and trimming of existing pipes will not be measured for payment.

603-5.01 BASIS OF PAYMENT. Add the following: Culvert marker posts will not be paid for directly, but will be subsidiary to pipe items.

Cleaning and trimming of existing pipes will not be paid for directly, but will be subsidiary to pipe items.

R42

SECTION 606

GUARDRAIL

Special Provisions

606-1.01 DESCRIPTION. Add the following: This work shall also consist of installing guardrail/ bridgerail connections at the locations shown on the plans. (10/1/91)R126

Add the following: This work shall also consist of installing slotted rail terminals at the locations shown on the plans.

606-2.01 MATERIALS. Add the following: Slotted Rail Terminals shall be SRT-350's manufactured by Syro, Inc., Western Division, P.O. Box 99, Centerville, Utah 84014. Telephone 801-292-4461.

Flexible markers shall have yellow reflective sheeting and be one of the following types or equivalent:

1.	"Guardrail Delineator Post" manufactured by Carsonite International, 2900 Lockheed Way, Carson City, Nevada 89701.

2.	"Guardrail Delineator" manufactured by Safe-Hit Corporation, 1930 West Winton Avenue, Building 11, Hayward, California 94545.

3.	"Flex-o-Guide", Model EY426 manufactured by Flexible Safety Zoning Company, 4152 Warren Avenue, Hillside, Illinois 60162.

606-3.01 POSTS. Add the following: Posts for slotted rail terminals shall be installed per the manufacturer's recommendations. All guardrail posts, wood or steel, shall be seven (7) feet in length.

606-3.02 RAIL ELEMENTS. Add the following: Guardrail elements shall be factory bent for all radii less than 75 feet. Rail elements for slotted rail terminals shall be installed per the manufacturer's recommendations.

606-3.03 REMOVAL AND RECONSTRUCTION OF GUARDRAIL. Add the following: Guardrail removed and to be replaced with new guardrail shall have the entire new run installed within 7 calendar days after removal.

Guardrail located within 50 feet of bridge ends shall have the new guardrail installed by the end of the shift in which the existing guardrail is removed.

606-3.06 FLEXIBLE MARKERS. Add the following subsection: For each slotted rail terminal, a flexible marker shall be attached to the extreme piece of rail. The flexible markers shall be attached using hardware and attachment methods recommended by the manufacturer. The flexible markers shall have a minimum of 21-inches of marker extending above the top of the guardrail. The reflective tape shall face the nearest oncoming traffic.

606-3.07 EMBANKMENT WIDENING. Add the following subsection: Embankment widening for guardrail end treatments shall be constructed of selected material, Type A in accordance with Section 203.

606-3.08 LENGTH OF NEED VERIFICATION. Add the following subsection: After shaping the slopes and staking all proposed guardrail locations, the Contractor shall notify the Engineer to field verify the beginning and ends. The staked location of the guardrail will be approved by the Engineer prior to installation. The Engineer may determine that additional guardrail is necessary, and the Contractor shall comply without delay.

(07/24/96)R45a

Standard Modifications

606-4.01 METHOD OF MEASUREMENT. Delete the last sentence of the first paragraph and substitute the following: Double faced (and nested) installations will be measured by dividing the number of panels by two, before multiplying by the panel length. Thrie beam transition pieces shall be measured by multiplying the number of panels by 6.25 feet and shall be paid for at the contract price for Thrie Beam Guardrail. (5/12/89)M21

Special Provisions

606-4.01 METHOD OF MEASUREMENT. Delete the third paragraph and replace with the following: Item 606(27), Slotted Rail Terminal, will be measured per each completed installation which shall include all labor, equipment and materials. Materials for the slotted rail terminals include the anchor cable assembly, terminal posts, terminal end, rail elements, posts and blocking, flexible marker, and all associated hardware necessary to install the terminal. These items will not be measured for payment. The end of the slotted rail terminal and the beginning of W-beam guardrail will be as shown on the manufacturer's drawings.

Add the following: Guardrail/bridge- rail connections shall be measured per each installation which shall include a section of nested thrie beam guardrail, thrie beam to standard W-beam transition, thrie beam transition bracket, posts and all associated hardware. (10/1/91)R126

606-5.01 BASIS OF PAYMENT. Add the following: Selected material, Type A will be measured and paid in accordance with Section 203.

Add the following pay items:

Pay Item No.	Pay Item	Pay Unit

606(12)	Guardrail/Bridgerail Connection	Each

606(27)	Slotted Rail Terminal	Each

R45a

SECTION 607

FENCES

Special Provisions

607-1.01 DESCRIPTION. Add the following: This work shall also consist of the removal and reconstruction of the existing avalanche gate.

607-2.01 MATERIALS. Add the following: The new foundation for the relocated avalanche gate shall be constructed in accordance with the details shown in the plans.

607-3.01 CONSTRUCTION REQUIREMENTS. Add the following: The existing avalanche gate arms, bases and hardware shall be carefully removed from the concrete foundation and stored until ready to be reinstalled at the new location. The Contractor shall reinstall the existing bases and hardware and shall provide new 32-ft avalanche gate arms compatible with the existing base. The existing gate arms shall be salvaged to the Cooper Landing maintenance station. Relocation of the gate shall occur during the months of April through September.

The existing concrete foundations shall be removed in their entirety. If determined unacceptable for reuse, they may be disposed of in the lower reaches of the embankment, as long as the concrete fragments are less than 2 feet in greatest dimension and located no closer than 4 feet to finished grade. If determined acceptable for reuse, the existing foundation shall be relocated to the new gate location and installed in a manner acceptable to the Engineer.

The existing gate base has a base plate attachment to fit the bolt pattern on the existing concrete foundation. If a new foundation is constructed, the base plate attachment shall be removed and salvaged to the Cooper Landing maintenance station.

607-4.01 METHOD OF MEASUREMENT. Add the following: Item 607(20), Removal and Reconstruction of Avalanche Gate will not be measured for payment.

607-5.01 BASIS OF PAYMENT. Add the following: Payment for Item 607(20) Removal and Reconstruction of Avalanche Gate, will be full compensation for performing the work described above. Any damage done by the Contractor to the existing avalanche gate materials to be reinstalled, shall be repaired or replaced with new materials, at the Contractor's expense. No adjustment in the lump sum price will be made for reusing the existing concrete foundation or for constructing a new concrete foundation.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

607(20)	Removal and Reconstruction	Lump Sum

of Avalanche Gate

SECTION 611

RIPRAP

Special Provisions

611-5.01 BASIS OF PAYMENT. Add the following: Payment for Item 611(2A) Riprap, Class I, shall include the construction of rock lined channel. Geotextile for this channel will be paid under the Section 631.

SECTION 609

CURBING

Special Provisions

609-2.01 MATERIALS. Delete the second paragraph and substitute the following:  Concrete for curbing shall conform to Section 501, Structural Concrete, Class A, except that Subsection 501-3.02 Batchings is modified as follows:

Under item 3. Aggregates, delete the third paragraph.

609-3.01 CAST-IN-PLACE CONCRETE CURBING.  Add the following to the seventh paragraph: Concrete placed by the extrusion or slip-form process shall have a slump of less than 2 inches.

*** This page intentionally left blank. ***

SECTION 615

STANDARD SIGNS

Special Provisions

615-2.01 MATERIALS. Add the following to the end of the first sentence of the fifth paragraph: "the Department of Transportation and Public Facilities - Sign Face Fabrication Requirements, and the Alaska Traffic Manual."

Delete paragraphs 7 and 8 (the fourth and fifth paragraphs on page 315) and substitute the following: Sign posts and bases shall be of the types specified. Structural aspects of design and materials for sign supports shall comply with the AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals.

Concrete for steel-reinforced slip base and breakaway foundations shall conform to Section 501, Structural Concrete, Class A, except that Subsection 501-3.02 Batching is modified as follows:

Under item 3. Aggregates, delete the third paragraph.

Concrete for other sign foundations may be Class W.

Add the following: Wide flange posts shall also be hinged and equipped with the multi-directional breakaway load concentration coupler hinge plates.

615-3.01 CONSTRUCTION REQUIREMENTS. Add the following to the sixth paragraph: When existing signs are to be salvaged, the remaining foundation shall be removed, abandoned in place, or if located within the roadway structural section shall be disposed of in a manner as approved by the Engineer. If they are abandoned in place, the tops of the foundations, reinforcing steel, anchor bolts, and conduits shall be removed to a depth of not less than one foot below roadway subgrade or unimproved ground, whichever applies. All signs and posts at a single installation shall be considered as one unit.

Add the following after the sixth paragraph: Salvaged sign panels shall be delivered to the State Maintenance Yard in Cooper Landing.

615-3.02 SIGN PLACEMENT AND INSTALLATION. Add the following: Existing signs shall not be removed without authorization from the Engineer. They shall be kept in service until either the new signs have been installed, or they are no longer needed. As the work progresses, if their locations do not conform to Standard Drawing S-05, they shall be reinstalled at locations approved by the Engineer.

Prior to mounting the sign panel, the Contractor shall mark the date of installation on the back of the sign. Installation dates shall be written in the format of month/day/year, using black permanent marker, with numbers a minimum of 3 inches in height, so as to be readable from the roadside after installation.

615-4.01 METHOD OF MEASUREMENT. Add the following to the second paragraph: Concrete used for sign bases will be considered subsidiary to other work under this section and will not be measured for payment.

615-5.01 BASIS OF PAYMENT. Add the following: Payment for keeping existing signs in service until they are not longer needed, or temporarily relocating existing signs, will not be paid for directly, but will be subsidiary to Item 615(1), Standard Signs.

Payment for removal of existing sign post foundations, or work required to abandon them in place, shall be included in Item 615(7), Salvage Signs.

(4/1/97)R50

SECTION 618

SEEDING

Special Provisions

618-1.01 DESCRIPTION. Delete this subsection and substitute the following: All new or disturbed slopes and any other areas directed by the Engineer shall be overlaid with topsoil and seeded. This work shall consist of tracking the soil, followed by the application of seed, mulch, fertilizer and water. It is intended to provide a living ground cover as soon as possible on all slopes.

618-2.01 MATERIALS. Add the following to the list of material specifications:

Mulch	Subsection 727-2.01

618-3.01 SOIL PREPARATION. Add the following: Seed shall be applied as detailed below immediately after the shaping of the slopes. All slopes to be seeded shall be covered with topsoil in accordance with Section 620 and prepared by "walking" a dozer transversely up and down the slopes, or graded with a scarifying slope board, as determined by the Engineer. The resultant indentations shall be perpendicular to the fall of the slope. This should be completed as soon as topsoil is placed on the slopes. The Contractor may round the top and bottom of the slopes to facilitate tracking and to create a pleasing appearance, but drainage flow lines shall not be disrupted. Where the fill is adjacent to wetlands, the equipment performing this operation must be kept entirely on the fill slope and must not encroach on the wetlands.

618-3.03 APPLICATION METHOD. In the first sentence of subparagraph b., under numbered paragraph 1. Hydraulic Method, delete the following: "Item 619(1), and/or limestone, Item 618(4),".

Add the following: Seed, mulch and fertilizer shall be applied as follows per 1,000 square feet. If the hydraulic method for seed and mulch is used, it shall be made in one application. All fertilizer shall be applied by the hydraulic method. 100% recycled paper (“wood cellulose”) mulch shall not be used on slopes steeper than 3:1.

| Item | Ingredients | Application Rate (per MSF) |
| --- | --- | --- |
| Seed Mix | Bering Hairgrass (Norcoast or Norcoast Tufted) Red Fescue (Arctared) Annual Ryegrass (Lolium) | 0.50 lbs. 0.40 lbs. 0.10 lbs. Total= 1.00 lbs. |
| Mulch | -- | 35.0 lbs. |
| Fertilizer | 20-20-10 | 12.0 lbs. |

The Contractor shall not remove the required tags from the seed bags.

618-3.04 MAINTENANCE OF SEEDED AREAS. Add the following: A reapplication of fertilizer shall be applied with water between May 1 and September 15 of the year following seeding at a rate of one-half the initial application.

618-4.01 METHOD OF MEASUREMENT. Delete the second paragraph and substitute the following: Seeding by the pound will be the number of pounds of seed (dry measure) accepted in place. The amount of fertilizer, mulch and water for application used in this work, including any required reseeding, will be subsidiary to this item and will not be measured separately for payment.

Delete the last paragraph.

618-5.01 BASIS OF PAYMENT. Add the following: Fertilizer, mulch and water for application, including any required reseeding, will not be paid for directly, but will be subsidiary to seeding.

The work described under subsection 618-3.01 Soil Preparation will not be paid for directly but will be subsidiary to seeding.

Water required for the hydraulic method of application will not be paid for separately, but will be subsidiary to seeding.

(2/19/99)R52

SECTION 619

SOIL STABILIZATION

Special Provisions

619-3.02 APPLICATION. Delete the fourth paragraph and insert the following: Matting shall be secured and stapled per manufacturer’s recommendations. The Contractor shall submit material samples, certifications and installation instructions, including staple pattern, to the Engineer seven days prior to scheduled installation.

SECTION 620

TOPSOIL

Special Provisions

620-2.01 MATERIALS. Delete this subsection in its entirety and substitute the following: Topsoil shall conform to the requirements of Section 726.

620-4.01 METHOD OF MEASUREMENT. Add the following: Limestone, if required, will not be measured for payment, but will be subsidiary to Item 620(1) Topsoil.

(9/11/96)R53

SECTION 621

PLANTING TREES AND SHRUBS

Special Provisions

621-1.01 DESCRIPTION. Delete this subsection and substitute the following: This work shall consist of furnishing and planting cuttings of the type shown and in reasonable conformance with the plans.

621-2.01 PLANT STOCK. Add the following after Item 6:

7.	All cuttings shall be one of the following species:

a.	Cottonwood (Populus Trichocarpa)

b.	Cottonwood (Populus Balsamifera)

621-2.02 FERTILIZER. Add the following: A slow release, high nitrogen (e.g., 16-8-8, 22-8-2, etc.) fertilizer in tablet, briquette, or spike form shall be used with all cuttings.

621-3.01 TEMPORARY STORAGE. Add the following to the second paragraph: Locally obtained  cuttings shall be kept in cold storage at a temperature below 32 degrees F, until 24 hours prior to planting. Storage should be in plastic bags with a wet paper towel wrapped around the bases to prevent drying.

621-3.03 PLANTING. Delete the first paragraph under Item 1. and substitute the following:

a.	Locally Grown: When native species which are locally grown are furnished for the project, they shall be planted between the period of May 1st and June 30th. Cuttings for planting shall be harvested after the leaves drop in the fall of the year and before April 1st, of the following year.

Add the following to Item 2., Excavation: No excavation is required for the  cuttings.

Add the following to Item 5., Placing Plants: A shovel shall be inserted into the ground, pushed forward, a fertilizer tablet or briquette dropped to the bottom, and the cutting/seedling placed right side up in the ground behind the shovel so that at least three-fourths of the length will be buried. The soil around the cutting shall be compacted. If fertilizer spikes are used instead of tablets or briquettes, they shall be driven into the ground next to the cutting or seedling.

621-3.04 PERIOD OF ESTABLISHMENT. Add the following: A reapplication of fertilizer shall be applied by driving a fertilizer spike of the same chemical proportions as the initial application into the ground next to the cutting or seedling. The reapplication shall be performed between May 1st and September 15th of the year following the planting. The establishment period shall extend two complete growing seasons.

621-5.01 BASIS OF PAYMENT. Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

621(6)	Furnishing and Planting Cuttings	Each

Delete this section in its entirety and substitute the following:

SECTION 631

GEOTEXTILE FOR SUBSURFACE DRAINAGE,

EROSION CONTROL AND RIPRAP LINER

Special Provisions

631-1.01 DESCRIPTION. Prepare surfaces and furnish and place geotextiles for subsurface drainage, erosion control and riprap liner as shown on the plans.

631-2.01 MATERIALS. Geotextiles and thread used for sewing shall conform to Subsection 729-2.02, Subsurface Drainage, Erosion Control, and Riprap Liner.

CONSTRUCTION.

1.	Surface Preparation. Prepare surface by removing stumps, boulders, and sharp objects. Fill holes and large ruts with material shown on the plans or as approved.

2.	Geotextile Placement. Unroll geotextile directly onto the prepared surface. Stretch geotextile to remove any creases or wrinkles. Exposure of geotextiles to the elements after removal of protective covering shall not exceed 5 days.

a.	Subsurface Drainage. In trenches, after placing the drain aggregate, the geotextile shall be folded over the top of the aggregate to produce a minimum overlap of 12 inches, for trenches greater than 12 inches wide. In trenches less than 12 inches wide, the overlap shall equal the width of the trenches. The geotextile shall then be covered with the subsequent course.

b.	Erosion Control and Riprap Liner. Place and anchor geotextile on the approved surface in such a manner that it will not be torn or excessively stretched by placement of the overlying materials. Anchor the terminal ends of the geotextile using key trenches or aprons at the crest and toe of slope, as shown on the plans. Other temporary or permanent anchoring methods may be used, subject to approval.

3.	Joining. Join geotextile by sewing or overlapping, except as noted below. Joining by bonding or other attachment methods may be used, subject to approval.

a.	Sewn seams shall be of the Butterfly or J-seam type and shall develop a minimum of 85 percent of the specified geotextile grab strength. Seams shall be sewn with a double-thread chain stitch (lock stitch). Adjacent sections of geotextile shall be brought together and folded so that the stitching penetrates four layers of geotextile for the full seam length. The stitching line shall be 1-¼ inches (+¼ inch) from the folded edge of the seam and at least ½ inch from the free edge of the geotextile. Illustrations showing correct stitch formation and seam configurations are provided in Figure 1.2 (page 21) of the FHWA publication, Geotextile Design & Construction Guidelines, FHWA-HI-90-001, October, 1989.

b.	Sections joined by overlapping shall be overlapped a minimum of three feet. Successive geotextile sheets shall be overlapped in the direction of flow in such a manner that the upstream sheet is placed over the downstream sheet and/or upslope over downslope. In trenches, where overlapped seams are constructed in the longitudinal trench direction, seams shall have a minimum overlap equal to the width of the trench.

4.	Material Placing and Spreading. Following placement of the geotextile on the prepared surface, cover material of the type shown on the plans shall be placed. Methods used for placing cover material shall minimize tearing and/or excessive stretching of the geotextile. In underwater applications, the geotextile and required thickness of cover material shall be placed in the same day. Maintain proper overlap and geotextile continuity. The following table indicates allowable drop heights for cover material:

| Individual Stone Maximum Weight (pounds) | Allowable Drop Height (feet) |  |
| --- | --- | --- |
|  | Unprotected Geotextile | Protected Geotextile1 |
| < 5 | 3 | 3 |
| 5 - 250 | 0 | 3 |
| > 250 | 0 | 02 |

Notes:

1.	Protected geotextile is defined as having a gravelly covering (cushion layer) of 4-inch minimum thickness.

2.	If stones greater than 250 pounds must be dropped or if a height of drop greater than 3 feet is required, then field trials shall be performed to determine the maximum height of safe drop without damaging the geotextile.

A minimum depth of 1 foot of cover material shall be maintained at all times between the geotextile and the wheels or tracks of the construction equipment.

5.	Geotextile Repair. If the geotextile is torn for any reason, the cover material shall be cleaned from the torn areas and it shall be overlain with geotextile with a minimum three foot overlap around the edges of the torn area. The patch shall remain in place when material is placed over the affected area.

631-4.01 METHOD OF MEASUREMENT. Geotextile will be measured in final position by the square yard, determined by multiplying plan neat line width by the measured length parallel to installation centerline along the ground surface, for installations acceptably completed. No allowance will be made for overlap, whether at joints or patches.

631-5.01 BASIS OF PAYMENT. Payment will be made at the contract unit price per square yard. This price will be full compensation for furnishing all materials, surface preparation, laying the geotextile, and for all labor, equipment, and incidentals necessary to complete this item.

Material used to fill ruts and holes will be paid for at the unit price for the class of material used.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

631(1)	Geotextile, Drainage, 	Square Yard

Class A

631(3)	Geotextile, Riprap Liner	Square Yard

SECTION 639

DRIVEWAYS

Special Provisions

639-1.01 DESCRIPTION. Add the following: This work also includes the construction of public approaches at locations shown on the plans.

639-1.02 CONSTRUCTION REQUIREMENTS. Add the following subsection: Placement of materials used in driveways and public approaches shall meet the requirements specified as follows:

Selected Material, Type A				Section 203

Crushed Aggregate Base Course			Section 301

Asphalt Concrete Pavement, Type II			Section 401

639-2.01 METHOD OF MEASUREMENT. Add the following: Public approaches will be measured per each constructed as shown on the plans, or as directed.

639-3.01 BASIS OF PAYMENT. Add the following: Payment for public approaches will be full compensation for furnishing all equipment and labor necessary to complete the work as indicated.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

639(3)	Public Approach	Each

Delete the last paragraph and substitute the following: The contract unit price for driveways and approaches shall be full compensation for furnishing all equipment and labor necessary to complete the work as specified. Excavation in approaches will not be measured for payment but will be considered incidental to Item 639(3) Public Approach. Selected Material, Type A, Crushed Aggregate Base Course, and Asphalt Concrete Pavement Type II required to construct driveways and public approaches will be paid for separately under the respective items listed in the bid schedule. Native material meeting the minimum requirements of Selected Material, Type C will not be paid for directly, but will be considered subsidiary to Item 639(3) Public Approach.

(2/12/98)R58

SECTION 640

MOBILIZATION AND DEMOBILIZATION

Special Provisions

640-2.01 METHOD OF MEASUREMENT. Delete item 3. and substitute the following:

3.	When the letter of project completion has been issued and the Contractor has made all the required submittals the remaining balance of the amount for this item will be paid. (5/7/91)S41

Delete Section 641 in its entirety and substitute the following:

SECTION 641

EROSION AND POLLUTION CONTROL

Special Provisions

641-1.01 DESCRIPTION. This work shall consist of planning, providing, and maintaining control of erosion, water pollution, and hazardous materials contamination.

This work shall also include installation of silt fence, straw bales, and siltation boom as shown on the plans or as directed by the Engineer.

641-1.02 DEFINITIONS.

1.	Erosion and Sediment Control Plan (ESCP). The Department's general plan for the permanent and temporary control of erosion and sedimentation during construction of the project as contained in the plans and specifications, and supplemented by the Department’s Erosion Prevention and Sediment Control Plan - Policy and Procedures; Guide to Preparing Erosion Prevention and Sediment Control Plans and Best Management Practices for Construction Erosion and Sediment Control. The ESCP is prepared by the Department and is available in the Plans Room, Contracting Section of Central Region.

2.	Storm Water Pollution Prevention Plan (SWPPP). The detailed site-specific plan prepared by the Contractor for the temporary and permanent control of erosion and sedimentation during construction of the project. The SWPPP is based upon the ESCP, and prepared according to guidance provided in the National Pollutant Discharge Elimination System General Permit for Storm Water Discharges from Construction Sites (NPDES General Permit).

3.	Hazardous Material Control Plan (HMCP). The Contractor's detailed plan for the prevention, containment, cleanup, and disposal of hazardous waste material, including petroleum products generated by construction equipment or activities. Included in the HMCP is a list of quantities and types of equipment and materials available on site to be used for hazardous substance containment and cleanup. The plan also describes how and where construction equipment fueling and maintenance activities will be carried out and controlled.

4.	Notice of Intent (NOI) to utilize the NPDES General Permit for Alaska. This is a standard form (EPA Form 3510-9) giving notice to the U.S. Environmental Protection Agency (EPA) that work will be conducted in compliance with the NPDES General Permit. The NPDES General Permit authorizes discharges of storm water from construction activities involving more than 5 acres of land. The Contractor prepares the NOI, and submits it to the Department a minimum of 5 days before the preconstruction conference for approval.

5.	Notice of Termination (NOT) of coverage under the NPDES General Permit for Alaska. This is a standard form (EPA Form 3510-7(8-98)) that constitutes notice that the project site has been finally stabilized or when an Operator of a construction activity, as defined in the NPDES General Permit, changes. The Contractor prepares the NOT, and submits it to the Engineer once final stabilization of the project site has been completed.

6.	Final Stabilization is when all soil disturbing activities at the site have been completed and a uniform perennial vegetative cover, with a density of 70 percent of the cover for unpaved areas not covered by permanent structures, has been established, or equivalent permanent stabilization measures (such as the use of riprap, gabions, or geotextiles) have been employed. The Engineer determines when final stabilization has occurred.

7.	Project Summary is a brief description of the activities to be covered under the NPDES General Permit. This shall be on a single sheet and shall describe the areas to be disturbed to the nearest acre, the primary pollutants expected from the activities, and the type of treatment to be provided.

8.	Best Management Practices (BMP) is defined as any program, technology, process, siting criteria, operating method, measure, or device which controls, prevents, removes, or reduces pollution.

641-1.03 SUBMITTALS. The Contractor shall submit the following items for approval a minimum of 5 days prior to the preconstruction conference:

1.	Draft Storm Water Pollution Prevention Plan (SWPPP).

2.	Hazardous Material Control Plan (HMCP).

3.	Notice of Intent (NOI).

4.	Project Summary.

The Engineer will review submittals within 14 calendar days. If required for approval, the Contractor shall modify the submittals within 5 calendar days of receiving comments from the Engineer.

The Contractor’s SWPPP shall be prepared and stamped by a professional engineer currently registered in the State of Alaska. The Department will review the draft SWPPP, and either approve it, or recommend changes. The Contractor shall make the necessary revisions to obtain the Department’s approval of the SWPPP. The approved SWPPP becomes the project SWPPP and shall be signed and certified by the Contractor and the Department in accordance with the NPDES General Permit.

The Contractor shall implement all measures in the SWPPP and ensure that it remains current.

Once the Contractor's SWPPP is approved, the Engineer will submit the Contractor’s NOI along with the Department’s NOI to the EPA via Certified Mail. The Engineer will also submit copies of the NOI, the SWPPP, and the Project Summary to the State of Alaska Department of Environmental Conservation (DEC) Storm Water Coordinator. Earth disturbing work shall not begin until the Contractor receives in writing: 1) Department approval of the Contractor's SWPPP, and 2) notification that 48 hours have passed since the NOIs were postmarked to EPA and DEC.

The following shall be posted at the construction site:

1.	NPDES Permit number if available, or a copy of the NOI.

2.	Name and phone number of Contractor’s local contact person.

3.	Project Summary.

4.	The location of a SWPPP available for viewing by the public.

The Contractor shall amend the SWPPP within 7 days, when requested by the Engineer. All SWPPP amendments shall be prepared and stamped by a professional engineer currently registered in Alaska. The approval process for amendments to the SWPPP is the same as with the Contractor's draft SWPPP.

If a storm event occurs where storm water discharges pose a threat to water quality, the Contractor shall take immediate action to preclude pollution subject to the directive of the Engineer. An amended SWPPP covering the emergency measures that were taken shall be submitted to the Engineer within 7 days of the storm event.

Prior to project closeout and Contractor demobilization, the Contractor and Engineer shall review the project to determine if all areas disturbed by construction meet the requirements for final stabilization. When final stabilization has been accomplished, the Contractor shall submit a signed Notice of Termination (NOT) to the Engineer.

641-1.04 STORM WATER POLLUTION PREVENTION PLAN.

The Contractor shall prepare the SWPPP. The SWPPP shall cover all ground disturbing activities designated by the contract including offsite support activities. Examples of support activities are; concrete or asphalt batch plants, equipment staging yards, overburden and material stockpiles, waste material disposal areas, borrow areas, etc., which are used solely by the permitted project. In contrast, commercial operations which can not be covered under this permit, are defined as those operations that serve multiple unrelated projects and would continue to operate after project completion.

A detailed description of the required contents of the SWPPP are found in the 1998 NPDES General Permit for construction activities in Alaska. The SWPPP shall follow the format presented in the NPDES General Permit and address all storm water discharge control and management issues identified in the ESCP. The SWPPP shall include the following:

1. Site Description.

a.	A description of the nature of the construction activity.

b.	A description of the intended sequence of major ground disturbing activities such as grubbing, excavation, grading, or utility installation.

c.	Estimates of the total area of the site and the total area of the site that is expected to be disturbed including offsite support areas.

d.	Estimates of the runoff coefficient of the site for pre-construction and post-construction conditions and data describing the soil or quality of any discharge from the site.

e.	A general location map and a site map showing the following:

(1)	drainage patterns

(2)	approximate slopes after grading

(3)	areas of soil disturbance and undisturbed areas

(4)	locations of major structural and nonstructural controls identified in the SWPPP and locations where stabilization is expected to occur

(5)	locations of offsite material, waste, borrow or equipment storage areas

(6)	locations of surface waters, including wetlands, and the locations where storm water discharges to surface waters

f.	Location and description of any discharge associated with industrial activity other than construction, and location of storm water discharges from dedicated asphalt or concrete plants covered by this permit.

g.	Name of the storm water discharge receiving water(s). The aerial extent and description of wetlands or special aquatic sites at or near the project site which will be disturbed or receive storm water discharge.

h.	A copy of the 1998 NPDES General Permit which can be an appendix to the SWPPP.

I.	Information on whether listed threatened or endangered species, or their critical habitat, are found in proximity to the project and off site support areas, and whether such species or habitat may be affected by storm water discharges or related activities.

2. Controls. The SWPPP shall include a description of appropriate control measures (BMP) which will be implemented as part of the construction activity to control pollutants in storm water discharges.

The SWPPP shall clearly describe, for each major soil disturbing activity described in 1b above, the appropriate control measures and the general timing (or sequence) during the construction process that the measures will be implemented, and who (Contractor or subcontractor) will be responsible for implementation.

The description and implementation of controls shall address the following minimum components:

a.	Erosion and Sediment Controls.

(1)	Short and Long Term Goals and Criteria designed to retain sediment on site to the extent practicable, and shall include off site support areas.

(2)	Stabilization Practices and implementation schedule. This shall include a description of interim and permanent stabilization practices such as the preservation of vegetative cover, temporary and permanent vegetation establishment, mulching, geotextiles, etc.

The following records shall be maintained and attached to the SWPPP:

(a)	the dates when major grading activities occur;

(b)	the dates when construction activities cease on a portion of the site, either temporarily or permanently;

(d)	and the dates when stabilization measures are initiated.

(3)	Structural Practices. This shall include a description of structural practices to divert flows from exposed soils, store flows, or otherwise limit runoff and discharges. Examples of structural practices include but are not limited to silt fences, earth dikes, drainage swales, sediment traps, check dams, subsurface drains, and temporary and permanent sediment basins.

b.	Storm Water Management. A description of measures that will be installed during construction to control pollutants in storm water discharges that will occur after construction operations. Examples of storm water management measures include but are not limited to storm water detention structures (wet ponds), storm water retention structures, flow attenuation, on site filtration, and sequential systems.

c.	Other Controls. This section shall address measures to be used to minimize dust and offsite vehicle tracking of sediments; a description of any on site material storage and measures to be used to minimize exposure of the materials to storm water, and measures to be used for spill prevention and response; a description of pollutant sources from areas other than construction and a description of controls. The SWPPP shall also include a description of measures necessary to protect listed endangered or threatened species or critical habitat.

The SWPPP shall be amended whenever there is a change in design, construction, operation, or maintenance, and shall be updated to remain consistent with any changes applicable to protecting surface water resources.

3. Maintenance. All erosion and sediment control measures and other protective measures identified in the SWPPP must be maintained in effective operating condition. If the required inspections described in the following item identify BMP that are not operating effectively, maintenance shall be performed before the next anticipated storm event, or as necessary to maintain the continued effectiveness of storm water controls. If maintenance prior to the next anticipated storm event is impracticable, maintenance must be scheduled and accomplished as soon as practicable.

4. Inspections. Qualified personnel shall inspect the following:

a.	Disturbed areas of the construction site that have not been finally stabilized.

b.	Areas used for storage of materials that are exposed to precipitation.

c.	Structural control measures.

d.	Locations where vehicles enter or exit the site.

Inspections shall occur at least once every 7 calendar days and within 24 hours of the end of a storm event of 0.5 inches or greater of rain. Based on the results of the inspection, the SWPPP shall be modified as necessary to include additional or modified BMP to correct identified problems. Revisions to the SWPPP shall be completed within 7 days following inspections. If modifications to existing BMP are necessary, implementation shall be completed within 7 days.

The Contractor is eligible for a waiver of monthly inspection requirements until one month before thawing conditions are expected to result in a discharge, if all of the following requirements are met:

a.	The project is located in an area where frozen conditions are anticipated to continue for extended periods of time (ie, more than one month).

b.	Land disturbance activities have been suspended.

c.	The beginning and ending dates of the waiver period are documented in the SWPPP.

5. Inspection Reports. The Contractor shall prepare a report with the following information:

a.	A summary of the scope of the inspection.

b.	Name(s) and qualifications of personnel making the inspection.

c.	The date of the inspection.

d.	Major observations relating to the implementation of the SWPPP.

e.	Any actions taken as the result of the inspection.

Inspection reports shall be made and retained as part of the SWPPP for at least three years from the date of final stabilization. The report shall also identify any areas of non-compliance. Where a report does not identify any incidents of non-compliance, the report shall contain a certification that the facility is in compliance with the SWPPP and NPDES General Permit and be signed by the Contractor in accordance with Part VI.G of the NPDES General Permit. All certifications shall be included as an appendix to the SWPPP. Inspection reports shall be submitted to the Engineer within three (3) days of the inspection.

6. Non-Storm Water Discharges. Except for flows from fire fighting activities, sources of non-storm water listed in Part III.A.2 or 3 of the NPDES General Permit that are combined with storm water discharges associated with construction activity, shall be identified in the SWPPP. The SWPPP shall identify and ensure the implementation of appropriate pollution prevention measures for the non-storm water component(s) of the discharge.

641-1.05 HAZARDOUS MATERIAL CONTROL PLAN REQUIREMENTS. The Contractor shall comply with all state and federal regulations which pertain to the handling, storage, cleanup, and disposal of petroleum products or other hazardous substances. The Contractor shall prepare the HMCP. The HMCP shall detail the Contractor’s plan for fueling and maintaining equipment and machinery. The locations where fueling and maintenance activities are to take place, and any controls to contain the accidental spillage of petroleum products shall be identified. A list of potentially hazardous materials, including petroleum products to be used and/or stored on site, and their estimated quantities shall be provided in the HMCP. The Contractor’s plan for the disposal of waste petroleum products and/or other hazardous wastes generated by the project shall also be identified in the HMCP. Additionally, the Contractor’s plan for prevention, containment, cleanup and disposal of soil and water contaminated by accidental spills, and the Contractor’s plan for encountering unexpected contaminated soil and water during construction shall be detailed in the HMCP.

641-2.01 MATERIALS. Erosion and pollution control measures shall be accomplished utilizing BMP as specified in the SWPPP and HMCP. Ground disturbing activities shall only be undertaken after the seeding deadline under the following conditions:

1.	The SWPPP describes the work and controls to be taken to control storm water runoff after the seeding deadline.

2.	Personnel, materials, and equipment are on hand to accomplish the control measures identified in the SWPPP.

3.	All disturbed areas will be stabilized against erosion within 7 days of the temporary or permanent cessation of work on the slopes. Stabilization practices may include mulching, geotextile, sod, covering with sheet plastic, or other equivalent measures.

Silt Fence

The silt fence filtration material shall meet the requirements of subsection 729-2.04 Sediment Control.

The silt fence support framework shall be finished 2 x 2-inch wood, 3-inch diameter wood, #6 rebar with PVC sleeves, iron pipe, or other posts capable of supporting the installation, as approved by the Engineer.

The mesh support shall be WWF 6x6 W1xW1 or as approved by the Engineer.

Siltation Boom

The siltation boom shall be a floating siltation boom of commercial manufacture, with a demonstrated ability to trap and hold sediment. The siltation boom shall provide a minimum of 12 inches of freeboard. The siltation curtain shall be constructed of a non-woven polyester with an AOS of a #70 sieve or smaller, and a minimum weight of 10 oz./sy.

Polystyrene shall be used for flotation and shall consist of rigid, closed-cell expanded polystyrene.

The siltation curtain shall extend deep enough to isolate the entire water column. The base of the siltation curtain shall be weighted along the entire length so it will easily conform to and keep in contact with the bottom.

Sewn seams for siltation boom shall use heavy duty #350 polyester twine thread sewn into a double threaded seam in such a manner that stitches are not more than ¼ inch apart and broken seams will not run.

Straw Bales

Straw bales shall be commercially available, standard size, bound bales of straw.

Diversion Pipes

Diversion pipes required for the replacement of culverts as shown on the plans shall be 24 inch minimum pipe and shall meet the material requirements for Item 603(17) Pipe. This pipe may be used and reused for different diversion locations as needed.

641-3.01 CONSTRUCTION REQUIREMENTS. The Contractor shall comply with all requirements of the NPDES General Permit for Alaska, and shall implement all temporary and permanent measures identified in the SWPPP and plans. The Department and Contractor shall share responsibility for inspecting, and the Contractor’s representative shall prepare inspection reports per the requirements of the NPDES General Permit. Compliance with the NPDES General Permit does not reduce the Engineer's authority to direct additional erosion control measures deemed appropriate. The Department reserves the right to hire another contractor to perform this work if the Contractor is unresponsive or a suitable agreement cannot be reached with the Contractor.

Prior to start of construction, the Contractor, his representative, the professional engineer who stamped the SWPPP, and the Engineer shall have an on site inspection to discuss the SWPPP implementation and the requirements under that plan.

The Contractor shall be responsible for the containment, cleanup, and disposal of all construction related discharges of petroleum fuels, oil, and/or other substances hazardous to the land and water. The Contractor shall also be responsible for performing all fueling operations in a safe and environmentally responsible manner. Performance of this activity shall comply with the requirements of 18 AAC 75 and Title 46 of the Alaska Statutes.

Silt Fence

Silt fence shall be installed prior to any work in or near the locations shown on the plans, and in accordance with the provisions of subsection 107-1.11, Protection and Restoration of Property and Landscape. Additional silt fencing may be required at other sites as directed by the Engineer.

The silt fence shall not be removed until slopes are stabilized from further erosion as determined by the Engineer. The silt fence shall be removed and disposed of off the project upon completion of construction at those sites. The fabric, sandbags, wire, and posts shall be removed. The silt fence removal shall be performed in such a manner that retained silt is not discharged into wetlands or waterbodies. If a sediment height in excess of four inches above ground remains, the sediment shall be spread on the roadway side of the fence location and seeded immediately in accordance with Section 618, Seeding.

The silt fence removal from Quartz Creek shall be performed in such a manner that retained silt is not discharged into the creek.

Siltation Boom

Siltation boom shall be installed prior to any work in or near the locations shown on the plans. Anchor siltation boom as required for it to remain in its intended location. Additional siltation boom may be required at other sites as directed by the Engineer.

After in water work and bank protection has been completed, wait for the sediment in suspension to settle out before removing the siltation boom. Removal of the siltation boom shall only take place after approval is received from the Engineer. Conduct the removal during periods of calm weather. Remove siltation boom carefully, minimizing the release of trapped sediment and debris. Dragging of siltation boom while in contact with the bottom shall not be allowed.

Straw Bales

Straw bales shall be installed as shown on the plans or as directed by the Engineer. Bales shall be restrained from movement by means approved by the Engineer.

641-4.01 METHOD OF MEASUREMENT. Item 641(1) Erosion and Pollution Control Administration, will not be measured for payment. The Engineer’s acceptance will constitute measurement.

Item 641(2) Erosion and Pollution Control, will be measured in the manner specified in the directive authorizing the work.

Item 641(3) Silt Fence, will be measured by the linear foot along the top of the fence.

Item 641(4) Straw Bale, will be measured by the linear foot of new bale placed and accepted by the Engineer. Length of bale will be measured along the long dimension.

Item 641(5) Siltation Boom, will be measured by the linear foot along the top of the boom.

Item 641(7) Diversion Pipes, will be measured by the linear foot for each installation.

641-5.01 BASIS OF PAYMENT. Item 641(1) Erosion and Pollution Control Administration, will be full compensation for administration of erosion control including plan preparation and amendments, inspection, monitoring, reporting and record keeping.

Item 641(2) Erosion and Pollution Control, will be full compensation for providing all labor, equipment, and materials required to accomplish the work, as specified in the directive authorizing the work.

Payment for Item 641(3) Silt Fence, will be full compensation for all labor, equipment and materials required to furnish, install, maintain and remove the silt fence in accordance with these specifications.

Payment for Item 641(4) Straw Bale, will be full compensation for all labor, equipment and material required to furnish, install, maintain and remove the straw bales. Relocation of an existing bale in the immediate vicinity to obtain better sediment control will not be paid but will be considered subsidiary to the initial placement.

Payment for Item 641(5) Siltation Boom, will be full compensation for all labor, equipment and materials required to furnish, install, maintain, and remove siltation boom in accordance with these specifications.

Failure to diligently a) pursue work required by the approved SWPPP, b) respond to inspection recommendations and/or deficiencies in the SWPPP, c) implement erosion and sedimentation controls identified by the Engineer, will result in a permanent price adjustment under Item 641(6). If the Contractor does not respond within 2 hours of the Engineer’s directive, then an amount equal to five percent of the total amount earned from all previous and subsequent progress payments on the contract or $50,000 which ever is greater, will be withheld, and a permanent price adjustment made equivalent to:

1.	$500 per hour for the first 4 hours of non-action;

2.	$1,000 per hour for every hour over four, but less than 10;

3.	$1,500 per hour for every hour over 10 hours of non-action.

The Price Adjustment will cease when corrective actions are accepted by the Engineer. The Department reserves the right to hire another contractor to do corrective action, and to reduce the contract amount by this cost plus the cost to the Department implementing another contract.

In addition, a price adjustment equivalent to any penalties levied against the Department by the EPA or any other state and/or federal agencies for violations of the Clean Water Act and the NPDES General Permit will be made if the Department is issued a notice of violation by these agencies. This price adjustment shall be the actual cost of any fines levied against the Department. An amount equal to the maximum fine for the violation will be withheld temporarily until the actual cost of the fine is known. The difference, excluding any price adjustments will be released by the Engineer upon satisfactory completion of the requirements of the NPDES General Permit. Penalties for violations are as stated in Part VI.A.2 of the Standard Permit Conditions of the NPDES General Permit. The Contractor shall also be responsible for the payment of his own fines.

Item 641(7) Diversion Pipes, will only be paid if included in the Contractor’s SWPPP. Item 641(7) Diversion Pipes, will be full compensation for all labor, equipment and materials required to furnish, install, maintain and remove the diversion pipes in accordance with these specifications.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

641(1)	Erosion and Pollution Control Administration	Lump Sum

641(2)	Erosion and Pollution Control	Contingent Sum

641(3)	Silt Fence	Linear Foot

641(4)	Straw Bale	Linear Foot

641(5)	Siltation Boom	Linear Foot

641(6)	Erosion and Pollution Price Adjustment	Contingent Sum

641(7)	Diversion Pipes	Linear Foot

(4/30/98)R59a Revised(11/20/98)

Delete Sections 614 and 642 and replace with the following:

SECTION 642

CONSTRUCTION SURVEYING AND MONUMENTS

Special Provisions

642-1.01 DESCRIPTION. Perform all surveying and staking essential for the completion of the project and perform the necessary calculations required to accomplish the work in conformance with the plans and specifications and standard engineering practice. A second staking may be required in rock cut areas due to varying overburden thicknesses.

Furnish and install survey monuments and monument cases in conformance with the Plans or as directed.

Adjust existing monuments and monument cases to conform to the new elevations.

Provide a survey of the existing deck surface of Bridge No. 676 at Quartz Creek.

Locate four perforated pipes within Material Site MS-21-2-051-1.

642-1.02 DEFINITIONS.

1.	Monument: A fixed physical object marking a point on the surface of the earth; used to commence or control a survey; mark the boundaries of a parcel of land; or the centerline of a right-of-way corridor. Monuments will be Primary or Secondary, as shown on the plans.

2.	Point: Any identified spot located on the surface of the earth. For purposes of this definition, a point can be a PK nail, wooden hub, rebar, large nail or any other structure capable of being utilized as a marker.

3.	Witness Corner: A material mark or point usually placed on a property or survey line, at a known distance from a property corner or other survey point. A witness corner is employed to witness the location of a corner/point that cannot be monumented at its true location.

4.	Reference Monument: A material mark or point placed at a known distance and direction from a property corner or other survey point, usually not on a property or survey line. A reference monument is employed to perpetuate a corner/point that cannot be monumented at its true location or where the corner monument is subject to destruction.

5.	Surveyor: The Contractor’s Professional Land Surveyor, currently registered in the State of Alaska.

642-2.01 MATERIALS.

1.	Monument Cases. Castings shall conform to AASHTO M 105, Class 30A. Castings shall be coated with a bituminous damp-proof coating. The tops shall bear evenly on the frames.

2.	Primary Monument: A minimum 2 inch diameter nonferrous pipe at least 30 inches long, with a minimum 4 inch flange at the bottom and having magnets attached at the top and bottom. A minimum 2.5 inch diameter nonferrous metal cap must be permanently attached to the top. Mark the cap around the outside edge with the words “STATE OF ALASKA DOT&PF". Permanently stamp every monument with the Surveyor’s registration number, the year set, and the point/corner identification. Orient cap so that the data may be read when the reader is facing north, except for centerline monuments which will be oriented so as to be read facing up-station.

3.	Secondary Monument: A minimum 5/8 inch x 30 inch rebar with a 2 inch aluminum cap attached to the top. Permanently stamp every secondary monument with the Surveyor’s registration number and the year set.

CONSTRUCTION REQUIREMENTS

642-3.01 GENERAL. Use competent, qualified personnel and suitable equipment for the layout work required and furnish all traffic control, stakes, templates, straight-edges and other devices necessary for establishing, checking and maintaining the required points, lines and grades.

Furnish such computer services as necessary to accomplish the work. Check all data received from the computer for completeness and accuracy. As soon as practical after completion of the work, and in no case later than acceptance of the project, deliver all field books, computer forms and computer output data to the Engineer. This data shall become the property of the Department.

Supervise construction surveying personnel. Correct any errors resulting from the operations of said personnel at Contractor expense. The Contractor is responsible for the accuracy of the work.

Work classified as Land Surveying under AS 08.48, and work involving the location, control, and monumentation of construction centerline and right-of-way, shall be performed by or under the responsible charge of a Professional Land Surveyor.

Follow the Department’s Construction Surveying Requirements. A copy of this document is attached to these Special Provisions in Appendix C.

Keep field notes in standard bound notebooks in a clear, orderly, and neat manner consistent with Departmental procedures, including titles, numbering, and indexing. Make field books available for inspection by the Department’s project personnel at any time. Store the field books in the Department’s Project Office during periods of non-use.

Perform the following:

1.	calculate clearing and/or grubbing limits as shown on the plans and stake as necessary to delineate the same

2.	cross sections necessary for determination of excavation and embankment quantities, including intermediate and/or remeasure cross sections as needed

3.	slope staking

4.	staking of signs, culverts, minor drainage structures and other appurtenances, including the necessary checking to establish the proper location and grade to best fit the conditions on site

5.	bridge staking

6.	the setting of such finishing stakes as may be required

7.	the measurement of pay quantities that require measurement

8.	the staking of right-of-way and material source limits when it is deemed necessary

9.	the staking, referencing and other actions as may be required to preserve or restore land monuments and property corners

10.	and all other surveying and staking necessary to complete the project

When the right-of-way centerline points have been established as a part of the Department’s Preconstruction surveys, the Department will furnish the Contractor with copies of the reference field books. Recover these control points and verify these references. Reestablish any missing points from the Department’s references prior to the initiation of clearing, grubbing, or excavation.

When the right-of-way centerline points have not been established by the Department but the survey control points were established as a part of the Department’s Preconstruction surveys (as detailed on the project Survey Control Sheet) recover these points and use them as the basis for establishing the right-of-way centerline. Verify the position of these points and establish new points where required to replace missing points, prior to the initiation of clearing, grubbing, or excavation.

Notify the Engineer immediately if a Department-established reference point is discovered to be in error or a reset point is not in harmonious relationship to the adjacent centerline points.

Furnish a notekeeper to record all field survey notes, including those which become documentation from which quantities for payment are computed. The notekeeper shall be thoroughly familiar with generally accepted standards of good survey notekeeping practice and the Department’s Construction Surveying Requirements.

The Engineer may randomly spot check the Contractor's surveys, staking and computations. Prior to staking for clearing and/or grubbing limits, the Contractor shall furnish the calculated offsets to the Engineer a minimum of 48 hours prior to staking. After the survey or staking has been completed, provide the Engineer with a minimum of 72 hours notice prior to performing any work, and furnish the appropriate data as required, to allow for such random spot checking. The Department assumes no responsibility for the accuracy of the work. This time period may also be used by the Engineer for any redesign due to field conditions. If restaking is necessary due to these changes, the staking will be paid at the contract unit price for Item 642(3) Three Person Survey Party.

642-3.02 CROSS-SECTION SURVEYS. When required, obtain right-angle cross sections to the construction centerline at the interval detailed in the Department’s Construction Surveying Requirements.

The following shall be supplied by the Department:

1.	One set of Construction Plans and Specifications.

2.	Field Books (Level, Cross-Section, Slope Stake, etc. ). Books will be labeled and the pages numbered by the Department. Field books shall remain the property of the Department upon completion of the work.

3.	Design Cross Sections, if any.

4.	Sufficient centerline or reference thereto, and at least two benchmark per mile to enable the establishment of planned elevations and centerline.

5.	State of Alaska Land Survey Monument Record forms. These forms are to be completed by the Contractor.

6.	One copy of the Department’s Construction Surveying Requirements.

7.	Design centerline grades, except when Item 642(2), Office Engineering is used.

The following shall be required of the Contractor:

1.	A heading in the appropriate book (date, weather, names and duties of crew members) shall be made at the beginning of each day's work.

2.	The notekeeper shall update the index of the appropriate book at the end of each day's work.

3.	Level notes shall be reduced, checked and adjusted.

4.	Cross-section level notes and slope stake catches shall be computed by the notekeeper and checked by a different crew member in the field on a continual basis.

5.	The Contractor shall enter the grade data, shoulder width and/or ditch distance, stationing, slope, etc., in the slope stake books.

6.	The position and identifying marks of slope stakes and reference points shall be maintained until used for their intended purpose.

7.	Errors shall have a line drawn through them with the correct entry made directly above. Erasures will not be allowed.

8.	Field books or copies of the field books shall be returned to the Project office at the end of each work day or as directed.

9.	The Contractor shall provide copies of all grade sheets and temporary bench mark elevations to the Engineer 48 hours before commencing work on unclassified excavation or embankment.

10.	The Contractor’s survey crews shall comply with all approved traffic control plans. Crews shall coordinate their activities with the Contractor’s Worksite Traffic Supervisor.

11.	A survey Party Chief diary shall be kept daily and contain the following information, (a copy shall be given to the Engineer daily):

a.	Date.

b	Weather.

c.	Crew members’ names and duties.

d. 	Type and location of work performed.

e. 	Hours worked.

f. 	Type of equipment used (brand) and date equipment was double centered or “peg” test was performed.

g. 	Signature of person in responsible charge.

12.	The Contractor shall submit the survey field notes, for any specific area, relating to monument referencing prior to any initiation of clearing, grubbing or excavation.

13.	The Contractor’s survey crews shall comply with approved traffic control plans. Crews shall coordinate their activities with the project’s Worksite Traffic Supervisor.

Prior to the removal of the existing concrete bridge deck at Bridge No. 676, the Contractor shall perform a survey of the deck surface of the existing bridge. The survey shall be performed by, or under the direct supervision of a Professional Land Surveyor registered in the State of Alaska.

The Contractor shall submit the name of the Land Surveyor that will be used to perform the bridge survey to the Engineer at least one week prior to the planned beginning of the survey.

The survey shall catalog the profile and crosslope of the concrete deck surface. Elevations shall be taken at 10 foot intervals along the centerline and left and right edges of roadway.

The findings of the survey shall be submitted in a report. The report shall include plans showing the profile of the centerline, left and right edges of the roadway for the bridge, and the crossection of the deck surface for each 10 foot interval. The report shall also include the grade points recorded in tabular form.

The Contractor shall submit four (4) copies of the report to the Engineer, each report bound in a binder and carrying the seal of the Land Surveyor responsible for the survey and the preparation of the report.

642-3.03 MONUMENTS. Install primary and secondary monuments, as called for in the plans, at the positions established by the Department. Reference all monuments, property markers/corners, or accessories which may be disturbed or buried during construction, and re-establish them in their original position prior to the completion of the project. Keep such records and report to the Engineer evidence that a monument has been disturbed and is no longer reliable or cannot be located and is presumed to be missing. The referencing work shall consist of a minimum of two in-line reference points, or three swing-tie reference points in situations where in-line referencing is not desirable. Set all reference points outside of the construction limits. Measure distances from the monument to the nearest 0.01 foot. Record all referencing of monuments in a separate field book stamped by the Surveyor.

Replace all existing monuments disturbed by construction with Primary or Secondary Monuments meeting the requirements of Subsection 642-1.02. When it is impractical to establish a monument in its original position, install a witness corner (WC). Place the WC to a property corner on the property line when the other property corner which defines said line is existing or there has been sufficient retracement to define said line. In other cases, place a reference monument (RM) perpendicular to the centerline at the station of the original position and at a distance from the original position measured in whole feet.

Those monuments found that are not shown on the plans will be recognized by the Engineer when the following is provided by the Surveyor: Field notes identifying type and location of the monument, and a description of the point the monument marks, with the reason to preserve its location. Monuments not shown on the plans will be considered additional work and paid by 642(3), Three Person Survey Party.

The Surveyor shall complete a State of Alaska Land Survey Monument Record form for each primary and secondary monument installed, relocated or replaced. In addition to the required survey information, including section, township and range, each record shall meet all requirements for recording at the District Recorder’s Office in which the project is located. Deliver these forms to the Engineer prior to project completion. The Department will file all original records as required by current State Statutes using the information provided by the Contractor.

Set each monument and monument case accurately to lines established at the required location and in such a manner as to insure its being held firmly in place. Set existing monuments and monument cases to be adjusted to new elevations in the manner and at the elevations directed.

642-3.04 OFFICE ENGINEERING. Calculate finish grades for the roadway as specified per plans and/or specifications. Use information available in the field, on as-builts, or as provided by the Engineer. This work shall be performed by or under the responsible charge of a Professional Land Surveyor or a Professional Engineer currently Registered in the State of Alaska.

642-3.05 FINAL TRAVERSE. Within 30 days after the Engineer receives from the Contractor a letter which states that all construction activities that may disturb the monuments have ceased, the Surveyor shall run a final traverse to verify the positional accuracy of installed survey monuments. This traverse will begin and end at different Department provided control points. The primary and secondary monuments placed or replaced and any undisturbed Department provided control points shall be tied to the traverse. Under no circumstance shall the final traverse run more than 2.5 miles without a tie to a Department provided monument/control point. All traverse points established during this work shall meet the requirements of a secondary monument. The Surveyor shall sign and stamp a letter which lists each monument and its coordinates. The letter shall certify that the monuments are each located within 0.10 foot of their proposed position based on the project survey control points provided by the Department. Deliver the certification letter and field notes for this work to the Engineer.

642-4.01 METHOD OF MEASUREMENT.

Item 642(1) Construction Surveying. No measurement of quantities will be made.

Item 642(2) Office Engineering. By the mile along centerline for all completed office engineering accepted.

Item 642(3) Three Person Survey Party. By the hour for extra, additional, or unanticipated work made necessary by changes in the project, as directed.

Items 642(4) through 642(8). The actual number of monuments installed as shown on the “State of Alaska Land Survey Monument Record” forms delivered to and accepted by the Engineer.

Item 642(9) Reference Existing Monument. The actual number of monuments referenced as shown in the Surveyor’s field notes delivered to and accepted by the Engineer.

642(10) and 642(11). The actual number of monument cases furnished and installed, or adjusted to new elevation, and accepted.

642(12) Final Traverse. No measurement of quantities will be made.

The bridge survey will not be measured for payment but will be subsidiary to Item 642(1) Construction Surveying.

Survey monuments that are placed on bridges will not be measured for payment but will be considered incidental to other bridge items.

Calculations of all pay quantities will be performed by Department personnel.

642-5.01 BASIS OF PAYMENT. Construction Surveying and Final Traverse shall include all field and office work required to accomplish the work, including furnishing all necessary personnel, equipment, transportation and supplies. Payment for Final Traverse is based on the Engineer’s acceptance of the Surveyor’s certification letter and field notes.

Office Engineering when required, will be in addition to Construction Surveying. Both items will appear on the bid schedule.

If staking for extra, additional or unanticipated work, as stated above, is performed by a two person survey party, payment will be made at 75 percent of the unit price under Item 642(3), Three Person Survey Party. If a single person is required for additional office computations or other work requiring only one person, payment will be made at 32 percent of the unit price of Item 642(3).

Traffic control devices necessary for the survey parties will be considered subsidiary. Payment for Traffic Control Plans as approved will be paid under Section 643, Traffic Maintenance.

The accepted quantities will be paid for at the contract price, per unit of measurement for each of the particular pay items shown in the bid schedule.

Pay Item No.	Pay Item	Unit

642(1)	Construction Surveying	Lump Sum

642(2)	Office Engineering	Mile

642(3)	Three Person Survey Party	Hour

642(4)	Set Primary Monument	Each

642(5)	Set Secondary Monument	Each

642(6)	Replace Existing with Primary Monument	Each

642(7)	Replace Existing with Secondary Monument	Each

642(8)	Adjust Existing Monument	Each

642(9)	Reference Existing Monument	Each

642(10)	Monument Case	Each

642(11)	Adjust Existing Monument Case	Each

642(12)	Final Traverse	Lump Sum

(7/15/98)R214 Revised (11/20/98)

Delete Section 643 in its entirety and substitute the following:

SECTION 643

TRAFFIC MAINTENANCE

Special Provisions

643-1.01 DESCRIPTION. This work consists of the necessary measures to protect and control traffic during the life of the contract including, but not limited to, furnishing, erecting, maintaining, replacing, cleaning, moving and removing the traffic control devices required to insure the safety of the traveling public and all administrative responsibilities necessary to implement this work.

The Contractor shall maintain all roadways and pedestrian and bicycle facilities affected by the work and shall construct and maintain approaches, crossings, intersections and other features as may be necessary throughout the life of the contract.

643-1.02 DEFINITIONS.

Construction Phasing Plan - A plan for each phase of the project showing how traffic will be accommodated. It should show the sequence of work by segment or phase if required.

Traffic - The movement of vehicles, pedestrians, and bicyclists through road construction, maintenance operations, utility work, incident zones or similar operations.

Traffic Control Plan - A Traffic Control Plan (TCP) is a drawing or drawings indicating the method or scheme for safely guiding and protecting motorists, pedestrians, bicyclists, and workers in a traffic control zone. It depicts the traffic control devices to be used, their placement and times of use.

Traffic Control Zone - A portion of a road construction project, maintenance operation, utility work, incident zone or similar operation where traffic is affected by the operation and traffic control is needed to safely guide and protect motorists, pedestrians, bicyclists, or workers.

643-1.03 TRAFFIC CONTROL PLAN. The TCP may include, but not be limited to, such items as signs, barricades, traffic cones, plastic safety fence, sequential arrow panels, portable changeable message board signs, special signs, warning lights, portable concrete barriers, crash cushions, flaggers, pilot cars, interim pavement markings, temporary roadways and all other items required to direct traffic through or around the construction zone in accordance with these specifications and the Alaska Traffic Manual (ATM). The TCPs shall also address placement of traffic control devices including location, size, mounting height and type. The details shown for signs shall include the code designation, size, and legend per the ATM and the Alaska Sign Design Specifications (ASDS). Plan sheets developed on Auto Cad can be made available, upon request, for use in preparing TCPs.

When a TCP is included in the plans the Contractor may use it, modify it or design an alternative TCP. Any modifications to the TCP or any new TCP shall be submitted for approval of the Engineer. The Contractor shall allow 1 week for review of any TCP or each subsequent correction. Changes in the TCP may be allowed during construction provided 48 hours are allowed for review and the changes are approved by the Engineer.

When a TCP is not included in the plans the Contractor shall provide one in accordance with this Section and the ATM. The Contractor's superintendent shall review and sign all TCPs prior to submittal. Acceptance of a TCP is based on the Contractor's certification that the plan is in conformance with the ATM and the specifications.

All TCPs submitted shall indicate the periods for which the TCP will be in effect. Each TCP shall provide the name and 24-hour telephone number of the Worksite Traffic Supervisor.

When a waiver of regulation 17 AAC 25 regarding oversize and overweight vehicle movements is in effect for this project, all movements of oversize and overweight vehicles in or near traffic within the project limits will be in accordance with the provisions of an approved TCP. The TCP shall specify traffic control devices that will be required for these operations.

There shall be no work within the project limits until the Contractor has implemented an approved TCP for the work proposed. The number of traffic control devices indicated on the TCPs, plans, and Standard Drawings are a minimum. If unsafe conditions occur, the Engineer may require additional traffic control devices.

643-1.04 WORKSITE TRAFFIC SUPERVISOR. The Contractor shall provide a Worksite Traffic Supervisor who shall be responsible for the Contractor's maintenance of traffic operations on a 24-hour basis.

1.	Qualifications. The Worksite Traffic Supervisor shall understand the requirements of the ATM, the plans and the specifications and meet at least one of the following:

a.	Be currently certified as a Worksite Traffic Supervisor by the American Traffic Safety Services Association (ATSSA).

b.	Be currently certified as a Work Zone Traffic Safety Specialist or a Signs and Markings Specialist by the International Municipal Signal Association (IMSA).

c.	Be currently certified as a Worksite Traffic Technician by (ATSSA).

Items b and c require documentation of a minimum of twelve months of supervisory level worksite traffic control or twelve months of responsible charge of such work. "Responsible charge" shall be construed to mean having been in a position of accountability for the selection of devices and for their placement in the traffic control system, or for the continued operation of the system. Having persons that actually perform labor under one's control would satisfy this requirement.

2.	Duties. The Worksite Traffic Supervisor's duties shall include the following:

a.	Prepare the TCPs and public notices and coordinate traffic control operations with the Engineer.

b.	Inspect the condition and position of all traffic control devices in use on the project at least once each day and once each night, to ensure that devices are in proper working order, clean, visible and conform to the approved TCPs in use. Furnish a detailed written report of each inspection to the Engineer within 24 hours.

c.	Supervise the repair or replacement of damaged or missing traffic control devices.

d.	Review and anticipate appropriate traffic control needs and ensure that the proper traffic control devices necessary for safe and efficient traffic movement are available.

e.	Review work areas, storage of equipment, and handling and storage of materials relative to traffic safety.

f.	Hold traffic safety meetings with the superintendents and foremen of the Contractor and subcontractors prior to beginning construction, and periodically thereafter as necessary or as directed by the Engineer. The Engineer shall be provided the opportunity to attend these meetings.

g.	Supervise all traffic control workers, flaggers, and pilot car drivers.

h.	Certify that all of the flaggers meet the requirements of Subsection 643-3.04.

643-1.05 CONSTRUCTION PHASING PLAN. A Construction Phasing Plan shall be submitted at least 5 working days prior to the Preconstruction Conference for approval by the Engineer and consist of the following:

1.	Designation of a Worksite Traffic Supervisor including his resume, written verification of his credentials and the telephone numbers where he can be reached 24-hours a day.

2.	A plan for each phase or segment of the project. Changes shall be submitted to the Engineer for approval 15 days in advance of their proposed implementation.

3.	TCPs for the first phase of the project with both the permanent and temporary traffic control measures shown including the times of use of each TCP.

643-2.01 MATERIALS. Materials for traffic control devices shall conform to the requirements set forth below:

1.	Signs. Permanent Construction Signs, Construction Signs and Special Construction Signs including sign supports shall conform to the requirement of Section 615, Standard Signs, the ATM and ASDS. The size of each Special Construction Sign shall be clearly and neatly marked in 3 inch high black numerals on its back.

2.	Portable Sign Supports. Portable sign supports shall be wind resistant with no external ballasting and capable of supporting a 4 foot X 4 foot traffic control sign such that the height of the sign above the adjacent roadway surface is that required by the ATM. The sign support shall support the traffic control sign vertically.

3.	Barricades and Vertical Panels. Barricades and vertical panels shall be constructed of wood, metal or plastic and conform to the requirements of the ATM and the Standard Drawings. Type III Barricades shall have a minimum length of 8 feet.

4.	Portable Concrete Barriers. Portable concrete barriers shall conform to the requirements of Standard Drawing G-45. Each barrier shall be equipped with at least two side-mounted retroreflective reflectors (or a continuous longitudinal stripe of preformed retroreflective pavement marking tape mounted 6 inches from the top of the barrier), for each direction of traffic. The reflectors (or tape) shall be yellow if the barriers are used at centerline and white if used on the roadway shoulder.

5.	Warning Lights. Warning lights shall be Type A (low intensity flashing), Type B (high intensity flashing) or Type C (steady burn) conforming to the requirements of the ATM.

6.	Drums. Drums shall be plastic and conform to the requirements of the ATM and the Standard Drawings.

7.	Traffic Cones. Traffic cones and/or tubular markers shall conform to the requirements of the ATM and the Standard Drawings. The minimum height shall be 28 inches. All cones and tubular markers shall be reflectorized.

8.	Interim Pavement Markings. Interim pavement markings shall be either paint conforming to Subsection 708-2.03 with glass beads conforming to Subsection 712-2.08, preformed marking tape (removable or non-removable) conforming to Subsection 712-2.14, or temporary raised pavement markers conforming to Subsection 712-2.15 or 712-2.16, as appropriate. The markings shall be applied in accordance with Section 670 and the manufacturer's recommendations.

9.	High Level Warning Devices. High level warning devices shall conform to the ATM and the Standard Drawings.

10.	Temporary Crash Cushions. Temporary crash cushions shall have been tested as per the procedures set forth in National Cooperative Highway Research Program (NCHRP) Report 350, Test Level 3. Certification shall be provided by the manufacturer directly to the Engineer. Permanent crash cushions shall not be used as temporary crash cushions.

11.	Sequential Arrow Panels. Sequential arrow panels shall be Type A (24" X 48"), Type B (30" X 60") or Type C (48" X 96") conforming to the requirement of the ATM and the Standard Drawings.

12.	Portable Changeable Message Board Signs. Portable changeable message board signs shall conform to the requirements of the ATM.

13.	Plastic safety fence shall be construction orange, 4 feet high and shall be as manufactured by one of the following companies, or approved equal:

a.	“Safety Fence” as manufactured by Services and Materials Company, Inc., 2200 South “J” Street, Elwood, Indiana, 46036. Phone (800) 428-8185.

b.	“Flexible Safety Fencing” as manufactured by Carsonite, 1301 Hot Springs Road, Carson City, Nevada, 89706. Phone (800) 648-7974.

c.	“Warning Barrier Fence” as manufactured by Plastic Safety Systems, Inc. P.O. Box 20140, Cleveland, Ohio, 44120. Phone (800) 662-6338.

14.	Temporary Sidewalk Surfacing. This item shall consist of providing all labor, equipment and materials to provide a temporary sidewalk surfacing as required by an approved Traffic Control Plan.

a.	The materials shall be a minimum of ½ inch plywood for areas that are continuously supported by subgrade and 1 inch plywood for areas that are not continuously supported.

b.	The maximum unsupported length of 1 inch plywood shall be 30 inches.

c.	The surface of the plywood shall be free of irregularities. The height of plywood overlap joints shall not exceed 1 inch.

d.	The temporary surfacing shall be held in place by a method that will withstand 25 mph wind velocities.

15.	Temporary Guardrail. Temporary Guardrail shall conform to the standard drawings and section 606 of the standard specifications.

Traffic cones, candles, drums, and delineators that exceed the following weights and heights require certification that they meet the evaluation criteria of NCHRP Report 350, test level 3. This certification may be a one page affidavit signed by the vendor. It shall be given to the Engineer before the devices are used on the project. Documentation supporting the certification (crash tests and/or engineering analysis) must be kept on file by the certifying organization.

Composition		Weight		Height

Cones		Rubber		 20 lb.	 36 in.

Plastic			 20 lb.	48 in.

Candles	Rubber		 13 lb.	36 in.

Plastic			 13 lb.	36 in.

Drums		Hi Density Plastic	 77 lb.	36 in.

Lo Density Plastic	 77 lb.	36 in.

Delineators	Plastic or Fiberglass	 N/A	48 in.

Truck-mounted attenuators and portable crash cushions purchased after October 1, 1998 must be certified as compliant with National Cooperative Research Program 350, test level 3, crashworthiness requirements. Certification, consisting of a letter of NCHRP-350 compliance from the Federal Highway Administration, shall be provided to the Engineer for each of these devices before they are used on the project.

643-3.01 GENERAL CONSTRUCTION REQUIREMENTS. The Contractor shall keep the work, and portions of the project affected by the work, in such condition that traffic will be accommodated safely. Traffic control devices and services shall be provided and maintained both inside and outside the project limits both day and night as needed to facilitate traffic guidance.

Unless otherwise provided herein, the Contractor shall keep all roadways undergoing improvement open to traffic. Temporary closure of residential, commercial or street approaches requires prior approval of the Engineer. The Contractor shall provide access through the project for emergency vehicles and school and transit busses. All locations requiring redirection or stopping of the traveling public shall be properly signed and/or flagged by the Contractor.

The Contractor's equipment shall stop at all points of intersection with the traveling public unless satisfactory traffic control measures, are shown on the approved TCP.

All illumination and signalization shall remain operational as per the requirements of Subsection 660-1.05, Maintaining Existing and Temporary Electrical Systems. Signal heads shall be re-aligned as necessary in accordance with the ATM when approach lanes are moved. Any modifications to existing traffic signals shall be coordinated with the agency responsible for their maintenance and operation. Flood lighting at night shall be in accordance with the ATM and be adjusted such that it does not shine into oncoming traffic.

The Contractor shall provide and maintain safe routes for pedestrians and bicyclists through or around traffic control zones at all times except when pedestrians or bicyclists are prohibited by regulation. Whenever construction activity encroaches onto the safe route in a traffic control zone the Contractor shall station an employee at the encroachment to assist pedestrians and bicyclists past the construction activity.

643-3.02 ROADWAY CHARACTERISTICS DURING CONSTRUCTION. Roadway lane and shoulder widths in existence prior to the start of construction shall not be reduced without an approved TCP. The Contractor shall maintain a 2 foot minimum clear area between the edge of traveled way and the work area. Use either barricades, traffic cones, or drums for delineation of this area. These traffic control devices shall be placed on the work side of the clear area and be spaced in accordance with the ATM.

The Contractor may maintain traffic on a gravel surface for a total of 12,500 feet (measured along centerline) at any one time throughout the project.

If the Contractor is allowed to maintain traffic on an unpaved surface, the construction shall be conducted in such a manner as to provide a reasonably smooth and even surface satisfactory for use by public traffic at all times. The surface of the roadbed shall be properly crowned for drainage. In advance of other grading operations, sufficient fill shall be placed at culverts and bridges to permit traffic to cross smoothly and unimpeded. Part width construction techniques shall be employed when the traffic is routed through roadway cuts or over embankments under construction. The material shall be excavated or placed in layers and the construction activities shall be alternated from one side to the other, with traffic routed over the side opposite the one under construction.

Where so provided on the plans or an approved TCP, the Contractor may detour traffic. The detour routes shall be maintained by the Contractor during times of use in such condition that traffic will be accommodated safely. When no longer required, the detour shall be obliterated and appropriate areas topsoiled and seeded.

In general, all roadway crossings should be made while maintaining traffic as described above. If two-way traffic cannot be maintained, whether on the existing roadway or a detour, half-width construction or a road closure may be allowed and must be shown on an approved TCP. The TCP shall indicate the duration and conditions of closure. Roadway crossings shall be scheduled so as not to delay school busses and peak hour traffic. For road closures the Contractor shall post at the site of the closure, within view of waiting traffic, the time the closure started and the time the road will again be open to traffic.

643-3.03 PUBLIC NOTICE. The Worksite Traffic Supervisor shall give notices of changes, delays or road closures to the following local officials and transportation organizations, including but not necessarily limited to:

Alaska Carriers Association

Alaska State Troopers

Alaska Trucking Association

Cooper Landing Community Club

Cooper Landing Advisory Board

Kenai Peninsula Borough

Kenai River Center

Local Police Department

Local Fire Department

Local School & Transit Authorities

Local Emergency Medical Services

Local Media (Newspapers, Radio, Television)

Railroads (Where applicable)

U.S. Postal Service

The Contractor shall also provide the Alaska State Troopers, local police and fire department with the radio frequencies used on the project, and the 24-hour telephone numbers of the Worksite Traffic Supervisor and the Project Superintendent. These shall be for alerting the Contractor of emergencies which will require passage of emergency vehicles through the project. When so notified the Contractor shall use all equipment and effort necessary to expedite rapid passage.

643-3.04 TRAFFIC CONTROL DEVICES. Prior to the start of construction operations, the Contractor shall erect such permanent and temporary traffic control devices as may be required by the approved TCPs. Traffic control devices shall be used only when they are needed. Advisory speeds, when necessary, shall be determined by the Engineer.

For lane closures on multilane roadways, sequential arrow panels shall be used. When required for night time operations, flashing warning lights shall be used to mark obstructions or hazards and steady-burn lights shall be used for channelization.

During non-working hours and following the completion of a particular construction operation, all unnecessary traffic control devices shall be removed. Sign panels that are post mounted and cannot be readily removed shall be entirely covered with either metal or plywood sheeting.

Reflective sheeting on signs, drums, barricades and other devices shall be kept clean.

All traffic control devices shall meet the requirements of American Traffic Safety Services Association (ATSSA), "Quality Standard for Work Zone Traffic Control Devices".

Any devices provided under this Section that are lost, stolen, destroyed, inoperable or deemed unacceptable while their use is required on the project shall be immediately replaced by the Contractor. The Contractor shall stock repair parts for each Temporary Crash Cushion used on the project. If a crash cushion is damaged it shall be repaired within 24 hours.

All items paid for under this section shall remain the property of the Contractor and shall be removed upon completion of the project.

1.	Embankments. Install portable concrete barrier, plastic drums, barricades, tubular markers, plastic safety fence, and cones as called for on the plans or TCPs to delineate open trenches, ditches, other excavations and hazardous areas when they exist along the roadway for more than one continuous work shift.

2.	Adjacent Travel Lane Paving. The Contractor shall limit pavement edge and lane edge drop-offs as specified under Subsection 401-3.11. When the depth of paving is greater than 2 inches and the paving of adjacent travel lanes or paved shoulders cannot for some unforeseen circumstance be completed to the same elevation before the end of the paving shift, the appropriate signing shall be installed: CW24-1, (Uneven Lanes), CW8-9A, (Low Shoulder), CW14-3, (No Passing Zone), R4-1, (Do Not Pass), and R4-2, (Pass with Care). If the section in question is longer than ½ mile in length additional signs shall be placed at 1500 foot intervals.

3.	Fixed Objects. Vehicles working within 15 feet of the edge of traveled way shall be equipped with flashing warning lights. The vehicle's flashing warning lights may be emergency flashers, flashing strobes or rotating beacons.

Private vehicles, idle construction equipment, construction material stockpiles and other items deemed by the Engineer to be fixed objects shall be located outside the clear zone at all times. Parking of equipment in medians will not be allowed.

Where, due to land features or lack of right-of-way, it is not feasible to meet the above restrictions, equipment shall be parked as far away as practical but a minimum of 15 feet from the edge of traveled way as approved by the Engineer. Traffic control devices for identifying hazards including flashing warning lights shall be used to delineate the equipment when parked in this manner. These traffic control devices will not be paid for but will be considered the Contractor's responsibility.

4.	Flagging. Flagging shall include the furnishing of trained and competent flaggers and all necessary equipment, including lighting of the flagging position during nighttime operations, for the control of traffic through the work zone. Each flagging operation shall be approved by the Engineer prior to its implementation and shall be adjusted as conditions change or as directed by the Engineer

Prior to beginning work, and at the start of each construction season thereafter, flaggers shall attend the special videotape training session provided by the Engineer. The Worksite Traffic Supervisor shall certify in writing that all flaggers are personally familiar with and meet the requirements of the ATM and have attended the annual training before being allowed to direct traffic.

Flaggers shall maintain their assigned posts at all times, unless relieved by another qualified flagger or the need for flagging traffic no longer exists. Flagger signs are to be removed when a flagger is not present. The flaggers area should be free of encumbrances, such as parked vehicles, so the flaggers are readily visible.

The Contractor shall provide approved equipment for two-way radio communications between flaggers when flaggers are not in plain, unobstructed view of each other.

No signalized intersection shall be flagged without prior written approval of the Engineer. When a signalized intersection is flagged the traffic signal shall either be turned off and covered or be placed in the All-Red Flash mode. Changing traffic signal modes, turning off or turning on traffic signals, shall be coordinated with and approved in writing by the agency responsible for signal maintenance and operation, and by the Engineer.

5.	Pilot Cars. Pilot car operations may be approved where the route through a construction work zone is particularly hazardous, so involved or frequently altered as to preclude adequate signing, or where one-way traffic is deemed by the Engineer to be necessary. Pilot cars shall not be used to avoid localized traffic control at several locations. The operation shall be organized so that no individual vehicle has a waiting period of more than 20 minutes, but this does not imply that twenty minutes will be allowed in all cases. Multiple pilot car operations within a project or adjoining projects shall be coordinated to minimize the inconvenience of the traveling public. Two or more pilot cars may be specified to provide two-way traffic through the work zone to reduce the waiting period. The flagger or pilot car operator shall record each departure time of the pilot car in a bound field book furnished by the Engineer. Whenever practicable, the flagger shall advise the motorist of the reason for the delay and the approximate length of time that the traffic will be delayed. The Contractor must make every reasonable effort to yield right-of-way to the driving public and prevent excessive delay. The vehicle selected for a pilot car shall be an automobile or pickup with the name of the Contractor prominently displayed and shall be equipped with a two-way radio for contact between flaggers and other pilot cars. A G20-4 sign, (Pilot Car Follow Me), shall be mounted on the rear a minimum height of 5 feet above the driving surface. Provisions shall be made for identification of the last vehicle in the column.

When pilot cars are authorized, they shall be in force prior to beginning work and continue until no longer required or all traffic control devices required for non-working hours are properly in place and functioning.

6.	Street Sweeping. All paved portions of the roadway and haul routes open to the public shall be kept free of loose material, including sections of roadway off of the project where loose material is deposited as a result of the contractors operations. The street sweeper shall be capable of collecting materials rather than ejecting them to the shoulder of the road.

7.	Watering. The Contractor shall furnish, haul and place water for dust control and pavement flushing, as directed. Water trucks shall be capable of providing a high pressure water stream to flush the pavement and a light water spray for dust control. If the flushing operations contaminate or fill adjacent catch basins the contractor shall clean and restore them to the same condition they were in prior to his operations, including sections of roadway off of the project where flushing is required. The application of water shall be under control of the Engineer.

If water is to be taken from a lake, stream, or other natural water body, the Contractor shall obtain a water removal permit from Alaska Department of Natural Resources. The Contractor shall also comply with the Alaska Department of Fish and Game screening requirements for all water removal operations.

643-3.05 AUTHORITY OF THE ENGINEER. When, in the opinion of the Engineer, conditions are such that the safety and/or convenience of the traveling public are adversely affected, the Contractor will be immediately notified in writing. The notice will state the defect(s), the corrective action(s) required, and the time required to complete such action(s). In no case shall this time exceed 24 hours. In the event that the Contractor fails to take the corrective action(s) within the specified time, (a) The Engineer will immediately direct that the offending operations cease until the defect(s) is (are) corrected and (b) the Engineer reserves the right to order the corrective action(s) be accomplished by outside forces. The cost of work by outside forces shall be deducted from any moneys due or that may become due under the terms of this contract.

643-3.06 TRAFFIC PRICE ADJUSTMENT. When Item 643(23) Traffic Price Adjustment, is shown on the bid schedule, the contract amount will be adjusted for each minute that the traffic is delayed if corrective measures directed by the Engineer are not promptly acted upon. The contract will be reduced at the rate listed in Table 643-1 (based on highway user costs), for each minute that any lane of traffic is not open to full use by the traveling public. Time will be measured to the nearest minute for the ADT published by the Department's Planning section. The Engineer shall determine whether the roadway is opened to full use by the traveling public.

The Traffic Price Adjustment shall be assessed for lane closures or reductions that are unauthorized. Lane closures and/or lane reductions that have been shown in the contract or authorized in writing by the Engineer are not subject to the Traffic Price Adjustment.

Traffic Price Adjustment will also be applied to unacceptable driving conditions, such as severe bumps, washboarding, potholes, excessive dust or mud, or dirty or out of place traffic control devices. The Engineer will make the sole determination as to whether the roadway is acceptable for full unimpeded use by the public. Failure to comply will result in a price adjustment equal to 10 percent of the applicable rate shown in Table 643-1, for the time that the roadway is in an unacceptable condition.

TABLE 643-1

| Published ADT | Dollars/Minute of Delay/Lane |
| --- | --- |
| Less than 1,000 | $2 |
| 1,000 - 4,999 | $10 |
| 5,000 - 9,999 | $30 |
| 10,000+ | $40 |

643-3.07 MAINTENANCE OF TRAFFIC DURING SUSPENSION OF WORK. Approximately one month prior to seasonal suspension of work, the Contractor shall schedule a preliminary meeting with the Engineer and Maintenance & Operations to outline the work he expects to complete before shutdown and the condition the roadway is to be in. The Contractor shall then schedule a field review for acceptance by the Department for winter maintenance. At the field review a punch list will be prepared for implementation prior to acceptance. In order for the Contractor to be relieved of winter maintenance responsibility, all roads shall be left with a reasonably smooth and even surface satisfactory for use by public traffic at all times. The surface of the roadbed shall be properly crowned for drainage and adequate safety facilities shall be in place. All illumination and signals, including vehicle detectors, shall be

in good working order. After acceptance for winter maintenance and until issuance of an order for the resumption of construction operations, maintenance of the facility agreed upon will be the responsibility of the Department. The Department will only accept maintenance responsibility for those portions of the work that are open to the public for use, as determined by the Engineer. The Department will not accept maintenance responsibility for incomplete work adjacent to accepted roads. Maintenance for all other portions of the work, shall remain the responsibility of the Contractor. The Engineer will list all portions of the work for which the Department will accept maintenance responsibility during a seasonal suspension of work in a letter of "Acceptance for Winter Maintenance." The Contractor shall retain all contractually required maintenance responsibilities until receipt of this letter.

If work is suspended due to unfavorable weather, other than seasonal, failure of the Contractor to correct conditions unsafe for the workmen or the general public, failure to carry out provisions of the contract, or for failure to carry out orders of the Engineer, all costs for maintenance of traffic during the suspended period shall be borne by the Contractor.

When work is resumed, the Contractor shall replace or renew any work or materials lost or damaged because of temporary use of the project. Remove to the extent directed by the Engineer, any work or materials used in the temporary maintenance and shall complete the project as though its prosecution had been continuous and without interference.

643-3.08 CONSTRUCTION SEQUENCING. Construction sequencing detailed in these Special Provisions, and the plans is a suggestion only and is not intended to prevent the Contractor from proposing alternative construction sequencing.

Throughout the duration of the project, the existing roadway configuration shall be maintained (i.e., the number of lanes and their respective widths) except for restrictions to traffic allowed in the special provisions and addressed through approved TCPs. A restriction to traffic shall be considered any condition of the roadway surface or any work operation or traffic control setup that reduces the number of lanes or stops traffic. An approved TCP is required before any restriction to traffic is implemented.

Lane Closure Limitations

Lane closures, when allowed by the specifications or the Engineer, shall be conducted so that no more than a 20 minute accumulated stopped delay is

encountered by a motorist through the entire length of the project. During paving operations, a 30 minute accumulated stopped delay will be allowed for all motorists. If a queue of traffic develops at a stop, the entire queue shall be emptied before the opposing traffic is released from their stop.

Quartz Creek Bridge Construction

The Contractor will be allowed 26 consecutive days of single lane operations on Quartz Creek bridge. Single lane operations may continue through the weekends during the 26 day period. The Contractor will not be allowed to restrict traffic across the Quartz Creek bridge during the month of July. During placement of the micro-silica modified concrete and for six hours after placement for curing, vehicular speed shall be restricted to 10 miles per hour. A speed limit order issued by the Department will be required prior to the posting of the regulatory 10 miles per hour speed limit. The bridgework zone including the bridge shall be limited to 250 feet.

Full road closures for up to 6 hours will be allowed Monday, Tuesday, Wednesday and Thursday evenings beginning at 11:00 P.M. and ending at 5:00 A.M.  the following morning from Station 1953+15 to Station 2355+00.  These 6 hour closures may be shifted one hour at the Departments discretion.  Full road closures will only be allowed during a single 120 consecutive calendar day window in 1999 or, alternatively, the Contractor will be allowed two (2) consecutive calendar day windows for road closures, one in 1999 and one in 2000, the combined total of which does not exceed 120 calendar days.  No full road closures will be allowed after June 29, 2000.  All road closures are subject to the following conditions:

Road Closures

No restriction to traffic will be allowed during the times listed below.

1.	Friday from 12:01 PM to Monday at 12:01 AM.

2.	Around any holiday:

a.	If a holiday falls on Sunday, Monday or Tuesday, the above stipulations apply from 12:01 PM on the Friday before the holiday to 12:01 AM on the day after the holiday.

b.	If a holiday falls on Wednesday, the above stipulations apply from 12:01 PM on the Tuesday before the holiday to 12:01 AM on the Thursday after the holiday.

c.	If a holiday falls on Thursday, Friday or Saturday, the above stipulations apply from 12:01 PM on the day before the holiday to 12:01 AM on the Monday after the holiday.

Winter Shut Down

By October 1, 1999, the entire traveled roadway shall be surfaced with temporary, existing pavement, or permanent pavement. If the Contractor removes existing pavement from a section of roadway that is to be incorporated into the new alignment, he shall provide a 1.5-inch thick by 24-foot wide temporary paved surface installed at his expense. Asphalt Treated Base Course in the final configuration may serve as a paved surface during the winter shutdown. Positive drainage away from the roadway shall be provided prior to acceptance for winter shut down.

Sterling Highway Overlay, Skilak Lake Road to Cooper Creek

Once work has started in this segment, the Contractor will have 14 consecutive days to complete the work including striping. Failure to restore to a paved surface within the prescribed period of time will result in the Engineer invoking the provisions of Subsection 643-3.06, Traffic Price Adjustment. When the Engineer uses a Directive to suspend a controlling item of work due to weather for one or more calendar days, the number of days included in such suspension period will not be included in the count for this segment of work.

Seward Highway Reconstruction, MP 37 and Sterling Wye

Once the existing pavement has been removed, it shall be restored to final pavement, with striping and finished sideslopes within 30 consecutive days. Failure to restore within the prescribed period of time will result in the Engineer invoking the provisions of Subsection 643-3.06, Traffic Price Adjustment. When the Engineer uses a Directive to suspend a controlling item of work due to weather for one or more calendar days, the number of days included in such suspension period will not be included in the count for this segment of work.

643-3.09 INTERIM PAVEMENT MARKINGS. Permanent or Interim Pavement Markings in accordance with this subsection, details shown on the plans, approved traffic control plans, and Parts III and VI of the Alaska Traffic Manual shall be in place before existing paved roadways, temporary paved roadways, detours, interim paving lifts, and roadways with seal coats and surface treatments are opened to traffic for longer than one continuous work shift. This work may include restriping of the existing roadway prior to beginning construction of the project.

Conflicting pavement markings shall be removed in accordance with subsection 670-3.04, Paint Removal or covered with black removable preformed marking tape.

Sections of existing roadway that will be opened to traffic during the winter shall be marked at the same location as the existing lines and markings.

The Contractor shall maintain all Interim Pavement Markings for their intended life without additional compensation for any reapplication that may be required. There will be no compensation to upgrade Interim Pavement Markings required for work operations lasting up to 3 days to those required for work operations lasting up to 2 weeks.

Only temporary raised pavement markers or removable preformed retroreflective marking tape shall be used as Interim Pavement Markings on final pavement surfaces. When used they shall be completely removed and disposed of in conjunction with the placement of the final markings. The complete removal shall include any residual adhesive that might misguide motorists. Final pavement markings on finished pavement surfaces and interim pavement surfaces shall be in place before work is suspended for the winter.

Construction should be staged so that no traffic is routed over conflicting markings for more than one continuous workshift. If traffic is routed over conflicting markings during a workshift the roadway shall be delineated with a complement of warning signs, channelizing devices, and flaggers as required by the Alaska Traffic Manual.

Only temporary raised pavement markers conforming to Subsection 712-2.16 shall be used for interim pavement markings on seal coat and surface treatment pavements. The markers shall be installed in accordance with the manufacturers instructions prior to the application of the asphalt surface material and cover coat. The vinyl protective covers shall be removed after application of the asphalt pavement.

On multicourse surface treatments the temporary raised pavement markers shall be installed following the full width application of the first layer of cover coat. The markers shall be installed on each day's completed surface before the pilot car operations are removed and unescorted traffic is allowed on the surface treatment.

Final pavement markings shall not be placed until the seal coat or surface treatment has been opened to traffic for at least 14 days. Final pavement markings shall be applied within 10 days of the completion of the final sweeping or brooming of the mainline seal coat or surface treatment. Seal coat and surface treatment pavements are exempt from the two week requirement stated in short-term operations.

643-4.01 METHOD OF MEASUREMENT. During winter suspension of work no measurement of quantities will be made.

1.	Traffic Maintenance will be measured by the calendar day or lump sum and shall consist of all labor, materials and equipment required to provide the Worksite Traffic Supervisor, all required TCPs and public notices, the Construction Phasing Plan and maintenance of all roadways, approaches, crossings, intersections and pedestrian and bicycle facilities, as required.

2.	Traffic Control Devices will be measured by the units shown in the Traffic Control Rate Schedule. The quantities to be paid for shall be the number of units of each of the items, installed and accepted, in place. Construction Signs are regulatory, guide or construction warning signs for which there is a designation in the ASDS. Permanent Construction Signs shall be as detailed in the plans. All other signs will be considered Special Construction Signs. Flagger paddles will not be measured for payment.

Warning lights, high level warning devices, vertical panels and sign supports required for individual traffic control devices will be considered subsidiary to their respective bid item. If a subsidiary item is not installed and operational on a traffic control device when required, the respective device will not be measured for payment.

3.	Portable Concrete Barrier will be measured per each nominal 10 foot section (± 1 foot) placed to protect or channelize traffic as called for on the approved TCPs. Measurement for payment will be made for the initial placement and for each subsequent relocation when moved more than 10 feet in any direction.

4.	Temporary Crash Cushions will be measured per each installation. Repair of temporary crash cushions will not be measured.

5.	Interim Pavement Markings will be measured by the single stripe station. A single stripe is a marking or a temporary raised pavement marker 4 inches in width. Wider striping will be measured as multiples of 4 inches. Centerline gaps will not be deducted from measurements. Installation of any word and symbol markings as well as the removal of the Interim Pavement Markings will be subsidiary to this item. The No-Passing Zone signing, as described in Subsection 643-3.09, will be subsidiary to this item.

6.	Flagging and Pilot Car will be measured by the hour for the actual number of hours such operations were performed as approved by the Engineer. Transportation to and from the work site will not be measured.

7.	Street Sweeping will be measured by the hour for the actual number of hours such operations were performed as approved by the Engineer. Time required to empty the sweeper will not be measured.

8.	Watering will be measured by the M-Gallon (1,000-gallons) of water applied. Weight measure or volume measure may be used at the discretion of the Engineer. If weight measure is used, the weight will be converted to gallons at 8.34 pounds per gallon for payment purposes. If volume measure is used, the volume will be converted to gallons at 7.48 gallons per cubic foot for payment purposes.

9.	Portable Changeable Message Board Signs will be measured by the calendar day for each sign used as shown on an approved TCP.

10.	Plastic Safety Fence, placed to protect or channelize pedestrian traffic as called for on an approved TCP, will be measured by the foot for the initial placement. Movement of the plastic safety fence to gain access to or from the work site shall not be measured and shall be subsidiary to the item.

11.	Temporary Sidewalk Surfacing, as called for on an approved TCP, will be measured by the square yard of plywood surface exposed for each placement. Overlaps will not be included in the measurement.

Providing a 24-hour toll free (1-800-###-####) "hot-line road report" telephone with pre-recorded message, and providing weekly notices with daily updates will not be measured for payment but will be subsidiary to Item 643(1) or 643(2), Traffic Maintenance.

643-5.01 BASIS OF PAYMENT. The accepted quantities, determined as provided above, will be paid for at the contract price per unit of measurement, respectively, for each of the pay items listed below that are shown in the Bid Schedule, which price and payment shall be full compensation for the work prescribed in this section.

Items required by this specification that are not included on a unit price basis on the Bid Schedule or not included in other items shall be considered subsidiary to Item 643(1) or 643(2) Traffic Maintenance, except the following:

Traffic Price Adjustment

If Item 643(23), Traffic Price Adjustment, is shown on the Bid Schedule the total value of this contract will be adjusted as appropriate for lane restrictions, closures or delays in completing the directed work, as determined by the Engineer.

Payment for Item 643(27), Traffic Control Devices will be made for the pay unit of accepted traffic control devices (construction signs, barricades, traffic cones and/or tubular markers, drums, plastic safety fence, sequential arrow panels, portable changeable message board signs, special construction signs, portable concrete barriers, temporary pavement markings, temporary crash cushions, temporary sidewalk surfacing, and watering) times the unit rate value contained in the Traffic Control Rate Schedule. A change order/directive is not required for the traffic control devices pay item.

TRAFFIC CONTROL RATE SCHEDULE

| Traffic Control Device | Pay Unit | Unit Rate |
| --- | --- | --- |
| Construction Signs | Each/Day | $ 5.00 |
| Special Construction Sign | Square Foot | $20.00 |
| Type II Barricade | Each/Day | $ 3.00 |
| Type III Barricade | Each/Day | $ 10.00 |
| Traffic Cone or Tubular Marker | Each/Day | $ 1.00 |
| Drums | Each/Day | $ 3.00 |
| Sequential Arrow Panel | Each/Day | $55.00 |
| Portable Concrete Barrier | Each | $60.00 |
| Temporary Crash Cushion | Each | $2,500.00 |
| Watering | M-Gallon | $20.00 |
| Street Sweeping | Hour | $150.00 |
| Plastic Safety Fence | Linear Foot | $5.00 |
| Portable Changeable Message Board Sign | Calendar Day | $150.00 |
| Temporary Sidewalk Surfacing | Square Yard | $10.50 |
| Interim Pavement Markings Painted Markings Removable Preformed Markings Temporary Raised Pavement Markings Temporary Cover Markings | Station Station Station Station | $20.00 $130.00 $15.00 $305.00 |

Payment for Item 643(15), Flagging will be paid on a contingent sum basis at the rate of $32.00/hour. A change order/directive is not required for the flagging pay item.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

643(1)	Traffic Maintenance	Calendar Day

643(2)	Traffic Maintenance	Lump Sum

643(3)	Permanent Construction Signs	Lump Sum

643(15)	Flagging	Contingent Sum

643(16)	Pilot Car	Hour

643(23)	Traffic Price Adjustment	Contingent Sum

643(27)	Traffic Control Devices	Contingent Sum

R222 Revised 3/4/99

SECTION 644

SERVICES TO BE FURNISHED BY THE

CONTRACTOR

Special Provisions

644-2.01 FIELD OFFICE. Delete this subsection in its entirety and substitute the following: The Contractor shall furnish and maintain a suitable office for the Engineer, available for occupancy from two weeks prior to commencing work, through 30 days after issuance of the notice of project completion. The following office requirements shall be met:

1.	A minimum of 1000 square feet of floor area. The office area shall be divided so that it contains an office room separated by a closable door. The office room shall have a minimum of 150 square feet of floor area and have an operable window.

2.	A thermostatically controlled interior heating system with necessary fuel.

3.	Adequate electrical lighting and 120 volt, 60 hertz power, with a minimum of six (6) electrical outlets.

4.	A minimum of 100 square feet of window area and adequate ventilation.

5.	Adequate parking for a minimum of 16 vehicles, with one handicap parking space meeting the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

6.	Attached indoor plumbing with sanitary lavatory facilities and potable drinking water provided.

7.	Three (3) telephone service lines available at the office location.

8.	If a part of the Contractor's building, it shall be completely partitioned off from the balance of the structure and provided with a separate outside door equipped with a lock.

9.	The Engineer's office shall be accessible by disabled individuals from the designated handicap parking space in accordance with the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

10.	Located within one mile of the project.

11.	Weekly janitorial service consisting of emptying trash receptacles, vacuuming office area and cleaning restrooms and counter areas.

12.	Provide one mobilization and one demobilization of the Engineer’s office equipment and furniture.

644-2.02 FIELD LABORATORY. Delete the sixth sentence of the first paragraph and substitute the following: The water supply shall consist of a 500-gallon capacity tank with a pressure pump or a commercial pressurized system.

Delete the second paragraph and substitute the following: The laboratory shall include a concrete slab, 8 feet by 10 feet by 4 inches thick, suitable for mounting a Gilson shaker and other equipment. The slab shall be installed within an enclosed adjacent structure having a door, a window, a worktable, an exhaust fan, and adequate lighting and heat.

Add the following: The Contractor shall supply 240 volt, 60 hertz power, a 100 lb. propane bottle, and a 500 gallon capacity water tank with a pressure pump or a commercial pressurized system for a State provided portable asphalt lab at a location designated by the Engineer. (7/8/98)R63A

644-2.05 FIELD TRANSPORTATION.  Delete this subsection in its entirety and substitute the following: Furnish and maintain vehicles for the exclusive use of the Department throughout the project.  Provide vehicles 2 weeks before commencing the work through 1 week after the final inspection.  In case of seasonal shut-down, provide vehicles 1 week before commencing work through one week after the shutdown.

Provide full-size ½ ton pickups or cab vehicles similar to Ford “Bronco”, Chevrolet “Blazer”, or Dodge “Dakota”.  If providing exclusively pickups, at least one shall be the extended cab model.  Provide vehicles less than 3 model years old, in good condition and with less than 36,000 miles on the odometer.

644-2.06 SCALES. Delete the first and second sentences and substitute the following: When the bid schedule calls for payment on a ton basis for material, the Contractor shall furnish and maintain platform scales, scalehouse, and an electronic computerized weighing system, as hereinafter specified. A permanent certified commercial scale may be used with the Engineer’s written approval. Belt conveyor scales are not acceptable for determining pay weight when the contract documents provide for payment on a ton basis.

Delete the second paragraph and substitute the following: Sanitary lavatory facilities, heating, adequate electrical lighting and 120 volt, 60 cycle power shall be furnished to the scale house.

Delete paragraph three in its entirety.

Delete the fourth paragraph and substitute the following: Furnishing platform scales, tickets, scale house, and the electronic computerized weighing system, including all supplies such as: weigh tickets, paper, printer ribbons, diskettes, etc., and all maintenance and repair services necessary to keep the system functional, shall be supplied by the Contractor and is not a pay item but will be considered a subsidiary obligation. Platform scales, scale house and the electronic computerized weighing system shall remain the property of the Contractor upon completion of the work.

The Scales Diary is a bound book provided by the Engineer, to be completed by the Contractor’s scale person, that contains dates of action, type of material, source, time the scale opened and time the scale closed, times of scale balance, ticket sequence, time the haul for each material started and stopped, voided ticket numbers, truck numbers, times of tare and tare weights, and the scale person’s signature. In addition, the following information on any scale used to weigh materials for payment shall be provided in the Scale Diary:

a.	Owner of the scales, and scale locations.

b.	Manufacturer’s name, model serial number, maximum capacity, and type of scales (single beam, double beam, self-reading, etc.).

c.	Date(s) the scales were installed and/or adjusted.

d.	Scale service company inspections and accuracy checks (attach copy).

e.	Division of Weights & Measures inspections and accuracy checks (attach copy).

f.	Time and dates of notification of any malfunctions.

The Scales Diary(ies) shall remain the property of the Engineer.

Delete the second sentence of the last paragraph and substitute the following: Platform scales shall include a weatherproof housing constructed in a manner that protects the recording equipment and allows the scale operator convenient access to the weigh indicator, scale computer, ticket printer, and the printer used to produce the Transaction Summary Report. All components of the platform scales which could be physically manipulated in a manner to alter weights shall be protected by sealed enclosures, acceptable to the Engineer.

Add the following: The Contractor shall provide an electronic computerized weighing system with the following capabilities:

COMPUTER

1.	The scale computer shall have the ability to store project numbers and all pay item descriptions for multiple projects and products which are weighed with the scale system.

The self-reading scale system shall include the scale load cell, a sealed direct reading weight indicator, scale computer, ticket printer, sequential Transaction Summary Report printer, and the ability to record a complete shift’s transaction on a 3½-inch high density diskette.

The scale computer shall read the output data from the weight indicator without any unit conversion. If a conversion of pounds to kilograms is necessary, the Transaction Summary printer shall also print the Gross Vehicle Weight of each load in pounds for the Engineer’s review of the metric conversion factor. The conversion factor shall be 907.1847 kg/ton. All individual parts of the system shall be compatible with each other and suitable for field conditions.

Unless prior written authorization is obtained from the Engineer, no payment will be allowed for any material weighed without using the electronic computerized weighing system.

2.	The scale computer shall store the following for each hauling vehicle utilized on the Project: vehicle identification number or the permanent commercial scales’ assigned unique vehicle identification number if so marked on the vehicle, the tractor license number, associated trailer license number(s) or the permanent commercial scales’ assigned unique vehicle identification number(s) if so marked on the trailer, tare weight, and maximum allowable vehicle weight (MAVW).

Vehicles shall be tared a minimum of once daily by the scale operator. The Engineer may request additional tares to be done at any time the scale is operational. The Engineer may also require that he be present when tares are done.

The MAVW shall be calculated by the Engineer and a listing of all vehicles and their MAVW(s) will be placed in the scalehouse by the Engineer. The MAVW will be the maximum allowable legal weight, as determined by the Engineer when overloads cannot be hauled in the traffic stream; the manufacturer’s recommended maximum allowable gross vehicle weight as certified by the Contractor when on-road vehicles are allowed to haul overloads in the traffic stream; or an arbitrary number of 500,000 pounds when the Engineer allows unrestricted overloads out of the traffic stream.

The scale operator shall only utilize MAVWs which have been provided by the Engineer in writing. No tickets shall be issued to a vehicle until the Engineer provides the MAVW.

3.	During weighing operations, the electronic computerized weighing system shall compare each vehicle’s gross weight to its MAVW. If the vehicle exceeds its MAVW the system shall alert the scale operator that an “overload” exists and the system shall not issue a ticket.

No payment will be made for any material hauled in a vehicle which is not in conformance with the requirements of Subsection 105-1.12, Load Restrictions, and this Subsection. Non-conforming vehicles shall dump sufficient material so that they conform, and then be re-weighed.

4.	The computer system shall have a battery backup as well as protection for power surges or brown outs. The computer system shall be capable of retaining all stored data during a power outage and shall be operable during a power outage to allow shutdown of the hard drive without the loss of information.

TICKETS

The ticket printer furnished by the Contractor shall print a legible weigh ticket for the Engineer on continuous feed 10 kg (4.5 lb.) paper with nominal dimensions of 215 mm (8 ½ inch) by 140 mm (5 ½ inch), and with the following information on each ticket in the order listed:

a.	Sequential ticket number (8 digits, the first 3 digits being a Project code, the next being a product code [A, B, and C for the borrow classifications, D for Crushed Aggregate Base Course, E for asphalt, etc., as directed by the Engineer], and the last 4 digits being the sequential number for each product).

The permanent commercial scales may use “load number” to count the sequential loads for the Project. The load number shall be the different for each project and product hauled, and shall be reset to “0” at the beginning of each shift.

Whichever is used, this number shall be output to the data diskette given to the Engineer as Field 1, TKT.

b.	Project information (20 digits, the first 5 being the Project AKSAS number, the next 11 for the Project name, and the last 4 for a materials source reference).

c.	Date and Time of Dispatch (24 hour time).

d.	Pay Item name in words with “-Job Total”, “-Shift Total”, “-Daily Total”, or “- Cumulative” Tons (A cumulative product total for this shift and ticket sequence, in tons).

e.	Vehicle identification number, license number, and trailer license number(s). The permanent commercial scales may assign a permanently affixed tractor and trailer vehicle identification numbers, and shall maintain a current record of the corresponding license numbers.

f.	MAVW, as provided by the Engineer in writing.

g.	Gross weight in pounds.

h.	Tare weight in pounds.

I.	Net weight in pounds.

All of the above items are to be printed by the ticket printer with a minimum of a 12 point font, and items b. and c. above shall not be pre-printed. After printing, the weigh ticket shall be automatically advanced to a position where it can be torn off at a perforation and handed to the driver.

TRANSACTION SUMMARY REPORT PRINTER

The electronic computerized weighing system shall include a sequential Transaction Summary Report printer that will print out all transactions (keystrokes) made by the computer concurrently with the ticket printer. For permanent commercial scales, the Transaction Summary Report may be printed at the end of the company’s daily shift with the Engineer’s approval. The printer shall print all scales transactions including tares, voided tickets, and data changes made by the scale operator. The printer shall allow for the paper to be manually advanced so that the scale operator can write notes on the paper when special situations occur such as voided tickets, incorrect hauling unit number used, etc., which shall also be noted in the Scales Diary as provided under Subsection 109-1.02, Measurement of Quantities.

Transaction Summary Reports will be printed concurrently, or at the end of the shift in the case of a commercial scale if approved by the Engineer. The Report shall include the following information:

a.	Project number (first 5 characters of Field 11, PROJECT).

b.	Date (Field 2, DATE).

c.	Pay item.

d.	Materials source number (last 3 or first 2 characters of Field 10, PRODUCT, at the Engineer’s option).

e.	Sequential ticket number, or load number, at the Engineer’s option.

The sequential weigh ticket number shall be set to “1” at time 0:00 (12:00 PM) or prior to the first load being hauled at the beginning of each shift for each unique project number, pit number, and pay item combination. The project information, date, pay item, hauling unit identification number(s), their MAVW’s, and the scale operator’s name shall also be able to be set by the scale operator. Tare weights shall only be able to be changed by a tare weighing operation.

DATA DISKETTES

The electronic computerized weigh system shall also provide the Engineer with a 3½-inch high-density diskette at the end of the shift. The disk shall record all ticket information which was produced during the shift.

The data shall be stored in two files with the same information but different formats. The first file shall be in dBASE IV format (IBM) and shall be useable by the program without any conversion or manipulation. The naming convention for this file shall be “yymmdd.dbf”. The second file shall be a raw data file in ASCII format with fields separated by commas, character fields enclosed in double quotes, a carriage return at the end of each record, and an end-of-file-mark following the last record. The naming convention for this file shall be “yymmdd.csv”. If more than one scale is used on the Project, a scale location designation acceptable to the Engineer shall be utilized for the 7th and 8th characters of the filename.

If the Contractor is hauling from a permanent commercial scales operation, then the commercial vendor shall download his hard drive directly to a disk with out conversion or manipulation at the end of the shift. He shall also provide conversion programs and training so that data can be converted into the information the Engineers requires.

In the event both data files on the diskette are not completely useable to obtain all truck weighing data, the Contractor shall correct, construct, or reconstruct the data file utilizing the sequential Transaction Summary Report or other information, as directed by the Engineer, as a data source. No payment will be made for any hauled material on a given date until an accurate “daily” data file has been delivered to the Engineer. If written permission is obtained from the Engineer to weigh without the electronic computerized weighing system for a minor equipment failure, a data file, acceptable to the Engineer, shall be constructed as described above.

The fields for each record shall be in the following format and order. Other data fields may also be provided but shall follow the fields in the required format.

|  | Field | Field Name | Type | Width |
| --- | --- | --- | --- | --- |
|  | 1 | TKT | Character | 4 (right justified w/leading blanks) |
|  | 2 | DATE | Character | 8 (mm/dd/yy) |
|  | 3 | TIME | Character | 5 (hh:mm) (24 hour) |
|  | 4 | UNIT_ID | Character | 5 (right justified w/leading blanks) |
|  | 5 | MAVW | Numeric | 6 (pounds) |
|  | 6 | GROSS | Numeric | 6 (pounds) |
|  | 7 | TARE | Numeric | 6 (pounds) |
|  | 8 | NET | Numeric | 6 (pounds) |
|  | 9 | COMMENTS | Character | 20 |
|  | 10 | PRODUCT | Character | 20 |
|  | 11 | PROJECT | Character | 20 |

The system shall be able to generate the summary report, either during or at the end of the day or shift, which summarizes the number of loads and total net weight for each Date, Project, and Product. The original of the end of day report shall be given to the Engineer at the end of each shift.

A user instructional manual shall be available for each scale which explains the complete scale operation. A copy of this manual shall be kept in each scalehouse and be available for review by the Engineer at all times.

In the event that extra construction engineering expenses are incurred due to checking non-machine data entries or other data irregularities, an amount equal to the value of those expenses will be deducted from the value of the item before payment.

(5/2/96)R211

644-4.01 BASIS OF PAYMENT. Delete the sixth paragraph and substitute the following: Field Transportation. The price per vehicle will be full compensation for furnishing the vehicle, fuel, and all required maintenance and insurance.

Add the following: Electricity, propane and water supplied for the State provided portable asphalt lab will not be paid for separately, but will be subsidiary to Item 644(2) Field Laboratory.

R63A

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

644(6)	Engineering Transportation	Each

Add the following Section:

SECTION 645

TRAINING PROGRAM

Special Provisions

645-1.01 DESCRIPTION. This Training Special Provision implements 23 CFR 230, Subpart A, Appendix B.

As part of the Equal Employment Opportunity Affirmative Action Program, the Contractor shall provide on-the-job training aimed at developing full journey status in the type of trade or job classification involved. The number of individuals to be trained and the number of hours of training to be provided under this contract will be as shown on the bid schedule.

645-2.01 OBJECTIVE. Training and upgrading of minorities and women toward journey status is the primary objective of this program. The Contractor shall enroll minorities and/or women, where possible, and document good faith efforts prior to the hire of non-minority males in order to demonstrate compliance with this Training Special Provision. Specific good faith efforts required under this Section for the recruitment and employment of minorities and women are found in the Federal EEO Bid Conditions, Form 25A301, items 7.b, 7.c, 7.d, 7.e, 7.I, 7.j, and 7.1, located in the "green pages" of this document.

645-3.01 GENERAL. The Contractor shall determine the distribution of the required number of apprentices/trainees and the required number of hours of training among the various work classifications based upon the type of work to be performed, the size of the workforce in each trade or job classification, and the shortage of minority and female journey workers within a reasonable area of recruitment.

Training will be provided in the skilled construction crafts unless the Contractor can establish prior to contract award that training in the skilled classifications is not possible on a project; if so, the Department may then approve training either in lower level management positions such as office engineers, estimators, and timekeepers, where the training is oriented toward construction applications, or in the unskilled classifications, provided that significant and meaningful training can be provided. Some offsite training is permissible as long as the training is an integral part of an approved training program and does not comprise a significant part of the overall training.

Credit for offsite training hours indicated above may only be made to the Contractor where the apprentices/trainees are concurrently employed on the project and the Contractor does one or more of the following: contributes to the cost of the training, provides the instruction to the apprentice/trainee, or pays the apprentice's/trainee's wages during the offsite training period.

Where feasible, 25 percent of apprentices or trainees in each occupation shall be in their first year of apprenticeship or training.

Prior to award of the contract, the Contractor shall submit Form 25A311, Training Utilization Report, indicating the training program to be used, the number of apprentices/trainees to be trained in each selected classification, the number of hours of training to be provided, and the anticipated starting time for training in each of the classifications.

Training must begin within 2 weeks of the anticipated start date(s); unless otherwise authorized by a Directive. Such authorization will be made only after submission of documentation by the Contractor, and approval by the Engineer, of efforts made in good faith which substantiate the necessity for a change.

Contractors may use a training program approved by the U.S. Department of Labor, Bureau of Apprenticeship & Training (USDOL/BAT), or one developed by the Contractor and approved prior to contract award by the Alaska Department of Transportation and Public Facilities (ADOT&PF) Training Program Representative, using Form 25A310.

The minimum length and type of training for each classification will be established in the training program selected by the Contractor. Training program approval by the Department for use under this section is on a project by project basis.

It is expected that each apprentice/trainee will begin training on the project as soon as feasible after start of work utilizing the skill involved and remain on the project as long as training opportunities exist or until training has been completed. It is not required that apprentices/trainees be continuously employed for the duration of the contract.

If, in the judgement of the Contractor, an apprentice/trainee becomes proficient enough to qualify as a journey worker before the end of the prescribed training period and the Contractor employs that individual as a journey worker in that classification for as long as work in that area remains, the individual's training program will be considered completed and the balance of training hours required for that apprentice/trainee shall be waived.

The Contractor shall furnish each ADOT&PF training program trainee a copy of the program (Form 25A310) to be followed during training on the project, and with a written certification showing the type and length of training completed on the project. Existing USDOL/BAT apprentices should already have a copy of their program. No employee shall be employed for credit as an apprentice/trainee in a classification in which that employee has previously worked at journey status or has previously completed a training course leading to journey status.

The Contractor shall periodically review the training and promotion potential of minority and women employees and shall encourage eligible employees to apply for such training and promotion.

The Contractor shall provide for the maintenance of records and the furnishing of periodic reports documenting the progress of each apprentice/trainee. The Contractor must submit Form 25A313 by the 15th of each month and provide each ADOT&PF trainee written evaluation reports for each unit of training provided as established on Form 25A310.

645-3.02 WAGES. Trainees in ADOT&PF approved training programs will be paid prevailing Davis-Bacon fringe benefits plus at least 60 (but less than 100) percent of the appropriate minimum journey rate specified in the contract for the first half of the training period, at least 75 (but less than 100) percent for the third quarter of the training period, and at least 90 (but less than 100) percent for the last quarter of the training period. Trainee wages shall be identified on Form 25A310. Apprentices in USDOL/BAT training programs shall be paid in accordance with their approved program. Beginning wages of each trainee/apprentice enrolled in a Section 645 Training Program on the project shall be identified on Form 25A312.

645-3.03 SUBCONTRACTS. In the event the Contractor subcontracts a portion of the work, he shall determine how many, if any, of the apprentices/trainees are to be trained by the subcontractor. Any such subcontracts shall include this Section 645, Form 25A311 and Form 25A310, where appropriate. However, the responsibility for meeting these training requirements remains with the Contractor; compliance or non-compliance with these provisions rests with the Contractor and sanctions and/or damages, if any, shall be applied to the Contractor in accordance with subsection 645-5.01, Basis of Payment.

645-4.01 METHOD OF MEASUREMENT. The Contractor will be credited for each approved apprentice/trainee employed on the project and reimbursed on the basis of hours worked, as listed in the certified payrolls. There shall be no credit for training provided under this section prior to the Contractor's submittal and approval by the Engineer of Form 25A312 for each apprentice/trainee trained under this Section. Upon completion of each individual training program, no further measurement for payment shall be made.

645-5.01 BASIS OF PAYMENT. Payment will be made at the contract unit price for each hour of training credited. Where a trainee or apprentice, at the discretion of the Contractor, graduates early and is employed as a journey worker in accordance with the provisions of subsection 645-3.01, the Contractor will receive payment only for those hours of training actually provided.

This payment will be made regardless of any other training program funds the Contractor may receive, unless such other funding sources specifically prohibit the Contractor from receiving other reimbursement.

Payment for training in excess of the number of hours specified on the approved Form 25A311, may be made only when approved by the Engineer through Change Order.

Non-compliance with these specifications shall result in the withholding of progress payments until good faith efforts documentation has been submitted and acceptable remedial action has been taken.

Payment will be at the end of the project following the completion of all training programs approved for the project. No payment or partial payment will be made to the Contractor if he fails to do any of the following and where such failure indicates a lack of good faith in meeting these requirements:

1.	provide the required hours of training (as shown on the approved Form 25A311),

2.	train the required number of trainees/apprentices in each training program (as shown on the approved Form 25A311), or,

3.	hire the apprentice/trainee as a journey worker in that classification upon completion of the training program for as long as work in that area remains.

Failure to provide the required training damages the effectiveness and integrity of this affirmative action program and thwarts the Department's federal mandate to bring women and minorities into the construction industry. Although precise damages to the program are impractical to calculate, they are at a minimum, equivalent to the loss to the individuals who were the intended beneficiaries of the program. Therefore, where the Contractor has failed, by the end of the project, to provide the required number of hours of training and has failed to submit acceptable good faith efforts documentation which establishes why he was unable to do so, the Contractor will be assessed an amount equal to the following damages to be deducted from the final progress payment:

Number of hours of training not provided, times the journey worker hourly scale plus benefits. The journey worker scale is that for the classification identified in the approved programs.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

645(1)	Training Program,	Labor Hour

3 Trainees/Apprentices

(10/29/91)S16

Add the following Section:

SECTION 646

EQUIPMENT RENTAL

Special Provisions

646-1.01 DESCRIPTION. This item consists of furnishing construction equipment, operated, fueled and maintained, on a contingent sum basis for use in construction of extra or unanticipated work at the direction of the Engineer. Construction equipment is defined as that equipment actually used for performing the items of work specified and shall not include support equipment such as, but not limited to, hand tools, power tools, electric power generators, welders, small air compressors and other shop equipment needed for maintenance of the construction equipment.

The work is to be accomplished under the direction of the Engineer, and the Contractor's operations shall at all times be in accordance with the Engineer's instructions. These instructions by the Engineer shall be to the Contractor's supervisory personnel only, not to the operators or laborers. In no case shall these instructions by the Engineer be construed as making the Department liable for the Contractor's responsibility to prosecute the work in the safest and most expeditious manner.

646-2.01 EQUIPMENT FURNISHED. In the performance of this work, the Contractor shall furnish, operate, maintain, service, and repair equipment of the numbers, kinds, sizes, and capacities set forth on the Bid Schedule or as directed by the Engineer. The operation of all equipment shall be by skilled, experienced operators familiar with the equipment.

The kinds, sizes, capacities, and other requirements set forth shall be understood to be minimum requirements. The number of pieces of each equipment to be furnished and used shall be as the Engineer considers necessary for economical and expeditious performance of the work. The equipment shall be used only at such times and places as the Engineer may direct.

All equipment shall be in first-class working condition and capable of full output and production. The minimum ratings of various types of equipment shall be as manufactured and based on manufacturer's specifications. Alterations will not be considered acceptable in achieving the minimum rating. Equipment shall be replaced at any time when, in the opinion of the Engineer, their condition is below that normal for efficient output and production.

All equipment shall be fully operated, which shall be understood to include the operators, oilers, tenders, fuel, oil, air hose, lubrication, repairs, maintenance, insurance, and all incidental items and expenses.

646-2.02 EQUIPMENT OPERATORS AND SUPERVISION PERSONNEL. Equipment operators shall be competent and experienced and shall be capable of operating the equipment to its capacity. All personnel furnished by the Contractor shall be, and shall remain during the work hereunder, employees solely of the Contractor.

The Contractor shall furnish, without direct compensation, a job superintendent or Contractor's representative together with such other personnel as are needed for Union, State, or Federal requirements and in servicing, maintaining, repairing and caring for the equipment, tools, supplies, and materials provided by the Contractor and involved in the performance of the work. Also, the Contractor shall furnish, without direct compensation, such transportation as may be appropriate for the personnel.

646-3.01 CONSTRUCTION REQUIREMENTS. The performance of the work shall be in accordance with the instructions of the Engineer, and with recognized standards and efficient methods.

The Contractor shall furnish equipment, tools, labor, and materials in the kinds, number, and at times directed by the Engineer and shall commence, continue, and stop any of the several operations involved in the work only as directed by the Engineer.

Normally, the work is to be done when weather conditions are reasonably favorable, six (6) days per week, Mondays through Saturdays, holidays excepted.

The Engineer will begin recording time for payment each shift when the equipment begins work on the project. The serial number and brief description of each item of equipment listed in the bid schedule and the number of hours, or fractions thereof to the nearest one-quarter hour, during which equipment is actively engaged in construction of the project shall be recorded by the Engineer. Each day's activity will be recorded on a separate sheet or sheets, which shall be verified and signed by the Contractor's representative at the end of each shift, and a copy will be provided to the Contractor's representative.

646-4.01 METHOD OF MEASUREMENT. The number of hours of equipment operation to be paid for shall be the actual number of hours each fully operated specified unit of equipment, or each fully operated specified combination of units of equipment, is actually engaged in the performance of the specified work on the designated areas in accordance with the instruction of the Engineer. The pay time will not include idle periods, and no payment will be made for time used in oiling, servicing, or repairing of equipment, or in making changeovers of parts to the equipment. Travel time to or from the project, will not be authorized for payment.

646-5.01 BASIS OF PAYMENT. Item 646(2) Wide Pad Dozer, 65-HP Min., will be paid on a contingent sum basis at the rate of $150.00 / hour.

The contingent price per hour for the equipment shown above shall be full compensation for furnishing, operating, maintaining, servicing and repairing the equipment, and for all incidental costs related to the equipment. Furnishing and operating of equipment of heavier type, larger capacity, or higher wattage than specified will not entitle the Contractor to any extra compensation.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

646(2)	Wide Pad Dozer, 65-HP Min.	Contingent Sum

(3/10/98)R15a

SECTION 661

ELECTRICAL LOAD CENTERS

Special Provisions

Add the following subsection:

661-1.02 EQUIPMENT LIST(S) AND DRAWINGS. The Contractor shall submit for review and approval, within 30 days following award of the contract, 8 collated copies of a portfolio of equipment and materials which he proposes to install. The portfolio(s) shall consist of a table of contents which includes each item's intended use(s) and the following:

1.	For materials on the Approved Products List: a description that includes product name, manufacturer, model or part number, and the conditions listed for approval.

2.	For materials not on the Approved Products List: catalog cuts that include the manufacturer's name, type of product, size, model number, conformance specifications, and supplemented by other data as may be required, including manufacturer's maintenance and operations manuals, or sample articles.

This information may be included in the portfolio for 660 items.

The Department will not be liable for any material purchased, labor performed, equipment used, or delay to the work before all equipment and materials have been reviewed and approved.

661-2.01 MATERIALS. Delete the second paragraph and substitute the following:

All electrical materials, devices, fittings and hardware shall be listed by Approved Independent Electrical Testing laboratories; such as UL, ETL, CSA, etc, and conform to applicable PUBLISHED NEMA and ANSI standards. Service disconnects shall be labeled as suitable for use as service equipment by the equipment testing laboratory.

Delete the fourth paragraph and substitute the following: The service rating shall be single-phase, three-wire 120/240 volt, or 240/480 volt circuit breaker panelboards, with separate neutral and ground busses. The rating of the main circuit breaker and/or power bus shall be equal to, or exceed the rating noted on the Load Center Summary for each location. Nominal bus bar ratings for circuit breaker panels are 70, 100, 125, 150, 200, 225, and 400 amp. Load panels shall conform to Federal Specification W-P-115C Type I, Class 1 - Circuit breaker Panelboards. Three-phase, four-wire load centers rated 120/208 volt and 277/480 volt shall be used when specified in the load center summary. Unless otherwise noted, the interrupting capacity of the circuit breakers shall not be less than 10,000 AIC at rated voltage.

In the sixth paragraph, change“XHHW” to “XHHW-2".

Delete the eight paragraph and substitute the following: Circuit breakers shall be molded-case thermal-magnetic types, and single trip indicating switch handle. Shall have an enclosed toggle type operating mechanism with quick-break/quick break action and shall have a trip-free disconnect from the switch handle that will prevent the contacts from being held in the closed position. The circuit breakers shall have the frame size, interrupting capacities and trip indicators clearly marked on the case. Multi-pole circuit breakers shall have a common trip mechanism. Contacts shall be silver alloy enclosed in an arc quenching chamber. Overload trip ratings shall be self compensating for ambient temperatures from -10ºC. To 60ºC. Minimum interrupting ratings for circuit breakers shall not be less than 10,000 AIC at rated voltage. Series interrupting capacity ratings of circuit breakers is permitted.

Delete the eleventh paragraph and substitute the following: All meter sockets mounted in Type 1 load centers with internal mounted meters shall be equipped with manual circuit closing by-pass devices. The by-pass devices may be either the link or lever types. The horn and sliding types are not acceptable. All load centers with internal mounted meters shall be safety socket type, i.e. with provisions for deenergizing the meter jaws. The test section cover shall be sealable with a .047 inch stainless steel bail padlock.

Delete the twelfth paragraph.

Delete the thirteenth paragraph and substitute the following: Transformers in load centers containing load panels of different nominal voltages, shall be isolated winding types with primary and secondary voltages, and KVA ratings as noted on the plans. Transformers shall carry rated volt ampere rating continuously without exceeding a 115oC temperature rise above a 40oC ambient temperature.

Where installed outside of the load center enclosure, the transformer, shall be a non-ventilated type fabricated from aluminum, stainless steel, or galvanized steel, and filled with high-melting point, thermal setting, or epoxy insulating compounds to prevent moisture from entering the winding enclosure. Enclosures fabricated from sheet metal shall be coated with moisture resistant paint. Transformer leads shall be insulated with non-hygroscopic material and shall extend 9 inches beyond the winding chamber seal.

Add the following: Type 2 and Type 3 load center enclosures shall be NEMA type 3R.

661-3.01 CONSTRUCTION REQUIREMENTS. Delete the third paragraph and substitute the following: The Contractor shall install a rigid metal conduit of the size shown in the plans, at a 30 inch depth, from the load center and extend it to a location 2 feet from the power source. He shall install a pull rope or wire, 200 pound test, in the conduit, cap the end, and mark the terminus with a 40 inch long 2x4 inch wood stake or No. 6 rebar with a large radius protective cap, driven so that the end of the stake or rebar extends 2 inches above the ground.

In the fifth paragraph, replace “UL labeled” with the phrase “ listed by Approved Independent Electrical Testing Laboratories”.

In the seventh paragraph, add the following to the end of the first sentence: "for lighting and thaw wire circuits".

Delete the ninth paragraph and substitute the following: Load centers controlling lighting, or other automatic function, shall contain a three-position switch, depicted in the load center drawings for each controlled function. Contacts shall be rated 10 amps at the control voltage (240 volts minimum). Switch shall be labeled "(Describe controlled function)" and the switch positions shall be labeled "Automatic", "Off" and "On". All fuses shall be mounted in dead-front fuse holders with lighted blown fuse indicators, and labeled to indicate function and fuse amp rating. Fuse holders and control switch(s) shall be mounted in the load center distribution section.

Add the following: Provide a typewritten circuit directory for each load panel, inside of the load center door, protected by a plastic cover, describing each circuit. Circuit numbers shall be odd numbered on the left side of the panel, and even numbered on the right side. Provide a power and control one-line diagram protected by a laminated plastic cover inside of the load center.

661-5.01 BASIS OF PAYMENT. Add the following: The costs of the load centers serving only Automatic Traffic Recorders, including payment of any fees required by the Authority Having Jurisdiction for inspection of the load center and the costs of correcting the deficiencies noted during the inspection, shall be considered incidental to Item 669(1) Automated Traffic Recorder.

R213

Add the following Section:

SECTION 669

AUTOMATED TRAFFIC RECORDER STATIONS

Special Provisions

669-1.01 DESCRIPTION. This work shall consist of furnishing and installing, Automatic Traffic Recorder, stations for the automated collection of traffic data. An Automated Traffic Recorder (ATR) station is a vehicle detection system, and may contain a traffic volume counter (VC), an automated vehicle classifier (AVC), a weigh in motion (WIM) system and/or other equipment. ATRs are operated and maintained by personnel of the Highway Data Section (HDS); main office located at 2200 E. 42nd Street, phone (907) 269-0885 or 269-0876.

The AVC stations in this project consist of two inductive loops and a piezoelectric axle sensor mounted in the pavement between the loops, in each lane. All wiring from the sensors is run underground in conduit and connected to a set of electronics located in a cabinet at the side of the road. The dual inductive loops detect the presence and speed of passing vehicles, and the axle sensor determines the number and center-to-center spacing of all axles on the vehicle. The raw data is processed by the electronics to classify the number and type of vehicles, which is stored in the electronics for later retrieval.

The VC stations in this project consist of one inductive loop, mounted in the pavement, in each lane either independent of, or in conjunction with AVC detectors.

The AVC and VC stations may be configured to collect data on an intermittent or continuous basis.

A general description of the ATR’s on the project is as follows:

Assembly H1-Station 2034+50.

Contains a continuous traffic volume counter, a continuous AVC system in a 2-lane road section. The traffic volume system includes two inductive loops for vehicle detection. The AVC system includes a four inductive loop configuration with two piezoelectric axle sensors for vehicle classification. Electronics for the traffic volume and AVC are housed in a large controller cabinet (Style CBA2). A Type 2, load center will supply 2.5 KVA of electrical power at 120/240V, single-phase, three-wire for system power and cellular telephone service to the cabinet. The multiple systems will be connected to the telephone line through an electronic switch, which enables the data from each unit to be retrieved by a computer located at the HDS offices. All loops, sensors, cabinet, GK volume counter, AVC, electronics, telephone modem, and remotely controllable code operated switch shall be supplied, installed and commissioned by the Contractor.

669-1.02 REGULATIONS AND CODE. All materials and workmanship shall conform to the standards of the Underwriter's Laboratories, Inc. and the National Electrical Safety Code and local safety code requirements, where applicable.

All electrical equipment shall conform to the standards of the National Electrical Manufacturer's Association, where applicable.

669-2.01 MATERIALS. All materials provided for the work shall be new, and shall meet the following requirements:

1.	Wiring. All wiring shall be in accordance with subsection 660-2.09(A), Wiring. All single wire conductors and cables shall have clear, distinctive and permanent markings on the outer surface throughout the entire length giving the manufacturer's name or trademark, the insulation type-letter designation, the conductor size, voltage rating and the number of conductors if a cable. All wires and cables must be home run labeled for field location in each junction box and cabinet; for example, W1SLA (for wire) and GaSLA (for cable).

2.	Conduit. All conduit shall be in accordance with subsection 660-2.05, Conduit. All conduit, except for PVC conduit forming the inductive loops, shall be galvanized rigid metal.

3.	Junction Boxes. All junction boxes shall be in accordance with subsection 660-2.06, Junction Boxes. Junction boxes used for loops and sensor wires shall not contain any wiring or conduit greater than 24 volts. The covers of all junction boxes used for loops or sensor wires shall be labeled “TRAFFIC”. Junction boxes for 120/240 electrical service shall be kept completely separate from junction boxes containing loop or sensor wiring. The covers of all junction boxes used to provide electrical service to ATR installations shall be labeled 'ELECTRIC'.

4.	Terminal Blocks. All terminal blocks shall be provided with nickel, silver or cadmium plated brass binder head screw terminals. Terminal blocks shall be a barrier type, 600 VAC, @ 20 amps, capacity for 12-18 AWG wire with removable shorting bars in each position and with integral type marking strips. All conductors shall be terminated to a terminal block, including unused or spares.

5.	Inductive Loops. All inductive loops shall be in accordance with subsection 660-2.08, Conductors. Conductors used for detector inductive loops shall be 14 AWG copper in polyethylene tubing conforming to IMSA 51-5.

Loop lead-in cable home run shall consist of a twisted pair 18 AWG stranded tinned copper wire with polyethylene insulation, covered with an aluminum foil shield, stranded copper drain wire, and PE outer jacket conforming to IMSA specification 50-2.

Multiple pair loop lead-in cable shall consist of 18 AWG stranded tinned copper wire with each twisted pair containing a 20 AWG tinned copper drain wire, an aluminum shield and overall PVC or PE jacket.

6.	Cabinets. The control cabinet(s) shall be installed according to subsection 660-4.01, Installation Details.

Style CBA1 cabinets. Shall be mounted on a pedestal which is supported with a foundation per standard details as noted on the plans.

Style CBA2 cabinets. All cabinets shall meet or exceed a NEMA 3R rating. All cabinets shall be third party certified as an assembly. Style CBA2 cabinets shall meet the following requirements:

a.	Cabinet Dimensions. The cabinet shall be 40" high, 22" wide, and 15" deep. The cabinet shall be mounted on a slip-base post as shown in the plans.

b.	Cabinet Construction. The cabinet and door shall be constructed from 5052-H32 or better sheet aluminum alloy which has a minimum thickness of .124 inch. The cabinet shall be unpainted, with a smooth grain finish on the exterior. All welds shall be neatly formed and free of cracks, blow holes and other irregularities. All inside and outside edges of the cabinet shall be free of burrs. The cabinet shall be designed with a sloped top to prevent the accumulation of water on its top surface.

c.	Door. The door opening shall be double flanged on all four sides which increases strength around openings and keeps dirt and liquids from entering the enclosure when the door is opened. A door restraint shall be provided to prevent door movement in windy conditions. The cabinet door shall be a minimum of 80% of the front surface area and shall be hinged on the right side when facing the cabinet. The door shall be furnished with a gasket that satisfies the physical properties found in UL508 table 21.1 and shall form a weather tight seal between the cabinet and the door. The hinge shall be continuous and made either of stainless steel or of a minimum of .09 inch thick aluminum. The hinge shall either be securely welded along a quarter or more of its length, or bolted to the cabinet utilizing stainless steel bolts and non-slip nuts.

d.	Latch/Lock. The latching mechanism shall be a 3-point draw roller type. The center catch and pushrods shall be either stainless steel or cadmium plated, Type II Class 1, equal or better. Rollers shall have a minimum diameter of .75 inch and will be made of nylon. A stainless steel operating handle shall be furnished with a .75 inch shank. The lock shall be a Corbin #2 lock keyed to match existing Highway Data Section (HDS) cabinets. Two keys shall be furnished with each lock.

e.	Shelves. Adjustable equipment shelves shall be mounted on "C" mounting channels inside of cabinet and be supported on both sides. There shall be 2 vertical channels mounted on both sides of the cabinet and on the back, for a total of 6 inside each CBA2 cabinet. Shelves shall be constructed from 5052-H32 or better sheet aluminum alloy with a minimum thickness of .124 inch. The shelf depth shall be a minimum of 10.5 inches. Shelves shall be adjustable to within 4 inches of the bottom and to within 8 inches of the top of the cabinet.

f.	Ventilation. Ventilation shall be provided with louvered vents in the front door with a removable air filter. Louvers shall satisfy the NEMA rod entry test for 3R ventilated cabinets. The filter shall cover the vents and shall be held firmly in place with bottom and top brackets and a spring-loaded top clamp. Exhaust air shall be vented out between the top of the cabinet and the door.

g.	Terminal Blocks. Terminal Blocks in CBA2 cabinets shall be mounted horizontally to the inside lower left side of the cabinet.

Style CBA2 cabinets which include electrical service shall also meet the following requirements:

h.	Circuit Breaker Panel. There shall be an enclosed circuit breaker panel mounted on the inside lower right towards the rear of the cabinet. The panel shall be a 40 Amp (minimum) MLO, 120/240 Volts, Two-Pole, 3 wire, type with separate neutral and ground buses in a NEMA 1 enclosure. Circuit breakers shall consist of two 20 amp single-pole types with a minimum short-circuit interrupting rating of 10,000 AIC. Surge protection shall be provided with the CB panel board either as a stand alone Transient Voltage Surge Suppressor (TVSS), [500 volt @ 3000 amps], mounted in the panel, or integral to the circuit breakers such as the Siemans model QSA2020TVSS. Circuit breaker #1 to serve the receptacles, and circuit breaker #2 to serve the heater, cooling fan, and cabinet light.

i.	Receptacles. Provide two, Class-A [5 ma], ground fault circuit interrupting (GFCI), NEMA 5-20 [125 volt, 20 amp], Hospital Grade, duplex receptacles with indicating lights that are lighted when power is available [Leviton #6898-HG, Equal or better], in a common outlet box, with a metal face plate, and mounted on the left inside surface of the cabinet above the terminal blocks. Provide a second set of the same two GFCI duplex NEMA 5-20 receptacles in a common outlet box mounted on the left inside surface of the cabinet below the top shelf. Circuit both sets of receptacles to one single-pole, 20 amp circuit breaker

j.	Cooling Fan. A thermostatically controlled fan in the top of cabinet shall operate at a setable high temperature limit and exhaust air through a filtered and hooded vent at the top front of the cabinet. Set integral thermostat at a temperature lower than the thermostat noted in item “m” below so that fan is controlled by the auxiliary thermostat, and not its integral thermostat.

k.	Light. The interior light fixture shall be a fluorescent, 120 volt single-tube or compact twin-tube lamp rated 13 watts minimum with a ballast that will start the lamp at temperatures down to 0 F. Lightway Industries model TW13 (Equal or better). The light to be switched by a single pole switch with a locator light in the toggle, Leviton # 5501-LHI (Equal or better), mounted inside of the door.

l.	Heater. A fan forced electric cabinet heater rated 800 to 1000 watts @ 120 VAC, similar or equal to Hoffman DAH8001B shall be installed and thermostatically controlled. Set the integral thermostat at a temperature higher than the thermostat noted in item “m” below so that the heater is controlled by the auxiliary thermostat and not its integral thermostat.

m.	Thermostats. Thermostats for the cabinet heater and cooling fan shall be remote bulb types with SPDT contacts rated for 16 amps @ 120 VAC for combined motor and resistive loads. Thermostats shall be Tradeline T6031A1029 (equal or better, White-Rogers, Johnson Controls, or Sunne brands). Thermostats for the “Heater” shall have a contact that closes on lowering temperature and set at 50 degrees F. The thermostat for the “Cooling Fan” shall have a contact that closes on rising temperature and set at 90 degrees F. Mount sensing bulbs as shown on the cabinet drawings.

n.	Certification: Third party certification of the CBA2 Cabinet Assembly is required. The Cabinet Assembly consists of the cabinet itself and all high voltage (greater than 24 volts) components that are permanently installed, including the CB panel, receptacle, light and fan. The Contractor must obtain certification through an authorized local or national testing agency that complies with the American National Standards for Certification, Third-Party Certification program, ANSI Z34.1-1987, including but not limited to; Electrical Testing Laboratories (ETL), Underwriters Laboratories (UL), Canadian Standards Association (CSA), Electro Test Incorporated (ETI) or other certified testing agency recognized by the State of Alaska, Department of labor.

o.	Timer Resets. Electronic digital timer with internal battery backup shall be installed on the power to the code switch and modem. The timer shall be set to momentarily turn OFF power at 1:40 AM and ON at 1:42 AM each day, causing the modem and code switch to reset. Timer shall be Intermatic Digi-set Model DT1C programmable heavy duty grounded digital timers (equal or better), available from Intermatic Incorporated, Intermatic Plaza Spring Grove , IL 60081-9698 (also available locally). Timers shall meet the following requirements:

I.	Rated Capacity: 15 Amps (1875 Watts) Resistive, 15 Amps (1875 Watts) Inductive, 4 Amps (500 Watts) Tungsten, 1/3 HP Motor Load, 120 Volts AC, 60 Hz.

ii.	ON Time: Max.- 23 Hours, 59 Minutes, Min. - 1 Minute.

iii.	Manual ON/OFF Switch: permits normal use anytime without resetting.

p.	All wiring for all 120V equipment including circuit breaker panelboard, heater, light, vent fan, and power receptacles shall be in EMT, liquid tight metal flex conduit or metal clad. Other low voltage wiring to be terminated on terminal blocks and neatly trained within cabinet using wiring duct or ties.

q.	Keyboard Tray. A retractable tray shall be mounted to the bottom of the shelf at a convenient height for operation of a lap top computer.

7.	Asphalt Pavement. Materials used for asphalt pavement shall conform to Section 401, Asphalt Concrete Pavement for Asphalt Concrete, Type II.

8.	Modem. The Contractor shall supply and install a high-speed modem at Assembly H1. The cellular telephone/modem shall be a Motorola model CTM2400 or equal. The modem shall meet the following requirements:

a.	300, 1200, 2400 4800 9600, 14,800, 28,800, and 56,000 baud selectable

b.	Automatic Answer Mode

c.	MNP10 Level 5 data compression

d.	pulse or touch-tone dialing

e.	Full or Half-duplex operation

f.	Fully compatible with the "AT" command set

g.	Compatible with CCITT V.32, CCITT V.22, Bell 103, and Bell 212A modem specifications

h.	Meets FCC Part 15, FCC Part 68 regulations for direct connection to telephone lines

I.	Hardware flow control

9.	Remotely Controllable Code Operated Switch. The Contractor shall supply and install a remotely controllable code operated switch at Assembly H1. The code operated switch shall be equal or better than a Black Box Model GS-SW540A-R3 with Model RJ-SW541-C 4-port expansion board, available from Black Box Corporation, P.O. Box 12800, Pittsburgh PA 15241, phone (412) 746-5530, FAX 1-800-321-0746. The code operated switch shall meet the following requirements:

a.	minimum eight (8) addressable ports

b.	Speed: 110 to 19,200 bps, each port individually setable

c.	Flow Control: Hardware X-ON/X-OFF

d.	Data Format: 7 or 8 data bits; odd, even, or no parity

e.	Connectors: DB25s (female); DTE/DCE strap-setable

f.	Power: 115 VAC, 60 Hz, 5 watts

10.	Traffic Volume Counter. The Contractor shall supply and install traffic volume equipment at Assembly H1 with the capability of counting traffic in all lanes. The permanent traffic volume counter shall be a GK brand unit available from Northwest Signal Supply, Inc., 17410 Southwest 63rd Avenue, Lake Oswego, Oregon 97035 Ph. (503) 635-4351, Fax (503) 635-4341. The permanent traffic volume counters shall include:

a.	GK model ADR 2000

b.	Loop card

c.	Communications card

d.	Rechargeable battery

e.	2 MB internal memory

f.	Battery charger

g.	Connective cable

h.	Modem cable

I.	User manual

j.	Two (2) year extended warranty

11.	Automated Vehicle Classification (AVC) Counters and Sensors. The contractor shall supply and install a 2-lane automated vehicle classification system at Assembly H1. The AVC counters and piezoelectric axle sensors shall be GK 2000 ADR available from Northwest Signal Supply, Inc., 17410 Southwest 63rd Avenue, Lake Oswego, Oregon 97035 Ph. (503) 635-4351, Fax (503) 635-4341. AVC counters and sensors shall include:

a.	GK Model 2000 ADR

b.	Digital Loop Card

c.	Communications card

d.	Loop cable

e.	Power cable

f.	Axle detector cable

g.	Modem cable

h.	User manual

I.	Rechargeable battery

j.	Battery charger

k.	Piezo axle sensor (1 per lane), with coaxial leads long enough to reach the controller cabinet without splices

l.	Epoxy with hardener for each piezo axle sensor

m.	Digital Piezo Signal Analyzer Card

n.	Two (2) year extended warrantee

669-3.01 CONSTRUCTION REQUIREMENTS.

1.	Field Inspection. The Contractor shall notify the Engineer in writing a minimum of 3 working days (excluding Saturday, Sunday and State or Federal Holidays) before installation (of conduit/wiring, inductive loops, piezoelectric cable axle sensors, and cabinets). Any unacceptable installations shall be corrected and re-inspected for completeness prior to burial or encasement. Any installation buried or encased without approval of the Engineer shall be uncovered, removed, and/or replaced at the Contractor's expense. Any expense or delay in the project scheduling will be the responsibility of the Contractor.

2.	Wiring. All wiring shall be installed in accordance with subsection 660-2.09(A), Wiring. All conductors shall terminate and be soldered to "spade" type terminal lugs.

a.	All unused pairs shall be properly terminated. At junction boxes, unused pairs shall be terminated within splices and labeled. At cabinets, unused pairs shall be terminated to a terminal block and labeled.

b.	All wiring shall have at least two feet of slack cable in each junction box and at least six feet of slack cable available in the equipment cabinet prior to the terminal block.

c.	All wiring shall be labeled in all junction boxes.

3.	Conduit. All conduit shall be installed in accordance with subsection 660-2.05, Conduit or as indicated on the plans. Nylon pull cords shall be left in all conduit larger than 1 inch. Drain holes shall be placed at the low points of all conduit.

4.	Junction Boxes. All junction boxes shall be installed in accordance with subsection 660-2.06, Junction Boxes or as indicated on the plans. Junction boxes used for ATR inductive loops and other sensors shall not contain wiring carrying greater then 12 volts.

5.	Terminal Blocks. All terminal blocks shall be permanently and clearly labeled. All wire pairs shall be permanently and clearly labeled on the block. Wire pairs shall be labeled such that inductive loops and other sensors in the lane nearest to the cabinet are at the top or left side of the block. All conductors shall terminate and be soldered to "spade" type terminal lugs. Terminal Blocks in CBA2 cabinets shall be mounted to the inside lower left side of the cabinet.

6.	Inductive Loops. All inductive loops shall be installed and constructed in accordance with subsection 660-4.01, Installation Details, unless otherwise specified on the plans. In addition:

a.	Placement: The plans are not schematics; installation of the inductive loops shall be centered within the travel lane and shall closely conform to the location and layout of conduit runs shown in the plans. Inductive loops used for AVC within a lane shall be located sixteen feet from leading edge to leading edge with plus-or-minus one inch (+ 1") tolerance.

b.	Loops in Asphalt: All inductive loops installed through existing asphalt paving shall be installed using full-lane-width cuts a minimum of eight feet (8') in length, with the inductive loops centered in the 8' cut with a minimum distance of one foot (1') to the edge of the cut. All edges of the cuts shall be tack-coated during patching to ensure full adhesion. All full-width patches shall be rolled sufficiently to ensure compaction equal or better than the existing asphalt, and to prevent edge ridges or settling of the patch from 'telegraphing' through the final lift asphalt. Compaction tests shall be required at the discretion of the Engineer.

c.	Installation Sequence: All loops installed in new asphalt paving shall be installed immediately prior to final paving of the particular section of road. Installation of loops after final lift paving shall not be permitted.

d.	Loop Size: All inductive loops shall be formed of four turns of wire, and shall be six feet square with plus-or-minus one inch tolerance.

e.	Lead-in Conduit: All lead-in conduit from edge of pavement to the inductive loops shall be straight and perpendicular to the center line of the road. The loops shall be installed such that the weather-sealed cover plate on the 'T' body connector is on the top.

7.	Cabinets. The Engineer shall be consulted prior to cabinet placement.

a.	All cabinets shall be third party certified as a Cabinet Assembly by a nationally recognized independent testing agency (Underwriters Laboratory, etc.). The Cabinet Assembly shall include all electrical service, wiring, circuit breakers, surge protection, receptacles, etc. which carries more than 24 VDC.

b.	All cabinets shall be installed out of the clear zone unless protected by safety barriers.

c.	All cabinets shall be installed with the doors facing away from the road.

8.	Pavement Roughness: There shall be no transverse seams, joints or roughness within fifty feet (50') of any inductive loops placed in asphalt pavement section. The finished surface of the asphalt shall be tested with a straightedge ten (10) feet long. The surface shall not vary more than 0.02 foot from the lower edge of the straightedge in an area within fifty feet (50') of all sensors at the ATR installations. At the discretion of the Engineer, a profilograph equipped with a chart recorder shall be run down each wheelpath of each lane for a distance of fifty feet (50') before and after each ATR installation. The profilograph will be supplied by the Highway Data Section and shall be operated by Contractor personnel. The asphalt surface as recorded by the chart recorder shall not vary more than 0.02 foot in ten feet (10').

9.	Piezoelectric Sensors and Electronics for AVC.

a.	Manufacturer's Recommendations: All permanent piezoelectric sensors shall be installed per AVC equipment manufacturer's recommendations.

b.	Inductive Loops For AVC: Inductive loops for AVC shall be installed prior to final pavement. In asphalt installations, loops shall be placed in the base course (D1 gravel) beneath the asphalt. In concrete pavement installations, the loops shall be placed on saddles above reinforcing steel. Photos shall be taken prior to encasement.

c.	Piezoelectric Sensors for AVC: Piezoelectric sensors for AVC shall be installed in sawcut slots in final pavement. "Blockouts" shall not be used. All coaxial cables shall be run to the equipment cabinet without splices and terminated on the specified terminal block, with at least six feet of slack cable available in the equipment cabinet prior to the terminal block.

Lead-in conduits for both inductive loop wires and coaxial cables for piezoelectric sensors are installed prior to placement of the pavement. Lead-in conduits are run at least beyond the width of the pavement, and may either be run to the junction boxes at this time or after the pavement has been completed. The lead-in conduit for the piezoelectric sensors is capped with tape or sealant.

d.	Acceptance Testing: Acceptance testing shall be performed by the Contractor to ensure compliance with subsection 669-3.02 Acceptance Testing.

11.	Utilities.

a.	Inspection: The Contractor shall request inspection of the Load Center by the Authority Having Jurisdiction, the Department of Labor, Division of Mechanical Inspection (DOL/DMI) for areas outside of incorporated municipalities, or other entities, having inspection authority.

b.	Electrical Utility Connection: After approval of the Load Center by the DOL/DMI the Contractor shall inform the Engineer as to when electrical service is needed at the Load Center, with sufficient time to enable the Engineer to schedule the installation with the Electrical Utility prior to commissioning of the equipment. The Engineer will make arrangements in writing with the Electrical Utility to connect to the Load Center. The Electrical Utility will provide service to the Load Center upon request of the Engineer.

669-3.02 ACCEPTANCE TESTING. The Contractor shall perform acceptance testing on all ATR installations.

1.	General Tests. All ATR installations shall have tests conducted in accordance with subsection 660-4.01, Installation Details.

2.	AVC Acceptance Tests. In addition to the General Tests, Acceptance Tests shall be performed by the Contractor on all AVC installations. Acceptance tests shall be performed to demonstrate that the AVC system performs at or above the required accuracy. A representative of the Highway Data Section will be on-site during final acceptance testing. The Engineer will certify in writing when the installation has met the requirements of the acceptance tests.

a.	Acceptance Tests shall consist of three vehicles which will make ten passes over the AVC sensors in each lane at speeds varying from 25

to 45 miles per hour. The vehicles shall be supplied by the Contractor. Descriptions of the proposed test vehicles shall be submitted in writing by the Contractor at least 24 hours prior to scheduled performance of the test and shall be approved in writing by the Engineer.

b.	The three test vehicles shall consist of a five axle, eighteen wheel single trailer vehicle (FHWA Class 9), a three axle, ten wheel single unit vehicle (FHWA Class 6), and a two axle, six wheel single unit vehicle (FHWA Class 5).

The Class 5 vehicle shall have a minimum spacing of 13.0 feet and a maximum of 23.0 feet between the steering and drive axles, a minimum weight of 2100 pounds and a maximum of 12,000 pounds on the steering axle, a minimum weight of 15,000 and a maximum of 18,000 pounds on the driving axle.

The Class 6 vehicle shall have a minimum spacing of 13.0 feet and a maximum of 23.0 feet between the steering axle and the drive axle group, a minimum of 4 feet and a maximum spacing of 6 feet between the drive axles, a minimum weight of 6000 pounds and a maximum of 12,000 pounds on the front (steering) axle for normal-width tires or a maximum of 18,000 pounds for wide tires, and a minimum weight of 20,000 and a maximum of 38,000 pounds on the rear (drive) axle group.

The Class 9 vehicle shall have a minimum spacing of 13.0 feet and a maximum of 23.0 feet between the steering axle and the drive axle group, a minimum spacing of 4 feet and a maximum of 6 feet between the drive axles, a minimum spacing of 25 feet and a maximum of 45 feet between the drive axle group and the trailer axle group, a minimum spacing of 4 feet and a maximum of 6 feet between the trailer axles, a minimum weight of 6000 pounds and a maximum of 12,000 pounds on the steering axle, a minimum weight of 20,000 and a maximum of 33,000 pounds on the drive axle group, and a minimum weight of 20,000 and a maximum of 38,000 pounds on the trailer axle group.

All three test vehicles shall be fully loaded with non-shifting material to near legal weight limits.

c.	All tires on all three test vehicles shall be inflated to recommended pressures.

d.	The gross weight of the vehicles and the weight of each axle group shall be determined by weighing on a static scale at a scale house operated by the State of Alaska Department of Commerce, Division of Weights and Measures. An axle group is defined as any two axles whose midpoints are within eight feet of each other. For the test vehicles, the Class 9 single trailer vehicle has three axle groups, while the Class 6 and Class 5 each has two axle groups.

e.	Accuracy Requirements - The accuracy of Automated Vehicle Classifiers is such that, if good lane discipline is maintained:

(1)	not more than plus or minus ten percent (+ 10 %) of the total vehicles in FHWA class one through class three (1 thru 3) and,

(2)	not more than plus or minus five percent (+ 5 %) of the total vehicles in FHWA class four through class thirteen (4 thru 13) are classified in the wrong bin when compared with a concurrent manual classification count.

669-3.05 DELIVERABLES. All deliverables shall be submitted to the Engineer prior to final approval of the work or as otherwise called for herein.

1.	Equipment List(s) and Drawings. The Contractor shall submit for review and approval by the Engineer within thirty days following award of the contract, three collated copies of a portfolio of equipment and materials which he proposes to install for the ATRs. The portfolio(s) shall consist of a table of contents which includes each item's intended use(s), and a description that includes product name, manufacturer, and model or part number.

The Materials Submittal shall include a detailed shop drawing of the Style CBA2 cabinet showing the location of all mounted components, including the thermostatically controlled heater, thermostatically controlled exhaust (cooling) fan, switched fluorescent light, shelves, Corbin #2 locks keyed to match existing Highway Data Section cabinets with Corbin locks, Ground Fault Interrupt (GFI) circuit breakers, three sets of four 110 volt receptacles, eight sets of twelve position terminal blocks, surge protectors for all electrical and telephone equipment.

The Department will not be liable for any materials purchased, labor performed, equipment used or delay to the work before all equipment and materials have been reviewed and approved.

2.	Utility Schedule. The Contractor shall submit for review and approval by the Engineer within sixty days following award of the contract, three collated copies of a schedule to install and activate electrical and telephone utilities to the ATR cabinet at Assembly H1. The Utility Schedule will clearly identify in detail what actions will be taken to ensure timely activation of electrical and telephone serve, when the activity will occur, and who is responsible for completing each action. The schedule shall include the name, employer, position title and telephone number of both who is to be contacted and who is to be responsible for completing each action.

3.	As-Built Plans. The Contractor shall prepare four complete sets of as-built plans which will be kept current with the construction. These as-built plans shall detail all construction changes made to the plans and also include the following information on the appropriate sheets:

a.	the location and depth of all inductive loops and conduit runs, and,

b.	The station and offset of all junction boxes.

Redlines of full size construction plans will be acceptable.

Three sets of as-built plans shall be presented to the Engineer, and one set shall be affixed in a waterproof, clear plastic holder to the inside of the cabinet door at the appropriate Automated Traffic Recorder Installation.

4.	Photographs. The Contractor shall present photographs and 35 mm negatives documenting the installation of all inductive loops. The photos shall show the loops in place prior to covering with gravel and asphalt pavement. The photographs shall include at least one view of each loop showing the conduit to the nearest junction box, and at least two overall views of each ATR installation showing placement of the inductive loops. The photographs shall be 5" x 7" color prints, and shall be labeled with the identification of each loop as indicated on the plans (for example; H1 - W1NLA ).

5.	Test Results. Written or printed copies of the final results of all tests, signed by the Contractor, shall be provided to the Engineer prior to acceptance of the Automated Traffic Recorder Installation. Tests will be conducted in accordance with subsection 660-4.01, Installation Details.

Written (computer printout) results and copies of the electronic data files collected during performance of the WIM System acceptance test shall be submitted to the Engineer prior to acceptance of completion of the WIM system.

6.	Manuals. The Contractor shall provide to the Engineer all installation, repair and operation manuals for all traffic volume and classification units.

7.	Materials. The Contractor shall provide to the Engineer, any and all epoxy grout remaining after installation.

669-4.01 METHOD OF MEASUREMENT. The quantity to be paid for will be the completed and accepted Automated Traffic Recorder Installations as shown on the plans or as directed by the Engineer.

669-5.01 BASIS OF PAYMENT.

1.	The contract unit bid price for all Automated Traffic Recorder installations shall be full compensation for furnishing all equipment, labor and materials necessary to complete the work as specified, including excavation, backfill, asphalt concrete pavement, etc.

Traffic Control shall be paid for under the appropriate pay item(s).

2.	Materials, load centers, as-built plans, the manufacturer's representative(s) and acceptance testing required for these installations will not be paid for separately, but will be subsidiary to the Automated Traffic Recorders.

3.	A sum equal to one-tenth (1/10) of the total cost for Item 669(1) shall be withheld until after the Engineer certifies in writing that the installations have passed all Acceptance Tests in subsection 669-3.02 and that all Deliverables in subsection 669-3.05 have been submitted.

4.	The cost of furnishing, installing, inspection, and  the costs of correcting the deficiencies noted during the inspection, of load centers serving only Automatic Traffic Recorders shall be considered incidental to Item 669(1) Automated Traffic Recorder.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

669(1)	Automated Traffic Recorder	Lump Sum

SECTION 670

TRAFFIC MARKINGS

Special Provisions

670-1.01 DESCRIPTION. Delete the first sentence and substitute the following: This work shall consist of placing methylmethacrylate pavement markings as designated on the plans.

670-2.01 MATERIALS. Add the following: Markings shall conform to Subsection 712-2.17, Methylmethacrylate Pavement Markings.

Methylmethacrylate pavement markings shall be applied using an ambient temperature curing, two component methylmethacrylate system for application on either asphalt or cement concrete surfaces. The material shall be free from defects or imperfections which might adversely affect the serviceability of the finished product. It shall be free from dirt and other foreign material and cure to a tough serviceable film.

Glass beads for drop on application shall be those recommended in writing by the striping material manufacturer and as approved by the Engineer.

670-3.01 CONSTRUCTION REQUIREMENTS. Add the following after Item 3:

4.	Methylmethacrylate Pavement Markings.

A manufacturer's representative shall be present on the first day of striping and for all additional days required by the Engineer.

The Contractor shall only install the methylmethacrylate materials when the following conditions are met:

1.	New asphalt pavement has cured to the satisfaction of the manufacturer's representative.

2.	The asphalt pavement surface is thoroughly dry, and the pavement temperature is greater than 32 degrees Fahrenheit and less than 105 degrees Fahrenheit.

3.	The pavement is clean. Remove all dirt, oil, grease, and other foreign matter by approved methods from all pavement areas that will be painted.

The Contractor shall install the methylmethacrylate materials with spray type equipment mounted on a truck, using equipment approved by the Engineer. The equipment shall produce markings with clear-cut edges, a true and smooth alignment, and uniform film thickness. Use equipment made by a company experienced in the design and manufacture of truck mounted sprayers. Minimum requirements include the capability of striping two 4 inch yellow center lines and one 4 inch white edge line simultaneously.

The Contractor shall protect the markings with traffic control devices until they have sufficiently cured to prevent tracking by vehicles running over them. If the pavement markings are tracked, the Contractor shall remove the errant markings at his own expense regardless of who is at fault.

Apply transverse type methylmethacrylate markings at 120 mils thickness, measured without beads. This includes crosswalks, stop bars, symbols, transverse markings between gore and channelization striping, and legend markings.

Apply markings for lane lines, edge lines, and center lines at a thickness of 60 mils, measured without beads.

The Contractor shall complete test strips until the Engineer is satisfied with the yield rate.

From a mechanical dispenser, drop glass beads on the wet stripes at a uniform rate of 20 pounds per gallon of methylmethacrylate material. Mount the mechanical dispenser no more than 1 foot behind the spray nozzle.

670-4.01 METHOD OF MEASUREMENT. Add the following after Item 5:

6.	Gallon Basis: The Engineer will measure the methylmethacrylate material used to form the pavement markings accepted by the Engineer in gallons. The Department will limit the final quantity to 115% of the plan quantity.

670-5.01 BASIS OF PAYMENT. Add the following: For the accepted methylmethacrylate volume, the Department will pay the unit price bid to a maximum of 115% of the plan quantity.

Add the following pay item:

Pay Item No.	Pay Item	Pay Unit

670(11)	Methylmethacrylate Pavement Markings	Gallon

670(11A)	Methylmethacrylate Pavement Markings	Gallon

(3/2/99)R228

SECTION 702

ASPHALT MATERIALS

Special Provisions

702-2.03 EMULSIFIED ASPHALTS. Delete this subsection in its entirety and substitute the following: The STE-1 cationic emulsified asphalt shall comply with the requirements listed below when tested in accordance with ASTM D 244:

TESTS ON EMULSION

Viscosity, Saybolt Furol at 25o C	30 max.

Storage Stability, 1 day, %	1 max.

Demulsibility, 35 ml, 0.8% Sodium dioctyl

sulfosuccinate solution, %	25 min.

Sieve Test, % retained	0.10 max.

Particle Charge	Positive *

Distillation Oil by Volume of Emulsion, %	5 max.

Distillation Residual by Weight of Emulsion, %	45 min.

*	If particle charge test is inconclusive, materials having a maximum pH value of 6.7 will be acceptable.

TESTS ON RESIDUE

Penetration, 25o C, tenths of a mm	100 min./200 max.

Ductility, 25o C, 5 cm/min., cm	40 min.

Solubility in Trichloroethylene, %	97.5 min.

702-2.04 STORAGE AND APPLICATION TEMPERATURES. Add the following to Table 702-1:

| Type and Grade of Material | Spray (oF) | Mix (oF) | Storage (oF) |
| --- | --- | --- | --- |
| STE-1 | 70-140 | 70-150 | 50-125 |
| PG 52-28 | 280+ | 250-295 | 340 Max. |

R183

Standard Modifications

702-2.04 STORAGE AND APPLICATION TEMPERATURES. In Table 702-1, change storage temperatures for ACs from "340 Max" to "325 Max". (5/12/89)M23

SECTION 703

AGGREGATES

Standard Modifications

703-2.01 FINE AGGREGATE FOR CONCRETE. In the first sentence, insert ", class A," after "AASHTO M 6".

Add the following: AASHTO T 104 shall be performed using sodium sulphate solution.

The maximum mass percent of material finer than No. 200 sieve in (a), concrete subject to surface abrasion, shall be 3.0.

703-2.02 COARSE AGGREGATE FOR CONCRETE. In the first sentence, insert ", class B," after "AASHTO M 80".

(7/16/93)M24

Standard Modifications

703-2.03 AGGREGATE FOR BASE. Add the following to the list under the first paragraph:

Plastic Index			AASHTO T-90			6 max

(5/7/91)M45

Special Provisions

703-2.03 AGGREGATE FOR BASE. Delete Table 703-2 and substitute the following:

TABLE 703-2

AGGREGATE FOR UNTREATED BASE

Percent Passing By Weight

| Sieve Designation | Grading D-1 |
| --- | --- |
| 1 inch | 100 |
| ¾ inch | 70-100 |
| _ inch | 50-79 |
| No. 4 | 35-58 |
| No. 8 | 20-47 |
| No. 30 | 10-26 |
| No. 50 | 6-19 |
| No. 200 | 0-6 |

(9/14/93)R117

Special Provisions

703-2.04 AGGREGATE FOR PLANT MIX ASPHALT PAVEMENT. Replace this subsection with the following:

Coarse Aggregate. Coarse aggregate (that material retained on the No. 4 Sieve) shall be crushed stone or crushed gravel and shall consist of sound, tough, durable rock of uniform quality. All material shall be free from clay balls, vegetative matter or other deleterious matters. Coarse aggregate shall not be coated with dirt or other finely divided mineral matter. In addition, coarse aggregate shall meet the following requirements:

| Percent of Wear | AASHTO T 96 | 45 max. |
| --- | --- | --- |
| Degradation Value | ATM T-13 | 30 min. |
| Percent Sodium Sulfate loss | AASHTO T 104 | 9 max. (5 cycles) |
| Percent Fracture | ATM T-4 | 90 min. Single face (Type IIA) 80 min. single face (Type IIB) |
| Thin-Elongated pieces | ATM T-9 | 8% max. |

Fine Aggregate. Fine aggregate (passing the No. 4 sieve) shall meet the quality requirements of AASHTO M 29, including S1.1, Sulfate Soundness Test.

Blended Aggregate. The several aggregate fractions for the mixture shall be sized, graded, and combined in such proportions that the resulting composite blend conforms to the grading requirements of Table 703-3. Blend sand and mineral filler shall be screened to pass the largest sieve opening specified in the asphalt concrete gradation. The fraction actually retained between any two consecutive sieves larger than the No. 100 shall be not less than 2 percent of the total. The size of samples for extraction will be in conformance with AASHTO T 164. Extracted gradations will be determined according to AASHTO T 30.

TABLE 703-3

BROAD BAND GRADATIONS FOR ASPHALT

CONCRETE PAVEMENT AGGREGATE

Percent Passing by Weight

| Sieve Designation | Gradation Designation |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Type I | Type II | Type III |
| 1 inch | 100 | - | - |
| 3/4 inch | 75-90 | 100 | - |
| ½ inch | 60-86 | 75-90 | 100 |
| 3/8 inch | 50-78 | 60-84 | 75-90 |
| No. 4 | 34-62 | 33-70 | 50-78 |
| No. 8 | 24-52 | 19-56 | 32-60 |
| No. 16 | 16-42 | 10-44 | 20-45 |
| No. 30 | 10-32 | 7-34 | 12-34 |
| No. 50 | 8-24 | 5-24 | 8-24 |
| No. 100 | 5-16 | 4-16 | 4-15 |
| No. 200 | 3-8 | 3-7 | 3-8 |

(4/24/98)R200

703-2.07 SELECTED MATERIAL. Add the following to Item 1., Selected Material, type A: It shall have 15 to 55 percent by weight of particles passing the no. 4 sieve.

Standard Modifications

703-2.09 SUBBASE. Move the second sentence of the third paragraph to the second paragraph. (Degradation requirement applies to all gradings.) (5/7/91)M46

SECTION 705

JOINT MATERIALS

Special Provisions

705-2.02 JOINT SEALER. Delete this subsection in its entirety and substitute the following:

Joint Sealant. Joint sealant shall be a rapid cure, 100 percent silicone, self-leveling, two-part formulation, and be cold applied. Acid cure sealants are not acceptable. Silicone sealant shall be compatible with the surface to which it is applied. Silicone sealant shall meet the requirements as shown in Table 1 of this specification.

TABLE 1

RAPID CURE, SILICONE JOINT SEALANT

As supplied:

| TEST | LIMIT | TEST METHOD |
| --- | --- | --- |
| Extrusion rate (grams/minute) | 200-500 | MIL SPEC. 8802 |
| Specific gravity | 1.25-1.35 | ASTM D 1475 |
| Nonvolatile content (% minimum) | 93 | -- |

As installed: at 77F and 50% RH - after 48 hours cure

| TEST | LIMIT | TEST METHOD |
| --- | --- | --- |
| Skin-over time (minutes, maximum) | 20 | -- |
| Joint elongation (% minimum) | 600 | ASTM D 3583 (1) |
| Joint Modulus, psi (at 100% elongation) | 3 - 12 | ASTM D 3583 (1) |

(1)Section 14 modified - pull rate (2 inches/minute) and joint size = ½” x ½” x 2"

Polymer Nosing. Elastomeric nosing material shall consist of a mortar made from a binder (a two-component rapid-curing liquid polymer that cures to a dense, semi-flexible polymer that is resistant to chemicals, weather, abrasion, and impact) and a compatible aggregate.

The binder shall meet the requirements as shown in Table 2 of this specification.

The polymer-based mortar shall meet the requirements as shown in Table 3 of this specification.

TABLE 2

POLYMER NOSING SYSTEM - BINDER

As supplied: Combined liquid components (base and reactor)

| TEST | LIMIT | TEST METHOD |
| --- | --- | --- |
| Mixing ratio | 1:1 by volume | -- |
| Viscosity | 9 - 20 poises (Brook Field model LVT, spindle #2, 30 RPM, 75F ±2) | ASTM D 2393 |
| Color | Black | -- |
| Gel time (minutes) | 25 - 50 | AASHTO M-200 |

As cured: Combined liquid components (base and reactor)

| TEST | LIMIT | TEST METHOD |
| --- | --- | --- |
| Elongation (%) | 40 - 55 | ASTM D 638 (1) |
| Tensile strength (minimum psi) | 900 | ASTM D 638 (1) |
| Shore D hardness at 25C (77F) | 45 - 75 | ASTM D 2240 |

(1) Test method Type 1, molded specimens, .25 inches (6.4 mm) thickness

TABLE 3

POLYMER NOSING SYSTEM - MORTAR

As cured Mortar: Combined liquid components with aggregate

| TEST | LIMIT | TEST METHOD |
| --- | --- | --- |
| Compressive strength, min. (At 24 hours, method B) | 2500 psi | ASTM C579 |
| Bond shear strength, min. | 700 psi | ASTM C 882 |
| Abrasion resistance (Wear Index Taber H-22) | 1.0 maximum | ASTM C 501 |
| Compressive stress, min. | 350 psi | -- |
| Resilience | 70% minimum | -- |

705-2.06 HIGH MOLECULAR WEIGHT METHACRYLATE (HMWM) RESIN. Meet the following requirements:

Viscosity, min.:		25 cps (Brookfield RVT w/UL adapter, 50 rpm at 25 C) (CA Test 434)

Density:			1.02 to 1.05 kg/L at 25 C (ASTM D 1475)

Flash Point, min.:		93 C PMCC (Pinsky-Martens CC)

Vapor Pressure, max.:	1.0 mm Hg at 25 C (ASTM D 323)

Tg (DSC), min.:		58 C (ASTM D 3418)

Gel Time, min.:		60 minutes

The promoter/initiator system for the HMWM resin shall consist of a metal dryer and peroxide.

SECTION 711

CONCRETE CURING MATERIALS

AND ADMIXTURES

Special Provisions

Add the following subsection:

711-2.04 MICROSILICA ADMIXTURE. Microsilica admixture shall conform to AASHTO M307, as modified below:

Table 1 Chemical Requirements

Other compounds, total*, max.,%	7.0

Loss on Ignition, max.,%		4.0

* Include aluminum, ferric, magnesium, and calcium oxides

Table 2 Physical Requirements

Specific Surface, Min.		15 m²/g

SECTION 712

MISCELLANEOUS

Special Provisions

712-2.15 TEMPORARY RAISED PAVEMENT MARKERS. Add the following: The temporary raised pavement markers shall be installed utilizing an approved raised pavement marker flexible bituminous adhesive.

The color of the raised pavement markers shall conform to the color of the marking for which they supplement, substitute, or serve as a positioning guide.

Add the following subsections:

712-2.16 TEMPORARY RAISED PAVEMENT MARKERS FOR SHORT-TERM OPERATIONS, SEAL COATS, AND SURFACE TREATMENTS. The marker shall consist of an L-shaped polyurethane body with retroreflective tape on the top vertical section and with a self-adhesive base. Both faces of the yellow marker and one face of the white marker shall be reflectorized. The marker body shall be made from 0.060 inch minimum thick polyurethane; the vertical leg shall be approximately 2 inches high by 4 inches wide and the base approximately 1-1/8 inches wide. The polyurethane body shall conform to Table 712-1.

The adhesive shall be factory-applied to the marker base, and made of a pressure-sensitive material, a minimum 1/8 inch thick and 3/4 inch wide, with release paper.

Where chip seals, slurry seals or tack coats are to be utilized after placement of the temporary raised pavement markers, the markers shall come with a protective cover made of clear flexible polyvinyl chloride.

The reflective tape shall be metalized polycarbonate microprism retroreflective material with acrylic backing or equal, a minimum 0.25 inch wide by 4 inches long, and provide the minimum optical performance shown in Table 712-2, for an observation angle of 0.2 degrees.

TABLE 712-1

| PROPERTY | RESULT | TEST METHOD |
| --- | --- | --- |
| Specific Gravity (min.) | 1.19 | ASTM D-792 |
| Hardness | 80A | ASTM D-2240 |
| Tensile Strength (psi, min.) | 4600 | ASTM D-412 |
| Ultimate Elongation (percent, min.) | 330 | ASTM D-412 |
| Modulus at 300 percent (psi, min.) | 1000 | ASTM D-412 |
| Stiffness @ -20o F (psi, min.) @ +72o F (psi, min.) | 1700 900 | ASTM D-1053 ASTM D-1053 |
| Compression Set 22 hr. @ 70o C (percent, max.) | 65 | ASTM D-395 |
| Taber Abrasion CS17 wheel wt. loss (mg/1000 cycles) | 3 | - |

TABLE 712-2

| Horizontal Entrance Angle | Specific Intensity* |  |  |
| --- | --- | --- | --- |
|  | White | Yellow |
| 0 degrees | 3.5 | 3.0 |
| 30 degrees | 2.7 | 1.7 |

* Candelas per footcandle of illumination at the reflector on a plane perpendicular to the incident light.

(5/7/91)S61

712-2.17 METHYLMETHACRYLATE PAVEMENT MARKINGS.

Quality Requirements: The markings shall be formulated and manufactured from new materials. It shall be free from defects and imperfections that might adversely affect the serviceability of the finished product. It shall be free from dirt and other foreign material and cure within the time specified to a tough serviceable film. Part "A" resin system shall be methyl methacrylate based. Part "B" shall be benzoyl peroxide in liquid plasticizer.

The quality of material supplied shall be that of Dura-Stripe Type V or equal.

Performance Properties:

Viscosity: 5,000 - 12,000 cps (ASTM D2196 Method B, LV Model, Spindle #4 at 60 RPM.

No Tract Time: Material shall be track free after 15 minutes when applied at 40 mils (ASTM D711).

Hardness: Shore Durometer, A-1, 80 minimum after 24 hours.

Tensile Strength: At break, minimum 125 PSI (ASTM D638)

Percent Elongation: Minimum 20% (ASTM D638).

Water Absorption: Maximum 0.5% (ASTM D570).

Chemical Resistance: 				Seven day immersion

Anti-freeze					No effect

Motor Oil					No effect

Diesel Fuel					No effect

Gasoline					No effect

Calcium Chloride				No effect

Sodium Chloride				No effect

Transmission Fluid				No effect

The marking compound shall be resistant to the effects of ultra-violet light.

Adhesion: To Portland Cement, minimum 2000 psi, to asphalt, dependent on tensile failure of the substrate.

Skid Resistance: Minimum 45 (ASTM E303) in units (British pendulum).

Reflectivity: Initial, minimum 200 millicandella (as applied).

Composition: The composition is at the discretion of the manufacturer, but shall be essentially comprised of resins, reactive monomers, pigments, aggregate and glass beads. When mixed in the stated ratio, the material shall cure to 99% minimum by weight and volume solids.

(3/2/99)R228

SECTION 724

SEED

Standard Modifications

724-2.02 MATERIALS. Add the following to Table 724-1:

| Seed Type | Germination Period | Percent Purity | Percent Germination | Percent Sproutable Seed |
| --- | --- | --- | --- | --- |
| Bering Hairgrass | 14 days | 95 | 75 | 71 |

(5/12/89)M28

Delete this section in it's entirety and substitute the following:

SECTION 726

TOPSOIL

Special Provisions

726-2.01 TOPSOIL. Topsoil furnished by the Contractor may consist of the existing, natural organic blanket representative of the project area. A quality test, as defined by ATM T-6, shall be performed on the soil to determine the organic content of the soil. The results shall be supplied to the Engineer.

If the soil is found to have an organic content of 5% or more the soil may be reused and spread on the finished slopes where topsoil is noted on the plans. Roots, stumps, unnatural material, and rocks greater than 3 inches in diameter shall be removed from the organic material before it is graded onto the finished slope.

If the soil is found to have an organic content of less 5% the soil cannot be used as topsoil for the project. In that case the Contractor shall furnish topsoil consisting of a natural friable surface soil without admixtures of undesirable subsoil, refuse, or foreign materials having an organic content of 5% or more as determined by ATM T-6. The material shall be reasonably free from roots, clods, rocks greater than 3 inches in diameter, hard clay, noxious weeds, tall grass, brush, sticks, stubble or other litter, and shall be free-draining and non-toxic. The Contractor shall notify the Engineer of the location from which he proposes to furnish topsoil at least 30 calendar days prior to delivery of topsoil to the project from that location. The topsoil and its sources will be inspected by the Engineer before approval will be granted for its use.

(11/8/95)R208

SECTION 727

SOIL STABILIZATION MATERIAL

Special Provisions

727-2.01 MULCH. Delete numbered item 1. in its entirety and substitute the following:

1.	Virgin/Recycled Wood Fiber, Recycled Paper (“wood cellulose”) Mulch, or a Blend of Virgin/Recycled Wood Fiber with Recycled Paper Mulch. Blended mulch may contain up to 50% recycled paper. Mulch shall consist of specially prepared wood fiber processed to contain no growth or germination inhibiting factors. The mulch shall be manufactured and processed in such a manner that the fibers will remain in uniform suspension in water under agitation and will blend with grass seed, fertilizer and other additives to form a homogeneous slurry. The mulch shall be of a texture such that it can be applied uniformly to the soil surface. Mulch shall not create a hard crust upon drying and shall have moisture absorption and retention properties as well as the ability to hold grass seed in contact with the soil.

The mulch shall be shipped in packages of uniform weight (plus or minus 5%) bearing the name of the manufacturer and the air-dry weight content.

The mulch shall be dyed a suitable color to facilitate inspection of the placement of the material.

A commercial tackifier shall be used on all seeded areas. The amount added will be as recommended by the manufacturer.

(2/19/99)R206

727-2.02 MATTING. Delete this subsection in its entirety and substitute the following: Soil stabilization matting shall consist of the following:

1.	Straw/Coir Blanket. The straw/coir blanket shall consist of 70% agriculural straw, 30% coconut fiber, +/- 5%, encased in biodegradable natural fiber netting. The components shall be sewn together on 1.5 inch centers with biodegradable thread.

SECTION 729

GEOTEXTILES

Special Provisions

729-2.01 EMBANKMENT SEPARATION AND REINFORCEMENT. Delete this subsection in its entirety and substitute the following: Geotextile materials for embankment separation shall meet the requirements of AASHTO M 288 for Separation (medium survivability). The Apparent Opening Size (AOS) of the fabric shall be less than 0.6 mm. Geotextile materials for reinforcement shall conform to AASHTO M 288 for Separation (high survivability), except that the minimum permeability of the fabric shall be 0.010 cm/sec.

729-2.02 SUBSURFACE DRAINAGE, EROSION CONTROL AND RIPRAP LINER. Add the following: Geotextile materials for subsurface drainage shall meet the requirements of AASHTO M 288 for Subsurface Drainage. The fabric shall be a Class A material. The Apparent Opening Size (AOS) of the fabric shall be less than 0.6 mm.

Add the following subsection:

729-2.04 SEDIMENT CONTROL. Geotextile materials for Sediment Control shall meet the requirements of AASHTO M 288 for Sediment Control. The Apparent Opening Size (AOS) of the fabric shall be less than 0.84 mm.

R229

SECTION 730

SIGN MATERIALS

Special Provisions

730-2.04 SIGN POSTS. Under item 1., Metal Pipe Posts, add the following to paragraph a.: Posts conforming to ASTM A53 shall be either Type E grade B, or Type S grade B.

Under Item 2., Perforated Steel Posts, in the first sentence of paragraph a, change ”ASTM A 446" to read “ASTM A653 and ASTM A924".

Add the following:

5.	Structural Tubing and W Shape Beams.

a.	Structural tubing shall conform to either ASTM A500, grade B, or ASTM A501. The tubing shall be square and of the dimensions called for in the plans with 3/16-inch thick walls. 7/16-inch diameter holes shall be drilled as required to permit mounting of the sign.

b.	W shape beams shall conform to ASTM A36.

c.	Structural tubing and W shape beams shall be hot dip galvanized in accordance with 1.b. of this subsection. Damaged and abraded tubes and beams shall be repaired in accordance with 1.c. of this subsection.

(1/7/99)R81

Standard Modifications

730-2.04 SIGN POSTS. Under Item 2., a., replace the second sentence with the following: Sheets for post fabrication shall be zinc coated in accordance with ASTM A 525, coating designation G 90. (7/2/93)M57

Special Provisions

730-2.04 SIGN POSTS. Delete Item 4., "Multi-directional Breakaway Load Concentration Coupler Base Assemblies and Coupler Hinge Plate", and substitute the following:

4.	Wide Flange Posts.

a.	Steel for wide flange posts shall conform to AASHTO M 183.

b.	Post sizes shall be as designated on the plans.

c.	Posts shall be hot dip galvanized in a manner conforming to AASHTO M 111 after fabrication. Any cutting of metal posts after hot dip galvanizing shall be accomplished with minimum damage to the zinc coating and all exposed surfaces shall be protected by treating the exposed area in the same manner as if it were abraded or damaged.

d.	Galvanized surfaces that are abraded or damaged at any time after the application of the zinc coating shall be repaired in accordance with the applicable provisions of AASHTO M 36.

(5/7/91)S43

APPENDIX A

ELECTRICAL FACILITY CLEARANCE REQUIREMENTS

FOR

CONSTRUCTION OR MAINTENANCE NEAR ELECTRICAL FACILITIES

APPENDIX B

PERMITS

APPENDIX C

CONSTRUCTION SURVEYING REQUIREMENTS

APPENDIX D

MATERIAL SITE