SPECIAL NOTICE TO BIDDERS

The Department hereby notifies bidders that information to assist in preparing bids is available at 4111 Aviation Avenue for the following:

1.	These items are available upon request in the Anchorage Department of Transportation and Public Facilities (DOT&PF) Building Plans Room:

- Quantity Computations

- State of Alaska Department of Transportation and Public Facilities publications, Alaska Storm Water Pollution Prevention Plan Guide, October 2001, and Best Management Practices for Construction Erosion Sediment Control and Maintenance and Operations Activities.

- Department of Transportation and Public Facilities – Sign Face Fabrication Requirements.

- Cross Sections

- Geology Reports

    - Parks Hwy. M.P. 39–42, dated January 2004.

    - Parks Hwy. Undercrossing, Bridge 1989 and Hightowers, dated Oct. 2003

    - Parks Hwy. Multiple Structures, dated October 2003

- Right-of Way, these documents may impose conditions on, or additional requirements to, the Contractor’s operations:

  - Temporary Construction Permits

  - Construction Conditions (Memorandums of Agreement)

2.	Utility agreements pertaining to the disposition of all utility facilities on this project are available for review at the office of the Traffic, Safety and Utilities Engineer, (907) 269-0647.

3.	The Department has approved environmental documents addressing concerns and environmental commitments and they are available for review in the office of the Regional Environmental Coordinator, (907) 269-0534.

- Revised Environmental Assessment, Parks Highway MP 37 to MP 44 dated July 1996.

- Environmental Re-evaluation September 2002.

- Phase 2 Environmental Site Investigation dated January 2000.

4.	The Department has acquired a Conditional Approval to construct modifications to the City of Wasilla public water and wastewater collection systems from the Department of Environmental Conservation (DEC) and is attached in Appendix A. The successful bidder will have to retain the services of an Engineer, registered in the State of Alaska, to inspect the construction and prepare asbuilt drawings per DEC and City of Wasilla requirements.

- Work performed on the railroad track, above the Aggregate Base Course, Grading C-1 will be specified in Sections 240, 241, 242, 244, and 617 which will be measured and paid for according to the United States standard measure units.

- The Department requires all workers within the project limits to wear an outer visible surface or layer of high visibility color and retro reflectivity. See Subsection 643-3.11 High Visibility Clothing for requirements.

PART 4

STANDARD MODIFICATIONS

AND SPECIAL PROVISIONS

to the

STATE OF ALASKA

SPECIFICATIONS

FOR

HIGHWAY CONSTRUCTION

(METRIC)

98M

SECTION 101

DEFINITIONS AND TERMS

Special Provisions

101-1.01 GENERAL. Delete the fourth paragraph and replace with the following: All referenced specifications are intended to be the SI (metric) version except for Sections 240, 241, 242, 244, and 617 of the Special Provisions. When the SI version has not been published or when the Plans or Special Provisions so require, the inch-pound units will govern.

(07/30/03) R&M

Standard Modification

101-1.03 DEFINITIONS. Add the following:

INTERIM WORK AUTHORIZATION. A written order by the Engineer initiating changes to the Contract, within its general scope, until a subsequent Change Order is executed.

(06/25/99) M68

Special Provisions

NON-FROST SUSCEPTIBLE. Material that contains six percent or less passing the .075 mm screen as determined by sieve analysis performed with WAQTC FOP for AASHTO T 27/T 11 on minus 75 mm material.

(11/29/01) R1M98

SECTION 102

BIDDING REQUIREMENTS AND CONDITIONS

Special Provisions

102-1.11 ADDENDA REQUIREMENTS. Delete this Subsection in its entirety and substitute the following: Addenda will be issued to the individual or company to whom bidding documents were issued. Addenda may be issued by any reasonable method such as hand delivery, mail, telefacsimile, telegraph, courier, and in special circumstances by telephone. Addenda will be issued to the address, telefacsimile number or telephone number as stated on the planholder's list unless picked up in person or included with the bid documents. It is the bidder's responsibility to insure that he has received all addenda affecting the Invitation For Bids. No claim or protest will be allowed based on the bidder's allegation that he did not receive all of the addenda for an Invitation For Bids.

All addenda shall be acknowledged on the Proposal or by telegram or telefacsimile prior to the scheduled time of bid opening. If no addenda are received by the bidder, the word "None" should be entered on the Proposal Form.

(2/1/00) R171M98

SECTION 103

AWARD AND EXECUTION OF CONTRACT

Standard Modification

103-1.01 CONSIDERATION OF BIDS. Add the following after Item 9:

In addition to the circumstances described above, the Contractor may request permission from the Contracting Officer to add or replace a listed subcontractor. The request must be made in advance, in writing, specifically detailing the basis for the request, and shall include appropriate supporting documentation. The Contracting Officer will approve the request if it is determined to be in the best interest of the State.

(10/28/99)M84

103-1.02 AWARD OF CONTRACT. In the third paragraph, change “practical” to “practicable”. (06/25/99)M69

Special Provisions

Add the following Subsection:

103-1.10. ESCROW OF BID DOCUMENTATION. Furnish a legible copy of your bid documentation and an affidavit, as instructed in writing by the Contracting Officer. Bid documentation consists of written documentation of all quantity takeoffs, construction schedules on which the bid is based, cost estimates, rates of production and progress, assumptions, calculations, quotes from subcontractors and suppliers, and other information used to prepare your bid for this project.

Obtain and furnish the same level of bid documentation, for each subcontractor with a subcontract exceeding $200,000, regardless of tier.

Meet the following requirements:

1.	Submitting Bid Documentation. Place bid documentation in a sealed container clearly marked “Bid Documentation” and labeled with the bidder’s name and address, submission date, and project name and number. Deliver the sealed container to the Department-designated document depository for safekeeping.

2.	Affidavit. Submit directly to the Contracting Officer a signed and certified affidavit attesting that

a.	The affiant has examined the bid documentation and that it includes all documents used to prepare the bid,

b.	The sealed container contains all bid documentation submitted,

c.	The escrow materials were relied on to prepare the bid, and

d.	Should a dispute arise, the Contractor’s rights to use bid preparation documentation other than those in escrow are waived.

3.	Duration and Use. The bid documentation will remain in escrow, without access by either party, until one of the following occurs:

a.	There is a dispute related to Change Order. With a neutral observer present, both parties will have joint access to review and copy the files.

b.	The Contractor files a written claim or initiates Contract-related litigation against the Department. With a neutral observer present, both parties will have joint access to review and copy the files.

c.	The Contractor completes the Contract and the Department receives an executed Contractor’s Release (Form 25D-117) with no exceptions listed. Such action is sufficient grounds for the Contractor to obtain the release and custody of the escrow documentation.

4.	Failure to Provide Bid Documentation. Refusal or failure to provide your bid documentation or affidavit renders your bid non-responsive. Failure or refusal to provide Subcontractor bid documentation will result in subcontract disapproval.

5.	Confidentiality of Bid Documentation. Materials held in escrow are your property. Except as otherwise provided herein, the escrow materials cannot be released without your approval. The original escrow materials are returned to you once any litigation is concluded, outstanding claims are resolved, and the final release is executed.

6.	Cost and Escrow Instruction. The Department pays to store all escrowed materials and instructs the depository regarding escrow.

7.	Payment. Include within the overall Contract bid price all costs to comply with this Subsection. (2/12/02) S86

ESCROW OF BID DOCUMENTATION AFFIDAVIT

THE UNDERSIGNED HEREBY CERTIFIES THAT THE ESCROW OF BID DOCUMENTATION CONTAINED HEREIN CONTAINS ALL OF THE INFORMATION WHICH WAS USED TO DEVELOP THE BID AND THAT I HAVE PERSONALLY EXAMINED THESE CONTENTS AND THAT THE DOCUMENTATION IS CORRECT AND COMPLETE IN ACCORDANCE WITH SUBSECTION 103-1.10. SUBMITTAL BY THE CONTRACTOR OF A CLAIM WHICH IS NOT CONSISTENT WITH THE CONTENTS OF THESE BID PREPARATION DOCUMENTS SHALL RESULT IN DENIAL OF THE CLAIM.

| By: |  |
| --- | --- |
| Title: |  |
| Firm: |  |
| Date of Submission: |  |
| Project Number: |  |

SECTION 104

SCOPE OF WORK

Special Provisions

104-1.06 VALUE ENGINEERING PROPOSALS BY CONTRACTOR. Add the following to Item 1:

Do not submit Value Engineering Proposals for the Seward Meridian Undercrossing Bridge (bridge number 1989) or related structures. Value Engineering Proposals for the bridge or related structures are not permitted and will not be addressed by the Department.

(5/12/03)R&M

SECTION 105

CONTROL OF WORK

Standard Modifications

105-1.02 PLANS AND WORKING DRAWINGS. Replace the fifth paragraph with the following:

Upon receipt of an approved copy of the shop working drawings, the Contractor shall furnish to the Engineer:

1.	Enough additional copies to provide 8 approved sets of prints.

2.	One set of reproducible transparencies (polyester film).

3.	If requested, an electronic file in AutoCAD drawing interchange format (.DXF).

(09/30/99) M85

Special Provisions

105-1.06 COOPERATION WITH UTILITIES. Add the following: Request locates from all the utilities having facilities in the area. Use the locate Call Center for the following utilities:

Locate Call Center Anchorage Area 278-3121 Statewide 800-478-3121 who will notify the following:

Alaska Fiberstar Alaska Railroad Corp AT&T Alascom, Inc. City of Wasilla DOT Street Lights, State of Alaska Enstar Natural Gas, Inc. GCI Communications Matanuska Electric Assoc Matanuska Telephone Assoc Technologies, inc. Phillips Petroleum PTI Telalaska Utilities

Call the following utilities and agencies directly:

DOT&PF Maintenance and Operations 269-0782

There are various utility appurtenances located within the project limits. Utilities scheduled for relocation are addressed in the following utility specific sections. Cooperate with these utilities and coordinate schedule of work to allow them access to the project for their adjustments and/or relocation.

Work around those utilities not designated for relocation in the plans and the following utility specific coordination. You shall bear the expense for any changes or additional relocation requested for Contractor’s convenience.

Work around utility facilities, either existing or relocated, throughout the project unless advised by the utility that the facility is abandoned in place.

The Contractor shall bear the responsibility for changes in contract scheduling that result in the conditions in this specification not being met.  Additional coordination with the applicable utility will be required.

Schedule and coordinate the utility relocations with project construction as set forth in Section 108-1.03, Prosecution and Progress.

Right of Way and/or Construction surveying is required before utility relocation.

Payment will be made as follows:

- Subsidiary to Item 642(1), Construction Surveying, if the Contractor is required to provide the surveying as part of the contract and/or

- Under Item 642(3), Three Person Survey Party, if the construction or Right of Way staking required by the utility is either in advance of the Contractor’s two (2) week work plan, or not required by the contract.

The utility shall give the Contractor, through the Engineer, fifteen (15) calendar days advance written notice for required staking.

Provide the Utility Companies fifteen (15) calendar days advance written notice of the relocations described below to begin.  The Utility Companies will not be required to work in more than one location at a time, and will be allowed to complete a specific section of work before beginning work with another section.

Relocation or adjustment of underground utility appurtenances will not normally be performed when the ground is frozen.  In addition, the utility companies may prohibit the Contractor, through the Engineer, from working near the utility’s facilities when the ground is frozen.

Specific coordination requirements for the specific utilities are included below:

(4/1/03)R3M98

Due to repetition of certain words, the following lists of abbreviations are used: Main Line (ML), North Frontage Road (NFR), South Frontage Road (SFR), Seward Meridian Parkway (SMP), Old Matanuska (OM), Crusey Street (CS) and Palmer/Wasilla Hwy (P/W).

Alaska Fiber Star (AFS)

AFS’s existing buried fiber optic cable is in conflict with the proposed railroad realignment and  requires relocation. Notify AFS at 907-365-7163 to establish a point of contact. The areas of relocation are listed below.

UNDERGROUND

| Station / Location | Type of Facility | Calendar Days Required |
| --- | --- | --- |
| 1 “RR-M” 18+542, Rt. | Place new Handhole | 7 |
| 2. “RR-M” 18+542 to 19+885 | Fiber Cable placement | 25 |
| 3.“RR-M”18+550,Rt.& 19+880, Lt. | Fiber Cable Splicing | 13 |
| 4. “D1” 2+048 to 2+000 | Buried Fiber Cable, Adjustment | 7 |
| 5. “RR-M” 20+044 to 20+092 | Buried Fiber Cable, Adjustment | 15 |

You are required to provide assistance and perform work listed below before AFS can complete their relocation work.

- Provide all staking necessary for AFS to install a new handhold at RR-M 18+542 Rt.

- COMPLETE INSTALLATION OF THE DUCT SYSTEM AND CONTACT AFS TO SCHEDULE PLACEMENT AND SPLICING OF THE FIBER OPTIC CABLE.

- Coordinate with AFS to expose the existing buried FO cable prior to boring the storm-drain pipe under the existing railroad tracks. You shall provide all required staking for the storm-drain pipe in this location and AFS will determine if the cable needs to be adjusted. If adjustment of the cable is required, you shall allow AFS access to this location.

- Complete removal of the existing track and siding and stake pipe P547 and the special ditch from “RR-M Sta. 20+060 Rt. to Sta. 20+092 Rt. Coordinate with AFS to determine if adjustment is necessary to maintain minimum depth. If adjustment is required, you shall  allow AFS free access to this location.

General Communication Systems Inc.

GCI’S cable facilities are in conflict with the Departments proposed roadway improvements and must be relocated:

- Section 1: Dimond Way to Seward Meridian

- GCI will relocate the existing cables between ML stations 7+638 and 7+800 and the cables along the east side of Seward Meridian Parkway.

- GCI will install a new cable from the south side of the Parks Hwy. to Seward Meridian Pkwy. crossing the Parks Hwy. at ML station 7+662 and the North Frontage Road at NFR station 2+675.

- GCI will install a new cable along the eastern ROW between SMP stations 2+290 and 2+460, and along the south side of Mark Drive.

GCI REQUIRES TWENTY-FIVE (25) CALENDAR DAYS TO COMPLETE SECTION 1.

                - Section 2: Seward Meridian to Palmer/Wasilla Highway

- GCI will relocate cables on the south side of the Parks Hwy. from SFR station 2+875 to ML station 8+182 and a cable from SFR station 2+875 to SMP station 1+860 Rt.

- GCI will install a new cable from SFR station 2+875 to Seward Meridian Parkway, turning south along the east side of Seward Meridian Parkway to SMP station 1+860 Rt.

- GCI will install new cable from SFR station 2+875 Lt. to ML station 8+185 Lt., crossing SMP at  station 1+900.

GCI REQUIRES THIRTY-FIVE (35) CALENDAR DAYS TO COMPLETE SECTION 2.

Section 3: Palmer/Wasilla Hwy. to Crusey Street

- GCI will relocate the cables crossing Palmer/Wasilla Highway at P/W station 2+410 and the cable crossing the Parks Hwy. diagonally from ML station 10+754 Lt. to ML station 10+803 Rt. The existing GCI cable in the railroad ROW will also be relocated.

- GCI will install a new  cable across the Palmer/Wasilla Hwy. at P/W station 2+359.

- GCI will install a new cable from the existing pedestal on the Old Matanuska Road to the existing pedestal at ML station 10+804 Rt., crossing the Parks Hwy. at ML station 10+804.

- GCI will install a new  cable from the existing pedestal on the Old Matanuska Road to ARR station 19+500 Lt. and terminate in the existing pedestal.

GCI REQUIRES FORTY (40) CALENDAR DAYS TO COMPLETE SECTION 3.

ENSTAR Natural Gas Company

ENSTAR’s natural gas pipelines are in conflict with the Departments proposed roadway improvements and require relocation in the following areas.

Section 1: Dimond Way to Seward Meridian Parkway

- ENSTAR’s 6-inch, 4-inch and 2-inch gas mains between ML stations 6+975 and 7+800 will be relocated.

- Enstar will install a 2-inch PL pipe on the south side of SFR, from SFR station 2+195 to Seward Meridian Pkwy. then south to tie into the existing 2-inch PL pipe on the east side of SMP.

- The existing 6-inch PL main at NFR & Dimond Way will be extended to the south ROW line, crossing the Parks Hwy. at ML station 6+975.

- Enstar will install a new 6-inch PL main along the north ROW line from Diamond Way to the existing regulation station on the west side of Seward Meridian Parkway, crossing SMP at station 2+280.

ENSTAR REQUIRES THIRTY (30) CALENDAR DAYS TO COMPLETE  SECTION 1.

Section 2: Seward Meridian Pkwy.,Old Matanuska Rd. to Wickersham Dr.

- Enstar will relocate the existing transmission line between Old Mat. Road and SMP station 2+480.

- Enstar will install a new 4-inch TP between SMP stations 1+500 and 2+070 Lt.

- Enstar will install a new 6-inch PL from their regulation station west of SMP, north to Whispering Woods Drive.

- Enstar will install a new 4-inch PL across SMP at station 2+324 and tie into the existing 2-inch PL at Wickersham Drive.

ENSTAR REQUIRES THIRTY-FIVE (35) CALENDAR DAYS TO COMPLETE SECTION 2.

Section 3: Seward Meridian Parkway to Crusey Street

- Enstar will relocate the existing 6-inch PL gas main north of the Parks Hwy. between Seward Meridian Parkway and ML sta. 10+120 Rt. and will install a 2-inch PL main across the Parks Hwy. at the intersection of Parks Hwy. and Seward Meridian Parkway.

- Enstar will install a new 2-inch PL main between Old Matanuska Road stations 2+820 and 3+340 Rt.

- Enstar will install a new 6-inch PL main across the Parks Hwy. at ML station 9+760.

- Enstar will install a new 2-inch PL main between Industrial Drive stations 2+840 and 3+155 Lt.

- Enstar will install a new 2-inch PL main between NFR 2, stations 2+640 and 2+784 Rt.

- The 2-inch PL gas main crossing the railroad at ARR station 18+660 may require lowering.

ENSTAR REQIRES FIFTY (50) CALENDAR DAYS TO COMPLETE SECTION 3.

MATANUSKA ELECTRIC ASSOCIATION (MEA)

MEA’S electrical facilities are in conflict with the Departments proposed roadway improvements and require the following relocation:

###### Section 1: Vickey Court/Seward Meridian Parkway

- MEA will remove the overhead crossing and two poles at ML station 7+382.

- MEA will abandon the existing underground crossing at ML station 7+662 and install a new underground crossing at ML station 7+664.

- MEA will remove the existing aerial conductor and poles along the east side of Seward Meridian Pkwy. between SMP stations 1+780 and 2+410 Rt., and new facilities will be installed beyond the slope limits.

- MEA will remove the existing aerial conductor and poles south of the Parks Hwy. between ML stations 7+664 and 8+185 Lt. A new underground cable will be installed along the south ROW between ML stations 7+664 and 8+585. MEA will install extra ducts in their trench for use by other utilities.

MEA REQUIRES SEVENTY-SEVEN (77) CALENDAR DAYS TO COMPLETE SECTION 1.

Section 2: MT. Village Drive to Cottonwood Creek

- MEA will retire the existing underground cable and transformer at Mt. Village Dr. and install a new cable and transformer for the ATR1 load center.

- MEA will remove the existing aerial conductor and poles on both sides of the Parks Hwy. between Hermon Rd. and ML station 10+120.

- MEA will place new underground cable on the north side of Old Mat. Rd. from east of Hermon Rd. To OM station 3+400 Rt. and from ID station 3+010 Lt. to 3+140 Lt.

- MEA will install new poles and conductor on the north side of the Parks Hwy. between ML station 9+840 and 10+120 Rt. with an aerial crossing at ML station 9+885.

MEA REQUIRES FIFTY-FIVE (55) CALENDAR DAYS TO COMPLETE SECTION 2.

Section 3:Palmer/Wasilla Hwy. to Crusey Street

- MEA will remove and replace five poles and conductor along the east side of the P/W Hwy. north of the Parks Hwy.

- MEA will remove the existing poles and conductor south of the Parks Hwy. between ML stations 10+680 and 10+840 Lt. and new poles and conductor will be installed beyond the slope limits.

- MEA will remove two poles north of the Parks Hwy. between NFR stations 2+880 and 2+920 and install two new poles and conductor.

- MEA will replace the existing pole at Crusey St. station 2+060 Rt. and a new transformer and underground cable will be installed.

MEA  REQUIRES FORTY-FOUR (44) CALENDAR DAYS TO COMPLETE SECTION 3.

MATANUSKA TELEPHONE ASSOCIATION (MTA)

MTA facilities along and crossing the Parks Hwy. are in conflict with proposed highway improvements and must be relocated.

Section 1: Diamond Way to Seward Meridian Parkway

MTA’s existing cables are in conflict between ML stations 6+975 and 7+800 and along Seward Meridian Parkway between SMP stations 1+880 and 2+480.

- MTA will install new fiber optic (FO) and copper cable across the Parks Hwy. at ML station 6+960.

- MTA will install a new FO and copper cable along the north ROW from Dimond Way to Seward Meridian Parkway at SMP station 2+290.

- MTA will install a new cable between SMP station 2+290 and 2+480, Rt.

- MTA will install a cable into the new duct bank placed by MEA, beginning at SFR station 2+910 Rt. and ending at ML station 8+185 Rt.

MTA REQUIRES FORTY (40) CALENDAR DAYS TO COMPLETE SECTION 1.

Section 2: Seward Meridian Parkway to Palmer/Wasilla Highway

MTA’s existing cables are in conflict between ML stations 7+800 and 10+540.

- MTA will install a new FO cable across Seward Meridian Parkway at SMP station 2+990 and continue west to their C.O. hut at Quiet Circle. The majority of this work will be outside of the Project limits.

- MTA will install new cable and innerduct between Quiet Circle C.O. hut and Hermon Rd.

- MTA will install a new cable from the C.O. hut to Old Mat. Road, crossing the Parks Hwy. at ML station 9+175.

- MTA will install new cable and innerduct from Manley Drive to Industrial Drive, crossing the Parks Hwy. at ML station 9+755 and continuing to Industrial Dr. station 3+145 Lt.

- MTA will install new innerduct will be placed along the south side of the Parks Hwy. between ML stations 10+270 and 10+530 Lt.

MTA REQUIRES SIXTY (60) CALENDAR DAYS TO COMPLETE SECTION 2.

Section 3: Palmer/Wasilla Hwy to Crusey Street.

MTA’s existing cables are in conflict between ML stations 10+520 to 10+960, P/W stations 2+180 to 2+295, CS station 2+07 and along the railroad from ARR station 18+540 to 19+440.

- MTA will install innerduct along Financial Drive to a new C.O. hut on Old Matanuska Road.

- MTA will install innerduct and fiber optic cable from the new C.O. hut on Old Matanuska Road to Knik Goose Bay Road.

- MTA will install a new cable north of NFR 2 between ML stations 10+750 and 10+960, Rt.

- MTA will lower the existing BFC 1200 crossing Palmer/Wasilla Hwy. at P/W station 2+068.

- MTA will move the pedestals at P/W stations 2+182 and 2+292 to the east ROW line.

- MTA will install a new cable across Crusey Street at CS station 2+07.

MTA REQUIRES FIFTY (50)CALENDAR DAYS TO COMPLETE SECTION 3.

105-1.12 LOAD RESTRICTIONS. Add the following: The Department requires overload and oversize permits to move the pre-stressed concrete girders between the Port of Anchorage or an Anchorage fabricating yard and the job site. Unless otherwise permitted by the overload permit officer, any permit will be subject to the following limitations:

| Maximum Single Axle Load | 13,610 kg (30,005 lbs.) |
| --- | --- |
| Maximum Tandem Axle Load | 22,680 kg (50,001 lbs.) |
| Maximum Triple Axle Load | 31,750 kg (69,997 lbs.) |
| Maximum Four Axle Load | 40,820 kg (89,993 lbs.) |
| Minimum Spacing of Axle Group | 6.1 m (20 ft) center to center axle groups |
| Minimum Spacing Within Group | 1.2 m (3.9 ft) center to center axles |
| Maximum Vehicle Speed on any Structure | 5 km/h (3.1 mph) |

The maximum axle loads tabulated above are applicable to hauling equipment with fixed axles only; variable load suspension (VLS) axles shall not be considered part of an axle group for purposes of this Specification.

The Department will not permit the Contractor to haul girders on one tractor to traveling backwards on public roads or streets for one-way travel distances totaling more than 16 kilometers.

Vehicles shall cross structures at a constant speed with the load centered on roadway and no shifting of gears. When crossing structures and the load exceeds 36,290 kg, a walking flagman shall precede the vehicle.

This overload allowance shall not apply to the transportation of construction materials other than precast, pre-stressed concrete girders.

All overload permits are subject to seasonal load restrictions.

Routing shall be as prescribed by the Permit Officer. The Permit Officer may be contacted at (800) 478-7636 or (907) 345-7636.

The Contractor shall submit to the Engineer for review, alternate axle configurations and loading which may reduce the overload movement restrictions.

(01/08/97)R103M98

105-1.13 MAINTENANCE DURING CONSTRUCTION. Add the following: Inspect and clean all storm drain sumps and petroleum separator manholes during the construction season and prior to winter shutdowns. This inspection and maintenance of the storm drain system will not be paid for directly but will be subsidiary to work paid for under Sections 603 and 604.

(2/1/00)R4M98

105-1.15 PROJECT COMPLETION. Delete the last paragraph and substitute the following: When all physical work and cleanup provided for under the Contract is found to be complete, except for work specified under Subsection 618-3.04, Maintenance of Seeded Areas; Subsection 621-3.04, Period of Establishment; Subsection 641-2.01 Storm Water Pollution Prevention Plan (SWPPP) and Subsection 641-3.01, Construction Requirements, a letter of project completion will be issued by the Engineer. Project completion will relieve the Contractor from further maintenance responsibilities, except under Subsections 618-3.04, 621-3.04, 641-2.01 and 641-3.01, and will stop the count of Contract time but will not relieve him of any obligations under the Contract.

(02/06/02)R237M98

Standard Modification

105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES. Delete this Subsection in its entirety and substitute the following:

Notify the Engineer as soon as you become aware of any act or occurrence which may form the basis of a claim for additional compensation or an extension of Contract time or of any dispute regarding a question of fact or interpretation of the Contract.

If the matter is not resolved by agreement within 7 days, submit any Intent to Claim, in writing, within the next 14 days.

If you believe additional compensation or time is warranted, immediately begin keeping complete, accurate, and specific daily records concerning every detail of the potential claim including actual costs incurred. Give the Engineer access to any such records and furnish the Engineer copies, if requested. Equipment costs must be based on your internal rates for ownership, depreciation, and operation expenses and not on published rental rates.

Submit any Claim to the Contracting Officer, in writing, within 90 days of the act or occurrence forming the basis of the claim. The Contracting Officer will acknowledge receipt of the Claim in writing.

You waive any right to claim if the Engineer was not notified properly or afforded the opportunity to inspect conditions or monitor actual costs.

The Claim must include all of the following:

- The act, event, or condition the claim is based on.

- The Contract provisions which apply to the claim and provide relief.

- The item or items of Contract work affected and how they are affected.

- The specific relief requested, including Contract time if applicable, and the basis upon which it was calculated.

- A statement certifying that the claim is made in good faith, that the supporting cost and pricing data are accurate and complete to the best of your knowledge and belief, and that the amount requested accurately reflects the Contract adjustment which you believe is due.

The Claim, in order to be valid, must not only show that you suffered damages or delay but that it was caused by the act, event, or condition complained of and that the Contract provides entitlement to relief for such act, event, or condition.

The Department can make written request to you at any time for additional information relative to the Claim. Provide the Department such additional information within 30 days of receipt of such a request. Failure to furnish such information may be regarded as a waiver of the Claim.

You will be furnished the Contracting Officer’s Decision within 90 days, unless additional information is requested by the Contracting Officer. The Contracting Officer’s Decision is final and conclusive unless, within 14 days of receipt of the decision, you deliver a Notice of Appeal to the Appeals Officer. Procedures for appeals are covered under AS 36.30.625 and AS 36.30.630.

(03/26/01)M101

Special Provision

105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES. Add the following: Any appeal to the superior court under AS 36.30.685 must be filed in the third judicial district.

(3/21/01)R93

SECTION 106

CONTROL OF MATERIAL

Special Provision

106-1.01 SOURCE OF SUPPLY AND QUALITY REQUIREMENTS. Add the following:

Buy America Provision. The Contractor shall comply with the requirements of 23 CFR 635.410, Buy America Requirements, and shall submit a completed Material Origin Certificate, Form 25D-60, prior to award of the Contract.

All steel and iron products which are incorporated into the work, shall be manufactured in the United States except that minor amounts of steel and iron products of foreign manufacture may be used, provided the aggregate cost of such does not exceed one tenth of one percent (0.001) of the total Contract amount, or $2,500, whichever is greater. For the purposes of this paragraph, the cost is the value of the products as they are delivered to the project including freight.

“Manufactured in the United States” means that all manufacturing processes starting with the initial mixing and melting through the final shaping, welding, and coating processes must be undertaken in the United States. The definition of “manufacturing process” is smelting or any subsequent process that alters the material’s physical form, shape or chemical composition. These processes include rolling, extruding, machining, bending, grinding, drilling, etc. The application of coatings, such as epoxy coating, galvanizing, painting or any other coating that protects or enhances the value of steel or iron materials shall also be considered a manufacturing process subject to the “Buy America Requirements.”

Buy America does not apply to raw materials (iron ore), pig iron, and processed, pelletized and reduced iron ore. It also does not apply to temporary steel items (e.g., temporary sheet piling, temporary bridges, steel scaffolding, and falsework). Further, it does not apply to materials, which remain in-place at the Contractor’s convenience (e.g., sheet pilings, and forms).

The North American Free Trade Agreement (NAFTA) does not apply to the Buy America requirement. There is a specific exemption within NAFTA (Article 1001) for grant programs such as the Federal-Aid highway program.

When steel and iron products manufactured in the United States are shipped to a foreign country where non steel or iron products are installed on or in them (e.g., electronic components in a steel cabinet), the steel and iron is considered to meet the requirements of this Subsection.

The Contractor shall take whatever steps are necessary to ensure that all manufacturing processes for each covered product comply with this provision. Non-conforming products shall be replaced at no expense to the State. Failure to comply may also subject the Contractor to default and/or debarment. False statements may result in criminal penalties prescribed under Title 18 US Code Section 1001 and 1020. (08/31/99)S13

106-1.02 LOCAL MATERIAL SOURCES. Add the following under Item 2. Inspection and Acceptance: In compliance with 30CFR46.11, have the Operator of the sand and gravel surface mine (materials source) provide Site-specific Hazard Awareness Training for all the Engineer’s personnel (non-miners) before beginning any operations in your surface mine. Offer the training at each surface mine that will be used to supply processed aggregates. A competent person must provide the training in accordance with the Operator’s written training plan as approved by the Mine Safety and Health Administration, and covering the following items:

- Site specific health and safety risks.

- Recognition and avoidance of hazards.

- Restricted areas.

- Warning and evacuation signals.

- Other special safety procedures.

- Site tour.

Upon completion of this training, the Engineer’s personnel will sign a Visitor’s Log Book to indicate that training was provided.

(05/01/02)R262M98

106-1.03 TESTING AND ACCEPTANCE. Add the following:

When the Specifications refer to the following test methods, use the corresponding ‘New Test Method’ shown below. ATM = Alaska Test Method. AASHTO = American Association of State Highway and Transportation Officials. FOP = Field Operating Procedure. WAQTC = Western Alliance for Quality in Transportation Construction.

| Test Method |  | New Test Method |
| --- | --- | --- |
| ATM T-1 |  | Alaska FOP for AASHTO T 87/T 88 |
| ATM T-3 |  | Alaska FOP for AASHTO T 205 |
| ATM T-4 |  | WAQTC TM 1 |
| ATM T-5 |  | WAQTC FOP for AASHTO T 255/T 265 |
| ATM T-6 |  | Alaska FOP for AASHTO T 267 |
| ATM T-7 |  | WAQTC FOP for AASHTO T27/T 11 |
| ATM T-8 |  | WAQTC FOP for AASHTO T 152 |
| ATM T-11 |  | WAQTC TM 7 and WAQTC FOP for AASHTO T 244 |
| ATM T-18 |  | WAQTC FOP for AASHTO T 166/T 275 |
| ATM T-22 |  | WAQTC TM 8 |
| ATM T-23 |  | WAQTC TM 4 |
| ATM T-25 |  | WAQTC TM 6 |
| AASHTO T 2 |  | WAQTC FOP for AASHTO T 2 |
| AASHTO T 23 |  | WAQTC FOP for AASHTO T 23 |
| AASHTO T 27/T 11 |  | WAQTC FOP for AASHTO T 27/T 11 |
| AASHTO T 30 |  | WAQTC FOP for AASHTO T 30 |
| AASHTO T 40 |  | WAQTC FOP for AASHTO T 40 |
| AASHTO TP 53/T 308 |  | WAQTC FOP for AASHTO TP 53 |
| AASHTO T 85 |  | WAQTC FOP for AASHTO T 85 |
| AASHTO T 87/T 88 |  | WAQTC FOP for AASHTO T 87/T 88 |
| AASHTO T 89 |  | WAQTC FOP for AASHTO T 89 |
| AASHTO T 90 |  | WAQTC FOP for AASHTO T 90 |
| AASHTO T 99/T 180 |  | WAQTC FOP for AASHTO T 99/T 180 |
| AASHTO T 119 |  | WAQTC FOP for AASHTO T 119 |
| AASHTO T 121 |  | WAQTC FOP for AASHTO T 121 |
| AASHTO T 152 |  | WAQTC FOP for AASHTO T 152 |
| AASHTO T 164 |  | WAQTC FOP for AASHTO T 164 |
| AASHTO T 166/T 275 |  | WAQTC FOP for AASHTO T166/T275 |
| AASHTO T 168 |  | WAQTC FOP for AASHTO T 168 |
| AASHTO T 176 |  | WAQTC FOP for AASHTO T 176 |
| AASHTO T 182 |  | Alaska FOP for AASHTO T 182 |
| AASHTO T 205 |  | Alaska FOP for AASHTO T 205 |
| AASHTO T 209 |  | WAQTC FOP for AASHTO T 209 |
| AASHTO T 224 |  | WAQTC FOP for AASHTO T 224 |
| AASHTO T 248 |  | WAQTC FOP for AASHTO T 248 |
| AASHTO T 255/T 265 |  | WAQTC FOP for AASHTO T 255/ T 265 |
| AASHTO T 267 |  | Alaska FOP for AASHTO T 267 |

(07/26/01)S87

SECTION 107

LEGAL RELATIONS AND RESPONSIBILITY TO PUBLIC

Special Provisions.

107-1.02 PERMITS, LICENSES AND TAXES. Add the following: Obtain a written statement from the State Historic Preservation Officer stating that material disposal, extraction, stockpiling or staging, on any off project site, is not expected to impact any cultural resources. The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at (907) 269-8715. If you discover cultural resources during construction activities, stop work at that site and notify the Engineer.

Provide a wetland specialist able to conduct wetlands determinations and delineations in accordance with the Corps of Engineers 1987 Wetland Delineation Manual. The wetland specialist shall conduct the determination and delineations of any site outside the project limits or not previously permitted, impacted by your operations. These delineations will be subject to Corps of Engineers approval.

Provide the Engineer a copy of all permits or clearances received prior to using any site outside the project limits. Additionally, provide the Engineer a written statement that all necessary permits or clearances have been obtained. Also provide a written statement to the Engineer listing agencies or offices contacted which responded that no additional action is required.

Add the following: The Department has received the following permits on your behalf and are attached in Appendix A:

1.	Corps of Engineers Nationwide Permit 3, Maintenance. Permit reference D-1997-0922: Permit covers culvert modifications and improvements at Cottonwood Creek crossing. Issued February 18, 2003 - Expires February 18, 2005.

2.	Alaska Department of Environmental Conservation (DEC), Storm Water Review, letter of Non-Objection, Storm Water Project No. 0321-WW-070-045, dated March. 18, 2003. Provide all necessary information to comply with the US Environmental Protection Agency National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska to discharge storm water from the construction site. Refer to Section 641, Erosion, Sediment, and Pollution Control for requirements for this permit.

3.	Matanuska-Susitna Borough Special Flood Hazard Area-Development Permit, No. FHDP 2003-02, dated April 17, 2003. Expires April 17, 2005. Permit covers the modifications to the Cottonwood Creek culvert.

4.	DEC Conditional Approval to Construct Modifications to the City of Wasilla Water and Wastewater Collection Systems, dated March 17, 2003. Expires March 17, 2005. The Certification of Construction is included. Contractor must secure the services of an Engineer registered in the State of Alaska to provide inspection and as-built drawings per DEC and City of Wasilla requirements.

5.	Alaska Department of Fish and Game Title 16, Fish Habitat Permit FG 03-II-0138, dated March 19, 2003. Expires December 31, 2004.

6.	DEC General Permit Number 9940-DB002, Authorization No. 9940DB002-1005. Permit approves discharging wastewater from dewatering operations to Cottonwood Creek. This permit must be amended identifying the responsible party (provided by the Contractor) and dates of discharge.

(05/29/02)R7M98(07/23/03)R&M

107-1.08 RAILWAY-HIGHWAY PROVISIONS. Delete this Subsection in its entirety and substitute the following:

107-1.08-SECTION 1. DEFINITION OF TERMS

| ARRC | Alaska Railroad Corporation, P.O. Box 107500, Anchorage, AK 99510-7500. |
| --- | --- |
| ARRC Property | All lands owned or withdrawn for the use of the ARRC, including the ARRC's track right-of-way and communications pole line right-of-way. |
| Chief Engineer | The person employed by the ARRC as head of its Engineering Department or Branch, or his/her authorized representative. |
| Contractor | Any agent of the Permittee, including contractors or subcontractors employed to construct, reconstruct, operate and/or maintain the Facility. The term "Contractor" shall be synonymous with the term "Permittee" when the Permittee performs the construction, reconstruction, operation and/or maintenance of the Facility with its own personnel. |
| Facility | Any improvements owned by the Permittee which are to be placed on ARRC property in accordance with written permission executed by ARRC and Permittee. |
| Roadway Worker | Any employee of a railroad, or of a contractor to a railroad, whose duties include inspection, construction, maintenance, or repair of railroad track, bridges, roadway, signal and communication systems, electric traction systems, roadway facilities, or roadway machinery on or near track or with the potential of fouling a track. |
| Telecommunications Supervisor | The person employed by the ARRC as head of its Telecommunications Department or Branch, or his/her authorized representative. |
| Permittee | The Department is the governmental agency to whom the right to enter upon ARRC Property was given in the form of a written permit or contract executed by the ARRC and Permittee. |
| Trackwork | All work on the line from the top of subgrade to the top of rail, including geotextile, when required. |
| Track Materials | All hardware, excluding signals and controllers, associated with the running of a railroad. |

107-1.08-SECTION 2. GENERAL REQUIREMENTS

2.1	All construction, reconstruction, operation, and maintenance on ARRC Property shall be performed in compliance with these specifications contained in 107-1.08, including all revisions thereto.

2.2	Failure to comply with these specifications shall result in suspension of all work on ARRC Property.

2.3	All work on or about ARRC Property shall be performed by experienced personnel in a safe and workmanlike manner in keeping with approved ARRC practices, and as specified herein. ARRC traffic and property shall be protected at all times.

2.4	The safety and continuity of the operation of the traffic of ARRC shall be of first importance and shall be at all times protected and safeguarded. The Contractor and its subcontractors shall be required to perform and arrange their work accordingly. Whenever, in the opinion of the Chief Engineer or his or her representatives, the work or its performance may affect or involve the safety of ARRC's facilities and/or operation of its railroad, the method of doing such work shall first be submitted by the Contractor to the Chief Engineer for his/her approval, without which it shall not be commenced or prosecuted. The approval of the Chief Engineer, when given, shall not be considered as a release from responsibility or liability for any damage which ARRC may suffer, or for which it may be liable, as a result of the acts or omissions of the Contractor, its subcontractors or employees.

2.5	Whenever, in the opinion of the Chief Engineer, the construction may cause a hazard to the safe operation of ARRC, ARRC may, in its discretion, place at the site of the work the required number of qualified employees to protect its operations. The providing of such employees and such other precautions as may be taken shall not relieve the Contractor and its subcontractors from liability for the payment of damages caused by their operations. ARRC shall be the sole judge of the necessity for, and as to the number and classification of employees required. The Contractor shall reimburse ARRC for the cost and expense incurred in providing such employees.

107-1.08-SECTION 3. SAFETY REQUIREMENTS

3.1	The safety of personnel, property, rail operations, and the public is of paramount importance in the prosecution of any work on ARRC Property. The Contractor shall comply with all Federal, State and local governmental regulations (e.g. OSHA, NESC, etc.) applicable to the construction, installation, or maintenance of any Facility. As reinforcement and in furtherance of overall safety measures to be observed by Contractor (and not by way of limitation), the special safety rules set forth in this SECTION 3 shall be followed while working on ARRC Property. Further railroad safety information may be obtained from the ARRC Safety Office at 907-265-2440. Safety information is also available on the ARRC website at www.akrr.com.

3.2.	ARRC flag protection is required before any activity can occur on or near a railroad operating facility such as a track, yard, bridge or shop building. For subsidiary work, such as surveying or inspection, an ARRC furnished flagman will provide a safety briefing prior to the commencement of the work For any activity involving a disturbance or potential disturbance to the track, track embankment, or any railroad facility, ARRC may require the Contractor to submit a specific Railroad Safety Plan prior to startup. Projects that involve activities that cross the tracks or are longitudinal to the tracks will require a specific Railroad Safety Plan and a one-hour ARRC provided training course for Contractor’s project supervisors prior to the initiation of work on ARRC Property. Specific information on Railroad Safety Plans may be obtained from the ARRC Safety Office at 907-265-2440.

3.3	The Contractor shall arrange for ARRC flag protection when performing any work within 6 meters (20 feet) of any track. All work within 6 meters (20 feet) of the track shall cease when a train passes and all the Contractor employees shall maintain a distance of at least 6 meters (20 feet) from the track until the train has safely passed. [See 107-1.08-SECTION 6.3 for definition of when train is “passing” the work site.] In addition, any work that could come within 6 meters (20 feet) of the track will cease when a train passes. For example, crane or pile driving activities shall stop when trains pass when the maximum boom and suspended load radius can come within 6 meters (20 feet) of the tracks. Pile driving shall not be done when trains are passing the work site. Vehicles and other construction equipment shall not be operated or parked closer than 6 meters (20 feet) from any track without ARRC flag protection.

3.4	In the event Contractor will be performing construction or other activities on or within 6 meters (20 feet) of a railroad track, the Contractor shall be responsible for compliance with applicable Federal Railroad Administration’s Roadway Worker Protection (“RWP”) regulations (49 CFR 214, Subpart C) if its employees qualify as “Roadway Workers”. Under 49 CFR 214, Subpart C, railroad contractors are responsible for the training of their employees on these regulations. All RWP related Work shall be conducted in strict compliance with the RWP safety standards set forth in 49 CFR 214, Subpart C and the Contractor will be required to submit a Railroad Safety Plan to ARRC to demonstrate compliance with said safety standards prior to beginning any RWP related Work.

3.5	In the event Contractor will be performing construction or other activities on a railroad bridge, the provisions of 49 CFR 214 regarding bridge worker safety shall apply. All bridge related work shall be conducted in strict compliance with the bridge worker safety standards set forth in 49 CFR 214 and the Contractor will be required to submit a Railroad Safety Plan to ARRC to demonstrate compliance with said safety standards prior to beginning any bridge related work.

107-1.08-SECTION 4. INSURANCE REQUIREMENTS

4.1 	The Contractor shall procure and maintain at all times while performing work on ARRC Property, and be covered by the types of insurance with the minimum limits as specified in 107-1.08-SECTION 4.4.

4.2	Each policy specified in 107-1.08-SECTION 4.4 shall be: (1) endorsed to include ARRC as an additional named insured with respect to the performance of the work; (2) endorsed whereby the insurance company will notify ARRC of any material change, cancellation, non-renewal or expiration of the insurance policy in writing not less than thirty (30) days prior to the effective date; (3) endorsed with a waiver of subrogation rights in favor of ARRC; and (4) endorsed with the Alaska Suit Endorsement.

4.3	Prior to commencement of any work on ARRC Property, the Contractor shall deliver to ARRC certificate(s) of insurance showing evidence of the insurance required in 107-1.08-SECTION 4.4.

4.4	Alaska Railroad Corporation Minimum Insurance Requirements.

a.	Commercial General Liability insurance with limits not less than $5,000,000/$10,000,000 Combined Single Limit for Bodily Injury and Property Damage, including coverage for Premises and Operations Liability, Products and Completed Operations Liability, Contractual Liability, and Broad Form Property Damage Liability. Coverage shall not contain any exclusions of Explosion, Collapse, Underground, or Rail Operations.

b.	Automobile Liability insurance on all owned, non-owned, hired and rented vehicles with limits of liability of not less than $1,000,000 Combined Single Limit for Bodily Injury and Property Damage per each accident or loss.

c.	Worker's Compensation insurance in accordance with the statutory coverage required by the State of Alaska and, where applicable, insurance in compliance with any other statutory obligations, whether State or Federal, pertaining to the compensation of injured employees assigned to the Work, including but not limited to Voluntary Compensation, Federal Longshoremen and Harbor Workers Act, and the Federal Employers Liability Act.

d.	If any part of the work to be performed on ARRC Property is located within 30 meters (100 feet) of a railroad track, then the Contractor shall also obtain Railroad Protective Liability insurance (Alaska Railroad Corporation as named insured) with limits of liability of not less than $5,000,000/$10,000,000 Combined Single Limit for Bodily Injury and Property Damage per each accident or loss.

107-1.08-SECTION 5. NOTICE

5.1	A pre-construction meeting shall be held with ARRC's Chief Engineer and representatives of the Department, the Contractor and subcontractors prior to the commencement of any work on ARRC Property by the Contractor or its subcontractors. Contact Robert Hahn at 907-265-2587 to schedule meeting. At Department’s request, ARRC representatives will attend a designated time within the Department’s project pre-construction meeting in order to afford Contractor and Department a convenient method of satisfying the foregoing requirement.

5.2	The Contractor shall give written notice to the Chief Engineer not less than ten (10) days in advance of the commencement of any construction, reconstruction or major maintenance activity on ARRC Property, in order that the necessary arrangements may be made for the protection of ARRC's operations. This notice shall include a description of the proposed work on ARRC Property, schedule of work, and the names of any Departments, Contractor's and subcontractor who may also be working on ARRC Property.

107-1.08-SECTION 6. FLAG PROTECTION AND PROTECTION OF ARRC TRAFFIC

6.1	Whenever ARRC flag protection is required, it will be provided by ARRC at Permittee’s expense. ARRC flag protection is to insure the safe movement of trains and other rail traffic and shall be done in strict accordance with the ARRC rules on flagging. A minimum of 72 hours prior notice is required for ARRC to provide flag protection. Contact Crystal Wilson at 907-265-2490.

6.2	ARRC will, during the progress of the work, utilize as many qualified flag people as in the opinion of the ARRC may be required for the adequate protection of ARRC traffic. All expense for providing such flagpersons shall be paid by the Contractor to ARRC.

6.3	The Contractor shall arrange with ARRC to keep itself informed on the time of arrival of all trains and shall stop any of Contractor's operations which might be or cause a hazard to the safe passage of the train past the site of the work from ten (10) minutes before the expected arrival of the train until the last car of the train has safely passed, unless otherwise determined by the Railroad flagperson on site, if any.

6.4	Track outages will only be approved in exceptional cases for limited durations. See 107-1.08-SECTION 7.2.c for details.

107-1.08-SECTION 7. TRAIN DELAYS; ANTICIPATED WORK WINDOWS DURING CONSTRUCTION

7.1	All work on ARRC Property shall be conducted in such a manner as to prevent delays to trains or other rail traffic operated by ARRC. The ARRC will provide a weekly forecast of train traffic and the ARRC flagpersons will provide daily updates of anticipated train traffic. Under no circumstances, however, will the ARRC be liable in any way for delays to the Contractor’s work created by any changes or deviations from anticipated train schedules.

a.	ARRC Track Maintenance Work Window: Railroad section and summer work crews may need access into the work area to perform routine track maintenance work and scheduled summer major track replacement work. The routine track work is performed as necessary for the safe passage of trains. Railroad on-track equipment also travels through the project as needed. Railroad traffic has full and absolute priority over Contractor work except as may be otherwise authorized in writing by ARRC under 107-1.08-SECTION 7.1.c below.

b.	Train Traffic: The track through the project is very active. The approximate number of trains in a 24-hour period is given below as an planning tool for Contractor and cannot be relied upon to assume times are available for track outage. Contractor must obtain prior approval of any period of track outage from ARRC under 107-1.08 SECTION 7.1.c below.

Summer Season - (May 6 to September 24) Approximate Daily Trains: 2 to 4 scheduled Passenger Trains; ARRC also charters passenger trains, which may run on any day; Up to 8 Freight Trains, 1 Coal Train and up to 2 Work Trains per day.

Shoulder - (April 1 to May 5 and September 25 to October 28) Approximate Daily Trains: Up to 2 scheduled Passenger Trains; ARRC also charters passenger trains, which may run on any day; Up to 8 Freight Trains, 2 Work Trains and 1 Coal Train.

Off Season - Approximate Daily Trains: Up to 2 scheduled Passenger Trains; ARRC also charters passenger trains, which may run on any day; Up to 6 Freight Trains, 1 Coal Train and 1 Work or Snow Service Train.

c.	Tracks out of Service (Track Outages): The work shall be planned so as to minimize track service outages. Prior to a proposed track outage, the Contractor shall submit a closure plan to ARRC. The plan will describe the work to be accomplished, the equipment, manpower and other resources required, and the work schedule, specifying dates and times. Once approved by ARRC, the Contractor shall follow the plan without any variation whatsoever unless a modification is approved by the Chief Engineer. ARRC reserves the right to assume control of the work to reestablish rail service if the schedule is not met. The Contractor shall bear all costs and damages which may result from failure to meet the closure schedule, in addition to the train delay charges provided for in the contract. As indicated above, ARRC anticipates the longest outage allowed during the summer season will be six (6) hours, and twelve (12) hours in the shoulder and winter seasons.

Note: The ARRC will grant one (1) track outage for the track cutover and one (1) track outage for the Knik Goose Bay main track crossing rebuild.

7.2	Should any of the Contractor's or its subcontractor's actions or activities cause delays to trains or other rail or water traffic, the agreed amount of liquidated damages shall be at the following rates and shall be collected from the Contractor by ARRC.

| Passenger trains each: | $50 per minute of delay, 60-minute minimum charge. |
| --- | --- |
| All other rail traffic: | $50 per minute for each delay over five minutes, 30 minute minimum charge. |
| Rail barges, or other connecting carrier vessels: | No charge for delays of one hour or less; $1,000 per hour for each hour or any part of an hour thereafter with a minimum charge of $6,000. |

7.3	Delay time will be taken from the train sheet in ARRC’s Dispatcher's Office, Anchorage (907-265-2421) for all delays and such train sheet shall be the official document by which the length of time a train is delayed will be determined. If another crew is needed to relieve the original crew, the charge shall also apply to the second crew. If such delay causes a water carrier to miss a sailing, the liquidated damage computation of time covering the period of time to the next possible sailing time shall be in addition to the length of time determined by said train sheet.

107-1.08-SECTION 8. PROTECTION OF ARRC COMMUNICATION LINES

8.1	All work on ARRC Property shall be conducted in such a manner as to protect ARRC's communication facilities at all times from outages resulting directly or indirectly from the Contractor's or its subcontractor's operations.

8.2	Should any of the Contractor or its subcontractor's operations cause outages to said communications facilities, the agreed amount of liquidated damages shall be at the following rates and shall be collected from the Contractor:

| Open wire communication circuits: | $1.00 per minute per circuit |
| --- | --- |
| Communication cable: | $1.00 per minute per cable |

8.3	A minimum charge of $250.00 will be made for each outage plus the total repair costs. The outage time shall be that as established by ARRC's Test Board, Anchorage.

8.4	There shall be no equipment operated or excavation made within 4.6 meters (15 feet) of any ARRC communication pole guy, anchor, or other communications apparatus unless authorized in advance by the Telecommunications Supervisor.

107-1.08-SECTION 9. ROAD CROSSINGS

9.1	Whenever automatic railroad crossing signals are in the work area, these signals must remain in operating condition at all times. If, as a result of the Contractor's or subcontractor's activities the signals become inoperable, the crossing shall be continuously flag protected until the signals are again operable. See 107-1.08-SECTION 6 for flagging specifications.

9.2	When regular railroad crossings are used as haul routes inside or outside the work area, flagpersons shall be provided by the Contractor for said crossings in all situations at the discretion of the ARRC.

9.3	Temporary road crossings may be installed provided the Contractor has acquired from ARRC a temporary road crossing permit for said crossing. If a requested crossing is not shown on the project plans as approved by ARRC, then it will be at ARRC’s sole discretion whether to allow the crossing.

9.4	The temporary road crossing shall be constructed to the length and the standards specified in the temporary road crossing permit. All protective signs required by ARRC shall be provided and properly maintained by the Contractor. The temporary road crossing shall be installed under ARRC flag protection in accordance with 107-1.08-SECTION 6 of these specifications.

9.5	The flange ways of all road crossings used by the Contractor or its subcontractor as haul routes or temporary road crossings shall be kept clean and free of gravel at all times and shall otherwise be maintained to the satisfaction of the Chief Engineer.

9.6	When a temporary road crossing is in use, ARRC flag protection shall be provided at all times. See 107-1.08-SECTION 6 for specifications.

9.7	When a temporary or private road crossing is not in use, the Contractor shall provide suitable barricades (gates with padlocks, posts driven into the ground, etc.) to prevent vehicular access to the crossing.

9.8	When not in use during the winter season, the temporary road crossing shall be removed. Upon completion of the work or termination of the crossing permit, the temporary crossing shall be removed and the area restored to its original condition.

9.9	The Contractor agrees that all others using the private road crossing, except ARRC and its employees, shall be considered agents of the Contractor.

9.10	Sight Triangles at road crossings shall be maintained by Contractor free of vegetation and other obstructions to vision in accordance with the table entitled "Sight Triangle Distance" attached and as otherwise established and revised from time to time by ARRC.

9.11	Temporary public road crossings must be included in a traffic control plan submitted by the Contractor to the Department for review and approval prior to constructing the crossing.

107-1.08-SECTION 10. POWER AND COMMUNICATION LINES

10.1	All power and communication lines shall be designed and constructed in accordance with the current edition of the National Electric Safety Code (NESC).

10.2	Underground power and communication lines shall be installed in accordance with 107-1.08-SECTION 11 of these specifications. Whenever an underground power or communication line crosses underneath a track, a casing pipe shall be installed for carrying such lines.

10.3	The minimum clearance above the top of rail of ARRC track shall be in accordance with the handbook referenced in 107-1.08-SECTION 11.1, plus 0.15 meter (6”) to allow for future grade raises.

10.4	The minimum clearance above ARRC communication lines shall be in accordance with the handbook referenced in 107-1.08-SECTION 11.1.

10.5	Additional lines may not be added, or the characteristics of the line(s) changed without the prior written approval of ARRC's Chief Engineer.

10.6	Wires shall be strung across ARRC tracks only when ARRC flag protection is provided in accordance with 107-1.08-SECTION 6 of these specifications.

10.7	No wires shall be strung across ARRC's communications lines without first receiving prior written approval from ARRC's Telecommunication Supervisor, and such work must be accomplished only at a time and in a manner prescribed by said Telecommunication Supervisor.

107-1.08-SECTION 11. UNDERGROUND UTILITIES

11.1	All underground utilities, including culverts, pipelines, and underground power and communication lines, on ARRC Property shall conform to the current American Railway Engineering Association (AREA) / American Railroad Engineering and Maintenance-of-way Association (AREMA) Specifications.

11.2	Unless the Chief Engineer authorizes another method in advance and in writing, all underground utilities shall be installed under tracks and roads by boring, jacking or tunneling.

11.3	Boring, jacking or tunneling shall be done under ARRC tracks only when ARRC flag protection is provided in accordance with 107-1.08-SECTION 6 of these specifications.

11.4	The proposed plan for boring, jacking or tunneling shall be approved by the Chief Engineer prior to commencing the operation.

11.5	All boring, jacking or tunneling headings shall be continuously protected against any loss of ground material by shoring and/or cribbing as necessary.

107-1.08-SECTION 12. OPEN TRENCHING

12.1	Only when authorized in advance and in writing by ARRC shall any portion of the track be removed to allow trenching for installation of the Facility.

12.2	If allowed to open trench, the track may be removed from service only at the time authorized by the Chief Engineer and shall be restored to service within the time period specified by the Chief Engineer. Should the track not be restored to service within the time period specified, the agreed amount of liquidated damages shall be at the rate specified in the written authorization allowing the open trenching or the liquidated damages in accordance with 107-1.08-SECTION 7 of these specifications, whichever is greater, and shall be collected from the Contractor.

12.3	All track work shall be accomplished by qualified track persons.

12.4	Only that portion of the track structure necessary to excavate, stockpile and install the Facility shall be removed. All track material removed shall be handled, stockpiled and relayed in a manner to avoid damage. Any material that is damaged shall be replaced by the Contractor at its own expense.

12.5	The backfill of the trench under the track and in the road bed prism shall be of the same type of material as taken out, except the top 0.6 meters (2 feet) shall be clean pit run gravel. Backfilling and compaction shall be in 0.3 meter (one foot) lifts with a compaction of 95% of maximum density in the area affecting the road bed prism.

12.6	The ballast used in replacing the track shall be equal in depth and quality as that which was removed. The track shall be relayed and brought to original grade in accordance with standard ARRC practices. The track shall be resurfaced as often as necessary for a period of 12 months after completion of construction to remove any settlement that may have occurred.

107-1.08-SECTION 13. EXCAVATIONS

13.1	Unless authorized in advance and in writing by ARRC, the top of any excavation shall not be within 6 meters (20 feet) of the centerline of any track, nor shall any excavation exceed 3.5 meters (10 feet) in depth regardless of its proximity to track.

13.2	No water shall be allowed to stand in open excavations in the track area.

13.3	Bridging and shoring shall be adequate to safely carry ARRC traffic and the decision of the Chief Engineer pertaining to same shall be final.

13.4	All open excavations shall be continuously protected by flags, flares, barricades or watchpersons, as directed by ARRC.

13.5	No excavation shall be left open more than three days, unless authorized by the Chief Engineer.

13.6	ARRC embankments and cut slopes shall not be disturbed any more than necessary to accommodate the construction and shall be left in a stabilized condition.

13.7	ARRC ditches, culverts and roadways shall be kept clean and free of rock, gravel, construction debris and equipment at all times.

107-1.08-SECTION 14. ARRC INSPECTIONS

14.1	ARRC may furnish an inspector during the periods of construction on ARRC Property. The ARRC inspector will inspect the removal and replacement of tracks, excavation, backfill, necessary bridging for tracks, shoring, flagging, lighting, clearances, etc., when necessary. The ARRC inspector will work directly with the representative’s of the Department and Contractor at the decision of the ARRC inspector in matters pertaining to ARRC operations and safety shall be final. In the event more than one shift is worked, an ARRC inspector will be required for each shift. Presence or absence of an ARRC inspector shall not relieve the Contractor of liability for damage done to property of ARRC, or the property of ARRC lessees or permittees having installations on ARRC Property. All ARRC cost and expense for furnishing said inspector(s) shall be collected from the Department.

107-1.08-SECTION 15. USE OF EXPLOSIVES

15.1	The use of explosives shall be done in compliance with all applicable Federal, State and local laws and ordinances regarding same.

15.2	No blasting of any kind will be permitted unless the Contractor thoroughly safeguards the movement of trains and other rail traffic and personnel in the area where such blasting is being conducted. Before blasting, ARRC flag protection in accordance with 107-1.08-SECTION 6 of these specifications shall be provided on each side of the blast area by the Contractor. This flag protection shall not be removed until the track is inspected for damage from the blast.

107-1.08-SECTION 16. SNOW REMOVAL

16.1	Snow removal operations shall be conducted in such a manner as to not place snow (1) upon the tracks of ARRC; (2) where it interferes with the normal operation of the automatic crossing signals; or (3) where it impairs the visibility of either highway or rail traffic at the crossing.

16.2	Snow removal operations shall be conducted in accordance with 107-1.08-SECTION 3 of these specifications.

107-1.08-SECTION 17. CLEAN-UP

17.1	At all times, all work and activities on ARRC Property shall be accomplished in such a manner as to keep the ARRC Property in a neat, orderly and safe condition satisfactory to ARRC.

17.2	Upon completion of Contractor’s work, all equipment and unused materials shall be removed and the ARRC Property shall be left in a neat and clean condition satisfactory to ARRC.

17.3	Should the Contractor or its subcontractor fail to comply with 107-1.08-SECTIONS 17.1 and 17.2 above, ARRC may perform the required clean-up. All ARRC costs and expenses for performing this work shall be collected from the Contractor. (08/14/02)R268(2/13/03)R&M

107-1.11 PROTECTION AND RESTORATION OF PROPERTY AND LANDSCAPE. Add the following: If you require water for any construction purpose from a non-municipal water source, obtain a Temporary Water Use Permit from the Water Resource Manager, and provide a copy to the Engineer. The Water Resource Manager is with the Department of Natural Resources in Anchorage and may be contacted at (907) 269-8624.

(05/29/02)R7M98

107-1.16 CONTRACTOR'S RESPONSIBILITY FOR UTILITY PROPERTY AND SERVICE. Add the following before the last paragraph: When construction activities meet any of the following conditions, advise the appropriate owning Utility(s) in writing at least 24 hours in advance of work.

1.	Operations anticipated being within 3 m of an overhead electrical line.

2.	Operations anticipated to be within 0.9 m of an underground electrical line according to locates provided by the owning Utility.

3.	Operations requiring use of equipment that is capable of coming within 3 m of an overhead electrical line.

The notice shall indicate the location and duration of the work.

Provide an attendant whose sole responsibility is to perform as a safety observer while equipment is operating such that any part is capable of reaching within 4.6 m of an overhead line.

Providing a safety observer for overhead electrical facilities, or a cable watch for buried electrical facilities, will be subsidiary to the item(s) of work being performed requiring these services. (7/30/99)R170M98

Add the following Subsection:

107-1.21 FEDERAL AFFIRMATIVE ACTION. The Federal Equal Employment Opportunity, Disadvantaged Business Enterprise, and On-the-Job Training affirmative action program requirements that are applicable to this Contract are contained in the project Special Provisions and Contract Forms, and may include:

| Disadvantaged Business Enterprise (DBE) Program | Section 120 |
| --- | --- |
| Training Program | Section 645 |
| Federal EEO Bid Conditions | Form 25A-301 |
| EEO-1 Certification | Form 25A-304 |
| DBE Subcontractable Items | Form 25A-324 |
| ADOT&PF Training Program Request | Form 25A-310 |
| Training Utilization Report | Form 25A-311 |
| Contact Report | Form 25A-321A |
| DBE Utilization Report | Form 25A-325C |
| Summary of Good Faith Effort Documentation | Form 25A-332A |
| Required Contract Provisions, Federal-Aid Contracts | Form 25D-55 |

In addition to the sanctions provided in the above references, non-compliance with these requirements is grounds for withholding of progress payments. (01/22/02)S 80

SECTION 108

PROSECUTION AND PROGRESS

Standard Modification

108-1.01 SUBLETTING OF CONTRACT. Delete the last paragraph under Item 4. and add the following to Item 5:

The Contractor shall ensure that the required prompt payment provisions of AS 36.90.210 are included in all subcontracts.

(10/28/99)M70

Special Provision

108-1.03 PROSECUTION IN PROGRESS. Delete the last sentence of the first paragraph and substitute the following:  Submit the following at the Preconstruction Conference:

Delete:  Item 1. A progress schedule.  and substitute the following:

1.  	A Critical Path Method (CPM) Schedule is required, in a format acceptable to the Engineer, showing the order the work will be carried out and the contemplated dates the Contractor and subcontractors will start and finish each of the salient features of the work, including scheduled periods of shutdown.  Indicate anticipated periods of multiple-shift work in the CPM Schedule.  Revise to the proposed CPM Schedule promptly.  Promptly submit a revised CPM Schedule if there are substantial changes to the schedule, or upon request of the Engineer.

(12/13/02)R261M98

Delete Item 5 of the under the first paragraph and substitute the following:

5.	The submittals identified under Subsection 641-1.03, Submittals.

(01/31/02)R160M98

108-1.06 DETERMINATION AND EXTENSION OF CONTRACT TIME. Delete the 2nd paragraph under Item 3 “Suspension and Extension of Contract Time,” and substitute the following: The count of Contract time shall continue through the suspension of work in those instances where the Engineer orders suspension of the work for:

1.	Unsafe conditions,

2.	Failure by the Contractor to carry out contractual provisions, or

3.	Failure by the Contractor to carry out orders given by the Engineer within the limits of his contractual authority.

In the instance where the Engineer suspends a controlling item of work due to adverse weather conditions for one or more calendar days, the number of days included in the suspension period shall extend the completion date.

(2/15/01)R242M98(2/13/03)R&M

SECTION 109

MEASUREMENT AND PAYMENT

Special Provisions

109-1.02 MEASUREMENT OF QUANTITIES. Delete the first paragraph and replace with the following: All work completed under the Contract, except for work described in Sections 240, 241, 242, 244 and 617, will be measured using the metric system of measure, known as the International System of Units (SI), except that “litre” and “metre” will be spelled “liter” and “meter” and the term “weight” will be used in place of the term “mass”. Conversion factors are based on ASTM Standard E 380.

Add the following item:

9.	Track Foot (TF). Measurement will be the horizontal distance from end to end, in place, along the centerline of railroad track.

(7/31/03)R&M

Standard Modifications

109-1.05 COMPENSATION FOR EXTRA WORK. Under Item 1. Labor:

Delete “(supported by proof of rates)”.

Delete paragraph d., and substitute the following:

d.	plus Workers’ Compensation at 8% of a. The actual net rate will be used only when it exceeds 10% and when proof of rates are submitted within 30 days of the completion of the extra work.

(5/31/00)M90

109-1.05 COMPENSATION FOR EXTRA WORK. 1. Labor. Replace subparagraphs e and f, with the following:

e.	Plus either subsistence and travel allowances or prorated camp costs

f.	Plus 35 percent of the sum of a, c, d, and e.

(02/08/01)M71

Special Provisions

Under Item 3, Equipment, change the first sentence to read: … “Rental Rate Blue Book for Construction Equipment”, published by Primedia, 1735 Technology Drive, Suite 410, San Jose, CA, 95110-1313.

Under Item 3, Equipment, add the following to the second paragraph: The rental rate area adjustment factors for this project shall be as specified on the adjustment maps for the Alaska - South Region.

(1/27/00)R14

Standard Modifications

Delete Item 5. and substitute the following:

5.	Work by a Subcontractor. The Contractor will receive a five percent markup on the total time and materials work defined in 1 through 4 above which is performed by an approved subcontractor or owner-operator. This markup will be for administrative expenses incurred in connection with the work. No percentage will be paid on work covered under bid items in the original Contract. No percentage over the amount covered above will be paid if a lower tier subcontractor does the work.

(02/08/01)M71

Special Provisions

109-1.06 PROGRESS PAYMENTS. Add the following: Failure to submit schedules in accordance with Subsection 108-1.03, Prosecution and Progress, will result in withholding an amount equal to five percent of the total amount earned from all subsequent progress payments. The Engineer upon receipt of current schedules from the Contractor will release this amount.

Failure to comply with the requirements of the National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska, as indicated under Section 641, Erosion and Pollution Control, will result in withholding an amount equal to 5 percent of the total amount earned from all subsequent progress payments. This amount will be released by the Engineer upon satisfactory completion of the requirements of the permit.

(02/04/02)R137A

109-1.07 PAYMENT FOR MATERIALS ON HAND. Add the following: The location of stockpiled materials for payment in acceptable storage facilities off the project will be in Alaska, at a location acceptable to the Engineer.

(9/1/89)R16

Special Provisions

Add the following Section:

SECTION 120

DISADVANTAGED BUSINESS ENTERPRISE (DBE) PROGRAM

120-1.01 DESCRIPTION. The work consists of providing Disadvantaged Business Enterprises (DBEs), as defined in Title 49, CFR (Code of Federal Regulations), Part 26, with the opportunity to participate on an equitable basis with other Contractors in the performance of Contracts financed in whole, or in part, with Federal funds. The Contractor or subcontractor shall not discriminate on the basis of race, color, national origin, or sex in the performance of this Contract. The Contractor shall carry out applicable requirements of 49 CFR Part 26 in the award and administration of USDOT assisted Contracts.

120-1.02 INTERPRETATION. It is the intent of this Section to implement the requirements of 49 CFR, Part 26, and the Department's Federally approved DBE Program.

120-1.03 ESSENTIAL CONTRACT PROVISION. Failure to comply with the provisions of this Section will be considered a material breach of Contract, which may result in the termination of this Contract or such other remedy, as DOT&PF deems appropriate. The Department also considers failure to comply with this Section to be so serious as to justify debarment action as provided in AS 36.30.640(4).

120-1.04 DEFINITIONS AND TERMS. The following definitions will apply.

1.	Broker. A DBE certified by the Department that arranges for the delivery or provision of creditable materials, supplies, equipment, transportation/hauling, insurance, bonding, etc., within its certified category, that is necessary for the completion of the project. A broker of materials certified in a supply category must be responsible for scheduling the delivery of materials and fully responsible for ensuring that the materials meet Specifications before credit will be given.

2.	Commercially Useful Function (CUF). The execution of the work of the Contract by a DBE carrying out its responsibilities by actually performing, managing, and supervising the work involved using its own employees and equipment. The DBE shall be responsible, with respect to materials and supplies used on the Contract, for negotiating price, determining quality and quantity, ordering the material, and installing (where applicable) and paying for the material itself. To determine whether a DBE is performing a commercially useful function, an evaluation of the amount of work subcontracted, industry practices, whether the amount the firm is to be paid under the Contract is commensurate with the work it is actually performing and the DBE credit claimed for its performance of the work. Other relevant factors will be considered. The Engineer makes the determination of CUF after evaluating the way in which the work was performed during the execution of the Contract.

3.	Disadvantaged Business Enterprise (DBE). An enterprise which is a for-profit small business concern

a.	That is at least 51 percent owned by one or more individuals who are both socially and economically disadvantaged or, in the case of a corporation, in which 51 percent of the stock is owned by one or more such individuals;

b.	Whose management and daily business operations are controlled by one or more of the socially and economically disadvantaged individuals who own it; and

c.	Has been certified by the Department in accordance with 49 CFR, Part 26.

4.	DBE Key Employee. Permanent employees identified by the DBE owner in its certification file in the Department Civil Rights Office.

5.	DBE Utilization Goal. The percent of work to be performed by certified DBEs that is established by the Department and specified in the Contract.

6.	Good Faith Efforts. Efforts by the bidder or Contractor to achieve a DBE goal or other requirement of 49 CFR Part 26, by their scope, intensity, and appropriateness to the objective, that can reasonably be expected to fulfill the program requirement.

7.	Manufacturer. A DBE certified by the Department in a supply category that changes the shape, form, or composition of original material in some way and then provides that altered material to the project and to the general public or the construction industry at large on a regular basis.

8.	Notification. For purposes of soliciting DBE participation on a project and to count toward a Contractor’s Good Faith Efforts, notification shall be by letter or fax transmission, with a return receipt requested or successful transmission report. Telephonic contact with a DBE may be allowed, however it shall be based on the ability of Civil Rights staff to independently verify this contact.

9.	Regular Dealer. A DBE certified by the Department in a supply category that

a.	Maintains an in-house inventory on a regular basis of the particular product provided to this project; and

b.	Keeps an inventory in an amount appropriate for the type of work using that product; and

c.	Offers that inventory for sale to the general public or construction industry at large (private and public sectors), not just supplied as needed on a project by project basis during the construction season, except where the product requires special or heavy equipment for delivery and the DBE possesses and operates this equipment on a regular basis throughout the construction season in order to deliver the product to the general public or construction industry at large. If the distribution equipment is rented or leased, it must be on a repetitive, seasonal basis; and may additionally

d.	Fabricate (assembles large components) for use on a construction project, consistent with standard industry practice, for delivery to the project.

120-2.01 UTILIZATION GOAL. The DBE Utilization Goal for this Contract is shown on Form 25A324 (DBE Subcontractable Items) as a percentage of the total basic bid amount. A DBE may be considered creditable towards meeting the DBE Utilization Goal at time of Contract award, if the DBE is certified by the Department in a category covering the CUF to be performed at the time of listing on Form 25A325C (DBE Utilization Report).

A bidder shall demonstrate the ability to meet the DBE Utilization Goal or perform and document all of the required Good Faith Efforts under Subsection 120-3.02 in order to be eligible for award of this Contract.

If the quantity of work of a bid item involving a DBE firm is reduced by the Department, the DBE Utilization Goal on Form 25A325C will be reduced proportionately.

120-3.01 DETERMINATION OF COMPLIANCE

1.	Phase I - Bid. Each bidder must register with the Civil Rights Office annually in accordance with §§26.11 & 26.53(b)(2)(iv) of 49 CFR, Part 26. No Contract may be awarded to a bidder that is not registered.

2.	Phase II - Award. The apparent low bidder will provide the following within 15 days of receipt of Notice of Intent to Award:

a.	Written DBE Commitment. Written commitments from DBEs to be used on the project. The written commitment shall contain the following information:

- A description of the work that each DBE will perform;

- The dollar amount of participation by the DBE firm;

- Written documentation of the bidder/offeror’s commitment to use a DBE subcontractor whose participation it submits to meet a Contract goal; and

- Written confirmation from the DBE that it is participating in the Contract as provided in the prime Contractor’s commitment.

b.	DBE Utilization Report. Form 25A325C listing the certified DBEs to be used to meet the DBE Utilization Goal.

c.	Good Faith Effort Documentation. Summary of Good Faith Effort Documentation (Form 25A332A and attachments) and DBE Contact Reports (Form 25A321A) if the Contractor submits less DBE utilization on Form 25A325C than is required to meet the DBE Utilization Goal. If accepted by the Department, this lower DBE utilization becomes the new DBE Utilization Goal. If the bidder cannot demonstrate the ability to meet the DBE Utilization Goal, and can not document the minimum required Good Faith Efforts (as outlined in Subsection 120-3.02 below), the Contracting Officer will determine the bidder to be not responsible.

3.	Phase III - Construction.

a.	Designation of DBE/EEO Officer. At the preconstruction conference, the Contractor shall submit, in writing, the designation of a DBE/EEO officer.

b.	DBE Creditable Work. The CUF work items and creditable dollar amounts shown for a DBE on the DBE Utilization Report (Form 25A325C) shall be included in any subcontract, purchase order or service agreement with that DBE.

c.	DBE Replacement. If the Engineer approves a DBE replacement, the Contractor shall replace the DBE with another DBE for the same work in order to fulfill its commitment under the DBE Utilization Goal. In the event that the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer and the Civil Rights Office, both of the following criteria have been met:

(1)	The Contractor has not committed any discriminatory practice in its exercise of good business judgment to replace a DBE.

(2)	If the Contractor is unable to find replacement DBE participation and has adequately performed and documented the Good Faith Effort expended in accordance with Subsection 120-3.02.

d.	DBE Utilization Goal. The DBE Utilization Goal will be adjusted to reflect only that amount of the DBE's work that can not be replaced.

120-3.02 GOOD FAITH EFFORT

1.	Good Faith Effort Criteria. The Contracting Officer will use the following criteria to judge if the bidder, who has not met the DBE Utilization Goal, has demonstrated sufficient Good Faith Effort to be eligible for award of the Contract.

Failure by the bidder to perform and document all of the following actions constitutes insufficient Good Faith Effort.

a.	Consideration of all subcontractable items. The bidder shall, at a minimum, seek DBE participation for each of the subcontractable items upon which the DBE goal was established as identified by the Department (on Form 25A324) prior to bid opening. It is the bidder’s responsibility to make the work listed on the subcontractable items list available to DBE firms, to facilitate DBE participation.

b.	If the bidder can not achieve the DBE Utilization Goal using the list of available DBE firms based on the subcontractable items list, then the bidder may consider other items that could be subcontracted to DBEs.

c.	Notification to all active DBEs listed for a given region in the Department's most current DBE Directory at least seven calendar days prior to bid opening. The bidder must give the DBEs no less than five days to respond. The bidder may reject DBE quotes received after the deadline. Such a deadline for bid submission by DBEs will be consistently applied. DBEs certified to perform work items identified on Form 25A324 must be contacted to solicit their interest in participating in the execution of work with the Contractor. Each contact with a DBE firm will be logged on a Contact Report (Form 25A321A).

d.	The bidder may reject non-competitive DBE quotes. Allegations of non-competitive DBE quotes must be documented and verifiable. A DBE quote that is more than 10.0 percent higher than the accepted non-DBE quote will be deemed non-competitive, provided the DBE and non-DBE subcontractor quotes are for the exact same work or service. Bidders must have a non-DBE subcontractor quote for comparison purposes. Such evidence shall be provided in support of the bidder’s allegation. Where the bidder rejects a DBE quote as being non-competitive under this condition, the work must be performed by the non-DBE subcontractor and payments received by the non-DBE subcontractor during the execution of the Contract shall be consistent with the non-DBE's accepted quote. This does not preclude increases as a result of Change documents issued by the Department.

e.	Provision of assistance to DBEs who need help in obtaining information about bonding or insurance required by the bidder.

f.	Provision of assistance to DBEs who need help in obtaining information about securing equipment, supplies, materials, or related assistance or services.

g.	Providing prospective DBEs with adequate information about the requirements of the Contract regarding the specific item of work or service sought from the DBE.

h.	Follow-up of initial notifications by contacting DBEs to determine whether or not they will be bidding. Failure to submit a bid by the project bid opening or deadline by the bidder is de facto evidence of the DBE’s lack of interest in bidding. Documentation of follow-up contacts shall be logged on the Contact Report (Form 25A321A).

i.	Items c through h will be utilized to evaluate any request from the Contractor for a reduction in the DBE Utilization Goal due to the default or decertification of a DBE and the Contractor's subsequent inability to obtain additional DBE participation.

2.	Administrative Reconsideration. Under the provisions of 49 CFR. Part 26.53(d), if it is determined that the apparent successful bidder has failed to meet the requirements of this Subsection, the bidder must indicate whether they would like an opportunity for administrative reconsideration. The bidder must exercise such an opportunity within 3 calendar days of notification it has failed to meet the requirements of this Subsection. As part of this reconsideration, the bidder must provide written documentation or argument concerning the issue of whether it met the goal or made adequate good faith efforts to do so.

a.	The DBE Liaison Officer will make the decision on reconsideration.

b.	The bidder will have the opportunity to meet in person with the DBE Liaison Officer to discuss the issue of whether it met the goal or made adequate good faith efforts to do so. If a meeting is desired, the bidder must be ready, willing and able to meet with the DBE Liaison Officer within four days of notification that it has failed to meet the requirements of this Subsection.

c.	The DBE Liaison Officer will render a written decision on reconsideration and provide notification to the bidder. The written decision will explain the basis for finding that the bidder did or did not meet the goal or make adequate good faith efforts to do so.

d.	The result of the reconsideration process is not administratively appealable to US DOT.

120-3.03 COMMERCIALLY USEFUL FUNCTION (CUF).

1.	Creditable Work. Measurement of attainment of the DBE Utilization Goal will be based upon the actual amount of money received by the DBEs for creditable CUF work on this project as determined by the Engineer in accordance with this Section. CUF is limited to that of a:

a.	Regular dealer,

b.	Manufacturer;

c.	Broker,

d.	Subcontractor,

e.	Joint-venture, or

f.	Prime Contractor.

2.	Termination of Commercially Useful Function. In order for the CUF work of the DBE to be credited toward the goal, the Contractor will ensure that all of the following requirements are met:

a.	The CUF performed by a DBE certified in a supply category will be evaluated by the Engineer to determine whether the DBE performed as either a broker, regular dealer, or manufacturer of the product provided to this project.

b.	A DBE trucking firm certified and performing work in a transportation/hauling category is restricted to credit for work performed with its own trucks and personnel certified with the CRO prior to submitting a bid to a Contractor for DBE trucking. The DBE trucking firm must demonstrate that it owns all trucks (proof of title and/or registration) to be credited for work and that all operators are employed by the DBE trucking firm. A DBE trucking firm that does not certify its trucks and personnel that it employs on a job will be considered a broker of trucking services and limited to credit for a broker. (This does not effect the CUF of that same firm, when performance includes the hauling of materials for that work.)

c.	The DBE is certified in the appropriate category at the time of

(1)	The Engineer's approval of the DBE subcontract, consistent with the written DBE commitment; and

(2)	The issuance of a purchase order or service agreement by the Contractor to a DBE performing as either a manufacturer, regular dealer, or broker (with a copy to the Engineer).

d.	The Contractor will receive credit for the CUF performed by DBEs as provided in this Section. Contractors are encouraged to contact the Engineer in advance of the execution of the DBE's work or provision of goods or services regarding CUF and potential DBE credit.

e.	The DBE may perform work in categories for which it is not certified, but only work performed in the DBE's certified category meeting the CUF criteria may be credited toward the DBE Utilization Goal.

f.	The work of the DBE firm must meet the following criteria when determining when CUF is being performed by the DBE:

(1)	The work performed will be necessary and useful work required for the execution of the Contract.

(2)	The scope-of-work will be distinct and identifiable with specific Contract items of work, bonding, or insurance requirements.

(3)	The work will be performed, controlled, managed, and supervised by employees normally employed by and under the control of the certified DBE. The work will be performed with the DBE’s own equipment. Either the DBE owner or DBE key employee will be at the work site and responsible for the work.

(4)	The manner in which the work is sublet or performed will conform to standard, statewide industry practice within Alaska, as determined by the Department. The work or provision of goods or services will have a market outside of the DBE program (must also be performed by non-DBE firms within the Alaskan construction industry). Otherwise, the work or service will be deemed an unnecessary step in the contracting or purchasing process and no DBE credit will be allowed.

There will be no DBE credit for lower-tier non-DBE subcontract work.

(5)	The cost of the goods and services will be reasonable and competitive with the cost of the goods and services outside the DBE program within Alaska. Materials or supplies needed as a regular course of the Contractor's operations such as fuel, maintenance, office facilities, and portable bathrooms are not creditable.

The cost of materials actually incorporated into the project by a DBE subcontractor is creditable toward the DBE goal only if the DBE is responsible for ordering and scheduling the delivery of creditable materials and fully responsible for ensuring that the materials meet Specifications.

(6)	Unless the Engineer gives prior written approval all subcontract work, with the exception of truck hauling, will be sublet by the same unit of measure as is contained in the Bid.

(7)	The DBE will control all business administration, accounting, billing, and payment transactions. The prime Contractor will not perform the business, accounting, billing, and similar functions of the DBE. The Engineer may, in accordance with AS 36.30.420(b), inspect the offices of the DBE and audit the records of the DBE to assure compliance.

g.	On a monthly basis, the Contractor shall report on Form 25A336 (Monthly Summary of DBE Participation) to the Department Civil Rights Office the payments made (canceled checks or bank statements that identify payor, payee, and amount of transfer) for the qualifying work, goods and services provided by DBEs.

3.	Decertification of a DBE. Should a DBE performing a CUF become decertified during the term of the subcontract, purchase order, or service agreement for reasons beyond the control of and without the fault or negligence of the Contractor, the work remaining under the subcontract, purchase order, or service agreement may be credited toward the DBE Utilization Goal.

Should the DBE be decertified between the time of Contract award and the time of the Engineer's subcontract approval or issuance of a purchase order or service agreement, the work of the decertified firm will not be credited toward the DBE Utilization Goal. The Contractor must still meet the DBE Utilization Goal by either

a.	Withdrawing the subcontract, purchase order or service agreement from the decertified DBE and expending Good Faith Effort (Subsection 120-3.02, Items c through h) to replace it with one from a currently certified DBE for that same work or service through subcontractor substitution (Subsection 103-1.01); or

b.	Continuing with the subcontract, purchase order or service agreement with the decertified firm and expending Good Faith Effort to find other work not already subcontracted out to DBEs in an amount to meet the DBE Utilization Goal through either

(1)	Increasing the participation of other DBEs on the project;

(2)	Documenting Good Faith Efforts (Subsection 120-3.02, Items c through h); or

(3)	By a combination of the above.

4.	DBE Rebuttal of a Finding of no CUF. Consistent with the provisions of 49 CFR, Part 26.55(c)(4)&(5), before the Engineer makes a final finding that no CUF has been performed by a DBE firm the Engineer will coordinate notification of the presumptive finding through the Civil Rights Office to the Contractor, who will notify the DBE firm.

The Engineer, in cooperation with the Civil Rights Office, may determine that the firm is performing a CUF if the rebuttal information convincingly demonstrates the type of work involved and normal industry practices establishes a CUF was performed by the DBE. Under no circumstances shall the Contractor take any action against the DBE firm until the Engineer has made a final determination. The Engineer’s decisions on CUF matters are not administratively appealable to US DOT.

120-3.04 DEFAULT OF DBE. In the event that a DBE firm under Contract or to whom a purchase order or similar agreement has been issued defaults on their work for whatever reason, the Contractor shall immediately notify the Engineer of the default and the circumstances surrounding the default.

The Contractor shall take immediate steps, without any order or direction from the Engineer, to retain the services of other DBEs to perform the defaulted work. In the event that the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer, the following criteria have been met:

1.	The Contractor was not at fault or negligent in the default and that the circumstances surrounding the default were beyond the control of the Contractor; and

2.	The Contractor is unable to find replacement DBE participation at the same level of DBE commitment and has adequately performed and documented the Good Faith Effort expended in accordance with Items c through h of Subsection 120-3.02 for the defaulted work; or

3.	It is too late in the project to provide any real subcontracting opportunities remaining for DBEs.

The DBE Utilization Goal will be adjusted to reflect only that amount of the defaulted DBE's work that can not be replaced.

120-4.01 METHOD OF MEASUREMENT. The Contractor will be entitled to count toward the DBE Utilization Goal those monies actually paid to certified DBEs for CUF work performed by the DBE as determined by the Engineer. The Contractor will receive credit for the utilization of the DBEs, as follows:

1.	Credit for the CUF of a DBE prime Contractor is 100 percent of the monies actually paid to the DBE under the Contract for creditable work and materials in accordance with 49 CFR 26.55.

2.	Credit for the CUF of a subcontractor is 100 percent of the monies actually paid to the DBE under the subcontract for creditable work and materials. This shall include DBE trucking firms certified as a subcontractor and not a broker. Trucks leased from another DBE firm shall also qualify for credit and conforms to the provisions of 49 CFR 26.55(d).

3.	Credit for the CUF of a manufacturer is 100 percent of the monies paid to the DBE for the creditable materials manufactured.

4.	Credit for the CUF of a regular dealer of a creditable material, product, or supply is 60 percent of its value. The value will be the actual cost paid to the DBE but will not exceed the bid price for the item.

5.	Credit for the CUF of a broker performed by a DBE certified in a supply category for providing a creditable material, product or supply is limited to a reasonable brokerage fee. The brokerage fee will not exceed five percent of the cost of the procurement Contract for the creditable item.

6.	Credit for the CUF of a broker performed by a DBE certified in the transportation/hauling category for arranging for the delivery of a creditable material, product or supply is limited to a reasonable brokerage fee. The brokerage fee will not exceed five percent of the cost of the hauling subcontract.

7.	Credit for the CUF of a broker performed by a DBE certified in a bonding or insurance category for arranging for the provision of insurance or bonding is limited to a reasonable brokerage fee. The brokerage fee will not exceed five percent of the premium cost.

8.	Credit for the CUF of a joint venture (JV) (either as the prime Contractor or as a subcontractor) may not exceed the percent of the DBE's participation in the joint venture agreement, as certified for this project by the Department. The DBE joint venture partner will be responsible for performing all of the work as delineated in the certified JV agreement.

120-5.01 BASIS OF PAYMENT. Work under this item is subsidiary to other Contract items and no payment will be made for meeting or exceeding the DBE Utilization Goal.

If the Contractor fails to utilize the DBEs listed on Form 25A325C as scheduled or fails to submit required documentation to verify proof of payment or documentation requested by the Department to help in the determination of CUF, the Department will consider this to be unsatisfactory work. If the Contractor fails to utilize Good Faith Efforts to replace a DBE, regardless of fault (except for Subsection 120-3.04 Item 3), the Department will also consider this unsatisfactory work. Unsatisfactory work may result in disqualification of the Contractor from future bidding under Subsection 102-1.13 and withholding of progress payments consistent with Subsection 109-1.06.

(11/17/00)S33

SECTION 202

REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Special Provisions

202-1.01 DESCRIPTION. Add the following: This work shall also include the removal of gas pipe, 100 mm in diameter and larger, the abandonment of ground water wells, and reconstructing fences removed behind the property line.

202-3.01 GENERAL. Add the following: The removal of buildings, foundations and structures shall include removal of utility lines, sidewalks and any other attached appurtenances.

Buildings being removed may contain asbestos. Take special handling measures when removing this material.

Remove septic or fuel tanks in accordance with Department of Environmental Conservation (DEC) regulations. Removal or abandon wells in accordance with Department of Environmental Conservation (DEC) regulations.

(02/02/00)R112M98(6/09/03)R&M

Add the following: Carefully remove all fences designated by the Engineer to the right-of-way limit, or within the temporary construction permit, or to the end of the span beyond the right-of-way limit. These materials belong to the property owners, and shall be salvaged and stacked neatly in their yards. After construction of any noise barrier or fence is complete, use salvaged fencing to fill possible fencing gaps behind the property line. Reconstruct fences that were removed behind the property line. Use salvaged fencing in accordance with Section 607, for reconstructed fences.

(2/2/00)R17M98(7/31/03)R&M

202-3.03 REMOVAL OF BRIDGES, CULVERTS AND OTHER DRAINAGE STRUCTURES. Add the following after the second paragraph: Remove, dispose or salvage sanitary sewer manholes designated for removal by the plans or as directed by the Engineer.

Remove manhole frame and cover, dustpan, adjusting rings and cone section or reducing slab for existing sanitary sewer manholes designated for removal by the Plans or by the Engineer. Plug all conduits intersecting the manhole and fill the remaining barrel sections of the abandoned manholes with material meeting the requirements of selected material, Type C and compact it to the satisfaction of the Engineer.

Carefully remove and deliver salvaged materials to a site directed by the Engineer. Provide a disposal site for non-salvageable materials.

All existing manhole frames, covers, dustpans, adjusting rings, cone sections and reducing slabs removed but not reinstalled under these Special Provisions shall become the property of the Contractor. Materials may be reused if they are undamaged, of satisfactory quality and approved by the Engineer. No materials are reused for reinstalled until they have been thoroughly cleaned by the Contractor and inspected by the Engineer.

(2/2/00)R18M98

202-3.04 REMOVAL OF PIPE. Add the following: During project construction, ENSTAR Natural Gas Company will abandon existing gas pipelines. Follow the procedures given in Subsection 105-1.06 Cooperation With Utilities, when working around gas pipelines until they have been abandoned. Once the pipelines are abandoned, Remove all abandoned natural gas pipe within the right-of-way that are in conflict with the work and dispose of all pipes off the project limits.

(02/02/00)R112M98

202-3.05 REMOVAL OF PAVEMENT, SIDEWALKS, AND CURBS. Delete the first paragraph and substitute the following: All pavements from the existing highway, streets, approaches being moved or reconstructed, and areas of obliteration within the project limits shall be removed and stockpiled for reuse as Item 301(1), Aggregate Base Course or Item 306(1), ATB.

(02/05/03)R226M98(7/31/03)R&M

Add the following: Sawcut and remove existing pavement in areas of distress, cold patches or potholes as directed by the Engineer where pavement is to be overlaid with new asphalt. The pavement shall be removed to a distance of 300 mm outside of the describe areas. Pavement that is removed shall be replaced with Asphalt Concrete as shown on the plans in accordance with the requirements of Section 401, Asphalt Concrete Pavement.

(2/28/01)R257M98(7/31/03)R&M

Add the following subsections:

202-3.06 SALVAGING. Notify the Engineer a minimum of five (5) days before removing manholes and inlets.  The Engineer will notify DOT&PF M&O (338-1466) and upon excavation have an M&O representative identify manholes, inlets or portions thereof to be salvaged.  Deliver items designated for salvage to the DOT&PF M&O yard located at 5300 East Tudor Road.  Items not designated for salvage by DOT&PF M&O shall become the Contractor’s property.

(07/08/03)R258M98

202-3.07 GROUND WATER WELL ABANDONMENT. The abandonment of water wells shall be accomplished in accordance with Alaska Department of Environmental Conservation (DEC) requirements, conforming to 18 AAC 80.015 Well Protection, Source Water Protection, and Well Decommissioning or DEC approved alternate method. Develop and submit a detailed Ground Water Well Abandonment Plan to the Engineer. Contact William Rieth at DEC, Division of Environmental Health, for plan review requirements of alternate methods.

(6/9/03)R&M

202-4.01 METHOD OF MEASUREMENT. Delete item 4. and replace with the following:

4.	Each. Each complete unit removed, installed, or abandoned in place. Newspaper tubes will not be measured.

Add the following:

Removal of temporary pavement will not be measured.

Removal of gas pipe less than 100 mm in diameter will not be measured.

202-5.01 BASIS OF PAYMENT. Add the following:

Item 202(16) Payment for length of pipe, 100 mm in diameter and larger, that is removed. Required labor, materials and equipment required to remove and dispose of the pipes will be subsidiary to Item 202(16). Removal of pipes smaller than 100 mm will be subsidiary to Item 202(16).

Item 202(23). At the Contract price will be measured for payment for each well abandoned in accordance with DEC regulations.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 202(16) Removal of Gas Pipe | Meter |
| 202(23) Ground Water Well Abandonment | Each |

Delete Item 202(6) Removal of Manholes and add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 202(6A) Removal of Storm Drain Manholes | Each |
| 202(6B) Removal of Sanitary Sewer Manholes | Each |

(2/2/00)R18M98

(02/02/00)R112M98 (06/30/03)R&M

SECTION 203

EXCAVATION AND EMBANKMENT

Special Provisions

203-3.01 GENERAL. Add the following to the sixth paragraph: Prior to obliterating the existing roadway, remove the existing pavement and dispose in accordance with Subsection 202-3.05, Removal of Pavement, Sidewalks and Curbs.

(2/28/01)R177M98

203-3.02 EMBANKMENT CONSTRUCTION. On page 88, delete the first sentence of the second paragraph, and substitute the following: Place roadway embankment of earth materials in horizontal layers not exceeding 200 mm in thickness measured before compaction. Each layer of classified material shall have its joint offset from the joint below, longitudinally by 300 mm and transversely by 3 m.

Add the following: Where the Plans call for placement of selected material and excavation is required, the existing material may be left in place at the Engineer’s discretion if tests determine that it will meet the appropriate selected material requirements. Any reduction in excavation or Borrow quantities as a result of this condition shall not constitute a basis for adjustment in contract unit prices except as provided for in Section 104 Scope of Work.

(03/14/02)R23M98(6/9/03)R&M

Standard Modifications

203-3.02 EMBANKMENT CONSTRUCTION. Delete the 11th paragraph in its entirety and replace with the following:

Place rock embankment in lifts equal to the average rock dimension. Restrict maximum rock dimension to 1 m. Distribute spalls and finer rock fragments to level and smooth each lift. Place succeeding lifts without damaging previously completed lifts. Dump rock on the lift being constructed and distribute by blading or dozing to minimize voids, pockets, and bridging and to form a dense, well-compacted embankment. Avoid placing rocks exceeding 200 mm within 600 mm of finished subgrade.

In the 12th paragraph, first sentence, delete the words “from excavation”.

In the 12th paragraph, third sentence, insert the words “from excavation” after “wasted rock”.

(02/08/01)M92

Special Provisions

203-3.03 CONSTRUCTION OF EMBANKMENTS WITH MOISTURE AND DENSITY CONTROL. Delete this Subsection in its entirety and substitute the following: Construct embankments with moisture and density control from specified materials placed and compacted at approximately their optimum moisture content. Dry or moisten material as required.

Compact all embankment within 6 meters of a bridge abutment full width to not less than 100 percent of the maximum density. All material used within this zone shall be graded to pass the 75-millimeter sieve.

(2/1/00)R113M

Compact embankment material to not less than 95% of the maximum dry density as determined by WAQTC FOP for AASHTO T 99/T 180/WAQTC TM 9, or ATM T-12. The Engineer will determine in-place field densities using WAQTC TM 7 and WAQTC FOP for AASHTO T 224.

The Engineer will determine the maximum dry density of free-draining, non-plastic, cohesionless materials with less than 10% by weight passing the 0.075-mm sieve using ATM T-12. (For some materials it may be necessary to perform both ATM T-12 and WAQTC FOP for AASHTO T 99/T 180/WAQTC TM 9, in which case the highest maximum dry density is used.) For materials with greater than 80% by weight passing the 4.75 mm sieve, WAQTC FOP for AASHTO T 99/T 180/WAQTC TM 9, Method A with the plus 4.75 mm material removed and treated as oversize will be used. WAQTC FOP for AASHTO T 99/T 180/WAQTC TM 9, Method D will be used for materials with greater than 60% by weight passing the 19.0 mm sieve with the plus 19.0 mm material removed and treated as oversize.

WAQTC FOP for AASHTO T 99/T 180/WAQTC TM 9 will be performed in accordance with Note 7 (the 12 hour stand time may be waived if the sample has not been dried to less than four percentage points below the optimum moisture content) and modified so that the moisture content of each trial is determined from the complete specimen and reported to the nearest 0.1%. Section 13 is modified to include: 13.1.6 Bulk Specific Gravity of the oversize material; 13.1.7 Apparent Specific Gravity of the tested material minus the oversize; and 13.1.8 Zero Air Voids Curve calculated and plotted in accordance with ASTM D 1557, Sections 11.2 and 11.5.

(03/14/02)R193M98

203-4.01 METHOD OF MEASUREMENT. Add the following: No deduction from the excavation quantities will be made for pavement removed under Item 202(2), Removal of Pavement.

(1/06/03)R&M

SECTION 205

EXCAVATION, BACKFILL AND FOUNDATION

FILL FOR STRUCTURES

Special Provisions

205-1.01 DESCRIPTION. Add the following: This work also includes the necessary work to divert Cottonwood Creek through the existing culvert, acquire an amended wastewater discharge permit from DEC for dewatering operations, removal of temporary cofferdams and reclamation of areas impacted by the Contractor’s operation.

(6/9/03)R&M

205-3.03 BACKFILL. Add the following: All backfill placed within 0.3 m of a structural unit shall be graded to pass the 75 mm sieve or porous backfill as indicated on plan.

(7/24/95)R154M98

205-5.01 BASIS OF PAYMENT. Add the following: Grading and placement of material used within 0.3 m of structural units will be subsidiary to Item 203(6A) Borrow, Type A.

(7/24/95)R154M98

Add the following: Payment for item 205(8) Stream Diversion shall be full compensation for all labor, equipment, and materials required to divert Cottonwood Creek through the existing pipe and isolate the retaining wall and headwall excavation (both upstream and downstream) from flowing waters, as shown on the plans.

Add the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 205(8) Stream Diversion | Lump Sum |

(2/13/03)R&M

Add the following Section:

SECTION 240

RAILROAD

240-1.01 GENERAL. The Contractor shall be responsible for all railroad trackwork and construction items associated with this project to the limits shown. All work on ARRC property shall be conducted in strict accordance with the requirements contained in Section 107-1.08 RAILWAY HIGHWAY PROVISIONS of these specifications. Unless otherwise specified, all track materials and work methods shall comply with the applicable standards contained herein.

240-1.02 SUMMARY OF WORK. The work involved in this project consists of, but is not necessarily limited to, the following activities:

1.	Construct approximately  4,130 track feet of  mainline track with new 141lb AB-rail, continuously welded on concrete ties with pandrol eclip fastner and hardware spaced on 24” centers with 25’ transition rails outside of the spirals with 10 each 10’ hardwood ties and 4 each concrete ties.

2.	Remove approximately 4,216 track feet of existing 115 pound mainline track.

3.	Remove approximately 2,785 track feet of existing 70 pound siding and house track, including two No. 9-70 pound turnouts. Install end of track bumping post.

4.	Cut-over newly constructed track into existing operational mainline track.

5.	Line over and raise approximately 833 track feet of existing 115 pound mainline track.

6.	Install 1 each 41’Concrete Modular Crossing designed for installation in a 6 degree curve with 141lb AB rail, on 10’ foot long, hardwood ties with pandrol plates and eclips, and signalization at Kenai Supply Access Road. Note additional ties, rail and ballast are required 19.5’ beyond the ends of the proposed crossing.

7.	Remove existing 29 foot timber crossing and restore existing road structure and adjacent area.

8.	Remove existing modular crossing and (1) steel gate foundation in the Knik Goose Bay Road crossing location. Replace the existing road structure material and surfacing from the removed crossing area.

9.	Install 1 each 122 foot modular concrete crossing panels  with new 115lb RE rail and new 10’ hardwood ties with pandrol plates and e-clips. Extend rail improvements including rail, ties and associated appurtenances for a 122’ crossing. Note additional ties, rail and ballast are required 19.5’ beyond the ends of the proposed crossing. .

10.	Remove and replace railroad signs and miscellaneous associated railroad equipment.

11.	Perform final alignment, surfacing and dressing of railroad track work.

240-1.03 DEFINITIONS.

1.	ARRC. Alaska Railroad Corporation

2.	AREMA. American Railway Engineering and Maintenance-of-Way Association.

3.	W.C.L.I.B. West Coast Lumberman’s Inspection Bureau

4.	FRA. Federal Railroad Administration

240-1.04 REFERENCED STANDARDS.

1.	ARRC Standard Plans, Ballast and Track work.

2.	AREMA Manual for Railway Engineering

3.	AREMA Portfolio of Track work Plans

4.	All standards listed in each section of these specifications, but referenced thereafter by a basic designation only i.e. AREMA, form a part of the specifications to the extent indicated by the reference. The most recent edition of the standard at the time of advertising shall apply.

240-1.05 REFERENCED DRAWINGS. Drawings titled S1 through S5 are incorporated by reference herein and made a part of these specifications.

240-1.06 STORAGE. Storage facilities shall be in areas designated by the Engineer or Owner’s Representative.

240-1.07 CLEAN-UP. At the end of each days work, the job site shall be cleaned up and left in a neat and workman like condition.

Before calling for a final inspection the entire premises shall be cleaned up to the satisfaction of the Engineer.

240-1.08 SURVEYING. All surveying work necessary for the performance of this project shall be furnished by the Contractor.

240-1.09 OWNERSHIP. All tracks and crossing materials replaced by new materials will become the property of the Contractor, except as noted on the plans or in the specifications.

Add the following Section:

SECTION 241

RAILROAD BALLAST

241-1.01 DESCRIPTION. This work shall consist of furnishing, placing, tamping and shaping railroad ballast and surfacing and lining new and existing track and turnouts, in conformance with the lines, grades and thickness’ shown on the Plans.

241-2.01 MATERIALS. Prepared ballast shall be crushed shot rock or crushed pit-run rock, size no. 4A, composed of hard, strong and durable particles, free from injurious amounts of deleterious substances and conforming to the following requirements:

TEST					TEST PROCEDURE		TEST STANDARD

Gradation Tests:

Sampling Aggregates			ASTM D75

ASTM C702

Sieves with Square Openings		ASTM E11

Sieve Analysis				ASTM C136			See table below

Materials Finer Than No. 200		ASTM C117			See table below

Material Quality Tests:

Bulk Specific Gravity			ASTM C127			2.60 min.

Absorption				ASTM C127			1.0 max.

Magnesium Sulfate Soundness	ASTM C88

(Five Cycles)			1.0% max.

Clay Lumps & Friable Particles	ASTM C142			0.5% max.

Flat and/or Elongated Particles	USACE CRD-C119		5.0% max.

Degradation (LA Abrasion)		ASTM C535			30 max.

Fractured Particles			see description below		75% min.

TYPE 4A BALLAST GRADATIONS

| Sieve Size | Percent Passing |
| --- | --- |
| 2-1/2" | 100 |
| 2" | 90-100 |
| 1-1/2" | 60-95 |
| 1" | 10-35 |
| 3/4" | 0-10 |
| 3/8" | 0-3 |
| No. 200 | 0-0.3 |

Mill Abrasion Test Description:

A representative sample is obtained and sized using the current ASTM Methods of Test. From the coarse aggregate, split a representative portion into a sample consisting of 3.3 lb. passing the 1-1/2 inch sieve and retained on the 1 inch sieve plus 3.3 lb. passing the 1 inch sieve and retained on the 3/4 inch sieve. The sample shall be washed and oven dried in accordance with the Los Angeles Abrasion procedure. The sample will then be placed in a 1 gallon, 9 inch external diameter porcelain ball mill pot, along with 6.6 lb. of distilled water. The mill shall be rotated at 33 rpm for a total of 10,000 revolutions (five hours). The sample shall then be wash-sieved through a No. 200 sieve and oven dried before weighing. Mill abrasion shall be calculated as a percentage loss in weight by the following formula:

Mill Abrasion = (Loss in Weight / Original Weight) x 100

Abrasion Number:

The Abrasion Number is a number calculated with the results of the Los Angeles Abrasion Test and the Mill Abrasion Test given in this specification. The Abrasion Number shall be calculated by the following formula:

Abrasion Number = LA Abrasion Number + (5 x Mill Abrasion Number)

Fractured Particles Test Description:

The Fractured Particles Test is as follows:

A representative sample is obtained and sized using current ASTM Standard Methods D75 and C702, respectively. All fractured and non-fractured aggregate particles obtained by sampling shall be included for evaluation. ASTM Standard Method D5821 shall be used to determine the percentage, by mass, of coarse aggregate fractured particles.

The following fracture criteria shall apply:

A fractured particle shall be particle with three or more fractured faces. Each of the fractured faces on the fractured particle must have a freshly exposed rock surface with a maximum dimension of at least one third the maximum particle dimension and a minimum dimension of at least one quarter of the maximum particle dimension. The included angle formed by the intersection of the average planes of adjoining fractured faces must be less than 135 degrees for each of the faces to be considered as separate fractured faces.

For example, a particle just retained on the two inch screen (i.e. particle size =2 inch) must have at a minimum:

1	A freshly exposed maximum face of between two-thirds of an inch and 2 inches, and

2.	A second freshly exposed face with a minimum dimension of one-half inch, and

3. 	A third freshly exposed face ranging in dimension between the other two.

The angle formed between any two of these faces must not exceed 135 degrees.

Particles which do not meet the above criterion will be classified as non fractured faces.

Testing and Inspection:

Upon notification of Intent to Award a contract, and during the actual performance of the contract, the Supplier shall engage the service of a qualified Professional Engineer registered in the State of Alaska to oversee performance of the above referenced tests on the processed ballast. All sampling and testing shall be done either by the Professional Engineer himself or by a qualified and experienced technician working under the direction of the Professional Engineer. Samples of processed ballast shall be taken directly off belt to minimize segregation and contamination. Material quality tests shall be done by testing laboratory which is selected by the Contractor and approved by the owner and the ARRC.

The frequency of tests shall be as follows:

1.	Pre-Manufacturing Tests: Prior to production of ballast, the Contractor shall submit whole and crushed samples of the proposed source rock along with test reports that verify that they conform to the Specifications.

2.	Start-up Manufacturing Test: When ballast manufacturing begins another full battery of tests shall be run to verify that the ballast manufactured conforms to the specifications.

3.	Periodic Full Testing: Whenever the nature of the source rock changes significantly, such that conformance with specifications is in doubt, above tests shall be redone as appropriate to verify conformance and the results submitted for approval.

4.	Periodic Gradation Testing: Perform the gradation tests and visual monitoring of degree of fracture during manufacturing on every 1,000 cubic yards of ballast that is produced, but at least daily. A complete fractured particle test shall be run on every 5,000 cubic yards of ballast manufactured.

Submit all test reports to the State for approval. The Professional Engineer shall verify that all test reports are accurate and shall indicate whether or not they conform to these specifications. Bring any tests that fail to conform to the immediate attention of the State's Project Manager and immediate steps shall be taken to bring manufacturing into conformance.

All test reports shall be submitted for approval. The Professional Engineer shall verify that all test reports are accurate and shall indicate whether or not they conform to these Specifications. Any tests that fail to conform shall be brought to the immediate attention of the Engineer and immediate steps shall be taken to bring manufacturing into conformance.

The Engineer may reject any material that does not conform to these specifications. In addition, in the event of the Contractor continuing failure to conform to the specifications, the Engineer may order that manufacturing cease until the product conforms and defective material is disposed of.

Manufacturing, Handling, Delivery, and Stockpiling of Material:

The ballast shall be manufactured, handled, delivered, and stockpiled in such a manner that it is kept clean and free from segregation. Processed ballast shall be washed and/or rescreened as necessary to remove fine particle contamination as defined by the specification prior to stockpiling. Stockpiling of ballast will only be allowed over firm stable base areas. In order to minimize segregation ballast shall be stockpiled in more or less horizontal layers with no dumping over the sides of the stockpile allowed. Travel of construction machinery and other vehicles over the top of the stockpiles shall be kept at a minimum. Contractor will be responsible for the control of dust when hauling to and from stockpile.

CONSTRUCTION REQUIREMENTS

241-3.01 GENERAL. The ballast shall be manufactured, handled, stockpiled and delivered in such a manner that it is kept clean and free from segregation. Stockpiling of ballast will only be allowed over firm stable base areas. In order to minimize segregation, ballast shall be stockpiled in more or less horizontal layers with no dumping over the sides of the stockpile allowed. Travel of construction machinery and other vehicles over the top of the stockpile shall be kept to a minimum. Ballast dumped on subgrade prior to track or turnout construction shall be kept free from material tracked in by construction equipment. Ballast dumped on skeleton track and turnouts shall be distributed uniformly during the dumping operation to minimize the carrying or regulating required to provide the designed ballast section.

241-3.02 BALLAST HANDLING. Ballast shall be kept clean and free from segregation during handling and placing operations. Contractor shall submit his plan for handling and placing ballast. This plan shall include source, type of equipment to be used, location of stockpiles, and method of distribution.

241-3.03 BALLAST PLACEMENT

- Ballast shall be placed to the lines and grades indicated. The average thickness shall be within one-quarter inch of the thickness shown on the drawings. Ballast shall not be placed on soft, muddy, or frozen areas. Where the prepared sub-grade (roadbed) is soft, muddy, rutted, exhibits severe depressions, or is otherwise damaged, the ballast shall not be placed until the damaged sub-grade has been repaired and the Engineer has approved the area.

- Forming of ruts that would impair proper drainage shall be prevented when distributing ballast from trucks and off track equipment. Any ruts formed greater than one (1) inch shall be leveled and graded to drain.

- Ballast shall be unloaded as close as possible to the point of use so that unnecessary handling is prevented. Excess ballast shall be picked up and redistributed at the Contractor's expense. Ballast shall be handled in such a manner as to ensure it remains clean of deleterious materials and within specifications.

- Minimum Ballast Depth: The minimum depth of ballast between the bottom of the tie and the top of the sub-ballast or geo-textile fabric shall be 12 inches.

241-3.04 MAINLINE TRACK TAMPING

1.	This work shall consist of shaping and tamping of ballast on all new mainline track and runoffs except that which is included in other work items.

2.	PRELIMINARY SURFACING: The preliminary alignment and surfacing gangs shall follow the unloading of the ballast. Rail and tie installation, spiking, bolt tightening, and ballast placement shall be complete prior to commencement of surfacing and alignment work.

3.	LIFTS: The track, after being aligned, shall be brought to grade and surface in lifts not exceeding 4 inches each. After each lift, the ballast shall be tamped. When using jacks, they shall be placed close enough together to prevent undue bending of rail or stress of rail and joint. Both rails shall be raised at one time and as uniformly as possible, except where super elevation is required. The track shall be so lifted that after a period of not less that 5 train operations after the last lift, it will be necessary to give the track a final lift of between 1 and 2 inches to bring it to grade.

4.	Raising and tamping of track shall be performed with an automatic, vibratory, squeeze type power tamper with 16 tamping heads, capable of raising both rails simultaneously and maintaining cross level. The tamper shall be a truss type tamper with line and surface capability. The equipment to be used for surfacing operations shall have a weight of not less than 2,268 kg (5000 lbs.) and shall be capable of applying a dynamic load of not less than 8,165 kg (18,000 lbs.) at a frequency between 1,100 to 2,000 vibrations per minute. The compacting equipment selected by Contractor shall be subject to inspection and acceptance by Engineer. Every tie in the track shall receive two or more full insertions of the tamping heads. Ballast shall be power-tamped under both sides of ties from each end to a point fifteen (15) inches inside each rail for 8 feet-6 inch ties. The center shall be filled with ballast, but tamping shall not be permitted in the center of the tie between the above stated limits. Both ends of the ties shall be tamped simultaneously and tamping inside and outside of the rail shall be done at the same time. Tamping tools shall be worked opposite each other on the same tie. Ballast under switch ties and road crossing ties shall be tamped the entire length of each tie but care must be taken not to “center bind ties”. All ties shall be tamped to provide solid bearing against the base of the rail after the track or turnout is raised to grade at final surfacing. All down ties shall be brought up to the base of rail and shall be machine tamped. The resultant track surface and alignment shall be uniform and smooth. Tamping of track in snow or frozen ballast conditions shall not be permitted.

5.	Contractor shall prepare for the Engineer’s review and approval a detailed tamping procedure specification covering tamping equipment methods. The specification shall include a complete description of equipment to be used and variables that can be adjusted such as:

a.	Number of insertions of tamping tools per tie.

b.	Number of passes of tamping machine.

c.	Depth of penetration.

d.	Lifting capacity

e.	Lining capacity

6.	After tamping is complete, ballast shall be regulated to the design ballast section and all ballast removed from the top of crossties, tie plates and base of rail. Contractor shall prepare for the Engineer's review and approval a detailed raising, aligning, tamping and regulating procedure.

7.	Surplus ballast remaining after final surfacing and dressing of the ballast section shall be distributed or otherwise disposed of as directed by the Engineer.

8.	SUPERELEVATION: Curves shall be super elevated as shown on the Plans. Super elevation shall be obtained by raising the outside rail of the curve. The inside rail shall be maintained at grade. Full super elevation shall be carried throughout each curve, unless otherwise directed or shown on the drawings. Super elevation runoff to tangent shall be at a uniform rate, and shall extend at least the full length of the spirals.

9.	REPLACEMENT OF TIES: After tamping has been completed and the jacks removed, all ties pulled loose shall be replaced to their proper position, re-spiked and re-tamped to provide full bearing against the rail.

10.	RUNOFF OF TRACK RAISES: The runoff at the end of a raise shall not exceed one half (1/2) inches in thirty one (31) feet of track unless otherwise approved by the Engineer.

11.	FINAL SURFACING: After preliminary surfacing has been completed, grade and line stakes shall be checked and the track brought to final grade and alignment.

12.	FINAL TAMPING: Track shall be brought to grade and the ballast re-tamped in the manner described for preliminary surfacing, except that the tamping distance inside the rail shall be decreased from 12 to 10 inches for eight (8) foot ties, fifteen (15) to thirteen (13) inches for eight (8) feet-six (6) inch ties, and eighteen (18) to sixteen (16) inches for nine (9) foot ties.

241-3.05 TRACK SURFACING/FINAL DRESSING

1.	This work shall consist of final alignment, final surfacing and final dressing of all railroad track work to the tolerances specified in these specifications.

2.	The track shall be given a final aligning conforming to the established track centers.

3.	After the final alignment the ballast shall be dressed to the section indicated. After final dressing ballast shall not cover the tops of the ties.

4.	Upon completion of the work, the Contractor shall remove all rubbish, waste, and discarded materials generated by the work from the project area dispose of rubbish, waste, and discarded materials in an approved manner as directed by the Engineer. Areas where the Contractor has worked, including but not limited to, project areas, material storage sites, and borrow or disposal areas shall be left in a clean, well-graded, and well-drained condition.

5.	One hundred–eighty (180) calendar days after the track has been accepted and put into operation, the Contractor shall perform, at no additional cost, necessary resurfacing adjustments to leave the track in alignment and on grade.

6.	Completed track shall meet the following tolerances. Track not meeting the tolerances specified below shall be repaired to meet these requirements, at no additional cost.

a.	Gauge: Track gauge shall be within plus 1/8 inch or minus 1/8 inch of standard gauge.

b.	Alignment: Alignment shall be measured as the deviation of the mid-offset of a 62 ft line, with the ends of the line at points on the gauge side of the line rail, 5/8 inch below the top of the railhead. Either rail may be used as the line rail on tangent track; however, the same rail shall be used for the entire length of the tangent. The outside rail in a curve is always the line rail. Alignment on tangents shall not deviate from uniformity more than 1/2 inch. Alignment on curves shall not deviate from uniformity more than 3/8 inches.

c.	Track Surface: Track surface shall meet the following requirements:

- The runoff at the end of a raise shall not exceed 1/2 inch for any 31 ft of rail.

- The deviation from design profile on either rail at the mid-ordinate of a 62 ft chord shall not exceed 1/4 inch.

- Deviation from design elevations on spirals shall not exceed 1/2 inch.

- Deviation from zero cross level at any point on tangent or from designated super-elevation on curves or spirals shall not exceed 1/4 inch.

- The difference in cross level between any two points less than 62 ft apart on tangents, and on curves between spirals shall not exceed 1/4 inch.

241-4.01 METHOD OF MEASUREMENT. Ballast placed as shown on the Plans will be measured by the ton in accordance with Section 109. Ballast will be measured pursuant to the typical cross section and the limits shown on the plans. No payment will be paid for ballast that is in excess of the typical section. Any excess ballast shall be recovered by the Contractor.

Mainline Track Tamping shall be measured by the track foot of new mainline track constructed (except crossings) plus runoffs and will not be paid until the completed track work has been inspected and accepted.

Mainline Track Surfacing/Final Dressing shall be measured by the track foot of all track work final surfaced, lined, regulated and broomed complete to finish tolerances. Mainline Track Surfacing/Final Dressing will not be paid until the completed track work has been inspected and accepted.

241-5.01 BASIS OF PAYMENT. The accepted quantity of ballast will be paid for at the contract unit price per ton for the pay item shown in the bid schedule, complete in place.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 241(1) Railroad Ballast | Ton |
| 241(2) Mainline Track Tamping | Track Foot |
| 241(3) Mainline Track Surfacing/Final Dressing | Track Foot |

(7/20/03)TNH

Add the following Section:

SECTION 242

TRACKWORK

242-1.01 DESCRIPTION. This work consists of furnishing and constructing skeleton mainline track to the alignment and limits shown on the Plans.

242-2.01 MATERIALS. The Contractor shall purchase and deliver new  141-lb AB.rail with blank ends suitable for continuously welding on concrete ties with e-clip fasteners, pads and clips for application on curved and tangent track. Construction from the TS at Station 606+76.41 to the CS at Station 647+98.15 to include 10 each 7”x 9”x 10’ hardwood ties with pandrol plates with transition rails from 141-lb AB rail to 115-lb RE rail just outside the limits above and additional 4 each concrete ties. The material shall conform to the current AREA /AREMA "Manual for Railway Engineering" and as detailed in this specification.

1.	RAIL, NEW, 141 AB, PREMIUM / HIGH STRENGTH, NO HOLES, 78-80 foot lengths. . Rail may be either head hardened or fully heat treated.  Rail shall conform to the (AREMA) 2003 Manual for Railway Engineering, Volume 1, Chapter 4, Rail, Specification for Steel Rail with the clarifications listed below.  The bidder shall include with their bid response sufficient technical data to allow for a detail evaluation for the project bid.

Size	Per AREMA Chapter 4, Part 1, Figure 4-1-7, 141 AB Rail Section.

Drilling	None.

Length	Per AREMA Chapter 4, Section 2.1 Article 11- Standard length is 80 feet. Rails shorter than 74 feet in length will not be accepted. Bills of Lading with length of each rail included are required for each shipment.

Note: Mill Certificates will be required to be in the possession of ARRC prior to acceptance of the materials from awarded vendor.

2.	RAIL NEW, 115# RE, PREMIUM / HIGH STRENGTH, NO HOLES, 78 TO 80 FOOT LENGTHS.  Rail may be either head hardened or fully heat treated. Rail shall conform to the (AREMA) 2003 Manual for Railway Engineering, Volume 1, Chapter 4, Rail, Specifications for Steel Rail with the clarifications listed below.  The bidder shall include with their bid response sufficient technical data to allow for a detailed evaluation of the product bid.

Size	Per AREMA Chapter 4, Part 1, Figure 4-1-1, 115 RE Rail Section.

Drilling	None. Tie in rails shall be drilled “Last hole blank”.  Drill 2-each 1-1/4” Diameter Holes centered 2-7/8” above the base of the rail and 9-1/2” and from each end of the rail. For use with 6 Hole, 36” angle Bars and 1-1/16” Track Bolts. Per AREMA.

Length	Per AREMA Chapter 4, Section 2.1 Article 11- Standard length is 80 feet. Rail shorter than 74 feet in length will not be accepted. Bills of Lading with length of each rail included are required for each shipment.

Note: Mill Certificates, Mill certicates will be required to be in the possession of the ARRC prior to acceptance of the material from the awarded vendor.

.

3.	Rail, Transition 115 RE to 141 AB. Shall be made in accordance with AREMA. Compromise rail shall be delivered in pairs and marked right or left.

Length 	25 ft.

Drilling	None

4.	Rail Anchors: Use new rail anchors sized to conform to the rail and “Specifications for Rail Anchors” in Chapter 5, Part 7 of the AREMA Manual. Use drive-on type anchors (Unit V type or equal). ANCHOR, NEW, UNIT 5 RAIL ANCHOR FOR 115# RE RAIL, DRIVE ON. NO SUBSTITUTE. For 112-115 RE, width 1-3/32” x thickness 21/32” and weight 1.8#. Anchors shall be one (1) piece oil quenched carbon steel . Application shall be by a standard sledgehammer without the use of special tool, or an anchor applicator to drive on. Packaging shall be in 50# bags containing 28 each with 75 bags per pallet, banded.

- Pandrol Plates for the 5-12” Rail Base: Shall be Pandrol TPL-P26M, 5.5 x 7-3/4” x 15” with four 1” round holes and two 11/16” square holes.

6.	Pandrol Plates for 6” Inch Rail Base: Shall be Pandrol TPL-P2, 6 x 7-3/4” x 16” with four 1” round holes and two 11/16” square holes.

7.	Pandrol e-Clips: Shall be Pandrol Part Number ECL-2055 (right hand)

8.	Screw Pandrol, New, 15/16” x 6” SQ HD, Washer Type Part No.6619. Packaged 50 to bag, Aproximate weight 1.1 pound.

.9.	Angle Joint Bars: Angle joint bars shall be new 36" headfree, standard toeless, 6 holes for use with 115# RE rail with hole spacing to fit rail drilling per .AREMA Specifications Volume 1, Chapter 4, Section 2.8.  Joint bars shall be quenched or medium carbon steel, rolled steel only, heat #16. Hole diameter shall be 1-1/8".

.10.	Track Bolts, Nuts & Washers: Bolts and nuts shall be new and manufactured in accordance with AREA/AREMA Volume 1, Chapter 4, Section 1.4 and 2.9. Bolts shall be 1-1/16” diameter  and sufficient length for a full nut, lockwasher and  2 threads exposed after tightening, but not to exceed a 1" exposure after tightening.

11.	Nutlock, (a.k.a. Spring Washer ) New, to fit 115# track with thread diameter of 1-1/16”. Product must conform to AREA Specification #67 for Spring Washers and ARRC Standard Plan #7.0. Packaging shall be in 50# pails containing 125 each, 36 pails per pallet. Current AREMA Specifications Volume 1, Chapter 4, Section 2.10.

12.	Wooden Cross Ties: Wooden cross ties shall be treated  7”x 9” x 10’ . Cross ties shall be manufactured in accordance with AREMA Manual for Railway Engineering, Chapter 3; W.C.L.I.B. Grading Rules #17, paragraph 192b; and this specification. Hardwood ties shall be used.

a.	Timber: Cross ties shall be sawn from sound, straight live timber, free from any defect that might impair durability and/or strength. Multiples or combinations will not be accepted. Cross ties shall be cut square at the ends and have all bark that impairs treatablility entirely removed.

b.	Stump Pull: Stump pulls will be graded the same as holes or splits in the end of a tie. Cross ties with a stump pull that goes into the interior more than 5" will be rejected.

c.	Wane: Cross ties shall have a minimum 8 in. face. Minimum face specifications apply to the entire length of the cross tie. All wane shall be free of bark.

d.	Knots: A knot exceeding in diameter 1/4 of the width of the surface on which it appears will be rejected if it occurs in the rail bearing area. Outside the rail bearing area, knots will be accepted up to a diameter of 1/3 of the surface on which they appear. A cluster of knots will be judged as being a large knot in damaging effect. Rail bearing area shall be defined as 20" to 40" from center of tie.

e.	Cross Grain: Any cross tie with cross grain exceeding one in fifteen will be rejected.

f.	Straightness: A cross tie will be considered straight when (1) a straight line along the top from middle of one end to middle of the other end is not closer than 3" from either side of tie, and (2) when a straight line along a side from middle on one end to the middle of the other end is everywhere more than 2 ½" from top or bottom of the tie.

g.	Bark: Any cross tie containing more than a minimal amount of ingrown bark will be rejected.

h.	Saw Kerf: A saw kerf is not required.

i.	Mill of Manufacture Certification: A mill certification is required indicating that inspections have been performed and that the product is in conformance with specifications. The mill certification must also indicate the species of wood. All ties that pass the inspection will be clearly marked and identified as ARRC ties; unmarked ties will not be accepted.

j.	Treatment: All treatment shall meet the specifications of the American Wood Preservers Association Standards Book C6 ant the following guidelines. A treatment report shall be accurately completed for all charges and at a minimum shall contain the following:

- Charge number

- Date

- Wood species and size

- Total retort time in hours

- Conditioning time in hours

- Pressing time in hours

- Retention in pounds per cubic meter

- Average penetration to be shown for oak

- Initial air time, if applicable

- Gauge readings and times

- Treating operator's signature

- Seasoned condition (dry or green), if green show moisture content.

- Final Vacuum

- Wright of solution at 100 °F

- Work tank number and cylinder number

The preservative shall consist of a mixture of 50 percent by volume of creosote oil and 50 percent by volume of residuum oil, 50/50 coal tar solution may also be used. Final readings shall be entered on the treating report. Treating reports and charts shall become a permanent record maintained by the treating company with open access to ARRC personnel.

k.	Care of Treated Wood: Extreme care shall be used in handling treated cross ties to avoid damage to the edges of the timbers or breaking through the treated portions and exposing untreated wood. The use of peavies, cant hooks, pickaroons, long hooks or pointed tools shall be such as not to break through the treated portion of the wood. If damage during handling which could potentially impair the longevity of material service life, this material shall then be retreated at the vendor's expense. All cost associated with retreatment, including oil, shall be the responsibility of the vendor.

l.	Boring: All cross ties shall be bored and adzed in conformance to the ARRC Standard Tie Boring and Adzing Plan 1.13. Adzing may be deleted if vendor will certify that ties furnished will be flat and provide a uniform bearing surface for the tie plates.

m.	Anti-splitting Devices: All hardwood cross ties shall have steel multi-nail anti-splitting end plates in accordance with AREA/AREMA Manual of Railway Engineering, Chapter 3, Section 1.8 titled "Ties and Wood Preservation", Section 1.9.2.3 titled "Nail Plates", and Section 1.10.3 titled "Nail Plates".

n.	Species: Acceptable hardwood species are Red Oak, White Oak, Hickory, Black Walnut, Gum, Beech, Ash, White Heart Sycamore, Hackberry and Hard Maple.

13.	Concrete Cross Ties for 6” rail base with pandrol e-clip fastening.  Ties shall be CXT-419s-22 or approved equal per ARRC standard plan 1.40-03 and be produced per current AREMA specifications for concrete ties.

14.	Tie pads for concrete ties shall be 6.5mm thick, e-clip double dimple Pandrol Part No. RRP650 or approved equal. Two each per tie.

15.	Insulator for e-clip on concrete ties and tangent track shall be Pandrol Part No. 4263 or approved equal. Four each required per tie.

16.	Insulator for e-clip on concrete ties and curved track shall be Pandrol Part No. HD-10 or approved equal. Four each required per tie.

242-3.01 CONSTRUCTION REQUIREMENTS. Track construction shall be performed in accordance with the ARRC Standards, AREA/AREMA Manual for Railway Engineering and as specified in this document. Scope of construction includes but is not limited to, unloading and distribution of track material, distribution and spacing of cross ties, laying, bolting and spiking rail, field welding of jointed rail, placing rail anchors, raising, aligning and tamping track, and shaping ballast to the design section.

Construction procedures and methods shall be employed that keep the railroad sub-ballast and ballast sections from becoming rutted or disturbed and any operation that causes damage shall be stopped immediately. Alternate construction methods shall be instituted.

All existing track and crossing material removed will become the property of the Contractor, unless stated otherwise in these documents. These materials shall be removed from the ARRC right-of way.

242-3.02 TRACK ALIGNMENT AND GEOMETRY. The track shall be constructed to the alignment and profile indicated, or as adjusted by Engineer, within the tolerances specified. Contractor shall designate right or left rail, while facing in the direction of increasing stationing, to control the grade of all tangent tracks on a contract-wide basis. Low rail on curves shall be the profile grade rail. High rail on curves shall be the line rail. The Contractor shall furnish all surveying work necessary for the performance of this project.

242-3.03 TOLERANCES. Deviations from indicated gauge, cross level, horizontal line, profile grade, and tie spacing shall conform to the following requirements:

1.	Gauge: Shall be 4’-8 ½” plus 1/8 inch or minus 1/8 inch.

2.	Cross Level and Superelevation: Shall be plus or minus 1/8” from level on tangent or design superelevation on curve.

3.	Deviation from Horizontal Alignment: Plus or minus ¼” in a 62’ chord. Plus or minus ½” total except in road crossings where total deviation shall be plus or minus ¼”.

4.	Deviation from Profile Grade: Shall not exceed plus or minus ¼” in 62’ chord or a total of plus or minus ½”.

5.	Tie Spacing: Distance between centerline on adjacent ties shall be 19 ½”  for wooden cross ties and 24” for concrete ties and not vary more than plus or minus 1” from the indicated spacing, with the additional requirements that 48 wooden ties shall be installed per 78’ of track or 39 concrete ties per 78' of track.

6.	Acceptance: Final track alignment will be accepted only after the newly constructed grade has thawed and ARRC traffic has used the new track and alignment for 3 weeks.

242-3.04 CROSS TIE DISTRIBUTION. Contractor shall receive cross ties from supplier and transport them to the work area in accordance with the AREA/AREMA "Handling of Ties from the Tree into the Track" for wooden ties and “Recommended Practices for Shipping,  Handling, Application and Use” for Concrete ties. Ties shall be placed on a smooth, compacted surface as specified herein, spaced as shown within specified tolerances, and laid normal to the centerline of track with heartwood face down. Line ends of ties in trackage shall be aligned uniformly on the right side of track when facing increased stationing.

242-3.05 TIE PLATES AND SCREWS. Tie plates shall be attached to the cross ties with line and hold-down screws to the indicated patterns. Contractor may pre-plate cross ties prior to distribution. If Contractor chooses to pre-plate the cross ties, he shall furnish any additional material required at no added cost to Owner. Contractor shall use a jig to compensate for fabrication tolerances to achieve track gage tolerances.

242-3.06 RAIL LAYING Rail shall be laid in accordance with the details and procedures that follow:

1.	Rail Distribution; Rails shall be distributed along the roadbed with the head of the rail up and in such a manner and using equipment that will prevent damage to them. Dropping rails from the sides of railcars or trucks will not be permitted. Where continuous welded rail is to be used, the use of the rollers is recommended to facilitate its unloading and reduce the risk of dislocating ties and tie pads. Rail shall not be brought into contact with the tie ends during installation. Where rail heaters are used, care should be taken to prevent damage to pads and insulators.

2.	Rail Laying: The base of the rail and surface of the tie and tie plate shall be cleaned prior to laying. Rails shall be laid one at a time without bumping or striking. Rail ends shall be brought squarely together against the expansion shims and completely bolted before spiking. Rails shall be laid so that the joints in opposite rails are staggered not less than 20’apart, plus or minus 24”, except closer joints may be required at turnouts or roadway crossings. Rails of less than standard length shall be used to space the joints on curves. Rails shorter than 15’ shall not be used. Rail shall be laid or welded so that no joints are in grade crossings.

3.	Rail Cutting and Drilling: Rails shall be cut square and clean by means of rail saws. Holes for complete bolting of cut rail shall be precisely marked, center punched and drilled using an exact template for alignment. In no instance shall marking through, or drilling through joint bars be allowed. Holes shall be deburred. New holes shall not be drilled between two holes already drilled. Burning or cutting of rails or bolt holes by means of an acetylene torch will not be permitted. All cut rail ends shall be beveled at the head and be hardened to conform to AREMA "Manual Specifications for Steel Rails", Supplementary Requirement S1.

4.	Rail Joints: The fishing surface of the rails and joint-bars shall be wire-brushed to remove rust before assembly. Allowance for rail expansion shall be made at all joints by the use of expansion shims placed between the ends of adjacent rails. The proper expansion allowance shall be determined by the use of the following table. Refer to AREMA chapter 5, paragraph 5.3.1 for shim thickness to use for 12 m (39’) rail.

| Rail Temperature °F | Shim Thickness in inches for 78’- 80’ rail |  |  |
| --- | --- | --- | --- |
| Below 35 |  | 5/16 |  |
| 35-47 |  | 1/4 |  |
| 48-60 |  | 3/16 |  |
| 61-73 |  | 1/8 |  |
| 74-85 |  | 1/16 |  |
| Over 85 |  | None |  |

For shorter lengths of rail, proportionate shim thickness’ shall be used. The temperature of the rails shall be determined by the use of an AREMA standard rail thermometer, placed on the base of the rails close to the web on the side shaded from the sun. Sufficient time shall be allowed to accurately record the temperature. Care shall be taken to assure that shims are not squeezed or damaged during installation of shims or rails. Shims shall be removed from between rail ends as soon as the bolts have been tightened and the rail anchors applied. All track bolts shall be installed when the rail is laid and tightened before spiking.

Final bolt tension shall be between 20,000 and 30,000 lbs. Bolts shall be tightened once, at the time of rail installation. Final tension shall be checked and adjusted as necessary just prior to final acceptance per AREMA chapter 5, paragraph 5.5.2.

5.	Rail Anchoring: Use Pandrol clips or approved rail anchors.  Rail anchors shall be located as indicated on ARRC standard plan No. 1.21.  Under CWR rail every other tie shall be box anchored.  The rail anchors shall be placed uniformly along the rail length.  Rail anchors shall be installed to the gauge side of the rail against the same tie face on the opposite rail.  Rail anchors shall grip the base of the rail firmly and shall have full bearing against the face of the tie.  Rail anchors shall not be moved by driving them along the rail.  Where Pandrol Clips are used rail anchors are not required.

6.	On CWR rail the timing and method of applying anchors to the rail shall be described as required in paragraph 242-3.13 CWR Construction.

7.	Mainline tie-in points:  When tying into jointed rail, every tie in the jointed rail for a minimum distance of 300 feet beyond the tie-in point shall be box anchored.   When tying into CWR every tie for a minimum distance of 100 feet into existing CWR shall be box anchored.  Field welds shall be anchored for 100 feet on either side.  Contractor shall provide 10 each 7”x9”x10’ hardwood ties with pandrol plates suited for the rail size with e-clips on the transition from CWR or concrete ties.

242-3.07 THERMITE WELDING

- Rails shall be cut square and clean by means of rail saws and cleaned a minimum distance of six (6) inches from the end with torch (take care not to overheat the rail) and wire brush to free the area of grease, rust, and other foreign materials, along with any other recommendations of the welding kit manufacturer.

- No holes shall be permitted in the rail.

- All welds giving fault indication by ultrasonic inspection, magnetic particle inspection or visible inspection shall be replaced at no expense to ARRC.  This includes the addition of a 20 foot long minimum rail plug and the additional welds.

- Any additional work associated with attempting and failing to make a successful weld, resulting in a 20 foot long minimum rail plug and two welds shall be at Contractor’s expense.

- Contractor shall inform the Owner’s Representative daily of the location of completed welds to facilitate the testing and inspection by the Owner’s Representative. All thermite welds performed under this contract shall be listed on a Daily Thermite Welding Report.

- All initial testing and submittal will be performed as directed by the Owner’s Representative at no cost to Contractor.

- Contractor and Owner’s Representative will visually inspect all welds for surface cracks.  Welds with surface cracks visible to the eye shall not be acceptable.

- Contractor shall furnish all equipment and material required in the production of thermite welds.

- Thermite welding materials and equipment shall be from an approved source.  ARRC shall be notified in writing as to the source, and will notify Contractor if the source is not acceptable.

- Welding shall be done in accordance with Chapter 4, Part 2 of AREMA Manual, articles “Thermite Welding Rail Joints and Specifications for Fabrication of Continuous Welded Rail”, except as modified by these specifications.

  - The faces of the rail ends shall be arranged at right angles by cutting or grinding and shall be further cleaned to remove all scale and rust.

  - The ends of the rails to be welded shall be properly gaped and aligned to produce a weld, which shall conform to the specified alignment tolerances.  No dip in the rails shall be allowed.  Refer to Section 651-3.16 for “Detail of Max. Vertical Offset” and “Tolerances for Thermite Welds”.

  - Before preheating check the rail temperature with a rail thermometer. If the rail temperature is below thirty five (35) degrees Fahrenheit, the following procedures shall be followed to ensure that a proper preheat is made:

  - Both rails must have supplemental heat applied to raise the rail temperature to provide for controlled cooling.

ii. The length of rail to be supplementally heated shall be between thirty (30) and thirty six (36) inches for rail temperatures from thirty five (35) down to fifteen (15) degrees Fahrenheit.

iii A rail puller shall be placed on the rail to maintain the correct gap and crown unless temperature conditions are such that the possibility of rail movement is eliminated.

    - If a change in rail temperature is anticipated while the weld is being poured or while it is cooling, the rail expander should be adjusted to compensate for any stresses, which would occur at the weld due to a change in temperature.

d. 	Depending upon the type of change expected, one of the following procedures will assist in preventing temperature induced stresses from affecting the quality of the weld:

i. Rail temperature is low and a raise in temperatures is anticipated the rail expander    should be set to expand the gap and enough pressure built up to cause a slight increase in the gap.  This should prevent any subsequent decrease in gap width.

ii.Rail temperature is high and a drop in temperature is anticipated the rail expander should be set up to pull and enough pressure built up to cause a slight subsequent decrease in width.

e. Whenever either of the above procedures is required, the final gap width shall be as  stated in the manufacturer’s instructions for the rail weight being welded.

f.  The rail puller shall remain on the rail until the weld is complete and has cooled to seven  hundred (700) degrees Fahrenheit.  This is verified when the center of the weld around its entire periphery will not melt a 700 degree Fahrenheit temperature stick.

g. When the rail puller is removed it shall be released in a gradual manner.

h. Rail ends shall be preheated prior to welding to a sufficient temperature and for a sufficient time to ensure full fusion of the weld metal to the rail ends without cracking of the rail or weld, per manufacturer’s instructions.

i. The mold shall be left in place after tapping for a sufficient time to permit complete solidification of the molten metal and proper slow cooling to prevent cracking and provide a complete weld with the proper hardness and ductility.

j.  The completed weld shall be furnished by mechanically controlled grinding to conform to the same requirements specified for shop welding with the exception of grinding under the base.

k. Wearing protective clothing and safety equipment is required during welding operations.

l . Never dump hot slag on wet soil, wet ballast or into water.

m.On curves where the slag basin is placed on the low side, the plug portion of the mold shall be filled so that it is horizontal when placed in the mold and will cause the molten metal to flow equally to both sides of the mold.

n. Thermite welds shall not be made within three (3) feet of another thermite weld or within twelve (12) inches of a plant weld or within two and one half (2-1/2) feet from the end of a bonded joint without written approval by the Owners Representative.

o. Contractor shall re-space cross ties as necessary to prevent a weld from sitting on a tie.  The cost incurred by Contractor to re-space the crossties will be considered incidental to the cost of completing a thermite weld.  It is acceptable to cut the rail in order to prevent a weld from sitting on a tie.

p. Contractor shall tamp and dress track, as necessary, to provide firm support at the weld.

q. Contractor shall plug and re-drive all necessary spikes.

r. Contractor shall properly re-apply and adjust anchors as necessary to conform to anchor pattern.

s. Contractor shall clean up all waste from the field welding process and shall dispose of all superfluous materials.

t.  If Contractor chooses to weld joints prior to the rail being laid, de-stressed and anchored, then joints will need to be at a minimum distance of every fourteen hundred (1,400) feet to provide for the thermal adjustment that will occur before it is anchored.  Any variance from this shall have the written approval of the Owner’s Representative.  If approval has not been given and Contractor has welded the rail then Contractor shall, at its cost, cut and re-weld the rail at approximately fourteen hundred (1,400) foot intervals.

u. No additional compensation shall be allowed for compromise welds.

v. No payment will be made for additional welds created by avoidable plugging, without written authority of the Owners Representative.

242-3.08 WELD FINISHING AND TOLERANCES

- Welded joints in the finished track shall be brought to a true surface and alignment by means of a proper grinding or planning machine (shear).  Finish grinding shall be performed with an approved profile grinder operated by a skilled workman grinding evenly and leaving the joints in a smooth and satisfactory condition.  Finishing shall eliminate all cracks. Mechanically controlled grinding in conformance with the following requirements shall finish the completed weld:

- Maximum Vertical offset: The Maximum vertical offset in the vertical plane shall be no greater than 0.060 inches measured 1 inch from the weld fusion line.

- Combined Vertical offset and Crown:  The Maximum combined vertical offset and crown shall be no greater than 0.060 inches.

- Dip Camber:  No Dip Camber is allowed.

- Horizontal Offset:  The Maximum horizontal alignment offset shall be no greater than 0.030 inches.

- Horizontal Offset & Kink (to gauge side of rail):  The Maximum horizontal alignment offset and Kink shall be no greater than 0.030 inches.

- Horizontal Offset & Kink (to field side of rail):  The Maximum horizontal alignment offset and Kink shall be no greater than 0.015 inches.

- Measurements shall be made with an approved 36-inch straight edge and taper gauge.

242-3.09 WELD QUALITY  Each completed weld shall have full penetration and complete fusion and be entirely free of cracks or fissures.  Welds shall meet the acceptance criteria given in AWS D1.1.

242-3.10 WELD NUMBERING  The Contractor shall semi-permanently mark a sequential weld number on the rail immediately adjacent to the weld, using a quality lead paint marker at the time the weld is made.  Welds shall be numbered sequentially in the order in which they are made.  The Owner will provide the Contractor with the initial weld number.  Defective welds, which are replaced, shall be assigned a new sequential number by adding a letter to the defective weld number (e.g., defective weld 347 would be replaced by 347A).

242-3.11 WELDING SUPERVISION  A certified welder shall perform welding under the direct supervision of an experienced welding supervisor or foreman and be certified by the manufacturer of the welding equipment.

242-3.12 WEATHER CONDITIONS  Welding shall not be performed in rain, snow, or other inclement weather without adequate protection of the welding from the elements.  If using field welds, welding shall not be performed below minimum ambient temperature recommended by the manufacturer.

242-3.13 CWR CONSTRUCTION

- Contractor shall provide for the handling and laying of welded rail strings or in-track welding of rail in such a manner as to avoid damage to the roadbed, subgrade, rail, and ties.  Care must be exercised to avoid twisting or damaging welded rail strings.  After delivery and unloading, Contractor shall be responsible for damage to welded rail strings to extent that complete strings, or sections thereof damaged to the extent that they are, in the opinion of the Owner’s Representative, unsuitable for use such rail section be replaced at the sole expense of the Contractor.

- Rails shall not be driven into position, but shall be repositioned or moved by mechanical means.  Driven rails shall not be allowed to remain in the track and shall be removed and replaced at the Contractor’s expense.  CWR strings shall not be cut to facilitate laying or fitting without written approval of the Owner’s Representative.

- Rail temperature shall be taken immediately behind the anchor application and shall be taken at intervals of approximately three hundred fifty (350) feet.  Rail temperature shall be determined with a rail thermometer placed on the rail web, not exposed to the direct rays of the sun.  CWR being adjusted by heating must be free to expand longitudinally towards its loose end.

- On new construction, the track must be fully ballasted and surfaced before Contractor can anchor the CWR.

- CWR shall be anchored at a temperature of between seventy-five (75) and ninety (90) degrees Fahrenheit. If rail temperature is below that minimum, then a proper de-stress plan must be submitted to the Owners Representative for approval.  The De-stress plan must include at a minimum the following:

- Methods for Calculating Rail Adjustments

- Methods for Heating and Expanding Rail to Calculated Lengths

- Methods for marking, observing and recording rail expansion

- Methods for anchoring during de-stress operations

- Types of rail heaters and pullers/expanders

- Method of Heating and Vibrating rail

- Quality Assurance, Quality Control Procedures

- Any rail adjusted must have a daily adjustment record filled out and submitted to the ARRC.

- Contractor shall not create any additional joints in a solid length of CWR without the authority of the Owner’s Representative

- If neutral rail temperature exceeds  (90) degrees Fahrenheit without the assistance of external heating equipment, Contractor shall inform the Owner’s Representative immediately.

- The Owners Representative shall be notified at least forty-eight (48) hours before thermal adjustment to the CWR is performed.

- The air and rail temperature at the time of rail anchoring shall be painted on the web of the rail with four (4) inch letters.  The marking shall be made with permanent paint.

- Nicked or gouged rail shall be rejected and replaced as determined by the Owner’s Representative at the sole cost of the Contractor for any rail damage due to Contractor’s handling.  This includes the cost of the replacement rail, welds and any associated cost with the change out of the defect.

- In-track welding of rail joints to create CWR shall be in accordance with this section

242-3.14 TRACK CONSTRUCTION SUBMITTALS

- Thermite Welding Procedures:  A detailed statement covering the step-by-step procedures to be employed in making the welds, including a complete description of each of the following items, as applicable, and any other essential characteristics included in the welding procedures.

  - The manufacturer's trade name for the welding process.

  - The method used for cutting and cleaning the rail ends.  Flame cutting of rail            ends shall not be allowed.

  - The minimum and maximum spacing between rail ends.

  - The method used for maintaining the rails in alignment during welding.

  - The method used for preheating, including time and temperature.

  - The tapping procedure, including the minimum time required to cool the weld under the mold insulation.

  - The method used, including a description of special tools and equipment, for removing the upset metal and finishing the weld to the final contour.

  - Quality control procedures to be followed.

  - The contractual agreements with any subcontractor employed by the Contractor in doing the work.

- Rail De-stressing Procedures: As stated in section 651-3.21, detailed works plan covering the step-by-step procedures to be employed in raising CWR to its neutral temperature.

- Electric Arc Welding Procedure:  A detailed specification covering the step-by-step procedures to be employed in making the electric arc welds.  A complete description of each of the following items as applicable and any other essential characteristics shall be included in the procedure specifications.

  - Type, size, and capacity of electric welding machine (250 amp minimum), grinder and other equipment, including the type and size of material (welding rod or wire).

  - The method to be used to remove defective and excess metal prior to welding (arc air or grinding).

  - The method to be used to prevent warping.

  - The method used for preheating, including time and temperature.

  - The method of applying metal buildup and slag removal.

  - The method of securing original contour of items welded.

  - Quality control procedures to be followed.

  - Welding materials (rod or wire), name and manufacturer of materials (low carbon steel) for welding rail, rail frogs, guard rails, switch point protectors, and switch points without manganese inserts and materials (manganese alloy) for welding manganese frogs, RBM frogs, manganese switch point inserts and manganese railroad crossing inserts or castings.

- Record of Field Weld:  A welding record of each field weld on forms provided by the ARRC.  The original copies of the form bearing the signatures and initials of personnel involved shall be submitted as part of the Project Record Documents.

- Record of Rail Adjustment:  A rail adjustment record of each rail adjustment on forms provided by the ARRC.  The original copies of the form bearing the signatures and initials of personnel involved shall be submitted as part of the Project Record Documents.

- Electric Flash But welding: is preferred for Mainline CWR construction.

242-4.01 MAINLINE TRACK CUT-OVER This work shall consist of providing all necessary equipment and labor to cut-over newly constructed track into existing operational mainline track with 25 foot transition rails bolted (last holes blank) on the 115 lb side and welded on the 141 lb side on 10 each 10’ long hardwood ties with pandrol plates and four each concrete ties.  Factory welds shall be in the same crib, including all required removal of existing track and ballast, line over and raising of existing track and connecting to new track.

Contractor must formally request in writing for a track window a minimum of 21 days in advance of the date of the scheduled tie in. The ARRC will provide a six (6) hour window to do the tie in prior to September 19, 2003 and an eight (8) window after that date.

The Contractor shall coordinate with the Engineer to schedule track outages. For Mainline Cut-Over, main track outages will be scheduled 14 days in advance. The track outage will be for no more than 6 hours or 8 hours depending upon the date of the window as stated above. The track outage will be limited to weekend (Saturday or Sunday) nights, and the ARRC will require 48 hrs notice if the outage must be delayed a week.

Prior to track outages, the contractor will submit a closure plan to the ARRC. The plan will establish the work to be accomplished, the equipment, manpower and other resources required, and the schedule. Once agreed to by the ARRC, the Contractor will follow the plan. The ARRC reserves the right to assume control the work to reestablish rail service if the schedule is not met. Contractor will bear all cost and damages that may result from failure to meet the closure schedule, in addition to the train delay charges provided for in the contract.

Contactor must schedule a pre-final inspection of track to be tied in a minimum of 14 days in advance of the date of the scheduled Cut-Over.

Contractor must complete punch-list Items identified a minimum of 4 days in advance of the date of the scheduled Cut-Over.

Contactor must schedule a final inspection of track to be tied in a minimum of 3 days in advance of the date of the scheduled tie in. The ARRC must approve the newly constructed track prior to the Cut-Over.

242-4.02 END OF TRACK BUMPING POST. End of Track Bumping Post shall be Western Cullen Hayes Bumping Post Type WD, or approved equal. Installation shall be in accordance with manufacturer’s directions. Middle rails, consisting of a minimum of 18 track feet of 115 lb rail, shall be furnished and installed by the Contractor, per the manufacturer’s specifications.

242-4.01 METHOD OF MEASUREMENT.  Railroad Trackwork will be measured by the track foot along the center line of track beginning at the centerline of the first cross tie and ending at the centerline of the last cross tie.

Mainline cut-over will be measured per each. Mainline cut-over will include all equipment and labor necessary to cut-over newly constructed track into existing operational mainline track with transition rails. All demolition and reconstruction of grade, including compaction if required shall be incidental to this work.

End of Track Bumping Post paid for as a lump sum item will not be measured for payment.

242-6.01 BASIS OF PAYMENT. The accepted quantity of track work will be paid for at the contract unit price, per track foot for the pay item shown in the bid schedule, complete in place.

Continuously Welded Rail trackwork will be paid as above.

Mainline track cut-overs will be paid for per each. End of track bumping post will be paid for per each, complete in place, including transition rails, middle rails, and all associated appurtenances.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 242(1) Railroad Mainline Track | Track Foot |
| 242(2) Mainline Track Cut-Over | Each |
| 242(3) Bumping Post | Each |

(2/10/04)ARRC

Add the following section:

SECTION 244

TRACKWORK REMOVAL

244-1.01	DESCRIPTION. This work consists of dismantling and removing 115 pound and 70 pound track, crossings and turnouts from the existing trackbed. This work also includes grading and reshaping the existing track embankment to natural contours. All removed trackwork materials, unless otherwise specified on the plans or in these specifications, shall become the property of the Contractor

CONSTRUCTION REQUIREMENTS

244-3.01	GENERAL. Track removal will include all trackwork, turnouts and grade crossings that are retired from service as a result of the new track construction. This work will also include removal of abandoned metal gate foundation at the Main St. siding crossing, the pavement adjacent to this crossing and the crossing at Kenai Supply Access Road.

244-3.02	TRACKBED CLEANUP AND SHAPING. After all track material has been removed and debris and tie remnants removed, the remaining ballast and subgrade shall be bladed and shaped to conform to the surrounding area. No material will be removed or added during this operation.

244-3.03	MISCELLANEOUS MATERIALS. Spikes, bolts, nuts, and washers and other miscellaneous track parts such as gauge rods shall become the property of the contractor.

244-4.01	METHOD OF MEASUREMENT. Track work removal shall be measured by the track-foot along the centerline of track beginning at the centerline of the first crosstie and ending at the centerline of the last cross tie for each track removed. Turnouts shall be measured only along the straight leg of the turnout to the last long tie. Removal of crossings, pavement, and miscellaneous railroad materials shall be incidental to this work and will not be measured for payment.

244-5.01	BASIS OF PAYMENT. The accepted quantity of work will be paid for at the contract unit price, per track foot from the center of the first cross tie to the center of the last. All required grading and shaping of existing track embankment and removal of existing crossings shall be subsidiary to Item 244 (1) Trackwork Removal.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 244(1) Trackwork Removal | Track Foot |

(7/20/03)TNH

SECTION 301

AGGREGATE BASE AND SURFACE COURSE

Special Provisions

301-2.01 MATERIALS. Add the following after the first paragraph: At the Contractor's option, recycled asphalt material (RAM) may be substituted for aggregate base course, millimeter for millimeter, if the following conditions are met:

1.	RAM shall be crushed or processed to 100 percent by weight passing the 37.5 mm sieve and 95-100 percent by weight passing the 25 mm sieve.

2.	The gradation of the extracted aggregate shall meet the following:

| Sieve | Percent Passing by Weight |
| --- | --- |
| 25 mm | 100 |
| 19 mm | 70-100 |
| 9.5 mm | 42-90 |
| 4.75 mm | 28-78 |
| 1.18 mm | 11-54 |
| 0.300 mm | 5-34 |
| 0.150 mm | 3-22 |
| 0.075 mm | 2-12 |

3.	The asphalt content shall be 2.5 - 5.0 percent by weight of the RAM.

(2/28/01)R176M98

301-3.01 PLACING. Add the following: Base course material used for the sidewalk and pathway foundation shall be placed with a "Layton box" or similar equipment capable of providing a specified depth with a uniform surface.

(9/1/89)R26

301-3.03 SHAPING AND COMPACTION. Add the following: If recycled asphalt material is substituted for aggregate base course, the following conditions shall be met:

1.	Density acceptance will be based upon a roller pattern. The roller pattern shall be determined by a test strip using a vibratory compactor with a minimum dynamic force of 178,000 newtons. The optimum density will be determined by the Engineer using a nuclear densometer gauge to monitor the test strip. Adequate water shall be added to aid compaction.

2.	After the appropriate coverage with the vibratory compactor, a minimum of 6 passes with a pneumatic tire roller shall be completed. Tires shall be inflated to 550 kPa (±34 kPa), and the roller shall have a minimum operating weight per tire of 1360 kg.

301-5.01 BASIS OF PAYMENT. Add the following: If recycled asphalt material is substituted for aggregate base course, it will be paid for as Item 301(1A), Aggregate Base Course, Grading D-1 at the unit price shown on the bid schedule for that item.

(2/28/01)R176M98

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 301(1A) Aggregate Base Course, Grading D-1 | Megagram |
| 301(1B) Aggregate Base Course, Grading C-1 | Megagram |

SECTION 306

ASPHALT TREATED BASE COURSE

Special Provisions

306-1.01 DESCRIPTION. Add the following. The Contractor may elect to incorporate existing asphalt pavement into the mix as Processed Asphalt Pavement (PAP).

306-2.01 MATERIALS. Delete items 1 and 2 and replace with the following:

1.	Aggregate. Conform to Subsection 703-2.04.

2.	Asphalt. The total residual asphalt cement may be a combination of PG 52-28 and the asphalt binder in the existing asphalt or only PG 52-28. Documentation and conformance is only required for PG 52-28. The Engineer may conditionally accept asphalt cement at the source. Provide a manufacture’s certificate of compliance, in accordance with Subsection 106-1.05, test results of applicable quality requirements of Section 702 before you ship the material.

Add the following:

4.	Processed Asphalt Pavement. Process existing pavement removed under Subsection 202-3.05 so all the material passes the 37.5 mm sieve. Stockpile the material separately from the Asphalt Concrete

Pavement aggregates. Perform one gradation and one asphalt content test for every 1000 megagrams of PAP or a minimum of ten sets of tests which ever is greater. From these samples, ten samples shall be split and submitted to the State Materials lab.

CONSTRUCTION REQUIREMENTS

306-3.01 COMPOSITION OF MIXES. Replace this Subsection with the following

At least 15 calendar days prior to the production, submit the following to the Engineer:

- A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process control information, and the blend ratio of each aggregate stockpile and PAP. The proposed mix gradation must meet the requirements of Table 703-3, Type II Submit gradation and asphalt content process control data of PAP for the Job Mix Design. If PAP is proposed in the mix design, submit gradation and asphalt content process control data.

- Provide representative samples of each of the aggregates in the blend. Sample sizes: 45 kilograms of each intermediate and/or coarse aggregate, 90 kilograms of fine aggregate, 10 kilograms of blend sand, and 90 kilograms of PAP.

- A minimum of three 4-liter samples of asphalt cement proposed for use in the mixture, including the name of the product, the manufacturer, test results as required in Section 702, manufacturer’s certificate of compliance in accordance with Section 106, and a temperature viscosity curve for the asphalt cement.

- A 0.25-liter sample of the anti-strip additive proposed, including the name of product, manufacturer, and manufacturer’s data sheet, and current Materials safety Data Sheet (MSDS).

From this information, the Engineer will establish the Job Mix Design using ATM T-17, which will become a part of the contract. The Job Mix Design shall meet the requirements of Type II, Class B in Table 401-1 (no VMA requirements apply), Asphalt Concrete Mix Design Requirements. PAP may be used in the mixture. The design minimum residual asphalt content (PAP residual plus PG 52-28) is 5.0 percent by weight of total mix and with ¼ percent anti-strip by weight of PG 52-28. When Job Mix requires asphalt content greater than 5.0 percent, that amount of the PG 52-28 greater than 5.0 percent total residual will be paid for under the 401(2) bid unit price.

A new Job Mix design is required by changes in the source of asphalt cement, the source of aggregates, aggregate quality, aggregate gradations, or blend ratios, in the same manner as the original submittal.

Approved Job Mix Designs will have the full tolerances shown in Table 401-2 applied and will not be limited to the broad band listed in Table 703-3. Tolerances for the largest sieve specified will be plus 0% and minus 1%.

306-3.02 WEATHER LIMITATIONS. Delete the requirements of this Subsection and substitute the following:  Apply the requirements of Subsection 401-3.01.

306-3.03 STOCKPILING. Delete this Subsection in its entirety.

306-3.04 EQUIPMENT. Add the following: Apply the requirements of Subsection 401-3.02 to all equipment.

Add the following to item 1:

1.	If you choose to use recycled materials, the asphalt plant shall combine PAP with Asphalt concrete aggregates to produce a hot recycled asphalt treated base mixture.

Delete Subsections 306-3.05 and 306-3.06 and substitute the requirements of Subsections 401-3.08 and 401-3.09.

Delete Subsections 306-3.08 and 306-3.09 and substitute the requirements of Subsections 401-3.12 and 401-3.13.

Apply the requirements of Subsections 401-3.07, 401-3.10 and 401-3.11 and 401-3.16.

Add the following:

306-3.12 PATCHING DEFECTIVE AREAS. Remove any ATB that becomes contaminated with foreign material, is segregated, or is in any way determined to be defective. Do not skin patch. Remove defective materials for the full thickness of the course. Cut the pavement so that all edges are vertical, the sides are parallel to the direction of traffic and the ends are skewed between 15-25 degrees. Coat edges with a tack coat conforming to Section 402 and allow to cure. Place and compact fresh ATB to grade and smoothness requirements.

Standard Modifications

306-4.01 METHOD OF MEASUREMENT. In the second paragraph, change “Asphalt material” to “Asphalt cement”.

(06/25/99)M72

Special Provisions

Change the second paragraph to read:

Asphalt Cement. Will not be measured for payment, the cost of the asphalt cement will be subsidiary to Item 306(1).

Change the second paragraph to read:

Antistrip additive. Will not be measured for payment, the cost of the antistrip additive will be subsidiary to Item 306(1).

306-4.02 ACCEPTANCE SAMPLING AND TESTING. Sample and test Asphalt Treated Base at 1000 Mg intervals for acceptance. The Department has the exclusive right and responsibility for determining the acceptability of all materials incorporated into the project. The Engineer shall perform acceptance sampling and testing.

Within 24 hours of final rolling, cut one 150 mm diameter core, full depth, from the finished mat to determine density. Neatly cut the sample using a core drill at the randomly selected location marked by the Engineer. Use a core extractor to prevent damage to the core. Do not cut a sample over a bridge deck.

The Engineer shall test for density, gradation, and asphalt content as specified in Subsection 401-4.02. The Engineer will make the results of the acceptance testing available to you within seven working days from the date of sampling.

(02/05/03)R226M98(02/17/04)R&M

306-5.01 BASIS OF PAYMENT. Add the following: Asphalt cement and anti-strip shall not be paid separately but shall be subsidiary to and included in the Asphalt Treated Base contract price.

Patching defective areas shall be subsidiary to Item 306(1).

(02/05/03)R226M98

306-5.01 BASIS OF PAYMENT. In the Pay Item table, change “ATB” to “Asphalt Treated Base”. (08/03/03)R&M

Add the following Section:

SECTION 311

ASPHALT TREATED PERMEABLE BASE

Special Provisions

311-1.01 DESCRIPTION. This work consists of constructing an asphalt treated permeable base course on an approved surface in conformance with the Plans.

311-2.01 MATERIALS. Use materials that conform to the following:

1.	Aggregate. Conform to Subsection 703-2.04 Aggregate for Asphalt Concrete Pavement, Gradation Type ATPB-1.

2.	Asphalt. Conform to Subsection 702-2.01, Asphalt Cements. When not specified, the grade of the asphalt cement shall be PG 58-28. Test each batch of asphalt cement for conformance to Specifications in Section 702 prior to shipping. Note storage tank used for the batch on the test report. Add anti-strip additives to the asphalt cement during load out for delivery to the project. Include a printed weight ticket of anti-strip with the asphalt cement delivery ticket. The location where anti-strip is added may be changed with the approval of the Engineer.

Shipping documents shall include the following:

a.	Manufacturers certificate of compliance, Subsection 106-1.05

b.	Conformance test results of the batch, Section 702.

c.	Manufacturer shall also certify:

- Date and Time of loading

- Batch number and storage tank

- Type, grade, temperature, and quantity of materials loaded

- Type and percent of anti-strip added.

3.	Anti-Strip Additives. Use anti-strip agents in the proportions determined by ATM T-14 and included in the approved Job Mix Design. At least 70 percent of the aggregate shall remain coated when tested in accordance with ATM T-14.

4.	Stabilizing Additives. Use cellulose stabilizing additives at the dosage rate of 0.3 percent by weight of the total mix. The allowable tolerance per megagram shall not exceed 10 percent of the required weight of the stabilizing additive.

The cellulose stabilizing additive shall conform to the properties shown in Table A.

TABLE A

CELLULOSE STABILIZING ADDITIVE

| PROPERTY | REQUIREMENT |
| --- | --- |
| Sieve Analysis |  |
| Method A - Alpine Sieve Analysis(1) |  |
| Fiber Length: Percent passing 0.150 mm sieve | 6.4 mm (max) 60-80 |
| Method B - Mesh Screen Analysis(2) |  |
| Fiber Length Percent passing 0.850 mm sieve Percent passing 0.425 mm sieve Percent passing 0.106 mm sieve | 0.9-1.5 mm (avg) 75-95 55-75 10-30 |
| Ash Content(3) | 20% non-volatiles (max) |
| pH(4) | 7.5 +/-1.0 |
| Oil Absorption(5) | 5.0 +/-1.0 times fiber weight |
| Moisture Content(6) | < 5% |
| Bulk Density(7) | 20.0-40.0 kg/m3 |

Notes:

- Method A - Alpine Sieve Analysis. This test is performed using an Alpine Air Jet Sieve (Type 200 LS). A representative five gram sample of fiber is sieved for 14 minutes at a controlled vacuum of 0.56 meters (+/- 75 mm) of water. The portion remaining on the screen is weighed.

- Method B - Mesh Screen Analysis. This test is performed using 0.850, 0.425, 0.250, 0.180, 0.150 and 0.106 mm sieves, nylon brushes and a shaker. A representative 10 gram sample of fiber is sieved, using a shaker and two nylon brushes on each screen. The amount retained on each sieve is weighed and the percentage passing calculated.

- Ash Content. A representative 2-3 gram sample of fiber is placed in a tared crucible and heated between 593E and 649E C for not less than two hours. The crucible and ash are cooled in a desiccator and reweighed.

- pH Test. Five grams of fiber is added to 100 ml of distilled water, stirred and let sit for 30 minutes. The pH is determined with a probe calibrated with pH 7.0 buffer.

- Oil Absorption Test. Five grams of fiber is accurately weighed and suspended in an excess of mineral spirits for not less than five minutes to ensure total saturation. It is then placed in a screen mesh strainer (approximately 0.5 square millimeter hole size) and shaken on a wrist action shaker for ten minutes (approximately 31.75 mm motion at 240 shakes/minute). The shaken mass is then transferred without touching, to a tared container and weighed. Results are reported as the amount (number of times its own weight) the fibers are able to absorb.

- Moisture Content. Ten grams of fiber is weighed and placed in a 121E C forced air oven for two hours. The sample is then reweighed immediately upon removal from the oven.

- Bulk Density. Fluff fiber with air or Hobart Mixer, weigh out 25 grams of fiber, place in 100 ml cylinder, tap cylinder and measure volume.

311-2.02 COMPOSITION OF MIXES - JOB MIX DESIGN. Mixture shall be composed of aggregate, asphalt cement, and required additives combined within the limits specified in the Contract. Submit the following to the Engineer at least 15 calendar days prior to the production:

1.	Mixing Plant: location, size, and type.

2.	Aggregates: Representative samples of each of the aggregates if it is to be blended. The blended aggregate must meet the requirements of 703-2.04 and the gradation of Table 703-2, Type ATPB-1.

- Sample sizes: 100 kilograms aggregate.

- Proposed gradation for the Job Mix Design with a blend ratio of each aggregate stockpile.

- Gradations for individual stockpiles with supporting process control information.

3.	Asphalt Cement:

- Sample Size: A minimum of three 4-liter samples of the asphalt cement proposed for use in the mixture.

- A letter stating name of product and manufacturer,

- Test results showing compliance to Section 702 Specifications,

- Manufacturer's certificate of compliance with Section 702,

- Temperature/viscosity curve for the asphalt cement.

- Current Materials Safety Data Sheet (MSDS).

- Design percentage of asphalt cement will be between two to four percent by weight of the total mix.

4.	Anti-Strip Additive

- Sample Size: A minimum 0.25-liter sample of the anti-strip additive proposed,

- Including name of product, manufacturer, and manufacturer's data sheet,

- Current Materials Safety Data Sheet (MSDS).

5.	Stabilizing Additive

- Sample Size: A minimum 2.5 kilogram sample of the cellulose stabilizing additive

- Use cellulose stabilizing additives at the dosage rate of 0.3 percent by weight of the total mix.

- Name of product, manufacturer, test results of product

- Manufacturer’s certificate of compliance

The Engineer will then evaluate the material and the proposed gradation and establish the Job Mix Design. Approved Job Mix Designs will become a part of the Contract and will specify the target value for asphalt cement content, additives, and the allowable mixing and placement temperature ranges. Allow 15 working days for the Job Mix Design after receipt of all items specified above.

Approved Job Mix Designs will have the tolerances shown in Table 401-2, applied to the extent that the gradation does not exceed the limits of the broad band listed in Table 703-2. Tolerances will not be applied to the largest sieve specified.

311-3.03 PROCESS QUALITY CONTROL. Conform to Subsection 401-2.05

CONSTRUCTION REQUIREMENTS

311-3.01 WEATHER LIMITATIONS. Do not place asphalt concrete mixture on a frozen surface or when weather conditions would prevent proper placement and compaction. Air temperature must be 5° C or higher during placement.

311-3.02 EQUIPMENT, GENERAL. Conform to Subsection 401-3.02

311-3.03 ASPHALT MIXING PLANT. Conform to Subsection 401-3.03

311-3.04 HAULING EQUIPMENT. Conform to Subsection 401-3.04

311-3.05 ASPHALT PAVERS. Conform to Subsection 401-3.05

311-3.06 ROLLERS. Conform to Subsection 401-3.06

311-3.07 PREPARATION OF EXISTING SURFACE. Conform to Subsection 401-3.07

311-3.08 PREPARATION OF ASPHALT. Conform to Subsection 401-3.08

311-3.09 PREPARATION OF AGGREGATES. Conform to Subsection 401-3.09

311-3.10 MIXING. Uniformly combine the aggregate, asphalt cement, additives, and stabilizing additives in the amounts required by the Job Mix Design. Mix the materials to obtain 98 percent coated particles when tested in accordance with AASHTO T 195. Mix within the temperature range determined by the Job Mix Design. Provide appropriate equipment for accurately proportioning the relatively large amounts of mineral filler required for the mixture.

1.	For Batch Plants. Add the stabilizing additive through a separate inlet directly into the weigh hopper above the pugmill. Time the addition of the stabilizing additive to occur during the hot aggregate charging of the hopper. Provide adequate dry mixing time to ensure proper blending of the aggregate and fiber stabilizer. Dry mix aggregate with cellulose stabilizing additive a minimum of 15 seconds, and wet mix a minimum of 40 seconds. In batch plants, place the dry aggregate in motion immediately prior to the addition of asphalt cement.

2.	For Drum Mix Plants. Add cellulose stabilizing additive into the drum mixer at the same point the asphalt cement is added. Operate the drum mixer to ensure complete blending of the stabilizing additive into the mix.

311-3.11 TEMPORARY STORAGE. Conform to Subsection 401-3.11

311-3.12 PLACING AND SPREADING. Conform to Subsection 401-3.12. Place the full thickness of the base in a single lift.

311-3.13 COMPACTION. Do not begin compaction until the mix temperature has cooled to 65° C or cooler. Use vibratory rollers for initial compaction and a steel wheel tandem roller for final rolling. Do not crack, shove, or displace the mix while rolling. Continue rolling until no additional consolidation occurs, as approved by the Engineer.

311-3.14 JOINTS. Minimize the number of joints. Offset the longitudinal joint 150 mm from the joint in next layer of asphalt. No joints will be cored for density.

311-3.15 SURFACE TOLERANCE. The Engineer will use a four-meter straight edge to measure surface variation of the finished mat. Repair surfaces that have a variation greater than 5 mm.

311 3.16 MAINTENANCE. Keep unnecessary traffic off ATPB surface. Cover with asphalt concrete mix within seven days. Remove any ATPB that becomes contaminated with foreign material, is segregated, or is in any way determined to be defective. Remove defective materials for the full thickness of the course. Place and compact fresh ATPB per Subsection 401-3.12 and Subsection 401-3.13 to grade.

311-4.01 METHOD OF MEASUREMENT. Conform to Subsection 401-4.01, except no longitudinal joints will be cored for density.

311-4.02 ACCEPTANCE SAMPLING AND TESTING. Conform to Subsection 401-4.02.

Delete the third, fourth, fifth, and sixth full paragraphs on Page 122 of the Standard Specifications, and substitute the following: Samples will be taken for the determination of asphalt cement content from one of the following locations and document this location at the pre-paving meeting.

- The windrow ahead of the paving machine

- The end of the auger of the paving machine

- Behind the screed of the paving machine prior to compaction.

Asphalt cement content will be determined in accordance with WAQTC TM 4, or AASHTO T 308 with the exception that the moisture content will be determined in accordance with WAQTC TM 6.

Drum Mix Plants –Samples will be taken for the determination of aggregate gradation from the one of the following locations.

- Combined aggregate cold feed conveyor via a sampling device

- Sample from a section of stopped conveyor belt

- Sample of asphalt concrete mixture taken from the same location as samples for the determination of asphalt cement content.

This location shall be documented at the pre-paving meeting.

The Contractor shall sample asphalt cement from the asphalt cement supply line when requested, witnessed by the Engineer’s representative.  After purging residual asphalt from the sampling valve, take 3 one-quart samples (Department’s acceptance and referee samples, and Contractor’s retest sample).

The aggregate gradation will be determined in accordance with WAQTC FOP for AASHTO T27 / T11 for uncoated aggregate, or will be determined in accordance with AASHTO T 30 from the aggregate remaining after the ignition oven (AASHTO T 308) has burned off the asphalt cement.

Batch Plants- Mix samples for determination of aggregate gradation and asphalt cement content will be taken from the same location. This location shall be documented at the pre-paving meeting.

The gradation of asphalt concrete mixture samples will be determined in accordance with AASHTO T-30 from aggregate remaining after the ignition oven (AASHTO T-308) has burned off the asphalt cement.

311-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE Asphalt cement will be randomly sampled and tested at a frequency of one sample taken for every 200 tons used.  No sampling and testing is required for projects having less than 100 tons of asphalt cement, but will be accepted based on shipping certification and supplier test results.  If the last project sample increment is less than 100 tons, it shall not be sampled and tested; but the asphalt quantity will be added to that of previous sample for pay evaluation.  If the last project sample increment is over 100 tons, it shall be sampled, tested, and evaluated separately.  Price adjustments for each sample will be assessed according to the following Asphalt Cement Pay Reduction Table.

ASPHALT CEMENT PAY REDUCTION

(Use the single, highest pay reduction factor)

|  |  | Pay Reduction Factor (PRF) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Specification | 0 | 0.04 | 0.05 | 0.06 | 0.07 | 0.08 | 0.1 | 0.25 | Reject or Engr Eval. |
| Tests On Original Binder |  |  |  |  |  |  |  |  |  |  |
| Viscosity | < 3 Pa-s | < 3 |  | > 3 |  |  |  |  |  |  |
| Dynamic Shear | > 1.00 kPa | 1.00 to 1.11 |  | 0.99 to 0.88 |  |  |  | 0.87 to 0.71 | 0.70 to 0.50 | < 0.50 |
| Tests On RTFO |  |  |  |  |  |  |  |  |  |  |
| Mass Loss | < 1.00 % | < 1.00 % |  | 1.001 to 1.092 |  |  |  | 1.093 to 1.184 | 1.185 to 1.276 | > 1.276 |
| Dynamic Shear | > 2.20 kPa | > 2.20 kPa |  | 2.199 to 1.816 |  |  |  | 1.815 to 1.432 | 1.431 to 1.048 | < 1.048 |
| Tests On PAV |  |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | < 5000 kPa | < 5000 kPa |  | 5001 to 5289 |  |  |  | 5290 to 5578 | 5579 to 5867 | > 5867 |
| Creep Stiffness, S | < 300 MPa | < 300 MPa |  | 301 to 338 |  |  |  | 339 to 388 | 389 to 450 | > 450 |
| Creep Stiffness, m-value | > 0.300 | > 0.300 |  | 0.299 to 0.287 |  |  |  | 0.286 to 0.274 | 0.273 to 0.261 | < 0.261 |
| Direct Tension | > 1.0 % | > 1.0 % |  | 0.99 to 0.86 |  |  |  | 0.85 to 0.71 | 0.70 to 0.56 | < 0.56 |
| Tests on Original Binder |  |  |  |  |  |  |  |  |  |  |
| Toughness, in-lbs | > 110 | >93.5 | 90.0-93.4 | 85.0-89.9 | 80.0-84.9 | 75.0-79.9 | 70.0-74.9 |  |  | < 70.0 |
| Tenacity, in-lbs | > 75 | >63.8 | 61.0-63.7 | 58.0-60.9 | 55.0-57.9 | 52.0-54.9 | 48.0-51.9 |  |  | < 48.0 |

# Asphalt Cement Price Adjustment for each sample = $300/Mg x Qty x PRF

Qty = quantity of asphalt cement represented by asphalt cement sample

PRF = Pay Reduction Factor from Table

The total asphalt cement price adjustment is the sum of the sample price adjustments and is applied to Pay Item 311(6) Asphalt Price Adjustment.

Asphalt Binder Appeal Procedure.  Once notified of a failing asphalt cement sample, the Contractor has 21 days to issue a written appeal of the test results.  The appeal must be accompanied by all of the Contactor’s quality control test results and test results of a sample tested by an AASHTO accredited asphalt laboratory (accredited in the test procedure in question).  The Department will review these test results provided by the Contractor and determine if the proposed price reduction will or will not remain in place.

If the Contractor challenges the Engineer’s decision, then the referee sample held by the Department will be sent to a mutually agreed upon independent AASHTO accredited laboratory for testing.  Their reported results will be binding on both the Department and the Contractor.  The Contractor shall pay for this testing if the sample fails.

311-5.01 BASIS OF PAYMENT. At the Contract price, per unit of measurement, for the pay item listed below, complete in-place.

Cellulose stabilizing additives and anti-strip additives are subsidiary to Item 311 (1).

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 311 (1) Asphalt Treated Permeable Base | Megagram |
| 311 (2) Asphalt Cement, Grade PG 58-28 | Megagram |
| 311(6) Asphalt Cement Price Adjustment | Contingent Sum |

(2/17/04)R&M

SECTION 401

ASPHALT CONCRETE PAVEMENT

Special Provisions

401-2.01 Composition Of Mixture - Job Mix Design. Delete the last sentence of the second paragraph on page 114 and substitute the following: Tolerances will not be applied to the largest sieve specified.

Standard Modification

401-2.03 ASPHALT MATERIALS. First paragraph, second sentence, delete “AC-5” and replace with: PG 52-28.

(12/02/03) M 103

Special Provisions

Delete the second paragraph and substitute the following: Each batch of asphalt cement shall be tested for conformance to specifications in Section 702 prior to shipping. Storage tanks used for the batch shall be noted on the test report. Anti-strip additives required by the mix design shall be added to the asphalt cement during load out for delivery to the project. A printed weight ticket of antistrip shall be included with the asphalt cement delivery ticket. The location where antistrip is added may be changed with the approval of the Engineer.

Shipping documents shall include the following:

- Manufacturers certificate of compliance, Subsection 106-1.05

- Conformance test results of the batch, Section 702.

- Manufacturer shall also certify:

- Date and Time of loading

- Batch number and storage tank

- Type, grade, temperature, and quantity of materials loaded

- Type and percent of anti-strip added.

401-3.01 WEATHER LIMITATIONS. Add the following second paragraph:

Place the top layer of paving or surface course between May 1 and August 15. Place bottom and middle layers of asphalt, leveling courses, and treated bases according to the limitations of this Subsection.(07/03/03)S90

401-3.03 ASPHALT MIXING PLANT.  Add the following to the end of the second paragraph Provide a tap on the asphalt cement supply line just before it enters the plant (after the 3-way valve), to sample asphalt cement.

401-3.09 Preparation Of Aggregates. In the first paragraph, delete AASHTO T-110 and substitute the following: WAQTC TM 6.

401-3.14 Joints. Delete the first paragraph and substitute the following: Construct the minimum number of joints to ensure a continuous bond, texture, and smoothness between adjacent sections of the pavement. The minimum specification limit for longitudinal joint density will be 91% of the MSG of the panel completing the joint. Cut one 150 mm diameter core centered on the longitudinal joint at each location the mat is cored for acceptance density testing in the panel completing the joint. Density will be determined according to WAQTC FOP for AASHTO T 166/T 275. (4/7/03)R199M98

The MSG will be determined in accordance with WAQTC FOP for AASHTO T 209.

If the average joint density for any lot is less than 91% MSG, immediately change and improve the method used for joint construction.

If the average joint density of a lot is less than 91% MSG, seal all of the joints constructed in that lot with a joint sealing method approved by the engineer. Joint sealing to occur while asphalt is clean and free of moisture, dirt or debris.

No additional cost or contract time will be paid to repair or seal joints. Seal or repair joints prior to paint striping.(07/03/03)S92

Delete the last paragraph.

Standard Modification

Delete the heading of Subsection 401-3.15 and substitute the following:

401-3.15 SURFACE REQUIREMENTS AND TOLERANCE.

Add the following:

The finished surface of asphalt concrete paving shall match dimensions shown on the Plans for horizontal alignment and width, profile grade and elevation, crown slope, and paving thickness. Water shall drain without puddles, across the pavement surface. The surface shall be of uniform texture and without ridges, humps, depressions, and roller marks. The surface shall be free of raveling, cracking, tearing, rutting, asphalt cement bleeding, and aggregate segregation. The asphalt concrete mixture shall be free of foreign material, uncoated aggregate and oversize aggregate.

Any finished surface area that does not meet the requirements of this Subsection is deemed unacceptable as per Subsection 105-1.11. The Engineer will determine whether the unacceptable asphalt concrete mixture shall either be corrected, or removed and replaced. Submit correction methods to the Engineer for approval prior to correction work commencing.(12/02/03) M103

Special Provisions

Add the following, The Engineer will measure the surface smoothness of the surface course of the asphalt in the driving lanes with an inertial profiler before final acceptance of the project. The surface profile will be measured in the both wheel paths of each lane. The Contractor shall remove and replace, or grind smooth any portion of final pavement surface having a smoothness Profile Index (PrI) greater than 230 mm / km in a 160 meter segment.  PrI will be calculated to the nearest 1 mm per km using a 5mm blanking band.

After completion of corrective work, the Engineer will measure the pavement surface with an inertial profiler for a smoothness price adjustment.  No measurements will be taken in turn lanes, lane transitions, in lanes adjacent to curb and gutter, or within 8 meters of manholes.

401-3.16 PATCHING DEFECTIVE AREAS. Add the following: All costs associated with the patching of defective areas will be at Contractor’s expense.

Standard Modification

Add the following Subsection:

401-3.17 TEMPERATURE REQUIREMENTS. The Engineer may reject asphalt concrete mixture that is mixed, hauled, spread and placed, or compacted at a temperature outside the temperature range determined by either the Job Mix Design, by a control test strip, or by the Specifications. Rejected asphalt concrete mixture is deemed unacceptable as per Subsection 105-1.11. The Engineer will determine whether the unacceptable asphalt concrete mixture shall either be corrected, or removed and replaced.

At the Engineer’s discretion, the Contractor may be allowed to compact asphalt concrete mixture that is already placed and spread but is outside the temperature range. If the compacted asphalt concrete mixture fails the Engineer’s tests for acceptance, it must be removed and replaced as per Subsection 105-1.11.

(12/02/03) M103

Special Provisions

401-4.01 METHOD OF MEASUREMENT. Under Asphalt Cement, 1., add to the end of the second sentence: “... ,or WAQTC FOP for AASHTO TP 53.”

Add the following paragraphs:

Longitudinal Joints. By the meter. The distance measured will be in both directions from a longitudinal joint core location to a point equidistant to the next longitudinal joint core. (4/7/03)R199M98

Joint Density. By the meter of longitudinal asphalt joints in the top pavement surface and the calculated joint density.

(07/03/03)S92

Standard Modification

401-4.02 ACCEPTANCE SAMPLING AND TESTING.   Delete the third sentence of the second paragraph and substitute the following:  If the project has more than 1 lot, and less than 8 additional sublots have been sampled at the time a lot is terminated either due to completion of paving operations or the end of the construction season (winter shutdown), the material in the shortened lot will be included as part of the prior lot.

Delete fourth paragraph and replace with the following:  If the contract quantity is between 1,350 Mg and 4,499 Mg, the contract quantity will be considered 1 lot. The lot will be divided into 10 equal sublots and randomly sampled for asphalt cement content, density, and gradation according to this Subsection except that retests will not be allowed. The lot will be evaluated for price adjustment according to Subsection 401-4.03, except that the Pay Factor will not exceed 1.00 for any sieve size, asphalt cement content, or density.

Delete fifth and sixth paragraph and replace with the following: For contract quantity of less than 1350 Mg(and for temporary pavement), asphalt concrete pavement will be accepted for payment when the following requirements are met:

1. 	The Engineer approves a Job Mix Design.

2.	Asphalt concrete paving mixture complies with approved Job Mix Design.

3.	Final pavement thickness matches plans, and final density matches specifications.

4.	Final pavement surface meets requirements of Subsection 401-3.15.

The Engineer reserves the right to perform any testing required in order to determine acceptance. If calibrated test equipment is not available, asphalt content of the mix may be determined by extraction in accordance with AASHTO T 164. When testing is required in order to determine acceptance, at least two tests shall be taken for each approved mix design.

If asphalt concrete pavement fails to meet the requirements of this Subsection, the Engineer may determine a price reduction for asphalt as per 105-1.03; or the Engineer may direct you either to correct, or to remove and replace the unacceptable area as per Subsection 105-1.11.

(12/02/03) M103

Special Provisions

Delete seventh paragraph and replace with the following:  Samples taken for the determination of asphalt cement content will be taken at the end of the auger, or from behind the screed prior to compaction. Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if required. Asphalt cement content will be determined in accordance with WAQTC TM 4, or WAQTC FOP for AASHTO TP 53 with the exception that the moisture content will be determined in accordance with WAQTC TM 6.

The Contractor shall sample asphalt cement from the asphalt cement supply line when requested, witnessed by the Engineer’s representative.  After purging residual asphalt from the sampling valve, take 3 one-quart samples (Department’s acceptance and referee samples, and Contractor’s retest sample).

Delete eighth paragraph and replace with the following: Samples taken for the determination of aggregate gradation from drum mix plants will be from the combined aggregate cold feed conveyor via a sampling device, the stopped conveyor belt, or from asphalt concrete mixture samples taken from the same location as samples for the determination of asphalt cement content. Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if required. The aggregate gradation for samples from the conveyor system will be determined in accordance with WAQTC FOP for AASHTO T 27/T 11. For asphalt concrete mixture samples, or cores, the gradation will be determined according to WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO TP 53) has burned off the asphalt cement.

Maintain cold feed conveyor sampling devices diverting aggregate from the full width of the conveyor system to provide a representative sample of the aggregate incorporated into the asphalt concrete mixture.

Delete ninth paragraph and replace with the following: Samples taken for the determination of aggregate gradation from batch plants will be from the same location as samples for the determination of asphalt cement content, or from dry batched aggregates. The dry batched aggregate gradation will be determined according to WAQTC FOP for AASHTO T 27/T 11. For asphalt concrete mixture samples, the gradation will be determined according to WAQTC FOP for AASHTO T 30 from aggregate remaining after the ignition oven (WAQTC FOP for AASHTO TP 53) has burned off the asphalt cement.

Delete tenth paragraph and replace with the following: Within 24 hours of final rolling, neatly cut core samples with a core drill at the randomly selected locations marked by the Engineer. Use a core extractor to prevent damage to the core while removing. Do not cut core samples from bridge decks. One 150 mm diameter core is required for acceptance density testing only. Acceptance density testing will be according to WAQTC FOP for AASHTO T 166/T 275.

Failure to cut core samples for acceptance testing within the specified period will result in a deduction of $100.00 per sample per day. The accrued amount will be subtracted under Item 401(6), Asphalt Price Adjustment.

Backfill and compact all voids left by sampling with new asphalt concrete mixture within 24 hours of sampling. Failure to backfill voids left by sampling in the specified period will result in a deduction of $100.00 per hole per day. The accrued amount will be subtracted under Item 401(6), Asphalt Price Adjustment.

401-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE. Add the following: The longitudinal joint density price adjustment will apply when Asphalt Concrete Pavement quantities are equal to or greater than 900 megagrams.

Add the following under item 3: The tolerances for the largest sieve specified will be plus 0% and minus 1%.

Delete second to last paragraph and replace with:  PAB = Price Adjustment Base = $46.00 per Mg.  (07/03/03)S93

Add the following: Asphalt cement shall be randomly sampled and tested at a frequency of one sample taken for every 200 tons used.  No sampling and testing is required for projects having less than 100 tons of asphalt cement, but will be accepted based on shipping certification and supplier test results.  If the last project sample increment is less than 100 tons, it shall not be sampled and tested; but the asphalt quantity will be added to that of previous sample for pay evaluation.  If the last project sample increment is over 100 tons, it shall be sampled, tested, and evaluated separately.  Price adjustments for each sample will be assessed according to the Asphalt Binder Pay Reduction Table 401-4.

# TABLE 401-4

ASPHALT CEMENT PAY REDUCTION

(Use the single, highest pay reduction factor)

|  |  | Pay Reduction Factor (PRF) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Specification | 0 | 0.04 | 0.05 | 0.06 | 0.07 | 0.08 | 0.1 | 0.25 | Reject or Engr Eval. |
| Tests On Original Binder |  |  |  |  |  |  |  |  |  |  |
| Viscosity | < 3 Pa-s | < 3 |  | > 3 |  |  |  |  |  |  |
| Dynamic Shear | > 1.00 kPa | 1.00 to 1.11 |  | 0.99 to 0.88 |  |  |  | 0.87 to 0.71 | 0.70 to 0.50 | < 0.50 |
| Tests On RTFO |  |  |  |  |  |  |  |  |  |  |
| Mass Loss | < 1.00 % | < 1.00 % |  | 1.001 to 1.092 |  |  |  | 1.093 to 1.184 | 1.185 to 1.276 | > 1.276 |
| Dynamic Shear | > 2.20 kPa | > 2.20 kPa |  | 2.199 to 1.816 |  |  |  | 1.815 to 1.432 | 1.431 to 1.048 | < 1.048 |
| Tests On PAV |  |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | < 5000 kPa | < 5000 kPa |  | 5001 to 5289 |  |  |  | 5290 to 5578 | 5579 to 5867 | > 5867 |
| Creep Stiffness, S | < 300 MPa | < 300 MPa |  | 301 to 338 |  |  |  | 339 to 388 | 389 to 450 | > 450 |
| Creep Stiffness, m-value | > 0.300 | > 0.300 |  | 0.299 to 0.287 |  |  |  | 0.286 to 0.274 | 0.273 to 0.261 | < 0.261 |
| Direct Tension | > 1.0 % | > 1.0 % |  | 0.99 to 0.86 |  |  |  | 0.85 to 0.71 | 0.70 to 0.56 | < 0.56 |
| Tests on Original Binder |  |  |  |  |  |  |  |  |  |  |
| Toughness, in-lbs | > 110 | >93.5 | 90.0-93.4 | 85.0-89.9 | 80.0-84.9 | 75.0-79.9 | 70.0-74.9 |  |  | < 70.0 |
| Tenacity, in-lbs | > 75 | >63.8 | 61.0-63.7 | 58.0-60.9 | 55.0-57.9 | 52.0-54.9 | 48.0-51.9 |  |  | < 48.0 |

# Asphalt Cement Price Adjustment for each sample = 5 x PAB x Qty x PRF

PAB = Price Adjustment Base

Qty = quantity of asphalt cement represented by asphalt cement sample

PRF = Pay Reduction Factor from Table 401-4

The total asphalt cement price adjustment is the sum of the sample price adjustments and is applied to Pay Item 401(6) Asphalt Price Adjustment.

Asphalt Binder Appeal Procedure.  Once notified of a failing asphalt cement sample, the Contractor has 21 days to issue a written appeal of the test results.  The appeal must be accompanied by all of the Contactor’s quality control test results and test results of a sample tested by an AASHTO accredited asphalt laboratory (accredited in the test procedure in question).  The Department will review these test results provided by the Contractor and determine if the proposed price reduction will or will not remain in place.

If the Contractor challenges the Engineer’s decision, then the referee sample held by the Department will be sent to a mutually agreed upon independent AASHTO accredited laboratory for testing.  Their reported results will be binding on both the Department and the Contractor.  The Contractor shall pay for this testing if the sample fails.

Add the following Subsections:

401-4.04 EVALUATION OF PAVEMENT FOR SMOOTHNESS. The Engineer will calculate and apply a separate asphalt Smoothness Price Adjustment for the top lift of pavement as measured in accordance with Subsection 401-3.15. Calculate the smoothness price adjustment as follows;

1.	Smoothness Price Adjustment ($) = SF x PAB x PQ

If PQ is less than 1350 Mg, 	SF = 0

If PQ is 1350 to 4500 Mg,   	SF = 0.1167 – 0.0011 (PrI)

If PQ is 4500+ Mg,		SF = 0.0584 – 0.00053 (PrI)

SF= smoothness factor

PrI = final measured pavement smoothness (millimeters/kilometer)

PAB = Price Adjustment Base, 401-4.03

PQ = final pay quantity of 401(1) in Mg

Apply the smoothness price adjustment as an incentive/disincentive under Bid item 401(6) Asphalt Price Adjustment.  (07/03/03)S91

401-4.05 EVALUATION OF JOINTS FOR ACCEPTANCE.: The Engineer will calculate an average of the required joint densities taken on the project for the surface course of pavement. Apply an incentive or disincentive price adjustment as part of bid item 401(6) Asphalt Price Adjustment.

- If less than 91% MSG apply the following disincentives:

a.	The Contractor shall repair all of the asphalt joints on a project at the Contractor’s expense with an approved asphalt joint sealing method as per 401-3.14.

b.	Deduct = ($3.00 per meter) x (meters of paved joint for the entire project) x (Project Average Joint Density% – 91%) x 100

2.	If greater than 91% MSG apply the following incentive:

a.	Add = ($0.75 per meter) x (meters of paved joint for the entire project) x (Project Average Joint Density% – 91%) x 100

(07/03/03)S92

Standard Modification

401-5.01 BASIS OF PAYMENT. In the sixth paragraph, delete: “4500” and replace with: 1350

(12/02/03) M 103

Special Provisions

Add the following:

Temporary pavement will be paid for at the Contract price under 401(1A) Asphalt Concrete, Type II; Class A. Price adjustments will not apply for temporary pavement.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 401(1A) Asphalt Concrete, Type II; Class A | Megagram |
| 401(2) Asphalt Cement, Grade PG 52-28 | Megagram |

(01/14/04)R&M

Add the following Section:

SECTION 407

STONE MASTIC ASPHALT CONCRETE PAVEMENT

Special Provisions

407-1.01 DESCRIPTION. This work consists of the furnishing and mixing of aggregate, asphalt cement and additives at a mixing plant and the hauling, spreading, and compaction of the Stone Mastic Asphalt (SMA) Concrete mixture on a previously prepared surface, all as specified in the contract and in conformance with the lines, grades and thicknesses shown on the plans.

407-2.01 COMPOSITION OF STONE MASTIC ASPHALT CONCRETE MIXTURES - JOB MIX DESIGN. Stone Mastic Asphalt Concrete mixture shall be composed of aggregate, asphalt cement, and required additives combined within the limits specified in the contract.

Provide a Stone Mastic Asphalt Concrete mixture that meets the Stone Mastic Asphalt Concrete mix design requirements of Table 407-1.

Submit the following to the Engineer at least 15 working days prior to the production of Stone Mastic Asphalt Concrete mixture:

1.	A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process control information, and the blend ratio of each aggregate stockpile. The proposed Job Mix Design gradation must meet the requirements of Table 703-9, Stone Mastic Asphalt Concrete Aggregate. Approved Job Mix Designs will have the full tolerances shown in Table 407-4 applied and will not be limited to the broad band listed in Table 703-9. Tolerances will not be applied to the largest sieve specified. Stone Mastic Asphalt Concrete mixtures produced from different plants shall not be mixed.

2.	Representative samples of each of the aggregates to be blended. Total sample size of 225 kilograms proportioned to the Job Mix Design blend.

3.	A minimum of twenty liters, in four-liter metal containers, of the asphalt cement proposed for use in the mixture. Include name of product, manufacturer, test results as required in Section 702, manufacturer's certificate of compliance with Section 702, and a recommended mixing temperature

4.	A minimum 0.25 liter sample of the anti-strip additive proposed, including name of product, manufacturer, and manufacturer's data sheet, and current Materials Safety Data Sheet (MSDS).

5.	A minimum 2.5 kilogram sample of the cellulose stabilizing additive proposed for use in the mixture, including name of product, manufacturer, test results as required in Section 407-2.05 and manufacturer’s certificate of compliance with Section 407-2.05.

The Engineer will then evaluate the material and the proposed gradation using the Superpave Gyratory Compactor, AASHTO PP 41, and the mix design requirements of Table 407-1 to establish the Job Mix Design. Approved Job Mix Designs will become a part of the contract and will specify the target value for asphalt cement content, additives, and the allowable mixing temperature range. Up to15 working days will be required to determine the Job Mix Design after receipt of all items specified above.

TABLE 407-1

STONE MASTIC ASPHALT CONCRETE

MIX DESIGN REQUIREMENTS

| Design Parameters | Requirement |
| --- | --- |
| Voids in total mix, percent | 3-5 |
| Compaction Gyrations, NDesign | 100 |
| Dust-asphalt ratio (the percent of material passing the No. 0.075 mm sieve divided by the percent of effective asphalt, by weight of mix) | 0.6-1.6 |
| Voids in the mineral aggregate (VMA), min. Voids In Coarse Aggregate (VCA) Of The Mix, % | 18.0 Less Than VCA Of The Coarse Aggregate As Determined By AASHTO T 19 |
| Minimum Asphalt Cement Content % | 6.2 |
| Rut Index, mm, maximum | 4 |

Submit changes in the Job Mix Design warranted by failure to meet the requirements of Table 407-1, changes in the source of asphalt cement, source of aggregates, aggregate quality, aggregate gradation, or blend ratio in the same manner as the original submittal. A new Job Mix Design will only apply to Stone Mastic Asphalt Concrete mixture produced after submittal of the changes.

All mix designs after a Job Mix Design has been approved will be assessed a fixed fee of $2,500.00 each.

407-2.02 AGGREGATES. Aggregates shall be of the type specified in the contract and shall conform to the requirements of Subsection 703-2.13. Use a minimum of three stockpiles for crushed Stone Mastic Asphalt Concrete aggregate (coarse, intermediate, and fine).

407-2.03 ASPHALT MATERIALS. Conform to Subsection 702-2.01. Use PG 58-28 when the grade of asphalt cement is not specified. Each batch of asphalt cement shall be tested for conformance to specifications in Section 702 prior to shipping. Storage tanks used for the batch shall be noted on the test report. Anti-strip additives required by the mix design shall be added to the asphalt cement during load out for delivery to the project. A printed weight ticket of anti-strip shall be included with the asphalt cement delivery ticket. The location where anti-strip is added may be changed with the approval of the Engineer.

Shipping documents shall include the following:

4.	Manufacturers certificate of compliance, Subsection 106-1.05

5.	Conformance test results of the batch, Section 702.

6.	Manufacturer shall also certify:

e.	Date and Time of loading

f.	Batch number and storage tank

g.	Type, grade, temperature, and quantity of materials loaded

h.	Type and percent of anti-strip added

407-2.04 ANTI-STRIP ADDITIVES. Use anti-strip agents in the proportions determined by ATM T-14 and included in the approved Job Mix Design. At least 70 percent of the aggregate shall remain coated when tested in accordance with ATM T-14.

407-2.05 STABILIZING ADDITIVES. Use cellulose stabilizing additive. The dosage rate for cellulose is 0.3 percent by weight of the total mix. The allowable tolerance per megagram shall not exceed ±10 percent of the required weight of the stabilizing additive.

Cellulose stabilizing additive shall conform to the properties shown in Table 407-2.

TABLE A

CELLULOSE STABILIZING ADDITIVE

| PROPERTY | REQUIREMENT |
| --- | --- |
| Sieve Analysis |  |
| Method A - Alpine Sieve Analysis(1) |  |
| Fiber Length: Percent passing 0.150 mm sieve | 6.4 mm (max) 60-80 |
| Method B - Mesh Screen Analysis(2) |  |
| Fiber Length Percent passing 0.850 mm sieve Percent passing 0.425 mm sieve Percent passing 0.106 mm sieve | 0.9-1.5 mm (avg) 75-95 55-75 10-30 |
| Ash Content(3) | 20% non-volatiles (max) |
| pH(4) | 7.5 +/-1.0 |
| Oil Absorption(5) | 5.0 +/-1.0 times fiber weight |
| Moisture Content(6) | < 5% |
| Bulk Density(7) | 20.0-40.0 kg/m3 |

Notes:

- Method A - Alpine Sieve Analysis. This test is performed using an Alpine Air Jet Sieve (Type 200 LS). A representative five gram sample of fiber is sieved for 14 minutes at a controlled vacuum of 0.56 meters (+/- 75 mm) of water. The portion remaining on the screen is weighed.

- Method B - Mesh Screen Analysis. This test is performed using 0.850, 0.425, 0.250, 0.180, 0.150 and 0.106 mm sieves, nylon brushes and a shaker. A representative 10 gram sample of fiber is sieved, using a shaker and two nylon brushes on each screen. The amount retained on each sieve is weighed and the percentage passing calculated.

- Ash Content. A representative 2-3 gram sample of fiber is placed in a tared crucible and heated between 593E and 649E C for not less than two hours. The crucible and ash are cooled in a desiccator and reweighed.

- pH Test. Five grams of fiber is added to 100 ml of distilled water, stirred and let sit for 30 minutes. The pH is determined with a probe calibrated with pH 7.0 buffer.

- Oil Absorption Test. Five grams of fiber is accurately weighed and suspended in an excess of mineral spirits for not less than five minutes to ensure total saturation. It is then placed in a screen mesh strainer (approximately 0.5 square millimeter hole size) and shaken on a wrist action shaker for ten minutes (approximately 31.75 mm motion at 240 shakes/minute). The shaken mass is then transferred without touching, to a tared container and weighed. Results are reported as the amount (number of times its own weight) the fibers are able to absorb.

- Moisture Content. Ten grams of fiber is weighed and placed in a 121E C forced air oven for two hours. The sample is then reweighed immediately upon removal from the oven.

- Bulk Density. Fluff fiber with air or Hobart Mixer, weigh out 25 grams of fiber, place in 100 ml cylinder, tap cylinder and measure volume.

407-2.06 PROCESS QUALITY CONTROL. Sample and test materials for process QC of the Stone Mastic Asphalt Concrete mixture in accordance with Subsection 106-1.03.

Failure to perform process QC forfeits the Contractor's right to retests as provided for in Subsection 407-4.02.

CONSTRUCTION REQUIREMENTS

407-3.01 WEATHER LIMITATIONS. Do not place Stone Mastic Asphalt Concrete mixture when it is raining or when rain is imminent, on a wet surface, on an unstable/yielding roadbed, when the base material is frozen, or when weather conditions prevent proper handling or finishing of the mixture. Do not place Stone Mastic Asphalt Concrete mixture unless the surface temperature is 10 degrees C or warmer, or after August 15 of any year.

407-3.02 EQUIPMENT. Use equipment in good working order and free of asphalt concrete mix buildup. Make all equipment available for inspection and demonstration of operation 24 hours prior to placement of asphalt concrete mix.

407-3.03 BITUMINOUS MIXING PLANTS. Use an asphalt plant designed to dry aggregates, maintain accurate temperature control, and accurately proportion asphalt cement and aggregates. Calibrate the asphalt plant and furnish copies of the data to the Engineer at least one day prior to Stone Mastic Asphalt Concrete production. Maintain a current Air Quality Permit issued by the State Of Alaska.

Provide a scalping screen on the asphalt plant to prevent oversize material or debris from being incorporated into the Stone Mastic Asphalt Concrete mixture. Provide aggregate and asphalt cement sampling locations meeting OSHA safety requirements. Provide a tap on the asphalt cement supply line just before it enters the plant (after the 3-way valve), to sample asphalt cement.

Do not use proportioning (batch) scales for weighing material for payment. Weigh scales used in conjunction with a storage silo may be used to weigh the final product for payment, provided the scales are certified.

407-3.04 HAULING EQUIPMENT. Haul Stone Mastic Asphalt Concrete mixture in trucks with tight, clean, smooth metal beds thinly coated with a minimum amount of paraffin oil, lime water solution or other manufactured asphalt release agent. Do not use any petroleum product (e.g. diesel or fuel oil) as an asphalt release agent.

Cover the Stone Mastic Asphalt Concrete mixture with a secured watertight canvas cover extending at least 0.3 meters over the sides and end of the truck bed.

407-3.05 ASPHALT PAVERS. Use self-propelled asphalt pavers equipped with a heated vibratory screed. Control grade and cross slope with automatic grade and slope control devices. Use an erected string line, a mobile string-line (ski) at least 9 meters in length, or other approved grade follower to automatically actuate the paver screed control system. Use grade control on either a) both the high and low sides or b) grade control on the high side and slope control on the low side.

Equip asphalt pavers with a receiving hopper having sufficient capacity for a uniform spreading operation. Equip receiving hoppers with a distribution system to place the Stone Mastic Asphalt Concrete mixture uniformly in front of the screed.

Use a screed assembly that produces a finished surface of the required smoothness, thickness and texture without tearing, shoving or displacing the Stone Mastic Asphalt Concrete mixture. Screed extensions used for paving a constant width shall be heated and vibrated. Place auger extensions within 0.3 meters of the screed extension on both sides, or per written manufacturer’s recommendations.

The use of a pickup machine to transfer Stone Mastic Asphalt Concrete mixture from a windrow to the paver hopper will be permitted, provided the pickup machine is capable of collecting the windrowed material without damage to the underlying course. The Engineer will not allow the continued use of the pickup machine if segregation, excessive temperature loss, or any detrimental effects are observed.

407-3.06 ROLLERS. Supply a minimum of three rollers weighing a minimum of 11 megagrams each to compact the Stone Mastic Asphalt Concrete mixture to the required density while maintaining the pace of the paving operations. Rollers shall be of the static steel wheel or vibratory steel wheel type. The roller drums shall be a minimum of 2.1 meters wide. Use self-propelled rollers specifically designed to compact hot asphalt concrete mixtures and capable of reversing without backlash. The use of equipment which results in crushing of the aggregate, or pick-up of the Stone Mastic Asphalt Concrete mixture will not be permitted.

Follow the paving plan established for the project.

407-3.07 PREPARATION OF EXISTING SURFACE. Prepare existing surfaces in conformance with the plans and specifications. Clean existing paved surfaces of loose material by sweeping with a power broom, supplemented by hand sweeping, if necessary.

After completion of planing of a section of the roadway, the Engineer shall inspect that section for areas of distress or failure. Areas requiring repair shall have the remaining pavement removed, and the distressed area shall be excavated to the depth and limits directed by the Engineer. Backfill the excavated area with aggregate base course material conforming to the requirements of Section 301, Asphalt Concrete Leveling Course, or with Stone Mastic Asphalt Concrete as directed by the Engineer.

Prior to placing Stone Mastic Asphalt Concrete mixture, uniformly coat pavement surfaces and contact surfaces of curbing, gutters, manholes, and other structures with tack coat material conforming to Section 402.

407-3.08 PREPARATION OF ASPHALT. Provide a continuous supply of the asphalt cement to the mixer at a uniform temperature, within the Job Mix Design mixing temperature range.

407-3.09 PREPARATION OF AGGREGATES. Provide adequate dry storage for the mineral filler and stabilizing additive. Dry the aggregate for Stone Mastic Asphalt Concrete so the moisture content of the Stone Mastic Asphalt Concrete mixture, sampled from the end of the auger, or from behind the screed prior to compaction, is less than 0.5% (by total weight of mix) as determined by WAQTC TM 6.

Heat the aggregate for Stone Mastic Asphalt Concrete to a temperature compatible with the mix requirements specified.

Adjust the burner on the dryer to avoid damage to the aggregate and to prevent the presence of unburned fuel on the aggregate. Stone Mastic Asphalt Concrete mixture in which soot or fuel is present is considered unacceptable per Subsection 105-1.11.

407-3.10 MIXING. Uniformly combine the aggregate, asphalt cement, additives, and stabilizing additives in the amounts required by the Job Mix Design. Mix the materials such that a complete and uniform coating of the aggregate is obtained.

1.	For batch plants. Add the stabilizing additive through a separate inlet directly into the weigh hopper above the pugmill. Time the addition of the stabilizing additive to occur during the hot aggregate charging of the hopper. Provide adequate dry mixing time to ensure proper blending of the aggregate and fiber stabilizer.

2.	For drum mix plants. Add cellulose stabilizing additive into the drum mixer at the same point the asphalt cement is added. Add polyolefin-stabilizing additive directly into the drum mixer through the RAP inlet. Do not use polyolefin stabilizing additive in a drum mix plant without a RAP inlet. Operate the drum mixer to ensure complete blending of the stabilizing additive into the mix.

Dry mix Stone Mastic Asphalt Concrete with cellulose stabilizing additive a minimum of 15 seconds, and wet mix a minimum of 40 seconds. In batch plants, place the dry aggregate in motion immediately prior to the addition of asphalt cement. Use a wet mixing time adequate to obtain 98% coated particles when tested in accordance with AASHTO T 195.

Mix the Stone Mastic Asphalt Concrete within the temperature range determined by the Job Mix Design.

Proportion the mineral filler into the mixture uniformly and in the desired quantities. Provide appropriate equipment for accurately proportioning the relatively large amounts of mineral filler required for a Stone Mastic Asphalt Concrete mixture.

407-3.11 TEMPORARY STORAGE OF ASPHALT CONCRETE MIXTURE. Temporary storing or holding Stone Mastic Asphalt Concrete mixture in silo type storage bins is permitted provided that the characteristics of the Stone Mastic Asphalt Concrete mixture are not altered. Signs of visible segregation, heat loss, changes from the Job Mix Design, change in the characteristics of asphalt cement, lumpiness or stiffness of the mixture will be cause for rejection.

Dispose of rejected Stone Mastic Asphalt Concrete mixture at no cost to the Department.

407-3.12 SPREADING AND PLACING. Submit a Paving Plan for the Engineer's review a minimum of five working days prior to initiating paving operations. The plan shall consist of, but not be limited to the following:

1.	Paving schedule to include sequence of operations.

2.	Operational details to include:

a.	Plant operating capacity and target production rate. Process control testing frequency for gradation, moisture, asphalt cement content, and compaction.

b.	Number and capacity of trucks, cycle time, and delivery rate.

c.	The manufacturer and model of the paver and pickup machine, to include information on grade followers, sensors, operating speed and production rate of the pavers.

d.	Number, type, and weight of rollers, and number of impacts per 0.3 meter.

e.	Location and method of constructing longitudinal and transverse joints.

f.	Construction plan for paving intersections and driveways.

Place Stone Mastic Asphalt Concrete mixture upon an approved surface, spread and strike off and compact to the required compacted thickness. Spread and compact in one layer if the total thickness is 75 mm or less. Use asphalt pavers to distribute the Stone Mastic Asphalt Concrete mixture in lanes of such widths as to hold to a practical minimum the number of longitudinal joints required, subject to the requirements of Subsection 407-3.14.

Use hand tools to spread, rake, and lute the Stone Mastic Asphalt Concrete mixture in areas where irregularities or unavoidable obstacles make the use of mechanical spreading and finishing equipment impracticable. In such areas, compact the Stone Mastic Asphalt Concrete mixture to the required compacted thickness.

Any Stone Mastic Asphalt Concrete mixture that is contaminated or segregated will be rejected.

Pave adjacent traffic lanes to the same elevation within 24 hours when the section of roadway being paved is open to traffic unless prevented by weather or other factors beyond control. Place approved material against the outside pavement edge when the drop-off exceeds 50 mm.

When multiple lifts are specified in the contract, do not place the final lift until all lower lifts throughout that section, as defined by the Paving Plan, have been placed and accepted.

Do not pave against new concrete curb until it has cured for at least 72 hours..

407-3.13 COMPACTION. Immediately after spreading, thoroughly and uniformly compact the Stone Mastic Asphalt Concrete mixture by rolling.

Roll with a minimum of three steel wheel rollers of a minimum weight of 11 megagrams each. Follow the paving plan established for the project to provide the specified pavement density. Rollers with vibratory engaged may be used for a maximum of three passes. Operate rollers at a uniform speed to obtain no less than 10-12 impacts per 0.3 meter with the drive roller nearest the paver. Set rollers for high frequency and low amplitude. Verify roller settings in the presence of the Engineer. Roll until all roller marks are eliminated and the specified pavement density has been obtained. Prevent adhesion of mixture to the rollers by moistening the wheels with water mixed with detergent or other approved material. Replace rollers showing evidence of excessive pick-up.

Stop rolling operations once sufficient in-place density has been achieved. Where migration of asphalt cement and filler to the compacted pavement surface has occurred, remove and replace with fresh Stone Mastic Asphalt Concrete mixture.

The target value for density will be 94% of the maximum specific gravity (MSG) as determined in accordance with WAQTC FOP for AASHTO T 209. For the first lot of Stone Mastic Asphalt Concrete, the MSG will be determined by the Job Mix Design. For additional lots, the MSG will be determined by the sample from the first sublot of the lot. Acceptance testing for field density will be determined in accordance with WAQTC FOP for AASHTO T 166/T 275 except that a 150 mm diameter core is required. (Acceptance testing for field density of leveling course will not be done.)

Grade with rakes and lutes and compact with mechanical tampers areas not accessible to rollers. Use a trench roller in depressed areas to achieve the required compaction.

Remove any Stone Mastic Asphalt Concrete mixture that becomes loose and broken, segregated, mixed with dirt, or is any other way defective and replace with fresh Stone Mastic Asphalt Concrete mixture and compact to conform with surrounding areas. Remove and replace any area showing an excess or deficiency of asphalt cement.

Do not leave rollers, other equipment, or vehicles standing on pavement that has not cooled sufficiently to prevent indentation by wheels.

407-3.14 JOINTS. Minimize the number of joints and construct to ensure a continuous bond, texture, and smoothness between adjacent sections of the pavement.  When constructing a longitudinal joint, cut the pavement back 6 inches from the unconfined edge and remove it before tacking and completing the joint with hot pavement.  The material removed will not be deducted from the pay quantity

The minimum specification for longitudinal joint density will be 91 percent of the MSG of the panel completing the joint. Cut one 150 mm diameter core centered on the longitudinal joint at each location the mat is cored for acceptance density testing in the panel completing the joint. Density will be determined in accordance with WAQTC FOP for AASHTO T 166/T 275.

If the average joint density for any lot is less than 91.0% MSG, immediately change and improve the method used for joint construction and seal the joints constructed in that lot with GSB-78 manufactured by Asphalt Systems or an approved joint sealing method, according to manufacturers recommendations, at no expense of money or time to the State prior to paint striping. No additional cost or contract time will be paid to repair or seal joints. Seal or repair joints before paint striping.

If the Contractor elects to cut back a joint, there will be no deduction of pay quantity.

When joining old existing pavement and new pavement, the old pavement shall be cut in a neat line with a power driven saw.

Remove full depth improperly formed joints resulting in surface irregularities, replace with fresh Stone Mastic Asphalt Concrete mixture, and thoroughly compact. Do not roll joints after the material has cooled below 65 degrees Celsius. All pavement removal shall be precut to a neat line with a power driven saw.

Apply a tack coat of asphalt cement or asphalt emulsion on all cold joints and allow to break prior to placing any fresh Stone Mastic Asphalt Concrete mixture against the joint. Apply the tack coat just prior to paving.

Form transverse joints by saw cutting back on the previous run to expose the full depth of the course or by using a removable bulkhead. Skew transverse joints between 15-25 degrees.

Offset longitudinal joints in one layer from those in the layer immediately below by at least 150 mm. Align the joints in the top layer at the centerline or lane lines. Where pre-formed marking tape striping is required, offset the longitudinal joint in the top layer not more than 150 mm from the edge of the stripe.

407-3.15 SURFACE TOLERANCE. The surface of the Stone Mastic Asphalt Concrete will be measured after final rolling at selected locations using a 4.5 meter straightedge. Correct variations of the surface greater than 5 millimeters from the testing edge of the straightedge between any two contacts.

The Engineer will measure the surface smoothness of the top lift of the Stone Mastic Asphalt Concrete in all of the driving lanes with an inertial profiler before final acceptance of the project. Remove and replace or grind any portion of the top lift having a smoothness PrI greater than 230 mm/km in a 160 meter segment. Smoothness will be measured in the both wheel paths of each lane and reported as profilograph results (PrI) filtered with a 5 mm blanking band.

After completion of the corrective work, the Engineer will measure the pavement surface with an inertial profiler for a smoothness price adjustment. No measurements will be taken in turn lanes, lane transitions, or within 8 meters of manholes. Smoothness will be measured in both wheel paths of each lane and reported as profilograph results (PrI) filtered with a 5 mm blanking band. The PrI will be reported as a job average for all measured lanes, calculated to the nearest mm per km.

407-3.16 PATCHING DEFECTIVE AREAS. Remove any Stone Mastic Asphalt Concrete mixture that becomes contaminated with foreign material, is segregated, or is in any way defective. Skin patching is not permitted. Remove defective materials for the full thickness of the course. Cut the pavement so that all edges are vertical, the sides are parallel to the direction of traffic and the ends are skewed between 15-25 degrees. Coat edges with tack coat conforming to Section 402 and allow to cure. Place and compact fresh Stone Mastic Asphalt Concrete mixture in sufficient quantity so that the finished surface conforms to grade and smoothness requirements. Compact the Stone Mastic Asphalt Concrete mixture to the density specified. No payment shall be made for material replacing defective material. All costs associated with patching defective areas shall be borne by the Contractor.

407-3.17 TEST SECTION. Place a minimum of 270 megagrams of Stone Mastic Asphalt Concrete mixture in a test section at a location approved by the Engineer at least 5 working days prior to proceeding with Stone Mastic Asphalt Concrete paving. Use an underlying grade or pavement structure similar to project conditions for the test section. Use the test section to verify plant calibration and compaction characteristics of the Stone Mastic Asphalt Concrete mixture. Use the same equipment that will be used for the project.

Stone Mastic Asphalt Concrete mixture placed in the test strip that duplicates mix design parameters and meets specifications will be measured and paid for at contract prices. No payment will be made for mixture that does not duplicate the mix design and meet specifications. If the test section is placed within the project limits and does not duplicate the mix design and meet specifications, it shall be removed at the Contractor's expense. Additional test sections will continue to be placed until all criteria are satisfied.

407-4.01 METHOD OF MEASUREMENT. Stone Mastic Asphalt Concrete mixture will be measured by the megagram in accordance with Section 109. The weight used shall be the megagrams used in the accepted pavement and no deduction will be made for the weight of asphalt cement material, anti-stripping agent or any other additive used in the mixture.

A price adjustment, when applicable, will be made based on a quality level analysis under Subsection 407-4.03.

Asphalt cement will be measured by the megagram based on the weight of asphalt cement calculated using the percent of asphalt cement for each sublot as determined by WAQTC TM 4. The same tests used for the acceptance testing of the sublot will be used for computation of the asphalt cement quantity.

The Engineer may direct at any time that tankers be weighed before and after unloading in his presence. If the weight determined at the project varies more than one percent from the invoice amount, payment will be based on the weight determined at the project.

No payment will be made for any asphalt cement in excess of 0.4 percent above the optimum asphalt cement content specified in the Job Mix Design.

Any leftover, waste, or diversion will be computed in a manner to be determined by the Engineer. The weight of asphalt cement in waste Stone Mastic Asphalt Concrete will be calculated using the target value for asphalt cement as specified in the Job Mix Design.

Longitudinal joints will be measured by the meter. The distance measured will be in both directions from a longitudinal joint core location to a point equal distant to the next longitudinal joint core.

407-4.02 ACCEPTANCE SAMPLING AND TESTING. The quantity of Stone Mastic Asphalt Concrete mixture produced and placed shall be divided into lots and the lots evaluated individually for acceptance. The Department has the exclusive right and responsibility for determining the acceptability of all materials incorporated into the project. The Engineer shall perform acceptance sampling and testing. The results of the acceptance testing performed by the Engineer will be made available to the Contractor within seven working days from the date of sampling.

A lot will normally be 4,500 megagrams. The lot will be divided into sublots of 450 megagrams, each randomly sampled and tested for asphalt cement content, density, and gradation in accordance with this subsection. If the project has more than one lot and less than eight additional sublots have been sampled at the time a lot is terminated, the material in the shortened lot will be included as part of the prior lot and the price adjustment computed for the prior lot will include the samples from the shortened lot.

If eight or nine samples have been obtained at the time a lot is terminated, they will be considered as a lot and the price adjustment will be based on the actual number of test results (excluding outliers) in the shortened lot.

If the contract quantity is between 1,350 megagrams and 4,499 megagrams, the contract quantity will be considered one lot. The lot will be divided into 10 equal sublots and randomly sampled for asphalt cement content, density and gradation in accordance with this subsection except that retests will not be allowed. The lot will be evaluated for price adjustment in accordance with Subsection 407-4.03 with the exception that the Pay Factor shall not exceed 1.00 for any sieve size, asphalt cement content and density.

If the contract quantity is less than 1,350 megagrams, Stone Mastic Asphalt Concrete pavement shall be accepted for payment based on the Engineer's approval of a Job Mix Design and the placement and compaction of the Stone Mastic Asphalt Concrete mixture to the specified depth and finished surface requirements and tolerances. Any area of finished surfacing that is segregated, fails to meet surface tolerance requirements, cools to below 65 degrees Celsius prior to completing compaction, or is any other way defective shall be removed and replaced with fresh Stone Mastic Asphalt Concrete mixture. Removal and replacement of defective pavement shall be at no additional cost to the Department.

Asphalt cement content will be determined from Stone Mastic Asphalt concrete mixture samples in accordance with WAQTC TM 4. Aggregate gradation will be determined in accordance with WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO TP 53) has burned off the asphalt cement. Stone Mastic Asphalt Concrete mixture samples will be taken from behind the screed prior to compaction. Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if requested.

Asphalt cement will be randomly sampled and tested at a frequency of one sample taken for every 200 tons used.  No sampling and testing is required for projects having less than 100 tons of asphalt cement, but will be accepted based on shipping certification and supplier test results.  If the last project sample increment is less than 100 tons, it shall not be sampled and tested; but the asphalt quantity will be added to that of previous sample for pay evaluation.  If the last project sample increment is over 100 tons, it shall be sampled, tested, and evaluated separately.

Cut full depth core samples from the finished lift for density acceptance testing in accordance with WAQTC FOP for AASHTO T 166/T 275 within 24 hours of final rolling. Neatly cut 150 mm minimum diameter core samples with a core drill at the randomly selected locations marked by the Engineer. Use a core extractor to prevent damage to the cores while removing. Do not cut samples from Stone Mastic Asphalt Concrete mats on bridge decks. Failure to cut core samples within the specified period will result in a deduction of $100.00 per sample per day. The accrued amount will be subtracted under Item 407(4), Asphalt Price Adjustment.

Backfill all voids left by sampling with fresh Stone Mastic Asphalt Concrete mixture and compact within 24 hours of sampling. Failure to backfill voids left by sampling within the specified period will result in a deduction of $100.00 per hole per day The accrued amount will be subtracted under Item 407(4), Asphalt Price Adjustment.

Samples will be evaluated for acceptance in accordance with Subsection 407-4.03.

A retest of any sample outside the limits specified in Table 407-4 may be requested. Deliver this request in writing to the Engineer within 7 days of receipt of the initial test result. Verbal requests with the written request to be delivered after the specified 7 days will not be accepted. The sample(s) for density retesting shall be taken within 24 hours of the notice to the Engineer requesting the retest(s). The Engineer will mark the sample location for the retest. Failure to provide the sample(s) for retesting within the specified period forfeits the right for a retest for the affected sample(s). The original test result will be discarded and the retest result will be used in the price adjustment calculation regardless of whether the retest result gives a higher or lower pay factor. Only one retest per sample will be allowed.

If the retest results for any sublot meets or exceeds any of the rejection limits in Table 407-4, the sublot will be removed and replaced at the Contractor’s expense. The Engineer will determine the limits of the material represented by the sublot.

407-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE. The following method of price adjustment will be applied to Stone Mastic Asphalt Concrete mixture when the contract quantity equals or exceeds 4,500 megagrams except as defined in Subsection 407-4.02. The longitudinal joint density price adjustment will apply when Stone Mastic Asphalt Concrete quantities are equal to or greater than 1,350 megagrams.

All acceptance test results for a lot will be analyzed collectively and statistically by the Quality Level Analysis Method as specified in Subsection 106-1.03 to determine the estimated percent of a lot that is within specification limits.

Prior to computing the price adjustment, the validity of the test results shall be ascertained in accordance with SP-7, the Standard Practice for Determination of Outlier Test Results. Outlier test results shall not be included in the price adjustment calculations. If any sieve size on a gradation test, or the asphalt cement content is an outlier, then the gradation test results and the asphalt cement content results for that sample will not be included in the price adjustment. The density test result for that sample will be included in the price adjustment provided it is not an outlier also.

If the density test result is an outlier, the density test result will not be included in the price adjustment but the gradation and asphalt cement content results for that sample will be included provided neither is an outlier.

Quality Level Analysis (Specification Conformance Analysis) is a statistical procedure for estimating the percent compliance to a specification and is affected by shifts in the arithmetic mean (x) and by the sample standard deviation (s). Analysis of test results will be based on an Acceptable Quality Level (AQL) of 95.0 percent and a contractor's risk of 5.0 percent unless otherwise specified. AQL may be viewed as the lowest percent within the specification limits of a material that is acceptable as a process average and receive 100 percent pay. The Contractor's risk is the probability that when the Contractor is producing material at exactly the AQL, the materials will receive less than 1.00 pay factor.

As an incentive to produce quality material, a pay factor greater than 1.00 may be obtained. The maximum pay factor obtainable is 1.05. The maximum pay factor for the largest sieve size specification for gradation shall be 1.00. The price adjustment is based on the lowest of two pay factors. The first factor is a composite pay factor for Stone Mastic Asphalt Concrete mixture which includes gradation and asphalt cement content. The second factor is a separate pay factor for density.

A lot containing non-specification material (less than 1.00 pay factor) may be accepted at an adjusted price provided the pay factor is at least 0.75 and there are no isolated defects identified by the Engineer. A lot containing non-specification material that fails to obtain at least a 0.75 pay factor will be rejected in accordance with Subsection 105-1.11.

The Engineer can reject material that appears to be defective based on visual inspection. Such rejected material shall not be used in the work. No payment will be made for the materials rejected by the Engineer.

Quality Level Analysis. Procedures for computation of composite pay factors are as follows:

1.	Eliminate test results found to be outliers by SP-7 (Standard Practice for Determination of Outlier Test Results) and any test results on material not incorporated into the work from the quality level analysis.

Determine the arithmetic mean (x) of the remaining test results:

Where:	Σ = summation of

x = individual test value to xn

n = total number of test values

x is rounded to the nearest tenth for density and all sieve sizes except the 0.075 mm sieve. x is rounded to the nearest hundredth for asphalt content and the 0.075 mm sieve.

2.	Compute the sample standard deviation (s) after the outliers have been excluded:

Where:	Σ(x2) = summation of the squares of individual test values.

(Σx)2 = square of the summation of the individual test values.

The sample standard deviation (s) is rounded to the nearest 0.01 for density and all sieve sizes except the 0.075-mm sieve. The sample standard deviation (s) is rounded to the nearest 0.001 for asphalt content and the 0.075-mm sieve.

If the computed sample standard deviation (s) is less than 0.001, then use s = 0.20 for density and all sieve sizes except the 0.075 mm sieve. Use s = 0.020 for the 0.075 mm sieve and asphalt cement content.

3.	Compute the Upper Specification Limit (USL) and Lower Specification Limit (LSL). For aggregate gradation and asphalt cement content, the Specification Limits (USL and LSL) are equal to the Target Value (TV) plus and minus the allowable tolerances in Table 407-4. The tolerances for the largest sieve specified will be plus 0% and minus 1%. The TV is the specification value defined by the Job Mix Design. The TV for density is 94 percent of the maximum specific gravity (MSG). The LSL for density is 92 percent of MSG and the USL is 96%.

4.	Compute the upper quality index (QU):

Where:		USL = Upper Specification Limit

QU is rounded to the nearest hundredth.

6..	Compute the lower quality index (QL):

Where:	LSL = Lower Specification Limit

QL is rounded to the nearest hundredth.

7.	Determine PU (percent within the upper specification limit that corresponds to a given QU) from Table 106-1. For negative values of QU, see 106-1.03, 3. QUALITY LEVEL ANALYSIS (QLA).

8.	Determine PL (percent within the lower specification limit that corresponds to a given QL) from Table 106-1. For negative values of QL, see 106-1.03, 3. QUALITY LEVEL ANALYSIS (QLA).

9.	Determine the Quality Level (QL), the total percent within specification limits, for aggregate gradation, asphalt cement content, and density.

QL = (PL + PU) - 100

10.	Using the Quality Levels from step 8, determine the lot Pay Factor for Density (DPF), and gradation and asphalt cement content pay factors (PF) from Table 106-2.

11.	Calculate the lot Stone Mastic Asphalt Concrete mixture Composite Pay Factor (CPF) for asphalt cement content and gradation using the following formula:

Round the Composite Pay Factor (CPF) to the nearest hundredth.

Table 407-5 is used to determine the weight factor (f) for each sieve size and asphalt cement content.

Table 407-4

LOWER SPECIFICATION LIMIT (LSL) and

UPPER SPECIFICATION LIMIT (USL)

| Measured Characteristics | LSL | USL |
| --- | --- | --- |
| 19.0 mm sieve | TV-4.0 | TV+4.0 |
| 12.5 mm sieve | TV-4.0 | TV+4.0 |
| 9.5 mm sieve | TV-4.0 | TV+4.0 |
| 4.75 mm sieve | TV-4.0 | TV+4.0 |
| 2.36 mm sieve | TV-4.0 | TV+4.0 |
| 0.075 mm sieve | TV-2.0 | TV+2.0 |
| Asphalt % | TV-0.40 | TV+0.40 |
| Density | 92% | 98% |

Price adjustments for each sample will be assessed according to the Asphalt Cement Pay Reduction Table 407-6.

# TABLE 407-6

ASPHALT CEMENT PAY REDUCTION

(Use the single, highest pay reduction factor)

|  |  | Pay Reduction Factor (PRF) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Specification | 0 | 0.04 | 0.05 | 0.06 | 0.07 | 0.08 | 0.1 | 0.25 | Reject or Engr Eval. |
| Tests On Original Binder |  |  |  |  |  |  |  |  |  |  |
| Viscosity | < 3 Pa-s | < 3 |  | > 3 |  |  |  |  |  |  |
| Dynamic Shear | > 1.00 kPa | 1.00 to 1.11 |  | 0.99 to 0.88 |  |  |  | 0.87 to 0.71 | 0.70 to 0.50 | < 0.50 |
| Tests On RTFO |  |  |  |  |  |  |  |  |  |  |
| Mass Loss | < 1.00 % | < 1.00 % |  | 1.001 to 1.092 |  |  |  | 1.093 to 1.184 | 1.185 to 1.276 | > 1.276 |
| Dynamic Shear | > 2.20 kPa | > 2.20 kPa |  | 2.199 to 1.816 |  |  |  | 1.815 to 1.432 | 1.431 to 1.048 | < 1.048 |
| Tests On PAV |  |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | < 5000 kPa | < 5000 kPa |  | 5001 to 5289 |  |  |  | 5290 to 5578 | 5579 to 5867 | > 5867 |
| Creep Stiffness, S | < 300 MPa | < 300 MPa |  | 301 to 338 |  |  |  | 339 to 388 | 389 to 450 | > 450 |
| Creep Stiffness, m-value | > 0.300 | > 0.300 |  | 0.299 to 0.287 |  |  |  | 0.286 to 0.274 | 0.273 to 0.261 | < 0.261 |
| Direct Tension | > 1.0 % | > 1.0 % |  | 0.99 to 0.86 |  |  |  | 0.85 to 0.71 | 0.70 to 0.56 | < 0.56 |
| Tests on Original Binder |  |  |  |  |  |  |  |  |  |  |
| Toughness, in-lbs | > 110 | >93.5 | 90.0-93.4 | 85.0-89.9 | 80.0-84.9 | 75.0-79.9 | 70.0-74.9 |  |  | < 70.0 |
| Tenacity, in-lbs | > 75 | >63.8 | 61.0-63.7 | 58.0-60.9 | 55.0-57.9 | 52.0-54.9 | 48.0-51.9 |  |  | < 48.0 |

# Asphalt Cement Price Adjustment for each sample = 5 x PAB x Qty x PRF

PAB = Price Adjustment Base

Qty = quantity of asphalt cement represented by asphalt cement sample

PRF = Pay Reduction Factor from Table 407-6

The total asphalt cement price adjustment is the sum of the sample price adjustments and is applied to Pay Item 407(5) Asphalt Price Adjustment.

Asphalt Binder Appeal Procedure.  Once notified of a failing asphalt cement sample, the Contractor has 21 days to issue a written appeal of the test results.  The appeal must be accompanied by all of the Contactor’s quality control test results and test results of a sample tested by an AASHTO accredited asphalt laboratory (accredited in the test procedure in question).  The Department will review these test results provided by the Contractor and determine if the proposed price reduction will or will not remain in place.

If the Contractor challenges the Engineer’s decision, then the referee sample held by the Department will be sent to a mutually agreed upon independent AASHTO accredited laboratory for testing.  Their reported results will be binding on both the Department and the Contractor.  The Contractor shall pay for this testing if the sample fails.

TABLE 407-5

WEIGHT FACTORS

| Sieve Designation | Factor (f) |
| --- | --- |
| 19.0 mm sieve | 2 |
| 12.5 mm sieve | 10 |
| 9.5 mm sieve | 10 |
| 4.75 mm sieve | 10 |
| 2.36 mm sieve | 8 |
| 0.075 mm sieve | 20 |
| Asphalt % | 40 |

407-5.01 BASIS OF PAYMENT. The accepted quantity will be paid for at the contract unit price for the pay items listed below, complete in place.

Anti-strip additives will be subsidiary to the stone mastic asphalt concrete.

Stabilizing additives will be subsidiary to Item 407(1), Stone Mastic Asphalt Concrete.

A change order/directive is not required for Anti-Strip Additive or Asphalt Price Adjustment pay items. The approved Job Mix Design will initiate Anti-Strip Additive at the prescribed rate and the Notice to Proceed shall constitute the notice required to initiate Item 407(4), Asphalt Price Adjustment.

The Asphalt Price Adjustment will be the sum of the price adjustments for each lot, fees accrued for subsequent Job Mix Design evaluations as outlined in Subsection 407-2.01, and fees accrued for failure to cut cores and/or backfill voids left by sampling in the allotted time as outlined in Subsection 407-4.02. The Asphalt Price Adjustment will be algebraically added to the Contractor's payment for Stone Mastic Asphalt Concrete. Individual lot price adjustments will be based on either the Composite Pay Factor (CPF) or Density Pay Factor (DPF), whichever is the lowest value. The price adjustment for each individual lot will be calculated as follows:

Price Adjustment = [(CPF or DPF)* -1] x (megagrams in lot) x (PAB)

PAB = Price Adjustment Base = $65.00/ megagram

* Composite Pay Factor (CPF) or Density Pay Factor (DPF), whichever is the lowest value.

Calculate a separate price adjustment based on the average of all the required joint densities taken on the project. Determine the incentive / disincentive as follows and apply under Item 407 (4), Asphalt Price Adjustment.

1.	If project average joint density is less than 91% MSG apply the following disincentives:

a.	The Contractor shall repair all of the asphalt joints on a project at the Contractor’s expense with an approved asphalt joint sealing method as per 401-3.14.

b.	Deduct = ($3.28 per meter) x (meters of paved joint for the entire project) x (91 % – Project Average Joint Density %) x 100 (Note: convert density% to decimals in this equation)

2.	If project average joint density is greater than 91% MSG apply the following incentive:

a.	Add = ($0.82 per meter) x (meter of paved joint for the entire project) x (Project Average Joint Density % – 91%) x 100 (Note: convert density% to decimals in this equation)

Calculate and apply a separate asphalt Smoothness Price Adjustment as measured according to Subsection 407-3.15. Calculate the smoothness price adjustment as follows;

Smoothness Price Adjustment ($) = SA x PAB x PQ

If PQ is less than 1500 Mg, 	SA = 0

If PQ is 1500 to 5000 Mg, 	SA = 0.1167 - 0.0011 (PrI)

If PQ is 5000+ Mg,		SA = 0.0584 – 0.00053 (PrI)

SA = Smoothness Adjustment factor

PrI = measured pavement smoothness (millimeters/kilometer)

PAB = Price Adjustment Base, 407-4.03

PQ = final pay quantity of 407(1) in Mg

Apply smoothness price adjustment as an incentive/disincentive under Item 407(4) Asphalt Price Adjustment.

Crack repair and leveling course repair work shall be paid under Section 401.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 407(1) Stone Mastic Asphalt Concrete | Megagram |
| 407(2) Asphalt Cement, Grade PG 58-28 | Megagram |
| 407(4) Asphalt Price Adjustment | Contingent Sum |

(08/19/02)R163M98(08/29/03)R&M

SECTION 501

STRUCTURAL CONCRETE

Special Provisions.

501-1.01 DESCRIPTION. Add the following: This work also include furnishing and installing precast concrete box sections for the pedestrian undercrossing, grouting joints between precast sections, and water stops embedded in concrete conforming to the details shown on the plans and these special provisions.

501-2.01 MATERIALS. Add the following:

| Water Stops | Section 723 |
| --- | --- |
| Bridge Seal | Subsection 705-2.03 |
| Structural Steel | Section 716 |
| Elastomeric Pads | Section 720 |

501-3.01 PROPORTIONING. Under 1. Determining Proportions and Batch Weights, delete the first sentence and substitute the following: Submit a mix design developed in accordance with ACI 211 and ACI 301, Section 4 to the Engineer for approval.

(7/6/99)R37M98

Under item 1., add the following paragraph:

d.	For Class A and AA, the concrete mix design shall conform to Table 501-1 for the class of concrete specified. A Professional Engineer shall certify that the design strength values comply with ACI 214. Structural concrete shall also conform to the following applicable ACI specifications:

- ACI 211.1 for normal concrete, or

- ACI 211.3 for no slump concrete

Concrete mix designs shall be submitted to the Materials Engineer for approval with supporting documentation and process control data of the aggregates. All admixtures shall be noted as well as any exception requested to the values listed in Table 501-1 or to the specifications. Minimum design strengths are shown on the drawings, if not shown shall be 27.6 MPa (4000 psi).

Pending 28-day strength results, a mix design may be approved on the basis that the 7-day compressive strength equal or exceed 85% of the minimum strength requirements, provided no accelerators or Type III cement has been used. Begin production only after the mix design is approved.

(2/20/03)R&M

501-3.07 PLACING CONCRETE. Remove item 12 and replace with the following:

12. 	Drainage Holes and Weep Holes. Drain holes and weep holes shall be constructed in abutment walls as shown on the plans and pervious backfill material shall be placed as provided in Section 205.

Retaining wall and abutment wall drains shall be covered at the back face of the wall with hardware cloth conforming to the following:

Hardware cloth shall be a commercial quality, approximately 6-mm mesh wire cloth of aluminum or of galvanized steel wire. The aluminum wire, and steel wire before galvanizing, shall have a diameter of 600 µm, minimum. Hardware cloth shall be mounted in the forms prior to placing concrete in such a manner that the wire is firmly bonded to the concrete or may be fastened to the exterior of the concrete surface by masonry nails or other methods approved by the Engineer.

Alternative methods of providing screened drain hole openings may be submitted to the Engineer for approval.

In addition to the drain holes and weep holes specified in the preceding paragraph, holes approximately 75 mm in diameter for relief of hydrostatic pressure shall be provided at the bottom of walls, immediately above the footing, at approximately 4500-mm centers.

Add the following numbered items:

16.	Water stops. Water stops shall be furnished full length for each straight portion of the joint, without field splices. Manufacturer's shop splices shall be fully vulcanized. The 2 No. 10 reinforcing bars provided to support the water stops shown on the plans shall be securely held in position by the use of spacers, supporting wires or other approved devices as provided in Section 52-1.07, "Placing."

If, after placing concrete, water stops are materially out of position or shape, the surrounding concrete shall be removed, the waterstop reset, and the concrete replaced, all at the Contractor's expense.

Field splices for neoprene water stops shall be either vulcanized; mechanical, using stainless steel parts; or made with a splicing union of the same stock as the water stop, at the option of the Contractor. All finished splices shall have a full size tensile strength of 17.5 kN per meter of width.

Field splices for polyvinyl chloride water stops shall be performed by heat sealing the adjacent surfaces in conformance with the manufacturer's recommendations. A thermostatically controlled electric source of heat shall be used to make all splices. The heat shall be sufficient to melt but not char the plastic.

Waterstops when being installed shall be cut and spliced at changes in direction as may be necessary to avoid buckling or distortion of the web or flange.

17.	Strip Water Stops. Strip water stops, consisting of neoprene sheets bonded to surfaces of structures, shall be furnished and installed in conformance with the details shown on the plans, the provisions in these specifications and the special provisions.

The neoprene sheet shall be fabricated from neoprene conforming to the provisions for "Neoprene" in Section 51-1.14, "Water stops." The neoprene sheet shall be smooth, free from pin holes or surface blemishes, and shall show no evidence of delamination. The surfaces of the neoprene sheet on which adhesive is to be used shall be cloth finish, or shall be buffed, and shall be dry and free of powder, dust, oil, wax or other deleterious material when adhesive is applied.

The adhesive used in bonding neoprene to surfaces of the structures or in bonding neoprene to neoprene shall conform to Federal Specification MMM-A-121.

Protective board shall be 12-mm minimum thick wood or fiberboard. Boards shall be not less than 1.2 m in length and the width shown on the plans.

Joints between neoprene sheets shall be made as follows:

Laps shall be not less than 300 mm in length. A coating of adhesive shall be applied to both faces of the sheets to be joined at the rate recommended by the manufacturer. The adhesive shall be allowed to remain undisturbed until it develops an aggressive tack without transferring to a dry finger touch. The sheets in the joint shall then be brought into contact and rolled in both directions to obtain a tight bond between the sheets.

Surfaces to receive strip water stops shall be abrasive blast cleaned to remove all dirt, dust, loose concrete, curing compound and other deleterious materials. Surfaces shall be allowed to air dry for not less than 24 hours before applying adhesive.

Adhesive shall be applied to both the surface of the structure and the surface of the sheet at the rate recommended by the manufacturer and shall be allowed to remain undisturbed until it develops an aggressive tack. The neoprene sheet shall then be applied to the surface of the structure and rolled in both directions to obtain a tight bond between the sheet and the surface of the structure.

After installation, the strip water stops shall be completely and tightly covered with one layer of protective board. Protective board shall be attached with spots or strips of a commercial quality adhesive of sufficient strength to hold the protective board in place until backfill has been completed.

The Contractor shall be responsible for protecting the strip water stops during backfill operations or any other operation which may damage the strip water stops. The Contractor, at the Contractor's expense, shall repair or replace any unacceptable or damaged strip water stop.

18.	Access Openings. Fabricate in conformance with Section 504 and as shown on the plans. Relocate reinforcing steel around openings as indicated on the plans. Provide pad locks and keys used to secure the hatch doors to the Engineer.

501-4.01 METHOD OF MEASUREMENT. Add the following: Grout and Water stops and all related materials, labor, reinforcement, and attachments are considered subsidiary and will not be measured for payment.

All material contained within, embedded, or attached to concrete elements including plates, angles, nuts, structural steel access openings, conduits, utility pipes, air vents, bolts, studs, expansion joint hardware and anchor bars are subsidiary to concrete.

All bearing materials including elastomeric pads, grease, and sheet metal blockouts are subsidiary to concrete.

All joint materials including expanded polyethylene and extruded strip seals are subsidiary to concrete.

All porous material placed behind the abutment walls as shown on the plans is subsidiary to concrete.

Item 501(7) will be measured by the completed structure consisting of all connected precast box sections, both sides of the cast-in-place structure.

501-5.01 BASIS OF PAYMENT. Add the following pay item:

Payment for Item 501(7) will be full compensation for the completed structure accepted in place.

| Pay Item | Pay Unit |
| --- | --- |
| 501(7) Precast Concrete Box | Lump Sum |

(7/30/03)R&M

SECTION 502

PRESTRESSED CONCRETE STRUCTURES

Special Provisions

Delete the section in its entirety and use Section 520 for all post-tensioning requirements of Bridge 1989.

(2/16/03)R&M

SECTION 503

REINFORCING STEEL

Special Provisions

503-3.04 PLACING AND FASTENING. Add the following:

Place all reinforcing steel bars within 13 mm of the plan position but do not decrease the minimum clear cover requirements.

503-3.05 SPLICING. Remove this section and replace with the following:

Splice straight reinforcing bars using lap splicing, welded butt joints, mechanical butt splicing, welded lap splicing, or mechanical lap splicing. Do not use lap splicing for reinforcing bars greater than 40 mm in diameter.

Splice spiral reinforcing bars using welded butt joints, welded lap splicing or mechanical lap splicing. Anchor each end unit of spiral reinforcing bar by lapping the free end of the bar to the continuous spiral and using either a welded lap splice or a mechanical lap splice.

Stagger splices in adjacent reinforcing bars, unless otherwise shown on the plans or approved by the Engineer. The distance between staggered lap splices shall be greater than the lapped splice length. Staggered butt splices at least 610 mm.

Reinforcing bars may be continuous at locations where splices are shown on the plans. Locate splices based upon using available commercial lengths where practicable except where shown otherwise in the plans.

1.	Lap Splicing

a.	General: Splices made by lapping shall consist of placing the reinforcing bars in contact and wiring them together in such a manner as to maintain the alignment of the bars and to provide minimum clearances.

Provide a minimum clear distance of 50 mm between the spliced bars and the nearest adjacent bar. Do not reduce the minimum clearance to the surface of the concrete specified in Subsection 503-3.04, Placing and Fastening.

Use lapped splices that are at least 50 bar diameters long or as indicated on the plans.

b.	Qualifications: No qualifications apply when lap splicing.

c.	Testing/Inspection: Field verify lap splice length.

2.	Welded Butt Joints

a.	General: Butt joints in reinforcing bars shall be complete joint penetration (CJP) groove welds conforming to the requirements in AWS D1.4-98 except as noted below.

- Use the joint details and dimensions as shown in Figure 3.2 (A) (B) (D) and (E), “Direct Butt Joints” of AWS D1.4-98. Do not use split pipe backing.

- Use electrodes classified as “Nickel-Steel” as referenced in AWS A5.5, A5.28, or A5.29.

- Preheat reinforcing bars in accordance with AWS D1.4-98 for a distance of not less than 150 mm on each side of the joint prior to welding. Protect welding areas from air currents, drafts and precipitation to prevent loss of heat or loss of arc shielding. Submit the method of protection of the welding area to the Engineer for approval.

- Submit all AWS required test assemblies to the Engineer.

b.	Qualifications: The operator and procedure qualification tests may be performed simultaneously.

Submit a welding plan to the Engineer for approval. The welding plan must consist of at least the following items:

(1)	Qualifications of Quality Control (QC) Inspector(s)

(2)	Welding Procedure Specifications (WPS)

(3)	Procedure Qualification Records (PQR), if applicable

(4)	Welder Performance Qualification Records (WPQR)

(5)	Type and extent of Nondestructive Examination (NDE) to be performed

c.	Testing/Inspection:

(1)	Shop Welds: When complete joint penetration groove welded joints are used, furnish job control tests from a qualified testing laboratory. A job control test shall consist of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of 150 splices. The Engineer or Engineer’s authorized representative will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of shop produced complete joint penetration welded butt joints is defined as 150, or fraction thereof, of the same type of welds used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice shall consist of a splice to connect two 760 mm, or longer bars using the same splice materials, position, location and equipment, and following the same procedures as are being used to make splices in the work. Shorter sample splice bars may be used if approved by the Engineer.

When samples are tested by a commercial agency, the test shall be witnessed by the Engineer or the Engineer's authorized representative.

Identify sample splices with weatherproof markings prior to shipment to the testing laboratory.

Should the average of the results of tests made on the 6 sample splices or should more than one sample splice in any job control test fail to meet the requirements for splices, all splices represented by that test will be rejected and will be replaced at the Contractor’s expense.

(2)	Field Welds: All field welded complete joint penetration direct butt joints may be subjected to nondestructive examination using radiographic examination (RT). The radiographic procedure shall be in accordance with AWS D1.1:2002, Section 6, except for Section 6.17, RT Procedures. The standards of acceptance shall be in accordance with AWS D1.4-98, Section 4.4.2 and Section 4.4.8.

Perform radiographic examinations on a random sample of 25 percent of the total number of direct butt joint welds. The Engineer will select the direct butt joints that will compose the sample. Sample joints will be tested in the presence of the Engineer or the Engineer’s authorized representative.

If more than 3 butt joints that have been radiographically examined are defective, a second random sample of 25 percent of the total number of direct butt joint welds will be examined. If more than 3 direct butt joints that have been radiographically examined in the second sample are defective, all remaining direct butt joints will be radiographically examined.

Repair all weld defects in accordance with the requirements of AWS D1.4-98.

Provide sufficient access to the job site to permit the Engineer or the Engineer’s authorized representative to perform any additional inspection or testing.

Notify the Engineer in writing 48 hours prior to performing any radiographic examinations.

Make two exposures for each complete joint penetration direct butt joint. For each of the 2 exposures, center the radiation source on each bar to be radiographed. Make the first exposure with the radiation source placed at zero degrees from the top of the weld and perpendicular to the weld root and identify with a station mark of “0”. Make the second exposure at 90 degrees to the “0” station mark and identify with a station mark of “90”.

Clearly identify each direct butt joint on each radiograph. Establish the radiograph identification and marking system with the Engineer before radiographic inspection begins. Identify film using lead numbers and letters. Do not use etching, flashing or writing to identify film. Each piece of film identification information shall be legible and shall include, as a minimum, the following information:

- Contractor’s name

- Date

- Name of nondestructive testing firm

- Initials of radiographer

- Weld number

Identify a repaired weld by placing the letter “R” followed by the weld repair number on the radiographic film using lead numbers and letters.

Record the results of all radiographic interpretations on a signed certification. Keep a copy of the certification with the film packet.

3.	Mechanical Butt Splices

a.	General: Use one of the following types of mechanical butt splices:

(1)	Sleeve-Threaded Mechanical Butt Splices: The sleeve-threaded type of mechanical butt splices shall consist of a steel splice sleeve with tapered interior threads that joins the reinforcing bars with matching tapered threads. Taper the threads to such a degree that cross threading will not occur during assembly. Mark each splice sleeve with the heat treatment lot number. After completion of assembly the splice shall be tightened to a torque value recommended by the manufacturer for reinforcing bars smaller than 25 mm in diameter and to a torque value of not less than 270 N·m for reinforcing bars equal to or greater than 25 mm in diameter.

(2)	Sleeve-Swaged Mechanical Butt Splices: The sleeve-swaged type of mechanical butt splices shall consist of a seamless steel sleeve applied over the ends of the reinforcing bars and swaged to the bars by means of a hydraulic press.

(3)	Sleeve-Lockshear Bolt Mechanical Butt Splices: The sleeve-lockshear bolt type of mechanical butt splices shall consist of a seamless steel sleeve, 2 serrated steel strips welded to the inside of the sleeve, center hole with centering pin, and bolts that are tightened until the bolt heads shear off, and the bolt ends are embedded in the reinforcing bars.

(4)	Two-Part Sleeve-Friction Bar Mechanical Butt Splices: The two-part sleeve-friction bar type of mechanical butt splices shall consist of a shop machined two-part threaded steel sleeve whose ends are friction welded, in the shop, to the reinforcing bars ends.

Engineer’s approval of a mechanical butt splice will be based upon manufacturer’s technical data, test results, and other necessary proof of satisfactory performance. Engineer’s approval will also be based upon the successful results of tests performed by the Department on sample splices and splice material furnished by the manufacturer. A design must be resubmitted for approval if there is any change in the details or materials previously submitted and on file.

The total slip, measured between gauge points clear of the splice sleeve, of the reinforcing bars within the splice sleeve after loading in tension to 200 MPa and relaxing to 20 MPa shall not exceed 250 µm for reinforcing bars 43 mm in diameter and smaller and 750 µm for reinforcing bars 57 mm in diameter.

Conform with the manufacturer's recommendations when splicing, except as modified in this section. Splices shall be made using manufacturer's standard equipment, jigs, clamps and other required accessories.

Cut the ends of reinforcing bars to be spliced square.

Provide a clear cover of not less than 40 mm measured from the surface of the concrete to the outside of the splice sleeve. Adjust stirrups, ties and other reinforcement if necessary to provide clear cover.

Furnish the following information for each shipment of splice material for review and approval by the Engineer:

- The type or series identification of the splice material.

- The heat treatment lot number for sleeve-threaded type sleeves.

- The bar grade and size number to be spliced by the material.

- A copy of the manufacturer's catalog giving complete data on the splice material and procedures.

- A statement that the splicing systems and materials used in accordance with the manufacturer's procedures will develop not less than a minimum tensile strength of 550 MPa, based on the nominal bar area, and will comply with the total slip requirements and the other requirements in these specifications.

- A statement that the splice material conforms in all respects to the details and materials of a specific approved design.

2.	Qualifications: Procedures to be used in making splices in reinforcing bars shall be qualified by tests performed by the Contractor on sample splices of the type to be used, before making splices to be used in the work.

Each operator qualification test for mechanical splices shall consist of 2 sample splices. Each mechanical splice procedure test shall consist of 2 sample splices.

For sleeve-threaded, sleeve-lockshear bolt and two-part sleeve friction bar mechanical butt splices, sample splices shall be made on the largest reinforcing bar size to be spliced by the procedure or operator being tested, except that 43 mm diameter bars may be substituted for 57 mm diameter bars.

For sleeve-swaged mechanical butt splices, sample splices shall be made on the largest reinforcing bar size of each deformation pattern to be spliced by the procedure or operator being tested.

Each operator qualified for mechanical splicing of reinforcing bars of a given size shall be considered also qualified for all reinforcing bar sizes smaller than those used in making the tests.

A separate operator qualification test or procedure test shall be performed for each mechanical splicing position and procedure that the operator is expected to use on the work.

Mechanical splice procedures and operators may be approved by the Engineer, based upon approval of previous tests performed on appropriate sample splices.

Completed sample splices shall be at least one meter long with the splice at mid-length. The sample splices shall be made and tested by the Contractor in the presence of the Engineer or the Engineer's authorized representative. When samples are tested by a commercial agency, the test shall be witnessed by the Engineer or the Engineer's authorized representative.

3.	Testing/Inspection: When mechanical butt splices are used, furnish job control tests from a qualified testing laboratory. A job control test shall consist of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of 150 splices. The Engineer will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of mechanical butt splices is defined as 150, or fraction thereof, of the same type of mechanical butt splices used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice shall consist of a splice made to connect two 760 mm, or longer bars using the same splice materials, position, location and equipment, and following the same procedures as are being used to make splices in the work. Shorter sample splice bars may be used if approved by the Engineer.

Sample splices shall be made and tested in the presence of the Engineer or the Engineer's authorized representative.

Sample splices shall be suitably identified with weatherproof markings prior to shipment to the testing laboratory.

For sleeve-threaded mechanical butt splices, the reinforcing bars to be used for job control tests shall be fabricated on a random basis during the cutting of threads on the reinforcing bars of each lot and shipped to the job site with the material they represent.

Should the average of the test results for the 6 sample splices or should more than one sample splice in any job control test fail to meet the requirements, all splices represented by that test will be rejected and will be replaced at the Contractor’s expense.

4.	Welded Lap Splicing

a.	General: Welded lap splicing shall conform to the details shown on the plans and the following requirements:

Conform to the requirements of AWS D1.4-98 except as modified in these specifications.

For the SMAW process, electrodes shall be purchased in hermetically sealed containers or dried for 2 hours at 230°C to 260°C before use. Immediately after removal from hermetically sealed containers or from drying ovens, the electrodes shall be stored in ovens held at a temperature of at least 120°C. Electrodes not used within 4 hours after removal from hermetically sealed containers or from drying or storage ovens shall be redried before use.

Welding shall not be performed in inclement or wet weather unless satisfactory protection is provided.

Flare welds may be made in one pass.

Tack welding for alignment purposes will be permitted when the tack weld will be consumed by the subsequent weld.

Individual hoops, made continuous with welded butt joint splices, may be substituted for bar spiral reinforcement.

The deviation in alignment of reinforcing bars at a welded lap splice shall not be more than 6 mm over a one-meter length of bar.

b.	Qualifications: Welders and weld procedures shall be qualified in conformance with the requirements in AWS D1.4-98.

Procedures to be used in making splices in reinforcing bars and welders and operators employed to make splices in reinforcing bars shall be qualified by tests performed by the Contractor on sample splices of the type to be used, before making splices to be used in the work.

Submit a welding plan to the Engineer for approval. The welding plan will consist of the following items:

- Qualifications of Quality Control (QC) Inspector(s)

- Welding Procedure Specifications (WPS)

- Procedure Qualification Records (PQR), if applicable

- Welder Performance Qualification Records (WPQR)

- Type and extent of Nondestructive Examination (NDE) to be performed

c.	Testing/Inspection: Visual inspection of completed welds shall show no evidence of cracks, lack of fusion, undercutting, excessive piping, porosity or inadequate size.

Complete lap splices shall develop a minimum tensile strength, based on the nominal bar area, of 550 MPa for ASTM A 706M bars.

5.	Mechanical Lap Splicing

- General: The mechanical lap splice shall be a unit consisting of a sleeve, in which the reinforcing bars are positioned, and a wedge driven through holes in the sleeve and between the reinforcing bars. The mechanical lap splice shall only be used for splicing non-epoxy-coated deformed reinforcing bars less than 20 mm in diameter.

Slip requirements do not apply to mechanical lap splices.

b.	Qualifications: Procedures to be used in making splices in reinforcing bars shall be qualified by tests performed by the Contractor on sample splices of the type to be used, before making splices to be used in the work.

Each operator qualification test for mechanical splices shall consist of 2 sample splices. Each mechanical splice procedure test shall consist of 2 sample splices.

For sleeve-swaged mechanical lap splices, sample splices shall be made on the largest reinforcing bar size of each deformation pattern to be spliced by the procedure or operator being tested.

Each operator qualified for mechanical splicing of reinforcing bars of a given size shall be considered also qualified for all reinforcing bar sizes smaller than those used in making the tests.

A separate operator qualification test or procedure test shall be performed for each mechanical splicing position and procedure that the operator is expected to use on the work.

Mechanical splice procedures and operators may be approved by the Engineer, based upon approval of previous tests performed on appropriate sample splices.

c.	Testing/Inspection: When mechanical lap splices are used, furnish job control tests from a qualified testing laboratory. A job control test shall consist of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of 200 splices. The Engineer will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of mechanical lap splices is defined as 200, or fraction thereof, of the same type of mechanical lap splices used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice shall consist of a splice made to connect two 760 mm, or longer bars using the same splice materials, position, location and equipment, and following the same procedures as are being used to make splices in the work. Shorter sample splice bars may be used if approved by the Engineer.

Sample splices shall be made and tested in the presence of the Engineer or the Engineer's authorized representative.

Sample splices shall be suitably identified with weatherproof markings prior to shipment to the testing laboratory.

Should the average of the results of tests made on the 6 sample splices or should more than one sample splice in any job control test fail to meet the requirements for splices, all splices represented by that test will be rejected and will be replaced at the Contractor’s expense.

503-5.01 BASIS OF PAYMENT. Delete the second paragraph and replace with the following:

Price and payment will be full compensation for furnishing, placing, splicing, and testing reinforcing steel as indicated on the plans and specifications. Increase in weight of reinforcing due to splices will not be paid for. All materials, equipment and labor required to splice reinforcement will be paid for under the contract lump sum price.

SECTION 504

STEEL STRUCTURES

Special Provisions

504-1.01 DESCRIPTION. Add the following: This work also consists of furnishing and installation of Steel Deck Grate as shown on the plans.

504-2.01 MATERIALS. Add the following:

Steel Deck Grate shall meet the requirements for Steel Grid Floors.

504-3.01 FABRICATION. Replace numbered subsection 8. with the following:

8.	Welding. Perform all welding and Nondestructive Examination (NDE) as specified or shown on the Plans to meet ANSI/AASHTO/AWS Bridge Welding Code D1.5, except meet AWS D1.1 when welding steel poles, piles, tubes, railing, grates, grate frames, deck expansion joints, and existing structures.

Prior to welding, submit for approval a welding plan consisting of the following:

a.	Quality Control personnel qualifications

b.	Welding Procedure Specifications (WPS)

c.	Procedure Qualification Records (PQR)

d.	Welder Performance Qualification Records (WPQR) with documentation of current welder certification

e.	Names and qualifications of the NDE technicians

f.	Type and extent of NDE to be conducted, as required in the specifications and as shown on the approved shop drawings

Perform all Quality Control inspection necessary to ensure the materials and workmanship meet the requirements of the contract documents.

Correct all deficiencies in materials and workmanship revealed by Quality Control and Quality Assurance inspections without additional compensation.

Furnish all completed Quality Control inspection documents to the Quality Assurance representative designated by the State.

Follow Charpy V-notch impact test requirements as shown on the Plans, except that the impact energy values for filler metals must not be less than that of the base metals to be joined, when tested at the same temperature as the base metal.

Add the following:

9.	Steel Deck Grate. Open steel deck grate shall be fabricated as open grid panels equivalent to Foster Fabricated Products’ 5-Inch RB 6.2M Open Grid manufactured by L.B. Foster Company; 1016 Greentree Road, Pittsburgh, PA 15220. Equivalent steel deck grates shall be fabricated to meet the following properties:

| Property | Acceptance Criteria |
| --- | --- |
| Structural Steel | ASTM A 709 Gr. 50/ A572 |
| Minimum Section Modulus | 236,000 mm3/meter |
| Coating | Galvanized, AASHTO M 111 |
| Maximum opening | 44 millimeters (transverse or longitudinally) |
| Minimum opening | 95 millimeters (transverse or longitudinally) |
| Maximum Deflection under HS25 loading L=1.5 meter (clear span) | L/800 |

Submit drawings and specifications of equivalent steel deck grate to the Engineer, for approval, at least 14 calendar days before ordering fabrication.

504-4.01 METHOD OF MEASUREMENT. Add the following:

Steel Deck Grate will be measured by the each unit, 1450 millimeters by 3840 millimeters, accepted in its final position as shown on plan.

504-5.01 BASIS OF PAYMENT. Add the following:

3.	Each. At the Contract price per each installed.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 504(10) Steel Deck Grate | Each |

(2/14/04)R&MKM

SECTION 505

PILING

Special Provisions

505-1.01 DESCRIPTION. Add the following: Practical refusal is defined as Pile Refusal in Section 505-4.01, numbered paragraph 8 of these Special Provisions.

505-3.03 Pile Bearing Values. Delete the first paragraph of this section and substitute the following: Drive all piles, except piles for lighting standards, to the required ultimate bearing capacity. For lighting standards, install piles of sufficient length to cut the pile at the required cut-off elevation and to provide the minimum installed length shown on the plans.

505-3.05 MINIMUM PENETRATION. Add the following: The Contractor shall furnish piles of sufficient length to be driven to the minimum tip elevation, to meet the driving criteria from the wave equation analysis and to provide the required cut off elevation. Pile lengths shall be calculated from the design cut off elevation to the minimum tip elevation. The Contractor shall at his own expanse, increase the pile lengths given to provide for fresh heading and for such additional pile lengths as may be necessary to suit their method of operations. (04/30/02)R65M98

505-3.09 Driving Piles. Add the following: In many cases, you may need to pre-bore, spud, use a larger pile-driving hammer, and excavate inside the pile, in addition to normal pile driving techniques. Sites for the lighting standard foundations can contain subsurface soils that consist of very dense sandy gravel with cobbles and boulders.

Submit a pile-driving plan to the Engineer, for approval, at least 14 calendar days before driving the first steel pipe pile. At a minimum, the pile-driving plan shall consist of the following:

- Pile driving hammer, or hammers, to be used,

- Alternate techniques planned for pile installation, and

- Equipment used for the pile driving operation.

When you can not achieve the minimum installed length shown on the contract plans, install the pile tip to an elevation established by the Engineer.

(04/30/02)R65M98

505-3.13 COATING OF STEEL PILES AND SHELLS. Add the following:

Structural steel sheet piles and cap steel need not be galvanized.

505-4.01 METHOD OF MEASUREMENT.  Replace numbered paragraph: 2. Drive Piles.  with the following:

2.	Drive Piles. Piles not achieving the required ultimate bearing capacity within 1.6 meters below the minimum pile tip elevation shown on the Plans shall be driven to a penetration established by the Engineer. Requirement to drive the piles more than 1.6 meters deeper than the estimate pile tip elevation shown on the Plans shall be at the written direction of the Engineer. For depths up to 4.6 meters below the estimated pile tip elevations, the Contract bid price for piling shall be applied. For depths beyond 4.6 meters below the estimated pile tip elevations, the pile unit costs shall be determined according to Subsection 109-1.05 of the Standard Specifications.

Do not measure piles for lighting standards for payment. Include all costs of furnishing and installing piles in Item 660(3), Highway Lighting System Complete.

(04/30/02)R65M98

Add the following to numbered paragraph  7. Sheet Piles:

Sheet piles installed as temporary cofferdam to control water at Cottonwood Creek shall be removed and will not be measured for payment.

Structural steel for steel cap shown on the Plans is subsidiary to this item.

Add the following:

8.	Special Pile Excavation: Removal of unusual obstructions causing pile refusal above the specified minimum pile tip elevations, when required by the Engineer, shall be classified as Special Pile Excavation. This work will be measured on time and materials basis in accordance with Subsection 109-1.05 of the Standard Specifications. Pile refusal is defined as the condition reached during pile driving which results in a bearing pile driven by an impact hammer having a negligible rate of penetration per blow (such as when a pile tip reaches an impenetrable bottom such as a rock or bedrock layer), and when the effective transferred energy (ram stroke, rate in blows per minute and rate in blows per 0.3 meter) of a properly operating and efficient impact hammer blow is no longer sufficient to advance the pile tip.

505-5.01 BASIS OF PAYMENT. Add the following:

Include all costs of furnishing and installing piles for lighting standards in Item 660(3), Highway Lighting System Complete.

Include all costs for furnishing, installing, and removal of sheet piles for temporary cofferdam at Cottonwood Creek in Item 205(8), Stream Diversion.

| Pay Item | Pay Unit |
| --- | --- |
| 505(17) Special Pile Excavation | Contingent Sum |

(2/16/03)R&M

SECTION 507

BRIDGE RAILING

Special Provisions

507-1.01 DESCRIPTION. Replace the first sentence with the following: This work consists of constructing concrete, timber, or steel bridge railing, pedestrian railing and safety railing as shown on the Plans.

507-2.01 MATERIALS. Add the following:

4.	Cable		Use 6 mm galvanized wire rope with a minimum

breaking force of 31.1 kN.

507-5.01 BASIS OF PAYMENT. Add the following:

| Pay Item | Pay Unit |
| --- | --- |
| 507(6) Safety Railing | Meter |

Delete this Section in its entirety and substitute the following:

SECTION 508

WATERPROOFING MEMBRANE

Special Provisions

508-1.01 DESCRIPTION. Add the following:

This work also includes damp proofing concrete elements.

508-2.01 MATERIALS. Add the following.

3.	Damp Proofing: Use a rubberized asphalt/polyethylene sheeting conforming to the following:

| Property | Test Method | Acceptable Criteria |
| --- | --- | --- |
| Thickness | ASTM D3767 – Method A | 1.5 mm |
| Flexibility, 180° bend over 25 mm mandrel at -32°C | ASTM D 1970 | Unaffected |
| Tensile Strength | ASTM D 412, Die C | 1.6 MPa |
| Elongation, Ultimate Failure of Rubberized Asphalt | ASTM D 412 | 200% |
| Crack Cycling at -32°C, 100 cycles | ASTM C 836 | Unaffected |
| Puncture Resistance | ASTM E 154 | 18 kg |
| Permeance @ 26.7°C | ASTM E 96, Procedure B | 5.7 x 10-7 g/Pa·s·m2 |
| Resistance to Hydrostatic Head | ASTM D 5385 | 60 m of water |

Add the following subsection:

508-3.02 DAMP PROOFING. Apply damp proofing material to all concrete surfaces as indicated on the plans.

Finish all concrete surfaces receiving damp proofing in accordance with Subsection 501-3.08, Item Number 1, Ordinary Finish. Remove all sharp projections and fill all porous locations.

Clean all dirt, oil, loose, and foreign material from concrete surfaces receiving damp proofing by sandblasting, wire brushing, or high-pressure washing.

Apply damp proof sheeting to concrete surfaces per the manufactures recommendations. Concrete must be properly cured and dry for adhesion to occur. Do not apply on concrete surfaces when the surface temperature is below -5°C or when rain is likely during installation unless specifically permitted by the manufacturer. Properly seal all joints with joint filler and sealer as required. Allow joint sealants to fully cure. Pre-strip all construction and control joints with 230 mm wide damp proof sheeting strip.

Apply damp proof sheeting from the low point to the high point so that laps shed water. Overlap all seams 50 mm. Stagger all end laps. Apply pressure by rolling the installed sheeting to insure complete contact with the concrete substrate.

Correct all imperfections appearing in the sheeting at no expense to the Department.

Backfill within 72 hours after applying damp proofing. Do not damage damp proofing.

508-4.01 METHOD OF MEASUREMENT. Add the following:

3.	Damp proofing. No measurement.

508-5.01 BASIS OF PAYMENT. Add the following:

Damp Proofing. At the contract lump sum price.

Add the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 508(3) Damp Proofing | Lump Sum |

(2/16/03)R&M

Add the following Section:

SECTION 511

MECHANICALLY STABILIZED EMBANKMENT RETAINING WALLS

Special Provisions

511-1.01 DESCRIPTION. Construct the Mechanically Stabilized Embankment (MSE) Retaining Walls and Modular Block Retaining Wall at the locations shown on the Plans and as provided in these specifications.

MSE RETAINING WALL. Constructing the MSE retaining walls shall consist of precast concrete facing panels connected to a metallic strip or grid reinforcement. The following list of acceptable MSE systems has been selected from the Alaska DOT/PF'S current list of prequalified MSE systems. The following are acceptable MSE systems that the Contractor may construct:

"Reinforced Earth" of the Reinforced Earth Company

20381 Lake Forest Dr., Ste. B-2

Lake Forest, CA 92630

Phone: (949) 587-3060

"Reinforced Soil Embankment" of Hilfiker Walls

3900 Broadway

Eureka, CA 95503

Phone: (707) 443-5093

“MSE PLUS” of the SSL Company

4740-E Scotts Valley Drive

Scotts Valley, CA 96066

Telephone: (831) 430-9300

Only one MSE wall system shall be selected for installation on this project. The Department will not allow use of multiple systems.

MODULAR BLOCK RETAINING WALL. Constructing the Modular Block retaining walls shall consist of precast facing blocks connected to grid reinforcement.

511-1.02 SUBMITTALS

Submit complete working drawings for the selected MSE and Modular Block wall system in accordance with the provisions in Subsection 105-1.02.Verify the existing ground elevations at the site before preparing the final working drawings. Said working drawings shall contain all information required for the proper construction of the system and any required revisions or additions to drainage or other facilities. Supplement the working drawings with calculations for the particular installation. Said working drawings and calculations shall demonstrate the internal stability as well as the external stability of the wall. An Engineer who is registered as a Civil Engineer in the State of Alaska shall sign and seal the drawings and calculations. Submit a complete set of working drawings and calculations to the Engineer. Allow the Engineer 3 weeks to review the working drawings and calculations.

Wall dimensions may vary slightly from, but shall not be less than the retained embankment shown on the Plans.

Use the minimum height and length for any system that will effectively retain the earth behind the structure for the loading conditions, contours, profile, or slope lines shown on the Plans or on the approved working drawings. In addition, if the Plans show limiting parameters for the systems, the system selected shall conform to those parameters.

The construction of the wall system shall conform to the details on the approved working drawings and to the details of the pre-qualified system on file with the State.

511-2.01 MATERIALS. Materials furnished for the MSE and Modular Block retaining walls shall conform to the following:

GENERAL. Make your own arrangements to purchase and/or manufacture the face elements, reinforcing-mesh, grid or strips, attachment devices, joint filler, and all other necessary components from sources listed in these specifications and as shown on the contract Plans. Use only materials conforming to the Plans, specifications or from sources listed in the contract documents unless you receive written consent from the Engineer.

1.	MSE Concrete Face Panels. Fabricate panels in conformance with Section 501, with the following exceptions and additions:

- The Portland cement concrete shall conform to Class A with a 27 MPa compressive strength at 28 days.

- Do not strip the forms from the units until the concrete reaches a minimum compressive strength of 7 MPa. Ship the units after reaching a minimum compressive strength of 23 MPa. The Engineer will not accept panels with hairline cracks in them.

- Concrete Finish and Tolerances: The concrete surface of the front face shall have a finished surface similar in texture to the cast in place walls on the project in accordance with Section 514, Concrete Surface Treatments. Screed the rear face of the panel to eliminate open pockets of aggregate and surface distortions in excess of 6 mm. The panels shall be cast on a flat surface. Do not contact or attach the embeds, tie strip guide, or other galvanized devices to the face panel reinforcement steel.

- Angle Points: Changes in the wall alignment shall be accomplished using prefabricated angled corner panels or special columns of the same texture and size as the flat panels, such that a continuous panel is traversing the angle point without a break in the normal horizontal and vertical joint pattern unless directed otherwise by the Engineer. Bevel panels or field outs that disrupt the normal joint pattern and/or result in a single vertical line are not permissible.

- Marking: Clearly scribe the date of manufacture, the production lot number, and the piece mark, on the unexposed face of each panel.

- Handling, Storage and Shipping: Handle, store, and ship all panels in such a manner as to protect them from chipping, discoloration, cracks, fractures, and excessive bending stresses. Support panels in storage on firm blocking to protect the panel connection devices and the exposed exterior finish.

- Reinforcing steel for the concrete panels shall conform to AASHTO M 31.

- Tolerances: Manufacture all panels within the following tolerances.

  - Panel Dimensions: Position of panel strap connection devices within 1 inch. All other dimensions within 5 mm.

  - Panel Squareness: Squareness as determined by the difference between the two diagonals, shall not exceed 13 mm.

  - Panel Surface Finish: Surface defects on smooth formed surfaces measured on a length of 1.5 meters shall not exceed 3 mm. Surface defects on the textured-finished surfaces measured over a length of 1.5 meters shall not exceed 8 mm.

i.	Testing:

Compressive Strength: Production lots shall determine the acceptance of concrete panels with respect to compressive strength. A single compressive strength sample will represent a production lot of a group of panels. A production lot will consist of either 10 panels or a single day's production, whichever is less.

During the production of the concrete panels, the manufacturer will randomly sample the concrete in accordance with WAQTC TM 2. A single compressive strength sample, consisting of a minimum of four cylinders, will be randomly selected for every production lot.

Perform compression tests on a standard 150 mm by 300 mm test specimen in accordance with WAQTC FOP for AASHTO T 23. Conduct compressive strength testing in accordance with AASHTO T-22.

For every compressive strength sample, cure a minimum of two cylinders in accordance with WAQTC FOP for AASHTO T 23 and test at 28 days. The average compressive strength of these cylinders, when tested in accordance with AASHTO T-22, will provide a compressive strength test result that will determine the compressive strength of the production lot.

If the compressive strength test result is greater than or equal to 27 MPa the Engineer will accept the production lot. If the compressive test result is less than 27 MPa, then the acceptance of the production lot will be based on its meeting the following acceptance criteria in their entirety:

(1)	Ninety percent of the compressive strength test results for the overall production shall exceed 28 MPa.

(2)	The average of any six consecutive compressive test results shall exceed 29 MPa.

(3)	No individual compressive strength test result shall fall below 25 MPa.

Air Content: Perform air content tests in accordance with WAQTC FOP for AASHTO T 152 or AASHTO T-196. Take air content samples at the beginning of each day's production and take compressive samples at the same time to insure compliance.

Slump Test: Perform the slump test in accordance with WAQTC FOP for AASHTO T-119. Determine the slump at the beginning of each day's production and take the compressive samples at the same time.

Rejection: Rejection of units shall be because of failure to meet any of the requirements specified above. In addition, any of the following defects shall be sufficient cause for rejection.

- Faulty casting causing defects.

- Defects indicating honeycombed or open texture concrete.

- Cracked or severely chipped panels.

- Unreasonable color variation on front face of panels.

2.	Modular Block Concrete Face Block. Fabricate concrete wall blocks in accordance with the following:

a.	Concrete wall blocks shall have a minimum net 28-day compressive strength of 20 MPa and meet the requirements of ASTM C 90 and ASTM C 140. The concrete shall have a maximum moisture absorption of 6 to 8 percent.

b.	Standard block units shall have a nominal 0.1 square-meter minimum face area. Cap units shall have a minimum of 0.05 square-meter face area.

c.	Block units shall be interlocking between successive layers of block across horizontal joints and shall provide a setback per each course of wall height as shown on the plans. The Contractor shall submit manufacturer’s specifications for proposed wall materials. A gray colored fractured face block is desired for this project. Submit color samples to the Engineer for approval.

3.	Soil Reinforcing and Attachment Devices. Carefully inspect all reinforcing and attachment devices to insure that devices are true to size and free from defects that may impair strength and durability. The metallic strip or grid shall meet the requirements of AASHTO Standard Specifications for Highway Bridges, latest Edition, and per the MSE and Modular Block wall suppliers’ design recommendations.

4.	Joint Materials: Bearing pads, joint filler, and joint cover materials shall be according to the MSE wall supplier's recommendations.

5.	Backfill Materials: All backfill materials used in the structure volume shall be free from organic or otherwise deleterious materials and shall conform to the following gradation limits as determined by WAQTC FOP for AASHTO T 27/T 11. Plasticity Index (P. I.) shall not exceed 6 as determined by WAQTC FOP for AASHTO T-89 and T-90.

a.

| SIEVE SIZE | PERCENT BY WEIGHT PASSING |
| --- | --- |
| 150 mm | 100 |
| 75 mm | 75-100 |
| 4.75 mm | 35-65 |
| 0.425 mm | 0-50 |
| 0.075 mm | 0-6 |

b.	Soundness. The materials shall be free of shale or other soft, poor durability particles. The material shall have a sodium sulfate soundness loss of less than 30 percent after four cycles, as determined in accordance with AASHTO T-104.

c.	Electrochemical Requirements. The backfill materials shall meet the following criteria:

| REQUIREMENT | VALUE | TEST METHOD |
| --- | --- | --- |
| Resistivity | 3,000 ohm centimeters min. | Arizona DOT 236a |
| pH | 5-10 | Arizona DOT 236a |
| Chlorides | 50 ppm max. | AASHTO 291 |
| Sulfates | 100 ppm max. | California DOT 417 |

The State shall perform corrosion tests. Notify the Engineer of the MSE backfill source at least 60 days prior to wall construction for corrosion testing of the backfill materials.

6.	Concrete Leveling Pad. The concrete leveling pad shall conform to Section 501. The concrete for the pad shall be placed at least 24 hours prior to erecting the MSE face panels. An aggregate base course leveling pad, in lieu of a concrete leveling pad, may be constructed for the Modular Block Retaining Wall at the discretion of the wall design Engineer.

7.	Acceptance of Material. Furnish the Engineer with a Certificate of Compliance certifying that all materials, excluding backfill, comply with the applicable contract specifications. Furnish the Engineer with a copy of all test results performed by the Contractor necessary to assure contract compliance.

Acceptance will be based on the Certificate of Compliance, accompanying test reports, and visual inspection by the Engineer. The Engineer may require additional testing.

CONSTRUCTION REQUIREMENTS

511-3.01 EXCAVATION AND FOUNDATION. Excavation and preparation of the foundation shall be in conformance with Section 205, Excavation, Backfill and Foundation Fill for Structures.

Foundation Preparation. Grade the foundation for the structure level for a width equal to or exceeding the length of reinforcement elements plus 0.3 meters or as shown on the Plans. Prior to wall construction, compact the foundation with two passes of a vibratory drum compactor, except where constructed on rock. Remove any foundation soils found to be unsuitable and replace with backfill as per Section 205.

At each MSE panel foundation level, provide a cast-in-place nonreinforced concrete leveling pad of the type shown on the Plans or approved working drawings. Cure the footing a minimum of 24 hours before placement of wall panels.

511-3.02 WALL ERECTION. A field representative from the proprietary wall system shall be available during the erection of the wall. The services of the representative shall be at no additional cost to the State.

Precast concrete panels or blocks shall be placed so that their final position is vertical, or battered as shown in the Plans. Handle panels for erection by means of lifting devices connected to the upper edge of the panel or as per the MSE wall supplier’s recommendations. Panels or blocks shall be placed in successive horizontal lifts in the sequence shown on the working drawings as backfill placement proceeds. As backfill material is placed behind the wall, maintain the panels or blocks in a vertical position by means of temporary wedges or bracing according to the wall supplier’s recommendation. Vertical tolerances and horizontal alignment tolerances shall not exceed 19 mm when measured with a 3-meter straight edge. During construction, the maximum allowable offset in any MSE panel joint shall be 19 mm; the maximum allowable offset in any block joint shall be 6 mm. The overall vertical tolerance of the wall (top to bottom) shall not exceed 13 mm per 3 meters of wall height. The plumb and tolerances of each panel row or block course at the face shall be checked prior to erection of the next panel row or block course. Should any panels or blocks be out of tolerance, remove the fill, and reset to their proper tolerances. Horizontal, vertical and slope joint openings between MSE panels shall be uniform and no larger than 31 mm and no smaller than 13 mm.

Reinforcement elements shall be placed normal to the face of the wall, unless otherwise shown on the Plans. Prior to placement of the reinforcing elements, backfill shall be compacted in accordance with Section 205.

Apply adhesive or epoxy to bottom surface of Modular Block cap units to provide permanent mechanical connection to wall.

Backfill placement shall closely follow erection of each course. Backfill shall be placed in such a manner as to avoid any damage or disturbances of the wall materials or misalignment of the facing panels or blocks. Remove and replace any wall materials that become damaged during backfill placement at the Contractor's expense. Correct any misalignment or distortion of the wall facing panels or blocks due to placement of backfill outside the limits of this specification.

Backfill shall be compacted to 95 percent of the maximum density as determined by ATM T-12. Where spread footings support bridge or other structural loads, the top 1.5 meters below the bottom of the footing elevation shall be compacted to 98 percent as determined by ATM T-12. The maximum lift thickness after compaction shall not exceed 200 mm. Decrease this lift thickness, if necessary to obtain the specified density. The Engineer will determine field density using ALASKA FOP for AASHTO T 205 or WAQTC TM 7 AND WAQTC FOP for AASHTO T 224.

Use a lightweight mechanical tamper, roller, or vibratory system with at least three passes to achieve compaction within 1 meter of the back face of the wall facing.

The Engineer shall take a minimum of one density test at each level of soil reinforcement material.

Slope the last level of backfill away from the wall facing to permit rapid water runoff away from the wall face at the end of operations each day. Do not allow surface runoff from adjacent areas to enter the wall construction site.

511-4.01 METHOD OF MEASUREMENT. Measure Mechanically Stabilized Embankment Retaining Walls and Modular Block Retaining Wall by the square meter of wall face measured along the face of the wall. Regardless of the type of system actually constructed, the square meter area for payment will be based on the height and length of each section of wall constructed as shown on the Plans. The height of each section is the difference in elevation on the outer face from the bottom of the lowermost face panel or block to the top of the uppermost face panel or block, based on the approved working drawings.

Cap block will not be measured for payment but will be subsidiary to Modular Block Retaining Wall.

The concrete surface treatment of the MSE panels will not be measured for payment but will be subsidiary to Mechanically Stabilized Embankment Retaining Walls.

Measure tapered wall sections using the average height resulting from the height measured at each end of the tapered section.

511-5.01 BASIS OF PAYMENT. The contract price paid per square meter of wall face for MSE Retaining Walls and Modular Block Wall shall include full compensation for furnishing all labor, materials, tools, equipment, and incidentals and for doing all work involved in constructing the earth retaining structure; including MSE and random backfill soil, bar reinforcing steel, excavation, leveling pad, face panels or block, coping or cap block, and all parts of or appurtenances to the earth reinforcement system, complete in place, as shown on the Plans, as provided in the Standard Specifications, Standard Modifications and these Special Provisions, and as directed by the Engineer.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 511(1) Mechanically Stabilized Embankment Retaining Walls | Square Meter |
| 511(3) Modular Block Retaining Wall | Square Meter |

(10/17/02)R90m98(07/30/03)R&M

SECTION 512

FORMS AND FALSEWORK

Special Provisions

Remove this section in its entirety and replace with the following:

512-1.01 DESCRIPTION. This work consists of designing, constructing, maintaining, and removing forms, falsework, temporary retaining structures and all other construction used to temporarily support structural concrete, girders, and other major structural elements until the structure is completed to the point where it can support itself.

Conform to the AASHTO Guide Design Specifications for Bridge Temporary Works and these specifications. These provisions apply only to forms, falsework, temporary retaining structures and other temporary construction and are not applicable to modification of the structure itself.

DESIGN AND CONSTRUCTION REQUIREMENTS

512-3.01 SUBMITTALS. No less than 30 days prior to anticipated start of falsework construction, submit for approval three copies of the drawings, supporting calculations, and material specifications for falsework, temporary retaining structures and all other temporary construction. Include the design loads, material specifications, foundation requirements, and all other relevant information on the drawings. Include all manufacturers’ catalog, technical bulletin, design data, or similar information in the calculation package. A professional engineer proficient in structural design shall design, sign, and seal the drawings and supporting calculations.

In the event that several falsework plans are submitted simultaneously, or an additional plan is submitted for review before the review of a previously submitted plan has been completed, designate the sequence in which the plans are to be reviewed. In such event, the time to be provided for the review of any plan in the sequence shall be not less than the review time specified above for that plan, plus 2 weeks for each plan of higher priority which is still under review.

Do not begin construction without the approval of the Engineer. Approval by the Engineer of the falsework working drawings or falsework inspection performed by the Engineer will in no way relieve the Contractor of full responsibility for the falsework.

Prior to welding, submit for approval a welding plan consisting of the following:

- Quality Control personnel qualifications

- Welding Procedure Specifications (WPS)

- Procedure Qualification Records (PQR)

- Welder Performance Qualification Records (WPQR) with documentation of current welder certification

- Sample daily inspection sheet

- Type and extent of NDE to be conducted, as required in the specifications

Correct all deficiencies in materials and workmanship revealed by Quality Control and Quality Assurance inspections without additional compensation. Furnish all completed Quality Control inspection documents to the Engineer.

Prior to placing construction materials upon the falsework, submit a signed report from the professional engineer responsible for the design indicating that the falsework has been constructed and inspected as required by the specifications. Do not begin placing concrete until the report has been submitted to the Engineer.

512-3.02 DESIGN LOADS. For design purposes, consider that the entire superstructure cross-section, except railing, is placed at one time and that the structure does not carry any self-weight until after the falsework is removed.

Design the falsework to support any increased or readjusted loads caused by the prestressing forces.

512-3.03 FALSEWORK OVER OR ADJACENT TO ROADWAYS AND RAILROADS. Design and construct falsework over or adjacent to roadways or railroads which are open to traffic so that the falsework will be stable if subjected to impact by vehicles.

Falsework posts which support members that cross over a roadway or railroad are considered as adjacent to roadways or railroads. Other falsework posts are considered as adjacent to roadways or railroads if they are located in the row of falsework posts nearest to the roadway or railroad and the horizontal distance from the traffic side of the falsework to the edge of pavement, or to a point 3 m from the centerline of track, is less than the total height of the falsework and forms. The falsework design at these locations shall include, but not be limited to, the following minimum provisions:

- For falsework spans over roadways, all exterior falsework stringers and stringers adjacent to the ends of discontinuous caps, the stringer or stringers over points of minimum vertical clearance and every fifth remaining stringer, shall be mechanically connected to the falsework cap or framing. The mechanical connections shall be capable of resisting a load in any direction, including uplift on the stringer, of not less than 2.2 kN. Install the connections before traffic is allowed to pass beneath the span.

- Use 16-mm diameter or larger bolts in all connections for the timber bracing when timber members are used to brace falsework bents that are located adjacent to roadways or railroads.

- Falsework bents within 6 meters of the centerline of a railroad track shall be sheathed solid in the area between 1 m and 5 m above the track elevation on the side facing the track. Sheathing shall consist of plywood not less than 16 mm thick or lumber not less than 19 mm thick. Bracing on these bents shall be adequate so that the bent will resist the required assumed horizontal load or 22 kN, whichever is greater, without the aid of sheathing.

- Install precast concrete barriers on both sides of all vehicular openings through falsework and at all other falsework less than 3.6 m from the edge of a traffic lane. Barriers shall begin approximately 46 meters in advance of the falsework and shall extend at least 18 meter beyond falsework in the direction of the adjacent traffic flow. The location and type of flare to be used shall be as directed by the Engineer. The clear vehicular opening between the inside faces of the barriers shall not be less than 9.8 meters.

- The minimum vertical clearance under the falsework shall not be less than 4.5 meters. Provide vertical clearance signs at falsework openings, advance warning devices such as overhead sign, flashing lights, over-height vehicle dectors, or other approved method in conformance with Section 643 indicating vertical clearance.

512-3.04 FALSEWORK CONSTRUCTION. Build camber into the falsework to compensate for falsework deflection and anticipated structure deflection shown on the plans. Camber shown on the plans is anticipated structure deflection only.

Do not apply dead loads, other than forms and reinforcing steel, to falsework unless authorized by the Engineer.

Discontinue concrete placement and take corrective action if the falsework deflection is greater than anticipated by more than 6 mm. If satisfactory corrective action is not taken before initial concrete set, remove all unacceptable concrete as directed by the Engineer and at no cost to the Department.

Deck slab forms between girders shall be constructed with no allowance for settlement relative to the girders.

512-3.05 REMOVING FALSEWORK. Do not remove falsework in cast-in-place prestressed portions of structures until after the prestressing steel has been tensioned in conformance with the specifications.

Do not remove falsework supporting the exterior girder stem until after the concrete deck has been poured.

Do not remove falsework supporting the bridge or other structures for at least 14 days after the final concrete pour and until the concrete has obtained 90% of the specified compressive strength.

Remove all falsework materials including materials from within the interior of the box girder cells unless otherwise directed by the Engineer. Remove falsework piling at least 600 mm below the surface of the original ground or original streambed. Remove all debris and refuse resulting from the work and clean the premises to a neat and presentable condition as determined by the Engineer.

512-3.06 FORMS. Clean the inside surfaces of forms free of all dirt, mortar and foreign material. Coat all forms with form oil prior to use. Use a commercial quality form oil or an equivalent coating which will permit the ready release of the forms and will not discolor the concrete.

Follow the manufacturer’s written recommendations when using form liners. Increase the overall thickness of members that receive an architectural finish to maintain the minimum specified cover over the reinforcing steel.

Do not place concrete in the forms until all work connected with constructing the forms has been completed, all materials required to be embedded in the concrete have been placed for the unit to be poured, and the Engineer has inspected the forms and materials. Remove all dirt, chips, sawdust, water and other foreign material from the forms prior to concrete placement.

Prior to the completion of forming for the deck of the bridge, remove all form materials and other debris inside the cell.

Bevel all exposed corners and edges 20 ± 6 mm with a triangular strip built into the forms. Use the same size strip throughout the structure.

512-4.01 METHOD OF MEASUREMENT. Forms and Falsework will not be measured for payment.

512-5.01 BASIS OF PAYMENT. At the contract lump sum price.

When either Item 512(1) Forms or 512(2) Falsework, does not appear in the bid schedule, all work required for that item will be subsidiary.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 512(2) Falsework | Lump Sum |

Add the following Section:

SECTION 514

CONCRETE SURFACE TREATMENTS

Special Provisions

514-1.01 DESCRIPTION. This work consists of providing an aesthetic fascia on all exposed faces of precast and cast-in-place concrete walls. Use form liners on all cast-in-place concrete retaining walls. Install graffiti protection on all walls and surfaces designated on the Plans.

514-2.01 MATERIALS. Reinforcing steel shall meet the requirements of Subsection 709-2.01 Reinforcing Steel.

Provide standard reusable, non-porous form liners conforming to the pattern for Dayton/Richmond Pattern No. 1101, Standard Spec Rib; or approved equal. Approved equal shall provide approximately 38 mm x 19 mm corrugations with a fractured surface appearance.

Use a two-step graffiti protection system designed specifically for this use. The system shall consist of a single component clear acrylic base coat covered by a clear urethane finish coat. This material is not a sealer or vapor barrier and no appreciable discoloration is allowed.

Trained personnel shall apply the material according to the manufacturer’s recommendations.

514-3.01 AESTHETIC FASCIA. Use form liners on all retaining wall forms which have exposed surfaces. The wall dimensions and concrete quantities provided on the Plans are minimum and do not include allowances for the thickness of the form liners and must be accounted for by the Contractor.

The liners will cover the majority of the form with a minimum of 50 mm and a maximum of 300 mm between the edge of liner and the finished top of the wall, pathway or original ground grade at the bottom, and edge or expansion joints of the wall on the sides. The Engineer shall approve the liner placement on the form prior to the concrete pour.

514-3.02 GRAFFITI PROTECTION. Let all concrete surfaces set at least 28 days before applying any coatings. Apply the base coat with a roller or sprayer in accordance with the manufacturer’s recommendations. Apply two coats of the finish coat after the base coat has cured for 72 hours. Apply appropriate masking as required.

514-4.01 METHOD OF MEASUREMENT. Measure aesthetic fascia by the square meter of actual design exposed in the finished structure, regardless of whether it is cast-in-place or precast.

Measure graffiti protection by the square meter of surface area designated by the Engineer.

514-5.01 BASIS OF PAYMENT. Payment for wall treatments will be full compensation for all labor, equipment and materials, including reinforcing steel, required to complete the walls in accordance with the Plans and Specifications.

(2/28/01)R41M98

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 514(1) Aesthetic Fascia | Square Meter |
| 514(2) Graffiti Protection | Square Meter |

Add the following section:

SECTION 520

POST-TENSIONED CONCRETE STRUCTURES

520-1.01 DESCRIPTION. This work shall consist of prestressing cast-in-place concrete by furnishing, placing, and tensioning of prestressing steel in conformance with details shown on the plans, and as specified in the specifications.

This work includes furnishing and installing all post-tensioning systems and all other pertinent items necessary for the particular prestressing system used, including but not limited to ducts, anchorage assemblies, supplementary reinforcement and grout used for pressure grouting ducts. Furnish all components of a post-tensioning system, not including the prestressing steel, from a single supplier.

Install prestressing steel through ducts in the concrete. Stress to the predetermined load and anchor directly against the hardened concrete. Grout ducts to fill all voids and install protection at end anchorages. Submit working drawings and specifications in accordance with these specifications.

520-1.02 DEFINITIONS. The following definitions apply to this Section.

ANCHORAGE: An assembly of various hardware components that secure a tendon at its ends after it has been stressed imparting the tendon force into the concrete.

ANTICIPATED SET: The set that was assumed to occur in the design calculation of the post-tensioning forces immediately after load transfer.

BEARING PLATE: Hardware that transfers the tendon force directly into concrete.

BLEED: The autogenous flow of mixing water within or its emergence from newly placed grout caused by the settlement of the solid materials within the mass and filtering action of strands.

DUCT: Material forming a conduit to accommodate prestressing steel installation and provide an annular space for the grout that protects the prestressing steel.

FLUIDITY: A measure of time, expressed in seconds, necessary for a stated quantity of grout to pass through the orifice of a flow cone.

GROUT: A mixture of cementitious materials and water with or without mineral additives or admixtures proportioned to produce a pumpable consistency without segregation of the constituents when injected into the duct to fill the space around the prestressing steel.

GROUT CAP: A device that contains the grout and forms a protective cover sealing the post-tensioning steel at the anchorage.

POST-TENSIONING: A method of prestressing in which the tendons are tensioned after the concrete has reached a specified strength.

PRESTRESSING METHOD: The pattern, size and locations of post-tensioning tendons.

PRESTRESSING STEEL: The steel element of a post-tensioning tendon, which is elongated and anchored to provide the necessary permanent prestressing force.

POST-TENSIONING SYSTEM: An assembly of proprietary post-tensioning hardware, including but not limited to anchorage assembly, local zone reinforcement, wedge plate, wedges, bearing plate, prestressing steel, duct, duct connections, vents and grout cap, used to construct a tendon of a particular size and type.

SET (Also Anchor Set or Wedge Set): The total movement of a point on the strand outside the anchoring wedges during load transfer from the jack to the permanent anchorages. Set movement is the sum of slippage of the wedges with respect to the anchorage head and the elastic deformation of the anchor components.

STRAND: An assembly of several high-strength steel wires wound together. Strands usually have six outer wires helically wound around a single straight wire of a similar diameter.

STRAND COUPLER: An assembly by which the prestressing force may be transmitted from one partial length prestressing tendon to another. (Strand couplers are not permitted.)

TENDON: A single or group of prestressing steel elements and their anchorage assemblies that imparts prestress to a structural member. Also, included are ducts, grouting attachments, grout and corrosion protection filler materials or coatings.

TENDON SIZE: The number of individual strands of a certain strand diameter.

THIXOTROPIC: The material property exhibited by certain grouts that enable material to stiffen, achieve a higher viscosity, in a short time while at rest, but to become liquid, acquire a lower viscosity, when mechanically agitated.

VENT: Tubing or pipe used for injection of grout into the duct and to allow escape of air, water, grout and bleed water from the duct.

WEDGE: A conically shaped device that anchors the strand in the wedge plate.

WEDGE PLATE: The hardware that holds the wedges of a multi-strand tendon and transfers the tendon force to the anchorage assembly.

520-1.03 POST-TENSIONING TECHNICIAN. Perform all post-tensioning field operations under the direct supervision of a qualified post-tensioning technician. Provide a post-tensioning technician with at least five (5) years of experience in construction of post-tensioned prestressed concrete structures. Provide a technician, skilled in the prestressing method, to aid and instruct in using the prestressing equipment and in installing the materials to obtain required results.

Perform all grouting under the direct supervision of a certified grouting technician. Provide a technician skilled in various aspects of grouting who is certified by the American Segmental Bridge Institute as an “ASBI Certified Grouting Technician”.

The post-tensioning technician shall be present at all times during duct installation, tendon tensioning, and grouting operations and shall provide close observation and control of all post-tensioning and grouting operations, as necessary for full compliance with specified requirements. Submit the name of the post-tensioning technician and proof of certification to the Engineer no less than thirty days before the start of bridge concrete placement operations.

Do not substitute post-tensioning technicians unless you receive prior written approval from the Engineer. Provide documentation required in this specification demonstrating that the proposed substitute individual meets the qualifications at the time that the request for substitution is made. All post-tensioning operations will be suspended if the Engineer has not approved the proposed substitution in writing. If work is suspended due to unapproved substitutions of special qualification personnel, you shall be liable for all additional costs resulting from the suspension of work and no claim for damages or additional compensation or adjustment in contract time resulting from the suspension of work will be made or permitted.

520-1.04 DRAWINGS AND CALCULATIONS. Submit working drawings and supporting calculations of the prestressing system to the Engineer for approval no less than forty-five days prior to the placement of bridge concrete. Submit four sets of the drawings for initial review. After the initial review has been reviewed and you have received and implemented all comments from the Engineer, submit eight sets of drawings to the Engineer for approval and for use during construction in accordance with Section 105-1.02 Plans and Working Drawings.

Show complete details on the working drawings of the prestressing system and all substantiating calculations of the method and materials that you propose to use in the prestressing operations, including any additions or rearrangement of reinforcing steel and any revision in concrete dimensions from that shown on the plans. Outline in sufficient detail the method and sequence of stressing. Include complete specifications and details of the prestressing steel and anchoring assemblies, working stresses, anchoring stresses, type of ducts, initial prestress losses, final prestress losses and all other data pertaining to the prestressing operation. Show tendon geometry and locations complying with the plans and the limitations of the selected post-tensioning system. Show all vent locations, high point outlet inspection details, anchorage inspection details and grout caps, protection system materials and application limits. Include on the working drawing the location of the anchorages, vents, and duct enclosures at 610 millimeter (maximum) intervals along the length of the girder.

Submit for approval complete details of the method, material, and equipment to be used. Include an outline of the method and sequence of stressing, complete specifications, details, and material certifications of the prestressing steel and anchoring devices to be used, anchoring stresses, type of enclosures, and other data pertaining to the prestressing operations, including the proposed tendon geometry and location.

Submit calculations for the anticipated camber at the time of prestressing force transfer and at other significant times. Show the values on the shop drawings as a time/deflection curve.

Submit calculations for the anticipated tendon elongation. Utilize the modulus of elasticity, based on nominal area, as furnished by the prestressing steel manufacturer for the lot of steel being tensioned. Show a typical tendon force diagram, after friction, wobble and anchor set losses, on the shop drawings based upon the expected friction curvature and wobble coefficients and values for the post-tensioning system used. Show the coefficients and values on the shop drawings.

A professional engineer specializing in post-tensioning concrete is required to produce all shop drawings related to post-tensioning. All calculations, drawings, and procedures must bear the signature and seal of the engineer who specializes in post-tensioning construction.

520-2.01 MATERIALS. Use materials that conform to the following:

| Water | Subsection 712-2.01 |
| --- | --- |
| Prestressing Steel and Fittings | Section 721 |
| Post-Tension Grout | Section 731 |

520-2.02 POST-TENSIONING SYSTEM. Use only post-tensioning systems that utilize tendons fully encapsulated in anchorages and ducts. Systems which transfer prestress force by bonding the prestress steel directly to concrete are not allowed. Use only post-tensioning systems that are approved by the Engineer and meet the following requirements:

1.	Anchorage and Distribution. Secure prestressing steel at the ends by means of approved permanent type anchoring assemblies.

Use anchorage devices for post-tensioning that hold the prestressing steel at a load producing a stress of not less than 95 percent of the guaranteed ultimate tensile strength (GUTS) of the prestressing steel, when tested in an unbonded state, without exceeding the anticipated set.

Distribute the load from the anchoring assemblies to the concrete by means of approved devices or bearing plates that will effectively distribute the load to the concrete. Construct the bearing plate and wedge plate from ferrous metal. For bending stresses in the bearing plates or assemblies induced by the pull of the prestressing steel, do not exceed the yield point of the material or cause visible distortion in the bearing plate when 95 percent of the GUTS of the tendons is applied as determined by the Engineer. Do not exceed 24 MPa directly underneath the bearing plate or assembly for the final unit compressive stress on the concrete.

Galvanize the body of the anchorage assembly in accordance with AASHTO M111. Other components of the anchorage assembly including wedges, wedge plate and local zone reinforcement need not be galvanized.

Construct anchorage assemblies with grout vents suitable for post-grouting inspection access as approved by the Engineer. Equip all anchorages with a grout cap that is vented and bolted to the anchorage.

Recess the anchoring assemblies so that the ends of the prestressing steel and all parts of the anchoring assemblies will be at least 75 mm inside of the end surface of the members, unless shown otherwise on the plans. After post-tensioning all tendons, fill the recesses with concrete conforming to the provisions for the structure and then finished flush with the abutment end diaphragm.

2.	Strand Couplers. Do not use strand couplers.

3.	Enclosures for Post-Tensioning. Use rigid ferrous metal duct enclosures for prestressing steel that are galvanized, mortar tight, and capable of withstanding concrete pressures without deforming. Use rigid ducts with smooth inner walls that can be curved to the proper configuration without crimping or flattening and have sufficient strength to maintain their correct alignment during placing of concrete. Do not use semi-rigid ducts. Fabricate ducts with either welded or interlocked seams.

Connect sections of rigid ducts using galvanized ferrous metal couplings that are mortar tight and do not result in angle changes at the joints. Do not use split metal couplings. Use waterproof tape to seal all connections to the duct. Connect ducts to anchoring assemblies using transition couplings that are galvanized ferrous metal or polyethylene, mortar tight, and of sufficient strength to prevent displacement of the ducts during concrete placement.

Use ducts for multi-strand tendons with a minimum diameter that provides an inside area at least 2.5 times the net area of the prestressing steel in the tendon.

Do not use ducts with diameters that exceed 0.4 times the least gross concrete thickness at the duct location.

Use duct enclosures with vents for the injection of grout after post-tensioning.

4.	Grout Vents. Use vents with positive means for allowing the escapement of air, water, grout, and bleed water out of the vents, injecting grout through the vents, and sealing to prevent grout leakage from the vents. Use 20 mm minimum diameter standard pipe or suitable plastic pipe vents with positive shut-off designed to withstand the grouting pressure. Do not crimp or bend the vent pipe. Use metallic or plastic structural fasteners to connect the vent with the duct. Do not use plastic components that react with the concrete or enhance corrosion of the prestressing steel, or contain water-soluble chlorides. Make all vents mortar tight, taped as necessary. Make vents with sufficient length out of the concrete member to allow proper closing of the vents and of sufficient vertical rise to collect bleed water within the vents. Remove ends of vents at least 25 mm below the roadway surface after grouting has been completed.

Place vents at the following locations:

- At anchorages

- At the high points of the duct, when the vertical distance between the highest and lowest point is more than 500 mm

- One meter down flow from all high point vents

- At the lowest point of the duct

- At major changes in the cross-section of the duct

- At other locations designated by the Engineer.

5.	Grout Caps. Use grout caps that completely cover and seal all exposed ends of prestressing steel at the anchorage. Seal the cap with neoprene “O” ring seals and place a grout vent on the top of the cap. Use caps rated for a minimum pressure of 1.03 MPa.

520-2.03 CERTIFICATION OF POST-TENSIONING SYSTEMS. Submit certified test reports to the Engineer that shows the post-tensioning system meets all the requirements specified herein. Submit the certified test reports with the working drawing submittal. If any component of the post-tensioning system is modified or replaced, the entire system must be retested and resubmitted to the Engineer for approval.

Ensure that all components of a system are stamped with the supplier’s name, trademark model number and size corresponding to catalog designation.

Submit certification stating the manufacturer's minimum guaranteed ultimate tensile strength of all prestressing steel used for this project.

Assign an individual lot number for each manufactured reel of prestressing steel to be shipped to the site. Tag each reel in such a manner that each lot can be accurately identified at the site. All unidentified prestressing steel received at the site will be rejected.

Assign and tag each lot of anchorage assemblies to be installed at the site. Tag each anchorage assembly in such a manner it can be accurately identified at the site. All unidentified anchorage assemblies received at the site will be rejected.

CONSTRUCTION REQUIREMENTS

520-3.01 PRESTRESSING METHODS. Distribute the prestressing steel so that the force in each girder stem does not vary more than five percent from the required force per girder stem provided the required total force in the superstructure is obtained and the force is distributed symmetrically about the centerline of the typical section.

Use low relaxation prestressing steel. Do not exceed 75 percent of the specified guaranteed ultimate tensile strength of the prestressing steel for maximum temporary tensile stresses (jacking stresses) in prestressing steel. Do not exceed 70 percent of the specified guaranteed ultimate tensile strength of the prestressing steel at anchorages after anchor set.

Working force and working stress will be considered as the force and stress remaining in the prestressing steel after all losses (e.g., creep and shrinkage of concrete, elastic compression of concrete, creep of steel, losses in post-tensioned prestressing steel due to sequence of stressing, friction and take up of anchorages and all other losses peculiar to the method or system of prestressing) have taken place or have been accommodated. Calculate loss of prestress using industry recognized methods. The calculation and analysis methods are subject to approval by the Engineer.

520-3.02 PROTECTION OF PRESTRESSING STEEL AND ANCHORAGES. Protect prestressing steel against physical damage and rust or other results of corrosion at all times from manufacture to grouting. Keep prestressing steel clean and free of deleterious material such as grease, oil, wax, paint, or other foreign materials. Store prestressing steel and anchorages in dry, weather-proof containers at all times immediately prior to use. The Engineer will reject prestressing steel that has sustained physical damage at any time. The Engineer will reject prestressing steel that has developed visible rust pitting or other results of corrosion, other than rust stain.

Package prestressing steel in containers or shipping forms for the protection of the steel against physical damage and corrosion during shipping and storage. Protect the prestressing steel from rust or other results of corrosion during shipping and storage by placing a corrosion inhibitor in the package or form, incorporating a corrosion inhibitor carrier-type packaging material, or applying a corrosion inhibitor directly to the steel. Do not use corrosion inhibitors that have deleterious effect on the steel or concrete or bond strength of steel to concrete. Immediately replace packaging or forms damaged from any cause or restore packaging to original condition.

Clearly mark the shipping package or form with a statement that the package contains high-strength prestressing steel, and the type of corrosion inhibitor used, including the date packaged.

If prestressing steel is installed in the duct but not tensioned and grouted within the seven days, protect prestressing steel at all times against rust or other corrosion by means of a corrosion inhibitor placed in the ducts. Do not place a corrosion inhibitor inside the duct if prestressing steel installation, tensioning, and grouting is performed within seven days. Do not use corrosion inhibitors that have deleterious effect on the steel or concrete or bond strength of steel to concrete. Submit for approval the name, manufacturer, and type of corrosion inhibitor to be used in the ducts at least seven days before installation of any prestressing steel. Prior to grouting, flush the corrosion inhibitor from the ducts using a solution of quick lime (calcium oxide) or slaked lime (calcium hydroxide) in the amount of 0.2 kg/L. Use compressed air that is oil free to blow out ducts and remove flush water.

Cover and protect the anchorages against rust or other results of corrosion at all times from installation of the prestressing steel to placement of the concrete pour-backs.

Do not weld on or near prestressing steel, ducts, anchorages, or other assemblages. Protect prestressing steel and hardware from weld spatter or other damage. Once the prestressing steel has been installed, do not make welds or grounds for welders on the forms or on the steel members.

520-3.03 FABRICATION. Conform to the following:

1.	General. Produce and place concrete for prestressed concrete structural members according to the requirements of Section 501 and as modified by this section. Place reinforcing steel according to the requirements of Section 503 and as modified by this section.

Provide a post-tensioning technician, skilled in the prestressing method, to provide supervision, observation and control of all post-tensioning and grouting operations during duct installation, tendon tensioning, and grouting operations and as necessary for full compliance with specified requirements in accordance with the specifications.

2.	Prestressing Equipment. Use hydraulic jacks to tension prestressing steel so that the force in the prestressing steel will not be less than the value shown on the Plans or as approved by the Engineer. Do not use monostrand jacks to stress multi-strand tendons.

Equip each jack used to stress tendons with a pressure gauge and a load cell. Provide a backup pressure gauge.

Permanently mark the jack body with the ram area. Ensure each pressure gauge is fully functional, calibrated and has an accurately reading dial at least 150 mm in diameter.

Calibrate the jack and each gauge used to stress tendons as a unit within 6 months prior to use and after each repair. Provide a load cell calibrated with in the past 12 months with an indicator that may be used to determine the prestressing force in the tendon. The range of the load cell shall be such that the lower 10 percent of the manufacturer's rated capacity will not be used in determining the jacking stress.

Use the following calibration procedure; Perform three calibration test cycles with the cylinder extension of the jack in various positions (i.e. 50 mm, 100 mm, 200 mm stroke). At each pressure increment, average the forces from each test cycle to obtain an average force. Perform the calibration with the equipment setup in the same configuration that is intended to be used at the job site. Use load cells calibrated within the past 12 months to calibrate stressing equipment.

For each jack and gauge unit used on the project, provide the Engineer with certified calibration curves prior to the start of the work and every six months thereafter, or as requested by the Engineer. Supply documentation denoting the load cell calibration date prior to the start of the work and every six months thereafter. Furnish certified calibration charts to the Engineer prior to stressing.

Recalibrate jacks requiring repair, such as replacing seals or changing the length of the hydraulic lines. No extra compensation will be allowed for the initial or subsequent calibrations.

3.	Enclosures for Post-Tensioning. Accurately place enclosures (anchorages, ducts, and vents) for prestressing reinforcing according to the Plans or approved working drawings.

Set and hold the anchorage assemblies or block-out templates for anchorages so that their axis coincides with the axis of the tendon, so that the anchor plates are normal in all directions to the tendon. Securely fasten anchorages and block-outs to prevent displacement during concrete placement.

Securely fasten ducts at the proper locations in the forms by ties to reinforcing steel that are adequate to prevent displacement during concrete placement. Use supplementary support bars where needed to maintain proper alignment of the duct. Use hold-down ties to prevent displacement due to duct buoyancy in the fluid concrete. Fasten ducts at 610 mm maximum intervals along the girder.

Do not damage the ducts during installation. Do not crimp, flatten, or dent the ducts. Do not perforate the ducts or provide openings in the ducts except at locations shown on the Plans or working drawings. After duct installation, inspect all ducts for damage. The Engineer will reject ducts with unintentional holes or openings and ducts that are dented, crimped, or flattened. Repair duct sections to the satisfaction of the Engineer at no additional cost to the Department and no adjustment in contract time.

After installation in the forms, cover the ends of the ducts and anchorages at all times to prevent the entry of water or debris.

Prior to placing forms for closing slabs of box girder cells, demonstrate to the satisfaction of the Engineer that all ducts are unobstructed.

4.	Location of Grout Vents. Place grout vents at locations shown on the plans and shop drawings. Equip all grout vents with positive shut-off devices. Extend grout tubes with sufficient distance out of the concrete member to allow for proper closing of the valves and sufficient vertical rise to collect bleed water within the vents.

5.	Placing Concrete. Before depositing concrete in the forms, obtain an inspection and approval of the placement of reinforcing, enclosures, anchorages, and prestressing steel. Vibrate the concrete internally, externally, or both, as directed by the Engineer. Vibrate carefully to avoid displacing the reinforcing, anchorages, ducts, and grout vents.

6.	Placing Prestressing Steel. Place prestressing steel in the position shown on the Plans or on the approved working drawings. Install the prestressing steel in the enclosures by pushing or pulling the total number of strands in a tendon individually or as a unit.

For strands that are pushed, rounded off the end of the strand and fit the end of the strand with a smooth protective cap.

For strands that are pulled, use a special steel wire sock or other device attached to the end strands to pull the assembled tendon through the duct. Do not weld the ends of the strands together for this purpose. Round the end of the pre-assembled tendon for smooth passage through the duct. Cut strands using an abrasive saw or equal. Do not flame cut strands.

Immediately prior to installing the prestressing steel, demonstrate to the satisfaction of the Engineer that the ducts are free of water, debris, and other obstructions by passing a torpedo through the ducts. Use a torpedo having the same cross-sectional shape as the duct and that is 6 mm smaller all around than the clear, nominal inside dimensions of the duct. Make no deductions to the torpedo section dimensions for tolerances allowed in the manufacture or fixing of the ducts. For straight ducts, use a torpedo at least 2 feet long. For curved ducts, determine the length so that when both ends touch the outermost wall of the duct, the torpedo is 6 mm clear of the innermost wall. If the torpedo will not travel completely through the duct, the Engineer will reject the member, unless a workable repair can be made to clear the duct. The torpedo must pass through the duct easily, by hand, without resorting to excessive effort or mechanical assistance.

Do not install the prestressing steel in the duct prior to placing and curing of the concrete.

Straighten prestressing steel strands that are to be stressed simultaneously or when necessary to ensure proper positioning in the ducts.

7.	Post-tensioning. Do not begin tensioning operations until concrete cylinder tests, manufactured of the same concrete and cured conditions outlined in AASHTO T 23 and tested using AASHTO T 22, indicate that the concrete has attained the minimum initial compressive strength indicated on the Plans. Do not begin tensioning operations until after Engineer approved patching or repair has been satisfactorily completed. Do not tension the prestressing steel until all concrete in the member has been placed.

Perform stressing of tendons in conformance with the sequence shown on the approved shop drawings and to the satisfaction of the Engineer. Stress tendons in such a sequence that lateral eccentricity of prestress and loss of prestress will be a minimum. Stress tendons symmetrically about the center of the typical section so no more than one tendon is eccentric about the centerline at any one time. Sequence the stressing of the tendons so the individual tendon force does not exceed the tendon force in all other tendons by more than 50 percent of the final jacking force of the tendon at any one time.

Stress all strands in each tendon simultaneously. Stress tendons by jacking from only one end of the member unless otherwise approved by the Engineer.

Conduct the tensioning process so that tension being applied and the elongation of the prestressing steel may be measured at all times. Measure elongation to the nearest 2 mm. Tension all tendons to a preliminary force between 5 and 25 percent of the final jacking force to eliminate any wedge slip or take-up in the tensioning system before elongation measurements are started. Record the preliminary force so that it can be used in the elongation measurement. Mark at least 25 percent of the strands in each tendon prior to final stressing to permit measurement of elongation and to ensure that all anchor wedges set properly.

For the required tendon force, the observed elongation must agree within five (5) percent of the theoretical tendon elongation. In the event the observed elongation is not within acceptable tolerances, determine the source of error and revise the post-tensioning operation to the satisfaction of the Engineer before proceeding. Do not overstress the tendon to achieve the theoretical elongation. No claim for damages or additional compensation or adjustment in contract time resulting from revisions to the post-tensioning operation will be made or allowed.

Multi-strand post-tensioning tendons having wires that fail, by breaking of slippage during stressing, will be rejected.

Cut post-tensioning steel with an abrasive saw within 25 to 50 mm from the anchoring device. Do not flame cut prestressing steel.

Provide a record of the post-tensioning operation to the Engineer following each tendon installation including, but no limited to, the following:

- Project name and bridge number;

- Contractor and / or subcontractor name;

- Tendon location, size, type;

- Date and time tendon was first installed in the duct;

- Reel number for strands;

- Tendon cross-sectional area;

- Modulus of elasticity;

- Date and time tendon was stressed;

- Jack and gauge numbers per end of tendon;

- Required jacking force;

- Gauge pressure;

- Elongation (theoretical and actual);

- Anchor set; (anticipated and actual);

- Stressing sequence (i.e. tendons stressed before and after);

- Stressing mode (one end/ two ends/ simultaneous);

- Witnesses to stressing operation (Contractor’s and inspector’s signature); and

- Date grouted.

Cover ends of tendons and anchorages immediately after stressing in accordance with Subsection 520-3.02.

8.	Dimensional Tolerances. Ensure that post-tension members in their final position are within the following tolerances:

- Length: ± 25 mm.

- Deck Width: + 13 mm.

- Depth: ± 6 mm.

- Width of webs, stems, and bottom flange: -3 mm to + 10 mm.

- Flange thickness: -3 mm to +6 mm.

- Horizontal alignment (deviation from straight line parallel to centerline of member): 13 mm, subject to item b above.

- Camber: Do not vary from approved camber by more than ±3 mm per 3 m of length and width with a maximum of 25 mm.

- Horizontal position of ducts and anchorages: ±6 mm.

- Vertical position of ducts and anchorages: ±6 mm.

- Position of local zone reinforcement: Center reinforcement around the duct and start within 13 mm of the back of the main bearing plate.

- Parallelism of top and bottom flanges: Do not vary the depth at any transverse cross-section more than 6 mm, when measured perpendicular from a line coincident with the surface of the bottom flange to the deck surface at the edges of the girder.

If conflicts exist between the reinforcement and post-tensioning duct, use the position of the post-tensioning duct and adjust the reinforcement with the Engineer’s approval.

520-3.04 BONDING AND GROUTING. Conform to the following:

1.	General. Bond post-tensioned prestressing steel to the concrete by completely filling the entire void space between the duct and the tendon with grout. Grout tendons in accordance with the procedures set forth in the approved grouting operation plan. Grout all empty ducts.

2.	Personnel Qualifications. Carry out all grouting operations by workers trained for and experienced in the tasks required. Perform grouting under the immediate control of the post-tensioning technician as described in Section 520-1.03.

3.	Grouting Operation Plan. No less than 30 days prior to the initiation of production grouting, submit a grouting operation plan to the Engineer for approval. Devise the grouting procedures to ensure that the ducts will be properly filled by grout. As a minimum, address and provide procedures for the following items in the grouting operation plan:

- Type, quantity, and brand of materials used in the grouting including all material certifications;

- Type of equipment furnished, including capacity in relation to demand and working condition, as well as back-up equipment and spare parts;

- Types and locations of vents;

- Types and sizes of grout hoses and connections;

- Theoretical grout volume calculations;

- General grouting procedure;

- Duct cleaning method prior to grouting;

- Mixing and pumping procedures;

- Type and frequency of quality control production tests;

- Direction of grouting;

- Sequence of use of the vents;

- Method to be used to control the rate of flow and pressure within the ducts;

- Procedures for handling blockages, including flushing of ducts;

- Procedures for possible post grouting repair; and

- Names of the persons in charge and the other personnel who will perform the grouting operation, including their relevant certification, experience, and skill.

Do not commence production grouting until the Engineer provides written approval of the grouting operation plan.

Before initiation of production grouting, conduct a joint meeting with the grouting technician, subcontractors, grouting crew, and the Engineer to discuss the grouting operation plan, required testing, corrective procedures, and other relevant issues.

4.	Grout Storage. Store all grout materials in a dry enclosure or building that is convenient to the work site. Limit on site storage of grout to a maximum period of one month.

5.	Grout Production Tests. Carry out the minimum number of production grout tests as follows:

- Grout Strength Test: Prepare grout cube specimens in accordance with ASTM C 942, “Standard Test Method for Compressive Strength of Grouts for Preplaced-Aggregate Concrete in the Laboratory.” Perform a minimum of one strength test per day during grouting operations.

- Fluidity test: Perform a minimum of two modified version of ASTM C 939 “Standard Tests Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method).” tests. Take one sample at the mixer and one sample at an anchorage outlet vent. Repeat testing every two hours of grouting operations. Submit test results to the Engineer within 24 hours of testing.

6.	Field Trial Test. Demonstrate to the satisfaction of the Engineer that the grouting equipment, methods, and procedures are appropriate. Conduct field trial tests at least seven days prior to initiation of production grouting or as specified by the Engineer. Perform batching and testing with the same materials, personnel, and equipment used in production grouting. Furnish all materials and labor for testing at no cost to the Department.

7	Preparation of Enclosures. If a corrosion inhibitor, or any other material other than prestressing steel is inside the duct, flush the ducts using a solution of quick lime (calcium oxide) or slaked lime (calcium hydroxide) in the amount of 0.2 kg/L.

Blow duct with oil free compressed air to remove water and debris blockages that may interfere with the injection of grout.

Inspect valves to be sure that they can be opened and closed properly. Check that the grout hose connections and inlets are free of dirt.

8.	Equipment. Provide grouting equipment consisting of measuring devices for water, a high-speed shear colloidal mixer, a storage hopper (holding reservoir) and a pump with all the necessary connecting hoses, valves, and pressure gauge. Provide grouting equipment with sufficient capacity to ensure that the post-tensioning ducts to be grouted can be filled and vented without interruption at the required rate of injection in not more than 20 minutes.

Provide an air compressor, flushing equipment, and hoses with sufficient output to perform the required functions.

At the direction of the Engineer, provide vacuum grouting equipment (volumetric measuring type) in the event that voids are encountered after the grouting operation is complete. No additional compensation will be made in the event that vacuum grouting equipment is required.

Provide the following equipment:

a.	Mixing Equipment: Provide a high speed shear colloidal mixer capable of continuous mechanical mixing producing a homogeneous and stable grout free of lumps and undispersed cement. Use only colloidal grout machinery that has separate charging and storage tanks. Equip the charging tank with a high shear colloidal mixer and fit the storage tank with an agitator to keep the grout moving continuously before it is pumped into the duct. Use grouting equipment with a gravity feed to the pump inlet from the storage tank.

Include a screen having clear openings of 3 mm maximum size to screen the grout prior to its introduction into the grout pump or storage hopper. Locate the screen between the charging tank and the storage tank so that the screen is easily accessible for inspection and cleaning.

Keep the holding tank agitated and at least partially full at all times during the pumping operation to prevent air from being drawn into the post-tensioning duct.

Periodically inspect the screen during grouting operations. Do not use grout if lumps of cement remain on the screen.

Add water during the initial mixing by use of a flow meter or calibrated water reservoir with a measuring accuracy equal to one percent of the total water volume. Where water is not supplied through the public water supply system, provide a water storage tank of sufficient capacity.

b.	Grout Injecting Equipment: Provide pumping equipment capable of continuous operation with little variation of pressure that include a system for circulating the grout when actual grouting is not in progress.

Use positive displacement type grout pumps that provide a continuous flow of grout and will be able to maintain a discharge pressure of at least 1 MPa. Use grout pumps with adequate capacity so that an optimal rate of grouting can be achieved. Ensure pumps are constructed to have seals adequate to prevent oil, air or other foreign substances entering the grout and to prevent loss of grout or water.

Use equipment capable of maintaining pressure on completely grouted ducts and fitted with a valve that can be closed off without loss of pressure in the duct.

Install a pressure gauge having a full-scale reading of no more than 2 MPa at the duct inlet. If hoses in excess of 30 meter total length are used, place and use two gauges, one at the pump and one at the inlet.

Use grout hoses with sufficient diameter, rated pressure capacity and that are compatible with the pump output. Install a sampling tee with stopcock that minimizes the number of bends, valves, and changes in diameter. Firmly connect grout hoses to pump outlets, pipes, and duct inlets.

Do not use compressed air to aid the pumping of grout.

c.	Air Compression: Provide equipment to supply oil-free and water-free compressed air to blow out excess water and to check the free passage of the ducts.

d.	Flushing Equipment: Provide standby flushing equipment using a potable water supply to facilitate complete removal of grout from the duct if difficult grouting conditions exist. This equipment is in addition to the grouting equipment. Utilize a different power source than the grouting equipment. Furnish equipment to flush out any partially grouted enclosure due to blockage or breakdown of the grouting equipment that is capable of delivering a pressure of at least 2 MPa.

e.	Vacuum Grouting Equipment: At the direction of the Engineer, provide vacuum grouting equipment. Use volumetric measuring type vacuum grouting equipment with the ability to measure a void and supply a measured volume of grout to fill the void.

f.	Stand-by Equipment: During grouting operations, provide a stand-by grout mixer and pump.

7.	Mixing of Grout. Mix grout using the entire contents of each bag in accordance with the manufacturer’s recommendations and using a metered amount of water. Mix the materials thoroughly to produce a homogeneous grout without excessive temperature increase or loss of properties. Do not mix grout longer than the manufacturer’s recommended duration. Continuously agitate the grout until grouting is complete.

For quality control, check the fluidity of the grout in accordance with Section 731. Do not commence grout pumping until fluidity requirements are satisfied.

Do not add water to increase fluidity that has decreased by delayed use of the grout.

8.	Injection of Grout. Use a method of injecting grout that will ensure complete filling of the ducts and complete encasement of the prestressing steel.

Open all grout vents before commencing grouting operations, unless otherwise approved by the Engineer.

Perform grouting in one operation, maintaining a continuous, one-way flow of grout at all times within a grouting stage. Grout tendons from the lowest vent in an uphill direction. Unless approved otherwise by the Engineer, pump grout at a rate of 5 m to 15 m of duct per minute to avoid air entrapment, segregation of the grout, and to ensure complete filling of the duct. Conduct normal grouting operations at a pressure range of 70 kPa to 520 kPa measured at the grout inlet. Do not exceed the maximum pumping pressure of 1.0 MPa at the grout inlet.

Pump grout through the duct and continuously discharge grout from the first and subsequent outlets until any residual water and entrapped air has been removed and the consistency of the grout is equivalent to that of the grout being pumped into the inlet. Discharge at least 3 liters of grout from each outlet prior to closing the vent. Close all outlet vents in a similar manner one after another in the direction of flow except that at intermediate crests, close outlet vents placed a short distance downstream of the crest before closing their associated high point vent. Discarded grout does not represent additional cost to the Department.

Pump grout through the duct and continuously discharge grout, to the satisfaction of the Engineer, at the anchorage and grout cap outlets until all free water and air are discharged and the consistency of the grout is equivalent to that of the grout being pumped into the inlet. Close the anchorage outlet vent and discharge a minimum of 7.5 liters of grout from the grout cap into a clean receptacle. Close the grout cap outlet.

For each tendon, immediately after uncontaminated uniform discharge begins, perform a fluidity test using the flow cone on the grout discharged from the anchorage outlet vent. If the measured grout efflux time is less than the efflux time measured at the pump or minimum acceptable efflux time as established in Section 731, discharge additional grout from the anchorage outlet and test the grout fluidity. Continue this cycle until an acceptable grout fluidity is achieved. Discard grout used for testing fluidity. After all outlets have been bled and sealed, bleed the grout pressure to 35 kPa and wait a minimum of ten minutes for any entrapped air to flow to the high points. After ten minutes, increase the pressure as needed and discharge grout at each high point outlet to eliminate any entrapped air or water. Complete the process by locking a pressure of 205 kPa into the tendon prior to closing the inlet vent.

If the actual grouting pressure exceeds the maximum allowed, close the inlet vent and pump grout at the next outlet, which has just been, or is ready to be closed as long as a one-way flow is maintained. Do not pump grout into a succeeding outlet vent from which grout has not yet flowed. If this procedure is used, equip the outlet/inlet vent, which is to be used for pumping with a positive shut-off and pressure gauge.

9.	Temperature Considerations. Do not grout if the ambient air temperature exceed 38° C. Do not grout if the ambient air temperature is expected to be less than 4° C within 48 hours. Ensure grout temperature upon mixing is between 10° C and 32° C.

If the ambient air temperature is below 0° C, keep ducts free of water to avoid damage due to freezing. Do not warm ducts with steam. Blow dry air (60% humidity or less) through the ducts to extract trapped water. Ensure ducts are free of frost and ice before commencing grouting operations.

10.	Post-Grouting Inspection. Do not remove or open vents until the grout has cured for at least 24 hours.

Check the level of grout in the vents and grout caps. Fill vents, as necessary, with freshly mixed grout. After the grout has cured, remove all outlets located at anchorages and high points along the tendon to facilitate inspection.

11.	Repairing and Filling Voids. Repair and fill all voids that occur in the ducts after the grouting operation is complete. Submit a grouting repair plan to the Engineer for review and approval immediately after voids have been detected. Vacuum grouting equipment may be required to repair and fill voids in the ducts.

12.	Depending upon the geometry of the grout inlets, drilling may be required to penetrate to the inner surface of the trumpet or duct. Use drilling equipment that will automatically shut-off when steel is encountered. Perform inspections in the presence of the Engineer using endoscopes or probes. Fill all voids using the volumetric measuring vacuum grouting process or as approved by the Engineer. Within four hours of completion of the inspections, vacuum injection or removal of non-inspected inlet/outlets, seal the inlet/outlet and repair the remaining void. Use an injection tube to extend to the bottom of the drilled holes for backfilling with epoxy or grout.

If tendon grouting operations were prematurely terminated prior to completely filling the tendon, drill into the duct and explore the voided areas with an endoscope. Probing is not allowed. Determine the location and extent of all voided areas. Install grout inlets as needed and fill the voids using volumetric measuring vacuum grouting equipment or as approved by the Engineer.

13.	Finishing. Do not remove or open vents until the grout as set for at least 24 hours. Remove all valves, caps and pipes for each vent at least 25 mm below the surface of the concrete. Permanently seal the recessed areas and fill flush with the surface of the concrete. Remove all miscellaneous materials used for sealing grout cap connections prior to carrying out further work to protect the anchorages including placing the concrete pour-backs.

14.	Protection of End Anchorages. Within seven days upon completion of the grouting, permanently protect the anchorage of post-tensioning tendons to prevent access of water or other aggressive agents.

Immediately before casting the concrete pour-backs (within 24 hrs.), mechanically clean and roughen the mating concrete surfaces to remove any laitance and expose the small aggregate. Use grit blasting or water blasting with at least 70 MPa nozzle pressure. Flush surface with water and blow dry. Ensure surfaces are clean, sound and without standing water.

Recess the anchoring assemblies so that the ends of the prestressing steel and all parts of the anchoring assemblies will be at least 75 mm inside of the end surface of the members, unless shown otherwise on the plans. Following post-tensioning, fill the recesses with concrete conforming to the provisions for the structure and finished flush. Construct all pour-backs in leak proof forms creating neat lines.

14. 	Record of Grouting Operation. Submit a written report to the Engineer within 72 hours after grouting. Include in this report:

- The date of grouting;

- The number of days from tensioning to grouting;

- The tendons grouted;

- The quantities and types of materials used;

- The volume of grout pumped into the duct

- A summary of problems encountered during grouting and steps taken to resolve them;

- The maximum pumping pressure at the inlet;

- The temperature measurement of the air, water, prepackaged material, mix grout, and concrete member in the duct.

- The results of quality control testing.

520-4.01 METHOD OF MEASUREMENT. Post-tensioning concrete structural members will not be measured for payment. Payment will be full compensation for furnishing, installing, stressing, grouting, repairing and inspecting all post-tensioning tendons accepted in place.

All items of the post-tensioning system embedded within the concrete including but not limited to prestressing steel, enclosures for prestressing steel, wedges, wedge plates, anchorage assemblies and associated supplemental reinforcing steel required by the supplier, grout vents, and grout gaps are subsidiary to post-tensioned concrete structural members.

All post-tensioning system hardware that is not embedded in concrete including but not limited to jacks, gauges, wire sock, and torpedoes are subsidiary to post-tensioned concrete structural members.

All items and equipment to fill the ducts with grout including but not limited to mixers, gauges, flushing equipment, and production tests are subsidiary to post-tensioned concrete structural members.

All materials for protecting the post-tensioning steel and anchorages including but not limited to corrosion inhibitors, flushing equipment, and equipment to prepare the concrete pour-backs are subsidiary to post-tensioned concrete structural members.

All labor, materials, tools, equipment and incidentals necessary for completing the work are subsidiary to post-tensioned concrete structural members.

520-5.01 BASIS OF PAYMENT. Post-tensioning of concrete structural members will be paid for at the contract lump sum price.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 520(1) Post-tensioned Concrete Structural Member | Lump Sum |

SECTION 602

STRUCTURAL PLATE PIPE

Special Provisions

602-1.01 DESCRIPTION. Add the following: This work also includes inspecting the existing pipe and coordinating the removal of existing and installing new structural plates to conform to the improvements shown on plan.

602-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Inspect the existing pipe at Cottonwood Creek to identify pipe reconstruction limits, plate joint and bolting pattern, and all other items required to extend the existing structural plate pipe to the proposed headwalls. Submit a reconstruction plan to the Engineer for approval. The appropriate materials shall not be ordered prior to the Engineer’s approval of the plan.

Remove all existing damaged plates and plates necessary to remove the pipe bevel.

602-4.01 METHOD OF MEASUREMENT. Delete this sentence and replace with the following: By the meter length of pipe of the type and size specified, measured horizontally from the first plate joint of reconstructed pipe.

602-5.01 BASIS OF PAYMENT. Delete the second sentence and replace with the following: Structure excavation, bedding, and backfill up to the spring line of the pipe are subsidiary to structural plate pipe.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 602(1) Structural Plate Pipe Diameter 1800mm, Thickness 3.5 mm | Meter |

(08/08/03)R&M

SECTION 603

CULVERTS AND STORM DRAINS

Special Provisions

603-1.01 DESCRIPTION. Add the following: This work shall also consist of installing culvert marker posts.

(09/10/02)R42M

Standard Modifications

603-2.01 MATERIALS. In the second paragraph, delete “(900 mm maximum diameter)”.

In the fourth paragraph, delete the last sentence.

(02/08/01)M95

Special Provisions

603-2.01 MATERIALS. Add the following: Culvert marker posts shall meet the requirements of Subsection 730-2.05 Flexible Delineator Posts. The color shall be blue with no other markings. The 65 mm by 1800 mm post shall be rectangular in cross-section with reinforcing ribs capable of a minimum bending radius of 230 mm.

(09/10/02)R42M

Standard Modifications

603-3.03 JOINING PIPE.

3.	Metal Pipe. Replace the second sentence with the following: “Use bands that are no more than two nominal sheet thicknesses lighter than the pipe being joined, and in no case lighter than 1.3 mm.”

(02/08/01)M95

Special Provisions

Add the following Subsection:

603-3.06 CULVERT MARKER POSTS. Culvert marker posts shall be installed on the approach side of storm drain outfalls 750 mm and smaller, field inlets not in paved parking lots, all end sections to cross culverts, or as directed by the Engineer. 1070 mm of post shall remain above the ground after driving.

603-4.01 METHOD OF MEASUREMENT. Add the following: Culvert marker posts will not be measured for payment.

603-5.01 BASIS OF PAYMENT. Add the following: Culvert marker posts will not be paid for directly, but will be subsidiary to pipe items.

(09/10/02)R42M

SECTION 604

MANHOLES AND INLETS

Special Provisions

604-1.01 DESCRIPTION. Add the following: This work also consists of constructing cleanout structures, furnishing and installing manhole and catch basin frames, grates and lids, submersible pump, junction box, and submersible pump controls in conformance with the plans.

Add the following subsection:

604-2.02 SUBMERSIBLE PUMP. Furnish and install a submersible non-clog wastewater pump as shown in the plans. The pump shall be equipped with 1 HP, submersible electric motor connected for operation on 240 volts, single phase, 60 hertz, supply, with 10 meters of submersible cable (SUBCAB) suitable for submersible pump applications. The power cable shall be sized according to NEC and ICEA standards. The pump shall be supplied with a mating cast iron 50 mm discharge connection and be capable of delivering 3.5 liter/s at 5m TDH. Shut off head shall be 7m (minimum). Each pump shall be fitted with sufficient length of lifting chain or stainless steel cable. The working load of the lifting system shall be 50% greater than the pump unit weight.

1.	Pump Construction: Major pump components shall be of gray cast iron, ASTM A-48, Class 30B, with smooth surfaces devoid of blow holes or other irregularities. All exposed nuts or bolts shall be AISI type 304 stainless steel construction. All exterior metal surfaces coming into contact with the pumpage, other than stainless steel or brass, shall be protected by a factory applied spray coating of alkyd primer and a synthetic resin enamel finish.

All O-rings shall be of Nitrile Rubber. The lifting handle shall be galvanized steel.

2.	Cooling System: Motor shall be sufficiently cooled by the surrounding environment or pumped media. A water-cooling jacket shall not be required.

3.	Cable Entry Seal: The cable entry seal design shall preclude specific torque requirements to insure a watertight and submersible seal. The cable entry shall consist of a single cylindrical elastomer grommet, flanked by washers, all having a close tolerance fit against the cable outside diameter and the entry inside diameter and compressed by the body containing a strain relief function, separate from the function of sealing the cable. The assembly shall provide ease of changing the cable when necessary using the same entry seal.

4.	Motor: The pump motor shall be induction type with a squirrel cage rotor, shell type design, housed in an air filled, watertight chamber, NEMA B type. The stator windings and leads shall be insulated with moisture resistant Class F insulation rated for 155°C (311°F). The stator shall be dipped and baked three times in Class F varnish and shall be heat-shrink fitted into the stator housing. The use of bolts, pins or other fastening devices requiring penetration of the stator housing is not acceptable. The motor shall be designed for continuous duty handling pumped media of 40°C (104°F) and capable of up to 15 evenly spaced starts per hour. The rotor bars and short circuit rings shall be made of cast aluminum. The motor and pump shall be designed and assembled by the same manufacturer.

The combined service factor (combined effect of voltage, frequency and specific gravity) shall be a minimum of 1.15. The motor shall have a voltage tolerance of plus or minus 10%. The motor shall be designed for operation up to 40°C (104°F) ambient and with a temperature rise not to exceed 80°C. A performance chart shall be provided showing curves for torque, current, power factor, input/output kW and efficiency. This chart shall also include data on starting and no-load characteristics.

The power cable shall be sized according to the NEC and ICEA standards and shall be of sufficient length to reach the junction box without the need of any splices. The outer jacket of the cable shall be oil resistant chloroprene rubber. The motor and cable shall be capable of continuous submergence underwater without loss of watertight integrity to a depth of 65 feet.

The motor horsepower shall be adequate so that the pump is non-overloading throughout the entire pump performance curve from shut-off through run-out.

5.	Bearings: The pump shaft shall rotate on two single row ball bearings. Motor bearings shall be permanently grease lubricated.

6.	Mechanical Seal: Each pump shall be provided with a tandem mechanical shaft seal system consisting of two totally independent seal assemblies. The seals shall operate in a lubricant reservoir that hydro dynamically lubricates the lapped seal faces at a constant rate. The lower, primary seal shall be silicon carbide/silicon carbide. The upper seal shall be carbon/ceramic. The seals shall require neither maintenance nor adjustment nor depend on direction of rotation for sealing. Seal lubricant shall be FDA Approved, nontoxic.

7.	Pump Shaft: Pump and motor shaft shall be the same unit. The motor shaft shall be composed of carbon steel under the rotor laminations and the pump shaft shall be of stainless steel.

The pump shaft is an extension of the motor shaft; couplings shall not be acceptable.

8.	Impeller: The Impeller(s) shall be of Polyamide, dynamically balanced, open vortex design.

9.	Volute: Pump volute(s) shall be single-piece gray cast iron, Class 30B, non-concentric design with smooth passages large enough to pass any solids that may enter the impeller. Wear rings shall not be required. Minimum inlet and discharge size shall be as specified.

Add the following subsection:

604-2.03 SUBMERSIBLE PUMP CONTROLS. Furnish and install a submersible pump control system that will start and stop the submersible pump using float switches at the levels shown in the plans. Include an additional float switch to provide a redundant OFF feature for the pump to prevent it for being uncovered. The area in the manhole is a Class 1, Division 1 Hazardous Area, all wiring and materials shall be provided in accordance with Article 501 of the NEC (National Electric Code). (8/08/03)R&M

604-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Any proposed access manhole that falls within a concrete sidewalk or asphalt pathway must have a lid with a rough cobbled grit surface, or be specifically designed to hold a minimum of 25 mm concrete or asphalt, as applicable.

Delete Item 5 under “Reconstruct existing manhole….” and substitute the following:

5.	Move the manhole lid out of the wheel path or curb line. Rotate the cone or reducing slab to align the manhole or inlet casting if necessary. Align the access stairs by rotating the barrel sections or install new steps.

Add the following items under “Reconstruct existing manhole….”:

6.	The work necessary to rotate the cone or reducing slab to align the manhole or inlet casting as detailed on the plans. To align the access stairs, the Contractor will have the option of rotating the barrel sections or installing new steps. If new steps are installed in existing manholes, the epoxy adhesive used for bonding the step to the concrete structure shall conform to the current ASTM C-881 Type II, Grade 2, Class B; and AASHTO M-235 specifications. The epoxy adhesive shall be moisture insensitive.

7.	Salvage existing frame and grate, remove and dispose of the existing reducing slab and adjustment rings and install a new cover slab (reducing slab without an access hole). Salvaged frame and grate shall be delivered to the local DOT&PF maintenance station.

- Salvage existing frame and grate, remove and dispose of the adjustment rings and install a new frame and lid (or grate) as required with new adjustment rings. Salvaged frame and grate shall be delivered to the local DOT&PF maintenance station.

- Notify the Engineer a minimum of seven (7) days prior to removing the frame and grate.  The Engineer will notify DOT&PF M&O (745-2159 or 269-0782) and have an M&O representative physically identify frames and grates to be salvaged.  Deliver frames and grates designated to be salvaged to the DOT&PF M&O yard located at Department of Transportation Maintenance Yard located at 289 Inner Springer Loop Road in Palmer.  All frames and grates not designated for salvage by DOT&PF M&O shall become your property.

When installing new pipe in an existing manhole, cleanly cut a hole by approved means at the invert elevation given on the plans and 50 mm larger than the outside diameter of the new pipe. Then, grout joint with non-shrinking cement mortar.

All curb inlet structures shall have a 75 mm formed hole approximately 0.6 m below the top of casting on the project centerline side to provide for direct drainage during subgrade construction to avoid embankment saturation. Keep the openings functional. This may require temporary dikes, RMC extensions, etc., as necessary. Fill these holes with grout upon final paving.

Cast standard drainage structure steps during structure pour or install them before concrete hardens.

At locations where existing manhole or inlet structures are being removed and the pipe extended, the existing pipe shall be cut back as necessary to provide a squared off pipe end without deformed or damaged areas. New pipe matching the size and material type of the existing pipe shall be used for the extension or to connect the existing pipe to the new or relocated structure. New bands shall be used to connect new to existing pipe.

Existing storm drain manhole frames, grates, and covers (lids) determined by the Engineer to be unsuitable for reuse in the project under Item 604(4), Adjust Existing Manhole, will be replaced with new frames and grates or covers as directed by the Engineer.

New manholes may be constructed on existing storm drain lines using the following methods:

a.	Cast in-place manhole and remove pipe from inside of the manhole.

b.	Install precast base and short barrel section for the 18-inch sump under the existing storm drain and then install precast horseshoe barrel section over existing pipe. Complete the manhole and remove the pipe from within the manhole. If a short barrel section is not used below the pipe, the Contractor shall form against the inside of the cutout of the barrel section and fill the area below the pipe with concrete.

c.	Install standard precast manhole by removing existing storm drain pipe as necessary to set the manhole. Cut the existing storm drain pipe square and connect a new section of pipe matching size and pipe material characteristics of the existing pipe section. Complete the manhole.

Add the following Subsection:

604-3.02 PRECONSTRUCTION INSPECTION. The Contractor shall schedule a field inspection with City of Wasilla Public Works Department, contact Mr. John Becker at 373-9044, and the Engineer to witness and document the condition of the wastewater facilities prior to adjustment. This inspection will include wastewater facilities such as manholes and cleanouts. The Contractor shall provide Wasilla Public Works Department one week advance written notice of the scheduled field inspection and provide the Engineer with a copy. The Wasilla Public Works Department shall have five calendar days to complete inspection/repair of the facilities within the project area.

The Wasilla Public Works Department shall locate and inspect the existing wastewater facilities such as sanitary manholes and cleanouts to insure they are in working order. Cleaning or repairing the facilities prior to adjustment will be accomplished by Wasilla Public Works Department at no cost to the Contractor.

Failure of the Contractor to schedule and participate in the inspection shall result in the Contractor forfeiting all rights to claim that the facilities were damaged prior to his beginning work.

If Wasilla Public Works Department finds a manhole or other facility damaged or otherwise rendered inoperable at any time after the inspection as described above, the Contractor shall repair the damage at his expense.

The Contractor shall schedule a final field review with Wasilla Public Works Department and the Engineer upon completion of the manhole adjustment.

The inspections should be coordinated with inspections of water facilities. See Section 627-3.05.

604-4.01 METHOD OF MEASUREMENT. Add the following: Frames, grates, lids and cleanouts for new structures and subdrains will not be measured for payment.

Furnish and Install Manhole Frame and Lid will be measured by the each in their accepted position.

Furnish and Install Inlet Frame and Grate will be measured by the each in their accepted position.

604-5.01 BASIS OF PAYMENT. Add the following: Frames, grates, lids and cleanouts are subsidiary to the drainage or sanitary sewer system. Cover or inlet castings damaged by the Contractor shall be replaced by the Contractor at his expense.

When Item 604(1 ), Storm Drain Manhole, Type _, is used to construct a new manhole on an existing storm drain line, it includes all materials and work necessary to reconnect the existing storm drain pipes to the new manhole.

Item 604(1C), Storm Drain Manhole, Type III, includes all materials and work to furnish and install the sump pump and heat trace control panel, conduits and conductors, junction boxes, labeling all conductors, level switches, sump pump, sump pump outlet pipe, vent, and all hardware to secure the pump and level switches to the structure as shown in the plans. This includes furnishing and installing explosion proof junction boxes, conduit, fittings, and seal-off fittings inside the structure.

Delete Item 604(1) Storm Sewer Manhole and add the following new pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 604(1A) Storm Drain Manhole, Type I | Each |
| 604(1B) Storm Drain Manhole, Type II | Each |
| 604(1C) Storm Drain Manhole, Type III | Each |
| 604(2A) Sanitary Sewer Manhole, Type A | Each |
| 604(2B) Sanitary Sewer Manhole, Type B | Each |
| 604(13A) Furnish and Install Manhole Frame and Lid | Each |
| 604(13B) Furnish and Install Inlet Frame and Grate | Each |

(9/11/03)R43M98(08/08/03)R&M

SECTION 606

GUARDRAIL

Special Provisions

606-1.01 DESCRIPTION. Add the following: This item includes furnishing and installing crash cushions, flexible markers and removable steel bollards and their foundations as shown on the plans.

606-2.01 MATERIALS. Add the following to the list of material specifications:

Paint for Steel Structures	708-2.01

Acrylic Prismatic Reflectors 	730-2.06

Batter Boards will be pressure treated with chromated copper arsenate (CCA). Minimum absorption of CCA in wood is 6.4 kg/m3.

(4/25/03)R&M

## Standard Modifications

Delete Flexible Markers in its entirety and substitute the following:

Flexible Markers. Use flexible markers that have an over all length of 1,800 mm (72”) and have a flag at the top.  The marker shaft shall have a coil spring at the bottom.  The shaft and spring shall be one piece and made from galvanized spring steel.  The flexible marker shall have an orange HDPE flag which provides approximately 129 cm2 (20 in2) of surface area. Use attachment hardware made of either stainless or galvanized steel.

The following is an example of an acceptable flexible marker:

Model:		FF2

Manufacture:	Nordic Fiberglass, Inc.

P.O. Box 27

Highway 75 South

Warren, MN 56762

(218) 745-5095

If using another flexible marker, submit specifications to the Engineer for approval prior to ordering the markers.

03/14/00) M 88

606-3.02 POSTS. Delete the entire Subsection after the first sentence, and replace with the following:

Set posts as follows:

- Set posts plumb, in the location and to the depth shown on the Plans or Standard Drawings.

- Choose an installation method that does not damage the post, adjacent pavement, structures, utility conduits, and final slopes. Repair all damage to the satisfaction of the Engineer, or replace the damaged item, as per Subsection105-1.11.

- Set wood or steel posts in dug, drilled, or pre-punched holes. Steel posts may also be set by ramming or driving if:

- The embankment aggregate is no larger than six inch; and

- If the posts are not damaged during installation.

- Backfill and compact around posts with acceptable material, to firmly support the post laterally and vertically. Compact under and around posts to the Engineer’s satisfaction.

6.	In solid rock or in broken rock embankment, construct holes for posts, no ramming or driving in the rock will be allowed.

7.	In new roads, install posts before final shoulder or median compaction, surfacing, and paving.

(07/03/03)M105

606-3.01 GENERAL. Add the following: Treat field cuts to timber posts and blocks according to AWPA standard M 4.

(10/19/98)M 67

Special Provisions

606-3.02 POSTS. Delete the first two numbered items in this Subsection and substitute the following:

1.	Exclusive of end treatments, use one type of post in each run of guardrail.

606-3.05 TERMINAL SECTIONS. Add the following: Use crash cushions that are redirective and non-gating as specified in the National Cooperative Highway Research Program Report 350, 1993, Test Level 3 (NCHRP 350 TL-3). Crash cushions shall be self-restoring and reusable after impact with minimal maintenance requirements. Crash cushions with sacrificial energy absorption cartridges or cells, designed to be replaced after an impact, will not be accepted. Submit crash cushion performance data and installation procedure to the Engineer for approval.

Install crash cushions in accordance with the manufacturer’s recommendations. Install crash cushions where shown on the plans and in accordance with the 2002 AASHTO “Roadside Design Guide.” Install concrete foundation units in accordance with manufacturer’s recommendations and Section 501 of the specifications.

(2/16/03)R&M

Standard Modifications

Delete the fourth paragraph (flexible markers) in its entirety and substitute the following:

Attach flexible markers, in a vertical position, to the last post of each guardrail terminal using two pipe bracket holders spaced 300 mm apart. Attach to wooden guardrail posts with wood screws and to steel guardrail posts with hex bolts.

(03/14/00) M 88

Special Provisions

606-3.06 REMOVAL AND RECONSTRUCTION OF GUARDRAIL. Add the following: Guardrail removed and to be replaced with new guardrail shall have the entire new run installed within 7 calendar days after removal.

Guardrail located within 15 meters of bridge ends shall have the new guardrail installed by the end of the shift in which the existing guardrail is removed.

(10/17/02)R45aM98

606-3.07 REMOVAL AND DISPOSAL OF GUARDRAIL. Delete the last sentence and substitute the following:  Notify the Engineer a minimum of five (5) days prior to removing guardrail for disposal.  The Engineer will notify DOT&PF M&O (745-2159 or 269-0782) and have an M&O representative physically identify portions of guardrail to be salvaged.  Deliver all guardrail and associated hardware designated to be salvaged to the DOT&PF M&O yard located at Department of Transportation Maintenance Yard located at 289 Inner Springer Loop Road in Palmer.  All remaining items removed become your property.

(06/12/03)R259M98(1/15/04)R&M

Add the following Subsections:

606-3.09 FLEXIBLE MARKERS.  For each slotted rail terminal, a flexible marker shall be attached to the extreme piece of rail. The flexible markers shall be attached using hardware and attachment methods recommended by the manufacturer.

606-3.10 LENGTH OF NEED VERIFICATION. After shaping the slopes and staking all proposed guardrail locations, notify the Engineer to field verify the beginning and ends. The Engineer will approve the staked location of the guardrail before installation. The Engineer may determine that additional guardrail is necessary, and comply without delay.

(10/17/02)R45aM98

606-3.11 REMOVABLE STEEL BOLLARDS. Removable steel bollards shall be of steel conforming to the requirements of ASTM A36 and shall be galvanized in accordance with the requirements of ASTM M111. All galvanizing shall be done after fabrication.

(2/16/03)R&M

Standard Modifications

606-4.01 METHOD OF MEASUREMENT. Delete the second to the last paragraph and substitute the following:

Guardrail/Bridge Rail Connection. Per each, installed in place. Each connection includes all brackets, beam sections, transition pieces, and all posts and associated hardware required to connect the guardrail section to a bridge rail according to the Plans and the Special Provisions.

(10/19/98)M 66

Special Provisions

606-4.01 METHOD OF MEASUREMENT. Add the following item number under Terminal Sections.:

4.	CRASH CUSHION. Per each installation, for furnishing and installing the crash cushions including all hardware, concrete foundation units, incidentals, labor, and associated materials required for a complete installation.

Add the following: Removable Steel Bollards. Per each, installed in place.

606-5.01 BASIS OF PAYMENT.	Add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 606(15) Crash Cushion | Each |
| 606(17) Removable Steel Bollard | Each |

(2/16/03)R&M

SECTION 607

FENCES

Special Provisions

607-1.01	DESCRIPTION. Add the following: This work shall also consist of construction of Decorative Fence/Barrier as shown on the Plans.

(06/30/03)R&M

Standard Modification

607-3.01 CONSTRUCTION REQUIREMENTS. In the ninth paragraph, change “minimum” to “maximum”.

(06/25/99)M 73

Special Provisions

607-4.01 METHOD OF MEASUREMENT. Add the following: Decorative Fence/Barrier. By the meter at the base of the lowest rail parallel to the ground.

607-5.01 BASIS OF PAYMENT. Add the following: Concrete required will not be measured for payment but will be subsidiary to the fence item.

Add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 607(8A) Decorative Fence/Barrier, Type A | Meter |
| 607(8B) Decorative Fence/Barrier, Type B | Meter |

(2/7/00)R46M98(07/30/03)R&M

SECTION 608

SIDEWALKS

Special Provisions

608-1.01 DESCRIPTION. Add the following: This work also consists of constructing asphalt pathway(s), asphalt median(s), and patterned asphalt median(s) in conformance with the Plans.

608-2.01 MATERIALS. Delete paragraph number 2 and substitute the following:

2.	Asphalt Sidewalk and Asphalt Pathways and Medians

Asphalt Cement, PG52-28				Subsection 702-2.01

Asphalt Aggregate shall be Type III, Class B		Subsection 703-2.04

Mix Design Requirements (ATM T-17)

Marshall Stability, N, min.			4,450

Percent Voids, Total Mix			2-5

Compaction, Blows/side			50

Standard Modifications

608-3.03 SIDEWALK RAMPS Delete heading and Subsection in its entirety and replace with the following:

608-3.03 CURB RAMPS Construct curb ramps according to the details and the locations shown on the Plans. Follow the construction requirements of Subsection 608-3.01. Give the exposed concrete surface a coarse broom finish. Install detectable warnings.

Add the following subsections:

608-3.04 DETECTABLE WARNINGS Construct detectable warnings according to the details and the locations shown on the Plans. Install cast in place tactile tiles integral with new construction. Install surface- applied tactile tile panels or molded-in-place epoxy systems when retro-fitting existing cured concrete ramps. Install tile so there are no vertical changes in grade exceeding 6 mm or horizontal gaps exceeding 12mm. Align pattern on a square grid in the predominant direction of travel. Detectable warnings are made of composite materials, safety yellow color, slip resistant, with truncated dome pattern.

Detectable warnings shall be manufactured and installed in accordance with Americans with Disabilities Act Accessible Guideline.

(3/28/03)M102

Special Provisions

608-3.05 ASPHALT PATHWAY AND MEDIAN. Construct asphalt pathways and medians in accordance with Subsection 608-3.02, Asphalt Sidewalks.

608-3.06 PATTERNED ASPHALT MEDIAN. Construct patterned asphalt medians in accordance with Subsection 608-3.02, Asphalt Sidewalks. The pattern for patterned asphalt medians shall be off-set brick in standard brick dimensions. The color shall be FED. STD. 595 color 30112, standard brick red. Pattern shall be pressed into a hot asphalt pavement to provide a recessed joint between the bricks. The coating shall be a two part epoxy, or other material approved by the Engineer, which is approved for roadway surfaces. Coating shall be applied in such manner that the color does not fill the joint areas of the brick pattern and completely covers the asphalt pavement surface.

Standard Modifications

608-4.01 METHOD OF MEASUREMENT Delete entire subsection and replace with the following: Measure per Section 109 and as follows:

Curb Ramp. By each installation, complete in place, including construction of the ramp runs, flares, composite detectable warning tiles backing curb and landings necessary to provide a single street-level access.

Asphalt Pathways and Medians. By the megagram of asphalt concrete in accordance with Section 109, Measurement and Payment.

Patterned Asphalt Median. By the square meter.

Additional asphalt pavement used for matching existing surfaces such as paved parking lots behind a new sidewalk/pathway will be measured and paid under this Section.

608-5.01 BASIS OF PAYMENT. Replace Item:”608(6) Sidewalk Ramp”with: 608(6) Curb Ramp

(3/28/03)M102(1/15/04)R&M

Special Provisions

Add the following: Asphalt cement for Asphalt Pathway and Median and Patterned Asphalt Median will be subsidiary to their respective pay items.

Embankment and bed course materials will be furnished, placed and paid under Sections 203 and 301, respectively.

Backing curb, will be subsidiary to Item 608(6), Curb Ramp.

The composite detectable warning tiles are subsidiary to Item 608(6), Curb Ramp. (06/11/02)R256M98

Delete Item 608(6), Sidewalk Ramp, and substitute the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 608(6) Curb Ramp | Each |
| 608(8) Asphalt Pathways and Medians | Megagram |
| 608(19) Patterned Asphalt Median | Square Meter |

(2/1/00)R47M98

SECTION 609

CURBING

Special Provisions

609-3.02 CAST-IN-PLACE CONCRETE CURBING. Add the following to the fifth paragraph: Concrete placed by the extrusion or slip-form process shall have a slump of less than 50 mm.

(2/1/00)R202M98

609-3.05 CURB RAMPS. Delete this Subsection in its entirety.

Add the following Subsection:

609-3.06 BUMPER CURBS. Bumper Curb shall conform to Subsection 609-3.03, Precast Concrete Curb and the Plans.

Standard Modification

609-4.01 METHOD OF MEASUREMENT. In the first paragraph, after “drainage structures” insert “or ramps”.

(06/25/99)M75

Special Provisions

METHOD OF MEASUREMENT. Delete the second paragraph.

Add the following:

Bumper Curb. By each complete installation.

BASIS OF PAYMENT. Delete Pay Item 609(3), Curb Ramp and add the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 609(7) Bumper Curb | Each |

(2/1/00)R48M98(05/14/01)R256M98

SECTION 610

DITCH LINING

Special Provisions

610-1.01 DESCRIPTION. Add the following: This work also includes furnishing and placing geotextile as shown on the Plans.

610-2.01 MATERIALS. Delete this Subsection and substitute the following: Use stones are sound and durable and are no larger than 200 mm in greatest dimension. No stone shall be less than 0.015 cubic meters in volume and 75 percent of the stones shall each be at least 0.03 cubic meters in volume.

Erosion control geotextile material shall meet the requirements of Subsection 729-2.02, Subsurface Drainage and Erosion Control.

610-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Place geotextile in accordance with Section 631, Geotextile For Subsurface Drainage and Erosion Control.

610-4.01 METHOD OF MEASUREMENT. Add the following: Erosion control geotextile material will not be measured for payment.

610-5.01 BASIS OF PAYMENT. Add the following: Excavation and erosion control geotextile are subsidiary.

(2/16/03)R&M

SECTION 611

RIPRAP

Special Provisions

611-1.01 DESCRIPTION. Replace this Subsection with the following: This work consists of performing the required excavation and furnishing and placing geotextile and protective covering of stone as shown on the Plans.

611-2.01 MATERIALS. Add the following: Erosion control geotextile material shall meet the requirements of Subsection 729-2.02, Subsurface Drainage and Erosion Control.

611-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Place geotextile in accordance with Section 631, Geotextile For Subsurface Drainage and Erosion Control.

611-4.01 METHOD OF MEASUREMENT. Add the following: Erosion control geotextile material will not be measured for payment.

611-5.01 BASIS OF PAYMENT. Delete the second sentence and replace with the following: Excavation and erosion control geotextile are subsidiary.

(8/8/03)R&M

SECTION 615

STANDARD SIGNS

Special Provisions

615- 1.01 DESCRIPTION. Add the following: This work shall also consist of furnishing and installing Cast Metal Letters. Cast Metal Letters shall be attached to the concrete wall blocks as shown on the Plans.

615-2.01 MATERIALS. Under Item 1. Shop Drawings delete the first sentence and substitute the following: Unless Shop Drawings have been provided in the Contract, submit all signs that require the use of the Alaska Sign Design Specifications (ASDS), the Department of Transportation and Public Facilities - Sign Face Fabrication Requirements, and the Alaska Traffic Manual, letter width and spacing charts for approval before fabrication.

Add the following under Item 2 Sign Fabrication:

d.	Cast Metal Letters. Fabricate letters from cast aluminum (Aluminum Association Alloy Designation C443.2), 19 mm thickness, Helvetica Bold font style, 760 mm tall. Finish with natural smooth satin finish, 2-part hardened acrylic polyurethane clear coat. Use “Ornamental Arts Company Cast Metal Letters” or approved equal. Submit specifications, mounting method, and sample of letter to the Engineer for approval.  Approved letter sample may be installed for use.

Add the following subsections:

615-2.02 WELDING. Apply the following requirements to all welding done to manufacture and install pipe piles, poles, and mast arms.

All welding and the non-destructive examination (NDE) specified in the Plans and specifications shall conform to AWS D1.1, Structural Welding Code–Steel.

The Department will only allow a one-time repair of a defective weld. If a repair is required, provide additional NDE for the length of the repair plus a length on both sides of the repair equal to 10% of the outside circumference.

Furnish all quality control (QC) inspection necessary to ensure the materials meet contract requirements and to complete the NDE specified in the following subsections.  Repair all defects in welding revealed by the QC and quality assurance inspections according to AWS D1.1 without additional compensation.  Submit all completed QC inspection documents to the Engineer.

For each welding process, submit a welding plan and the mill certification reports for all steel materials to be welded to the Engineer for review.  Do not begin welding until he has returned the submittal approved in writing. Each welding plan shall consist of:

- Welding Procedure Specifications,

- Procedure Qualification Records,

- Welder Performance Qualification Records,

- NDE personnel qualification records, and

- The name of the quality control (QC) manager with documentation of qualifications.

If a manufacturer must wait until fabrication begins to provide the mill certification reports, the Department will withhold approval of the finished product until it has approved the mill certification reports.

615-2.03 CANTILEVERED SIGN POLES.  Design, fabricate, and install cantilevered sign poles according to the following requirements.  Furnish poles that have the appearance of the “vertical single post cantilever” shown on Standard Drawing S-22.00{M}.  See the Plans for the size of sign each pole must support, their span, and mast arm heights.

- Design Requirements.  A registered professional engineer shall design each cantilevered sign pole according to the following requirements. He shall submit his stamped calculations and shop drawings to the Engineer for review.  The shop drawings shall include the details of the features specified in the fabrication requirements subsection and the specifications cited below.

Design the cantilevered sign poles according to the 2001 edition of the AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals (referred to hereafter as the Standard Specs for Structural Supports) for the following design parameters.

  - Use non-tapered tubes with a round cross section that features a maximum 32-inch outside diameter.

  - Design for the basic wind speed shown in Standard Specs for Structural Supports or for 160 km per hour, whichever is greater.

  - Design all poles for a 50-year design life.

  - Use a gust effect factor of 1.14.

  - Design all poles using fatigue category I importance factors.

  - Design all poles to resist galloping forces, vortex shedding, and truck-induced loads.  Use an average truck speed of 80 km per hour in the design.

Design the poles and mast arms using steels that meet the requirements of ASTM A709 plus the fracture critical Charpy V-notch impact test requirements for zone 3 service temperatures listed in the supplement of ASTM A709.

Design each sign pole with a one-piece mast arm that bolts to a one-piece structural support. Indicate the diameter, length, and wall thickness of both pieces on the shop drawings.  Provide details of the plates and bolts that attach the mast arm to the structural support.  If you need a pick point to lift a pole or mast arm, weld a tab onto the structure; do not cut holes in the structure. Remove the tab and repair the finish when you no longer need the pick point.  Include the total weight of each pole on the shop drawings.

Design the pole’s base plate using a 1067 mm diameter bolt circle and 51 mm diameter anchor bolts to match the foundation detailed in the Plans. Use anchor bolts that conform to ASTM F1554, grade 55 and meet the Charpy V-Notch impact strengths listed in subsection S4 of F1554.

Include two reinforced hand holes that measure 140 mm wide by 190 mm high.  See the fabrication requirements subsection for the location of these hand holes.

Furnish a pole installation plan that documents the proper assembly of the pole and mast arm, the location and width of dunnage supports during assembly, and the recommended number and location of lift points during pole installation.

- Fabrication Requirements. Fabricate the various pole components according to the following requirements.

Fabricate the mast arms and structural supports according to the following requirements:

  - Fabricate each piece from one piece of steel.

  - Make all welds continuous.

  - Wherever a longitudinal seam intersects a circumferential weld, provide a complete joint penetration (CJP) weld in the longitudinal seam at least 305 mm long.

  - For all remaining longitudinal seams, complete welds that provide at least 60% penetration.

  - Discard all pieces that vary more than 19 mm from a straight line throughout their length after they are hot-dip galvanized.

Fabricate tubes with a single longitudinal seam; the Department will not accept laminated tubes or tubes with spiral-shaped seams.

Bend one end of the structural support 80 degrees into a circular arc with a radius that measures 3660 mm to the centerline of the tube.

Provide a minimum 230 mm diameter electrical access hole centered in the base plate and in the plates that connect the mast arm to the structural support.  Attach these plates to the tube sections with CJP welds.

Install two hand holes in the pole. Locate one 305 mm above the base plate at 90 degrees to the mast arm, measured clockwise in the plan view. Locate the other in the mast arm, 305 mm from the mast arm connector plate on the same side of the pole as the other hand hole.  Attach the hand hole frames to the tube sections with CJP welds.

NDE 100% of the CJP welds by radiographic testing (RT); NDE at least 25% of the partial joint penetration welds by magnetic particle testing (MT); and NDE 100% of the fillet welds by MT.  Show the NDE symbols for the test type on the shop drawings.

Do not hot-dip galvanize the poles until the Contractor gives notice that the Engineer has approved the QC and QA test results.  Hot-dip galvanize each pole section according to AASHTO M 111 and these specifications.  In one dip, completely submerge each section in a kettle of concentrated zinc ammonium chloride flux solution heated to 54.4oC.  Then, in one dip, completely submerge each section in a separate kettle of prime western grade zinc heated to approximately 440.6oC.  Furnish all bolts and fasteners hot-dip galvanized according to AASHTO M 232.

- Construction Requirements. Submit a package that consists of stamped engineering calculations, shop drawings, mill certifications, welding plan, and pole installation plan to the Engineer for approval.

Assemble the pole sections, furnish and install all required dunnage, and lift the assembled pole according to the manufacturer’s pole installation plan.

Furnish all required sign mounting hardware per Standard Drawing S-22.00{M}.

615-2.04 SIGN POLE FOUNDATIONS.  Install the cantilevered sign pole foundation detailed in the Plans according to the following requirements.

All longitudinal and circumferential welds made to manufacture and install the piles shall provide complete joint penetration (CJP).

- Materials.

NDE 100% of all longitudinal and circumferential welds made to fabricate the piles.  Use the acceptance criteria for cyclically loaded non-tubular connections using radiographic, radio scope, real time imaging systems, or ultrasonic methods to complete the NDE.

Furnish steel pipe piles that feature the diameter and wall thickness shown on the Plans. Only furnish seamless piles or piles with a single longitudinal seam; the Department will not accept piles with spiral-shaped seams.

Provide pipe piles that are a minimum 12.2 meters long and conform to ASTM A 252 Grade 3, modified as follows:

  - The carbon equivalency (CE) shall not exceed 0.45 as defined in AWS D1.1, Section XI5.1 and the sulfur content shall not exceed 0.05%.

  - The circumference of the pile shall not vary more than plus or minus 10 mm from the circumference computed from the pile diameter shown on the plans.

  - The maximum allowable deviation in the edge alignment for the piles is 0.1875 times the wall thickness or 1.6 mm whichever is less.

  - Pipe straightness shall conform to the requirements of API 5L, Section 7.6 “Straightness”.

  - The Department will only accept those piles made by either an automatic fusion or electric resistance weld process that results in CJP.

Use the number, size, and length of ASTM F1554, grade 55, anchor bolts, nuts, and washers as shown in the cantilevered sign pole foundation detail included on the Plans. Furnish bolts that also meet the Charpy V-Notch impact strengths listed in subsection S4 of ASTM F1554.

- Fabrication Requirements. Fabricate the reinforcing steel cage to ensure the anchor bolts tied into it are equally spaced and form a circle with the diameter shown on the Plans.  Use a steel template to ensure the anchor bolts will match the base plate with no modifications.

3.	Construction Requirements.  Install pipe piles open ended according to Section 505. The Engineer will only accept piles cut from a longer piece.

Secure the anchor bolts to ensure they do not move during concrete placement. Replace, with no additional compensation, all finished concrete pile caps that feature anchor bolts that do not match the base plate of the pole or are out of plumb.  The Department will not allow modification of the anchor bolts or base plate to get the base plate set on the leveling nuts.

Embed a 50 mm rigid metal conduit in the foundation.  Terminate one end 50 mm above the top of the foundation and near the center of the foundation and the other end in a Type 1A junction box.

Install a grounding electrode conductor in the foundation according to subsection 660-2.03, Foundations.  Complete all bonding and grounding according to subsection 660-2.11, Bonding and Grounding.

Complete all Class A Portland cement concrete and reinforcing steel work according to Sections 501 and 503, respectively.

Install the bottoms of the bottom leveling nuts in a level plane within 25 mm of the top of concrete pile cap. Generously lubricate the bearing surface and internal threads of all top nuts with beeswax and tighten the top nuts according to the anchor bolt tightening procedure included in the appendices.

615-3.01 CONSTRUCTION REQUIREMENTS. Delete Item 7 and substitute the following:

7. 	Notify the Engineer five (5) days prior to beginning sign salvage activities. At that time, the Engineer will physically identify those signs to be salvaged. For each sign so designated, disconnect sign post from panel. The panels shall then be grouped together in a manner to preclude damage. Posts shall also be grouped together as with hardware in a workmanlike manner. Deliver sign panels, posts and hardware to the State Maintenance Yard located in Anchorage. Do not deliver salvaged materials until they have been inspected and approved by the Engineer. Replace all panels, posts and hardware damaged during salvaging or delivery with new panels, posts and hardware at no additional cost to the Department.

Remove and dispose of project signs and/or parts designated for removal and not selected for salvage.

Dispose of foundations from salvaged existing signs in a manner approved of by the Engineer (remove and dispose, abandoned in-place, or otherwise dispose). If foundations are abandoned in-place, the tops of the foundations, reinforcing steel, anchor bolts, and conduits shall be removed to a depth of not less than 300 millimeters below roadway subgrade or unimproved ground, whichever applies. All signs and posts at a single installation shall be considered as one unit.

Add the following Item:

15. 	Cast Metal Letters shall be surface mounted to the wall facing block. Install 10 mm spacers to project the Cast Metal Letters away from the wall surface as shown on the Plans. Place full scale paper templates on wall, spaced according to plans and as modified by Engineer, prior to drilling holes for threaded studs. Use epoxy or quick set cement as recommended by the Manufacturer to permanently secure letters to wall.

615-3.02 SIGN PLACEMENT AND INSTALLATION. Add the following: Do not remove existing signs without authorization from the Engineer.

Standard Modifications

615-4.01 METHOD OF MEASUREMENT. Under “Standard Signs and Object Markers.” in fourth sentence delete:  “Actual areas for signs will be measured, except” and capitalize the remaining portion: “Octagons and round signs will be measured as rectangles.”

(07/03/03)M106

Special Provisions

Add the following to the second paragraph: Concrete used for sign bases is considered subsidiary to other work under this Section.

Add the following:

615(25) Cast Metal Letters. By the each letter character installed and accepted in place.

Item 615(11) Cantilever Sign Support. By the each sign support structure complete accepted in place.

615-5.01 BASIS OF PAYMENT. Add the following: No separate payment for keeping existing signs in service until they are no longer needed, or temporary relocation of existing signs will be made. This work is subsidiary to Item 615(1), Standard Sign.

No separate payment for removal of existing sign post foundations, or work required to abandon them in-place will be made, but shall be subsidiary to Item 615(1), Standard Sign.

No separate payment for salvaging activities detailed in Subsection 615-3.01 will be made. This work will be subsidiary to Item 615(1), Standard Sign.

Payment for Cast Metal Letters shall be full compensation for all work and materials to furnish and permanently attach each letter character.

Payment for Cantilever Sign Support shall be full compensation for all work and materials to furnish and install the galvanized steel pipe support, sign foundation, galvanized steel anchor bolts, nuts, and washers, and associated hardware.

(05/16/01)R50M98(02/17/04)R&M

Add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 615(11) Cantilever Sign Support | Each |
| 615(25) Cast Metal Letters | Each |

SECTION 616

THAW PIPE AND THAW WIRES

Special Provisions

616-2.02 THAW WIRE. Delete paragraph 2a(3) under Heat Cable and replace with the following: Rated in conduit at 33W/M at 10C.

Delete paragraph 3b under Controls and replace with the following: Use a contactor that is electrically held, 60 amp rated, lighting type, with NEMA 1 enclosure.

(8/28/00)R216M98(2/16/03)R&M

Standard Modifications

616-3.02 THAW WIRE. In the table under item 5. Color Coding, move “Red” to the Ungrounded column for 3-wire conductors.

(02/08/01)M96

Special Provisions

616-3.02 THAW WIRE. Delete the table at the top of Page 296 and substitute the following:

| NOMINAL VOLTAGE/PHASE | GROUNDED | UNDERGROUND |
| --- | --- | --- |
| 120-Volt, Single-Phase, 2-Wire | White | Black |
| 120/240-Volt, Single-Phase, 3-Wire | White | Black/Red |

(8/28/00)R216M98

616-4.01 MEATHOD OF MEASUREMENT. Delete paragraph 3 and replace with the following: All fittings, conduit, junction boxes, connection points, circuit conductors, and standpipes are subsidiary.

(2/10/04)R&M

SECTION 617

RAILROAD CROSSINGS

Special Provisions.

617-1.01 DESCRIPTION. Add the following:

1.	MODULAR CROSSING For 141 lb Rail in 6 DEGREE CURVE. This work consists of furnishing and constructing a permanent modular crossing to the alignment and location shown on the plans and per ARRC Standard Plan 2.78-03. All trackwork shall be in accordance with Section 242 of the specifications and shall be scheduled with the ARRC through the Engineer in accordance with Section 107.

The Contractor will perform the following at the proposed Modular  crossing for 141 lb Rail in a 6 Degree Curve:

- Furnish and install Rigid Metal Conduit (RMC) with pull cords as shown on plans.

- Install metal gate bases furnished by the Alaska Railroad.

- Furnish and install Type II J boxes as shown on the plans.

- Provide as built drawings of utility work to the ARRC.

- The Contractor shall be responsible for all railroad trackwork ballast and construction items associated with this crossing to limits shown.

- Any changes to signal plans will require approval by the Engineer and the ARRC.

The ARRC will perform the following work at the proposed Modular crossing for 141 lb. Rail in a 6 Degree Curve:

- Install all necessary wire runs in new conduit and new gate bases.

- Provide and install 6’ X 8’ controller hut.

- Provide and install gate mechanisms on new foundations.

- Install all bonds and make all track signal connections.

- Maintain signal system integrity at all times. Align signals and make all signal system adjustments.

2.	MODULAR CROSSING For 115 lb. Rail. This work also consists of furnishing and constructing a concrete modular crossing to the alignment and location shown on the plans. Installation of the modular crossing to the design grade lines will require complete tie renewal within the limits shown. Do not remove any portion of the existing track structure without the approval of the Engineer, which must be requested in writing 7 calendar days in advance of the work.

The Contractor will also perform the following at the proposed concrete modular crossing for 115 lb. Rail :

- Furnish and Install Rigid Metal Conduit (RMC) with pull cords as shown on the plans.

- Install metal gate base furnished by the ARRC.

- Furnish and Install Type II J boxes as shown on the plans.

- Any changes to signal plans will require approval by the Project Engineer and the Alaska Railroad.

- Provide as built drawings of utility work to the ARRC.

- The Contractor shall be responsible for all railroad trackwork and construction items associated with this project to the limits shown.

The ARRC will perform the following work at the proposed concrete modular crossing for 115 lb. Rail:

- Install all necessary wire runs in new conduit and new gate base.

- Provide and install 6’x8’ Controller hut.

- Remove gate mechanism and reinstall on new foundation.

- Install all bonds and make all signal track connections.

- Maintain signal system integrity at all times. Align signals and make all signal system adjustments.

Add the following subsection:

617-1.02 SCOPE-OF-WORK. The trackwork involved in this section consists of, but is not necessarily limited to, the following activities:

- Remove existing mainline modular crossing at Station 622+32.22 Main Street, together with paved approaches within 7.5 feet left and right of centerline of tracks.

- Remove existing tracks to the excavation limits shown, at the modular crossing.

- Excavate and stockpile existing crushed stone ballast, at the modular crossing.

- Install new track as specified on the plans for the trackwork area, at the modular crossing.

- Resurface main line tracks and raise to design line and grade, at the modular crossing.

- Install modular crossing with 141 lb. Rail in a 6 degree curve..

- Install railroad crossing signal bases, at all crossings.

- Install modular crossing with 115 lb rail.

Removal of existing railroad crossing gate at the modular crossing in this project consists of, but is not necessarily limited to, the following activities:

a.	The ARRC will remove the existing crossing gate. This item will be transported by the ARRC to their Anchorage maintenance yard. The ARRC will notify the Contractor, through the Engineer, when this work item is complete and removal of the bases can begin.

b.	The Contractor shall remove and dispose of metal gate base and conduit. The Contractor shall backfill the hole with Selected Material, Type A.

c.	Power will be maintained to the Railroad load center.

The Contractor may elect to modify these plans or submit alternative sequencing plans. Submit all modified and/or alternative construction sequencing plans for approval of the Engineer and the ARRC. The Contractor shall allow 10 days for review of any submitted plan. Changes in the plan resulting from unforeseen circumstances may be allowed during construction, provided a minimum of 48 hours are allowed for review, and the changes are approved by the Engineer. All plans submitted must also meet the approval of the ARRC.

The Contractor shall be responsible for any contract scheduling changes resulting in the conditions of this specification not being met.

617-2.01 MATERIALS. Add the following:

6.	Subballast. Shall consist of material meeting the requirements of Section 301, Aggregate Base Course, Grading C-1.

7.	Ballast. Prepared Ballast shall conform to Section 241 Railroad Ballast.

The Contractor shall purchase and deliver all track material to construct skeleton track. The material shall conform to the current AREMA "Manual for Railway Engineering" and as detailed in Section 242 Trackwork.

The Contractor shall furnish and deliver all special trackwork material required to construct the modular crossings. The materials shall conform to the current AREMA specifications and as detailed in this specification. All standard track material shall conform to Section 242 of these specifications.

8.	Modular Crossing Panels: Crossing panels shall be modular reinforced concrete panels specifically designed for railroad crossing applications designed for the rail sizes specified and the degree of curvature . The particular manufacturer shall be regularly engaged in the fabrication of railroad crossing materials and the product must be approved, in writing by the Engineer. Panels will be screwed to the ties with ARRC approved lag screws. Manufacturers of reinforced concrete modular panels shall be one of the following or approved equal:

Century Concrete Crossings 		800-527-5232

Omni Grade Crossing Systems	800-203-8034

American Concrete Products CO.	402-331-5775

KSA					412-227-2396

Premier Concrete RR Crossings	800-425-5556

Omega Industries, Inc.		360-694-3221

Magnum Manufacturing Corp.	801-785-9700

The Contractor shall submit the manufacturer’s specifications for reinforced concrete crossing panels to the Engineer for approval.

9.	Cross Ties: Cross ties shall be new hardwood as specified in Section 242 except length shall be adjusted to meet installation requirements of modular crossing manufacturer.

10.	Geotextile Fabric: Geotextile fabric shall be non-woven fabric meeting the requirements of AREMA Chapter 1 and shall be heavy class. The Contractor shall submit fabric specifications and sample for review prior to purchase and installation.

Delete paragraph 4. Railroad Crossing Pads, in its entirety.

617-3.01 CONSTRUCTION REQUIREMENTS. Grade crossing construction shall be performed in accordance with ARRC standards, AREMA Manual Part 8 and as specified in Section 242, Trackwork. Scope of construction includes, but is not limited to, unloading and distribution of crossing materials and installation on prepared subgrade and sub-ballast sections. Rail within the road crossing and for at least 19.5 feet on either side of the crossing shall be unjointed 115# RE or 141# AB, as specified in Section 242-2.01.

Under numbered paragraph 1. General, delete item d. and add the following:

d.	The ARRC shall furnish and install all wire, signal equipment, and all other work and material necessary to obtain a complete and operational system. The Department shall pay for all costs for this work.

Add the following under numbered paragraph 1. General:

e.	Construction work on or in the vicinity of the ARRC mainline track will require the Contractor to schedule the work so that conflicts with ARRC traffic are kept to a minimum. The Contractor shall submit the proposed schedule for performing the required work to ARRC ten (10) days prior to the Preconstruction Conference. The schedule shall include the number of days required for each item of work or segment thereof.

f.	Track closures are at the discretion of the ARRC and will be evaluated on a case-by-case basis. All work affecting the Railroad must fall within the time constraints set by the ARRC. Trains are scheduled through the project area every one to three hours (average). Closures can be scheduled with the ARRC no more than 24 hours before the closure time, however, the Railroad will make every effort to allow more than 24 hours notice. Railroad crossings must have an operating signal or railroad flagging at all times. If the Contractor chooses to establish or operate a temporary crossing for the Contractor’s use, the Contractor shall obtain all permits and bear all costs associated with the crossing. Coordinate all work through the Engineer with the ARRC Chief Engineer.

g.	All work on, or within 20 feet of the active track, shall require full flag protection and/or slow order protection, as may be necessary.

h.	At the close of each work day, inform the Engineer or his representative of the location and nature of the work to be performed the following day. Secure prior approval from ARRC for any item of work resulting in delay to traffic, including slow orders. Submit requests for approval at least 24 hours in advance of the work.

Item 4. Railroad Crossing, Delete the text under this item and add the following: Construct crossings according to ARRC Standards shown in the A-Sheets. Construct all modular crossings with Pandrol Plates, Pandrol Clips and approved screws or equal. Geotextile fabric called out on the standard drawing shall meet the requirements of Geotextile Fabric described above. Install perforated corrugated metal pipe as shown on the standard drawing.

617-4.01 METHOD OF MEASUREMENT. Revise the second paragraph to read as follows: Railroad Furnished Signal Bases and Railroad Signal Load Center paid for as a lump sum item will not be measured for payment.  Type II Junction Boxes and RMC conduit will be measured as specified in Section 660 Signals and Lighting.

Add the following: Ballast placed between the limits shown on the plans will be subsidiary to the respective crossing and will not be measured for payment.

Modular crossings paid for as a lump sum item will not be measured for payment.

Trackwork mainline runoffs and mainline track surfacing/final dressing will not be measured for payment but will be subsidiary to Item 617 (9-115), Modular Crossing, 115 LB. Rail and 617(9-141) Modular Crossing, 141 LB. Rail.

617-5.01 BASIS OF PAYMENT. Add the following: Payment for crossing listed above and for work that is performed by the ARRC, will be by the Department through the utility agreement.

If the Contractor calls for flagmen and, through no fault of the Department or the Railroad, the flagmen are not needed, payment shall be deducted from monies due the Contractor. Other flagging, required by the Contractor's operation, shall be paid for by the Contractor.

All traffic control measures required will be paid for separately under their respective pay items.

Junction boxes and conduit will be paid for separately under their respective pay items in Section 660 Signals and Lighting.

No separate payment for trackwork will be made. This work is subsidiary to Item 617 (9-115) Modular Crossing, 115 LB. Rail and 617(9-141) Modular Crossing,  141 LB. Rail.

Signal foundations, railroad furnished signal bases, and all materials, labor, and equipment necessary to complete the required work as specified in this section shall be considered incidental to 617(9-115) Modular Crossing, 115 LB. Rail and 617(9-141) Modular Crossing, 141 LB. Rail.

Add the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 617(9-115) Modular Crossing, 115 LB. Rail | Lump Sum |
| 617(9-141) Modular Crossing, 141 LB. Rail | Lump Sum |

(2/17/04)TNH

Delete this Section in its entirety and substitute the following:

SECTION 618

SEEDING

Standard Modifications

618-1.01 DESCRIPTION. This work consists of establishing a perennial stand of grass or other specified living vegetative cover in the areas indicated on the Plans and to acceptably maintain the cover for the term of the Contract.

618-2.01 MATERIALS. Use materials that conform to the Special Provisions and the following:

| Seed | Section 724 |
| --- | --- |
| Fertilizer (20-20-10) | Section 725 |

Special Provisions

618-2.01 MATERIALS. Add the following:

Mulch		 Section 727-2.01

(2/16/03)R&M

Standard Modifications

CONSTRUCTION REQUIREMENTS

618-3.01 SOIL PREPARATION. Clear all areas to be seeded of stones 100 mm in diameter and larger and of all weeds, plant growth, sticks, stumps, and other debris or irregularities that might interfere with the seeding operation, growth of grass, or subsequent maintenance of the grass-covered areas.

Make areas to be seeded reasonably free of ruts, holes, and humps.

When specified, apply topsoil according to Section 620.

Roughen the surface slightly by means of dozer-tracking or other approved method.

Special Provisions

Apply seed immediately after the shaping of the slopes. Cover all slopes to be seeded with topsoil in accordance with Section 620. Prepare slopes for seed by "walking" a dozer transversely up and down the slopes, or by grading with a scarifying slope board, as determined by the Engineer. The resultant indentations shall be perpendicular to the fall of the slope. Complete slope preparation as soon as topsoil is placed on the slopes. Rounding the top and bottom of the slopes is acceptable to facilitate tracking and to create a pleasing appearance, but do not disrupt drainage flow lines.

(03/05/02)R52M98

Standard Modifications

618-3.02 SEEDING SEASONS. Seed and fertilize during the local growing season.

Do not seed during windy conditions or when climatic conditions or ground conditions would hinder placement or proper growth.

Special Provisions

618-3.02 SEEDING SEASONS. All seeding shall be performed between May 15 and August 30.

618-3.03 APPLICATION.

Apply Schedule A seed mix, seed, mulch, and fertilizer by the hydraulic method at the following application rate:

| Item | Application Rate (per ha) |
| --- | --- |
| Seed Mix Schedule A | 48.8 kg |
| Mulch | 2241 kg |
| Fertilizer (20-20-10) | 586 kg |

Take extra precautions when applying seed mixtures, do not apply seed mix within planting beds and avoid water bodies.

Apply seed mix at the rate specified, using the following method:

Hydraulic Method.

a.	Furnish and place a slurry made of seed, fertilizer, water, and other components as required by the Special Provisions.

b.	Use hydraulic seeding equipment that will maintain a continuous agitation and apply a homogeneous mixture through a spray nozzle. The pump must produce enough pressure to maintain a continuous, nonfluctuating spray that will reach the extremities of the seeding area with the pump unit located on the roadbed. Provide enough hose to reach areas not practical to seed from the nozzle unit situated on the roadbed.

c.	If mulch material is required, it may be added to the water slurry in the hydraulic seeder after adding the proportionate amounts of seed and fertilizer. Add seed to the slurry mixture no more than 30 minutes before application.

d.	Mix the slurry and apply it evenly.

618-3.04 PLANT ESTABLISHMENT AND MAINTENANCE. The Maintenance Period for all seeded areas shall be until vegetation is established.

Protect seeded areas against traffic and erosion.

Promptly repair surfaces that are gullied or otherwise damaged following seeding by regrading, reseeding, and remulching as needed.

Water and maintain seeded areas in a satisfactory condition until final inspection and acceptance of the work. Use equipment that can water all seeded areas without damaging the seed bed.

Watering During Establishment. Ensure that the seeded areas stay moist during germination and seedling establishment (as defined by the grass plants attaining a height of approximately 50 mm and showing signs of vigorous growth). Be prepared to water the seeded areas four to five times a day if weather conditions warrant it, until seedlings have become established.

Water should saturate the first 25mm of soil, but should not cause soil erosion or wash seed away. The Engineer will conduct inspections during the germination, to verify water is adequately applied. If water is not adequately applied, the Engineer will notify the Contractor to apply water immediately. Failure to do so will result in a restart of the 60-day maintenance period beginning the day of proper application of water. The Engineer may declare all affected seeding areas unacceptable if the Contractor fails to apply adequate moisture during the germination period for five consecutive days, or fails to respond immediately after two notices. Seeding and Water for Seeding for reseeded areas will be at Contractors expense.

A second application of fertilizer with water shall be applied the following year between May 1 and June 15 at a rate of one-half the initial application to all seeded areas. Contractor shall notify the Engineer in writing two days prior to the application of fertilizer, allowing the Engineer to schedule inspections during this period.

618-4.01 METHOD OF MEASUREMENT.

Seeding by the hectare. By the area of ground surface acceptably seeded and maintained. Seed, mulch, and fertilizer will not be measured.

Water for seeding. By the kiloliter using calibrated tanks or distributors, accurate water meters, or by weighing. The conversion factor of 1 kilogram per liter will be used to convert weight to volume.

618-5.01 BASIS OF PAYMENT. At the contract unit price per unit of measurement for the pay items listed below that appear on the bid schedule.

The work described under Subsection 618-3.01 Soil Preparation and water required for the hydraulic method of application are subsidiary to seeding.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 618(1) Seeding | Hectare |
| 618(3) Water for Seeding | Kiloliter |

(02/08/01)M99

SECTION 620

TOPSOIL

Special Provisions

620-3.01 PLACING. Delete paragraph in its entirety and substitute the following: For all areas that are to be seeded with Schedule A, (as described in Section 618), topsoil shall be evenly spread on the designated areas to a minimum depth after settlement of 100 mm. Settlement shall be achieved by rolling the topsoil with a water-filled drum or other method approved by the Engineer.

Grade topsoil with a scarifying slope board or rake. The resultant indentations shall be perpendicular to the fall of the slope. Complete the grading as soon as topsoil is placed. The resultant indentations shall be perpendicular to the fall of the slope. The Contractor may round the top and bottom of the slopes to facilitate working the slope and to create a pleasing appearance. Do not disrupt drainage flow lines. All equipment performing the placement of 100mm topsoil or other operations for this project shall be kept clear of wetland areas. If access into the wetland is required, it shall be approved by the Engineer and shall be performed under close supervision.

Do not place topsoil in heavy rainfall, snowfall, when the soil is frozen or during other conditions detrimental to the work. Keep all roadway surfaces clean of topsoil during hauling and spreading operations.

(2/16/03)R&M

620-4.01 METHOD OF MEASUREMENT. Add the following: Limestone, if required, will not be measured for payment.

(9/11/96)R53(2/16/03)R&M

620-5.01 BASIS OF PAYMENT. Add the following: Limestone will be subsidiary to Item 620(1) Topsoil.

(2/16/03)R&M

SECTION 621

PLANTING TREES AND SHRUBS

Special Provisions

621-1.01 DESCRIPTION. Delete this subsection and substitute the following:

This includes collecting, furnishing, planting and maintaining trees, shrubs and willow bundles, and other plants as shown on the plans and shall be 450 to 600 mm in height above ground at the time of planting. This work also includes preparation of planting beds including furnishing and installing shredded bark mulch and Plastic Landscape Edging, and restoration and revetment of Cottonwood Creek and Wasilla Lake banks as shown on the Plans.

621-2.01 PLANT STOCK. Add the following: A Certified Arborist or Botanist as described in 621-3.03 shall certify plant species, which are scheduled, but not included, in the current edition of Standardized Plant Names, American Joint Committee on Horticultural Nomenclature. Variety and species shall be as scheduled on the Contract Drawings. Trees and shrubs are not to be bare root.

Under item 1.	Nursery Stock, delete subparagraph b. and add the following:

b.	Container-grown plants shall be healthy, vigorous, well rooted and established in the container in which they are furnished. Root mass shall retain its shape and hold together when removed from the container without being root-bound.

c.	Perennials shall have been growing for at least one year and exhibit strong root growth pattern within containers. Perennial roots shall be visible and thriving when plant is pulled out of its container for inspection. Weeds, grasses and foreign materials shall be completely removed from the containers of all plants. Complete removal includes removal of all related roots. Perennials shall be easily identifiable through thick healthy leaf growth. Dormant plants will not be accepted.

d.	Coniferous trees that appear to be too heavily pruned, sheared, or that have their bottom branches removed, or that do not have acceptable root balls shall be rejected. The Engineer shall be the sole judge of the plant material.

Add the following: Dormant cuttings for willow stakes and brush layered benches shall be harvested from live woody plants. Prepare cuttings from branches of woody plants when the plant is in a dormant state. Collect cuttings that can easily be rooted without special treatment. Use plant species from the following table:

Feltleaf Willow		Salix Alaxensis

Pacific Willow		Salix Lasiandra

Little Tree Willow		Salix Arbusculoides

Diamond Leaf Willow	Salix Planifolia, ssp. Pulchra

Buds must be present on the cuttings, particularly near the top of each cutting. Avoid flower buds (“pussy willows”), if possible.

Collect cuttings during winter/early spring before leaves appear for spring and early summer plantings. Plants shall be collected within a 160-kilometer radius of the project limits. Cuttings may be obtained from State Public Lands and the Department of Transportation Right of Way. The Contractor shall obtain the appropriate permits prior to removing the cuttings.

Cuttings shall be 7-50 mm diameter at the cut end. Leave as long as possible, at least 1 meter in length. Cut branches to required length at the time of installation.

Maintain viable cuttings with proper storage. Freeze or refrigerate until installation if collection occurs while the daytime temperatures remain below 0.5°C. Refrigerate cuttings if the daytime temperature exceeds 0.5°C. Frozen cuttings can be stored with a small amount of snow to reduce drying. Store refrigerated cuttings at 0.5°C to 5°C and 60% to 70% humidity. Monitor the conditions of the cuttings regularly to detect problems such as desiccation, sprouting, or mold. Cuttings remain viable for only one season.

Take cuttings directly from storage to the planting site. Remove only that amount of material from storage that can be planted that day, particularly if windy or warm weather conditions exist. Store cuttings away from direct sunlight, and heeled into moist soil or stored in water until planting.

621-2.02 FERTILIZER. Add the following: Use 8-32-16 (nitrogen-phosphoric acid-potassium) fertilizer for all trees, shrubs, and groundcovers, and Sod vegetation. Fertilizer shall be applied at a rate determined by the Engineer, as described in Section 726, and based on the soil analysis tests provided by the Contractor for the topsoil used. Where a soil analysis is unavailable, fertilizer 8-32-16 shall be applied at a rate of 34.2 grams per square meter, once approved by the Engineer.

621-2.03 LIMESTONE. Add the following: Limestone shall be applied at a rate determined by the Engineer, as described in Subsection 726-1, and based on the soil analysis tests provided by the Contractor for the topsoil used for this project.

Add the following subsections:

621-2.08 SHREDDED BARK MULCH. Shredded bark mulch shall consist of spruce, Douglas Fir, pine, or hemlock bark shredded, with a maximum length of 5 cm and no more than 30% of the mix with particles less than 7mm in size. The shredded mulch shall not contain resin, tannin, non-organic or foreign elements in quantities that could inhibit plant growth. The mulch shall have the characteristics to be spread evenly so as to form a uniform consistent mat that inhibits weed growth and will not blow or wash away. The shredded bark mulch shall be aged at least one year and be a deep, dark, brown color. Chipped wood and sawdust shall be limited to no more than thirty (30) percent of mix and shall be aged for no less than one year.

621-2.09 COIR FABRIC WRAP. Use Coir Fabric Wrap that meets Section 727.

621-2.10 COIR LOGS. Use Coir Logs meeting the requirements of Section 727-2.04.

621-3.03 PLANTING. Delete Item 1. Plant Season, and substitute the following:

1.	Plant Season.

a.	Locally grown: When native species of locally grown trees and shrubs are furnished for the project, they shall be planted between June 1 and September 15. Trees and shrubs shall be fully leafed-out prior to planting.

b.	Imported and Nursery Grown: When plants are shipped in from out-of-state, or have been container grown in a nursery for at least one year, handling shall be in accordance with nursery recommendations. Plants imported from out-of-state shall be planted between May 15 and August 1.

c.	Willow Bundles: Willow bundles shall be planted between May 1 and June 15

Delete item 2. Excavation. and substitute the following:

2.	Prepare Planting Bed.

a.	Planting beds must be completely prepared prior to placement of plants. Planting bed preparation includes excavation, loosening of sub-grade soils and placement of edging and topsoil. Planting beds shall be prepared no more than 5 days prior to planting.

b.	Prior to excavation of planting areas, ascertain the location of all utilities so that proper precautions may be taken not to disturb or damage any subsurface improvements. Should obstructions or conflicts be found, notify the Engineer. Prepare a revised plan that avoids conflicts with the Utility and meets the intent of the original plan to the extent possible. The revised plan shall be submitted to and approved by the Engineer prior to construction of the planting bed.

c.	Planting beds with trees and shrubs shall be excavated to a depth of 450 mm. All excavation is to be removed from the site and disposed according to specifications.

d.	Make pits for trees at least 2-5 times the diameter of the root ball or the spread root system of bare-root trees. Make the depths of pits for trees at least 600 mm and as much deeper as may be necessary to provide a minimum depth of 225 mm below the bottom of the ball or spread root system of the tree when placed at the proper elevation.

e.	Make pits for shrubs at least 2 times the diameter of the root ball or spread root system. Keep the depths of pits for shrubs at least 300 mm and as much deeper as may be necessary to provide 150 mm minimum below the bottom of the ball or spread root system when the shrub is placed at the proper elevation.

f.	All planting beds are to be tilled to a depth of 300 mm below the excavated grade.

g.	Once tilled sub-grade shall not be mechanically compacted. Heavy equipment shall not be use within planting beds.

h.	Soak planting beds with water. Allow water to absorb in topsoil throughout planting bed. Topsoil backfill shall be moist but not wet, during planting. Do not plant until topsoil has no signs of excess water including pools, puddles, inability to compact or muddiness. Notify Engineer if planting beds are not draining properly.

i.	Dig planting holes within the planting bed. Firmly tamp the base of the planting hole to assure plants will not settle to lower than their proper planting depth. Water planting holes prior to planting if soil appears dry or if planting bed has not been planted within 24 hours of initial watering.

3.	Pruning. Delete the last two sentences of paragraph (b.) in their entirety.

5.	Placing Plants. Delete paragraph b. and substitute with the following:

b.	Balled and burlapped plants, plants in wire baskets or containers shall be handled by the earth ball, container, or basket and not by the plant itself. Wire baskets shall be clipped completely off the root ball sides to the base of the plant pit, completely remove basket sides from site. Burlap shall be stripped to the base of the root ball, trimmed and removed from the site. Containers shall be removed from the site. The Engineer may reject plants whose rootballs break or collapse during planting.

7. 	Wrapping. Delete the paragraph and substitute the following: Plant materials shall not be wrapped.

8.	Staking and Guying. Delete subparagraphs a, b, and c and substitute the following:

Trees shall not be staked unless the Contractor determines staking to be essential to establishment of trees on the site. In which case, the Contractor shall submit complete design of staking procedures to the Engineer. The Contractor shall remove stakes one year after installation. Staking shall follow the most recent guidelines provided by the State of Alaska, Division of Forestry, Urban and Community Forestry Program recommended guidelines for staking plants.

Add the following numbered paragraphs:

9.	Fertilizing. Newly planted trees and shrubs shall not be fertilized during the season they are planted.

10.	Certified Arborist. Retain the services of an arborist certified by the International Society of Arboriculturalists or American Association of Nurserymen whose experience and qualifications are acceptable to the Engineer. The Certified Arborist’s resume shall be submitted at least 30 working days before the delivery of plant material. The Certified Arborist shall:

- Inspect plants for health and vigor prior to installation, to assure the requirements of Section 621-2.01 for plant stock, including that the materials are disease free, free of wounds, broken branches, double leaders, co-dominant trunks, or other defects

- Oversee and approve plant installation and shall be present on-site for the first day of plant installation and again after 25% of installation is complete. Inspect the tree planting process to assure that planting techniques meet the Contract documents

- Verify , in written form, that plant quality and character, planting depth, pre- and post-water requirements meet specifications.

- Inspect plantings twice during the growing season during Plant Establishment Period for any needed maintenance, such as watering, pruning, or removal of dead, dying, or untreatable diseased trees. All pruning is to be under the direct on-site supervision of the Certified Arborist.

Plants that do not meet the standards will be rejected prior to installation. The Certified Arborist shall:

621-3.04 PERIOD OF ESTABLISHMENT. Delete the last sentence and substitute the following: The Plant Establishment Period (PEP) shall be one complete growing season. The growing season is May 1st to October 15th. The PEP shall begin when the maintenance schedule is approved by the Engineer and all required planting is complete and accepted for payment by the Engineer. The PEP applies to all planting beds, trees and shrubs, and ground covers.

Watering is not required between October 15th and May 1st during the PEP. Deep water all tree root balls and other plant materials as frequently as necessary to keep the immediate root areas moist at all times during the growing season. Deep water all evergreen plants just prior to freeze-up in order to minimize over-wintering desiccation. Contractor may also choose to apply anti-desiccants to conifers as approved by the Engineer. Rainfall will not be considered a substitute for deep watering unless permitted by the Engineer.

Trees and shrubs shall be pruned to remove disfigured, damaged, or dead branches. Damaged trees or those that constitute health or safety hazards shall be pruned at any time of the year as required. Evergreen trees shall not be pruned without prior approval of the Engineer. Maintain the planting beds and seeded areas in a weed-free condition. Weeds include grasses and other undesirable plants within planting beds

621-3.05 CLEANUP. Add the following: Planted and seeded areas shall be kept clean of litter and garbage during the growing season.

621-3.06 PLANT REPLACEMENTS. Add the following: Replacement Plants, seedlings and shrubs, shall be of the same species as shown on the Plans. Plants which are dead or dying, shall be replaced within 48 hours of notification, June through September. Plants dead at the end of the growing season shall be replaced at the beginning of the following season.

621-3.07 MAINTENANCE. Add the following: The maintenance period for this project for all plantings, plant materials shall be one year after planting. The Contractor shall submit a maintenance schedule to the Engineer for approval, ten working days prior to the completion of the planting.

Maintenance includes the care of all trees, shrubs, ground covers, sod plantings, and seeded areas for the duration of the maintenance agreements, including the period of establishment, and the non-growing season. Specific work includes watering, pruning, weeding, pest control, and protection of planted areas. At the end of the growing season, and at the end of the maintenance period, the Engineer and the Contractor shall undertake a joint inspection to review conditions and document any changes in maintenance or acceptance of plantings.

1.	Watering. The Contractor shall deep-water the root balls of all trees, shrubs, and perennials. Deep watering shall provide water penetration through the root zone to a depth of the planting pits with a minimum of runoff. Rain will not be considered as a substitute for deep watering unless permitted by the Engineer. Watering equipment shall be equipped with, or followed by a vehicle equipped with a Type B advance warning arrow panel using caution mode in accordance with Part VI of the Alaska Traffic Manual

2.	Disease Control. The Contractor shall apply pesticides, insecticides, or other disease-control methods as necessary to maintain plant health. Permission of the Engineer and appropriate permits for the application of insecticides from the Alaska Department of Environmental Conservation must be obtained prior to the application of any regulated products.

3.	Pruning. Prune all plant materials, with appropriate pruning techniques, to remove dead or dying wood and to improve the shape and or vigor of the plants. Cuts shall not be painted. Pruning of flowering trees shall be scheduled to occur right after flowers drop off or decay. Damaged trees or those that constitute health or safety hazards shall be pruned as directed by the Engineer at any time of the year. Evergreens are not to be pruned without the approval of the Engineer.

4.	Fertilizer. Fertilizer shall be applied to all trees, shrubs, and ground covers in the spring of the following year, prior to June 15 at the rates shown in table 621-1. The fertilizer shall be applied as per manufacturer’s recommendations and thoroughly watered into the ground. The Contractor shall notify the Engineer in writing 4 working days prior to applying any fertilizers. Written notice shall state the time and location of fertilizer application.

TABLE 621-1

MAINTENANCE FERTILIZER SCHEDULE

| Plant Type | Fertilizer | Application Rate |
| --- | --- | --- |
| Coniferous Trees | 8-32-16 | 34.2 grams per square meter |
| Deciduous Trees | 8-32-16 | 500 g for each 25 mm of Caliper |
| Shrubs and Ground Cover | 8-32-16 | 7 grams per square meter. |

Add the following Subsection:

621-3.08 LIVE STAKE. Cut willow stakes 450-600 mm in length from dormant cuttings. At least 2 leaf buds shall be present near the top of each stake. Place topsoil where shown on the Plans. Place coir fabric on the ground and anchor per the manufacturer’s recommendations. Use a 13 mm diameter rod to create planting holes a maximum of 1 meter apart, as shown on the Plans. Willow stakes shall not be hammered into the ground. Plant stakes as vertical as possible, placing approximately ¾ of the stake into the ground, keeping 1-2 leaf buds exposed above the ground. Water the stakes to help remove air pockets and increase the contact between the soil and the willow stake. Plant willow stakes no later than July 1.

621-3.09 LIVE STAKE LAYERING BENCHES. Add the following Subsection: Excavate bank to the limits shown on plan behind the original stream bank. Place the top of coir log at the ordinary high water level along the stream bank. Stake the coir log per the manufacturer’s recommendations. Place material from unclassified excavation behind the coir log to create a bench that angles downward away from the coir log. Place 100mm topsoil on bench, followed by live stake cuttings, arranging in a slight crisscross pattern leaving no more than ¼ of their branch length exposed. Place biodegradable fabric wrap, as shown in plan, over cuttings and topsoil, and stake/secure per manufacturer’s recommendations. Place material over fabric to form new bench, lapping fabric over material and staking to secure into place. Repeat layout of cuttings, topsoil, and fabric sequence until height shown on the plans is reached. At desired height level, place 150-200mm additional topsoil, plant live stakes, and water as shown in plan.

621-4.01 METHOD OF MEASUREMENT. Delete this Subsection and substitute the following: The quantity of trees, shrubs and ground covers to be paid for shall be the actual number of plants, alive and healthy at the time of final inspection.

Plant Establishment Period will not be measured.

Upon the written approval of the Engineer for the Landscape Inspection, a 70% payment for installation of all landscape work shall be made upon the Contractor’s application for partial payment. Final payment shall be made upon the Engineer’s written approval of the Final Maintenance Acceptance Inspection.

Furnishing and installing shredded bark mulch, topsoil backfill mix, fertilizing, disposal of unsuitable and surplus material, the maintenance period, and water for maintenance of plant materials will not be measured for payment, but will be subsidiary to Items 621 (1 - 5).

Water for seeding is measured under Section 618.

Cottonwood Creek Restoration. No measurement will be made and includes creek bank restoration by placing live stakes, brush layers, coir fabric, and coir logs along the retaining wall at Cottonwood Creek as shown on the Plans accepted in their final position.

Wasilla Lake Bank Restoration. No measurement will be made and includes lake shore revegetation by brush layers, coir fabric, and coir logs along Wasilla Lake disturbed by the removal of structures and obstructions as shown on the Plans accepted in their final position.

621-5.01 BASIS OF PAYMENT. Add the following: The accepted quantity of all plant materials planted will be paid for at 70% of the Contract price, per unit of measurement, for the pay items when they are acceptably planted. Payment of the remaining 30% will be made after the Final Maintenance Acceptance Inspection has been conducted and the Engineer has approved the work.

If damaged plants are not replaced as required within 48 hours of written notice, the Engineer may replace or have replaced the damaged items and deduct the cost of said repair or replacement work from remaining payments. The cost of said repair or replacement work will be based on paid receipts plus 10% administrative markup.

Add the following Pay Items:.

| Pay Item | Pay Unit |
| --- | --- |
| 621(1a) Tree, Birch, clump (Betula papyrifera), 6m tall | Each |
| 621(1b) Tree, C. Red (Prunus virginiana), 65mm cal | Each |
| 621(1c) Tree, Larch (Larix decidua), 1.5 m tall | Each |
| 621(1d) Tree, Spruce (Picea glauca), 1.5m tall | Each |
| 621(2a) Shrub, Alpine Currant (Ribes alpinum), 600 mm Tall | Each |
| 621(2b) Shrub, H. Cranberry (Viburnum edule), 900 mm Tall | Each |
| 621(2c) Shrub, Goldflame - Spirea (Spirea "Goldflame"), 600 mm Tall | Each |
| 621(2d) Shrub, Rose (Rosa rubifolia), 900 mm Tall | Each |
| 621(2e) Shrub, Spirea - False (Sorbraria sorbifolia), 600 mm Tall | Each |
| 621(5a) Perennial, Iris (Iris setosa), SP5 | Each |
| 621(20A) Cottonwood Creek Restoration | Lump Sum |
| 621(20B)Wasilla Lake Bank Restoration | Lump Sum |

(8/11/03)R&M

Section 622

REST AREA FACILITIES

Special Provisions

622 1.01 DESCRIPTION. Add the following Item:

9.	Flagpole

Add the following Subsection:

622-2.13 FLAGPOLE. Use 30’ Anchor Base Internal Halyard Satin Finish, flagpole by American Flagpole, Abingdon, Va., (800-368-7171); #22662 5-foot for installation on concrete footing as shown on plan and per manufacturer’s recommendations; or approved equal.

622-4.01 METHOD OF MEASUREMENT. Add the following:

622(25) Flagpole. By the number of flagpoles completed and accepted.

622-5.01 BASIS OF PAYMENT. Add the following pay item:

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 622(25) Flagpole | Each |

(08/03/03)R&M

SECTION 626

SANITARY SEWER SYSTEM

Special Provisions

626-1.01 DESCRIPTION. Add the following: For the purposes of these Special Provisions "Wasilla" shall mean the City of Wasilla, Public Works Department (DPW) at (907) 373-9095. This work shall include the installation and testing of sanitary sewer systems including pressure sewer systems. The Contractor shall also provide as-built drawings in accordance with the conditions prescribed herein and obtain a Certificate to Operate from the Alaska Department of Environmental Conservation.

626-2.01 MATERIALS. Add the following:

Materials shall conform to the following:

1.	Sanitary Sewer Conduit used for Pressure Lines

a.	Ductile Iron Water Line	707-2.07

b.	Polyethylene Pipe		706-2.06

2.	Sanitary Sewer Conduit used for Gravity Service Line

a.	Ductile Iron			707-2.07

b.	Cast Iron Pipe			707-2.07

3. Gate Valves					712-2.10

626-3.01 CONSTRUCTION REQUIREMENTS. Add the following: The vertical separation between the water and sewer conduits shall be 450 mm minimum, outside of pipe to outside of pipe.

Live taps shall be performed by the Contractor in the presence of the Engineer and City of Wasilla representative. Live taps shall be coordinated with John Becker, City of Wasilla, 48 hours in advance, telephone (907) 373-9044.

Relocate Existing Water Main. Where an existing water main crosses the location of the proposed gravity sanitary sewer at an elevation to interfere with the construction of the sewer, the water main shall be raised or lowered sufficiently to permit 18 inches minimum clearance from the sewer. The Contractor may employ either of the following methods for raising or lowering a water main. He may raise or lower lengths of the water main as necessary on either side of the proposed sewer to allow the main to pass under or over the sewer, providing the deflection at any joint does not exceed one-half of the pipe manufacturer's recommendations, or the water main may be raised or lowered using four pipe bends not to exceed 22 degrees. In special cases only, and when approved by the Engineer in advance, 45 degree bends may be used. The method of lowering and materials to be used shall be approved by the Engineer prior to commencing work. The Contractor shall give 72 hours notice to the Engineer, prior to any planned water shut-off.

Water conduits two inches in diameter and smaller shall not be construed as water mains. Any necessary lowering of water conduits two inches and smaller shall be included under the conditions set forth in the Special Provisions for the moving and relocation of utilities occupying space within the area of construction. With the approval of the Engineer, the Contractor may lower water conduits two inches in diameter and smaller, but separate payment shall not be made for such lowering. The cost shall be incidental to other sanitary sewer items.

Suspension of Work. Wasilla, through the Engineer, reserves the right to suspend the sanitary sewer installation at any time that the Contractor fails to meet the requirements set forth herein until such time as the Contractor makes the necessary corrections. Suspensions of work will not entitle the Contractor to an extension of time for the completion of the project, and will not entitle him to extra payment for costs incurred.

Sanitary Sewer Conduit. Ductile iron and cast iron pipe - The outside of all ductile iron and cast iron pipe, fittings and other appurtenances used in sewer conduit construction shall be encased with one layer of 0.2 mm thick polyethylene film. The polyethylene encasement shall be installed using any of the following three methods:

Method A

1.	Cut polyethylene tube to a length approximately two feet longer than the length of the pipe section. Slip the tube around the pipe, centering it to provide a 300 mm overlap on each adjacent pipe section and bunch it accordion-fashion lengthwise until it clears the pipe.

2.	Lower the pipe into the trench and make up the pipe joint with the preceding section of pipe. A shallow bell hole must be made at the joints to facilitate installation of the polyethylene tube.

3.	After assembling the pipe joint and testing the bonded joint, make the overlap of the polyethylene tube. Pull the bunched polyethylene from the preceding length of pipe, slip it over the end of the new length of pipe, and secure in-place. Then slip the end of the polyethylene from the new pipe section over the end of the first wrap until it overlaps the joint at the end of the preceding length of pipe. Secure the overlap in-place. Take up the slack width to make a snug, but not tight fit along the barrel of the pipe, securing the fold at quarter points.

4.	Repair any rips, punctures, or other damage to the polyethylene with adhesive tape or with a short length of polyethylene tube cut open, wrapped around the pipe, and secured in-place. Proceed with installation of the next section of pipe in the same manner.

Method B

1.	Cut polyethylene tube to a length approximately 300 mm shorter than that of the pipe section. Slip the tube around the pipe, centering it to provide 150 mm of bare pipe at each end. Take up the slack width at the top of the pipe to make a snug, but not tight, fit along the barrel of the pipe, securing the fold at quarter points; secure the ends as described in Method A.

2.	Before making up a joint, slip a 1 meter length of polyethylene tube over the end of the preceding pipe section, bunching it accordion-fashion lengthwise. After completing the joint, pull the 1 meter length of polyethylene over the joint, overlapping the polyethylene previously installed on each adjacent section of pipe by at least 300 mm, make each end snug and secure as described in Method A.

3.	Repair any rips, punctures, or other damage to the polyethylene with adhesive tape or with a short length of polyethylene tube cut open, wrapped around the pipe, and secured in-place. Proceed with installation of the next section of pipe in the same manner.

Method C

1.	Cut polyethylene sheet to a length approximately 600 mm longer than that of the pipe section. Center the cut length to provide a 300 mm overlap on each adjacent pipe section, bunching it until it clears the pipe ends. Wrap the polyethylene around the pipe so that it circumferentially overlaps the top quadrant of the pipe. Secure the cut edge of polyethylene sheet at intervals of approximately 1 meter.

2.	Lower the wrapped pipe into the trench and make up the pipe joint with the preceding section of pipe. A shallow bell hole must be made at joints to facilitate installation of the polyethylene. After completing the joint, make the overlap and secure the ends as described in Method A.

3.	Repair any rips, punctures, or other damage to the polyethylene with adhesive tape or with a short length of polyethylene tube cut open, wrapped around the pipe, and secured in-place. Proceed with installation of the next section of pipe in the same manner.

HDPE Pipe – Conform to applicable portions of ASTM D 2774, UNDERGROUND INSTALLATION OF THERMOPLASTIC PRESSURE PIPING. The Contractor shall be responsible for the entire pipe system furnished, including system testing and performance.

Tests for acceptance of materials shall be made at the expense of the Contractor. The Contractor shall provide the Engineer with a schedule of various parts of production of the pipe system. At the time the Engineer inspects the items required, all other test data shall be presented for inspection.

The Engineer reserves the right to sample and test any pipe or component after delivery and to reject all pipe or components represented by any sample which fails to comply with the specified requirements.

The Engineer may request, as part of the quality control records submittal, certification that the pipe produced is represented by the quality assurance testing. Additionally, test results from manufacturer’s testing or random sampling by the Engineer that do not meet appropriate ASTM standards or manufacturer’s representations may be cause for rejection of pipe represented by the testing. These tests may include density and flow rate measurements from samples taken at selected locations within the pipe wall and thermal stability determinations according to ASTM D 3350, 10.1.9.

- Transportation. Care shall be taken during transportation of the pipe so it is not cut, kinked, or otherwise damaged.

- Storage. Pipes shall be stored on level ground after unloading from shipping containers, free of sharp objects which could damage the pipe. Stacking of the polyethylene pipe shall be limited to a height that will not cause excessive deformation of the bottom layers of pipes under anticipated temperature conditions. Where necessary, due to ground conditions, the pipe shall be stored on wooden sleepers, spaced suitably and of such widths as not to allow deformation of the pipe at the point of contact with the sleeper or between supports.

- Handling Pipe. The handling of the joined pipeline shall be in such a manner that the pipe is not damaged by dragging it over sharp and cutting objects. Ropes, fabric, or rubber protected slings and straps shall be used when handling pipes. Chains, cables, or hooks inserted into the pipe ends shall not be used. Two slings shall be used for lifting each length of pipe. Pipe or slings shall be used for lifting each length of pipe. Pipe or fittings shall not be dropped onto rocky or unprepared ground. Adhere to manufacturer’s recommendations for specific handling procedures.

- Joining Pipe Sections. Pipes shall be joined to one another, to the polyethylene fittings, and to the flange connections by means of thermal butt-fusion. Polyethylene pipe lengths, fittings, and flanged connections to be joined by thermal butt-fusion shall be of the same type, grade, and class of polyethylene compound and supplied from the same raw material supplier.

a.	Butt-Fusion Joining. Butt-fusion of pipes and fittings shall be performed in accordance with the pipe manufacturer’s recommendations for equipment and technique, using the correct size equipment. Butt-fusion will be performed only by personnel certified as competent by the polyethylene material supplier. The Contractor shall provide butt-fusion equipment compatible with the piping system being used as necessary to complete all joints on the project. All costs in connection with this equipment shall be included in the unit price bid for pipe installation.

Installation of all components shall be accomplished using the manufacturer’s own recommendations. Unless the Contractor’s personnel are certified by the pipe supplier in the installation of pre-insulated polyethylene piping systems, the pipe suppliers shall provide pipe personnel to instruct the Contractor in the handling, installation, and testing of their products. If not certified, the Contractor shall provide for the on-site services of one supplier’s representative for a minimum period of one week at the start of construction. Additional technical representative services, if necessary, will also be at the Contractor’s expense.

After each section of joined insulated pipe has been laid in the trench and all connections made, the Contractor shall perform a visual inspection to ensure that the waterproof jacket is completely intact and all mechanical connections have been made according to suppliers recommendations and specifications. Repairs to the jacket shall be made with heat shrink sleeves or heat shrink tape and sufficient quantities of elastomeric sealant until it is watertight.

Random tests of field joints will be made by the Engineer, as necessary, as a quality control measure. The Contractor shall be responsible for removal or repair of unsatisfactory butt-fusion joints.

b.	Mechanical Connections. Mechanical connections of the polyethylene pipe to auxiliary equipment such as valves, pumps, tanks, and other piping materials shall be through flanged connections (all sizes), compression connections (up to 75 mm diameter), or screwed connections (up to 75 mm diameter), which shall consist of the following:

- A polyethylene flange connection called a “stub end” shall be thermally butt-fused to the ends of the pipe.

- A metal back-up flange shall be ductile iron or approved equal and shall be sized to ANSI B16.1 outside diameter and drilling.

- Alloy steel bolts and nuts of sufficient length to show a minimum of three complete threads when the joint is made up and tightened to manufacturer’s standards shall be used to make up a mechanical connection. The Contractor shall re-torque nuts after four hours.

- Gaskets of red rubber, asbestos composition, or other material as directed by the Engineer shall be made to fit the joint.

Install compression fittings where needed to adapt threaded valves to polyethylene pipe. Full circle stainless steel sleeve stiffeners shall be used with all compression fittings, with the exception of insert type connectors where the stiffener is integral to the approved fitting.

Polyethylene pipe connected to heavy fittings, manholes, and rigid structures shall be supported in such a manner than no subsequent relative movement between the polyethylene pipe at the flanged joint and the rigid structures is possible.

5.	Placement In. Care shall be exercised when lowering pipe into the trench to prevent damage or twisting of the pipe. Pipe and fittings shall be laid directly on the pipe bedding material. At flanges, valves, and connections, the trench bottom shall be formed with bell holes with sufficient length, width, and depth to ensure clearance between the pipe bedding material and the flanges, valves, and such connections. Depending on site conditions, butt-fusion joining shall be performed in or outside of the excavation at the Contractor’s option.

6.	Detection Tape. Detection tape shall be installed over all pressure sewer pipe and service connection pipe which lies in the public right-of-way. It shall be placed in accordance with the manufacturer’s recommendations directly over the pipe at a depth of 300 mm below final grade.

7.	Bedding of Sanitary Sewer Conduit. All sewer conduit shall be bedded in material conforming to the requirements of Selected Material, Type A and shall also pass the three-inch sieve.

626-3.02 TESTING. Add the following: Testing of HDPE pressure sewer systems shall be as follows:

Testing (PE Pipe in Collection System). All pipe shall be inspected at the point of manufacture in accordance with the appropriate ASTM specification. Provide a certificate of test results to the Engineer.

After all piping, including individual property services, has been installed and backfilled, and pipelaying has proceeded beyond the nearest isolation valve, the Contractor shall pressurize the reach of line between the two adjacent isolation valves.

After the line has been filled and the test pressure allowed to stabilize (usually after 2 – 3 hours), the test section shall be pressurized to the allowable operating pressure or 760 kPa maximum for a minimum of 2 hours.

Allowable amounts of make up water for expansion during the pressure test are shown in the table below. If there are no visible leaks or significant pressure drops during the final test period, the pipe reach will be accepted.

| ALLOWANCE FOR EXPANSION AT TEST PRESSURE |  |
| --- | --- |
| Diameter (mm) | Liters per 30 meters |
| 38 | 0.19 |
| 50 | 0.34 |
| 75 | 0.57 |
| 100 | 0.95 |
| 150 | 2.27 |
| 200 | 3.78 |
| 250 | 4.92 |
| 300 | 8.70 |
| 350 | 10.0 |
| 400 | 12.50 |

Under no circumstances shall the total time under test exceed 8 hours at 1-1/2 times the pressure rating. If the test is not completed due to leakage, equipment failure, etc., the test section shall be permitted to “relax” for 8 hours prior to the next testing sequence.

The Contractor shall, upon completion of all work involved, notify the Engineer in writing of completion and request a semi-final inspection of the project. This inspection will be performed in the presence of the Engineer, Wasilla DPW, and the Contractor. Copies of a list of deficiencies, if any, indicated by the inspection will be furnished to the Contractor by the Engineer for remedial action. When all corrective action has been completed, the Contractor shall notify the Engineer, and at that time an acceptance inspection will be performed.

Add the following Subsections:

626-3.03 AS-BUILT PLANS AND WORKING DRAWINGS. A complete and accurately dimensioned record of all deviations, deletions, additions and alterations from and to the contract plans and specifications shall be maintained by the Contractor to indicate the work as it is actually installed. Retain the services of an Engineer, registered in the State of Alaska, to inspect construction of the sewer improvements and prepare as-built drawings in accordance with the Department of Environmental Conservation (DEC) and the City of Wasilla requirements. This as-built information shall be recorded on mylar drawings of the Water and Sewer Plans provided by the Engineer, and on a record set of the plans and specifications with supplementary notes on affected sheets or pages. Conduit and appurtenances shall be referenced by stationing, showing design line and grade, and as-built line and grade. The record set of plans and specifications shall be kept by the Contractor showing record conditions of all conduit and appurtenances installed. Submit a copy of the as-built Water and Sewer Plans to DEC with the completed Certification of Construction for Domestic Wastewater Systems requesting a Certificate to Operate. Contractor shall obtain, from DEC, and furnish the original Certificate to Operate and as-built mylars to the City of Wasilla with a copy to the Engineer.

When this sanitary sewer system is completed, the Contractor shall certify the accuracy of the construction survey notes and of each revision on the plans and in the specifications by written signature endorsement, and deliver them to the Engineer prior to final acceptance by the owning Utility.

626-3.04 TEMPORARY SEWER SERVICE. The Contractor shall maintain sewer service during the entire period of construction. The methods to be employed in maintaining temporary sewer service is left to the Contractor. To assure uninterrupted sewer service, the Contractor shall submit a plan for any temporary sewer service for the Engineer=s approval prior to beginning work on such system. The plan can incorporate a temporary sewer bypass or rely entirely on pumping.

The plan must include the following:

- Identify the type of temporary system, the method of construction and the maintenance and operation procedures to be used.

- A plan for pumping property owners’ septic tanks and pump vaults during times the sewer main is not functioning. The plan must include a list of affected property owners, their names, telephone number, location of septic tank and pump vault.

- Submit, with the plan, any agreements between the Contractor and property owners regarding access and use of private property.

- The name and Telephone number of a contact person and at least one alternate who shall be available on a 24 hour basis for repair and/or maintenance of the temporary sewer by-pass system or to pump the affected septic tanks and pump vaults.

In the event that the Contractor fails to repair and/or maintain the temporary system and the Engineer or Wasilla is required to perform repairs and/or maintenance, all costs associated with said repairs and/or maintenance shall be deducted from the contract amount.

The Contractor is required to properly dispose of any soils or materials that are contaminated with raw sewage as a consequence of the sewer by-pass operations.

626-3.05 REMOVED OR ABANDONED-IN-PLACE SANITARY SEWER CONDUIT. Any existing sanitary sewer conduits, or appurtenances designated on the plans or directed by the Engineer to be abandoned-in-place shall be accomplished as an incidental item of construction. Whenever or wherever an existing sanitary sewer conduit is abandoned-in-place, the Contractor shall empty the pipe of all waste and plug the ends. If the pipe is 200 mm or larger, the Contractor shall fill the pipe with sand and plug the ends. Asbestos concrete pipe shall be either crushed or removed. In the event of cracked or crushed pipes, the Contractor shall excavate to the next joint of pipe and install the plug. Existing sanitary sewer conduit and all other contaminated material to be removed shall be disposed of at the Municipality of Anchorage Sanitary Land Fill at the Hiland Drive Interchange. There will be no separate payment for disposal of the contaminated material at the land fill. Remove manholes from sewer lines to be abandoned. Cut and cap the sewer lines at the manholes. Remove valves and other appurtenances from manholes and deliver them to the City of Wasilla Treatment Plant located at 2900 Jude Street in Wasilla. Contact John Becker at (907) 373-9044 to coordinate and schedule delivery of valves and appurtenances removed from manholes.

Verification of Existing Utilities. At a sufficient distance prior to encountering a known obstacle or pipe or tying into an existing pipe, the Contractor shall expose and verify the exact location of the obstacle or pipe so proper alignment and/or grade may be determined before the pipe sections are laid in the trench and backfilled.

The cost incurred for removal and realignment of backfilled pipe sections due to improper verification methods shall be borne by the Contractor.

BASIS OF PAYMENT. Add the following: Pumping and disposal of sewage effluent during construction including providing temporary sewer service will not be paid for separately, but will be subsidiary to Item 626-(1-100), HDPE Sanitary Sewer Conduit, 100 mm. Valves, cleanouts, air vents connections and all other appurtenant items will not be paid for separately but will be considered subsidiary to Item 626-(1-100), HDPE Sanitary Sewer Conduit, 100 mm.

Engineering, documentation of as-built conditions, and coordination will not be paid for separately, but will be subsidiary to other items.

Add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 626(1-100) Sanitary Sewer Conduit, 100 mm HDPE | Meter |
| 626(8) Sanitary Sewer Vent Relocation | Each |
| 626(9) Relocate Air Release | Each |

(02/06/03)R&M

SECTION 627

WATER SYSTEM

Special Provisions

6.27-1.01 DESCRIPTION. Add the following: For the purposes of these Special Provisions "Wasilla" shall mean the City of Wasilla, Public Works Department at (907) 373-9095.  The water system is owned and operated by Wasilla.

In conjunction with working around and/or adjusting the water valves, the Contractor shall exercise due care. Prior to commencement of work, Wasilla will check and correct deficiencies which may exist in any valve or valve box. The Engineer and Contractor shall witness the condition and location of each valve or valve box. Failure to participate in the inspection by the Contractor will result in his forfeiting all rights to deny damages at a later date during the course of the work. Notice that the Contractor is ready for the above inspection shall be in writing to the City of Wasilla, 290 E. Herning Avenue, Wasilla, Alaska 99654-7030, Attention John Becker (phone (907) 373-9044) and shall be submitted giving at least 48 hours notice. The Contractor shall furnish a copy of the notice to the Engineer.

The work under this Section also includes all labor, materials, transportation, testing, flushing, disinfecting, maintenance, and service necessary to reset all existing irrigation components and vault affected by grading behind retaining wall 8 as shown in the plans.

The Contractor shall also provide water main as-built drawings in accordance with the conditions prescribed herein and obtain a Certificate to Operate from the Alaska Department of Environmental Conservation.

The Contractor is responsible for the verification of all-existing utilities and irrigation system components and securing necessary permits, payment of utility connection fees, or requesting locates of underground utility lines.

CONSTRUCTION REQUIREMENTS

627-3.01 GENERAL. Add the following:

Final Acceptance. Upon completion of all work involved, notify the Engineer in writing of completion and request a pre-final inspection of the project. This inspection will be performed in the presence of the Engineer, Wasilla, and the Contractor. Copies of a list of deficiencies, if any, indicated by this inspection will be furnished to the Contractor for remedial action. When all corrective action has been completed, the Contractor shall notify the Engineer, and an acceptance inspection will be performed.

627-3.03 FIRE HYDRANTS. Delete the fourth and fifth paragraph and substitute the following:

1.	All single pumper hydrants shall be furnished with 152 mm (6”) ANSI Class 125 standard mechanical-joint end with two cast-on lugs for tie backs. All double pumper hydrants shall be furnished with a 203 mm (8”) ANSI Class 125 standard mechanical-joint end with two cast on lugs for ties backs. Restrained joints may be used in lieu of tie back rod and shackle assemblies.

2.	All connections shall be mechanical-joint unless otherwise indicated in the Contract Documents.

3.	Unless otherwise required by the Contract Documents, all hydrants shall be furnished with a barrel length that will allow a minimum of 3 m (10’) of bury. Hydrant barrels, in areas requiring a depth of bury greater than 3 m shall be adjusted to grade as directed by the Engineer.

4.	The main valves shall be of the compression type, where water pressure holds the main valve closed permitting easy maintenance or repair of the entire barrel assembly from above the ground without the need of a water shut-off.

5.	All fire hydrants shall be furnished with a breakaway flange which allows both barrel and stem to break clean upon impact from any angle. Traffic flange design must be such that repair and replacement can be accomplished above ground.

6.	Painting and coating shall be in accordance with cited AWWA Specifications. After installation, the hydrant section from the traffic flange to the top of the operating nut shall be painted “Fire Red”.

7.	All hydrants shall be non-draining where installed in or near groundwater, otherwise all hydrants shall be self-draining with drain plugs removed.

8.	Hydrant barrel extensions shall be by the same manufacturer as the hydrants, and shall include new barrel extensions, extension rods, gaskets, bolting materials, and all required incidentals. For extensions up to 1.2 m (4’), the extension sections shall be furnished and installed in the precise length needed, one extension section per hydrant. For extensions greater than 1.2 m (4’), two extension sections shall be stacked, provided that the extension rod in the lower extension section is fitted with a centering mechanism acceptable to the engineer, to limit operating rod deflection.

9.	The leg thaw pipe shall be installed on the left hand side of the hydrant and fabricated into an “L” shape. The vertical portion shall be 150 mm (6”) to the side and 75 mm (3”) to the rear of the traffic flange extending 380 mm (15”) above finished grade with no perforations. The horizontal portion shall be 120 mm (6”) above and 150 mm (6”) to the side of the hydrant leg and shall be perforated with 3 mm (1/8”) diameter holes, spaced 300 mm (1’) apart facing the center of the hydrant leg.

10.	The barrel thaw pipe shall be installed on the right hand side of the hydrant from 150 mm (6”) above the hydrant leg and extending 380 mm (15”) above finished grade, and installed vertically 75 mm (3”) to the rear and 150 mm (6”) to the side of the traffic flange. The barrel thaw pipe shall be perforated with 3 mm (1/8”) diameter holes space 300 mm (1’) apart starting 450 mm (18”) below finished grade and facing the hydrant barrel. A 6 mm (1/4”) machine screw shall be installed 300 mm (1”) below the cap to provide identification of the barrel thaw pipe.

11.	All leg joints shall be restrained joints.

12.	The Contractor shall install guard posts at each hydrant installation. If, in the opinion of the Engineer, the guard posts are not to be installed, they shall be delivered to the City of Wasilla storage yard.

13.	Hydrants installed but not available for use shall be covered with burlap and securely tied.

14.	In lieu of valve box markers for the auxiliary gate valves, the Contractor shall paint in 50 mm (2”) black lettered stencils, the direction and distances to the nearest 30 mm (0.1’) the distance to the valve box on the face of the fire hydrant directly below the bonnet flange.

627-3.04 VALVES.  Schedule a field inspection with Wasilla and the Engineer to witness and document the condition of the existing valves and valve boxes prior to beginning work. The Contractor shall provide Wasilla 48 hours advance written notice of the scheduled field inspection and provide the Engineer with a copy.

Wasilla shall locate and inspect the existing valves and valve boxes to insure they are in working order. Cleaning or repair to the valve or valve box prior to beginning work will be accomplished by Wasilla at no cost to the Contractor.

Failure of the Contractor to schedule and participate in the inspection of valves and valve boxes shall result in the Contractor forfeiting all rights to claim that the valves were damaged prior to his beginning work.

If Wasilla finds a valve or valve box damaged or otherwise rendered inoperable at any time after the inspection as described above, the Contractor shall repair the damage at his expense.

Add the following Subsections:

627-3.08 IRRIGATION SYSTEM.  A pressure and leakage test will be conducted in the presence of the Engineer following a 24-hour curing period for all heat weld joints. The irrigation lines shall be tested under hydrostatic pressure to eight bars. Pressure shall be sustained in the lines for not less than four hours. If leaks develop, the joints shall be replaced and the test repeated until the entire system is proven water tight. Tests shall be observed and approved by the Engineer prior to completion of backfill.

627-3.09 TEMPORARY WATER SERVICE. The Contractor shall maintain potable water service during the entire period of construction. The methods to be employed in maintaining temporary water service is left to the Contractor. To assure uninterrupted water service, the Contractor shall submit a plan for temporary water service for the Engineer=s approval prior to beginning work on such system. The plan will incorporate a temporary bypass to provide uninterrupted water service except when allowed for connecting the new water system to the existing water system. It is anticipated the plan will include a temporary water line to bypass all or a portion of the construction area.  The temporary bypass can utilize live taps to connect to the existing water line.  The temporary bypass shall be removed when no longer needed.

During construction of the water facilities, water service may be interrupted for up to 2 hours at a time between the hours of 10:00 pm and 5:00 am to facilitate connecting the new system to the existing system. Notice of water service disruption shall be scheduled with the City of Wasilla, John Becker (phone (907) 373-9044) with a copy to the Engineer at least 48 hours prior to intended disruption of service

The plan must include the following:

1	Identify the type of temporary system, the method of construction and the maintenance and operation procedures to be used.

2	The plan must identify:

- Method of coordinating and scheduling shut offs with the City of Wasilla.

- Method of providing 24 hour notice to affected property owners of temporary shut offs.

- Method of disinfecting the temporary lines used for potable water supply.

3.	Submit, with the plan, any agreements between the Contractor and property owners regarding access and use of private property.

4.	The name and Telephone number of a contact person and at least one alternate who shall be available on a 24 hour basis for repair and/or maintenance of the temporary water by-pass system.

In the event that the Contractor fails to repair and/or maintain the temporary system and the Engineer or Wasilla is required to perform repairs and/or maintenance, all costs associated with said repairs and/or maintenance shall be deducted from the contract amount.

627-3.10 AS-BUILT PLANS AND WORKING DRAWINGS. A complete and accurately dimensioned record of all deviations, deletions, additions and alterations from and to the contract plans and specifications shall be maintained by the Contractor to indicate the work as it is actually installed. This as-built information shall be recorded on mylar drawings of the Water and Sewer Plans provided by the Engineer, and on a record set of the plans and specifications with supplementary notes on affected sheets or pages. Conduit and appurtenances shall be referenced by stationing, showing design line and grade, and as-built line and grade. The record set of plans and specifications shall be kept by the Contractor showing record conditions of all conduit and appurtenances installed. Submit a copy of the as-built Water and Sewer Plans to DEC with the completed Construction and Operation Certificate for Public Water Systems requesting Approval to Operate. Contractor shall obtain, from DEC, and furnish the original signed Approval to Operate and as-built mylars to the City of Wasilla with a copy to the Engineer.

When this water system is completed, the Contractor shall certify the accuracy of the construction survey notes and of each revision on the plans and in the specifications by written signature endorsement, and deliver them to the Engineer prior to final acceptance by the owning Utility.

627-4.01 METHOD OF MEASUREMENT. Delete Item 5, Gate Valves and Valve Boxes. and replace with the following:

5.	Gate Valves. By the number of valves adjusted or installed.

Add the following:

6.	The irrigation system will not be measured for payment. Acceptance by the Engineer of the completed and tested system shall constitute measurement of the system.

- Temporary water system will not be measured for payment.

- Adjustment of Valve Box. Measurement will be the number of valve boxes adjusted for final grade only.

627-5.1 BASIS OF PAYMENT. Add the following: Payment for Item 627(24), Irrigation System, shall be based on the Lump Sum Contract price. Payment for this item will include all labor, equipment, and material to reset the existing irrigation system and vault including excavation, backfill, water service connection, and all work to provide any irrigation service connections. Individual fittings and other minor components are incidental to the item 624(24) Irrigation System and will not be paid for separately.

Temporary water system will not be paid for separately but will be subsidiary to Item 627(1-300), 300 mm Ductile Iron Water Conduit, Class 52.

Add the following pay items:

| Pay Item | Pay Unit |
| --- | --- |
| 627(17-600) Install 600-mm Pipe Casing | Meter |
| 627(24) Irrigation System | Lump Sum |

SECTION 635

INSULATION BOARD

635-4.01 METHOD OF MEASUREMENT. Delete this Subsection in its entirety and substitute the following: By the cubic meter of insulation board, in-place based on the nominal dimensions of the materials, or by the square meter of insulation board in its final position, including transitions, regardless of thickness, complete and accepted.

Sand blanket material is subsidiary.

635-5.01 BASIS OF PAYMENT. Add the following pay item:

| Pay Item | Pay Unit |
| --- | --- |
| 635(2) Insulation Board | Square Meter |

(8/23/00)R57M98

Delete this Section in its entirety and substitute the following:

SECTION 639

DRIVEWAYS

Special Provisions

639-1.01 DESCRIPTION. Construct approaches, residential or commercial driveways at the locations shown in the Plans. This work includes relocating or adjusting existing private improvements impacted by proposed approach improvements.

639-2.01 MATERIALS. Use materials that conform to the standards for the main roadway.

639-3.01 CONSTRUCTION. Construct driveways and approaches to the dimensions shown on the Plans.

639-4.01 METHOD OF MEASUREMENT. By the number of approaches constructed as shown on the Plans or as directed. Pavement removal, excavation, and relocating or adjusting existing private improvements as required beyond the limits of the adjacent mainline will be subsidiary.

639-5.01 BASIS OF PAYMENT. At the contract unit price shown in the bid schedule. The contract unit price for driveways and approaches shall be full compensation for furnishing equipment and labor necessary to complete the work as specified.

Materials required to construct driveways and approaches will be paid for separately under the respective items listed in the bid schedule.

Native material meeting the minimum requirements of Selected Material, Type C will not be paid for directly, but will be considered subsidiary to 639(6) Approach.

(05/09/02)R58M98(2/16/03)R&M

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 639(6) Approach | Each |

SECTION 640

MOBILIZATION AND DEMOBILIZATION

Standard Modification

640-2.01 METHOD OF MEASUREMENT. Delete Items 3. and 4. and substitute the following:

3.	The remaining balance of the amount bid for this item will be paid after all submittals required under the Contract are received and approved.

(06/25/99)M77

Delete Section 641 in its entirety and substitute the following:

SECTION 641

EROSION, SEDIMENT, AND POLLUTION CONTROL

641-1.01 DESCRIPTION. Plan, provide, inspect, and maintain control of erosion, sedimentation, water pollution, and hazardous materials contamination.

641-1.02 DEFINITIONS.

1.	BMP (Best Management Practices). A wide range of project management practices, schedules, activities, or prohibition of practices, that when used alone or in combination, prevent or reduce erosion, sedimentation, and/or pollution of adjacent water bodies and wetlands. BMPs include temporary or permanent structural and non-structural devices and practices. The Department describes common BMPs in its Alaska Storm Water Pollution Prevention Plan Guide.

2.	ESCP (Erosion and Sediment Control Plan). The general plan for control of project-related erosion and sedimentation. The ESCP normally consists of a general narrative and a map or site plan. It is developed by the Department and included in the project plans and specifications. It serves as a resource for bid estimation and a framework from which the Contractor develops the project SWPPP.

3.	Final Stabilization. A point in time when all ground-disturbing activities are complete and permanent erosion and sediment controls are established and functional. The stabilized site is protected from erosive forces of raindrop impact and water flow. Typically, all unpaved areas except graveled shoulders, crushed aggregate base course, or other areas not covered by permanent structures are protected by either a uniform blanket of perennial vegetation (at least 70 percent cover density) or equivalent permanent stabilization measures such as riprap, gabions, or geotextiles.

4.	HMCP (Hazardous Material Control Plan). The Contractor's detailed plan for prevention of pollution that stems from the use, containment, cleanup, and disposal of hazardous material, including petroleum products generated by construction activities and equipment.

5.	NOI. Notice of Intent to commence ground-disturbing activities under the NPDES General Permit. Use EPA Form 3510-9.

6.	NOT. Notice of Termination of coverage under the NPDES General Permit. Use EPA Form 3510-13.

7.	NPDES General Permit. The Storm Water General Permit for Large and Small Construction Activities is issued by the Environmental Protection Agency (EPA) under the National Pollutant Discharge Elimination System (NPDES). It requires an approved SWPPP and NOIs listed as active status by the EPA, prior to ground-disturbing activities for the project.

8.	SPCC Plan (Spill Prevention, Control and Countermeasure). The Contractor’s detailed plan for oil spill prevention and control measures, that meets the requirements of 40 CFR 112.

9.	SWPPP (Storm Water Pollution Prevention Plan). The Contractor’s plan for erosion and sediment control and storm water management under the NPDES General Permit. The SWPPP is developed by the Contractor and describes site-specific controls and management of issues identified for the project. The approved SWPPP replaces the ESCP.

641-1.03 SUBMITTALS. For all projects that disturb one acre (0.4 hectares) or more of ground submit three copies each of your SWPPP and HMCP to the Engineer for approval. Submit one copy of your SPCC Plan (if required under Subsection 641-2.03) to the Engineer. Sign all submittals. Deliver these documents to the Engineer no less than five calendar days prior to the preconstruction conference.

The Department will review the SWPPP and HMCP submittals within 14 calendar days. Submittals will be returned to you as either requiring modification, or as approved by the Department. The approved SWPPP must contain a certification, and be signed by you according to the Standard Permit Conditions of the NPDES General Permit, Part 8, Appendix G. You must receive an approved SWPPP before you submit your NOI.

For projects that disturb five acres or more of ground, submit a copy of your approved and signed SWPPP, with the required permit fee to the Alaska Department of Environmental Conservation (ADEC) Storm Water Coordinator. Transmit proof of this submission to the Engineer.

Submit your signed NOI to EPA (electronic submission may be available). Submit copies of your signed NOI to the Engineer and to ADEC. Transmit proof of your ADEC submission to the Engineer. The Department will transmit the Department’s NOI to the EPA. Allow adequate time for state and federal processing, prior to commencing ground-disturbing activities.

The active status NOIs, approved SWPPP, approved HMCP, and submitted SPCC Plan (when required) become the basis of the work required for the project’s erosion, sediment, and pollution control.

When the Project is stabilized, as determined by the Engineer, submit your signed NOT to EPA with a copy to the Engineer. The Department will transmit the Department’s NOT to the EPA.

641-2.01 STORM WATER POLLUTION PREVENTION PLAN (SWPPP) REQUIREMENTS. For projects that disturb one acre or more of ground, you must prepare a Storm Water Pollution Prevention Plan. Use the Department's ESCP to develop a SWPPP based on your scheduling, equipment, and use of alternative BMPs. Follow the format presented in the Alaska Storm Water Pollution Prevention Plan Guide. The plan must consider first preventing erosion, then minimizing erosion, and finally trapping sediment before it enters waterways.

The plan must address your site-specific controls and management plan for the construction site as well as for all material sites, waste disposal sites, haul roads, and other affected areas, public or private. The plan must also incorporate all the requirements of the project permits.

Specify the line of authority and designate your field representative for implementing SWPPP compliance. Designate one representative for each subcontractor who performs earth disturbing activities or who install and maintain erosion and sediment control measures.

641-2.02 HAZARDOUS MATERIAL CONTROL PLAN (HMCP) REQUIREMENTS. Prepare a HMCP for the handling, storage, cleanup, and disposal of petroleum products and other hazardous substances. (See 40 CFR 117 and 302 for listing of hazardous materials.)

List and give the location of all hazardous materials, including office materials, to be used and/or stored on site, and their estimated quantities. Detail your plan for storing these materials as well as disposing of waste petroleum products and other hazardous materials generated by the project.

Identify the locations where storage, fueling and maintenance activities will take place, describe the maintenance activities, and list all controls to prevent the accidental spillage of oil, petroleum products and other hazardous materials.

Detail your procedures for containment and cleanup of hazardous substances, including a list of the types and quantities of equipment and materials available on site to be used.

Detail your plan for the prevention, containment, cleanup, and disposal of soil and water contaminated by accidental spills. Detail your plan for dealing with unexpected contaminated soil and water encountered during construction.

Specify the line of authority and designate your field representative for spill response and one representative for each subcontractor.

641-2.03 SPILL PREVENTION, CONTROL AND COUNTERMEASURE (SPCC) PLAN REQUIREMENTS. Prepare and implement a SPCC Plan that is certified by a licensed Professional Engineer, when required by 40 CFR 112, including:

- When oil spills may reach navigable waters; and

- Your total above ground oil storage capacity is greater than 1,320 gallons.

Comply with 40 CFR 112 and address the following issues in your SPCC Plan:

- Operating procedures that prevent oil spills;

- Control measures installed to prevent a spill from reaching navigable waters; and

- Countermeasures to contain, clean up, and mitigate the effects of an oil spill.

641-3.01 CONSTRUCTION REQUIREMENTS. Do not begin ground-disturbing work until after the EPA has acknowledged receipt of your NOI and the Department’s NOI, and has listed them as active status. The EPA will post the status of the NOIs on the EPA website.

Post at the construction site:

1.	NPDES Permit number, if available, and a copy of the NOI,

2.	Name and phone number of your local contact person, and

3.	Location of a SWPPP available for viewing by the public.

Comply with all requirements of the NPDES General Permit, implement all temporary and permanent erosion and sediment control measures identified in the SWPPP, and ensure that the SWPPP remains current. Maintain all temporary and permanent erosion and sediment control measures in effective operating condition

Comply with all requirements of the approved HMCP, the submitted SPCC Plan, and all state and federal regulations that pertain to the handling, storage, cleanup, and disposal of petroleum products or other hazardous substances. Contain, clean up, and dispose of all discharges of petroleum products and/or other materials hazardous to the land, air, water, and organic life forms. Perform all fueling operations in a safe and environmentally responsible manner. Comply with the requirements of 18 AAC 75 and AS 46, Oil and Hazardous Substances Pollution Control. Report oil spills as required by federal, state and local law, and as described in your SPCC Plan.

Perform inspections and prepare inspection reports in compliance with the project SWPPP and the NPDES General Permit.

1.	Joint Inspections. Prior to start of construction, conduct a joint on-site inspection with the Engineer and the Contractor’s field representative to discuss the implementation of the SWPPP.

Conduct the following additional joint on-site inspections with the Engineer:

a.	During construction, inspect the following at least once every seven days and within 24 hours of the end of a storm exceeding 1/2 inch in 24 hours (as recorded at or near the project site):

(1)	Disturbed areas that have not been finally stabilized

(2)	Areas used for storage of erodible materials that are exposed to precipitation

(3)	Sediment and erosion control measures

(4)	Locations where vehicles enter or exit the site

b.	Prior to winter shutdown, to ensure that the site has been adequately stabilized and devices are functional.

c.	At project completion, to ensure final stabilization of the project.

2.	Winter Inspections. During winter shutdown, conduct inspections at least once every month and within 24 hours of a storm resulting in rainfall of 1/2 inch or greater. The Engineer may waive monthly inspection requirements until one month before thawing conditions are expected to result in a discharge, if all of the following requirements are met:

a.	Below-freezing conditions are anticipated to continue for more than one month.

b.	Land disturbance activities have been suspended.

c.	The beginning and ending dates of the waiver period are documented in the SWPPP.

3.	Inspection Reports. Prepare and submit, within three working days of each inspection, a report on state Form 25D-100, with the following information:

a.	A summary of the scope of the inspection

b.	Name(s) of personnel making the inspection

c.	The date of the inspection

d.	Observations relating to the implementation of the SWPPP

e.	Any actions taken as the result of the inspection

f.	Incidents of non-compliance

Where a report does not identify any incidents of non-compliance, certify that the facility is in compliance with the SWPPP and NPDES General Permit. You and the Engineer will sign the report according to the Standard Permit Conditions of the NPDES General Permit, Part 8, Appendix G. Include all reports as an appendix to the SWPPP.

Retain copies of the SWPPP, and all other records required by the NPDES General Permit, for at least three years from the date of final stabilization.

If unanticipated or emergency conditions threaten water quality, take immediate suitable action to preclude erosion and pollution.

Submit amendments to the SWPPP to correct problems identified as a result of any:

1.	Storm or other circumstance that threatens water quality, and

2.	Inspection that identifies existing or potential problems.

Submit SWPPP amendments to the Engineer within seven days following the storm or inspection. Detail additional emergency measures required and taken, to include additional or modified measures. If modifications to existing measures are necessary, complete implementation within seven days.

Stabilize all areas disturbed after the seeding deadline within seven days of the temporary or permanent cessation of ground-disturbing activities.

Submit a signed NOT to EPA and the Engineer:

1.	When the project site (including all material sources, disposal sites, etc.) has been finally stabilized and all storm water discharges from construction activities authorized by this permit have ceased, or

2.	When the construction activity operator (as defined in the NPDES General Permit) has changed.

If you fail to coordinate temporary or permanent stabilization measures with the earthwork operations in a manner to effectively control erosion and prevent water pollution, the Engineer may suspend your earthwork operations and withhold monies due on current estimates for such earthwork items until all aspects of the work are coordinated in a satisfactory manner.

If you fail to:

- Pursue work required by the approved SWPPP,

- Respond to inspection recommendations and/or deficiencies in the SWPPP, or

- Implement erosion and sedimentation controls identified by the Engineer, the Engineer may, after giving you written notice, proceed to perform such work and deduct the cost thereof, including project engineering costs, from your progress payments.

641-4.01 METHOD OF MEASUREMENT. Item 641(1) will not be measured for payment.

Item 641(2) will be measured as specified in the Contract or Directive authorizing the work.

Item 641(5) Silt Fence will be measured by the meter along the top of installed fence.

Item 641(8) Straw Bale will be measured by the each bale, installed at locations, as shown on the Plans and maintained during the project period.

Items 641(11) Temporary Check Dam and 641(12) Slope Drain will be measured by the each installation.

Item 641(13) Temporary PAM Soil Stabilizer will be measured by the kiloliter of solution applied as directed by the Engineer.

641-5.01 BASIS OF PAYMENT.

- Item 641(1) Erosion and Pollution Control Administration. At the Contract lump sum price for administration of all work under this Section. Includes, but is not limited to, Plan preparation, Plan amendments and updates, inspections, monitoring, reporting and record keeping.

- Item 641(2) Temporary Erosion and Pollution Control. At the prices specified in the Contract to install and maintain all temporary erosion, sedimentation, and pollution control measures.

Payment for Item 641(5) Silt Fence will be full compensation for all labor, equipment, and materials required to furnish, install, maintain, and remove the silt fence in accordance with these specifications.

Payment for Item 641(11) Temporary Check Dam will be full compensation for all labor, equipment, and materials required to furnish, install, maintain, and raze temporary check dams to the lines and grades shown on the Plans.

Payment for Items 641(8) Straw Bale and 641(12) Slope Drain will be full compensation for all labor, equipment, and materials required to furnish, install, maintain, and remove the straw bale or slope drain in accordance with these specifications. Relocation of a straw bale or slope drain in the immediate vicinity to obtain better sediment control will be considered subsidiary to the initial placement of the straw bale or slope drain.

Payment for Item 641(13) Temporary PAM Soil Stabilizer will be full compensation for all labor, equipment, and materials required to apply a solution of PAM soil stabilizer to the surface in accordance with these specifications.

Temporary erosion and pollution control measures that are required at Contractor-furnished sites are subsidiary.

Perform temporary erosion and pollution control measures that are required due to your negligence, carelessness, or failure to install permanent controls as a part of the work as scheduled or ordered by the Engineer, or for your convenience, at your own expense.

Permanent erosion and pollution control measures will be measured and paid for under other Contract items, when shown on the Bid Schedule.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 641(1) Erosion and Pollution Control Administration | Lump Sum |
| 641(2) Temporary Erosion and Pollution Control | Contingent Sum |
| 641(5) Silt Fence | Meter |
| 641(8) Straw Bale | Each |
| 641(11) Temporary Check Dam | Each |
| 641(12) Slope Drain | Each |
| 641(13) Temporary PAM Soil Stabilizer | Kiloliter |

(08/15/01)M78(02/11/04)R&M

SECTION 642

CONSTRUCTION SURVEYING AND MONUMENTS

Special Provisions

642-3.01 GENERAL.  Delete item number 10 after the heading “Perform the following:” and substitute the following:

- Necessary cross sections at retaining wall locations.  Cross section data shall be taken at 7.5 meter intervals and given to the Engineer 10 days prior to ordering retaining wall materials.  At that time, the Engineer will verify the plan quantity and make any necessary adjustments to the wall size, design or configuration.

(5/8/00)R255M98

642-3.01 GENERAL.  Add the following items after Item 10 on page 355:

11.	Measure and document the actual intersection sight distance triangles at all public intersections.  List the actual sight distance available up to 200 m.  Note locations with greater than 200 m of sight distance as “200+”.  Measure sight distance triangles as shown in Figure 1190-1 of the Highway Preconstruction Manual by setting up an instrument at the driver’s eye location.   Certify and record the results on standard “letter” sized paper and provide it to the Engineer at least 2 weeks prior to submitting shop drawings for permanent signing.  Provide an additional copy to the Regional Traffic Engineer.  (05/14/03)R269M98

12.	Measure and document all passing sight distance for the posted speed limit on the roadway.  Measure along the roadway centerline, using a 1,067 mm object height to 1,067 mm target height, at every 160 m minimum.  Obtain the required passing sight distance value from the Engineer, as listed in Figure 1120-1 of the Highway Preconstruction Manual.   Provide a list of each station result in each direction.  Note locations with greater than 750 m of passing sight distance as “750+”.   Certify and record the out final pavement markings.  Provide an additional copy to the Regional Traffic Engineer.results on standard “letter” size paper and provide it to the Engineer at least 2 weeks prior to laying out final pavement markings. Provide an additional copy to the Regional Traffic Engineer.

- All other surveying and staking necessary to complete the project.

Prior to any work on the project, stake and reference the construction centerline. Reference the existing centerline at 25 meter intervals on tangents, and 12.5 meter intervals on curves, super elevations, transitions and cross-slopes. The reference stake shall be a minimum of 25 mm x 50 mm by 0.6 meters and be offset 1.2 to 2.4 m from the shoulder on the right side of the roadway.  They shall show the offset distance to centerline and the station from the beginning of the project.  Ensure that the stakes are visible from the roadway by clearing as necessary.

Install a reference sign every 150 meters. These reference signs shall meet the following requirements:

1.	mounted a minimum of 1.5 meters above the shoulder,

2.	located a minimum of 3 meters from the edge of shoulder,

3.	marked with the station from the beginning of the project, in 125 mm high black lettering on an orange background.

Provide centerline and shoulder profiles extending 90 meters beyond the limits of the pavement removal and dig-out areas. The Engineer may require such adjustments to the planned roadway grades. This shall not be considered extra work. Provide this profile information to the Engineer (electronically in Excel format) immediately upon its completion, along with checked computations on all level loops, but in no case later than 7 calendar days before slope staking or blue topping. (08/07/03)R61M98

642-3.03 MONUMENTS.  Delete the second sentence of the first paragraph and substitute the following:  Reference all property markers/corners, monuments or accessories which may be disturbed or buried during construction.  Prepare and record Monument Record Forms in the appropriate Recorder’s Office prior to disturbing monuments.  Monument Record Forms may be obtained from the Engineer.  Reestablish monuments in their original position prior to the completion of the Project.  Then, prepare and file a Monument Record Form for each reestablished monument. (05/14/03)R269M98

642-4.01 METHOD OF MEASUREMENT. Add the following:  Clearing required for stake visibility shall not be measured.

(08/07/03)R61M98

642-5.01 BASIS OF PAYMENT. Add the following after the first paragraph: You will not receive any payment for Item 642(9), Reference Existing Monument until the Monument Record Forms are recorded in the local Recorder’s Office. (05/14/03)R269M98

Clearing required for stake visibility is subsidiary to Item 642(1) and no separate payment shall be made.

Measuring and documenting passing sight distance shall be subsidiary to Item 642(1) and no separate payment shall be made.

(08/07/03)R61M98

SECTION 643

TRAFFIC MAINTENANCE

Standard Modification

643-1.03 TRAFFIC CONTROL PLAN.  Replace the last paragraph with the following: You may request a waiver of regulation 17 AAC 25 regarding oversize and overweight vehicle movements within this project in writing.  If the waiver is approved, all movements of oversize and overweight vehicles in or near traffic within the project limits will be done in accordance with the provisions of an approved Traffic Control Plan. Maintain a minimum 3.6 meter lateral separation between the non street legal vehicles and the motoring public.  The Traffic Control plan shall specify the traffic control devices required for these operations.  (07/02/03)R222M98

Standard Modification

643–1.04 WORKSITE TRAFFIC SUPERVISOR.  Item 1. Qualifications, delete the last paragraph and replace it with the following:  Renew certification no less frequently than every 4 years, and be able to show their certification anytime they are on the project.

Delete Item 2.b. and replace it with the following:

b.	Physically inspect the condition and position of all traffic control devices used on the project at least once each day and once each night.  Ensure that traffic control devices work properly, are clean and visible, and conform to the approved TCP.  Complete and sign a detailed written report of each inspection on the form provided by the Engineer within 24 hours.

Delete item 2.h. and replace it with the following:

h.	Certify that all flaggers are certified as required by Subsection 643-3.04.4.  Submit a copy of all flagger certifications to the Engineer.

(07/03/03)M108

643-2.01 MATERIALS. Delete this Subsection in its entirety and substitute the following: Provide traffic control devices conforming to the following requirements:

1.	Signs. Use signs, including sign supports, that conform to Section 615, the ATM and ASDS.

a.	Construction Signs: Use regulatory, guide, or construction warning signs designated in the ASDS.

b.	Permanent Construction Signs: As designated on the Plans or on an approved TCP.

c.	Special Construction Signs: All other signs are Special Construction Signs. Clearly and neatly mark the size of each sign on the back in 75-mm black numerals.

2.	Portable Sign Supports. Use wind-resistant sign supports with no external ballasting. Use sign supports that can vertically support a 1.2 m X 1.2 m traffic control sign at the height above the adjacent roadway surface required by the ATM.

3.	Barricades and Vertical Panels. Use barricades and vertical panel supports that conform to the ATM. Use Type III Barricades at least 2.4 m long. Use reflective sheeting that meets AASHTO M 268 Type II or III.

4.	Portable Concrete Barriers. Use portable concrete barriers that conform to the Plans. For each direction of traffic, equip barriers with at least two side-mounted retroreflective reflectors or a continuous longitudinal stripe of preformed retroreflective pavement marking tape mounted 150 mm below the top of each barrier section. Use yellow reflectors or tape if you use barriers at centerline. Use white reflectors or tape if you use barriers on the roadway shoulder.

5.	Warning Lights. Use Type A (low intensity flashing), Type B (high intensity flashing) or Type C (steady burn) warning lights that conform to the ATM.

6.	Drums. Use plastic drums that conform to the requirements of the ATM. Use reflective sheeting that meets AASHTO M 268 Type II or III.

7.	Traffic Cones and Tubular Markers. Use reflectorized traffic cones and tubular markers that conform to the requirements of the ATM. Use traffic cones and tubular markers at least 710 mm high. Use reflective sheeting that meets AASHTO M 268 Type II or III.

8.	Interim Pavement Markings. Apply markings according to Section 670 and the manufacturer's recommendations. Use either:

a.	Paint conforming to Subsection 708-2.03 with glass beads conforming to Subsection 712-2.08,

b.	Preformed marking tape (removable or non-removable) conforming to Subsection 712-2.14, or

c.	Temporary raised pavement markers conforming to Subsection 712-2.15 or 712-2.16, as appropriate.

9.	High-Level Warning Devices. Use high-level warning devices that conform to the ATM.

10.	Temporary Crash Cushions. Use approved temporary crash cushions conforming to the ATM. Use reflective sheeting that meets AASHTO M 268 Type II or III. Do not use permanent crash cushions as temporary crash cushions. Use sand or water filled crash cushions only when the forecasted temperature during their use is above 5 oC.

11.	Sequential Arrow Panels. Use Type A (610 X 1220 mm), Type B (762 X 1524 mm) or Type C (1220 X 2438 mm) panels that conform to the ATM.

12.	Portable Changeable Message Board Signs. Use truck or trailer mounted portable changeable message board signs with a self contained power supply for the sign and with the following features:

- Message sign panel large enough to display 3 lines of 229 mm high characters.

- Eight character display per message line.

- Fully programmable message module.

- The capacity to create, preview, and display new messages and message sequences.

- A waterproof, lockable cover for the controller keyboard.

- An operator’s manual, a service manual, and a wiring diagram.

- Quick release attachments on the display panel cover.

- Variable flash and sequence rates.

- Manual and automatic dimming capabilities on lamp bulb matrix models.

- Locate the bottom of the sign panel at least 2.1 m above the pavement.

- Operate with a battery pack a minimum of 2 hours under full load.

13.	Plastic Safety Fence. Use 1.2-m high construction orange fence manufactured by one of the following companies, or an approved equal:

a.	“Safety Fence” by Services and Materials Company, Inc., 2200 South “J” Street, Elwood, Indiana, 46036. Phone (800) 428-8185.

b.	“Flexible Safety Fencing” by Carsonite, 1301 Hot Springs Road, Carson City, Nevada, 89706. Phone (800) 648-7974.

c.	“Warning Barrier Fence” by Plastic Safety Systems, Inc. P.O. Box 20140, Cleveland, Ohio, 44120. Phone (800) 662-6338.

14.	Temporary Sidewalk Surfacing. Provide temporary sidewalk surfacing as required by an approved TCP and the following:

a.	Use plywood at least 12 mm thick for areas continuously supported by subgrade. Use plywood at least 25 mm thick for areas that are not continuously supported.

b.	Do not use unsupported 25-mm plywood longer than 750 mm.

c.	Use plywood with regular surfaces. Do not overlap plywood joints higher than 25 mm.

d.	Use a method that will withstand 40 km/h wind velocities to hold temporary surfacing in place.

Temporary Guardrail. Use temporary guardrail that meets Section 606, except that posts may require placement under special conditions, such as in frozen ground.

Flagger Paddles. Use flagger paddles with 600 mm wide by 600 mm high sign panels, 200 mm Series C lettering (see ASDS for definition of Series C), and otherwise conform to the ATM. Use reflective sheeting that meets AASHTO M 268 Type II or III. During night work use flagger paddles that meet the criteria of this paragraph, except use reflective sheeting that is “diamond grade” sheeting or approved equivalent. (09/29/00)M 91

Special Provisions

Add the following:

17.	Flexible Markers.  Refer to Subsection 606-2.01 Materials.

(07/02/03)R222M98

Standard Modifications

Add the following Subsection:

643-2.02 Crashworthiness. Submit documentation, by the method indicated, that the following devices comply with the requirements of National Cooperative Highway Research Program (NCHRP) Report 350 (Test Level 3) on the given schedule.

| Work Zone Traffic Control Device Compliance with NCHRP 350 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category | Devices | Compliance Required for New Devices* | Full Compliance Required** | Method of Documentation |
| 1 | Cones, candles, drums w/o attachments, delineators | 10/1/98 | 1/1/02 | Manufacturer's Certification for devices exceeding height and weight limits |
| 2 | Barricades, portable sign supports, drums w/lights, other devices weighing less than 45 kg but not included in category 1. | 10/1/00 | 1/1/04 | FHWA approval letter |
| 3 | Truck mounted attenuators and portable crash cushions. | 10/1/98 | 1/1/02 | FHWA approval letter |
|  | Portable concrete barriers | 10/1/02 | 1/1/08 | FHWA approval letter |

*	All devices purchased after this date.

**	All devices used after this date.

Category 1 devices that exceed the following weights and heights require certification that they meet the evaluation criteria of NCHRP Report 350, Test Level 3. This certification may be a one-page affidavit signed by the vendor. Documentation supporting the certification (crash tests and/or engineering analysis) must be kept on file by the certifying organization. No certification is required for devices within the weight and height limitations.

Device		Composition			Weight		Height

Cones		Rubber				9 kg		920 mm

Plastic				9 kg		1220 mm

Candles	Rubber				6 kg		920 mm

Plastic 				6 kg		920 mm

Drums		Hi Density Plastic		35 kg		920 mm

Lo Density Plastic		35 kg		920 mm

Delineators	Plastic or Fiberglass		N/A		1220 mm

Category 2 and the listed category 3 devices may be documented by submitting an official letter from the Federal Highway Administration stating that the device meets NCHRP 350 Test Level 3 requirements. FHWA acceptance letters for many devices may be found on the FHWA’s web site (http://www.fhwa.dot.gov/), under FHWA Programs, Safety, NCHRP Report 350 - Roadside Hardware.

Submit documentation of compliance to the Engineer before using devices on the project.

(09/29/00)M 91

Special Provisions

643-3.01 GENERAL CONSTRUCTION REQUIREMENTS. Add the following:  Whenever construction activity encroaches onto the safe route in a traffic control zone, station a flagger at the encroachment to assist pedestrians and bicyclists past the construction activity.  (07/02/03)R222M98

Standard Modification

643-3.02 ROADWAY CHARACTERISTICS DURING CONSTRUCTION.  In the fourth paragraph, third sentence, change “crossings” to “closures”.  (06/25/99)M 80

Special Provisions

Add the following:  Maintain Parks Highway traffic on asphalt paved surfaces. You may maintain Parks Highway traffic on a continuous gravel surface from “ML” Station 10+300 to “ML” Station 10+800 for a maximum of 14 calendar days during the project period. Traffic on other roadways may be maintained on gravel surfaces for a time period not to exceed 14 cumulative days per roadway segment. (01/19/04)R&M

Pave lanes next to the median first.  Pave lanes next to exit and entrance ramps last.  Place a temporary 12:1 sloped wedge of asphalt concrete against the abrupt pavement edge on lanes next to exit and entrance ramps.  Do not open the roadway to traffic until slope wedges are in place. (07/02/03)R222M98

Standard Modifications

643–3.04 TRAFFIC CONTROL DEVICES. Delete the sixth paragraph and replace it with the following:  Use only traffic control devices that meet the requirements of the “Acceptable” category in ATTSA “Quality Standards for Work Zone Traffic Control Devices”. (07/03/03)M108

Special Provisions

643-3.04 TRAFFIC CONTROL DEVICES.  Delete the first sentence of the eighth paragraph and substitute the following:  All items paid under this Section shall remain your property unless stated otherwise.

Add the following to Item 1. Embankments: Close all trenches and excavations at the end of each continuous work shift.

Add the following to Item 3. Fixed Objects.: Remove all obstructions greater than 100 mm above the nominal foreslope grade at the end of each continuous work shift (07/02/03)R222M98

Standard Modification

Under Item 4. Flagging, delete the sixth paragraph and replace it with the following: Renew flagger training and certification no less frequently than every 4 years.  Flaggers must be able to show their flagger certification anytime they are on the project.

(07/03/03)M108

Special Provisions

Delete item 6 and replace with the following:

- Street Sweeping.  Keep free of loose material all paved portions of the roadway and haul routes open to the public, including sections of roadway off the project where your operations have deposited loose material using a street sweeper that can collect materials rather than eject them to the shoulder of the road.

- Power Brooming.  Use a power broom capable of ejecting all loose material to the shoulder of the road.  Remove all loose material from all pave portions of the roadway and haul routes open to the public.  This includes sections of roadway off the project where the Contractor’s operations have deposited loose material.

Change items 7 and 8 to 8 and 9 respectively.

Add the following:

10.	ET-2000 LET.  The price listed in the Traffic Control Rate Schedule will be full compensation for the purchase, installation, maintenance during construction, removal and salvaging the ET-2000 LET unit(s).  Deliver the salvaged unit(s) to the nearest DOT&PF Maintenance and Operations’ district office, or as directed by the Engineer.

643-3.05 AUTHORITY OF THE ENGINEER. Add the following after the second sentence: In no case shall this time exceed 24 hours.

643-3.06 TRAFFIC PRICE ADJUSTMENT. Add the following: Traffic Price Adjustment will also apply to unacceptable driving conditions, such as severe bumps, “washboarding,” potholes, excessive dust or mud, or dirty or out of place traffic control devices. The Engineer will make the sole determination as to whether the roadway or pedestrian facility is acceptable for full unimpeded use by the public. Failure to maintain an acceptable infrastructure or traffic control plan will result in a price adjustment equal to 100 percent of the applicable rate shown in Table 643-1, for the time that the roadway or pedestrian facility is in an unacceptable condition.

Delete Table 643-1 and substitute the following:

TABLE 643-1

ADJUSTMENT RATES

| Published ADT | Dollars/Minute of Delay/Lane |
| --- | --- |
| 0-4,999 | $10 |
| 5,000-9,999 | $30 |
| 10,000+ | $40 |

643-3.08 CONSTRUCTION SEQUENCING. Delete the last sentence and substitute the following: Unless otherwise determined by the Engineer and on an approved Traffic Control Plan (TCP), do not restrict Parks Highway and the Palmer Wasilla Highway (north of Parks Highway) traffic during the times listed below.

1.	Friday from 1200 hours to Sunday 2300 hours

2.	Monday through Friday, 0530 hours to 0800 hours.

3.	Monday through Thursday, 1600 hours to 1830 hours.

4.	Around any holiday:

a.	If a holiday falls on Sunday, Monday or Tuesday, the above stipulations apply from 1200 on the Friday before the holiday to 0300 on the day after the holiday.

b.	If a holiday falls on Wednesday, the above stipulations apply from 1200 on the Tuesday before the holiday to 0300 on the Thursday after the holiday.

c.	If a holiday falls on Thursday, Friday or Saturday, the above stipulations apply from 1200 on the day before the holiday to 0300 on the Monday after the holiday.

Add the following: Unless otherwise determined by the Engineer and on an approved Traffic Control Plan (TCP), Seward Meridian Parkway may only be closed at night, from 2100 hours to 0500 hours, Sunday through Thursday.

Obtain the local school bus schedule and coordinate his work efforts to ensure the school buses are not delayed through the construction zone. This plan shall be submitted, as a TCP, to the Engineer for approval before the implementation of the school bus coordination plan. Make every effort not to delay school buses through the construction work zone. (08/28/03)R&M

643-3.09 INTERIM PAVEMENT MARKINGS. In the second paragraph, delete the words “or cover them with black removable preformed marking tape.”

Replace the first sentence in the last paragraph with the following: Apply final pavement markings according to Subsection 670-3.01 CONSTRUCTION REQUIREMENTS of these Special Provisions. (07/02/03)R222M98

Add the following subsections:

643-3.10 PUBLIC INFORMATIONAL PROGRAM. Provide a Public Information (PI) professional to accomplish the work outlined in this subsection. The PI person shall have a minimum of five (5) years demonstrated professional experience in performing similar informational campaigns involving multi-media, ie: television, radio, newspaper and public presentations. That person shall be responsible for aspects of this service including coordination; public interaction; preparing graphics; developing mailing lists; supplying updated information; and labor, equipment, postage, and materials to provide this service. Logos, reports, software, visual aids, graphics and work products developed for this Project shall become the property of the Department, and delivered to the Engineer at the end of the work. The PI professional's office shall be equipped with a facsimile machine.

This professional shall be responsible for the following tasks for the PI Program:

- Mail-outs. Design and distribute three informational mail-outs/flyers each construction season, which will be approved by the Engineer. The mail-outs shall contain most or the following:

a.	a brief description and map of the Project,

b.	the Contractor's anticipated construction schedule,

c.	a narrative of the possible delays to the traveling public through the Project,

d.	detailed traffic information such as intersection, lane and/or sidewalk closures, their corresponding detours, and their effective dates,

e.	locations of temporary bus stops,

f.	a description of possible impacts to abutting property accessing the Project,

g.	a listing of locations where current Project information may be obtained,

h.	date and times of Open House meeting as required by the Engineer,

i.	the Contractor's 24-hour message number and office telephone number, and

j.	the Engineer's Project office telephone number, e-mail address, and the web site address containing Project updates, schedules and general narrative information.

The last mail-out shall also contain a questionnaire to aid in preparing the final Report required under Item 5 below.

The mail-outs shall be sent to addresses within one city block on either side of the Project corridor, and shall be addressed to both the owner of record and the current tenant. It shall be distributed at the following times:

a.	two weeks before construction begins,

b.	at the approximate one-third point of construction season, and

c.	at the approximate two-thirds point of construction season.

2.	Weekly Notices. Write and submit weekly Public Information Notices that identify road closures, restrictions to traffic, and detours. Areas of potential traffic delay shall be emphasized and alternative routes noted. Coordinate this effort with the Engineer and the Department's NAVIGATOR Informational Program. Telephone numbers for further information, and the date and time for the next scheduled public open house meeting shall be provided. The Engineer will approve the Notices. Hand carry or fax the Notices to the local news broadcasting media, emergency services, public service organizations and the major retailers near the Project corridor.

Notices shall also be distributed to the following local officials and transportation organizations, including but not necessarily limited to:

Alaska Carriers Association

Alaska Trucking Association

Alaska State Troopers

Wasilla Police Department

Wasilla Fire Department

Matanuska-Susitna Borough School District

Local Emergency Medical Services

US Postal Service

The Notices shall be submitted at the following times:

a.	one week before to the beginning of construction,

b.	on Wednesday of each week during construction, and

c.	before major change or disruption to traffic or local access.

Additionally, the PI professional shall notify business and residents that front the Project or scheduled road closures or of driveway, curb or sidewalk reconstruction, or any other work affecting them. Property owners within the work segment shall receive the Notices a minimum of one week before beginning the work within their segment. Lastly, provide daily information to those media who do non-paid public service road reports or announcements, and/or "Eye-in-the-Sky" commuter road reporting.

3.	Public Open House Meetings. Prepare presentations for the Engineer's Open House Meetings, and for of each of the Community Councils that represent areas affected the this Project. The Community Council meetings attended shall be the last regularly scheduled meetings before beginning construction.  Presentation size graphics shall be used to help explain the Project to the general public.

The PI professional shall be the Contractor's representative and spokesman, able to speak for him. The PI professional shall be available to attend additional public meetings, up to five, as requested by the Engineer.

4.	Other Agency Coordination. Coordinate major detours and closures with emergency service providers (police, fire, and ambulance), Matanuska-Susitna Borough School District bus operators, and the postal service..

5.	Final Report. Before Project completion, submit a Report evaluating the Public Informational Program as detailed under this Subsection. The Report shall include an outline of the program, an analysis of the program's effectiveness, and suggestions on how to improve the program's effectiveness, economy, and usefulness on future projects.

6.	Project Progress Meetings. Attend scheduled or special Project meetings between the Contractor and the Engineer at the field office.

7.	Web Page. Generate an INTERNET web site for the Project containing Project updates, schedules and general narrative information. Add links to the Department's NAVIGATOR Home Page (www.dot.state.ak.us/navigator.html). Update the site weekly.  (5/1/03)R102M98

Standard Modification

643-3.11 HIGH VISIBILITY CLOTHING.  Ensure all workers within project limits wear an outer visible surface or layer that complies with the following requirements:

1.	Tops. Wear fluorescent vests, jackets, or coverall tops conforming to Class 2 at all times.  Class 2 requires at least 0.50 square meters of conforming fluorescent red-orange background material and at least 0.13 square meters of conforming retroreflective striping.  Retroreflective striping shall be fluorescent yellow-green combined-performance material.

The vest, jacket, or coverall top shall have two over the shoulder combined-performance retroreflective stripes, and at least one 360-degree horizontal combined-performance retroreflective stripe around the torso.  Jackets and coverall tops shall have two horizontal combined-performance retroreflective bands on each sleeve; one above and one below the elbow.

2.	Bottoms. Wear fluorescent red-orange Class E pants or coverall bottoms during nighttime work (sunset to sunrise).  Flaggers shall wear fluorescent red-orange Class E pants or Class E coverall bottoms at all times.  Furnish each garment with two 50-millimeter wide combined-performance fluorescent yellow-green retroreflective horizontal stripes on each leg.

3.	Raingear. Raingear tops and bottoms, when worn as the outer visible surface or layer, shall conform to the requirements listed above in (1) Tops and (2) Bottoms.

Exceptions.

When workers are inside an enclosed compartment of a vehicle, they are not required to wear high visibility clothing.

Standard.

All high visibility garments shall conform to the requirements of ANSI 107-1999 as well as this specification.  Class 2 and Class E garment requirements are defined in that standard.  All retroreflective material must also qualify as combined-performance fluorescent material.

Labeling.

All garments shall be labeled in conformance with Section 10.2 of ANSI-107-1999.

Condition.

Furnish and maintain all vests, jackets, coveralls, rain gear, hard hats, and other apparel in a neat, clean, and presentable condition.  (12/02/03)M109

Special Provisions

643-4.01 METHOD OF MEASUREMENT. Page 376, under item 6 “Interim Pavement Markings,” delete the second paragraph.

Add the following: No measurement required to provide a 24-hour toll free (1-800-###-####) "hotline road report" telephone with a prerecorded message, and weekly notices with daily updates.  All work will be subsidiary to Item 643(1) or 643(2), Traffic Maintenance. (07/02/03)R222M98

Providing mail-outs, notices, displays for open house and public meetings, and providing weekly notices with updates will not be measured for payment. (5/1/03)R102M98

Standard Modification

Payment for high visibility clothing for workers is subsidiary to Item 643(1). Traffic Maintenance.

(12/02/03)M109

Special Provisions

643-5.01 BASIS OF PAYMENT. Add the following:

The Engineer does not require a change order/directive for Item 643(25) Traffic Control.

TRAFFIC CONTROL RATE SCHEDULE

| Traffic Control Device | Pay Unit | Unit Rate |
| --- | --- | --- |
| Construction Signs | Each/Day | $ 5.00 |
| Special Construction Sign | Square Meter | $215.00 |
| Type II Barricade | Each/Day | $ 3.00 |
| Type III Barricade | Each/Day | $ 10.00 |
| Traffic Cone or Tubular Marker | Each/Day | $ 1.00 |
| Drums | Each/Day | $ 3.00 |
| Sequential Arrow Panel | Each/Day | $55.00 |
| Portable Concrete Barrier | Each | $60.00 |
| Temporary Crash Cushion / ET 2000 LET | Each | $3,000 |
| Pilot Car | Hour | $65.00 |
| Watering | Kiloliter | $5.25 |
| Street Sweeping | Hour | $150.00 |
| Power Broom | Hour | $75.00 |
| Plastic Safety Fence | Meter | $8.00 |
| Portable Changeable Message Board Sign | Calendar Day | $150.00 |
| Temporary Sidewalk Surfacing | Square Meter | $12.50 |
| Flexible Markers | Each | $50.00 |
| Removal of Pavement Markings | Meter | $4.00 |
| Temporary Guardrail | Meter | $70.00 |
| Interim Pavement Markings Painted Markings Removable Preformed Markings Temporary Raised Pavement Markings Word or Symbol Markings | Meter Meter Meter Each | $0.90 $2.13 $0.24 $40.00 |

Payment for Item 643(15), the Engineer will pay Flagging on a contingent sum basis at the rate of $36.00/hour. The Engineer does not require a change order/directive for the flagging pay item.

Payment for Item 643(31) will be made on a contingent sum basis for work completed and accepted by the Engineer.(5/1/03)R102M98

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 643(15) Flagging | Contingent Sum |
| 643(31) Public Informational Program | Lump Sum |

(5/1/03)R102M98 (09/10/02)R222M98

SECTION 644

SERVICES TO BE FURNISHED BY THE CONTRACTOR

Special Provisions

644-2.01 FIELD OFFICE. Delete this Subsection in its entirety and substitute the following: Furnish and maintain a suitable office for the Engineer, available for occupancy from two weeks prior to commencing work, through 30 days after issuance of the Notice of Project Completion as defined in Subsection 105-1.15. The following office requirements shall be met:

- A minimum of 100 square meters of floor area. The office area shall be divided so that it contains an office room separated by a closable door. The office room shall have a minimum of 15 square meters of floor area.

- A thermostatically controlled interior heating system with necessary fuel.

- Adequate electrical lighting and 120 volt, 60 hertz power, with a minimum of six electrical outlets.

- A minimum of nine square meters of window area and adequate ventilation.

- Adequate parking for a minimum of 16 vehicles, with one handicap parking space meeting the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

- Attached indoor plumbing with sanitary lavatory facilities and potable drinking water provided.

- Three telephone service lines available at the office location.

- If a part of the Contractor's building, it shall be completely partitioned off from the balance of the structure and provided with a separate outside door equipped with a lock.

- Located within 1,600 meters of the project.

- The Engineer's office shall be accessible by disabled individuals from the designated handicap parking space in accordance with the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

- Weekly janitorial service consisting of emptying trash receptacles, vacuuming office area and cleaning restrooms and counter areas.

- Provide one mobilization and one demobilization of the Engineer’s office equipment and furniture.

644-2.02 FIELD LABORATORY. Delete sub-Item g on Page 380 and substitute the following:

g.	1,900-liter capacity tank with a pressure pump or a commercial pressurized system.

Add the following:

7.	Supply 240 volt, 60 hertz power, a 45 kilogram propane bottle, and a 1,900 liter capacity water tank with a pressure pump or a commercial pressurized system for a State provided portable asphalt lab at a location designated by the Engineer.

8.	Provide one mobilization and one demobilization of the Engineer's laboratory equipment.

644-2.05 VEHICLES. Delete the second and third paragraphs and substitute the following: Furnish (1) full-size four-wheel drive 1-ton or (1) four wheel drive sport utility ¾ ton vehicle (SUV) with automatic transmission with Mitchell 1010 hyrail gear or approved equal that is hydraulically operated from controls inside of the vehicle(s) that is for exclusive use of the Alaska Railroad Corporations (ARRC) personal and/or the Department throughout the project. Provide vehicles less than 3 model years old, in good condition and with less than 36,000 miles on the odometer.

Furnish all fuels, maintenance and insurance and radios as addressed below. If you are working after October 1, provide studded snow tires for all vehicles you provide for the Alaska Railroad Cooperation (ARRC) or Department’s use. Equip vehicles used by the ARRC or the Department with CB radios, two each additional backup lights, that mount onto the top of the rear bumpers, and below the vehicle rear lights, running boards and yellow light bars wired into the vehicle’s electrical system with a dash mounted switch easily accessible to the vehicle operator. Provide Code 3; Model 6005H (formerly PE 6200 LE) lightbars, or approved equal. Approved equals shall have the following characteristics:

- Four (4) 55 watt rotators with amber filters

- 1200 flashes per minute

- Two diamond mirrors

- 1,397 mm in length

The Contractor is responsible for normal wear and tear, and any other incidental damage including broken windshields, occurring during the Department’s operation and use. The Department is responsible for damage to any vehicle caused by its own negligent during operation.

Alaska Railroad Cooperation (ARRC) Special radio requirements are as follows: The ARRC requires a Motorola, MCS2000 or the Motorola Spectra radio mounted in each Hyrial the vehicle provided. The ARRC requires Motorola Model I version under the MCS2000 line, this model is a 25-watt VHF radio with 48 channels. Model : MOX1MX (MCS2000, Mod I) 523W (25 Watt, VHF) with the following options H35 (conventional operation) , B01 (DTMF microphone), B113 (ignition sense), G374 (external speaker). Or approved equal. The Spectra radio is not longer in production.

If an alternative radio is to be provided, the model needs to be capable of having a minimum of 16 VHF channels programmed in a band spread that the ARRC will provide to the successful bidder. A transmitter output of 25 watts and all channels are conventional voice channels, no trunked channels. The radio will need a keypad either on the control head or microphone and shall require the DTMF future.

644-3.01 METHOD OF MEASUREMENT. Delete the third paragraph and substitute the following:

Vehicle. Per each vehicle as provided, meeting all the above requirements. If a replacement vehicle is necessary, no additional measurement will be made.

(02/03/03) R245M98

Standard Modifications

644-4.01 BASIS OF PAYMENT. In the last full paragraph, beginning with “Furnishing the following is subsidiary”, after “platform scales,” insert “ scale operators.”

(06/25/99)M81

Special Provisions

Add the following: Electricity, propane and water supplied for the State provided portable asphalt lab will not be paid for separately, but will be subsidiary to Item 644(2) Field Laboratory.

Delete Item 644(7) and substitute the following:

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 644(7) Vehicle | Each |

(08/14/03)R&M

Add the following Section:

SECTION 645

TRAINING PROGRAM

Special Provision

645-1.01 DESCRIPTION. This Training Special Provision implements 23 CFR 230, Subpart A, Appendix B.

As part of the Equal Employment Opportunity Affirmative Action Program, provide on-the-job training aimed at developing full journey status in the type of trade or job classification involved. The number of individuals to be trained and the number of hours of training to be provided under this contract will be as shown on the bid schedule.

645-2.01 Objective. Training and upgrading of minorities and women toward journey status is the primary objective of this program. Enroll minorities and/or women, where possible, and document good faith efforts prior to the hire of non-minority males in order to demonstrate compliance with this Training Special Provision. Specific good faith efforts required under this Section for the recruitment and employment of minorities and women are found in the Federal EEO Bid Conditions, Form 25A-301, items 7.b, 7.c, 7.d, 7.e, 7.i, 7.j and 7.l, located in the "yellow pages" of this document.

645-3.01 General. Determine the distribution of the required number of apprentices/trainees and the required number of hours of training among the various work classifications based upon the type of work to be performed, the size of the workforce in each trade or job classification, and the shortage of minority and female journey workers within a reasonable area of recruitment.

Training will be provided in the skilled construction crafts unless you can establish prior to contract award that training in the skilled classifications is not possible on a project; if so, the Department may then approve training either in lower level management positions such as office engineers, estimators, and timekeepers, where the training is oriented toward construction applications, or in the unskilled classifications, provided that significant and meaningful training can be provided. Some offsite training is permissible as long as the training is an integral part of an approved training program and does not comprise a significant part of the overall training.

Credit for offsite training hours indicated above may only be made to you where the apprentices/trainees are concurrently employed on the project and you do one or more of the following: contribute to the cost of the training, provide the instruction to the apprentice/trainee, or pay the apprentice's/trainee's wages during the offsite training period.

Where feasible, 25 percent of apprentices or trainees in each occupation shall be in their first year of apprenticeship or training.

Prior to award of the contract, submit Form 25A-311, Training Utilization Report, indicating the training program to be used, the number of apprentices/trainees to be trained in each selected classification, the number of hours of training to be provided, and the anticipated starting time for training in each of the classifications.

Training must begin within 2 weeks of the anticipated start date(s); unless otherwise authorized by a Directive. Such authorization will be made only after submission of documentation by you, and approval by the Engineer, of efforts made in good faith which substantiate the necessity for a change.

Contractors may use a training program approved by the U.S. Department of Labor, Bureau of Apprenticeship & Training (USDOL/BAT), or one developed by the Contractor and approved prior to contract award by the Alaska Department of Transportation and Public facilities (DOT&PF) Training Program Representative, using Form 25A-310.

The minimum length and type of training for each classification will be established in the training program selected by you. Training program approval by the Department for use under this Section is on a project by project basis.

It is expected that each apprentice/trainee will begin training on the project as soon as feasible after start of work utilizing the skill involved and remain on the project as long as training opportunities exist or until training has been completed. It is not required that apprentices/trainees be continuously employed for the duration of the contract.

If, in your judgment, an apprentice/trainee becomes proficient enough to qualify as a journey worker before the end of the prescribed training period and you employ that individual as a journey worker in that classification for as long as work in that area remains, the individual's training program will be considered completed and the balance of training hours required for that apprentice/trainee shall be waived.

Furnish each DOT&PF training program trainee a copy of the program (Form 25A-310) to be followed during training on the project, and with a written certification showing the type and length of training completed on the project. Existing USDOL/BAT apprentices should already have a copy of their program. No employee shall be employed for credit as an apprentice/trainee in a classification in which that employee has previously worked at journey status or has previously completed a training course leading to journey status.

Periodically review the training and promotion potential of minority and women employees and shall encourage eligible employees to apply for such training and promotion.

Provide for the maintenance of records and the furnishing of periodic reports documenting the progress of each apprentice/trainee. You must submit Form 25A-313 by the 15th of each month and provide each DOT&PF trainee written evaluation reports for each unit of training provided as established on Form 25A-310.

645-3.02 Wages. Trainees in DOT&PF approved training programs will be paid prevailing Davis-Bacon fringe benefits plus at least 60 (but less than 100) percent of the appropriate minimum journey rate specified in the contract for the first half of the training period, at least 75 (but less than 100) percent for the third quarter of the training period, and at least 90 (but less than 100) percent for the last quarter of the training period. Trainee wages shall be identified on Form 25A-310. Apprentices in USDOL/BAT training programs shall be paid in accordance with their approved program. Beginning wages of each trainee/apprentice enrolled in a Section 645 Training Program on the project shall be identified on Form 25A-312.

645-3.03 Subcontracts. In the event you subcontract a portion of the work, you shall determine how many, if any, of the apprentices/trainees are to be trained by the subcontractor. Any such subcontracts shall include this Section 645, Form 25A-311 and Form 25A-310, where appropriate. However, the responsibility for meeting these training requirements remains with you; compliance or non-compliance with these provisions rests with you and sanctions and/or damages, if any, shall be applied to you in accordance with Subsection 645-5.01, Basis of Payment.

645-4.01 Method of Measurement. You will be credited for each approved apprentice/trainee employed on the project and reimbursed on the basis of hours worked, as listed in the certified payrolls. There shall be no credit for training provided under this Section prior to your submittal and approval by the Engineer of Form 25A-312 for each apprentice/trainee trained under this Section. Upon completion of each individual training program, no further measurement for payment shall be made.

645-5.01 Basis of Payment. Payment will be made at the contract unit price for each hour of training credited. Where a trainee or apprentice, at your discretion, graduates early and is employed as a journey worker in accordance with the provisions of Subsection 645-3.01, you will receive payment only for those hours of training actually provided.

This payment will be made regardless of any other training program funds you may receive, unless such other funding sources specifically prohibit you from receiving other reimbursement.

Payment for training in excess of the number of hours specified on the approved Form 25A-311, may be made only when approved by the Engineer through Change Order.

Non-compliance with these specifications shall result in the withholding of progress payments until good faith efforts documentation has been submitted and acceptable remedial action has been taken.

Payment will be at the end of the project following the completion of all training programs approved for the project. No payment or partial payment will be made to you if you fail to do any of the following and where such failure indicates a lack of good faith in meeting these requirements:

1. 	Provide the required hours of training (as shown on the approved Form 25A-311),

2.	Train the required number of trainees/apprentices in each training program (as shown on the approved Form 25A-311), or

3.	Hire the apprentice/trainee as a journey worker in that classification upon completion of the training program for as long as work in that area remains.

Failure to provide the required training damages the effectiveness and integrity of this affirmative action program and thwarts the Department's federal mandate to bring women and minorities into the construction industry. Although precise damages to the program are impractical to calculate, they are at a minimum, equivalent to the loss to the individuals who were the intended beneficiaries of the program. Therefore, where you have failed, by the end of the project, to provide the required number of hours of training and have failed to submit acceptable good faith efforts documentation which establishes why you were unable to do so, you will be assessed an amount equal to the following damages to be deducted from the final progress payment:

Number of hours of training not provided, times the journey worker hourly scale plus benefits. The journey worker scale is that for the classification identified in the approved programs. (10/29/91)S16

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 645(1) Training Program, 2 Trainees/Apprentices | Labor Hour |

SECTION 646

CPM SCHEDULING

Special Provisions

646-2.01 SUBMITTAL OF SCHEDULE.  Replace this subsection with the following:  Submit a detailed initial CPM Schedule at the preconstruction conference for the Engineer’s acceptance as set forth below.

The construction schedule for the entire Project shall not exceed the specified contract time.  Allow the Engineer 14 days to review the initial CPM Schedule.  Revise promptly.   The finalized CPM Schedule must be completed and accepted before beginning work on the Project.

646-3.01 REQUIREMENTS AND USE OF SCHEDULE.  Delete Item 2.   60-Day Preliminary Schedule.

Delete the first sentence of: Item 3. Schedule Updates.  and substitute the following:  Hold job site progress meetings with the Engineer for the purpose of updating the CPM Schedule.  Meet with the Engineer monthly, or as deemed necessary by the Engineer.

(12/13/02)R261M98

Add the following Section:

SECTION 647

EQUIPMENT RENTAL

Special Provisions

647-1.01 DESCRIPTION. This item consists of furnishing construction equipment, operated, fueled and maintained, on a rental basis for use in construction of extra or unanticipated work at the direction of the Engineer. Construction equipment is defined as that equipment actually used for performing the items of work specified and shall not include support equipment such as, but not limited to, hand tools, power tools, electric power generators, welders, small air compressors and other shop equipment needed for maintenance of the construction equipment.

The work is to be accomplished under the direction of the Engineer, and the Contractor's operations shall at all times be in accordance with the Engineer's instructions. These instructions by the Engineer shall be to the Contractor's supervisory personnel only, not to the operators or laborers. In no case shall these instructions by the Engineer be construed as making the Department liable for the Contractor's responsibility to prosecute the work in the safest and most expeditious manner.

647-2.01 EQUIPMENT FURNISHED. In the performance of this work, furnish, operate, maintain, service, and repair equipment of the numbers, kinds, sizes, and capacities set forth on the Bid Schedule or as directed by the Engineer. The operation of all equipment shall be by skilled, experienced operators familiar with the equipment.

The kinds, sizes, capacities, and other requirements set forth shall be understood to be minimum requirements. The number of pieces of each equipment to be furnished and used shall be as the Engineer considers necessary for economical and expeditious performance of the work. The equipment shall be used only at such times and places as the Engineer may direct.

All equipment shall be in first-class working condition and capable of full output and production. The minimum ratings of various types of equipment shall be as manufactured and based on manufacturer's specifications. Alterations will not be considered acceptable in achieving the minimum rating. Equipment shall be replaced at any time when, in the opinion of the Engineer, their condition is below that normal for efficient output and production.

All equipment shall be fully operated, which shall be understood to include the operators, oilers, tenders, fuel, oil, air hose, lubrication, repairs, maintenance, insurance, and all incidental items and expenses.

647-2.02 EQUIPMENT OPERATORS AND SUPERVISION PERSONNEL. Equipment operators shall be competent and experienced and shall be capable of operating the equipment to its capacity. All personnel furnished by the Contractor shall be, and shall remain during the work hereunder, employees solely of the Contractor.

Furnish, without direct compensation, a job superintendent or Contractor's representative together with such other personnel as are needed for Union, State, or Federal requirements and in servicing, maintaining, repairing and caring for the equipment, tools, supplies, and materials provided by the Contractor and involved in the performance of the work. Also, furnish, without direct compensation, such transportation as may be appropriate for the personnel.

647-3.01 CONSTRUCTION REQUIREMENTS. The performance of the work shall be in accordance with the instructions of the Engineer, and with recognized standards and efficient methods.

Furnish equipment, tools, labor, and materials in the kinds, number, and at times directed by the Engineer and shall commence, continue, and stop any of the several operations involved in the work only as directed by the Engineer.

Normally, the work is to be done when weather conditions are reasonably favorable, six (6) days per week, Mondays through Saturdays, holidays excepted.

The Engineer will begin recording time for payment each shift when the equipment begins work on the project. The serial number and brief description of each item of equipment listing in the bid schedule and the number of hours, or fractions thereof to the nearest one-quarter hour, during which equipment is actively engaged in construction of the project shall be recorded by the Engineer Each day's activity will be recorded on a separate sheet or sheets, which shall be verified and signed by the Contractor's representative at the end of each shift, and a copy will be provided to the Contractor's representative.

647-4.01 METHOD OF MEASUREMENT. The number of hours of equipment operation to be paid for shall be the actual number of hours each fully operated specified unit of equipment, or each fully operated specified combination of units of equipment, is actually engaged in the performance of the specified work on the designated areas in accordance with the instruction of the Engineer. The pay time will not include idle periods, and no payment will be made for time used in oiling, servicing, or repairing of equipment, or in making changeovers of parts to the equipment. Travel time to or from the project, will not be authorized for payment.

647-5.01 BASIS OF PAYMENT. Payment for Item 647(1), Wide Pad Dozer, 48 kW Minimum will be paid on a contingent sum basis at the rate of $125/hour. This shall be full compensation for furnishing, operating, maintaining, servicing and repairing the equipment, and for all incidental costs related to the equipment. Furnishing and operating of equipment of heavier type, larger capacity, or higher wattage than specified will not entitle the Contractor to any extra compensation.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 647(1) Wide Pad Dozer, 48 kW Minimum | Contingent Sum |
| 647(5) Backhoe, 4WD, 0.75 m3 Bucket, 56 kW, 4.4 m Depth | Contingent Sum |

(11/12/98)R15M98 (1/16/2002)R&M

Delete this Section in its entirety and substitute the following:

## SECTION 660

### SIGNALS AND LIGHTING

Special Provisions

660-1.01 DESCRIPTION. Furnish and install, modify, remove, or salvage one or more traffic signal systems, flashing beacon systems, highway lighting systems, sign illumination systems, traffic count systems, electrical equipment on structures, falsework lighting, decorative lighting, partial installations for future systems, or combinations thereof, as specified.

Where an existing system is to be modified, reuse the existing material in the revised system as shown on the Plans or specified in the Special Provisions, and salvage or dispose of all other materials.

When required by the Special Provisions, provide an on-site manufacturer’s representative to:

1.	Turn on and adjust the electrical system.

2.	Provide acceptable instruction for the operation and maintenance of the electrical system.

660-1.02 DEFINITIONS. Use the definitions in NEMA TS 1-1989, Traffic Control Systems, Section 1, Definitions, along with the following:

1.	Electrolier. The complete assembly of pole, mast arm, luminaire, ballast, and lamp.

2.	Luminaire. The assembly which houses the light source and controls the light emitted from the light source. Luminaires consist of hood (including socket), reflector, and glass globe or refractor.

3.	Lighting Standard. The pole and mast arm which supports the luminaire.

4.	Vehicle. Any motor vehicle licensed for highway use by the State of Alaska.

660-2.01 MATERIALS. Use materials that conform to Section 740, the Materials Certification List, the Plans, specifications, and the following:

Concrete	Section 501 (Class A)

Grout	Subsection 701-2.03

Reinforcing Steel	Section 503

Paint	Subsection 708-2.01

Steel Pipe Pile	Section 715

Anchor Plate	ASTM A 709

Galvanizing	Subsection 716-2.07

1.	Equipment List(s) and Drawings. Within 30 days after the Contract award, submit 8 collated copies of a portfolio of equipment and materials proposed for installation to the Department for review and approval. Include a table of contents in the portfolio(s) that includes each item’s intended use(s) and the following:

a.	Materials on the Approved Products List: The Approved Products List does not apply to the 660 items.  Provide catalog cuts of all materials to the Engineer for review and approval.

b.	Materials Not on the Approved Products List: Catalog cuts that include the manufacturer’s name, type of product, size, model number, conformance specifications, and other data as may be required, including manufacturer’s maintenance and operations manuals, or sample articles.

c.	Pole Package. A complete set of design, fabrication, and installation proposals for each signal and lighting pole. Include stamped engineering calculations, shop drawings, welding plans, equipment lists, and pole installation plans.

d.	Materials Not Requiring Certification: Incidental materials incorporated into the work (such as nuts, ties, bolts, washers, etc.) must meet all applicable Specifications and be installed per all manufacturer’s recommendations. Certification is not needed unless required by the Special Provisions or requested by the Engineer.

2.	As-Built Plans. Prepare 3 complete sets of red lined as-built plans and keep them current with the construction. Detail in the as-built plans all construction changes made to the Plans. Include the following information on the appropriate sheets:

a.	Location and depth of conduit runs

b.	Station and offset of all junction boxes

c.	Heights of signal faces and overhead signs

d.	A list of equipment, including manufacturer, brand, and model number installed in each controller cabinet

Furnish copies of the as-built plans at least twice a month during construction so that they may be reviewed for accuracy and completeness. Furnish any additional information required to clarify the as-built plans and correct all discrepancies. The Department will not make progress payments for the signal and illumination work completed until reviewing accurate as-built plans reflecting the construction progress. Correct any deficiencies before payment.

Before final inspection of the work, submit 3 complete sets of as-built plans to the Engineer. You may substitute 2 colored copies of the as-built plans in lieu of keeping the 3 separate original copies. If you elect to do this, a sample of the method of copying must be approved before starting any work on the signal and lighting items.

The Engineer will deliver one copy each to State Maintenance and Operations; Technical Services; and attach the appropriate sheets of the last set in clear plastic envelopes to the inside of each controller assembly and load center.

3.	Warranties, Guarantees, and Instruction Sheets. Deliver to the Engineer all manufacturers’ warranties, guaranties, instruction sheets, and parts furnished with materials used in the work before the Department assumes maintenance responsibilities.

# CONSTRUCTION REQUIREMENTS

660-3.01 GENERAL.

1.	Scheduling of Work. Complete each new traffic signal system, highway lighting system, and sign illumination system and ensure it is ready for operation before opening to traffic the corresponding section of new alignment.

Do not place traffic signal systems in operation until the street lighting is energized at controlled intersections.

Install detector loops and underground conduit before applying new pavement.

Do not pull conductors into conduit until the junction boxes are set to grade, crushed rock sumps are installed, grout is placed around the conduit, and metallic conduit is bonded.

In vehicular undercrossings, place soffit lights in operation as soon as practicable after removing falsework from the structure. Place lighting for pedestrian structures in operation before opening the structure to pedestrian traffic.

2.	Safety Precautions. Before starting work on existing street lighting circuits, de-energize the system by opening disconnect switches, and/or opening bypass switch plugs, and tagging each opened device as detailed in Part 4, Section 44, Article 440 of NESC. Where said circuits are under the control of an electric utility, obtain written assurance daily from the utility that the circuit being worked on has been de-energized.

Post suitable signs at load centers when any of the circuits from that load center are being worked on.

3.	Excavating and Backfilling. Excavate as required for the installation of junction boxes, conduits, foundations, and other appurtenances. Avoid unnecessary damage to streets, sidewalks, landscaping, and other improvements.

Do not excavate wider than necessary for the proper installation of conduits, junction boxes, and foundations. Do not perform excavation until immediately before installing conduit and other appurtenances.

Excavate trenches for installing rigid metal conduit to a depth 150 mm below the bottom of the rigid metal conduit. Embed conduit between two 150 mm lifts of material that are free of rocks exceeding a 25 mm maximum dimension.

Place the material from the excavation where it will not cause damage or obstruction to vehicular and pedestrian traffic or interfere with surface drainage. Dispose of all surplus excavated material according to Subsection 203-3.01.

Backfill excavations according to Section 204.

Keep excavations after backfilling well-filled and maintained in a smooth and well-drained condition until permanent repairs are made.

4.	Welding. Conform to Subsection 504-3.01.8, and the requirements of the individual items.

5.	Removing and Replacing Improvements. Replace or reconstruct improvements damaged by your operations such as sidewalks, curbs, gutters, pavement, base material, lawns and plants, and other improvements that are removed or broken with the same kind of material as found on the work, or with materials of equal or better quality. Leave the new work in satisfactory and serviceable condition.

Whenever a part of a square or slab of existing sidewalk, curb and gutter, or driveway is broken or damaged, remove the entire square, section, or slab and reconstruct the concrete as above specified.

Before removing the sidewalk, driveways, or pavement material, cut the outline of all areas to be removed in concrete sidewalks, driveways, and in pavements through completely with a saw. Make cuts neat and true and prevent shatter outside the removal area.

6.	Salvaging or Reusing Electrical Equipment. Salvage and deliver existing electrical equipment, including controller assemblies, signal equipment, luminaires, lighting standards, signal poles and mast arms, service equipment, and junction box lids to a location indicated on the Plans, the Special Provisions, or a location designated by the Engineer.

Jointly inventory, with the Engineer, all equipment and materials to be salvaged or reused. Perform the inventory within 15 days following the Notice to Proceed. Note on the inventory the location and condition of all materials to be salvaged or reused.

When a controller assembly is to be salvaged, the salvaged material includes the controller unit, timing modules, switches, detector control units, conflict monitor unit, and all other equipment contained in the controller cabinet before Contract award.

When existing electrical equipment is to be reused, furnish and install all necessary materials and equipment, including signal mounting brackets, new tap wires, fused disconnect kits, anchor bolts, nuts, washers, and concrete as required to complete the new installation. Clean, relamp, and recondition all traffic signal, flashing beacon, and lighting fixtures to be reinstalled according to Subsection 660-3.01.8.b. You may elect to use new equipment if you determine that it will be more cost effective than reusing the old equipment called for in the Plans and/or Special Provisions. If using new equipment, notify the Engineer when submitting the equipment list(s) and drawings per Subsection 660-2.01.1. Include the submittals for the items proposed for use in lieu of the reused equipment with this submittal.

Replace salvaged materials required to be reused and found to be unsatisfactory by the Engineer with new material. Replacement will be paid for as extra work under Subsection 109-1.05.

Remove and salvage electrical equipment without damage. Replace at your expense any of the above-mentioned electrical equipment that has been damaged or destroyed by your operations.

Underground conduit, conductors, foundations, junction boxes, and detectors not reused become your property and must be removed from the highway right-of-way. If said materials, except conductors and cables, do not interfere with other construction they may, with approval, be abandoned in place with a credit taken by the Department. To limit future operation and maintenance concerns, remove all cables and conductors from any conduits that will be abandoned in place. Meet Subsection 660-3.02 for foundations abandoned in place.

Repair holes left in the shafts of existing metal poles, due to removal of equipment or mast arms, by welding in a suitable disk, grinding smooth, and painting as provided for repair of damaged coatings in AASHTO M 36.

As directed, repair or replace damaged existing metal poles that are to be relocated or reused in place. The Engineer will determine the extent of repairs or replacements. The Department will pay for the repairs or replacements ordered as extra work according to Subsection 109-1.05. Refinish poles according to Subsection 660-3.01.8.

Fill holes formed by removing junction boxes and foundations with material equivalent to the surrounding material and compact to the same density.

Alaska. Equipment not being reused on the project may be salvaged. Deliver salvaged materials undamaged to the State Maintenance Yard at 289 Inner Springer Loop Road, Palmer, Allow maintenance personnel to select the equipment they would like to be salvage, dispose of all remaining equipment. Contact the State Maintenance District Superintendent one-week before your planned delivery date.

7.	Field Tests. Before acceptance of the work, perform the following tests on all electrical systems under this Section, in the presence of the Engineer. Furnish the necessary equipment needed to perform these tests. The Department reserves the right to retest, and the test results will govern the acceptance or rejection of the installation. Replace or repair at your expense, and in an approved manner, any faults in material or any part of the installation revealed by these tests. Repeat the same test until no fault appears.

a.	Continuity. Test each circuit for continuity.

Test each loop detector circuit for continuity at two locations:

(1)	Loop detector at the junction box before splicing with the loop detector lead-in cable must have a value less than 0.5 ohms.

(2)	Loop detector and lead-in cable system at the traffic signal controller cabinet or detector cabinet after splicing in the junction box must have a value less than 5 ohms for single pair lead-in cable and 10 ohms for multi-pair lead-in cable. The continuity test ohm reading at the traffic signal controller cabinet or detector cabinet must be greater than the ohm reading measured at the loop detector at the junction box.

b.	Grounds. Test for grounds in each circuit by physically examining the installation to ensure that all required grounding bushings, bonding jumpers, and ground rods have been installed and are mechanically firm.

c.	Insulation Resistance Test. Perform a megohm test on each circuit, between circuits, and between the circuit and a ground. Measure each detector loop and lead-in cable system at the traffic signal controller cabinet or at the detector cabinet between one loop detector lead-in conductor and the cabinet ground rod. Ensure the insulation resistance is not less than 100 megohms or the minimum specified by the manufacturer, measured at 500 volts DC. Disconnect all lamps and magnetometer sensing probes prior to the megger test. Document these tests in writing, for each circuit, and submit to the Engineer prior to acceptance of the system.

d.	Inductance Test. Measure each detector loop and lead-in cable system at the traffic signal controller cabinet or detector cabinet. The inductance must be in the range of 50 to 500 microhenries.

e.	Circuit. Energize every signal indication circuit with lamps installed before installing the load switches.

f.	Functional. Perform the following tests on each signal and lighting system after all of the component circuits have satisfactorily passed the tests for continuity, grounding, insulation integrity and circuitry.

- (1)	Perform the functional test for each new traffic signal system by running at least 24 hours of flashing operation, followed by not less than 5 days of continuous, satisfactory operation. You may omit the flashing portion of the test for a modified signal system or if there was an existing signal maintained at this location during the construction activity.

The Engineer and the final owner of the signal system will determine if the flashing operation will be required. If the system performs unsatisfactorily, correct the condition and repeat the test until the system runs for 5 days with continuous satisfactory operation.

Do not start signal functional tests on a Friday, Saturday, Sunday, a legal holiday, or the day before the legal holiday.

Initially turn on the system between 0900 hours and 1400 hours. Before turning it on, ensure all equipment is installed and operable. This includes, but is not limited to, pedestrian signals and push buttons; signal face backplates and visors; vehicle detectors; highway lighting; and all regulatory, warning, and guide signs. Aim all signal faces as required by Subsection 660-3.08.

- (2)	Perform the functional test for each highway lighting system and sign illumination system until the systems burn continuously 5 days without the photocell, followed by a 5-day operational test using the photocell.

- (3)	Perform the functional test for each flashing beacon system for not less than 5 days of continuous, satisfactory operation.

- (4)	Perform a continuous 5-day burning test on each pedestrian overcrossing and undercrossing lighting system before final acceptance.

A shut down of the electrical system due to a power interruption does not constitute discontinuity of the functional test if the system is functional when the power is returned.

8.	Repairing Damaged Finishes. Examine new, reused, and State-furnished equipment for damage to its finish before you put the equipment into service.  Repair the damaged finishes found according to the following:

a.	Galvanized.  Repair damaged areas more than 300 mm away from welds and slip type joint areas, by applying a minimum 200 micrometers of zinc-based alloy applied according to ASTM A780.

If the damaged areas are within 300 mm of welds and slip fit areas, make the repair by applying a minimum 200 micrometers of zinc-rich paint applied according to ASTM A780.

b.	Painted.

(1)	Wash the equipment with a stiff bristle brush using a solution of water containing 7.8 ml of heavy-duty detergent powder per liter (2 tablespoons per gallon). After rinsing, wire brush all surfaces to remove all poorly bonded paint, rust, scale, corrosion, grease, or dirt. Remove any dust or residue remaining after wire brushing before priming.

(2)	You may use factory or shop cleaning methods for metals if equal to the methods specified herein.

(3)	Immediately after cleaning, coat all bare metal with pre-treatment, vinyl wash primer, followed by 2 prime coats of zinc chromate primer for metal.

(4)	Give signal equipment, excluding standards, a spot-finishing coat on newly primed areas, followed by 1 finishing coat over the entire surface.

(5)	Give ungalvanized standards 2 spot-finish coats on newly primed areas.

You may apply all paint coats either by hand brushing or by approved spraying machines. Perform the work in a neat and workmanlike manner. The Engineer reserves the right to require the use of brushes for the application of paint, should the work done by the paint spraying machine prove unacceptable.

660-3.02 FOUNDATIONS.

1.	Cast-in-Place Foundations. Cast-in-place foundations for posts and poles in drilled holes. Use either precast or cast-in-place foundations for cabinets.  Locate the tops of all traffic signal post and pole foundations flush with the adjacent finished:  walkway, shoulder, or surrounding ground.

a.	Form the entire controller foundation and the top 300 mm of pole or post foundations and give the top a smooth steel trowel finish.

b.	Place conduits in the center of the pole-post foundations with clearance allowed for bushings. If subsurface conditions prevent completing a drilled hole, and when approved, use a corrugated metal pipe (CMP) form as a substitute for the drilled hole. Consider the savings in concrete to offset the cost of supplying and installing the CMP form. No additional payment will be made for the CMP formed foundation.

c.	When a CMP is used, over-excavate the area around the form enough to allow for proper compaction around the form. Perform backfill operations according to Section 204 using selected material, type A that passes through a 75 mm sieve. Do not use water for drilling operations or for any other purpose where it may enter the hole.

d.	Use controller cabinet anchor bolts as recommended by cabinet manufacturer and set with a template.

e.	Place Class A concrete meeting Section 501. Place reinforcing steel meeting Section 503. If required, use corrugated steel pipe that is at least 2 mm (14 gage), meeting Subsection 707-2.01.

f.	Drill holes or use forms that are vertical and true to the locations shown in the Plans. Before you place the form or reinforcing steel cage, remove all loose material to ensure the foundation rests on firm, undisturbed ground.

g.	If a reinforcing steel cage is required, place and secure it symmetrically about the vertical axis and securely block it to clear the sides of the foundation. Use a template to securely support all anchor bolt assemblies and conduit ends so they do not move during concrete placement.

h.	Do not permit surface water to enter the hole. Before placing concrete, remove all water that may have infiltrated in the hole. Thoroughly moisten both the forms and the ground before placing concrete. Pour each foundation in one continuous pour.

i.	Do not erect or place posts, poles, and pedestals on the foundation until 7 days after placing the concrete. Plumb the assembly by adjusting the nuts on the anchor bolts before you attach the galvanized skirt.

j.	Replace, with no additional compensation, all finished foundations with anchor bolts that do not match the base plate of the pole or are out of plumb. Do not modify the anchor bolts or base plate to get the base plate set on the leveling nuts.

k.	Install the bottoms of the bottom leveling nuts in a level plane within 25 mm of the top of foundations. Generously lubricate the bearing surface and internal threads of all top nuts with beeswax and tighten the top nuts according to the anchor bolt tightening procedure included in the contract documents.

l.	Attach a 4 AWG, bare, solid copper wire as a grounding electrode conductor to the #13 spiral bar in the reinforcing steel cage.  Use an irreversible compression connector or cadweld to make the attachment.  Protect the attachment during concrete placement.  In foundations that lack reinforcing steel cages, install 6.5 m of coiled 4 AWG, bare, solid copper wire as the grounding electrode.  Route the conductor to protrude near the top, center of the foundations. Slide a minimum 150 mm long, non-metallic, protective sleeve over the conductor. Allow 25 mm of the sleeve and 600 mm of conductor to protrude from the foundations.

2.	Pile Foundations.  Install all foundations for light poles with shaft lengths less than 18 meters according to the following requirements

- Materials. Furnish pipe piles that feature the diameter, minimum length, and wall thickness shown on the Plans.  Furnish piles that conform to ASTM A252, grade 3.  The Department will only accept seamless piles or piles with a single longitudinal seam that is electric resistance welded.

Furnish pile cap adapters fabricated by the pole manufacturer.

- Construction Requirements. Install the steel pipe piles open ended according to Section 505. Complete all splices and extensions in piles according to Section 505. Attach the pile cap adapter to the pipe pile with a full penetration circumferential weld.

Complete all welding shown on the Plans and as specified herein according to the Structural Welding Code –Steel, AWS D1.1-2000. At least 30 calendar days before you begin welding, submit a welding plan and mill certification reports for the pipe piles and pile caps to the Engineer for approval.  Do not begin welding until the Engineer has returned these items approved in writing.  The welding plan shall consist of the following:

- Welding Procedure Specification (WPS),

- Procedure Qualification Record (PQR),

- Welder Performance Qualification Record (WPQR),

- Visual Inspection Form,

- Report of Nondestructive Examination (NDE) of Welds, and

- The name of the Contractor’s Quality Control (QC) manager with documentation of qualifications.

Furnish all Quality Control inspection necessary to ensure the materials meet the requirements of the contract documents and workmanship meets the requirements of AWS D1.1.

- Visually inspect (VT) the entire length of each weld.

- Inspect all full penetration welds by ultrasonic NDE (UT or RT).

Correct all deficiencies in materials and workmanship revealed by QC and Quality Assurance (QA) inspections according to AWS D1.1 without additional compensation.

Furnish all completed QC inspection documents to the Quality Assurance representative designated by the State.

Install the frangible couplings according to the manufacturer’s written installation instructions.

- Install pipe piles open-ended and to a minimum depth of 4.5 m (less top projection).

- Backfill and compact the work hole around upper portion of each pile in 200 mm lifts with a soil-cement mixture. (minimum of 4 sacks of cement per cubic meter of soil).

- Certify steel pipe piles by matching the stencils on the pipe piles (by 91 m lots) to the physical and chemical tests for the applicable lot.

Use no more than one splice per foundation.  Locate the splice at least 2.1 m from the top of pile. Complete all splices and extensions in piles according to Section 505. Attach the pile cap adapter to the pipe pile with a full penetration circumferential weld.

- 3.	All Foundations.

- a.	Install frangible couplings according to the manufacturers written installation instructions. Use shims furnished by the coupling manufacturer.

- b.	Provide new foundations and anchor bolts of the proper type and size for standards that are to be relocated. Install the anchor bolts on a bolt circle that matches the base plate.

- c.	Install a raised Type III junction box on the door side of the controller cabinet, and butt it against the cabinet’s foundation unless installing a one-piece cabinet/junction box foundation. Extend the top of the controller cabinet foundation 450 mm above the junction box and provide it with a 25 mm diameter drain. The drain connected to the cabinet interior must empty to the rear and above the ground. Place all conduits in the door side half of the foundation to provide adequate terminal block clearance.

- d.	Existing foundations may be abandoned-in-place. However, remove the tops of the foundations, reinforcing steel, anchor bolts, and conduits to at least 300 mm below the roadway subgrade, sidewalk, or unimproved ground. Backfill the resulting hole with material equivalent to and compacted to the density of the surrounding ground.

660-3.03 CONDUIT. Run electrical conductors in conduit, except for overhead wiring, wiring inside poles, and when otherwise specified. Use galvanized conduit and fittings that are rigid metal type and manufactured of mild steel or wrought iron for all raceways, including bored casings.  Install conduits along the routes detailed in the Plans.  When the routing is not shown in the Plans, route conduits as directed by the Engineer.

1.	When the plans specify installing rigid non-metallic conduit, install rigid metal conduits in the following locations:  in all structures and foundations, between a load center and the nearest junction box, and on the surfaces of poles and other structures.

2.	Thread and ream the ends of all conduits, whether shop or field cut, to remove burrs and rough edges. Make cuts square and true so that the ends butt together for the full circumference. Do not use slip joint or running threads for coupling conduit. When a standard coupling cannot be used for coupling metal type conduit, use an approved threaded union coupling. Where the coating on ferrous metal conduit has been damaged, paint such damaged places with rust preventative paint.

3.	Until wiring is started, cap all conduit ends with standard pipe caps or approved plug and coupling combinations. When caps are removed, provide the threaded ends with approved conduit grounding bushings.

4.	Bury conduit at least 750 mm below the finished grade. However, under paved areas behind a curb, bury the conduit at least 450 mm below the top back of curb or abutting pavement, whichever is lower. See Subsection 660-3.01.3 for backfill requirements.

5.	Install rigid metal conduit under pavements that will not be overlaid by jacking them under pavements up to 9 m wide and under pavements greater than 9 m wide by boring or drilling methods.

6.	When encountering obstructions during jacking or drilling operations, obtain approval and cut small test holes in the pavement to clear the obstruction. Locate the bottom inside face of the borepit no closer than the catch point of a 1-1/4 H:1 V slope from the edge of pavement. Do not leave these pits unattended until the means of protection has been approved.

7.	Keep the bottom of trenches for conduit relatively free of sharp irregularities that would cause pinching and excessive bending of the conduit.

8.	Position conduit ends in junction boxes to provide clearances of at least 63 mm around all 50 mm conduits and at least 50 mm around all conduits larger than 50 mm.

9.	Terminate the conduit entering the bottom of concrete junction boxes with a 90-degree sweep inside the box wall. Terminate conduit openings not less than 125 mm above the bottom of all boxes, a minimum of 150 mm below the top of the Type IA boxes, and 300 mm below the top of Type II and Type III boxes. Extend conduits entering through the junction box wall a minimum of 50 mm beyond the inside box wall, and ensure it is a minimum of 150 mm above the bottom of the box.

10.	Furnish foundations with conduits as shown on the Plans. Extend the conduits a maximum of 50 mm vertically above the foundation and slope towards the handhole opening.  Provide enough clearance between conduits, including protective sleeves, to ensure you can install grounding bushings on all conduits.

11.	At low points in all conduit runs, install a drain and sump containing approximately 0.06 m3 of coarse concrete aggregate material. Compact aggregate used for sump as directed to prevent settlement of foundations, junction boxes, or adjacent improvements. Place additional drains adjacent to all junction boxes and structures, regardless of the method of conduit placement used. The drains must be a 9 mm hole drilled in the bottom of the lower straight section of the sweep elbow. Prevent scraping of conductors by deburring drilled drain holes in conduit. Wrap the exterior of the hole with approved filter cloth material and secure it as directed or approved by the Engineer.

12.	Provide conduits for future use with grounding bushings, bonded to ground, and capped with an approved plastic insert type plug. Install a polypropylene pull rope with 900 N minimum tensile strength in all conduits that are to receive future conductors. Double back at least 600 mm of pull rope into the conduits at each end.

13.	Mark all underground conduit with a continuous strip of polyethylene marker tape that is 0.102 mm thick and 150 mm wide. Mark the tape with a black legend on a red background and bury it 230 mm (±75 mm) below the finished grade. Lay two strips of marker tape side-by-side under all road crossings.

14.	Where new junction boxes are placed in existing rigid metal conduit runs, fit the conduit with threaded bushings and bond them.

15.	Seal the conduit leading to soffit, wall, or other lights or fixtures below the grade of the junction box by using an approved sealing fitting and sealing compound.

16.	Clean existing underground conduit to be reused in the new system before pulling in the new cables, as follows:

a.	Conduits with reused conductors. Wherever the Plans show reusing existing conduits that contain in service cables, clean them using compressed air. Existing cables that will be reused may be left in the conduits while you clean them.

b.	Conduits with no reused conductors. Ream with a mandrel or cylindrical wire brush and blow out with compressed air.

c.	Use a heavy-duty air compressor that delivers at least 3.5 m3 (125 ft3) per minute of air at 758 kPa (110 psi).

17.	Use conduit of larger size than shown on the Plans, when desired. If used, it must be for the entire length of the run from junction box to junction box. Reducing couplings are not allowed. Increase the size of the junction boxes and perform any additional work at the foundations due to the use of larger size conduit, without extra compensation.

18.	Conduits may require routing under or over existing culverts or storm drain systems and other underground utilities with additional drains and aggregate sumps at the low spots.

19.	When extending existing conduits or installing junction boxes in existing conduit runs, extend the conduit into the proposed junction box or foundation using drains, elbows, and bonding as required for new installations. When adjusting junction boxes, shorten or lengthen existing conduits to meet clearance requirements. Complete extensions and modifications to existing conduits using the same size and types of materials.

20.	Cut off abandoned conduits flush with the inside wall or bottom of junction boxes.

21.	Install expansion fittings, as detailed on the structure plans, where the conduit crosses an expansion joint in the structure. Provide each expansion fitting with a bonding jumper equivalent to a stranded, No. 6 AWG, copper wire, or equivalent copper braid. Use expansion-deflection fittings that are waterproof and permit a 19 mm expansion and contraction and a 19 mm deflection without deformation.

660-3.04 JUNCTION BOXES. Furnish pre-cast reinforced concrete junction boxes of the sizes and details shown on the Plans. Use cast iron lids.

Emboss the word TRAFFIC on the lids of all junction boxes that contain any traffic signal conductors. Emboss the word LIGHTING on the lids of all other junction boxes.

Install junction boxes at the approximate locations shown on the Plans or when a location is not specific, locate the junction boxes as directed. You may, at your expense, install additional junction boxes to facilitate the work. Locate junction boxes so they are not in the roadway, sidewalk, or pathway surfaces. Where practical, place junction boxes shown in the vicinity of curbs adjacent to the back of curb with their long dimension parallel to the curb. Do not locate junction boxes in drainage collection areas.

Effectively ground the covers of all junction boxes with metal covers. Use a 900 mm tinned copper braid for Type IA Junction Boxes and a 1.8 m tinned copper braid for Type II and Type III Junction Boxes.

Bed the entire bottom of all junction boxes on coarse concrete aggregate material of a minimum depth of 450 mm.

Place the top of junction boxes flush with the sidewalk grade or top of adjacent curb. When located in an unpaved section adjacent to a paved shoulder, locate the junction box 25 mm below the finished grade. Install flush with the surface in paved areas. Adjust as directed the junction boxes located in areas requiring grading. Adjust junction boxes located in seeded areas to 50 mm below the surface.

Locate junction boxes immediately adjacent to the pole or fixture they serve with the following limitations:

1.	120 m maximum for all signal interconnect conduit runs and 90 m maximum for all other conduit runs that exclusively contain a single cable or two loop lead-in cables.

2.	58 m maximum for any other conduit runs.

3.	If the limitations require additional junction boxes, locate them on equal spacing subject to the above limitations.

660-3.05 WIRING. Wire all cabinets with conductors sized to handle the amperage drawn under full cabinet use. Make wiring neat in cabinets by cabling wires together with self-clinching nylon ties. Terminate all spare conductors on terminal blocks. Attach all conductors, including spares, to terminal blocks with “spade” type terminal lugs. Furnish additional terminal blocks if enough locations are unavailable in existing terminal blocks. Do not splice conductors within cabinets, poles, signal heads, and luminaires.

Pull conductors into conduit only after junction boxes are set to grade, crushed rock sumps are installed, grout is placed around the conduit, and grounding bushings have been installed on all conduits.

1.	Pull conductors by hand or by approved commercially built cable-pulling equipment that is specially designed for that purpose. Do not pull cable by any other means. Equip the cable pulling device with a force limiting circuit and force gauge.

2.	Use wire-pulling lubricant when placing the cables and conductors in conduit. Do not allow the tension of the wire or cable to exceed the manufacturer’s recommend allowable tension for the conductor or cable.

3.	When adding new conductors to a conduit with existing conductors, remove all conductors and clean the conduit with a mandrel or brush. Pull both old and new conductors through as a unit. In a new installation, pull all conductors through the conduit as a unit.

4.	Leave at least 300 mm of slack in the bottom of each signal or combination signal and lighting pole of each signal conductor or cable. Neatly leave at least 900 mm of slack illumination and signal conductor or cable curled up in the bottom of each junction box or splice location.

5.	Separate the neutral for pedestrian push button circuits from the signal light circuit neutral.

6.	Run all signal and feeder conductors continuously without splices from a terminal block located in a cabinet, compartment, or signal head, to a similarly located terminal block. When modifying an existing signal system, splice existing conductors (cables) to new conductors (cables) as required to complete the signal, opticom, and interconnect systems. Make these splices only in pole bases, signal terminal compartments, or the controller cabinet.

7.	Route highway illumination cable through each lighting pole designated for connection to that cable’s circuit. Do not splice illumination cable between a load center and a pole or between poles. Join the individual conductors by using non-insulated, overlap type pressure connectors. Insulate with mastic-lined heat shrink tubing or 2 layers of one-half lapped UL listed electrical tape. Do not use wire binding screws, studs, or nuts. Stagger splices to minimize the overall diameter.

8.	Install all loops in 25 mm rigid schedule 80 PVC conduit in the roadway and to the nearest junction box. Run loop lead-in cable continuously without splices from the controller cabinet to the curbside detection junction box nearest the loop being spliced to the lead-in cable. Splice the loop(s) to the lead-in cable by soldering at the junction box and encapsulating in a waterproof splice kit.

Multiple loop configurations must have the individual lead-ins, multiple pair, or single pair brought to the controller cabinet for termination. Make series connection of loop lead-ins in the controller cabinet only. Wind all loops in the same direction with the starting lead marked with an “S.” Connect the black conductor of the pair shown in Table 660-1 to the “S” designated conductor of the loop. Connect multiple loop detectors in the same lane so that the adjacent loops are in alternating directions clock wise (CW), counter clock wise (CCW), etc.

9.	When splicing loop detectors to multi-pair loop lead-in cables, complete the work according to the following.

a.	See the Plans for the identifying number assigned to each loop detector and the loops assigned to each loop lead-in cable. Using this information, splice the loop detector tails to the paired conductors found in each lead-in cable, using the color code in Table 660-1.

TABLE 660-1

MULTIPLE PAIR LOOP LEAD-IN COLOR CONNECTION SCHEDULE

| Loop Detector Number | Colored Pair |
| --- | --- |
| The lowest numbered loop detector | Red and Black |
| The second lowest numbered loop detector | Blue and Black |
| The third lowest numbered loop detector | White and Black |
| The fourth lowest numbered loop detector | Green and Black |
| The fifth lowest numbered loop detector | Brown and Black |
| Usually a spare pair | Yellow and Black |
| Usually a spare pair | Orange and Black |

b.	Remove a short section of cable jacket and only cut the shielded pairs dedicated to loop detectors being spliced. Run these pairs, without splices, to the controller cabinet.

c.	Strip the insulation from the ends of the conductors. With the loop and lead-in conductors parallel to one another, twist the bare ends together and then solder them together.

d.	Insulate and seal each soldered connection with a mastic lined heat shrink tubing; crimp the ends of the heat shrink tubing with a pair of needle nose pliers.

e.	First, crimp and then solder spade terminals to the ends of the shielded pairs in the controller cabinet.

10.	Maintain the electrical isolation between shields and do not allow the drain wires to come in contact at any point other than the ground bus in the cabinet. Tie all drain wires to the ground bus at the controller cabinet.

11.	Encapsulate illumination cable splices in rigid 2-piece plastic molds filled with an insulating and sealing epoxy resin. Furnish molds large enough to complete the splices and encase the cable jackets in the epoxy resin. Furnish molds rated for 600 volts AC operation and feature fill and vent funnels for epoxy resin. Fill the splice mold bodies with epoxy resin that is resistant to weather, aromatic and straight chain solvents, and which will not sustain combustion.

12.	Encapsulate all loop lead-in and telemetry cable splices in rigid, transparent, PVC molds filled with re-enterable polyurethane electrical insulating and sealing compound.  Furnish splice kits rated for 1000 volts AC operation and direct burial.

Provide re-useable four piece molds that are held together with stainless steel hose clamps.  Two pieces form a cylinder and two flexible end caps seal the ends and allow the conductor entry.  Use molds with dimensions suitable for the splice made, encase the cable jackets, and have fill and vent funnels.

Insert a loose woven polyester web that allows a full 6 mm of insulating compound to flow between the splice and the inside of the mold.  Fill the PVC molds with re-enterable polyurethane electrical insulating and sealing compound that cures transparent, is nontoxic, is non-corrosive to copper, and does not support fungi or mold growth.

13.	Permanently identify all cables and single wire conductors by labeling all pole bases and cabinets, at each detector loop tail/lead-in cable and illumination cable splices, and in junction boxes adjacent to lighting and signal poles. When modifying an existing system, label all new and existing lighting cables/conductors with circuit numbers at locations noted above. If the existing circuits are not identified, the Engineer will provide the required circuit numbers.

14.	Label the cables used in the signal and illumination systems with the following legends:

- a.	Use the legends included in Table 740-2, for the cables listed.

- b.	Use the loop number shown on the Plans to label each tail of all loop detectors and the paired loop lead-in conductors in the controller cabinet.

- c.	For interconnect cables, use the first letter of the direction the cable follows to the adjacent intersection on each cable. Add a number suffix if more than one cable is routed to the adjacent intersection.

Furnish the two types of identification tags listed below that feature hand written legends. Write the legends specified neatly and legibly, using a black marking pen recommended by the tag manufacturer. Replace at no expense to the State all identification tags the Engineer deems illegible.

- a.	Use identification cable ties for labeling loop detector tails and the paired conductors included in each loop lead-in cable in the controller cabinet. Furnish identification cable ties made of nylon that feature a nonmagnetic stainless steel locking device embedded in the head and a tag attached "flag style" to the head. Use cable ties consisting of a single strap with a minimum size tag of 19 mm by 10 mm.

- b.	To label all other cables, use cable tags made of nylon reinforced vinyl impervious to the elements and which will not tear. Provide tags with a 100 mm by 45 mm minimum size that attach flag style at one corner to a single strap. Furnish yellow tags for labeling all signal and interconnect cables and red tags for labeling lighting and feeder cables.

15.	Terminate the control and power cables as shown in Table 740-2.

16.	Connect telemetry cable to a Type No. 66B3-50 terminal block. Start the wiring at the top with Pair No. 1. Connect the incoming cable from the computer to the left side of the terminal block, and connect the outgoing cable to the next intersection to the right side.

17.	Wire luminaires using No. 10 AWG illumination tap conductors that run from the fused disconnect kit in the pole base.

Install a fused splice connector between the line and luminaire ballast tap conductors in the base of every pole equipped with a luminaire.

Attach the conductors to the connector halves with setscrew type pressure connectors. Provide the plug and socket assembly so that the fuse remains in the load side plug without exposing live metal parts when the connector separates and the coil springs are not included in the current carrying circuit.

Make the fused connectors readily accessible from the handhole. Install tap conductors to prevent slack when their ends touch the top of the foundation.

18.	Retrofit reused poles with new tap wires, fused disconnect kits, and fuses.

19.	Whenever you can not terminate the conductors specified in the Plans in circuit breakers due to their size, splice a piece of #8 AWG power conductor onto the end of each conductor using an overlap type, irreversible compression connector.  Insulate the splice with heat shrink tubing. Complete the splice in the space between the top of the load center foundation and the bottom of the cabinet. Limit the length of the #8 AWG conductor to 1.5 m.

660-3.06 BONDING AND GROUNDING. Bond and ground all branch circuits according to the NEC and the following requirements. Make all non-current carrying but electrically conductive components, including: metal conduits, junction box lids, cabinets, transformer cases, and metal posts and poles, mechanically and electrically secure to an equipment grounding conductor. Make fixtures mounted on metal poles, including signal components and luminaires, mechanically and electrically secure to the pole.

Install grounding bushings with insulated throats on the ends of all metallic conduits. Use malleable iron or steel bushings with a mechanically galvanized or zinc plated finish and a locking stainless steel or brass mounting screw.  Grounding lugs shall either be an integral part of the bushing or consist of an attached tin-plated copper saddle.  All grounding lugs shall feature a stainless steel screw, the centerline of which falls within 20 degrees of conduit centerline.

Install a bare stranded copper wire for the equipment-grounding conductor in all conduits, except those conduits you install for future use. Install size 8 AWG conductors, except in those conduits that contain circuit conductors larger than 8 AWG. In this case, install a wire equal in size to the largest circuit conductor.  Attach the grounding conductors to the grounding bushings, leaving 300 mm of slack between each bushing.  Connect grounding conductors together using irreversible compression type connectors to form a fully interconnected and continuous grounding system.

Retrofit all existing spare conduits that will contain new cables exclusively with new grounding bushings. When the Plans require you to install or remove conductors from existing conduits, retrofit them with new grounding conductors sized according to the preceding paragraph.

Bond junction box lids to the grounding conductor using copper braid with a cross-sectional area equal to an 8 AWG conductor.  Connect bonding jumpers to the grounding conductors using irreversible compression type connectors.  Replace all missing or damaged conduit and junction box lid bonding jumpers.

Join the equipment grounding conductors from the conduits to the 4 AWG grounding electrode conductor using irreversible compression connectors at Portland cement concrete foundations.  For pile foundations, attach the equipment-grounding conductor from the conduit to the pile cap adapter with a listed mechanical grounding connector.

When you install signal poles, signal posts, and lighting standards with frangible coupling bases, run a 1.2 m long grounding conductor from the grounding bushing on the conduit to the grounding lug located in the hand hole of each pole.

Bond slip-base type standards and pedestals by using 2 conductors from the conduit, one attached with a ground rod clamp to an anchor bolt and the other connected to the grounding lug located in the hand hole of each pole.

Ground one side of the secondary circuit of a transformer.

Install a 19 mm by 3 m copper clad ground rod inside each controller cabinet foundation and a 6 AWG bare stranded copper wire for the grounding electrode conductor.

660-3.07 TRAFFIC CONTROLLER ASSEMBLIES. Prepare each solid-state, traffic controller assembly to operate various traffic signal devices as shown on the Plans. The controller must provide right-of-way, clearance, and other indications using duration and sequence as determined by preset programming.

Details of operation for the complete controller assembly must be according to the traffic phases; preferential phase sequence and concurrence; signal indications; signal indication sequence; detection requirements; and other details shown on the Plans or as specified herein.

At the time the controller cabinet and equipment are delivered for testing, or if ordered prior to purchase, submit the following for each controller assembly called for in the Plans:

- Two blackline sets of controller cabinet schematic wiring diagrams

- Two copies of the manufacturer’s maintenance and operations manuals for the equipment in the cabinet

The schematic wiring diagrams must show all circuits and parts in detail. Clearly identify all parts by name or number. Submit the final wiring diagrams for each controller assembly in an AutoCad Drawing Interchange File format (DXF, DWG, etc.) on 3.5-inch floppy disk. Use only the default font style and line type distributed with a basic AutoCad package.

1.	Shop Tests. Deliver the controller units, auxiliary equipment, and fully wired cabinet (including wiring diagrams and manuals) to a designated test location. All items must arrive together. Partial shipments will not be accepted and will be returned to the vendor.

Allow 6 weeks for shop testing.

All equipment must meet the operational and functional requirements of the Plans and Specifications when tested according to NEMA Standard TS 1-1989, Traffic Control Systems.

If a partial failure occurs at any step in the test (physical, environmental, or operational), you may make on-site repairs within 10 days after notification of the malfunction. The test will then be restarted at the beginning of the category in which malfunction occurred. Failing to make repairs within 10 days after notification will result in rejection.

If equipment malfunctions twice in the same category, the equipment will be rejected.

When equipment is rejected, return the entire package (including the cabinet) freight collect to the vendor. Submit the new equipment, with a different serial number, for testing. Do not use rejected equipment on signal projects within the State of Alaska.

Testing after equipment rejection for failure to comply with specification requirements will be at your expense. The Department will make deductions to cover the costs of such testing from any moneys due or which may become due to you under this Contract.

A failure is any occurrence that results in other than normal equipment operation. The equipment is considered to have failed if any of the following occur:

- The controller unit malfunctions

- The load switch produces incorrect signal indications

- The signal conflict monitor fails to satisfy the contract requirements

After the shop test is satisfactorily completed, you will be notified to pick up the tested and marked equipment at the test site. Pick up the successfully tested equipment within 2 weeks of notification and deliver to the work site. Successful test completion does not relieve you of equipment warranty obligations as specified in Subsection 660-2.01.3 or field testing as specified in Subsection 660-3.01.7.

Copies of shop test results will be sent to you, the vendor, and the State Materials Engineer.

2.	Controller Cabinet Installation.

a.	Where the cabinet is mounted on a concrete pedestal foundation, place a 25 mm drain hole or pipe with screen in the foundation, connecting to the cabinet and emptying above the ground line.

b.	Place a 10 mm fillet of silicone caulking between each controller cabinet and the concrete slab foundation to prevent dust and dirt from entering the cabinet.

c.	When called for in the Plans or Special Provisions, add 50 mm of approved foam insulation within the bottom of the cabinet between the control equipment and the concrete base. Design all wiring, terminals, and other items to allow sufficient room for the insulation.

d.	On Precast Controller Foundations. When called for in the Plans or Special Provisions, place a 10 mm thick, 2-piece exterior grade plywood board on the bottom of the cabinet and under the foam insulation. Place the plywood within the controller cabinet, and do not extend under it. Make holes to allow for the conduits entering the cabinet. Place a pliable sealant composed of a silicon caulking compound between the plywood board and the cabinet and between the plywood board and all the conduits.

e.	Place a ground rod in the Type III junction box next to the cabinet or in the foundation of the cabinet if it is precast foundation.

f.	See Subsection 660-3.05 and Section 740 for wiring requirements.

3.	Controller Operation. Provide the following operations.

a.	Wire the controller cabinet to flash the yellow signals on the main street or highway, and the red signals on the cross streets and left turn lanes.

b.	Make the flashing circuit independent of the controller unit. They must remain in operation upon shutdown of the controller or removal of the controller from the cabinet.

c.	Wire the controller cabinet so that removal of the conflict monitor causes the intersection to go into flashing operation.

d.	Accomplish transfer to flashing operation by relays between the normal load switching device and the field terminals.

e.	Do not operate pedestrian pushbuttons at more than 24 volts.

f.	Controller Priorities. Prioritize the drives, controls and equipment so that each device, control, or item of equipment overrides the operation of those items listed below it:

(1)	Power failure

(2)	Power restart

(3)	Flashing

(4)	Railroad preemptor

(5)	Emergency vehicle preemptor

(6)	Phase selector

(7)	Interconnect

(8)	Time switch

(9)	Normal controller unit operation

Provide the following preemption operations when called for on the Plans or as specified in the Special Provisions.

a.	General. Preemption units must use the controller unit functional inputs and timings to the largest extent possible. Signal load switching control must remain with the controller unit.

b.	Railroad Preemption. The Railroad Preemption Routine must consist of 4 functional intervals in the order listed below:

(1)	Enter Preemption Interval.

(a)	Energize a 120 VAC alarm circuit which may be used for a sign, bell, or beacon.

(b)	Immediately advance to the pedestrian clearance interval of any walk that is being displayed. On any phase other than the track clearance phase(s), abbreviate the pedestrian clearance interval by a timer with a minimum range of 0-30 seconds.

(c)	Following the pedestrian clearance period, the controller must advance into and time normally the vehicle clearance intervals.

(d)	If the preemption is received while in the track clearance phase(s), skip step (b) and (c) above.

(2)	Track Clearance Interval.

(a)	Provide a timing period to allow sufficient green clearance time for any vehicles that may be stopped on or immediately behind the railroad tracks. The timing must be adjustable over a range of 0 to 30 seconds.

(b)	Following the track clearance period, the controller must advance into and time normally the vehicle clearance interval(s).

During Preemption Interval. Allow the controller to operate normally with the exception of not serving those phases that conflict with the railroad crossing. Keep this interval in effect until the preemption call is removed.

(3)	Leaving Preemption Interval.

(a)	De-energize alarm circuit.

(b)	Immediately advance to the active phase normal pedestrian and/or vehicle clearance interval(s).

(c)	The controller must advance to those phases that were omitted under preemption control when complete control is returned to the controller unit.

c.	Emergency Equipment Preemption. The Emergency Equipment Preemption Routine must consist of 3 functional intervals in the order listed below:

(1)	Enter Preemption Interval.

(a)	Energize a 120 VAC alarm circuit which may be used for a sign, bell, or beacon.

(b)	Immediately advance to the pedestrian clearance interval of any walk that is being displayed. On any phase other than the track clearance phase(s), abbreviate the pedestrian clearance interval by a timer with a minimum range of 0-30 seconds.

(c)	Following the pedestrian clearance period, the controller must advance into and time normally the vehicle clearance intervals.

(d)	If the preemption call is received while in the preempt phase(s), skip step (b) and (c) above.

(2)	Preempt Phase Interval. Hold the controller in the preempt phase(s) until the call is removed.

(3)	Leaving Preemption Interval. When the preemption call is removed, the controller unit must immediately revert to normal operation.

660-3.08 SIGNAL AND LIGHTING STRUCTURES. Install signal and lighting equipment according to the details shown on the Plans and the following:

Determine the shaft lengths and signal mast arm connector plate locations on poles to meet the plan mounting heights of luminaires and traffic signal heads.

Remove burrs and sharp edges from the inside and outside of holes before passing conductors through the walls of posts, poles, mast arms, signal heads, and other equipment.

Furnish all work to install foundations for relocated poles, including: conduit, excavation, reinforcing steel, class A concrete, anchor bolts, nuts, and washers.

Orient photoelectric control units mounted on top of poles to face the north sky.

To install photoelectric controls on top of electroliers, use a pole top adapter manufactured to fit over the end of poles, General Electric model PTA-PECTL or approved equal.

To install photoelectric controls on signal poles, wood poles and on Type 1 and 1A Load Centers, use a receptacle manufactured to fit on the end of a rigid metal conduit, General Electric model MB-PECTL or approved equal.  On signal poles, attach a short nipple to the rain cap using a Myers hub sealed with silicone.

1.	Electrolier Installation. Before installing electroliers, check the socket position of each luminaire to verify it matches the position indicated in the instructions for the light distribution type shown on the Plans.

Install electroliers with mast arms with a slight rake by plumbing the side of the pole opposite the mast arm.  After the pole has been plumbed, level the luminaire as recommended by the manufacturer.

Install electroliers without mast arms with the centerline of the pole plumb.

2.	Wood Pole Installation. Place the poles in the ground to at least 1.8 m deep.

After setting each pole in the ground, backfill the space around the pole with selected earth or sand, free of rocks 100 mm or larger, or deleterious material. Place in layers approximately 100 mm thick and thoroughly compact with mechanical tampers.

Furnish poles that provide a minimum vertical clearance of 5.4 m between the pavement and low point of overhead conductor.

3.	Signal Pole Installation. Install signal poles with the centerline of the pole plumb. Install a metal skirt that fits around the anchor bolts and between the top of the foundation and bottom of the base plate. Secure the skirt with stainless sheet metal screws.

4.	Signal Head Mounting. Keep all signal indications fully and securely covered with a white or light brown material until the signals go into operation.

Furnish elbow pipe fittings, post top adapters without a terminal compartment, and elevator plumbizers with integral serrated contacts that feature 72 teeth.

For signal faces installed on the sides of poles, furnish signal frames that consist of watertight assemblies of 38 mm nominal diameter standard steel pipe, malleable iron or brass pipe fittings, and bronze terminal compartments.  Furnish signal frames that conceal the conductors within the framework.

Furnish vehicular signal frames with a minimum horizontal dimension between the center of the terminal compartment and the axis of the adjacent signal face of 550 mm in side mounted frames and 275 mm in post top installations.

Furnish all terminal compartment with a terminal block containing 12 poles, each with two screw-type terminals. Each terminal must accommodate at least three 14 AWG conductors. Provide terminal compartments with a rain-tight door that provide ready access to the terminal block.

Securely attach terminal compartments on the side of poles according to Standard Drawing T-30.  Install vertical pipe members plumb.

When you install 5-section vertically stacked signal heads on the sides of poles, secure the vertical pipe to the pole using a steel conduit hanger mounted 150 mm below the top horizontal pipe.

Aim through-phase vehicular signal faces at a point located a distance from the face as shown in Table 660-2.  If two through-signal faces are not visible from this point at a height of 1,050 mm above finished grade, consult the Engineer for corrective measures.

Orient pedestrian signal faces at the center of the crosswalk on the opposite side of the street.

# TABLE 660-2

# THROUGH-SIGNAL AIMING POINT

| 85th Percentile Speed (mph) | Minimum Visibility Distance (m) |
| --- | --- |
| 20 | 55 |
| 25 | 65 |
| 30 | 80 |
| 35 | 100 |
| 40 | 120 |
| 45 | 140 |
| 50 | 165 |
| 55 | 190 |
| 60 | 220 |

Install framed signals on post-tops using post top adapters with terminal compartments, except one-way signal heads, may be installed on slip-fitters without a terminal compartment.  Provide post top adapters with no terminal compartment made of cast-iron.  Furnish post top adapters that fit over a DN 100 standard pipe and feature two rows of cadmium plated steel setscrews, with three screws in each row.

Provide signal heads that will be mounted on mast arms or pipe tenons with a ferrous or bronze elevator plumbizers.

With two-piece mast arms, do not install signal heads within 300 mm on either side of the slip type field splice.

Install side-mount pedestrian signals using a 2-piece, hinge connected, cast aluminum bracket that mounts directly between the pole and the side of the signal head housing. The bracket shall provide less than 75 mm of clearance between the head and pole. The bracket must properly fit round poles 100 mm or greater in diameter and allow a minimum rotation of 30 degrees when mounted on a 100 mm pole. The bracket shall provide a rain-tight terminal compartment and include a 12-position terminal block.

5.	Pedestrian Push Button Installation. Install the push button and sign on the crosswalk side of the pole. Install indicator lights when specified.

Install R10-4B (R or L) push button signs above each push button.  Furnish signs with the arrow pointing in the direction of the appropriate crosswalk. When channel is used for mounting push button signs, tap the top and bottom sign bolts into the pole.  Install R10-101 stickers, The Meaning of Pedestrian Signals, immediately above and between the R10-4B signs, when two pedestrian push buttons are installed on a pole.

6.	High Tower Lighting System Installation. Assemble high tower poles according to the installation instructions furnished by the manufacturer.  If you want to assemble the poles using another technique, furnish a plan stamped by a registered professional engineer to the Engineer for approval.  Furnish all timbers required to assemble the pole, regardless of the method of assembly.

Position the pole during assembly to avoid moving the pole on the ground when you lift the pole to install it on its foundation.  When conditions around a foundation preclude assembling the pole on site, assemble the pole as close as possible to the foundation and move the pole into position for installing it on its foundation.  Before moving a pole, submit a plan stamped by a register professional engineer for moving poles without damage to the Engineer for approval.

Attach the luminaire to the bracket arm by means of a bracket entry and lamp support assembly.

Install the lowering system including masthead assembly, luminaire ring, winch assembly, and cables as instructed by the manufacturer’s on site representative.

Furnish the Engineer an instruction sheet from the manufacturer for orienting reflectors in luminaires that provide an asymmetrical light distribution.  Adjust the luminaire reflectors on a each pole according to this sheet until they are all oriented in the same direction and distribute light according to the pattern shown on the illumination sheets.

Use steel templates to accurately locate and hold the anchor rods plumb and in proper alignment during concrete placement.  Leave this template in place for at least 24 hours after completing concrete placement.  The Engineer will reject foundations with anchor rods that are out-of-position or more than 1:40 out-of-plumb.  The Department does not allow bending of anchor rods to plumb the ends or to move them into position, or altering a pole’s base plate to match the anchor bolts.

Tighten the nuts that secure high tower lighting poles to concrete foundations according to the following procedure.  Use nuts that conform to ASTM Specification A 194 or A 563 of the grade, surface finish, and style for 50.8 mm diameter anchor rods that conform to ASTM F 1554, Grade 55.  All washers shall conform to ASTM F 436 Type 1.

Thread nuts onto the anchor rods to within 25 mm above the top of the concrete base and adjust them downward, if necessary, to provide a minimum 6 mm projection of the rod above the top of the top nut in the tightened position.  Adjust all nuts until their tops form a level plane. Install one washer on top of all leveling nuts and, after setting the pole on these washers, install one washer under all top nuts.

Bring all leveling nuts (bottom nuts) to full bearing on the bottom of the base plate.

Apply beeswax to the top nut bearing face and top nut internal threads before threading it onto the anchor rod.  Tighten all top nuts to a “snug” condition.  Use a click-type torque wrench to apply 600 foot-pounds of torque to the “snug” top nuts.  Torque the top nuts in the following crisscross pattern.

After torquing the top nuts, use a hydraulic wrench to rotate all top nuts an additional one third (120o) turn, while preventing the leveling nuts from turning.  Use the crisscross pattern shown above.

7.	Underpass Lighting System Installation. Mount the fixture as detailed on the drawings so that the axis of the lamp is perpendicular to the axis of the underpass.

8.	Flashing Beacon Installation. When installing flashing beacons adjacent to or in conjunction with a traffic signal system, install the flasher control in the controller cabinet.

660-3.09 MAINTAINING TEMPORARY AND EXISTING ELECTRICAL SYSTEMS.  This work consists of protecting and maintaining the existing and temporary electrical systems during the life of the contract. The work includes: locating, repairing, replacing, adjusting, realigning, cleaning, and relocating components of traffic signals, lighting systems, and flashing beacons to keep them wholly operational and positioned according to the following specifications.

If you fail to maintain the electrical systems as specified herein, the Engineer will adjust payments to you according to Subsection 643-3.06, Traffic Price Adjustment.

Furnish the Engineer with the name and phone number of the person who will maintain the existing and temporary electrical facilities at the Preconstruction Conference.  Make this person available at all times until the date of Acceptance for Traffic and Maintenance and provide all labor, materials, and equipment this person may need to complete repairs ordered by the Engineer.

When you begin work, the Engineer will notify you and the local maintenance agencies in writing of the transfer of maintenance responsibilities, providing an effective date and time. Maintenance does not include replacing defective equipment or repairing damage before transferring maintenance responsibility. Therefore, before starting work on the project, you should inventory the condition of the existing equipment and document all damaged and defective equipment, which the Engineer will inspect with you. If you begin work before providing the Engineer with an inventory, you waive the right to claim extra compensation when the Engineer later finds damaged or defective equipment.

Keep all components of the existing and temporary electrical systems fully operational during the progress of the work, except when the Engineer allows shutdowns to alter or remove the systems. The Engineer will consider these systems fully operational when he finds no damaged or defective equipment in service, all components are clean, located, and aligned as specified herein, and photoelectric controls operate the lighting systems. The State will pay for all electricity used to operate the systems, if the public benefits from their operation. Furnish replacement equipment compatible with equipment used in the Central Region.

Begin work to repair, replace, adjust, realign, clean, and/or relocate components of an affected system within one hour when ordered by the Engineer. If you do not complete the work, the Engineer may have outside forces complete the repairs and deduct the amount billed from any monies due you.

When you work on a traffic signal system, print a record of all work performed in the diary found in each controller cabinet. Make sure each entry includes

1.	The dates and times you began and completed your work, and the names of the crewmembers completing the work.

2.	The characteristics of the equipment failure or faulty operation evident before repair.

3.	The changes made or corrective actions taken.

4.	The printed name and signature of the person responsible for making the repairs or changes.

The Engineer will limit signal system shutdowns to the hours traffic restrictions are allowed in Subsection 643-3.08, Construction Sequencing. During shutdowns, use flag persons to control traffic. Provide local traffic enforcement and maintenance agencies 24-hour notice before shutting down a traffic signal system.

Locate existing conduit runs, buried cables, junction boxes, and all underground utilities before starting work that may damage these facilities or interfere with these systems.

Where roadways remain open to traffic and the work includes modifying the existing lighting systems, energize the modified circuit by sunset on the same day you retire the original circuit.

Relocate or replace signal poles, lighting standards, sign poles, flashing beacon poles, load centers, and controller cabinets whenever you reduce their clearance from the traveled way to less than six feet.

During the various phases of construction, shift the signal heads to keep them aligned horizontally and vertically with the approaches according to the following:

1.	For overhead signals located 16 m and more from the stop line, maintain 5.3 m to 6.6 m of clearance between the traveled way and the bottom of each signal. For closer signals refer to the MUTCD for maximum clearances.

2.	For side mounted signals, maintain 2.7 m to 3.4 m of clearance between the traveled way and the bottom of the signal.

3.	Align overhead signals controlling a single lane with the center of the lane.

4.	Align overhead signals controlling two or more lanes with the lane lines separating the lanes.

- When the horizontal angle to the side mounted far right signal exceeds 20o, relocate this signal to an overhead location. Measure the angle 3 m back from the stop line on the lane line between the two farthest left through lanes.

  - With two or more through lanes, center one signal head over each lane.

  - With one through lane and protected-permitted signal phasing, leave the five section signal over the lane line and center the signal to be relocated over the through lane.

  - Otherwise, install the relocated signal 2.4 m to the right of the signal centered over the through lane.

6.	For pedestrian signals, maintain 2.1 to 2.7 m between the traveled way and the bottom of each pedestrian signal.

7.	Aim all signal heads according to Table 660-2 found in Subsection 660-3.08, Signal and Lighting Structures.

When no longer required, salvage all original and Department provided equipment according to the Plans and item 6. Salvaging or Reusing Electrical Equipment found in Subsection 660-3.01, and remove all other materials used in the temporary systems from the project.

660-3.09(A) TEMPORARY SIGNAL SYSTEMS.  Provide temporary traffic signals at the Parks Highway intersections listed in the Plans or Special Provisions. Move traffic through these intersections at all times with fully functional traffic signals, except during shutdowns to change from one system to another. The Engineer will limit temporary signal system shutdowns to the times when traffic restrictions are allowed in Section 643, Traffic Maintenance. During these shutdowns, use flag-control to control the flow of traffic.

Submit a plan for each temporary signal system to the Engineer for approval before implementation. Include the same number of signal heads, signal phases, pedestrian pushbuttons, etc. found in the signal system being replaced or modified in the plan, plus the following details.

1.	A scale drawing of the intersection that includes all lanes, their widths, and auxiliary lane pocket lengths.

2.	The location of all signal poles, controller cabinet, and the load center that will feed the temporary signal system.

3.	The location, size, and type of each signal head.

Temporary signal systems may consist of any combination of the existing systems, relocated components of the existing systems, guyed wood poles, and parts of the permanent signal system, except all vehicular signal heads mounted on span wires shall feature incandescent optical units.  Provide load centers as required in Subsection 660-3.09(B), Temporary Electroliers.

Furnish and install all materials and miscellaneous hardware required for a functional traffic signal system.  Furnish all signal faces with back plates and visors. Use temporary controller equipment compatible with equipment used in the Central Region.  All materials shall conform to the Plans and Specifications, except you may:

1.	Install temporary controller assemblies on Type III junction boxes.

2.	Suspend traffic signals from messenger cables provided you mount them with standard span wire hangers and secure them with a second cable to prevent misalignment in a wind.  Leave sufficient signal cable slack at each pole to provide for drip loops and to allow realignment of each signal head.

3.	Use a minimum of two circuits to energize the signals of each phase that include two or more signal faces. The Engineer will allow splices only at the terminal blocks in the signal faces.

Whenever temporary signals include a span wire attached to a permanent signal pole, install a guy on the permanent pole and provide protective collars to prevent chafe damage. Exclude poles with breakaway bases in span wire supported signal systems.

Maintain fully actuated traffic signals during the normal course of construction by installing loop detectors or a video detection system.  During winter shutdown, provide loop detectors in the signal systems according to Section 6.080 of Chapter 6 of the Municipality of Anchorage’s Design Criteria Manual.

660-3.09(B) TEMPORARY ELECTROLIERS.  When the contract includes Item 660(14), Temporary Electrolier, install temporary electroliers at the following locations:

1.	Along all roadway segments that are illuminated when you begin work and all of the following conditions apply:

a.	You maintain traffic on the subgrade, portions of the new pavement structure, or on the existing pavement.

b.	You cannot make the permanent lighting system operational beforehand.

c.	When, as a result of your grading operations, a vehicle with a 100 mm ground clearance and 1.5 m between the tires would snag on the existing foundations, or the tops of the existing foundations are more than 200 mm below the grade of the surrounding embankment.

2.	At all locations specified by the Engineer, including

a.	Along detours and diversions, and

b.	Along traveled ways that transition from one typical section to another, and

3.	At all temporary traffic signals.

4.	At the locations shown in the Plans.

North of the Turnagain Arm of Cook Inlet, the Department will not require lighting from midnight June 7 to midnight July 5.  Make temporary electroliers operational by sunset on the day you replace or retire the existing system, or open a roadway and/or detour to traffic.

Submit a plan for each temporary electrolier system to the Engineer for his review and approval before implementing it. Allow at least two weeks for review. Provide temporary electroliers on the far right side of all approaches at signalized intersections.  You may install luminaires and mast arms on the signal poles when they do not conflict with other overhead utilities.  Along roadways, choose one of the following options for your temporary lighting plan

1.	When one is included, use the temporary lighting plan detailed in the Plans.

2.	On roadways with existing lighting, provide new foundations and install poles and mast arms sized to keep the existing luminaires in their existing positions horizontally and vertically over the roadway.  In this case, no lighting design is required.

3.	Design your own temporary lighting system using your choice of luminaires, including the luminaires of the permanent lighting system. Use a layout pattern, mounting height, and luminaire offset and spacing that provide a light distribution that conforms to AASHTO’s “An Informational Guide for Roadway Lighting” illuminance method of design.  Design the system for the roadway’s functional class as specified in the Department’s Annual Traffic Volume Report.

Furnish and install all materials and miscellaneous hardware required to provide a functional lighting system, including foundations, branch circuitry, and electrical load centers.  Size the branch conductors to provide a maximum 5% voltage drop at the most remote luminaire.  All materials shall conform to the Specifications.  You may directly bury the illumination cables provided the cables are listed for direct burial.

Use any of the following poles.

1.	Existing light poles found within the project limits that are in suitable condition for reuse as determined by the Engineer and scheduled to be removed.

2.	Poles from the permanent lighting system.

3.	The following new poles that you furnish, provided they maintain a minimum 9 m difference in elevation between a luminaire and the edge of traveled way beneath it.

a.	ANSI Class 4 wood poles.  Install them outside the clear zone during winter shutdown. To determine the clear zone, see Subsection 1130.02 of the Alaska DOT/PF Highway Preconstruction Manual.

b.	Steel, aluminum, or fiberglass poles that meet design criteria for 130 km per hour wind speeds according to AASHTO’s 1994 edition of the “Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals”.

c.	Poles that are part of the temporary signal systems.

Furnish all temporary electroliers, in service at any time from October 1 through May 15 and located within the clear zone, with an approved yielding type base. Approved yielding bases consist of FHWA approved slip bases, transformer bases, or frangible couplings. Install wood poles and all other fixed base poles outside the clear zone or behind guardrail or portable concrete barrier that protects against another hazard.

Install temporary electroliers, in service at any time from May 15 through September and located within the clear zone, with approved yielding bases or with fixed bases shielded by 9 m of barrier and an FHWA approved end treatment.  Provide 600 mm of clearance between the barrier and pole. Consider the costs of furnishing the barrier and an end treatment a subsidiary obligation of Item 660(14), Temporary Electrolier.  Replace fixed base poles that are located within the clear zone and which will remain in service after October 1 with yielding base poles at no expense to the State.

Use any of the following load centers to energize the temporary lighting and signal systems. Provide all work needed to modify load centers to provide functional temporary lighting and signal systems according to the NEC.

1.	Permanent load centers installed in their plan location.

2.	Existing load centers scheduled to remain intact until completion of the project. You may relocate and reuse existing load centers only if they are approved.

3.	Approved temporary load centers with photoelectrical controlled lighting circuits.  Provide a temporary load center when you retire an existing load center that is not approved, and when approved load centers are unavailable.

Approved load centers include load centers UL labeled as Service Equipment, or UL labeled as Industrial Control Equipment and marked "Suitable for use as service equipment".

660-3.10 FALSEWORK LIGHTING. When required by the Special Provisions, install falsework lighting where vehicular traffic with or without pedestrian traffic crosses through or under structure falsework.

Provide illumination of the portal faces of falsework during the hours from dusk to dawn. Provide illumination of the pavement and pedestrian openings through or under falsework 24 hours a day.

Submit a plan for the proposed lighting installations and do not commence falsework construction until the Engineer has reviewed such plans. The Engineer will make a subsequent review after you place falsework lights in operation.

Falsework lighting equipment remains your property and must be removed from the site of the work upon completion of the project or when directed.

660-3.11 SIGNAL SYSTEM TIMING AND ADJUSTMENTS.  The Engineer will use Municipality of Anchorage (MOA) signal maintenance personnel for certain work inside controller cabinets. Before they arrive to terminate conductors, ensure you have attached terminal connectors to all conductor ends and labeled all paired loop detector conductors and cables as specified in Subsection 660-3.05, Wiring.  On projects outside the MOA, send controller equipment to the MOA for testing and complete all work specified inside controller cabinets.

Controller Cabinet Preparation.  Ship the traffic controller cabinet(s) and equipment to the Municipality of Anchorage Traffic Signal Electronics Shop at 3650 E. Tudor Road, Building C.  They will inspect cabinet wiring, burn in signal equipment, customize cabinets for desired operation, and test the equipment according to Subsection 660-3.07, Traffic Controller Assemblies.

- Loop Detector Wiring.  Municipality of Anchorage Traffic Signal Maintenance (MOA Signal Maintenance) will test and connect all paired loop detector conductors to the terminal blocks.

- Control Cable Wiring.  When you modify an operational signal system or controller assembly, MOA Signal Maintenance will connect all control cables within the controller cabinet to the terminal blocks.

- Timing Adjustments.  During construction, MOA Signal Maintenance may adjust the system and intersection operational timing to accommodate project conditions.

- Interconnect Wiring.  MOA Signal Maintenance will test and connect all interconnect wiring to the terminal blocks.

660-4.01 METHOD OF MEASUREMENT. Section 109 and the following:

Item 660(11), Traffic Loop. By each loop unit, complete and in place, including all conduit, conductors, and other equipment to the nearest junction box.

Item 660(13A), Electrolier Removal. By each complete unit, removed and disposed or salvaged.

Item 660(14), Temporary Electrolier. By each electrolier, wiring, and foundation furnished, installed and maintained as directed by the Engineer.

Item 660(24A), 53 mm RMC. By the meter of conduit installed between junction boxes when not included as part of a lighting system complete, signal system complete, illumination system complete, decorative lights, or traffic signal modification.

Item 660(24B), 78 mm RMC. By the meter of conduit installed between junction boxes when not included as part of a lighting system complete, signal system complete, illumination system complete, decorative lights, or traffic signal modification.

Item 660(24C), 103 mm RMC. By the meter of conduit installed between junction boxes when not included as part of a lighting system complete, signal system complete, illumination system complete, decorative lights, or traffic signal modification.

Item 660(29), Type 1A Junction Box. By the each junction box installed and accepted in place when not included as part of a lighting system complete, signal system complete, illumination system complete, decorative lights, or traffic signal modification.

Item 660(30), Type II Junction Box. By the each junction box installed and accepted in place when not included as part of a lighting system complete, signal system complete, illumination system complete, decorative lights, or traffic signal modification.

660-5.01 BASIS OF PAYMENT. The lump sum prices paid for the items included in the Contract includes full compensation for all work involved in furnishing and installing, assembling, modifying, and removing the components of the systems shown on the plans. This includes: completing all excavation to install foundations, conduits, and junction boxes, backfilling and compacting trenches, removing and replacing improvements, installing sumps under junction boxes, and pulling conductors. The lump sum prices paid also include full compensation for all work specified in the Standard Specifications and Special Provisions. This includes: getting all materials approved; preparing as-built plans, maintaining the electrical systems, adjusting junction boxes to grade, making all splices, labeling all conductors, completing all tests, and delivering salvaged electrical equipment.

Sign removal and reinstallation required to install foundations, conduits, and junction boxes is subsidiary. Minor conduit routing changes as directed are subsidiary to existing contract pay items. All concrete required to complete the foundations is subsidiary. If no item for Bored Casing is included in the bid schedule, boring is subsidiary to other items of work.

If the Engineer orders soffit lights or lighting for pedestrian structures placed in operation before permanent power service is available, the Department will pay the cost of installing and removing temporary power service as extra work under Subsection 109-1.05.

Furnishing, installing, maintaining (including power), and removing falsework lighting is subsidiary to the items of work involved in the structure that requires the falsework lighting.

For Item 660(11), Traffic Loop, include all costs associated with installing each loop detector in the bid price for each loop, regardless of the distance between the loop and serving junction box, referred to hereafter as the loop tail.  Include all labor, equipment, and materials needed to

- Construct and test each loop and label each loop tail.

- Saw cut the existing pavement and remove and dispose of all asphalt from within the saw-cut.

- Bury the loop in the crushed aggregate base and install the loop tail under the curb and gutter.

- Cut a hole in the side of the adjacent junction box and grout the loop tails in this hole.

- Repave the areas cut out to get the loops installed and complete all splices.

Payment for Item 660(11A), Traffic Signal Modification at Main Street will include full compensation for all materials and work to furnish and install conduits, junction boxes, and conductors to reconnect the loops to the existing traffic signal system. This includes: completing all excavation to install conduits and junction boxes, backfilling and compacting trenches, installing sumps under junction boxes, pulling conductors, making all splices, labeling all conductors, completing all tests, and delivering any salvaged electrical equipment.

Payment for Item 660(13A), Electrolier Removal, will include full compensation for all work involved in removal and salvage of existing electroliers, electrolier foundations, cable, conduit removal or abandonment, and removal of associated junction boxes.

The Engineer will pay for Item 660(14) Temporary Electrolier on a contingent sum basis at the unit price of $1,500/each. The Engineer does not require a change order/directive for this item. The unit price paid for each temporary electrolier includes full compensation for all work involved in getting your plan and materials approved, and moving, furnishing, assembling, installing, and making each temporary electrolier operational. The price also includes full compensation for installing a foundation, removing and replacing improvements, installing conductors (in electrical conduit or by direct bury only), maintaining the electrical system, installing temporary electrical load centers when load centers are unavailable for use, and removing the temporary electrolier and its foundation when it is no longer needed.

Payment for Item 660(15), Decorative Lights, will include full compensation for all work involved in completing all excavation and materials to install foundations, conduits, and junction boxes, backfilling and compacting trenches, removing and replacing improvements, installing sumps under junction boxes, and pulling conductors.

Payment for Item 660(24A), 53mm RMC, will include full compensation for all work and materials required for the installation of 53mm galvanized rigid conduit at the locations shown in the plans including excavating and backfilling, bedding, pull rope, and marker tape.

Payment for Item 660(24B), 78mm RMC, will include full compensation for all work and materials required for the installation of 78mm galvanized rigid conduit at the locations shown in the plans including excavating and backfilling, bedding, pull rope, and marker tape.

Payment for Item 660(24C), 103mm RMC, will include full compensation for all work and materials required for the installation of 103mm galvanized rigid conduit at the locations shown in the plans including excavating and backfilling, bedding, pull rope, and marker tape.

The Engineer will pay Item 660(26), Signal System Timing and Adjustments, based on paid receipts plus 15 percent for authorized work performed by the Municipality of Anchorage. A directive will not be required to initiate payment for work performed under Item 660(26). Pay all costs of the Municipality re-testing equipment that fails to comply with the Plans and Specifications.  (06/26/03)R65USC02

Payment for Item 660(29), Type 1A Junction Box, will include full compensation for all materials and work to furnish and install Type 1A junction box at the locations shown in the plans including excavating and backfilling, bedding, ground rod, conduit caps, conduit labeling, junction box lid, and ground connections.

Payment for Item 660(30), Type II Junction Box, will include full compensation for all materials and work to furnish and install a Type II junction box at the locations shown in the plans including excavating and backfilling, bedding, ground rod, conduit caps, conduit labeling, junction box lid, and ground connections.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 660(1A) Traffic Signal System Complete (Parks Highway & Seward-Meridian) | Lump Sum |
| 660(1B) Traffic Signal System Complete (Parks Highway & Palmer-Wasilla) | Lump Sum |
| 660(1C) Traffic Signal System Complete (Parks Highway & Crusey Street) | Lump Sum |
| 660(3) Highway Lighting System Complete | Lump Sum |
| 660(7A) Temporary Signal System Complete at Seward Meridian | Lump Sum |
| 660(7B) Temporary Signal System Complete at Palmer-Wasilla Highway | Lump Sum |
| 660(7C) Temporary Signal System Complete at Crusey Street | Lump Sum |
| 660(10) High Tower Lighting System Complete | Lump Sum |
| 660(11) Traffic Loop | Each |
| 660(11A) Traffic Signal Modification at Main Street | Lump Sum |
| 660(13A) Electrolier Removal | Each |
| 660(14) Temporary Electrolier | Contingent Sum |
| 660(15) Decorative Lights | Lump Sum |
| 660(24A) 53 mm RMC | Meter |
| 660(24B) 78 mm RMC | Meter |
| 660(24C) 103 mm RMC | Meter |
| 660(26) Signal System Timing and Adjustments | Contingent Sum |
| 660(28A) Pedestrian Undercrossing Illumination System Complete | Lump Sum |
| 660(29) Type 1A Junction Box | Each |
| 660(30) Type II Junction Box | Each |

(2/14/03)R&M

SECTION 661

ELECTRICAL LOAD CENTERS

Special Provisions

661-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Prior to calling MEA for a service to be placed to any new load center the Contractor shall have all new load centers inspected and accepted (tagged and dated). Once the load centers have been accepted, the Contractor can call MEA at (907) 761-3231 to schedule the service to each load center.

661-5.01 BASIS OF PAYMENT. Add the following: Payment of any fees required by the local authority for an electrical inspection and the costs of correcting the deficiencies noted during the inspection shall be considered incidental to the Section 661 items.

(1/20/04)R&M

Add the following Section:

SECTION 662

SIGNAL INTERCONNECT

Special Provisions

662-1.01 DESCRIPTION.  This work consists of furnishing and installing signal interconnect in conduit between the controller assemblies shown on the plans along the route indicated, or on a route as directed by the Engineer.

.

662-1.02 REGULATIONS AND CODE.  Complete all work in accordance with these specifications and Section 660, Signals and Lighting.

662-2.01 MATERIALS.  Submit all materials for review and approval per the requirements of Subsection 660-1.03, Equipment List and Drawings.

Furnish a 25 pair #19 telephone cable conforming to REA Specification PE-39 for the interconnect cable. Install the interconnect cable in a conduit as shown in the plans.

Encapsulate completed splices in waterproof reenterable type splice kits of the same type used for loop lead-in cable splices. REA Bulletin 344-2 entitled "Lists of Materials Acceptable for use on Telephone Systems of REA Borrowers" provides a list of acceptable splice materials.

662-2.02 POLYETHYLENE DUCT SYSTEM.  Install a polyethylene duct system in which to pull the interconnect cable.  The Department will not permit the installation of the polyethylene conduit in a plowed trench.

Furnish a Type III polyethylene duct made from ultra high molecular weight, high-density, polyethylene (PE) pipe, with a tensile yield strength of 22,000 kPa when tested in accordance with ASTM D638.

Furnish fittings used in the duct system such as elbows, etc. made from the same type polyethylene as the duct.  Fuse all connections using the manufacturers recommended procedure and equipment.

- Keep all junction boxes and ends of conduit covered unless you are pulling conductors.

Mark all underground conduits with a continuous strip of polyethylene marker taped.  Furnish marker tape with a black legend on a red background that is 0.102 mm thick and 150 mm wide. Install the tape 150 mm below finished grade.

Use care in all compaction operations to prevent damage to the junction boxes and conduits. Remove and replace all items damaged during the backfill and compaction operations at no additional cost to the State.

After testing and installing the conductors, plug all conduit openings with duct seal to prevent water from entering the duct system.

662-2.03 JUNCTION BOX.  Furnish pre-cast, reinforced concrete junction boxes conforming to the sizes and details shown on the Plans. Install junction box lids made of cast iron.

662-3.01 CONSTRUCTION REQUIREMENTS.  The signal interconnect consists of cable, conduit, junction boxes, other necessary hardware required to complete the item, cable splicing, and the termination of conductors on terminal blocks.

- Install the polyethylene conduits at least 765 mm below finished grade.

Install junction boxes at all abrupt changes in conduit alignment and on 90 meter maximum centers. Angle points and curves with delta angles greater than 45 degrees constitute an abrupt change.  Install Type 1A junction boxes, except when you need to splice interconnect cables together.  Complete all interconnect cable splices in Type II or III junction boxes. Complete all splices in accordance with Rural Electrification Administration (REA) Specification PC-2 for splicing telephone cables.  You may determine the locations for making signal interconnect splices. The Engineer, however, will not allow splices to be made at low points in the terrain or the bottom of sag vertical curves.  Keep splices in the interconnect cable to an absolute minimum, and get the splice locations approved by the Engineer beforehand.

- Furnish the controller cabinets with terminal blocks for the interconnect cable.

662-3.02 EXCAVATING AND BACKFILLING.  Backfill the excavations according to Section 204”.

The Engineer will not allow ripping or plowing for installation of conduit. Backfill around the polyethylene conduit with a 150 mm lift of material free of rocks exceeding a 25 mm maximum dimension.

662-4.01 METHOD OF MEASUREMENT.  The Engineer will measure signal interconnect by the meter from the center of junction box to center of the next junction box, following the slopes of the existing ground.

662-5.01 BASIS OF PAYMENT.  The contract unit price paid per meter for signal interconnect constitutes full compensation for furnishing all work required to complete the work specified. Terminal blocks for the interconnect cable shall be paid under Items 660(1_) Traffic Signal System Complete.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 662(1) Signal Interconnect | Meter |

(6/15/00)R67M98 (07/30/03)R&M

Add the following Section:

SECTION 669

AUTOMATED TRAFFIC RECORDERS

Special Provisions

669-1.01 DESCRIPTION. This work shall consist of furnishing and installing six (6) each traffic count stations for the automated collection of traffic data on an intermittent or permanent basis. The Automated Traffic Recorder (ATR) station is a vehicle detection system.

The ATR station can be a combination of detection, electronics and software and is defined as a system. Four types of systems are defined as follows:

1.	An Intermittent ATR station shall consist of the following:

a.	Inductive loops detectors for detecting the presence of vehicles, and,

b.	Underground conduit, junction boxes, cabinet, and wiring as specified on the plans.

2.	A Traffic Volume Count System shall consist of the following:

a.	Inductive loop detectors for detecting the presence of vehicles,

b.	Electronics for collecting and storing data obtained from the sensors,

c.	Communications capabilities (e.g. modem and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel, and

d.	Underground conduit, junction boxes, cabinet, modem, electrical and telephone service as specified.

3.	An Automated Vehicle Classification System (AVC) shall consist of the following:

a.	Piezoelectric sensors for detecting vehicle presence and counting axles and measuring axle spacing,

b.	electronics for collecting, analyzing and temporarily storing the data obtained from the sensors,

c.	communications capabilities (e.g. modem, remotely controllable code operated switch and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel, and

d.	underground conduit, junction boxes, cabinet, electrical and telephone service as specified.

4.	A Weigh In Motion (WIM) System shall consist of the following:

a.	Piezoelectric or bending plate sensors for detecting vehicle presence and counting axles and measuring axle spacing and weight,

b.	electronics for collecting, analyzing and temporarily storing the data obtained from the sensors,

c.	communications capabilities (e.g. modem, remotely controllable code operated switch and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel,

d.	underground conduit, junction boxes, cabinet, electrical and telephone service as specified,

e.	modification to the pavement section at the WIM installation to provide a smooth approach to and adequate mounting foundation for the axle weight sensors, and

f.	a gravel pad for installation of the equipment cabinet and off-street parking for calibration and service vehicles.

The locations of traffic detection, and cabinets, shown on the plans are approximate and the exact locations shall be established in the field by the Engineer after consultation with the DOT/PF Highway Data Section.

Concrete pavement work shall consist of furnishing and placing Portland cement concrete for concrete road section at Weigh In Motion (WIM) Installation site in conformance with section 501 or as established on the plans.

General descriptions of the Automated Traffic Recorders are as follows:

Assembly H1 - A four loop configuration, intermittent ATR with piezoelectric sensors for automated vehicle classification, and without electrical or telephone service.

Assembly H2 - A two loop configuration, intermittent ATR without electrical or telephone service.

Assembly H3 - A permanent ATR equipped for traffic volume counting, automated vehicle classification and weigh-in-motion. Includes a ten inductive loop configuration, traffic volume electronics, piezoelectric sensors and electronics for automated vehicle classification, bending plate axle weight sensors and electronics for weigh-in-motion, telephone modem, remotely controllable code operated switch, electrical and telephone service. This assembly will require a 88 meter section of portland cement concrete pavement as a foundation for the complete WIM system.

669-1.02 REGULATIONS AND CODE. All materials and workmanship shall conform to the standards of the Underwriters Laboratories, Inc. and the National Electrical Safety Code and local safety code requirements, where applicable.

All electrical equipment shall conform to the standards of the National Electrical Manufacturers Association, where applicable.

669-2.01 MATERIALS. All materials provided for this work shall be new, unless otherwise stated, and must meet the requirements of Section 740, Signals and Lighting Materials, and the following:

1.	Wiring. All wiring shall be in accordance with Subsection 660-3.05, Wiring. All single wire conductors and cables shall have clear, distinctive and permanent markings on the outer surface through out the entire length giving the manufacturer's name or trademark, the insulation type and letter designation, the conductor size, voltage rating and the number of conductors if a cable.

2.	Conduit. All conduit shall be in accordance with Subsection 660-3.03, Conduit. Nylon pull cords shall be left in all two inch conduit.

3.	Junction Boxes. All junction boxes shall be in accordance with Subsection 660-3.04, Junction Boxes. Junction boxes used for ATR installations shall not contain any conductors carrying a voltage over 50 volts.

4.	Terminal Blocks. All terminal blocks shall be provided with nickel, silver or cadmium plated brass binder head screw terminals. Terminal blocks shall be a barrier type, 600vac @ 20amps, capacity for 12 to 18 AWG wire. All terminal blocks shall have removable shorting bars in each position and have integral type marking strips. All conductors shall be terminated and labeled to a terminal block.

5.	Inductive Loops. All inductive loops shall be in accordance with Subsection 660-3.05, Wiring. Conductors used for detector inductive loops shall be UL listed as Type RHW/USE/XLP 12AWG 600V rating. Multiple pair loop lead-in cable shall consist of 18AWG stranded tinned copper wire with each twisted pair containing a 20AWG tinned copper drain wire, and aluminum shield and overall PVC or PE jacket conforming to IMSA specification 50-2.

6.	Cabinets. All cabinets shall be unpainted, brushed aluminum and shall have a NEMA 3R rating.

The style 1 cabinet at Assembly H1a shall be installed as indicated on the plans. The cabinet shall be a general purpose NEMA III enclosures 610 mm" H x 355 mm W x 280 mm D and firmly mounted on a 100 mm diameter steel post.

The Style 3 (CBA3) cabinet installed at Assembly H1 shall be in accordance with Subsection 660-3.07, Traffic Controller Assemblies. The cabinet shall be 1955 mm H x 1118 mm W x 660 mm D and mounted on a concrete pedestal as specified in the plans. The cabinet shall include a thermostatically controlled heater and exhaust (cooling) fan, switched light, 4 shelves, Corbin lock keyed to match existing Highway Data Section cabinets with Corbin locks, Ground Fault Interrupt (GFI) circuit breakers, dual sets of four 110 volt receptacles and surge protectors for all electrical and telephone equipment. The circuit breakers, 110 volt receptacles and terminal blocks shall be mounted on the side walls adjacent to the door.

7.	Asphalt Pavement. Materials used for asphalt pavement shall conform to Section 401, Asphalt Concrete Pavement for Asphalt Concrete, Type II.

8.	Modem. The Contractor shall supply and install a high-speed modem at Assembly H1. The modems shall meet the following requirements:

a.	300, 1200, 2400 4800 or 9600 baud selectable.

b.	Automatic Answer Mode.

c.	Hayes 2400 compatible.

d.	Pulse or touch-tone dialing.

e.	Full or half-duplex operation.

f.	External switches for COM port 1-4 selection.

g.	Compatible with CCITT V.22, Bell 103, and Bell 212A modem specifications.

h.	Meets FCC Part 15, FCC Part 68 regulations for direct connection to telephone lines.

i.	Hardware flow control.

The modem shall be equal or better to a Multitech 9600.

9.	Remotely Controllable Code Operated Switch. The Contractor shall supply and install a remotely controllable code operated switch at Assembly H1. The code operated switch shall meet the following requirements:

a.	Minimum eight addressable ports.

b.	Speed: 110 to 19,200 bps, each port individually setable.

c.	Flow Control: Hardware X-ON/X-OFF.

d.	Data Format: 7 or 8 data bits; odd, even, or no parity.

e.	Connectors: DB25s (female); DTE/DCE strap-setable.

f.	Power: 115 VAC, 60 Hz, 5 watts.

Suggested Model GS-SW540A with 4-port expansion board Model GB-SW541-C available from Black Box Corporation or equivalent.

10.	Traffic Volume Counters. The Contractor shall supply and install traffic volume equipment at Assembly H1 with the capability of counting traffic in all 7 lanes. The permanent traffic volume counter(s) shall be GK brand units available from Capital Enterprise & Engineering Corp., P.O. Box 12688, Salem, OR 97309, phone (503) 363-9290. The permanent traffic volume counters shall include:

a.	GK model 6000 TC.

b.	Loop cards.

c.	Communications card.

d.	Rechargeable battery.

e.	64KB data module.

f.	Battery charger.

g.	Connective cable.

h.	Modem cable.

i.	User manual.

11.	Automated Vehicle Classification (AVC) Counters and Sensors. The contractor shall supply and install a 7-lane automated vehicle classification system at Assembly H1. The AVC counters and piezoelectric axle sensors shall be PAT brand C100S available from PAT Equipment Corporation, Inc., 1665 Orchard Drive, Chambersburg, PA 17201, phone (717) 263-7655. AVC counters and sensors shall include:

a.	PAT model C100S.

b.	Loop card(s).

c.	Communications card.

d.	Loop cable(s).

e.	Power cable.

f.	Axle detector cable.

g.	Modem cable.

h.	User manual.

i.	Rechargeable battery.

j.	Battery charger.

k.	Piezo axle sensor (1 per lane).

l.	Epoxy with hardener for each piezo axle sensor.

12.	Weigh In Motion (WIM) Counters. The Contractor shall supply and install a 7-lane weigh in motion system at Assembly H1. The WIM electronics and sensors shall be International Road Dynamics (IRD) brand Piezoelectric WIM equipment available from Internation Road Dynamics, 702 43rd Street East, Saskatoon, Saskatchewan S7K 3T9 Canada, phone (306) 934-6777. WIM electronics and sensors shall include:

a.	IRD Piezoelectric WIM basic units, including 386 computer, 110 volt power supply, monitor, keyboard, 90 mm floppy drive, 40Mb hard disk drive, and DOS software.

b.	Loop cards.

c.	Loop cables.

d.	Piezoelectric Sensors Class I AS500 (2 per lane).

e.	Piezoelectric cards, 4 channel.

f.	Modem cable.

g.	User Manuals.

h.	IRD WIM software.

13.	Temperature Probe and Data Logger. The Contractor shall provide and install a six foot temperature probe at Assembly H1. The temperature probe and data logger shall meet the following requirements:

a.	Total of 16 thermistors.

b.	Degree of accuracy + 0.1 degree C.

c.	Thermistor number one on 3.6 meter wire lead.

d.	Thermistors at 76 millimeter spacing for first 305 millimeters.

e.	Thermistors at 150 millimeters spacing from 305 to 1830 millimeters.

f.	Side mounted 25 meter cable.

g.	Storage capability for 16 thermal readings at one-hour intervals for a minimum of 90 ays.

h.	Battery and power supply/charging unit to enable continuous operation from 110 volt service.

i.	All cables and connectors needed to complete the system.

Suggested model TP101 temperature probe and data logger available from Measurement Research Corporation, 4126 4th Street NW, Gig Harbor, WA 98335, Phone (206) 851-3200.

669-3.01 CONSTRUCTION REQUIREMENTS.

1.	Wiring. All wiring shall be installed in accordance with Subsection 660-3.05, Wiring All unused pairs shall be terminated within splices, at cabinets unused pairs shall be terminated at to a terminal block and labeled "SPARE".

2.	Conduit. All conduit shall be installed in accordance with Subsection 660-3.03, Conduit or as indicated on the plans.

3.	Junction Boxes. All junction boxes shall be installed in accordance with Subsection 660-3.04, Junction Boxes or as indicated on the plans.

4.	Terminal Blocks. All terminal blocks and wire pairs shall be clearly labeled on the block. Terminal blocks within cabinets shall be permanently mounted so that all terminals are easily accessible from the front of the cabinet. By convention, wire pairs shall be labeled such that inductive loops and other sensors in the lane nearest to the cabinet are at the top or left side of the block.

5.	Inductive Loops. All inductive loops installed through existing asphalt paving shall be installed using full-lane-width cuts a minimum of 2.4 meters in length, with the inductive loops centered in the 2.4 meters cut with a minimum distance of 0.3 meter to the edge of the cut. All edges of the cuts shall be tack-coated during patching to ensure full adhesion. All full-width patches shall be rolled sufficiently to ensure compaction equal or better than the existing asphalt, and to prevent edge ridges or settling of the patch from 'telegraphing' through the final lift asphalt. Compaction tests shall be required at the discretion of the Project Engineer.

All loops installed in new asphalt paving shall be installed immediately prior to final paving of the particular section of road. Installation of loops after final lift paving shall not be permitted.

There shall be no transverse seams, joints or roughness within 15 meter of any inductive loops. The finished surface of the asphalt shall be tested with a straightedge 3 meter long. The surface shall not vary more than 6 millimeters from the lower edge of the straightedge in an area within 15 meters of all sensors at the ATR installations. At the discretion of the Project Engineer, a profilograph equipped with a chart recorder shall be run down each wheelpath of each lane for a distance of 15 meters before and after each ATR installation. The profilograph will be supplied by the Highway Data Section and shall be operated by Contractor personnel. The asphalt surface as recorded by the chart recorder shall not vary more than 6 millimeters in 3 meters.

All inductive loops shall be formed of 4 turns of wire, and shall be 11.8 square with +25 millimeter tolerance. All inductive loops in a lane shall be located 4.9 meters from leading edge to leading edge except for the loops used in the WIM system which shall be 9 meters from leading edge to leading edge, with +25 millimeter tolerance. All inductive loops located in adjacent lanes shall be aligned within +25 millimeter tolerance.

All lead-in conduit from edge of pavement to the inductive loops shall be straight and perpendicular to the center line of the road.

6.	Cabinets. All style 3 control cabinets shall be installed according to Subsection 660-3.07, Traffic Controller Assemblies. All style 1 and 2 cabinets shall be installed as indicated in the plans.

7.	Piezoelectric Sensors for AVC. All permanent piezoelectric sensors shall be installed per AVC equipment manufacturer's recommendations. All coaxial cables shall be run to the equipment cabinet without splices and terminated on the specified terminal block, with at least 1.8 meter of slack cable available in the equipment cabinet prior to the terminal block. Acceptance testing shall be performed by the Contractor to ensure compliance with Subsection 669-3.02 Acceptance Testing.

8.	Class I Piezo WIM Sensors and Electronics for WIM. All permanent Piezo WIM sensors shall be installed per WIM equipment manufacturer's recommendations. A manufacturer's representative shall be present to supervise installation of the piezo WIM sensors and to commission the WIM equipment as a complete and fully functioning system. The Contractor shall make all arrangements to schedule delivery of equipment and to schedule the manufacturer's representative.

The piezoelectric WIM sensors will be installed between two inductive loops. The 1.8 meter square loops shall be spaced 9 meters from leading edge to leading edge, with 7.3 meters between the loops as specified in 669-3.01(5). The piezoelectric sensors shall be installed using epoxy per manufacturer's specification in saw-cut slots approximately 38 millimeters wide, 38 millimeters deep and 3.8 meters long. The sensors shall be spaced 3.7 meters apart with +25 millimeter tolerance, centered between the loops with +25 millilmeter tolerance, and spaced 1.8 meters from each sensor to the edge of the adjacent loop.

All cables shall be run to the equipment cabinet with no more than 1 splice per cable and terminated on the specified terminal block, with at least 0.6 meters of slack cable in each junction box and at least 1.8 meters of slack cable available in the equipment cabinet prior to the terminal block.

Acceptance testing shall be performed by the Contractor to ensure compliance with Subsection 669-3.02 Acceptance Testing.

9.	Temperature Probe. The temperature probe shall be installed vertically in a 2.1 meter deep by 150 millimeter diameter hole augured through the asphalt shoulder. The probe shall be located in the shoulder in front of the cabinet for Assembly H1, at approximate Station 336+45, and placed 0.6 meters from the edge of the lane. The 1.5 inch diameter temperature probe shall be placed in the center of the augured hole and the hole backfilled with fine sand to the bottom of the asphalt. The top thermistor on the 1 foot lead shall be placed 38 millimeters below the top surface of the asphalt, and the hole shall be filled with asphalt patch material and compacted. The 24 meter cable shall be brought to the edge of the road in a saw-cut channel, which is then filled with 3-M loop sealant. The cable shall be run underground to the nearest junction box (JB03) and then through conduit to the controller cabinet and connected to the data logger. The data logger shall be connected to the matrix switch to enable remote data retrieval over the telephone line.

10.	Utilities. The Contractor shall provide and install the load center per the plans, specifications and the requirements of the appropriate Electrical Utility. All wiring from the load center to the equipment in the cabinet shall be provided and installed by the Contractor. The Contractor shall request inspection of the load center by the Department of Labor, Division of Mechanical Inspection (DOL/DMI). After approval of the load center by the DOL/DMI the Contractor shall inform the Engineer as to when electrical service is needed at the load center, with sufficient time to enable the Engineer to schedule the installation with the Electrical Utility prior to commissioning of the equipment. The Engineer will make arrangements in writing with the Electrical Utility to connect to the load center. The Electrical Utility will provide service to the load center upon request of the Engineer.

The Telephone Utility will provide and install a Network Interface Device (NID) on or near the cabinet. Underground wiring for telephone service will be provided and installed by the Telephone Utility, usually in association with the Electrical Utility when electrical service is installed. The Contractor shall provide and install a RJ-11 telephone jack inside the cabinet, and shall provide and install all wiring to connect the telephone jack with the NID. The Contractor shall inform the Engineer as to when telephone service is needed at the telephone jack, with sufficient time to enable the Engineer to schedule the installation with the Telephone Utility prior to commissioning of the equipment. The Engineer will make arrangements in writing with the Telephone Utility to install and connect the NID. The Engineer will inform the Contractor of the telephone number at the NID.

669-3.02 ACCEPTANCE TESTING. The Contractor shall perform acceptance testing on all ATR installations.

1.	General Tests. All ATR installations shall be testing in accordance with Subsection 660-4.01, Installation Details.

2.	AVC Acceptance Tests. In addition to the General Tests, Acceptance Tests shall be performed by the contractor on all automated vehicle classification installations. Acceptance tests shall be performed to demonstrate that the AVC system performs at or above the required accuracy.

a.	Accuracy Requirements - The accuracy of Automated Vehicle Classifiers is such that, if good lane discipline is maintained:

(1)	Not more than plus or minus ten percent (+ 10 %) of the total vehicles in FHWA class one through class three (1 thru 3) and

(2)	Not more than plus or minus five percent (+ 5 %) of the total vehicles in FHWA class four through class thirteen (4 thru 13) are classified in the wrong bin when compared with a concurrent manual classification count.

b.	The AVC Acceptance Test shall consist of an hour-by-hour and summary comparison of a manual classification count with the output of the permanent AVC. A manual vehicle classification count shall be performed for sixteen consecutive hours (16 hrs) at the AVC site. During that 16 hour period, a minimum of five (5) vehicles in an individual vehicle type bin is required in order to be included in the final comparison.

c.	The difference between the number of vehicles in each type bin as observed manually and as recorded by the AVC system shall be computed. If more than the allowed percentages as listed above are classified in the wrong bin when compared with a concurrent manual classification count, the AVC equipment shall be recalibrated and the test performed again until the system meets the required accuracy.

3.	WIM Acceptance Tests. In addition to the General Tests, Acceptance Tests shall be performed by the contractor on all weigh in motion installations after Calibration of the WIM system has been performed. Acceptance tests shall be performed to demonstrate that the WIM system performs at or above the required accuracy.

a.	Acceptance Tests shall consist of three vehicles which will make ten passes over the WIM sensors in each lane at speeds varying from 15 to 370 kilometers per hour.

b.	The three test vehicles shall consist of a five axle, eighteen wheel single trailer vehicle (FHWA Class 9), a three axle, ten wheel single unit vehicle (FHWA Class 6), and a two axle, six wheel single unit vehicle (FHWA Class 5). All three test vehicles shall be fully loaded with non-shifting material to near legal weight limits.

c.	All tires on all three test vehicles shall be inflated to recommended preassures.

d.	The gross weight of the vehicles and the weight of each axle group shall be determined by weighing on a certified static scale at a scalehouse operated by the State of Alaska Department of Commerce, Division of Weights and Measures. An axle group is defined as any two axles whose midpoints are within eight feet of each other. For the test vehicles, the Class 9 single trailer vehicle has three axle groups, while the Class 6 and Class 5 each have two axle groups.

e.	The difference in value or error between the weight of each axle group or vehicle gross weight shall be computed as follows:

d = 100 [(W - R) / R]

where:

d =	difference between WIM value and reference value

W =	WIM value, or weight as measured by the WIM system

R =	Reference value, or weight as measured by a static scale

f.	The Accuracy requirements for the WIM equipment consist of a maximum error of plus or minus twelve percent with a ninty-four percent confidence interval (i.e. + 12% with 94% confidence) for axle group weights, and a maximum error of plus or minus ten percent with a ninty-four percent confidence interval (i.e. + 10% with 94% confidence) for gross vehicle weights.

For each test vehicle, no more than two of the axle group weights measured by the WIM system can differ from the axle group weights as measured at the scalehouse by more than twelve percent. Similarly, for each test vehicle, no more than two of the gross vehicle weights measured by the WIM system can differ from the gross vehicle weights as measured at the scalehouse by more than ten percent.

g.	Errors, or differences between the weights as measured by the WIM and weights as measured at the scalehouse, shall be calculated on ten consecutive passes of each of the three test vehicles at various speeds. If more than the maximum number of errors is observed, the equipment shall be recalibrated and the Acceptance test performed again until the system meets the accuracy specifications.

669-3.05 DELIVERABLES.

1.	Equipment List(s) and Drawings. The Contractor shall submit for review and approval, within thirty days following award of the contract, nine collated copies of a portfolio of equipment and materials which he proposes to install. The portfolio(s) shall consist of a table of contents which includes each item's intended use(s), and a description that includes product name, manufacturer, model or part number.

The Department will not be liable for any materials purchased, labor performed, equipment used or delay to the work before all equipment and materials have been reviewed and approved.

2.	As-Built Plans and Photographs. The Contractor shall prepare four complete sets of as-built plans which will be kept current with the construction. These as-built plans shall detail all construction changes made to the plans and also include the following information on the appropriate sheets:

a.	The location and depth of all inductive loops and conduit runs, and,

b.	The station and offset of all junction boxes.

Redlines of full size construction plans will be acceptable.

Three sets of as-built plans shall be presented to the Engineer, and one set shall be affixed in a waterproof, clear plastic holder to the inside of the cabinet door at the appropriate Automated Traffic Recorder Installation.

The Contractor shall present photographs and 35 mm negatives documenting the installation of all inductive loops. The photos shall show the loops in place prior to covering with gravel and asphalt pavement. The photographs shall include at least 1 view of each loop showing the conduit to the nearest junction box, and at least 2 overall views of each ATR installation showing placement of the inductive loops. The photographs shall be 5 x 7 inch color prints, and shall be labeled with the identification of each loop as indicated on the plans (for example; H1 - W1NLA).

3.	Test Results. Written or printed copies of the final results of all tests, signed by the Contractor, shall be provided to the Engineer prior to acceptance of the Automated Traffic Recorder Installation. Tests will be conducted in accordance with Subsection 660-3.01, Item 7. Field Tests.

Written (computer printout) results and copies of the electronic data files collected during performance of the WIM System acceptance test shall submitted to the Project Engineer prior to acceptance of completion of the WIM system.

669-4.01 METHOD OF MEASUREMENT. The quantity to be paid for will be the actual number of completed and accepted Automated Traffic Recorder installations as shown on the plans or as directed by the Engineer.

669-5.01 BASIS OF PAYMENT. The contract unit bid price for all Automated Traffic Recorder installations will be full compensation for furnishing all equipment, labor and materials necessary to complete the work as specified, with the following exceptions:

1.	Backfill materials required will be paid for under their respective pay items.

2.	Asphalt required will be paid for under Item 401(1), Asphalt Concrete Pavement.

Excavation, pedestrian gates, load centers, and as-built plans and acceptance testing required for these installations will not be paid for separately, but will be subsidiary to the Automated Traffic Recorder Installations.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 669(1) Automated Traffic Recorder | Lump Sum |

(2/9/95)R159M

SECTION 670

TRAFFIC MARKINGS

Special Provisions

670-3.01 CONSTRUCTION REQUIREMENTS. .   Delete item 4. Methyl Methacrylate Pavement Markings in its entirety and substitute the following:

- Methyl Methacrylate Pavement Markings.

a.	General.    Provide installation instructions for the methyl methacrylate markings a minimum of 15 days prior to application. Retain a copy of the instructions for use on the project.

Ensure the on-site presence of a manufacturer's representative on the first day of striping and any additional days as required.

Adhere to the following:

(1)	You shall have no affiliation with the manufacturer’s representative.

(2) 	Install pavement markings using only striping installers certified by the manufacturer of the marking material for the specific striping material and application method.  Submit these certifications 15 days before beginning work.

(3)	 Install pavement markings using equipment certified by the marking material manufacturer that is designed and capable of properly mixing at the point and time of application.  Submit these certifications 15 days before beginning work.

(4)	Waste material becomes your property.  This includes all grindings and all removed marking material.  Do not dispose of or store stripe removal wastes material or asphalt grindings on State property.  Dispose of waste material according to applicable State, Federal and local regulations.

b.	Preparation.  Prepare the roadway areas to receive methyl methacrylate pavement markings according to the manufacturer's recommendations. Clean and dry roadway surface. Remove contaminants such as curing agents, surface oils, or existing road marking materials prior to applying pavement marking material. Apply first pass markings seven days after the final lift of pavement has been installed.  Apply the final pass a minimum of thirty days after the initial pass or as directed by the Engineer.

c.	Application. Match the new skip stripes to the existing marking pattern on at least one end of the project.  Monitor the bead application to ensure proper bead embedment and density.  In spray applications ensure sinker beads uniformly penetrate the full thickness of the marking.  Apply marking material by one or more of the following methods, appropriate to the pay item(s) in the bid schedule.  Apply markings at the thickness specified uniformly across their width and along their length.  At least two passes of equal thickness are required to obtain the thickness specified.  Place additional passes squarely on top of the first pass, within ± 1.5 mm laterally and ± 75 mm longitudinally.  The thickness specified is the minimum.

(1)	Longitudinal Markings. Apply markings for lane lines, edge lines, and centerlines at a thickness of 1.5 ± 1/8 mm. Apply glass beads at the drop rate specified in Subsection 712-2.18 by double bead gun, one gun directly in front of the spray unit and another directly behind.

(2)	Transverse Markings. Apply markings for crosswalks, stop bars, symbols, transverse markings between gore and channelization striping, and legend markings at a thickness of 3 ± 1/8 mm. Apply Sinker beads as specified in Subsection 712-2.18 at a minimum drop rate of 543 g/m2.

- Longitudinal Extruded Markings.  Apply with certified extrusion equipment.  Uniformly apply top coat of beads with a mechanical dispenser.

- Longitudinal Inlaid Protected Markings.  Apply with certified extrusion equipment.  Grind the slot to the correct depth, and in proper alignment, using a diamond edged grinder capable of grinding the slot to the specified depth and width in a single pass.  After grinding, obtain approval before placing marking material.  Fill the slot edge-to-edge, making the line flat or slightly convex on top and to the specified width.  Uniformly apply top coat of beads with a mechanical dispenser.  The material depth shall be measured from the peaks created by the groves to the visible surface of the markings.

- Transverse Markings.  Apply markings as shown on the Plans.  Apply with certified spray or extrusion equipment.  Apply sinker beads as specified at a minimum drop rate of 543 g/m2.

- Legends Only/Arrows.  Apply with certified spray equipment.  Apply sinker beads as specified at a minimum drop rate of 543 g/m2.

d.	Sampling. Record the following readings, and the locations where they were taken, and submit them to the Engineer within 24 hours for evaluation.  Thickness of material and depth of slot are measured from the surface of the pavement.

- For inlay applications, record the depth of the slot every 100 m during the grinding operation.

- For all other longitudinal applications, measure the thickness of the lines (above the pavement surface), at the time of application, every 100 m.

- Inspect the line initially, and again two weeks after placement, to ensure the material has cured properly.  Remove all soft spots or abnormally darkened areas and replace with material meeting specifications.

Apply Methyl Methacrylate pavement markings as shown in the following table.  The table shows final design thickness.  The maximum allowable yield thickness per single-pass of Longitudinal Type markings (non-inlaid) is 1.5 mm.

#### METHYL METHACRYLATE PAVEMENT MARKING

#### YIELD THICKNESS TABLE

| Marking Type | Non-Inlaid Markings1 | Inlaid Markings2 |
| --- | --- | --- |
| Longitudinal Type3 ##### (Center and Edge lines) | 2.3 mm | 1.5 mm |
| Transverse Type (Cross Walks, Stop Bars, “Only”s, Arrows and Tracking Lines) | 3 mm | 1.5 mm |
| Neutral Area (Diagonals, Chevrons) | 1.5 mm | Do not inlay these markings |

1. Measure Type V spray without glass beads.  Tolerance is ±0.1 mm.  Measure the thickness utilizing a wet film thickness gauge.  Collect a sample on a 150 mm x 300 mm flat sheet of 2 mm thick aluminum placed in the path of the striping guns.

2. Cut the inlaid slots to a depth of 6 mm.  Do not over fill the slots.

3.  Install Non-Inlaid Longitudinal Type markings at a maximum yield thickness of 1.5 mm per application pass.

Non-Inlaid Markings

New asphalt pavement:  Apply interim non-inlaid Longitudinal and Transverse Type markings at 0.75 mm.

Apply the final Transverse and Neutral Area markings as shown in the application table at this time.  Multiple application passes are required for Transverse Type markings.

Existing asphalt pavement:  Apply markings according to the Yield Thickness Table.  Longitudinal Type markings will require multiple application passes.

Inlaid Markings

Apply markings in the milled groves after all millings have been removed. The extruded Methyl Methacrylate may be installed at the final yield thickness at the Engineer’s discretion.

670-3.04 PAINT REMOVAL. Change the title of this Subsection to: Pavement Markings Removal.

Replace the first sentence of the second paragraph with the following: Remove pavement markings to the fullest extent possible by a method that does not materially damage the surface or texture of the pavement. Painting over existing striping does not meet the removal requirement. Do not use any method utilizing burning with an open flame for removing pavement markings on the final paving lift.

670-3.06 TOLERANCES FOR LINE STRIPING. Delete this Subsection in its entirety and replace with the following:

- Length of Stripe.  ± 50 mm

- Width of Stripe.  + 6 mm, - 1.5 mm

- Lane Width. ± 100 mm from the width shown in the Plans.

- Stripes on Tangent.  Do not vary more than 25 mm laterally within a distance of 30 m when using the edge of the stripe as a reference.

- Stripes on Curves.  Uniform in alignment with no apparent deviations from the true curvature.

- All Stripes.  Keep the center of the stripe within 100 mm from the planed alignment.

- Double Stripes.  ± 6 mm

- Thickness.  Minimum specified to a maximum of + 0.4 mm.

- Depth of Inlay Slot.  Minimum specified to a maximum of – 1 mm.

- Thickness of Protected Inlaid Marking Material.  Minimum specified to a maximum of + 1 mm.

If it is determined that the material is being placed too thin, or otherwise not to specification, make immediate adjustments to correct the problem.

Durable pavement markings applied by any method will be unacceptable if:

- The marking is not straight or wide enough.

- The thickness of the line is not uniform or less than specified.

- The top of the line is not smooth and uniform.

- The material is uncured.

- The material blackens or is inconsistent in color.

- The inlay slot is not ground to the specified depth.

- The inlay slot is not filled to the specified depth.

- The edge of the markings are not clear-cut and free from overspray.

- The reflective elements are not properly embedded.

- The markings exhibit poor adhesion.

- The retro-reflectivity of the markings is less than specified.

Perform repairs using equipment similar to the equipment initially used to place the materials.  Do not perform repairs in a “patch-work” manner.  If more than one repair is required in a single 100 m section, grind and repair the entire section.

670-4.01 METHOD OF MEASUREMENT. Add the following after Item 4:

5.	Liter Basis: The Methyl Methacrylate material used to form the pavement markings accepted by the Engineer will be measured in liters.

6.	Meter Basis: Item 670(10D), Milling for Inlaid Markings will be measured by the linear meter of 100 mm wide slot ground into the pavement at the depth specified in the Yield Thickness Table and accepted by the Engineer.

670-5.01 BASIS OF PAYMENT. Add the following:  Item 670(10B) includes full compensation for all resources required to perform the work according to the Plans and Specifications.  No separate payment shall be made for over-runs of material caused by the variation of the gradation of the asphalt or for additional material required to achieve the thickness specified on open-graded pavement.

Item 670(10D), Milling for Inlayed Markings shall be paid at the contract unit price for the quantity shown in the Bid Schedule.  Payment includes full compensation for all resources associated with this item, including the removal of millings.

(07/17/03)R246M98

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 670(10B) Methyl Methacrylate Pavement Markings | Liter |
| 670(10D) Milling for Inlaid Markings | Meter |

Add the following Section:

SECTION 680

TELEPHONE RELOCATION

Special Provisions

680-1.01 DESCRIPTION. This section covers work of furnishing and field installation of conduit replacements and improvements, including all appurtenant facilities, as shown on the plans or as specified herein. This also includes the installation of MTA Duct Bank and the installation of AFS conduit and innerduct for fiber optic cable relocation in accordance with these Specifications and plans.

The conduits system includes the innerduct installed by trenching, boring and plowing, prefabricated vaults (handholes), and all appurtenances, materials and devices required to install, support, secure and provide a complete system for support and protection of the fiber optic cable.

In order to avoid cumbersome and confusing repetition in this Section, it is provided that when ever the “inspector” is used it shall mean the “MTA” or “AFS Inspector or contract inspectors”

680-1.02 CODES AND STANDARDS. Conduit system materials and devices furnished shall be in accordance with applicable standard of ANSI, ASTM, NEMA,UL, AND ALL LOCAL CODES AND PERMITS. Conduit systems components shall be installed in accordance with applicable requirements of the NEC. In a case of conflict between the requirements of any of the above referenced codes and standards and requirements of these Specifications, the requirements of these Specifications shall govern. All materials, devices, and practices shall be in accordance with the applicable requirements of the Federal “ Occupational Safety and Health Standards.”

680-2.01 MATERIALS. The following materials will be furnished by AFS at no cost to the Contractor. Alaska Fiber Star has the materials listed below in stock and the contractor can pick these items up Monday through Friday between the hours of 8 am and 5 pm at the AFS warehouse located at 8717 Diamond D Circle, Anchorage, Alaska 99515. Alaska Fiber Star Information is stenciled on the tape and the signs. To arrange for materials pickup the contractor shall call 907-365-7255, 24 hours in advance.

- Warning Marker Tape: 1354 meters or 4440 feet in length.

- BM53 (Buried cable maker signs). Total quantity of 13.

The following materials and items shall be furnished by the Contractor:

- UD1X1-1 ¼ (Dura-line Ribbed Innerduct (Specifications: High Density Polyethylene-PE-3408) 1 ¼ inch, Inside Diameter, Red in color, 1354 meters or 4440 feet in length. Innerduct should be E/W EVEN-LOAD, pre-installed pull tape.

- Electro-fusion tools and associated materials to connect inner-duct.

- BM55A (3M Magnetic locators, 1401-XR 4” Extended Range Ball Marker). Total quantity of (8).

- 25.30 meters or 83 feet of 4” G.I.P, (Galvanized Iron Pipe or RMC) and required couplers.

- All miscellaneous tools, hardware, and non-furnished material necessary to construct and install these systems.

AFS Galvanized Iron pipe (G.I.P) materials specifications will need to be reviewed and approved by AFS or their inspector. Ridged metal conduit (RMC) shall meet the materials standard specifications in section 660-2.05 Conduit.

The following materials will be furnished by MTA at no cost to the Contractor. MTA has the materials listed below in stock and the contractor can pick these items up Monday through Friday between the hours of 8 am and 4 pm at the Matanuska Telephone Association Inc. warehouse located at 1740 South Chugach Street Palmer, Alaska. To arrange for materials pickup the contractor shall call 907-745-3211, 24 hours in advance. The contractor shall coordinate with MTA Engineering to obtain the EMS locators and warning tape as well as obtain a point of contact for the inspection coordination for the installation of MTA Duck Banks.

1.	EMS locators 4 each

2.	Warning Marker Tape: 202 meters or 663 feet in length.

The following materials and items shall be furnished by the Contractor:

1.	1212 meters or 3976.57 feet of 100 mm PVC or HDPE conduit and required and required couplers.

2.	All required conduit spacers and/or sand.

3.	1230 meters or 4035.63 feet of nylon pull cord.

4.	24-100 mm or 4inch plastic conduit end plugs.

5.	All miscellaneous tools, hardware, and non-furnished material necessary to construct and install these systems.

MTA Materials for MTA duck bank installation shall conform to the following: all high density polyethylene conduit (HDPE) conduit shall be 100 mm in diameter and have a minimum wall thickness in accordance with DR-13.5 (.333-inch) ASTM D-3035for 100 mm HDPE conduit, and shall be orange in color.

All polyvinyl chloride (PVC) conduits shall be 100 mm in diameter and be a schedule 40 in accordance with ASTM D-2447.

Nylon pull cords shall be 6.35 mm (0.25-inch), 226.8 kg (500-lb) rated cord that shall be left inside all of MTA 100 mm conduits for the duct bank l. Plastic end plugs shall be placed on the ends of all the 100 mm conduits for the duct bank. All plastic end plugs shall be approved by MTA prior to installation

680-3.01 GENERAL CONSTRUCTION REQUIREMENTS.

The AFS & MTA Inspector reserves the right to suspend the conduit system installation, through the Engineer, at any time that the Contractor fails to meet the requirements set forth herein, until such time as the Contractor makes the necessary corrections. Suspension of work will not entitle the Contractor to an extension of time for the completion of the project, and will not entitle him extra payment for costs incurred.

The Contractor shall be responsible for locating, shoring and protecting of all property, (real and personal) in the vicinity of the project. The Alaska Department of Transportation, Alaska Fiber Star and MTA have shown the approximate locations of known underground obstructions on the drawings, however, it shall be the Contractor’s responsibility to establish the location of each facility by calling for field locates in accordance with Subsection 105-1.06, Cooperation with Utilities. Hand digging shall be required to expose the existing AFS buried fiber cable in locations that the proposed alignment will be within 600 mm or 24 inches of the existing AFS buried fiber optic cable.

MTA duct bank locations are approximate only, and must be field located and confirmed with the Engineer and MTA Engineering prior to starting work.

All temporary bridging for traffic utilized by the Contractor shall be inspected and approved by the Engineer prior to installation. This does not relieve the Contractor of responsibility for providing bridging of sufficient size and strength. Any bridging open to public traffic will provide a smooth driving joint.

The minimum depth of bury for each MTA duck bank crossing is 1.25 meters below the ditch bottom grade, on a continuous grade unless approved by the Engineer. The ends of each conduit in the MTA conduit bank crossing shall be covered with end caps in such a way that material will not enter the conduits. The Contractor shall, through the Engineer, provide MTA with the schedule for each crossing a minimum of three calendar days in advance of construction.

Once the work commences, the Contractor, the Engineer, and the AFS Inspector shall meet once each week to review the work completed to date, and review the Contractor’s schedule for the following week’s work. The Contractor shall submit in writing his anticipated hourly work shift schedule by the Wednesday noon prior to the workweek.

All telephone trench shall be constructed within an allowable tolerance of 0.003-meters or 0.1-foot of the plan location and elevation in any phase of the construction. The Contractor will backfill all trench excavations by the end of each day and any trench that is left open will have to be barricaded with flashing protectors and associated equipment to protect the public.

The Contractor shall maintain trench alignment as far away as practical from the edge of the existing roadway. This shall include the use of all wide shoulders, and turnouts, This shall include the issue of all wide shoulders, and turnouts, to provide maximum construction clearance from the traveled way, subject to the approval of the Engineer.

All excavations will be conducted in a manner that causes the least interruption to traffic, pedestrians or surrounding property owners. Proper safety precautions (flagman, signs, barricades, etc.) will be provided and all requirements of State, Federal, Local, Railroad, and AFS, MTA authorities will be adhered to and all times.

680-3.02 GENERAL AFS INNERDUCT AND MTA CONDUIT INSTALLATION REQUIREMENTS.

The Contractor shall be responsible for placement of the new AFS innerduct into the existing hand-hole at the Admin Building. The inner-duct shall be grouted around the hole as it passes through the hand-hole wall. Expanding urethane foam will then be placed around the innerduct as shown on the plans.

Innerduct shall be cut, fusion spliced, and placed in accordance with the Vikimatic Electrofusion, manufacture requirements. Installation of marker tape shall be in accordance with the details shown on the plans. The BM53A buried ball marker or magnetic locator assembly units shall be placed 100 mm or 4-inch above the innerduct in the location indicated on the plans or as per the AFS inspector.

In cases where the innerduct passes above or below an underground utility line, a minimum clearance of 300 mm or 12-inches shall be maintained.

Innerduct shall be shaded from sunlight as required to prevent curvature and deterioration due to thermal expansion and ultraviolet degradation.

Defective innerduct shall not be installed and shall be removed immediately from the site of the work. All dents and restrictions of the conduit, shall be removed by the conduit placement contractor, at no additional cost. A dent or restriction is where the conduit is restricted to less than 85 percent of its rated internal diameter. Particular care shall be taken to keep foreign substances from the inside of the innerduct during construction. All reinforcing materials and other magnetic materials shall be parallel to the lengths of the innerduct, except for anchoring material.

The innerduct and conduit placement contractor shall coordinate all installation activities with the inspector(s) and with the ARRC flagging personal.

The internal structure of the complete conduit system shall have no burrs, discontinuities or lips that will interfere or damage the cable during or after cable installation.

No free water shall be allowed to enter the conduit. If water or other debris enters, the conduit placement contractor shall completely remove all water using a pig until water is removed to the satisfaction of the Owner’s representative. No water shall remain in the conduit that in sufficient volume will freeze and possibly affect the cable performance.

All conduit open ends shall have a weather-tight end plug (Jack Moon or equivalent) installed anytime the conduit is left unattended or when a situation exists where foreign material could enter the conduit. This plug shall not be easily removable by the general population. At no time shall duct tape be used to seal conduit ends.

Since HDPE conduit floats in water, it may be necessary to anchor or weight the conduit to hold it in place if the trench contains water during the installation or subsequent maintenance, or it the back-filled soil is not sufficient to hold the conduit in place.

The weighting can be accomplished by using the back-filled soil, concrete weights, sandbags, or a combination. In any case the conduit shall not be allowed to move their intended location due to its buoyancy. Should weighting be required, the Owner shall approve the conduit placing contractors plan.

The trench bottom shall be smooth and free from sharp jagged rocks or debris. In areas where rock, boulders, or large stones are encountered, they shall be removed and the trench bottom padded with 150 mm or 6 inches of free flowing material.

The trench shall first be back filled with clean fill to 150 mm or 6 inches above the conduit: then the remaining spoils returned. Sufficient spoils shall remain over the trench such that after settling, no depression remains.

Native backfill material will be free of stones or hard, sharp, or frozen materials which may damage the conduit. Back filling will be done in 150 mm or 6 inch lifts and compacted to the same density as the adjoining earth.

All backfill for the MTA duct Bank installation shall be in accordance to Section 203, Excavation and Embankment. All backfill for the MTA duck bank crossing shall be in 200 mm lifts to 95% of maximum density. Backfill to the bottom of the trench grade, if necessary, shall be compacted in 200 mm lifts with materials meeting the requirements of Selected material, Type A.

If large quantities of water are evident, the contractor may elect to install backfill with 60 mm to 150 mm (2 to 6 inch) course oversize rock overlaid with geotextile. Compaction shall be by a minimum of six full width coverage’s with a mechanical compactor. The conduit shall then be placed on 100 mm sand bedding on the trench bottom, with sand being water compacted to 100 mm above the conduit. The Contractor shall then use such materials as have been excavated from the trench that meet the requirements of Selected Materials, Type C, above the conduit sand bedding, up to the bottom of the road way structural section.

The soil compaction of the trenches shall be randomly tested at various depths by the Engineer.

Backfill of the trench under the RR track and in the rail-bed prism shall be the same type of material as taken out, except the top .060m or 2 feet shall be clean pit run gravel.

Back filling of all trenches will be carried out promptly behind the conduit placement. All conduit installed will be back filled as soon as possible and no conduit will be left exposed at the end of the day.

The Conduit Placing Contractor shall clean and pressure test the innerduct using air to test the integrity of the conduit.

Because air is to be used, caution should be exercised throughout the test section to be sure that no personnel are in a position to be injured should a section of pipe, joint, or conduit fitting fail.

The Conduit Placing Contractor will pass a gauging diameter deviation tester through all conduit after back filling. It will be sized at least 85% of the conduit ID and shall prove that the conduit is suitable for turnover to AFS. It is the responsibility of the Conduit Placing Contractor to remove and return any stuck gauging devices, arrange repairs, and turn-over of their respective innerduct and conduit ready and suitable for cable installation.

The deviation tester shall be fitted with a tracking signaler that will allow location if it becomes lodged in a conduit section. The location device and all equipment and materials to excavate, repair, and backfill shall be provided by the innerduct and conduit placing contractor.

All pressure testing shall be done on each section using air to 160 PSI. The pressure shall not fall below 160 PSI after 15 minutes and vary only because of temperature change. No leaks will be accepted. Ambient and compressor discharge temperatures shall be noted during the pressurization. A pressure recorder shall be used to record and form apart of the reported results. (Note: All specialty equipment required to pressure test the innerduct and record the readings must be provided by the contractor.)

Should the pressure fall outside the limits, the leak(s) location shall be isolated and repaired by the Conduit Placing Contractor and a pressure re-test performed. The Conduit Placing Contractor shall be responsible for all re-testing and leak location required for the conduit to be acceptable for the Owner.

A report of testing performance shall be prepared for each section tested and be made part of the as-built documentation. The report form must be approved by the AFS or their inspector(s) at the time the test is preformed by the contractor. No testing of the innerduct shall be performed with out the AFS inspector present.

The above requirements shall take place prior to the installation’s acceptance by AFS. The Contractor and the AFS inspector shall measure and record the beginning and ending distance of the installed innerduct, and record that measurement on the drawings provided by the Engineer.

The Contractor shall maintain a complete and accurate record of duct offsets and sequential duct distances. The Contractor shall supply the Engineer with a complete log of sequential distance on a per reel basis within 5 days after installation of each reel of innerduct.

The MTA road crossing shall be installed in accordance with the MTA Duct Bank Crossing detain shown in the plans. The conduit shall be trenched, bored, jacked or otherwise forced underneath the highway, or the conduit may be installed in a casing.

Polyvinyl chloride conduit (PVC) shall be installed in accordance with the following requirements:

Joints shall be solvent cement type as recommended by the manufacture. The contact surfaces of the conduit and fitting shall be cleaned with solvent, methyl ethyl ketone or acetone, then liberally coated with solvent, promptly and fully engaged, and either conduit or fitting rotated approximately ¼ turn to dispel any air and evenly distribute solvent over contact surfaces. Total elapsed time between the start of cement application to the surface being joined and final assembly of joint shall not exceed 60 seconds. The initial strength of the joint will permit continuous conduit installation. However, additional stress at the joint shall be avoided for at least 24 hours after joining.

High Density Polyethylene Duct for the MTA relocation shall be continuous piece.

680-3.03 RAILROAD ROAD CROSSING AND ROAD CROSSING USING A CASING.

The AFS plan calls for installation of one (1) 100 mm or 4 inch G.I.P or RMC crossing of the existing railroad tracks and new railroad embankment at approximate “RR-M” Sta. 18+568 to Sta. 18+573 as shown on the AFS plans.

The 100 mm or 4 inch diameter G.I.P or RMC conduit shall be bored, jacked, or otherwise forced underneath the railroad embankment. The innerduct shall be installed inside the casing. There shall be no space between the earth and the outside of the casing or pipe. No wet bores will be permitted. Only enough water to lubricate the casing during installation may be used.

Casing pipe shall be installed using jacking equipment. Casing pipe shall be installed such that the hole is cased as the earth is removed through the interior of the casing. Boring without the concurrent installation of the casing pipe will not be permitted. The installation shall be performed in a manner that will not disrupt traffic nor damage the subgrade, and will provide accurate alignment and grade or the pipe.

Smooth wall casing pipe shall be new. The diameter and wall thickness of the casing shall be selected by the Contractor to allow installation in the type of materials encountered.

Before starting work on the crossing, the Contractor shall submit complete details of his proposed methods, materials, and time schedule to the Engineer. Work shall not begin on the crossing until written notification to proceed has been obtained from the Engineer.

Casing pipe shall be a 100 mm or 4-inch diameter G.I.P or RMC casing. Alignment of the bore casing shall be within 0.60 meters or 2-feet of the staked requirements per 30.48 meters or (100) feet of casing installed. At no time shall the depth of the bore be less than that indicated on the plans. The successful bore shall meet the above requirements and allow for the 97% utilization of ordered bore size to be considered successful. A stake at each end of the innerduct with the station and depth of the innerduct ends and an EMS marker on each end of the casing shall be installed during backfill operations as detailed on the plans.

Existing asphalt to be removed shall be replaced with Asphalt Concrete, Type II in accordance with Section 401. Patching of roadway crossing areas after the installation of the MTA duck bank crossing shall be done within two calendar days after completion of the roadway crossing or as approved by the Engineer. The Contractor shall maintain the roadway surface in the MTA duct bank crossing locations in such a manner that traffic is not impeded, as directed and approved by the Engineer, until the roadway crossing are paved.

Patching with Temporary asphalt may be placed if the temperature limitations in Subsection 401-3.01, Weather limitations cannot be met. If temporary asphalt is used, it shall be removed and replaced with Asphalt Concrete, Type II as soon as possible once the weather limitations can be met.

Removed asphalt shall be disposed of in accordance with the requirements of Subsection 202-2.04, Removal of Pavement, Sidewalks, Curbs, Etc. Disposal of waste excavation shall meet the requirements of Subsection 680-3.09, Disposal of Waste Excavation.

Concrete slurry backfill shall meet the requirements of Subsection 680-3.10, Concrete Slurry.

Sand bedding shall meet the requirements of Subsection 680-3.11, Sand Bedding.

D-1 materials shall meet the requirements of Section 301, Aggregate Base Course, Grading D-1.

680-3.04 CONDUIT TESTING. Upon completion of the MTA boring and the installation of the conduit, and compaction of the embankment to a minimum of 1.22 meters above the conduit, the contractor shall clean and test the conduit. Conduit, which is not used or tested immediately, shall be plugged at each end. Prior to starting the testing of the conduit crossing, the Contractor shall notify MTA five calendar days in advance of testing.

The contractor shall coordinate with MTA so that when testing is started and completed, an MTA inspector is on site for the testing of the directional bore conduit installation. As a clearance test, the conduit shall pass a rigid mandrel with a length not less than 0.30 meter and a diameter of 6.35 mm less than the inside diameter of the conduit. All foreign material, earth, sand, and gravel, shall be removed from the conduit.

680-3.05 INSTALLING INNERDUCT. Innerduct shall be installed in accordance with AFS plans.

At the road crossing location of Kenai Supply road, approximate “RR-M” Sta.18+635 to Sta. 18+665, the AFS plan calls for the placement of innerduct to maintain 1.22m or 4 feet of depth below finish grade or ditch bottom, which ever is deeper, as determined by the AFS inspector and the engineer.

At approximate “RR-M” Sta. 19+885, 2.74m to Sta. 19+885, 8.23m the AFS plans call for the placement of the innerduct to maintain the same elevation as the angle point location “RR-M” Sta. 19+885,2.74m Rt. minimum of 1.83m or 6 feet of depth.

Innerduct shall be laid in the center of the trench. Winding, coiling, or snaking of the innerduct in the trench will not be allowed. All rocks or other materials, which could damage the innerduct, shall be removed from the trench bottom before placing the innerduct. The trench bottom shall be smooth. Where a minimum cover of 1067 mm or 42 inches cannot be maintained, the Contractor shall place, at the direction of the AFS inspector, concrete slurry backfill.

Native materials may be utilized for the trench backfill if it meets the minimum requirements of Selected Material, Type C, as specified in Subsection 703-2.07, Selected Material, shall also pass a 75-mm or 3-inch sieve. Native backfill material shall be placed in layers and compacted as directed by the Engineer. Compaction requirements shall be in accordance with Subsection 203-3.03, Construction of Embankments with Moisture and Density Control.

Disposal of waste excavation shall meet the requirements of the Subsection 680-3.09, Disposal of Waste Excavation.

Sand bedding shall meet the requirements of Subsection 680-3.11, Sand Bedding.

680-3.06 INSTALLING CONDUIT (100MM). Install all the 100 mm or 4 inch G.I.P or RMC conduit in conformance with the AFS plans or as directed by the Engineer and AFS inspector.

The AFS plans call for the installation of 100 mm or 4 inch G.I.P or RMC conduit as detailed on the AFS plans in the Pedestrian Under-crossing location at approximate “RR-M” Sta. 19+481.71 to Sta. 19+499. The 100 mm or 4 inch G.I.P or RMC conduit will provide protection of the innerduct due to a reduction of cover in this location.

680-3.08 INSTALLING INNERDUCT BY PLOWING.

If innerduct is installed by plowing, it shall be in accordance with the AFS plans. The innerduct plow shall be specifically for installing the innerduct. Trial runs, using the proposed equipment, are required to demonstrate their abilities before actual plowing is started. The Contractor shall demonstrate to the Engineer that the tension on the innerduct at the chute does not exceed manufacture’s recommended allowable tension.

1.	Prime Mover. The principal factors, which the size of the prime mover needed, are soil conditions required buried depth. The prime mover shall have an excess of horsepower to provide a smooth operation and allow the operator to focus his attention on the cable reel and cable. The minimum size of the prime mover shall be a Caterpiller D7 or equivalent.

2.	Reel Carrier. The reel carrier shall be configured so that the cable reels can be easily installed and shall be designed to carry reels at least 825 mm or 33-inches wide and 1950 mm or 78-inches in diameter. The reel carrier shall have a minimum load capacity of 2724 Kg or 6000 pounds. The reel carrier shall be at least 1.56 mm or 1/16-inch smaller but no more than 3.13 mm or 1/8-inch smaller than the reel arbor hole diameter. Locking collars shall be used to keep the reel from sliding along the spindle bar. Either front or rear mounted cable reel carriers are acceptable.

3.	Conduit Delivery System. The routing of the innerduct from the innerduct reel to the entry into the chute feed is important. All rollers or guides which cause a change in the direction of the duct path should have a minimum radius of 20 conduit diameters.

If an offset plow is used, the conduit path shall be configured to avoid any unnecessary changes in direction. The duct feed system shall deliver the duct directly into the top of the chute without violating the minimum bending radius recommended for the duct. A sheave or guide tube with the appropriate radius is recommended at this point. Quadrants with closely spaced, multiple rollers ( even through the diameter of each roller is small) may also be used if the radius of the quadrant is large enough.

4.	Conduit Feed Chute. Conduit feed chutes shall be as manufactured by American Tractor Equipment Corporation or an Acceptable equal.

The conduit path inside of the feed chute shall be free of burrs, sharp edges, or surface roughness. Welds shall be smooth. Gussets or stiffeners on the divider gate in multiple chute designers shall not interfere with the smooth passage of the duct. Clearance in the multiple chute configurations shall be maintained under the operating conditions. Divider gates shall not shift or deflect under load. The feed chute shall have a removable gate to allow the conduit to be removed from or inserted into the feed chute at any intermediate point between splice locations.

5.	Plowing Procedure. Before a plowing operation is started, the route ahead shall be prepared. The route shall be graded to eliminate abrupt changes in vertical alignment. However, every effort shall be made to minimize the damage to the environment by grading only where abrupt changes in grade would cause the plow to jerk the duct or otherwise adversely affect the placement.

Where large rocks, large amounts of fill, and other debris have been placed over the cable route, the Contractor shall blade areas to natural grade before plowing. After the cable has been installed, the material shall be placed back to its original position.

Ripping passes shall be made in the same direction as the cable being installed. The final ripping pass shall be at a depth which exceeds the innerduct burial depth a minimum of 150 mm or 6-inches.

During the innerduct placing operation, the conduit reel shall be tended at all times. Free spinning or excessive tail load shall be prevented. Start and finish pits and pits at points of intersection shall be excavated in advance.

The prime mover shall always be started slowly and speed increased gradually after conduit slack is removed from the conduit delivery system.

The plow shank shall not be raised, lowered, or have its attitude changed unless the prime mover is moving forward and any changes in attitude shall be gradual. The plow shall not be set at extreme forward rake angles. All changes in depth shall be gradual with the vertical curve having a 1.22 meter or 4-foot or more radius. The prime mover shall never be backed up with the plow in the ground. If the conduit has to be removed from the chute, the plow shank shall be exposed by careful digging and the conduit slack pulled so that the conduit will not kink over the feed chute exist.

All excavation within 600 mm or 24-inches of the innerduct being installed by this Contract shall be made manually with hand tools.

If for any reason the innerduct is left exposed overnight on the right-of-way, the contractor shall be responsible for the security of the innerduct. He shall employ whatever means necessary to protect the exposed portion of the innerduct from damage.

680-3.09 DISPOSAL OF WASTE EXCAVATION. Waste excavation may be disposed of within the project limits at locations approved by the Engineer. Waste disposal areas shall be feathered into surrounding grounds with no noticeable break or variation readily discernible and existing drainage patterns shall be maintained.

680-3.10 CONCRETE SLURRY. The concrete slurry mixture shall contain a minimum of two (2) standard 42.68 kg or 94-Lb sacks of cement per cubic yard of concrete. Concrete slurry shall be placed when the air temperature is 0° C or 32° F and above. If the air temperature is below 0° C or 32° F, the Contractor shall propose alternate methods to ensure adequate curing temperatures will be met. These may include concrete additives, additives, additional cement, warning blankets, etc. and are subject to the approval of the Engineer.

680-3.11 SAND BEDDING. Where existing material is unsuitable for the innerduct bedding as determined by the AFS Inspector, through the engineer the Contractor shall provide bedding sand meeting the following gradation:

| Sieve Size | Present Passing by Weight |
| --- | --- |
| 6.25 mm or ¼ -inch | 100 % |
| 0.075 mm or No. 200 | 0-6% |

680-3.10 SURVEYING AND STAKING. Innerduct alignment shall be staked per the plans, and any changes to the alignment will be subject to the approval of the Engineer and the AFS inspectors. All telephone innerduct and conduit shall be located and staked at the alignment and elevations indicated on the plans. It shall be the Contractor’s responsibility to schedule a physical check of all line and grades prior to placing any of the innerduct.

MTA Crossing are approximate station only and each crossing will need to be field located and confirmed with the Engineer and the MTA engineering personal prior to starting work.

AS-BUILT DRAWINGS. Maintain a complete and accurately dimensioned record of all deviations, deletions, additions and alterations from and to the contract Plans and Specifications to indicate the work as actually installed. Two (2) of each final red lined as-build drawings shall be delivered to the AFS inspectors prior to final acceptance of the system. The Contractor shall maintain an accurate record of the underground location of all the (telephone handholes) and innerduct installed on the plans provided by AFS. These shall include all references to the highway centerline, railroad track center line, in 30.48m or 100 feet intervals to existing land marks, and exact locations of all handholes, and all line grade and elevation changes.

The Contractor shall as-built each MTA duck bank crossing. The elevation of the finish grade, project centerline at the crossing location and the end of each duct bank crossing shall be recorded. In addition, the distance left and right of project centerline of each crossing will also be referenced. Location and elevation information for each duct bank crossing will be documented by a Registered Land Surveyor, and be provided to the Engineer.

680-3.12 AFS INSPECTION. AFS may, at any time, have access to the project site for the purpose of inspection. The Contractor agrees to notify AFS at least one week prior to the start of this project. The manner of placement of the inner-duct, and associated materials, and equipment used therein, shall be subject to the inspection of AFS. Prior to back filling any of the trenches for the AFS inner-duct, the AFS Inspector will measure the inner-duct placed. The AFS Inspector must also be present when the trench is back-filled. AFS will conduct a final inspection within ten (10) days of the Contractor’s informing AFS’s Inspector, in writing, that the AFS system is complete. A (punch list) incomplete items as noted in final inspection report, shall be completed by the Contractor within ten (10) days of the final inspection.

680-4.01 METHOD OF MEASUREMENT. All surveying and staking required for the staking of the 680 Items for this project will be measured and paid for under Item 642(2), Construction Surveying.

Item 680(6-100) will be measured by the meter, for six each 100 mm conduits completed and accepted by the Engineer. Measurements will be made by the as staked conduit length.

Items 680(1-100), 680(10) will be measured by the meter, completed and accepted by the Engineer. Measurements will be made by the as staked innerduct length.

Item 680(9), The MTA & AFS Telephone As-Builts will not be measured for payment.

680-5.01 BASIS OF PAYMENT. All the required trenching to accommodate the innerduct placement innerduct transitions into existing handholes described in Subsection 680-3.06 is subsidiary to Items 680(1-100), 680(6-100), and 680(10)

Payment for Item 680(6-100) shall be full compensation for furnishing and installing by trenching, boring or jacking of six (6) each 100 mm PVC or HDPE conduits as described in the plans and specification. In addition, labor and materials for the following are subsidiary to Item 680(6-100) and no separate payment shall be made: Trench excavation, grading excavation, conduit spacers, boring pits excavation and backfill, bedding, backfill, marker tape and the installation of the MTA supplied EMS locators as shown on the plans.

Payment for Item 680(1-100) shall be for full compensation for furnishing and installing by trenching, boring or jacking of the 100 mm or 4-inch G.I.P. or RMC as described in the specification and plans. In addition, labor and materials for the following are subsidiary to Item 680(1-100) and no separate payment shall be made: Grading excavation, boring pits excavation and backfill, bedding, backfill, marker tape, warning markers sign installation (BM53),

Payment for Item 680(9), Telephone As-Builts shall be full compensation for providing 2 sets of AFS red-lines drawings as described above. MTA Telephone As-Builts shall be full compensation for providing MTA as-builts as described above.

Payment for Item 680(10) shall be for full compensation for furnishing and installing the HDPE innerduct by trenching, or plowing as described in the Specifications and plans. In addition, labor and materials for the following are subsidiary to Item 680(10) and no separate payment will be made: Grading excavation, backfill, placement of bedding sand, innerduct splicing, innerduct acceptance testing, warning sign installation, buried ball markers or magnetic locators and their installation (BM53A) and coring a hole into the existing handhole and any other items necessary to complete the installation.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 680(1-100) Furnish and Install 100 mm G.I.P. Conduit | Meter |
| 680(6-100) Furnish and Install MTA Duct Bank Crossing | Meter |
| 680(9) Telephone As-builts | Lump Sum |
| 680(10) Furnish and Install Single Innerduct | Meter |

(2/16/03)R&M

SECTION 702

ASPHALT MATERIALS

Special Provisions.

702-2.01 ASPHALT CEMENTS. Delete first sentence and replace with: Meet AASHTO M 320 and the following:

|  |  | Additional Requirements For Performance Graded Asphalt Cement |  |
| --- | --- | --- | --- |
| Property | Standard | PG 58-28 | PG 64-28 |
| Softening Point | AASHTO T-53 | 49 °C | 52 °C |
| Toughness (min) | ASTM D5801 | 12.4 N-m | 12.4 N-m |
| Tenacity (min) | ASTM D5801 | 8.5 N-m | 8.5 N-m |

(07/03/03)M104

SECTION 703

AGGREGATES

Special Provisions

703-2.03 AGGREGATE FOR BASE AND SURFACE COURSE. Delete Table 703-2 and substitute the following:

TABLE 703-2

AGGREGATE FOR UNTREATED BASE

Percent Passing By Weight

| Sieve Designation | Grading C-1 | Grading D-1 | Grading E-1 |
| --- | --- | --- | --- |
| 37.5 mm | 100 |  |  |
| 25 mm | 70-100 | 100 | 100 |
| 19 mm | 60-90 | 70-100 | 70-100 |
| 9.5 mm | 45-75 | 50-79 | 50-85 |
| 4.75 mm | 30-60 | 35-58 | 35-65 |
| 2.36 mm | 22-52 | 20-47 | 23-50 |
| 0.600 mm | 10-33 | 10-26 | 13-31 |
| 0.300 mm | 6-23 | 6-19 | 10-26 |
| 0.075 mm | 0-6 | 0-6 | 8-15 |

(2/28/00)R117M98

Add the following requirements for Asphalt Treated Permeable Base (ATPB):

Percent Fracture	WAQTC TM 1	90 min. two face

Table 703-2, Add the following:

| Sieve | Type ATPB-1 |
| --- | --- |
| 25.0 | 100 |
| 19.0 | 90-100 |
| 9.5 | 20-45 |
| 4.75 | 0- 15 |
| 0.600 | 0- 5 |
| 0.075 | 0-3 |

Standard Modifications

703-2.04 AGGREGATE FOR ASPHALT CONCRETE PAVEMENT. Under Blended Aggregate, delete the last sentence and substitute: “Ensure that the fraction actually retained between any two consecutive sieves larger than the 0.150 mm is not less than 2 percent of the total."

703-2.07 SELECTED MATERIAL. Replace the last sentence in both Items 1. and 2. with the following: The percent passing the 0.075 mm sieve will be determined on minus 75 mm material. (06/25/99)M 82

703-2.13 AGGREGATE FOR STONE MASTIC ASPHALT PAVEMENT

Coarse Aggregate (retained on the 4.75 mm sieve). Crushed stone or crushed gravel consisting of sound, tough, durable rock of uniform quality. Free from clay balls, vegetative matter or other deleterious matters. Not coated with dirt or other finely divided mineral matter. Meet the following requirements:

| Property | Test Method | Requirement |
| --- | --- | --- |
| Percent of Wear | AASHTO T 96 | 45 max. |
| Degradation | ATM T-13 | 30 min. |
| Percent Sodium Sulfate Loss | AASHTO T 104 | 9 max. (5 cycles) |
| Percent Fracture | WAQTC TM 1 |  |
| Double Face |  | 90 min. |
| Flat & Elongated Particles | ATM T-9 |  |
| 3 to 1 |  | 25% max. |
| 5 to 1 |  | 5% max. |
| Absorption | WAQTC FOP for AASHTO T 85 | 2% max. |

Fine Aggregate (passing the 4.75 mm sieve). Meet the quality requirements of AASHTO M 29, including S1.1, Sulfate Soundness. Consist entirely of 100 percent crushed aggregate and be non-plastic as determined by WAQTC FOP for AASHTO T 90.

Mineral Filler. Meet AASHTO M 17.

Blended Aggregate. Blend the aggregate fractions to meet the grading requirements of Table 703-9 as determined by WAQTC FOP for AASHTO T 27/T 11.

TABLE 703-9

STONE MASTIC ASPHALT CONCRETE AGGREGATE

| Percent Passing by Weight |  |
| --- | --- |
| Sieve Designation | Requirement |
| 19.0 mm | 100 |
| 12.5 mm | 76-88 |
| 9.5 mm | 57-70 |
| 4.75 mm | 20-27 |
| 2.36 mm | 17-23 |
| 1.18 mm | 14-20 |
| 0.6 mm | 12-17 |
| 0.3 mm | 11-15 |
| 0.15 mm | 10-14 |
| 0.075 mm | 8-11 |

(03/19/02)R164M98

Add the following subsection:

703-2.14 RAILROAD SUBBALLAST.

| Gradation Tests | Test Procedure | Test Standard |
| --- | --- | --- |
| Sampling Aggregates | ASTM D75/ASTM C702 |  |
| Sieves with Square Openings | ASTM E11 |  |
| Sieve Analysis | ASTM C136 | See table below |
| Materials Finer Than No. 200 | ASTM C117 | See table below |

| Material Quality Tests: | Test Procedure | Test Standard |
| --- | --- | --- |
| Bulk Specific Gravity | ASTM C127 | 2.60 min. |
| Absorption | ASTM C127 | 1.0 max. |
| Magnesium Sulfate Soundness | ASTM C88/(Five Cycles) | 1.0% max. |
| Clay Lumps & Friable Particles | ASTM C142 | 0.5% max. |
| Flat and/or Elongated Particles | USACE CRD-C119 | 5.0% max. |
| Degradation (LA Abrasion) | ASTM C535 | 30 max. |
| Fractured Particles | see description below | 75% min. |

TYPE 4A BALLAST GRADATIONS

| Sieve Size | Percent Passing |
| --- | --- |
| 2-1/2" | 100 |
| 2" | 90-100 |
| 1-1/2" | 60-95 |
| 1" | 10-35 |
| 3/4" | 0-10 |
| 3/8" | 0-3 |
| No. 200 | 0-0.3 |

Fractured Particles Test:

A representative sample is obtained and sized using current ASTM methods of Test. From each coarse aggregate fraction representing five percent or more of the submitted sample, split a representative portion into samples of within 10 percent of the weight specified below:

| SIEVE PASSING | SIEVE PASSING | WEIGHT IN LBS. +/- 10 PERCENT |
| --- | --- | --- |
| 2 ½” | 2” | 13.00 |
| 2” | 1 ½” | 11.70 |
| 1 ½” | 1” | 4.55 |
| 1” | ¾” | 1.30 |
| ¾” | ½” | 0.39 |
| 3/8” | No. 4 | 0.13 |

Separate each sample into fractured and non-fractured particles according to the following criteria:

A fractured particle shall be a particle with three or more fractured faces. Each fractured face on the fractured particle must have a freshly exposed rock surface with a maximum dimension of a least one third the maximum particle dimension or 9-mm whichever is less and a minimum dimension of a least one quarter of the maximum particle dimension. The included angle formed by the intersection of the average planes of adjoining fractured faces must be less than 12.35 degrees for each of the faces to be considered as a separate fractured face.

Particles that do not meet the above criteria will be classified as non-fractured faces.

The fractured particles for each sample will be calculated as a percentage by the following formula:

| Fractured Particles = | Weight of fractured particles x 100 |
| --- | --- |
|  | Original Weight |

The Contractor shall engage the service of a qualified Professional Engineer registered in the State of Alaska to oversee performance of the referenced test in the rock source and the processed ballast. All sampling and testing shall be done either by the Professional Engineer himself or by a qualified and experienced technician working under the direction of the Professional Engineer. Take samples of processed ballast directly off the belt to minimize segregation and contamination. Material quality tests shall be done by a testing laboratory selected by the Contractor and approved by the ARRC.

The frequency of tests shall be as follows:

1.	Pre-Manufacturing Tests: Prior to production of ballast, the Contractor shall submit whole and crushed samples of the proposed source rock along with test reports that verify that they conform to the Specifications.

2.	Start-up Manufacturing Test: When ballast manufacturing begins another full battery of tests shall be run to verify that the ballast manufactured conforms to the specifications.

3.	Periodic Full Testing: Whenever the nature of the source rock changes significantly, such that conformance with specifications is in doubt, above tests shall be redone as appropriate to verify conformance and the results submitted for approval.

4.	Periodic Gradation Testing: Perform the gradation tests and visual monitoring of degree of fracture during manufacturing on every 1,000 cubic yards of ballast that is produced, but at least daily. A complete fractured particle test shall be run on every 5,000 cubic yards of ballast manufactured.

Submit all test reports to the State for approval. The Professional Engineer shall verify that all test reports are accurate and shall indicate whether or not they conform to these specifications. Bring any tests that fail to conform to the immediate attention of the State's Project Manager and immediate steps shall be taken to bring manufacturing into conformance

SECTION 706

CONCRETE AND PLASTIC PIPE

Special Provisions

706-2.06 PLASTIC PIPE FOR SANITARY SEWERS. Delete Polyethylene (PE) and replace with the following:

- Polyethylene Pipe (HDPE) and fittings shall be extruded from a polyethylene compound which conforms to ASTM D 1248 and which possesses the following properties:

  - Classified by ASTM D 1248 as Type III, Class C, Category 5, Grade P34, and have a minimum ASTM D 3350 cell classification of 355434C and a designation of PE 3408 by the Plastic Pipe Institute.

  - Minimum ASTM 792 compounded density of 0.952 gm/cm3.

  - Minimum ASTM D 1693, Condition C, Environmental Stress Crack Resistance greater than 500 hours.

  - Minimum ASTM D 2837 hydrostatic design stress rating @ 23° C greater than 11 030 kpa.

  - The pipe shall contain no recycled compound except that generated in the manufacturer’s own plant from resin of the same specification from the same raw material supplier.

- Polyethylene Pipe shall be designed according to the ISO modified formula ASTM D 3035.

  - The minimum ASTM D 2837 design pressure rating expressed in terms of the static working pressure shall be 758 kpa unless otherwise note on the drawings.

  - Pipe shall be manufactured in 12.2 meter lengths.

- Polyethylene fittings shall be manufactured by molding or fabrication from polyethylene pipe using thermal butt-fusion.  All polyethylene fittings shall have the same or higher pressure rating, composition, and manufacturer as the pipe.

- Compression Fittings used for HDPE pipe less than 75 mm diameter shall be Mueller 110 Compression Fittings for Plastic Pipe, Ford Meter Box Company, Pack Joint Coupling or Insert Fittings for Polyethylene Pipe with stainless steel clamps (2 per insert), Emco Successor Compression Fitting or equal.

(2/13/04)R&M

Standard Modifications

706-2.07 CORRUGATED POLYETHYLENE PIPE. Replace “Type S” with “Type S or Type D”.

(02/08/01)M 97(2/12/04)R&M

Special Provisions

706-2.07 CORRUGATED POLYETHYLENE PIPE. Add the following:

Storm Drain AASHTO M 294, Type S or Type D

(2/16/03)R&M

SECTION 707

METAL PIPE

Special Provisions

707-2.05 WATER CONDUIT. Delete Ductile iron and add the following:

Ductile iron pipe

ASTM A126		Specification for Gray Iron Castings for Valves, Flanges and Pipe Fittings

ASTM B88 		Specification for Seamless Copper Water Tubing

or B88M

[Metric]

AASHTO M45	Sand for Cement Motar

AWWA C104/ 	Cement-Mortar Lining for Ductile-Iron Pipe and

ANSI A21.4 		Fittings for Water

AWWA C105/ 	Polyethylene Encasement for Ductile Iron Piping for ANSI A21.5Water and Other Liquids

AWWA C110/ 	Ductile-Iron and Gray-Iron Fittings, 3 in.

ANSI A21.10		through 48 in., for Water and Other Liquids

AWWA C111/	Rubber-Gasket Joints for Ductile-Iron and Gray-

ANSI A21.11		Iron Pressure Pipe and Fittings

AWWA C115/ 	Flanged Ductile-Iron Pipe with Threaded Flanges

ANSI A21.15

AWWA C151/ 	Ductile-Iron Pipe, Centrifugally Cast in Metal

ANSI A21.51		Molds or Sand-Lined Molds, for Water or Other Liquids

AWWA C303 	Reinforced Concrete Pressure Pipe, Steel Cylinder

Type, Pre-Tensioned, for Water and Other Liquids

AWWA C500 	Gate Valves for Water and Sewerage Systems

ANSI/			Dry-Barrel Fire Hydrants

AWWA C502

ANSI/			Rubber-Seated Butterfly Valves

AWWA C504

ANSI/			Installation of Ductile-Iron Water Mains and

AWWA C600 	Their Appurtenances

AWWA C651 	Disinfecting Water Mains

ANSI/			Underground Service Line Valves and Fittings

AWWA C800

(2/18/03)R&M

SECTION 708

PAINTS

Special Provisions

708-2.04 PAINT FOR CONCRETE. Add the following:

Masonry primer for concrete column reveals shall be a clear acrylic emulsion to enhance adhesion and efflorescence resistance of topcoat. Topcoat shall be a water thinnable 100 percent high gloss acrylic enamel. Contractor to submit color chips for Engineer approval. Acrylic emulsion material shall conform to the following:

Vehicle:			84.8%

Acrylic Non-volatile:		24%

Volatile Portion:		76%

Pigment:			15.2%

Dry Film Thickness:		not to exceed 1.0 DFT

Viscosity:			14-17 seconds

Weight:			0.84kg/liter

VOC:				52g/liter

100% Acrylic enamel topcoat material shall conform to the following:

Vehicle:			78.2%

Acrylic Non-volatile:		32.3%

Volatile Portion:		67.7%

Pigment:			21.8%

Rutile Titanium Dioxide:	100%

Dry Film Thickness:		1.5 mils

Viscosity:			95-100 Krebs units

Weight:			1.03kg/liter

VOC:				166g/liter

(2/18/03)R&M

SECTION 710

FENCE AND GUARDRAIL

Special Provisions.

710-2.11 GUARDRAIL TERMINALS. Add the following:

Use the ET-2000 LET.

The current guardrail end terminal drawings approved by the Department are as follows:

Drawing	Original	Latest

Number	Date		Revision

ET-2000 LET	Metric		SS 155M	7/18/00	None	11.4 m, 7 tube, Plus head

English	SS 155		5/18/00	None	37.5’, 7 tube, Plus head

(01/22/02)R249

Add the following subsection:

710-2.12 DECORATIVE FENCE AND BARRIER FENCE. Furnish metal posts, mesh panels, steel bars, and all related hardware as specified, meeting the following requirements.

1.	Metal Posts. Meet the section and length as shown on plans. Metal posts shall meet requirements of ASTM A 36 and shall be galvanized meeting AASHTO M 111.

2.	Steel bars. Meet the section and length as shown on plans and shall be galvanized meeting AASHTO M 111.

3.	Hardware. Meet the requirements of ASTM A 36. Galvanize after fabrication of all fittings, bolts, washers and accessories meeting AASHTO M 111 or AASHTO M 232, whichever applies.

(2/18/03)R&M

SECTION 712

MISCELLANEOUS

Special Provisions

712-2.06 FRAMES, GRATES, COVERS AND LADDER RUNGS. Add the following:

Ductile iron castings			ASTM A536 for Grade 60-401.

(2/22/00)R78M98

712-2.10 GATE VALVES. Delete the second paragraph and substitute the following:

Valves larger than 75 mm. Ductile iron body resilient wedge type rated for 1723 kPa (250 psi) cold water working pressure, and in full compliance with AWWA C515 and NSF Standard 61. The wedge shall be ductile iron encapsulated in nitrile rubber, and shall seat equally well against flow in either direction. The stem and wedge nut shall be manganese bronze. All exposed interior and exterior surfaces of the valve body, bonnet, and stuffing box shall have a fusion bonded epoxy coating, complying with AWWA C550, applied electrostatically prior to valve assembly. Gate valves shall be non-rising stem type, with a triple O-ring seal Gate valves shall have a 50 mm (2-inch) square operating nut, and shall open counter-clockwise. Gate valves shall have mechanical joint ends..

712-2.12 HYDRANTS. Delete the second sentence and replace with the following: Fire hydrants shall be Mueller Centurian or equal. All fire hydrants shall be supplied with a 135 mm (5 ¼”) main valve opening.

Delete the fourth paragraph and add the following:

All single pumper hydrants shall be furnished with a 150 mm (6”) ASA Class 125 standard mechanical joint end with two cast-on lugs for tie backs.  All double pumper hydrants shall be furnished with an 203 mm (8”) ASA Class 125 standard mechanical joint end with two cast-on lugs.

All connections shall be mechanical joint unless otherwise indicated in the Special Provisions.

Unless otherwise specified in the plans, all hydrants shall be furnished with a barrel length that will allow a minimum of 3 meter bury.

The main valves shall be of the compression type, where water pressure holds the main valve closed, permitting easy maintenance or repair of the entire barrel assembly from above the ground without the need of a water shut-off.

All fire hydrants shall be furnished with break-away flange of the type which allows both barrel and stem to break clean upon impact from any angle.  Traffic flange design must be such that repair and replacement can be accomplished above ground.

Painting and coating shall be in accordance with AWWA specifications.  The hydrant section from the traffic flange to the top of the operating nut shall be painted "Caterpillar Yellow".

All working parts shall be bronze of noncorrosive metal in accordance with the requirements of AWWA C-502.

All hydrants shall have drain outlets at the base of the barrel.  Manufacturer plugs shall not be removed prior to installation.

Operating and nozzle nuts shall be pentagon shaped with 38 mm (1-1/2”) point to flat measurement.

Hose nozzle threading shall be in conformance with NFPA #194 for National (America) Standard Fire Hose Coupling Screw Threads.

All hydrants shall be right hand opening (clockwise).

The leg thaw pipe shall be stenciled with a 50 mm black letter "L", installed on the left hand side of the hydrant and fabricated into an "L" shape.  The vertical portion shall be 150 mm to the side and 75 mm to the rear of the traffic flange extending 380 mm above finished grade with no perforations.  The horizontal portion shall be 150 mm above and 150 mm to the side of the hydrant leg and shall be perforated with 12 mm diameter holes, spaced 300 mm apart facing the center of the hydrant leg.

The barrel thaw pipe shall be stenciled with a 50 mm black letter "B" installed on the right hand side of the hydrant from 150 mm above the hydrant leg and extending 380 mm above finished grade, and installed vertically 75 mm to the rear and 150 mm to the side of the traffic flange.  The barrel thaw pipe shall be perforated with 12mm diameter holes spaced 300 mm apart starting 450 mm below finished grade and facing the hydrant barrel.  A 6 mm machine screw shall be installed 25 mm below the cap to provide identification of the barrel thaw pipe.

Tie rods must be 19 mm O.D. all-thread black iron or mild steel.

(2/13/04) R&M

712-2.14 PREFORMED PAVEMENT MARKINGS. Add the following to paragraph A. under Item 1, General Requirements: The preformed ribbon shall consist of one solid piece of required width and length. In solid stripe areas, the tape length shall, where possible, be a minimum of 30 meters.

(7/15/96)R79M

712-2.17 METHYL METHACRYLATE PAVEMENT MARKINGS.

Add the following under Item 2. Performance Properties:

k.	Adhesion: 	To Portland Cement, minimum 13.8, to asphalt, dependent on tensile failure of the substrate.

(07/17/03)R246M98

Add the following Subsection:

712-2.19 SEWER CONDUIT. Add the following: All valves shall be complete with all necessary operating handwheels, manual actuators, extension stems, floor stands, worm and gear operators, operating nuts, and wrenches which are required for the proper completion of the work included under this Section.

Renewable parts, including discs, packing, and seats shall be of types recommended by valve manufacturer for intended service.

All units shall have the name of the manufacturer and the size of the valve cast on the body or bonnet or shown on a permanently attached plate in raised letters..

For the purpose of designating the type and grade of valve desired, a manufacturer’s name and list or figure number is given in the following Specifications. Valves of equal quality by other manufacturers, which conform to these Specifications, may be offered for approval by the Engineer.

- Brass and Bronze Components. Brass and bronze components of valves and appurtenances which have surfaces in contact with the water shall be alloys containing less than 16 percent zinc and 2 percent aluminum.

Approved alloys are of the following ASTM designations:

B 61, B 62, B 98 (Alloy A, B, or D), B 139 (Alloy A), B 143 (Alloy 1-B), B 164, B 194, B 292 (Alloy A), and B 127.

- Type 100 Gate Valves. Gate valves 50 mm and smaller shall be all-bronze with screwed bonnet and ends, single solid wedge gate, and nonrising stem. Valves shall be rated 125-pound SWP, 200-pound WOG, and shall be Walworth Company Figure 4; Crane Co. Cat. No. 438; or equal.

- Type 110 Gate Valves.  Gate valves 63 mm and larger for buried service shall be iron body, mechanical joint ends, nonrising bronze stem with O-ring stem seals, with resilient seats applied to the body or gate, shall seat against a corrosion-resistant surface, and shall open when the stem is rotated counterclockwise. Valves shall have 50-mm square operating nut. Conform to AWWA A509-80.

The valves shall have the interior surfaces of the valve body and the valve disc coated with material specified in AWWA C550-81, Section 2.2.  Joint materials for mechanical joint ductile iron pipe shall conform to AWWA C111. Valves shall be Mueller Resilient Seat Gate Valves, or equal.

(2/13/04)R&M

SECTION 716

STRUCTURAL STEEL

Special Provisions

716-2.02 GENERAL REQUIREMENTS. Delete Item number 2. and replace with the following:

2.	Structural Steel	ASTM A 36 or ASTM A 709 Gr. 50 as required.

716-2.04 STEEL GRID FLOORS. Delete this section in its entirety and replace with the following:

Meet ASTM A 709 Gr. 50/ A572. Open type floors and steel deck grates shall be galvanized.

(07/30/03)R&M

SECTION 721

PRESTRESSING STEEL AND FITTINGS

Special Provisions

Remove Subsection 721-2.03 ANCHORAGES.

Remove Subsection 721-2.04 COUPLINGS.

(7/31/03)R&M

SECTION 723

WATER STOPS

Special Provisions

Delete Subsection 723-2.01 in its entirety and substitute the following:

723-2.01 WATER STOPS.

Waterstops shall be manufactured either from neoprene or from polyvinyl chloride (PVC). Neoprene shall be manufactured from a vulcanized elastomeric compound containing neoprene as the sole elastomer and shall conform to the following:

| Test |  | ASTM Designation | Requirement |
| --- | --- | --- | --- |
| Tensile strength, Mpa |  | D 412 | 13.8 Min. |
| Elongation at break, percent |  | D 412 | 300 Min. |
| Compression set, 22 h at 70°C, percent |  | D 395(Method B) | 30 Max. |
| Tear strength, kN/m |  | D 624 (Die C) | 26.3 Min. |
| Hardness (Type A) |  | D 2240 | 55±5 |
| Ozone resistance 20% strain, 100 h at 38°C ±1°C |  | D 1149 (except 100± 20 parts per 100 000 000) | No cracks |
| Brittleness temperature |  | D 746 | -40°C |
| Flame resistance |  | C 542 | Must not propagate flame |
| Oil Swell, ASTM Oil #3, 70 h at 100°C, volume change, percent |  | D 471 | 80 Max. |
| Water absorption, immersed 7 days at 70°C, change in mass, percent |  | D 471 | 15 Max. |

After accelerated aging in conformance with the requirements in ASTM Designation: D 573 for 70 hours at 100°C the elastomer shall not show deterioration changes in excess of the following:

Tensile strength, percent	-15

Elongation at break, percent	-40

Hardness, points		+10

Polyvinyl chloride waterstops shall be manufactured from polyvinyl chloride conforming to the Corps of Engineers Specification Number CRD-C 572 and shall conform to the ozone resistance as required for neoprene waterstops. A certificate shall be furnished with the test sample supplied stating that all of the performance requirements specified under paragraph 6 of that specification have been complied with.

(2/16/03)R&M

SECTION 724

SEED

Special Provisions

Delete Subsection 724-2.02 in its entirety and substitute the following:

724-2.02  MATERIALS.  Meet applicable requirements of the State of Alaska Seed Regulations, 11 AAC 34, Article 1 and Article 4.

Furnish “certified seed” or 4 signed copies of a report certifying that each lot of seed has been tested by an approved laboratory within 9 months of date of application. Include: name and address of laboratory, date of test, lot number for each kind of seed, and results of test as to name, percentages of purity and germination, and percentage of weed content for each kind of seed furnished.

Delete Table 724-1 in its entirety and substitute the following:

TABLE 724-1

SEED REQUIREMENTS

Seed Mix: Schedule A (Application Rate: 48.8 kg/ha)

| NAME | PROPORTION BY WEIGHT | PURITY | GERMINATION |
| --- | --- | --- | --- |
| Arctared Fescue Festuca rubra) | 75% | 95% | 85% |
| Annual Ryegrass (Lolium perenne) | 25% | 85% | 80% |

(2/18/03)R&M

SECTION 726

TOPSOIL

Special Provisions

726-2.01 TOPSOIL. Delete item 2. and substitute the following:

2.	Topsoil shall contain not less than 5 percent and no greater than 15 percent organic matter by dry weight as determined by ASTM T-6.

Delete the gradation table in the third paragraph and substitute the following:

| Sieve Size | Percent Passing (by Weight) |
| --- | --- |
| 12.5 mm | 100 |
| 4.75 mm | 95-100 |
| 1.18 mm | 64-90 |
| 0.075 mm | 30-60 |
| Organic Content | 5%-15% |

Delete first paragraph under item 3. and substitute the following: Notify the Engineer of the source of topsoil at least 30 calendar days prior to delivery of topsoil to the project from the location. Submit a soil analysis for particle size, nutrient content and organic content to the Engineer, 10 working days prior to final placement or before any topsoil is accepted for this project. The Engineer may test the topsoil at any time to verify compliance with the topsoil analysis. If the supplied topsoil does not meet specifications in this section, the Contractor shall supply new topsoil of a quality required to meet the section standards.

Below the last paragraph, delete the fertilizer constituents criteria and substitute the following:

| Nitrogen | 50 – 75 PPM |
| --- | --- |
| Phosphoric Acid | 112 – 165 PPM |
| Potassium | 121 – 200 PPM |

(2/18/03)R&M

SECTION 727

SOIL STABILIZATION MATERIAL

Special Provisions

727-2.01 MULCH. Delete numbered Item 1. in its entirety and substitute the following:

1.	Virgin/Recycled Wood Fiber, Recycled Paper (“wood cellulose”) Mulch, or a Blend of Virgin/Recycled Wood Fiber with Recycled Paper Mulch. Blended mulch may contain up to 50% recycled paper. The mulch shall meet the following requirements:

a.	Contains no growth or germination inhibiting factors.

b.	Will remain in uniform suspension in water under agitation and will blend with grass seed, fertilizer and other additives to form a homogeneous slurry.

c.	Mulch can be applied uniformly on the soil surface.

d.	Will not create a hard crust upon drying and have moisture absorption and retention properties and the ability to hold grass seed in contact with the soil.

e.	Dyed a suitable color to facilitate inspection of its placement.

Ship the mulch material in packages of uniform weight (plus or minus 5%) and bear the name of the manufacturer and the air-dry weight content.

Use a commercial tackifier on all areas steeper than 3:1. Use the amount recommended by the manufacturer.

(8/19/99)R206M98

Add the following Subsection:

727-2.04 COIR LOG. Log material shall consist of the following:

Fiber:		100% mattress grade coconut (coir) fiber, 2.268 kg per 0.3048 meter minimum.

Netting:	100% coconut (coir) fiber yarn, mesh opening approximately 50 mm, mesh tied at junctions, tensile strength per yarn 25 kg dry, 18 kg wet.

Size:		Length:	6 meters long

Diameter:	.3 meter

Weight:	45 kg approx.

Description:	Manufactured from 100% coconut (coir) fiber, the log shall be a machine fabricated cylinder, encased in 100% coconut (coir) fiber netting. Fiber shall be packed tightly into netting. Netting mesh shall have mesh junctions tied to prevent misalignment. Use only coir logs specifically for stream bank reclamation.

(6/22/99)R248M98

Add the following Subsection:

727-2.05 Polyacrylamide Soil Stabilizer. Polyacrylamide (PAM) is a long-chain organic polymer used in erosion control because of its ability to stabilize soils and remove fine suspended sediments from storm water runoff. PAM also increases infiltration rates in soils by preventing surface sealing. PAM must be in anionic or non-ionic form only, not cationic.

1.	The specific PAM copolymer formulation should be anionic or nonionic. Cationic PAM (or other cationic polymer flocculants) will not be used in any application because of known aquatic toxicity concerns. PAM designated for these uses should be “water soluble” or “linear” or “non-cross linked”. Cross-linked or water absorbent PAM, polymerized in highly acidic (pH<2) conditions, and are used to maintain soil moisture content in soils.

2.	Only highest drinking water grade PAM, certified for compliance with ANSI/NSF Standard 60 for drinking water treatment, will be used for soil applications or storm water flocculation. Drinking water grade PAM will be purchased from known reputable agricultural and drinking water chemical suppliers, which will result in PAM that have a 0.05% maximum and an average 0.02% AMD Concentration.

Construction Application Rates:

60 grams PAM / kiloliter (½ pound PAM / 1000 gallons) water treats approximately 0.40 hectares (1.0 acre) of exposed soil, although this will vary with soil texture.

Method for Application:

- Pre-measure area where PAM is to be applied and calculate application rate.

- PAM has infinite solubility in water, but dissolves very slowly. Dissolve pre-measured dry granular PAM with known quantity of clean water in a bucket several hours or overnight. Mechanical mixing will reduce dissolution rates. Always add PAM to water, not water to PAM.

- Prefill Water Truck 1/8 full with water (low turbidity).

- Add PAM / Water mixture to the pre-filled water truck.

- Completely fill water truck to specified volume.

- Spray on PAM / Water mixture to dry soil until the soil surface is uniformly and completely wetted.

Application Field Constraints:

- Do not use PAM in areas which discharge directly to natural surface waters. The storm water runoff needs to be routed through a sediment control BMP prior to discharge to surface waters. Larger sites greater than 5 acres should direct runoff through a detention pond prior to discharge.

- Do not add dry PAM to water discharging from site.

- Do not apply when raining or on very wet soil.

- PAM combined with water in high concentrations is very slippery and can be a safety hazard, all care should be taken to prevent spills of PAM powder to paved surfaces.

Reapplication:

Approximate 6 week range for reapplication. Reapplication will be needed following every storm that exceeds the 6 month/24 hour design event (64% of the 2 year storm).

SECTION 729

GEOTEXTILES

Standard Modifications

729-2.01 EMBANKMENT SEPARATION AND REINFORCEMENT.

1. Separation.  Replace  “(medium survivability)”  with  “(Class 3)”.

2. Reinforcement.  Replace  “Separation (high survivability)”  with  “Stabilization”.

729-2.02 SUBSURFACE DRAINAGE AND EROSION CONTROL.

2. Erosion Control.  Replace  “Erosion Control”  with  “Permanent Erosion Control”.

729-2.04 SEDIMENT CONTROL. Replace the first sentence with:  “Meet AASHTO M 288 for Temporary Silt Fence”.

(02/08/01) M98

Special Provisions

Add the following Subsection:

729-2.06 GEOCOMPOSITE DRAIN. The geocomposite drain shall consist of a structural core providing in-plane high flow capacity under cross-plane compressive stress with the following properties:

| Property | Test Method | Requirement |
| --- | --- | --- |
| Thickness (cross-plane) 10 kPa loading | ASTM D-1777 | 5 mm, min. |
| Crushing Strength (cross-plane) | ASTM D-1621 | 250 kPa, min. |
| Transmissivity (in-plane) 0.25 drainage gradient 100 kPa pressure | ASTM D-4716 | 0.1 l/min/mm, min. |

(12/23/96)R97M98

SECTION 730

SIGN MATERIALS

# Special Provisions

730-2.04 SIGN POSTS. Under item 1., Metal Pipe Posts, add the following to paragraph a.: Posts conforming to ASTM A53 shall be either Type E grade B, or Type S grade B.

Standard Modifications

In item 2. Perforated Steel Posts., paragraph a., first sentence, replace “ASTM A 446” with “ASTM A 653 and ASTM A 924”.

(06/25/99)M 83

Special Provisions

Add the following:

6.	Structural Tubing and W Shape Beams.

a.	Structural tubing shall conform to either ASTM A500, grade B, or ASTM A501. The tubing shall be square and of the dimensions called for in the plans with 5 millimeter thick walls. 11 millimeter diameter holes shall be drilled as required to permit mounting of the sign.

b.	W shape beams shall conform to ASTM A36.

c.	Structural tubing and W shape beams shall be hot dip galvanized in accordance with 1.b. of this subsection. Damaged and abraded tubes and beams shall be repaired in accordance with 1.c. of this subsection.

7.	Square Non-Perforated Steel Tubes.

a.	Fabricate from 4.75 mm thick cold-rolled carbon steel sheets, commercial quality, to meet ASTM A 500, Grade B. Form posts into a steel tube, roll to size, and weld in the corner. Furnish with 11 mm diameter holes drilled or punched as necessary to permit mounting of the sign.

b.	Hot dip galvanize to meet AASHTO M 111 after fabrication. When cutting metal posts after hot dip galvanizing, minimize damage to the zinc coating and protect all exposed surfaces by treating the exposed area.

c.	Repair galvanized surfaces that are abraded or damaged at any time after the application of the zinc coating to meet the applicable provisions of AASHTO M 36.

(08/04/03)R81M98

Add the following Section:

SECTION 731

POST-TENSION GROUT

731-1.01 GENERAL REQUIREMENTS. Use pre-packaged thixotropic grout formulated specifically for bonded post-tensioned concrete structures in aggressive exposures.

Ship grout in weather proof packages, plainly marked with the name, weight, and volume of the grout, together with the lot number, date of manufacture, mixing instructions, and the name and address of the manufacturer.

Protect grout against dampness. Do not use grout that has become partially set or which contains lumps of caked grout. Do not use grout salvaged from discarded or used bags. Do not use grout with a total time from manufacture to usage in excess of six months unless the manufacturer tests and certifies the product meet the QC Control Specifications.

Batch grout using the entire contents of each bag in accordance with all of the manufacturer’s written recommendations and instructions.

731-2.01 MATERIALS. Use grout that conforms to the following requirements

- Portland Cement: Type I or Type II cement meeting the requirements of Subsection 701-2.01.

- Potable Water: Use water meeting the requirements of Subsection 712-2.01.

- Fly Ash: Class C or Class F fly ash meeting the requirements of Subsection 711-2.03. Limit fly ash content to a maximum of 20% by weight of Portland cement.

- Ground Granulated Blast Furnace Slag: Grade 120 slag conforming to ASTM C 989. Limit blast furnace slag content to a maximum of 40% of the weight of Portland cement.

- Silica Fume: Silica fume conforming to ASTM C 1240. Limit silica fume content to a maximum of 15% of the weight of Portland cement.

- Set Control and Water-Reducing Admixtures: Type D, Type F, and Type G admixtures conforming to AASHTO M 194. Limit Type F and Type G admixtures to 3 L per 100 kg of Portland cement.

- Air Entraining Admixtures: Do not use grout with air entraining admixtures.

- Expansion Causing Admixtures: Do not use grout with expansive cement or expansion causing admixtures that contain aluminum powder or components that produce hydrogen, carbon dioxide or oxygen gas.

- Corrosion Inhibitor Admixtures: Do not use grout with corrosion inhibitor admixtures.

- Pumping Aid Admixtures: Do not use pumping aid admixtures.

731-2.02 PHYSICAL PROPERTIES. Use grouts that satisfy the following requirements.

| Total Chloride Ions | Max. 0.08% by weight of cementitious materials | ASTM C 1152 |
| --- | --- | --- |
| Setting Time | Min. 3 hours Max. 12 hours | ASTM C 953 |
| Strength | Min 21 MPa after 7 days Min 35 MPa after 28 days | ASTM C 942 |
| Permeability @ 28 days | Max. 2500 Coulombs at 30 V after 6 hours | ASTM C 1202 |
| Volume Change | Maximum 0.0% after 24 hours Maximum +0.2% after 28 days | ASTM C 1090 (modified)* |
| Expansion | ≤ 2.0 % for up to 3 hours | ASTM C 940 |
| Fluidity | Immediately after mixing: Min. 9 sec. Max. 20 sec. 30 minutes after mixing: Max. 30 sec. | ASTM C 939 (modified)** |
| Wick Induced Bleed | Max 0.0% | ASTM C 940 (modified)*** |
| Wet Density | Report maximum and minimum obtained test value kg/L | ASTM C 185 |

*	Modify ASTM C1090 to include verification at both 24 hours and 28 days.

**	Modify the ASTM C939 test by filling the flow cone to the top instead of to the standard level. The efflux time is the time to fill a one liter container placed directly under the flow cone.

***	Modify ASTM C940 to conform with the wick induced bleed test as follows:

(a)	Use a wick made of a 0.5 m length of ASTM A416 seven wire 12.7 mm diameter strand. Wrap the strand with 50 mm wide duct or electrical tape at each end prior to cutting to avoid splaying of the wires when it is cut. Degrease (with acetone or hexane solvent) and wire brush to remove any surface rust on the strand before temperature conditioning.

(b)	Condition the dry ingredients, mixing water, prestressing strand and test apparatus overnight at 18 to 24°C.

(c)	Mix the conditioned dry ingredients with the conditioned mixing water and place 800 ml of the resulting grout into the 1,000 ml graduate cylinder. Measure and record the level of the top of the grout.

(d)	Completely insert the strand into the graduated cylinder. Center and fasten the strand so it remains essentially parallel to the vertical axis of the cylinder. Measure and record the level of the top of the grout.

(e)	Store the mixed grout at the temperature range listed above in (b).

(f)	Measure the level of the bleed water every 15 minutes for the first hour and hourly for two successive readings thereafter.

(g)	Calculate the bleed water, if any, at the end of the three hour test period and the resulting expansion per the procedures outlined in ASTM C940, with the quantity of bleed water expressed as a percent of the initial grout volume. Note if the bleed water remains above or below the top of the original grout height. Note if any bleed water is absorbed into the specimen during the test.

731-2.03 MATERIAL CERTIFICATION. Submit 5 copies of a quality control data sheet covering the chemical and physical tests conducted on the grout for the material in each shipment. Submit 5 copies of a certified test report from an independent laboratory, audited by the Cement Concrete Research Laboratory, which shows the material meets all property requirements of Subsection 731-2.02.

Add the following Section:	SECTION 740

### SIGNALS AND LIGHTING MATERIALS

740-2.01 GENERAL. Use electrical materials, devices, fittings, and hardware that conform to applicable NEMA and ANSI standards.

Use electrical products that are Third Party Labeled or Listed (by an approved independent electrical testing laboratory such as UL, ETL, CSA, etc.), unless otherwise indicated on the Materials Certification List (MCL).

Ensure that all material and workmanship, as determined by the Department, conform to the standards of the NEC, the NESC, and local safety codes as adopted and amended by the authority having jurisdiction.

740-2.02 SIGNAL AND LIGHTING STRUCTURES. Design and fabricate highway lighting and traffic signal structures with pole shaft lengths to 17 m long to conform to the 1994 Edition of AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals with interim revisions.  For the design and fabrication of high tower poles, see subsection 740-2.04. Furnish highway lighting and traffic signal structures designed for 160 km per hour wind speeds and a 1.3 gust factor.

A registered professional engineer shall design the structures and provide stamped shop drawings and calculations.  Submit the stamped drawings and calculations for each pole to the Engineer for approval. Design for stresses on the completed structure with hardware in place.

1.	In the stamped calculations, indicate the edition of Standard Specifications to which the poles are being designed and provide the input data used to design each pole and mast arm, including:  design wind speed, cross section shape, yield strengths of the component materials, dimensions of the pole components, and a summary of the loads used.

2.	On the stamped shop drawings, provide design wind speed and the details for building the poles and mast arms, including:  materials specifications, slip fit joint dimensions, pole component dimensions, welds that will be made, and the welding inspection that will be done.

Submit the mill certifications for the steel items (piles, plates, bolts, and other related items) to the Engineer for approval.

Design each electrolier to support a sign with an area of 1.49 square meters with its centroid located 4.3 m above the base of the pole.

Fabricate signal and lighting structures from tapered steel tubes with a round or 16-sided cross section.  Orient hand holes located near the base of poles to face down-stream of traffic flow.

Furnish poles and mast arms up to 12.2 m long in one piece.  Poles and mast arms longer than 12.2 m may be furnished in one piece or in two segments with a slip type field splice.  For slip type joints, provide a minimum overlap of 610 mm or 1.5 times the inside diameter of the female section whichever is larger.

With two-piece mast arms, locate the slip type field splice at least 305 mm away from the plan location of signal heads and signs.

Fabricate tubes with walls up to 13 mm thick from the prequalified base metals listed in AWS D1.1 and which feature maximum yield strengths of 483 MPa (70,000-psi).  Fabricate elements greater than 13 mm thick from steel that conforms to ASTM A 709 and meets the Fracture Critical Impact Test requirements for zone 3.  The Department will not accept structures that contain or are made with laminated steel elements.

Fabricate each tube from no more than 2 pieces of steel. When using 2 pieces, place the longitudinal welded seams directly opposite one another. Place the welded seams on adjacent sections to form continuous straight seams from the base to the top of the pole.

Fabricate 3 m long signal posts from 11 US Standard Gage sheet steel.  Fabricate each post with a minimum inside diameter of 125 mm at the base plate.  Use an 88 mm long piece of DN 100 mm schedule 40 pipe that conforms to ASTM A 53 Grade B as a post-top adapter.

The Department does not allow holes made for lifting purposes in the ends of tubular segments, except in the free ends of luminaire mast arms.  To add lift points, weld them at least 300 mm away from welds on the outside of female segments and on the inside of male segments.  Before shipment, remove all added lift points, grind the area smooth with the base metal, and hot stick repair the finish according to subsection 660-3.01.8.a.

Hot-dip galvanize lighting and signal structures to meet AASHTO M 111 and these specifications.  Completely submerge pole and mast arm segments in one dip in a kettle of concentrated zinc ammonium chloride flux solution heated to 54 oC, then completely submerge in one dip in a separate kettle of prime western grade zinc heated to approximately 440 oC. Galvanize bolts and fasteners to meet AASHTO M 232.

After the poles and mast arms are galvanized, remove all excess zinc from all drip lines and points and the surfaces of all tube ends that form slip type joints to provide a smooth finish.

The Department will reject poles and mast arms that are

1.	Not fabricated according to these specifications or the approved shop drawings,

2.	Bowed with sweeps exceeding 19 mm throughout the length of the pole, mast arm, or segment, if you furnish a two-piece pole or mast arm,

3.	Out of round.  Sections are out of round when the diameters of round members or the dimension across the flats of multi-sided members exceed two percent of the dimension specified on the shop drawings.

Fabricate pile cap adapters from grade X42 steel line pipe that conforms to API 5L and from steel plate that conforms to ASTM A 709 Grade 50. Attach the anchor plate to the pile section with a complete joint penetration (CJP) weld. Fabricate the anchor plate to match the base plate of the lighting standard.

Perform welding to conform to subsection 504-3.01 8.  Welding and the following:

1.	Make welds continuous.

2.	Use partial joint penetration (PJP) welds in longitudinal seams.  PJP welds must provide at least 60% penetration.

3.	Use CJP groove welds to connect base plates to tubes with walls 5.56 mm thick and thicker.  When CJP groove welds are used, the designer may use additional fillet welds when deemed necessary.

4.	Use socket-type joints with two fillet welds to connect base plates to tubes with walls less than 5.56 mm thick.

5.	On steels 7.94 mm thick and thicker, inspect 100 Percent of CJP welds by either radiography (RT) or ultrasound (UT).

6.	On steels between 5.56 mm 7.94 mm thick, inspect 100 Percent of CJP welds by UT per annex K of AWS D1.1.

7.	Inspect a random 25 percent of PJP and fillet welds by magnetic particle (MT). If a defect is found, inspect 100% of the PJP and fillet welds made to fill the order.  In steels less than 3.175 mm thick, complete the tests per AWS D1.3.

8.	Only visual inspection of welds is required on luminaire mast arms.

Finish poles and mast arms to conform to the following requirements.  Before they are galvanized, neatly round the following features to the radius specified

1.	On all holes through which electrical conductors pass, provide a 1.6 mm radius on both edges,

2.	On all pole base plates, provide a 3 mm radius on all edges along which plate thickness is measured and a smooth finish on all other exposed edges,

3.	On the ends of all tubes that form slip type joints, complete the following tasks on the two surfaces that contact one another.  First, provide 1.6 mm radii on the inside and outside edges of the female and male segments, respectively.  Then for the length of the joint plus 150 mm do two things: grind down all welds until they feature a radius concentric with the mating surface and remove all material protruding from the two surfaces, and

4.	Grind exposed welds flush with the base metal, except fillet welds and seam welds on top of mast arms.  Grinding seam welds on multi-sided poles is not required, except in slip type joints.

Provide caps to cover the free ends of poles and mast arms.

Identify critical information for poles and arms with visible permanent aluminum tags that contain the information shown in Table 740-1.  The measurements shown are for illustration purposes only. Use tags large enough to include all required information using 6 mm high text, 10 mm of space between successive lines of text, and at least 10 mm of space between the edges of the tag and the text. Secure the tags with two 3 mm blind rivets at the base of poles and the under side of mast arms. If you furnish a two-piece signal mast arm with slip type joint, mark both pieces with the same message.

# TABLE 740-1

#### POLE MARKINGS

| Note: Italic type indicates additional Tag Markings if poles have 2 luminaire or 2 signal mast arms. |  |  |
| --- | --- | --- |
|  | MEASUREMENTS | TAG MARKINGS |
| Signal Poles |  |  |
| a) Signal mast arm length | 12.4 m. /9.3 m. | SMA 407/SMA 305 |
| b) Luminaire mast arm length | 4.6 m. /4.6 m | LMA 151/LMA 151 |
| c) Pole height | 11.4 m | PH 374 |
| d) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| e) Sum of signal mast arm moments about centerline of signal pole |  | SM 4000/SM 3200 |
| f) Design wind speed | 160 kph | DWS 100 |
| Light Poles |  |  |
| a) Luminaire mast arm length | 4.6 m. /15.6 m | LMA 151/LMA 151 |
| b) Pole height | 11.4 m | PH 374 |
| Signal Mast Arms |  |  |
| a) Mast arm length | 12.4 m | SMA 407 |
| b) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| c) Sum of signal mast arm moments about centerline of signal pole |  | SM 3740 |
| d) Design wind speed | 160 kph | DWS 100 |
| Luminaire Mast Arm |  |  |
| a) Mast arm length | 5.5 m | LMA 180 |
| b) Pole number (if unique arm design) |  | P 4 |

(2/17/04)R&MKM

740-2.03 WOOD POLES. Use wood poles for service or temporary installations of the class shown on the Plans or as specified in the Special Provisions.

Use 10.7 m poles, except for service poles use 7.6 m poles.

Use mastarms and tie rods for wood pole installations that conform to Subsection 740-2.02, and to the details shown on the Plans. Provide each mastarm with an insulated wire inlet and wood pole-mounting bracket for mastarm and tie rod crossarm.

Use structural timber meeting Section 713. Do not use poles that have more than 180 degrees twist in grain over the full length. Ensure that the sweep is no more than 100 mm. Pressure-treat wood poles, that are not to be painted, after fabrication meeting the requirements in Section 714.

740-2.04 HIGH TOWER POLES.  Design and fabricate high tower lighting poles to conform to the 2001 Edition of AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals with interim revisions.

A registered professional engineer shall design the structures and provide stamped:  shop drawings and calculations.  Submit the stamped drawings and calculations for each pole to the Engineer for approval. Design for stresses on the completed structure with hardware in place.

1.	In the stamped calculations, indicate the edition of Standard Specifications to which the poles are being designed and provide the input data used to design each pole, including:  design wind speed, cross section shape, yield strengths of the component materials, dimensions of the pole components, and a summary of the loads used.

2.	On the stamped shop drawings, provide the criteria to which the poles are designed and the details for building the poles, including:  materials specifications, slip fit joint dimensions, dimensions of the tube segments and other components, the total weight of each segment, the welds that will be made, and the welding inspection that will be done.

The pole manufacturer shall submit a pole installation plan that details the work required to assemble each pole, the locations of timber supports during and after pole assembly.  Submit this plan with the stamped plans and calculations.

Submit the mill certifications for steel items (piles, plates, bolts, and other related items) to the Engineer for approval.

Design high tower poles for a 50-year design life and the basic wind speed shown in the 2001 AASHTO Standard Specifications for Structural Supports or for 160 kph, whichever is greater. Use a gust effect factor of 1.14.

For fatigue design, use fatigue category I importance factors for lighting poles, and design poles that taper less than 0.0117 m/m to resist the effects of vortex shedding.

Furnish poles fabricated from tapered steel tubes with a round, 16-sided, or 12-sided cross section.  Use no more than four tapered-tube segments with slip type field splices to form each pole.  For the slip type joints, provide a minimum overlap of 610 mm or 1.5 times the inside diameter of the female section whichever is larger.

Furnish poles that allow the luminaire ring to descend within 1.5 m of the base plate.

Design poles to support a load that consists of the lowering device and ten luminaires equipped with light shields.  Use the following values for these components.

Component	Effective Projected Area	Weight

One lowering device	0.8 m2	140 kg

Ten luminaires	2.0 m2	280 kg

Ten light shields	2.8 m2	10 kg

Provide a reinforced rectangular hand hole that provides an opening large enough to install the winch assembly.

Provide a detachable door over the hand hole frame including hinges, nuts to fasten the door to the frame, and a neoprene gasket to provide a watertight seal around the frame. Provide for a locking mechanism for the hand hole door.

Fabricate the base plate to match the bolt circle diameter and the quantity and size of anchor bolts of the foundation detailed on the Plans. The anchor bolts conform to ASTM F 1554, Grade 55 with Supplemental Impact Test Requirements of Section S4. The distance from bottom of the leveling nut to the top of the concrete of the anchor bolts will not exceed 25 mm.

Install hook to the left of the hand hole for storing the winch control cable away from top of the foundation.  Provide a 25 mm wide hook that features rounded edges, a 50.8 mm radius, and 100 mm between the low point and free end of the hook.

Fabricate tubes with walls up to 13 mm thick from the prequalified base metals listed in AWS D1.1 and which feature maximum yield strengths of 483 MPa (70,000-psi).  Fabricate elements greater than 13 mm thick from steel that conforms to ASTM A 709 and meets the Fracture Critical Impact Test requirements for zone 3.

Fabricate each tube from no more than 2 pieces of steel. When using 2 pieces, place the longitudinal welded seams directly opposite one another. Place the welded seams on adjacent segments to form continuous straight seams from the base to the top of the pole.  The Department will not accept poles and mast arms made with laminated steel elements.

The Department does not allow holes made for lifting purposes in the ends of tubular segments.  To add lift points, weld them at least 300 mm away from welds on the outside of female segments and on the inside of male segments.  Before shipment, remove all added lift points, grind the area smooth with the base metal, and hot stick repair the finish according to subsection 660-3.01.8.a.

Provide the mounting brackets needed to install the luminaire-ring lowering device, including the winch assembly, associated hardware, and the masthead assembly.

Around the top of each pole, provide a stabilizer system that prevents the luminaire ring from swinging freely when the top of the ring is within 610 mm of being fully docked in the masthead fitting.  The stabilizer system shall consist of at least three crooked-F shaped brackets located symmetrically around each pole. The brackets shall form a tapered bottom section and a parallel top section that restricts ring movement.  Bolt each bracket to two channels welded to the pole shaft.  With the Eagle lowering device, locate the brackets between the wheels that line the luminaire ring.  Design and fabricate the brackets from stainless steel tubing to withstand the load and wind speed used to design the poles.  The installed brackets shall just fit through a circle 25 mm smaller in diameter than the inside diameter of the luminaire ring.

Perform welding to conform to subsection 504-3.01 8.  Welding and the following:

1.	Make welds continuous.

2.	Use CJP groove welds on longitudinal seams within 150 mm of CJP circumferential welds.

3.	In the ends of those segments that form a slip type joint, provide CJP longitudinal seam welds at least 300 mm longer than the length of the joint.

4.	Use CJP groove welds to connect base plates to tubes with walls 7.94 mm thick and thicker.  When CJP groove welds are used, the designer may use additional fillet welds when deemed necessary.

5.	Use socket-type joints with two fillet welds to connect the pole top plates to tubes with walls less than 7.94 mm thick.

6.	Use partial joint penetration (PJP) welds in longitudinal seams between the segments of CJP welds.  PJP welds must provide at least 60% penetration.

7.	Use PJP and fillet welds to attach hand-hole frames to the tube.

8.	On steels 7.94 mm thick and thicker, inspect 100 Percent of CJP welds by either radiography (RT) or ultrasound (UT).

9.	Inspect a random 25 percent of PJP and fillet welds by magnetic particle (MT). If a defect is found, inspect 100% of the PJP and fillet welds made to fill the order.

Weld tags on the ends of segments that form slip type joints to facilitate field assembly.  Locate the tags to ensure segment alignment when the tags are aligned.  Attach the tags at least 305 mm away from the slip type joint.  Include the shop drawing number to which the poles are fabricated and pole length on the tag.

Finish poles to meet the following requirements.  Before they are galvanized, neatly round the following features to the radius specified

1.	On all holes through which electrical conductors pass, provide a 1.6 mm radius on both edges,

2.	On all pole base plates, provide a 3 mm radius on all edges along which plate thickness is measured and a smooth finish on all other exposed edges,

3.	On the ends of all tubes that form slip type joints, complete the following tasks on the two surfaces that contact one another.  First, provide 1.6 mm radii on the inside and outside edges of the female and male segments, respectively.  Then for the length of the joint plus 150 mm do two things: grind down all welds until they feature a radius concentric with the mating surface and remove all material protruding from the two surfaces, and

4.	Grind exposed welds flush with the base metal, except fillet welds and seam welds on top of mast arms.  Grinding seam welds on multi-sided poles is not required, except in slip type joints.

The Department will reject poles containing segments that

1.	Are not fabricated according to these specifications and the approved shop drawings,

2.	Are bowed with sweeps exceeding 19 mm throughout the length of the segment,

3.	Are out of round.  Segments are out of round when the diameters of round members or the dimension across the flats of multi-sided members exceed two percent of the dimension specified on the shop drawings.

4.	Do not provide the minimum overlap of 610 mm or 1.5 times the inside diameter of the female section, whichever is larger, in the slip type field splices when the pole is assembled.

Hot-dip galvanize pole segments and attachments to meet AASHTO M 111 and these specifications.  Completely submerge pole segments in one dip in a kettle of concentrated zinc ammonium chloride flux solution heated to 54 oC, then completely submerge in one dip in a separate kettle of prime western grade zinc heated to approximately 440 oC. Galvanize bolts and fasteners to meet AASHTO M 232.

After the poles and mast arms are galvanized, remove all excess zinc from all drip lines and points and the surfaces of all tube ends that form slip type joints to provide a smooth finish

740-2.05 CONDUCTORS. Use conductor sizes based on the American Wire Gage (AWG). Use sizes that conform to the Plans or, when not shown, to this Subsection.

Use insulated conductors made of uncoated, stranded copper that conforms to the specifications of ASTM B 8. Use grounding conductors that are bare copper of the gage required by the NEC. They may be stranded, solid, or braided.

Provide the following markings on the outer coverings of conductors and cables on intervals of 600 mm or less: manufacturer, the number of conductors or pairs in cables, conductor size, 600V, the conductor or cable type and environmental conditions for which the conductor or cables are listed, and the symbol of an approved independent testing laboratory.

Use conductors meeting the referenced specifications for the following purposes:

1.	Power Conductors. For individual conductors, install general-purpose building wire manufactured according to UL Standard 44, ICEA S-66-524, and NEMA No. WC7. Furnish conductors insulated with cross-linked polyethylene listed as type XHHW-2 and rated for 600 volts AC operation.

TABLE 740-2

CONDUCTOR TERMINATION TABLE

| CONDUCTORS PER CABLE | CIRCUIT | WIRE COLOR | AWG. NO. | BAND LEGEND |
| --- | --- | --- | --- | --- |
| 5 | Vehicle Red Vehicle Yellow Vehicle Green Common Neutral Spare | Red Orange Green White Black | 14 | Head No. |
| 7 | Vehicle Red Arrow Vehicle Yellow Arrow Vehicle Green Arrow Common Neutral Spare Spare Spare | Red Orange Green White White/Black Black Blue | 14 | Head No. |
| 7 | Vehicle Red Vehicle Yellow Vehicle Green Common Neutral Spare Vehicle Yellow Arrow Vehicle Green Arrow | Red Orange Green White White/Black Black Blue | 14 | Head No. (s) |
| 5 | Pedestrian Don’t Walk Pedestrian Walk Common Neutral Spare Spare | Red Green White Orange Black | 14 | Head No. |
| 5 | Photo Electric Control Load to Contactor Neutral Spare Spare | Black Red White Orange Green | 14 | PEC |
| 2 | Pedestrian Pushbutton Neutral | Black White | 14 | Head No. Located Under |
| 2 | Flashing Beacon Neutral | Black White | 14 | Head No. |
| 2 | Preemption Neutral | Black White | 14 | “PRE” |
| 3 | Highway Luminaire Highway Luminaire Highway Luminaire Spare | Black Red White | 8 or 6 | Circuit No. Circuit No. |
| 3 | Service to Controller Neutral Spare | Black White Red | 6 | “SIG” No Band No Band |
| 3 | Sign Luminaire Sign Luminaire Sign Spare | Black Red White | 8 | SIGN SIGN |

Use size 10 AWG wire for illumination tap conductors. In an electrolier, the illumination tap conductors run from the fused disconnect kit to the ballast in the luminaire. Furnish conductors with black, red, or white colored insulation as required to identify the two phase and neutral conductors, respectively.

If conductors in controller cabinets carry the full signal load circuit, use size 10 AWG or larger conductors. Use orange colored conductors from the flash transfer relay to program emergency flashing operation.

2.	Illumination Cables. For cables that consist of three size 6 or 8 AWG conductors, furnish power cables that feature three conductors, each insulated with cross-linked polyethylene, and a black, low density, high molecular weight polyethylene jacket. Use insulated conductors listed as type XHHW-2. Furnish these cables with one black, one white, and one red colored conductor and no grounding conductor. Use cables rated for 600 volts AC operation.

Use insulated conductors meeting ICEA S-66-524 and UL Standard 44. The jacket must also meet ICEA S-66-524.

3.	Power Cables. For cables that consist of three size 4 AWG and larger conductors, furnish tray cables that feature three conductors, each insulated with cross-linked polyethylene that meets the requirements of XHHW-2, and a PVC jacket. Furnish these cables without an integral grounding conductor. Use cables manufactured according to UL Standard 1277, ICEA S-95-658, and NEMA No. WC70. Provide cables listed for direct burial and resistance to sunlight and rated for 600 volts AC operation.

Furnish these cables with black conductor insulation with one printed number (1, 2, or 3) identifying each conductor.

4.	Control Cables. Wire with signal cable meeting IMSA 20-1 all vehicular signal heads, pedestrian signal heads, pedestrian push button detectors, flashing beacons, hardwired local coordination and preemption devices, and photoelectric controls.

5.	Detector Loops. Use No. 12 AWG conductors for detector inductive loops that meet IMSA Specification 51-3, Type RHW/USE, or IMSA Specification 51-5, when called for on the Plans or specified in the Special Provisions.

6.	Loop Lead-In Cables. Unless otherwise specified, use a tray cable that conforms to the following specifications to connect the loop detectors to the terminal blocks in the controller cabinet. Furnish this cable, also known as Snyder Cable; manufactured according to UL Standard 1277. Supply these cables third party certified as Type TC and certified for use in underground conduit or as an aerial cable supported by a messenger, and rated for 600 volts AC operation.

Use seven-pair size18 AWG, 16 strand, tinned copper conductors per ASTM B 33 insulated with flame-retardant polyvinyl chloride (PVC) and clear polyamide (nylon).  Furnish conductors with insulation colors that match Table 660-1 twisted into pairs.

Provide each twisted pair with an overall aluminum foil coated mylar shield that provides 100% coverage and a 20 AWG tinned copper drain wire that is in constant contact with the foil side of the shield. Apply a tight fitting polyvinyl chloride jacket over the conductor assembly.

Only use the following loop lead-in cable, also known as shielded data cable, to rewire existing traffic signals when specified. Use cables that consist of 6 twisted pairs that consist of stranded, size 18 AWG tinned copper wire and polyethylene or polypropylene insulation. Furnish each pair covered with an aluminum foil shield, stranded copper drain wire, and an overall PVC or PE jacket. Use cable rated for 300 volts and whose colored pairs match those specified in Table 660-1.

7.	Telemetry Cable. Use interconnect cable that consists of solid copper conductors of the number of pairs called for in the Plans meeting the requirements of Rural Utilities Service (formerly the Rural Electrification Administration (REA) specification PE-39 for filled telephone cables. The shield may be either copper or aluminum.

TABLE 740-3

INTERCONNECT TERMINATION TABLE

| Telemetry Cable: Type PE-39, No. 19 or No. 22 AWG, Solid Copper, as noted on the Plans or in the Special Provisions. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PAIR No. | COLOR | PAIR No. | COLOR | PAIR No. | COLOR |
| 1 | Blue White | 9 | Brown Red | 17 | Orange Yellow |
| 2 | Orange White | 10 | Gray Red | 18 | Green Yellow |
| 3 | Green White | 11 | Blue Black | 19 | Brown Yellow |
| 4 | Brown White | 12 | Orange Black | 20 | Gray Yellow |
| 5 | Gray White | 13 | Green Black | 21 | Blue Violet |
| 6 | Blue Red | 14 | Brown Black | 22 | Orange Violet |
| 7 | Orange Red | 15 | Gray Black | 23 | Green Violet |
| 8 | Green Red | 16 | Blue Yellow | 24 | Brown Gray |
|  |  |  |  | 25 | Gray Violet |

| Hardwire CableS: IMSA Type 20-1, (2) 7 conductor No. 14 AWG |  |  |  |
| --- | --- | --- | --- |
| Cable No. 1 |  | Cable No. 2 |  |
| Circuit | Color | Circuit | Color |
| Cycle 2 | Green | Offset 1 | Green |
| Cycle 3 | Orange | Offset 2 | Orange |
| Cycle 4 | Red | Offset 3 | Red |
| Free | Blue | Split 2 | Blue |
| Common | White | Common | White |
| Spare | Black | Spare | Black |
| Spare | White/Black | Spare | White/Black |

740-2.06 ELECTRICAL CONDUIT.

1.	Rigid Metallic Conduit. Use UL Standard UL-6 galvanized conduit and fittings that are rigid metal type and manufactured of mild steel or wrought iron.

2.	Rigid Nonmetallic Conduit. Use UL Standard UL-651 Schedule 40 and 80 rigid polyvinyl chloride (PVC) conduit. Use PVC fittings meeting NEMA TC 3.

740-2.07 FUSED SPLICE CONNECTORS. Use fused, quick disconnect, splice connector that is weather tight and has two halves: a single-unit line side socket and a load-side plug. Use fuses that are 10 ampere, midget (10.3 mm x 38 mm) ferrule type with a fast acting current limiting (KTK type) design.

740-2.08 SIGN SWITCHES. Provide a NEMA 3R non-fused disconnect switch as shown on the Plans for each sign illumination installation.

740-2.09 CONTROLLER ASSEMBLIES. Use solid-state, traffic controller assembly meeting the requirements of NEMA Standard. TS 1-1989, Traffic Control Systems, and designated sections of NEMA Standard TS 2-1992, Traffic Controller Assemblies.

Use non-incandescent indicators for all electronic devices covered under Subsections 740-2.10 through 740-2.13.

740-2.10 CONTROLLER UNIT.  Furnish three Traconex Model TMP-390 controller units with wiring harness for the fourth special function connector.

1.	Actuated Controller Units. Actuated Controller Units must conform to the NEMA Standard TS 1-1989, Traffic Control Systems, Section 13 Interface Standards for Advance Two-Phase through 8-Phase Solid-State Traffic Controller Units and Section 14, Definitions and Physical and Functional Standards for Advance Two-Phase through 8-Phase Solid-State Traffic Signal Controller Units of the Vehicle-Actuated Type, and the following modifications:

a.	Use single ring 4 phase or dual ring 8 phase controller units as shown on the Plans.

b.	Make dual ring controller units user-programmable for dual entry and single-entry operation.

c.	TS 1-1989, Traffic Control Systems, 14.3.7.2 Overlap Programming. In item 1, insert “providing the function is field programmable without the use of external tools or devices” after the word “manufacturer”.

740-2.11 CONTROLLER CABINET. Use a controller cabinet that meets the requirements of NEMA Standard TS 2-1992, Traffic Controller Assemblies, Section 7, Cabinets and NEMA Standard TS 1-1989, Traffic Control Systems, Section 10, Terminals and Facilities.

Apply 2 factory finishing coats of aluminum paint to the outside of the controller cabinets. Paint the interior surfaces of the controller cabinet with 2 factory finish coats of a suitable white exterior grade paint.

1.	Standard Features. Supply the following standard features:

a.	Cabinet Lock. Use a cabinet that has a main door equipped with a construction core lock. The lock must accept a Best CX series core that will be installed by the State after the contract is complete.

b.	Cabinet Ventilation.

(1)	Furnish the fan and cabinet vent with internally mounted metal covers that are fabricated to close off the flow of air during winter operation.

(2)	Equip the cabinet with a selectable, 750/1500-watt cabinet heating device. The heating device must have a remote air-sensing thermostat. The contacts must be rated 20 amps, 120 volts.

Construct the thermostat so that contacts close on descending temperature and are adjustable between -18 and -1 °C ±3 °C. The contacts must open on rising temperatures of -9 °C above the closing temperature. The adjustment must have an indicating pointer.

Connect the thermostat in series with an electrical resistance heater and blower fan. The blower fan must be rated for continuous duty. The heater and fan must be connected in parallel and rated 120 volts, 60 Hertz. Mount the unit in the horizontal position at a location beneath the lowest shelf.

Do not block the air intake or outlet. Provide the unit with a SPST manual override switch that bypasses the thermostat to enable the fan and heater to operate at warmer temperatures.

c.	Cabinet Wiring.

(1)	Neatly arrange the wiring within controller cabinets to conform to the requirements of Subsections 660-3.05 and 740-2.05.  Furnish all controller cabinets wired to accommodate five 4-channel inductive loop detector units and two 2-channel inductive loop detector units.

Wire and equip all controller cabinets to handle the full capacity of the controller and cabinet configuration (see NEMA TS 1-1989, Traffic Control Systems, Section 10, Table 10-2 Wired Sockets) specified on the Plans or Special Provisions. Use configuration 4 for a 4-phase controller, and configuration 8 for an 8-phase controller.

Equip the cabinet with all required control and auxiliary equipment connecting cables to operate the phases and detection indicated on the Plans, including future use.

Size all wiring, switches, surge protectors, flash relays, flashers, etc., to handle the necessary amperage required under full cabinet use. Use orange colored wires to run from the flash transfer relay used for emergency flash programming.

(2)	Intersection flash operation must be programmable by rearranging interconnecting jumpers between the load switches, flash transfer relays, and field signal wire terminal blocks. Make these changes by moving the jumpers at the terminal blocks.

(3)	Field Terminal Blocks.

(a)	Provide 2 or more insulated terminal blocks to terminate field conductors. Provide each block with 12 poles with 10-32 screw type terminals. Use a terminal block that is a barrier type with removable shorting bars in each of the 12 positions and with integral-type marking strips. Terminate all conductors to a terminal block.

(b)	Terminate conductors from the controller unit in ring-type terminal lugs or solder them to a through panel solder lug on the rear side of the terminal. Terminate all other conductors in spade-type terminal lugs.

(c)	Do not bring more than 3 conductors to any one terminal. Two flat metal jumpers, straight or U shaped, may also be placed under a terminal screw. Fully engage at least 2 full threads of all terminal screws when the screw is tightened. Do not extend live parts beyond the barrier.

(d)	Terminate all interconnect cable conductors on individual terminals.

(e)	Include a 16-position neutral terminal bus bar on each side of the cabinet.

d.	Cabinet Accessories. See NEMA Standard TS 2-1992, Section 5 Terminals and Facilities, Figure 5.4.2-1 Cabinet Power Distribution Schematic for items (1) through (5).

(1)	Disconnecting Means.

(a)	Main circuit breaker must be a single pole, 50 ampere, 10,000 amperes interrupting capacity for 8 phase cabinets or a single pole, 30 ampere, 10,000 amperes interrupting capacity for 4 phase cabinets.

(b)	Auxiliary circuit breaker(s) must be single pole, 20 ampere, 10,000 amperes interrupting capacity to protect fan, heater, light and convenience outlet(s).

The rating of the main disconnect means with overcurrent protection must be not less than 125% of the maximum anticipated continuous load. When using disconnecting means, use the “trip-indicating trip-free” type.

(2)	Signal Bus. Connect the signal bus to the incoming AC line through a signal bus mercury contactor and an overcurrent protection device. Energize the signal bus mercury contactor to provide power to the signal bus. The current rating of the signal bus mercury contactor must be at least the current rating of the main overcurrent protection device.

(3)	AC Service Transient Suppression. Connect the transient suppression device for the primary feed of the cabinet on the load side of the cabinet overcurrent protection device. The transient voltage suppression device connected to the controller power circuit must provide protection against voltage abnormalities of 1 cycle or less duration. The suppressor must be solid state high energy circuit containing no spark gap, gas tube, or crow bar component. The current rating of the device must be 15 amps minimum. The device must provide transient protection between neutral and ground, line and ground, as well as line and neutral. If the protection circuits fail, they must fail to an open circuit condition. The device must meet all requirements of UL standard 1449. The suppressed voltage rating must be 600 volts or less when subject to an impulse of 6,000 volt, 3,000 amp source impedance, 8.0/20 microsecond waveform as described in UL 1449. In addition, the device must withstand, without failure or permanent damage, one full cycle at 264 volts RMS. The device must contain circuitry to prevent self-induced regenerative ringing. There must be a failure warning indicator light which must illuminate when the device has failed and is no longer operable. The transient suppression device must withstand a 20,000 ampere surge current with a 8 by 20 microsecond (time to crest x time to second halfcrest) waveform 20 times at 3-minute intervals between surges without damage or degradation to the suppressor. Output voltage must not exceed 500 volts at any time during the test. Use a device that is a solid state, high-energy circuit with no spark gap, gas tube, or bar component.

(4)	Radio Interference Suppression. Equip each traffic cabinet, flasher, and other current interrupting device with a suitable radio interference suppressor installed at the input power point. Install the radio interference suppressor after the AC service transient suppression unit described in Subsection 740-2.11.1.d.(3). It must provide a minimum attenuation of 50 decibels over a frequency range from 200 kilohertz to 75 megahertz, when used with normal installations.

The interference suppressor must be hermetically sealed in a substantial metal case filled with suitable insulating compound. Terminals must be nickel-plated, 10-24 brass studs of sufficient external length to provide space for connecting two No. 8 conductors and must be so mounted that the terminals cannot be turned in the case. Ungrounded terminals must be properly insulated from each other and must maintain a surface leakage distance of not less than 6 mm between any exposed current conductor and any other metallic part, with an insulation factor of 100 to 200 megohms dependent on external circuit conditions.

The radio interference suppressor must have a current rating equal to, as a minimum, the rating of the main disconnect means as specified in Subsection 740-2.11.1.d.(1). It must be designed for operation on 120 volts, 60 hertz, single phase circuits and be UL and EIA compliant.

Connect the ground connection of the radio interference suppressor only to AC neutral. Do not connect to Earth Ground directly.

(5)	Light Fixture. Mount a fluorescent lighting fixture on the inside of the cabinet near the front edge. Use a fixture rated to accommodate a F15T8 lamp operated from a high power factor ballast. The lamp must be included. The lighting fixture “ON-OFF” switch must be a toggle switch mounted on an inside control panel. Include in the circuit a door-actuated switch that turns the light ON when the door is open and OFF when the door is closed.

(6)	Communications Transient Suppression. Provide a transient suppressor for the system interface communications lines when used. This suppressor must withstand a 100 ampere 10 x 700 microsecond waveform 20 times at 30 second intervals between surges without damage or degradation to the suppressor. Apply the transient surge both line to line and line to ground. Output voltage must not exceed 8 volts line to line and line to ground. Output voltage must not exceed 8 volts line to line or 250 volts line to ground at any time during the test.

(7)	Control Panel. Provide and label a control panel assembly that is readily accessible from the front of the cabinet. The control panel assembly must consist of:

- (a)	“controller power” switch to energize the controller while the signal lights are off or are being operated by the flasher. Label and rate the switch for load current.

- (b)	convenience outlet with independent ground fault circuit protection. Use a duplex, 3-prong, NEMA Type 5-20R grounding type outlet.

- (c)	“auto/flash” switch which when placed in the “flash” position provides flashing operation without interrupting the controller unit power. When the switch is placed in the “auto” position the controller unit must provide normal operation.

- (d)	“stop time/off/on” switch which when placed in the “stop time” position causes the controller unit to stop time. In the “off” position the controller unit must be active regardless of external commands. In the “on” position the timing must be normal but subject to external command interruptions.

- (e)	“heater by-pass” switch to by-pass the remote heater thermostat.

- (f)	momentary contact test switches to place calls on each vehicle and pedestrian phase. Switches must provide tactile feedback and be rated at 1 ampere, minimum, for a resistive load at 120 volts AC and at 28 volts DC. Contacts must be coin silver or gold plated and be enclosed and labeled as to their function.

e.	Police Panel Assembly. Provide a labeled police panel assembly located behind the auxiliary door, consisting of:

(1)	“flash/automatic” switch which when placed in the “flash” position causes the intersection displays to go into the flashing mode. When placed in the “automatic” position, the signal system must resume normal operation.

(2)	“signals /off” switch which when placed in the “off” position removes power from the signal bus. Do not allow power on the bus when either “automatic” or “flash” operation is selected by any means.

(3)	removable, rigid metal cover on the back of the police panel to cover the live switch terminals.

f.	Warning Sign. The cabinet must contain a conspicuous warning sign against operation without the conflict monitoring device being installed.

2.	Special Features. Provide special features if called for on the Plans or as specified in the Special Provisions.

a.	Intersection Display Panel. Connect the display panel to the field wiring terminals, and include the following features:

(1)	LED indicators for 8 vehicle phase displays (R-Y-G)

(2)	LED indicators for 4 pedestrian phase displays (W-DW)

(3)	A door activated switch that turns off the display panel when the cabinet door is closed

(4)	Momentary detector tests switches to enter 8 vehicle phase calls and 4 pedestrian phase calls

(5)	A display panel that is plug connected to the cabinet and is completely removable without disconnecting individual wires

(6)	Approaches labeled with the street names and the northerly direction indicated

b.	Manual Phase Selector Controls. Provide the traffic signal system with manual phase selector control that permits the system to advance to any phase, including pedestrian indications, with all clearance periods timed by the controller units.

Phases must be selected by a momentary contact switch, which plugs into a standard 6 mm 2-circuit telephone jack located in the police panel. Changes from “automatic” to “manual” phase selector control mode must be controlled by a toggle switch. Mount the toggle switch for the manual phase selector control in the police panel and clearly label it “Automatic/Manual.”

c.	Coordination “Remote/Time of Day/Free” Switch. When the switch is in the “Remote” position, all supervisory functions performed on the controller unit from a master coordinator or central computer must operate normally.

When the switch is in the “Time of Day” position, the local controller must use the local coordinators time of day plan. When the switch is in the “Free” position it must be possible to remove any or all coordination devices and maintain normal, non-coordinated controller operation without wire jumpers, jumper plugs or other special devices. Provide this switch if a local coordination or system modem/interface unit is shown on the Plans.

740-2.12 STANDARD AUXILIARY EQUIPMENT.

1.	Solid State Flasher. Use a NEMA Type III flasher unit that conforms to NEMA Standard TS 2-1992, Traffic Controller Assemblies, Section 6.3 Solid State Flashers.

2.	Three-Circuit Solid State Load Switches. Use load switches that conform to NEMA Standard TS 2-1992, Traffic Controller Assemblies, Section 6.2 Three Circuit Solid State Load Switches and as a minimum be supplied with Light Emitting Diode indicators on the DC input circuitry. The load switch must have 3 independent switching circuits, each being an individually replaceable solid state module.

3.	Conflict Monitors.

a.	Use conflict monitors that are NEMA Type 12 with 12 fully programmable input channels.

b.	Use a low impedance device external to the unit between the input and AC (Common) if the circuit connected to the sensing input of the unit exhibits high impedance characteristics caused by dimmers or burned-out lamps.

c.	Use a unit that verifies each yellow change interval for a minimum display period of at least 2.7 0.1 seconds. The yellow change interval is the time which the yellow field terminal input is active. When the minimum yellow change interval is not satisfied, the conflict monitor must transfer the output relay contacts to the fault condition.

4.	Flash Transfer Relay. Use flash transfer relays that meet the requirements of NEMA Standard TS 2-1992, Traffic Controller Assemblies, Section 6.4 Flash Transfer Relays.

740-2.13 SPECIAL AUXILIARY EQUIPMENT. Use the following special auxiliary equipment when called for on the Plans and/or Special Provisions:

1.	Inductive Loop Detectors. Provide inductive loop detectors that conform to the requirements of NEMA Standard TS 1-1989, Traffic Control Systems, Section 15, Inductive Loop Detectors.

2.	Local Coordination Units. Provide local coordination units that are solid-state, utilizing digital timing. The units must be compatible with existing master systems.

a.	Controls. Each coordination unit must provide the following minimum supervisory control of the local controller unit:

(1)	3 cycles

(2)	3 offsets for each cycle

(3)	Free Call results in independent operation of the local controller unit

(4)	3 permissive periods

(5)	3 split selections

(6)	Short direction offset seeking

(7)	Call to non-actuation during coordinated operation

b.	Cycle. Adjustable over a minimum range of 40 to 150 seconds in a maximum of 5 second increments.

c.	Offsets. Selectable as a percentage of the cycle length in 1% increments from 0% to 99%, or in 1 second increments.

d.	Free Call. By suitable connections at the local controller, the effect of “Free Call” may be omitted. In this case, when the System Master calls for free operation, the local coordinating unit must operate to provide the shortest cycle and the associated average offset.

e.	Permissive Periods.

(1)	First Vehicle Permissive. During this period, the coordinator must yield the controller to the selected, non-actuated phase(s). The end of this period must be capable of being set at any 1% or 1 second interval.

(2)	First Pedestrian Permissive. This period may be of fixed duration and must start concurrently with the First Vehicle Permissive. It must terminate no more than 7% later. During this period, the coordinator must yield the controller to the selected, non-actuated vehicle plus pedestrian phase(s). When the coordinator yields to a vehicle during this period, the associated phase must be inhibited until the following cycle.

(3)	Second Vehicle Permissive. Both the start and end of this cycle must be capable of being set at 1% or 1 second increment of the cycle. During this period, the controller must respond to pedestrian and vehicle calls, for the pre-selected phases.

f.	Force Offs.

(1)	Equip the coordinator with 2 independent, ring-related, force off functions.

(2)	The force off function must cause the local controller to terminate the right-of-way of the appropriate phase.

(3)	Force off points must be selectable to any 1% or 1 second increments of the cycle.

g.	Offset Seeking. The coordination unit must seek any new offset in the shortest direction at a rate not to exceed 20 percentage points per cycle.

h.	Call to Non-Actuation. The coordinator must provide an output that may be used to energize the call to non-actuation and inhibit the maximum termination inputs to the local controller.

i.	Connectors. Provide a front panel mounted, MS-type connector for all input/output circuit connections.

3.	System Modem/Interface Unit. Supply a system modem/interface unit assembly that is compatible with the existing computerized traffic control system.

4.	Preemption Units. Provide preemption units that are solid-state with digital timing. Equipment must be shelf-mounted, with a front panel MS-type connector. Design preemption equipment to use the controller functions and timing capabilities to the maximum extent. Installing the preemption equipment must not alter the internal wiring of the controller unit. The preemption units may be an integral part of the controller unit.

5.	Special Logic.

a.	Use special logic circuits that are solid-state with digital timing.

b.	Build solid-state logic or timing circuits (external to the controller unit) on edge-connected, plug-in, printed circuit boards. Build up logic circuits by plugging logic circuit boards into wired connectors.

When using 5 or less plug-in logic circuit boards, install the circuit board connectors in a chassis or rack mounted on a cabinet wall. Provide MS-type connectors to permit removal of the chassis or rack without unsoldering connections or removing wires or cables from the cabinet.

When using more than 5 plug-in logic circuit boards, install the circuit board connectors on a chassis designed for shelf mounting. Provide this chassis with a Type MS connector. It must be shelf-mounted.

c.	Obtain approval when using special logic circuits before the controller cabinet and equipment are fabricated by the supplier.

6.	Opticom Priority Control System. Install the following components of the 3M Company’s Opticom Priority Control System according to 3M’s written installation instructions at the signalized intersections listed on the Plans.

Install the quantity of model 711, 721, and 722 optical detectors on the signal pole mast arms shown on the Plans. Before you install the detectors, gain approval of their final lateral location from the Engineer. See the Plans for installation details.

Install Model 138 Optical detector lead-in cable between the end of each signal mast arm and the controller cabinet. Furnish enough slack in these cables for them to extend 600 mm beyond the end of each signal mast arm and to leave 3 m of slack in the controller cabinet.  Seal both ends of each lead-in cable with mastic lined, heat shrink tubing end caps.

Before you attach the conductors to the optical detectors, strip the insulation for the conductors and attach all four conductors to ground in the controller cabinet. Attach the signal cable to the confirmation light.  The Municipality of Anchorage Signal Maintenance Section (MOA Signal Maintenance) will tie down the conductors in the controller cabinet under Item 660(26), Signal Timings and Adjustments.

Furnish each controller cabinet with a Model 754 phase selector, a Model 760 card rack, and an Opticom Panel Assembly, U.S. Traffic Corporation part number 103303.  The panel assembly interfaces the card rack to the controller cabinet.  Furnish new controller assemblies with these parts installed by the controller assembly manufacturer.  To retrofit existing controller assemblies, deliver the parts to MOA Signal Maintenance, who will install the parts under Item 660(26), Signal Timings and Adjustments.

Furnish one optical emitter, model 792R, and one optical emitter switch, model 793R, for the project.

8.	Traffic Management Communication System.  Furnish two notebook computers and the traffic management software PCTNET licensed for use by the Central Region Traffic Engineer and the Mat-Su District Signal Maintenance Technician.

Furnish a Windows XP compatible version of PCTNET that works with Traconex TMP390 intersection controllers using J9 revision G firmware and Traconex TMM-500 system controllers using A9 revision B firmware.  PCTNET is available locally from North Star Systems.

The two notebook computers shall both feature

1.  Microsoft Window XP operating systems

2.  17-inch displays

3.  512 megabytes of DDR SDRAM (minimum)

4.  Two 40 gigabyte modular hard drives (minimum size)

5.  Two high capacity lithium ion batteries

6.  Touch pads and External USB mice

7.  Internal wireless 802.11X networking adapters

8.  Processors that operate at 1.7 gigahertz (minimum)

740-2.14 VEHICULAR SIGNAL HEADS. Conform to Chapter 2 of Equipment and Material Standards of the ITE (Publication ST-0017A), Vehicle Traffic Control Signal Heads (VTCSH). Each signal head must: be adjustable, vertical type with the number and type of lights specified; provide a light indication in one direction only; be adjustable through 360 degrees about a vertical axis; and be mounted at the location and in the manner shown on the Plans. Except for optically programmed signal heads, all vehicular signal heads at any one intersection must be of the same make and type.

1.	Conventional Signal Heads. Use LED optical units for red and green indications. Use incandescent optical units for yellow indications.

Provide a removable aluminum tunnel visor with an open slot at the bottom for each optical unit. When shown on the Plans or specified in the Special Provisions, construct the visor of polycarbonate resin with the color (black) pigment completely impregnated throughout the resin material.

Factory finish signal heads, signal head mountings, brackets and fittings, and outside of visors with 2 coats of dark olive green enamel. Painting is not required where the color is an integral part of the component material. Factory finish signal visor interiors with 2 coats of flat black enamel.

a.	Incandescent Optical Units.

(1)	Furnish each optical unit complete with lens, reflector, lamp holder, and clear incandescent traffic signal lamp.

(2)	Provide standard glass prismed traffic signal lenses.

(3)	Secure the lamp holder to the reflector to provide a dust and moisture-proof seal.

(4)	Hold the reflector and lamp holder securely in place with the outer edge of the reflector engaging the lens gasket to provide a light and moisture seal for the entire optical assembly.

(5)	Wire all lamp holders so that a white wire will be connected to the shell of the lamp holder and a black or colored wire to the bottom or end terminal of the lamp holder. Connect these wires, in turn, to the terminal block mounted inside at the back of the housing. The terminal block must have sufficient screw type terminals to terminate all field wires and lamp wires independently, with separate screws. Permanently identify the terminals to which field wires are attached or color-code the wiring to facilitate field work. Locate the terminal block in the center section of the head.

(6)	Lamps for the 300 mm units must be 1,950 lumen minimum initial output, 120 volt, 6,000 hour rated life, clear, traffic signal lamps.

(7)	Lamps for the 200 mm units must be 665 lumen minimum initial output, 120 volt, 6,000 hour rated life, clear, traffic signal lamps.

(8)	Use reflectors made of Alzak finished aluminum. The thickness of the anodic coating must be a minimum of 0.0025 mm (0.0001 inches), or its equivalent, spun or drawn from metal not less than 0.635 mm (0.025 inches) thick and equipped with a bead or flange on the outer edge to stiffen the reflector to ensure it is held true to shape. The reflecting surface must be totally free of flaws, scratches, defacements, or mechanical distortion.

b.	LED Optical Units. Use red and green LED signal modules that meet the requirements of Chapter 2a of Equipment and Material Standards of the ITE (Publication ST-0017A), Vehicle Traffic Control Signal Heads (VTCSH2), and the following:

Designed as retrofit replacement for existing optical unit of signal lamp and fits in the doorframe of a standard traffic signal section built to meet the VTCSH, without modification to the housing and not requiring on-site assembly or special tools for installation. Do not use incandescent lamp socket, reflector, reflector holder, or lens with an LED signal module.

Single, self-contained, sealed unit with two conductors for connecting to power, a printed circuit board, power supply, a lens and gasket. Module must be weather proof after installation and connection and protect all internal components against dust and moisture intrusion according to NEMA Standard 250-1991 for Type 4 enclosures. Use a one-piece EPDM (ethylene propylene rubber) gasket to seal the module in the doorframe.

Use AllnGaP technology and are the ultra bright type rated for 100,000 hours of continuous operation from -40 C to 74 C. Do not use AlGaS LEDs.

Use wiring and terminal blocks meeting VTCSH Section 13.02.

(1)	Lens. The lens may be tinted or use transparent film or materials with similar characteristics to enhance ON/OFF contrasts, provided that it does not affect chromaticity and is uniform across the face of the lens.

If a polymeric lens is used, provide a surface coating or chemical surface treatment to the front surface to resist abrasion.

Furnish modules with an integral lens that features a smooth convex outer surface made of ultraviolet stabilized plastic or glass. The lens must withstand ultraviolet (direct sunlight) exposure for a minimum period of 7 years without exhibiting evidence of deterioration.

(2)	Photometric Requirements. Meet the following:

- Chromaticity coordinate requirements of VTCSH2, Section 4.2

- Luminous intensity values of VTCSH2, Section 4.1 after 72 months of continuous use in a traffic signal system

(3)	Markings. Permanently mark the back of each LED signal module with:

- Manufacturer’s name, trademark, and other necessary identification

- Warranty information

- Rated voltage and power consumption in volt-amperes

- An up arrow or the word “UP” or “TOP” for orientation within a signal housing

(4)	Electrical. Operate from a 60 Hz (±3 Hz) AC line over a voltage range of 80 to 135 volts. The circuitry must prevent perceptible flicker over the voltage range specified above. The fluctuations of line voltage must have no visible effect on the luminous intensity of the indications. Rated voltage for all measurements must be 120 volts. Units must not produce light when the voltage drops to less than 45 volts AC.

Furnish each signal module with two secured, color-coded, 600 V, 20 AWG minimum, jacketed wires that conform to the NEC and are rated for service at +104 C. Furnish 1.2 m long conductors fitted with fork type terminal connectors.

On-board circuitry must include voltage surge protection to withstand high-repetition noise transients as stated in Section 2.1.6 of NEMA Standard TS-2, 1992.

The failure of an individual LED in a string must not result in the loss of the entire string or indication.

LED signal modules must be operationally compatible with currently used controller assemblies (solid state load switches, flashers, and conflict monitors).

LED signal modules and on-board circuitry must meet Federal Communications Commission (FCC) Title 47, Subpart B, Section 15 regulations concerning the emission of electronic noise.

The LED signal module must provide a power factor of 0.90 or greater.

Total harmonic distortion (current and voltage) inducted into an AC power line by a LED signal module must not exceed 20 percent.

(5)	Production Testing Requirements. Require the manufacturer to energize each new LED module for a minimum of 24 hours at operating voltage and at a temperature of 60 C before shipment, to ensure electronic component reliability.

After completing the burn-in procedure, require the manufacturer to test each LED lamp unit for rated initial intensity at rated operating voltage.

(6)	Warranty. Provide a manufacturers written warranty that covers defects in materials and workmanship for the LED signal modules for a period of 84 months. The warranty period will begin on the date the traffic signal satisfactorily completes the functional test prescribed in Subsection 660-3.01.7., Field Tests. The warranty period for modules that replace failed modules will begin on the date installed.

Require the manufacturer to replace failed LED modules with new LED modules at no cost to the Department, including the cost of shipping failed modules. The warranty does not include the cost of removing failed modules from or reinstalling new modules in a traffic signal system. Require the manufacturer, upon notification a module has failed, to send, via next day delivery, the Department prepaid authorization to return the failed module.

Require the manufacturer to deliver replacement LED modules, within 5 working days of receiving failed modules, to the location designated by the Department.

Submit all warranty documents before installing the LED modules, including the manufacturer’s toll free telephone number for returning failed LED modules.

2.	Programmed Visibility Signal Heads. Conform to the requirements for conventional signal heads with incandescent optical units, except as modified below.

Each signal section must provide a nominal 300 mm diameter circular or arrow indication. Meet the ITE Standard Specifications for color and arrow configuration.

Provide each section with a 25 mm cutaway visor.

Provide each signal section with an adjustable connection that permits incremental tilting from 0 to 10 degrees above or below the horizontal while maintaining a common vertical axis through couplers and mounting axis in 5-degree increments.

The signal must be mountable with ordinary tools and capable of being serviced without tools. Preset the adjustment at 4 degrees below the horizontal.

The visibility of each signal face must be capable of adjustment or programming within the face. When programmed, each signal face’s indication must be visible only in those areas or lanes to be controlled. During dusk and darkness a faint glow to each side will be permissible.

Before programming, each signal section with a yellow indication must provide a minimum luminous intensity of 3,000 candela on the optical axis, and a maximum intensity of 30 candela at 15 degrees horizontal from the axis. Each signal section must be capable of having its visibility programmed to achieve the following luminous intensities: a minimum of 3,000 candela on the optical axis, a maximum of 100 candela at from 1/2 to 2 degrees horizontal from the axis and a maximum of 10 candela at from 2 to 15 degrees horizontal from the axis. Under the same conditions, the intensities of the red indication and the green indication must be at least 19% and 38% respectively of the yellow indication.

Each signal face or signal section must include integral means for regulating its luminous intensity between limits in proportion to the individual background luminance. Lamp intensity must not be less than 97% of uncontrolled intensity at 10,765 lux, and must reduce to 15±2% of maximum intensity at less than 10.8 lux. The dimming device must operate over an applied voltage range of 95 to 130 volts, 60 Hz and a temperature range of -40 °C to 74 °C.

Program the head as recommended by the manufacturer and as directed by the Engineer.

3.	Housing.

a.	All parts of the housing, including the doors and end plates, must be of die cast aluminum meeting ASTM B 85, and all parts must be clean, smooth, and free from flaws, cracks, blow holes, or other imperfections.

b.	The housing of each signal section must be one piece with integral top, bottom and sides, with square doors.

c.	All exposed bolts, screws, hinges, pins, and door locking devices must be stainless steel. All interior screws and fittings must be stainless steel or approved non-ferrous, corrosion-resistant material.

d.	The top and bottom of each housing must have an opening to accommodate standard 38 mm pipe fittings and brackets.

e.	The top and bottom opening of the housing must have an integral serrated boss that will provide positive positioning of the signal head in 5-degree increments so as to eliminate undesirable rotation or misalignment of the signal head as well as between sections. A total of 72 teeth must be provided in the serrated boss. The teeth must be clean and sharp to provide positive positioning with the grooves of the mating section or framework.

f.	Fasten together individual signal sections with a cadmium-plated tri-stud connector, lockwashers, and nuts with access holes for the passage of electrical conductors from one section to another.

g.	Each signal housing must have 2 integral hinge lugs located on the left side for mounting the door.

h.	Provide 1 or 2 latches on the right side of each signal housing with stainless steel wing nut assemblies to engage the door latches.

i.	Each signal housing must have a door opening for the periphery with a soft closed cell neoprene gasket to provide a weather tight seal with the mating door.

j.	Provide the door of each signal housing with a round opening designed to accommodate any standard traffic signal lens.

4.	Backplates. Furnish and attach backplates to all vehicle signal heads except post-mounted flashers.

Construct backplates of 1.3 mm (0.051-inch) minimum thickness aluminum alloy sheet meeting ASTM B 209, alloy 3003-H14. Backplates extensions for 300 mm displays must be 200 mm wide and for 200 mm display must be 138 mm wide. Where a backplate consists of 2 or more sections, fasten them together with aluminum rivets or bolts, peened after assembly to prevent loosening.

All post mounted and pole side mounted vehicle signal heads must have 125 or 138 mm wide backplate extensions (borders). All 5 section overhead cluster mounted signals must have nominal 125 mm wide backplate extensions (borders). All combination 200 mm/300 mm vertical mounted signal heads must have backplates with nominal borders of 200 mm for the 200 mm sections and 125 mm for 300 mm sections.

Factory finish the back faces of back plates with 2 coats of dark olive green enamel. Factory finish front faces of back plates with 2 coats of flat black enamel.

740-2.15 PEDESTRIAN SIGNALS. Conform to the ITE Standard for Adjustable Face Pedestrian Signal Heads. Use the international "HAND/WALKING PERSON" symbol. Use LED type message modules.

1.	Signal Head Dimensions: Maximum overall dimensions of 470 mm wide, 476 mm high, and 225 mm deep, including visor and hinges.

2.	Message Symbols: Portland orange “HAND” and the lunar white “WALKING PERSON.” Minimum of 300 mm high and 175 mm wide.

3.	Message Module: Supply LED modules that display the “HAND” and WALKING PERSON” symbols that comply with ITE Pedestrian Traffic Control Signal Indications (PTCSI) standard for these symbols. Furnish LED pedestrian signal modules designed as retrofit replacements for existing neon type pedestrian signals (ICC 4090 and/or 4094).

Furnish LED pedestrian signal modules that use AllnGaP technology and are the ultra bright type rated for 100,000 hours or more at 25 C and 20 mA. Do not use AlGaS LEDs. Ambient operating temperature range of -40 C to +60 C.

Furnish one piece, self-contained, LED pedestrian signal modules that require no on-site assembly for installation in existing pedestrian signal housings.

Furnish LED pedestrian signal modules designed to protect all internal LED, electronic, and electrical components against dust and moisture intrusion, when properly installed with gasket, and meet the requirements of NEMA Standard 250-1991, sections 4.7.2.1 and 4.7.3.2, for type 4 enclosures.

Furnish pedestrian LED traffic signal modules to replace neon type message modules found in 470 mm by 476 mm pedestrian signal housing built to the PTCSI Standard.

Furnish LED modules that maintenance personnel can remove from the housing without damaging the module.

The LED pedestrian signal modules must not require special tools for installation.

LED pedestrian signal modules must fit into the existing pedestrian signal housings built to the PTCSI standard without any modifying the housing.

Furnish LED pedestrian signal modules that fit securely in the housing, connect directly to existing electrical wiring, and form a weather-tight seal.

Retrofitting an existing pedestrian signal must only require the removal of the existing neon message module, gasket, and power supply and installation of the new LED module.

Each retrofit must include all necessary components to complete conversion including a one-piece gasket.

Each pedestrian module must have a sticker attached stating compliance to the ITE Standard for color.

a.	Lens. Furnish LED pedestrian signal modules with field-replaceable UV stabilized polycarbonate lenses. The exterior of the lens must be smooth and frosted to prevent sun phantom.

b.	Photometric Requirements. Furnish LED pedestrian signal modules that, when operated over the specified ambient temperature and voltage range, pedestrians can read both day and night at all distances from 3 m to the full width of the crossing.

Meet the chromaticity coordinate of requirements of PTCSI Section 5.3 and Figure C.

Luminous intensity must not vary more than +10% for voltage range of 80 to 135 VAC.

c.	Markings. Meet the requirements of Subsection 740-2.14.1.b.(3).

d.	Electrical. Meet the requirements of Subsection 740-2.14.1.b.(4).

e.	Production Testing Requirements. Meet the requirements of Subsection 740-2.14.1.b.(5).

f.	Warranty. Meet the requirements of Subsection 740-2.14.1.b.(6).

4.	Housing.

a.	Provide a dustproof and weatherproof housing that allows easy access to and replacement of all components.

b.	Provide a one-piece, corrosion-resistant, aluminum-alloy die-cast case complete with integrally cast top, bottom, sides and back. Provide 4 integrally cast hinge lug pairs, 2 at the top and 2 at the bottom of each case, for operation of a swing-down door.

c.	Provide 3 versions of the case. The first and second versions need not include upper and lower openings, but when provided must be plugged to be weather-tight.

(1)	clamshell mount, with hardware, for installation of “pole left of message”

(2)	clamshell mount, with hardware, for installation of “pole right of message”

(3)	suitable for either post top or bracket mounting with upper and lower openings to accommodate standard 38 mm pipe brackets. Integrally cast a shurlock boss into the bottom opening of the signal case. Make the dimensions of the shurlock boss as follows: outside diameter, 66.7 mm; inside diameter, 50 mm; number of radial teeth, 72; and depth of teeth, 2 mm. The teeth must be clean and sharp and provide full engagement to eliminate rotation or misalignment of the signal.

d.	Make the door frame a one-piece, corrosion-resistant, aluminum-alloy die-casting, complete with 2 hinge lugs cast at the bottom and 2 latch slots cast at the top of each door. Attach the door to the case by means of two Type 304 stainless steel spring pins. Attach 2 stainless steel hinged bolts with captive stainless steel wingnuts and washers to the case with the use of stainless steel spring pins. The door must latch and unlatch without the use of tools.

5.	Conductors. No. 14 AWG or larger meeting IMSA specifications 20-1.

6.	Place all load switches for operation of the “WALK/WALKING PERSON” signals in the controller cabinet.

7.	Use machine screws, studs, and washers that are stainless steel.

8.	Use gaskets that conform to ASTM D 1056, Grade 2C2.

9.	Mount a terminal block in the unit for field wiring, as specified in Subsection 740-2.14.

10.	Factory finish the outside of pedestrian signal head housings and visors with 2 coats of dark olive green enamel. Painting is not required where the color is an integral part of the component material. Factory finish signal visor interiors with 2 coats of flat black enamel.

11.	Pedestrian signals must show the following:

a.	Steady “WALKING PERSON” during the pedestrian interval

b.	Flashing “HAND” during the pedestrian clearance interval

c.	Steady “HAND” after the pedestrian clearance and during the associated yellow and all red vehicle clearance phase intervals

d.	Dark during intersection flash

740-2.16 PEDESTRIAN PUSH BUTTONS. Tamper-proof with a 50 mm minimum diameter concave or convex chrome or stainless steel telescoping-type plunger.

Construct a weatherproof assembly designed to prevent an electrical shock under any weather condition and grounded per the NEC.

Push button switch. Provide a phenolic-enclosed precision snap-acting type, switching unit, single-pole, double-throw, with screw type terminals, rated 15 amperes at 125 volts, AC. Must have the following characteristics:

1.	Switching unit with a stainless steel plunger actuator and a U-frame to permit recessed mounting in push button housing.

2.	Switch operating force of 255 to 370 grams and a minimum release force of 113 grams.

Where a pedestrian push button is to be attached to a pole, shape the housing to fit the curvature of the pole to provide a rigid installation. Provide saddles to make a neat fit.

Where a pedestrian push button is to be mounted on top of a 63 mm diameter post, provide the housing with a slip-fitter with screws for securing to the post.

Factory finish pedestrian push button housings, mountings, brackets and fittings with 2 coats of dark olive green enamel. Painting is not required where the color is an integral part of the component material.

740-2.17 FLASHING BEACONS. Each beacon consists of a single section traffic signal head, meeting the provisions in Subsection 740-2.14 with yellow or red lens as shown on the Plans.

Each flashing beacon control unit consists of a circuit breaker, flasher, and terminal block housed in a single enclosure. Provide a NEMA Type 3R enclosure with top-hinged cover, hasp for sealing cover, and provisions for locking.

Furnish and install a radio interference and transient suppressor in the enclosure, meeting the requirements of Subsection 740-2.11.1.d.(3) and (4).

Mount 20 amp, single-pole, 120 volt AC switches at the top and center of the dead front panel.

Use a solid state NEMA Type 3 flasher meeting the requirements of NEMA Standard TS 1-1989, Traffic Control Systems.

Use 20 amp, 600 volt barrier-type terminal blocks, molded from phenolic material, with plated brass screw-type terminals and integral-type marking strips.

740-2.18 LUMINAIRES.

1.	Mast Arm Mounted Luminaires.

Furnish luminaires that:

a.	Have high pressure sodium lamps with a rated life of 24,000 hours based on 10 hours per start.

b.	Include a terminal block for terminating the illumination tap conductors.

c.	Feature an easily removed hinged door or tray used exclusively for mounting the ballast.

d.	Provide the illumination levels and uniformity specified (or better) in the arrangements listed on the Plans when calculated according to the American National Standard Practice for Roadway Lighting, A.N.S.I./I.E.S RP-8, dated 1983.

e.	Include a lamp-starting aid that plugs into a socket for easy replacement.

f.	Feature a wire way meeting NEC requirements for installing three size 10 AWG conductors with type XHHW-2 insulation between the pole and a terminal block located in the luminaire.

g.	Have reflectors free of substances (such as paint) that affect photometric performance.

h.	Furnish luminaires without photoelectric control receptacles, unless specified in the Plans.

Furnish the Engineer with manufacturer’s current electronic photometric data in Illuminating Engineering Society (I.E.S.) format to verify illumination levels and uniformity ratios.

Provide mast arm mounted luminaires with slip-fitters designed for mounting on 50 mm nominal diameter standard pipe.

Use refractor-type lenses made of borosilicate glass, unless polycarbonate resin refractors are called for in the Plans or Special Provisions.

When polycarbonate resin lenses are called for, mold the lens in a single piece from polycarbonate resin when approved for use by the manufacturer. Do not use reworked compound whose properties have been impaired by previous molding operations. Use lenses free from cracks, blisters, burns, and flow lines, and furnished with the natural molded surface. Lenses must be of uniform density throughout and be free from air, gas, or moisture pockets, and uncured areas, as consistent with good manufacturing practice. Lenses must be transparent with a clear bluish tint, produced from resin which has been suitably ultraviolet stabilized to reduce the effects of ultraviolet radiation on their color properties.

Use resins which meet the requirements for the self-extinguishing classification of ASTM D 635. Resin must have a minimum impact strength, Izod notched of 640 N-m/m (12 foot-pounds per inch) when tested according to ASTM D 256, Method A, using a 3 mm x 13 mm bar molded according to ASTM recommended practice.

Furnish a certificate of compliance from the lens fabricator that all requirements contained in the paragraph above have been met.

Mount the refractor in a door frame assembly which is hinged to the luminaire at the house side and fastened at the street side with an automatic type latch.

Force the refractor and door frame assembly upward at the street side by spring pressure, against the gasket seat, when in the closed and latched position.

Gasket material must be capable of withstanding the temperatures involved and be securely held in place.

Manufacture all parts of the luminaire from corrosion-resistant materials.

When cut off fixtures are specified, the optical assembly must provide 90-degree cutoff and shielding; consist of a die cast aluminum lens holder with a aluminum alglas finish, hydroformed gasketed reflector, and a heat impact resistant mogul multiple screw shell socket with lamp grips. Provide an adjustable socket holder with 2 vertical positions. Furnish an activated charcoal filter in the optical assembly to prevent particulate and gaseous contamination. Use a reflector that is specifically designed to produce an ANSI, IES (MC-III, S-C-II) light distribution when used with 200 through 400 Watt High Pressure Sodium lamps. Use a flat plate glass lens on the fixture. No part of the lens may project below the metal housing of the luminaire.

Submit the manufacturer’s luminaire specifications and photometric data for approval, per Subsection 660-2.01.

2.	High Tower Luminaires. Use luminaires with 480-volt, 1,000-watt, high pressure sodium lamps. Lamps must provide 140,000 minimum initial lumens with a rated life of 24,000 hours. Provide luminaires with double fused ballasts. Furnish fuses of the size recommended by the luminaire manufacturer. Use a filtered design fixture with borosilicate glass refractor. Use a reflector with a smooth, non-porous inner surface, encased within a spun and sealed aluminum cover. Firmly attach the reflector with aluminum cover to a cast ring.

The ring must be designed so that the reflector/refractor assembly may be readily attached to, or detached from, the luminaire bracket entry and lamp support assembly without completely removing the support bolts. Enclose the luminaire ballast within a die-cast aluminum housing that integrally attaches to the luminaire bracket entry and lamp support assembly. It must be readily removable without removing the luminaire from the bracket arm.

Furnish the assembly with a side entry slipfitter designed for 50 mm nominal diameter pipe with provision for ±3 degree adjustment for leveling the luminaire. Prevent the lamp from backing out by means of a stainless steel lamp clamp attached to the assembly but separate from the socket. Include an enclosed terminal block which protects all electrical connections from exposure to weather. Attach an aluminum rolled rain shield to the outside of this assembly. Furnish the luminaire distribution type shown on the Plans or specified in the Special Provisions. Submit manufacturer’s luminaire specifications and photometric data for the fixture for approval prior to ordering.

740-2.19 SIGN LIGHTING FIXTURES.

1.	Incandescent Down Light. Provide the type of sign lighting fixture, with incandescent lamp, shown on the Plans or as specified in the Special Provisions.

a.	Hood. Cadmium plated, finished with aluminum paint, and side outlet tapped for conduit.

b.	Reflector. Symmetrical 200 mm steel. Porcelain enameled green finish on the outside and white on the inside.

c.	Lamp. Provide 2,900 lumen.

2.	Mercury Vapor. Fully enclosed, rain-tight, dust-tight, and corrosion-resistant. Design each fixture for mounting at the bottom of the sign on an overhead sign structure as shown on the Plans. Painting of fixture is not required.

a.	Housing. Cast aluminum alloy or other non-corrosive material conforming to the Plans. Finish all housings in a workmanlike manner with no exposed burrs or sharp edges.

b.	Refractor. Glass having inner prisms with a smooth exposed face. Mount the refractor in a door frame assembly which is hinged to the body of the fixture and fastened with an automatic type latch.

c.	Gaskets. Made of a material capable of withstanding the temperatures involved, and securely held in place.

d.	Light Distribution. Light distribution over the sign face must conform to the isolux distribution patterns shown in the Plans. Accomplish light distribution entirely by refraction through the lens with no additional refractors or reflectors.

e.	Miscellaneous. All ballasts, lampholders, lamps, terminal blocks, and necessary fuses must conform to applicable requirements of Subsection 740-2.21 or to the Plans.

f.	Lamps. Color-improved to provide good color rendition of signs.

740-2.20 ILLUMINATION CONTROL. Use photoelectric controls capable of directly switching multiple lighting systems. Furnish photoelectric units designed for pole top mounting which include a slip-fitter, terminal block, and cable supports or clamps to support pole wires.

1.	Photoelectric Unit. A light sensitive element connected directly to a normally closed, single-pole throw control relay without intermediate amplifications. Plug the unit into a phenolic resin twist lock receptacle set in a cast aluminum mounting bracket with a threaded base. Screen photoelectric units to prevent artificial light from causing cycling.

Use either horizontal sensing or zenith sensing type units meeting the following:

a.	A supply voltage rating of 60 Hz, 105-277 volts

b.	A maximum rated load at a minimum of 1,800 volt-amperes

c.	An operating temperature range from -40 °C to +66 °C

d.	A power consumption of less than 10 watts

e.	A unit base with a 3-prong, EEI-NEMA standard, twist-lock plug mounting

Furnish units for highway lighting that have a “turn-on” between 10.8 and 54 lux and a “turn-off” at between 1.5 and 5 times “turn-on.”

Furnish units for illuminated signs that have a “turn-on” level of between 215 and 270 lux. (“Turn-on” level specified above corresponds to a switching level of approximately 430 to 540 lux measured in the horizontal plane.) "Turn-off" level must not exceed 3 times “turn-on” level.

Measurements must meet the procedures in EEI-NEMA Standards for Physical and Electrical Interchangeability of Light-Sensitive Control Devices Used in the Control of Roadway Lighting.

2.	Temperature Switch. When mercury vapor sign lighting fixtures are used, provide a temperature switch in each photoelectric control circuit for lighting systems which will:

a.	bypass the photoelectric unit when the ambient temperature drops to -25 °C, and energize the mercury vapor light circuits;

b.	return switching functions to the photoelectric unit upon a temperature rise of 3 to 6 °C above the turn-on temperature; and

c.	have a minimum range of (-40 C to +4 C), and be setable in increments no greater than 3 C.

740-2.21 BALLASTS. Include ballasts for high intensity discharge lamps as an integral part of each luminaire and design for the voltages and lamp types specified in the Plans or Special Provisions. Ensure that the current needed to start the lamps is less than the operating current.

Furnish regulator-type ballasts with copper windings electrically isolated from each other, which will start and operate the lamps in temperatures down to -40 °C. The allowable line voltage variation is plus and minus 10%.

Equip high-pressure sodium luminaires, except those with 1000 watt lamps, with magnetic regulator ballasts with the following additional operating characteristics:

1.	The lamp wattage regulation spread at any time over the life of the lamp must not exceed 18% of nominal lamp watts at plus and minus 10% line voltage variations.

2.	With nominal line and lamp voltages, the ballast must regulate the lamp output to within 5% of the ballast design center, and sustain lamp operation with a minimum 60% voltage drop lasting 4 seconds or less.

Equip luminaires with 1000 watt high pressure sodium lamps with auto-regulator ballasts that provide a maximum 30% lamp regulation spread, a minimum 35% voltage dip tolerance, and with nominal line and lamp voltages regulate lamp output to within 5% of the ballast design center.

Furnish ballasts, for soffit luminaires, with mounting brackets attached and equip with terminal blocks for primary connections and lamp socket preconnected to the secondary for flush mounted luminaires and with terminal blocks for both primary and secondary connections for use with suspended luminaires.

Submit the ballast manufacturer’s specification sheets for review and approval.

740-2.22 HIGH TOWER LUMINAIRE LOWERING SYSTEM. Furnish an integral luminaire lowering device that is compatible with the high tower design and consists of a head frame assembly, luminaire ring assembly, and winch assembly complete with electric motor.

Provide a technician employed by the lowering device manufacturer, who has a minimum three years experience installing the lowering device, to

1.	Teach each crew that assembles the lowering device how to complete the work on the first pole,

2.	Oversee the assembly work on the next three poles or until the technician can assure the Engineer the crew can correctly assemble the lowering devices,

3.	Teach each crew how to initially adjust each lowering device on the first pole installed,

4.	Oversee the adjustment work on the next three installed poles or until the technician can assure the Engineer the crew can correctly adjust the lowering devices,

5.	Come back to teach each new crew how to assemble and adjust the lowering system components, if the installation crews change, and

6.	Make intermediate and final adjustments to all lowering devices installed under the contract at three, six, and twelve-month intervals after the State has accepted the high tower poles.

Furnish a complete service manual with instructions on installation, operation, and maintenance for each lowering device, winch assembly, and power drive system furnished on the project.

Install one of the following high mast lowering devices wired for a single circuit, rated 480 VAC single-phase, on each high tower pole shown on the Plans. Furnish all power cords with four #8 AWG conductors.

Furnish each luminaire ring assembly with guide cones (Millerbernd) or tapered positioning pins (Eagle) painted a safety orange color for their full length.  Use a two-component, water-borne epoxy paint with gloss finish that you can apply to galvanized steel and provides a tough, abrasion resistant coating rated for exterior use.  Complete all work according to the paint manufacturer’s written instructions, including: preparing the surfaces and tinting, mixing, and applying the paint.

| Manufacturer | Model No | Options to be furnished |
| --- | --- | --- |
| Eagle High Mast Lighting Co | ELC-XX-GV | Hot dip galvanized masthead assembly and transition plate, and integral motor |
| Millerbernd Manufacturing | SSLD-2 | Integral winch and motor assembly |

The Plans will indicate the number of luminaires on each pole, and each pole’s height.

740-2.23 UNDERPASS LIGHTING SYSTEM. Use underpass luminaires that have vandal-resistant surface-mounted fixtures installed in a galvanized welded steel enclosure as detailed on the Plans. The lamp must be a mogul based 150-watt, clear, ANSI/NEMA C78.1355, horizontal mount, high pressure sodium type. The lamp must provide a minimum of 15,000 initial lumens with a rated life of 24,000+ hours based on a minimum burn period of 3 hours.

Mount the ballast within the body of the fixture with a constant wattage autoregulator CWA type meeting ANSI/NEMA C78.1355 operating characteristics. See Plans for input voltage.

Provide a square lens that is semi-recessed, extra thick, injection molded polycarbonate prismatic type, with internal specular aluminum reflector. The lens must provide the uniformity specified in the Plans or Specifications with a minimum spacing to mounting height ratio (S/MH) of 3.5:1, in the plane defined by the axis of the lamp, and a minimum S/MH ratio of 1:1 in the plane passing vertically through the length of the lamp axis.

Provide a lens frame and side housing made of ASTM B 209, alloy 6061-T6 tempered aluminum a minimum of 4.5 mm thick, or equivalent stainless steel, secured with tamper proof screws requiring a special manufacturer’s tool to remove.

Provide fixtures that are Third Party listed for wet, damp, and dry locations. Fasten the fixture into the mounting enclosure with stainless steel screws accessible only from within the fixture housing.

Fabricate the mounting enclosure from 3.5 mm thick mild steel with continuous welded seams and hot-dipped galvanized, as detailed on the Plans. Use wiring within the enclosure that might come in contact with the ballast rated at 200 C [type SR-2]. Provide a grounding screw or lug within the enclosure for a maximum No. 8 AWG ground conductor.

Submit the manufacture’s fixture specifications, photometric data, and a computer-generated lighting layout for approval prior to ordering. Calculate, by the point-to-point method, the light level on the walkway surface through the underpass with no wall, ceiling, or walkway reflectance’s. The calculated light level on the walking surface and the calculated average-to-minimum uniformity ratio may not be worse than the light level and uniformity ratio noted on the drawings. Center the calculation area on the light fixtures and base it on the width of the walkway less 300 mm, and the length of the walkway equal to the distance between the first and last fixtures plus a distance equal to 50% of the spacing between the fixtures added to each end of the walkway. You may substitute fixtures having similar construction, electrical, and light distribution characteristics, if approved. In the case of a substitution, construct the enclosure shown on the drawing to match the mounting requirements of the submitted fixture. Submit shop drawings for the enclosure for approval along with the fixture shop drawings.

740-2.24 DECORATIVE LIGHTING. Use fixture is Zed Harmonia by Thompson Lighting; catalog number Z15-150-HPS-2-120-SFZ4-GNTX or equal with pole number SPR4-12-GFI-GNTX or equal. Local Supplier Artic Sales: Contact Rich at 907-694-7424. Mount fixture per the manufacturer’s recommendations on decorative steel pole. Mounting height is 3.6 meters above finished grade. Obtain written acceptance of equivalent light fixture from the City of Wasilla, City Planner prior to submitting request for substitution.

(10/27/03)R&M