SPECIAL NOTICE TO BIDDERS

The Department hereby notifies bidders that information to assist in bid preparation is available from the Department of Transportation and Public Facilities, Anchorage office, located at 4111 Aviation Avenue.

1.	Publications.  The following are available from the Plans Room:

a.	Standard Specifications for Highway Construction, 2004 Edition ($25.00).

b.	Alaska Test Methods Manual (Lab & Field), 2009 Edition ($25.00). Available online at: http://www.dot.state.ak.us/stwddes/desmaterials/mat_waqtc/pop_testman.shtml

c.	Alaska Storm Water Pollution Prevention Plan Guide, January 19, 2005.

d.	Quantity Computations

e.	Cross-Sections

f.	Geotechnical Report, Subsurface Investigation Chester Creek Trail Connection, July 2004.

g.	Geotechnical Report, Subsurface Investigation Chester Creek Trail Connection Bridge, June 2008

2.	Materials Certification List (MCL).  The MCL provides the Engineer with the appropriate approving authority.  Contractor, submit certification for each material to the Engineer.  The MCL is included in Appendix F.

3.	Environmental Documents.  The Department has approved an environmental document addressing concerns and environmental commitments.  This document is available for review in the Department Section of Preliminary Design and Environmental.  (907) 269-0542.

4.	High Visibility Clothing.  The Department requires all workers within the project limits to wear an outer visible surface or layer of high visibility color and retroreflectivity.  See subsection 643-3.11.

5.	Disadvantaged Business Enterprise (DBE) Program.  Based on guidance from the US Department of Transportation’s General Counsel, effective January 10, 2006 the Alaska Department of Transportation and Public Facilities implemented a Race Neutral Disadvantaged Business Enterprise (DBE) program by setting 0% project goals on all highway, mass transit and airport projects.  All forms and reports required under the existing DBE program will continue to be required under these 0% goal contracts.

Specifically Contractors must continue to report creditable DBE participation/payments on the Monthly Summary of Disadvantaged Business Enterprise Participation Form 25A336.  This will allow the Department to continue to accurately report DBE participation to the Federal Highway Administration, Federal Transit Administration and Federal Aviation Administration.

Contractors must also continue to provide opportunities for DBE firms to participate on highway, mass transit and airport projects as appropriate.  A 0% DBE participation goal does not relieve the Contractor of the Requirement to provide equal opportunity in subcontracting, supplies or other services offered by DBE firms.

Any questions about this notice may be directed to Jon Dunham, Manager of the Civil Rights Office, (907) 269-0850, jon.dunham@alaska.gov.

6.	Signals, Lighting Poles, Load Centers, Controller Assemblies:  The Plans and Specifications are revised for these items including, anchors to the foundations, foundations and conduit installation.

7.	Interim Completion Date.  The interim completion date for all work other than seeding and planting trees and shrubs is October 31, 2010.  Refer to Subsection 105-1.19 Interim Completion for further information.

PART 4

STANDARD MODIFICATIONS
AND
SPECIAL PROVISIONS

to the STATE OF ALASKA

STANDARD
SPECIFICATIONS
FOR
HIGHWAY CONSTRUCTION

2004
EDITION

SECTION 101

DEFINITIONS AND TERMS

Standard Modifications

101-1.03 DEFINITIONS.  Replace the definitions of SUBGRADE with the following:

SUBGRADE.  The soil or embankment upon which the pavement structure is constructed.

E22(1/1/06)

101-1.03 DEFINITIONS, PLANS.  Delete text of PLANS and replace with:  The Department’s Contract drawings, profiles, typical cross sections, standard drawings, and supplemental drawings or reproductions showing the location, character, dimensions, and details of the work.

E32(01/27/07)

101-1.03 DEFINITIONS.  Add the following definition:  QUALIFIED PRODUCTS LIST.  A list of companies and products that the Department has found conforms to the SSHC.

E36(01/27/07)

SECTION 102

BIDDING REQUIREMENTS AND CONDITIONS

Standard Modification

102-1.04 EXAMINATION OF PLANS, SPECIFICATIONS, SPECIAL PROVISIONS, AND WORK SITE.  Replace the second paragraph with the following:  The records of geotechnical investigations including boring logs, test results, geology data reports, soil reports, material site reports, and geotechnical reports included in a bid package or made accessible to bidders or Contractors, are for information purposes only.  These records are not part of the Contract.  These records indicate subsurface conditions only at specific locations and times, and only to the depths penetrated.  They do not necessarily reflect variations in soil, rock, or groundwater conditions that may exist between or outside such locations.  Actual conditions may differ from what is shown in the records.  Material Sources referenced in these records may not contain materials of sufficient quantity or quality to meet project requirements.  The accessibility of these records does not constitute approval, nor guarantee suitability of soils or sources, or the rights to use sources for this project, except as specifically provided in subsections 106-1.02.4.b Mandatory Sources and 106-1.02.4.c Designated Sources.  The records shall not substitute for independent investigation, interpretation, or judgment of the bidder or Contractor.  The Department is not responsible for any interpretation or conclusion drawn from its records by the bidder or Contractor.

Bidders and Contractors shall examine subsection 106-1.02 Material Sources for further information about material source development.

E23(1/1/06)

102-1.05 PREPARATION OF BID.  Modify the second sentence in the third paragraph:  after “If a bidder is a corporation, the bid must be signed by a corporate officer,” add or agent.

E18(6/30/04)

SECTION 103

PERFORMANCE AND PAYMENT BONDS

Standard Modifications

Delete Subsection 103-1.05 and replace with the following:

103-1.05 PERFORMANCE AND PAYMENT BONDS.  The successful bidder shall furnish all required Performance and Payment Bonds on forms provided by the Department for the sums specified in the Contract.  If no sum is specified, the successful bidder shall comply with AS 36.25.010.  The Surety on each bond may be any corporation or partnership authorized to do business in the state as an insurer under AS 21.09 or two individual sureties approved by the Contracting Officer.

If individual sureties are used, two individual sureties must each provide the Department with security assets located in Alaska equal to the penal amount of each bond.  Any costs incurred by the Contractor and the individual Surety are subsidiary and shall be borne by the Contractor or the individual Surety.  In no event will the Department be liable for these Costs.

Individual sureties shall provide security by one, or a combination, of the following methods:

1.	Escrow Account, with a federally insured financial institution, in the name of the Department.  Acceptable securities include, but are not limited to, cash, treasury notes, bearer instruments having a specific value, or money market certificates.

2.	Irrevocable letters of credit, with a financial institution approved by the Contracting Officer.

3.	Cashier’s or certified check, made payable to the State of Alaska issued by financial institutions approved by the Contracting Officer.

These bonds and security assets, as applicable, shall remain in effect for 12 months after the date of final payment or, if longer, until all obligations and liens under this Contract are satisfied, including, but not limited to, obligations under Subsection 107-1.19.

The Department may, in its discretion, notify the bonding company or Surety of any potential default or liability.

The Contractor shall substitute, within five working days, another bond or surety acceptable to the Department if an individual Surety or the Surety on any bond furnished in connection with the Contract:

1.	Becomes insolvent or is declared bankrupt;

2.	Loses its right to do business in any state affecting the work;

3.	Ceases to meet Contract requirements;

4.	Fails to furnish reports of financial condition upon request; or

5.	Otherwise becomes unacceptable to the Department.

When approved by the Contracting Officer, the Contractor may replace:

1.	An individual surety with a corporate surety; or

2.	Posted collateral with substitute collateral.

Failure to maintain the specified bonds or to provide substitute bonds when required under this section may be grounds for withholding contract payments until substitute bonding is obtained, and may, in the Department’s discretion, be grounds for declaring the Contractor in default.

E65 (02/22/09)

Special Provisions

103-1.06 INSURANCE REQUIREMENTS.  In the subsection 103-1.06 2. Commercial General Liability, delete this section and replace with the following:

On an occurrence policy form covering all operations with combined single limits not less than:

- $5,000,000 each occurrence;

- $1,000,000 personal injury;

- $5,000,000 General Aggregate; and

- $2,000,000 Products-Completed aggregate.

In the subsection 103-1.06 3. Automobile Liability, delete this section and replace with the following:

Covering all vehicles used in Contract work, combined single limits not less than $2,000,000 each occurrence.  Coverage shall be written on standard ISO forms from 1990 editions forward, or a substitute form providing equivalent liability coverage.  If such coverage is not provided in the base policy, the policy shall be endorsed to provide contractual liability coverage equivalent to that provided in the 1990 and later editions of CA 00 001.

Sixth paragraph, delete the first sentence and replace with the following:  The State of Alaska as well as the University of Alaska shall be named as an additional insured on polices required by paragraphs 2 through 4 above.

Seventh paragraph, delete the paragraph and replace with the following:  In any contract or agreement with the subcontractors performing work, the Contractor shall require that all indemnities and waivers of subrogation it obtains, and any stipulation to be named as an additional insured it obtains, shall also be extended to waive rights of subrogation against the State of Alaska and the University of Alaska and to add the State of Alaska and University of Alaska as an additional named indemnities and as an additional insured.

After last paragraph add the following:  The University of Alaska shall have the right, at its option, to pay any delinquent premiums upon any of the insurance policies if found necessary to prevent a cancellation, non-renewal or material alteration thereof; and the Contractor agrees that it will, within 10 days, reimburse the University of Alaska.

SECTION 104

SCOPE OF WORK

Standard Modifications

104-1.01 INTENT OF CONTRACT.  Add to the end of this subsection:

The Contractor is responsible for the means, methods, techniques, sequence, or procedures of construction, safety, quality control, and to perform or furnish the work in accordance with the Contract documents.

E58(07/28/08)

SECTION 105

CONTROL OF WORK

Standard Modification

105-1.02 PLANS AND WORKING DRAWINGS.  In the third paragraph delete “(24" x 36")” and replace with (22" x 34")

105-1.03 CONFORMITY WITH PLANS AND SPECIFICATIONS.  In the first sentence of the first paragraph after “Work performed and materials furnished shall conform to the Plans and Specifications” add “and approved Working Drawings,”

In the first sentence of the second paragraph after “Work or material not conforming to the Plans and Specifications” add “and approved Working Drawings,”

E33(01/27/07)

Special Provisions

105-1.07 COOPERATION BETWEEN CONTRACTORS.  Add the following:

There are no known state owned projects planned concurrently with this project.

CR1051-110309

Special Provisions

105-1.06 COOPERATION WITH UTILITIES.  Add the following:  Request locates from all the utilities having facilities in the area.  Use the Alaska Digline, Inc.  Locate Call Center for the following utilities:

ALASKA DIGLINE, INC. Locate Call Center Anchorage Area…………………278-3121 Statewide………………………………………..800-478-3121 who will notify the following:

ACS Alaska Fiberstar Alaska Native Hospital Anchorage Water and Wastewater AT&T Alascom, Inc. Chugach Electric Association DOT&PF Street Lights, State of Alaska ENSTAR Natural Gas GCI Communications MOA Street Maintenance Department MFS Technologies, Inc. Municipality of Anchorage Municipal Light and Power TelAlaska

Contact the Central Region Maintenance and Operations Office at (907) 269-0760 to obtain the appropriate District Superintendent’s phone number for this project.

There are various utility appurtenances located within the project limits.  Where utility relocation is required:

Right-of-Way and/or Construction surveying is required before utility relocation.

Payment will be made as follows:

- Subsidiary to Item 642(1), Construction Surveying, if the Contractor is  required to provide the surveying as part of the contract and/or

- Under Item 642(3), Three Person Survey Party, if the construction or Right of Way staking required by the utility is either in advance of the two (2) week work plan, or not required by the contract.

The utility shall give the Contractor, through the Engineer, fifteen (15) calendar days advance written notice for required staking.

R3(05/24/07)

Standard Modifications

105-1.13 MAINTENANCE DURING CONSTRUCTION.  Add the following at the end of this subsection:  Costs of maintenance work during construction and before the project is accepted as substantially complete shall be subsidiary to the prices bid on the various Contract items, and the Contractor will not be paid an additional amount for such work.

If in the Engineer’s opinion, the Contractor at any time fails to provide adequate maintenance, the Engineer will notify the Contractor of such noncompliance.  The notification will specify the areas or structures for which there is inadequate maintenance, the corrective maintenance required, and the time allowed to complete corrective maintenance.  If the Contractor fails to take the corrective action within the specified time, the Engineer may:

- Suspend the work until corrective maintenance is completed;

- Assess a traffic price adjustment against the Contract Amount when an adjustment rate is specified in the Contract; and

- Employ others for corrective maintenance and deduct the cost from the Contract amount.

E33(01/27/07)

Standard Modifications

105-1.15 PROJECT COMPLETION.  In the second paragraph, second sentence, delete “Subsection 621-3.04” and replace with “Subsection 618-3.06 and 621-3.04.”

In the third paragraph, first sentence, delete “Subsection 621-3.04” and replace with “Subsection 618-3.06 and 621-3.04.”

E59(07/28/08)

105-1.16 FINAL ACCEPTANCE AND RECORD RETENTION.  Modify the first paragraph, item 4 after “DOLWD” and add “and State Department of Revenue.”

E19(6/30/04)

105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES.  Add the following:  Appeals to the superior court under AS 36.30.685 must be filed in the third judicial district.

R93(03/21/01)

Standard Modifications

Add the following Subsection 105-1.18:

105-1.18 RESERVED FOR WARRANTIES.

E33(01/27/07)

Special Provision

Add the following Subsection 105-1.19:

105-1.19 INTERIM COMPLETION.  This project includes one interim completion phase.

Interim Completion Phase:

Date:	31 October 2010

Work:	Complete all work except for seeding and planting trees and shrubs by the interim completion date.

Final Completion Phase:

Date:	See the Invitation for Bids for the final completion date.

Work:	Complete all work.

CR1052-110309

SECTION 106

CONTROL OF MATERIAL

Special Provisions

106-1.01 Source of Supply and Quality Requirements.  Add the following:

Buy America Provision.  Comply with the requirements of 23 CFR 635.410, Buy America Requirements, and shall submit a completed Material Origin Certificate, Form 25D-60, before award of the contract.

Steel and iron products that are incorporated into the work, shall be manufactured in the United States except that minor amounts of steel and iron products of foreign manufacture may be used, provided the aggregate cost of such does not exceed one tenth of one percent (0.001) of the total contract amount, or $2500, whichever is greater.  For the purposes of this paragraph, the cost is the value of the products as they are delivered to the project including freight.

“Manufactured in the United States” means that all manufacturing processes starting with the initial mixing and melting through the final shaping, welding, and coating processes must be undertaken in the United States.  The definition of “manufacturing process” is smelting or any subsequent process that alters the material’s physical form, shape or chemical composition.  These processes include rolling, extruding, machining, bending, grinding, drilling, etc.  The application of coatings, such as epoxy coating, galvanizing, painting or any other coating that protects or enhances the value of steel or iron materials shall also be considered a manufacturing process subject to the “Buy America Requirements.”

Buy America does not apply to raw materials (iron ore), scrap, pig iron, and processed, pelletized and reduced iron ore.  It also does not apply to temporary steel items (e.g., temporary sheet piling, temporary bridges, steel scaffolding, and falsework).  Further, it does not apply to materials that remain in place at the Contractor’s convenience (e.g., sheet pilings, and forms).

The North American Free Trade Agreement (NAFTA) does not apply to the Buy America requirement.  There is a specific exemption within NAFTA (article 1001) for grant programs such as the Federal-aid highway program.

When steel and iron products manufactured in the United States are shipped to a foreign country where non-steel or iron products are installed on or in them (e.g., electronic components in a steel cabinet), the steel and iron is considered to meet the requirements of this subsection.

Take whatever steps are necessary to ensure that manufacturing processes for each covered product comply with this provision.  Non-conforming products shall be replaced at no expense to the State.  Failure to comply may also subject the Contractor to default and/or debarment.  False statements may result in criminal penalties prescribed under Title 18 US Code Section 1001 and 1020.

R13(05/24/07)

Standard Modifications

106-1.01 Source of Supply and Quality Requirements.  In the fifth paragraph, in two places remove the text “Approved Products List” and replace with “Qualified Products List.”

E36(01/27/07)

106-1.02 MATERIAL SOURCES.

1.	a.	General.  Within item a, delete text and replace with Utilize Useable Excavation according to subsection 104-1.04 before using material sources listed in subsection 106-1.02.4.  When there is insufficient useable excavation furnish additional required materials from sources of the Contractor’s choice, except that the Contractor shall use a mandatory source when identified in the Contract.

4.	Type of Sources.  Replace the first paragraph with the following:  The Contractor shall utilize Useable Excavation according to subsection 104-1.04 before using material sources listed in this subsection.  When there is insufficient Useable Excavation, the Contractor shall furnish additional required materials from sources of the Contractor’s choice, except that the Contractor shall use a mandatory source when identified in the Contract.

When there is insufficient Useable Excavation, the Contractor shall supply additional required material from the following sources:

d.	Available Sources.  Replace the second paragraph with the following:  When the Department furnishes copies of existing boring logs, test results, or other data in its possession concerning Available Sources, the Contractor is responsible for determining the accuracy and completeness of this data, for assumptions the Contractor makes based on this data, and for exploring Available Sources to the Contractor’s satisfaction.

e.	Excluded Material Sources.  Replace the paragraph with the following:  Some material sources may not be considered acceptable regardless of location or ownership.  The bid documents may identify some material sources excluded from use.  The Department reserves the right to exclude a material sources or any portion of a material source, at any time after Contract award, that is determined by material testing to be unsuitable for use on the project.

E24(1/1/06)

Add new Subsection 106-1.08:

106-1.08 SUBMITTAL PROCEDURE.  The Contractor shall complete a Submittal Register, and shall submit it to the Engineer on forms provided by the Department.  The intent of the Submittal Register is to provide a blueprint for the smooth flow of specified project documents.  The Contractor shall fill it out sequentially by bid item and allow at least three spaces between bid items.  The Submittal Register shall list working drawings, schedules of work, and other items required to be submitted to the Department by the Contractor including but not limited to:  Progress Schedule, anticipated dates of material procurement, Construction Phasing Plan, Traffic Control Plan, Storm Water Pollution Prevention Plan, Quality Control Program, Utility Progress Schedule, Blasting Plan, Mining Plan, annual EEO reports, DBE payment documentation and subcontracts.

The Contractor shall submit materials (product) information to the Engineer for review, as required by the Materials Certification List and the Contract.

The number of copies required for submittals may be included in the specifications for individual bid items.  If the number of copies of a submittal is not otherwise specified, three copies shall be required.  On each sheet submitted to the Department, including working drawings, catalog cuts, manufacturer’s certifications, etc., space shall be provided for Contractor and Department review stamps.

Each copy of each submittal shall include a Submittal Summary sheet.  The Contractor may use forms provided by the Department or a similar form of the Contractor’s choice as approved by the Department.  The Contractor shall sign submittals and submit them to the Engineer.  The Department will review submittals within 30 days after they are received.  The Department will return submittals to the Contractor as either:  approved, conditionally approved with the conditions listed, or rejected with the reasons listed.  The Contractor may resubmit a rejected submittal to the Engineer with more information or corrections.  The Department will review resubmittals within 30 days after they are received.

The Contractor shall not order material or use working drawings that have not been approved by the Department.  The Contractor shall be responsible for timely submittals.  Failure by the Department to review submittals within the time given may be the basis for a request for extension of Contract time but not for additional compensation.

Payment for a specific Contract item will not be made until the Department has received the Submittal Register for all items and approved all required submittals for that specific Contract item.

When material invoices, freight bills and mill certificates are submitted, they shall provide sufficient information for the Engineer to identify the date, company and location of invoice (bill, certificate); project name and number where material will be incorporated; manufacturer, product number, quantity and cost.

Add the following Subsection 106-1.09:

106-1.09 RESERVED.

E34(01/27/07)

SECTION 107

LEGAL RELATIONS AND RESPONSIBILITY TO PUBLIC

Special Provisions

107-1.02 PERMITS, LICENSES, AND TAXES.  Add the following:

Obtain a written statement from the State Historic Preservation Officer stating that material disposal, extraction, stockpiling, or staging, on or off project site, is not expected to impact cultural resources.  The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at (907) 269-8715.  If cultural resources are discovered during construction activities, stop work at that site and notify the Engineer.

Provide a wetland specialist able to conduct wetlands determinations and delineations according to the Corps of Engineers 1987 Wetland Delineation Manual, and the Regional Supplement to the Corps of Engineers Wetland Delineations Manual (Alaska Region, Version 2.0, September 2007).  The wetland specialist shall conduct the determination and delineations of sites outside the project limits or not previously permitted, impacted by the Contractor's operations.  These delineations will be subject to Corps of Engineers approval.

Provide the Engineer a copy of permits or clearances received before using sites outside the project limits.  Additionally, provide the Engineer a written statement that permits or clearances have been obtained.  Also, provide a written statement to the Engineer listing agencies or offices contacted that responded that no additional action is required.

Add the following:

The Department has received the following permits on the Contractor’s behalf:

1.	USACE Wetland Permit

2.	MOA Flood Hazard Permit

Provide information to comply with the US Environmental Protection Agency National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska to discharge storm water from the construction site.  Refer to Section 641, Erosion, Sediment, and Pollution Control for requirements for this permit.

A Municipality of Anchorage (MOA) Right-of-Way Use permit will be required.  The Municipality will require a copy of the approved Traffic Control Plan and a copy of the Notice to Proceed from the Contractor.

The project consists of new construction as well as rehabilitation of existing student access paths and recreational pathways and amenities.  Work is limited to mostly narrow strips of park, greenbelts and university property.

Public access shall be maintained to adjacent recreation and university facilities (i.e., dorms, parking, parkland, transit stops, etc.) during construction, unless previously approved by the Engineer and adequately signed in advance.

Contractor should be aware of attempts of unauthorized pedestrian crossings of the work area, and work accordingly.  Construction vehicles and private worker vehicles should be kept to a minimum and parked off-site.

Access to the work area shall be achieved in a manner that precludes movement of heavy vehicles or machinery onto adjacent vegetated wetlands.

The Contractor shall limit hours of operation from 0800 hours to 2000 hours of operation within the project area, except for Goose Lake Park (Parcel 13).  The Contractor shall limit hours of operation at Goose Lake Park from 2200 hours to 0600 hours.  The Contractor shall take all reasonable action necessary to minimize noise disturbance within the project area.

University of Alaska - Parcels E-5, E-6, E-11, E-12, and E-20

The University of Alaska has granted a 150 foot (75 feet either side of centerline) along the Chester Creek Trail centerline as depicted in Exhibit A of the Temporary Construction Permit in appendix B.  The TCP will expire at 2359 hours on October 15, 2010.

The Contractor shall not store vehicles, equipment, or materials on land within the project area owned by the University of Alaska as a staging area except in a manner directly related to the construction of the improvements on the property.

Prior to construction activities beginning on University of Alaska properties, the Contractor shall provide notice to the University of Alaska at:

University of Alaska
Land Management
18158 Bragaw Street, Suite 101
Anchorage, Alaska 99508

The Contractor shall coordinate its activities with the University of Alaska and shall consult with the University of Alaska to identify areas of the property subject to use or occupancy, and uses of the property.

Municipality of Anchorage, Parks and Recreation – Parcel 13

Contractor shall give the Municipality of Anchorage Parks and Recreation Department 48 hours notice before using Goose Lake Park to access the project area.

The Contractor shall consult with the Municipality of Anchorage Parks and Recreation Department as to where to place suitable barriers and signage, and shall take other precautions and measures to prevent conflicts with the public and assure the safety of the public and maintain continued public use of the adjoining trail and park area.

The Contractor shall not use Goose Lake Park as a staging area for materials and/or equipment.

The Contractor can use Goose Lake Park to access the project area for 60 days.

Standard Modifications

107-1.07 ARCHAEOLOGICAL OR HISTORICAL DISCOVERIES.  Change the first sentence to the following:

When operations encounters historic or prehistoric artifacts, burials, remains of dwelling sites, paleontological remains, (shell heaps, land or sea mammal bones or tusks, or other items of historical significance), cease operations immediately and notify the Engineer.

107-1.11 PROTECTION AND RESTORATION OF PROPERTY AND LANDSCAPE.  Add the following:

If water is required for a construction purpose from a non-municipal water source, obtain a Temporary Water Use Permit from the Water Resource Manager, and provide a copy to the Engineer. The Water Resource Manager is with the Department of Natural Resources in Anchorage and may be contacted at (907) 269-8645.

CR7-052902

Standard Modifications

107-1.05 FEDERAL AID PROVISIONS.  Add the following after paragraph two:

Form 25D-55H Required Contract Provisions for Federal-Aid (FHWA) Construction Contracts.  The FHWA no longer requires the Contractor to fill out FHWA Form 47, Statement of Materials and Labor Used By Contractors on Highway Construction Involving Federal Funds.  Section VI Records of Materials, Supplies and Labor of Form 25D-55H is no longer applicable to highway construction contracts.

Title VI Requirements.  During the performance of this Contract, the Contractor, for itself, its assignees and successors in interest (hereinafter referred to as the "Contractor") agrees as follows:

(1)	Compliance with Regulations:  The Contractor shall comply with the Regulation relative to nondiscrimination in Federally-assisted programs of the Department of Transportation (hereinafter, "DOT") title 49, Code of Federal Regulations, Part 21, and the Federal Highway Administration (hereinafter "FHWA") Title 23, Code of Federal Regulations, Part 200 as they may be amended from time to time, (hereinafter referred to as the Regulations), which are herein incorporated by reference and made a part of this Contract.

(2)	Nondiscrimination:  The Contractor, with regard to the work performed by it during the contract, shall not discriminate on the grounds of race, color, or national origin, sex, age, and disability/handicap in the selection and retention of subcontractors, including procurements of materials and leases of equipment.  The Contractor shall not participate either directly or indirectly in the discrimination prohibited by 49 CFR, Section 21.5 of the regulations, including employment practices when the Contract covers a program set forth in Appendix B of the Regulations.

(3)	Solicitation for Subcontractors, Including Procurements of Materials and Equipment:  In all solicitations either by competitive bidding or negotiation made by the Contractor for work to be performed under a subcontract, including procurements of materials or leases of equipment, each potential subcontractor or supplier shall be notified by the Contractor of the Contractor's obligations under this Contract and the Regulations relative to nondiscrimination on the grounds of race, color, or national origin, sex, age, and disability/handicap.

(4)	Information and Reports:  The Contractor shall provide all information and reports required by the Regulations or directives issued pursuant thereto, and shall permit access to its books, records, accounts, other sources of information, and its facilities as may be determined by the DOT&PF or the FHWA to be pertinent to ascertain compliance with such Regulations, orders and instructions.  Where any information required of a Contractor is in the exclusive possession of another who fails or refuses to furnish this information the Contractor shall so certify to the DOT&PF, or the FHWA as appropriate, and shall set forth what efforts it has made to obtain the information.

(5)	Sanctions for Noncompliance:  In the event of the Contractor's noncompliance with the nondiscrimination provisions of this Contract, the DOT&PF shall impose such contract sanctions as it or the FHWA may determine to be appropriate, including, but not limited to:

(a)	withholding of payments to the Contractor under the Contract until the Contractor complies, and/or

(b)	cancellation, termination, or suspension of the Contract, in whole or in part.

(6)	Incorporation of Provisions:  The Contractor shall include the provisions of paragraphs (1) through (6) in every subcontract, including procurements of materials and leases of equipment, unless exempt by the Regulations, or directives issued pursuant thereto.

The Contractor shall take such action with respect to any subcontract or procurement as the DOT&PF or the FHWA may direct as a means of enforcing such provisions including sanctions for non-compliance:  Provided, however, that in the event a Contractor becomes involved in, or is threatened with, litigation with a subcontractor or supplier as a result of such direction, the Contractor may request the DOT&PF to enter into such litigation to protect the interests of the DOT&PF, and, in addition, the Contractor may request the United states to enter into such litigation to protect the interests of the United States.

E66-101309

Standard Modifications

Add the following paragraphs:

  - Restoring Areas.  Areas used by the Contractor, including haul routes, shall be restored to their original condition after the Contractor’s operations are completed.  The original condition of an area shall be determined as follows:  Before beginning operations, the Engineer and the Contractor shall inspect each area and haul route that will be used by the Contractor and take photographs to document their condition.  After construction operations are completed, the condition of each area and haul route will be compared to the earlier photographs.  Before demobilization the Contractor shall repair damages attributed to its operations.  The Contractor agrees that costs associated with repairs shall be subsidiary to other items of work and will not be paid for directly.

  - Material Disposal Sites.  Offsite disposal areas may be at locations of the Contractor’s choice, provided the Contractor obtains from the owner of such land written permission for such dumping and a waiver of all claims against the State for any damage to such land that may result therefrom, together with permits required by law for such dumping.  A copy of such permission, waiver of claims, and permits shall be filed with the Engineer before beginning work on private property.  The Contractor’s selected disposal sites shall also be inspected and approved by the Engineer before use of the sites.

E35(01/27/07)

# Special Provisions

Add the following:  The Contractor shall recognize that the described work is occurring in a park greenbelt and University Housing area with an existing trail where users may be present and adjacent to the construction areas.  The Contractor shall exercise due caution in all of his operations and allow for appropriate safety precautions.  The Contractor shall pay particular attention to the proper fencing of the work area to ensure that trail users do not un-intentionally enter the work are.

The Contractor shall also ensure that proper notification is given with regard to trail closures.

Construction equipment will not be allowed on park or University land outside the excavation and embankment limits of the proposed trails and structure limits without the approval of the Engineer and any structures or camps required by the Contractor shall be established outside the park or University property.

Add the following subsection:

107-1.21 FEDERAL AFFIRMATIVE ACTION.  The Federal Equal Employment Opportunity, Disadvantaged Business Enterprise, and On-the-Job Training affirmative action program requirements that are applicable to this Contract are contained in the project Special Provisions and Contract Forms, and may include:

Disadvantaged Business Enterprise (DBE) Program	Section 120

Training Program	Section 645

Federal EEO Bid Conditions	Form 25A-301

EEO-1 Certification	Form 25A-304

DOT&PF Training Program Request	Form 25A-310

Training Utilization Report	Form 25A-311

Contact Report	Form 25A-321A

DBE Subcontractable Items	Form 25A-324

DBE Utilization Report	Form 25A-325C

Summary of Good Faith Effort Documentation	Form 25A-332A

Required Contract Provisions, Federal-Aid Contracts	Form 25D-55

In addition to the sanctions provided in the above references, non-compliance with these requirements is grounds for withholding of progress payments.

S80(01/22/02)

SECTION 108

PROSECUTION AND PROGRESS

### Special Provision

108-1.01 SUBLETTING OF CONTRACT.  Delete paragraph four and replace with the following:

Submit the Contractor Self Certification for Subcontractors and Lower Tier Subcontractors, Form 25D-042, before the Contractor or a subcontractor sublets any portion of the Contract.  The certification will be accepted by the Department in lieu of written approval of subcontracts.  The Department maintains the authority to review subcontracts, require prior written approval of subcontracts, and to deny permission to sublet work.  The Department may penalize the Contractor for false statements or omissions made in connection with Form 25D-042.

1.	The Contractor shall ensure the following for each subcontract (agreement):

  - The Department is furnished with one completed Contractor Self certification, Form   25D-042, and two copies of the subcontract signed by both parties and including item descriptions and prices of subcontracted work before the subcontracted work begins;

  - The subcontractors have submitted a Bidder Registration, Form 25D-6;

  - The required prompt payment provisions of AS 36.90.210, as well as other items listed in Form 25D-042, are included in the subcontracts;

  - The subcontractors pay current prevailing rate of wages according to subsection 107-1.04 and file certified payrolls with the Engineer and DOLWD for work performed on the project; and

  - Upon receipt of a request for more information regarding subcontracts, the requested information is provided to the Department within 5 calendar days.

R57(01/02/08)

108-1.03 PROSECUTION AND PROGRESS.  Delete the last sentence of the first paragraph and substitute the following:  Submit the following at the Preconstruction Conference:

Delete item 1, A Progress Schedule, and substitute the following:

A Critical Path Method (CPM) Schedule is required, in a format acceptable to the Engineer, showing the order the work will be carried out and the contemplated dates the Contractor and subcontractors will start and finish each of the salient features of the work, including scheduled periods of shutdown.  Indicate anticipated periods of multiple shift work in the CPM Schedule.  Revise to the proposed CPM Schedule promptly.  Promptly submit a revised CPM Schedule if there are substantial changes to the schedule, or upon request of the Engineer.

R261(12/13/02)

108-1.07 FAILURE TO COMPLETE ON TIME.  Delete the first sentence of the first paragraph and substitute the following:

For each calendar day that the work remains incomplete after the expiration of the contract time or the interim completion dates as set forth in Subsection 105-1.19 Interim Completion, the liquidated damages per day given in the table below shall be deducted from any monies due the Contractor.

Delete Table 108-1 and replace with:

TABLE 108-1

DAILY CHARGE FOR LIQUIDATED DAMAGES

FOR EACH CALENDAR DAY OF DELAY

| Completion Date | Daily Charge |
| --- | --- |
| 1st Interim Completion Date | $2,000 |
| Contract Completion Date | $2,500 |

CR1081-110309

108-1.07 FAILURE TO COMPLETE ON TIME.  Add the following after last paragraph:

The contractor is responsible to obtain extensions for any necessary easements.  At the Contractor’s request, the department will obtain needed extensions.  All costs associated with obtaining the necessary extension, including payments to owners of the property and costs to the department for obtaining said extensions, will be passed on to the Contractor in addition to the liquidated damages as described above.

SECTION 109

MEASUREMENT AND PAYMENT

Special Provisions

109-1.02 MEASUREMENT OF QUANTITIES.  Under subtitle Electronic Computerized Weighing System item (1) add the following to the end of the first sentence:  “, CD, or a USB device.”

109-1.05 COMPENSATION FOR EXTRA WORK.

Under item 3, Equipment, item a, add the following to the second paragraph:  The rental rate area adjustment factors for this project shall be as specified on the adjustment maps for the Alaska - South Region.

R14(4/31/05)

Standard Modification

109-1.08 FINAL PAYMENT.  Add the following sentence to the first paragraph:

The Department will not process the final estimate until the Contractor completes items 1 through 4 in the first paragraph of subsection 105-1.16.

E11(6/30/04)

Add the following section:

SECTION 120

DISADVANTAGED BUSINESS ENTERPRISE (DBE) PROGRAM

120-1.01 DESCRIPTION.  The work consists of providing Disadvantaged Business Enterprises (DBEs), as defined in Title 49, CFR (Code of Federal Regulations), Part 26, with the opportunity to participate on an equitable basis with other contractors in the performance of contracts financed in whole, or in part, with federal funds.  The Contractor or subcontractor shall not discriminate on the basis of race, color, national origin, or sex in the performance of this contract.  Carry out applicable requirements of 49 CFR Part 26 in the award and administration of USDOT assisted contracts.

120-1.02 INTERPRETATION.  It is the intent of this section to implement the requirements of 49 CFR, Part 26, and the Department's federally approved DBE Program.

120-1.03 ESSENTIAL CONTRACT PROVISION.  Failure to comply with the provisions of this section will be considered a material breach of contract that may result in the termination of this contract or such other remedy as the Department deems appropriate.  The Department also considers failure to comply with this section to be so serious as to justify debarment action as provided in AS 36.30.640(4).

120-1.04 DEFINITIONS AND TERMS.  The following definitions will apply.

- Broker.  A DBE certified by the Department that arranges for the delivery or provision of creditable materials, supplies, equipment, transportation/hauling, insurance, bonding, etc., within its certified category, that is necessary for the completion of the project.  A broker of materials certified in a supply category must be responsible for scheduling the delivery of materials and fully responsible for ensuring that the materials meet specifications before credit will be given.

- Commercially Useful Function (CUF).  The execution of the work of the Contract by a DBE carrying out its responsibilities by actually performing, managing, and supervising the work involved using its own employees and equipment.  The DBE shall be responsible, with respect to materials and supplies used on the Contract, for negotiating price, determining quality and quantity, ordering the material, and installing (where applicable) and paying for the material itself.  To determine whether a DBE is performing a commercially useful function, an evaluation of the amount of work subcontracted, industry practices, whether the amount the firm is to be paid under the Contract is commensurate with the work it is actually performing and the DBE credit claimed for its performance of the work.  Other relevant factors will be considered.  The determination of CUF is made by the Engineer after evaluating the way in which the work was performed during the execution of the Contract.

- Disadvantaged Business Enterprise (DBE).  An enterprise that is a for-profit small business concern:

- that is at least 51% owned by one or more individuals who are both socially and economically disadvantaged or, in the case of a corporation, in which 51% of the stock is owned by one or more such individuals;

- whose management and daily business operations are controlled by one or more of the socially and economically disadvantaged individuals who own it; and

- has been certified by the Department in accordance with 49 CFR, Part 26.

- DBE Key Employee.  Permanent employees identified by the DBE owner in its certification file in the Department Civil Rights Office.

- DBE Utilization Goal.  The percent of work to be performed by certified DBEs that is established by the Department and specified in the Contract.

- Good Faith Efforts.  Efforts by the bidder or Contractor to achieve a DBE goal or other requirement of 49 CFR Part 26, by their scope, intensity, and appropriateness to the objective, that can reasonably be expected to fulfill the program requirement.

- Manufacturer.  A DBE certified by the Department in a supply category that changes the shape, form, or composition of original material in some way and then provides that altered material to the project and to the general public or the construction industry at large on a regular basis.

- Notification.  For purposes of soliciting DBE participation on a project and to count toward a Contractor’s Good Faith Efforts, notification shall be by letter or fax transmission, with a return receipt requested or successful transmission report.  Telephonic contact with a DBE may be allowed, however it shall be based on the ability of Civil Rights staff to independently verify this contact.

- Regular Dealer.  A DBE certified by the Department in a supply category that

- maintains an in-house inventory on a regular basis of the particular product provided to this project; and

- keeps an inventory in an amount appropriate for the type of work using that product; and

- offers that inventory for sale to the general public or construction industry at large (private and public sectors), not just supplied as needed on a project by project basis during the construction season, except where the product requires special or heavy equipment for delivery and the DBE possesses and operates this equipment on a regular basis throughout the construction season in order to deliver the product to the general public or construction industry at large.  If the distribution equipment is rented or leased, it must be on a repetitive, seasonal basis; and may additionally

- fabricate (assembles large components) for use on a construction project, consistent with standard industry practice, for delivery to the project.

120-2.01 UTILIZATION GOAL.  The DBE Utilization Goal for this contract is shown on Form 25A324 (DBE Subcontractable Items) as a percentage of the total basic bid amount.  A DBE may be considered creditable towards meeting the DBE Utilization Goal at time of Contract award, if the DBE is certified by the Department in a category covering the CUF to be performed at the time of listing on Form 25A325C (DBE Utilization Report).

A bidder shall demonstrate the ability to meet the DBE Utilization Goal or perform and document all of the required Good Faith Efforts under Subsection 120-3.02 in order to be eligible for award of this Contract.

If the quantity of work of a bid item involving a DBE firm is reduced by the Department, the DBE Utilization Goal on Form 25A325C will be reduced proportionately.

120-3.01 DETERMINATION OF COMPLIANCE.

- Phase I - Bid.  Each bidder must register with the Civil Rights Office annually in accordance with §§26.11 and  26.53(b)(2)(iv) of 49 CFR, Part 26.  No contract may be awarded to a bidder that is not registered.

- Phase II - Award.  The apparent low bidder will provide the following within 15 days of receipt of notice of intent to award:

- Written DBE Commitment.  Written commitments from DBEs to be used on the project.  The written commitment shall contain the following information:

- A description of the work that each DBE will perform;

- The dollar amount of participation by the DBE firm;

- Written documentation of the bidder/offeror’s commitment to use a DBE subcontractor whose participation it submits to meet a contract goal; and

- Written confirmation from the DBE that it is participating in the contract as provided in the prime Contractor’s commitment.

- DBE Utilization Report.  Form 25A325C listing the certified DBEs to be used to meet the DBE Utilization Goal.

- Good Faith Effort Documentation.  Summary of Good Faith Effort Documentation (Form 25A332A and attachments) and DBE Contact Reports (Form 25A321A) if the Contractor submits less DBE utilization on Form 25A325C than is required to meet the DBE Utilization Goal.  If accepted by the Department, this lower DBE utilization becomes the new DBE Utilization Goal.  If the bidder cannot demonstrate the ability to meet the DBE Utilization Goal, and cannot document the minimum required Good Faith Efforts (as outlined in Subsection 120-3.02 below), the Contracting Officer will determine the bidder to be not responsible.

- Phase III - Construction.

- Designation of DBE/EEO Officer.  At the preconstruction conference, submit, in writing, the designation of a DBE/EEO officer.

- DBE Creditable Work.  The CUF work items and creditable dollar amounts shown for a DBE on the DBE Utilization Report (Form 25A325C) shall be included in any subcontract, purchase order or service agreement with that DBE.

- DBE Replacement.  If a DBE replacement is approved by the Engineer, replace the DBE with another DBE for the same work in order to fulfill its commitment under the DBE Utilization Goal.  In the event the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer and the Civil Rights Office, both of the following criteria have been met:

- The Contractor has not committed any discriminatory practice in its exercise of good business judgment to replace a DBE.

- If the Contractor is unable to find replacement DBE participation and has adequately performed and documented the Good Faith Effort expended in accordance with Subsection 120-3.02.

- DBE Utilization Goal.  The DBE Utilization Goal will be adjusted to reflect only that amount of the DBE's work that cannot be replaced.

120-3.02 GOOD FAITH EFFORT.

- Good Faith Effort Criteria.  The Contracting Officer will use the following criteria to judge if the bidder, who has not met the DBE Utilization Goal, has demonstrated sufficient Good Faith Effort to be eligible for award of the contract.

Failure by the bidder to perform and document the following actions constitutes insufficient Good Faith Effort.

- Consideration of all subcontractable items.  The bidder shall, at a minimum, seek DBE participation for each of the subcontractable items upon which the DBE goal was established as identified by the Department (on Form 25A324) prior to bid opening.  It is the bidder’s responsibility to make the work listed on the subcontractable items list available to DBE firms, to facilitate DBE participation.

- If the bidder cannot achieve the DBE Utilization Goal using the list of available DBE firms based on the subcontractable items list, then the bidder may consider other items that could be subcontracted to DBEs.

- Notification to all active DBEs listed for a given region in the Department's most current DBE Directory at least 7 calendar days prior to bid opening.  The bidder must give the DBEs no less than 5 days to respond.  The bidder may reject DBE quotes received after the deadline.  Such a deadline for bid submission by DBEs will be consistently applied.  DBEs certified to perform work items identified on Form 25A324 must be contacted to solicit their interest in participating in the execution of work with the Contractor.  Each contact with a DBE firm will be logged on a Contact Report (Form 25A321A).

- Non-competitive DBE quotes may be rejected by the bidder.  Allegations of non-competitive DBE quotes must be documented and verifiable.  A DBE quote that is more than 10% higher than the accepted non-DBE quote will be deemed non-competitive provided the DBE and non-DBE subcontractor quotes are for the exact same work or service.  Bidders must have a non-DBE subcontractor quote for comparison purposes.  Such evidence shall be provided in support of the bidder’s allegation.  Where the bidder rejects a DBE quote as being non-competitive under this condition, the work must be performed by the non-DBE subcontractor and payments received by the non-DBE subcontractor during the execution of the Contract shall be consistent with the non-DBE's accepted quote.  This does not preclude increases as a result of Change documents issued by the Department.

- Provision of assistance to DBEs who need help in obtaining information about bonding or insurance required by the bidder.

- Provision of assistance to DBEs who need help in obtaining information about securing equipment, supplies, materials, or related assistance or services.

- Providing prospective DBEs with adequate information about the requirements of the Contract regarding the specific item of work or service sought from the DBE.

- Follow-up of initial notifications by contacting DBEs to determine whether or not they will be bidding.  Failure to submit a bid by the project bid opening or deadline by the bidder is de facto evidence of the DBE’s lack of interest in bidding.  Documentation of follow-up contacts shall be logged on the Contact Report (Form 25A321A).

- Items c through h will be utilized to evaluate any request from the Contractor for a reduction in the DBE Utilization Goal due to the default or decertification of a DBE and the Contractor's subsequent inability to obtain additional DBE participation.

- Administrative Reconsideration.  Under the provisions of 49 CFR Part 26.53(d), if it is determined that the apparent successful bidder has failed to meet the requirements of this subsection, the bidder must indicate whether they would like an opportunity for administrative reconsideration.  The bidder must exercise such an opportunity within 3 calendar days of notification it has failed to meet the requirements of this subsection.  As part of this reconsideration, the bidder must provide written documentation or argument concerning the issue of whether it met the goal or made adequate good faith efforts to do so.

- The decision on reconsideration will be made by the DBE Liaison Officer.

- The bidder will have the opportunity to meet in person with the DBE Liaison Officer to discuss the issue of whether it met the goal or made adequate good faith efforts to do so.  If a meeting is desired, the bidder must be ready, willing and able to meet with the DBE Liaison Officer within 4 days of notification that it has failed to meet the requirements of this subsection.

- The DBE Liaison Officer will render a written decision on reconsideration and provide notification to the bidder.  The written decision will explain the basis for finding that the bidder did or did not meet the goal or make adequate good faith efforts to do so.

- The result of the reconsideration process is not administratively appeal able to US DOT.

120-3.03 COMMERCIALLY USEFUL FUNCTION (CUF).

- Creditable Work.  Measurement of attainment of the DBE Utilization Goal will be based upon the actual amount of money received by the DBEs for creditable CUF work on this project as determined by the Engineer in accordance with this Section.  CUF is limited to that of a:

- regular dealer;

- manufacturer;

- broker;

- subcontractor;

- joint-venture; or

- prime contractor.

- Determination of Commercially Useful Function.  In order for the CUF work of the DBE to be credited toward the goal, the Contractor will ensure the following requirements are met:

- The CUF performed by a DBE certified in a supply category will be evaluated by the Engineer to determine whether the DBE performed as either a broker, regular dealer, or manufacturer of the product provided to this project.

- A DBE trucking firm certified and performing work in a transportation/hauling category is restricted to credit for work performed with its own trucks and personnel certified with the CRO prior to submitting a bid to a contractor for DBE trucking.  The DBE trucking firm must demonstrate that it owns all trucks (proof of title and/or registration) to be credited for work and that all operators are employed by the DBE trucking firm.  A DBE trucking firm that does not certify its trucks and personnel that it employs on a job will be considered a broker of trucking services and limited to credit for a broker.  (This does not effect the CUF of that same firm, when performance includes the hauling of materials for that work.)

- The DBE is certified in the appropriate category at the time of

- the Engineer's approval of the DBE subcontract, consistent with the written DBE commitment; and

- the issuance of a purchase order or service agreement by the Contractor to a DBE performing as either a manufacturer, regular dealer, or broker (with a copy to the Engineer).

- The Contractor will receive credit for the CUF performed by DBEs as provided in this Section.  Contractors are encouraged to contact the Engineer in advance of the execution of the DBE's work or provision of goods or services regarding CUF and potential DBE credit.

- The DBE may perform work in categories for which it is not certified, but only work performed in the DBE's certified category meeting the CUF criteria may be credited toward the DBE Utilization Goal.

- The work of the DBE firm must meet the following criteria when determining when CUF is being performed by the DBE:

- The work performed will be necessary and useful work required for the execution of the Contract.

- The scope of work will be distinct and identifiable with specific contract items of work, bonding, or insurance requirements.

- The work will be performed, controlled, managed, and supervised by employees normally employed by and under the control of the certified DBE.  The work will be performed with the DBE’s own equipment.  Either the DBE owner or DBE key employee will be at the work site and responsible for the work.

- The manner in which the work is sublet or performed will conform to standard, statewide industry practice within Alaska, as determined by the Department.  The work or provision of goods or services will have a market outside of the DBE program (must also be performed by non-DBE firms within the Alaskan construction industry).  Otherwise, the work or service will be deemed an unnecessary step in the contracting or purchasing process and no DBE credit will be allowed.

There will be no DBE credit for lower-tier non-DBE subcontract work.

- The cost of the goods and services will be reasonable and competitive with the cost of the goods and services outside the DBE program within Alaska.  Materials or supplies needed as a regular course of the Contractor's operations, such as fuel, maintenance, office facilities, portable bathrooms, etc., are not creditable.

The cost of materials actually incorporated into the project by a DBE subcontractor is creditable toward the DBE goal only if the DBE is responsible for ordering and scheduling the delivery of creditable materials and fully responsible for ensuring that the materials meet specifications.

- Subcontract work, with the exception of truck hauling, will be sublet by the same unit of measure as is contained in the Bid Schedule unless prior written approval of the Engineer is obtained.

- The DBE will control all business administration, accounting, billing, and payment transactions.  The prime contractor will not perform the business, accounting, billing, and similar functions of the DBE.  The Engineer may, in accordance with AS 36.30.420(b), inspect the offices of the DBE and audit the records of the DBE to assure compliance.

- On a monthly basis, report on Form 25A336 (Monthly Summary of DBE Participation) to the Department Civil Rights Office the payments made (canceled checks or bank statements that identify payor, payee, and amount of transfer) for the qualifying work, goods and services provided by DBEs.

- Decertification of a DBE.  Should a DBE performing a CUF become decertified during the term of the subcontract, purchase order, or service agreement for reasons beyond the control of and without the fault or negligence of the Contractor, the work remaining under the subcontract, purchase order, or service agreement may be credited toward the DBE Utilization Goal.

Should the DBE be decertified between the time of Contract award and the time of the Engineer's subcontract approval or issuance of a purchase order or service agreement, the work of the decertified firm will not be credited toward the DBE Utilization Goal.  The Contractor must still meet the DBE Utilization Goal by either

- withdrawing the subcontract, purchase order or service agreement from the decertified DBE and expending Good Faith Effort (Subsection 120-3.02, items c through h) to replace it with one from a currently certified DBE for that same work or service through subcontractor substitution (Subsection 103-1.01); or

- continuing with the subcontract, purchase order or service agreement with the decertified firm and expending Good Faith Effort to find other work not already subcontracted out to DBEs in an amount to meet the DBE Utilization Goal through either

- increasing the participation of other DBEs on the project;

- documenting Good Faith Efforts (Subsection 120-3.02, items c through h); or

- by a combination of the above.

- DBE Rebuttal of a Finding of No CUF.  Consistent with the provisions of 49 CFR, Part 26.55(c)(4) and (5), before the Engineer makes a final finding that no CUF has been performed by a DBE firm the Engineer will coordinate notification of the presumptive finding through the Civil Rights Office to the Contractor, who will notify the DBE firm.

The Engineer, in cooperation with the Civil Rights Office, may determine that the firm is performing a CUF if the rebuttal information convincingly demonstrates the type of work involved and normal industry practices establishes a CUF was performed by the DBE.  Under no circumstances shall the Contractor take any action against the DBE firm until the Engineer has made a final determination.  The Engineer’s decisions on CUF matters are not administratively appeal able to US DOT.

120-3.04 DEFAULT OF DBE.  In the event that a DBE firm under contract or to whom a purchase order or similar agreement has been issued defaults on their work for whatever reason, immediately notify the Engineer of the default and the circumstances surrounding the default.

Take immediate steps, without any order or direction from the Engineer, to retain the services of other DBEs to perform the defaulted work.  In the event that the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer, the following criteria have been met:

1.	The Contractor was not at fault or negligent in the default and that the circumstances surrounding the default were beyond the control of the Contractor; and

- The Contractor is unable to find replacement DBE participation at the same level of DBE commitment and has adequately performed and documented the Good Faith Effort expended in accordance with items c through h of subsection 120-3.02 for the defaulted work; or

- It is too late in the project to provide any real subcontracting opportunities remaining for DBEs.

The DBE Utilization Goal will be adjusted to reflect only that amount of the defaulted DBE's work that cannot be replaced.

120-4.01 METHOD OF MEASUREMENT.  The Contractor will be entitled to count toward the DBE Utilization Goal those monies actually paid to certified DBEs for CUF work performed by the DBE as determined by the Engineer.  The Contractor will receive credit for the utilization of the DBEs, as follows:

- Credit for the CUF of a DBE prime contractor is 100% of the monies actually paid to the DBE under the contract for creditable work and materials in accordance with 49 CFR 26.55.

- Credit for the CUF of a subcontractor is 100% of the monies actually paid to the DBE under the subcontract for creditable work and materials.  This shall include DBE trucking firms certified as a subcontractor and not a broker.  Trucks leased from another DBE firm shall also qualify for credit and conforms to the provisions of 49 CFR 26.55(d).

- Credit for the CUF of a manufacturer is 100% of the monies paid to the DBE for the creditable materials manufactured.

- Credit for the CUF of a regular dealer of a creditable material, product, or supply is 60% of its value.  The value will be the actual cost paid to the DBE but will not exceed the bid price for the item.

- Credit for the CUF of a broker performed by a DBE certified in a supply category for providing a creditable material, product or supply is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5% of the cost of the procurement contract for the creditable item.

- Credit for the CUF of a broker performed by a DBE certified in the transportation/hauling category for arranging for the delivery of a creditable material, product or supply is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5% of the cost of the hauling subcontract.

- Credit for the CUF of a broker performed by a DBE certified in a bonding or insurance category for arranging for the provision of insurance or bonding is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5% of the premium cost.

- Credit for the CUF of a joint venture (JV) (either as the prime contractor or as a subcontractor) may not exceed the percent of the DBE's participation in the joint venture agreement, as certified for this project by the Department.  The DBE joint venture partner will be responsible for performing all of the work as delineated in the certified JV agreement.

120-5.01 BASIS OF PAYMENT.  Work under this item is subsidiary to other contract items and no payment will be made for meeting or exceeding the DBE Utilization Goal.

If the Contractor fails to utilize the DBEs listed on Form 25A325C as scheduled or fails to submit required documentation to verify proof of payment or documentation requested by the Department to help in the determination of CUF, the Department will consider this to be unsatisfactory work.  If the Contractor fails to utilize Good Faith Efforts to replace a DBE, regardless of fault (except for subsection 120-3.04 item 3), the Department will also consider this unsatisfactory work.  Unsatisfactory work may result in disqualification of the Contractor from future bidding under subsection 102-1.13 and withholding of progress payments consistent with subsection 109-1.06.

S33(11/17/00)

SECTION 201

CLEARING AND GRUBBING

Special Provisions

201-3.01 GENERAL.  Add the following:  The Engineer will designate the clearing limits with survey flagging and stakes.  Timber with a 5 inch diameter or larger at breast height shall be cut into 8-foot lengths, de-limbed, and stacked at locations approved by the Engineer for public removal.  These locations shall be adjacent to the nearest side street or other approved site that does not create a traffic hazard due to lack of adequate parking for the public.  The Department will notify the public of the availability of the timber once it has been stacked.  The Contractor shall schedule the clearing and grubbing work so as to provide two  weeks for the public to access those areas of the project where such timber is available prior to completion of the clearing and grubbing work in those areas.  The Contractor shall dispose of the timber left by the public after the 2 week time period.

The Contractor shall perform the work necessary to preserve and/or restore land monuments and property corners from damage.  A land monument or property corner that is disturbed shall be restored according to Section 642 at the Contractor's expense.  An undisturbed area 5 foot in diameter may be left around existing monuments and property corners.  A list of land monuments and property corners is shown on the Right of Way maps.

R107(0610/04)

Special Provisions

Add the following:

No cutting of trees, clearing and/or grubbing operations shall occur between April 20 and July 15, due to the Migratory Bird Treaty Act, unless prior approval is granted through the Engineer.

201-3.04 HAND CLEARING.  Delete this subsection in its entirety and substitute the following:

Station limits for hand clearing (selective hand clearing) shall be shown in the Plans with a width from edge of clearing and grubbing to the ROW or easement limit.  Cut and dispose of all trees and brush less than 4” in diameter, down timber, stumps, brush, bushes and debris from all areas designated, with minimal disturbance to grass and/or mass cover.  In addition cut all limbs that intrude into the ROW selective hand clearing zone that are less than 8 feet above the ground.

Do not use equipment on wheels or tracks in areas designated as hand clearing except where approved by the Engineer.

Cut stumps 2 inches maximum above the ground.

201-3.05 SELECTIVE TREE REMOVAL.  Delete this subsection in its entirety and substitute the following:

Remove and dispose of selected trees, as described in this Section.

Flag trees to be removed, prior to cutting, for approval by the Engineer.  The Engineer may designate additional trees to be removed.  Cut off designated trees flush with the ground, unless otherwise indicated on the Plans or directed by the Engineer.  Do not remove or destroy groundcover.  Limb-up deciduous trees only to a level of 6 feet above ground.  Cut limbs flush with the trunk.

Determination of the removal of trees located within areas of Root Barrier installation shall be as described on the Plans, regardless of species.

Determination of the removal of trees located within the areas of Selective Hand Clearing only shall be as described as follows, and shall apply primarily to alders and cottonwoods, unless directed otherwise by the Engineer.

Tree Removal (Diameter)		Distance from Edge of Trail

4-10 inches	0-7 feet

11-15 inch	0-8.5 feet

≥ 16 inch	0-edge of ROW

Remove all dead and disfurged limbs of trees, all leaning trees, and all unhealthy vegitation regardless of size.  Leave no more than 5 trees and no less than 3 trees, per 100 square feet.  In areas where Root Barrier installation and Selective Hand Clearing occur simultaneously, the determination of removal of trees shall be as described above for the Root Barrier installation, unless directed by the Engineer.

Special Provisions

201-4.01 METHOD OF MEASUREMENT.  Add the following:  The work required to cut, de-limb and stack timber for public removal and to preserve and restore land monuments and property corners will be subsidiary to Item 201(3A) Clearing and Grubbing.

R107(06/10/04)

Special Provisions

201-5.01 BASIS OF PAYMENT.  Add the following:  Selective Hand Clearing shall be paid on an Acres basis for all vegetation, limbs, brush, bushes, etc., that is removed and disposed of, regardless of size or material.  Selective Tree Removal shall be paid on an Contingent Sum basis for identifying, removal and disposal of all designated trees and associated limbs and debris, regardless of size and species.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 201(4D) | Selective Hand Clearing | Acre |
| 201(6) | Selective Tree Removal | Contingent Sum |

SECTION 202

REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Special Provision

202-1.01 DESCRIPTION.  Add the following:  This work also includes removal of carsonite posts as shown on the plans.

202-3.05 REMOVAL OF PAVEMENT, SIDEWALKS, AND CURBS.  Add the following:  Pavement removed may be used for embankment construction if it is not exposed at the completed embankment surface.  The maximum allowable dimension of the broken asphalt pieces is 6 inches.

Obtain a solid waste disposal permit from DEC or use a site previously approved by DEC for disposal of removed asphalt if not using it in the embankment.  A DEC permitting officer in Anchorage may be contacted at (907) 269-7590.

R84 (03/29/01)

202-5.01 BASIS OF PAYMENT.  Add the following:

Pavement saw cutting and acquiring a solid waste disposal permit, including permit costs, are subsidiary to 202 Pay Items.

Add the following pay item:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 202(14) | Removal of carsonite post | Each |

SECTION 203

EXCAVATION AND EMBANKMENT

Special Provisions

203-3.04 COMPACTION WITH MOISTURE AND DENSITY CONTROL.  Add the following:  Compact embankment within 20 feet of a bridge abutment full width to not less than 100% of the maximum density.  Material used within this zone shall be Borrow “A” graded to pass the 3-inch sieve.

203-5.01 BASIS OF PAYMENT.  Add the following:  Grading and placement of material used within 20 feet of bridge abutments will not be paid for directly but will be subsidiary to Item 203(6A) Borrow, Type A.

R113 (11/05/02)

Add the following Pay Item:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 203(6A) | Borrow, Type A | Ton |

- SECTION 204

- STRUCTURE EXCAVATION FOR CONDUITS
AND MINOR STRUCTURES

Standard Modification

204-3.01 CONSTRUCTION REQUIREMENTS.  In the first sentence of paragraph four, delete: “bedding and”

E37(01/27/07)

Special Provisions

204-3.01 CONSTRUCTION REQUIREMENTS.  Add the following after the third paragraph:  Excavation, bedding, backfill, and compaction for culverts outside the roadbed may be visually inspected and approved by the Engineer.

R204(2/6/08)

## SECTION 301

AGGREGATE BASE AND SURFACE COURSE

## Special Provisions

301-2.01 MATERIALS.  Add the following after the first sentence:  Recycled asphalt material (RAM) may be substituted for aggregate base course, inch for inch, if the following conditions are met:

1.	RAM shall be crushed or processed to 100% by weight passing the 1.5-inch sieve and 95-100% by weight passing the 1-inch sieve.

2.	The gradation of the extracted aggregate shall meet the following:

| Sieve | Percent Passing by Weight |
| --- | --- |
| 1 inch | 100 |
| 3/4 inch | 70-100 |
| 3/8 inch | 42-90 |
| No. 4 | 28-78 |
| No. 16 | 11-54 |
| No. 50 | 5-34 |
| No. 100 | 3-22 |
| No. 200 | 2-12 |

- The asphalt content shall be 2.5 to 5.0% by weight of the RAM.

R176(01/24/07)

301-3.01 PLACING.  Add the following:  Base course material used for the sidewalk and pathway foundation shall be placed with a “Layton box” or similar equipment capable of providing a specified depth with a uniform surface.

R26(09/01/89)

301-3.03 SHAPING AND COMPACTION.  Add the following:  If recycled asphalt material is substituted for aggregate base course, the following conditions shall be met:

1.	Density acceptance will be based determined by control strip method ATM 412.  Use a test strip with a vibratory compactor with a minimum dynamic force of 40,000 pounds.  The optimum density will be determined by the Engineer using a nuclear densometer gauge to monitor the test strip.  Adequate water shall be added to aid compaction.

2.	After the appropriate coverage with the vibratory compactor, a minimum of 6 passes with a pneumatic tire roller shall be completed.  Tires shall be inflated to 80 psi (± 5 psi), and the roller shall have a minimum operating weight per tire of 3,000 pounds.

301-5.01 BASIS OF PAYMENT.  Add the following:  If recycled asphalt material is substituted for aggregate base course, it will be paid for as Item 301(1) Aggregate Base Course at the unit price shown on the bid schedule for that item.

R176(01/24/07)

Replace Section 501 with the following:

SECTION 501

STRUCTURAL CONCRETE

Special Provisions

501-1.01 DESCRIPTION.  Furnish, place, finish, and cure Portland cement concrete for structures and incidental construction as shown on the Plans.  Use the following classes of concrete, as specified on the Plans.

classes of concrete

Class A:	General use concrete

Class A-A:	Concrete where improved strength and durability is required

Class S:	Seal concrete deposited under water

Class W:	Minor concrete construction

Class DS:	Concrete for drilled shaft foundations

501-1.02 DEFINITIONS.

ADMIXTURE.  A material other than water, aggregates, hydraulic cement, and fiber reinforcement, used as an ingredient of a cementitious mixture to modify its freshly mixed, setting, or hardened properties and that is added to the batch before or during its mixing.

AIR-ENTRAINING ADMIXTURE.  An admixture that causes the development of a system of microscopic air bubbles in concrete, mortar, or cement paste during mixing, usually to increase its workability and resistance to freezing and thawing.

SET-ACCELERATING ADMIXTURE.  An admixture that causes an increase in the rate of hydration of the hydraulic cement and thus shortens the time of setting, increases the rate of strength development, or both.

SET-RETARDING ADMIXTURE.  An admixture that causes a decrease in the rate of hydration of the hydraulic cement and lengthens the time of setting.

WATER-REDUCING ADMIXTURE.  An admixture that either increases slump of freshly mixed mortar or concrete without increasing water content or maintains slump with a reduced amount of water, the effect being due to factors other than air entrainment.

WATER-REDUCING ADMIXTURE (HIGH-RANGE).  A water-reducing admixture capable of producing large water reduction or great flowability without causing undue set retardation or entrainment of air in mortar or concrete.

AGITATION.  The process of providing motion in mixed concrete just sufficient to prevent segregation or loss of plasticity.

CAMBER.  A deflection that is intentionally built into a structural element or form to improve appearance or to nullify the deflection of the element under the effects of loads, shrinkage, and creep.

CHAMFER.  Either a beveled edge or corner formed in concrete work by means of a chamfer strip.

CONSOLIDATION.  The process of inducing a closer arrangement of the solid particles in freshly mixed concrete during placement by the reduction of voids, usually by vibration, centrifugation, rodding, tamping, or some combination of these actions.

CONSTRUCTION JOINT.  The surface where two successive placements of concrete meet, across which it is desirable to achieve bond and through which reinforcement may be continuous.

CURING.  Action taken to maintain moisture and temperature conditions in a freshly placed cementitious mixture to allow hydraulic cement hydration and (if applicable) Pozzolanic reactions to occur so that the potential properties of the mixture may develop.

CURING COMPOUND.  A liquid that can be applied as a coating to the surface of newly placed concrete to retard the loss of water and, in the case of pigmented compounds, reflects heat so as to provide an opportunity for the concrete to develop its properties in a favorable temperature and moisture environment.

DURABILITY.  The ability of concrete to resist weathering action, chemical attack, abrasion, and other conditions of service.

FALSEWORK.  The temporary structure erected to support work in the process of construction; composed of shoring or vertical posting, formwork for beams and slabs, and lateral bracing.

FORM.  A temporary structure or mold for the support of concrete while it is setting and gaining sufficient strength to be self-supporting.

HARDENED CONCRETE.  Concrete that has developed sufficient strength to serve some purpose or resist breaking under stipulated loading.

HAUNCH.  A deepened portion of a beam or deck in the vicinity of a support.

HONEYCOMB.  Voids left in concrete due to failure of the mortar to effectively fill the spaces among coarse-aggregate particles.

KEYWAY.  A recess or groove in one lift or placement of concrete that is filled with concrete of the next lift or grout, giving shear strength to the joint.

LAITANCE.  A layer of weak material derived from cementitious material and aggregate fines either: 1) carried by bleeding to the surface or to internal cavities of freshly placed concrete; or 2) separated from the concrete and deposited on the concrete surface or internal cavities during placement of concrete underwater.

RETEMPER.  To add water and remix concrete or mortar to restore workability to a condition in which the mixture is placeable or usable.

ROCK POCKET.  A porous, mortar-deficient portion of hardened concrete consisting primarily of coarse aggregate and open voids; caused by leakage of mortar from the form, separation (segregation) during placement, or insufficient consolidation.

SCREED.  To strike off concrete lying beyond the desired plane or shape.  A tool for striking off the concrete surface, sometimes referred to as a strike off.

SUBLOT.  A subordinate defined quantity representing a larger lot.

TREMIE.  A pipe or tube through which concrete is deposited having, at its upper end, a hopper for filling and a bail for moving the assemblage.

501-2.01 MATERIALS.  Use materials that conform to the following:

Portland Cement	Section 701

Blended Hydraulic Cement	Section 701

Grout	Subsection 701-2.03

DS Grout	Subsection 701-2.04

Fine Aggregate	Subsection 703-2.01

Coarse Aggregate	Subsection 703-2.02

DS Aggregate	Subsection 703-2.13

Joint Materials	Subsection 705-2.03

Curing Materials	Subsection 711-2.01

Chemical Admixtures	Subsection 711-2.02

Fly Ash	Subsection 711-2.03

Water	Subsection 712-2.01

Expanded Polyethylene	Closed-cell expanded polyethylene planks with a density of 2.3 lb/ft3 +/- 0.1 as determined by ASTM D3575, Suffix W, Method B. Maximum compressive deflection of 50% at 18 psi +/- 2 as determined by ASTM D3575, Suffix D.

Elastomeric Bearing Pads	Subsection 720-2.01

Polytetrafluoroethylene (PTFE) Bearings	Subsection 720-2.02

Concrete Anchor Inserts	Submit for Engineer’s approval.

Water Stops	Section 723

Utiliduct, Steel	ASTM A53

Utiliduct, HDPE	Subsection 706-2.08

Structural Steel	Section 716

Epoxy Cartridge System	Subsection 712-2.19

Epoxy Adhesive for Elastomeric Bearing Pads	Subsection 720-2.03

Epoxy Adhesive for Crack Sealing	AASHTO M 235, Type IV, Grade 3, Class A

Epoxy Adhesive for Crack Injection	AASHTO M 235, Type IV, Grade 1, Class A

CONSTRUCTION REQUIREMENTS

501-3.01 PROPORTIONING.  Be responsible for the design, construction, and performance of all concrete mixes used in structures.

1.	Contractor Mix Design.  Design normal weight concrete, according to ACI Publication 301, Subsection 4.2.3 and ACI Publication 214 using the absolute volume method per ACI Publication 211.1.  Determine the final proportions to produce concrete of the specified compressive strength and specified class of concrete.  Meet the proportion and property requirements in Table 501-1 and Table 501-2 for the specified class of concrete.  The specified compressive strength (f'c) is the 28-day compressive strength designated on the Plans.  If the compressive strength in not designated on the Plans, the specified compressive strength is the 28-day compressive strength in Table 501-3.  Verify your mix design by mixing and testing laboratory trial batches.

Calculate the required average compressive strength (f'cr) based on the specified compressive strength and field test data in accordance with ACI Publication 301, Subsection 4.2.3.

Submit a written mix design for each specified class of concrete and specified compressive strength to the Engineer for approval at least 45 days prior to scheduled production.  Submit the mix design on Form 25D-203.  Include the following:

a.	Mixture Proportions.  Submit concrete mixture proportions and characteristics including the amount of cement and amount of each admixture per cubic yard of concrete.

Include the amounts of fine and coarse aggregate (in a saturated surface-dry condition) per cubic yard of concrete, including the specific gravity and absorption values for the aggregates.

Include the amount of mix water.

b.	Mixture Proportion Data.  Submit test records indicating the proposed concrete proportions produce an average compressive strength equal to or greater than the required average compressive strength.  Include the specified compressive strength, required average compressive strength, and field test data used to establish the required average compressive strength.  Submittals without test records will be rejected.

c.	Concrete Materials.  Submit the name, type, source and brand of each product.  Include manufacturer’s certificate of compliance for each product.

(1)	Cementation Materials.  Include types, classes, producers' names, plant locations, and mill test reports.

(2)	Admixtures.  Include types, brand names, producers, and manufacture's catalog giving complete data on the material and procedure for use.

(3)	Aggregates.  Include types, pit or quarry locations, producers' names, gradations, specific gravities, and absorption values.

(4)	Water and Ice.  Include the source of supply.  Make ice from water meeting Subsection 501-2.01.

d.	Field Test Data Basis.  When field test data is used as a basis for selecting proportions for a concrete mixture, submit data on materials and mixture proportions with supporting test results confirming conformance with the specified requirements.  Provide documentation the field tests were performed in accordance with the test methods in Subsection 501-3.04.4.

e.	Mixture Proportion Adjustments.  Submit all adjustments to mixture proportions or changes in materials, along with supporting documentation, made during the course of the work.

f.	Trial Batch Test Verification Data.  Submit data on materials and mixture proportions with supporting test results confirming conformance with specified requirements.  Include data indicating the trial batch test results produced an average compressive strength equal to or greater than the required average compressive strength.  Perform tests in accordance with the test methods in Subsection 501-3.04.4.

The Engineer may require samples of aggregate, cement, and admixtures to verify the mix design.  If requested, furnish representative samples (330 pounds each) of both coarse and fine aggregates and 1 sack (94 pounds) each of Portland cement and fly ash to be used in the mixture.  Ensure that the Department receives these samples and the proposed substitution percent of fly ash at least 45 days before the mixture’s scheduled production for the project.

TABLE 501-1

PROPORTION REQUIREMENTS

| Class of Concrete | A | A-A | S | W | DS |
| --- | --- | --- | --- | --- | --- |
| Cement Content*, sacks/yd3, minimum | 6.0 | 7.0 | 7.0 | 5.0 | 7.0 |
| Water Cement Ratio, lbs/lbs, maximum | 0.50 | 0.44 | 0.53 | 0.58 | 0.50 |
| Coarse Aggregate Gradation, AASHTO M 43** | No. 57 or 67 | No. 57 or 67 | No. 57 or 67 | No. 57 or 67 | No. 7 |

*Cement content is based on 94-pound sacks and all cementitious materials.

**Alternative sizes of coarse aggregate, as shown in Table 1 of AASHTO M 43, may be used when approved by the Engineer.

TABLE 501-2

PROPERTY REQUIREMENTS OF FRESHLY MIXED CONCRETE

| Class of Concrete | A | A-A | S | W | DS |
| --- | --- | --- | --- | --- | --- |
| Slump Range*, inches | 2-4** | 1-3 | 4-8 | 1-5 | Dry Hole: 6-8 Wet Hole: 7-9 |
| Entrained Air Range, % | 4-7 | 5-8 | None | 3-7 | None |

*Slump may be increased 2 inches, when a water reducer is used.

**Slump may be adjusted to less than 2 inches for slip-formed concrete.

TABLE 501-3

SUPPLEMENTAL STRENGTH REQUIREMENTS

| Class of Concrete | A | A-A | S | W | DS |
| --- | --- | --- | --- | --- | --- |
| Compressive Strength, psi | 4,000 | 5,000 | 3,000 | 2,500 | 4,000 |

- Adjustment for New Materials.  Do not use new materials until the Engineer has approved such materials and has approved the mix design designating new proportions, based on tests of trial mixes as provided in Subsection 501-3.01.1.

- Using Fly Ash.  Use fly ash in concrete only with the Engineer’s approval.  Comply with the following:

a.	Use fly ash as a substitute for Portland cement up to a maximum of 20% by weight of Portland cement.

b.	Replace cement with fly ash according to these ratios:

| Class of Fly Ash | Replacement Ratio Fly Ash/Cement (lb/lb) |
| --- | --- |
| Class F | 1.25 |
| Class C | 1.00 - 1.25 |

c.	Do not use fly ash in high early strength concrete.

In the request to use fly ash, include a single substitution percentage and a single replacement ratio for each class of concrete in which fly ash is proposed.

As an alternative to using fly ash and cement as separate components, you may use a blended hydraulic cement.

- Using Admixtures.  Include test results demonstrating that the admixture conforms to these Specifications.

When using two or more admixtures in the same mix from different manufacturers, provide manufacturer’s certifications showing that they are compatible.

Do not use admixtures containing calcium chloride.

Add concrete admixtures to the concrete mix in accordance with the manufacturer's written procedure and as approved by the Engineer.

- Approval.  Obtain the Engineer’s approval of all mix designs, prior to use.

501-3.02 BATCHING.  Except as provided in this specification, use a central batching plant to handle, measure, and batch the materials.

- Portland Cement.  Use either sacked or bulk cement.  Do not use a fraction of a sack of cement in a batch of concrete unless the cement is weighed.

Weigh bulk cement on a certified weighing device.  Ensure that the bulk cement weighing hopper is properly sealed and vented to prevent dusting during operation.  Do not suspend the discharge chute from the weighing hopper.  Arrange the chute so that cement will not lodge in it or leak from it.  Interlock the bulk cement hopper’s discharge mechanism against:

a.	opening before the full batch is in the hopper and while the hopper is being filled,

b.	closing before the hopper contents are entirely discharged and the scales are back in balance, and

c.	opening if the batch in the hopper is either over or under weight by more than 1% of the amount specified.

- Water.  Measure water either by volume or by weight.  Ensure that the accuracy for measuring all water, including wash water, is within 1%.  Unless the water is to be weighed, include with the water-measuring equipment an auxiliary tank that will fill the measuring tank.  Use a measuring tank equipped with an outside tap and valve to help in checking the setting, unless another means can readily and accurately determine the amount of water in the tank.

- Aggregates.  When building up stockpiles, prevent segregation.  Do not stockpile aggregates from different sources and of different gradings together.

When transporting aggregates from stockpiles or other sources to the batching plant, maintain a uniform grading of the material.  Do not use aggregates that have become segregated or mixed with earth or foreign material.  If aggregates have been produced or handled by hydraulic methods, or if they have been washed, stockpile them or bin them for draining at least 12 hours before they are batched.  Rail shipment requiring more than 12 hours is adequate as binning if the car bodies drain freely.  If the aggregates contain high or non-uniform moisture content, storage or stockpile periods may require more than 12 hours.

Do not use binned aggregates that contain ice, are frozen, or have been heated directly by gas or oil flame or on sheet metal over an open fire.  When heating aggregates in bins, use steam-coil or water-coil heating.  Use other methods only when approved.  If using live steam to thaw frozen aggregate piles, completely drain excess moisture.

- Bins and Scales.  Include at the batching plant adequate bins for each required size of aggregate.  Use bins that are designed to discharge freely into the weighing hoppers.  Provide control so that as the material in the weighing hopper(s) approaches the desired quantity, the bin adds material slowly and shuts off with precision.  Provide a means of removing any overload.

Use hoppers constructed to eliminate accumulations of tare materials and to fully discharge without jarring the scales.  Include partitions between bins and hoppers to prevent spilling.  Maintain batching plant structures at the level of accuracy required by the design of the weighing mechanism.

Provide devices at the bins or at the concrete mixer for weighing or measuring air-entraining admixtures or other additives.

Weigh aggregates and cement with a scale that is accurate within a tolerance of 0.5% and is certified annually.

If using the beam type scales, provide a “tell-tale” dial to indicate to the operator that the required load in the weighing hopper is being approached.  The device must indicate at least the last 200 pounds of load.  Use poises designed to lock in any position and to prevent unauthorized removal.  Ensure that while charging the hopper, the operator can see the weigh beam and “tell-tale” device and can easily access the controls.

Provide enough clearance between the scale parts, hoppers, and bin structures to avoid displacing the parts or causing friction between the parts.  Use pivot mountings designed to maintain the spacing of knife edges under all circumstances.

Keep scales clean.  Furnish ten 50-pound weights for checking.

- Batching.  When hauling batches to the mixer, transport bulk cement either in waterproof compartments or place it between the fine and coarse aggregates.  Sacked cement may be transported on top of the aggregates.

Deliver batches to the mixer separate and intact.  Dump each batch into the mixer without loss.  When carrying more than one batch on the truck, avoid spilling material from one batch compartment into another while dumping.

When placing a small volume of concrete, or when determining that proportioning by batching equipment is otherwise impractical, you may, with written approval, proportion the materials by weighing them on platform scales or by loose volume.  Measure the quantities separately using equipment that will ensure uniform proportioning.  Wheelbarrows or bottomless boxes, with carefully predetermined volumes, or other appropriate methods may be used.  Do not proportion using shovels.  When determining the volumes of the aggregates, consider the bulking effect of any moisture contained in the materials.

Immediately before use, stir and agitate liquid air entraining agents until they are mixed.  Add the air entraining agent to the mix simultaneously with the water.  However, when mixing with water heated above 80ºF, add the air entraining agent after the aggregate and water are mixed.

Ensure that computerized batch plants do not include materials in a transit mixer from a previous load that was not completely used.

501-3.03 MIXING.  Mix concrete at the construction site, at a central mixing plant, in a truck mixer, or by a combination of central plant and truck mixing.  Conform to AASHTO M 157 and the following:

- Mixing at Concrete Construction Site.  Mix concrete in a batch mixer of the approved type and capacity.  Mix for at least 60 seconds after all component materials, including water, are in the drum.

Begin charging water into the mixer before the cement and aggregates enter the drum.  During mixing, operate the drum at speeds specified by the manufacturer and shown on the name plate on the machine.  Replace pickup blades in the drum of the mixer that, at any point, are worn down 3/4 inch or more.  Discharge the entire contents of the mixer from the drum before placing materials for a succeeding batch into the drum.  Use a mixer equipped with a mechanism that prevents aggregates from being added after mixing has begun.

Use a mixer equipped with a timing device to mix for the minimum time specified.  Do not allow the batch volume to exceed the manufacturer's rated capacity of the mixer.  Do not use a mixer with a rated capacity of less than 1 cubic yard without written permission.

Mix only the quantity of concrete required for immediate use.  Do not retemper concrete.

When stopping mixing for a considerable length of time, clean the mixer thoroughly.  When resuming mixing, include with the first batch of concrete material placed in the mixer enough sand, cement, and water to coat the inside surface of the drum without diminishing the required cement content of the mix.

- Central Plant Mixing.  When mixing concrete at a central plant, use a mixer and methods according to the requirements of Subsection 501-3.03.1.

Transport mixed concrete from the central mixing plant to the work site in agitator trucks of the approved design.  Regulate concrete delivery to place concrete at a continuous rate.  Keep the intervals between batch deliveries short enough to prevent the concrete in place from hardening partially.  Do not allow the intervals to exceed 30 minutes.

Use an agitator truck equipped with a closed, watertight, revolving drum that is suitably mounted and capable of transporting and discharging the concrete without segregation.  Ensure that the drum agitating speed is at least 2, but not more than 6 revolutions per minute.  Do not allow the volume of mixed concrete permitted in the drum to exceed the manufacturer's rating nor exceed 80% of the gross volume of the drum.

With approval, you may use open-top revolving-blade truck mixers instead of agitator trucks to transport central plant mixed concrete.

Furnish the mixer manufacturer’s data showing the gross volume of agitator bodies, expressed in cubic feet.

Place the concrete in the forms ready for vibration within 1.5 hours after introducing the cement to the aggregates.  If the Engineer approves, you may extend the above period 2 minutes for every degree of temperature the concrete is below 70ºF at the time it is ready for placement, to a maximum of 2 hours.

In hot weather, or under conditions that cause the concrete to set quickly, the Engineer may require discharge of the concrete in less than 1.5 hours.

Discharge concrete with a uniform consistency.  Do not exceed a difference of 1 inch between slumps of samples from the 1/4 and 3/4 points of the discharged load.

All concrete, regardless of agitation time, must conform to the requirements in Subsection 501-3.04.  Agitate the concrete mixture continuously until it is discharged from the truck.

- Truck Mixing.  Concrete may be mixed in a truck mixer.  Use truck mixing according to the following provisions:

Use a truck mixer with either a closed, watertight, revolving drum or an open-top, revolving-blade or paddle that combines all ingredients into a thoroughly mixed and uniform mass and discharges concrete with a uniform consistency.  Do not exceed a difference of 1 inch between slumps of samples from the 1/4 and 3/4 points of the discharged load.

Mixing speed for the revolving-drum type mixer must be at least 4 revolutions per minute but do not exceed a peripheral velocity of the drum of 225 feet per minute.  For the open-top type mixer, mixing speed must be between 4 and 16 revolutions per minute of the mixing blades or paddles.

Agitation speed for both the revolving-drum and the revolving-blade type mixers must be between 2 and 6 revolutions per minute of the drum or mixing blades or paddles.

Comply with the truck mixer manufacturer's rated capacity, but do not exceed the limitations in this specification.  Normal rated capacities, expressed as percentages of the gross volume of the drum or container, must not exceed 57.5% for truck mixing and 80% for agitating.

When truck mixing, a volume of concrete 10% greater than the normal rated capacity of 57.5% of the volume of the drum or container (that is, 63.25%) is acceptable provided the manufacturer guarantees that the increased volume will be adequately mixed and if you do additional mixing as stated in this specification.

The manufacturer must attach to each truck mixer a metal plate that states the capacity of volume of mixed concrete as a mixer and as an agitator.  When the manufacturer's ratings of capacity are less than the limits indicated above, use the manufacturer's ratings.

Designate the mixing amount in number of revolutions.  When mixing the concrete in a truck mixer loaded to its normal rated capacity, ensure that the drum or blades at mixing speed make at least 50 but no more than 100 revolutions after all materials, including mixing water, have been charged into the drum.  If the batch is greater than normal rated capacity, but not more than 10% greater, ensure that the drum or blades at mixing speed make at least 70 but no more than 100 revolutions.  All revolutions after 100 must be at agitating speed.

Provide a counter that will indicate the number of revolutions of the drum or blades.  Also, provide a locking device to prevent the mixer from discharging before the required number of drum revolutions are completed.

Place the concrete in the forms ready for vibration within 1.5 hours after introducing the cement to the aggregates.  With approval, you may extend the above period 2 minutes for every degree of temperature at which the concrete is delivered below 70ºF, to a maximum total time of 2 hours.

In hot weather, or under conditions that cause the concrete to set quickly, the Engineer may require discharge of the concrete in less than 1.5 hours.

All concrete regardless of agitation time must conform to the requirements in Subsection 501-3.04.  Agitate the concrete mixture continuously until it is discharged from the truck.

Regulate concrete delivery to place concrete at a continuous rate.  Keep the intervals between batch deliveries short enough to prevent the concrete in place from hardening partially.  Do not allow the interval to exceed 30 minutes.

When mixing the concrete in a truck mixer, begin mixing within 30 seconds after the cement has been intermingled with the aggregates.

Except when using truck mixers exclusively as agitators, provide the mixers with a water-measuring device to accurately measure the water for each batch.  Mount the device on the truck mixer or at the truck mixer loading point.  Make the tank readily accessible to determine the amount of water delivered.  The delivered amount of water must be within a tolerance of 1% of the indicated amount when the tank, if mounted on the truck mixer, is stationary and practically level.

When using wash water (flush water) as a portion of the mixing water for the succeeding batch, accurately measure it and use it when determining the amount of additional mixing water required.

Use wash or flush water conforming to Subsection 501-2.01.  The Engineer will specify the amount of wash water, when permissible, and may specify a “dry” drum.

With approval, you may use a properly calibrated combination materials transporter/mobile concrete mixing plant in good condition.  Approval will be based on its ability to consistently produce specification concrete conforming with the manufacturer's published criteria.  Furnish manufacturer's handbooks for the mixing plant proposed.

- Hand Mixing.  Use hand mixing only when approved by the Engineer in writing.  When permitted, perform hand mixing only on watertight platforms.  Measure the proper amount of coarse aggregate in a measuring box and spread it on the platform.  Spread the fine aggregate on the coarse aggregate layer, with the two layers no more than 12 inches in total depth.  Spread the dry cement on this mixture and then turn the whole mass at least two times dry.  Add enough clean water, evenly distribute it, and turn the entire mass at least six times or until all coarse aggregate particles are covered thoroughly with mortar and the mixture is uniform in color and appearance.  Hand-mixed batches must not exceed 0.5 cubic yard in volume.  Do not hand-mix concrete that will be placed under water.

501-3.04 ACCEPTANCE OF CONCRETE.

1.	General.  The Engineer may accept Class W concrete and minor quantities, amounts less than 2 cubic yards, of other classes of concrete based on Certificates of Compliance provided by the supplier as described in Subsection 501-3.04.2.

2.	Certification of Compliance.  Provide a Certificate of Compliance in accordance with Section 106 for each truckload of concrete.  Certify that the concrete is in compliance with the approved mix design and include the following information:

a.	Manufacturer plant (batching facility)

b.	Department contract number

c.	Date

d.	Time batched

e.	Truck No.

f.	Initial revolution counter reading

g.	Quantity (quantity batched this load)

h.	Type of concrete by class and producer design mix number

i.	Cement producer, type, and manufacturer’s mill test report number

j.	Fly ash (if used) brand and Type

k.	Approved aggregate gradation designation

l.	Mix design weight per cubic yard and actual batched weights for:

(1)	Cement

(2)	Fly ash (if used)

(3)	Coarse concrete aggregate and moisture content (each size)

(4)	Fine concrete aggregate and moisture content

(5)	Water (including free moisture in aggregates)

(6)	Admixtures brand and total quantity batched

(7)	Air-entraining admixture

(8)	Water reducing admixture

(9)	Other admixture

A responsible representative of the concrete producer, affirming the accuracy of the information provided, must sign the Certificate of Compliance.

3.	Acceptance Testing.  The Engineer will determine aggregate gradation for acceptance based on random samples taken at the plant.

The Department will perform tests to determine concrete properties in accordance with Subsection 501-3.04.4.  The Department will test concrete delivered to the project and as ensured by the Contractor for placement.  The Engineer will determine concrete strength, slump, temperature, and entrained air (if applicable) for acceptance based on samples taken at the discharge point of the placement system, except that Class S concrete and Class DS concrete will be sampled at the truck discharge.

Provide adequate and representative fresh concrete as directed at locations designated by the Engineer for sampling and testing of concrete properties and making of strength specimens.  Once the concrete has been sampled for acceptance testing, do not make adjustments to the mix.

Concrete will be sampled and tested for acceptance at the rate of at least one per half day’s placement, but not to exceed 50 cubic yards, whichever comes first.  A half day's placement is considered to be 6 hours or less.

4.	Test Methods.  Acceptance sampling and testing will be performed by the Department according to the following test methods:

WAQTC TM 2	Sampling Freshly Mixed Concrete

WAQTC FOP for AASHTO T 309	Temperature of Freshly Mixed Portland Cement Concrete

AASHTO T 22	Compressive Strength of Cylindrical Concrete Specimens

WAQTC FOP for AASHTO T 27/T 11	Sieve Analysis of Fine and Coarse Aggregates, and Materials Finer Than No. 200 Sieve in Mineral Aggregate by Washing

WAQTC FOP for AASHTO T 23	Method of Making and Curing Concrete Test Specimens in the Field

WAQTC FOP for AASHTO T 119	Slump of Hydraulic Cement Concrete

WAQTC FOP for AASHTO T 121	Density (Unit Weight), Yield, and Air Content (Gravimetric) of Concrete

WAQTC FOP for AASHTO T 152	Air Content of Freshly Mixed Concrete by the Pressure Method

AASHTO T 231	Capping Cylindrical Concrete Specimens

5.	Conformance to Mix Design.  Produce concrete that conforms to the specified compressive strength, class of concrete, and approved mix design.  The Engineer will evaluate concrete based on conformance to the requirements for proportions, temperature, slump, air content, and strength for sublots as tested and determined by the Department.

A sublot is defined as all material placed in the forms between consecutive samples taken for acceptance.  A sublot is represented by the individual temperature, slump, air content, or strength tests sampled and tested in accordance with Subsection 501-3.04.3.  An individual strength test is the average 28-day strength of all cylinders fabricated for acceptance purposes from the same sample of concrete and tested in accordance with AASHTO T 22.

a.	Proportion Requirements.  Meet the proportion requirements for the class of concrete listed in Table 501-1.  Ensure the actual batched weights are within the following ranges:

(1)	Coarse Aggregate weights	±2%

(2)	Fine Aggregate weights	±2%

(3)	Fine Aggregate Fineness Modulus	±0.2

(4)	Cementitious Material weight 	±1%

If the total cementitious material weight is made up of different components, keep the component weights within the following tolerances:

(a)	Portland cement	±1%

(b)	Fly ash	±5%

b.	Freshly Mixed Concrete Requirements.  Meet the property requirements for the class of concrete listed in Table 501-2.  Ensure the concrete temperature in the forms is between 50ºF and 90ºF.

c.	Hardened Concrete Requirements.  Meet the strength requirements for the specified compressive strength.  Each sublot will meet the specified compressive strength requirement when both of the following conditions are met:

(1)	The individual strength test representing the sublot under consideration does not fall below the specified compressive strength by more than 12.5% or 500 psi, whichever is least.

(2)	The lowest averaged result of three consecutive individual strength tests for the same class of concrete that includes the individual strength test representing the sublot under consideration meets or exceeds the specified compressive strength.

6.	Rejecting Concrete.  The Engineer may reject concrete that fails to conform to the mix design.  The Engineer may reject any batch or load of concrete, prior to sampling, that does not meet the proportion requirements in Subsection 501-3.04.5.a for the required class of concrete.  Do not incorporate rejected material into the structure.  The Engineer may reject concrete that does not meet the freshly mixed concrete requirements in Subsection 501-3.04.5.b.

The Engineer may reject any structure or portion of a structure containing concrete that fails to conform to the mix design, was cured in a manner not meeting the required curing conditions, or is cracked, spalled, or otherwise defective.

Concrete with compressive strength (fc) that fails to meet the hardened concrete requirements in Subsection 501-3.04.5.c will be evaluated for structural adequacy and durability by the Engineer.  If the material is found to be inadequate or if the material has a compressive strength (fc) less than 3000 psi (except for Class W), remove and replace the material at no cost to the Department.  No contract time extension will be given for removing and replacing inadequate material.

501-3.05 COLD WEATHER CONCRETE.  Submit a written cold weather-concreting plan when air temperatures are expected to fall below 35ºF during the cure period.  Obtain the Engineer’s approval of the plan and put it into effect when the descending air temperature in the shade, away from artificial heat, falls below 40ºF or, in the opinion of the Engineer, will likely do so within 24 hours.  Have in place the materials and equipment required to heat mixing water and aggregate and to protect freshly placed concrete from freezing.  Submit detailed procedures for the production, transportation, placement, protection, curing, and temperature monitoring of concrete during cold weather for each element.  Include procedures to be implemented upon abrupt changes in weather conditions or equipment failures.  Do not place concrete until these procedures have been approved.

1.	Preparation.  Remove all snow, ice, and frost from the surfaces, including reinforcement, against which the concrete is to be placed.  Before beginning concrete placement, thaw the subgrade to at least 2 feet below the concrete to be placed.  Do not place concrete around or adjacent to embedments, concrete, steel, or any other material unless such items are preheated and maintained at a temperature above the minimum temperature of concrete.

2.	Temperature of Concrete.  When the air temperature falls below 40ºF, ensure that concrete placed in forms meets the following minimum temperatures:

a.	Least dimension less than 12 inches: 55ºF.

b.	Least dimension between 12 inches and less than 36 inches: 50ºF.

c.	Least dimension between 36 inches and less than 72 inches: 45ºF.

d.	Least dimension between greater than 72 inches: 40ºF.

Ensure the concrete does not exceed the minimum temperature by more than 20ºF.  Obtain these temperatures by heating the mixing water and/or aggregate.  Heat mixing water to no more than 160ºF.  Heat aggregate as provided in Subsection 501-3.02.

When the temperature of the water or aggregate exceeds 100ºF, mix them together so that the temperature of the mix does not exceed 80ºF when the cement is added.

3.	Admixtures.  Use only admixtures shown in the approved mix design.

4.	Cold Weather Placement.  When placing concrete in cold weather, follow these precautions in addition to the above requirements:

- Heat forms and reinforcing steel before placing concrete to remove frost, ice, and snow from surfaces that will contact fresh concrete.

- When fresh concrete will contact hardened concrete, warm the surface of the hardened concrete to at least 35ºF and thoroughly wet.  Remove free water before placing fresh concrete.

5.	Protection of Concrete.  Maintain the concrete within the specified temperature range, measured at the concrete surface, during the entire curing period.  Measure temperature with a surface temperature measuring device having an accuracy of ±2ºF.  Measure the temperature at intervals not less than once every 12 hours.

Maintain the concrete temperature until the concrete achieves the specified concrete strength or when the concrete no longer is in danger of freezing or when air temperatures of 40ºF or higher are anticipated during the 2 weeks after concrete placement.

Maintain the concrete temperature using methods such as insulated forms, enclosures, and indirect heat.  Maintain curing moisture.  Protect the structure from overheating and fire.  When using combustion heaters, vent flue gases from combustion heating units to the outside of the enclosure.  Prevent overheating areas of concrete or drying during the curing period by directing heaters and ducts away from the concrete surface.  During the curing period, do not expose the concrete surface to air having a temperature more than 20ºF above the minimum concrete temperatures, unless higher values are required by an accepted curing method.

At the end of the curing period, remove the protection so the concrete drops in temperature gradually and not more than 20ºF in 24 hours.

When placing concrete within cofferdams and curing it by flooding with water, the above conditions do not apply if the water that contacts the concrete is not allowed to freeze.

Protect the concrete during cold weather operations.  Remove and replace concrete injured by frost action or overheating at no cost to the Department.

501-3.06 HOT WEATHER CONCRETE.  Provide concrete within the specified temperature limits as follows:

- Shade or cool aggregate piles.  Do not sprinkle fine aggregate piles with water.  If sprinkling coarse aggregates, monitor the moisture content and adjust the mixing water for the free water in the aggregate.

- Refrigerate mixing water or replace all or part of the mixing water with crushed ice, provided the ice is completely melted by concrete placing time.

If the concrete temperature would probably exceed 90ºF using normal methods, take temperature-reduction measures as required by the Engineer before placing the concrete.

If the air temperature exceeds 90ºF when placing concrete, use water spray or other methods to cool concrete-contact surfaces to less than 90ºF.  These surfaces include forms, reinforcing steel, steel beam flanges, and others that touch the mix.  Reduce the time between mixing and placing and do not permit mixer trucks to remain in the sun while waiting to discharge concrete.  Shade chutes, conveyors, and pump lines.  Finish the concrete without delay.

Provide water-fogging equipment at the site if needed after finishing to prevent plastic cracks.

When placing deck concrete that is 80ºF or hotter, install equipment at the site to show relative humidity and wind velocity.  If the evaporation rate at the concrete site is 0.2 lb/ft2/h or more (determined from Figure 501-1), surround the fresh concrete with an enclosure.  This enclosure will protect the concrete from wind blowing across its surface until the curing compound is applied.

Figure 501-1

Surface Evaporation from Concrete

Surface Evaporation

From Concrete

- Enter chart at appropriate air temperature and relative humidity above.

- Move right to line corresponding to the concrete temperature.

- Move down to line approximating the wind velocity.

- Read evaporation rate on scale to left of this point.

501-3.07 PREPARATION FOR CONCRETE PLACEMENT.  Do not begin concrete placement without the Engineer's authorization.  Allow time for inspection of forms, reinforcing steel, prestressing steel, ducts, utilities, joints, and other items embedded or attached to the concrete.

Remove all debris, concrete splatter, oil, paint, and other foreign substances from the surfaces, including reinforcement, against which the concrete is to be placed.

During precipitation, or when the Engineer determines that precipitation is likely before the finishing is complete, employ all necessary materials and equipment needed to protect the concrete until completion of the finishing operations and final set has taken place as defined by ASTM C403.

Ensure all materials and equipments are in place in accordance with the cold weather concreting plan as necessary.  Heat the forms as necessary.  Remove all water, snow, ice, and frost before placing concrete.

Remove dried mortar on forms and reinforcing steel before placing concrete.

For piles, remove all water and foreign material from shells and pipes before placing concrete according to the requirements in Section 505.

Prepare foundations according to the requirements in Section 205.

501-3.08 PLACING CONCRETE.  Place and consolidate the concrete mix in approved forms to make a dense homogeneous concrete.  Ensure concrete is always plastic and workable.  Place concrete continuously throughout each section of the structure or between indicated joints.  Place concrete continuously with no interruption longer than 30 minutes between adjoining layers unless the Engineer approves a longer time.  Place and consolidate each layer before the preceding layer takes initial set as defined by ASTM C403.

If an emergency forces you to stop placing concrete before a section or layer is completed or if initial set occurs before the succeeding section or layer is placed, place construction joints as the Engineer may direct.  Treat the resulting joint as a construction joint.

Place concrete as near as possible to final position.  Do not allow segregation of aggregate or displace reinforcing steel.  Do not deposit a large quantity at any point and run or work it along the forms.  Regulate concrete placement so that the pressures caused by wet concrete do not exceed those used in the design of the forms.  Limit layer thickness to no more than 2.5 feet deep, or the capacity of the vibrators to consolidate and merge the concrete with the previous layer.  Consolidate each layer adequately leaving a compact, dense, and impervious concrete with smooth faces on exposed surfaces with no visible line of separation between adjoining layers.

Use troughs, pipes, or short chutes as aids in placing concrete.  Where steep slopes are required, use troughs and chutes equipped with baffle boards or short enough to reverse the direction of movement.  Keep chutes, troughs, and pipe clean and free of hardened concrete by flushing thoroughly with water after each run.  Keep discharge water used for flushing clear of the concrete in place.  When discharge must be intermittent, provide a hopper or other device for regulating the discharge.

Do not allow segregation of coarse or fine portions of the mixture while placing concrete.  Use a tremie or other approved device that is adequately braced when dropping concrete more than 5 feet.  Use clean, watertight equipment and material, but do not use those made of aluminum.  Equip chutes on steep slopes with baffles or reverses.  Do not allow concrete to slide down the sides of the forms.

Prevent mortar from spattering on forms and reinforcing steel and from drying ahead of the final concrete covering.

After initial set, prevent movement of forms, projecting ends of reinforcing bars, and other embedded items.

Place concrete in the superstructure only after substructure forms are removed to allow inspection of supporting concrete.

Place concrete in precast members in a sequence to obtain a well-consolidated concrete and to prevent settlement or shrinkage cracks.

The Engineer will reject structures with excessive cold joints or honeycomb areas as determined by the Engineer.  Upon written notice that a structure has been rejected, remove and rebuild the structure, in part or wholly as specified at no cost to the Department and no extension in Contract time.

1.	Pumping Concrete.  You may place concrete by pumping if you demonstrate that the equipment will handle the class of concrete, with the slump and air content specified, and that no equipment vibrations will damage freshly placed concrete.  Use a pump that produces a continuous stream of concrete without air pockets.  When pumping is complete, the concrete remaining in the pipeline, if used, must eject without contaminating the concrete or separating the ingredients.  Discard concrete contaminated by priming or cleaning the pump.  Take concrete samples for testing at the discharge end of the pipe.  Provide the necessary samples of concrete as directed.

2.	Conveying Concrete.  You may place concrete using a conveyor belt if you demonstrate that the equipment will handle the class of concrete, with the slump and air content specified, without segregation of the aggregate and that no equipment vibrations will damage freshly placed concrete or reinforcing steel.  Limit the length of conveyor belts to prevent aggregate segregation or 300 feet; whichever is least.  Cover the belt to protect the concrete from heat, evaporation, precipitation, or when the Engineer determines that precipitation is likely.

3.	Vertical Members and Piles.  Place concrete in columns, walls, substructures, and other similar vertical members in one continuous operation.

Concrete may be discharged directly into piles and permitted to free-fall into place.  Vibrate at least the top 20 feet of concrete in piles.

4.	Underwater Placement for Cofferdams.  Only concrete used to seal the floor of cofferdams may be placed under water.  Deposit concrete under water, using a tremie or pump.  Carefully place the concrete in a compact mass and do not disturb it.  Maintain still water at the point of deposit.  Vent cofferdams during placement and curing to equalize hydrostatic pressure and prevent flow of water through the concrete during this period.

Use watertight tremie tubes at least 10 inches in diameter and with a hopper at the top.  When dumping a batch into the hopper, induce the flow of concrete by slightly raising the discharge end while keeping it in the deposited concrete.  Use tremie tubes or pump discharge tubes equipped with a device that will prevent water from entering the tube while it is being charged with concrete.  Support these tubes to permit the discharge end to move freely over the entire top surface of the work and to permit rapid lowering when necessary to retard or stop the flow of concrete.  Fill the tubes using a method that will prevent washing the concrete.  Completely submerge the discharge end in concrete at all times and ensure that the tube contains enough concrete to prevent water entry.  Keep the flow continuous until the work is completed.  Produce a concrete seal that is monolithic and homogeneous.

Use concrete pump lines with an inside diameter of at least 5 inches.  Do not use aluminum pump lines.  Arrange pump lines to minimize the number of bends in the line.  Construct the discharge end of the pump line to prevent water intrusion and permit the free flow of concrete during placement operations.  Ensure that the pump line has sufficient length and weight to rest on the cofferdam floor before starting concrete placement.

Do not begin concrete placement until the tremie or pump line discharge orifice is at the floor of the cofferdam.  Prevent the tremie or pump line from moving during the initial concrete placement.  Maintain a continuous flow of concrete and a positive pressure differential of the concrete in the tremie or pump line at all times to prevent water or slurry intrusion into the concrete.  Pump concrete continuously without producing air pockets.

Place the discharge orifice of the tremie or pump line below the concrete surface.  Monitor the concrete level to ensure that the pump line discharge orifice remains below the concrete level throughout the concrete placement.

Ensure that the free fall of concrete into the hopper is less than 5 feet.

The thickness of the seal will depend upon the hydrostatic head, bond and spacing of piles, size of cofferdam, and other related factors.  However, the seal must be at least 2 feet thick or as shown on the plans.

After enough time has elapsed to ensure proper curing and strength, dewater the cofferdam and clean the top of the concrete of scum, laitance, and sediment.  Before depositing fresh concrete, remove local high spots as necessary to provide proper clearance for reinforcing steel.

5.	Drilled Shaft Foundations – Wet Hole Placement.  Place concrete immediately after shaft reinforcing steel is placed and the Engineer has accepted shaft.  Place shaft concrete in one continuous operation.

Use the concrete pump or tremie method.

a.	Tremie Method.  Use a watertight tremie with an inside diameter of at least 10 inches.  Construct the tremie line to readily discharge concrete.  Construct the discharge end of the tremie to prevent water intrusion and permit the free flow of concrete during concrete placement.  Use valves, bottom plates or plugs so that concrete discharge can begin within one tremie diameter of the base.  Ensure that the tremie has sufficient length and weight to rest on the shaft bottom before starting concrete placement.

Place the discharge orifice of the tremie at least 8 feet below the concrete surface.  Monitor the concrete level during placement to ensure that the tremie discharge orifice remains below the concrete level throughout concrete placement.  Maintain a continuous flow of concrete and a positive pressure differential of the concrete in the tremie at all times to prevent water or slurry intrusion into the shaft concrete.

Support the tremie so that it can be raised to increase the discharge of concrete and lowered to reduce the discharge of concrete.  Do not rapidly raise or lower the tremie to increase the discharge of the concrete.

Ensure that the free fall of concrete into the tremie intake is less than 5 feet.

b.	Concrete Pump Method.  Use concrete pump lines with an inside diameter of at least 5 inches that is watertight.  Do not use aluminum pump lines.  Arrange pump lines to minimize the number of bends in the line.  Construct the discharge end of the pump line to prevent water intrusion and permit the free flow of concrete during placement operations.  Ensure that the pump line has sufficient length and weight to rest on the shaft bottom before starting concrete placement.

Do not begin concrete placement until pump line discharge orifice is at the base of the shaft.  Prevent the pump line from moving during the initial concrete placement.  Maintain a continuous flow of concrete and a positive pressure differential of the concrete in the pump line at all times to prevent water or slurry intrusion into the shaft concrete.  Pump concrete continuously without producing air pockets.

Place the discharge orifice of the concrete pump line at least 8 feet below the concrete surface.  Monitor the concrete level to ensure that the pump line discharge orifice remains below the concrete level throughout concrete placement.  Temporarily reduce the pump line pressure when repositioning the pump line from one level to the next higher level.

Ensure that the free fall of concrete into the hopper is less than 5 feet.

Provide operational standby equipment adequate to complete concrete placement in the time specified.  Locate the standby concrete placement equipment at the job site during shaft concrete placement operations.

If at any time the tremie or pump line discharge orifice is above the fluid concrete surface the shaft will be considered defective.  Immediately terminate concrete placement operations and notify the Engineer.  With the approval of the Engineer, implement the action plan to rectify the defect as defined in the Drilled Shaft Installation Plan defined in Section 515.  All costs associated with replacement or repair of defective shafts are the responsibility of the Contractor and shall be implemented at no cost to the Department and no extension in Contract time.

Placement of shaft concrete without mechanical vibration is permitted except that the top 5 feet must be mechanically vibrated.

Provide the Shaft Pour Time Limits required to place the concrete in the shaft so that the concrete maintains the minimum specified slump throughout placement operations.  The elapsed time for placing drilled shaft concrete includes the concrete mixing time, transit time, and concrete placement time.  Place drilled shaft concrete within the approved Shaft Pour Time Limits.

Discontinue shaft concrete placement after good quality concrete is evident at the top of the shaft.  Good quality concrete shall be concrete of the same consistency, appearance, and quality as that concrete being placed in the tremie and/or pump intake and as accepted by the Engineer.  Remove concrete laitance during or immediately after concrete placement operations have ended.

Do not expel water and concrete from the top of the shaft into streams or other waterways.

Provide a process control plan to the Engineer for approval.  The process control plan must include testing of concrete air content and slump values as specified in the concrete mix design.  Testing must be performed by a Western Alliance of Quality Transportation Construction (WAQTC) certified technician.  Test every load of concrete before discharging the concrete into the drilled shaft.  Record process control data on each delivery ticket.

If an unexpected delay in concrete placement occurs, reduce the rate of shaft concrete placement.  In the event that unexpected delays occur, the Engineer may restrict placement of concrete older than 90 minutes from the time of batching into the shaft.

6.	Drilled Shaft Foundations - Dry Hole Placement.  Place concrete immediately after shaft reinforcing steel is placed and the Engineer has accepted shaft.  Place shaft concrete in one continuous operation.

Placement of shaft concrete without mechanical vibration is permitted except that the top 5 feet must be mechanically vibrated.

Provide a process control plan to the Engineer for approval.  The process control plan must include testing of concrete air content and slump values as specified in the concrete mix design.  Testing must be performed by a Western Alliance of Quality Transportation Construction (WAQTC) certified technician.  Test every load of concrete before discharging the concrete into the drilled shaft.  Record process control data on each delivery ticket.

Remove all water from the excavation prior to placing concrete.  Use the Wet Hole concrete placement procedures if the Engineer determines that dewatering the shaft excavation is not practical.

Use the concrete pump, tremie, or free fall method.

a.	Tremie Method.  Ensure that the tremie for depositing concrete in a dry drilled shaft excavation consists of a tube of solid construction, a tube constructed of sections that can be added and removed, or a tube of other approved design.  Use a tremie with an inside diameter of at least 10 inches.

Pass concrete through a hopper at the top of the tube or through side openings as the tremie is retrieved during concrete placement.

Ensure that the free fall of concrete into the tremie intake is less than 5 feet.

b.	Concrete Pump Method.  Use concrete pump lines with an inside diameter of at  .  Do not use aluminum pump lines.

Do not permit free falling concrete from the discharge end of the pump line to strike the sides of the shaft, reinforcing steel cage, or any other obstruction.  Reduce the height of free fall and/or the rate of concrete flow if the concrete strikes the sides of the shaft, reinforcing steel cage, or any other obstruction.

Ensure that the free fall of concrete into the hopper is less than 5 feet.

Provide operational standby equipment adequate to complete concrete placement.  The standby concrete placement equipment must be located at the job site during shaft concrete placement operations.

c.	Free Fall Method.  Provide a centering drop chute at least three feet long.

Do not permit free falling concrete to strike the sides of the shaft, reinforcing steel cage, or any other obstruction.  Reduce the height of free fall and/or the rate of concrete flow if the concrete strikes the sides of the shaft, reinforcing steel cage, or any other obstruction.

7.	Concrete Slab and Girder Spans.  Cast slabs and girders with spans of 30 feet or less in one continuous operation.

If casting girders spanning more than 30 feet in 2 operations, cast the girder stems to the bottom of the slab haunches, during the first operation.  Provide approved shear keys meeting Subsection 501-3.14.  Wait at least 24 hours between the girder casting and the slab casting.  Immediately before the slab casting, check falsework for shrinkage and settlement and tighten wedges to ensure minimum deflection of the stems from the added weight of the slab.

8.	Concrete Decks.  Submit a concrete placement plan to the Engineer, no less than 30 days prior to placing concrete.  Provide a mix design and sufficient equipment that ensures complete placement and finishing of all slab or deck concrete between construction joints before initial set begins in the plastic concrete.  Do not place concrete until after the Engineer has approved the plan.  Include in the concrete placement plan:

a.	concrete placement sequence,

b.	schedule of concrete placement and curing,

c.	estimated concrete volume of each section,

d.	placement rate and duration,

e.	description of finishing equipment,

f.	placement procedure,

g.	names of the screed operator, concrete foreman, and concrete finishers,

h.	curing materials, equipment, and procedure.

Hold a pre-concreting conference at least 5 working days before placing concrete in decks.  Discuss construction procedures, personnel, and equipment to be used.  Include your superintendent and all foremen in charge of placing steel reinforcing bars, placing the concrete, and finishing it.

If the project includes more than one slab, and if your key personnel change between concreting operations, hold an additional conference to include replacement personnel before placing the next slab.

Before placing concrete decks, obtain the Engineer’s approval of the concrete production and placement rates, screed operator, concrete foreman, and concrete finishers.  Ensure that adequate finishing tools and equipment are at the site.

Before placing any concrete, operate the finishing machine over the entire length of the bridge deck to check screed deflection, reinforcing steel clearance, and concrete thickness.  Begin placing concrete only after the Engineer approves this test.

Schedule the concrete placement to finish it during daylight.  To finish after dark, obtain the Engineer’s approval and provide adequate lighting.

The placement operation must cover the full width of the roadway and the full width between construction joints.  Begin placing the concrete at the low end and proceed uphill.

Do not place concrete for the deck surface more than 10 feet ahead of the strike off.  Limit the rate of placing concrete to what can be finished before the beginning of the initial set.

During precipitation, or when the Engineer determines that precipitation is likely before the finishing is completed, do not place concrete in decks or other sections requiring finishing on the top surface, unless the materials and equipment needed to protect the concrete and complete the finishing operations are readily available.

a.	Deck Slabs on Non-continuous Spans.  Place the concrete deck slab in the sequence shown on the Plans.  If the placement sequence for deck slabs on non-continuous spans is not shown on the Plans, place the concrete in not more than 3 sections with the first section centered on the span.

b.	Deck Slabs on Continuous Spans.  Place the concrete deck slab in the sequence shown on the Plans.  Subject to approval, you may deviate from the deck placing sequence shown on the Plans by casting the bridge deck continuously from one end to the other provided that you:

(1)	Do not use Type III cement for a continuous deck placement operation.

(2)	Submit for approval a written proposal of the methods and means, equipment, workers, and time schedule for conducting a continuous deck placement and finishing operation.

(3)	Stockpile the materials necessary to complete the placement and have the equipment, incidentals, and workers on the site before beginning a continuous deck placement operation.

(4)	Ensure that the continuous deck placement and finishing operation proceeds at a minimum rate of 30 feet per hour, measured longitudinally along the axis of the bridge.

Begin the continuous deck placement operation at the low end of the bridge and proceed uphill.

If the Engineer approved the proposal for a continuous deck placement operation, the Department will observe and evaluate performance to the first planned construction joint in the sequence.  At this point, the Engineer may authorize you to proceed with the continuous deck placement operation or suspend the placement and install a construction joint.  The Engineer's decision will be based on whether you can produce, deliver, and finish the deck concrete according to the Specifications and at a continuous rate that will permit the structure to accommodate final dead load deflections while the concrete is plastic.

If the Engineer suspends the continuous deck placement operations after the first sequential pour placement, submit significant modifications for improving the continuous deck placement operations, beginning again at the other end of the bridge.  Demonstrate this revised method as specified above for the initial placement.

If the Engineer suspends the continuous deck placement operation after the second attempt, abandon the method and follow the deck placing sequence shown on the Plans.

501-3.09 VIBRATION OF CONCRETE.  Eliminate rock pockets and air bubbles.  Vibrate along faces to obtain smooth surfaces.

Consolidate all concrete, except underwater or other exempted placements, by mechanical vibration at the point of deposit.  Use internal vibration, except for thin sections, with forms designed for external vibration.  Use proper sized vibrators with a minimum frequency of 5,000 cycles per minute and capable of visibly affecting a properly designed mixture with a 1-inch slump for a distance of at least 18 inches from the vibrator.

Use enough vibrators to consolidate the fresh concrete within 15 minutes of placement in the forms, with one or more spare vibrators available in case of breakdown.  Insert vibrators vertically to a depth that will effectively vibrate the full depth of each layer, penetrating into the previous layer.  Withdraw vibrators slowly to avoid segregation or grout pockets.  Vibrate in a uniform pattern spaced less than 1.5 times the radius of visible effectiveness.

Avoid vibration of initially set layers and reinforcing steel below the succeeding placement.  Do not hold vibrators against forms or reinforcing steel or use them to flow the concrete or spread it into place.  Manipulate vibrators to produce concrete that is free of voids and that has the proper texture on exposed faces and the maximum consolidation.  Do not hold vibrators so long that the concrete segregates, pools of grout form, or laitance forms on the surface.

Use rubber or nonmetallic vibrator heads that will not damage epoxy coatings when immersion-type vibrators are used to consolidate concrete around epoxy-coated reinforcing steel.

501-3.10 FINISHING CONCRETE SURFACES.  Provide all concrete surfaces, except concrete decks and approach slabs, with an Ordinary Finish unless otherwise noted in the Contract.  In addition to an Ordinary Finish, provide all vertical concrete surfaces that are exposed in the completed work a Rubbed Finish as specified in item 2.  Exposed surfaces extend to at least 1 foot below the finished ground line.

- Ordinary Finish.  An ordinary finish is the finish left on a surface after removing the forms, filling the holes left by the form ties, and repairing the defects.  Ensure that the surface is true and even and free from rock pockets and depressions or projections.  Give a rubbed finish to surfaces that cannot be repaired satisfactorily.

Use a straightedge to strike off the concrete in caps and tops of walls and then float the concrete to a true grade.  Do not use mortar topping for concrete surfaces.

Immediately after removing the forms, remove the metal devices holding the forms in place and passing through the body of the concrete, or cut them back at least 1 inch beneath the surface of the concrete.  Remove fins of mortar and irregularities caused by form joints.

If small holes, depressions, and voids show after the forms have been removed, fill them with cement mortar mixed in the same proportions as that used in the body of the work.  When patching larger holes and honeycombs, chip away coarse or broken material in accordance with Subsection 501-3.25 to obtain a dense, uniform surface of concrete exposing solid coarse aggregate.  If chipping exposes more than half of the perimeter of a reinforcing bar, completely expose the bar with enough clearance around the bar to allow the patching material to encase it.  Cut away feathered edges to form faces perpendicular to the surface.  Saturate surfaces with water, then apply a thin layer of neat cement mortar.

Fill the cavity with stiff mortar composed of 1 part of Portland cement to 2 parts of sand.  Thoroughly tamp the mixture into place.  Pre-shrink the mortar by mixing the mortar approximately 20 minutes before use.  Vary the length of time according to the brand of cement used, temperature, humidity, and other conditions.  Float the surface of the mortar with a wooden float before initial set to make the surface neat in appearance.  Cure the patch according to Subsection 501-3.11.1.

When patching large or deep areas, add coarse aggregate to the patching material.  When using mortar for patching surfaces that will be exposed to view in the completed structure, color match the mortar to the concrete.  Conduct test patches for color matching on concrete that will be hidden from view.  Obtain approval of the color.

Repair cracks according to the requirements in Subsection 501-3.26.

- Rubbed Finish.  When forms can be removed from concrete that has set but not hardened appreciably, point and wet the surface and then rub with a wooden float until all irregularities and form marks are removed and the surface is covered with a lather composed of cement and water.  If permitted, use a thin grout composed of 1 part cement and 1 part fine sand in the rubbing.  Allow this lather to set for at least 5 days.  Then, smooth the surface by lightly rubbing with a fine carborundum stone.

If the concrete has hardened before being rubbed, use a medium coarse carborundum stone to finish the surface at least 4 days after placing the concrete.  Spread a thin grout composed of 1 part cement and 1 part fine sand over a small area of the surface.  Immediately rub it with the stone until all form marks and irregularities are removed and the surface is covered with a lather.  Allow this lather to set for at least 5 days.  Then, smooth the surface by rubbing it lightly with a fine carborundum stone.

The Engineer may waive the rubbing requirement if the concrete surfaces are satisfactory.

3.	Concrete Decks and Approach Slabs.  Obtain on a smooth riding surface of uniform texture that is true to the required grade and cross section.

Use a self-propelled mechanical finishing machine:

- capable of forward and reverse movement under positive control,

- with a rotating cylindrical single or double drum screed no more than 5 feet long,

- with necessary adjustments to produce the required cross-section, line, and grade,

- that allows all screeds to be raised and lowered under positive control, and

- with upper vertical limit of screed travel to permit the screed to clear the finished concrete surface.

When placing concrete abutting a previously placed slab, the side of the finishing machine adjacent to the existing slab must be equipped to travel on the existing slab.

Where jobsite conditions prohibit the use of conventional configuration finishing machines described above, the Engineer may approve hand-operated motorized power screeds.  For small areas (less than 10 feet wide and 200 feet long), the Engineer may approve hand-operated strike-boards.  Use sturdy boards that can strike off the full placement width without intermediate supports.  Obtain the Engineer’s approval of screeds, strike-boards, screed rails, and other specially made equipment before use.  All finishing requirements in these Specifications apply to hand-operated finishing equipment.

Use screed rails that rest on adjustable supports that can be removed with the least disturbance to the screeded concrete.  Place the supports on structural members or on forms rigid enough to resist deflection.  Use supports that are removable to at least 2 inches below the finished surface.  If possible, place screed rails outside the finishing area.  If not possible, place them above the finished surface.

Use screed rails (with their supports) that are strong and stiff enough for the finishing machine to operate effectively on them.  Place and secure screed rails for the full length of the deck before placing concrete.  Set the screed rail to the proper grade and elevations to ensure the required profile is provided.

After placing and consolidating the concrete, carefully strike off the concrete surface using the finishing machine.

Provide at least 2 hand finishers with tools to correct imperfections left on the deck.  Hand finish from rigidly constructed transverse finishing bridges that completely span the deck area being finished.  Provide enough finishing bridges to operate without undue delay.

Give a float finish to surfaces that will receive a waterproof membrane.  Texture all other surfaces with a heavy broom finish.  Do not use water during finishing.

Immediately after completing the finishing operations, water cure the concrete deck as specified in Subsection 501-3.11.

Do not place finishing machines or other loads on the screed rail supports or on features that support fresh concrete after the concrete has been placed and finished and has initially set, and before the concrete attains at least 80% of the ultimate strength (f 'c) shown on the Plans.

Wait to release falsework or wedges supporting pours on either side of a joint until each side has cured as these Specifications require.

The Engineer will test the finished surface of the concrete using a straightedge 10 feet long.  Correct variations from the testing edge, between any two contacts, of more than 0.01 foot.  Use abrasives to remove high areas in the hardened surface.  Grind until the surface of the concrete has a uniform texture with neat and approximately rectangular patterns.

- Curb, Sidewalk, and Concrete Barrier Surfaces.  Finish exposed faces of curbs, sidewalks, and concrete barriers to true surfaces.  Work the concrete until the coarse aggregate is forced down into the body of the concrete and a layer of mortar is flushed on the top.  Then, float the surface with a wooden float and texture with a broom finish.

- Sandblasted Finish.  Sandblast the cured concrete surface with hard, sharp sand to produce an even fine-grained surface in which the mortar has been cut away, leaving the aggregate exposed.

- Textured Concrete Surface.  When the plans call for the use of aesthetic surface treatment, conform to the requirements of Section 514.

501-3.11 CURING CONCRETE.

1.	Water Curing.  Keep concrete surfaces wet for at least 7 days after placing concrete with Type I or II cement, or for at least 3 days after placing concrete with Type III cement.

Completely cover the tops of concrete decks with wet burlap or wet cotton mats immediately after the final finishing.  Cover the burlap or cotton mats with an impermeable plastic sheeting (visqueen) and keep it completely wet during the curing period.  If covering the deck is delayed, keep the surface damp with a fine mist of water using an atomizing nozzle.  Do not spray.

Until the end of the curing period, keep other surfaces not protected by forms thoroughly wet, either by sprinkling or by using wet burlap, cotton mats, or other fabric.  If wood forms can remain in place during the curing period, do not relax the form fasteners and keep the forms moist at all times to prevent opening at joints.

2.	Membrane Curing.  Use liquid membrane curing compound that meets the requirements of Subsection 501-2.01, except for concrete decks, for intermediate layers, or at construction joints.  Finish concrete surfaces to the Engineer’s satisfaction before applying the membrane curing compound.  Keep the concrete surfaces saturated with water until the membrane is applied.  Follow the manufacturer's instructions when applying the membrane.  Thoroughly mix the membrane curing compound immediately before applying it.

Apply the membrane in 1 coat using 2 passes of the spray nozzle.  Use a total coverage of between 135 and 150 ft2/gal.  If the membrane becomes marred, worn, or damaged, make repairs immediately by wetting the damaged area thoroughly and applying a new coat of the membrane curing compound.

3.	Steam or Radiant Heat.  Cure precast concrete members that are manufactured in established plants with steam or radiant heat.  Use saturated, low-pressure steam in a suitable enclosure to contain the live steam or the heat.  Use temperature-recording devices to verify that temperatures are uniform and within specification throughout the enclosure.

Apply the steam or heat between 2 and 4 hours after the placement of concrete to allow the initial set of the concrete to take place.  Apply steam or heat cure between 4 and 6 hours after placement if retarders are used.  Adjust cure time with approval based on AASHTO T 197.  Maintain the temperature within the curing chamber 50ºF or more and keep the concrete wet during the waiting period.

Prevent steam from blowing directly onto the concrete or forms.  Increase the ambient temperature within the curing enclosure at an average rate not exceeding 40ºF per hour until the curing temperature is reached.  Limit curing temperature to 160ºF maximum within the enclosure.  Cure the concrete until it reaches the desired strength.  Decrease enclosure temperature not more than 40ºF per hour until reaching a temperature 20ºF above the temperature of the air to which the concrete will be exposed.

Apply radiant heat by pipes circulating steam, hot oil, or hot water, or by electric heating elements.  Use a suitable enclosure to contain the heat.  Minimize moisture loss by covering all concrete surfaces with a plastic sheeting or by using an approved liquid membrane curing compound on all exposed concrete surfaces.  Clear membrane curing compound residue from the surfaces of concrete members to which other materials will be bonded in the finished structure to prevent reducing bond below design limits.

Transfer the stressing force to the concrete immediately after the steam curing or the heat curing has been discontinued, only when the ambient temperature is maintained above 60ºF.

4.	Underwater Curing.  Before dewatering, allow concrete to cure for at least 7 days after placing concrete with Type I or II cement, or for at least 3 days after placing concrete with Type III cement.  Increase the curing time if the water temperature is below 45ºF.  Do not consider as curing time the time when the temperature of the water was continuously below 38ºF.

501-3.12 PROTECTION OF CONCRETE.  Protect concrete at all times.  Do not apply loads to the structural member until the member has attained sufficient strength, with necessary supplemental support, to safely carry the applied loads without damage.  Unless otherwise noted, sufficient strength is attained after the concrete has cured at least 7 days and has a compressive strength of at least 80% of the specified compressive strength.

Release forms and falsework in accordance with Section 512.

During the curing period, protect concrete from damaging mechanical disturbances including load stresses, shock, and harmful vibration.  Protect concrete surfaces from damage by construction traffic, equipment, materials, rain or running water, and other adverse weather conditions.

The Engineer may reject any structure or portion of a structure containing concrete that is cracked, spalled, or otherwise damaged.

Do not backfill against concrete structures until the concrete has attained a compressive strength of at least 80% of the specified compressive strength.

Obtain written authorization from the Engineer before driving construction related vehicles or equipment, or storing materials on the bridge.  Keep the bridge closed to traffic until all concrete has been accepted.  Obtain written authorization from the Engineer before opening the bridge to traffic.

The Engineer will determine the compressive strength from informational test cylinders cured on the site under temperature and moisture conditions similar to the concrete in the structure.

501-3.13 TOLERANCES.  Produce concrete elements conforming to the following tolerances:

1.	Length: ±1/4 inch per 25 feet of member length, but not to exceed 3/4 inch.

2.	Cross-sectional Dimensions:

a.	For dimensions 6 inches or less: ±1/8 inch.

b.	For dimensions over 6 inches but not over 18 inches: ±3/16 inch.

c.	For dimensions over 18 inches: ±1/4 inch.

3.	Trueness of Cross-section:  Limit the slope with respect to the specified surface, plane, or line to a rate less than ±1/16 inch per foot, but not to exceed ±1/4 inch measured perpendicular from a line coincident with the specified surface.

4.	Surface Irregularities (deviation from a 10 ft straight edge): 1/8 inch.

5.	Camber:  Do not vary from approved camber more than ±1/8 inch per 10 feet of length, but not to exceed 1 inch.  In addition, the camber of any girder may not differ from that of any other girder by more than 1 inch.

6.	Lateral Sweep (deviation from a straight line parallel to centerline of member):

a.	For member length 40 feet or less: ±1/4 inch.

b.	For member length over 40 feet but not over 60 feet: ±3/8 inch.

c.	For member length over 60 feet: ±1/2 inch.

7.	Deck Width (measured out-to-out): ±1/4 inch per 25 feet of width, but not to exceed ±3/4 inch, except not more than ±1/2 inch where more precision is dictated by substructure details such as anchor bolts, parallel wing walls, etc.

8.	Position and Alignment:

a.	Bottom of footing elevation: ±0.05 feet.

b.	Profile grade: ±0.08 feet.

c.	Lateral position: ±1 inch.

d.	Skew: ±0.05 degrees.

9.	Bearing Seats:

a.	Elevation: ±1/8 inch

b.	Variation between bearing seats:  Do not vary from a straight line coincident with the centerline of bearings and parallel to the surface of the bottom flanges more than 1/8 inch.

c.	Grade and cross slope: ±1/16 inch per foot.

10.	Openings:

a.	Size of opening: ±1/4 inch.

b.	Location of centerline of opening: ±1/2 inch.

11.	Embedded Items:

a.	Bolts: ±1/4 inch.

b.	Utility hangers: ±1/2 inch.

c.	Weld Plates: ±1/2 inch measured along the length of the member, ±1/8 inch measured perpendicular to the length of the member.

d.	Inserts: ±1 inch.

e.	Rail post anchor plates: ±1/4 inch.

f.	Expansion joints: ±1/8 inch.

g.	Electrical conduits: ±1/2 inch.

h.	Deck drains: ±1/2 inch.

i.	Other embedded items: ±1/2 inch.

501-3.14 CONSTRUCTION JOINTS.  Locate construction joints where shown on the Plans or as permitted.  Make construction joints horizontal, vertical, or perpendicular to the longitudinal reinforcement.  Obtain approval, before adding, deleting, or relocating construction joints shown in the Plans.  Make requests for such changes in writing, accompanied by a drawing that depicts the joint.

At horizontal construction joints, place gage strips 1-1/2 inches thick inside the forms along exposed faces to give the joints straight lines.  Do not use wire mesh forming material.  If possible, place the joints where they will not be exposed to view in the finished structure.  Where vertical construction joints are necessary, extend reinforcing bars across the joint to make the structure monolithic.

If the Plans require a roughened surface on the joint, leave grooves at right angles to the length of the member.  Make grooves that are 1/2 inch to 1 inch wide, 1/4 inch to 1/2 inch deep, and spaced equally at twice the width of the groove.

If the Plans do not require a roughened surface, include shear keys at the joint.  Make shears keys of formed depressions with slight beveling to ensure ready removal.  Do not use raised shear keys.  Make shear keys for the tops of beams, at the tops and bottoms of boxed girder webs, in diaphragms, and in crossbeams that are 1-1/2 inches deep, 8 inches long, 4 inches less than the width of the joint, and spaced at 16 inches.  In other locations, make shear keys at least 1-1/2 inches deep and 1/3 of the joint width.

Clean all construction joints of surface laitance, curing compound and other foreign materials before fresh concrete is placed against the surface of the joint.  Provide a sandblasted finish or wire broom on all surfaces of the joint to the extent that clean aggregate is exposed.  Flush all construction joints with water and allow the joint to dry to a surface-dry condition immediately prior to placing concrete.

When modifying existing structures, clean and flush construction joints between new and existing concrete as specified above.  When the plans show a roughened surface, roughen the existing concrete surface to a full amplitude of approximately 1/4 inch by abrasive blasting or mechanical equipment.

Do not discharge pulverized concrete and waste sand from abrasive blasting directly into streams or other waterways.  Properly dispose of the pulverized concrete and waste sand from abrasive blasting.

501-3.15 EXPANSION JOINTS.  Locate and form expansion joints as shown on the Plans.

1.	Open Joints.  Place open joints where shown on the Plans.  Remove forms without chipping or breaking the corners of the concrete.  Do not extend reinforcement across an open joint, unless shown on the Plans.

2.	Filled Joints.  Construct expansion joints with expanded polyethylene as thick as the width of the joint.

Cut the joint filler to the same shape and size as the adjoining surfaces.  Fix it against the concrete surfaces in place to keep it from displacing when concrete is deposited against it.

Immediately after removing the forms, inspect the expansion joints.  Remove concrete or mortar that has sealed across the joint.

Use the type of joint sealer shown on the Plans meeting the requirements of Subsection 501-2.01.  Remove foreign matter, paint, curing compound, oils, greases, dirt, free water, and laitance from the faces of joints to be sealed.

3.	Elastomeric Compression Seals.  Shape the joint as shown on the Plans.  Install the seal according to the manufacturer’s instructions.

Install the seal in one piece for the full width of the roadway joint.  Seal joints at curbs with additional adhesive.

Install the seal immediately after the curing period of the concrete deck slab.

4.	Strip Seals.  Use expansion joint strip seals in one piece for the length of the joint.  Shape the steel shapes to conform to the section of the concrete deck.  Ensure that the surface in the finished plane is true and free of warping.  Use positive methods when placing the joints to keep them in correct position during concrete placement.

Install the expansion joints according to the manufacturer's recommendations.  Adjust the joint opening for the dimensions indicated on the Plans.

5.	Steel Joints.  At the shop, shape the plates, angles, or other structural shapes to conform to the section of the concrete deck.  Fabricate and paint structural shapes to meet the Specifications covering those items.  Ensure that the surface in the finished plane is true and free of warping.  Use positive methods when placing the joints to keep them in correct position during concrete placement.  Meet the joint opening dimension shown on the Plans.

6.	Modular Seals.  Shape the joint as shown on the Plans.  Use expansion joint modular seals in one piece for the length of the joint.  Ensure that the surface in the finished plane is true and free of warping.  Use positive methods when placing the joints to keep them in correct position during concrete placement.

Install the expansion joints according to the manufacturer's recommendations.  Adjust the joint opening for the dimensions indicated on the Plans.

501-3.16 FORMS.

1.	General.  Use forms and falsework designed and constructed according to Section 512.

2.	Concrete Decks.  Measure girder camber at the tenth points along the span after the girders are erected but before installing falsework, formwork, deck reinforcing or other loading.  Submit the girder camber measurements to the Engineer.  Adjust the falsework elevations to accommodate the measured girder camber.  Submit the required haunch dimensions to the Engineer for review and approval.  Do not install falsework, formwork, reinforcing steel or other loads without the Engineer’s approval.  Install devices, such as telltales, to enable the Engineer to readily measure settlement and deflection.

Provide concrete deck forms meeting the following requirements:

a.	Maintain the deck thickness despite irregularities in and between the girders.

b.	Limit deck thickness variation from +1/4 inch to -1/8 inch.

c.	Accommodate camber variation along the length and between the girders

Limit haunch dimensions to meet the following requirements:

a.	1/2 inch maximum embedment of the top flange into the deck measured at the edge of the flange.

b.	2-1/2 inch minimum clearance between the top of deck and shear stud.

c.	2 inch minimum penetration of shear stud into the deck.

d.	4 inch maximum haunch measured at the centerline of the girder.

Do not use permanent forms including metal, wood, or precast concrete, unless otherwise noted in the Contract documents, for concrete deck construction.

Threaded inserts may be cast into the exterior edge of deck to accommodate concrete curb forms.  Place grout, colored and textured to match deck concrete, in recess after the curb forms are removed.

501-3.17 PRECAST CONCRETE MEMBERS.  In additional to the requirements listed herein, conform to Section 502 when fabricating prestressed concrete members.

1.	Working Drawings.  Provide working drawings for precast members.  Include in the drawings, details not provided in the Plans for the construction and erection of the members.  Cast members only after working drawings are approved.  Use precast methods for cast-in-place elements when approved.  Submit working drawings, showing construction joint details and any other information required.  Construct and place precast concrete members according to the details specified.

2.	Manufacture.  Monitor the quality of the concrete when casting in an established yard.  Perform tests for materials and strength with appropriate AASHTO or ASTM methods.

Prestress concrete according to Section 502.  Fabricate and install reinforcing steel according to Section 503.

Unless otherwise noted, use Class A-A concrete for precast members meeting the specified compressive strength noted on the Plans.

Cast members on rigid beds or pallets.  Cast bearing surfaces so that they will join properly with other elements of the structure.

Remove side forms only after it will not distort the concrete surface or interrupt the curing.

3.	Curing.  Cure precast members by the steam or radiant heat method, or by the water method.

4.	Storage and Handling.  Handle and move precast concrete members without causing damage to the member.  Lift members from casting beds in accordance with Subsection 501-3.12.  Store and transport precast members in an upright position with the directions of the support reactions on the member during storage or transport as if in the final position.  Locate support points during transport and storage within 30 inches of their final position, or as shown on approved shop drawings.  Ship only after the member has cured at least 7 days and has a compressive strength of at least 100% of the specified compressive strength.  Replace all precast units that are damaged.

5.	Erection.  Maintain member stability to the satisfaction of the Engineer at all times.  Provide all necessary hardware to ensure that member stability is maintained at all times.  Limit tension stresses in members due to transportation, lifting, and erection operations to less than 500 psi.  Do not crack or otherwise damage precast members.  The Engineer may reject cracked or damaged precast concrete members.  Secure the member to the structure, and provide temporary braces necessary to resist wind or other loads.

Erect and place precast deck form panels so that the mating surfaces do not allow excessive grout leakage.  Dry-pack or seal with an acceptable caulking compound any joints where excessive grout leakage may occur prior to placing the cast-in-place concrete.  Provide end panels on skewed structures to fit the skew.

Place precast prestressed structural members in the structure according to the Plans and Special Provisions for the type of structure to be built.

Install cast-in-place end and intermediate diaphragms within two weeks after setting precast members on their bearings.  If cast-in-place end and intermediate diaphragms cannot be placed within the prescribed time limit, ensure the members are adequately braced to resist movement and rotation caused by any means.

When the Plans require filling keyways between adjacent concrete members with grout, place grout meeting Subsection 701-2.03 and according to the manufacturer's written instructions.  Do not place loads on the grouted members until the grout has reached 5,000 psi.

Tightly pack and rod the grout in the keys and spaces.  Keep the grout surface smooth and neat.  Ensure that the grout surface meets the girder edges throughout their lengths and matches the surface elevation of the girders with a tolerance of +1/8 inch.  Patching and grinding may be required.

Check the cumulative width of the girders as erection proceeds and grind contact surfaces as necessary to obtain the deck width shown.

Set interchangeable girders so that the initial difference between the top surfaces of the edges of adjacent girders is no more than 1/2 inch at mid-span and no more than 1/4 inch at the bearings.

Set and crib deck bulb tee girders within a span or otherwise brace them securely before making design shear connections or diaphragm connections.  Before allowing connections to be made, the Engineer may require additional adjustments to the girder positioning or the use of forcing devices as described below to meet erection tolerances.

Provide and use forcing devices, as shown in the Plans, recommended by the girder manufacturer and approved.  Use devices that will maintain the top edges of adjacent girders at the same elevation while casting or welding diaphragms, welding shear connector plates, and while placing and curing grout in the shear keys.

Make field welds according to Section 504 and AWS D1.4.

501-3.18 PLACING ANCHOR BOLTS.  Secure anchor bolt assemblies where shown on the Plans.  Check the positions and make adjustments before the concrete or grout has been placed.

When installing anchor bolts in wet concrete, secure anchor bolts before placing concrete in the forms.  Do not disturb anchor bolts after concrete has been placed.

When installing anchor bolts in pipe sleeves, pre-cast holes, or drilled holes, completely fill the cavity with grout meeting Subsection 701-2.03.  Fill the cavity when placing the bearing assemblies.  Do not allow water to freeze in the cavity.

501-3.19 BEARINGS.  Set the bearing plates, sole plates and elastomeric bearing pads as shown on the Plans in the exact position with full and even bearing on properly finished bearing seats.

Finish bridge seat bearing areas or grind them to elevation and parallel to the roadway grade and parallel to the roadway cross slope or crown, unless otherwise shown on the Plans.

When shown on the plans, place grout under masonry plates that meets Subsection 701-2.03.  Mix and place grout according to the manufacturer’s written recommendations.  Clean concrete areas that will contact the grout.  Remove loose or foreign matter that would prevent the bond between the mortar and the concrete surfaces.

Tightly pack the grout under the masonry plates to provide full bearing.  After placing, cover exposed surfaces of grout pads with a heavy thickness of burlap saturated with water for 3 days.  Do not place a load on the grout until it has attained a compressive strength of 5,000 psi.

Locate sole plates to correspond with the temperature during erection.  Anchor bearing securely.  Adjust the nuts on anchor bolts at the expansion ends of spans to permit the span to move freely.  Burr threads sufficiently to prevent removal of nuts.

Apply epoxy adhesive to the bottom surface of the elastomeric bearing pads before placing them.  Do not move the pad until the epoxy has cured and full adhesion is achieved.  Do not apply epoxy adhesive to elastomeric bearings used in PTFE bearing assemblies.

501-3.20 UTILIDUCTS, PIPES, CONDUITS, DUCTS, AND UTILITY HOLES.  When utiliducts, pipes, conduits, and ducts will be encased in concrete, install them in the forms before placing the concrete.  Keep the pipe held rigidly so that it will not displace during concrete placement.

Install utiliducts and utility holes parallel to the roadway centerline.  Prevent bond between the utiliducts and concrete by tightly wrapping the utiliducts with at least 2 layers of No. 15 roofing felt meeting ASTM D226.

501-3.21 DRAINAGE HOLES AND WEEP HOLES.  Construct drainage and weep holes as shown on the Plans.

Form weep holes through concrete.  If using wooden forms, remove them after the concrete is cured.

If subsurface drainage is not shown on the Plans, provide weep holes in retaining walls and abutment walls where the height of the wall is over 5 feet measured from the top of the footing.  Form weep holes 4 inches in diameter and space them no more than 15 feet apart.  Place the outlet end of weep holes just above the finish ground line at the face of the wall, or as directed.

Mount hardware cloth in the forms prior to placing concrete in such a manner that the wire is firmly bonded to the concrete or fasten to the exterior of the concrete surface by masonry nails or other methods approved by the Engineer.

501-3.22 GROUTING PERMANENT METAL CASING.  For drilled shaft foundation casings installed in oversized holes or where gaps exist between the shaft excavation and the casing, grout the zone between the casing and the soil after the concrete has been placed.  Grout the casing the full depth of the shaft.  Use at least six grout placement tubes placed uniformly around the perimeter the full length of the casing.  Grout the casing in one continuous operation.  Withdraw the grout tubes vertically during grout placement operations.  Provide at least two water relief/release pipes on opposite sides of the casing.  Withdraw the water relief/release pipes vertically during the grout placement operations.

Submit the grout placement procedure to the Engineer for approval.

Use DS Grout meeting the requirements in Subsection 701-2.04.

501-3.23 DRILLING AND BONDING DOWELS.  Drilling of concrete consists of drilling various diameter holes through reinforced or prestressed concrete members, as described in this Contract.  Drill holes by methods that do not shatter or damage the concrete adjacent to the holes.  Do not damage or otherwise contact reinforcing steel or prestressing steel strand when drilling through reinforced concrete members, unless approved by the Engineer.

Holes in which reinforcing steel or prestressing steel stand is encountered during drilling before the specified depth is attained will be rejected.  Drill a new hole, which does not strike reinforcing steel or prestressing steel strand, adjacent to the rejected hole to the specified depth.  With the approval of the Engineer, all holes including rejected holes may be cored through reinforcing steel to the correct depth.  Fill all rejected holes with epoxy grout.

Drill holes to the diameters and depths as recommended by the manufacturer to develop the ultimate strength of the steel dowel but to a depth not less than that shown on the Plans.

Clean and dry the holes in accordance with the manufacturer’s written recommendations before placing the bonding material and the steel dowels.  After bonding, support all dowels as necessary to prevent movement during curing.  Completely fill drilled holes with epoxy using a method that will not trap air or create voids.  Do not disturb the dowels until the epoxy has cured the minimum time specified by the manufacturer.  Dowels that are improperly bonded, as determined by the Engineer, will be rejected.  Drill new holes and place new securely bonded dowels at no expense to the State.

501-3.24 WATER STOPS.  Furnish water stops in continuous, full-length segments without field splices.  Do not field splice water stops.  Manufacture’s shop splices shall be fully vulcanized.

Use spacers, supporting wires, or other approved devices to secure the water stop in the position shown on the plans.

Remove and replace water stops that are out of position or shape at no expense to the Department.

501-3.25 CHIPPING AND REMOVING CONCRETE.  Where portions of a bridge are to be chipped or removed, perform the chipping and removal operations without damage to any portion of the structure that is to remain in place.  Repair all damage to existing concrete to the satisfaction of the Engineer at no additional cost to the Department and no adjustment in Contract time.

Before removing concrete, make a saw cut approximately one inch deep to a true line along the limits of removal on all faces of the element that will be visible in the completed work.

Use water meeting the requirements of Subsection 501-2.01 for removal operations.  If water is to be taken from a lake, stream, or other natural water body containing fish, and the pump intake hose is less than 2 inches in diameter, immerse the intake in a 5-gallon bucket perforated with 3/32-inch holes.  For larger pumps, use a box with screen openings no more than 0.04 inch.

Do not permit unfiltered water from removal operations to fall on public traffic, to flow across shoulders or lanes occupied by public traffic, or to flow into gutters, other drainage facilities, or streams.  Contain and filter wastewater from removal operations before being discharging it into any stream, such that the wastewater meets the standards given in the General Permit.

501-3.26 CRACK REPAIR.  The Engineer will evaluate concrete that has cracked during construction for any reason for structural adequacy and durability.  If the crack is less than 0.011 inch wide, the crack will be considered acceptable with no additional evaluation or repairs required.  Cracks greater than 0.060 inch wide will not be evaluated and will not be considered acceptable.

If the crack is determined to be acceptable by the Engineer, repair the entire crack by injecting epoxy and sealing the concrete surface.  If the crack is found to be unacceptable, then remove and replace the material.  Perform crack repairs and replace unacceptable concrete and at no cost to the Department.  No contract time extension will be given for repairing, removing, and replacing unacceptable material.

Repair cracked concrete in accordance with the following requirements:

1.	Experience.  Provide injection equipment operators that have a minimum of two years experience in the methods and materials of the selected system.  Ensure injection equipment operators know the correct material selection and use and know the equipment operation, maintenance, and troubleshooting for application of epoxy injection system.

2.	Equipment.  Use positive displacement plural component pumps, specifically designed to meter, mix, and inject low viscosity materials.

3.	Clean the crack.  Remove contaminates such as water, oil, grease, dirt, fine particles of concrete, and all other materials that reduce the effectiveness of repairs from the crack.  Remove contamination by vacuuming, flushing with water, or cleaning solutions specifically intended for removing contaminates.  Flush the solution using compressed air and a neutralizing agent.  Allow adequate time for drying.  If cleaning solutions are used, perform a trail test to determine the practical limitations and effectiveness of the contaminate removal procedure.

4.	Install entry and venting ports.  Install entry/venting ports spaced approximately the thickness of the concrete member apart along one face of the crack.  Acceptable types entry/venting ports are fittings inserted into drilled holes, bonded flush fittings, and interruptions in seal using special gasket devices that cover the unsealed portion of the crack and allow injection of the adhesive directly into the crack without leaking.

5.	Seal the surfaces.  Seal the surface of the crack to prevent the epoxy from escaping.  Apply an epoxy sealing material to the surface of the crack and allow it to harden.  If extremely high injection pressures are needed, cut out the crack in a V-shape to a depth of 1/2 inch and width of 3/4 inch, fill with epoxy, and struck off flush with the surface.

Prepare the surface in accordance with the manufacturers written instructions.

6.	Mix the epoxy.  Mix the epoxy to the volume ratio prescribed by the manufacturer within a tolerance of ±5% by volume.

7.	Inject the epoxy.  Do not use excessive pressure when injecting epoxy that can propagate the crack, or cause additional damage.

If the crack is vertical or inclined, begin the injection process by pumping epoxy into the entry port at the lowest elevation until the epoxy level reaches the entry port above.  Close the lower injection port when epoxy reaches the entry port above.  Move to the entry port above and repeat the process until the crack is completely filled and all ports are closed.

For horizontal cracks, proceed from one end of the crack to the other until the crack is completely filled and all ports are closed.

The crack is full if the pressure can be maintained.  I f the pressure cannot be maintained, the epoxy is still flowing into unfilled portions or leaking out of the crack.

8.	Remove the surface seal.  After the injected epoxy has cured, remove the surface seal by grinding or other means as appropriate.

501-3.27 CLEANUP.  Upon completion of the structure and before final acceptance, leave the structure and entire site in a clean and orderly condition.  Sweep and wash bridge decks and approach slabs.  Remove all concrete waste from the site.  Leave the structure with an aesthetically pleasing appearance by removing all concrete splatter, paint marks, laitance, rust staining, chamfer strips, and all other material that does not provide a uniform texture and color to the concrete surface.  Remove temporary buildings, equipment, unused materials, debris, forms, and falsework.  Remove falsework piling at least 2 feet below the finished ground line.

501-4.01 METHOD OF MEASUREMENT.  Section 109 and the following:

Cubic Yard.  The lesser of the actual volume or neat line volume of each class of concrete accepted in place in the finished structure.

Precast Concrete Members.  The actual number of members.

Expansion Joint.  The sum of the lengths of joints in place in the completed structure, conforming to the Contract, measured along the centerline of the joint.

501-5.01 BASIS OF PAYMENT.

The quantities of reinforcing steel and other contract items included in cast-in-place structures will be measured for payment as prescribed for the items involved.

The following items are subsidiary to precast concrete member:  Concrete, reinforcing steel contained in the member (uncoated and/or epoxy coated), prestressing steel, plates, nuts, all other inserts contained within the girder, bolts, studs, anchor bars, blockouts, elastomeric bearing pads, grout, drains, and other miscellaneous steel embedded in or attached to the girders or diaphragms.

All expanded polyethylene and joint filler material is subsidiary to concrete.

All material contained within, embedded or attached to concrete elements including conduits, silicone joint sealant, drains, wire mesh, threaded inserts, anchors, utility hangers, utiliducts and other hardware are subsidiary to concrete.

Concrete Price Adjustment.  For concrete that fails to meet Subsection 501-3.04.5.c but is determined to be acceptable by the Engineer, payment will be adjusted according to the following formula.

Pay adjustment = -2(fc-fc)(PAB)(Q)

fc

where	f 'c	=	Specified compressive strength measured in psi

fc	=	Compressive strength as determined by the minimum individual strength test in psi

PAB*	 =	Price Adjustment Base

Q	 =	50cubic yards.

*PAB is the Contract unit price for the class of concrete involved.  Where the Contract basis of payment for concrete is other than by unit price, PAB is $1000 per cubic yard.

The accrued concrete price adjustment will be subtracted under Item 501(8), Concrete Price Adjustment, regardless of whether the item appears in the bid schedule.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 501(1) | Class A Concrete | Lump Sum |

Replace Section 503 with the following:

SECTION 503

REINFORCING STEEL

Special Provisions

503-1.01 DESCRIPTION.  Furnish and place reinforcing steel according to the Contract documents.

503-1.02 DEFINITIONS.

STIRRUP.  Reinforcement used to resist shear and diagonal tension stresses in a structural member installed perpendicular to or at an angle to the longitudinal reinforcement; lateral reinforcement formed of individual or paired units, open or closed.

TIE.  Reinforcement with hooked ends tied at right angles to and enclosing the longitudinal reinforcement.

HOOP.  A one-piece closed tie or continuously wound tie, the ends of which are hooked or welded together, that encloses the longitudinal reinforcement.

BAR SIZE / DIAMETER.  Nominal dimensions equivalent to those of a circular area having the same weight per foot as the AASHTO/ASTM designated bar.

SPIRAL.  Continuously wound reinforcement in the form of a cylindrical helix.

LONGITUDINAL REINFORCEMENT.  Reinforcement parallel to the length of a concrete member.

LATERAL REINFORCEMENT.  Reinforcement perpendicular to the length of a concrete member.

COVER.  The least distance between the surface of embedded reinforcement and the outer surface of the concrete.

HOOK.  A bend in the end of a reinforcing bar.

LOT.  A defined quantity.

503-2.01 MATERIALS.

Reinforcing Steel Bars	Subsection 709-2.01

Epoxy-Coated Reinforcing Steel Bars	Subsection 709-2.01

Headed Reinforcing Steel Bars	Subsection 709-2.01

Epoxy Coating Patch Material	Subsection 709-2.01

CONSTRUCTION REQUIREMENTS

503-3.01 BAR LIST.  When the Contract documents include bar lists and/or bending schedules, verify the quantity, size, and shape of all bar reinforcement against the structure drawings and make any corrections before ordering.

Where bar lists and bending schedules do not appear in the Contract documents, furnish order lists and bending diagrams for approval according to Subsection 105-1.02.  Furnish order lists and bending diagrams detailed in accordance with ACI 315, Chapter 3.

Do not substitute reinforcing bars of different size, material, coating, or grade without prior approval of the Engineer.  When substituting epoxy-coated reinforcing steel for uncoated reinforcing steel, protect and repair all epoxy-coated bars according to Subsection 503-3.02.

503-3.02 PROTECTION OF MATERIALS.  Protect reinforcing steel from damage at all times.  Before placing reinforcing steel in the work, ensure that the reinforcing steel is free of dirt, loose rust or scale, paint, oil, or other foreign substance.  Pressure wash all reinforcing steel that has a surface coating of dirt, dust, or has been exposed to salt spray or other deleterious substances.  Use a pressure washer with at least 2000 psi at all elevations.  Keep the nozzle tip no more than 12 inches from the surface during all phases of power washing.  Do not weld or tack weld reinforcing steel except as noted in the Contract documents and approved by the Engineer.  When transporting, storing, or constructing in close proximity to bodies of salt water, keep all reinforcing steel in enclosures that provide protection from the elements.

Do not damage epoxy-coated reinforcing steel.  When handling coated reinforcing steel, avoid bundle-to-bundle and bar-to-bar abrasion.  Use padded bundling bands.  Handle epoxy-coated bars using equipment with padded contact areas.  Lift bundles with a strongback, multiple supports, or a platform bridge to prevent bar-to-bar abrasion from sags in the bar bundle.  Do not drop or drag the bars or bundles.  Off-load bars as close as possible to their points of placement to minimize re-handling.

Store epoxy-coated reinforcing steel off the ground.  When stacking is necessary, place supports between bundles.  Place supports sufficiently close to prevent sags in the bundles.  Store coated and uncoated bars separately.

Protect epoxy-coated reinforcing steel from sunlight, salt spray, and weather exposure during shipping and storage.  Cover epoxy-coated reinforcing steel and bundles with opaque polyethylene sheeting or other protective material.  Secure covering and allow air circulation to minimize condensation under the covering.  The Engineer will reject epoxy-coated reinforcing steel when the cumulative environmental exposure time, including all uncovered storage time after coating application to full embedment in concrete, exceeds 2 months.

The Engineer will reject epoxy-coated reinforcing steel when the extent of damaged coating exceeds 2% of the surface area in any 1 foot length of bar.  When the extent of damaged coating does not exceed 2% of the surface area in any 1 foot length of bar, repair all damaged coating.  Coating damage includes cracks, abrasions, chips, bond loss (the coating can be removed with a peeling action by the finger), and exposed steel areas visible to a person with normal or corrected vision prior to concrete placement.  Repair coating damage as soon as possible and before visible oxidation appears on the steel surface.  Repair coating damaged due to shipment, storage, and handling prior to placing the reinforcing steel.

Prepare coating damage prior to applying patch material.  Clean and remove all disbonded areas of coating.  Remove loose and deleterious materials.  In cases when rust is present, remove rust by thoroughly cleaning the area using blast cleaning, filing, or power brushing in a manner that minimizes damage to the sound coating.  The Engineer will reject epoxy-coated reinforcing steel when the removed coating exceeds 2% in any 1 foot length of bar or if the weight, dimensions, cross-sectional area, or tensile properties are less than the minimum requirements of the applicable specification.

Use an approved epoxy coating patch material in accordance with the material manufacturer's recommendations.  Apply patching material in conformance with the written instructions furnished by the patching material manufacturer.  Allow the patching material to fully cure before placing concrete.  The Engineer will reject epoxy-coated reinforcing steel when the surface area covered by patching material exceeds 5% in any 1 foot length of bar.

Rejected epoxy-coated reinforcing steel may not be substituted for uncoated reinforcing steel.

At all times, protect mechanical splice assemblies, headed bar assemblies, and connecting elements (including reinforcing bar ends) against physical damage and corrosion.  Keep assemblies and connecting elements clean and free of deleterious material such as grease, oil, wax, paint, or other foreign materials that adversely affect fabrication or performance.  The Engineer will reject mechanical butt splice assemblies, headed bar assemblies, or reinforcing steel that has sustained physical damage or corrosion at any time.  Coating damage includes cracks, abrasions, chips, bond loss (the coating can be removed with a peeling action by the finger), exposed steel areas, etc., visible to the naked eye.  Repair coating damaged due to shipment, storage, and handling prior to placing the reinforcing steel.

503-3.03 FABRICATION.  Fabricate reinforcing steel to the size and dimension shown in the Contract documents.  Reinforcing steel dimensions shown are out-to-out of bar, unless otherwise noted.  .

Meet fabrication tolerances in ACI Publication 117, Section 2.1.

Bend bars when the bar temperature is above 45ºF and less than 150ºF.  Do not bend or straighten bars in a manner that will damage the material or coating.  Produce hooks and bends in reinforcing bars with inside diameters as shown in Table 503-1, unless otherwise noted.  The Engineer will reject reinforcing steel bent at any time with an inside diameter less than the minimum diameter shown in Table 503-1.

TABLE 503-1

BEND DIAMETER

| Bar Size | Stirrups, Hoops, and Ties | All Other Bends |
| --- | --- | --- |
| No. 3 | 1-1/2" | 2-1/4" |
| No. 4 | 2" | 3" |
| No. 5 | 2-1/2" | 3-3/4" |
| No. 6 | 4-1/2" | 4-1/2" |
| No. 7 | 5-1/4" | 5-1/4" |
| No. 8 | 6" | 6" |
| No. 9 | - | 9-1/2" |
| No. 10 | - | 10-3/4" |
| No. 11 | - | 12" |
| No. 14 | - | 18-1/4" |
| No. 18 | - | 24" |

For the purposes of these Specifications, the term "Standard Hook" means one of the following:

1.	Std 180º Hook:  180º bend plus a 4.0 nominal bar diameter extension, but not less than 2.5 inches, at the free end of the bar.

2.	Std 90º Hook:  90º bend plus a 12.0 nominal bar diameter extension at the free end of the bar.

When permitted by the Engineer, field bend bars that are partially embedded in concrete without damaging the reinforcing steel or concrete.  Preheat the reinforcing steel before bending.  Previously unbent bars of sizes No. 5 and smaller may be bent without heating.  Apply heat by any method that does not damage the reinforcing steel or concrete.  Locate the beginning of the bend a distance not less than the minimum bend diameter from the surface of concrete.  Preheat the reinforcing steel at least 5.0 nominal bar diameters in each direction from the center of the bend but do not extend preheating below the surface of the concrete.  Insulate all concrete within 6 inches of the heated bar area.  Do not allow the temperature of the reinforcing bar at the concrete interface to exceed 500ºF.  Preheat the reinforcing steel to at least 1100ºF.  Ensure, by using temperature-indicating crayons, contact pyrometer or other acceptable means, that the maximum reinforcing steel temperature never exceeds 1200ºF.  Use 2 heat tips simultaneously at opposite sides of bars larger than No. 6 to assure a uniform temperature throughout the thickness of the bar.  For size No. 6 and smaller bars, use 2 heat tips, if necessary.  Maintain the preheat temperature of the reinforcing steel until bending or straightening is complete.  Make the bend gradually with smooth continuous application of force.  Use a bending tool equipped with a bending diameter as listed in Table 503-1, unless otherwise noted.  When straightening, move a bender progressively around the bend.  When bending or straightening is complete, gradually reduce the temperature of the reinforcing steel to the ambient air temperature.  Do not artificially cool the bars with water, forced air, or any other means.

Do not field bend:

1.	No. 14 or No. 18 bars that are partially embedded in concrete,

2.	When the bar temperature is lower than 45ºF,

3.	By means of hammer blows or pipe sleeves, or

4.	While the bar temperature is in the range of 400ºF to 700ºF.

Weld reinforcing bars in accordance with AWS D1.4.  Weld epoxy coated reinforcing steel prior to application of the epoxy coating.

503-3.04 PLACING AND FASTENING.  Place and secure reinforcing steel in position as noted in the Contract so that the reinforcing steel will be held firmly in place during placing and setting of the concrete.  Do not place bars in addition to that noted in the Contract documents without prior approval of the Engineer.  Do not place bars of different size, material, or grade than noted in the Contract documents without prior approval of the Engineer.  Place all reinforcing steel evenly unless noted otherwise.  Provide 2 inches of concrete clear cover, measured from the surface of the reinforcement to the outside surface of the concrete, unless noted otherwise.

In order to position the reinforcing steel as required in the Contract documents and ensure the steel does not move as the concrete is placed, tie the bars with No. 14 or No.16 gauge steel wire.  When the spacing between bars is 1 foot or more, tie the bars at all intersections.  When the bar spacing is less than 1 foot, tie every other intersection.  If the Plans require bundled bars, tie bundled bars together at not more than 6-foot centers.  Tie all intersections of epoxy-coated reinforcing steel in the top mat of concrete decks and approach slabs.  Use wire coated with plastic, epoxy, or similar non-conductive material when tying epoxy-coated reinforcing steel.  Obtain the Engineer’s written authorization before welding reinforcing steel.

For slip-formed concrete, tie reinforcing steel at all intersections.  Provide additional reinforcing steel cross bracing to keep the cage form moving during concrete placement.  Place cross bracing both longitudinally and transversely.

Maintain distances from the forms using approved precast mortar blocks, metal or plastic chairs, spacers, metal hangers, or supporting wire strong enough to resist movement under construction loads.  Use stainless steel metal supports if they extend to the surface of the concrete, or use metal supports protected with a plastic coating to prevent corrosion.  Do not use wooden or aluminum supports.  Space supports under deck slab reinforcement not more than 4 feet apart in each direction.

Use coated hardware or plastic supports to support and fasten epoxy-coated reinforcing steel.  Use hardware coated with plastic, epoxy, or similar non-conductive material.

If used, provide mortar blocks with a bearing area of not greater than 2 inches in any dimension and a compressive strength equal to that of the concrete in which the mortar blocks are embedded.  In slabs, use mortar blocks that have either a grooved top that will hold the reinforcing bar in place or a protruding embedded wire that is tied to the reinforcement.  If this wire is used around epoxy-coated bars, use wire coated with plastic, epoxy, or similar non-conductive material.  Mortar blocks may be accepted on a Manufacturer's Certificate of Compliance that includes test results on sets of two 2-inch square specimens per AASHTO T 106.  Each pair of specimens represents no more than 2,500 mortar blocks made of the same mortar as the blocks and cured under the same conditions.

If metal supports are used within 1/2 inch of the concrete surface, provide supports that are galvanized after fabrication in accordance with AASHTO M 232 Class D, stainless steel meeting the requirements of ASTM A493, Type 302, or plastic coated.  Use plastic coatings that do not react chemically with the concrete, have a minimum thickness of 3/32 inch where it touches the form, do not crack at or above -5ºF, and do not deform enough to expose the metal at or below 200ºF.

If used, provide plastic supports that are lightweight, non-porous, and chemically inert in concrete.  Use plastic supports that have rounded seats, do not deform under load during normal temperatures, do not shatter or crack under impact loading in cold weather, and have at least 25% of their gross area perforated to compensate for the difference in the coefficient of thermal expansion between plastic and concrete.  Space plastic supports at greater than 1 foot apart along the bar.  Do not use plastic supports that prevent complete concrete consolidation in and around the support.

In lieu of mortar blocks, support epoxy-coated reinforcing bars with either plastic coated metal supports coated entirely with a dielectric material such as epoxy or plastic, other epoxy-coated reinforcing bars, or plastic supports.

As the work progresses, do not place bars on layers of fresh concrete or adjust bars while placing concrete.  Securely fasten dowels in position before placing the concrete that will contain the dowels into the form.  You may place curb or sidewalk dowels after the deck concrete has received the preliminary finish.

Repair detectable coating damage on epoxy-coated reinforcing steel in accordance with Subsection 503-3.02, Protection of Materials.

503-3.05 SPLICING.  Furnish all reinforcement in the full lengths specified.  Obtain the Engineer’s written approval before splicing, except for splices noted in the Contract.  Do not splice reinforcing steel bars in “no splice zones” as designated in the Contract.

Splice reinforcing steel using lap splicing, welded butt joints, welded lap splicing, mechanical butt splicing, or mechanical lap splicing, unless noted otherwise in the Contract.  Do not use lap splicing for No. 14 or No. 18 reinforcing bars.

Do not lap splice spiral reinforcing steel.  Anchor each end unit of spiral reinforcing bar by lapping the free end of the bar to the continuous spiral and using either a welded lap splice or a mechanical lap splice.

Stagger splices in adjacent reinforcing bars, unless otherwise noted in the Contract or approved by the Engineer.  Stagger lap splices a distance greater than the lapped splice length.  Stagger butt splices at least 2 feet.

Reinforcing steel may be continuous at locations where splices are noted in the Contract.  Locate splices based upon available commercial lengths where practicable except where noted otherwise in the Contract.

Do not field weld epoxy coated reinforcing bars.

1.	Lap Splicing.

a.	General.  Splices made by lapping consists of placing the reinforcing bars in contact and wiring them together in such a manner as to maintain the alignment of the bars and to provide minimum clearances.

Provide a minimum clear distance of 2 inches between the spliced bars and the nearest adjacent bar.  Do not reduce the minimum clearance to the surface of the concrete specified in Subsection 503-3.04, Placing and Fastening.

Use lapped splices meeting the following minimum lengths, unless otherwise noted in the Contract:

(1)	For No. 8 bars and smaller, lap bars at least 50 nominal bar diameters.

(2)	For No, 9 bars and larger, lap bars at least 70 nominal bar diameters.

(3)	Increase the minimum lap splice length 40% for horizontal or nearly horizontal reinforcing bars, when more than 12 inches of fresh concrete is placed below the reinforcement.

(4)	Increase the minimum lap splice length 20% for epoxy-coated bars.

b.	Qualifications.  No qualifications apply when lap splicing.

c.	Testing/Inspection.  Field verify lap splice length.

2.	Welded Butt Joints.

a.	General.  For welded butt joints in reinforcing bars, use complete joint penetration (CJP) groove welds conforming to the requirements in AWS D1.4 except as noted below.

Use the joint details and dimensions as shown in Figure 3.2 (A) (B) (D) and (E), "Direct Butt Joints" of AWS D1.4.  Do not use split pipe backing.

Do not deviate the alignment of reinforcing bars at a welded splice more than 1/4 inch per 4-foot length.

Use electrodes classified as "Nickel-Steel" as referenced in AWS A5.5, A5.28, or A5.29.

Preheat reinforcing bars in accordance with AWS D1.4 for a distance of not less than 6 inches on each side of the joint prior to welding.  Protect welding areas from air currents, drafts and precipitation to prevent loss of heat or loss of arc shielding.  Submit the method of protection of the welding area to the Engineer for approval.

Submit all AWS required test assemblies to the Engineer.

b.	Qualifications.  The operator and procedure qualification tests may be performed simultaneously.

Submit a welding plan to the Engineer for approval containing at least the following items:

(1)	Quality Control personnel qualifications including CWI number.

(2)	Welding Procedure Specifications (WPS).

(3)	Procedure Qualification Records (PQR), when applicable.

(4)	Welder Performance Qualification Records (WPQR) with documentation of current welder certification.

(5)	Type and extent of Nondestructive Examination (NDE) to be conducted, as required in the specifications.

c.	Testing/Inspection.

(1)	Shop Welds.  When complete joint penetration groove welded joints are used, perform job control tests using a qualified testing laboratory.  A job control test consists of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of splices.  The Engineer or Engineer's authorized representative will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of shop produced complete joint penetration welded butt joints is defined as no more than 150 splices of the same type of welds used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice consists of a splice to connect two 30-inch, or longer, bars using the same splice materials, position, location and equipment, and following the same procedures as used to make splices in the work.  Shorter sample splice bars may be used if approved by the Engineer.

The Engineer or the Engineer's authorized representative shall witness the job control tests performed by the testing laboratory.

Identify sample splices with weatherproof markings prior to shipment to the testing laboratory.

Test each sample to failure in accordance with ASTM A370 and Appendix A9, Methods for Testing Steel Reinforcing Bars, of ASTM A370.  Failure is defined as partial or total fracture of the parent bar material or weld.  Submit the test results to the Engineer for review and approval.

Should the average of the results of tests made on the 6 sample splices or should more than 1 sample splice in the job control test develop less than a minimum tensile strength of 80,000 psi, based on the nominal bar area, all splices in the lot represented by that test will be rejected.  Replace rejected bar splices at no additional cost to the Department and no adjustment in contract time.

(2)	Field Welds.  Perform nondestructive examination using radiographic examination (RT) in accordance with AWS D1.1, Section 6, except for Section 6.17, RT Procedures for field welded complete joint penetration direct butt joints.  The standards of acceptance shall be in accordance with AWS D1.4, Section 4.4.2 and Section 4.4.8.

Perform radiographic examinations on a random sample of 25 % of the total number of direct butt joint welds.  The Engineer will select the direct butt joints that will compose the sample.  Test sample joints in the presence of the Engineer or the Engineer's authorized representative.  Submit the test results to the Engineer for review and approval.

If more than 3 butt joints that have been radiographically examined are defective, examine a second random sample of 25 % of the total number of direct butt joint welds.  If more than 3 direct butt joints that have been radiographically examined in the second sample are defective, radiographically examine all remaining direct butt joints.

Repair all weld defects in accordance with the requirements of AWS D1.4.

Provide sufficient access to the job site to permit the Engineer or the Engineer's authorized representative to perform any additional inspection or testing.

Notify the Engineer in writing 48 hours prior to performing any radiographic examinations.

Make 2 exposures for each complete joint penetration direct butt joint.  For each of the exposures, center the radiation source on each bar to be radiographed.  Make the first exposure with the radiation source placed at zero degrees from the top of the weld and perpendicular to the weld root and identify with a station mark of "0".  Make the second exposure at 90 degrees to the "0" station mark and identify with a station mark of "90".

Clearly identify each direct butt joint on each radiograph.  Establish the radiograph identification and marking system with the Engineer before radiographic inspection begins.  Identify film using lead numbers and letters.  Do not use etching, flashing or writing to identify film.  Legibly mark each piece of film with identification information including, as a minimum, the following information:

(a)	Contractor's name

(b)	Date

(c)	Name of nondestructive testing firm

(d)	Initials of radiographer

(e)	Weld number

Identify a repaired weld by placing the letter "R" followed by the weld repair number on the radiographic film using lead numbers and letters.

Record the results of all radiographic interpretations on a signed certification.  Keep a copy of the certification with the film packet.

3.	Welded Lap Splicing.

a.	General.  For welded lap splices in reinforcing bars, use direct lap joint welds conforming to the requirements in AWS D1.4 except as noted below.

Use the joint details and dimensions as shown in Figure 3.4 (A), "Direct Lap Joint with Bars in Contact" of AWS D1.4.

Use electrodes classified as "Nickel-Steel" as referenced in AWS A5.5, A5.28, or A5.29.

Preheat reinforcing bars in accordance with AWS D1.4 for a distance of not less than 6 inches on each side of the joint prior to welding.  Protect welding areas from air currents, drafts and precipitation to prevent loss of heat or loss of arc shielding.  Submit the method of protection of the welding area to the Engineer for approval.

Submit all AWS required test assemblies to the Engineer.

b.	Qualifications.  The operator and procedure qualification tests may be performed simultaneously.

Submit a welding plan to the Engineer for approval containing at least the following items:

(1)	Quality Control personnel qualifications including CWI number.

(2)	Welding Procedure Specifications (WPS).

(3)	Procedure Qualification Records (PQR), if applicable.

(4)	Welder Performance Qualification Records (WPQR).

(5)	Type and extent of Nondestructive Examination (NDE) to be conducted, as required in the specifications.

c.	Testing/Inspection.  Perform inspection in accordance with AWS D1.4.  Submit the inspection results to the Engineer for review and approval.

4.	Mechanical Butt Splices.

a.	General.  Use one of the following types of mechanical butt splices:

(1)	Sleeve-Threaded Mechanical Butt Splices.  The sleeve-threaded type of mechanical butt splices consists of a steel splice sleeve with tapered interior threads that joins the reinforcing bars with matching tapered threads.  Taper the threads to such a degree that cross threading will not occur during assembly.

Mark each splice sleeve with the heat treatment lot number.

After completion of the assembly, tighten the splice to a torque value recommended by the manufacturer for bars smaller than a No. 8 reinforcing bar and to a torque value of not less than 2400 in-lbs for bars equal to or greater than a No. 8 reinforcing bar.

(2)	Sleeve-Swaged Mechanical Butt Splices.  The sleeve-swaged type of mechanical butt splices consists of a seamless steel sleeve applied over the ends of the reinforcing bars and swaged to the bars by means of a hydraulic press.

(3)	Sleeve-Lockshear Bolt Mechanical Butt Splices.  The sleeve-lockshear bolt type of mechanical butt splices consists of a seamless steel sleeve, serrated steel strips welded to the inside of the sleeve, center hole with centering pin, and bolts that are tightened until the bolt heads shear off, and the bolt ends are embedded in the reinforcing bars.

(4)	Two-Part Sleeve-Friction Bar Mechanical Butt Splices.  The two-part sleeve-friction bar type of mechanical butt splices consists of a shop machined two-part threaded steel sleeve whose ends are friction welded, in the shop, to the reinforcing bars ends.

Engineer's approval of a mechanical butt splice will be based upon manufacturer's technical data, test results, and other necessary proof of satisfactory performance.  Resubmit a design for approval if there is any change in the details or materials previously submitted.

Provide a splicing system that when used in accordance with the manufacturer's procedures, except as modified in this section, will develop not less than a minimum tensile strength of 80,000 psi, based on the nominal bar area, and does not exceed a total slip of the reinforcing bars within the splice sleeve, after loading in tension to 29,000 psi and relaxing to 2900 psi, of 10 mils for bars smaller than a No. 18 reinforcing bar or 30 mils for No. 18 reinforcing bar.  Measure the slip between gage points clear of the splice sleeve.

Conform to the manufacturer's recommendations when splicing, except as modified in this section.  Make splices using the manufacturer's standard equipment, jigs, clamps and other required accessories.

Cut square the ends of reinforcing bars to be spliced.

Provide a clear cover of not less than 1-1/2 inches measured from the surface of the concrete to the outside of the splice sleeve.  Adjust stirrups, ties and other reinforcement if necessary to provide clear cover.

For epoxy-coated bars, use epoxy-coated mechanical splices or an approved equal.

Submit the following information for each shipment of splice material for review and approval by the Engineer:

(1)	The type or series identification of the splice material.

(2)	The heat treatment lot number for sleeve-threaded type sleeves.

(3)	The bar grade and size number to be spliced by the material.

(4)	A copy of the manufacturer's catalog giving complete data on the splice material and procedure.

(5)	Test results that the splicing system and materials used in accordance with the manufacturer's procedures complies with the minimum tensile strength requirements, the total slip requirements, and other requirements in these specifications.

(6)	A statement that the splice material conforms in all respects to the details and materials of a specific approved design.

b.	Qualifications.  Qualify procedures and operators to be used in making splices in reinforcing bars by performing tests on sample splices of the type to be used, before making splices to be used in the work.

Each operator qualification test for mechanical splices consists of 2 sample splices.  Each mechanical splice procedure test consists of 2 sample splices.

For sleeve-threaded, sleeve-lockshear bolt and two-part sleeve friction bar mechanical butt splices, make sample splices on the largest reinforcing bar size to be spliced by the procedure or operator being tested, except that No. 14 bars may be substituted for No. 18 bars.

For sleeve-swaged mechanical butt splices, make sample splices on the largest reinforcing bar size of each deformation pattern to be spliced by the procedure or operator being tested.

Each operator qualified for mechanical splicing of reinforcing bars of a given size and mechanical splice type is also considered qualified for all reinforcing bar sizes smaller than those used in making the operator qualification test for that type of mechanical splice.

Perform a separate operator qualification test or procedure test for each mechanical splicing position and procedure that the operator is expected to use on the work.

Mechanical splice procedures and operators may be approved by the Engineer based upon approval of previous tests performed on appropriate sample splices.

Make sample splices at least 3 feet long with the splice at mid-length.  Make and test the sample splices in the presence of the Engineer or the Engineer's authorized representative.  Test each sample to failure in accordance with ASTM A370 and Appendix A9, Methods for Testing Steel Reinforcing Bars, of ASTM A370.  Failure is defined as partial or total fracture of the parent bar material, mechanical splice material, or bar-to-splice connection.  Submit the test results to the Engineer for review and approval.

c.	Testing/Inspection.  When mechanical butt splices are used, perform job control tests using a qualified testing laboratory.  A job control test consists of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of splices.  The Engineer will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of mechanical butt splices is defined as no more than 150 of the same type of mechanical butt splices used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice consists of a splice made to connect two 30-inch, or longer, bars using the same splice materials, position, location and equipment, and following the same procedures as are being used to make splices in the work.  Shorter sample splice bars may be used if approved by the Engineer.

Make and test the sample splices in the presence of the Engineer or the Engineer's authorized representative.

Identify sample splices with weatherproof markings prior to shipment to the testing laboratory.

For sleeve-threaded mechanical butt splices, fabricate the reinforcing bars to be used for job control tests on a random basis during the cutting of threads on the reinforcing bars of each lot and ship to the job site with the material they represent.

Test each sample to failure in accordance with ASTM A370 and Appendix A9, Methods for Testing Steel Reinforcing Bars, of ASTM A370.  Failure is defined as partial or total fracture of the parent bar material, mechanical splice material, or bar-to-splice connection.  Submit the test results to the Engineer for review and approval.

Should the average of the test results for the 6 sample splices or should more than one sample splice in any job control test fail to meet the requirements, all splices in the lot represented by that test will be rejected.  Replace rejected bar splices at no additional cost to the Department and no adjustment in contract time.

5.	Mechanical Lap Splices.

a.	General.  Engineer's approval of a mechanical lap splice will be based upon manufacturer's technical data, test results, and other necessary proof of satisfactory performance.  Resubmit a design for approval if there is any change in the details or materials previously submitted.

Provide a splicing system that when used in accordance with the manufacturer's procedures, except as modified in this section, will develop not less than a minimum tensile strength of 75,000 psi, based on the nominal bar area.

Conform to the manufacturer's recommendations when splicing, except as modified in this section.  Make splices using the manufacturer's standard equipment, jigs, clamps and other required accessories.

Provide a clear cover of not less than 1-1/2 inches measured from the surface of the concrete to the outside of the splice sleeve.  Adjust stirrups, ties and other reinforcement if necessary to provide clear cover.

For epoxy-coated bars, use epoxy-coated mechanical splices or an approved equal.

Submit the following information for each shipment of splice material for review and approval by the Engineer:

(1)	The type or series identification of the splice material.

(2)	The heat treatment lot number for sleeve-threaded type sleeves.

(3)	The bar grade and size number to be spliced by the material.

(4)	A copy of the manufacturer's catalog giving complete data on the splice material and procedure.

(5)	Test results that the splicing system and materials used in accordance with the manufacturer's procedures complies with the minimum tensile strength requirements and other requirements in these specifications.

(6)	A statement that the splice material conforms in all respects to the details and materials of a specific approved design.

b.	Qualifications.  Qualify procedures and operators to be used in making splices in reinforcing bars by performing tests on sample splices of the type to be used, before making splices to be used in the work.

Each operator qualification test for mechanical splices consists of 2 sample splices.  Each mechanical splice procedure test consists of 2 sample splices.

Each operator qualified for mechanical splicing of reinforcing bars of a given size and mechanical splice type is also considered qualified for all reinforcing bar sizes smaller than those used in making the operator qualification test for that type of mechanical splice.

Perform a separate operator qualification test or procedure test for each mechanical splicing position and procedure that the operator is expected to use on the work.

Mechanical splice procedures and operators may be approved by the Engineer based upon approval of previous tests performed on appropriate sample splices.

Make sample splices at least 3 feet long with the splice at mid-length.  Make and test the sample splices in the presence of the Engineer or the Engineer's authorized representative.  Test each sample to failure in accordance with ASTM A370 and Appendix A9, Methods for Testing Steel Reinforcing Bars, of ASTM A370.  Failure is defined as partial or total fracture of the parent bar material, mechanical splice material, or bar-to-splice connection.  Submit the test results to the Engineer for review and approval.

c.	Testing/Inspection.  When mechanical splices are used, perform job control tests using a qualified testing laboratory.  A job control test consists of the fabrication, under conditions used to produce the splice, and the physical testing of 6 sample splices for each lot of splices.  The Engineer will designate when samples for job control tests are to be fabricated and will determine the limits of the lot represented by each job control test.

A lot of mechanical lap splices is defined as no more than 150 of the same type of mechanical butt splices used for each combination of bar size and bar deformation pattern that is used in the work.

A sample splice consists of a splice made to connect two 30-inch, or longer, bars using the same splice materials, position, location and equipment, and following the same procedures as are being used to make splices in the work.  Shorter sample splice bars may be used if approved by the Engineer.

Make and test the sample splices in the presence of the Engineer or the Engineer's authorized representative.

Identify sample splices with weatherproof markings prior to shipment to the testing laboratory.

Test each sample to failure in accordance with ASTM A370 and Appendix A9, Methods for Testing Steel Reinforcing Bars, of ASTM A370.  Failure is defined as partial or total fracture of the parent bar material, mechanical splice material, or bar-to-splice connection.  Submit the test results to the Engineer for review and approval.

Should the average of the test results for the 6 sample splices or should more than one sample splice in any job control test fail to meet the requirements, all splices in the lot represented by that test will be rejected.  Replace rejected bar splices at no additional cost to the Department and no adjustment in contract time.

503-3.06 HEADED BAR REINFORCEMENT.  Headed bar reinforcement consists of deformed steel reinforcing bars in cut lengths with a head attached to one or both ends.  Attachment can be accomplished through welding or forging of heads onto the bar ends, by internal threads in the head mating to threads on the bar end or by a separate threaded nut to secure the head to the bar.  Heads are forge formed, machined from bar stock, or cut from plate.

For epoxy-coated reinforcing steel, coat headed bar reinforcement after fabrication.  Prior to epoxy-coating, remove sharp edges and burrs by rounding the edge of the bar head, and remove weld flash from the bar heads that would prevent proper coating of the headed bar.  Do not use thread type headed bar reinforcement with epoxy-coated reinforcing steel.

Perform inspection and test prior to, during, and after manufacturing headed bar reinforcement and as necessary to ensure that the material and workmanship conform to the requirements of the Contract.

When headed bar reinforcement is used, perform production control tests using a qualified testing laboratory.  A production control test consists of the fabrication, under conditions used to produce the head, and the physical testing of 3 sample heads for each lot of heads.

A production lot of headed bar reinforcement is defined as no more than 150 splices of the same bar size, with heads of the same size and type, and manufactured by the same method, produced from bar material of a single heat number and head material of a single heat number.  If 1 reinforcing bar has a head on both ends, it will be counted as 2 reinforcing bars for the purposes of establishing and testing production lots.  Start a new production lot if the heat number of either the bar material of the head material changes before the maximum production lot size is reached.

Test each sample to failure in accordance with ASTM A370.  Failure is defined as partial or total fracture of the parent bar material or the head, or head-to-bar connection.  Submit the test results to the Engineer for review and approval.

Should the results of one test made on any of the 3 samples fail to meet ASTM A370, perform 1 retest on 1 additional sample from the same production lot.  If the additional test specimen or if more than 1 of the original test specimens fail to meet ASTM A370, all headed reinforcement bars in the production lot represented by that test will be rejected.  Replace rejected bars at no additional cost to the Department and no adjustment in contract time.

503-3.07 PLACEMENT TOLERANCES.  When placing reinforcing steel, do not reduce the total number of bars specified.  Place reinforcing steel within the following tolerances:

1.	Clear Cover: +1/4 inch, -3/8 inch.  Do not reduce the clear cover to less than 1 inch.

2.	Spacing of Reinforcement:  ± One-quarter of the specified spacing, but not to exceed 1 inch.

3.	Spacing for Bundled Reinforcement:  Provide at least 1 inch or 2 times the individual nominal bar diameter between bundles, whichever is greater.

4.	Embedment Length and Length of Lap Splices:  -1 inch for No. 3 through No. 11 bars, -2 inches for No. 14 and No. 18 (embedment only).

503-4.01 METHOD OF MEASUREMENT.  See Section 109.

503-5.01 BASIS OF PAYMENT.  Reinforcing steel will be paid for at the Contract lump sum price.  The lump sum price is full compensation for furnishing, fabricating, placing, splicing, heading and testing reinforcing steel as indicated in the Contract.  Increase in weight of reinforcing due to splices, heads, and additional support bars will not be paid for.  All materials, equipment and labor required to install reinforcement will be paid for under the Contract lump sum price.

Payment for reinforcing steel used in precast or precast prestressed concrete structural members is included in the Contract price for the precast members, as provided for Section 501.

Payment for reinforcing steel used in minor structures is subsidiary to the structure.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 503(1) | Reinforcing Steel | Lump Sum |

Replace Section 505 with the following

SECTION 505

PILING

Special Provisions

505-1.01 DESCRIPTION.  Furnish and drive piles, and assist in pile testing.  Provide a Dynamic Tester to conduct the pile testing.

505-2.01 MATERIALS.  Use materials that conform to the following:

Concrete		Section 501

Reinforcing Steel	Section 503

Steel Shell		Section 715

Steel Pipe		Section 715

Structural Steel Piles	Section 715

505-3.01 PILE INSTALLATION EQUIPMENT.  Use pile driving equipment that can drive the piles, undamaged, to the minimum penetration and nominal axial resistance shown on the Plans.  Use equipment that limits compressive driving stresses to less than 90% of the specified pile yield stress.  Use impact hammers or a combination of hammers to drive piles.  The Contractor may use vibratory hammers for initial placement of steel bearing piles, and entire placement of steel sheet piles.  Use pile driver leads that allow the hammer to move freely along the projected axis of the pile.  Do not use followers to drive piles.

  - Helmet.  Fit the pile driving hammer with a case steel helmet (or similar device) that is recommended in the hammer manufacturer’s guidelines and is compatible with the pile.  Use a helmet that aligns concentrically and fits closely with the top of the pile.

  - Hammer Cushion.  Fit the pile driving hammer with a hammer cushion recommended in the hammer manufacturer’s guidelines.  Use a hammer cushion that is of appropriate thickness to prevent damage to the hammer or pile, and to produce uniform driving performance.  Replace the hammer cushion when its thickness is reduced to less than 75% of the original manufactured thickness.  Do not use wood, wire rope, or asbestos hammer cushions.  Some equipment does not require hammer cushions, in that case follow manufacturer’s guidelines.

Use only equipment included in the approved pile driving plan.  The Engineer will inspect the pile driving equipment after it has been mobilized to the site and prior to beginning pile driving operations.

505-3.02 PILE DRIVING PLAN.  Submit a pile driving plan to the Engineer, no less than 30 days prior to the anticipated start of pile driving.  Submittals will be received and reviewed by the Engineer and returned as either:  approved, conditionally approved, or rejected with the reasons listed.  Do not begin pile driving until after the Engineer has approved the pile driving plan.

Include in the pile driving plan:

- A completed Pile Driving Equipment Data Form.

- Manufacturer’s catalog cuts, specifications, guidelines, and technical bulletins for all pile driving equipment to be used.

- A description of the techniques to be used for ensuring proper placement and alignment of the piles, obtaining the nominal axial resistance, and advancing the piles to the estimated tip elevation.

- Alternate methods of pile installation when layers of soil or rock, as identified as “Difficult Driving” or “Refusal,” in the Contract.

- Provide documentation on the suitability of the pile driving plan based on a wave equation analysis of the hammer-pile-soil system using the computer program “GRLWEAP” and the GRLWEAP industry standard hammer input data.

Approval of the pile driving plan will be based on whether the State’s evaluation determines that the proposed pile driving equipment can:

- Advance the piles, undamaged, to the nominal axial resistance and to the estimated tip elevations shown on the Plans; and

- Limit compressive driving stresses to less than 90% of the specified pile yield stress.

Contractor is Responsible.  The Engineer’s approval of the pile driving plan, does not relieve the Contractor of responsibility for driving each pile:

- without damaging the pile;

- until the pile has reached the minimum penetration or deeper;

- until the pile has reached nominal axial resistance; and

- within the placement and alignment tolerances specified.

Revisions.  Submit all revisions to the approved pile driving plan to the Engineer for review.  For all pile driving equipment not previously identified  in the pile driving plan, include in the submittal all of the information required for the pile driving plan.  Explain to the Engineer, in writing, which portions of the approved pile driving plan will be superseded by the revision and which portions remain unchanged.  Allow at least five days for the Engineer’s review of pile driving plan revisions.

505-3.03 PILE DRIVING CRITERIA AND TESTING.  Dynamic Pile Tests shall be conducted on four of the piles.

The Dynamic Tester will provide criteria for determining pile acceptance based on pile driving performance and is subject to the approval by the Engineer.  The Dynamic Tester may require pile testing to calibrate the wave equation analysis, determine actual pile bearing capacity, hammer system efficiency, pile driving stresses, and pile integrity.  Unless otherwise specified in the Contract, the Contractor will use the following to establish pile driving criteria for acceptance and verify the nominal axial resistance of the pile has been achieved:

- Wave Equation Analysis.  The Engineer will review the pile driving criteria using a Wave Equation Analysis.  The Engineer will provide acceptance curves, based on stroke height, blow count, and driving rate relative to each substructure location.

- High-Strain Dynamic Testing.  The Contractor will provide a Dynamic Tester to perform high-strain dynamic testing on a minimum of 4 piles, 2 on each side of the creek if, in the opinion of the Tester, the performance of the hammer-pile-soil system changes from that of the original wave equation analysis or the test pile program and is subject to approval by the Engineer.  The Tester will perform the high-strain dynamic testing in accordance with ASTM D4945.

Attend a meeting with the Engineer at least 14 days prior to the beginning of pile driving operations to discuss the pile testing program.  Give the Engineer seven days advance notice before driving each test pile.

The Tester may test the initial pile driven at each substructure unit or location indicated on the Plans.  Drive each test pile to the minimum penetration and nominal axial resistance shown on the Plans, as indicated by the wave equation analysis criteria established by the Tester.  The Tester will record test data (hammer energy, stroke height, blow counts, penetration rate) for the entire driving of the pile.  If the pile encounters an obstruction during driving, testing will not be performed on that pile, but will be performed on the next pile driving at the substructure unit.

After initial driving of the test pile, provide a reasonable and safe means for the Tester to access the top of the pile.  Furnish electrical power (a 115-volt, 55-60-cycle AC outlet, 10-amp minimum) for the Tester’s use during the installation and operation of the testing instruments.  Allow the Engineer 4 hours to set up and install the test equipment and 1 hour to disassemble and remove the test equipment after testing is complete.  The Tester will attach testing instruments near the top of the test pile through drilled and threaded holes.  If splices are required, allow the Tester 4-hours time and access, to disassemble, and reinstall testing instruments at the top of the new pile length.

Adjust the energy or fuel setting of the hammer to the maximum position that won’t damage the pile.  Strike the test pile until you have reached minimum penetration and nominal axial resistance, with the Tester present to record test data.

- Restriking.  If the test results do not confirm the nominal axial resistance, the Engineer may direct you to wait 24 hours and then restrike the pile, with the Tester present to record test data.  Perform the re-strike with a warmed-up hammer, and with the energy or fuel setting adjusted to the maximum position that won’t damage the pile.  Strike the test pile with 60 consecutive blows or until the pile penetrates an additional 3 inches, whichever comes first.  The Engineer may terminate the re-strike after 25 blows if the pile movement is less than 1 inch.

If the results from the high-strain dynamic testing or restriking validate the wave equation analysis, drive the remaining piles at the substructure unit using the criteria from the wave equation analysis.  Otherwise, the Engineer may change driving criteria or tip elevations, for the remaining piles at the test location, based on the driving record or the results of the high-strain dynamic testing of the test pile.

Account of the time required by the Tester to perform the pile test program in the progress schedule submitted under Subsection 108-1.03.  The Department will not allow additional contract time or additional compensation, for delays caused by testing or restriking.

505-3.04 PILE BEARING VALUES.  Drive piles to the specified tip elevation and meet or exceed the required ultimate bearing capacity.  The required ultimate bearing capacity is as indicated on the Plans.

The Department will base approval of the pile driving equipment based on wave equation analysis and the Engineer’s recommendations.  When the wave equation is not used, drive all piles to the tip elevation, as shown on the Plans.

505-3.05 MINIMUM PENETRATION.  Make all efforts to drive each pile to the minimum desirable tip elevation as shown on the Plans.

505-3.06 EXTENSIONS, SPLICES, AND BUILD-UPS.  When necessary, make extensions, splices, and build-ups as shown on the Plans and according to the following:

  - Steel Piles.  If the length of a steel pile is not sufficient to obtain the required bearing capacity, splice an additional length to it.  Use additions with cross sections identical to the pile cross sections.

Make splices with complete penetration butt welds over the entire cross section.  If approved, piles may be spiced using pile cut-offs and short pieces if no piece used is less than 10 feet long.

  - Shell or Pipe for Cast-in-Place Piles.  If pile shell or pipe must be extended to reach desired penetration or bearing capacity, splice additional length to the sheel or pipe using complete penetration butt welds over the entire cross section or other splice details recommended by the manufacturer and approved.

Meet the welding requirements of Subsection 504-3.01.8.

505-3.07 DRIVING PILES.  Steel piles when placed in the leads must not exceed the camber and sweep permitted by allowable mill tolerance.  Piles bent or otherwise injured will be rejected.

Drive all piles as shown on the Plans or as ordered in writing.  Drive abutment piles and pier piles in footings within an allowable variation as to direction of pile of not more that 1/4 inch per foot.  Position the piles at the bottom of the footing within 6 inches of the position shown on the Plans.

Do not vary the distance between any 2 piles more than 6 inches from that shown on the Plans, and keep the clear distance from the edge of pile to the edge of footing to at least 6 inches.  Place exposed pile bents within 1/2 inch of the plan position at cut-off elevation and within 3 inches of the plan position at the original ground line elevation.  Limit the rotation of such steel piles about their longitudinal axis to 15 degrees from the plan position.

Install piles in groups starting from the center of the group and proceed outward in either direction.

Provide driving heads, mandrels, or other devices according to the manufacturer’s recommendations so that the pile may be driven without damage.  Use cast steel combination driving heads and pilots with suitable cushion blocks.  Ensure that the driving heads closely fit the top of a steel H-pile or steel pipe pile, and cut the steel piles squarely.  Provide a driving cap to hold the axis of the pile in line with the axis of the hammer.

Use full-length piles where practical.  Where splices are required, follow the provisions of Subsection 505-3.06.

Use metal shoes or reinforcing tips per Subsection 715-2.02.2, Pilet Tip Reinforcing.

Use an impact hammer to drive piles, except as noted in this paragraph.  A vibratory hammer may be used for initial placement of steel bearing piles, provided that the last 10 feet of driving is by impact hammer.

Use pile driver leads that allow the hammer to move freely.  To ensure rigid lateral support to the pile during driving, hold the pile driver leads in position at the top and bottom by using guys or steel braces or by securely fastening them to the ground.  Use leads that are long enough to avoid using a follower.

If you cannot obtain the desirable penetration shown on the Plans by using the specified driving methods and equipment, or if the Engineer believes structural damage to the piling is likely to result from continuing these methods, attempt other methods (as approved in writing) to obtain penetration.  These methods may include, but are not necessarily limited to:

            - Pre-boring

            - Blasting

            - Spudding

            - Jetting

            - Using a heavier or faster striking hammer

Attempt all approved methods before starting work on more than 5 piles or 50% of the piles, whichever is less, in any one substructure unit (such as pier or abutment), or within a 30-foot length of retaining wall.

After exhausting all practicable means to obtain the desired penetration but without success, the Engineer may consider accepting the piling at a lesser penetration if the Engineer believes the adequacy and safety of the resulting structure will not be jeopardized by such acceptance.  Obtain written approval before employing any alternative methods of pile driving or variations from the desirable tip elevation are accepted.

When driving piles through new embankment and the depth of the embankment at the pile location is in excess of 5 feet, drive the pile in a hole made through the embankment.  Make the hole diameter not greater than 12 inches in diameter.  Dispose of excess excavated material.

505-3.08 DEFECTIVE PILES.  Use a pile driving method which does not subject the piles to excessive and undue abuse producing deformation of the steel.  Do not manipulate the piles to force them into proper position.  Correct damaged or improperly driven piles by one of the following approved methods:

  - Withdraw and replace the pile with a new and, when necessary, longer pile.

  - Drive a second pile adjacent to the defective pile.

  - Splice or build up the pile as provided in Subsection 505-3.06, or extend a sufficient portion of the footing to properly imbed the pile.  Drive down all piles pushed up by driving adjacent piles or by any other cause.

505-3.09 CUTTING OFF PILES.  Cut off the piles at the elevations indicated on the Plans.  Ensure that all injured material is removed.

505-3.10 COATING OF STEEL PILES AND SHELLS.  Galvanize steel piles and steel pile shells from the top to a distance not less than 10 feet below the ground line.  Galvanize according to AASHTO M 111 and to a thickness of 4 mils.  Steel piles and pile shells that do not protrude above the final ground line do not require galvanization.

505-4.01 METHOD OF MEASUREMENT.

Furnish Piles.  The sum of the lengths of the piles in place in the completed structure, conforming to the Contract, measured along the centerline of piles from the tip of pile to the intersection with the cut-off elevation shown on the Plans.

Drive Piles.  The number of piles driven in place in the completed structure conforming to the contract.

High-Strain Dynamic Testing.  The number of tests completed, as required in the bid schedule or ordered in writing.

505-5.01 BASIS OF PAYMENT

Furnish Piles.  The contract price includes pile materials delivered to the site; pile crew time, including payroll and administrative additives; and equipment rental for the driving crane, leads and hammer.  All other costs associated with pile work are paid under Drive Piles.

Drive Piles.  The contract price includes all items related to pile work that are not included in Furnish Piles, including but not limited to:  equipment movements, pile splices, cutoffs, templates, crane or work platforms, pile cleanout, jetting or drilling to specified depths, reinforcing steel, concrete fill, and other fixed or variable items.  This pay items is independent of pile length and, therefore, will not change with variations from estimated pile tip elevations.  No adjustment in the contract unit price for Drive Piles, will be made as a result of revisions ordered to the pile tip elevations.

High-Strain Dynamic Testing.  For each high-strain dynamic test performed by the Engineer the contract price includes all work, excluding pile driving, required to assist the Engineer in performing the test.

Restrike of Pile.  All restriking of piles, as directed by the Engineer, will be paid according to a contingent sum basis.

Sheet Piles.  Sheet piles used as temporary shoring for excavation, whether removed or left in place at the Contractor’s option with permission of the Engineer, are subsidiary.

Pile shoes, reinforcing tips, and splices are subsidiary.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 505(5) | Furnish Structural Steel Piles (HP 14x117) | Linear Foot |
| 505(6) | Drive Structural Steel Piles (HP 14x117) | Each |
| 505(10) | Dynamic Test Piles | Each |

Replace  Section 512 with the following:

SECTION 512

FORMS AND FALSEWORK

Special Provisions

512-1.01 Description.  Design, construct, maintain and remove forms, falsework, temporary retaining structures, and other construction used to temporarily support structural concrete, girders, decks, and other major structural elements until the structure is completed to the point where it can support itself.

Forms, also known to as formwork, are the temporary structure or mold used to retain plastic or fluid concrete in its designated shape until it hardens.  Falsework is the temporary construction used to support the permanent structure until it becomes self supporting.

512-2.01 MATERIALS.  As specified or approved.

design and construction requirements

512-3.01 SUBMITTALS.  When complete details for forms and falsework are not shown on the Plans, prepare and submit drawings and calculations for approval.

No less than thirty (30) days prior to anticipated start of falsework construction for a given part of the work, submit for approval three (3) copies of a falsework plan, prepared and sealed by a Professional Engineer registered with the State of Alaska and proficient in structural design.  Include in the falsework plan working drawings, supporting calculations, and material specifications for the falsework, temporary retaining structures and all other related temporary construction.  Include the design loads, material specifications, foundation requirements, sequencing requirements, anticipated settlements or deflections and other relevant information on the drawings.  For manufactured or proprietary falsework components, include the manufacturers’ catalog, technical bulletins, design data, or similar information in the calculations.  For generic, homemade, noncommercial or nonproprietary components, include test documentation in the calculations.  Falsework plans not in conformance with this Contract will be rejected.

In the event that several falsework plans are submitted simultaneously or an additional plan is submitted for review before the review of a previously submitted plan has been completed, designate the sequence in which the plans are to be reviewed.  In such event, the time to be provided for the review of any plan in the sequence shall be not less than the review time specified above for that plan, plus two (2) weeks for each plan of higher priority which is still under review.

Approval by the Engineer of the falsework plan or falsework inspection performed by the Engineer will in no way relieve the Contractor of full responsibility for the falsework.  Do not modify the approved falsework plan without the prior written approval of the Engineer.

Meet the welding requirements of Subsection 504-3.01.8

Include in the falsework plan an Independent Design Check performed by an engineering organization, company, or firm that is unaffiliated with the Professional Engineer responsible for the design.  The Independent Design Check consists of a set of engineering computations prepared and sealed by a Professional Engineer registered in the State of Alaska and experienced in the design and construction of bridge temporary works.  The Independent Design Check, verifies that the design satisfies all of the contract requirements including but not limited to the following:

- All relevant geometry and dimensions of falsework and bridge

- Verification of dead load, live load, wind load and other applicable loads

- Structural adequacy of all members

- Deflection criteria

- Stability of the system to resist all vertical and lateral loads

- Documentation and adequacy of all manufactured or proprietary components

- Testing documentation for all generic, homemade, noncommercial or nonproprietary components

- Constructibility of the proposed falsework

Prior to loading forms, falsework and other temporary support structures, provide the Engineer with a written verification from the Professional Engineer responsible for the falsework design that they have personally inspected the falsework and that the falsework meets all of the design and construction requirements.

512-3.02 Design.  Conform to the AASHTO Guide Design Specifications for Bridge Temporary Works and these specifications.  These provisions apply only to forms, falsework, temporary retaining structures and other temporary construction.  These provisions are not applicable to Contractor-proposed modifications of the structures shown on the Plans.

Obtain written authorization from the Engineer before making modifications to structures shown on the Plans to accommodate forms or falsework.  Conform to the AASHTO LRFD Bridge Design Specifications for Contractor-proposed modifications of new structures shown on the Plans.  Conform to the AASHTO Standard Specifications for Highway Bridges for Contractor-proposed modifications of existing structures shown on the Plans.

Design falsework supporting live or construction loads  for an Anticipated Load of the dead load indicated on the Plans plus the greater of:

- 150% of the live load indicated on the Plans

- Maximum construction equipment load

Size jacks or other lifting devices for twice the Anticipated Load.

Design deck falsework to support the dead load plus 125% of the maximum construction load on a hydrodemolished deck.  Fully support overhang portions of decks prior to hydrodemolition and through the overlay work.

Do not exceed the manufacturer's recommendations or 40% of the ultimate load carrying capacity of the component based on the manufacturer's tests or additional tests ordered.  Limit the maximum allowable dead load deflection of components to 1/500 of their spans.

Load test all generic, homemade, noncommercial or nonproprietary falsework components or assemblies, such as overhang brackets, beam supports and similar devices to establish a safe load carrying capacity.  Such tests will be performed under conditions that simulate the intended use in the falsework.  Field testing of components or assemblies may not be performed on the bridges in the project without the written approval of the Engineer.  Do not exceed a working load on any such component of 40% of the ultimate load sustained during the test.  Provide all test data to the Engineer for review and approval prior to use on this project.

Falsework components or assemblies that use bolts in bearing will not be permitted.  Friction connections will be permitted.  Concrete to steel friction factor will be limited to 0.30, unless testing has shown otherwise.

Do not overload the bridge members with forms and falsework.

512-3.03 Falsework Foundations.  Field verify all controlling ground elevations at proposed foundation locations before designing, ordering or fabricating any material.

Where spread footing type foundations are used, determine the bearing capacity of the soil.  The maximum allowable bearing capacity for foundation material, other than rock, is 4000 lb/ft2.  Do not use unreinforced concrete footings.

Do not locate the edge of footings closer than 2 feet from the intersection of the bench and the top of the slope.  Unless shoring adequately supports the excavation for footings, do not locate the edge of the footings closer than 4 feet or the depth of excavation, whichever is greater, from the edge of the excavation.

Design pile type foundation in accordance with this specification and Section 505.  When falsework is supported by footings placed on paved, well-compacted slopes of berm fills, do not strut the falsework to columns unless the column is founded on rock or supported by piling.

512-3.04 Falsework Over or Adjacent to Roadways and Railroads.  Design and construct falsework over or adjacent to roadways or railroads that are open to traffic so that the falsework will be stable if subjected to impact by vehicles.

Falsework posts that support members that cross over a roadway or railroad are considered as adjacent to roadways or railroads.  Other falsework posts are considered as adjacent to roadways or railroads if they are located in the row of falsework posts nearest to the roadway or railroad and the horizontal distance from the traffic side of the falsework to the edge of pavement, or to a point 10 feet from the centerline of track, is less than the total height of the falsework and forms.  The falsework design at these locations shall include, but not be limited to, the following minimum provisions:

1.	For falsework spans over roadways, all exterior falsework stringers and stringers adjacent to the ends of discontinuous caps, the stringer or stringers over points of minimum vertical clearance and every fifth remaining stringer, shall be mechanically connected to the falsework cap or framing.  The mechanical connections shall be capable of resisting a load in any direction, including uplift on the stringer, of not less than 500 pounds.  Install the connections before traffic is allowed to pass beneath the span.

2.	Use 5/8-inch diameter or larger bolts in all connections for the timber bracing when timber members are used to brace falsework bents that are located adjacent to roadways or railroads.

3.	Falsework bents within 20 feet of the centerline of a railroad track shall be sheathed solid in the area between 3 feet and 17 feet above the track elevation on the side facing the track.  Sheathing shall consist of plywood not less than 5/8-inch thick or lumber not less than 1-inch thick.  Bracing on these bents shall be adequate so that the bent will resist the required assumed horizontal load or 5000 pounds, whichever is greater, without the aid of sheathing.

4.	Mechanically connect the base of each column or tower frame supporting falsework over or immediately adjacent to an open public road to its supporting footing or provide other lateral restraint to withstand a force of not less than 2000 pounds applied to the base of the column in any direction.  Mechanically connect such columns or frames to the falsework cap or stringer to resist a horizontal force of not less than 1000 pounds in any direction.  Neglect the effects of frictional resistance.

5.	Install precast concrete barriers on both sides of all vehicular openings through falsework and at all falsework less than 12 feet from the edge of a traffic lane.  Begin barriers approximately 150 feet in advance of the falsework and extend at least 60 feet beyond falsework in the direction of the adjacent traffic flow.  The location and type of flare to be used shall be as directed by the Engineer.  Locate barriers so that falsework members are at least 12 inches clear.  The clear vehicular opening between the inside faces of the barriers shall be as indicated on the plans but not less than 32 feet.  Do not remove barriers until approved.

6.	Provide a minimum vertical clearance of 15 feet through falsework, unless otherwise shown on the plans.  Install vertical clearance signs at falsework openings and advance warning devices such as overhead signs, flashing lights, over-height vehicle detectors, or other approved equal in conformance with Section 643 indicating vertical clearance.  Indicate a vertical clearance of 3 inches below the minimum measurement as determined by the Engineer on all vertical clearance signs.

512-3.05 Falsework Construction.  Construct falsework to conform to the approved drawings.  Do not begin falsework construction without an approved falsework plan.

Notify the Engineer whenever the falsework will reduce clearances available to traffic no less than fifteen (15) days prior to anticipated start of falsework construction.

Build camber into the falsework to compensate for falsework deflection and anticipated structure deflection.  Camber shown on the Plans or specified by the Engineer is for anticipated structure deflection only.

Attach tell-tales to soffit of concrete forms in enough systematically placed locations to be able to determine from the ground the total settlement of the structure while concrete is placed.

Do not apply dead loads, other than forms and reinforcing steel, to any falsework unless authorized by the Engineer.

Discontinue concrete placement and take corrective action if the falsework deflection observed by the Engineer is greater than anticipated by more than 3/8-inch.  If satisfactory corrective action is not taken before initial concrete set, remove unacceptable concrete as directed by the Engineer and at no cost to the Department.

Construct deck slab forms between girders with no allowance for settlement relative to the girders.

Construct falsework supporting concrete work on steel structures such that any loads applied to girder webs shall be applied within 6 inch of a flange or stiffener and shall be distributed in a manner that will not produce local distortion of the web.  Temporary struts and ties shall be provided as necessary to resist lateral and/or eccentric loads applied to the girders and to prevent appreciable relative vertical movement between the edge of deck form and the adjacent steel girder.

512-3.06 Forms.  Set forms square and true to line and grade.  Construct forms of rigid materials that remain in position until the concrete has set.  Brace and stiffen the forms to prevent distortion.  Form deflections exceeding 1/8-inch will be considered excessive.

For exposed concrete surfaces, use U.S. Product Standard PS 1 for Exterior B-B (Concrete Form) Class I Plywood or other approved material that will produce a smooth and uniform concrete surface.  Use only form panels in good condition free of defects on exposed surfaces.  If form panel material other than plywood is used, it must have flexural strength, modulus of elasticity, and other physical properties equal to or greater than the physical properties for the type of plywood specified.

Furnish and place form panels for exposed surfaces in uniform widths of not less than 3 feet and in uniform lengths of not less than 6 feet except where the width of the member formed is less than 3 feet.

Arrange panels in symmetrical patterns conforming to the general lines of the structure.  Place panels for vertical surfaces with the long dimension horizontal and with horizontal joints level and continuous.  For walls with sloping footings that do not abut other walls, placement of panels with the long dimension parallel to the footing is permitted.

Follow the manufacturer’s written recommendations when using form liners.

Increase the overall thickness of concrete members that receive an architectural finish to maintain the specified minimum cover to reinforcing steel.

Precisely align form panels on each side of the panel joint by means of supports or fasteners common to both panels.  Bevel exposed corners and edges 3/4  1/4-inch with a triangular fillets built into the forms.  Use the same size strip throughout the project unless otherwise noted on the plans.

When forms are supported by existing concrete, ensure that the forms are fit tightly against the hardened concrete and that no excess concrete can pass through the joint.

Devices may be cast into the concrete for later use in supporting forms or for lifting precast members.  Do not use driven devices for fastening forms or form supports to concrete.  Use form ties consisting of form bolts, clamps, or other devices necessary to prevent spreading of the forms during concrete placement.

Use form ties and anchors that can be removed without damaging the concrete surface.  Construct metal ties or anchorages within the forms to permit their removal to a depth of at least 1 inch from the face without damage to the concrete.  Fill cavities with cement mortar and finish to a sound, smooth, uniform colored surface.

Construct all exposed concrete surfaces that will not be completely enclosed or hidden below the permanent ground surface so the formed surface of the concrete does not undulate more than 1/8-inch or 1/360 of the center to center distance between studs, joists, form stiffeners, form fasteners, or wales.  Interior surfaces of underground drainage structures are considered to be completely enclosed surfaces.  Form all exposed surfaces for each element of a concrete structure with the same forming material or with materials that produce similar surface textures, color, and appearance.

Discontinue concrete placement and take corrective action if deflection observed by the Engineer is greater than 1/8-inch.  If satisfactory corrective action is not taken before initial concrete set, remove unacceptable concrete as directed by the Engineer and at no cost to the Department.

Forms may be omitted when the earthen sides of a footing excavation will stand vertically.  Excavate to the neat line dimensions of the footing and pour concrete against the undisturbed earth.  If the excavation is larger than neat line dimensions, any additional concrete placed will be at the Contractor’s expense..

Support roadway slab forms of box girder type structures on walls or similar supports fastened, as nearly as possible, to the top of the web walls.

Construct concrete forms mortar-tight, true to the dimensions, lines, and grades of the structure, and of sufficient strength to prevent appreciable deflection during placement of concrete.  Place all material required to be embedded in the concrete before concrete placement.  Clean the inside surfaces of forms free of dirt, mortar and foreign material.  Remove all loose material before the completion of forming for the roadway deck slab of cast-in-place box girders or cells or voids of other members in which the forms are to either remain in place or be removed.

Coat forms to be removed with form oil prior to use.  Use commercial quality form oil or an equivalent coating, which permits the ready release of the forms and does not discolor the concrete.  Do not place concrete in forms until the forms have been inspected and approved.

Do not place concrete in the forms until the work connected with constructing the forms has been completed, materials required to be embedded in the concrete have been placed for the unit to be poured, and the Engineer has inspected the forms and materials.  Remove dirt, chips, sawdust, water and other foreign material from the forms prior to concrete placement.

Provide enough clearance for constructing forms, inspecting concrete exteriors, and pumping water that collects outside the forms.

Store void forms in a dry location to prevent distortion.  Secure the forms using anchors and ties which leave a minimum of metal or other supporting material exposed at the bottom of finished slab.

Make the outside surface of void forms waterproof.  Cover the ends with waterproof mortar tight caps.  Use a premolded 1/4 inch thick rubber joint filler around the perimeter of the caps to permit expansion.

Provide a PVC vent near each end of each void form.  Construct vents so the vent tubes do not extend more than 1/2 inch below the bottom surface of the finished concrete after form removal.  Protect void forms from the weather until concrete is placed.

When the plans call for a cast-in-place concrete deck, use deck forms that are capable of:

1.	maintaining the deck thickness despite irregularities in and between girders

2.	limiting deck thickness variation from +1/4 inch to –1/8 inch

3.	accommodating camber variation along the length and between the girders

4.	accommodating the vertical and horizontal roadway section

512-3.07 Removal of Forms and Falsework.  Remove all forms except as follows:

1.	Interior soffit forms for roadway deck slabs of cast-in-place box girders.

2.	Forms for the interior voids of precast members.

3.	Forms for abutments or piers when no permanent access is available into the cells or voids.

Remove forms that do not support the dead load of concrete members, other than railings and barriers, only after the concrete for the member has been in place for at least 24 hours and the concrete has sufficient strength to resist damage to the surface.  Protect exposed concrete surfaces from damage.

Do not begin the removal of forms and falsework until the requirements specified in Table 512-3 for concrete strength or minimum time in the forms, when applicable, have been met.

Remove falsework for arch bridges uniformly and gradually, beginning at the crown and working toward the springing.  Remove falsework for adjacent arch spans simultaneously.

Do not release falsework for cast-in-place prestressed portions of structures until after the prestressing steel has been tensioned.

Do not remove falsework supporting the deck of rigid frame structures excluding box culverts, until compacted backfill material has been placed against vertical legs of the frame.

Falsework supporting the sides of girder stems with slopes steeper than 1:1 may be removed before placing deck slab concrete, providing a reshoring system is installed.  Design the lateral supports of the reshoring system to resist all rotational forces acting on the stem, including those caused by the placement of deck slab concrete.  Install the lateral supports immediately after each form panel is removed and before release of supports for the adjacent form panel.

Table 512-3

Form/FALSEWORK Release Criteria

| Structural Element | Percent of Specified 28-Day Strength (f ’c), min. | Days Since Last Pour, min. |
| --- | --- | --- |
| (a) Columns and wall faces not yet supporting loads | 50 | 3 |
| (b) Mass piers and mass abutments not yet supporting loads (except pier caps) | 50 | 3 |
| (c) Pier caps continuously supported | 60 | 7 |
| (d) Slabs and overhangs where supported on steel stringers or prestressed concrete girders | 70 | 10 |
| (e) Trestle slabs where supported on wood stringers | 70 | 10 |
| (f) Simple span girders, T-beam girders, slab bridges, cross beams, caps, pier caps not continuously supported, struts, and top slabs of concrete box culverts | 80 | 14 |
| (g) Box girders | 90 | 14 |
| (h) Arches, continuous span bridges, rigid frames | 90 | 21 |
| (i) Other elements not previously covered | 80 | 7 |

Completely remove falsework material.  Remove falsework piling at least 2 feet below the surface of the original ground or original streambed.  Where falsework piling is driven within the limits of ditch or channel excavation, remove the piling to at least 2 feet below the bottom and side slopes of the excavated areas.

Leave the forms for footings constructed within a cofferdam or crib in place when their removal would endanger the safety of the cofferdam or crib, and where the forms will not be exposed to view in the finished structure.

Remove all other forms whether above or below groundline or water level.  Remove all debris and refuse resulting from the work and clean the premises to a neat and presentable condition as determined by the Engineer.

512-4.01 METHOD OF MEASUREMENT.  Forms and Falsework will not be measured for payment.

512-5.01 BASIS OF PAYMENT.  When either Item 512(1) Forms or 512(2) Falsework, does not appear in the bid schedule, the work required for that item is subsidiary to 515(2) Pre-Manufactured Pedestrian Bridge.

Add the following Section:

SECTION 515

PEDESTRIAN BRIDGE

Special Provisions

515-1.01 DESCRIPTION.  Supply a fully engineered clear span Pratt style bridge of steel construction to the profile and span shown on the plans.  These specifications shall be regarded as minimum standards for design and construction.  The Pedestrian Bridge shall be designed in accordance with AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interim as published by:

American Association of State Highway Transportation Officials

444 North Capitol Street, NW Suite 249

Washington, DC 20001.

515-2.01 QUALIFIED SUPPLIERS.  Each bidder is required to identify their intended bridge supplier as part of the bid submittal.  Qualified suppliers must have at least 5 years experience fabricating these type structures.

Bridge Manufacturers include, but are not limited to:

Contech Bridge Solutions, Inc.

8301 State Highway 29 North

Alexandria, Minnesota 56308

1-800-328-2047

http://www.contech-cpi.com/bridges/11

Excel Bridge Manufacturing Co.

12001 Shoemaker Avenue

Santa Fe Springs, CA 90670

1-800-548-0054

http://www.excelbridge.com/

Big R Manufacturing

P.O. Box 1290

Greeley, Colorado 80632-1290

1-800-234-0734

http://bigrmfg.com/

Wheeler Lumber, LLC

9330 James Avenue South

Bloomington, MN 55431

1-800-328-3986

http://www.wheeler-con.com/

Suppliers other than those listed above may be used provided the supplier can meet these specifications and the engineer or owner's agent evaluates the proposed supplier and approves the supplier 5 days prior to bid.

Proposed suppliers must have at least five (5) years experience designing and fabricating these type structures and a minimum of five (5) successful bridge projects, of similar construction, each of which has been in service at least three (3) years.  List the location, bridge size, owner, and a contact for reference for each project.

The engineer will evaluate and verify the accuracy of the submittal prior to bid.  If the engineer determines that the qualifying criteria have not been met, the contractor's proposed supplier shall be rejected.  The engineer's ruling shall be final.

515-3.01 GENERAL FEATURES OF DESIGN

- Span.  Bridge span shall be 73’-0" (straight line dimension) and shall be as measured from face of backwall to face of backwall.  Provide for at least one-inch movement at the expansion end of the bridge.  Provide clearance for construction tolerances.

- Width.  Bridge width shall be 14'-8" and shall be as measured as the clear travel width at deck level.

- Bridge System Type.

  - Bridge shall be designed utilizing an under-hung floor beam (top of floor beam welded to the bottom of the bottom chord) or be designed utilizing an H-Section configuration where the floor beams are placed up inside the trusses and attached to the truss verticals.

  - The bridge manufacturer shall determine the distance from the top of the deck to the top and bottom truss members based upon structural and/or shipping requirements.  The maximum allowable distance from the top of the deck to the bottom of the bottom truss member shall be 2’-0”.

  - The top of the top chord shall not be less than 54 inches above the deck (measured from the high point of the riding surface).

- Member Components.  All members of the vertical trusses (top and bottom chords, verticals, and diagonals) shall be fabricated from square and/or rectangular structural steel tubing.  Other structural members and bracing shall be fabricated from structural steel shapes or square and rectangular structural steel tubing.

Unless the floor and fastenings are specifically designed to provide adequate lateral support to the top flange of open shape stringers (w-shapes or channels), a minimum of one stiffener shall be provided in each stringer at every floor beam location

- Safety Railing Attachments.  Vertical safety rails or pickets shall be placed on the structure to a minimum height of 4'-6" above the deck surface.  The pickets shall be spaced so as to prevent a 4" sphere from passing through the truss.  Pickets shall be placed on the inside of the structure.  The top of the vertical pickets shall have a continuous cap angle or some other means to prevent bridge users from cutting or scraping their hands.

The picket safety system shall be designed for an infill loading of 200 pounds, applied horizontally at right angles, to a one square foot area at any point in the system.

- Camber.  The bridge shall have a vertical camber dimension at mid-span equal to 100% of the full dead load deflection.

- Style.  The bridge shall be a Pratt style truss with no top covering or chords over the pedestrian pathway.

- Bridge Joints.  Provide joints that will allow for all anticipated movements and provide a smooth transition from the abutment to the premanufactured pedestrian bridge.

515-3.02 ENGINEERING.  Structural design of the bridge structure shall be performed by or under the direct supervision of a Licensed Professional Engineer and done in accordance with recognized engineering practices and principles.  The design of all elements shall conform to AASHTO LRFD Bridge Design Specifications 4th Edition with 2008 Interims.

- Design Loads.  Design loads shall conform to AASHTO LRFD Bridge Design Specifications 4th Edition with 2008 Interims Section 3.  In considering design and fabrication issues, this structure shall be assumed to be statically loaded.  No dynamic analysis shall be required nor shall fabrication issues typically considered for dynamically loaded structures be required for this bridge.

a.	Dead Load.  The bridge structure shall be designed considering its own dead load (superstructure and original decking, including wearing surface) only.  No additional dead loading need be considered.

b.	Live Load.  The bridge shall be designed for live loads in accordance with AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims, Article 3.6.1.6.  The bridge shall be designed for a minimum of 10 foot wide clear bridge width, therefore shall be designed for an H10 truck load as required by the code.

c.	Wind Load.  Wind load shall be calculated as per AASHTO LRFD Bridge Design Specifications 4th Edition with 2008 Interims, Article 3.8.1.2.  VDZ = 100 mph.

d.	Top Chord/Railing Loads.  The top chord, truss verticals, and floor beams shall be designed for lateral wind loads (per Subsection 3.02.1.3 above) and for any loads required to provide top chord stability as outlined in Subsection 3.02.3.4; however, in no case shall the load be less than the load specified in AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims, Article 13.8.2.

e.	Load Combinations.  The loads listed herein shall be considered to act in the combinations specified in AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interim, Article 3.4, whichever produce the most unfavorable effects on the bridge superstructure or structural member concerned.

The foundations have been designed in accordance with AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims for the loads specified in Article 3.4 assuming a dead weight of the bridge (including wearing surface) of 217 kips.  If the unfactored dead weight of the bridge exceeds 217 kips, contact the engineer for a revised abutment design.

- Design Limitations

a.	Deflection

    - Vertical Deflection.  The vertical deflection of the main trusses due to service pedestrian live load shall not exceed 1/400 of the span.

The vertical deflection of cantilever spans of the structure due to service pedestrian live load shall not exceed 1/300 of the cantilever arm length.

The deflection of the floor system members (floor beams and stringers) due to service pedestrian live load shall not exceed 1/360 of their respective spans.

Deflection limits due to occasional vehicular traffic shall not be considered.

    - Horizontal Deflection.  The horizontal deflection of the structure due to lateral wind loads shall not exceed 1/300 of the span.

b.	Minimum Thickness of Metal.  The minimum thickness of all structural steel members shall be 3/16" nominal and be in accordance with the AISC Manual of Steel Constructions' "Standard Mill Practice Guidelines".  For ASTM A500 and ASTM A847 tubing, the section properties used for design shall be per the Steel Tube Institute of North America's Hollow Structural Sections “Dimensions and Section Properties.”

- Governing Design Codes / References.  Structural members shall be designed in accordance with recognized engineering practices and principles as follows:

a.	Structural Steel Design.  Structural Steel Design shall be in accordance with AASHTO LRFD 4th Edition with 2008 Interims Section 6.

b.	Welded Tubular Connections.  American National Standards Institute / American Welding Society (ANSI/AWS) and the Canadian Institute of Steel Construction (CISC).

All welded tubular connections shall be checked, when within applicable limits, for the limiting failure modes outlined in the ANSI/AWS D1.1 Structural Welding Code or in accordance with the "Design Guide for Hollow Structural Section Connections" as published by the Canadian Institute of Steel Construction (CISC).

When outside the “validity range” defined in these design guidelines, the following limit states or failure modes must be checked:

    - Chord face plastification

    - Punching shear (through main member face)

    - Material failure

      - Tension failure of the web member

      - Local buckling of a compression web member

    - Weld failure

      - Allowable stress based on “effective lengths”

      - “Ultimate” capacity

    - Local buckling of a main member face

    - Main member failure:

      - Web or sidewall yielding

      - Web or sidewall crippling

      - Web or sidewall buckling

      - Overall shear failure

All tubular joints shall be plain unstiffened joints (made without the use of reinforcing plates) except as follows:

    - Floor beams hung beneath the lower chord of the structure may be constructed with or without stiffener (or gusset) plates, as required by design.

    - Floor beams which frame directly into the truss verticals (H-Section bridges) may be designed with or without end stiffening plates as required by design.

    - Where chords, end floor beams and in high profiles the top end struts weld to the end verticals, the end verticals (or connections) may require stiffening to transfer the forces from these members into the end vertical.

    - Truss vertical to chord connections.

NOTE:  The effects of fabrication tolerances shall be accounted for in the design of the structure.  Special attention shall be given to the actual fit-up gap at welded truss joints.

c.	Wood.  Design of timber elements shall be in accordance with AASHTO LRFD 4th Edition with 2008 Interims Section 8.

d.	Top Chord Stability.  Top Chord Stability shall be checked by a rational method, see AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims Article 6.14.2.9.  One approach is given by the Structural Stability Research Council (SSRC), formerly Column Research Council.

515-3.03 MATERIALS

- Steel.  Use Structural Steel conforming to Section 716 of these special provisions.

- Decking.  A concrete deck shall be provided on the pedestrian bridge.  The pedestrian bridge and deck shall be designed so as to allow 50 pounds per square foot of asphalt on top of the concrete deck.

- Coating.  All exposed structural steel shall be painted a paint system conforming to Subsection 708-2.01.  The color of the coating system shall match RAL 6029.

515-3.04 WELDING

- Welding.  Welding and weld procedure qualification tests shall conform to the provisions of ANSI/AWS D1.1 “Structural Welding Code”, 1996 Edition.  Filler metal shall be in accordance with the applicable AWS Filler Metal Specification (i.e., AWS A 5.28 for the GMAW Process).  For exposed, bare, unpainted applications of corrosion resistant steels (i.e., ASTM A588 and A847), the filler metal shall be in accordance with AWS D1.1, Section 3.7.3.

- Welders.  Welders shall be properly accredited operators, each of whom shall submit certification of satisfactorily passing AWS standard qualification tests for all positions with unlimited thickness of base metal, have a minimum of 6 months experience in welding tubular structures and have demonstrated the ability to make uniform sound welds of the type required.

515-3.05 SUBMITTALS

- Submittal Drawings.  Schematic drawings and diagrams shall be submitted to the customer for their review after receipt of order.  Submittal drawings shall be unique drawings, prepared to illustrate the specific portion of the work to be done.  All relative design information such as member sizes, bridge reactions, and general notes shall be clearly specified on the drawings.  Drawings shall have cross referenced details and sheet numbers.  All drawings shall be signed and sealed by a Professional Engineer who is licensed in accordance with Subsection 3.02.1.4.

- Structural Calculations.

Structural calculations for the bridge superstructure shall be submitted by the bridge manufacturer and reviewed by the approving engineer.  All calculations shall be signed and sealed by a Professional Engineer who is licensed in accordance with Subsection 3.02.1.4.  The calculations shall include all design information necessary to determine the structural adequacy of the bridge.  The calculations shall include the following:

*	Axial, bending, and shear capacity checks in accordance with AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims of the critical member of each truss member type (i.e., top chord, bottom chord, floor beam, vertical, etc.).

*	Checks for the critical connection failure modes for each truss member type (i.e., vertical, diagonal, floor beam, etc.).  Special attention shall be given to all welded tube on tube connections (see Subsection 3.02.1.4.3.2 for design check requirements).

*	All bolted splice connections.

*	Main truss deflection checks.

*	An analysis of the top chords of half through-trusses as required by AASHTO LRFD Bridge Design Specifications, 4th Edition with 2008 Interims Article 6.14.2.9.

*	Deck design.

NOTE:  The analysis and design of triangulated truss bridges shall account for moments induced in members due to joint fixity where applicable.  Moments due to both truss deflection and joint eccentricity must be considered.

- Welder certifications.  Welder certifications in compliance with AWS standard qualification tests.

- Welding procedures.  Welding procedures in compliance with Subsection 3.06.1.

515-3.06 FABRICATION

1.	General Requirements

a.	Drain Holes.  When the collection of water inside a structural tube is a possibility, either during construction or during service, the tube shall be provided with a drain hole at its lowest point to let water out.

b.	Welds.  Special attention shall be given to developing sufficient weld throats on tubular members.  Fillet weld details shall be in accordance with AWS D1.1, Section 3.9 (see AWS Figure 3.2).  Unless determined otherwise by testing, the loss factor “Z” for heel welds shall be in accordance with AWS Table 2.8.  Fillet welds, which run onto the radius of a tube shall be built up to obtain the full throat thickness (See Figure 7.1).  The maximum root openings of fillet welds shall not exceed 3/16” in conformance with AWS D1.1, Section 5.22.  Weld size or effective throat dimensions shall be increased in accordance with this same section when applicable (i.e., fit-up gaps> 1/16”).

RADIUS OF TUBE TO

BE BUILT UP IN ORDER

TO OBTAIN FULL WELD

THROAT THICKNESS

FIGURE 7.1

BUILD UP RADIUS WELD

The fabricator shall have verified that the throat thickness of partial joint penetration groove welds (primarily matched edge welds or the flare-bevel-groove welds on under-hung floor beams) shall be obtainable with their fit-up and weld procedures.  Matched edge welds shall be “flushed” out when required to obtain the full throat or branch member wall thickness.

For full penetration butt welds of tubular members, the backing material shall be fabricated prior to installation in the tube so as to be continuous around the full tube perimeter, including corners.  Backing may be of four types:

- A “box” welded up from four (4) plates.

- Two “channel” sections, bent to fit the inside radius of the tube, welded together with full penetration welds.

- A smaller tube section, which slides inside the spliced tube.

- A solid plate cut to fit the inside radius of the tube.

Corners of the “box” backing, made from four plates, shall be welded and ground to match the inside corner radii of the chords.  The solid plate option shall require a weep hole either in the chord wall above the “high side” of the plate or in the plate itself.  In all types of backing, the minimum fit-up tolerances for backing must be maintained at the corners of the tubes as well as across the “flats”.

- Quality Certification

The bridge shall be fabricated by a fabricator who is currently certified by the American Institute of Steel Construction to have the personnel, organization, experience, capability, and commitment to produce fabricated structural steel for the category “Major Steel Bridges” as set forth in the AISC Certification Program.  Quality control shall be in accordance with procedures outlined for AISC certification.  For painted structures, the fabricator must hold a "Sophisticated Paint Endorsement" as set forth in the AISC certification program.  Furthermore, the bridge shall be fabricated in a facility owned and/or leased by the corporate owner of the manufacturer, and fully dedicated to bridge manufacturing.

515-3.07 DELIVERY AND ERECTION.  The manufacturer shall provide detailed, written instruction in the proper lifting procedures and splicing procedures (if required) to the contractor.

The bridge manufacturer shall provide written inspection and maintenance procedures to be followed by the bridge owner.

515-3.08 BEARINGS.  Bridge bearings shall consist of a steel setting or slide plate placed on the abutment or grout pad.  The bridge bearing plate which is welded to the bridge structure shall bear on this setting plate.  One end of the bridge will be fixed by fully tightening the nuts on the anchor bolts at that end.  The opposite end will have finger tight only nuts to allow movement under thermal expansion or contraction.

The step height (measured from bottom of bearing to top-of-deck – See dimension “H” on plan sheet “ABUTMENT”) shall be determined by the bridge manufacturer.

The shall have Teflon on Teflon or stainless steel on Teflon slide bearings placed between the bridge bearing plate and the setting plate.  The top slide plate shall be large enough to cover the lower Teflon slide surface at both temperature extremes.

515-3.09 ANCHOR BOLTS.  The bridge manufacturer shall determine the number, diameter, minimum grade and finish of all anchor bolts.  The anchor bolts shall be designed to resist all horizontal and uplift forces to be transferred by the superstructure to the supporting foundations.  The supporting abutments have been designed for a pedestrian bridge weighing 217 kips.  Should the pedestrian bridge weight exceed 217 kips, notify the engineer immediately.  The contractor shall provide and install the anchor bolts in accordance with the manufacturer's anchor bolt spacing dimensions.

515-3.10 WARRANTY.  The bridge manufacturer shall warrant their steel structure to be free of design, material and workmanship defects for a period of ten years from the date of delivery.  Naturally durable hardwood decking and hardwood attachments shall carry a ten-year warranty against rot, termite damage, or fungal decay.  Other types of wood are excepted under this warranty.

This warranty shall not cover defects in the bridge caused by abuse, misuse, overloading, accident, improper maintenance, alteration or any other cause not the result of defective materials or workmanship.

Repair or replacement shall be the exclusive remedy for defects under this warranty.  The bridge manufacturer shall not be liable for any consequential or incidental damages for breach of any express or implied warranty on their structures.

515-4.01 METHOD OF MEASUREMENT, Section 109

515-5.01 BASIS OF PAYMENT.  The pedestrian bridge will be paid for at the Contract lump sum price.  The lump sum price is full compensation for furnishing, and erecting the pedestrian bridge as indicated in the Contract.  All materials, equipment and labor required to install erect the pedestrian bridge will be paid for under the Contract lump sum price.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 515 (2) | Pre-manufactured Pedestrian Bridge | Lump Sum |

### Special Provisions

#### Add the following Section:

### SECTION 516

### MODULAR BLOCK RETAINING WALL

### 516-1.01 Description

### Work under this section shall include all labor, equipment, and materials to install new Modular Block Retaining Walls.  The Modular Block Retaining Walls shall consist of precast modular masonry blocks.  The blocks shall be arranged so that all exposed surfaces whether on the front, sides, or back, match the standard block face in shape, texture, and color.

### Curvilinear alignment is required as shown on the Plans.

### Capstones shall be provided as shown on the Plans.  Capstones are intended to provide a color contrast, reveal, and finished appearance at the top of walls and shall be supplied by the same manufacturer as the Modular Block Retaining Wall System.

### 516-2.01 Materials

### Modular Concrete Retaining Wall Units

### Modular Block units shall be capable of being constructed at the curve radii shown in the plans using standard details published by the manufacturer.

Modular block units shall conform to ASTM C1372-04, Standard Specification for Dry-Cast Segmental Retaining Wall Units.

At the contractor’s option, one of the following acceptable Modular Block Retaining Wall systems may be constructed using the specified style:

- Allen Block – “Stones”

Allen Block Corporation
5300 Edina Industrial Blvd, Suite 100
Edina, MN 55439
Phone (952) 835-5309

- Keystone – “Straight Split” (Standard and Compac)

Keystone Corporate Headquarters
4444 West 78th Street
Minneapolis, MN 55435
Phone (952) 897-1040

- VERSA-LOK –  “Standard Unit”

VERSA-LOK Retaining Wall Systems
6348 Hwy 36, Suite 1
Oakdale, MN 55128
Phone (800) 770-4525

Use only one Modular Block Retaining Wall system for installation on this project. Use of multiple systems will not be allowed.

Modular Block Retaining Wall working drawings shall be submitted for review and approval in accordance with Section 105 and shall include the following information as a minimum:

### Indicate Modular Block manufacturer, unit, and color.

### Provide block manufacturer’s specifications and recommendations.

### Recent test data indicating standard unit’s conformance to ASTM C1372-04.

### Indicate face setback distance.

### Geogrid manufacturer’s specifications and recommendations.

### Method of Construction.

### Block adhesive manufacturer’s specifications and recommendations.

### B.	Modular Block Adhesives

### Provide a Modular Block Adhesive for bonding the capstones to the wall. The adhesive shall be waterproof and weather resistant. Adhesive shall have a minimum bonding strength of 160 psi after 7-days.  Store and apply adhesive in accordance with manufacturer’s recommendations.  Select adhesives with suitable weather restrictions such that the local weather will not adversely affect proper application and curing of the adhesives.  Once properly applied and cured the adhesives shall be suitable for local temperature extremes, applications below grade and occasional exposure to ground water.

### C.	Soils and Geogrid Reinforcing

Soil for backfill and base shall conform to Section 301 of these specifications and to the manufacturer’s recommendations.

Geogrid reinforcement shall conform to ASTM D6638 and shall be installed at the locations shown on the plans in accordance with the manufacturer’s recommendations.

### 516-3.01 Construction Requirements

### A.	Foundation Preparation

Beneath the Modular Block Retaining Wall, excavate to the design subgrade and grade the foundations soils at that depth level beneath the entire wall zone of reinforcement plus 1 foot on all sides. Compact the foundation soils prior to wall construction to not less than 95% of the maximum dry density in accordance with Section 301. Remove any foundation subgrade soils found to be unsuitable by the engineer and replace with compacted backfill.

### B.	Leveling Course and Backfill

Provide a leveling course and backfill that meets the requirements of the manufacturer’s recommendation for the proprietary wall system chosen.

Contractor shall remove and replace any wall materials that become damaged during any backfill placement and correct any misalignment or distortion of the masonry block units at no additional cost to the owner.

At least one density test will be conducted after every three levels of blocks are placed. Soil tests shall be taken no closer than three (3) feet from the back surface of the modular block units. The field Engineer will determine field density using Alaska FOP for AASHTO T205 or WAQTC for AASHTO T310 and WAQTC FOP for AASHTO T224.

### C. 	Installation

Install modular block retaining wall units according to the manufacturer’s recommendations and specifications. Construct wall to the lines and grade shown on the plans.  Do not exceed vertical and horizontal tolerances of ¾ inch as measured with a 10 foot straight edge. Batter wall in accordance with the manufacturer’s recommendations for the wall system chosen.

An on-site representative from the proprietary wall system being used shall be available during the erection of the wall. The services of the representative shall be at no additional cost to the owner.

### D.	Finishing Wall

### Secure cap units to the top of the wall with the approved adhesive according to the drawings and the manufacturer’s recommendations.

### Finish grading above the wall to direct surface water runoff away from the segmental retaining wall.  Place topsoil as required to restrict the rate of water infiltration into the retaining wall structure.

### At the end of each day’s operation, the Contractor shall slope the last level of backfill away from the wall to rapidly direct water runoff away from the wall face.  In addition, the Contractor shall not allow surface runoff from adjacent areas to enter the wall construction site.

### 516-4.01 Method of Measurement

### Method of measurement for all Work described in this Section shall be per square foot of Modular Block Retaining Wall face, including the embedded portion of the wall, foundation preparation, leveling course, backfill, geotextile and all appurtenances necessary for a complete in-place Modular Block Retaining Wall System are subsidiary.

### 516-5.01 Basis of Payment

### Payment shall be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 516(1) | Modular Block Retaining Wall | Square Foot |

SECTION 603

CULVERTS AND STORM DRAINS

# Special Provisions

603-1.01 DESCRIPTION.  Add the following:  This work shall also consist of installing culvert marker posts.

603-2.01 MATERIALS.  Delete the second paragraph and substitute the following:  When Item 603(17-xx), Pipe, is listed in the bid schedule, furnish either Corrugated Steel Pipe (CSP) or Reinforced Concrete Pipe.  Corrugated Polyethylene Pipe is not allowed.  End Sections for Metal Pipe must be of the same material as the pipe.

Add the following:  Culvert marker posts shall meet the requirements of subsection 730-2.05, Flexible Delineator Posts.  The color shall be blue with no other markings.  The 2.5-inch by 6-foot post shall be rectangular in cross section with reinforcing ribs capable of a minimum bending radius of 9 inches.

Add the following subsection:

603-3.06 CULVERT MARKER POSTS.  Culvert marker posts shall be installed on the approach side of storm drain outfalls 30 inches and smaller, field inlets not in paved parking lots, all end sections to cross culverts, or as directed by the Engineer.  Forty-two inches of post shall remain above the ground after driving.

603-4.01 METHOD OF MEASUREMENT.  Add the following:  Culvert marker posts will not be measured for payment.

603-5.01 BASIS OF PAYMENT.  Add the following:  Culvert marker posts will not be paid for directly, but will be subsidiary to pipe items.

R42(08/27/03)

Replace Section 606 with the following:

SECTION 606

REMOVABLE BOLLARDS

Special Provisions

606-1.01 DESCRIPTION.

The work under this Section shall consist of provided all labor and equipment related to furnishing removable metal bollards as required in the Contract Documents.

- Submittals:  Contractor shall provide submittals for all metal fabrications and ancillary structural items as specified in this section.

- Shop Drawings:  Metal fabrications, including welding and fabrication information.

- Specific instructions for all phases of installation including hole size, preparation, placement, procedures, and instructions for safe handling of anchoring systems.

- Quality Assurance:

- Welders Qualifications:  Certified in accordance with American Welding Society (AWS) D1.1-92, Chapter 5.

- Welding Procedures:  Follow the requirements of AWS D1.1-92 and AWS D1.2-90.

- Delivery, Storage and Handling:

- Preparation for Shipment:  To the extent practicable, factory-assemble items specified in this Section.

- Package and clearly tag parts and assemblies that are of necessity shipped  unassembled, in a manner that will protect materials from damage, and facilitate identification and field assembly.

606-2.01 MATERIALS

- Unless otherwise indicated, meet the following requirements:

| Item | ASTM Specification |
| --- | --- |
| Steel Shapes and Plates | A36-90 |
| Steel Pipe | A501-89 or A53-90b, Type E or S, Grade B |
| Structural Steel Tubing | A500-90a, Grade B |
| STAINLESS STEEL: |  |
| Bars and Shapes | A276-91, AISI Type 316 |
| Steel Plate, Sheet and Strip | A167-91, AISI Type 316 |
| Bolts and Threaded Rods | A1936-90a, AISI Type 316, B8MN, B8M2, or B8M3 |
| Nuts | A194-91, AISI Type 316, B8MN, B8M2, or B8M3 |
| STEEL BOLTS AND NUTS |  |
| Carbon Steel | A307-91 or A36-90 |
| High-Strength | A325-91b, Type 3 |
| Galvanized Steel Bolts and Nuts | A307-91 or A36-90, with A153-82 Zinc Coating, and ANSI B1.1-89 |
| Eyebolts | A489-90 |
| Threaded Rods | A36-90 |
| Flat Washers (Unhardened) | F844-90; use A153-82 for Zinc Coating |
| Flat Washers (Hardened) | F436-91 |

- Antiseizing Lubricant:  Lubricant shall contain substantial amounts of molybdenum disulfide, graphite, mica, talc, or copper.  Use Loc Tite Co., Permatex.

- Fabrication:

- General:

- Finish exposed surfaces smooth, uniform, sharp, and true to well-defined lines.  Provide fabricated product free of warps, kinks, dents, scrapes and other damage or unsightly condition.

- Horizontal elements shall be fabricated perpendicular to vertical elements.  Vertical elements shall be constructed to installed plumb.

- Furnish necessary rabbets, lugs, and brackets so work can be assembled in neat, substantial manner.

- Conceal fastenings where practical; where exposed, flush countersink.

- Drill metalwork and countersink holes as required for attaching hardware or other materials.

- Round sharp edges to small uniform radius.  Grind burrs, jagged edges, and surface defects smooth.  Flame cutting is not permitted.

- Material Thinner than 1/8-inch:  Either galvanize before fabrication in accordance with ASTM A525-91a, except the weight of zinc coating shall average minimum 1.2 ounces per square foot of actual surface area with no individual specimen having a weigh of less than 1 ounce per square foot.

- Assembly:

- Fit and assemble in largest practical sections for delivery to site.

- Fabricate as shown on Drawings and in accordance with ASTM A385-80.

- Weld connections and grind exposed welds smooth.  When required to be watertight, make welds continuous.

- Use fasteners as shown or scheduled.

- Grind cut edges smooth and straight.

- Welding:

- Meet requirements of ANSI/AWS D1.1-92 for techniques of welding employed, appearance, quality of welds made, and the methods of correcting defecting work.

- Meet visual acceptance standards of ANSI/AWS D1.1-92, paragraph 8.15.1.  Welds shall be ground smooth to required size and be free of putty, pits, pinholes and debris.

- Complete welding before applying finish.

- All welds shall be continuous unless shown otherwise.

- Painting:  Perform work in accordance with safety regulations and guidelines of Federal, state and local agencies having jurisdiction.

- Surface Preparation:  Prepare steel surfaces in accordance with Steel Structures Painting Council (SSPC) procedures and paint manufacturer’s instructions.

- Application:  In controlled, suitable environment, shop-apply primer and top-coat in accordance with paint manufacturer’s printed recommendations and special details.  Allow sufficient time between coats to assure thorough drying of previously-applied paint.  Provide the Minimum Dry Film Thickness (MDFT) as specified in this section or as recommended by the paint manufacturer, whichever results in the thicker dry coating.  Paint systems and color samples conforming the following requirements, or acceptable equivalents, shall be submitted for the Engineer’s review.  Colors shall be as selected by the Engineer.

- Steel surfaces exposed to atmospheric and mildly-corrosive environments shall be primed with one 3 mil MDFT coat of polyamide anti-corrosive epoxy primer and painted with two coats of polyurethane enamel, 4 mil MDFT total top coat cover.  Field-repair damaged coatings to the satisfaction of the Engineer using touch-up paint recommended by same manufacturer in color identical to that repaired.

- Padlocks:

- Padlocks for removable bollards shall be American Lock, WWE Series 3560 to be purchased from Action Locksmith, 243 W. 5th Avenue, Anchorage.  Telephone (907)279-7050.  Cores are to be keyed to Municipality of Anchorage cores matched to a 645 key.  Installation of the cores must be authorized by Michael Swenson with MOA, phone 343-8270.

606-3.01 CONSTRUCTION

- Installation:

- General:

- Install metal fabrications plumb or level, accurately fitted, free of distortion or defects.

- Erect steel in accordance with applicable portions of AISC Code of Standards Practice, except as modified.

- Install manufactured products in accordance with manufacturer’s recommendations.

- Allow for erection loads, and for sufficient temporary bracing to maintain true alignment until completion of erection and installation of permanent attachments.

- Obtain Engineer’s acceptance prior to site cutting or making adjustments not scheduled.

- After erection, apply prime or galvanize coating to welds, abrasions, and surfaces no in contact with concrete.

- Erection Tolerances:

- Maximum Variation from Plumb:  1/4 –inch in 10 feet.

- Maximum Offset from True Alignment:  1/4-inch.

606-4.01 METHOD OF MEASUREMENT

Removable Bollards shall be measured in units for complete installation as shown on the drawings and as specified herein.

606-5.01 BASIS OF PAYMENT

The work of this section shall be measured and paid under the Division 75 bid item to which it relates and under the following unit:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 606(17) | Removable Steel Bollards | Each |

- SECTION 608

- SIDEWALKS

- Special Provisions

608-1.01 description.  Add the following:  This work also consists of constructing asphalt pathway(s) and median(s) to conform to the Plans.

608-2.01 MATERIALS.  Delete paragraph number 2 and substitute the following:

2.  Asphalt Sidewalk and Asphalt Pathway

- Asphalt Cement, PG 52-28	subsection 702-2.01

Aggregate, Type II or III	subsection 703-2.04

Mix Design Requirements (ATM 417)

- Marshall Stability, pounds, min.	1,000

Percent Voids, Total Mix	2-5

Compaction, Blows/side	50

(05/22/07)R47

Standard Modifications

608-3.03 CURB RAMPS.  Delete subsection in its entirety and replace with the following:

Construct curb ramps according to the details and the locations shown in the Plans.  Follow the construction requirements of Subsection 608-3.01.  Give the exposed concrete surface a coarse broom finish.  Install detectable warnings.

Add new subsection:

608-3.04 DETECTABLE WARNINGS.  Construct detectable warnings according to the details and the locations shown in the Plans.  Install detectable warning tile by embedding tile flanges into cast in place concrete construction so there are no vertical changes in grade exceeding 0.25 inch or horizontal gaps exceeding 0.5 inch.  Align pattern on a square grid in the predominant direction of travel.  Install the same type of detectable warning tile throughout the project.

Install cast iron, yellow polymer soaked, or black asphalt dip finish, with slip resistant surface with handle or flange on bottom, and with truncated dome pattern; or approved equal.

Detectable warnings shall be manufactured and installed according to the Americans with Disabilities Act Accessibility Guidelines.

E61072808

Special Provisions

- Add following subsections:

608-3.05 ASPHALT PATHWAY.  Construct asphalt pathway according to subsection 608-3.02, Asphalt Sidewalks.

608-3.06 ASPHALT PATHWAYS AND MEDIANS.  Construct asphalt pathways and medians according to subsection 608-3.02, Asphalt Sidewalks.

608-4.01 METHOD OF MEASUREMENT.  Add the following:

Asphalt Pathway.  By the ton of asphalt concrete according to Section 109, Measurement and Payment.  Asphalt cement will not be measured for payment.

Asphalt Pathways and Medians.  By the ton of asphalt concrete according to Section 109, Measurement and Payment.  Asphalt cement will not be measured for payment.  Additional asphalt pavement used for matching existing surfaces such as paved parking lots behind a new sidewalk/pathway will be measured and paid under this Section.

(05/22/07)R47

Standard Modifications

608-4.01 METHOD OF MEASUREMENT.  Delete fifth paragraph beginning with:  “Curb Ramp” and replace with the following:

Curb Ramp.  By each installation, complete in place, including detectable warnings, ramp runs, backing curbs, flares, and landings necessary to provide a single street-level access.

E61-072808

Special Provisions

608-5.01 BASIS OF PAYMENT.  Add the following:  Asphalt cement for Asphalt Pathway and Asphalt Pathways and Medians will not be paid for separately, but will be subsidiary to respective pay items.

Embankment and bed course materials will be furnished, placed and paid under Sections 203 and 301, respectively.

(05/22/07)R47

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 608(7) | Asphalt Pathway | Ton |

# SECTION 615

# Standard signs

Special Provisions

615-2.01 MATERIALS.  Under Item 1, delete the first sentence and substitute with the following:  Unless shop drawings have been provided in the contract, submit all signs that require the use of the Alaska Sign Design Specifications (ASDS), Department of Transportation and Public Facilities sign face fabrication requirements, and the Alaska Traffic Manual letter width and spacing chart for approval before fabrication.

Special Provisions

615-2.01 MATERIALS.  Delete the first paragraph of Item 2, including subitems a, b, c, and replace with:

2.	Sign Fabrication.  Use Type VIII or Type IV reflective sheeting (for lettering symbols, borders, and background) on sheet aluminum panels for all signs except the following:

a.	Orange Background Signs.  Use Type IX fluorescent orange reflective sheeting placed on sheet aluminum panels, except:

For temporary installations the reflective sheeting may be placed on aluminum, plastic, or plywood sheet panels.

For flexible signs (Roll-Up Signs) use fluorescent reflective sheeting Type VI or better (based on durability and reflectivity, as determined by the Engineer).  Roll-Up Sign – 3M Series RS 24, Reflexite Marathon Orange, or approved equal.

b.	Railroad Crossbucks and Vertical Crossbuck Supports:  Use white Type VIII or Type IX reflective sheeting for background of sign and strips.

c.	Non-Illuminated Overhead Signs with White Legends on Green Backgrounds:  Use Type IX reflective sheeting for legends and background.  Create the legend in one of the following ways:

(1)	Cut border and legend from white Type IX reflective sheeting and adhere to a green Type IX background, or

(2)	Cut stencil of border and legend out of green transparent acrylic film and use transparent adhesive to overlay the film on a white Type IX reflective background.

d.	Fluorescent Yellow-Green School Area Signs:  Use Type VIII or Type IX reflective sheeting for background.

Reflective Sheeting Warranty.  Supply manufacturer’s warranty for reflective sheeting including retention of fluorescent yellow-green (measured according to ASTM E2301) for ten years according to the following criteria:

Minimum Fluorescent Luminance Factor			YF:  20%

Minimum Total Luminance Factor			YT:  35%

The warranty shall stipulate:  If the sheeting fails to meet the minimum fluorescence values within the first 7 years from the date of fabrication, the manufacturer shall, at the manufacturer’s expense, restore the sign surface to its original effectiveness.  If the reflective sheeting fails to meet the minimum fluorescence values within the 8th through the 10th year from the date of fabrication, the manufacturer shall, at the manufacturer’s expense, provide enough new replacement sign sheeting to the Department to restore the sign surface to its original effectiveness.

R615(06/17/08)

615-4.01 METHOD OF MEASUREMENT.  Add the following to the second paragraph:  Concrete used for sign bases is considered subsidiary to other work under this section.

- SECTION 618

- SEEDING

Special Provisions

618-1.01 DESCRIPTION.  Add the following:  Topsoil and seed new or disturbed slopes and other areas as directed by the Engineer.  Track the soil and apply seed, mulch, fertilizer, and water.  Provide a living ground cover on slopes as soon as possible.

618-2.01 MATERIALS.  Add the following to the list of material specifications:

Mulch	Subsection 727-2.01

618-3.01 SOIL PREPARATION.  Add the following:  Apply seed as detailed in Subsection 618-3.03 immediately after the shaping of the slopes.  Cover all slopes to be seeded with topsoil according to Section 620.  Complete slope preparation as soon as topsoil is placed on the slopes.

CR52-012707

Standard Modification

CONSTRUCTION REQUIREMENTS

618-3.01 SOIL PREPARATION.  Delete the fourth paragraph and replace with the following:

Roughen the surface to be seeded by grooving the soil in a uniform pattern that is perpendicular to the fall of the slope.  Use one or more of the following grooving methods with associated equipment before the application of seed:

1.	Manual raking with landscaping rakes;

2.	Mechanical track walking with track equipment; or

3.	Mechanical raking with a scarifying slope board.  Form one inch wide grooves spaced no more than six inches apart.

Rounding the top and bottom of slopes to facilitate tracking or raking and to create a pleasant appearance is acceptable, but disrupting drainage flow lines is not.

618-3.02 SEEDING SEASONS.  Add the following:  Seed disturbed areas that require seeding within 14 days of the permanent cessation of ground disturbing activities in that area.

Seed between May 15 and August 15, or obtain written approval from the Engineer to seed at a different date.

618-3.03 APPLICATION.  Delete the first three sentences and replace with:  Apply seed mix, fertilizer, and mulch (if required) at the rate specified in the Special Provisions.  If no seed mix, seed mix application rate, or fertilizer rate are specified in the special provisions, use the recommendations of the Alaska Department of Natural Resources (DNR) and the Revegetation Manual for Alaska.

Do not seed areas of bedrock, plant beds, and areas indicated on the plans as “no seeding.”

Water and fertilizer required for application are subsidiary to the Seeding bid item.

E42-012707

Special Provisions

618-3.03 APPLICATION.  Add the following:  Apply seed, mulch, and fertilizer as follows.  Apply seed and mulch in one application if using the hydraulic method.  Apply fertilizer with the hydraulic method.

| Component | Ingredients | Application Rate (per MSF) |
| --- | --- | --- |
| Seed | Slender Wheatgrass (Wainwright) Red Fescue (Arctared) Nortran Tufted Hairgrass | 0.35 lbs. 0.50 lbs. 0.15 lbs. Total = 1.00 lbs |
| Soil Stabilizer |  |  |
| Slope ≤ 3:1 | Mulch | 46 lbs. |
| Slope >3:1 | Mulch with tackifier | 45-58 lbs. |
| Fertilizer | 20-20-10 | 12.0 lbs. |

Do not remove the required tags from the seed bags.

Upon the Engineer’s approval, Gruening Alpine Bluegrass may be used as a substitute for Nortran Tufted Hairgrass if Nortran Tufted Hairgrass is commercially unavailable.  If this substitution is made, apply at the same application rate.

R52-012707

Standard Modification

Delete Subsection 618-3.04 in its entirety, and add the following new subsections:

618-3.04 MAINTENANCE AND WATERING.  Protect seeded areas against traffic by approved warning signs or barricades. Repair surfaces gullied or otherwise damaged following seeding.  Maintain seeded areas in a satisfactory condition until final acceptance of work.

Water and maintain seeded areas.  Water applied by this subsection is a paid Contract item.  If, in the opinion of the Engineer, too much water is being applied, reduce amount of water as directed.

Reseed areas not showing evidence of satisfactory growth within 3 weeks of seeding.  Bare patches of soil more than 10 square feet in area must be reseeded.  Erosion gullies over 4 inches deep must be filled and reseeded.  Fill the entire erosion gully to surrounding grade, including the portions less than 4 inches deep.

Contact DNR for advice or corrective measures, when seeded areas are not showing evidence of satisfactory growth.  The Contractor is responsible for retracking, reseeding, refertilizing, and remulching areas that do not show satisfactory growth, and those actions are subsidiary.

618-3.05 ACCEPTANCE.  During final inspection, the Engineer will perform a visual inspection of seeding to determine final stabilization.  During the visual inspection, each station and each side of the road will be considered a separate area.  The Engineer will accept seeding that has become a vegetative matt with 70% cover density in the inspection area.

Reseed areas that are not acceptable to the Engineer.

618-3.06 PERIOD OF ESTABLISHMENT.  Establishment periods extend for one complete growing season following acceptable seeding.  Employ all possible means to preserve/maintain the new vegetative matt in a healthy and vigorous condition to ensure successful establishment.  Reseed areas that do not meet the specifications.  Watering and reseeding after the final inspection are subsidiary.

The Engineer may, but is not required to, determine the Project is complete except for the period of establishment, and issue a letter of final acceptance.  After final acceptance, work or materials due under this subsection during any remaining period of establishment are considered warranty obligations that continue to be due following final acceptance in accordance with subsection 105-1.16.

618-4.01 METHOD OF MEASUREMENT.

After Seeding by the Pound, delete text and replace with:  By the weight of dry seed acceptably seeded and maintained.

618-5.01 BASIS OF PAYMENT.  Delete paragraphs beginning: “Seeding by the Acre” and “Seeding by the Pound” and replace with:

Seeding by the Acre.  Payment is for established vegetative matt.  Soil preparation, fertilizer, water required for hydraulic method and water applied for growth of vegetative matt including water for maintenance are subsidiary.

Seeding by the Pound.  Payment is for established vegetative matt.  Soil preparation, fertilizer, and water required for hydraulic method are subsidiary.

E42-012707

SECTION 619

SOIL STABILIZATION

- Special Provisions

- 619-1.01 DESCRIPTION.  Add the following:  This work also includes installing Root Barrier in the locations shown on the Plans and specified herein.

- Add the following subsections:

619-1.02 REFERENCES.  Standards of the following as referenced:

1.	American National Standards Institute (ANSI)

2.	American Society for Testing Materials (ASTM)

- 619-1.03 SUBMITTALS.  The following submittals for root barrier shall be provided by the Contractor for the Engineer’s review and approval.  The Contractor will not be allowed to begin root barrier installation until all submittal requirements are satisfied and found acceptable to the Engineer.  Changes or deviations from the approved submittals must be re-submitted for approval.  No adjustments in contract time will be allowed due to incomplete submittals.  At least 15 working days prior to beginning the work, the Contractor shall submit to the Engineer:

1.	Product data:  Manufacturer’s product data, including installation instructions.

2.	Samples:  One full length panel.

3.	Warranty:  Manufacturer’s standard warranty.

- 619-1.04 QUALITY ASSURANCE.

1.	Qualifications; manufacturer:  Minimum 15 years experience in tree and plant protection and accessories.

- 619-1.05 DELIVERY, STORAGE, AND HANDLING.

1.	Delivery:  Deliver materials to site in manufacturer’s original unopened containers and packaging, with manufacturer’s labels intact and legible.  Keep all materials dry during delivery.

2.	Acceptance at site:  Damaged materials determined by visual inspection will not be accepted.  Remove rejected materials from Project site immediately.

3.	Storage:  Store materials in a clean, dry area protected from weather in accordance with manufacturer’s instructions, in unopened boxes.  Do not store materials in direct sunlight.

4.	Handling:  Protect materials during handling and installation to prevent damage from weather and equipment.

- 619-2.01 MATERIALS.  Add the following to the list of materials specifications:

Root Barrier		Subsection 619-2.02

- Add the following subsections:

- 619-2.02 ROOT BARRIER.  Root barrier materials shall meet the following requirements:

1.	Product standard of quality or approved equal:

a.	UB 24-2 root barriers by DeepRoot

b.	Shawtown EP Series root barriers by NDS, Inc.

2.	Material:  Minimum 50% post-consumer recycled polypropylene plastic panels with ultraviolet (UV) inhibitors.

3.	Thickness:  Minimum 0.085-inch.

4.	Joining System:  Factory installed, interlocking joining mechanisms, zipper type, or independent interlocking joiner strips, for easy assembly.

5.	Reinforcing Ribs:  Integral molded, 0.5-inch deep, raised vertical root deflecting ribs at 90º from the barrier panel, spaced 6 inches on center.

6.	Top Edge:  Minimum 3/8-inch wide.

7.	Ground anchorage:  Ground locking anti-lift tabs or minimum 1/8 inch wide base flange.

8.	Panel Size:  Minimum 24- inch wide by 24-inch deep.

9.	Color:  Black.

619-2.03 MANUFACTURERS.  Acceptable root barrier manufacturers shall be as follows, or approved equal:

1.	DeepRoot Partners L.P. (Deep Root); 81 Langdon Street, Suite 4, San Francisco, CA 94103; (415)437-9700; (800)458-7668; fax (800)277-7668; www.deeproot.com.

2.	NDS, Inc.; 851 North Harvard Avenue, PO Box 339, Lindsay, CA 93247; (559)562-9888; (800)726-1994; fax (800)726-1998; www.ndspro.com.

619-3.04 INSTALLATION.  Installation of root barrier shall meet the following requirements:

1.	Contractor shall install root barrier at the locations indicated on the Plans and according to the Plans and manufacturer’s recommendations.  Install root barrier in an excavated trench.

2.	Coordinate root barrier installation with grubbing of roots from existing trail areas.

3.	Roots shall be cut off cleanly, outside of the root barrier from existing trail areas.

4.	Install with vertical root deflecting ribs facing away from the trail and towards remaining roots.

5.	Connect panels together as required.

6.	Do not backfill trench until the Engineer has inspected root pruning.

619-4.01 MEASUREMENT.  Add the following:  Item 619(20) Root Barrier shall be measured per linear foot installed, complete in place.  Trenching, excavation, or backfill for root barrier shall not be measured.

619-5.01 BASIS OF PAYMENT.  Add the following:  Item 619(20) Root Barrier at the contract unit price per pay unit.  This price will be full compensation for furnishing materials, all labor, equipment, trenching, excavation, backfill, and incidentals necessary to complete these items.

Add the following pay item:

| - Pay Item No. | - Pay Item | - Pay Unit |
| --- | --- | --- |
| 619(20) | Root Barrier | Linear Foot |

SECTION 620

TOPSOIL

- Special Provisions

- 620-4.01 METHOD OF MEASUREMENT.  Add the following:  Limestone, if required, will not be measured for payment, but will be subsidiary to Item 620(1) Topsoil.

620-5.01 BASIS OF PAYMENT.  Add the following:  Square Yard pay unit shall be based upon 4” depth of topsoil applied to all disturbed areas to be seeded.

SECTION 621

- PLANTING TREES AND SHRUBS

- Special Provisions

621-1.01 DESCRIPTION.  Delete this subsection and substitute the following:  This work shall consist of collecting, furnishing, planting, transplanting, staking, and maintaining trees, shrubs and perennials as shown on the Plans.

This work shall also include preparation of planting beds including and furnishing and installing bark mulch as shown on the plans and in the tree planting detail.

Furthermore, the work shall include the furnishing, transportation, placement and installation of the boulders as shown on the plans.

621-2.01 PLANT STOCK.  Add the following:  All plants shall be locally grown.  Plant species that are scheduled, but not included in the current edition of Standardized Plant Names, shall be certified by a botanist.  Each bundle, flat, or plant if not bundled, shall be labeled with the scientific name.

Variety and species shall be as scheduled on the Plans.  Plant stock having severely damaged bark or trunks, broken leaders, or main branches, severed main roots, or evidence of disease or injurious insects will be rejected.  Bare root and/or field collected trees and shrubs will be rejected.  Balled and burlapped, bare-root, collected, and/or field grown perennials will be rejected.  Perennials shall be nursery-grown container stock, only.

Add the following to paragraph b under 1 Nursery Stock:

b.	Container-grown plants shall be healthy, vigorous, well-rooted and established in the container in which they were furnished.  Root mass shall retain its shape and hold together when removed from the container without being root-bound.

Add the following to paragraph b under 3 Balled and Burlapped Plants:

b.	All balled and burlapped Trees and Shrubs shall be furnished with a firm ball of earth from the original and undisturbed soil in which the plant was growing.

Add the following to paragraph c under 3 Balled and Burlapped Plants:

c.	All plants found to be rootbound by the determination of the Engineer will be rejected.

Add the following to 4 Substitutions.  No substitutions of plant stock will be permitted without prior written approval of the Engineer.  Request for substitutions for Trees and Shrubs shall be submitted in writing six (6) months prior to installation.

Add the following to paragraph b under 6 Inspection:

b.	Preliminary inspection and acceptance for size of ball or roots, color, absence of defects, and for other requirements will be made at the nursery by the Engineer.

Add the following paragraph under 6 Inspection:

c.	Plant material installed prior to acceptance by the Engineer shall be removed, inspected, after which it may be re-installed if found acceptable.  If found to be unacceptable, Contractor shall furnish new material, allow inspection, and then install.

621-2.02 FERTILIZER.  Delete this subsection and substitute the following:  Fertilizer shall be delivered in moisture-proof containers marked with weight and manufacturer’s guaranteed analysis showing proportions of the chemical ingredients of nitrogen, phosphoric acid, and potassium within a tolerance of +/- 2%.  A slow release fertilizer 8-32-16 (N-P-K) shall be used with all plant materials early in the first full growing season following installation.  Fertilizer for topsoil installation shall be applied at a rate determined by the Engineer, as described in Section 726, and based on the soil analysis test provided by the Contractor for the topsoil used in this project.  Fertilizer shall be well watered immediately after application.

621-2.03 LIMESTONE.  Add the following:  Limestone shall be applied at a rate determined by the Engineer, as described in Subsection 726, in Table 726-1, and based on the soil analysis tests provided by the Contractor for the topsoil used for this project.

621-2.04 BARK MULCH.  Add the following:  The Contractor shall provide and install bark mulch at new tree, shrub, and perennial plantings as shown on the plans.  Bark may contain up to 50% shredded wood material.  Un-composted wood chips are not acceptable.  Bark mulch containing shredded wood shall be aged for one-year minimum prior to installation.  The mulch shall not contain resin, tannin, or other compounds in quantities that are detrimental to plant life.  Mulch shall not contain individual components greater than 2 inches in length with a minimum of 75% of the total mulch component passing through the 1 inch screen.  Commercially available shredded wood fiber landscape mulch may be used, provided any added color shall be a natural dark brown.  “Green” or “Fresh” wood ships are not acceptable.

621-2.07 TREE WOUND DRESSING.  Delete this subsection in its entirety.

621-2.08 WATER ABSORBENT POLYMER.  Add the following:  The Contractor shall provide and install water absorbent polymer at each new plant, per detail, and manufacturer’s recommendation.

621-2.09 TREE TIES.  Add the following:  The contractor shall provide and install tree tie material approved by the Engineer, for optional staking and guying of trees.  Provide high visibility safety white for guyed evergreen trees, and green for staked deciduous trees.

621-2.10 BOULDERS.  Add the following:  Boulders shall be placed as shown on plans.  The design intent for the boulders is to provide barriers to discourage off-trail use, especially at areas of trail re-alignment and at trail crossings.

A clear photo of the boulders at their source shall be submitted to the Engineer for approval prior to transporting them to the site.  Damaged or defaced sides of boulders are to be set damage-side-down.  Boulders damaged so that they cannot be set to hide damage will be rejected.

Large boulders shall be minimum 4’ and maximum 5’ at their longest dimension, and 3’ at their shortest dimension.  Medium boulders shall be minimum 3’ and maximum 4’ at their longest dimension, and 2.5’ at their shortest dimension.

621-3.03 PLANTING.  Delete item 1 Plant Season, and substitute with the following:

1.	Plant Season.

a.	Locally Grown:  When locally grown seedlings and shrubs are furnished for the project, plant them between June 1 and September 15.

b.	Imported:  Handle plants shipped in from out-of-state according to the nursery recommendations.  Place plants imported from out-of-state between June 1 and August 15.

3.	Pruning:  Delete the last two sentences of paragraph b in their entirety.

5.	Placing Plants:

Add the following to paragraph a:  Tree, shrub, and perennial locations shall be staked as shown on the plans for approval by the Engineer prior to planting.

Delete paragraph b and substitute with the following:  Balled and burlapped plants, plants in wire baskets or containers shall be handled by the earth ball, container, or basket and not by the plant itself.  Wire baskets and burlap shall be clipped and laid flat on the bottom of the planting pit.  Containers shall be removed from the site.  The Engineer may reject any plants whose rootballs collapse during planting.

6.	Backfilling:  Add the following:  Apply water absorbent polymer to side of each plant pit, quantity per manufacturer’s recommendation.  Backfill trees, shrubs and perennials with topsoil.  Provide and install bark mulch at new planted trees, shrubs, and perennials and other one gallon size material.

7.	Wrapping:  Delete this paragraph in its entirety.

8.	Staking and Guying:  Delete the last two sentences from section a and sections b and c in their entirety, and add the following:  The Contractor has the option to stake trees as shown on Plans.  If staked, the stakes and ties shall be maintained during construction and the establishment period to prevent damage to the trees.  All stakes and ties shall be removed at the end of the period of establishment.

Add the following subsection:

9.	MOA Arborist.  The Contractor shall notify the Engineer five days prior to delivery of plant material to the site.

The MOA arborist shall inspect plants for health and vigor prior to installation, to assure the requirements of Section 621-2.01 for plant stock, including that the materials are disease free, free of wounds, broken branches, double leaders, co-dominant trunks, or other defects.  Plants that do not meet the standards will be rejected prior to installation.  The MOA arborist shall also:

- Inspect the tree planting process to assure that planting techniques meet the specifications of the Contract documents and match standard industry practices.

- Inspect the plantings after installation is complete to assure that they are ready to be accepted by the Engineer and ready for the maintenance schedule to begin.

- Inspect plantings twice during the growing season during Plant Establishment Period for any needed maintenance, such as watering, pruning, or removal of dead, dying, or untreatable diseased trees.

- After acceptance, the Municipality of Anchorage Arborist may inspect the trees during the Plant Establishment Period for any needed maintenance, such as watering, pruning, or removal of dead, dying, or untreatable diseased trees.

- Review tree root pruning and document subsequent tree stability.  Unstable trees shall be removed in their entirety.

Standard Modification

621-3.04 PERIOD OF ESTABLISHMENT.  Add the following second paragraph:

The Engineer may, but is not required to, determine the Project is complete except for the period of establishment, and issue a letter of final acceptance.  After final acceptance, work or materials due under this subsection during any remaining period of establishment are considered warranty obligations that continue to be due following final acceptance according to subsection 105-1.16.

E43(01/27/07)

621-3.04 PERIOD OF ESTABLISHMENT.  Add the following:  The Period of Establishment for trees, shrubs and perennials shall extend from May 1 to September 30.

Provide an application of fertilizer to trees, shrubs and perennials by driving one (1) 1/2 oz fertilizer spike of similar chemical proportions as the initial application into the ground at the drip line of each tree and shrub.  Perform the reapplication between May 15 and May 31.

Provide a reapplication of fertilizer as described above for trees (only) between June 15 and June 30.

621-3.05 CLEANUP.  Add the following:  Planted trees, shrubs, and seeded areas shall be kept clean of litter and garbage during the growing season.

621-3.06 PLANT REPLACEMENTS.  Delete the last sentence and substitute the following:  Plants shall be replaced on a one-by-one basis following the same details and specifications as used in the original plans.  Plants that are dead or dying shall be replaced immediately during the months of June through September.  Plants dead at the end of the growing season shall be replaced at the beginning of the following season.

621-3.07 MAINTENANCE.  Delete the paragraph and substitute with the following:  Maintenance includes the care of all Trees, Shrubs, and Perennials during the period of establishment, including the non-growing season.  Specific work includes watering, pruning, weeding, pest control, and protection of planted areas.  At the beginning and end of each growing season, the Engineer and Contractor shall undertake a joint inspection to review conditions and document any changes in maintenance or acceptance of plantings.

1.	Watering.  Deep water trees, shrubs, and/or perennials immediately after planting.  Deep watering shall provide water penetration throughout the entire root zone to the total depth of the planting pits with a minimum of run-off.  Rain will not be considered a substitute for deep watering unless permitted by the Engineer, on a storm-by-storm basis.

Deep water trees, shrubs, and/or perennials according to the following maintenance schedule:

a.	Deep water trees, shrubs, and/or perennials at least twice a week during the first 45 days after planting.  If these 45 days extend past September 30, cease the twice-weekly deep watering after that date and resume on May 1 of the following calendar year.  If the 45 days do not extend past September 30, additional deep watering in the planting year after the 45 days expire shall be as follows:

-	Once a week in June and July.

-	Once between August 10 and August 20.

-	Once during the last week in September.

b.	Deep water trees, shrubs, and/or perennials during the Period of Establishment as follows:

-	Once a week during May, June and July.

-	Once between August 10 and August 20.

-	Once during the last week in September.

c.	The Engineer may direct the Contractor to deep water trees, shrubs, and/or perennials past September 30, or provide supplemental waterings any time during the life of the project if weather conditions are excessively warm or dry.

d.	The Engineer may direct the Contractor to deep water conifer tree seedlings and shrubs before freeze-up in order to minimize over-wintering desiccation.

Watering equipment shall be equipped with, or followed by a vehicle equipped with a Type B advance warning arrow panel using caution mode according to Part VI of the Alaska Traffic Manual.

2.	Disease Control.  The Contractor shall apply pesticides, insecticides, or other disease-control methods as necessary to maintain plant health.  Permission of the Engineer and appropriate permit for the application of insecticides from the Alaska Department of Environmental Conservation must be obtained prior to the application of any regulated products.

3.	Pruning.  Prune all plant materials, with appropriate pruning techniques, to remove dead or dying wood and to improve the shape and/or vigor of the plants.  Cuts shall not be painted.  Pruning of flowering trees shall be scheduled to occur immediately after flowers drop off or decay.  Damaged trees or those that constitute health or safety hazards shall be pruned as directed by the Engineer at any time of the year.  Evergreens are not to be pruned without the approval of the Engineer.

4.	Fertilizing.  Trees and shrubs shall receive an application of fertilizer in accordance with 621-3.04 Period of Establishment.  The Contractor shall notify the Engineer in writing four (4) working days prior to applying any fertilizers.  Written notice shall state the time and location of fertilizer application.

621-3.08 BOULDERS.  Notify Engineer two (2) days in advance of delivery of boulders to site.  Notify Engineer four (4) days in advance of boulder placement.  Install boulders per plan and detail.

621-4.01 METHOD OF MEASUREMENT.  Delete this subsection in its entirety, and substitute the following:  The quantity to be paid for shall be the actual number of trees, shrubs, and/or perennials furnished, planted and maintained according to the plans and specifications, and as accepted by the Engineer.

Water for maintenance of trees, shrubs, and/or perennials will not be measured.

The quantity to be paid for shall be the actual number of Boulders.  Boulders furnished and installed according to the plans and specifications, and as accepted by the Engineer.

621-5.01 BASIS OF PAYMENT.  Add the following:  Fertilization, mulching, water absorbent application, topsoil for backfill, and staking as indicated in subsection 621-3.04 Period of Establishment will not be paid for directly, but will be subsidiary to Furnishing and Planting Items 621(1) Trees, 621(2) Shrubs, and 621(5) Perennials.

Payment for Furnishing and Planting Items 621(1) Trees, 621(2) Shrubs, and 621(5) Perennials will be made at the rate of 90% of the bid unit price for each unit planted.  The balance withheld for maintenance of plantings will be paid when the Contractor fulfills the requirements of subsection 621-3.06 Plant Replacements.

Water for maintenance is subsidiary.

Add the following pay items:

| - Pay Item No. | - Pay Item | - Pay Unit |
| --- | --- | --- |
| 621 (1A) | Tree, Betula Papyrifera, 3” caliper min. | Each |
| 621 (1B) | Tree, Populus Tremuloides, 3” caliper min. | Each |
| 621 (1C) | Tree, Picea Pungens, 5’-6’ ht. | Each |
| 621 (1D) | Tree, Picea Pungens, 7’-8’ ht. | Each |
| 621 (1E) | Tree, Salix Sitchensis, 1 gallon | Each |
| 621 (2A) | Shrub, Amelanchier Alnifolia, 18”-24” ht. | Each |
| 621 (2B) | Shrub, Rosa Acicularis, 18”-24” ht. | Each |
| 621 (2C) | Shrub, Rosa Rugosa, 18”-24” ht. | Each |
| 621 (2D) | Shrub, Rubus Idaeus, 1 gallon | Each |
| 621 (2E) | Shrub, Viburnum Edule, 18”-24” ht. | Each |
| 621 (5A) | Perennial, Lupinus Nootkatensis, 1 gallon | Each |
| 621(18A) | Medium Boulders, 4’ min. | Each |
| 621(18B) | Large Boulders, 5’ min. | Each |

SECTION 622

REST AREA FACILITIES

- Special Provisions

- 622-1.01 DESCRIPTION.  Add the following:  This work shall also consist of the following site furnishings in conformance with the plans:

- 1.	Benches.

- 2.	Trash Receptacles.

- 3.	Special Trail Signs and Sign Posts.

Add the following subsections:

- 622-2.13 BENCHES.  All benches shall be the same model and manufacturer.  Provide the following bench models or approved equal:

- Victor Stanley, Homestead Series Model 2 with armrests, recycled plastic slats “Second Site Systems”, slat color “maple”, powder coat color RAL 6029 (green), standard in-ground mount.  (www.victorstanley.com)

- Forms and Surfaces, Leda backed, 4 seat bench, with armrests.  Product number SBLED-4BA, silver texture cast aluminum frame with Ipe hardwood slats, surface mount. (www.forms-surfaces.com)

- 622-2.14 TRASH RECEPTACLES.  Pre-manufactured, 32 gallon, ADA compliant, bear proof trash enclosure, steel construction with powder coat finish (black).  Steel barrel or drum style enclosures are not acceptable.  Submit shop drawings and manufacturer documentation for product bear resistance and ADA compliance for approval.  Powder coat color shall be approved by the engineer.

- 622-3.08 BENCHES.  Benches shall be installed/mounted in advance of asphalt paving. Construct 10’x3’x6” concrete mounting pads for surface mount bench models.

- 622-3.09 TRASH RECEPTACLES.  Provide and install per manufacturer’s recommendations.

- 622-3.10 TRAIL SIGNS AND SIGN POSTS.  Provide and install signs per plan and details.  Verify placement of signs on posts with engineer prior to mounting.

- 622-4.01 METHOD OF MEASUREMENT.  Add the following:

- 622(15) BENCHES.  Measured by each bench installed and accepted.

- 622(16) TRASH RECEPTACLES. Measured by each trash receptacle installed and accepted.

- 622(18A) TRAIL SIGNS AND SIGN POSTS.  Measured by each post unit installed and accepted.  Some sign posts will have more than one sign.

622-5.01 BASIS OF PAYMENT.  Delete the first paragraph in its entirety, and replace with the following:  The accepted quantity of 622 items will be paid for at the contract price, per unit of measurement, for the pay items listed below and appearing in the bid schedule, including any excavation, backfill, hardware, concrete foundations, and disposal of all unsuitable and surplus material, complete in place.

Add the following pay items:

| - Pay Item No. | - Pay Item | - Pay Unit |
| --- | --- | --- |
| 622(14A) | Trash Receptacle | Each |
| 622(15) | Bench | Each |
| 622(19) | Sign - Special | Each |

SECTION 625

PIPE HAND RAIL

Special Provisions

Delete this section in its entirety and replace with the following:

625-1.01 DESCRIPTION. Furnish and place galvanized steel pipe guards at the locations shown on the Plans.

Steel pipe guards may be provided by an approved proprietary guard manufacturer which is compatible with the modular block retaining wall or may be designed and fabricated by the contractor.

Steel pipe guard working drawings shall be submitted for review and approval in accordance with Section 105 and shall include the following information as a minimum:

- Indicate manufacturer or fabricator

- Provide manufacturers recommendations for installation

- Provide design calculations indicating that guard is in conformance with the latest International Building Code (IBC) section on Guards.

- Method for applying paint over galvanization (Duplex System)

- Method of construction

625-2.01 MATERIALS. Use materials that conform to the following or to the approved proprietary guard manufacturer’s specifications:

Concrete		Section 501 (Class W)

Pipe			ASTM A 53, Schedule 40, Galvanized per ASTM D 6386 and

ASTM A 123

625-3.01 CONSTRUCTION REQUIREMENTS. Set steel pipe guards in accordance with the manufacturer’s recommendations and/or the approved shop drawings. Augering or driving posts through backfilled geogrid is not permitted. Erect horizontal members smoothly and continuously so that they are parallel to the trail. Supports for the steel pipe guards shall not interfere with the geogrid reinforcing.

Paint galvanized steel guard black. Painting of galvanized metal shall be in accordance with the American Galvanizers Association recommendations.

Repair all welds and damaged galvanizing in accordance with AASHTO M 36 and the American Galvanizers Association (AGA) recommendations.

625-4.01 METHOD OF MEASUREMENT. Section 109

625-5.01 BASIS OF PAYMENT.  Payment will be made under:

| - Pay Item No. | - Pay Item | - Pay Unit |
| --- | --- | --- |
| 625(1) | Steel Pipe Guard | Linear Foot |

Special Provisions

Delete Section 641 and replace with the following:

SECTION 641

EROSION, SEDIMENT, AND POLLUTION CONTROL

641-1.01 DESCRIPTION.  As approved by the Engineer, provide project administration and construction activities to control erosion, sedimentation, and pollution from the Project, according to this section and applicable local, state, and federal requirements, including the Construction General Permit.

641-1.02 DEFINITIONS.  These definitions apply only to Section 641.

Alaska Certified Erosion and Sediment Control Lead (AK-CESCL). Certification documenting the person has completed training, testing, and other requirements recognized by the Department to satisfy the APDES Construction General Permit requirement for “qualified personnel.”  AK-CESCL certificates issued in conformance with, and under the authority of the AK-CESCL Memorandum of Understanding are recognized by the Department as meeting this standard.  Certifications published on the Department’s Construction website under the title “AK-CESCL Equivalent Certifications” will also be recognized.  Other certifications may be approved by the Engineer on a case-by-case basis.

Alaska Department of Environmental Conservation (ADEC).  The state department that has been authorized to administer the Clean Water Act’s National Pollutant Discharge Elimination System in a phased process.

Alaska Pollutant Discharge Elimination System (APDES).  The Alaska Pollutant Discharge Elimination System, administered by ADEC.

Area of Land Disturbance.  The area of land (soil) that will be disturbed by Construction Activity.  Area of Land disturbance does not include pavement removal or pavement milling if the activity does not remove the aggregate underlying the pavement.

Best Management Practices (BMPs).  Temporary or permanent structural and non structural devices, schedules of activities, prohibition of practices, maintenance procedures, and other management practices to prevent or reduce the discharge of pollutants to waters of the United States. BMPs also include, but are not limited to, treatment requirements, operating procedures, and practices to control plant site runoff, spillage or leaks, sludge or waste disposal.

Clean Water Act (CWA).  United States Federal Water Pollution Control Act (33 U.S.C. 1251 et seq.)

Construction Activity. Physical activity by the Contractor or any Subcontractor or Utility Company that may result in land disturbance. Construction Activity includes, but is not limited to, clearing, grubbing, excavating, constructing embankment, grading, stockpiling erodible material, processing material, and installation or maintenance of BMP’s.

Construction General Permit (CGP). The Alaska Pollutant Discharge Elimination System General Permit for Discharges from Large and Small Construction Activities.

Certified Professional in Erosion and Sediment Control (CPESC).  A recognized specialist in soil erosion and sediment control.  A CPESC has educational training, demonstrated expertise, experience in controlling erosion and sedimentation, and meets certification standards.

Department Furnished Disposal Site.  Areas designated in the Contract for disposal of unsuitable materials.

Department Furnished Haul Route.  Areas designated in the Contract for construction, reconstruction, or rehabilitation of the roadway, or areas designated, in the Contract, for temporary use as transport route for material or equipment related to the Project.

Department Furnished Materials Site.  A material site identified in the Contract as a “Mandatory Source,” or excavated portions within the Project limits where useable material is excavated for use as fill, embankment, or cover in other areas of the Project.  A material site identified in the Contract as “Designated Source” is considered a Department Furnished Materials Site if the Contract defines the Department as co-operator for the site.  Material sites identified in the Contract as “Available Sources” are not considered Department Furnished for the purpose of defining who has operational control.

Department Furnished Staging and Equipment Areas.  Areas designated in the Contract for storage or staging of material or equipment related to the Project

Electronic Notice of Intent (eNOI). The Electronic Notice of Intent submitted to ADEC, to begin Construction Activity under the CGP.

Electronic Notice of Termination (eNOT). The Electronic Notice of Termination submitted to ADEC, to end coverage under the CGP.

Environmental Protection Agency (EPA). The United States Environmental Protection Agency.

Erosion and Sediment Control Plan (ESCP). A project-specific document prepared by the Department to identify specific information about the Project.  The ESCP may include measures to minimize erosion and contain sediment within the Project site.  The ESCP provides information for the Contractor’s use in developing the Project SWPPP.

Final Stabilization. Soil disturbing activities at the site have been completed and one of the following methods, as identified in the contract, has been completed:

	establish a uniform and evenly distributed perennial vegetative cover with a density of 70 percent of the native background vegetative cover, or

	construct non-erodible permanent stabilization measures (such as riprap, gabions, geotextiles, pavement, or crushed aggregate base course) where vegetative cover is not required.

Haul Route.  Existing or newly constructed road where construction materials are transported and where deposition of sediments or erodible materials may result from the material hauling activity or from the Contractors activity to construct or maintain the road.

Hazardous Material Control Plan (HMCP).  The Contractor's detailed project-specific plan for prevention of pollution from storage, use, transfer, containment, cleanup, and disposal of hazardous material, including but not limited to, petroleum products related to construction activities and equipment.  The HMCP is included as an appendix to the SWPPP.

Joint Inspection.  SWPPP inspection performed together as a collaborative effort of the Contractor and the Department.  Contractor’s staff performing the inspection must be the Superintendent, SWPPP Manager, or SWPPP Manager’s Representative.  The Department’s staff performing the inspection will be the Engineer or Engineer’s qualified representative.

Multi-Sector General Permit (MSGP).  The Alaska Pollutant Discharge Elimination System General Permit for Storm Water Discharges associated with Industrial Activity.

Operator.  The party associated with a regulated activity that has responsibility to obtain storm water permit coverage.  Operator is defined separately in the storm water general permits (construction and industrial general permits).

Pollutant. Any substance or item meeting the definition of pollutant contained in 40 CFR 122.2

Project Area.  The physical limits of the construction site, Department furnished project staging and equipment areas, Department furnished haul routes where deposition of sediments or erodible materials may result from material hauling activities and Department furnished material and disposal sites directly related to the Contract.  The project area also includes all areas of utility relocation and installation, including adjacent utility easements and tie-ins that may extend beyond the defined project limits.  Contractor or Commercial Operator furnished material sites, material processing sites, disposal sites, haul routes, staging and equipment storage areas are not included in the Project Area.

Spill Prevention, Control, and Countermeasure Plan (SPCC).  The Contractor’s detailed plan for petroleum spill prevention and control measures that meets the requirements of 40 CFR 112.

Spill Response Field Representative.  The Contractor’s representative with authority and responsibility for managing, implementing, and executing the HMCP and SPCC, and for the Contractor’s compliance with 40 CFR 112, and other applicable federal, state, and local laws and regulations related to hazardous materials.

Stormwater Discharges From Municipal Separate Storm Sewer Systems (MS4s).  A conveyance or system of conveyances including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, man-made channels, or storm drains that discharges into waters of the United States and is owned or operated by a public agency.

Storm Water Pollution Prevention Plan (SWPPP).  The Contractor’s detailed project specific plan to minimize erosion and contain sediment within the Project site, and to prevent discharge of pollutants that exceed applicable water quality standards. The SWPPP includes, but may not be limited to, amendments, records of activities, inspection schedules, and reports, qualifications of key personnel, and all other documentation required by the CGP and this specification.

Subcontractor Spill Response Coordinator. The Subcontractor’s representative with authority and responsibility for coordinating the Subcontractor’s activities in compliance with HMCP and SPCC.

Subcontractor SWPPP Coordinator.  The Subcontractor’s representative with authority to direct the Subcontractor’s work; and who is responsible for coordination with the SWPPP Manager and for the Subcontractor's compliance with the SWPPP.

Superintendent.  The Contractor’s authorized representative in responsible charge of the work, who is duly authorized by the Contractor, in accordance with CGP, Appendix G, Part 11, B.  The Superintendent has responsibility and authority for the overall operation of the Project and for Contractor furnished sites and facilities directly related to the Project.

SWPPP Amendment.  A revision or document that adds to, deletes from, or modifies the SWPPP.

SWPPP Manager.  The Contractor’s qualified representative responsible for CGP compliance, implementing the SWPPP, conducting inspections, updating the SWPPP, supervising Section 641 work, monitoring construction activities, and with authority to suspend work and implement corrective actions.

SWPPP Manager’s Representative.  The Contractor’s qualified representative who may be assigned certain SWPPP Manager’s tasks and authorities.

SWPPP Preparer.  The Contractor’s qualified representative who is responsible for developing the initial SWPPP.

SWPPP Template. EPA’s template for the Contractor’s use in developing the SWPPP.  The template is available online at EPA’s website.  Select “SWPPP Template – Unauthorized States.”

Temporary Stabilization. The protection of exposed soils (disturbed land) from wind and water erosion during the construction process, until final stabilization is established.

Utility Company. A Utility Company or their contractor performing work concurrently with the construction of this project as outlined in Section 105-1.06.

Utility Spill Response Coordinator.  The Utility's representative with authority and responsibility for coordinating the utility's activities in compliance with HMCP and SPCC.

Utility SWPPP Coordinator.  The Utility's representative with authority to direct the Utility's work; and who is responsible for coordination with the SWPPP Manager and for the Utility's compliance with the SWPPP.

641-1.03 PLAN AND PERMIT SUBMITTALS.  Contractor submission and department review deadlines in this section supersede subsection 1.06-1.08 and 108-1.03.

Partial and incomplete submittals will not be accepted for review.  Any submittal that is re-submitted or revised after submission, but before the review is completed, will restart the submittal review timeline.

1.	SWPPP. Submit three signed copies of the SWPPP to the Engineer for approval. Deliver these documents to the Engineer at least 21 calendar days before you plan to begin Construction Activity.  Organize and bind the SWPPP and related documents for submittal according to the requirements of 641-2.01, paragraph 2.

The Department will review the SWPPP submittals within 14 calendar days after they are received. Submittals will be returned to the Contractor, and marked as either requiring modification or as approved by the Department.

2.	HMCP.  Submit three copies of the HMCP as an appendix to the SWPPP, and in accordance with the requirements for submitting the SWPPP.

3.	SPCC. When SPCC is required under subsection 641-2.03, submit three signed copies of the SPCC to the Engineer. Deliver these documents to the Engineer at least 21 calendar days before you plan to begin construction activity.

The Department will keep the SPCC as a record document, and reserves the right to review it and require modifications.

4.	eNOI.  Obtain APDES construction authorization for the Project under the CGP.  APDES authorization and compliance for Contractor furnished and commercial operator furnished areas are the sole responsibility of the Operators.

The Contractor and the Engineer must sign and certify the approved SWPPP in accordance with CGP, Appendix G, before the Contractor submits their eNOI for the Project to ADEC. The certification statement cannot be amended or edited.

Submit an eNOI for the Project to ADEC with the required fee.  Submit three copies of the eNOI to the Engineer when the eNOI is submitted to ADEC. The Department will submit the Department’s eNOI to the ADEC and provide a copy to the Contractor for inclusion in the SWPPP.  Allow adequate time for state processing of the eNOI, and for the ADEC to list the eNOIs as active status, before beginning Construction Activity.

5.	eNOT.  Within 30 days after the Engineer has determined you may end SWPPP activities for the Project, submit your eNOT for the Project to ADEC, and send a copy of the eNOT to the Engineer.  Within 30 days of the Engineer’s determination, the Department will submit the Department’s eNOT to the ADEC, and will terminate the Department’s CGP coverage for the Project and send a copy to the contractor.

6.	ADEC SWPPP Review.  When CGP, Part 10, F requires ADEC SWPPP review; transmit a copy of the Department approved SWPPP with the required fee to ADEC using delivery receipt confirmation.  Transmit a copy of the delivery receipt confirmation to the Engineer within seven (7) calendar days of receiving the confirmation. Transmit a copy of the ADEC SWPPP review letter to the Engineer within seven (7) calendar days of receipt from ADEC.  Amend the SWPPP as necessary to address ADEC comments and transmit a copy of the SWPPP Amendments to the Engineer within seven (7) calendar days of receipt of ADEC review comments.  Include a copy of the ADEC SWPPP review letter in the SWPPP.

7.	Local Government SWPPP Review.  When CGP, Part 10 F requires local government review, transmit a copy of the Department-approved SWPPP with the required fee using delivery receipt confirmation.  Transmit a copy of the delivery receipt confirmation to the Engineer within seven (7) calendar days of receiving the confirmation.  Transmit a copy of any comments by the local government to the Engineer within seven (7) days of receipt.  Amend the SWPPP as necessary to address local government comments and transmit SWPPP Amendments to the Engineer within seven (7) days of receipt of the comments.

641-1.04 PERSONNEL QUALIFICATIONS.  Include qualifications of the Superintendent, SWPPP Preparer, SWPPP Manager, and SWPPP Manager’s Representatives in the SWPPP.

The SWPPP Preparer must meet at least one of the following qualifications:

	current certification as a CPESC

	current certification as AK-CESCL, and at least three years experience in erosion and sediment control (provide documentation including project names, project timelines, and work responsibilities demonstrating the experience requirement)

	Professional Engineer registered in the State of Alaska and current certification as AK-CESCL

The Superintendent must meet all the following qualifications:

	current certification as AK-CESCL

	duly authorized representative, as defined in the CGP, Appendix G

The SWPPP Manager and SWPPP Manager’s Representative must hold current AK-CESCL certification.

641-1.05 SIGNATURE/CERTIFICATION REQUIREMENTS AND DELEGATIONS.

1.	eNOI and eNOT.  The eNOI and eNOT must be signed and certified by a responsible corporate officer, in accordance with CGP Appendix G, Section 11.  Signature and certification authority, for the eNOI and eNOT, cannot be delegated.

2.	Delegation of Signature Authority for Other SWPPP Documents and Reports.  Delegate signature and certification authority to the Superintendent, in accordance with CGP Appendix G, Section 11.B, for the SWPPP. SWPPP inspections, and other reports required by the CGP.  Use form 25D-108.  The form and certification must be used verbatim and must not be altered other than to insert names, dates, and signatures as included on the form.  Include a copy of the written delegation form 25D-108, and the Department’s delegation form 25D-107 in the SWPPP.  Delegation is not required if the Superintendent is a responsible corporate officer for the Contractor, as defined in CGP Appendix G, Section 11.A.

641-1.06 OPERATORS.

1.	The Department and the Contractor are both Operators for the Project and for Department furnished:

	material sites

	disposal sites

	haul routes where deposition of erodible materials may result from material hauling activity

	staging areas

	equipment storage areas

	utility relocation and installation activities associated with the project

2.	The Department is not an operator for Contractor furnished:

	material sites

	material processing sites

	disposal sites

	haul routes where deposition of erodible materials may result from material hauling activity

	staging areas

	equipment storage areas

The Contractor is an operator for the above listed Contractor furnished areas.  Compliance with APDES and other applicable federal, state, and local requirements, and securing all necessary clearances, rights, and permits for these Contractor furnished areas are the sole responsibility of the Contractor.  Document the name of each operator, and the locations of these areas in the Project SWPPP.  The control measures for these sites may be included in the Project SWPPP if they are eligible for CGP coverage.  If this is the case, then the Contractor’s and the Department’s eNOI acreage will be different.  If the area must be covered by the industrial storm water permit, note that there is a 30-day waiting period for the eNOI to become active.

3.	The Department is not an operator for commercial and utility operator furnished:

	material sites

	material processing sites

	disposal sites

	haul routes

	staging areas

	equipment storage areas

The commercial operator is an operator for the above-listed commercially operator-furnished sites.  Compliance with APDES and other applicable federal, state, and local requirements, and securing all necessary clearances, rights, and permits for these commercial operator furnished areas are the sole responsibility of the commercial operator.  Document the name of each operator, and the locations of these areas in the Project SWPPP.

4.	A Utility company is not an Operator when utility relocation is performed concurrently with the Project.  The Department maintains operational control over the plans and specifications, and the Contractor has day-to-day control over the various utility construction activities that occur in support of the Project.  A Utility company is considered a subcontractor for concurrent relocation.

The Department and a Utility company are both Operators for the Project when utility relocation is performed in advance of Project construction.  After the Highway Contractor has an active NOI for the Project, the Utility company no longer has Operator status and files a NOT for the SWPPP covering only the utility work.  Remaining relocation is identified in and performed under the Project SWPPP.

641-2.01 STORM WATER POLLUTION PREVENTION PLAN (SWPPP) REQUIREMENTS.  Use a SWPPP preparer to develop the SWPPP and associated documents, in accordance with the requirements of the CGP.

Use the Department’s ESCP as a starting point for developing the SWPPP. The approved SWPPP replaces the ESCP.  Develop the SWPPP in accordance with EPA’s SWPPP template for Unauthorized States, with the following exceptions:

	In Section 3 (Good Housekeeping), add a subsection to describe dedicated asphalt plants and/or dedicated concrete plants, give their locations, and identify the controls that will be used to minimize pollutants from them.  If there are no dedicated asphalt or concrete plants, then state that in the SWPPP.

	Appendix H is not required

	Add appendices for:

○	Endangered Species Act and historic preservation documents

○	Other Permits (404, Section 10, etc.)

○	Hazardous Material Control Plan

○	Subcontractor and Utility Certifications

○	BMP descriptions

○	Rainfall logs

○	NOT form

- Personnel qualification & training certifications for:

- Superintendent

- SWPPP Preparer

- SWPPP Manager

- SWPPP Manager’s Representative

- Department's SWPPP Inspector

	Add forms completed by the Department:

SWPPP Delegation of Signature Authority (25D-107)

DOT&PF SWPPP Certification (25D-109)

	Use Department forms for:

○	Construction Site Inspection Report (25D-100 parts 1&2)

○	Contractor’s Delegation of Signature Authority (25D-108)

○	Contractor’s SWPPP Certification (25D-111)

○	SWPPP Grading and Stabilization Log (25D-110)

○	SWPPP Corrective Action Log (25D-112)

○	SWPPP Amendment Log (25D-114)

○	SWPPP Daily Record of Rainfall (25D-115)

○	Utility Certification Form

Compile the SWPPP in three ring binders with tabbed and labeled dividers for each section and appendix included in EPA’s template for Unauthorized States.  Incorporate and cite applicable requirements of the project permits and environmental commitments into the SWPPP. Incorporate SWPPP activities into the Project CPM Schedule.

Use the Department’s documentation of consultation with the State Historic Preservation Officer and federal agencies for consideration of historic properties and endangered species.  Make additional consultations as necessary for Contractor or commercial operators’ specific activities which fall outside the Project limits, or which may result in changes to the Project footprint or timeline. You may cover these activities within the project SWPPP provided they are eligible for coverage under the CGP, and provided the SWPPP clearly and specifically identifies the Operators, their activities, and the portions of the SWPPP and project areas for which they are responsible.

The SWPPP Preparer must visit the project site before construction activity begins. The findings of the visit must be incorporated in the development of the SWPPP, or by amendment if the SWPPP was submitted prior to the visit. The SWPPP preparer must visit the site accompanied by a representative of the Contractor and the Department. Select appropriate application and sequencing of BMPs in relation to progress schedule.  Document the SWPPP Preparer’s visit in the SWPPP.  Include the date, and the names of the personnel participating in the visit.

The SWPPP must identify specific areas where potential erosion, sedimentation, or pollution may occur.  The potential for wind erosion must be addressed.  The potential for erosion at drainage structures must be addressed.  Describe site specific BMPs, source controls, sediment controls, discharge points, and a plan including schedule and implementation procedures for temporary and final stabilization.  Describe all temporary and permanent stabilization measures.  Include typical installation drawings for all BMPs that will be incorporated in the Project.  Include the Contractor’s schedule and the schedule for stabilization and installation of other BMPs.

The SWPPP must provide erosion and sediment control measures for all land disturbances resulting from the Contractor, Utility Companies and all Subcontractors activities during the course of the contract.  The SWPPP must consider the activities of utility companies performing work on the Project.  The SWPPP must describe the roles and responsibilities of the Contractor, Utility Companies, subcontractors, and the Department with regard to implementation of the SWPPP.  The SWPPP must identify all operators for the Project and identify the areas over which each operator has operational control.

Specify the line of authority and designate a Superintendent, SWPPP Manager, and each SWPPP Manager’s Representative.  Provide 24 hour contact information for the Superintendent, SWPPP Manager, and for each SWPPP Manager’s Representative.  The Superintendent, SWPPP Manager, and each SWPPP Manager’s Representative must have 24 hour contact information for all Subcontractor SWPPP Coordinators.

Identify the SWPPP inspection schedule in the SWPPP.

The SWPPP is a dynamic document. Keep the SWPPP current by noting installation, modification, and removal of BMPs, and by using amendments, SWPPP amendment logs, inspection reports, corrective action logs, records of land disturbance and stabilization, and any other documents necessary to satisfy the requirements of the CGP and this specification.

641-2.02 HAZARDOUS MATERIAL CONTROL PLAN (HMCP) REQUIREMENTS.  Prepare the HMCP for prevention of pollution from storage, use, containment, cleanup, and disposal of all hazardous material, including petroleum products related to construction activities and equipment (See 40 CFR 117 and 302 for listing of hazardous materials).

Compile Material Safety Data Sheets in one location and reference that location in the HMCP.

List and give the location and estimated quantities of hazardous materials to be used or stored on the Project.  Store hazardous materials in covered storage areas.  Include secondary containment for all hazardous material storage areas.

List the types and approximate quantities of response equipment and cleanup materials available on the Project. Include a list and location map of cleanup materials, at each different work site and readily available off site (materials sources, material processing sites, disposal sites, staging areas, etc).

Designate a Spill Response Field Representative and identify the line of authority.  Designate a Subcontractor Spill Response Coordinator for each subcontractor. Provide 24 hour contact information for the Contractor’s Spill Response Field Representative.  The Contractor’s Spill Response Field Representative must have 24 hour contact information for each Subcontractor Spill Response Coordinator.

Identify the locations where storage, fueling and maintenance activities will take place, describe the maintenance activities, and list controls to prevent the accidental spillage of oil, petroleum products, and other hazardous materials.

Detail procedures for containment and cleanup of hazardous substances.  Detail a plan for the prevention, containment, cleanup, and disposal of soil and water contaminated by spills.  Detail a plan for dealing with contaminated soil and water encountered during construction.

Detail methods of disposing of waste petroleum products and other hazardous materials generated by the Project.  Identify haul methods and final disposal areas.  Assure final disposal areas are permitted for hazardous material disposal.

Store spill response materials, appropriate to the hazards associated with that site, in sufficient quantity at each identified location.

Include the HMCP as an appendix to the SWPPP.

641-2.03 SPILL PREVENTION, CONTROL, AND COUNTERMEASURE PLAN (SPCC) REQUIREMENTS.  Prepare and implement an SPCC when required by 40 CFR 112; when both of the following conditions are present on the Project:

	oil or petroleum products from a spill may reach navigable waters, and

	total above ground storage capacity for oil and any petroleum products is greater than 1,320 gallons (not including onboard tanks for fuel or hydraulic fluid used primarily to power the movement of a motor vehicle or ancillary onboard oil-filled operational equipment, and not including containers with a storage capacity of less than 55 gallons)

Reference the SPCC in the SWPPP.

641-2.04 RESPONSIBILITY AND AUTHORITY OF THE SUPERINTENDENT, SWPPP MANAGER, AND SWPPP MANAGER’S REPRESENTATIVE.  The Superintendent is responsible for the overall operation of the Project and all Contractor furnished sites and facilities directly related to the Project.  The Superintendent shall sign and certify the SWPPP, SWPPP inspections, and other reports required by the CGP, except the NOI and NOT.  The Superintendent may not delegate the task or responsibility of signing and certifying the SWPPP, SWPPP inspections, and other reports required by the CGP.

The Superintendent may assign certain duties to the SWPPP Manager. Those duties may include:

1.	Ensuring Contractor’s compliance with the SWPPP and CGP,

2.	Ensuring construction activity does not result in discharge of pollutants that exceed applicable water quality standards,

3.	Performing SWPPP inspections,

4.	Updating the SWPPP with amendments and forms, and

5.	Directing and overseeing installation, maintenance, and removal of BMPs

The SWPPP Manager may assign their duties to a SWPPP Manager’s Representative.

The Superintendent, SWPPP Manager, and the SWPPP Manager’s Representative shall be knowledgeable in the requirements of this section, the SWPPP, CGP, BMPs, HMCP, SPCC, environmental permits, and environmental commitments.

The Superintendent, SWPPP Manager, and the SWPPP Manager’s Representative shall have the Contractor’s complete authority to suspend construction activities that do not conform to the SWPPP or CGP.

641-2.05 MATERIALS.  Comply with the material requirements described in the Plans and Specifications.

Use materials suitable to withstand hydraulic, wind, and soil forces, and to control erosion and trap sediments in accordance with the requirements of the CGP.

Straw that is certified as free of noxious weed by the United States Department of Agriculture, Natural Resources Conservation Service, Local Soil and Water Conservative District, Alaska Weed Free Forage Certification Program must be used when available. Hay may not be substituted for straw.

Silt fences 	Subsection 729-2.04, Sediment Control.

Temporary Seed 	Section 724

Erosion, Sediment, and Pollution Control - Material	Section 744

641-3.01 CONSTRUCTION REQUIREMENTS.  Comply with the SWPPP and the requirements of the CGP.

Ensure all subcontractors and utility companies understand and comply with the SWPPP and the CGP. Provide SWPPP information to utility companies.  Notify the Engineer immediately if the actions of any utility company or subcontractor do not comply with the SWPPP and the CGP. Provide training to subcontractors & utility companies on control measures at the site and applicable storm water pollution prevention procedures and document the dates and attendees to these trainings in Appendix J of the SWPPP.

1.	Starting Construction:

Do not begin Construction Activity until:

	the SWPPP has been approved by the Engineer

	authorized by the Engineer

	the Project eNOI for the Department and for the Contractor are both listed as Active Status on the ADEC website

	the SWPPP preparer has visited the Project and the SWPPP has been developed (or amended) with findings from the visit. Also document in the SWPPP the date of the visit and the persons conducting the visit.

Post notices on the outside wall of the Contractor’s project office, and at publicly accessible locations near the beginning and end of the Project. Protect postings from the weather and locate so the public can read them without obstructing construction activities (for example, at an existing pullout).  Include the following information in each of the posted notices:

	Copy of all eNOIs related to this project

	Name and phone number of SWPPP Manager

	Location of the SWPPP available for public viewing.

Install an outdoor rain gauge in an approved and readily accessible location on the Project.

2.	During Construction:

Comply with requirements of the HMCP and SPCC, and all state and federal regulations that pertain to the handling, storage, cleanup, and disposal of petroleum products or other hazardous substances.  Contain, clean up, and dispose of discharges of petroleum products and other hazardous materials.  Place absorbent pads or other suitable containment under fill ports while fueling and under equipment during maintenance or repairs.  Install secondary containment under all stationary equipment that contains petroleum products.

Comply with the requirements of 18 AAC 75 and AS 46, Oil and Hazardous Substances Pollution Control.  Report petroleum product spills as required by federal, state, and local law, and as described in the HMCP and SPCC.

Comply with the requirements of the SWPPP.  Implement temporary and permanent erosion and sediment control measures identified in the SWPPP and as directed by the Engineer. Keep the SWPPP current.  If storm water discharges threaten water quality, take immediate action. Comply with the requirements of 18 AAC 70 State of Alaska Water Quality Standards, AS 16.05.841 and 16.05.871  Protection of Fish and Game, 11 AAC 112 Alaska Coastal Management Program, Section 404 of the CWA, and all other applicable federal, state, and local statutes and regulations.

Coordinate with subcontractors and utility companies doing work in the project area so BMPs and temporary and permanent stabilization are installed, maintained, and protected from damage.

If you suspect or have determined that there has been an incident of CGP non-compliance that may endanger health or the environment, then immediately report it to the Engineer.  The Engineer will determine whether the incident is required to be reported to the ADEC as described in Appendix G, part 12, of the CGP, and if so, the Department will submit oral and written reports on behalf of the Department and the Contractor.  Notify the Engineer within 24 hours of the time you become aware of the incident.  The SWPPP Manager or the Superintendent will co-sign the written report to ADEC.

3.	Corrective Action and Maintenance of BMPs:

Maintain temporary and permanent erosion and sediment control measures in effective operating condition.  Remove sediment and debris from sediment traps, silt fences, and sediment ponds before sediment or debris accumulates to 50% of the BMP’s design capacity.

Implement corrective action:

	if an incident of non-compliance with the SWPPP or CGP is identified

	if an inspection identifies the SWPPP or any part of the SWPPP is ineffective in preventing the discharge of pollutants that exceed applicable water quality standards

	if the Engineer determines the SWPPP or any part of the SWPPP is ineffective in preventing the discharge of pollutants that exceed applicable water quality standards

	if any BMP is damaged, undercut, or unable to effectively perform the intended function

	if any BMP is at or exceeding 50% of its design storage capacity

	whenever there is a change in conditions, design, construction, operation, or maintenance that could affect the discharge of pollutants in storm water leaving the Project

Implement corrective actions as soon as possible, and before the next storm event whenever practicable.  If implementation before the next storm event is impracticable, the situation must be documented in the SWPPP and alternative BMPs must be implemented as soon as possible.

4.	Stabilization.

Stabilization may be accomplished using temporary or permanent measures.  Initiate stabilization of disturbed areas, stockpiles, and of erodible aggregate layers so that all of the following conditions are satisfied:

	as soon as practicable

	as soon as necessary to avoid discharge of pollutants, that exceed applicable water quality standards

	as identified in the SWPPP schedule and/or phasing

	in accordance with stabilization schedule requirements of applicable project permits

	no later than 14 days after each cessation of land-disturbing activities

Land may be disturbed multiple times during a project. Coordinate work to minimize area of land disturbance as much as practicable. Do not disturb more area than you can stabilize in the time limits specified, and with the resources available.

Stabilize disturbed areas prior to freezing conditions that may limit or eliminate options for temporary stabilization.

Temporary stabilization measures may include individual or a combination of measures including but not limited to vegetative cover, mulch, stabilizing emulsions, blankets, mats, soil binders, non-erodible cover,  dust palliatives, or other approved methods.

Prepare the surface to be seeded to reduce erosion potential and to facilitate germination and growth of vegetative cover.  Maintain seeded areas.  Reseed areas where growth of temporary vegetative cover is inadequate to stabilize disturbed ground.

Apply permanent seed in accordance with Section 618, at locations where permanent seed is indicated on the plans and land-disturbing activity is permanently ceased.

Before deactivating a stream bypass or stream diversion used for construction of a bridge, culvert, or drainage structure, install stabilization up to ordinary high water:

	at the inlet and outlet of the culvert, drainage structure, or bridge

	in the area upstream and downstream of the culvert, drainage structure, or bridge, that is disturbed during installation or construction of the culvert, drainage structure, or bridge

	under the bridge

Immediately after placing a culvert or drainage structure, install temporary or permanent stabilization when a stream bypass is not used for construction:

	at the culvert or drainage structure inlet and outlet

	in the area upstream and downstream of the culvert or drainage structure, that is disturbed in the process of installing the culvert, culvert end walls, culvert end sections, or drainage structure

5.	Ending SWPPP Activities and SWPPP Maintenance.

The Engineer will determine SWPPP activities have ended when all of the following requirements are met:

	Land disturbing activities have ceased

	The Project site (including Department furnished material sources, disposal sites, staging areas, equipment areas, etc.) has achieved final stabilization

	Temporary BMPs have been removed

Submit eNOT in accordance with Subsection 641-1.03.5.

If the contractor’s eNOI acreage includes areas where the Department is not an operator and co-permittee, then the contractor may not be able to file an eNOT at the same time as the Department.  In this case, the Contractor must state in the SWPPP which project areas have reached final stabilization.

The Department will provide a copy of its eNOT to the contractor for inclusion in the SWPPP.

6.	Record Retention.

Transmit one copy of the final SWPPP, including all amendments and appendixes, to the Engineer when the project eNOTs are filed.

Retain copies of the SWPPP, including documents listed under 641-3.02 SWPPP DOCUMENTS, for at least three years after the date of eNOT.  If EPA or ADEC inspects the project,  issues a Notice of Violation (NOV), or begins investigation for a potential NOV before the three year retention period expires, retain the SWPPP and all records related to the SWPPP and CGP until EPA and/or ADEC has determined all issues related to the investigation  are settled.

641-3.02 SWPPP DOCUMENTS.  The SWPPP and related documents maintained by the Contractor are the record documents for demonstrating compliance with the CGP.  SWPPP documents transmitted to the Engineer under the requirements of this specification are informational and do not relieve the Contractor’s responsibility to maintain complete records as required by the CGP and this specification.

Keep the approved SWPPP, HMCP, and SPCC at the on-site project office. If there isn’t an on-site project office, keep the information in an office that is within 30 miles, by road from the Project.

Maintain all SWPPP documents in binders in one common location.  Include the following items in the SWPPP binders:

	eNOI (all applicable)

	Acknowledgement letters from EPA or ADEC to each operator filing an eNOI

	Signature Delegations (25D-108 Contractor, 25D-107 Department)

	Copies of current AK-CESCL card for Superintendent, SWPPP Manager, SWPPP Manager’s Representative, and Department's SWPPP Inspector(s)

	Approved SWPPP

	SWPPP Certification (25D-111 Contractor, 25D-109 Department)

	HMCP (with lines of authority and contract information)

	SPCC when required

	SWPPP Preparer's qualifications

	Documentation of the SWPPP Preparer's preconstruction project visit

	SWPPP Amendments

	SWPPP Amendment Log (25D-114)

	SWPPP Inspection Reports (25D-100 parts 1&2)

	SWPPP Corrective Action Log (25D-112)

	SWPPP Grading and Stabilization Activities Logs (25D-110)

	SWPPP Daily Record of Rainfall Log (25D-115)

	Lines of Authority and Contact Information for Superintendent, SWPPP Manager, SWPPP Manager’s Representative, and Subcontractor SWPPP Coordinators

	ADEC SWPPP Review Letter (when required and once received)

	eNOT (all applicable)

	Any other records related to the SWPPP, SWPPP compliance, or CGP reporting requirements

641-3.03 SWPPP INSPECTIONS, AMENDMENTS, REPORTS, AND LOGS.  Perform inspections, prepare inspection reports, and prepare SWPPP amendments in compliance with the SWPPP and the CGP.  Prepare SWPPP Corrective Action Log, SWPPP Amendment Log, SWPPP Grading and Stabilization Logs, and SWPPP Daily Record of Rainfall forms.  Joint SWPPP inspections must be performed by the Superintendent, SWPPP Manager, or the SWPPP Manager’s Representative; and by the Engineer or Engineer’s qualified representative.

1.	Before Construction.

Before beginning Construction Activity, conduct a Joint Inspection of the Project with the SWPPP Preparer. Incorporated the results of the visit into the SWPPP and document the date of the visit and personnel attending the visit in the SWPPP.

2.	During Construction.

Conduct Joint Inspections (see Definitions 641-1.02) on one of the following schedules:

	at least once every seven days during construction, or

	at least once every 14 days during construction and within 24 hours of the end of a storm event of 1/2 inch or greater rainfall in a 24 hour period (1/2 inch rainfall as recorded at the project site rain gauge)

Indicate the inspection schedule in the SWPPP and conduct Joint Inspections in accordance with the selected schedule.

3.	Before Seasonal Suspension of Work.

Conduct Joint Inspection before seasonal suspension of work to review condition and applicability of BMPs and SWPPP.  Confirm SWPPP, temporary stabilization, and BMPs are installed and functioning in accordance with the requirements of Subsection 641-3.01.

4.	During Seasonal Suspension of Work.

Conduct Joint, or as otherwise approved by the Engineer, Inspections in accordance with the inspection schedule indicated in the approved SWPPP.  Inspection frequency during seasonal suspension of work may be reduced to at least one inspection every month if approved by the Engineer and the revised inspection frequency is documented as an amendment to the SWPPP, and either of the following requirements is met:

	the entire site is temporarily stabilized, or

	runoff is unlikely due to winter conditions (e.g. the site is covered with snow, ice or the ground is frozen)

The Engineer may waive winter monthly inspection requirements until one month before thawing conditions are expected to result in a discharge, if all of the following requirements are met:

	below-freezing conditions are anticipated to continue for more than one month

	land disturbance activities have been suspended, and

	beginning and ending dates of the waiver period are documented as an amendment to the SWPPP.

The Engineer may waive requirements for updating the Grading and Stabilization Activities Log and Daily Record of Rainfall form during seasonal suspension of work.  Resume collecting and recording weather data on the Daily Record of Rainfall form one month before thawing conditions are expected to result in a discharge.  Resume recording land disturbance and stabilization activities on the Grading Activities Log when Construction Activity resumes.

5.	During Winter Work.

Conduct Joint Inspections in accordance with the inspection schedule indicated in the approved SWPPP.

Inspection frequency during winter work may be reduced to at least one inspection every month if all of the following requirements are met:

	runoff is unlikely due to winter conditions (e.g. the site is covered with snow, ice or the ground is frozen)

	approval from the Engineer

	the revised inspection frequency is documented as an amendment to the SWPPP

6.	Project Completion.

Conduct Joint Inspection to ensure final stabilization is complete throughout the Project and all temporary BMPs are removed.

7.	Items and Areas to Inspect.

Inspect all items and areas covered under both the Department’s and the Contractor’s Project eNOIs; and items and areas included in the SWPPP.

Areas referenced in the Project SWPPP that are Contractor furnished, commercially, or utility furnished, and the Department is not an operator, do not require Joint Inspection in accordance with this contract.  For Contractor, commercial, or utility operator furnished areas, the Contractor or commercial operator is solely responsible for inspecting and assuring compliance with all APDES requirements, and any other federal, state, local, or tribal permitting requirements.

8.	Inspection Reports.

Use DOT&PF SWPPP Construction Inspection Report, Form 25D-100 to record SWPPP inspections.  Complete all fields included on the inspection form.

The Superintendent must sign and certify the inspection report on the day of the inspection, and must provide the report to the Engineer the same day.  The Engineer will sign and certify the inspection report and will return the original to the Contractor within three working days.

9.	SWPPP Amendments and SWPPP Amendment Log.

The Superintendent, SWPPP Manager, or SWPPP Manger’s Representative are responsible for amending the SWPPP.  They shall initial amendments to the SWPPP; and update and initial DOT& PF Form 25D-114, SWPPP Amendment Log.  Amend the SWPPP:

	whenever there is a change in design, construction operation, or maintenance at the construction site that has or could have significant effect on the discharge of pollutants that has not been previously addressed in the SWPPP

	if a Joint Inspection identifies the SWPPP or any portion of the SWPPP is ineffective in preventing the discharge of pollutants from the Project, that exceed applicable water quality standards

	if the Engineer or Contractor determines the SWPPP or any portion of the SWPPP is ineffective in preventing the discharge of pollutants from the Project, that exceed applicable water quality standards

	whenever an inspection identifies a problem that requires additional or modified BMPs

Amend the SWPPP narrative as soon as practicable after any change or modification, but in no case, later than seven (7) calendar days following an inspection.

Include the following information when documenting modifications to the SWPPP:

	date the action was completed

	initials of person documenting the action

	description of the action

Update the SWPPP drawings including date, location, action taken, and initials of the person recording the action for:

	installation of BMP

	modification of BMP (including any changes to BMP typical installation details)

	removal of BMP

Keep the SWPPP Amendment Log current and submit a copy to the Engineer, including copies of any documents amending the SWPPP, prior to performing each scheduled SWPPP inspection.

Include the current SWPPP Amendment Log as an appendix to the SWPPP.

10.	Corrective Action.

Action required to restore effective function of BMPs is corrective action and must be documented.

Use DOT&PF SWPPP Corrective Action Log, Form 25D-112, to document corrective actions to the SWPPP and to BMPs.  The Superintendent, SWPPP Manager, or SWPPP Manger’s Representative shall initial all entries on Form 25D-112.

After each inspection report has been signed and certified, update the corrective action log to include all corrective actions noted on the inspection report.

After the corrective action has been accomplished, note the action taken, and date and initial the entry.

Keep the corrective action log current and submit a copy to the Engineer prior to performing each scheduled SWPPP inspection.

Keep the corrective action log as an appendix to the SWPPP.

11.	Grading and Stabilization.

Use DOT&PF SWPPP Grading and Stabilization Activities Log, Form 25D-110, to record land disturbance and stabilization activities.  The Superintendent, SWPPP Manager, or SWPPP Manger’s Representative shall initial all entries or all dates on Form 25D-110.

Keep the grading and stabilization activities log current and submit a copy to the Engineer prior to performing each scheduled SWPPP inspection.

Keep the grading and stabilization activities log as an appendix to the SWPPP.

12.	Daily Weather Records.

Use DOT&PF SWPPP Daily Record of Rainfall, Form 25D-115, to record weather conditions at the Project.  Update the form daily and include the initials of the person recording each day’s entry.  Submit a copy to the Engineer prior to performing each scheduled SWPPP inspection.

Include the daily record of rainfall form as an appendix to the SWPPP.

641-3.04 EROSION, SEDIMENT, AND POLLUTION CONTROL PRICE ADJUSTMENT.  The total value of this contract will be adjusted as specified herein. A price adjustment, under Item 641(5), will be assessed as follows.

1.	Fines and Penalties: A Price adjustment equal to any penalties and fines levied against the Department by local, state, or federal agencies for pollutant violations, including violations of the CWA and the CGP, except when due to Department negligence.  An amount equal to the anticipated penalties and fines for the violation or violations, excluding any due to negligence by the Department, will be withheld temporarily until the actual cost of the penalties and fines is known.  Anticipated penalties and fines will be determined by the Engineer.  The Contractor is also responsible for the payment of penalties and fines levied against the Contractor.

2.	Failure to perform Inspections: By each 24 hour period that a required SWPPP inspection is delayed or is not signed, certified, or completed in accordance with the schedule identified in the approved SWPPP a price adjustment of $750 will be assessed.

3.	Failure to perform Corrective Action.  By each 24 hour period following 24 hours after written notice by the Engineer, per occurrence, a price adjustment of $750 will be assessed where the Contractor:

	fails to complete SWPPP administrative requirements as identified in the Contract or the CGP,

	fails to initiate work required by the SWPPP, or

	fails to initiate corrective action to respond to a deficiency noted during an inspection or by the Engineer.

The same deficiency remaining uncorrected will be considered an additional occurrence for each additional 24 hour period, without requiring additional written notice by the Engineer.

641-4.01 METHOD OF MEASUREMENT.  Section 109 and as follows:

Items 641(2) and (4) will be measured as specified in the Contract or Directive authorizing the work.

641-5.01 BASIS OF PAYMENT. The Bid Schedule will include either items 641(1) and (2), or items 641(1), (3), and (4). The Bid Schedule may or may not, include Items 641(5) and 641(6). When 641(6) does not appear in the Bid Schedule, the SWPPP Manager is subsidiary to other items of work.

Item 641(1) Erosion, Sediment, and Pollution Control Administration. At the contract lump sum price for administration of all work under this Section. Includes, but is not limited to, SWPPP and HMCP and SPCC preparation, agency fees for SWPPP reviews, SWPPP amendments, inspections, monitoring, reporting, and all record keeping related to the SWPPP and required by the CGP.

Item 641(2) Temporary Erosion, Sediment, and Pollution Control. At the contingent sum prices specified in the Contract or the Directive authorizing the work to install, maintain, remove, and dispose of temporary erosion, sedimentation, and pollution control measures required to complete the project using the approved SWPPP, SPCC, and HMCP.

Item 641(3) Temporary Erosion, Sediment, and Pollution Control. At the contract lump sum price to install, maintain, remove, and dispose of temporary erosion, sedimentation, and pollution control BMPs identified in the ESCP, and for BMPs and other measures included in the HMCP and SPCC.

Item 641(4) Temporary Erosion Sediment and Pollution Control Additives. At the contingent sum prices specified in the Directive for extra, additional, or unanticipated work to install, maintain, remove, and dispose of temporary erosion, sedimentation, and pollution control measures. All work paid under this Item will be shown as amendments to the original approved SWPPP or HMCP

Item 641(5) Erosion, Sediment, and Pollution Control Price Adjustment.  As specified in Section 641-3.04.

Item 641(6) SWPPP Manager. At the contract lump sum price for a SWPPP Manager and SWPPP Manager’s Representative that conforms to this specification.

Temporary erosion, sediment and pollution control measures that are required at Department furnished, Contractor furnished, or commercial operator furnished material sources, disposal sites, haul routes, fuel and material storage areas, and at equipment or material staging areas, will not be paid for separately but are subsidiary to other items of work. Work required by the HMCP and SPCC including hazardous material storage, containment, removal, cleanup and disposal, are subsidiary to other items of work.

Work that is paid for directly or indirectly under other pay items will not be measured and paid for under this Section 641. This work includes but is not limited to dewatering, shoring, bailing, permanent seeding, installation and removal of temporary work pads, temporary accesses, temporary drainage pipes and structures, diversion channels, settling impoundment, filtration, etc.

Permanent erosion, sediment, and pollution control measures will be measured and paid for under other Contract items, when shown on the bid schedule.

Temporary erosion, sediment, and pollution control measures that are required due to negligence, carelessness, or failure to install permanent controls as scheduled or ordered by the Engineer, or for the Contractor’s convenience, are at the Contractor’s expense.

If, after 24 hours following written notice by the Engineer, the Contractor fails to pursue work required by the SWPPP, respond to inspection recommendations or deficiencies in the SWPPP, or implement erosion and sedimentation controls identified by the Engineer, or fails to perform any of the contract obligations, the Engineer may employ others to correct the condition and deduct the cost from the Contract amount.

The Engineer may suspend earthwork operations and withhold any monies due the Contractor for failure to:

	perform SWPPP Administration

	perform timely SWPPP inspections

	update the SWPPP

	transmit SWPPP, SWPPP Inspection Reports, and associated Section 641 submittals to the Engineer

	maintain effective BMPs that minimize erosion, control sediment, or prevent discharge of pollutants that exceed applicable water quality standards

	perform duties in accordance with the requirements of this Section 641

	meet requirements of the CGP, SWPPP, or other permits, laws, and regulations related to erosion, sediment, or pollution control

The Contractor shall be due no additional monies or Contract time extension as result of delays resulting from suspension of earthwork for failure to perform required erosion, sedimentation, or pollution duties as outlined in this Section 641.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 641(1) | Erosion, Sediment, and Pollution Control Administration | Lump Sum |
| 641(2) | Temporary Erosion, Sediment, and Pollution Control | Contingent Sum |
| 641(3) | Temporary Erosion, Sediment, and Pollution Control | Lump Sum |
| 641(4) | Temporary Erosion, Sediment, and Pollution Control Additives | Contingent Sum |
| 641(5) | Erosion, Sediment, and Pollution Control Price Adjustment | Contingent Sum |
| 641(6) | SWPPP Manager | Lump Sum |

CR641-020810

- SECTION 642

- CONSTRUCTION SURVEYING AND MONUMENTS

Standard Modification

642-3.04 OFFICE ENGINEERING.  Delete the third sentence and replace with:  Perform the work by, or under the responsible charge of, a person registered in the State of Alaska as a Professional Land Surveyor or a Professional Engineer.

E53(5/1/07)

SECTION 643

TRAFFIC MAINTENANCE

Special Provisions

643-1.01 DESCRIPTION.  Add the following:

Additional work:

	Illuminate construction activities listed in Table 643-3, Night Work Illumination Level, and Area of Coverage, during hours of night work on roads open to the public inside the project limits.

643-1.02 DEFINITIONS. Add the following paragraphs after paragraph titled “Construction Phasing Plan”:

Balloon Light:  Light surrounding’s by a balloon-like enclosure kept inflated by pressurized air or helium, and producing uniform light through 360 horizontal degrees.  The top half of the balloon enclosure shall be constructed of an opaque material.

Night Work:  Work occurring between sunset and sunrise on all days, except the “No Lighting Required” period shown in Table 643-2, Night Work Lighting Requirements.

TABLE 643-2

NIGHT WORK LIGHTING REQUIREMENTS

| Latitude (degrees) | No Lighting Required |  | Nearby Cities |
| --- | --- | --- | --- |
|  | Start | End |  |
| < 61 | Lighting Required All Year |  | Everything South of Hope |
| 61 | June 11 | July 1 | Anchorage, Valdez, Girdwood |
| 62 | June 2 | July 13 | Wasilla, Palmer, Glennallen, Talkeetna |
| 63 | May 27 | July 17 | Cantwell, Paxson, McGrath |
| 64 | May 22 | July 21 | Delta Junction, Nome, Tok |
| 65 | May 18 | July 25 | Fairbanks |
| 66 | May 14 | July 29 | Circle |
| 67 | May 10 | August 2 | Coldfoot, Kotzebue |
| 68 | May 7 | August 6 | Galbraith Lake |
| 69 | May 3 | August 9 | Happy Valley |
| 70 | April 30 | August 12 | Deadhorse |
| 71 | April 27 | August 15 | Barrow |
| 72 | April 24 | August 19 |  |

ES14-031506

Special Provisions

643-1.03 TRAFFIC CONTROL PLAN.  Replace the last paragraph with the following:

A waiver may be requested, in writing, of regulation 17 AAC 25 regarding oversize and overweight vehicle movements inside the project limits.  If the waiver is approved, movements of oversize and overweight vehicles in or near traffic inside the project limits will be done according to the provisions of an approved Traffic Control Plan.  Maintain a minimum 12 foot lateral separation between the nonstreet legal vehicles and the motoring public.  The Traffic Control Plan shall specify the traffic control devices required for these operations.

CR222-050509

Special Provisions

643-1.04 WORKSITE SUPERVISOR.  Add the following to No. 2, Duties:

i.	Supervise lighting of Night Work.

ES14-031506

Standard Modifications

Add No. 3. Authority:

3.	Authority.	The Worksite Traffic Supervisor shall have the Contractor’s authority to stop work and implement immediate corrective action to unsafe traffic control, in locations where unsafe traffic control is present.

643-2.01 MATERIALS.

No. 10, Temporary Crash Cushions, delete the second sentence:

“Do not use permanent crash cushions as temporary crash cushions.”

E62-072808

Special Provisions

No. 12, replace with:

12.	Portable Changeable Message Board Sign.  Use new truck or trailer mounted portable changeable message board signs with self contained power supply for the sign and with:

a.	Message sign panel large enough to display 3 lines of 18 inch high characters.

b.	Eight character display per message module.

c.	Fully programmable message module.

d.	Remote control cellular, wireless radio frequency (RF), landline.

e.	Waterproof, lockable cover for the controller keyboard.

f.	Capacity for electric/hydraulic sign raising or lowering.

g.	Radar over speed detection.

h.	Variable flash and sequence rates.

i.	Light emitting diode (LED) display, using Institute of Transportation Engineers (ITE) amber/yellow

j.	The capacity for a minimum of 150 pre-programmed messages.

k.	Battery-Pack Operation Duration:  minimum of 55 hours under full load.

l.	Power chords shall comply with the National Electrical Code (NEC) Article 600.10 Portable and Mobile Signs, paragraph 600.10(c) (2) ground fault circuit interrupter (GFCI).  The chord will have integral GFCI protection located either in the attachment plug or 12 inches or less from the plug.

CR222-050509

Standard Modifications

No. 16, Flagger Paddles, replace the last sentence with:

Use reflective sheeting that meets AASHTO M268, Type VIII, or IX.  Use background colors of fluorescent orange on one side and red on the other side.

E56-050107

Special Provisions

Add the following:

17.	Flexible Markers.  Refer to Subsection 606-2.01 Materials.

CR222-050509

Standard Modifications

643-3.01 GENERAL CONSTRUCTION REQUIREMENTS.  Add the following:

Immediately notify the Engineer of traffic related accident(s) that occur(s) inside the project limits as soon as becoming aware of the accident.

E56-050107

Special Provisions

Add the following:

Where construction activity encroaches onto the safe route in a traffic control zone, station a flagger at the encroachment to assist pedestrians and bicyclists past the construction activity.

Maintain business access(s) during flagging operations.

643-3.02 ROADWAY CHARACTERISTICS DURING CONSTRUCTION.  Add the following:

Where specified in the Plans, Specifications, Special Provisions, and or the TCP:  traffic may be maintained on a continuous gravel surface.

2.	Gravel Surface Not Specified.

a.	Through traffic shall not traverse more than two gravel sections of roadway in any given period.

b.	Pavement Break(s) for Culvert or Utility Work:  Patch pavement breaks(s), with hot mix asphalt, not more than 48 hours after removing the existing pavement.

c.	When approved by the Engineer.

Pave lanes next to the median first.  Pave lanes next to exit and entrance ramps last.  Place temporary 12:1 sloped wedge of asphalt concrete against the abrupt pavement edge on lanes next to exit and entrance ramps.  Do not open the roadway to traffic until slope wedges are in place.

CR222-050509

Special Provisions

643-3.03 PUBLIC NOTICES.  Add the following:  A construction schedule shall be published in the local newspaper, at least 1 week before beginning construction activities.  A construction schedule and typical pathway closure schedules shall be posted at each end of the project site and at access points, as well as provided along with all other notices to MOA Parks Department Superintendent Monique Anderson, 343-4427

Work zones adjacent to an active pathway shall be adequately signed and/or fenced to deter access by the public.

Standard Modifications

643-3.04 TRAFFIC CONTROL DEVICES.  In the sixth paragraph replace:  “ATTSA” with:  “ATSSA”

E56-050107

Special Provisions

Replace the first sentence of the eighth paragraph with:

Items paid under this Section remain the Contractor’s property unless stated otherwise.

Add the following to No. 1, Embankments:

Close trenches and excavations at the end of each continuous work shift, except as indicated by the Engineer.

Add the following to No. 3, Fixed Objects:

Remove obstructions greater than 4 inches above the nominal foreslope grade at the end of each continuous work shift.

Delete No. 4.b, and replace with:

Flagger Certification by ATSSA.

Delete No. 6, and replace with:

6.	Street Sweeping and Power Brooming.  Keep free of loose material paved portions of the roadway and haul routes open to the public, including sections of roadway off the project where the Contractor’s operations have deposited loose material.  Use equipment for brooming and sweeping as recommended by the manufacturer and the following:

Dirt, dust and construction materials, mobilized as a result of power brooming and or sweeping, shall not be pushed, ejected, thrown or drift beyond the lesser of, 2 feet from the equipment perimeter or the edge of the paved surface.

All equipment shall operate to typical industry standards.  Maintain equipment to operate as designed by the manufacturer.  Equipment will employ safety equipment, warning lights, and other as required by the Specifications and these Special Provisions.

Sweeper and Broom Options:  Table 643-4, Traffic Control Rate Schedule, Street Sweeping.

a.	Regenerative Sweeper:  Sweeper that blows a stream of air at the paved surface causing fine particles to rise and be caught through a vacuum system.

b.	Vacuum Sweeper:  Sweeper that creates a vacuum at the paved surface sucking dirt, dust, and debris into the collection system.

c.	Mechanical Broom Sweeper:  Sweeper designed to pick up and collect larger size road debris, stones and litter, etc.  In addition to the requirements noted in these specifications, use of a mechanical broom sweeper requires the Engineer to approve the sweeper for the intended use.

d.	Power Broom:  Power brooming that wets, pushes and or ejects loose material directly into an attached collection/pickup container may be used when approved by the Engineer.  The added moisture will be contained to the paved roadway surface.

Dry Power Brooming is not permitted.  Power brooming without direct/immediate means of collection/pickup is not permitted.

643-3.05 AUTHORITY OF THE ENGINEER.  Replace the first sentence with:

When existing conditions adversely affect the public’s safety or convenience, the Contractor will receive an oral notice.  A written notice will follow the oral notice according to Subsection 105-1.01, Authority of the Engineer.

Add the following after the second sentence:

In no case shall this time exceed 24 hours.

643-3.06 TRAFFIC PRICE ADJUSTMENT.  Add the following:

Failure to maintain an acceptable infrastructure or traffic control plan will result in a price adjustment equal to 100 percent of the applicable rate shown in Table 643-1, Adjustment Rates, for the time the roadway or pedestrian facility is in an unacceptable condition.

Replace Table 643-1 with the following:

TABLE 643-1

ADJUSTMENT RATES

| Published ADT | Dollars/Minute of Delay/Lane |
| --- | --- |
| 0 – 5,000 | $ 30 |
| 5,000 + | $ 40 |

643-3.08 CONSTRUCTION SEQUENCING.  Replace the last sentence with:

Unless otherwise determined by the Engineer and on an approved Traffic Control Plan (TCP), do not restrict traffic including pedestrians during the times listed below.

1.	Monday through Friday:  0530 hrs to 0800 hrs and 1630 hrs to 1900 hrs.

2.	Around any Holiday:

a.	If a holiday falls on Sunday, Monday, or Tuesday, the above stipulations apply from 1200 hrs on the Friday before the holiday to 0300 hrs on the day after the holiday.

b.	If a holiday falls on Wednesday, the above stipulations apply from 1200 hrs on the Tuesday before the holiday to 0300 hrs on the Thursday after the holiday.

c.	If a holiday falls on Thursday, Friday, or Saturday, the above stipulations apply from 1200 hrs on the day before the holiday to 0300 hrs on the Monday after the holiday.

3.	During Trail Events:

Following is a listing of runs and trail uses that could potentially be within the project limits.  This list may not be all-inclusive, obtain the most current Alaska Runner’s Calendar at the following website: http://www.muni.org/Departments/parks/Documents/2010RunnersCalendar.pdf and verify race dates and courses.

A.  Fur Rondy sled dog races	Feb 26- March 7, 2010

B.  Iditarod Sled Dog Race	March 6, 2010

C.  Tour of Anchorage ski race	March 7, 2010

D.  Shamrock Scramble, University Lake area	March 13, 2010

E.  Spring Build Run UAA, APU	April 11, 2010

F.  Heart Run, Elmore Road, APU area	April 24, 2010

G.  Peak Performers Track Series, APU	April - August

Tuesdays at 6 pm

H.  Three Barons 5K	June 8, 2010

Start at Tozier Track and runs to University Lake

I.  Mayor’s Midnight Sun Marathon	June 19, 2010*

Trail from Tudor Rd. crossing, around
   west side of University Lake

J.  Eeva’s Sprint Orienteering	July 7, 2010

Starts at UAA Fine Arts building

K.  Dog Jog – East High	July 24, 2010

L.  Alaska 10k Classic	August 7, 2010

M.  Humpy’s Classic	August 15, 2010

N.  Alaska Running Club – Natural History	August 15, 2010

Providence Hospital area

O.  H.S. Cross Country run hosted by East High	Early September

P.  Night Orienteering – APU	October 8, 2010

Q.  The Home Run – UAA, APU	October 10, 2010

R.  Zombies Never Die -  50k	October 23, 2010

* Contractor shall arrange a preliminary inspection of the site with the Engineer, Trail Coordinator and race Officials of the Mayor’s Midnight Sun Marathon on or before June 16, 2010.  Be aware that many will be trying out the course the preceding weeks before the event.

The Contractor will have 60 days to complete the trail from Sta. 127+48.88 to Sta. 179+48.13.  The 60 days will begin when the Contractor begins any activities from Sta. 127+48.88 to Sta. 179+48.13.

Contractor cannot access project site through Wesleyan Drive or in Castle Heights Subdivision or College Gate Subdivision.

University of Alaska – Parcels E-5, E-6, E-11, E-12, and E-20

The Contractor shall not block access to any University of Alaska building or facility, and shall not enter upon or use any University of Alaska building or facility for any purpose.  The Contractor shall not disrupt or unduly disturb the University of Alaska’s use of it property or other nearby lands or facilities or building, including by noise, dust, or other similar disruption.

The Contractor is required to provide photographs of the project corridor located on University of Alaska parcels.  The photographs shall be taken prior to entering the property and at the commencement of the work on the property.

Municipality of Anchorage, Parks and Recreation – Parcel 13

The contractor shall provide adequate security and public notification (including signage) to inform he public that portions of the park will not be open to park users during construction activities.

The Contractor shall water and sweep the parking lot area to ensure the area is kept free form dirt and debris prior to the park opening each day at 0600 hours.

The Contractor shall repair any damage to the parking lot pavement or other facilities that occurs during the access period as a result of the permitted activity.

The Contractor shall place suitable barriers and shall take other precautions and measures as may be necessary or appropriate to prevent unauthorized vehicle access to the park area.

Lane restrictions, if allowed shall be conducted so that no more than a 5 minute accumulated stopped delay, 20 vehicles, or 1/8 mile (660 feet) of traffic is detained, whichever occurs first, before releasing the detained motorists.  During paving operations, a 10 minute stopped delay, 40 vehicles, or 1/4 mile (1320 feet) of traffic detained, will be allowed for motorists, except school buses.  If a queue of traffic develops at a stop, the entire queue must be emptied to include the last car that entered the queue at the time the queue was released.

Obtain the local school bus schedule and coordinate work efforts to ensure the school buses are not delayed through the construction zone.  This plan shall be submitted, as a TCP, to the Engineer for approval before the implementation of the school bus coordination plan.

643-3.09 INTERIM PAVEMENT MARKING.  In the second paragraph, delete the words:

“or cover them with black removable preformed marking tape.”

Replace the first sentence in the last paragraph with:

Do not place final pavement markings until traffic has traveled over the seal coat or surface treatment for at least 15 days and no more than 21 days, as directed by the Engineer.

CR222-050509

Special Provisions

Add the following new subsection:

643-3.10 LIGHTING OF NIGHT WORK.  Illuminate the night work areas specified in Table 643-3, Night Work Illumination Level, and Area of Coverage, to the light levels specified.

Table 643-3 does not provide a comprehensive list of operations that require lighting.  Provide lighting for other operations when necessary.

TABLE 643-3

NIGHT WORK ILLUMINATION LEVEL AND AREA OF COVERAGE

| Type of Work/Equipment | Lighting Configuration |
| --- | --- |
| Paving, Milling, Striping, Pavement Marking Removal, Rumble Strip Installation | At least two machine mounted balloon lights with a cumulative wattage of at least 4000 watts. Provide additional lights or wattage if necessary to provide complete coverage. |
| Rolling, Pavement Sweeping | At least four sealed beam halogen lamps in the front and four in the back. Each should be at least 55 watts. |
| Flagging | Two balloon lights of at least 2000 watts each located within 30 feet of the normal flagger location. Locate one on the right side of the road beyond the flagger and the other on the left side of the road in front of the flagger. |
| Truck Crossings (meaning where haul vehicles cross or enter a road): 1) Roads with ADTs over 10,000 2) That are controlled by portable signals or flaggers | Two Balloon lights of at least 2000 watts each located on the main road, one on the far right side of the intersection, the other on the near left. Locate lights within 30 feet of the edges of the side street. If there is a flagger at the crossing, locate the lights to also meet the requirements for flagging. |

Use balloon lighting as the main light sources.  Do not use floodlights without prior approval by the Engineer.  When approved, install floodlighting in a manner that minimizes glare for motorists, workers, and residents living along the roadway.  Locate, aim louver, and/or shield light sources to achieve this goal.

The Engineer shall be the sole judge of when glare is unacceptable, either for traffic or for adjoining residences.  When notified of unacceptable glare, modify the lighting system to eliminate it.

If the Contractor fails to provide the lighting equipment specified in Table 643-3 or provides lighting that creates unacceptable glare at any time, the Contractor shall cease the operations that require illumination until the condition is corrected.

Lighting equipment shall be in good operating condition and in compliance with applicable OSHA, NEC, and NEMA codes.

Provide suitable brackets and hardware to mount lighting fixtures and generators on machines and equipment.  Design mountings so lights can be aimed and positioned as necessary to reduce glare.  Locate mounting brackets and fixtures so they do not interfere with the equipment operator or overhead structures.  Connect fixtures securely in a manner that minimizes vibrations.

Ensure ground, trailer, and equipment mounted light towers are sturdy and freestanding without the aid of guy wires.  Towers shall be capable of being moved to keep pace with the construction operation.  Position ground and trailer mounted towers and trailers to minimize the risk of being impacted by traffic on the roadway or by construction traffic or equipment.

Raise trailer or equipment mounted lights to maximum height, except do not exceed the clearance required for overhead objects such as trees, aerial utilities, or bridges.  Aim and adjust lights to provide the required light levels.  Provide uniform illumination on the hopper, auger, and screed areas of pavers.  Illuminate the operator’s controls on machines uniformly.

Furnish each side of nonstreet legal equipment with a minimum of 75 square inches high intensity retroreflective sheeting in each corner, so at least 150 square inches of sheeting is visible from each direction.  Provide red sheeting on the rear of the equipment and yellow sheeting elsewhere.

Existing street and highway lighting and conventional vehicle headlights do not eliminate the need for the Contractor to provide lighting meeting the requirements of Table 643-3.

Provide sufficient fuel, spare lamps, spare generators, and qualified personnel to ensure that required lights operate continuously during nighttime operations.  Ensure generators have fuel tanks of sufficient capacity to permit operation of the lighting system for a minimum of 12 hours.  In the event of failure of the lighting system, discontinue the operation until the required level and quality of illumination is restored.

Maintain a supply of at least 20 emergency flares for use in the event of emergency or unanticipated situations.  Comply with local noise ordinances.

Provide NCHRP 350-compliant breakaway bases for post mounted electroliers located within the clear zone.

ES14-031506

Standard Modifications

Add the following new subsection:

643-3.11 HIGH VISIBILITY CLOTHING.  Ensure workers inside project limits wear an outer visible surface or layer that complies with the following requirements:

1.	Standards.  Use high visibility garments conforming to the requirements of ANSI/ISEA 107-2004, Class 2 for tops or Class E for bottoms, and Level 2 retroreflective material.

2.	Labeling.  Use garments labeled in conformance with Section 11.2 of ANSI/ISEA 107-2004.

3.	Tops.  Wear high visibility vests, jackets, or coverall tops at all times.

4.	Bottoms.  Wear high visibility pants or coverall bottoms during nighttime work (sunset to sunrise).  Worksite traffic supervisors, employees assigned to traffic control duties, and flaggers wear high visibility pants or coverall bottoms at all times.

5.	Outer Raingear.  Wear raingear tops and bottoms conforming to requirements in this Subsection, 643-3.11.

6.	Exceptions.  When workers are inside an enclosed compartment of a vehicle, they are not required to wear high visibility clothing.

7.	Condition.  Furnish and maintain vests, jackets, coveralls, rain gear, hard hats, and other apparel in a neat, clean, and presentable condition.  Maintain retroreflective material to Level 2 standards.

E56-050707

Special Provisions

643-4.01 METHOD OF MEASUREMENT.  Replace the second sentence of No. 2. with:

Special Construction signs are measured by the total area of legend bearing sign panel, as determined under Subsection 615-4.01 and compensation for a 24 hour period shall be made under Construction Signs in the Traffic Control Rate Schedule, Table 643-4.

Add the following:

No measurement required to provide a 24-hour toll free (1-800 ###-####) “Hotline Road Report” telephone with a prerecorded message, and weekly notices with daily updates.  Work will be subsidiary to Pay Item 643(1) or 643(2), Traffic Maintenance.

643-5.01 BASIS OF PAYMENT.  Add the following to No. 7:

The Engineer will pay for Item 643(15) Flagging on a contingent sum basis at the rate of $46.00/hour.  The Engineer does not require a change order/directive for the flagging Pay Item.  Flagging associated with Change Order work will be paid at the prices according to Subsection 109-1.05 Compensation for Extra Work.

Add the following to No. 11:

The Engineer does not require a change order/directive for Pay Item 643(25), Traffic Control.

CR222-050509

Special Provisions

Add No. 16:

16.	Work Zone Illumination.  Payment for work zone illumination is subsidiary to other items.

ES14-031506

Standard Modification

Add No. 17:

17.	High Visibility Garments.  Payment for high visibility garments for workers is subsidiary to other items.

E56-050107

Special Provisions

Add No. 18:

18.	Pavement Breaks.  Temporary hot mix asphalt at pavement breaks, as noted in Subsection 643-3.02, 2. Gravel Surface Not Specified, is subsidiary to Pay Item 608(7).

Special Provisions

TABLE 643-4

TRAFFIC CONTROL RATE SCHEDULE

| Traffic Control Device | Pay Unit | Unit Rate |
| --- | --- | --- |
| Construction Signs | Each/Day | $ 5.00 |
| Special Construction Signs | Square Foot | $ 24.00 |
| Type II Barricade | Each/Day | $ 3.00 |
| Type III Barricade | Each/Day | $ 10.00 |
| Traffic Cone or Tubular Marker | Each/Day | $ 1.00 |
| Drums | Each/Day | $ 3.00 |
| Sequential Arrow Panel | Each/Day | $ 55.00 |
| Portable Concrete Barrier | Each | $ 60.00 |
| Temporary Crash Cushion / ET-PLUS | Each | $ 5000.00 |
| Pilot Car | Hour | $ 65.00 |
| Watering | M-Gallon | $ 20.00 |
| Street Sweeping: Regenerative Sweeper, Vacuum Sweeper, Mechanical Broom Sweeper, Power Broom | Hour | $ 150.00 |
| Plastic Safety Fence | Foot | $ 0.75 |
| Portable Changeable Message Board Sign | Calendar Day | $150.00 |
| Temporary Sidewalk Surfacing | Square Foot | $ 1.15 |
| Flexible Markers | Each | $ 50.00 |
| Removal of Pavement Markings | Foot | $1.25 |
| Temporary Guardrail | Foot | $ 21.00 |

Replace Pay Item 643(15) with:

Pay Item No.	Pay Item	Pay Unit

643(15)	Flagging	Contingent Sum

CR222-050509

SECTION 644

SERVICES TO BE FURNISHED BY THE CONTRACTOR

Special Provisions

644-2.01 FIELD OFFICE

Delete this subsection in its entirety and substitute the following:

Furnish and maintain a suitable office for the Engineer, available for occupancy from 2 weeks before beginning work, through 30 days after issuance of the notice of project completion as defined in subsection 105-1.15.  The following office requirements shall be met:

- A minimum of 1,000 square feet of floor area.  The office area shall be divided so that it contains an office room separated by a closable door.  The office room shall have a minimum of 160 square feet of floor area.

- A thermostatically controlled interior heating system with necessary fuel.

- Adequate electrical lighting and 120 volt, 60 hertz power, with a minimum of 6 electrical outlets.

- A minimum of 100 square feet of window area and adequate ventilation.

- Adequate parking for a minimum of 16 vehicles, with one handicap parking space meeting the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

- Attached indoor plumbing with sanitary lavatory facilities and potable drinking water provided.

- Provide communications service to the field office.

Minimum service includes:

- 3 phone/facsimile lines (different phone numbers for each line)

- High speed internet service with modem (DSL or Cable)

- In a part of the Contractor’s building, it shall be completely partitioned off from the balance of the structure and provided with a separate outside door equipped with a lock.

- Located within 3 miles of the project.

- Weekly janitorial service consisting of emptying trash receptacles, vacuuming office area, and cleaning restrooms and counter areas.

- Provide one mobilization and one demobilization of the Engineer’s office equipment and furniture.

644-4.01 BASIS OF PAYMENT

Add the following:

Long distance calls made by State personnel and the internet service provider will be paid by the State.  Local calls and connection fees shall be paid by the Contractor.

Engineering Communications:  Payment for communication usage services shall be based on paid receipts to the service provider plus 15%.  Costs associated with initial connection, providing equipment and disconnection shall be subsidiary to 644(1) Field Office.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 644(9) | Engineering Communications | Contingent Sum |

SECTION 646

CPM SCHEDULING

Special Provisions

646-2.01 SUBMITTAL OF SCHEDULE.  Replace this Subsection with the following:  Submit a detailed initial CPM Schedule at the preconstruction conference for the Engineer’s acceptance as set forth below.

The construction schedule for the entire Project shall not exceed the specified contract time.  Allow the Engineer 14 days to review the initial CPM Schedule.  Revise promptly.  The finalized CPM Schedule must be completed and accepted before beginning work on the Project.

646-3.01 REQUIREMENTS AND USE OF SCHEDULE.

Delete item 2, 60-Day Preliminary Schedule.

Delete the first sentence of item 3, Schedule Updates, and substitute the following:  Hold job site progress meetings with the Engineer for the purpose of updating the CPM Schedule.  Meet with the Engineer monthly or as deemed necessary by the Engineer.

R261 (12/13/02)

Special Provision

Add the following Section:

SECTION 647

EQUIPMENT RENTAL

647-1.01 DESCRIPTION.  This item consists of furnishing construction equipment, operated, fueled and maintained, on a rental basis for use in construction of extra or unanticipated work at the direction of the Engineer.  Construction equipment is defined as that equipment actually used for performing the items of work specified and shall not include support equipment such as, but not limited to, hand tools, power tools, electric power generators, welders, small air compressors and other shop equipment needed for maintenance of the construction equipment.

The work is to be accomplished under the direction of the Engineer, and the Contractor's operations shall at all times be in accordance with the Engineer's instructions.  These instructions by the Engineer shall be to the Contractor's supervisory personnel only, not to the operators or laborers.  In no case shall these instructions by the Engineer be construed as making the Department liable for the Contractor's responsibility to prosecute the work in the safest and most expeditious manner.

647-2.01 EQUIPMENT FURNISHED.  In the performance of this work, the Contractor shall furnish, operate, maintain, service, and repair equipment of the numbers, kinds, sizes, and capacities set forth on the Bid Schedule or as directed by the Engineer.  The operation of equipment shall be by skilled, experienced operators familiar with the equipment.

The kinds, sizes, capacities, and other requirements set forth shall be understood to be minimum requirements.  The number of pieces of equipment to be furnished and used shall be, as the Engineer considers necessary for economical and expeditious performance of the work.  The equipment shall be used only at such times and places as the Engineer may direct.

Equipment shall be in first class working condition and capable of full output and production.  The minimum ratings of various types of equipment shall be as manufactured and based on manufacturer's specifications.  Alterations will not be considered acceptable in achieving the minimum rating.  Equipment shall be replaced at any time when, in the opinion of the Engineer, their condition is below that normal for efficient output and production.

Equipment shall be fully operated, which shall be understood to include the operators, oilers, tenders, fuel, oil, air hose, lubrication, repairs, maintenance, insurance, and  incidental items and expenses.

647-2.02 EQUIPMENT OPERATORS AND SUPERVISION PERSONNEL. Equipment operators shall be competent and experienced and shall be capable of operating the equipment to its capacity.  Personnel furnished by the Contractor shall be, and shall remain during the work hereunder, employees solely of the Contractor.

The Contractor shall furnish, without direct compensation, a job superintendent or Contractor's representative together with such other personnel as are needed for Union, State, or Federal requirements and in servicing, maintaining, repairing and caring for the equipment, tools, supplies, and materials provided by the Contractor and involved in the performance of the work.  Also, the Contractor shall furnish, without direct compensation, such transportation as may be appropriate for the personnel.

647-3.01 CONSTRUCTION REQUIREMENTS. The performance of the work shall be according to the instructions of the Engineer, and with recognized standards and efficient methods.

The Contractor shall furnish equipment, tools, labor, and materials in the kinds, number, and at times directed by the Engineer and shall begin, continue, and stop any of the several operations involved in the work only as directed by the Engineer.

Normally, the work is to be done when weather conditions are reasonably favorable, 6 days per week, Mondays through Saturdays, except holidays.

The Engineer will begin recording time for payment each shift when the equipment begins work on the project.  The serial number and brief description of each item of equipment listing in the bid schedule and the number of hours, or fractions thereof to the nearest one-quarter hour, during which equipment is actively engaged in construction of the project shall be recorded by the Engineer.  Each day's activity will be recorded on a separate sheet or sheets, which shall be verified and signed by the Contractor's representative at the end of each shift, and a copy will be provided to the Contractor's representative.

647-4.01 METHOD OF MEASUREMENT. The number of hours of equipment operation to be paid for shall be the actual number of hours each fully operated specified unit of equipment, or each fully operated specified combination of units of equipment, is actually engaged in the performance of the specified work on the designated areas in accordance with the instruction of the Engineer.  The pay time will not include idle periods, and no payment will be made for time used in oiling, servicing, or repairing of equipment, or in making changeovers of parts to the equipment.  Travel time to or from the project, will not be authorized for payment.  Hours paid shall be supported by certified payroll.

647-5.01 BASIS OF PAYMENT.

This shall be full compensation for furnishing, operating, maintaining, servicing, and repairing the equipment, and for incidental costs related to the equipment.  Furnishing and operating of equipment of heavier type, larger capacity, or higher wattage than specified will not entitle the Contractor to any extra compensation.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 647(2) | Wide Pad Dozer, 65 HP minimum | Hour |

CR15-082405

SECTION 660

SIGNALS AND LIGHTING

Special Provisions

660-1.01 DESCRIPTION.  Add the following:  Item 660(29) Relocate Electric Line includes relocation/replacement of existing lighting, conductor and conduit near Station 178+25 as indicated in the Plans.

660-2.01 MATERIALS.

1.	Equipment List(s) and Drawings.  Delete item a in its entirety and the last sentence in item d and substitute the following:

- Materials on the Qualified Products List:  The Qualified Products List does not apply to the 660 items.  Provide catalog cuts of materials to the Engineer for review and approval.

- Materials Not Requiring Certification:  Only submit these materials for review and approval if they are included on the Materials Certification List (MCL).

2.	As-Built Plans.  Add the following:

The Engineer will deliver one copy each to State Maintenance and Operations; Technical Services; and attach the appropriate sheets of the last set in clear plastic envelopes to the inside of each controller assembly and load center.

Standard Modifications

660-2.01 MATERIALS.  Under item 1a, change title by removing:  “Materials on the Approved Products List” and replace with “Materials on the Qualified Products List:”

E36(01/27/07)

660-2.01 MATERIALS.  Under item 1a, change title by removing:  “Materials Not on the Approved Products List” and replace with “Materials Not on the Qualified Products List:”

E36(01/27/07)

# CONSTRUCTION REQUIREMENTS

Special Provisions

660-3.01 GENERAL.  Delete items 3 through 8 in their entirety, and substitute the following:

- Excavating and Backfilling.  Complete excavation and backfill required to install the signal and lighting components embedded in the roadway as shown in the Plans, including foundations, conduits, junction boxes, and loop detectors.  Provide traffic control to complete this work according to the requirements of Section 643.  Place excavated materials where it will not interfere with surface drainage.

Support and protect conduits and utilities scheduled to remain in service when encountering them during excavation.

Excavate trenches wide enough to install the number of conduits specified side by side, to provide clearances of at least 2-1/2 inches around 2-inch conduits and at least 2 inches around conduits larger than 2 inches, and to compact the bedding and backfill materials according to these specifications.

To install conduits, excavate trenches deep enough to allow for 6 inches of bedding material, the depth of the largest conduit, and the minimum burial depth specified between the top of the conduit and finished grade of the ground above the conduit.  Keep the longitudinal profile of trench bottoms free of irregularities that would prevent the assembled conduit run from continuously contacting the top of the bedding material.

Dispose of, according to subsection 203-3.01, excavated materials that remains after completing backfill work and excavated material not meeting the requirements of Selected Material, Type C, as defined in subsection 703-2.07.

Dewater foundation and conduit excavations immediately before and during embedding and backfilling operations.  Backfill excavations with materials that meet the following requirements

a.	Backfill foundations with material that meets the requirements of Selected Material, Type A that passes through a 3-inch sieve.

b.	Within the limits of the typical section, embed conduits and backfill trenches using material that meets the requirements of the lift where it is located, reusing excavated materials if it meets the requirements of the applicable lift,

c.	In other locations, embed conduits and backfill trenches using material that meets the requirements of Selected Material, Type C, reusing excavated materials if it meets this requirement.

d.	Import, when ordered, embedment and backfill materials that satisfy the preceding materials requirements.

Embed conduit(s) between two 6-inch lifts of material gleaned free of rocks exceeding a 1 inch maximum dimension.  Grade and compact the first lift to provide a surface that continuously contacts the assembled conduit run.

Within 6 feet of paved surfaces and around foundations, backfill in uniform layers no more than 6 inches deep and compact each layer according to subsection 203-3.04.  In other locations, compaction may be as approved by the Engineer.

- Welding.  Complete welding according to subsection 504-3.01.8.  Welding and approved shop drawings.

Submit shop drawings of the proposed work with the welding plans for approval.  The shop drawings shall include material specifications, component dimensions, the types of welds that will be made, and the proposed type and extent of weld inspection.

Repair the holes, which were used to mount equipment, in reused poles and mast arms by welding in disks flush with the adjoining surface.  For the disk material, use steel that matches the ASTM designation, grade, and thickness of the steel used to fabricate each pole.  Cut disks that match the dimensions of the hole being repaired from pieces of steel plate bent to match the pole’s radius at the hole.  Grind the welds smooth and flush with the adjoining pole and disk surfaces.  Repair the damaged finish according to subsection 660-3.01.8.

- Removing and Replacing Improvements.  The Contractor shall complete the following work at the Contractor’s expense.

- Remove improvements that block completion of the work detailed in the Plans as specified herein.

- Reconstruct with new materials the nonreusable improvements the Contractor removed to complete the work, unless other items in the contract cover the improvements.

- Replace with new materials the reusable items damaged by the Contractor, that are specified for reuse.

- Reconstruct with new materials improvements that the Contractor damaged or removed, that do not conflict with the work and are not scheduled for removal.

Nonreusable improvements consist of cast in place items, including:  asphalt concrete pavement, sidewalks, curb and gutter, lawns, and traffic markings.  Reusable improvements include the items that were made before installation.  Crushed aggregate base material may not be used as backfill in the base course if excavation depth exceeds the thickness of the base course.

Complete reconstruction work, including materials, according to the applicable sections of the Alaska SSHC, and leave the work in a satisfactory and serviceable condition.  In completing the reconstruction work, match the alignments, widths, thicknesses, shapes, sizes, cross sections, and finishes of the existing improvements.

If removing a portion of sidewalk or curb and gutter, remove an entire segment between the weakened plane contraction joints or between an expansion joint and a weakened plane contraction joint.

Before removing a segment of Portland or asphalt cement concrete material, cut completely through the material with a saw along the outline of the area to be removed.  Make cuts neat and true and prevent shatter outside the area removed.

To replace lawns, leave the top of the backfilled excavation low enough to install 4 inches of compacted topsoil.  Match the top of the topsoil with the bottom of the vegetative mat.  Apply seed and keep the seeded areas watered according to Section 618.

Remove, keep alive, and replant trees, shrubs, and plants according to Section 621.  Replace the trees, shrubs, and plants that do not survive with plants of like size and type.

- Salvaging and Reusing Electrical Equipment.  When the Plans include existing electrical equipment scheduled for removal or relocation, remove, and store the equipment listed in the following paragraph without damaging it.  Deliver removed equipment not scheduled for reuse to the nearest District Maintenance Station or place specified in the Plans or Special Provisions.  Notify the district superintendent or person specified by telephone one-week before planned delivery date.

Salvage the controller assemblies, signal heads, mounting brackets, luminaires, lighting standards, signal posts and poles, mast arms, optical detectors, load centers, light emitting diode optical units, and the lids of junction boxes scheduled for removal and other materials scheduled for relocation.  The Contractor shall replace at the Contractor’s expense salvaged equipment damaged or destroyed before or during delivery or reinstallation.

Controller assemblies and load centers include the cabinet and equipment contained in the cabinet before Contract award.

Remove from the highway right-of-way materials associated with the equipment removed or relocated and not scheduled for reuse, including conduits, junction boxes, conductors, and foundations.  Raze the tops of foundations abandoned in place according to subsection 660-3.02.  Fill the holes left by removing junction boxes and foundations with selected material type A and compact as directed.

With approval, after removing conductors, buried conduits that do not interfere with other construction may be abandoned in place with a credit taken by the Department.  Remove the ends of abandoned conduits from the junction boxes that will remain in service.

Within 15 days of the Notice to Proceed, complete an inventory of the materials that will be salvaged in the presence of the Engineer.  Note the location and condition of the materials.  When material specified for reuse is found in an unserviceable condition, the Engineer will determine whether to repair it or replace it with new material, which will be paid for as extra work under subsection 109-1.05.  Retain a copy of the inventory and give the original documents to the Engineer.

When the Plans specify reinstalling existing equipment at new locations and installing State furnished equipment, complete the following work at the Contractor’s expense.

- For poles, install new foundations, furnishing the new nuts, bolts, washers, and conduits needed to complete the installations.

- For lighting poles, install new illumination tap wires and fused disconnect kits.

- For luminaires, clean the luminaires inside and out and install new lamps of the same wattage.

- For signal heads, furnish and install the mounting brackets needed to complete the relocation, and clean the signal heads inside and out.

- For poles and undisturbed poles from which the Plans specify removing equipment, repair the holes that were made to mount equipment according to subsection 660-3.01.4.  Welding and repair the finishes according to subsection 660-3.01.8.

When ordered, the Engineer will pay for repairing damaged finishes on existing equipment according to subsection 660-3.01.8 as extra work.

If deciding to use new equipment rather than reusing the equipment specified, notify the Engineer of the change and include a submittal according to subsection 660-2.01.1.

- Field Tests.  Electrical circuits must pass the following tests before the Engineer will accept the work for payment.  Perform these tests in the presence of the Engineer, and document the results of each test on a per circuit basis.  Retain a copy of test results and give the original documents to the Engineer.  Furnish equipment needed to perform these tests.

Replace or repair at the Contractor’s expense, and in an approved manner, faulty materials, and work revealed by these tests.  After making repairs, repeat tests on the repaired circuit and continue this process until circuits have passed required tests.  The Department reserves the right to have the Contractor retest circuits, and to use the retest results to accept or reject individual circuits.

- Grounds.  Before completing the circuitry and functional tests, physically examine conduits ends, junction box lids, load centers, and the foundations for signal posts and poles, lighting poles, and controller cabinets to ensure the grounding system required by subsections 660-3.06 and 661-3.01 has been installed and splices and connections are mechanically firm.

- Insulation Resistance (megohm) Test.  Complete this test to verify the integrity of each conductor’s insulation after pulling the conductors and cables into position and before terminating the conductors.  At 500 volts DC, each conductor’s insulation shall measure a minimum resistance of 100 megohms or the minimum specified by the manufacturer.  With single conductors, complete the test between each conductor and ground.  In each multiconductor cable, complete the test between conductors and between each conductor and ground.

Perform the functional test for each highway lighting system and sign illumination system until the systems burn continuously 5 days without the photocell, followed by a 5 day operational test using the photocell.

A shut down of the electrical system due to a power interruption does not constitute discontinuity of the functional test if the system functions normally when power is returned.

8.	Repairing Damaged Finishes.  Examine new, reused, and State furnished equipment for damage to its finish before putting the equipment into service.  Repair the damaged finishes found according to the following:

a.	Galvanized.  Repair damaged areas more than 12 inches away from welds and slip fit areas, by applying a minimum of 7.8 mils of zinc-based alloy applied according to ASTM A780.

If the damaged areas are within 12 inches of welds and slip fit areas, make the repair by applying a minimum 7.8 mils of zinc rich paint applied according to ASTM A780.

b.	Painted.  Repair damage to painted finishes according to the following

(1)	Wash the equipment with a stiff bristle brush using a solution containing two tablespoons of heavy-duty detergent powder per gallon of water.  After rinsing, wire brush surfaces to remove poorly bonded paint, rust, scale, corrosion, grease, or dirt.  Remove dust or residue remaining after wire brushing before priming.

(2)	Factory or shop cleaning methods may be used for metals if equal to the methods specified herein.

(3)	Immediately after cleaning, coat bare metal with pretreatment, vinyl wash primer, followed by 2 prime coats of zinc chromate primer for metal.

(4)	Give signal equipment, excluding standards, a spot finishing coat on newly primed areas, followed by 1 finishing coat over the entire surface.

(5)	Give nongalvanized standards two-spot finish coats on newly primed areas.

Paint coats may be applied either by hand brushing or by approved spraying machines.  Perform the work in a neat and workmanlike manner.  The Engineer reserves the right to require the use of brushes for the application of paint, should the work done by the paint spraying machine prove unacceptable.

Add the following new item 9:

9.	Regulations and Code.  Complete work according to the standards of the NEC, the NESC, and local safety codes as adopted and amended by the authority having jurisdiction.

660-3.02 FOUNDATIONS.  Under item 1, Cast-in-Place Foundations, add the following to the first paragraph:  Locate the tops of traffic signal post and pole foundations flush with the adjacent finished:  walkway, shoulder, or surrounding ground.

- Cast-in-Place Foundations.  In subparagraph f, revise the second sentence to read:  Before placing the form or reinforcing steel cage, remove loose material from the bottom of the hole to ensure the foundation rests on firm, undisturbed ground.

In the second sentence of subitem i, delete “prior to grouting” and substitute “before attaching the skirt.”

In the first sentence of subitem j, delete “concrete pile caps” and substitute “foundations.”

Delete item k, and add the following new items k and l:

k.	Install the bottoms of the bottom leveling nuts in a level plane within 1 inch of the top of foundations.  Adjust all nuts until their tops form a level plane.  Install one washer on top of all leveling nuts and, after setting the pole on these washers, install one washer under all top nuts.

Bring leveling nuts (bottom nuts) to full bearing on the bottom of the base plate.

Generously lubricate the bearing surface and internal threads of top nuts with beeswax.  Tighten all top nuts to a “snug” condition.  Use a click-type torque wrench to apply 600 foot-pounds of torque to the “snug” top nuts.

After torquing the top nuts, use a hydraulic wrench to rotate all top nuts an additional one-sixth (60o) turn, while preventing the leveling nuts from turning.

l.	Attach a 4 AWG, bare, solid copper wire as a grounding electrode conductor to the No. 4 spiral bar in the reinforcing steel cage.  Use an irreversible compression connector or cadweld to make the attachment.  Protect the attachment during concrete placement.  In foundations that lack reinforcing steel cages, install 21 feet of coiled 4 AWG, bare, solid copper wire as the grounding electrode.  Route the conductor to protrude near the top, center of the foundations.  Slide a minimum 6-inch-long, nonmetallic, protective sleeve over the conductor.  Allow 1 inch of the sleeve and 24 inches of conductor to protrude from the foundations.

2.	Pile Foundations.  Add the following new item g:

g.	Use no more than one splice per foundation.  Locate the splice at least 7 feet from the top of pile.

Replace subsection 660-3.03 with the following:

660-3.03 CONDUIT.  Electrical conductors shall be installed in conduit, except for overhead wiring, wiring inside poles, and when otherwise specified.  Use rigid metal conduits (RMC) and fittings for raceways, including bored casings, except when the Plans specify using polyethylene conduits.  Install conduits of the sizes specified along the routes detailed on the Plans.  When routing is not shown, route conduits as directed by the Engineer.

- Install conduits at least 30 inches below the finished grade of the ground above the conduit, except conduits that will be sealed under a minimum 4 inch thick Portland cement concrete sidewalk may be installed a minimum of 18 inches below the top back of curb or surface above the conduit, whichever is lower.

- Install conduits that cross unpaved areas and paved roadways that will be overlaid in excavated trenches.  Excavate, bed conduits, and backfill trenches according to subsection 660-3.01.3, Excavating and Backfilling.

- Install conduit(s) under paved roadways and approaches that will not be overlaid by boring or drilling methods.  Jacking conduits into position is allowed.  However, if subsurface conditions prevent the successful completion of the work, install the conduit(s) by boring or drilling methods without additional compensation.

- Sweep both rigid metal and polyethylene conduits through the open bottom of junction boxes by installing 90-degree rigid metal elbows on the ends of conduit runs.  To each elbow, install a nipple that terminates 5 to 12 inches above the bottom edge of each junction box.

- Install the tails of loop detectors without elbows through the walls of junction boxes at elevations that ensure the loops drain into the box.  Extend the ends a minimum of 2 inches beyond the inside wall of the box.

- Drill a 3/8 inch drain hole in the bottom of the lower straight section of elbows and in the bottom of conduits at the low points of conduit runs.  Smooth the edges of the drilled holes on the inside of elbows to prevent scraping the conductors.  Cover the holes with a wrap of approved filter cloth secured with two self-clinching nylon cable ties.

- Keep conduits clean.  Install grounding bushings and approved plastic insert type plugs on the ends of conduit runs before backfilling around the conduit ends.

- At the low points of conduit runs, install sumps containing a minimum 2 cubic-feet of coarse concrete aggregate material that conforms to subsection 703-2.02.  Compact the aggregate sumps as directed to prevent settlement of the trench backfill.

- Install conduits that must cross existing facilities such as storm drain pipes, duct systems, and other underground utilities at the minimum depths specified, going under the facilities if necessary.  Install additional drains and aggregate sumps at the low spots, if any.

- Position conduits in trenches, junction boxes, and foundations to provide clearances of at least 2-1/2 inches around 2 inch conduits and at least 2 inches around conduits larger than 2 inches.

- Fabricate rigid metal conduits less than 10 feet long from standard lengths of conduit.  Cut conduits squarely to ensure the threading die starts squarely on the conduit.  Cut the same number of threads as found on the factory threaded ends.  Ream the inside of conduit ends cut in the shop or field to remove burrs and sharp edges.  Do not use slip joints or pieces of running thread pipe.

- Coat drilled holes, shop and field cut threads, and the areas with damaged zinc coating with zinc rich paint.

- When standard couplings cannot be used to join conduit components, use approved threaded unions.

- Bury a continuous strip of 4 mils thick, 6 inch wide polyethylene marker tape above underground conduit runs.  Install the tape 9 inches (± 3 inches) below finished grade, using two strips side by side to mark road crossings.  Furnish tapes with a black legend on a red background.

- If encountering obstructions during jacking or drilling operations, obtain approval and cut small holes in the pavement to clear the obstruction.  Locate the bottom inside face of the bore pit no closer than the catch point of a 1-1/4 to 1 slope (a horizontal to vertical ratio) from the edge of pavement.  Do not leave these pits unattended until installing an approved means of protection.

- When the Plans specify using polyethylene conduit, install RMC in structures and foundations, between type 2 and 3 load centers and the nearest junction box, and on the surfaces of poles and other structures.

- In foundations, install 90-degree elbows and conduits of the size and quantity shown on the Plans.  Extend the conduits a maximum of 2 inches above the top of the foundations for posts and poles with breakaway bases and 4 inches above the top of foundations for fixed base structures.

- Seal conduits leading to electrical equipment mounted on soffits, walls, and other locations below the grade of the serving junction box with an approved duct-sealing compound.

- Install expansion fittings in conduits that cross expansion joints.

- Install a polypropylene pull rope with a minimum 200-pound tensile strength in future use or spare conduits, and reinstall the plugs.  Double back at least two feet of pull rope into both ends of each conduit.

- The Contractor may install conduits larger than the sizes specified.  If used, it must be for the entire length of the run.  Reducing couplings or bushings are not allowed.  Complete work associated with installing conduits larger than specified without extra compensation.

- Clean existing conduits that will remain in service using a heavy-duty air compressor that delivers at least 125 cubic feet of air per minute at a pressure of 110 pounds per square inch.  Clean the conduits before pulling in new cables and after removing cables specified to be removed or replaced as follows:

  - When the conduits contain cables that will remain in service, leave the cables in place during the cleaning, and

  - Ream empty conduits with a mandrel or cylindrical wire brush before blowing them out with compressed air.

- When modifying existing conduit runs, complete the work as required for new installations using the same sizes and types of conduit.  When extending existing conduits, add no more than 90 degrees of horizontal bend to the extension.

- When installing a junction box in a continuous run of existing conduit, remove a length of conduit in each conduit run and complete the work of installing the conduits, elbows, and nipples as required for a new installation.

- When adjusting existing junction boxes to a new grade, remove cables and replace the nipples as required to provide the clearances specified for new installations.

- Remove the ends of abandoned conduits from junction boxes that will remain in service.

- When Plans call for connecting polyethylene conduit to RMC use an electrofusion coupler rated for direct bury application.  The coupler must be rated for same wall thickness as the adjoining conduits.  Thread the ends of the RMC with the same number of threads as found on the factory threaded ends of RMC.  Ream the inside of conduit ends cut in the shop or field to remove burrs and sharp edges.

Replace subsection 660-3.04 with the following:

660-3.04 JUNCTION BOXES.  Install precast reinforced concrete junction boxes of the types specified.  For junction boxes that contain traffic signal conductors, furnish cast iron lids with the word TRAFFIC inscribed into them.  For junction boxes that contain lighting conductors exclusively, furnish cast iron lids with the word LIGHTING inscribed into them.

Junction Box Location

When shown, install junction boxes at the station and offset locations specified.  When lateral locations are not specified, install junction boxes 8 feet from the face of curb or edge of pavement.  If the 8 feet offset falls:

- In a pedestrian facility separated less than 7 feet from the roadway face of curb or edge of pavement, increase the offset and install the junction boxes on the backside of the facility.  When lacking the right of way to install junction boxes outside the pathway, install at locations as directed, avoiding curb ramps, curb ramp landings, and the middle of walkways.

- In a pedestrian facility separated at least 7 feet from the roadway face of curb or edge of pavement, reduce the offset and install the junction box next to the facility.

- Outside the right of way, install the boxes just inside the right of way line.

- In a raised median, install junction boxes near the center of the median.

- In a ditch bottom or area that collects drainage, install the junction boxes at locations as directed.

- Behind guardrails that shield slopes steeper than 3:1 (a horizontal to vertical ratio), install junction boxes between posts and at least 5 feet back from the face of rail.

- On top of underground utilities or storm drains, install the junction boxes at locations as directed.

Longitudinally, install junction boxes adjacent to the loop detectors or pole they serve, except avoid installing Type 1A junction boxes in driveways and in locations subject to use by heavy trucks.  When shown near the ends of medians, install junction boxes at least 10 feet from the median end.  When the offsets for electroliers and flashing beacon posts place them near the junction boxes that serve them, install the junction boxes on the side of the electroliers and posts downstream of traffic flow.

## Limitations

Limit the distance between adjacent junction boxes to the following dimensions:

- 400 feet for conduits that contain signal interconnect cable only.

- 300 feet for conduits that exclusively contain two loop lead-in cables.

- 300 feet for conduits that contain a single cable other than signal interconnect.

- 190 feet for conduits that contains more than one cable.

When establishing junction box spacing, a bare ground conductor is not considered a cable.

If the preceding limitations require installing additional junction boxes not shown on the Plans, the Engineer will pay for them as extra work, otherwise, installing additional junction boxes will be at the Contractor’s expense.

After grading the roadside, vertically adjust those junction boxes that do not conform to the following criteria.  In unpaved areas that will not be seeded, in areas adjacent to pedestrian facilities, and in paved medians, install the tops of junction boxes 1 inch below finished grade.  In seeded areas, install the tops of junction boxes to 2 inches below the seeded surface.

Bond junction box lids to an equipment grounding conductor, according to subsection 660-3.06.  Attach the jumpers to the lids with brass or stainless steel hardware.

Install a stone drain under each junction box.  Drains shall consist of coarse aggregate for concrete that conforms to subsection 703-2.02.  Minimum drain dimensions include an 18-inch depth and a length and width equal to those of the junction box it drains.  Compact the aggregate material as directed to prevent junction box settlement.

In every new and reused junction box, install an electronic marker that consists of an antenna encapsulated in a 4-inch diameter red polyethylene ball.  Furnish markers that conform to the American Public Works Association standards for locating power.  Markers shall respond to locator devices up to 5 feet away, work at all temperatures, and contain no internal power source.

660-3.05 WIRING.  Delete the second paragraph in its entirety and substitute the following:

## Conditions

Do not pull conductors into conduits until the following conditions are met:

  - The prescribed clearances around conduit ends are provided,

  - Crushed rock sumps are installed under junction boxes,

  - Conduit ends protrude above the bottom of junction boxes within the prescribed range,

  - New conduits are free of material that became lodged in them during the completion of the work,

  - Reused conduits are cleaned according to subsection 660-3.03,

  - Junction boxes are set to grade, and

  - Grounding bushings are installed on the ends of metallic conduits.

Delete item 3 in its entirety and substitute the following:

3.	Pull, as a unit, the conductors specified to be installed into clean conduits, leaving existing conductors that will remain in service in place.

Delete items 11 and 12 in their entirety and substitute the following:

11.	Encapsulate illumination cable splices in rigid two-piece plastic molds filled with an insulating and sealing epoxy resin.  Furnish molds large enough to complete the splices and encase the cable jackets in the epoxy resin.  Furnish molds rated for 600 volts AC operation and feature fill and vent funnels for epoxy resin.  Fill the splice mold bodies with epoxy resin that is resistant to weather, aromatic and straight chain solvents, and that will not sustain combustion.

When approved by the Engineer, one splice may be used in the following cases;

    - An in-line splice may be used when a planned cable run exceeds the length available from the manufacturer on a single spool of cable.

    - In a run of 1,000 linear feet or more.

When a cable is spliced it shall occur within an appropriately sized j-box or in the base of an electrolier designed for said splice.

12.	Encapsulate loop lead-in and telemetry cable splices in rigid, transparent, PVC molds filled with re-enterable polyurethane electrical insulating and sealing compound.  Furnish splice kits rated for 1,000 volts AC operation and direct burial.

Provide re-useable four piece molds that are held together with stainless steel hose clamps.  Two pieces form a cylinder and two flexible end caps seal the ends and allow the conductor entry.  Use molds with dimensions suitable for the splice made, encase the cable jackets, and have fill and vent funnels.

Insert a loose woven polyester web that allows a full 1/4 inch of insulating compound to flow between the splice and the inside of the mold.  Fill the PVC molds with re-enterable polyurethane electrical insulating and sealing compound that cures transparent, is nontoxic, is non-corrosive to copper, and does not support fungi or mold growth.

Add the following items:

18.	Retrofit reused poles with new tap wires, fused disconnect kits, and fuses.

19.	Whenever conductors cannot be terminated as specified in the Plans in circuit breakers due to size, splice a piece of No. 8 AWG power conductor onto the end of each conductor using an overlap type, irreversible compression connector.  Insulate the splice with heat shrink tubing.  Complete the splice in the space between the top of the load center foundation and the bottom of the cabinet.  Limit the length of the No. 8 AWG conductor to 5 feet.

Replace subsection 660-3.06 with the following:

660-3.06 BONDING AND GROUNDING.  Bond and ground branch circuits according to the NEC and the following requirements.  Make non-current carrying but electrically conductive components, including:  metal conduits, junction box lids, cabinets, transformer cases, and metal posts and poles, mechanically and electrically secure to an equipment grounding conductor.  Make fixtures mounted on metal poles, including signal components and luminaires, mechanically and electrically secure to the pole.

Install grounding bushings with insulated throats on the ends of metallic conduits.

Install a bare stranded copper wire for the equipment grounding conductor in conduits, except those conduits installed for future use.  Install size 8 AWG conductors, except in those conduits that contain circuit conductors larger than 8 AWG.  In this case, install a wire equal in size to the largest circuit conductor.  Attach the grounding conductors to the grounding bushings, leaving 12 inches of slack between each bushing.  Connect grounding conductors together using irreversible compression type connectors to form a fully interconnected and continuous grounding system.

Retrofit existing spare conduits that will contain new cables exclusively with new grounding bushings.  When the Plans require installation or removal of conductors from existing conduits, retrofit with new grounding conductors sized according to the preceding paragraph.

Bond junction box lids to the grounding conductor using copper braid with a cross sectional area equal to an 8 AWG conductor and eyelets spaced at 6-inch intervals.  Connect bonding jumpers to the grounding conductors using irreversible compression type connectors.  Replace missing or damaged conduit and junction box lid bonding jumpers.

Join the equipment grounding conductors from the conduits to the 4 AWG grounding electrode conductor using irreversible compression connectors at Portland cement concrete foundations.  For pile foundations, attach the equipment-grounding conductor from the conduit to the pile cap adapter with a listed mechanical grounding connector.

When installing signal poles, signal posts, and lighting standards with frangible coupling bases, run a 4 feet long grounding conductor from the grounding bushing on the conduit to the grounding lug located in the hand hole of each pole.

Bond slip base type standards and pedestals by using 2 conductors from the conduit, one attached with a ground rod clamp to an anchor bolt and the other connected to the grounding lug located in the hand hole of each pole.

Ground one side of the secondary circuit of a transformer.

Install a 3/4-inch by 10-foot copper clad ground rod inside each controller cabinet foundation and a 6 AWG bare stranded copper wire for the grounding electrode conductor.

Replace subsection 660-3.08 with the following:

660-3.08 SIGNAL AND LIGHTING INSTALLATION REQUIREMENTS.  Install signal and lighting equipment according to the details shown on the Plans and the following:

Apply anti-seizing compound to the following fasteners:  frangible couplings, mechanical grounding connectors, bolts that secure hand-hole covers and signal mounting hardware to poles and mast arms.  Remove the fasteners from luminaire mounting brackets, fused disconnect kits, grounding bushings, and signal faces which secure the visors, and apply anti-seizing compound to these fasteners before completing the installation.

Before passing conductors through the holes made in posts, poles, and mast arms for wireways, remove the burrs and sharp edges from the inside and outside of these holes.

Until each traffic signal and/or flashing beacon goes into operation, keep the vehicular and pedestrian signal faces covered with beige colored canvas shirts sized to fit the signal faces shown in the Plans.  Each signal shirt shall feature elasticized openings that fit over the visors and at least two straps to secure it to the signal.  Provide shirts with a legend that reads “out of service” and a center section that allows an operator to see the indications during system tests.

When not shown in the Plans, determine the shaft lengths of lighting and signal poles and signal mast arm connector plate locations to provide the plan mounting heights of luminaires and traffic signal heads.

Furnish work to install foundations for relocated poles, including conduit, excavation, reinforcing steel, Class A concrete, anchor bolts, nuts, and washers.

1.	Electrolier Installation.  Before installing electroliers, check the socket position of each luminaire to verify it matches the position indicated in the instructions for the light distribution type shown on the Plans.

Install electroliers with mast arms with a slight rake by plumbing the side of the pole opposite the mast arm.  After the pole has been plumbed, level the luminaire as recommended by the manufacturer.

Install electroliers without mast arms with the centerline of the pole plumb.

660-3.09 MAINTAINING EXISTING AND TEMPORARY ELECTRICAL SYSTEMS.  Delete this subsection in its entirety and substitute the following:  This work consists of protecting and maintaining the existing and temporary electrical systems during the life of the contract.  The work includes:  locating, repairing, replacing, adjusting, realigning, cleaning, and relocating components of traffic signals, lighting systems, and flashing beacons to keep them wholly operational and positioned according to the following specifications.

If the existing lighting systems are not kept fully operational as specified herein, the Engineer will reduce the payments under Item 660(22) Illumination Price Adjustment.

Furnish the Engineer with the name and phone number of the person who will maintain the existing and temporary electrical facilities at the Preconstruction Conference.  Make this person available at times until the date of Acceptance for Traffic and Maintenance and provide labor, materials, and equipment this person may need to complete repairs ordered by the Engineer.

When beginning work, the Engineer will notify the Contractor and the local maintenance agencies in writing of the transfer of maintenance responsibilities, providing an effective date and time.  Maintenance does not include replacing defective equipment or repairing equipment damaged before the transfer of maintenance responsibility.  Therefore, before starting work on the project, inventory the condition of the existing equipment with the Engineer and document the damaged and defective equipment.  If beginning work before providing the Engineer with an inventory, the Contractor waives the right to claim extra compensation when the Engineer later finds damaged or defective equipment.

Keep components of the existing and temporary electrical systems operational during the progress of the work, except when the Engineer allows shutdowns to alter or remove the systems.  The Engineer will consider these systems operational when no damaged or defective equipment is found in service, components are clean, located, and aligned as specified herein, and photoelectric controls operate the lighting systems.  The State will pay for electricity used to operate the systems, if the public benefits from their operation.  Furnish replacement equipment compatible with equipment used in the Central Region.

Begin work to repair, replace, adjust, realign, clean, and/or relocate components of an affected system within one hour when ordered by the Engineer.  If work is not complete, the Engineer may have outside forces complete the repairs and deduct the amount billed from monies due the Contractor.

660-4.01 METHOD OF MEASUREMENT.  Add the following:

Item 660(22) Illumination Price Adjustment.  By the mile for each roadway or trail with all or part of its illumination system inoperative.  A divided roadway is considered one roadway.  Ramps are considered a separate roadway.  The Engineer will measure each unlit section less than one mile long as one mile.

660-5.01 BASIS OF PAYMENT.  Add the following:

The amount bid for an item shall include full compensation for:

- Excavation, bedding, and backfill to install the components shown in the Plans.  Dewatering excavations is subsidiary to completion of the excavation work.

- Removing and repairing existing improvements to complete the work, unless other items in the contract cover the repairs.

- Work associated with installing electrical improvements, including saw cutting, asphalt removal, aggregate base course, tack coating, and installing new asphalt concrete.

- Work associated with light pole foundations including furnishing and driving piles.

The Engineer will pay for the disposal of surplus and unusable excavation and for imported backfill and bedding material at respective contract unit prices, or as extra work if the contract does not include these items.

The cost of repairing damage to finishes on new equipment is subsidiary.

The cost of maintaining the existing and keeping the temporary electrical system fully operational is subsidiary to 660 items included in the Contract.

For each mile of trail with existing lighting systems that is not kept fully operational, the Engineer will deduct $1,275 per day from the payments due the Contractor.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 660(22) | Illumination Price Adjustment | Contingent Sum |
| 660(28) | Pedestrian Lighting System Complete | Lump Sum |
| 660(29) | Relocate Electric Line | Lump Sum |

R66USC04(4/17/07)

SECTION 661

ELECTRICAL LOAD CENTERS

Special Provisions

Replace subsection 661-1.01 with the following:

661-1.01 DESCRIPTION.  Finish and install load center assemblies at the locations indicated in the Plans.  Modify existing load centers when indicated.

Use load centers of the following types as shown on the load center detail sheets:

Type 1A

Pad mounted with underground service (small).

Replace subsection 661-5.01 with the following:

661-5.01 BASIS OF PAYMENT.  Load circuits, consisting of conduits and conductors attached to the load centers and photoelectric controls, all costs and charges for utility service provided by Municipal Light and Power, and terminations of field wiring, are subsidiary to other items of work.

Payment for Load Center is subsidiary to 660(28) Pedestrian Lighting System complete.

Special Provisions

Add the following Section:

SECTION 690

EROSION, SEDIMENT AND POLLUTION CONTROL - MEASURES

690-1.01 DESCRIPTION.  Furnish, install and maintain measures, countermeasures and associated materials as part of BMP(s) to prevent, control and contain erosion, erosion materials, sediments and pollution contaminates, on and off project site.

Measures:

	Permanent Measures – include, the materials, hardware, equipment and labor required for installation and maintenance of erosion, sediment and pollution control material(s).

	Temporary Measures - include, in addition to the requirements of Permanent Measures, removal and disposal of the erosion, sediment and pollution control material(s).

Related Specifications:

Erosion, Sediment and Pollution Control	Section 641

Silt Fence	Section 633

Seeding	Section 618

Soil Stabilization	Section 619

690-2.01 MATERIALS.

Erosion Sediment and Pollution Control – Materials	Section 744

Others as specified in related Sections.

CONSTRUCTION REQUIREMENTS

690-3.01 GENERAL.  BMP(s) may include individual or a combination of measures and countermeasures, including but not limited to temporary seeding, mulch, matting, staples, stabilizing emulsions, blankets and mats, soil blinders, non-erodible cover, dustless sweeping, dust palliatives.  Refer to Subsection 690-1.01, Related Specifications, for measures not included here.

690-3.02 MATERIAL STORAGE AND PROTECTION.  General:  Store materials elevated off the ground and covered protecting them from construction and or damage from the environment and as follows:

Fiber Rolls.  Additionally, protect fiber rolls from:  precipitation, extended ultraviolet radiant including sunlight, chemicals that are strong acids or other, flames including welding sparks, excess temperatures, and any other environmental conditions that may damage the physical property value of the rolls.

690-3.03 FABRICATION.

Sandbags:  Sand bags shall measure 15 inches by 30 inches.  Use prayer type seams with a minimum of two rows of stitching using a Federal Stitch Type 401 Chain Stitch.  Place approximately 1.0 cubic foot of Select Material, Type B, in each sandbag sack.  Close the open end of the sandbag, after filling, with 2 cinch ties or as recommended by the manufacturer of the sandbag material.

690-3.04 PLACEMENT AND INSTALLATION.  Place and install where shown and detailed in the Plans and Specifications including Section 641, and as recommended by the manufacturer, directed by the Engineer and as follows:

Temporary Seeding.  Annual Ryegrass per Subsection 724-2.02, Table 724-1.  Apply at a rate of 1/2 lb/1000 sq. ft., minimum, on level ground to a maximum of 1 1/2 lb/1000 sq. ft., maximum, on sloping ground and highly erodible soils.  Confirm application of temporary seeding with the Engineer.

Prepare the surface to be seeded to reduce erosion potential and to facilitate germination and growth of vegetation cover.  Maintain seeded areas.  Refer to Section 620 for further surface/topsoil preparation requirements.

Reseed where water quality standards are being exceeded as a result of insufficient vegetative cover.  Review with Engineer prior to reseeding.

Refer to Section 618 for further information.

690-3.05 MAINTENANCE.  Maintain the integrity of the erosion, sediment and pollution control measures for the duration of the project.  Inspect as required by the NPDES CGP and SWPPP and correct any deficiencies immediately.  Remove and dispose of temporary measures including trapped sediment contaminants off project at approved locations. Materials manufactured as biodegradable may be left in place when approved by the Engineer.

690-4.01 METHOD OF MEASUREMENT.  Section 109 and as follows:

Fiber Rolls: By length, measured along the centerline of the fiber roll, complete in place.

Manufactured Inlet Protection Systems:  By each, complete in place.

Sandbag Inlet Sediment Trap:  By each, complete in place.

Silt Fence:  Section 633.

Seeding:  Section 618.

Stabilization:  Section 619.

690–5.01 BASIS OF PAYMENT.  Section 641.

Replace Section 701 with the following:

SECTION 701

HYDRAULIC CEMENT

Special Provisions

701-1.01 GENERAL.  Meet the following general requirements for all cement furnished:

Provide product from only one mill for any brand and type of hydraulic cement except to reduce excessive air entrainment when using air-entraining cement.

Cement may be shipped from pretested approved bins.  Before using, retest cement that has been stored longer than 60 days in unsealed bins or silos.  Store separately different types or brands of cement, or cement from different mills.

Protect cement from dampness during shipment and storage.  Do not use partially set cement or cement which contains caked lumps.  Do not use cement salvaged from discarded or used bags.

701-2.01 PORTLAND CEMENT.  Meet AASHTO M 85, Type I, II, or III, including the low-alkali cement requirement shown in Table 2.

701-2.02 BLENDED HYDRAULIC CEMENT.  Meet AASHTO M 240, Type IP (Portland-pozzolan cement), modified as follows:

1.	Cement constituent:  meet Subsection 701-2.01.

2.	Pozzolan constituent:  fly ash meeting Subsection 711-2.03 and constituting between 15% and 20% (by weight) of the blended cement.

3.	Furnish a certificate of compliance meeting AASHTO M 240, Section 14 as required by Subsection 106-1.05.

701-2.03 GROUT.  Non-shrink, non-corrosive, non-metallic, cement-based grout meeting ASTM C1107, Grade C.  Develop a 28-day compressive strength of 9,000 psi.

701-2.04 DS GROUT.  Drilled shaft (DS) grout shall consist by volume of:

1.	one (1) part Portland Cement (Type I or II)

2.	three (3) parts clean concrete sand meeting the requirements of Section 703-2.01 except 100% passing the No. 4 sieve.

3.	sufficient potable water to obtain flowable, pumpable grout mixture as approved by the Engineer.

Thoroughly mixed DS grout before injecting into soil surrounding drilled shaft casing and CSL tubes.

SECTION 703

AGGREGATES

Special Provisions

703-2.03 AGGREGATE FOR BASE.

Delete Table 703-2 and substitute the following:

TABLE 703-2

AGGREGATE FOR UNTREATED BASE

(Percent Passing By Weight)

| Sieve Designation | Grading C-1 | Grading D-1 | Grading E-1 |
| --- | --- | --- | --- |
| 1 ½ inch | 100 | - | - |
| 1 inch | 70-100 | 100 | 100 |
| 3/4 inch | 60-90 | 70-100 | 70-100 |
| 3/8 inch | 45-75 | 50-79 | 50-85 |
| No. 4 | 30-60 | 35-58 | 35-65 |
| No. 8 | 22-52 | 20-47 | 23-50 |
| No. 30 | 10-33 | 10-26 | 13-31 |
| No. 50 | 6-23 | 6-19 | 10-26 |
| No. 200 | 0-6 | 0-6 | 8-15 |

Replace Subsection 703-2.04 with the following:

703-2.04 AGGREGATE FOR HOT MIX ASPHALT PAVEMENT.  Process and crush aggregate that is free from clay balls, organic matter, other deleterious material, and not coated with dirt or other finely divided mineral matter.  Aggregate used must consist of sound, tough, durable rock of uniform quality.

Remove all natural fines passing a No. 4 sieve before crushing aggregates for Type IV, V and R mixtures.

Coarse Aggregate.  Aggregate retained on the No. 4 Sieve.

Meet the following requirements:

| Description | Specification | Type IIA | Type I, IIB, III | Type IV | Type V, R |
| --- | --- | --- | --- | --- | --- |
| LA Wear, % max | AASHTO T 96 | 45 | 45 | 45 | 45 |
| Degradation Value, Min | ATM 313 | 30 | 30 | 30 | 30 |
| Sodium sulfate Loss % max (5 cycles) | AASHTO T 104 | 9 | 9 | 9 | 9 |
| Fracture, min % | WAQTC FOP for AASHTO TP 61 | 90, 2 face | 80, 1 face | 90, 2 face | 98, 2 face |
| Thin-Elongated Pieces, max % | ATM 306 |  |  |  |  |
| 1:5 |  | 8 | 8 | 8 | 8 |
| 1:3 |  | 20 | - | - | 20 |
| Absorption, max. % | AASHTO T 85 | 2.0 | 2.0 | 2.0 | 2.0 |

Fine Aggregate.  Aggregate passing the No. 4 sieve.

Aggregate shall meet the quality requirements of AASHTO M 29, including S1.1, Sulfate Soundness.

Aggregate for Type IV, V, and R mixes:

	do not blend back natural sand

	shall be non-plastic as determined by WAQTC FOP for AASHTO T 90

	shall have a minimum uncompacted void content (Fine Aggregate Angularity) determined by AASHTO T 304, Method A, of 45%

TABLE 703-3

BROAD BAND GRADATIONS FOR HOT MIX ASPHALT PAVEMENT AGGREGATE

(Percent Passing by Weight)

| Sieve | Gradation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Type I | Type II | Type III | Type IV | Type V | Type R |
| 1 inch | 100 | - | - | - | - | - |
| 3/4 inch | 80-90 | 100 | - | - | 100 | 100 |
| 1/2 inch | 60-84 | 75-90 | 100 | 100 | 65-90 | 70-100 |
| 3/8 inch | 48-78 | 60-84 | 80-90 | 80-95 | 55-80 | 50-70 |
| No. 4 | 28-63 | 33-70 | 44-81 | 55-70 | 40-60 | 30-42 |
| No. 8 | 14-55 | 19-56 | 26-70 | 35-50 | ≤ 45 | 20-32 |
| No. 16 | 9-44 | 10-44 | 16-59 | 20-40 | ≤ 35 | 15-25 |
| No. 30 | 6-34 | 7-34 | 9-49 | 15-30 | ≤ 25 | 10-20 |
| No. 50 | 5-24 | 5-24 | 6-36 | 10-24 | ≤ 20 | 7-15 |
| No. 100 | 4-16 | 4-16 | 4-22 | 5-15 | ≤ 12 | 5-12 |
| No. 200 | 3-8 | 3-8 | 3-8 | 4-8 | 3-8 | 4-10 |

Note:

1.	No tolerance is allowed beyond the Broad Band Limits of the No. 200 Sieve.

2.	For Type R, the mix design gradation JMD shall provide a minimum of 8 % difference of percent passing the No. 4 and the No. 8 sieve.

CR703-112709

Replace Section 715 with the following:

SECTION 715

STEEL FOR PILES

Special Provisions

715-2.01 SCOPE.  Steel used for Structural Steel Piling and Sheet Piling.

715-2.02 GENERAL REQUIREMENTS.  Furnish steel piles of the dimensions, weights, cross-sections, and grades specified.  Satisfy the impact test requirements of Subsection 716-2.02.  Meet the following:

1.	Structural Steel for Piling.

a.	Furnish "HP" shape piles meeting AASHTO M 270, Grade 50.

b.	Furnish pipe piles meeting AASHTO M 270, Grade 50 fabricated in accordance with the American Petroleum Institute (API) 2B or API 5L X52 PSL2.

2.	Pile Tip Reinforcing.  Use pile tip reinforcement conforming to the requirements of ASTM A27 Grade 65-35 or ASTM A148 Grade 90-60.  Make each pile tip in one piece of cast steel.  Weld tip reinforcing to the piles in conformance with the manufacturer's written directions.

3.	Structural Steel Sheet Piling.  Furnish sheet piles meeting AASHTO M 202.

715-2.03 CERTIFICATION.  Furnish 4 copies of a certified mill test report covering chemical and physical tests conducted on the steel to the Department for each heat number of metal included in the shipment.  In addition to other requirements of Subsection 106-1.08, certificates for steel material shall include information on country of origin, type of steel, Charpy V-notch toughness for base and weld metals, and type of finish coating.  For pipe manufactured to API 5L, submit certificates of compliance, per API 5L SR15.1, covering the entire length of pipe pile furnished.

Replace Section 716 with the following:

SECTION 716

STRUCTURAL STEEL

Special Provisions

716-2.01 SCOPE.  Structural steel for highway bridges and other structural purposes.

716-2.02 GENERAL REQUIREMENTS.  Meet the following:

- General requirements for delivery of rolled steel plates,

shapes, sheet piling, and bars for structural use	ASTM A6

- Structural Steel	ASTM A709

- Hot-formed and seamless high strength low-alloy tubing 	ASTM A618, Grade Ib, II, III

- Filler Metal for Applicable Arc-Welding Electrodes	AWS Specifications

- Impact Test Requirements.

a.	Meet the supplemental requirements for impact toughness testing (Charpy V-Notch) and marking under ASTM A709, Zone 3 for material designated on the Plans as fracture critical (F) or as main members subject to tensile stress (T).

b.	Submit impact test reports to the Engineer.

716-2.03 HIGH TENSILE STRENGTH BOLTS.  Meet the following:

High Strength Bolts for Structural Steel Joints	AASHTO M 164

Nuts for AASHTO M 164 bolts	AASHTO M 292

Hardened Steel Washers	AASHTO M 293

Zinc Coated Load Indicating Washers	ASTM F959

716-2.05 Machine Bolts.  Meet ASTM A325, Type 3.

716-2.06 STEEL PIPE.  Meet ASTM A53 Grade B.

716-2.08 CERTIFICATION.  Submit 5 copies of a certified mill test report covering chemical and physical tests conducted on all structural steel to the Department for the material in each shipment.

## SECTION 724

# SEED

# Special Provisions

724-2-02.  MATERIALS.  Delete Table 724-1 and substitute with the following:

TABLE 724-1
SEED REQUIREMENTS

| Species | Sproutable Seed*, %, Min. |
| --- | --- |
| Arctared Red Fescue | 78 |
| Egan American Sloughgrass | 67 |
| Norcoast Bering Hairgrass | 71 |
| Nortran Tufted Hairgrass | 71 |
| Wainwright Slender Wheatgrass | 88 |
| Alyeska Polargrass | 71 |
| Bluejoint | 71 |
| Tilesy Sagebrush | 71 |
| Tundra Glaucous Bluegrass | 76 |
| Gruening Alpine Bluegrass | 72 |
| Nugget Kentucky Bluegrass | 76 |
| Beach Wildrye | 70 |
| Annual Ryegrass | 76 |
| Perennial Ryegrass | 76 |

*Sproutable Seed is the mathematical product of Germination and Purity.

R52 (01/27/07)

Delete this Section, except for Table 726-1 and substitute the following:

SECTION 726

TOPSOIL

Special Provisions

726-2.01 TOPSOIL.  Furnish topsoil that is representative of the existing, natural organic blanket of the project area.  Perform a quality test, as defined by ATM 203, on the soil to determine the organic content of the soil.  Supply the results to the Engineer.

Soil with an organic content of 5% or more may be reused and spread on the finished slopes where topsoil is noted on the plans.  Remove roots, stumps, unnatural material, and rocks greater than 3 inch in diameter from the organic material before it is graded onto the finished slope.

Soil with an organic content of less than 5% cannot be used as topsoil for the project.  In this case, furnish topsoil consisting of a natural friable surface soil without admixtures of undesirable subsoil, refuse, or foreign materials having an organic content of 5% or more, as determined by ATM 203.  The material shall be reasonably free from roots, clods, hard clay, rocks greater than 3 inches in diameter, noxious weeds, tall grass, brush, sticks, stubble or other litter, and shall be free draining and nontoxic.  Notify the Engineer of the location topsoil is to be furnished at least 30 calendar days before delivery of topsoil to the project from that location.  The Engineer will inspect the topsoil and its sources before approval will be granted for its use.

R208(11/27/07)

SECTION 730

SIGN MATERIALS

# Special Provisions

730-2.04 SIGN POSTS.  Add the following item:

7.	Structural Tubing and W-Shape Beams.

a.	Structural tubing shall conform to either ASTM A500, grade B, or ASTM A501.  The tubing shall be square and of the dimensions called for in the Plans with 0.2-inch thick walls.  0.4-inch diameter holes shall be drilled as required to permit mounting of the sign.

b.	W-shape beams shall conform to ASTM A36.

c.	Structural tubing and W-shape beams shall be hot dip galvanized according to item 1b of this subsection.  Damaged and abraded tubes and beams shall be repaired according to item 1c of this subsection.

R81 (06/22/04)

SECTION 740

SIGNALS AND LIGHTING MATERIALS

Special Provisions

Replace subsection 740-2.02 with the following:

740-2.02 LIGHTING POLES.

1.	Design.  Design and fabricate highway lighting and traffic signal structures with pole shaft lengths to 65 feet long to conform to the 1994 Edition of AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals with interim revisions.

A registered professional engineer shall design the structures and provide stamped shop drawings and calculations.  Submit the stamped drawings and calculations for each pole to the Engineer for approval.  Design for stresses on the completed structure with hardware in place.

a.	In the stamped calculations, indicate the edition of Standard Specifications to which the poles are being designed and provide the input data used to design each pole and mast arm, including:  design wind speed, cross section shape, yield strengths of the component materials, dimensions of the pole components, and a summary of the loads used.

b.	On the stamped shop drawings, provide design wind speed and the details for building the poles and mast arms, including:  materials specifications, slip fit joint dimensions, pole component dimensions, welds that will be made, and the welding inspection that will be done.

Submit the mill certifications for the steel items (piles, plates, bolts, and other related items) to the Engineer for approval.

Design poles for 100 mph winds with a 1.3 gust factor.

Design each electrolier to support a sign with an area of 16 square feet with its centroid located 14 feet above the base of the pole.

2.	Fabrication.  Fabricate signal and lighting structures from tapered steel tubes with a round or 16 sided cross section.  Orient hand holes located near the base of poles to face downstream of traffic flow.

Provide traffic signal poles, lighting poles, and signal mast arms in lengths evenly divisible by 5 feet.

Furnish poles and mast arms up to 40 feet long in one piece.  Poles and mast arms longer than 40 feet may be furnished in one piece or in two segments with a slip-type field splice.  For slip-type joints, provide a minimum overlap of two feet or 1.5 times the inside diameter of the female section; whichever is larger.  In mast arms, locate these splices at least one foot away from the Plan location of signal heads and signs.  In signal poles, locate the edge of the female section at least 6 inches above the top of the signal mast arm connection.

Fabricate tubes with walls up to 1/2 inch thick from the prequalified base metals listed in AWS D1.  Fabricate elements greater than 1/2 inch thick from steel that conforms to ASTM A709 and meets the Fracture Critical Impact Test requirements for Zone 3.  The Department will not accept structures that contain or are made with laminated steel elements.

Fabricate each tube from no more than two pieces of steel.  When using two pieces, place the longitudinal welded seams directly opposite one another.  Place the welded seams on adjacent sections to form continuous straight seams from the base to the top of the pole.

When tenons are needed to install traffic signals and luminaires, make them from 2-inch nominal schedule 40 pipe that conforms to ASTM A53 Grade B.

Fabricate 10 feet long signal posts from 11 US Standard Gage sheet steel.  Fabricate each post with a minimum inside diameter of five inches at the base plate.  Use a 3.5-inch-long piece of 4-inch nominal schedule 40 pipe that conforms to ASTM A53 Grade B as a post-top adapter.

The Department does not allow holes made for lifting purposes in the ends of tubular segments, except in the free ends of luminaire mast arms.  To add lift points, weld them to the tube opposite the longitudinal seam weld on the outside of female segments and on the inside of male segments.  Before shipment, remove lift points added to the outside of the tubes, grind the area smooth with the base metal, and hot stick repair the finish according to subsection 660-3.01.8.a.  Lift points added to the inside of tubes in place may be left in place.

Hot dip galvanize lighting and signal structures to meet AASHTO M 111 and these specifications.  Completely submerge pole and mast arm segments in one dip in a kettle of concentrated zinc ammonium chloride flux solution heated to 130ºF, then completely submerge in one dip in a separate kettle of prime western grade zinc heated to approximately 825ºF.  Galvanize bolts and fasteners to meet AASHTO M 232.

After the poles and mast arms are galvanized, remove all excess zinc from all drip lines and points and the surfaces of all tube ends that form slip-type joints to provide a smooth finish.

The Department will reject poles and mast arms that are:

a.	Not fabricated according to these specifications or the approved shop drawings,

b.	Bowed with sweeps exceeding 3/4 inch throughout the length of the pole, mast arm, or segment, if furnishing a 2 piece pole or mast arm,

c.	Out of round.  Sections are out of round when the diameters of round members or the dimension across the flats of multisided members exceed 2% of the dimension specified on the shop drawings.

Fabricate pile cap adapters from grade X42 steel line pipe that conforms to API 5L and from steel plate that conforms to ASTM A709 Grade 50.  Attach the anchor plate to the pile section with a complete joint penetration (CJP) weld.  Fabricate the anchor plate to match the base plate of the lighting standard.

3.	Welding.  Perform welding to conform to subsection 504-3.01, 8, Welding, and the following:

a.	Make welds continuous.  Grind exposed welds flush with the base metal at slip joints, the length of the slip fit joint plus on half diameter of the female section.

b.	Use partial joint penetration (PJP) welds in longitudinal seams.  PJP welds must provide at least 60% penetration.

c.	Use CJP groove welds to connect base plates to tubes with walls 5/16 inch thick and thicker.  When CJP groove welds are used, the designer may use additional fillet welds when deemed necessary.

d.	Use socket type joints with two fillet welds to connect base plates to tubes with walls less than 5/16 of an inch thick.

e.	On steels 5/16 of an inch thick and thicker, inspect 100% of CJP welds by either radiography (RT) or ultrasound (UT).

f.	Inspect a random 25% of PJP and fillet welds by magnetic particle (MT).  If a defect is found, inspect 100% of the PJP and fillet welds made to fill the order.  In steels less than 1/8 inch thick, complete the tests according to AWS D1.3.

g.	Only visually inspect welds made on luminaire mast arms.

4.	Miscellaneous.  Finish the edges of poles and mast arms to conform to the following requirements.  Before hot dip galvanizing, neatly round the following features to the radius specified

a.	On holes through which electrical conductors pass, provide a 1/16 inch radius on both the entrance and exit edges,

b.	On pole base plates, provide a 1/8 inch radius on edges along which plate thickness is measured and a smooth finish on all other exposed edges,

c.	On the ends of tubes that form slip-type joints, complete the following tasks on the two surfaces that contact one another.  First, provide 1/16 inch radii on the inside and outside edges of the female and male segments, respectively.  Then for the length of the joint plus 6 inches grind down welds until they feature a radius concentric with the mating surface and remove material protruding from the two surfaces, and

d.	Grind exposed welds flush with the base metal, except fillet welds and seam welds on top of mast arms.  Grinding seam welds on multisided poles is not required, except in slip-type joints.

Provide caps to cover the free ends of poles and mast arms.

Identify critical information for poles and arms with visible permanent aluminum tags that contain the information shown in Table 740-1.  The measurements shown are for illustration purposes only.  Use tags large enough to include required information using 1/4-inch-high text, 3/8 inch of space between successive lines of text, and at least 3/8 inch of space between the edges of the tag and the text.  Secure the tags with two 1/8 inch blind rivets at the base of poles and the underside of mast arms.  If furnishing a two-piece signal mast arm with slip-type joint, mark both pieces with the same message.

TABLE 740-1
Pole Markings

|  | Measurements | Tag Markings |
| --- | --- | --- |
| Signal Poles |  |  |
| a) Signal mast arm length | 45 ft./55 ft. | SMA 45/SMA 55 |
| b) Luminaire mast arm length | 22 ft./18 ft. | LMA 22/LMA 18 |
| c) Pole height | 36 ft. | PH 36 |
| d) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| e) Sum of signal mast arm moments about centerline of signal pole |  | SM 4000/SM 3200 |
| f) Design wind speed | 100 mph | DWS 100 |
| Light Poles |  |  |
| a) Luminaire mast arm length | N/A | N/A |
| b) Pole height | 20 ft. | PH 20 |
| Signal Mast Arm |  |  |
| a) Mast arm length | 40 ft. | SMA 40 |
| b) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| c) Sum of signal mast arm moments about centerline of signal pole |  | SM 3740 |
| d) Design wind speed | 100 mph | DWS 100 |
| Luminaire Mast Arm |  |  |
| a) Mast arm length | N/A | N/A |
| b) Pole number (if unique arm design) |  | P 4 |

Note:  Italic type indicates additional Tag Markings if poles have 2 luminaire or 2 signal mast arms.

740-2.05 CONDUCTORS.  Replace Table 740-2 with the following:

TABLE 740-2
Conductor Termination Table

| Conductors Per Cable | Circuit | Wire Color | Awg. No. | Band Legend |
| --- | --- | --- | --- | --- |
| 7 | Vehicle Red Vehicle Yellow Vehicle Green Common Neutral Spare Spare Spare | Red Orange Green White White/Black Black Blue | 14 | Head No. |
| 7 | Vehicle Red Arrow Vehicle Yellow Arrow Vehicle Green Arrow Common Neutral Spare Spare Spare | Red Orange Green White White/Black Black Blue | 14 | Head No. |
| 7 | Vehicle Red Vehicle Yellow Vehicle Green Common Neutral Spare Vehicle Yellow Arrow Vehicle Green Arrow | Red Orange Green White White/Black Black Blue | 14 | Head No. |
| 4 | Pedestrian Don’t Walk Pedestrian Walk Common Neutral Spare | Red Green White Black | 14 | Head No. |
| 4 | Pedestrian Pushbutton Neutral Spare Spare | Black White Red Green | 14 | Head No. |
| 5 | Photo Electric Control Load to Contactor Neutral Spare Spare | Black Red White Orange Green | 14 | PEC |
| 3 | Flashing Beacon Neutral Spare | Black White Red | 14 | Head No. |
| 3 | Preemption Neutral Spare | Black White Red | 20 | “PRE” |
| 3 | Preemption Confirmation Neutral Spare | Black White Red | 14 | “PRECON” |
| 3 | Highway Luminaire Highway Luminaire Highway Luminaire Spare | Black Red White | 8 or 6 | Circuit No. Circuit No. |
| 3 | Service to Controller Neutral Spare | Black White Red | 6 or 4 | “SIG” No Band No Band |
| 3 | Sign Luminaire Sign Luminaire Sign Spare | Black Red White | 8 | SIGN SIGN |

Replace subsection 740-2.06 with the following:

740-2.06 ELECTRICAL CONDUIT AND FITTINGS.  Unless specified otherwise, use rigid metal conduit and fittings for raceways.  Furnish galvanized rigid type conduit and elbows that conform to UL-6 and are manufactured of mild steel according to ANSI C80.1.  Furnish third party certified fittings designed for rigid metal conduit.  Use rigid metal conduit in all areas subject to vehicular traffic.

When polyethylene conduits are specified in the Plans, use a smooth wall, schedule 40, high-density polyethylene (HDPE) pipe that conforms to UL 651 B.  Use of HDPE conduits is allowed in areas where there is no vehicular traffic.

Furnish insulated throat grounding bushings made of malleable iron or steel with a mechanically galvanized or zinc plated finish.  Grounding lugs shall either be an integral part of the bushing or consist of an attached tin plated copper saddle.  Grounding lugs shall feature a stainless steel screw, the centerline of which falls within 20 degrees of conduit centerline.  The bushings furnished shall also feature a stainless steel or brass mounting screw that locks the bushing onto the conduit end.

Furnish conduit outlet bodies and their covers with a hot dip galvanized finish and stainless steel screws.  For loop detectors, furnish type X bodies and, for photoelectric control installation, furnish types C and LB conduit bodies.

When Myers hubs are specified, furnish rain tight, grounding type hubs made of malleable iron with a hot dip or mechanically galvanized finish.

At expansion joints, provide watertight expansion fittings capable of the following movements without damaging the conduits attached to it or the conductors that pass through it.  The movements include:  axial expansion or contraction to 3/4 inch, angular misalignments in any direction to 30 degrees, and parallel misalignment of the conduits to 3/4 inch.  The fittings shall also include a braided copper bonding jumper equal to an 8 AWG conductor, bushings to prevent scraping the conductors, and a smooth inner sleeve that maintains a constant diameter regardless of conduit alignment.

Replace subsection 740-2.18 with the following:

740-2.18 ROADWAY LUMINAIRES.  Furnish luminaires that conform to the following specifications and provide the light distributions specified.  When luminaire performance criteria are specified, luminaires shall also:

- Meet or exceed the minimum initial light levels indicated.

- Provide light distribution uniformity ratios and veiling luminance ratios equal to or less than the maximums indicated.

When luminaire performance criteria are specified, submit the following information for each luminaire type and light distribution type specified:  luminaire specifications, the lumen output of the lamps that will be furnished, and current electronic photometric data to the Engineer for approval.  Furnish the photometric data in Illuminating Engineering Society (IES) format.  The Engineer will use software that calculates light levels and uniformity ratios according to the American National Standard Practice for Roadway Lighting, ANSI/IES RP-8 to verify each luminaire provides the light levels, uniformities, and veiling luminance ratios specified.

When cut off distributions are specified, furnish luminaires with flat glass lenses and a full cutoff light distribution as defined in the American National Standard Practice for Roadway Lighting, ANSI/IES RP-8, dated 2000.

Furnish each luminaire with a high-pressure sodium lamp of the wattage specified and matching ballast with an input voltage equal to circuit voltage.  Furnish lamps that feature a rated life of 24,000 hours based on 10 hours per start and ballasts that conform to subsection 740-2.21.

Luminaries General

Install luminaires that feature:

1.	Corrosion resistant enclosures with gray paint finish and space for the ballast.

2.	Third party certification for use in wet locations.

3.	Polycarbonate resin refractors as specified.

4.	Terminal blocks for attaching the illumination tap conductors.

5.	Aluminum reflectors with an ALZAK or ALGLAS finish.

6.	Optical components free of substances that affect photometric performance (e.g., paint).

7.	Housings cast with no provision for a photoelectric control receptacle.

8.	Airtight reflector and lens units that breathe through activated charcoal filters and include elastomer gaskets to seal the gap between the two components.  Gasket material must withstand the temperatures involved and be securely held in place.

9.	Plug in starting aids in fixtures with lamps through 400 watts.

Lenses

When polycarbonate resin lenses are specified, furnish lenses the fabricator certifies conforms to the following criteria.

1.	The lenses are molded in a single piece from virgin polycarbonate resin.

2.	The lenses are free from cracks, blisters, burns, and flow lines, and furnished with the natural molded surface.

3.	The lenses are of uniform density throughout and free from air, gas, or moisture pockets, and uncured areas.

4.	The lenses are transparent with a clear bluish tint, produced from ultraviolet stabilized resin to reduce the effects of ultraviolet radiation on their color properties.

5.	The resins used meet the requirements for the self extinguishing classification of ASTM D635 and feature a minimum impact strength, Izod notched of 12 foot-pounds per inch when tested according to ASTM D256, Method A, using a 1/8- by 1/2-inch bar molded according to ASTM recommended practice.

Delete subsection 740-2.20, Illumination Control, in its entirety.

Special Provisions

Add the following Section:

SECTION 744

EROSION, SEDIMENT, AND POLLUTION CONTROL - MATERIAL

744-2.01 MATERIAL.

Fiber Roll:  (commonly called straw wattle)

a.	Comprised of UV-degradable plastic netting or 100 percent biodegradable material.

b.	Filled with straw, flax, rice, coconut fiber material or composted material.

c.	Staking shall be made of 100 percent biodegradable materials.

Provide the Engineer certification stating the name of the manufacturer, product name, style number, chemical composition of the fiber, netting and certification of the weed-free status from the manufacturer.  Furnish a sample to the Engineer seven days before the scheduled installation.

Manufactured Inlet Protection System:

a.	Manufacturers:

Ultra Tech International - Ultra-DrainGuard

Bowhead Environmental and Safety - StreamGuard Exert II Sediment Insert

Enpac - Catch Basin Insert, Oil and Sediment or

b.	Approved equal.

Sand Bag Inlet Sediment Trap:

a.	Sandbag sack fabric shall be a nonwoven, needle punched design meeting the following requirements:

Grab Tensile Strength	ASTM D 4632	200 pounds (min.)

Grab Elongation	ASTM D 4632	15 – 70%

Mullen Burst Strength	ASTM D 3786	400 psi. (min.)

Trapezoidal Tear Strength	ASTM D 4533	95 lbs. (min.)

Apparent Opening Size	ASTM D 4751	No. 30 U.S. STD sieve (max)

Permittivity	ASTM D 4491	0.01 sec-1 (min.)

Ultraviolet Light Stability,

Retained Strength	ASTM D 4355	90%

Puncture Strength	ASTM D 4833	120 lbs. (min.)

These requirements are for Minimum Average Roll Values (MARV) verified in accordance with ASTM D 4759.

b.	Seam Thread:

Similar durability to the sandbag sack fabric.

c.	Sandbag Fill Material:

Select Material	Type B	703-2.07.

d.	Cinch Ties:  Plastic ties or equivalent tie recommended by the sandbag manufacturer.

CR744-022309

INDEX

Standard Modification

INDEX Remove the text. “Approved Products List” and replace with: Qualified Products List

E36-012707

APPENDIX A

Environmental Permitting

APPENDIX B

ROW Permit/Easement Figures

APPENDIX C

Erosion and Sediment Control Plan

APPENDIX D

Construction Survey Requirements

APPENDIX E

Utility Safety Requirements

APPENDIX F

Materials Certification List