PART 4

STANDARD MODIFICATIONS

AND SPECIAL PROVISIONS

to the

STATE OF ALASKA

STANDARD

SPECIFICATIONS

FOR

HIGHWAY CONSTRUCTION

2004

SPECIAL NOTICE TO BIDDERS

The Department hereby notifies bidders that information to assist in preparing bids is available at 4111 Aviation Avenue for the following:

1.	These items are available upon request in the Anchorage Department of Transportation and Public Facilities Building Plans Room, or at the Central Region Materials Laboratory:

a.	Quantity Computations

b.	Cross Sections

c.	State of Alaska Department of Transportation and Public Facilities publication, Alaska Storm Water Pollution Prevention Plan Guide, January 19, 2005.

d.	Standard Specifications for Highway Construction 2004.  ($25.00)

e.	Alaska Test Methods Manual (Lab & Field), 2007 Edition. ($25.00)

f.	Huffman Roundabout Retaining Wall, Structural Foundation Engineering Report, Sept. 2008.

g.	Final Geotechnical Report, Old Seward Highway Brandon Street to O’Malley Road, Sept. 2008.

2.	The Department has approved an environmental document addressing concerns and environmental commitments and is available for review in the office of the Preliminary Design and Environmental Supervisor, (907) 269-0534.

3.	The Materials Certification List (MCL) has been included as an appendix to the special provisions. This list is provided for the Contractor to determine which materials will require submittal to the project Engineer for certification of compliance.  The MCL also provides the Project Engineer with the appropriate approving authority.

- The Department requires all workers within the project limits to wear an outer visible surface or layer of high visibility color and retro reflectivity.  See subsection 643-3.11, High Visibility Clothing for requirements.

- Based on guidance from the US Department of Transportation’s General Counsel, effective January 10, 2006 the Alaska Department of Transportation and Public Facilities implemented a Race Neutral Disadvantaged Business Enterprise (DBE) program by setting 0% project goals on all highway, mass transit and airport projects.  All forms and reports required under the existing DBE program will continue to be required under these 0% goal contracts.

Specifically, contractors must continue to report creditable DBE participation/payments on the Monthly Summary of Disadvantaged Business Enterprise Participation Form 25A-336. This will allow the Department to continue to accurately report DBE participation to the Federal Highway Administration, Federal Transit Administration and Federal Aviation Administration.

Contractors must also continue to provide opportunities for DBE firms to participate on highway, mass transit and airport projects as appropriate.  A 0% DBE participation goal does not relieve the contractor of the requirement to provide equal opportunity in subcontracting, supplies or other services offered by DBE firms.

Any questions about this notice may directed to Jon Dunham, Manager of the Civil Rights Office, (907) 269-0851, jon_dunham@dot.state.ak.us

6.	Contractors must comply with Administrative Order 226, which establishes a 15% goal for hiring apprentices in certain job categories; on highway, airport, harbor, dam, tunnel, utility or dredging projects awarded by the Alaska Department of Transportation and Public Facilities.  This Administrative Order will apply to all such projects advertised after September 1, 2005, where the project construction cost exceeds 2.5 million dollars. For additional details, please visit http://labor.state.ak.us/lss/forms/ApprenHireReq.pdf.

SECTION 101

DEFINITIONS AND TERMS

Standard Modifications

101-1.03 DEFINITIONS.  Replace the definition of SUBGRADE with the following:

SUBGRADE.  The soil or embankment upon which the pavement structure is constructed.  E22(1/1/06)

Standard Modification

101-1.03 DEFINITIONS, PLANS.  Delete text of PLANS and replace with:  The Department’s Contract drawings, profiles, typical cross sections, standard drawings, and supplemental drawings or reproductions showing the location, character, dimensions, and details of the work.

E32(01/27/07)

Standard Modification

101-1.03 DEFINITIONS. Add the following definition:  QUALIFIED PRODUCTS LIST. A list of companies and products that the Department has found conforms to the SSHC.  E36(01/27/07)

SECTION 102

BIDDING REQUIREMENTS AND CONDITIONS

Standard Modification

102-1.04 EXAMINATION OF PLANS, SPECIFICATIONS, SPECIAL PROVISIONS, AND WORK SITE.  Replace the second paragraph with the following:  The records of geotechnical investigations including boring logs, test results, geology data reports, soil reports, material site reports, and geotechnical reports included in a bid package or made accessible to bidders or Contractors, are for information purposes only.  These records are not part of the Contract.  These records indicate subsurface conditions only at specific locations and times, and only to the depths penetrated.  They do not necessarily reflect variations in soil, rock, or groundwater conditions that may exist between or outside such locations.  Actual conditions may differ from what is shown in the records.  Material Sources referenced in these records may not contain materials of sufficient quantity or quality to meet project requirements.  The accessibility of these records does not constitute approval, nor guarantee suitability of soils or sources, or the rights to use sources for this project, except as specifically provided in subsections 106-1.02.4.b Mandatory Sources and 106-1.02.4.c Designated Sources.  The records shall not substitute for independent investigation, interpretation, or judgment of the bidder or Contractor.  The Department is not responsible for any interpretation or conclusion drawn from its records by the bidder or Contractor.

Bidders and Contractors shall examine subsection 106-1.02 Material Sources for further information about material source development.

E23(1/1/06)

Standard Modification

102-1.05 PREPARATION OF BID.  Modify the second sentence in the third paragraph, after: “If a bidder is a corporation, the bid must be signed by a corporate officer,” add: or agent.  E18(6/30/04)

SECTION 103

AWARD AND EXECUTION OF CONTRACT

Special Provisions

Add the following subsection:

103-1.11 ESCROW OF BID DOCUMENTATION.  Furnish a legible copy of the Bid documentation and an affidavit, as instructed in writing by the Contracting Officer.  Bid documentation consists of written documentation of quantity takeoffs, construction schedules on which the bid is based, cost estimates, rates of production and progress, assumptions, calculations, quotes from subcontractors and suppliers, and information used to prepare the Bid for this project.

Obtain and furnish the same level of bid documentation, for each subcontractor, supplier or fabricator with a subcontract or agreement exceeding $200,000, regardless of tier.  Seal each entity’s documentation in separate envelopes, labeled with the entity’s name and address, submission date, and project name and number.  Include a cover letter or quote signed by a responsible party.

Meet the following requirements:

1.	Submitting Bid Documentation.  Place bid documentation in a sealed container clearly marked “Bid Documentation” and labeled with the bidder’s name and address, submission date, and project name and number.  Deliver the sealed container to the Department designated document depository for safekeeping.

2.	Affidavit.  Submit directly to the Contracting Officer a signed and certified affidavit attesting that

- the affiant has examined the bid documentation and that it includes all documents used to prepare the bid,

b.	the sealed container contains all bid documentation submitted,

c.	the escrow materials were relied on to prepare the bid, and

d.	should a dispute arise, the Contractor’s rights to use bid preparation documentation other than those in escrow are waived.

3.	Access and Use of Escrow Documents. The bid documentation will remain in escrow, without access by either party, except as otherwise provided herein.  In the event the Contractor (1) provides notice of intent to claim, (2) a claim, (3) a contract change order, or (4) initiates contract related litigation, the Department may obtain copies of the bid documentation as provided herein.

Both parties will submit to the Depository and copy to each other a list of personnel that are authorized to access the escrow documents.  Use forms provided by the Depository.

Upon request the Depository will set the time and place for access to escrow documents, will monitor the escrow documents review, and will arrange for a method of copying escrow documents.  Access to escrow documents shall require at least 5 days advance written notice so that the other party has the opportunity to witness the escrow review, examination and use.  There is no requirement that both parties witness the escrow document review, but if one party is absent then the review must occur in the presence of a neutral third party observer to be designated by the Depository.

Notwithstanding paragraph five below, the Department will be allowed: to make copies of escrow documentation (whether hard copy, electronic, or otherwise); to use and review copies consultants directly involved in the subject dispute.

Distribution is not authorized except as related to resolution of a dispute.  The Department will be allowed to incorporate pertinent copies as supporting documentation in significant contract change orders, contractual disputes, and the settlement of disputed claims.

The Department is not liable for any Contractor costs associated with escrow review and use.

4.	Failure to Provide Bid Documentation.  Refusal or failure to provide bid documentation or affidavit renders the bid nonresponsive.  Failure or refusal to provide subcontractor bid documentation will result in subcontract disapproval.

5.	Confidentiality of Bid Documentation.  Materials held in escrow are the Contractor’s property.  Except as otherwise provided herein, the escrow materials cannot be released without the Contractor’s approval.

6.	Cost and Escrow Instruction.  The Department pays to store escrowed materials and instructs the depository regarding escrow.

7.	Payment.  Include within the overall Contract bid price costs to comply with this subsection.

8.	Return of Escrow Documentation.  The original escrow documents will be returned to the Contractor once litigation is concluded, outstanding claims are resolved, the Contractor has completed the Contract, and the Department receives an executed Contractor’s Release (Form 25D-117) with no exceptions listed.

ES11(1/01/06)

SECTION 105

# CONTROL OF WORK

Standard Modification

105-1.02 PLANS AND WORKING DRAWINGS.  In the third paragraph delete: “(24”x36”)” and replace with: (22”x34”)

105-1.03 CONFORMITY WITH PLANS AND SPECIFICATIONS.  In the first sentence of the first paragraph after: “Work performed and materials furnished shall conform to the Plans and Specifications” add: and approved Working Drawings,

In the first sentence of the second paragraph after: “All work or material not conforming to the Plans and Specifications” add: and approved Working Drawings,

E33(01/27/07)

Special Provisions

105-1.06 COOPERATION WITH UTILITIES.  Add the following:  Request locates from the utilities having facilities in the area.  Use the Alaska Digline, Inc. Locate Call Center for the following utilities:

ALASKA DIGLINE, INC. Locate Call Center Anchorage: 811 who will notify the following:

ACS Aircraft Service International Group Alaska Fiberstar Alaska Native Hospital Alaska Railroad Corp Anchorage School District Anchorage Water & Wastewater Alyeska Cable AT&T Alascom, Inc. City of Wasilla Chugach Electric Assoc DOT Street Lights, State of Alaska Enstar Natural Gas Eyecom TV/Interior Telephone GCI Communications Homer Electric Assoc. Interior Telecom. Marathon Oil Matanuska Electric Assoc Matanuska Telephone Assoc MOA Street Maint. Dept MFS Technologies, inc. Tesoro Alaska Pipeline Mukluk Telephone Association Municipality of Anchorage Municipal Light & Power Phillips Petroleum PTI Telalaska Unocal United Utilities Yukon Telephone

Call the following utilities and agencies directly:

Contact the Central Region Maintenance & Operations Office at (907) 269-0760 to obtain the appropriate District Superintendent’s phone number for this project.

There are various utility appurtenances located within the project limits.  Utilities scheduled for relocation are addressed in the following utility specific sections.

Right of Way and/or Construction surveying is required before utility relocation.

Payment will be made as follows:

- Subsidiary to Item 642(1) Construction Surveying, if the Contractor is  required to provide the surveying as part of the contract and/or

- Under Item 642(3) Three Person Survey Party, if the construction or Right of Way staking required by the utility is either in advance of the 2 week work plan, or not required by the contract.

The utility shall give the Contractor, through the Engineer, 15 calendar days advance written notice for required staking.

(5/24/07)R3

The Contractor shall coordinate with Chugach Electric Association to terminate power service to load centers scheduled for removal.  The Contractor shall provide power to existing and/or temporary signal and illumination systems by new or temporary service connections before the existing load centers are decommissioned.

ACS, CEA, ENSTAR, and GCI will relocate and/or adjust their facilities where they conflict with proposed road improvements as detailed on the utility relocation plan sheets and outlined below. It is the Contractor’s responsibility to schedule and coordinate the utility relocations with project construction as set forth in Section 108-1.03, Prosecution and Progress.

Any changes to contract scheduling that result in the conditions of this specification not being met shall be the responsibility of the Contractor, and additional coordination with the applicable utility will be required.

Adhere to the ENSTAR “Excavation and Clearance Guidelines,” attached as an appendix, when working around natural gas facilities throughout the project.  Any exceptions to the guidelines will require advance approval from ENSTAR.

Specific coordination requirements for ACS, CEA, ENSTAR, and GCI are listed below for each construction phase.  Each utility requires fifteen (15) calendar days advance written notice prior to beginning relocation work on a specific construction phase.

A utility shall not be required to work on more than one segment at a time.

PHASE 1

Old Seward Highway - BOP to Huffman Road

Alaska Communication Systems (ACS):

1.	ACS will relocate the underground telephone cable and conduit crossing the Old Seward Highway at approximate station 21+72 to eliminate conflict with storm drain installation. ACS will install a replacement underground cable and conduit crossing at approximate station 22+00.

Allow ACS three (3) calendar days to complete the relocation.

General Communications Inc. (GCI):

1.	GCI will relocate and/or adjust the underground CATV facilities along the east side of the Old Seward Highway as required to accommodate construction of the Helen Drive and Brandon Street approaches. The work includes adjustment of the underground crossing of the Old Seward Highway at approximate station 23+70 to accommodate storm drain installation.

Allow GCI four (4) calendar days to complete the relocations.

2.	GCI will relocate and/or adjust the underground CATV facilities along the east side of the Old Seward Highway between station 34+00 and Huffman Road as required to accommodate approach, storm drain, and pathway construction.

Allow GCI six (6) calendar days to complete the relocation.

ENSTAR Natural Gas Company (ENSTAR):

1.	The 8-inch steel transmission main along the west side of the Old Seward Highway between BOP station 14+38 and station 241+00 is not scheduled for relocation or adjustment and shall remain in place. The Contractor shall work around and protect the facility.

2.	ENSTAR will lower the 3-inch steel distribution main crossing Helen Drive, and 1-1/4 inch steel main crossing Brandon Street, as required to accommodate approach construction.

Allow ENSTAR three (3) calendar days to complete the adjustments.

3.	ENSTAR will relocate the 1-1/4 inch steel distribution main along the east side of the Old Seward Highway between stations 35+50 and 240+00 to accommodate approach and storm drain construction.

Allow ENSTAR three (3) calendar days to complete the relocation.

4.	The Contractor will encounter natural gas distribution facilities during storm drain construction along Brandon Drive and Cross Street, including:

| Brandon Street | Storm Drain Pipe | Gas Facility |
| --- | --- | --- |
| 13+93 | P22-1 | 1-inch plastic |
| 12+12 | P22-1 | 1-inch plastic |
| 11+00 | P22-1 | 5/8-inch” plastic |
| Cross Street | Storm Drain Pipe | Gas Facility |
| 17+88 | P21-1 | 2-inch steel |
| 15+88 | P21-1 | 1-inch plastic |
| 15+08 | P20-3 | ½-inch xt |
| 13+27 | P20-3 | 1-1/4-inch steel |
| 11+77 | P20-2 | 1-inch plastic |
| 10+80 to 11+20 | P20-1 | 3-inch steel |

Locate and protect the gas crossings. Coordinate with ENSTAR for shoring and adjustments, as required.

PHASE 2

Old Seward Highway - Huffman Road to 120th

Chugach Electric Association (CEA):

1.	CEA will relocate pole 0598, station 245+91, 104 right, to accommodate intersection improvements.

Allow CEA two (2) calendar days to complete the relocation.

2.	CEA will relocate pole R1, station 247+53, 37.6 left, to accommodate roundabout construction. The work includes relocating the aerial distribution underbuild crossing the Old Seward Highway at station 247+53 to an underground configuration. 	CEA will install a new underground primary crossing at station 248+00. The circuit will extend north, along the east side of the Old Seward Highway, to approximate station 250+00.

Allow CEA seven (7) calendar days to complete the relocation.

3.	Coordinate with CEA for pole shoring on pole A0, Huffman Road station 12+82, 49 left, as required, to accommodate retaining wall construction.

4.	CEA will relocate pole 9810, station 249+30, 44 left, to allow for pathway construction.

Allow CEA two (2) calendar days to complete the relocation.

5.	CEA will relocate the overhead service crossing of the Old Seward Highway at station 58+59. CEA will install a replacement underground crossing of the Old Seward Highway at station 59+85. The crossing will extend 245 feet west, along the east side of 120th Avenue.

Allow CEA four (4) calendar days to complete the relocation.

Alaska Communication Systems (ACS):

1.	ACS is attached to CEA pole 0598, which requires relocation. ACS will transfer telephone facilities to the new pole.

Allow ACS one (1) calendar days to complete the transfer.

2.	The underground 1200 pair telephone crossing of the Old Seward Highway at station 247+51 is not scheduled for relocation or adjustment and shall remain in place. Shore and protect the crossing during storm drain installation.

3.	The underground telephone crossing at station 248+28, consisting of four 4-inch PVC conduits, 2400 and 1800 pair copper cables, 48 fiber optic cable, and two 1-inch innerducts, is not scheduled for relocation or adjustment and shall remain in place. Shore and protect the crossing during storm drain installation.

General Communications Inc. (GCI):

1.	GCI will adjust the underground CATV facilities along the east side of the Old Seward Highway and crossing Huffman Road to accommodate storm drain and intersection improvements.

Allow GCI two (2) calendar days to complete the adjustment.

2.	The underground CATV crossing the Old Seward Highway at station 247+32 is not scheduled for relocation or adjustment and shall remain in place. Shore and protect the crossing during storm drain installation.

3.	GCI will relocate the underground CATV facilities along the east side of the Old Seward from station 57+50 north through Industry Way.

Allow GCI three (3) calendar days to complete the relocation.

4.	The underground CATV crossing the Old Seward Highway at station 55+56 is not scheduled for relocation or adjustment and shall remain in place. Shore and protect the crossing.

ENSTAR Natural Gas Company:

1.	ENSTAR will relocate the 8-inch steel transmission main along the west side of the Old Seward Highway between stations 241+00 and 51+00 to accommodate storm drain and roundabout construction. Coordinate with ENSTAR for the following construction and relocation sequencing:

- ENSTAR will take the main out of service for a thirty (30) day period between June 1 and September 15th.

- Construct storm drain, west side embankment, and MSE wall while the main is out of service.

- Allow ENSTAR five (5) calendar days to reinstall the new 8-inch steel main along the west side of the Old Seward Highway prior to beginning Construction Phase 2, steps 8 through 16.

2.	ENSTAR’s 3-inch steel distribution main crosses the Old Seward Highway at station 250+46, and extends south along the east side of the Old Seward Highway to Huffman Road. The main passes through the northeast quadrant of the Old Seward/Huffman intersection, and extends east along the north side of Huffman Road to Silver Fox. ENSTAR will relocate the main to accommodate storm drain and retaining wall construction. The relocation includes new crossings at Old Seward Highway station 250+50 and Huffman Road station 16+00.

Allow ENSTAR seven (7) calendar days to complete the relocation.

3.	ENSTAR will relocate the 2-inch plastic and 3-inch steel distribution main along the west side of the Old Seward Highway from station 247+84 through 120th Avenue.

Allow ENSTAR eight (8) calendar days to complete the relocation.

4.	ENSTAR’s 8-inch steel transmission main along the east side of the Old Seward Highway from approximate station 51+00 through 120th Avenue is not scheduled for relocation and shall remain in place. Shore and protect the main during storm drain installation.

PHASE 3

Old Seward Highway - 120th to Klatt Road

Chugach Electric Association, Inc.

1.	CEA will provide pole support by pole by H-Pile or installing a new pole with deeper embedment, at the following structures:

| CEA Pole Number | Station/Offset | Shoring Method |
| --- | --- | --- |
| A42 | 55+62, 40.3 right | H-Pile |
| A41 | 58+65, 40 right | H-Pile |
| A40 | 61+10, 38.2 right | H-Pile |
| A39 | 64+66.7, 40 right | H-Pile |
| A38A | 66+73, 40.5 right | New Pole Embedded 13’ |
| A38 | 68+93, 40.1 right | New Pole Embedded 13’ |

Coordinate with CEA for pole shoring prior to excavation.

2.	The underground 12.5 kV circuit from riser pole A39, station 64+67, 40 right, south along the east side of the Old Seward Highway to Industry Way is not scheduled for relocation and shall remain in place. Shore and protect the circuit during pathway and water/sewer construction.

3.	Old Seward Highway/Klatt Road Intersection:

CEA’s underground 12.5kV circuit from riser pole A37, station 71+30, 40 right, crossing the Old Seward Highway, and extending west along the south side of Klatt Road to the CEA substation, is in conflict with intersection widening and grade lowering and requires relocation.

CEA pole A36, station 73+65, 40 right, is in conflict with intersection widening and grade lowering of Klatt Road and requires relocation. The overhead 34.5 kV and 12.5 kV circuits from pole A36, west across the Old Seward Highway, and paralleling the north side of Klatt Road to the CEA substation requires undergrounding.

CEA will install replacement underground facilities:

- Along the east side of the Old Seward Highway between new riser poles 0290, station 70+90, 40 right, and 0212, station 76+42. The work includes a crossing of Klatt Road at station 16+86.

- Crossing the Old Seward Highway at station 72+77, and extending west along the south side of Klatt Road to the CEA substation. The work includes a crossing of Klatt Road at station 13+70.

The relocation includes installation of switch cabinets, pad mount transformers, pull boxes, and 34.5 kV motor operated switches, as well as additional conduits to accommodate ACS and GCI relocations.

Clear and grub the south side of East Klatt Road in advance of the CEA relocation.

Allow CEA thirty (30) calendar days to compete the relocations.

Alaska Communication Systems (ACS)

1.	The ACS underground 1800x24 direct buried cable crosses the Old Seward Highway at station 72+98, and extends west along the south side of Klatt Road. The cable is in conflict with the widening and lowering of the intersection and requires relocation. ACS will install a new 1800x24 cable within the existing manhole duct system along the north side of Klatt Road, crossing the Old Seward Highway at station 73+59.

Allow ACS eight (8) calendar days to complete the relocation.

2.	The relocation of CEA poles A36, station 73+65, 40 right, requires the relocation of ACS aerial cables, including the C600x24 cable along the east side of the Old Seward Highway, and C200x24 cable crossing the Old Seward Highway at station 73+65, and extending west along the north side of Klatt Road. ACS will relocate the aerial cables to an underground configuration in joint trench with CEA:

- Along the east side of the Old Seward Highway between new pedestal F11723, approximate station 71+15, and CEA pole 0212, station 76+42. .

- Crossing the Old Seward Highway at station 72+77, and extending west along the south side of Klatt Road to station 13+70. The work includes a crossing of Klatt Road at station 13+70.

Allow ACS five (5) calendar days to complete the relocation after duct installation is completed.

3.	ACS will reconstruct manhole S467, Klatt Road station 17+00, 24 left, to accommodate grade lowering. Cables and conduits will be adjusted as required.

Allow ACS four (4) calendar days to complete the adjustments.

General Communications Inc. (GCI):

1.	GCI will relocate existing underground CATV facilities along the east side of the Old Seward Highway from Industry Drive north through the Old Seward Highway and Klatt Road intersections. New GCI facilities are in joint trench with CEA and ACS along the Old Seward Highway between stations 70+90 and 76+42, and along the south side of Klatt Road between approximate stations 11+50 and 18+00.

Allow GCI six (6) calendar days after joint duct installation to complete the relocation.

ENSTAR Natural Gas Company:

1.	ENSTAR will relocate the 8-inch steel transmission main along the west side of the Old Seward Highway between stations 62+00 and 67+50. The relocation will occur between June 1 and September 15.

Allow ENSTAR fourteen (14) calendar days to complete the relocation.

2.	The 8-inch steel transmission main along the south side of Klatt Road from EOP station 11+00 through station 15+68 is not scheduled for relocation or adjustment and shall remain in place. Shore and protect the main during excavation for grade lowering.

3.	ENSTAR will relocate the 3-inch steel distribution main along the west side of the Old Seward Highway from 120th Avenue to, and crossing, Klatt Road.

New 4-inch plastic main will be installed along the west right-of-way between 120th Avenue and approximate station 72+35. The new main will extend west, along the south side of Klatt Road to Gambell South. The relocation also includes:

- Lowering in-place the 1-inch plastic main crossing the Old Seward Highway at station 63+28;

- Installation of new 4-inch plastic main crossing Klatt Road at approximate station 11+70, and;

- Abandonment of 2-inch and 3-inch steel distribution main along the north side of Klatt Road between stations 11+70 and 19+00.

Allow ENSTAR ten (10) calendar days to complete the relocation.

PHASE 4

Old Seward Highway - Klatt Road to O’Malley Centre

Chugach Electric Association:

1.	CEA will provide pole support by pole by H-Pile or installing a new pole with deeper embedment at the following structures:

| CEA Pole Number | Station/Offset | Shoring Method |
| --- | --- | --- |
| 2010 | 75+89, 40.6 right | New Pole Embedded 12’ |
| A34A | 77+53, 40.8 right | H-Pile |
| A34 | 79+29, 40.6 right | H-Pile |
| A33 | 81+27, 40.0 right | H-Pile |
| 0339 | 83+36, 39.2 right | H-Pile |
| A32 | 85+08, 38.5 right | H-Pile |
| 0248 | 86+11, 39 right | New Pole Embedded 10.5’ |

Coordinate with CEA for pole shoring prior to excavation.

2.	CEA pole A31A, station 86+64, 39 right, is in conflict with widening of the O’Malley Centre Drive approach and requires relocation. CEA will install replacement pole 0248 at station 86+11, 39 right, and transfer the overhead 34.5 kV circuit from pole A31A. The work includes installation of a new overhead span guy pole at station 86+19, 71 left.

Allow CEA four (4) calendar days to complete the relocation.

3.	CEA will underground the overhead 12.5 kV circuit between pole 0339, station 83+36, 39 right, and pole 0357, station 88+26, 89 right. The work includes installation of two switch cabinets, pad mount transformers, and additional conduits for ACS and GCI.

Remove the following structures and obstructions in advance of the CEA relocation:

- The small business building between stations 84+95 and 86+03, right side, and;

- The retaining wall along the south side of O’Malley Centre Drive between “F” Line stations 10+32 and 12+76.

Allow CEA eight (8) calendar days to complete the relocation.

4.	CEA will relocate the underground crossing of the Old Seward Highway at station 82+46. A replacement crossing will be installed at station 82+41, and will extend west along the north side of the Wendy’s property. The crossing will terminate in a transformer located in the northwest corner of the lot.

Construct the Wendy’s Restaurant Retaining Wall in advance of the CEA relocation.

Allow CEA three (3) calendar days to complete the relocation.

Alaska Communication Systems (ACS):

1.	The overhead telephone cables underbuilt on the CEA pole line along the east side of the Old Seward Highway between stations 76+42 and O’Malley Centre Drive are not scheduled for relocation, excepting:

- ACS is attached to CEA pole to be retired A31A, station 86+64, 39 right. ACS will transfer telephone facilities to new pole 0248, station 86+11, 39 right. The work includes constructing a new overhead span guy crossing at station 86+19, 71 left.

Allow ACS three (3) calendar days to complete the relocation.

General Communications Inc. (GCI):

1.	GCI will relocate the underground CATV facilities along the east side of the Old Seward Highway between the pedestal at station 73+65, 45.8 right and O’Malley Centre Drive. The replacement facility is in joint trench with CEA and ACS between stations 73+65 and 76+42, and stations 82+41 and 88+26.

Allow GCI seven (7) calendar days to complete the relocation.

ENSTAR Natural Gas Company:

1.	ENSTAR will relocate the distribution main along the west side of the Old Seward highway between stations 76+26 and 87+60. ENSTAR will install the replacement facility along the west side of the Old Seward Highway in the outer five (5) feet of the right-of-way. The work includes a crossing of the Old Seward Highway at approximate station 80+16.

Allow ENSTAR twelve (12) calendar days to complete the relocation.

PHASE 5

Old Seward Highway - O’Malley Centre Drive to EOP

Chugach Electric Association:

1.	The underground crossings of the Old Seward Highway at stations 88+90 (service to IHOP) and 98+00 (service to Lowe’s) are not scheduled for relocation and shall remain in place. Shore and protect the crossing.

Alaska Communication Systems (ACS):

1.	The underground crossings at station 88+90 (service to IHOP) and 98+00 (service to Lowe’s) are not scheduled for relocation and shall remain in place. Shore and protect the crossing.

ENSTAR Natural Gas Company:

1.	ENSTAR will replace the 2-inch steel distribution crossing at station 93+68 with 2-inch plastic main.

Allow ENSTAR two (2) calendar days to complete the relocation.

Standard Modification

105-1.13 MAINTENANCE DURING CONSTRUCTION.  Add the following at the end of this subsection:  All costs of maintenance work during construction and before the project is accepted as substantially complete shall be subsidiary to the prices bid on the various Contract items, and the Contractor will not be paid an additional amount for such work.

If in the Engineer’s opinion, the Contractor at any time fails to provide adequate maintenance, the Engineer will notify the Contractor of such noncompliance.  The notification will specify the areas or structures for which there is inadequate maintenance, the corrective maintenance required, and the time allowed to complete corrective maintenance.  If the Contractor fails to take the corrective action within the specified time, the Engineer may:

- Suspend the work until corrective maintenance is completed;

- Assess a traffic price adjustment against the Contract Amount when an adjustment rate is specified in the Contract; and

- Employ others for corrective maintenance and deduct the cost from the Contract amount.

E33(1/27/07)

105-1.15 PROJECT COMPLETION. Add the following: All work involved with the Arctic Boulevard Trail repair specified under section 608, and as shown in the plans, shall be complete and acceptable to the Engineer no later than July 15, 2009.

Liquidated damages will be assessed in accordance with subsection 108-1.07 for failure to compete the Arctic Boulevard Trail Repair by the date specified above. The basis for determining the liquidated damages will be the lump sum bid amount for this work in the bid schedule.

# 105-1.16 FINAL ACCEPTANCE AND RECORD RETENTION. Modify the first paragraph, Item 4., after: “DOLWD” add: and State Department of Revenue. (6/30/04)E19

Special Provision

# 105-1.17 CLAIMS FOR ADJUSTMENT AND DISPUTES.  Add the following:  Appeals to the superior court under AS 36.30.685 must be filed in the third judicial district.  (03/21/01)R93

# SECTION 106

CONTROL OF MATERIAL

Standard Modification

106-1.01 SOURCE OF SUPPLY AND QUALITY REQUIREMENTS.  In fifth paragraph, in two places remove the text: “Approved Products List” and replace with:  Qualified Products List E36(01/27/07)

## Special Provisions

106-1.01 Source of Supply and Quality Requirements.  Add the following:

Buy America Provision.  Comply with the requirements of 23 CFR 635.410, Buy America Requirements, and shall submit a completed Material Origin Certificate, Form 25D-60, before award of the Contract.

Steel and iron products which are incorporated into the work, shall be manufactured in the United States except that minor amounts of steel and iron products of foreign manufacture may be used, provided the aggregate cost of such does not exceed one tenth of one percent (0.001) of the total Contract amount, or $2500, whichever is greater.  For the purposes of this paragraph, the cost is the value of the products as they are delivered to the project including freight.

“Manufactured in the United States” means that all manufacturing processes starting with the initial mixing and melting through the final shaping, welding, and coating processes must be undertaken in the United States.  The definition of “manufacturing process” is smelting or any subsequent process that alters the material’s physical form, shape or chemical composition.  These processes include rolling, extruding, machining, bending, grinding, drilling, etc.  The application of coatings, such as epoxy coating, galvanizing, painting or any other coating that protects or enhances the value of steel or iron materials shall also be considered a manufacturing process subject to the “Buy America Requirements.”

Buy America does not apply to raw materials (iron ore), scrap, pig iron, and processed, pelletized and reduced iron ore.  It also does not apply to temporary steel items (e.g., temporary sheet piling, temporary bridges, steel scaffolding, and falsework).  Further, it does not apply to materials that remain in place at the Contractor’s convenience (e.g., sheet pilings, and forms).

The North American Free Trade Agreement (NAFTA) does not apply to the Buy America requirement.  There is a specific exemption within NAFTA (article 1001) for grant programs such as the Federal-aid highway program.

When steel and iron products manufactured in the United States are shipped to a foreign country where non-steel or iron products are installed on or in them (e.g., electronic components in a steel cabinet), the steel and iron is considered to meet the requirements of this subsection.

Take whatever steps are necessary to ensure that manufacturing processes for each covered product comply with this provision.  Non-conforming products shall be replaced at no expense to the State.  Failure to comply may also subject the Contractor to default and/or debarment.  False statements may result in criminal penalties prescribed under Title 18 US Code Section 1001 and 1020.  (02/07/05)R13

Standard Modification

106-1.02 MATERIAL SOURCES.

1.	a.	General.  Within Item a. delete text and replace with:  Utilize Useable Excavation according to subsection 104-1.04 before using material sources listed in subsection 106-1.02.4.  When there is insufficient useable excavation furnish additional required materials from sources of the Contractor’s choice, except that the Contractor shall use a mandatory source when identified in the Contract.

4.	Type of Sources.  Replace the first paragraph with the following:  The Contractor shall utilize Useable Excavation according to subsection 104-1.04 before using material sources listed in this subsection.  When there is insufficient Useable Excavation, the Contractor shall furnish additional required materials from sources of the Contractor’s choice, except that the Contractor shall use a mandatory source when identified in the Contract.

When there is insufficient Useable Excavation, the Contractor shall supply additional required material from the following sources:

4.	d.	Available Sources.  Replace the second paragraph with the following:  When the Department furnishes copies of existing boring logs, test results, or other data in its possession concerning Available Sources, the Contractor is responsible for determining the accuracy and completeness of this data, for assumptions the Contractor makes based on this data, and for exploring Available Sources to the Contractor’s satisfaction.

4.	e.	Excluded Material Sources.  Replace the paragraph with the following:  Some material sources may not be considered acceptable regardless of location or ownership.  The bid documents may identify some material sources excluded from use.  The Department reserves the right to exclude a material sources or any portion of a material source, at any time after Contract award, that is determined by material testing to be unsuitable for use on the project.  E24(1/1/06)

Standard Modification

Add new subsection 106-1.08:

106-1.08 SUBMITTAL PROCEDURE.  The Contractor shall complete a Submittal Register, and shall submit it to the Engineer on forms provided by the Department.  The intent of the Submittal Register is to provide a blueprint for the smooth flow of specified project documents.  The Contractor shall fill it out sequentially by bid item and allow at least three spaces between bid items.  The Submittal Register shall list all working drawings, schedules of work, and other items required to be submitted to the Department by the Contractor including but not limited to: Progress Schedule, anticipated dates of material procurement, Construction Phasing Plan, Traffic Control Plan, Storm Water Pollution Prevention Plan, Quality Control Program, Utility Progress Schedule, Blasting Plan, Mining Plan, annual EEO reports, DBE payment documentation and subcontracts.

The Contractor shall submit materials (product) information to the Engineer for review, as required by the Materials Certification List and the Contract.

The number of copies required for submittals may be included in the Specifications for individual bid items.  If the number of copies of a submittal is not otherwise specified, three copies shall be required.  On each sheet submitted to the Department, including working drawings, catalog cuts, manufacturer’s certifications, etc., space shall be provided for Contractor and Department review stamps.

Each copy of each submittal shall include a Submittal Summary sheet.  The Contractor may use forms provided by the Department or a similar form of the Contractor’s choice as approved by the Department.  The Contractor shall sign submittals and submit them to the Engineer.  The Department will review submittals within 30 days after they are received.  The Department will return submittals to the Contractor as either: approved, conditionally approved with the conditions listed, or rejected with the reasons listed.  The Contractor may resubmit a rejected submittal to the Engineer with more information or corrections.  The Department will review resubmittals within 30 days after they are received.

The Contractor shall not order material or use working drawings that have not been approved by the Department.  The Contractor shall be responsible for timely submittals.  Failure by the Department to review submittals within the time given may be the basis for a request for extension of Contract time but not for additional compensation.

Payment for a specific Contract item will not be made until the Department has received the Submittal Register for all items and approved all required submittals for that specific Contract item.

When material invoices, freight bills and mill certificates are submitted, they shall provide sufficient information for the Engineer to identify the date, company and location of invoice (bill, certificate); project name and number where material will be incorporated; manufacturer, product number, quantity and cost.

E34(01/27/07)

SECTION 107

LEGAL RELATIONS AND RESPONSIBILITY TO PUBLIC

# Special Provisions

107-1.02 PERMITS, LICENSES, AND TAXES.  Add the following:  Obtain a written statement from the State Historic Preservation Officer stating that material disposal, extraction, stockpiling or staging, on off project site, is not expected to impact cultural resources.  The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at (907) 269-8715.  If cultural resources are discovered during construction activities, stop work at that site and notify the Engineer.

Provide a wetland specialist able to conduct wetlands determinations and delineations according to the Corps of Engineers 1987 Wetland Delineation Manual.  The wetland specialist shall conduct the determination and delineations of sites outside the project limits or not previously permitted, impacted by the Contractor's operations.  These delineations will be subject to Corps of Engineers approval.

Provide the Engineer a copy of permits or clearances received before using sites outside the project limits.  Additionally, provide the Engineer a written statement that permits or clearances have been obtained.  Also provide a written statement to the Engineer listing agencies or offices contacted that responded that no additional action is required.

Add the following:  The Department has received the following permits on the Contractor’s behalf:

- USACE Permit #POA-2007-1607-D attached in appendix A.

- USACE Permit #POA-2007-1607-D Correction attached in appendix A

- USACE Permit #POA-2008-522 attached in appendix A

- MOA Noise Permit # FA0005767-2008 attached in appendix A

Provide information to comply with the US Environmental Protection Agency National Pollutant Discharge Elimination System (NPDES) General Permit for Alaska to discharge storm water from the construction site.  Refer to Section 641, Erosion, Sediment, and Pollution Control for requirements for this permit.

A Municipality of Anchorage (MOA) Right-of-Way Use permit will be required.  The Municipality will require a copy of the approved Traffic Control Plan and a copy of the Notice to Proceed from the Contractor.

107-1.07 ARCHAEOLOGICAL OR HISTORICAL DISCOVERIES.  Change the first sentence to the following:  When operations encounters historic or prehistoric artifacts, burials, remains of dwelling sites, paleontological remains, (shell heaps, land or sea mammal bones or tusks, or other items of historical significance), cease operations immediately and notify the Engineer.

107-1.08 RAILWAY-HIGHWAY PROVISIONS.  Add the following:

1.	Definition of Terms.

a. 	Railroad's Manager of Telecommunications and Signaling - the person employed by the Railroad as head of its Telecommunications Department or his authorized representative.

b. 	Railroad's Chief Engineer - the person employed by the Railroad as head of its Engineering Department or his authorized representative.

c. 	Railroad's Contracting Officer - the person authorized by the Railroad to execute contractual agreements on behalf of the Railroad.

d. 	Facility - any improvements owned by the Department which are to be placed on Railroad Property in accordance with a written permit executed by the Railroad and the Department.

e. 	Permit Area - the space on Railroad Property that is or will be occupied by the Facility plus reasonable working area and reasonable ingress and egress to the Facility.

f. 	Railroad - the Alaska Railroad Corporation, P.O. Box 107500, Anchorage, Alaska  99510-7500.

g. 	Railroad Property - all lands owned or withdrawn for the use of the Railroad, in and including the track right-of-way and communications pole right-of-way.

h. 	Trackwork - all work on the line from the top of subgrade to the top of rail, including geotextile, when required.

i. 	Track Materials - all hardware, excluding signals and controllers, associated with the running of a railroad.

2. 	General Requirements.

a. 	All construction, reconstruction, operation, and maintenance on the Railroad Property shall be performed in compliance with these Specifications.

b. 	Failure to comply with these Specifications shall result in the suspension of all work on Railroad Property.  The Contractor shall comply immediately upon notification from the Department, either verbal or written.

c. 	All negotiations between the Railroad and the Contractor shall be handled through the Department.

d. 	All work on or about the Railroad Property shall be performed by experienced personnel in a safe and workmanlike manner in keeping with the approved Railroad practices, and as specified herein.  Railroad traffic and property shall be protected at all times.

e. 	The safety and continuity of the operation of the railroad traffic shall be of first importance and shall be at all times protected and safeguarded.  The Contractor and his subcontractors shall perform and arrange their work accordingly.  The Railroad's Chief Engineer shall decide all matters involving the safety of Railroad facilities and the operation of it's railroad.  The approval of the Railroad's Chief Engineer, when given, shall not be considered as a release from responsibility or liability for any damage which the Railroad may suffer or for which it may be liable, as a result of the acts of the Contractor, his subcontractor or employees.

f. 	Whenever in the opinion of the Railroad's Chief Engineer, the construction may cause a hazard to the safe operation of the Railroad, the Railroad may, at its discretion, place at the site of the work the required number of qualified employees to protect its operations.  The providing of such employees and such other precautions as may be taken shall not relieve the Contractor and his subcontractors from liability for the payment of damages caused by their operations.  The Railroad shall be the sole judge of necessity, as to the number and classification of employees required.  All Railroad cost and expense for providing such employees shall be collected from the Contractor, except for flagging which shall be paid for as described in Subsection 107-1.08.5.b.

g.	The Contractor shall be responsible for maintaining sight triangles at existing railroad crossings as well as at any temporary crossings within the project limits and at any railroad crossing outside the project limits that is designated and used as an alternate route for traffic.

3. 	Insurance Requirements.

a.	The Contractor shall comply with all insurance requirements and conditions specified under Subsection 103-1.05, except that the following minimum limits shall apply for Comprehensive or General Liability Insurance:

Bodily Injury - $1,000,000 each occurrence

Premises Operations

Independent Contractors

Products

Completed Operations

Property Damage - $1,000,000 each occurrence

Premises Operations

Independent Contractors

Products

Completed Operations

Blanket Contractual

b.	Prior to commencement of work on Railroad Property, the Contractor shall provide evidence of Railroad Protective Liability insurance (Alaska Railroad and State of Alaska as insureds) with the following limits:

Bodily Injury - $2,000,000 per occurrence

Property Damage - $2,000,000 per occurrence

4.  Notice.

a. 	The Contractor shall give written notice to the Department and the Railroad not less than ten (10) days in advance of the commencement of any construction, reconstruction or major maintenance activity on Railroad Property, in order that the necessary arrangements may be made for the protection of the Railroad's operation.  This notice shall include the proposed schedule of work, and the names of the subcontractors who may also be working on Railroad Property.

b. 	A preconstruction meeting shall be held with the Railroad's Chief Engineer and representatives of the Department and Contractor prior to the commencement of any work on Railroad Property by the Contractor or his subcontractors.

5.  Flag Protection and Protection of Railroad Traffic.

a.	Whenever Railroad flag protection is required in these Specifications, this flag protection shall be provided by person(s) authorized by the Railroad.  Each person so authorized shall have met the Railroad's qualifications for flagmen.  Railroad flag protection is to insure the safe movement of trains and other rail traffic and shall be done in strict accordance with the Railroad rules on flagging.

b.	The Contractor shall, during the progress of the work, furnish as many qualified flagmen, as in the opinion of the Railroad, may be required for the adequate protection of the Railroad traffic.  If Railroad employees are used as flagmen, all Railroad expenses for providing such flagmen shall be reimbursed by the Department, except for flagging as described in Subsections 107-1.08.8.b and c., in which case the Railroad expenses shall be paid by the Contractor.  If the Contractor calls for flagmen and, through no fault of the Department or the Railroad, the flagmen are not needed, payment shall be deducted from monies due the Contractor.

c.	Vehicles and other construction equipment shall not be parked or operated closer than 20-feet from centerline of any track without Railroad flag protection provided in accordance with Subsection 107-1.08.5.a.

d.	The Contractor shall arrange with the Railroad to keep himself informed of the time of arrival of all trains and shall entirely stop any of the operations which might be or cause a hazard to the safe passage of the train past the site of the work from 10 minutes before the expected arrival of the train until the train has passed.

6.  Train Delays.

a.	All work on Railroad Property shall be conducted in such a manner as to prevent delays to trains or other rail traffic operated by the Railroad.

- Should any of the Contractor's or subcontractor's actions or activities cause delays to trains or other rail or water traffic, the agreed amount of liquidated damage shall be at the following rates and shall be collected from the Contractor:

| # Passenger Trains | $50 per minute for each delay $3,000 minimum charge |
| --- | --- |
| All other trains and rail traffic | $50 per minute for each delay over five minutes $1,500 minimum charge |
| Rail barges, train-ships, or other connecting carrier vessels | No charge for delays of an hour or less. $1,000 per hour for each hour or any part of an hour thereafter, with a minimum charge of $6,000 |

c.	Delay time will be taken from the train sheet in the Railroad Dispatcher's Office in Anchorage (907-265-2649) for all delays and such train sheet shall be the official document by which the length of time a train is delayed will be determined.  If another crew is needed to relieve the original crew, the charge shall also apply to the second crew.  If such delay causes a water carrier to miss a sailing, the liquidated damage computation of time covering the period of time to the next possible sailing time shall be in addition to the length of time determined by said train sheet.

7.  Protection of Railroad Communication Lines.

a.	All work on Railroad Property shall be conducted in such a manner as to protect the Railroad's communications facilities at all times from outages resulting directly or indirectly from the Contractor's or his subcontractor's operations.

b.	Should any of the Contractor's, or his subcontractor's, operations cause outages to said communications facilities, the agreed amount of liquidated damages shall be at the following rates and shall be collected from the Contractor:

| Open wire communication circuits | $1.00 per minute per circuit |
| --- | --- |
| Communication cable | $5.00 per minute per cable |

c. 	A minimum charge of $250 will be made for each outage. The outage time shall be that as established by the Railroad's Test Board, Anchorage.

d. 	There shall be no equipment worked or excavation within 15 feet (5 m) of any Railroad communication pole guy, anchor, or other communications apparatus unless authorized in advance by the Railroad's Manager of Telecommunications and Signaling.

8.  Railroad Crossings.

a. 	Whenever automatic railroad crossing signals are in the permit area, these signals must remain in operating condition at all times.  If, as a result of the Contractor's activities on the facility, the signals become inoperable, the crossing shall be continuously protected in accordance with Subsection 107-1.08.5. until the signals are again operable.

b. 	When regular railroad crossings are used as haul routes inside or outside the permit area, flagmen shall be provided by the Contractor for said crossings in all situations at the discretion of the Railroad.

c. 	Temporary road crossings may be installed, provided the Contractor has acquired from the Railroad a temporary road crossing permit for said crossing.

The temporary crossing shall be constructed to the standards specified in the temporary crossing permit.  All protective signs required by the Railroad shall be provided and properly maintained by the Contractor.  When a temporary railroad crossing is in use, Railroad flag protection shall be provided at all times in accordance with subsection 107-1.08.5.  When not in use during the winter season, the temporary crossing shall be removed unless specifically allowed in the temporary crossing permit.  Upon completion of the work or termination of the temporary crossing permit, the temporary railroad crossing shall be removed and the area restored to its original condition.

d. 	The flange ways of all road crossings used by the Contractor or subcontractor as haul routes or temporary road crossings shall be kept free of gravel at all times and shall otherwise be maintained to the satisfaction of the Railroad's Chief Engineer.

e. 	When a temporary or private road crossing is not in use, the Contractor shall provide suitable barricades (gates with padlocks, posts driven into the ground, etc.) to prevent vehicular access to the crossing.

9.  Power and Communication Lines.

a. 	All power and communication lines shall be designed and constructed in accordance with National Electrical Safety Code (NESC).

b. 	Underground power and communication lines shall be installed in accordance with Subsection 107-1.08.10.  Whenever an underground power or communication line crosses underneath a track, a casing pipe shall be installed for carrying such lines.

c. 	The minimum clearance above the top of a rail of the Railroad track shall be in accordance with the NESC, plus 6-inches (150 mm) to allow for future grade raises.

d. 	The minimum clearance above the Railroad communication lines shall be in accordance with the NESC.

e. 	Additional lines may not be added, or the characteristics of the line(s) changed without written approval of the Railroad's Contracting Officer.

f. 	Wires shall be strung across the Railroad tracks only when Railroad flag protection is provided in accordance with Subsection 107-1.08.5.

g. 	No wires shall be strung across the Railroad's communication lines without first receiving approval from the Railroad's Manager of Telecommunications and Signaling therefor, and such work must be accomplished only at a time and in a manner prescribed by said Manager of Telecommunications and Signaling.

10.  Underground Facilities.

a. 	All underground utilities, including culverts, pipelines and underground power and communication lines, on Railroad Property shall conform to the current American Railway Engineering Association Specifications.

b. 	Unless another method is authorized in advance and in writing by the Railroad's Chief Engineer, all underground facilities shall be installed under tracks and roads by boring, jacking or tunneling.

c. 	Boring, jacking and tunneling shall be done under Railroad tracks only when Railroad flag protection is provided in accordance with Subsection 107-1.08.5.

d. 	The proposed plan for boring, jacking or tunneling shall be approved by the Railroad's Chief Engineer prior to commencing the operation.

e. 	All boring, jacking, or tunneling headings shall be continuously protected against any loss of ground material by shoring or cribbing as necessary.

11.  Open Trenching.

a. 	Only when authorized in advance and in writing by the Railroad's Chief Engineer shall any portion of the track be removed to allow trenching for installation of the facility.

b. 	If allowed to open trench, the track may be removed from service only at the time authorized by the Railroad's Chief Engineer and shall be restored to service within the time period specified by the Railroad's Chief Engineer.  Should the track not be restored to service within the time period specified, the agreed amount of liquidated damages shall be at the rate specified in the written authorization allowing the open trenching or the liquidated damages in accordance with Subsection 107-1.08.6., whichever is greater and shall be collected from the Contractor.

c. 	All work on track materials shall be accomplished by qualified trackmen.

d.	Only that portion of the track structure necessary to excavate, stockpile and install the facility shall be removed.  All track material removed shall be handled, stockpiled, and re-laid in a manner as to avoid damage.  Any material which is damaged shall be replaced by the Contractor at his own expense.

e. 	The backfill of the trench under the track and in the roadbed prism shall be of the same type of material as taken out, except the top 2-feet (0.6 m) shall be clean pit run gravel.  Backfilling and compaction in the area affecting the roadbed prism shall be in accordance with the requirements of Section 204, Structure Excavation for Conduits and Minor Structures.

f. 	The ballast used in replacing the track shall be equal in depth and quality to that which was removed.  The track shall be re-laid and brought to original grade in accordance with standard Railroad practices.

12.  Excavations.

a. 	Unless authorized in advance and in writing by the Railroad, the top of any excavation shall not be within 20-feet (6 m) of center line of any track.

b. 	No water shall be allowed to stand in open excavations in the track area.

c. 	Bridging and shoring shall be adequate to safely carry Railroad traffic and the decision of the Railroad pertaining to same shall be final.

d. 	All open excavations shall be continuously protected by flags, barricades or watchmen, as directed by the Railroad.

e. 	No excavation shall be left open more than three days, unless authorized by the Railroad's Chief Engineer.

f. 	The Railroad embankment, and cut slopes, shall not be disturbed any more than necessary to accommodate the construction and shall be left in a stabilized condition.

g. 	Railroad ditches, culverts and roadways shall be kept clean and free of rock, gravel, construction debris and equipment at all times.

13.  Railroad Inspectors.

a. 	The Railroad may furnish an inspector during the periods of construction on Railroad Property.  The Railroad inspector will inspect the removal and replacement of tracks, excavation, backfill, necessary bridging for tracks, shoring, flagging, lighting, clearances, etc., when necessary.  The Railroad inspector will work directly with the representative of the Department and the decision of the Railroad inspector in matters pertaining to Railroad operations and safety shall be final.  In the event more than one shift is worked, a Railroad inspector will be required for each shift.  Presence or absence of a Railroad inspector shall not relieve the Contractor of liability for damage done to property of the Railroad, Railroad lessees or permittees having installations on Railroad Property.

14.  Use of Explosives.

a. 	The use of explosives shall be done in compliance with all applicable Federal, State and local laws and ordinances regarding the same.

b. 	No blasting of any kind will be permitted unless the Contractor thoroughly safeguards the movement of trains and other rail traffic and personnel in the area where such blasting is being conducted.  Before blasting, Railroad flag protection in accordance with Subsection 107-1.08.5., shall be provided on each side of the blast area by the Contractor.  This flag protection shall not be removed until the track is inspected for damage from the blast.

c. 	The Contractor will notify the Alaska Railroad Inspector and the Engineer of the exact time of each blast at least two hours in advance.

15.  Snow Removal.

a. 	Snow removal operations shall be conducted in such a manner as to not place snow (1) upon the tracks of the Railroad, (2) where it interferes with the normal operation of the automatic crossing signals, (3) impairs the visibility of either highway or rail traffic at the crossing.

b. 	Snow removal operations shall be conducted in accordance with Subsection 107-1.08.5.

16.  Clean-Up.

a. 	At all times, all work and activities on the Facility shall be accomplished in such a manner as to keep the Railroad Property in a neat and orderly condition satisfactory to the Railroad.

b. 	Upon completion of work, all equipment and unused materials shall be removed and the Railroad Property shall be left in a neat and clean condition satisfactory to the Railroad.

c. 	Should the Contractor or subcontractor fail to comply with Subsections 107-1.08.16.a. and 16.b., the Railroad may perform the required clean-up.  All Railroad costs and expenses for performing this work shall be collected from the Contractor.

17.  Payment Guarantee.

a. 	The Department shall withhold 10 percent of the Contract price or $10,000, whichever is smaller, from the final payment to apply against damages or other direct costs which may be assessed by the Railroad as a result of the Contractor's operations.

b. 	The amount withheld above shall not be released until after the Department has received a written statement from the Railroad's Contracting Officer agreeing to release the payment.  (05/07/91)S2

107-1.11 PROTECTION AND RESTORATION OF PROPERTY AND LANDSCAPE.  Add the following:  If required water for construction purpose from a nonmunicipal water source, obtain a Temporary Water Use Permit from the Water Resource Manager, and provide a copy to the Engineer. The Water Resource Manager is with the Department of Natural Resources in Anchorage and may be contacted at (907) 269-8624.  (05/29/02)R7M98

Standard Modification

107-1.11 PROTECTION AND RESTORATION OF PROPERTY AND LANDSCAPE. Add the following paragraphs:

  - Restoring Areas. Areas used by the Contractor, including haul routes, shall be restored to their original condition after the Contractor’s operations are completed.  The original condition of an area shall be determined as follows:  Prior to commencement of operations, the Engineer and the Contractor shall inspect each area and haul route that will be used by the Contractor and take photographs to document their condition.  After construction operations are completed, the condition of each area and haul route will be compared to the earlier photographs.  Prior to demobilization the Contractor shall repair damages attributed to its operations.  The Contractor agrees that all costs associated with repairs shall be subsidiary to other items of work and will not be paid for directly.

  - Material Disposal Sites. Offsite disposal areas may be at locations of the Contractor’s choice, provided the Contractor obtains from the owner of such land written permission for such dumping and a waiver of all claims against the State for any damage to such land which may result therefrom, together with all permits required by law for such dumping.  A copy of such permission, waiver of claims, and permits shall be filed with the Engineer before commencing work on private property.  The Contractor’s selected disposal sites shall also be inspected and approved by the Engineer prior to use of the sites.

E35(01/27/07)

Add the following subsection:

107-1.21 FEDERAL AFFIRMATIVE ACTION.  The Federal Equal Employment Opportunity, Disadvantaged Business Enterprise, and On-the-Job Training affirmative action program requirements that are applicable to this Contract are contained in the project Special Provisions and Contract Forms, and may include:

Disadvantaged Business Enterprise (DBE) Program	Section 120

Training Program	Section 645

Federal EEO Bid Conditions	Form 25A-301

EEO-1 Certification	Form 25A-304

DBE Subcontractable Items	Form 25A-324

ADOT&PF Training Program Request	Form 25A-310

# Training Utilization Report	Form 25A-311

Contact Report	Form 25A-321A

DBE Utilization Report	Form 25A-325C

Summary of Good Faith Effort Documentation	Form 25A-332A

Required Contract Provisions, Federal-Aid Contracts	Form 25D-55

In addition to the sanctions provided in the above references, non-compliance with these requirements is grounds for withholding of progress payments.  (01/22/02)S80

SECTION 108

PROSECUTION AND PROGRESS

### Special Provision

108-1.01 SUBLETTING OF CONTRACT. Delete paragraph four and replace with the following:

Submit the Contractor Self Certification for Subcontractors and Lower Tier Subcontractors, Form 25D-042, before the Contractor or a subcontractor sublets any portion of the Contract.  The certification will be accepted by the Department in lieu of written approval of subcontracts.  The Department maintains the authority to review subcontracts, require prior written approval of subcontracts, and to deny permission to sublet work.  The Department may penalize the Contractor for false statements or omissions made in connection with Form 25D-042.

1.   	The Contractor shall ensure the following for each subcontract (agreement):

  - The Department is furnished with one completed Contractor Self certification, Form   25D-042, and two copies of the subcontract signed by both parties and including item descriptions and prices of subcontracted work before the subcontracted work begins;

  - The subcontractors have submitted a Bidder Registration, Form 25D-6;

  - The required prompt payment provisions of AS 36.90.210, as well as other items listed in Form 25D-042, are included in the subcontracts;

  - The subcontractors pay current prevailing rate of wages according to subsection 107-1.04 and file certified payrolls with the Engineer and DOLWD for work performed on the project; and

  - Upon receipt of a request for more information regarding subcontracts, the requested information is provided to the Department within 5 calendar days.

R57(01/02/08)

Special Provision

108-1.03 PROSECUTION AND PROGRESS.  Delete the last sentence of the first paragraph and substitute the following:  Submit the following at the Preconstruction Conference:

Delete item 1. A progress schedule. and substitute the following:

1.	  A Critical Path Method (CPM) Schedule is required, in a format acceptable to the Engineer, showing the order the work will be carried out and the contemplated dates the Contractor,  subcontractors, and utility companies will start and finish each of the salient features of the work, including scheduled periods of shutdown.  Indicate anticipated periods of multiple shift work in the CPM Schedule.  Revise to the proposed CPM Schedule promptly.  Promptly submit a revised CPM Schedule if there are substantial changes to the schedule, or upon request of the Engineer.

(12/13/02)R261M98

SECTION 109

MEASUREMENT AND PAYMENT

Special Provisions

109-1.02 MEASUREMENT OF QUANTITIES.  Under subtitle Electronic Computerized Weighing System item (1) add the following to the end of the first sentence:  “, CD, or a USB device.”

109-1.05 COMPENSATION FOR EXTRA WORK.

Under item 3.  Equipment, item a. add the following to the second paragraph: The rental rate area adjustment factors for this project shall be as specified on the adjustment maps for the Alaska - South Region.

(4/31/05)R14

Standard Modification

109-1.08 FINAL PAYMENT.  Add the following sentence to the first paragraph:

The Department will not process the final estimate until the Contractor completes Items 1 through 4 in the first paragraph of subsection 105-1.16.

E11(6/30/04)

Add the following Section:

SECTION 120

DISADVANTAGED BUSINESS ENTERPRISE (DBE) PROGRAM

120-1.01 DESCRIPTION.  The work consists of providing Disadvantaged Business Enterprises (DBEs), as defined in Title 49, CFR (Code of Federal Regulations), Part 26, with the opportunity to participate on an equitable basis with other contractors in the performance of contracts financed in whole, or in part, with federal funds.  The Contractor or subcontractor shall not discriminate on the basis of race, color, national origin, or sex in the performance of this Contract.  Carry out applicable requirements of 49 CFR Part 26 in the award and administration of USDOT assisted contracts.

120-1.02 INTERPRETATION.  It is the intent of this section to implement the requirements of 49 CFR, Part 26, and the Department's federally approved DBE Program.

120-1.03 ESSENTIAL CONTRACT PROVISION.  Failure to comply with the provisions of this section will be considered a material breach of Contract, which may result in the termination of this Contract or such other remedy as the Department deems appropriate.  The Department also considers failure to comply with this section to be so serious as to justify debarment action as provided in AS 36.30.640(4).

120-1.04 DEFINITIONS AND TERMS.  The following definitions will apply.

- Broker.  A DBE certified by the Department that arranges for the delivery or provision of creditable materials, supplies, equipment, transportation/hauling, insurance, bonding, etc., within its certified category, that is necessary for the completion of the project.  A broker of materials certified in a supply category must be responsible for scheduling the delivery of materials and fully responsible for ensuring that the materials meet Specifications before credit will be given.

- Commercially Useful Function (CUF).  The execution of the work of the Contract by a DBE carrying out its responsibilities by actually performing, managing, and supervising the work involved using its own employees and equipment.  The DBE shall be responsible, with respect to materials and supplies used on the Contract, for negotiating price, determining quality and quantity, ordering the material, and installing (where applicable) and paying for the material itself.  To determine whether a DBE is performing a commercially useful function, an evaluation of the amount of work subcontracted, industry practices, whether the amount the firm is to be paid under the Contract is commensurate with the work it is actually performing and the DBE credit claimed for its performance of the work. Other relevant factors will be considered.  The determination of CUF is made by the Engineer after evaluating the way in which the work was performed during the execution of the Contract.

- Disadvantaged Business Enterprise (DBE).  An enterprise which is a for-profit small business concern

- that is at least 51 percent owned by one or more individuals who are both socially and economically disadvantaged or, in the case of a corporation, in which 51 percent of the stock is owned by one or more such individuals;

- whose management and daily business operations are controlled by one or more of the socially and economically disadvantaged individuals who own it; and

- has been certified by the Department in accordance with 49 CFR, Part 26.

- DBE Key Employee. Permanent employees identified by the DBE owner in its certification file in the Department Civil Rights Office.

- DBE Utilization Goal.  The percent of work to be performed by certified DBEs that is established by the Department and specified in the Contract.

- Good Faith Efforts.  Efforts by the bidder or Contractor to achieve a DBE goal or other requirement of 49 CFR Part 26, by their scope, intensity, and appropriateness to the objective, that can reasonably be expected to fulfill the program requirement.

- Manufacturer.  A DBE certified by the Department in a supply category that changes the shape, form, or composition of original material in some way and then provides that altered material to the project and to the general public or the construction industry at large on a regular basis.

- Notification.  For purposes of soliciting DBE participation on a project and to count toward a Contractor’s Good Faith Efforts, notification shall be by letter or fax transmission, with a return receipt requested or successful transmission report. Telephonic contact with a DBE may be allowed, however it shall be based on the ability of Civil Rights staff to independently verify this contact.

- Regular Dealer.  A DBE certified by the Department in a supply category that

- maintains an in-house inventory on a regular basis of the particular product provided to this project; and

- keeps an inventory in an amount appropriate for the type of work using that product; and

- offers that inventory for sale to the general public or construction industry at large (private and public sectors), not just supplied as needed on a project by project basis during the construction season, except where the product requires special or heavy equipment for delivery and the DBE possesses and operates this equipment on a regular basis throughout the construction season in order to deliver the product to the general public or construction industry at large.  If the distribution equipment is rented or leased, it must be on a repetitive, seasonal basis; and may additionally

- fabricate (assembles large components) for use on a construction project, consistent with standard industry practice, for delivery to the project.

120-2.01 UTILIZATION GOAL.  The DBE Utilization Goal for this Contract is shown on Form 25A324 (DBE Subcontractable Items) as a percentage of the total basic bid amount.  A DBE may be considered creditable towards meeting the DBE Utilization Goal at time of Contract award, if the DBE is certified by the Department in a category covering the CUF to be performed at the time of listing on Form 25A325C (DBE Utilization Report).

A bidder shall demonstrate the ability to meet the DBE Utilization Goal or perform and document all of the required Good Faith Efforts under Subsection 120-3.02 in order to be eligible for award of this Contract.

If the quantity of work of a bid item involving a DBE firm is reduced by the Department, the DBE Utilization Goal on Form 25A325C will be reduced proportionately.

120-3.01 DETERMINATION OF COMPLIANCE.

- Phase I - Bid.  Each bidder must register with the Civil Rights Office annually in accordance with §§26.11 & 26.53(b)(2)(iv) of 49 CFR, Part 26.  No Contract may be awarded to a bidder that is not registered.

- Phase II - Award.  The apparent low bidder will provide the following within 15 days of receipt of notice of intent to award:

- Written DBE Commitment.  Written commitments from DBEs to be used on the project. The written commitment shall contain the following information:

- A description of the work that each DBE will perform;

- The dollar amount of participation by the DBE firm;

- Written documentation of the bidder/offeror’s commitment to use a DBE subcontractor whose participation it submits to meet a Contract goal; and

- Written confirmation from the DBE that it is participating in the Contract as provided in the prime Contractor’s commitment.

- DBE Utilization Report.  Form 25A325C listing the certified DBEs to be used to meet the DBE Utilization Goal.

- Good Faith Effort Documentation.  Summary of Good Faith Effort Documentation (Form 25A332A and attachments) and DBE Contact Reports (Form 25A321A) if the Contractor submits less DBE utilization on Form 25A325C than is required to meet the DBE Utilization Goal.  If accepted by the Department, this lower DBE utilization becomes the new DBE Utilization Goal. If the bidder cannot demonstrate the ability to meet the DBE Utilization Goal, and cannot document the minimum required Good Faith Efforts (as outlined in Subsection 120-3.02 below), the Contracting Officer will determine the bidder to be not responsible.

- Phase III - Construction.

- Designation of DBE/EEO Officer.  At the preconstruction conference, submit, in writing, the designation of a DBE/EEO officer.

- DBE Creditable Work.  The CUF work items and creditable dollar amounts shown for a DBE on the DBE Utilization Report (Form 25A325C) shall be included in any subcontract, purchase order or service agreement with that DBE.

- DBE Replacement.  If a DBE replacement is approved by the Engineer, replace the DBE with another DBE for the same work in order to fulfill its commitment under the DBE Utilization Goal.  In the event the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer and the Civil Rights Office, both of the following criteria have been met:

- The Contractor has not committed any discriminatory practice in its exercise of good business judgement to replace a DBE.

- If the Contractor is unable to find replacement DBE participation and has adequately performed and documented the Good Faith Effort expended in accordance with Subsection 120-3.02.

- DBE Utilization Goal.  The DBE Utilization Goal will be adjusted to reflect only that amount of the DBE's work that cannot be replaced.

120-3.02 GOOD FAITH EFFORT.

- Good Faith Effort Criteria.  The Contracting Officer will use the following criteria to judge if the bidder, who has not met the DBE Utilization Goal, has demonstrated sufficient Good Faith Effort to be eligible for award of the Contract.

Failure by the bidder to perform and document the following actions constitutes insufficient Good Faith Effort.

- Consideration of all subcontractable items.  The bidder shall, at a minimum, seek DBE participation for each of the subcontractable items upon which the DBE goal was established as identified by the Department (on Form 25A324) prior to bid opening.  It is the bidder’s responsibility to make the work listed on the subcontractable items list available to DBE firms, to facilitate DBE participation.

- If the bidder cannot achieve the DBE Utilization Goal using the list of available DBE firms based on the subcontractable items list, then the bidder may consider other items that could be subcontracted to DBEs.

- Notification to all active DBEs listed for a given region in the Department's most current DBE Directory at least 7 calendar days prior to bid opening.  The bidder must give the DBEs no less than 5 days to respond.  The bidder may reject DBE quotes received after the deadline.  Such a deadline for bid submission by DBEs will be consistently applied.  DBEs certified to perform work items identified on Form 25A324 must be contacted to solicit their interest in participating in the execution of work with the Contractor.  Each contact with a DBE firm will be logged on a Contact Report (Form 25A321A).

- Non-competitive DBE quotes may be rejected by the bidder.  Allegations of non-competitive DBE quotes must be documented and verifiable.  A DBE quote that is more than 10 percent higher than the accepted non-DBE quote will be deemed non-competitive, provided the DBE and non-DBE subcontractor quotes are for the exact same work or service.  Bidders must have a non-DBE subcontractor quote for comparison purposes.  Such evidence shall be provided in support of the bidder’s allegation.  Where the bidder rejects a DBE quote as being non-competitive under this condition, the work must be performed by the non-DBE subcontractor and payments received by the non-DBE subcontractor during the execution of the Contract shall be consistent with the non-DBE's accepted quote. This does not preclude increases as a result of Change documents issued by the Department.

- Provision of assistance to DBEs who need help in obtaining information about bonding or insurance required by the bidder.

- Provision of assistance to DBEs who need help in obtaining information about securing equipment, supplies, materials, or related assistance or services.

- Providing prospective DBEs with adequate information about the requirements of the Contract regarding the specific item of work or service sought from the DBE.

- Follow-up of initial notifications by contacting DBEs to determine whether or not they will be bidding.  Failure to submit a bid by the project bid opening or deadline by the bidder is de facto evidence of the DBE’s lack of interest in bidding.  Documentation of follow-up contacts shall be logged on the Contact Report (Form 25A321A).

- Items c through h will be utilized to evaluate any request from the Contractor for a reduction in the DBE Utilization Goal due to the default or decertification of a DBE and the Contractor's subsequent inability to obtain additional DBE participation.

- Administrative Reconsideration.  Under the provisions of 49 CFR. Part 26.53(d), if it is determined that the apparent successful bidder has failed to meet the requirements of this subsection, the bidder must indicate whether they would like an opportunity for administrative reconsideration.  The bidder must exercise such an opportunity within 3 calendar days of notification it has failed to meet the requirements of this subsection. As part of this reconsideration, the bidder must provide written documentation or argument concerning the issue of whether it met the goal or made adequate good faith efforts to do so.

- The decision on reconsideration will be made by the DBE Liaison Officer.

- The bidder will have the opportunity to meet in person with the DBE Liaison Officer to discuss the issue of whether it met the goal or made adequate good faith efforts to do so.  If a meeting is desired, the bidder must be ready, willing and able to meet with the DBE Liaison Officer within 4 days of notification that it has failed to meet the requirements of this subsection.

- The DBE Liaison Officer will render a written decision on reconsideration and provide notification to the bidder.  The written decision will explain the basis for finding that the bidder did or did not meet the goal or make adequate good faith efforts to do so.

- The result of the reconsideration process is not administratively appeal able to US DOT.

120-3.03 COMMERCIALLY USEFUL FUNCTION (CUF).

- Creditable Work.  Measurement of attainment of the DBE Utilization Goal will be based upon the actual amount of money received by the DBEs for creditable CUF work on this project as determined by the Engineer in accordance with this Section.  CUF is limited to that of a:

- regular dealer;

- manufacturer;

- broker;

- subcontractor;

- joint-venture; or

- prime contractor.

- Determination of Commercially Useful Function.  In order for the CUF work of the DBE to be credited toward the goal, the Contractor will ensure the following requirements are met:

- The CUF performed by a DBE certified in a supply category will be evaluated by the Engineer to determine whether the DBE performed as either a broker, regular dealer, or manufacturer of the product provided to this project.

- A DBE trucking firm certified and performing work in a transportation/hauling category is restricted to credit for work performed with its own trucks and personnel certified with the CRO prior to submitting a bid to a contractor for DBE trucking.  The DBE trucking firm must demonstrate that it owns all trucks (proof of title and/or registration) to be credited for work and that all operators are employed by the DBE trucking firm.  A DBE trucking firm that does not certify its trucks and personnel that it employs on a job will be considered a broker of trucking services and limited to credit for a broker.  (This does not effect the CUF of that same firm, when performance includes the hauling of materials for that work.)

- The DBE is certified in the appropriate category at the time of

- the Engineer's approval of the DBE subcontract, consistent with the written DBE commitment; and

- the issuance of a purchase order or service agreement by the Contractor to a DBE performing as either a manufacturer, regular dealer, or broker (with a copy to the Engineer).

- The Contractor will receive credit for the CUF performed by DBEs as provided in this Section.  Contractors are encouraged to contact the Engineer in advance of the execution of the DBE's work or provision of goods or services regarding CUF and potential DBE credit.

- The DBE may perform work in categories for which it is not certified, but only work performed in the DBE's certified category meeting the CUF criteria may be credited toward the DBE Utilization Goal.

- The work of the DBE firm must meet the following criteria when determining when CUF is being performed by the DBE:

- The work performed will be necessary and useful work required for the execution of the Contract.

- The scope of work will be distinct and identifiable with specific Contract items of work, bonding, or insurance requirements.

- The work will be performed, controlled, managed, and supervised by employees normally employed by and under the control of the certified DBE.  The work will be performed with the DBE’s own equipment. Either the DBE owner or DBE key employee will be at the work site and responsible for the work.

- The manner in which the work is sublet or performed will conform to standard, statewide industry practice within Alaska, as determined by the Department.  The work or provision of goods or services will have a market outside of the DBE program (must also be performed by non-DBE firms within the Alaskan construction industry).  Otherwise, the work or service will be deemed an unnecessary step in the contracting or purchasing process and no DBE credit will be allowed.

There will be no DBE credit for lower-tier non-DBE subcontract work.

- The cost of the goods and services will be reasonable and competitive with the cost of the goods and services outside the DBE program within Alaska.  Materials or supplies needed as a regular course of the Contractor's operations such as fuel, maintenance, office facilities, portable bathrooms, etc. are not creditable.

The cost of materials actually incorporated into the project by a DBE subcontractor is creditable toward the DBE goal only if the DBE is responsible for ordering and scheduling the delivery of creditable materials and fully responsible for ensuring that the materials meet Specifications.

- Subcontract work, with the exception of truck hauling, will be sublet by the same unit of measure as is contained in the Bid Schedule unless prior written approval of the Engineer is obtained.

- The DBE will control all business administration, accounting, billing, and payment transactions.  The prime contractor will not perform the business, accounting, billing, and similar functions of the DBE.  The Engineer may, in accordance with AS 36.30.420(b), inspect the offices of the DBE and audit the records of the DBE to assure compliance.

- On a monthly basis, report on Form 25A336 (Monthly Summary of DBE Participation) to the Department Civil Rights Office the payments made (canceled checks or bank statements that identify payor, payee, and amount of transfer) for the qualifying work, goods and services provided by DBEs.

- Decertification of a DBE.  Should a DBE performing a CUF become decertified during the term of the subcontract, purchase order, or service agreement for reasons beyond the control of and without the fault or negligence of the Contractor, the work remaining under the subcontract, purchase order, or service agreement may be credited toward the DBE Utilization Goal.

Should the DBE be decertified between the time of Contract award and the time of the Engineer's subcontract approval or issuance of a purchase order or service agreement, the work of the decertified firm will not be credited toward the DBE Utilization Goal.  The Contractor must still meet the DBE Utilization Goal by either

- withdrawing the subcontract, purchase order or service agreement from the decertified DBE and expending Good Faith Effort (Subsection 120-3.02, items c through h) to replace it with one from a currently certified DBE for that same work or service through subcontractor substitution (Subsection 103-1.01); or

- continuing with the subcontract, purchase order or service agreement with the decertified firm and expending Good Faith Effort to find other work not already subcontracted out to DBEs in an amount to meet the DBE Utilization Goal through either

- increasing the participation of other DBEs on the project;

- documenting Good Faith Efforts (Subsection 120-3.02, items c through h); or

- by a combination of the above.

- DBE Rebuttal of a Finding of No CUF.  Consistent with the provisions of 49 CFR, Part 26.55(c)(4)&(5), before the Engineer makes a final finding that no CUF has been performed by a DBE firm the Engineer will coordinate notification of the presumptive finding through the Civil Rights Office to the Contractor, who will notify the DBE firm.

The Engineer, in cooperation with the Civil Rights Office, may determine that the firm is performing a CUF if the rebuttal information convincingly demonstrates the type of work involved and normal industry practices establishes a CUF was performed by the DBE. Under no circumstances shall the Contractor take any action against the DBE firm until the Engineer has made a final determination.  The Engineer’s decisions on CUF matters are not administratively appeal able to US DOT.

120-3.04 DEFAULT OF DBE.  In the event that a DBE firm under Contract or to whom a purchase order or similar agreement has been issued defaults on their work for whatever reason, immediately notify the Engineer of the default and the circumstances surrounding the default.

Take immediate steps, without any order or direction from the Engineer, to retain the services of other DBEs to perform the defaulted work.  In the event that the Contractor cannot obtain replacement DBE participation, the Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer, the following criteria have been met:

1.	The Contractor was not at fault or negligent in the default and that the circumstances surrounding the default were beyond the control of the Contractor; and

- The Contractor is unable to find replacement DBE participation at the same level of DBE commitment and has adequately performed and documented the Good Faith Effort expended in accordance with items c through h of subsection 120-3.02 for the defaulted work; or

- It is too late in the project to provide any real subcontracting opportunities remaining for DBEs.

The DBE Utilization Goal will be adjusted to reflect only that amount of the defaulted DBE's work that cannot be replaced.

120-4.01 METHOD OF MEASUREMENT.  The Contractor will be entitled to count toward the DBE Utilization Goal those monies actually paid to certified DBEs for CUF work performed by the DBE as determined by the Engineer.  The Contractor will receive credit for the utilization of the DBEs, as follows:

- Credit for the CUF of a DBE prime contractor is 100 percent of the monies actually paid to the DBE under the Contract for creditable work and materials in accordance with 49 CFR 26.55.

- Credit for the CUF of a subcontractor is 100 percent of the monies actually paid to the DBE under the subcontract for creditable work and materials.  This shall include DBE trucking firms certified as a subcontractor and not a broker.  Trucks leased from another DBE firm shall also qualify for credit and conforms to the provisions of 49 CFR 26.55(d).

- Credit for the CUF of a manufacturer is 100 percent of the monies paid to the DBE for the creditable materials manufactured.

- Credit for the CUF of a regular dealer of a creditable material, product, or supply is 60 percent of its value.  The value will be the actual cost paid to the DBE but will not exceed the bid price for the item.

- Credit for the CUF of a broker performed by a DBE certified in a supply category for providing a creditable material, product or supply is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5 percent of the cost of the procurement Contract for the creditable item.

- Credit for the CUF of a broker performed by a DBE certified in the transportation/hauling category for arranging for the delivery of a creditable material, product or supply is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5 percent of the cost of the hauling subcontract.

- Credit for the CUF of a broker performed by a DBE certified in a bonding or insurance category for arranging for the provision of insurance or bonding is limited to a reasonable brokerage fee.  The brokerage fee will not exceed 5 percent of the premium cost.

- Credit for the CUF of a joint venture (JV) (either as the prime contractor or as a subcontractor) may not exceed the percent of the DBE's participation in the joint venture agreement, as certified for this project by the Department.  The DBE joint venture partner will be responsible for performing all of the work as delineated in the certified JV agreement.

120-5.01 BASIS OF PAYMENT.  Work under this item is subsidiary to other Contract items and no payment will be made for meeting or exceeding the DBE Utilization Goal.

If the Contractor fails to utilize the DBEs listed on Form 25A325C as scheduled or fails to submit required documentation to verify proof of payment or documentation requested by the Department to help in the determination of CUF, the Department will consider this to be unsatisfactory work.  If the Contractor fails to utilize Good Faith Efforts to replace a DBE, regardless of fault (except for subsection 120-3.04 item 3), the Department will also consider this unsatisfactory work.  Unsatisfactory work may result in disqualification of the Contractor from future bidding under subsection 102-1.13 and withholding of progress payments consistent with subsection 109-1.06.

(11/17/00)S33

SECTION 201

CLEARING AND GRUBBING

Special Provision

201-1.01 DESCRIPTION.  Add the following:  Clearing and Grubbing won’t be allowed between May 1 to July 15 of any year.

SECTION 202

REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Special Provision

202-1.01 DESCRIPTION.  Add the following:  This work shall also include the removal of gas pipe, removal of storage tanks (either fuel or septic) and the abandonment of ground water wells.

202-3.01 GENERAL.  Add the following:  The removal of buildings, foundations, and structures shall include removal of utility lines, sidewalks, and other attached appurtenances.

Buildings being removed may contain asbestos.  Take special handling measures when removing this material.

Cut the ends of retaining walls to remain after partial removal neat and true with no shatter outside the removal area.

Remove septic or fuel tanks according to the Department of Environmental Conservation (DEC) regulations.  Remove or abandon wells according to DEC regulations.

202-3.01 GENERAL.  Add the following:  Remove fences designated by the Engineer to the right-of-way limit, or to the end of the span beyond the right-of-way limit.  These materials must be made available to the adjacent property owners for salvage at their discretion, otherwise fencing materials removed will become the property of the Contractor. Coordinate with individual property owners before beginning fence removals.

202-3.04 REMOVAL OF PIPE.  Add the following:  During project construction, ENSTAR Natural Gas Company will abandon existing gas pipelines.  Follow the procedures given in subsection 105-1.06 Cooperation With Utilities, when working around gas pipelines until they have been abandoned.  Once the pipelines are abandoned, remove abandoned natural gas pipe within the right-of-way that are in conflict with the work and dispose of pipes off the project limits.

202-3.05 REMOVAL OF PAVEMENT, SIDEWALKS, AND CURBS.  Add the following:  Pavement removed may be used for embankment construction if it is not exposed at the completed embankment surface.  The maximum allowable dimension of the broken asphalt pieces is 6 inches.

Obtain a solid waste disposal permit from DEC or use a site previously approved by DEC for disposal of removed asphalt if not using it in the embankment.  A DEC permitting officer in Anchorage may be contacted at (907) 269-7590.

(03/29/01)R84USC

202-5.01 BASIS OF PAYMENT.  Add the following:

Item 202(3) . Removal of Sidewalk will be paid at the unit price for Item 202(2) Removal of Pavement. No duplicate measurement or payment will be made for this work.

Item 202(16).  At the Contract unit price for the length of pipe removed, regardless of size.  Payment includes full compensation for labor, materials, and equipment required to remove and dispose of the pipes as shown in the Plans.

Item 202(18).  At the Contract lump sum price for each tank removed and disposed of according to DEC regulations.  Payment includes full compensation for labor, materials, necessary excavation, purging, processing, or removing fuel contaminated soils around the tanks, and backfilling the resultant hole.

Item 202(23).  At the Contract unit price  for each well capped according to DEC regulations.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 202(16) | Removal of Gas Pipe | Linear Foot |

(10/24/02)R112USC

SECTION 203

EXCAVATION AND EMBANKMENT

203-5.01 BASIS OF PAYMENT. Add the following: Borrow will be paid for by the type specified in the plans, and as shown in the bid schedule.

Add the following pay items:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 203(6A) | Borrow, Type A | Ton |

SECTION 204

STRUCTURE EXCAVATION FOR CONDUITS

AND MINOR STRUCTURES

Special Provisions

204-3.01 CONSTRUCTION REQUIREMENTS.  Add the following after the third paragraph:  Excavation, bedding, backfill, and compaction for culverts outside the roadbed may be visually inspected and approved by the Engineer.  R204(2/6/08)

Standard Modification

204-3.01 CONSTRUCTION REQUIREMENTS.  In the first sentence of paragraph four, delete: “bedding and”

E37(01/27/07)

SECTION 205

EXCAVATION , BACKFILL, AND

FOUNDATION FILL FOR MAJOR STRUCTURES

205-4.01 METHOD OF MEASUREMENT. In the numbered paragraph 2. Foundation Fill, delete the first sentence and add the following:  Item 205(3) Foundation Fill won’t measured for payment except, if required, borrow material will be measured under section 203 using the appropriate pay item for the class of material specified. Duplication of measurement or payment under these sections won’t be allowed.

In the numbered paragraph 3. Porous Backfill Material, add the following: All Porous Backfill Material will be measured and paid under section 605. Duplication of measurement or payment under these sections won’t be allowed.

Add the following:  All work or materials measured for item 205(1) Excavation for Structures will be measured under section 203 as Unclassified Excavation. Duplication of measurement or payment under these sections won’t be allowed.

## SECTION 301

AGGREGATE BASE AND SURFACE COURSE

## Special Provisions

301-2.01 MATERIALS.  Add the following after the first sentence:  Recycled asphalt material (RAM) may be substituted for aggregate base course, inch for inch, if the following conditions are met:

1.	RAM shall be crushed or processed to 100 percent by weight passing the 1.5 inch sieve and 95-100 percent by weight passing the 1 inch sieve.

2.	The gradation of the extracted aggregate shall meet the following:

| # Sieve | Percent Passing by Weight |
| --- | --- |
| 1 inch | 100 |
| 3/4 inch | 70-100 |
| 3/8 inch | 42-90 |
| No. 4 | 28-78 |
| No. 16 | 11-54 |
| No. 50 | 5-34 |
| No. 100 | 3-22 |
| No. 200 | 2-12 |

3.	The asphalt content shall be 2.5 - 5.0 percent by weight of the RAM.

301-3.01 PLACING.  Add the following:  Base course material used for the sidewalk and pathway foundation shall be placed with a "Layton box" or similar equipment capable of providing a specified depth with a uniform surface.  (09/01/89)R26

301-3.03 SHAPING AND COMPACTION.  Add the following:  If recycled asphalt material is substituted for aggregate base course, the following conditions shall be met:

1.	Density acceptance will be based upon a roller pattern.  Use a test strip with a vibratory compactor with a minimum dynamic force of 40,000 pounds.  The optimum density will be determined by the Engineer using a nuclear densometer gauge to monitor the test strip.  Adequate water shall be added to aid compaction.

2.	After the appropriate coverage with the vibratory compactor, a minimum of 6 passes with a pneumatic tire roller shall be completed.  Tires shall be inflated to 80 psi (± 5 psi), and the roller shall have a minimum operating weight per tire of 3,000 pounds.

301-5.01 BASIS OF PAYMENT.  Add the following:  If recycled asphalt material is substituted for aggregate base course, it will be paid for as Item 301(1) Aggregate Base Course at the unit price shown on the bid schedule for that item.

(11/05/02)R176USC02

SECTION 306

ASPHALT TREATED BASE COURSE

306-5.01 BASIS OF PAYMENT. Add the following: Asphalt Cement used for ATB will be paid under item 401(2).

Replace Section 401 with the following:

SECTION 401

HOT MIX ASPHALT AND SURFACE TREATMENTS

401-1.01 DESCRIPTION. Construct one or more layers of plant-mixed hot asphalt concrete pavement on an approved surface, to the lines, grades, and depths shown on the Plans.

###### MATERIALS

401-2.01 COMPOSITION OF MIXTURE - JOB MIX DESIGN. Meet the requirements of Table 401-1 for the Job Mix Design performed according to ATM 417.

TABLE 401-1

hOT MIX Asphalt Design Requirements

| DESIGN PARAMETERS | CLASS “A” | CLASS “B” |
| --- | --- | --- |
| Stability, pounds | 1800 min. | 1200 min. |
| Flow, 0.01 inch | 8-14 | 8-16 |
| Voids in Total Mix, % | 3-5 | 3-5 |
| Compaction, number of blows each side of test specimen | 75 | 50 |
| Percent Voids Filled with Asphalt (VFA) | 65-75 | 65-78 |
| Asphalt Content, min. % | 5.0 | 5.0 |
| Dust-asphalt ratio* | 0.6-1.4 | 0.6-1.4 |
| Voids in the Mineral Aggregate (VMA), %, min. |  |  |
| Type I Type II Type III, IV | 12.0 13.0 14.0 | 11.0 12.0 13.0 |

*Dust-asphalt ratio is the percent of material passing the No. 200 sieve divided by the percent of effective asphalt (calculated by weight of mix).

The approved Job Mix Design will specify the target values for gradation, the target value for asphalt cement content, the Maximum Specific Gravity (MSG) of the hot mix asphalt, the additives, and the allowable mixing temperature range.

Target values for gradation in the Job Mix Design must be within the broad band limits shown in Table 703-3, for the type of hot mix asphalt specified.  For acceptance testing, hot mix asphalt concrete mixture will have the full tolerances in Table 401-2 applied.  Except the tolerances for the No. 200 sieve, the tolerance limits will apply even if they fall outside the broad band limits shown in Table 703-3.  The tolerance limits for the No. 200 sieve will be confined by the broad band shown in Table 703-3.  Tolerance limits will not be applied to the largest sieve specified.

Do not produce hot mix asphalt for payment until the Engineer approves the Job Mix Design.  Do not mix asphalt produced from different plants.

Use Hot Mix Asphalt Type II, Class B, minimum, for temporary pavement.

Submit the following to the Engineer at least 15 days before the production of hot mix asphalt:

1.	A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process quality control information, and the blend ratio of each aggregate stockpile.  The proposed gradation must meet the requirements of Table 703-3 for each type of hot mix asphalt specified in the Contract.

2.	Representative samples of each aggregate (coarse, intermediate, fine, and blend material and/or mineral filler, if any) in the proportions required for the proposed mix design. Furnish a total of 500 pounds of material.

3.	Five separate 1-gallon samples of the asphalt cement proposed for use in the hot mix asphalt.  Include name of product, manufacturer, test results of the applicable quality requirements of subsection 702-2.01, manufacturer's certificate of compliance according to subsection 106-1.05, a temperature viscosity curve for the asphalt cement or manufacturer's recommended mixing and compaction temperatures, and current Material Safety Data Sheet.

4.	One sample, of at least 1/2 pint, of the anti-strip additive proposed, including name of product, manufacturer, and manufacturer's data sheet, and current Material Safety Data Sheet.

The Engineer will then evaluate the material and the proposed gradation using ATM 417 and the requirements of Table 401-1 for the appropriate type and class of hot mix asphalt specified and establish the approved Job Mix Design that will become a part of the Contract.

No payment for hot mix asphalt for which a new Job Mix Design is required, will be made until the new Job Mix Design is approved.  Approved changes apply only to hot mix asphalt produced after the submittal of the changes.

Changes. Failure to achieve results conforming to Table 401-1 or changes in the source of asphalt cement, source of aggregates, aggregate quality, aggregate gradation, or blend ratio, will require a new Job Mix Design.  Submit changes and new samples in the same manner as the original submittal.

401-2.02 AGGREGATES. Conform to subsection 703-2.04.

Use a minimum of three stockpiles for crushed hot mix asphalt aggregate (coarse, intermediate, and fine).  Place blend material or mineral filler, if any, in a separate pile.

401-2.03 ASPHALT CEMENT. Provide the grade of asphalt cement specified in the Contract meeting the applicable requirements of Section 702.  If not specified, use PG 52-28.

Provide test reports for each batch of asphalt cement showing conformance to the specifications in Section 702 before delivery to the project.  Require that the storage tanks used for each batch be noted on the test report, the anti-strip additives required by the mix design be added during load out for delivery to the project, and a printed weight ticket for anti-strip is included with the asphalt cement weight ticket.  The location where anti-strip is added may be changed with the written approval of the Engineer.

Furnish the following documents at delivery:

1.                  Manufacturer’s certificate of compliance (106-1.05).

2.                  Conformance test reports for the batch (Section 702).

3.                  Batch number and storage tanks used.

4.                  Date and time of load out for delivery.

5.                  Type, grade, temperature, and quantity of asphalt cement loaded.

6.                  Type and percent of anti-strip added.

401-2.04 ANTI-STRIP ADDITIVES.  Use anti-strip agents in the proportions determined by ATM 414 and included in the approved Job Mix Design.  At least 70% of the aggregate must remain coated when tested according to ATM 414.

401-2.05 PROCESS QUALITY CONTROL.  Sample and test materials for quality control of the hot mix asphalt according to subsection 106-1.03.  Provide copies of these test results to the Engineer within 24 hours.

Failure to perform quality control forfeits the Contractor’s right to a retest under subsection 401-4.02.

Submit a paving and plant control plan at the pre-paving meeting to be held a minimum of 5 working days before initiating paving operations.  Address the sequence of operations and joint construction.  Outline steps to assure product consistency, to minimize segregation, and to prevent premature cooling of the hot mix asphalt.  Include a proposed quality control testing frequency for gradation, asphalt cement content, and compaction.

CONSTRUCTION REQUIREMENTS

401-3.01 WEATHER LIMITATIONS.  Do not place the hot mix asphalt on a wet surface, on an unstable/yielding roadbed, when the base material is frozen, or when weather conditions prevent proper handling or finishing of the mix.  Do not place hot mix asphalt unless the roadway surface temperature is 40 °F or warmer.

401-3.02 EQUIPMENT, GENERAL.  Use equipment in good working order and free of hot mix asphalt buildup.  Make equipment available for inspection and demonstration of operation a minimum of 24 hours before placement of hot mix asphalt.

401-3.03 ASPHALT MIXING PLANT.  Meet AASHTO M 156. Use an asphalt plant designed to dry aggregates, maintain accurate temperature control, and accurately proportion asphalt cement and aggregates.  Calibrate the asphalt plant and furnish copies of the calibration data to the Engineer at least 4 hours before hot mix asphalt production.

Provide a scalping screen at the asphalt plant to prevent oversize material or debris from being incorporated into the hot mix asphalt.

Provide a tap on the asphalt cement supply line just before it enters the plant (after the 3-way valve) for sampling asphalt cement.

Provide aggregate and asphalt cement sampling conditions meeting OSHA safety requirements.

401-3.04 HAULING EQUIPMENT. Haul hot mix asphalt in trucks with tight, clean, smooth metal beds, thinly coated with a minimum amount of paraffin oil, lime water solution, or an approved manufactured asphalt release agent.  Do not use petroleum fuel as an asphalt release agent.

Cover the hot mix asphalt in the hauling vehicle, when directed.

401-3.05 ASPHALT PAVERS.  Use self-propelled pavers equipped with a heated vibratory screed.  Control grade and cross slope with automatic grade and slope control devices.  Use an erected string line, a 30-foot minimum mobile stringline (ski), or other approved grade follower, to automatically actuate the paver screed control system.  Use grade control on either (a) both the high and low sides or (b) grade control on the high side and slope control on the low side.

Equip the paver with a receiving hopper having sufficient capacity for a uniform spreading operation.  Equip the hopper with a distribution system to place the hot mix asphalt uniformly in front of the screed.

Use a screed assembly that produces a finished surface of the required smoothness, thickness and texture without tearing, shoving or displacing the hot mix asphalt.  Heat and vibrate screed extensions.  Place auger extensions within 20 inches of the screed extensions or according to written manufacturer’s recommendations.

Equip the paver with a means of preventing the segregation of the coarse aggregate particles from the remainder of the bituminous plant mix when that mix is carried from the paver hopper back to the paver augers.  The means and methods used shall be approved by the paver manufacturer and may consist of chain curtains, deflector plates, or other such devices and any combination of these.

The following specific requirements apply to the identified bituminous pavers:

(1)              Blaw-Knox bituminous pavers shall be equipped with the Blaw-Knox Materials Management Kit (MMK).

(2)              Cedarapids bituminous pavers must have been manufactured in 1989 or later.

(3)              Caterpillar bituminous pavers shall be equipped with deflector plates.

The use of a “Layton Box” or equivalent towed paver is allowed on bike paths, sidewalks, and driveways.

401-3.06 ROLLERS.  Use both steel-wheel (static or vibratory) and pneumatic-tire rollers.  Operate rollers according to manufacturer's instructions.  Avoid crushing or fracturing of aggregate.  Use rollers designed to compact hot mix asphalt and reverse without backlash.

Use fully skirted pneumatic-tire rollers with a minimum operating weight of 3000 pounds per tire.

401-3.07 PREPARATION OF EXISTING SURFACE.  Prepare existing surfaces conforming to the Plans and Specifications.  Before applying tack coat to the existing surface, clean out loose material from cracks in existing pavement wider than 1 inch in width full depth then fill using asphalt concrete tamped in place.  Clean, wash, and sweep existing paved surfaces of loose material.

Preparation of a milled surface,

        Prelevel remaining ruts, pavement delaminations, or depressions having a depth greater than ½-inch with Asphalt Concrete, Type IV.  No density testing is required for the leveling course material.  The Engineer will inspect and accept this material.

        If planing breaks through existing pavement remove 2 inches of existing base and fill with Asphalt Concrete, Type II.  Notify the Engineer of pavement areas that might be considered thin or unstable during pavement removal.

Existing surface must be approved by the Engineer before applying tack coat.  Clean existing pave surfaces of loose material.

Before placing the hot asphalt mix, uniformly coat contact surfaces of curbing, gutters, sawcut pavement, cold joints, manholes, and other structures with tack coat material meeting Section 402.

Allow prime coat to cure and emulsion tack coat to break before placement of hot mix asphalt on these surfaces.

401-3.08 PREPARATION OF ASPHALT.  Provide a continuous supply of asphalt cement to the asphalt mixing plant at a uniform temperature, within the allowable mixing temperature range.

401-3.09 PREPARATION OF AGGREGATES.  Dry the aggregate so the moisture content of the hot mix asphalt, sampled at the point of acceptance for asphalt cement content, does not exceed 0.5% (by total weight of mix), as determined by WAQTC FOP for AASHTO T 329.

Heat the aggregate for the hot mix asphalt to a temperature compatible with the mix requirements specified.

Adjust the burner on the dryer to avoid damage to the aggregate and to prevent the presence of unburned fuel on the aggregate.  Hot mix asphalt concrete containing soot or fuel is considered unacceptable according to subsection 105-1.11.

401-3.10 MIXING.  Combine the aggregate, asphalt cement and additives in the mixer in the amounts required by the Job Mix Design.  Mix to obtain 98% coated particles when tested according to AASHTO T 195.

For batch plants, put the dry aggregate in motion before addition of asphalt cement.

Mix the hot mix asphalt within the temperature range determined by the Job Mix Design.

401-3.11 TEMPORARY STORAGE.  Silo type storage bins may be used, provided that the characteristics of the hot mix asphalt are not altered.  Signs of visible segregation, heat loss, changes from the Job Mix Design, change in the characteristics of asphalt cement, lumpiness, or stiffness of the hot mix asphalt are causes for rejection.

401-3.12 PLACING AND SPREADING.  Place the hot mix asphalt upon the approved surface, spread, strike off, and adjust surface irregularities.  Use asphalt pavers to distribute hot mix asphalt, including leveling courses.  The maximum compacted lift thickness allowed is 3 inches.

During placement, the Engineer may evaluate the hot mix asphalt immediately behind the paver for temperature uniformity.  Areas with temperature differences more than 25oF lower than the surrounding hot mix asphalt are likely to produce areas of low density.  Any thermal images and/or thermal profile data will become part of the project record and shared with the Contractor.  The Contractor shall immediately adjust laydown procedures to correct the problem.

Use hand tools to spread, rake, and lute the hot mix asphalt in areas where irregularities or unavoidable obstacles make the use of mechanical spreading and finishing equipment impracticable.

When the section of roadway being paved is open to traffic, pave adjacent traffic lanes to the same elevation within 24 hours.  Place approved material against the outside pavement edge when the drop off exceeds 2 inches.

When multiple lifts are specified in the Contract, do not place the final lift until all lower lifts throughout that section, as defined by the Paving Plan, are placed and accepted.

Do not pave against new Portland concrete curbing until it has cured for at least 72 hours.

Place hot mix asphalt over bridge deck membranes according to Section 508 and the manufacturer's specifications.

401-3.13 COMPACTION.  Thoroughly and uniformly compact the hot mix asphalt by rolling.  In areas not accessible to large rollers, compact with mechanical tampers or trench rollers.

The target value for density is 94% of the maximum specific gravity (MSG), as determined by WAQTC FOP for AASHTO T 209.  For the first lot of each type of hot mix asphalt, the Job Mix Design will determine the MSG.  For additional lots, the MSG will be determined by the sample from the first sublot of each lot.

Acceptance testing for density will be performed in according to WAQTC FOP for AASHTO T 166/T 275 using a 6-inch diameter core.  (Acceptance testing for density of leveling course or temporary pavement is not required.)

Do not leave rollers or other equipment standing on hot mix asphalt that has not cooled sufficiently to prevent indentation.

401-3.14 JOINTS.  Minimize the number of joints.  Place and compact the hot mix asphalt to ensure a continuous bond, texture, and smoothness between adjacent sections of the hot mix asphalt.

Remove to full depth improperly formed joints resulting in surface irregularities, replace with new hot mix asphalt, and thoroughly compact.

Precut pavement removal to a neat line with a power saw or by other method approved by the Engineer.

Form transverse joints by saw cutting back on the previous run to expose the full depth of layer with a power saw or other method approved by the Engineer or use a removable bulkhead.  Skew transverse joints between 15-25 degrees.

Offset the longitudinal joints in one layer from the joint in the layer immediately below by at least 6 inches.  Align the joints of the top layer at the centerline or lane lines.  Where preformed marking tape striping is required, offset the longitudinal joint in the top layer not more than 12 inches from the edge of the stripe.

Uniformly coat joint surfaces below the final lift with tack coat conforming to Section 703 before placing any fresh HMA against the joint.

## Before placing an adjacent panel of hot mix asphalt to form a joint in the top layer, apply Crafco Pavement Joint Adhesive No. 34524 Deery Cold Joint Adhesive or approved equal, to the edge of the existing panel.  Edge surface preparation, application temperature, thickness, and method shall be according to manufacturer’s recommendations.

For the top layer of hot mix asphalt, the minimum specification limit for longitudinal joint density is 91% of the MSG of the panel completing the joint.  Cut one 6 inch diameter core centered on the longitudinal joint at each location the panel completing the joint is cored for acceptance density testing.  Density will be determined according to WAQTC FOP for AASHTO T 166/T 275.

For areas that fail to achieve the prescribed joint density seal the surface of the longitudinal joints with Asphalt Systems GSB-78 or approved equal, while the hot mix asphalt is clean, free of moisture, and before traffic marking.  Longitudinal joint sealing shall be according to the manufacturer’s recommendations and an application rate of 0.15 gallons per square yard.  Apply the sealant at least 12 inches wide centered on the longitudinal joint.

Hot lapped joints formed by paving in echelon must be completed while the mat temperature is over 150F.  These joints do not need to be tacked and will be measured but not evaluated for joint density.

Longitudinal joints will be evaluated for acceptance according to subsection 401-4.03.

401-3.15 SURFACE TOLERANCE.  The Engineer will test the finished surface after final rolling at selected locations using a 10 foot straightedge.  Correct variations from the testing edge, between any two contacts of more than 1/4 inch.

The Engineer will measure the surface smoothness of the top layer of asphalt concrete pavement in the driving lanes with an inertial profiler before final acceptance of the project.  Remove and replace, or grind smooth any area of final pavement surface that does not meet straight edge tolerances.  Costs associated with meeting surface tolerances are subsidiary to the Hot Mix Asphalt pay item.

After completion of corrective work, the Engineer will measure the pavement surface in the driving lanes a second time for a smoothness price adjustment.  No measurements will be taken in turn lanes, lane transitions, or within 25 feet of the existing pavement at the project beginning and end.

Smoothness will be measured in both wheel paths of each lane and reported as profilograph results (PrI) filtered with a 0.2 inch blanking band. Report PrI as a job average for all measured lanes, calculated to the nearest 0.1 inch.

401-3.16 PATCHING DEFECTIVE AREAS.  Remove hot mix asphalt that becomes contaminated with foreign material, is segregated, or is in any way determined to be defective.  Do not skin patch. Remove defective hot mix asphalt for the full thickness of the course.  Cut the pavement so that edges are vertical, the sides are parallel to the direction of traffic and the ends are skewed between 15-25 degrees.  Coat edges with a tack coat meeting Section 402 and allow to cure.  Place and compact fresh hot mix asphalt according to subsection 401-3.13 to grade and smoothness requirements.

Costs associated with patching defective areas are subsidiary to the Hot Mix Asphalt pay item.

401-4.01 METHOD OF MEASUREMENT. Section 109 and the following:

Hot Mix Asphalt.

a)	By weighing.  No deduction will be made for the weight of asphalt cement or anti stripping additive.

b)	By the area of final hot mix asphalt surface.

Asphalt Price Adjustment.  Calculated by quality level analysis under subsection 401-4.03.

Asphalt Cement.  By the ton, as follows.

1.	Percent of asphalt cement for each sublot multiplied by the total weight represented by that sublot.  ATM 405 or WAQTC FOP for AASTHO T 308 will determine the percent of asphalt cement.  The same tests used for the acceptance testing of the sublot will be used for computation of the asphalt cement quantity.  If no acceptance testing is required, the percent of asphalt cement is the target value for asphalt cement in the Job Mix Design.

2.	Supplier's invoices minus waste, diversion and remnant.  This procedure may be used on projects where deliveries are made in tankers and the asphalt plant is producing hot mix asphalt for one project only.

The Engineer may direct, at any time that tankers be weighed in the Engineers presence before and after unloading.  If the weight determined at the project varies more than 1% from the invoice amount, payment will be based on the weight determined at the project.

Any remnant or diversion will be calculated based on tank stickings or weighing the remaining asphalt cement.  The Engineer will determine the method.  The weight of asphalt cement in waste hot mix asphalt will be calculated using the target value for asphalt cement as specified in the Job Mix Design.

Method 1 will be used for determining asphalt quantity unless otherwise directed in writing.  The procedure initially used will be the one used for the duration of the project.  No payment will be made for any asphalt cement more than 0.4% above the optimum asphalt content specified in the Job Mix Design.

Job Mix Design. When specified, Contractor furnished Job Mix Designs will be measured at one according to the hot mix asphalt class and type.

Temporary Pavement.  No measurement will be made.

Longitudinal Joint Adhesive and Sealing.  By the linear foot of longitudinal joint.

Preleveling.  By weighing.  No deduction will be made for the weight of asphalt cement or anti stripping additive.

401-4.02 ACCEPTANCE SAMPLING AND TESTING.  The quantity of each class and type of hot mix asphalt produced and placed will be divided into lots and the lots evaluated individually for acceptance.

A lot will normally be 5,000 tons.  The lot will be divided into sublots of 500 tons, each randomly sampled and tested for asphalt cement content, density, and gradation according to this subsection.  If the project has more than 1 lot, and less than 8 additional sublots have been sampled at the time a lot is terminated, either due to completion of paving operations or the end of the construction season (winter shutdown), the material in the shortened lot will be included as part of the prior lot.  The price adjustment computed, according to subsection 401-4.03, for the prior lot will include the samples from the shortened lot.

If  8 or 9 samples have been obtained at the time a lot is terminated, they will be considered as a lot and the price adjustment will be based on the actual number of test results (excluding outliers) in the shortened lot.

If the contract quantity is between 1,500 tons and 4,999 tons, the contract quantity will be considered one lot.  The lot will be divided into sublots of 500 tons and randomly sampled for asphalt cement content, density, and gradation according to this subsection except that a determination for outliers will not be performed.  Hot mix asphalt quantities of less than 300 tons remaining after dividing the Contract quantity into sublots will be included in the last sublot.  Hot mix asphalt quantities of 300 tons or greater will be treated as an individual sublot.  The lot will be evaluated for price adjustment according to subsection 401-4.03 except as noted.

For Contract quantity of less than 1,500 tons (also for approaches and temporary pavement), hot mix asphalt will be accepted for payment based on the Engineer's approval of a Job Mix Design and the placement and compaction of the hot mix asphalt to the specified depth and finished surface requirements and tolerances.  The Engineer reserves the right to perform any testing required in order to determine acceptance.  Remove and replace any hot mix asphalt that does not conform to the approved JMD.

Samples collected at the plant from dry batched aggregates, the conveyor system, or the asphalt cement supply line shall be taken by the Contractor in the presence of the Engineer.  The Engineer will take immediate possession of the samples.

1. 	Asphalt Cement.  Hot mix samples taken for the determination of asphalt cement content will be taken randomly from behind the screed before initial compaction, at the end of the auger, or from the windrow according to WATC FOP for AASHTO T 168 and ATM 403, as directed by the Engineer.  Hot mix asphalt samples taken for the determination of both asphalt cement content and gradation will be taken randomly from behind the screed before initial compaction or from the windrow according to WAQTC FOP for AASHTO T 168 and ATM 403.

Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  At the discretion of the Engineer, asphalt cement content will be determined according to ATM 405 or WAQTC FOP for AASHTO T 308.

2.	Aggregate Gradation.

a.	Drum Mix Plants.  Samples taken for the determination of aggregate gradation from drum mix plants will be from the combined aggregate cold feed conveyor via a diverter device, or from the stopped conveyor belt according to WAQTC FOP for AAHSTO T2, or from the same location as samples for the determination of asphalt cement content.  Locate diverter devices for obtaining aggregate samples from drum mix plants on the conveyor system delivering combined aggregates into the drum.  Divert aggregate from the full width of the conveyor system and maintain the diverter device to provide a representative sample of aggregate incorporated into the hot mix asphalt.  Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  The aggregate gradation for samples from the conveyor system will be determined according to WAQTC FOP for AASHTO T 27/T 11.  For hot mix asphalt samples, the gradation will be determined according to WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO T 308) has burned off the asphalt cement.

- Batch Plants.  Samples taken for the determination of aggregate gradation from batch plants will be from the same location as samples for the determination of asphalt cement content, or from dry batched aggregates according to WAQTC FOP for AASHTO T 2.  Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  Dry batched aggregate gradations will be determined according to WAQTC FOP for AASHTO T 27/T 11.  For hot mix asphalt samples, the aggregate gradation will be determined according to WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO T 308) has burned off the asphalt cement.

3.	Density.  Cut full depth core samples from the finished hot mix asphalt within 24 hours after final rolling.  Neatly cut one 6 inch diameter core sample with a core drill at each location marked by the Engineer.  Use a core extractor to prevent damage to the core.  The Engineer will determine the density of the core samples according to WAQTC FOP for AASHTO T 166/T 275.  Do not core hot mix asphalt on bridge decks.  Backfill and compact voids left by coring with new hot mix asphalt within 24 hours.

Cores for longitudinal joint density shall be centered on the longitudinal joint at each location the panel completing the joint is cored for mat density acceptance testing.

4.	Retesting.  A retest of any sample outside the limits specified in Table 401-2 may be requested provided the quality control requirements of 401-2.05 are met. Deliver this request in writing to the Engineer within 7 days of receipt of the initial test result.  The Engineer will mark the sample location for the density retest within a 2 foot radius of the original core.  The original test results will be discarded and the retest result will be used in the price adjustment calculation regardless of whether the retest result gives a higher or lower pay factor.  Only one retest per sample is allowed.  Except for the first lot, gradation and asphalt cement content are determined from the same sample, retesting for gradation or asphalt cement from the first sublot of a lot will include retesting for the MSG; when separate samples are used, retesting for asphalt cement content will include retesting for MSG.

5.	Asphalt Cement.

The lot size for asphalt cement will normally be 200 tons.  If a project has more than one lot and the remaining asphalt cement quantity is less than 150 tons, it will be added to the previous lot and that total quantity will be evaluated for price adjustment as one lot.  If the remaining asphalt cement quantity is 150 tons or greater, it will be sampled, tested and evaluated as a separate lot.

If the contract quantity of asphalt cement is between 85 – 199 tons, the contact quantity will be considered as one lot and sampled, tested, and evaluated according to this subsection.  Quantities of asphalt cement less than 85 tons will be accepted based on manufacturer’s certified test reports and certification of compliance.

Asphalt cement will be sampled according to WAQTC FOP for AASHTO T 40, tested for conformance to the specifications in Section 702, and evaluated for price adjustment in accordance with 401-4.03.  Asphalt cement pay reduction factors for each sample will be determined from Table 401-4.  Three separate samples from each lot will be taken, one for acceptance testing, one for Contractor retesting, and one held in reserve for referee testing if applicable.

The total asphalt cement price adjustment is the sum of the individual lot price adjustments and will be subtracted under Item 401(6) Asphalt Price Adjustment - Quality.

401-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE.  The following method of price adjustment will be applied to each type of Hot Mix Asphalt when the contract quantity equals or exceeds 1,500 tons, except as specified in subsection 401-4.02.

Acceptance test results for a lot will be analyzed collectively and statistically by the Quality Level Analysis method as specified in subsection 106-1.03 to determine the total estimated percent of the lot that is within specification limits.

The price adjustment is based on the lower of two pay factors.  The first factor is a composite pay factor for hot mix asphalt that includes gradation and asphalt cement content.  The second factor is for density.

A lot containing hot mix asphalt with less than a 1.00 pay factor will be accepted at an adjusted price, provided the pay factor is at least 0.75 and there are no isolated defects identified by the Engineer.  A lot containing hot mix asphalt that fails to obtain at least a 0.75 pay factor will be considered unacceptable and rejected under subsection 105-1.11.

The Engineer will reject hot mix asphalt that appears to be defective based on visual inspection.  A minimum of two samples will be collected from the rejected hot mix asphalt and tested if requested.  If test results are within specification limits, payment will be made for the hot mix asphalt.  If any of the test results fail to meet specifications, no payment will be made and the cost of the testing will be subtracted under Item 401(6) Asphalt Price Adjustment - Quality.  Costs associated with removal and disposal of the rejected hot mix asphalt are subsidiary to the Hot Mix Asphalt pay item.

Outlier Test.  Before computing the price adjustment, the validity of the test results will be determined by SP-7, the Standard Practice for Determination of Outlier Test Results. Outlier test results will not be included in the price adjustment calculations.

When gradation and asphalt cement content are determined from the same sample, if any size on the gradations test or the asphalt cement content is an outlier, then the gradation test results and the asphalt cement content results for that sublot will not be included in the price adjustment.  The density test result for that sublot will be included in the price adjustment provided it is not an outlier also.

If the density test result is an outlier, the density test result will not be included in the price adjustment, however, the gradation and asphalt cement content results for that sublot will be included provided neither is an outlier.

When gradation and asphalt cement content are determined from separate samples, if any sieve size on the gradation test is an outlier, then the gradation test results for that sample will not be included in the price adjustment.  The asphalt cement content and density test results for that sublot will be included in the price adjustment provided neither is an outlier.  If the asphalt cement content test result is an outlier, it will not be included in the price adjustment but the gradation and density test results for the sublot will be included provided neither is an outlier.  If the density test result is an outlier, it will not be included in the price adjustment but the gradation and asphalt cement content test results will be included provided neither is an outlier.

Quality Level Analysis. Pay factors are computed as follows:

1.	Outliers (determined by SP-7), and any test results on material not incorporated into the work, are eliminated from the quality level analysis.

The arithmetic mean () of the remaining test results is determined:

Where:	= summation of

x = individual test value to xn

n = total number of test values

is rounded to the nearest tenth for density and sieve sizes except the No. 200 sieve.  is rounded to the nearest hundredth for asphalt cement content and the No. 200 sieve.

2.	The sample standard deviation(s), after the outliers have been excluded, is computed:

Where:	(x2)	=	sum of the squares of individual test values.

(x)2	=	square of the sum of the individual test values.

The sample standard deviation (s) is rounded to the nearest hundredth for density and all sieve sizes except the No. 200 sieve.  The sample standard deviation (s) is rounded to the nearest 0.001 for asphalt cement content and the No. 200 sieve.

If the computed sample standard deviation (s) is <0.001, then use s = 0.20 for density and all sieves except the No. 200. Use s = 0.020 for asphalt cement content and the No. 200 sieve.

3.	The USL and LSL are computed.  For aggregate gradation and asphalt cement content, the Specification Limits (USL and LSL) are equal to the Target Value (TV) plus and minus the allowable tolerances in Table 401-2.  The TV is the specification value specified in the approved Job Mix Design. Specification tolerance limits for the largest sieve specified will be plus 0 and minus 1 when performing PWL calculations.  The TV for density is 94% of the maximum specific gravity (MSG), the LSL is 92% of MSG and the USL is 98%.

TABLE 401-2

LOWER SPECIFICATION LIMIT (LSL) & UPPER SPECIFICATION LIMIT (USL)

| Measured Characteristics | LSL | USL |
| --- | --- | --- |
| 3/4 inch sieve | TV-6.0 | TV+6.0 |
| 1/2 inch sieve | TV-6.0 | TV+6.0 |
| 3/8 inch sieve | TV-6.0 | TV+6.0 |
| No. 4 sieve | TV-6.0 | TV+6.0 |
| No. 8 sieve | TV-6.0 | TV+6.0 |
| No. 16 sieve | TV-5.0 | TV+5.0 |
| No. 30 sieve | TV-4.0 | TV+4.0 |
| No. 50 sieve | TV-4.0 | TV+4.0 |
| No. 100 sieve | TV-3.0 | TV+3.0 |
| No. 200 sieve1 | TV-2.0 | TV+2.0 |
| Asphalt % | TV-0.4 | TV+0.4 |
| Mat Density % | 92 | 98 |

Note 1.Tolerances for the No. 200 sieve may not exceed the broad band limits in Table 703-3.

4.	The Upper Quality Index (QU) is computed:	QU

Where:	USL = Upper Specification Limit

QU is rounded to the nearest hundredth.

5.	The Lower Quality Index (QL) is computed:	QL

Where:	LSL = Lower Specification Limit

QL is rounded to the nearest hundredth.

6.	PU (percent within the upper specification limit which corresponds to a given QU) is determined. See subsection 106-1.03.

7.	PL (percent within the lower specification limit which corresponds to a given QL) is determined. See subsection 106-1.03.

8.	The Quality Level (the total percent within specification limits) is determined for aggregate gradation, asphalt cement content, and density.

Quality Level = (PL + PU) - 100

9.	Using the Quality Levels from Step 8, the lot Pay Factor is determined for Density (DPF) and gradation and asphalt cement content pay factors (PF) from Table 106-2.  The maximum pay factor for the largest sieve size specification for gradation is 1.00.

10.	The Composite Pay Factor (CPF) for the lot is determined using the following formula:

[f3/4 inch (PF3/4 inch) + f1/2 inch (PF1/2 inch) +....fac (PFac)]

CPF =

Sf

The CPF is rounded to the nearest hundredth.

Table 401-3 gives the weight factor (f) for each sieve size and asphalt cement content.

TABLE 401-3

WEIGHT FACTORS

| ###### Sieve Size | Type I | Type II | Type III |
| --- | --- | --- | --- |
|  | ###### Factor “f” | Factor “f” | ###### Factor “f” |
| 1 inch sieve | 4 |  |  |
| 3/4 inch sieve | 4 | 4 |  |
| 1/2 inch sieve | 4 | 5 | 4 |
| 3/8 inch sieve | 4 | 5 | 5 |
| No. 4 sieve | 4 | 4 | 5 |
| No. 8 sieve | 4 | 4 | 5 |
| No. 16 sieve | 4 | 4 | 5 |
| No. 30 sieve | 4 | 5 | 6 |
| No. 50 sieve | 4 | 5 | 6 |
| No. 100 sieve | 4 | 4 | 4 |
| No. 200 sieve | 20 | 20 | 20 |
| Asphalt Cement Content, % | 40 | 40 | 40 |

The price adjustment will be based on either the CPF or DPF, whichever is the lowest value.  The price adjustment for each individual lot will be calculated as follows:

Price Adjustment = [(CPF or DPF)* -1.00] x (tons in lot) x (PAB)

* CPF or DPF, whichever is lower.

## PAB = Price Adjustment Base  = $___97.50__ per ton

The total asphalt concrete price adjustment is the sum of all price adjustments for each lot and will be adjusted under Item 401(6) Asphalt Price Adjustment - Quality.

EVALUATION OF ASPHALT CEMENT

Asphalt cement will be randomly sampled and tested every 200 tons and evaluated for price adjustment.  If the last sample increment is 100 tons or less, that quantity of asphalt cement will be added to the quantity represented by the previous sample and the total quantity will be evaluated for price adjustment.  If the last sample increment is greater than 100 tons, it will be sampled, tested and evaluated separately.  Asphalt cement pay reduction factors for each sample will be determined from Table 401-4.

The total asphalt cement price adjustment is the sum of the individual sample price adjustments and will be subtracted under Item 401(6) Asphalt Price Adjustment - Quality.

Table 401-4

ASPHALT CEMENT PAY REDUCTION FACTORS

(Use the single, highest pay reduction factor)

|  | #### Spec | Pay Reduction Factor (PRF) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0 | 0.04 | 0.05 | 0.06 | 0.07 | 0.08 | 0.1 | 0.25 | Reject or Engr Eval |
| ##### Tests On Original Binder |  |  |  |  |  |  |  |  |  |  |
| Viscosity | <3 Pa-s | <3 |  | >3 |  |  |  |  |  |  |
| Dynamic Shear | >1.00 kPa | >1.00 |  | 0.88-0.99 |  |  |  | 0.71-0.89 | 0.50-0.70 | <0.50 |
| Toughness | >110 in-lbs | >93.5 | 90.0-93.4 | 85.0-89.9 | 80.0-84.9 | 75.0-79.9 | 70.0-74.9 |  |  | <70.0 |
| Tenacity | >75 in-lbs | >63.8 | 61.0-63.7 | 58.0-60.9 | 55.0-57.9 | 52.0-54.9 | 48.0-51.9 |  |  | <48.0 |
| ##### Tests On RTFO |  |  |  |  |  |  |  |  |  |  |
| Mass Loss | <1.00 % | <1.00 |  | 1.001-1.092 |  |  |  | 1.093-1.184 | 1.185-1.276 | >1.276 |
| Dynamic Shear | >2.20 kPa | >2.20 |  | 1.816-2.199 |  |  |  | 1.432-1.815 | 1.048-1.431 | <1.048 |
| ##### Test On PAV |  |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | <5000 kPa | <5000 |  | 5001-5289 |  |  |  | 5290-5578 | 5579-5867 | >5867 |
| Creep Stiffness, S | <300 MPa | <300 |  | 301-338 |  |  |  | 339-388 | 389-450 | >450 |
| Creep Stiffness, m-value | >0.300 | >0.300 |  | 0.287-0.299 |  |  |  | 0.274-0.286 | 0.261-0.273 | <0.261 |
| Direct Tension | >1.0 % | >1.0 |  | 0.86-0.99 |  |  |  | 0.71-0.85 | 0.56-0.70 | <0.56 |

# Asphalt Cement Price Adjustment for each sample = 5 x PAB x Qty X PRF

PAB = Price Adjustment Base

Qty = Quantity of asphalt cement represented by asphalt cement sample

PRF = Pay Reduction Factor from Table 401-4

Asphalt Cement Appeal Procedure.  Once notified of a failing test result of an asphalt cement sample, the Contractor has 21 days to issue a written appeal.  The appeal must be accompanied by all of the Contactor’s quality control test results and a test result of Contactor’s sample of this lot tested by an AASHTO accredited asphalt laboratory (accredited in the test procedure in question).  The Engineer will review these test results and using ASTM D3244 determine a test value upon which to base a price reduction.

If the Contractor challenges this value, then the referee sample held by the Engineer will be sent to a mutually agreed upon independent AASHTO accredited laboratory for testing.  This test result will be incorporated into the ASTM D3244 procedure to determine a test value upon which to base a price reduction.  If this final value incurs a price adjustment, the Contractor under Item 408(3) Asphalt Price Adjustment, shall pay the cost of testing the referee sample.

The total Asphalt Price Adjustment is the sum of all the price adjustments for each lot and will be included in 401(6) Asphalt Price Adjustment.

EVALUATION OF PAVEMENT SMOOTHNESS.

The top layer of hot mix asphalt will be measured according to 401-3.15 and evaluated for a smoothness price adjustment.  The Engineer will calculate the smoothness price adjustment as follows:

Smoothness Price Adjustment = PAB x PQ x SF

PAB = Price Adjustment Base (401-4.03)

PQ = Final quantity of Hot Mix Asphalt, tons

PrI = Final measured hot mix smoothness, inches/mile

SF = Smoothness Factor

If the PQ is less than 1,500 tons, the SF = 0

If the PQ is 1,500 to 5,000 tons, the SF = 0.1333 – (0.01666 x PrI)

If the PQ is greater than 5,000 tons, the SF = 0.0666 – (0.0083 x PrI)

The smoothness price adjustment will be applied under Item 401(6) Asphalt Price Adjustment - Quality.

EVALUATION OF LONGITUDINAL JOINT DENSITY.  Longitudinal joint density price adjustments apply when hot mix asphalt quantities are equal to or greater than 1,500 tons.  A longitudinal joint density price adjustment for the top layer will be based on the average of all the joint densities on a project and determined as follows:

1.	If project average joint density is less than 91% MSG, apply the following disincentive:

- Longitudinal joint density price adjustment equal to $3.00 per lineal foot is deducted under Item 401(6) Asphalt Price Adjustment.

- Sections of longitudinal joint represented by cores with less than 91% density shall be surface sealed according to subsection 401-3.14.

2.	If project average joint density is greater than 92% MSG apply the following incentive:

Longitudinal joint density price adjustment equal to $1.50 per linear foot is added under Item 401(6) Asphalt Price Adjustment.

The longitudinal joint price adjustment will be included in Item 401(6) Asphalt Price Adjustment.

## 401-4.04 ASPHALT MATERIAL PRICE ADUSTMENT – UNIT PRICE.

This subsection provides a price adjustment for asphalt material by:

(a) 	additional compensation to the Contractor or

(b) 	a deduction from the Contract amount.

1.	This provision shall apply to asphalt material meeting the criteria of Section 702, and is included in items listed in the bid schedule of Sections 306, 307, 308, and 401 through 409.

2.	This provision shall only apply to cost changes in asphalt material that occur between the date of bid opening and the date the asphalt material is incorporated into the project.

3.	The asphalt material price adjustment will only apply when:

- a.	There is more than 500 tons of asphalt material in the bid schedule of Sections described in Item 1; and

- b.	There is more than a 7.5% increase or decrease in the Alaska Asphalt Material Price Index, from the date of bid opening to the date the asphalt material is incorporated into the project.

4.	As used in this subsection, the Alaska asphalt material price index is calculated bimonthly on the first and third Friday of each month, and will remain in effect from the day of calculation until the next bimonthly calculation.  The Alaska asphalt material price index is posted on the Department’s Statewide Materials website, and calculated according to the formula posted there.

5.	Price adjustment will be cumulative and calculated with each progress payment. Use the price index in effect on the last day of the pay period, to calculate the price adjustment for asphalt material incorporated into the project during that pay period.  The Department will increase or decrease payment under this Contract by the amount determined with the following asphalt material price adjustment formula:

For an increase exceeding 7.5%, additional compensation = [(IPP – IB) – (0.075 x IB)] x Q

For a decrease exceeding 7.5%, deduction from contract     = [(IB – IPP) – (0.075 x IB)] x Q

Where:

Q	=	Quantity of Asphalt Material incorporated into project during the pay period, in tons

IB 	=	Index at Bid: the bimonthly Alaska asphalt material price index in effect on date of bid, in dollars per ton

IPP 	=	Index at Pay Period: the bimonthly Alaska asphalt material price index in effect on the last day of the pay period, in dollars per ton

6.	Method of measurement for determining Q (quantity) is the weight of asphalt material that meets the criteria of this subsection and is incorporated into the project.  The quantity does not include aggregate, mineral filler, blotter material, thinning agents added after material qualification, or water for emulsified asphalt.

401-5.01 BASIS OF PAYMENT.

When Item 401(3) Temporary Hot Mix Asphalt doesn’t appear in the bid schedule, all temporary pavement is subsidiary to related work.

Asphalt cement, anti-strip additives for Item 401(3) Temporary Hot Mix Asphalt, or for hot mix asphalt for leveling course is subsidiary to item 401(3).

Sealing the surface of longitudinal joints according to subsection 401-3.12 will be subsidiary to 401 items.

Asphalt cement, anti stripping additives, tack coat, and crack sealing (401-3.07) are subsidiary to the hot mix asphalt unless specified as pay items.

Price adjustments will not apply to:

1.	Hot Mix Asphalt for leveling course

2.	Temporary Hot Mix Asphalt

3.	Hot Mix Asphalt for Approaches

Payment for furnishing and installing joint adhesive will be paid as 401(9) Longitudinal Joint Adhesive and Sealing.

Failure to cut core samples within the specified period will result in a deduction of $100.00 per sample per day.  Failure to backfill voids left by sampling within the specified period will result in a deduction of $100.00 per hole per day.  The accrued amount will be subtracted under Item 401(6) Asphalt Price Adjustment.

The Engineer will assess a fee of $2,500.00 under Item 401(6) Asphalt Price Adjustment, for each mix design subsequent to the approved Job Mix Design for each Type and Class of Hot Mix Asphalt specified.

Asphalt cement, anti-strip additives for Item 401(8) Hot Mix Asphalt for Approaches is subsidiary to item 401(8).

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

401(1) 	Hot Mix Asphalt, Type __; Class __ 	Ton

401(2) 	Asphalt Cement,  __ 	Ton

401(3) 	Temporary Hot Mix Asphalt 	Ton

401(4) 	Hot Mix Asphalt, Type __; Class __ 	Square Yard

401(6) 	Asphalt Price Adjustment 	Contingent Sum

401(8)	Hot Mix Asphalt for Approaches, Type ___; Class ___	Ton

401(9) 	Longitudinal Joint Adhesive and Sealing 	Linear Foot

401(10)	Asphalt Material Price Adjustment – Unit Price	Contingent Sum

R199USC04(01/02/08)

Add the following Section:

SECTION 408

HOT MIX ASPHALT (SUPERPAVE)

408-1.01 DESCRIPTION.  Construct one or more layers of plant-mixed hot asphalt concrete pavement on an approved surface, to the lines, grades, and depths shown on the Plans.

408-2.01 COMPOSITION OF MIXTURE - JOB MIX DESIGN.  Meet the requirements of Table 408-1 for the Job Mix Design performed in accordance with AASHTO R35 except evaluation of moisture sensitivity will determined by ATM 414 and not AASHTO T283.

TABLE 408-1

Hot Mix Asphalt Design Requirements

| Design ESALs, millions | 0.3 to < 3 |
| --- | --- |
| Rut Index, max. ATM 419 | 3 |

The approved Job Mix Design will specify the target values for gradation, the target value for asphalt cement content, the Maximum Specific Gravity (MSG) of the hot mix asphalt, the additives, and the allowable mixing temperature range.

Target values for gradation in the Job Mix Design must be within the broadband limits shown in Table 703-3, for the type of hot mix asphalt specified.  For acceptance testing, hot mix asphalt will have the full tolerances in Table 408-2 applied.  Except for the No. 200 sieve, the tolerance limit will apply even if falling outside the broad band shown in Table 703-3.  Tolerance limits will not be applied to the largest sieve specified.

Do not produce hot mix asphalt for payment until the Engineer approves the Job Mix Design.  Do not mix hot asphalt produced from different plants.

Submit the following to the Engineer at least 15 days before the production of hot mix asphalt:

1.	A letter stating the location, size, and type of mixing plant, the proposed gradation for the Job Mix Design, gradations for individual stockpiles with supporting process quality control information, and the blend ratio of each aggregate stockpile. The proposed gradation must meet the requirements of Table 703-3 for each type of hot mix asphalt specified in the Contract.

2.	Representative samples of each aggregate (coarse, intermediate, fine, and blend material and/or mineral filler, if any) in the proportions required for the proposed mix design. Furnish a total of 500 pounds of material.

3.	Five separate 1-gallon samples of the asphalt cement proposed for use in the hot mix asphalt.  Include name of product, manufacturer, test results of the applicable quality requirements of subsection 702-2.01, manufacturer's certificate of compliance according to subsection 106-1.05, a temperature viscosity curve for the asphalt cement or manufacturer's recommended mixing and compaction temperatures, and current Material Safety Data Sheet.

- One sample, of at least 1/2 pint, of the anti-strip additive proposed, including name of product, manufacturer, and manufacturer's data sheet, and current Material Safety Data Sheet.

The Engineer will then evaluate the material and the proposed gradation and the requirements of Table 408-1 for the appropriate type and class of hot mix asphalt specified, and establish the approved Job Mix Design that will become a part of the Contract.

No payment for hot mix asphalt for which a new Job Mix Design is required, will be made until the new Job Mix Design is approved.  Approved changes apply only to hot mix asphalt produced after the submittal of the changes.

Changes.  Failure to achieve results conforming to Table 408-1 or changes in the source of asphalt cement, source of aggregates, aggregate quality, aggregate gradation, or blend ratio, will require a new Job Mix Design.  Submit changes and new samples in the same manner as the original submittal.

408-2.02 AGGREGATES.  Conform to subsection 703-2.04.

Use a minimum of 3 stockpiles for crushed hot mix asphalt aggregate (coarse, intermediate, and fine).  Place blend material or mineral filler, if any, in separate piles.  Additional stockpiles may be required for some material sources to create a Design Aggregate Structure that meets the volumetric requirements of the mix design procedures.

408-2.03 ASPHALT MATERIALS.  Conform to subsection 702-2.01, if not specified use PG 64-28.   Table 1 of AASHTO M 232 will not apply.

Provide test reports for each batch of asphalt cement showing conformance to the Specifications in Section 702 before delivery to the project.  Storage tanks used for the batch shall be noted on the test report, the anti-strip additives required by the mix design shall be added during load out for delivery to the project, and a printed weight ticket for anti-strip is included with the asphalt cement weight ticket.  The location where anti-strip is added may be changed with the approval of the Engineer.

Shipping documents shall include the following:

- Manufacturers certificate of compliance, subsection 106-1.05

- Conformance test results of the batch, Section 702.

- Batch number and storage tanks used.

- Date and Time of load out for delivery.

- Type, grade, temperature, and quantity of materials loaded

- Type and percent of anti-strip added.

408-2.04 ANTI-STRIP ADDITIVES. Use anti-strip agents in the proportions determined by ATM T-414 and included in the approved Job Mix Design.  At least 70 percent of the aggregate shall remain coated when tested according to ATM T-414.

408-2.05 QUALITY CONTROL. Sample and test materials for quality control of the hot mix asphalt according to subsection 106-1.03.  Provide copies of these test results to the Engineer within 24 hours.

Failure to perform quality control forfeits the Contractor's right to retest under subsection 408-4.02.

Submit a paving and plant control plan at the pre paving meeting to be held a minimum of 5 working days before beginning the paving operations.  Address the sequence of operations and joint construction.  Outline steps to assure product consistency, to minimize segregation, and to prevent premature cooling of the hot mix asphalt.  Include a proposed quality control testing frequency for gradation, asphalt cement content and compaction.

## CONSTRUCTION REQUIREMENTS

408-3.01 WEATHER LIMITATIONS. Do not place hot mix asphalt on a wet surface, on an unstable/yielding roadbed, when the base material is frozen, or when weather conditions prevent proper handling or finishing of the mix. Do not place hot mix asphalt unless the roadway surface temperature is 40F or warmer.  Do not place mix after September 15 unless approved by the Engineer in writing.

408-3.02 EQUIPMENT, GENERAL.  Use equipment in good working order and free of hot mix asphalt buildup.  Make all equipment available for inspection and demonstration of operation a minimum of 24 hours before placement of hot mix asphalt.

408-3.03 BITUMINOUS MIXING PLANTS. Meet AASHTO M156. Use an asphalt plant designed to dry aggregates, maintain accurate temperature control, and accurately proportion asphalt cement and aggregates.  Calibrate the asphalt plant and furnish copies of the calibration data to the Engineer at least 4 hours before hot mix asphalt production.

Provide a scalping screen at the asphalt plant to prevent oversize material or debris from being incorporated into the hot mix asphalt.

Provide a tap on the asphalt cement supply line just before it enters the plant (after the 3-way valve) for sampling asphalt cement.

Provide aggregate and asphalt cement sampling conditions meeting OSHA safety requirements.

408-3.04 HAULING EQUIPMENT.  Haul hot mix asphalt in trucks having tight, clean, smooth metal beds, thinly coated with a minimum amount of paraffin oil, lime water solution or an approved manufactured asphalt release agent.  Do not use petroleum fuel as an asphalt release agent.

Cover the hot mix asphalt in the haul vehicle, when directed.

408-3.05 ASPHALT PAVERS.   Use self-propelled asphalt pavers having a heated vibratory screed.  Control with grade and cross slope using automatic grade and slope control devices.  Use an erected string line, a 30 foot minimum mobile stringline (ski), or other approved grade follower, to automatically actuate the paver screed control system. Use grade control on either a) both the high and low sides or b) grade control on the high side and slope control on the low side.

Equip the paver with a receiving hopper having sufficient capacity for a uniform spreading operation.  Equip the hopper with a distribution system to place the hot mix asphalt uniformly in front of screed.

Use a screed assembly that produces a finished surface of the required smoothness, thickness, and texture without tearing, shoving or displacing the hot mix asphalt.

Equip the paver with a means of preventing the segregation of the coarse aggregate particles from the remainder of the bituminous plant mix when the mix is carried from the paver hopper back to the paver augers.  The means and methods used shall be approved by the paver manufacturer and may consist of chain curtains, deflector plates, or other such devices and any combination of these.

The following specific requirements apply to the identified bituminous pavers:

- Blaw-Knox bituminous pavers shall be equipped with the Blaw-Knox Materials Management Kit (MMK).

- Cedarapids bituminous pavers must have been manufactured in 1989 or later.

- Caterpillar bituminous pavers shall be equipped with deflector plates.

The use of a “Layton Box” or equivalent towed paver is allowed on bike paths, sidewalks, and driveways.

408-3.06 ROLLERS.  Use both steel-wheel (static or vibratory) and pneumatic-tire rollers. Operate rollers according to manufacturer's instructions. Avoid crushing or fracturing of aggregate. Use rollers designed to compact hot asphalt concrete mixtures and reverse without backlash.

Use fully skirted pneumatic-tire rollers having a minimum operating weight of 3000 pounds per tire.

408-3.07 PREPARATION OF EXISTING SURFACE.  Prepare the existing surfaces in conformance with the Plans and Specifications.  Before applying tack coat to the existing surface, clean out loose material from cracks in existing pavement wider than 1 inch in width full depth then fill using asphalt concrete tamp in place.  Clean, wash, and sweep existing paved surfaces of loose material.

Preparation of milled surface.

	Prelevel remaining ruts, pavement delaminations, or depressions having a depth greater than ½ inch with Asphalt Concrete, Type IV (Section 401).  No density testing is required for the leveling course material.  The Engineer will inspect and accept this material.

	If planing breaks through existing pavement remove 2 inches of existing base and fill with Asphalt Concrete, Type II, Class B (Section 401).  Notify the Engineer of pavement areas that might be considered thin or unstable during pavement

Existing paved surfaces shall be must be approved by the Engineer before tack is applied.  Clean existing paved surfaces of loose material

Before placing the hot mix asphalt, uniformly coat contact surfaces of curbing, gutters, saw cut pavement, cold joints, manholes, and other structures with tack coat material meeting Section 402.  Allow tack coat to break before placement of hot mix asphalt on these surfaces.

408-3.08 PREPARATION OF ASPHALT.  Provide a continuous supply of asphalt cement shall be supplied to the mixer at a uniform temperature, within the allowable mixing temperature range noted in the approved mix design.

408-3.09 PREPARATION OF AGGREGATES. Dry the aggregate so the moisture content of the hot mix asphalt, sampled at the point of acceptance for asphalt cement content, does not exceed 0.5% (by total weight of mix), as determined by WAQTC TM 6 for AASHTO T 329.

Heat the aggregate for the hot mix asphalt to a temperature compatible with the mix requirements specified.

Adjust the burner on the dryer to avoid damage to the aggregate and to prevent the presence of unburned fuel on the aggregate.  Hot mix asphalt containing soot or fuel is considered unacceptable according to subsection 105-1.11.

408-3.10 MIXING.  Combine the aggregate, asphalt cement and additives in the mixer in the amounts required by the Job Mix Design. Mix to obtain 98% coated particles when tested according to AASHTO T 195.

For batch plants, put the dry aggregate in motion before addition of asphalt cement.

Mix the hot mix asphalt within the temperature range determined by the Job Mix Design.

408-3.11 TEMPORARY STORAGE OF ASPHALT CONCRETE MIXTURE.  Silo type storage bins may be used, provided that the characteristics of the hot mix asphalt are not altered. Signs of visible segregation, heat loss, changes from the Job Mix Design, change in the characteristics of asphalt cement, lumpiness, or stiffness of the hot mix asphalt are causes for rejection.

408-3.12 PLACING AND SPREADING.  Place the hot mix asphalt upon the approved surface, spread, strike off, and adjust surface irregularities. Use asphalt pavers to distribute hot mix asphalt concrete mixture, including leveling courses.

During placement, the Engineer may evaluate the hot mix asphalt immediately behind the paver for temperature uniformity.  Areas with temperature differences more than 25oF lower than the surrounding hot mix asphalt are likely to produce areas of low density.  Any thermal images and thermal profile data will become part of the project record and shared with the Contractor.

The Contractor shall immediately adjust his laydown procedures to correct the problem.

Use hand tools to spread, rake, and lute the hot mix asphalt concrete mixture in areas where irregularities or unavoidable obstacles make the use of mechanical spreading and finishing equipment impracticable.

When the section of roadway being paved is open to traffic, pave adjacent traffic lanes to the same elevation within 24 hours. Place approved material against the outside pavement edge when the drop-off exceeds 2 inches.

When multiple lifts are specified in the Contract, do not place the final lift until all lower lifts throughout that section, as defined by the Paving Plan, are placed and accepted.

Do not pave against new Portland concrete curbing until it has cured for at least 72 hours.

Place hot mix asphalt over bridge deck membranes according to Section 508 and the manufacturer's Specifications.

408-3.13 COMPACTION.  Thoroughly and uniformly compact the hot mix asphalt by rolling. In areas not accessible to large rollers, compact with mechanical tampers or trench rollers.

The target value for density is 94% of the maximum specific gravity (MSG), as determined by WAQTC FOP for AASHTO T 209.  For the first lot of each type of hot mix asphalt, the Job Mix Design will determine the MSG.  For additional lots, the MSG will be determined by the sample from the first sublot of each lot.

Acceptance testing for density will be performed according to WAQTC FOP for AASHTO T 166/T 275 using a 6 inch diameter core. (Acceptance testing for density of leveling course or temporary pavement is not required.)

Do not leave rollers or other equipment standing on hot mix asphalt that has not cooled sufficiently to prevent indentation.

408-3.14 JOINTS.  Minimize the number of joints.  Place and compact the hot mix asphalt to ensure a continuous bond, texture, and smoothness between adjacent panels of hot mix asphalt.

Remove to full depth improperly formed joints resulting in surface irregularities, replace with new hot mix asphalt, and thoroughly compact.  Precut pavement removal to a neat line with a power saw or by other method approved by the Engineer.

Form transverse joints by saw cutting back on the previous run to expose the full depth of the layer with a power saw or other method approved by the Engineer, or use a removable bulkhead.

Offset the longitudinal joints in one layer from the joint in the layer immediately below by at least 6 inches.  Align the joints of the top layer at the centerline or lane lines.  Where preformed marking tape striping is required, offset the longitudinal joint in the top layer not more than 6 inches from the edge of the stripe.

Uniformly coat joint surfaces below the final lift with a tack coat conforming to Section 703 before placing any fresh HMA against the joint.

On the final lift, seal the vertical edge of pavement with Crafco Pavement Joint Adhesive No. 34524, Deery Cold Joint Adhesive, or approved equal before completing the longitudinal joint by paving against it. Apply a 1/8 inch, thick band of joint adhesive over the cold mat according to manufacturer’s recommendations.

For the top layer of hot mix asphalt, the minimum specification limit for longitudinal joint density is 91% of the MSG of the panel completing the joint.  Cut one 6 inch, diameter core centered on the longitudinal joint at each location that the panel completing the joint is cored for acceptance density testing.  Density will be determined according to WAQTC FOP for AASHTO T 166/T 275.

In the top layer, seal the longitudinal joints with Asphalt Systems GSB-78, or approved equal, while the hot mix asphalt is clean, free of moisture, and before traffic marking.  Longitudinal joint sealing shall be applied to manufacturer’s recommendations at a rate of 0.15 gallons per square yard.  Apply the sealant at least 12 inches wide centered on the longitudinal joint.

Hot lapped joints formed by paving in echelon must be completed while the mat temperature is over 150° F.  These joints do not need to be tacked and will be measured and evaluated for joint density.

Longitudinal joints will be evaluated for acceptance according to subsection 408-4.05.

408-3.15 SURFACE TOLERANCE.  The Engineer will test the finished surface after final rolling at selected locations using a 10-foot or straightedge.  Correct variations from the testing edge, between any two contacts, greater than 1/4 inch.

The Engineer will measure the surface smoothness of the top layer of hot mix asphalt in the driving lanes with an inertial profiler before final acceptance of the project.  Remove and replace, or grind smooth any area of final pavement surface that does not meet straight edge tolerances.   Costs associated with meeting surface tolerances are subsidiary to the Asphalt Concrete pay item.

After completion of corrective work, the Engineer will measure the pavement surface in the driving lanes a second time for a smoothness price adjustment.  No measurements will be taken in turn lanes, lane transitions, or within 25 feet of previously existing pavement at the project beginning and end.

Smoothness will be measured in both wheel paths of each lane and reported as profilograph results (PrI) filtered with a 0.2 inch blanking band.  Report PrI as a job average for all measured lanes, calculated to the nearest 0.1 inch.

408-3.16 PATCHING DEFECTIVE AREAS.  Remove any hot mix asphalt that becomes contaminated with foreign material, is segregated, or is in any way determined to be defective.  Do not skin patch. Remove defective hot mix asphalt for the full thickness of the course. Cut the pavement so that all edges are vertical, the sides are parallel to the direction of traffic. Coat edges with a tack coat meeting Section 402 and allow to cure. Place and compact fresh hot mix asphalt according to subsection 408-3.13 to grade and smoothness requirements.

Costs associated with patching defective areas are subsidiary to the Hot Mix Asphalt pay item.

408-4.01 METHOD OF MEASUREMENT.  Section 109 and the following:

Hot Mix Asphalt.

a)	By weighing, no deduction will be made for the weight of asphalt cement or anti-stripping additive.

b)	By the area of final hot mix asphalt surface.

Asphalt Price Adjustment. Calculated by quality level analysis under subsections 408-4.03, 408-4.04, and 408-4.05.

Asphalt Cement. By the ton as follows:

1.	Percent of asphalt cement for each sublot multiplied by the total weight represented by that sublot.  ATM 405 or WAQTC FOP for AASHTO T 308 will determine the percent of asphalt cement.  The same tests used for the acceptance testing of the sublot will be used for computation of the asphalt cement quantity. If no acceptance testing is required, the percent of asphalt cement is the target value for asphalt cement in the Job Mix Design.

2.	Supplier's invoices minus waste, diversion and remnant. This procedure may be used on projects where deliveries are made in tankers and the asphalt plant is producing hot mix asphalt for one project only.

The Engineer may direct, at any time, that tankers be weighed in the Engineers presence before and after unloading. If the weight determined at the project varies more than 1% from the invoice amount, payment will be based on the weight determined at the project.

Remnant or diversion will be calculated based on tank stickings or weighing the remaining asphalt cement.  The Engineer will determine the method.  The weight of asphalt cement in waste hot mix asphalt will be calculated using the target value for asphalt cement as specified in the Job Mix Design.

Method 1 will be used for determining asphalt cement quantity unless otherwise directed in writing.  The procedure initially used will be the one used for the duration of the project.  No payment will be made for any asphalt cement more than 0.4% above the optimum asphalt cement content specified in the Job Mix Design.

Temporary Pavement. No measurement for payment will be made.

Anti-Strip Additive.  No measurement for payment will be made.

Job Mix Design. When specified, Contractor furnished Job Mix Designs will be measured at one per hot mix asphalt class and type.

Longitudinal Joint and Joint Adhesive.  By the lineal foot.

408-4.02 ACCEPTANCE SAMPLING AND TESTING. The quantity of each class and type of hot mix asphalt produced and placed will be divided into lots and the lots evaluated individually for acceptance.

A lot will normally be 5,000 tons.  The lot will be divided into sublots of 500 tons; each randomly sampled and tested for asphalt cement content, density, and gradation according to this subsection.  If the project has more than 1 lot, and less than 8 additional sublots have been sampled at the time a lot is terminated, either due to completion of paving operations or the end of the construction season (winter shutdown), the material in the shortened lot will be included as part of the prior lot. The price adjustment computed, according to subsection 408-4.03, for the prior lot will include the samples from the shortened lot.

If 8 or 9 samples have been obtained at the time a lot is terminated, they will be considered as a lot and the price adjustment will be based on the actual number of test results (excluding outliers) in the shortened lot.

If the Contract quantity is between 1,500 tons and 5000 tons, the Contract quantity will be considered 1 lot.  The lot will be divided into sublots of 500 tons and randomly sampled for asphalt cement content, density, and gradation according to this subsection except that a determination for outliers will not be performed.  Hot mix asphalt quantities of less than 300 tons remaining after dividing the Contract quantity into sublots will be included in the last sublot.  Hot mix quantities of 300 tons or greater will be treated as an individual sublot.  The lot will be evaluated for price adjustment according to subsection 408-4.03 except as noted.

For Contract quantity of less than 1,500 tons, (or for temporary pavement), hot mix asphalt will be accepted for payment based on the Engineer's approval of a Job Mix Design and the placement and compaction of the hot mix asphalt to the specified depth and finished surface requirements and tolerances.  The Engineer reserves the right to perform any testing required in order to determine acceptance.  Remove and replace any hot mix asphalt that does not conform to the approved JMD.

Samples collected at the plant from dry batched aggregates, the conveyor system, or the asphalt cement supply line shall be taken by the Contractor in the presence of the Engineer.  The Engineer will take immediate possession of the samples.

1. 	Asphalt Cement Content. Hot mix asphalt samples taken for the determination of asphalt cement content will be taken randomly from behind the screed before initial compaction, at the end of the auger, or from the windrow according to WAQTC FOP for AASHTO T168 and ATM 403 as directed by the Engineer.  Hot mix asphalt samples taken for the determination of both asphalt cement content and gradation will be taken randomly from behind the screed before initial compaction or from the windrow according to WAQTC FOP for AASHTO T 403.

Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  At the discretion of the Engineer, asphalt cement content will be determined according to ATM 405 or WAQTC FOP for AASHTO T 308.

2.	Aggregate Gradation.

a.	Drum Mix Plants.  Samples taken for the determination of aggregate gradation from drum mix plants will be from the combined aggregate cold feed conveyor via a diverter device, or from the stopped conveyor belt according to WAQTC FOP  for AASHTO T2, or from the same location as samples for the determination of asphalt cement content.  Locate diverter devices for obtaining aggregate samples from drum mix plants on the conveyor system delivering combined aggregates into the drum.  Divert aggregate from the full width of the conveyor system and maintain the diverter device to provide a representative sample of aggregate incorporated into the hot mix asphalt.  Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  The aggregate gradation for samples from the conveyor system will be determined according to WAQTC FOP for AASHTO T 27/T 11.  For hot mix asphalt samples, the gradation will be determined according to WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO T 308) has burned off the asphalt cement.

- Batch Plants. Samples taken for the determination of aggregate gradation from batch plants will be from the same location as samples for the determination of asphalt cement content, or from dry batched aggregates according to WAQTC FOP for AASHTO T 2.  Two separate samples will be taken, one for acceptance testing and one held in reserve for retesting if applicable.  Dry batched aggregate gradations will be determined according to WAQTC FOP for AASHTO T 27/T 11.  For hot mix asphalt samples, the aggregate gradation will be determined according to WAQTC FOP for AASHTO T 30 from the aggregate remaining after the ignition oven (WAQTC FOP for AASHTO T 308) has burned off the asphalt cement.

3.	Density. Cut full depth core samples from the finished hot mix asphalt within 24 hours after final rolling.  Neatly cut one 6 inch diameter core sample with a core drill at each location marked by the Engineer.  Cut 6 inch diameter core samples for assurance testing as directed by the Engineer.  Use a core extractor to prevent damage to the core.  The Engineer will determine the density of the core samples according to WAQTC FOP for AASHTO T 166/T 275.  Do not core hot mix asphalt on bridge decks.  Backfill and compact voids left by coring with new hot mix asphalt within 24 hours.

Cores for longitudinal joint density shall be centered on the longitudinal joint at each location the panel completing the joint is cored for mat density acceptance testing.

4.	Retesting. A retest of any sample outside the limits specified in Table 408-2 may be requested provided the quality control requirements of 408-2.05 are met.  Deliver this request in writing to the Engineer within 7 days of receipt of the initial test result.  The Engineer will mark the sample location for the density retest within a 2 foot radius of the original core.  The original test results will be discarded and the retest result will be used in the price adjustment calculation regardless of whether the retest result gives a higher or lower pay factor. Only one retest per sample is allowed.  Except for the first lot, when gradation or asphalt cement content are determined from the same sample retesting for gradation or asphalt cement content from the first sublot of a lot will include retesting for the MSG; when separate samples are used, retesting for asphalt cement content will include retesting for the MSG.

5.	Asphalt Cement.

The lot size for asphalt cement will normally be 200 tons.  If a project has more than one lot and the remaining asphalt cement quantity is less than 150 tons, it will be added to the previous lot and that total quantity will be evaluated for price adjustment as one lot.  If the remaining asphalt cement quantity is 150 tons or greater, it will be sampled, tested and evaluated as a separate lot.

If the Contract quantity of asphalt cement is between 85 – 199 tons, the contact quantity will be considered as one lot and sampled, tested, and evaluated according to this subsection.  Quantities of asphalt cement less than 85 tons will be accepted based on manufacturer’s certified test reports and certification of compliance.

Asphalt cement will be sampled according to WAQTC FOP for AASHTO T 40, tested for conformance to the Specifications in Section 702, and evaluated for price adjustment in accordance with 408-4.03.  Asphalt cement pay reduction factors for each sample will be determined from Table 408-4.  Three separate samples from each lot will be taken, one for acceptance testing, one for Contractor retesting, and one held in reserve for referee testing if applicable.

The total asphalt cement price adjustment is the sum of the individual lot price adjustments and will be subtracted under Item 408(3) Asphalt Price Adjustment.

408-4.03 EVALUATION OF MATERIALS FOR ACCEPTANCE.  The following method of price adjustment will be applied to each type of Hot Mix Asphalt for which the Contract quantity equals or exceeds 1,500 ton, except as defined in subsection 408-4.02.

Acceptance test results for a lot will be analyzed collectively and statistically by the Quality Level Analysis method as specified in subsection 106-1.03 to determine the total estimated percent of the lot that is within specification limits.

The price adjustment is based on the lower of two pay factors. The first factor is a composite pay factor for hot mix asphalt that includes gradation and asphalt cement content.  The second factor is for density.

A lot containing hot mix asphalt with less than a 1.00 pay factor will be accepted at an adjusted price, provided the pay factor is at least 0.75 and there are no isolated defects identified by the Engineer.  A lot containing hot mix asphalt that fails to obtain at least a 0.75 pay factor will be considered unacceptable and rejected under subsection 105-1.11.

The Engineer will reject hot mix asphalt that appears to be defective based on visual inspection.  A minimum of two samples will be collected from the rejected hot mix asphalt and tested if requested.  If all test results are within specification limits, payment will be made for hot mix asphalt.  If any of the test results fail to meet Specifications, no payment will be made and the cost of the testing will be subtracted under Item 408(3) Asphalt Price Adjustment.  Costs associated with removal and disposal of the rejected hot mix asphalt are subsidiary to the Hot Mix Asphalt pay item.

Outlier Test. Before computing the price adjustment, the validity of the test results will be determined by SP-7, the Standard Practice for Determination of Outlier Test Results. Outlier test results will not be included in the price adjustment calculations.

When gradation and asphalt cement content are determined from the same sample, if a sieve size on a gradation test or the asphalt cement content is an outlier, then the gradation test results and the asphalt cement content results for that sublot will not be included in the price adjustment. The density test result for that sublot will be included in the price adjustment provided it is not an outlier.  If the density test result is an outlier, the density test result will not be included in the price adjustment, however, the gradation and asphalt cement content results for that sublot will be included provided neither is an outlier.

When gradation and asphalt cement content are determined from separate samples, if any sieve size on the gradation test is an outlier, then the gradation test results for that sample will not be included in the price adjustment.  The asphalt cement content and density test results for that sublot will be included in the price adjustment provided neither is an outlier.  If the asphalt cement content test result is an outlier, it will not be included in the price adjustment but the gradation and density test results for the sublot will be included provided neither is an outlier.  If the density test result is an outlier, it will not be included in the price adjustment but the gradation and asphalt cement content test results will be included provided neither is an outlier.

Quality Level Analysis. Pay factors are computed as follows:

1.	Outliers (determined by SP-7), and any test results on material not incorporated into the work, are eliminated from the quality level analysis.

The arithmetic mean () of the remaining test results is determined:

Where:	= summation of

x = individual test value to xn

n = total number of test values

is rounded to the nearest tenth for density and all sieve sizes except the No. 200 sieve.  is rounded to the nearest hundredth for asphalt cement content and the No. 200 sieve.

2.	The sample standard deviation(s), after the outliers have been excluded, is computed:

Where:	(x2)	=	sum of the squares of individual test values.

(x)2	=	square of the sum of the individual test values.

The sample standard deviation (s) is rounded to the nearest hundredth for density and all sieve sizes except the No. 200 sieve.  The sample standard deviation (s) is rounded to the nearest 0.001 for asphalt cement content and the No. 200 sieve.

If the computed sample standard deviation (s) is <0.001, then use s = 0.20 for density and all sieves except the No. 200.  Use s = 0.020 for asphalt cement content and the No. 200 sieve.

3.	The USL and LSL are computed.  For aggregate gradation and asphalt cement content, the Specification Limits (USL and LSL) are equal to the Target Value (TV) plus and minus the allowable tolerances in Table 408-2.  The TV is the specification value specified in the approved Job Mix Design. Specification tolerance limits for the largest sieve specified will be plus 0 and minus 1 when performing PWL calculations. The TV for density is 94% of the maximum specific gravity (MSG), the LSL is 92% of MSG and the USL is 98%.

TABLE 408-2

LOWER SPECIFICATION LIMIT (LSL) &

UPPER SPECIFICATION LIMIT (USL)

| Measured Characteristics | LSL | USL |
| --- | --- | --- |
| 3/4 inch sieve | TV-6.0 | TV+6.0 |
| 1/2 inch sieve | TV-6.0 | TV+6.0 |
| 3/8 inch sieve | TV-6.0 | TV+6.0 |
| No. 4 sieve | TV-6.0 | TV+6.0 |
| No. 8 sieve | TV-6.0 | TV+6.0 |
| No. 16 sieve | TV-5.0 | TV+5.0 |
| No. 30 sieve | TV-4.0 | TV+4.0 |
| No. 50 sieve | TV-4.0 | TV+4.0 |
| No. 100 sieve | TV-3.0 | TV+3.0 |
| No. 200 sieve1 | TV-2.0 | TV+2.0 |
| Asphalt % | TV-0.4 | TV+0.4 |
| Density % | 92 | 98 |

Note 1.Tolerances for the No. 200 sieve may not exceed the broadband limits in Table 703-3.

4.	The Upper Quality Index (QU) is computed:	 QU

Where:	USL = Upper Specification Limit

QU is rounded to the nearest hundredth.

5.	The Lower Quality Index (QL) is computed:	 QL

Where:	LSL = Lower Specification Limit

QL is rounded to the nearest hundredth.

6.	PU (percent within the upper specification limit which corresponds to a given QU) is determined. See Subsection 106-1.03.

7.	PL (percent within the lower specification limit which corresponds to a given QL) is determined. See Subsection 106-1.03.

8.	The Quality Level (the total percent within specification limits) is determined for aggregate gradation, asphalt cement content, and density.

Quality Level = (PL + PU) - 100

9.	Using the Quality Levels from Step 8, the lot Pay Factor is determined for Density (DPF) and gradation and asphalt cement content pay factors (PF) from Table 106-2. The maximum pay factor for the largest sieve size specification for gradation is 1.00.

10.	The Composite Pay Factor (CPF) for the lot is determined using the following formula:

[f3/4 inch (PF3/4 inch) + f1/2 inch (PF1/2 inch) +....fac (PFac)]

CPF =

f

The CPF is rounded to the nearest hundredth.

Table 408-3 gives the weight factor (f) for each sieve size and asphalt cement content.

TABLE 408-3

WEIGHT FACTORS

| ###### Sieve Size | Type I | Type II | Type III |
| --- | --- | --- | --- |
|  | ###### Factor “f” | Factor “f” | ###### Factor “f” |
| 1 inch sieve | 4 |  |  |
| 3/4 inch sieve | 4 | 4 |  |
| 1/2 inch sieve | 4 | 5 | 4 |
| 3/8 inch sieve | 4 | 5 | 5 |
| No. 4 sieve | 4 | 4 | 5 |
| No. 8 sieve | 4 | 4 | 5 |
| No. 16 sieve | 4 | 4 | 5 |
| No. 30 sieve | 4 | 5 | 6 |
| No. 50 sieve | 4 | 5 | 6 |
| No. 100 sieve | 4 | 4 | 4 |
| No. 200 sieve | 20 | 20 | 20 |
| Asphalt Cement Content, % | 40 | 40 | 40 |

The price adjustment will be based on either the CPF or DPF, whichever is the lowest value. The price adjustment for each individual lot will be calculated as follows:

Price Adjustment = [(CPF or DPF)* -1.00] x (tons in lot) x (PAB)

* CPF or DPF, whichever is lower.

PAB = Price Adjustment Base per ton = $107.50 per ton

Table 408-4

ASPHALT CEMENT PAY REDUCTION FACTORS

(Use the single, highest pay reduction factor)

|  | #### Spec | Pay Reduction Factor (PRF) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 0 | 0.04 | 0.05 | 0.06 | 0.07 |  | 0.08 |  | 0.1 |  | 0.25 | Reject or Engr Eval |
| ##### Tests On Original Binder |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Viscosity | <3 Pa-s | <3 |  | >3 |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | >1.00 kPa | >1.00 |  | 0.88-0.99 |  |  |  |  |  |  | 0.71-0.87 | 0.50-0.70 | <0.50 |
| Toughness | >110 in-lbs | >93.5 | 90.0-93.4 | 85.0-89.9 | 80.0-84.9 |  | 75.0-79.9 |  | 70.0-74.9 |  |  |  | <70.0 |
| Tenacity | >75 in-lbs | >63.8 | 61.0-63.7 | 58.0-60.9 | 55.0-57.9 |  | 52.0-54.9 |  | 48.0-51.9 |  |  |  | <48.0 |
| ##### Tests On RTFO |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mass Loss | <1.00 % | <1.00 |  | 1.001-1.092 |  |  |  |  |  |  | 1.093-1.184 | 1.185-1.276 | >1.076 |
| Dynamic Shear | >2.20 kPa | >2.20 |  | 1.816-2.199 |  |  |  |  |  |  | 1.432-1.815 | 1.048-1.431 | <1.048 |
| ##### Test On PAV |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dynamic Shear | <5000 kPa | <5000 |  | 5001-5289 |  |  |  |  |  |  | 5290-5578 | 5579-5867 | >5867 |
| Creep Stiffness, S | <300 MPa | <300 |  | 301-338 |  |  |  |  |  |  | 339-388 | 389-450 | >450 |
| Creep Stiffness, m-value | >0.300 | >0.300 |  | 0.287-0.299 |  |  |  |  |  |  | 0.274-0.286 | 0.261-0.273 | <0.261 |
| Direct Tension | >1.0 % | >1.0 |  | 0.86-0.99 |  |  |  |  |  |  | 0.71-0.85 | 0.56-0.70 | <0.56 |

# Asphalt Cement Price Adjustment for each sample = 5 x PAB x Qty X PRF

PAB = Price Adjustment Base

Qty = Quantity of asphalt cement represented by asphalt cement sample

PRF = Pay Reduction Factor from Table 408-4

Asphalt Cement Appeal Procedure.  Once notified of a failing test result of an asphalt cement sample, the Contractor has 21 days to issue a written appeal.  The appeal must be accompanied by all of the Contactor’s quality control test results and a test result of Contactor’s sample of this lot tested by an AASHTO accredited asphalt laboratory (accredited in the test procedure in question).  The Engineer will review these test results and using ASTM D3244 determine a test value upon which to base a price reduction.

If the Contractor challenges this value, then the referee sample held by the Engineer will be sent to a mutually agreed upon independent AASHTO accredited laboratory for testing.  This test result will be incorporated into the ASTM D3244 procedure to determine a test value upon which to base a price reduction. If this final value incurs a price adjustment, the Contractor under Item 408(3) Asphalt Price Adjustment, shall pay the cost of testing the referee sample.

The total Asphalt Price Adjustment is the sum of all the price adjustments for each lot.

408-4.04 EVALUATION OF PAVEMENT FOR SMOOTHNESS.

The top layer of hot mix asphalt will be measured according to 401-3.15 and evaluated for a smoothness price adjustment.  The Engineer will calculate the smoothness price adjustment as follows:

Smoothness Price Adjustment = PAB x PQ x SF

PAB = Price Adjustment Base (408-4.03)

PQ = Final quantity of Hot Mix Asphalt

PrI = Final measured hot mix asphalt smoothness, inches/mile

SF = Smoothness Factor

If the PQ is less than 1,500 tons,	 SF = 0

If the PQ is 1,500 to 5,000 tons, 	 SF = 0.1333 – (0.01666 x PrI)

If the PQ is greater than 5,000 tons, 	 SF = 0.0666 – (0.0083 x PrI)

The smoothness price adjustment will be applied under Item 408(3) Asphalt Price Adjustment.

- 408-4.05 EVALUATION OF LONGITUDINAL JOINTS FOR ACCEPTANCE.

Longitudinal joint density price adjustments apply when hot mix asphalt quantities are equal to or greater than 1,500 tons.

A longitudinal joint density price adjustment for the top layer will be based on the averages of the joint densities on a project and determined as follows:

1.	If project average joint density is less than 91% MSG, the following disincentives apply:

Longitudinal joint density price adjustment equal to $3.00 per lineal foot is deducted under Item 408(3) Asphalt Price Adjustment.

2.	If project average joint density is greater than 92% MSG apply the following incentive applies:

Longitudinal joint density price adjustment equal to $1.50 per lineal foot is added under Item 408(3) Asphalt Price Adjustment.

408-5.01 BASIS OF PAYMENT.  Anti-stripping additives and tack coat are subsidiary to the hot mix asphalt.

Payment for furnishing and installing joint adhesive and sealing pavement adjacent to the joints will be paid as 408(4) Longitudinal Joint Adhesive and Sealing.

The accepted quantity will be paid for at the adjusted Contract unit price for the pay item listed below, complete in place.

The Asphalt Price Adjustment will be the sum of the price adjustments for each lot, and for fees accrued for failure to cut cores and/or backfill voids left by sampling in the allotted time as outlined in subsection 408-4.02.

The Engineer will assess a mix design fee of $2,500.00 under Item 408(3) Asphalt Price Adjustment for each mix design subsequent to the first approved Job Mix Design for each Type and Class of Hot Mix Asphalt specified.

Failure to cut core samples within the specified period will result in a deduction of $100.00 per sample per day. Failure to backfill voids left by sampling within the specified period will result in a deduction of $100.00 per hole per day. The accrued amount will be subtracted under Item 408(3) Asphalt Price Adjustment.

Price adjustments will not apply to:

1.	Asphalt Concrete Mixture for leveling course

2.	Temporary Pavement

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

408(1A) 	Hot Mix Asphalt, Type V 	Ton

408(1B)	Hot Mix Asphalt, Type VH, Hard Aggregate	Ton

408(2) 	Asphalt Cement, PG 64-28 	Ton

408(3) 	Asphalt Price Adjustment 	Contingent Sum

408(4) 	Longitudinal Joint Adhesive and Sealing 	Linear Foot

R274USC04(6/07/06)

SECTION 501

STRUCTURAL CONCRETE

Special Provisions

501-1.01 DESCRIPTION.  Add the following:  Construct all concrete walls shown in the plans using Class A concrete.

501-2.1 MATERIALS. Add the following:

Sheet Piles			section 715

501-4.01 METHOD OF MEASUREMENT.  Add the following: Concrete for walls will be measured by the volume of concrete using Neat Line measurement. No measurement of reinforcing steel will be made. No deduction will be made for the volume of reinforcing steel.

501-5.01 BASIS OF PAYMENT. Add the following after the second paragraph:  Concrete used for walls will include all required work, forms, reinforcing steel, and materials for construction.  Sheet piling required for sidewalk retaining walls, type II, is incidental to the related work. All concrete walls will be paid under item 501(4) Class A Concrete.  Payment for Steel Cut-Outs will be made under section 504. Payment for Structure Lighting will be made under section 660.

SECTION 504

STEEL STRUCTURES

504-1.01 DESCRIPTION.  Add the following:  This work also includes the fabrication and installation of Steel Cut-Outs.

Add the following Subsection:

504-1.02 SUBMITTALS. Add the following:

Submit the following:

      - Working Drawings for the steel cut-out fabrications that include specific instructions for all phases of the installation including hole sizes, fasteners, preparation, placement, procedures, and instructions for safe handling of anchoring systems. Submit the working drawings for approval at least 30 days prior to beginning fabrication.

      - Submit one complete sample Steel Cut-Out fabrication with finish applied for approval at least 7 days prior to installation. The sample may be used in the actual work when approved.

      - Submit manufacturer’s product information for Thread Locking Epoxy showing single component anaerobic material intended for high strength threaded joints.

504-2.01 MATERIALS. Add the following:

| Stainless Steel Bolts | ASTMF593, Alloy Group 1, Condition SH |
| --- | --- |
| Stainless Steel Nuts and Washers | ASTMF594, Alloy Group 1, Condition SH |
| Stainless Steel Plates, strips, sheet | ASTM A167 or A240 |
| Thread Locking Epoxy | Single component anaerobic material intended for high strength threaded joints. Submit manufacturer’s product information to the Engineer for approval. |

Steel Cut-Outs consist of stainless steel plate patterns as shown on the plans, and all stainless steel hardware necessary for installation.

504-3.01 FABRICATION. Add the following numbered item:

10.	Steel Cut-Outs Fabrication. 

Fabrication:

- Finish exposed surfaces smooth, uniform, sharp, and true to well-defined lines. Provide fabricated product free of warps, kinks, dents, scrapes and other damage or unsightly condition.

- Horizontal elements shall be fabricated perpendicular to vertical elements. Vertical elements shall be constructed to be installed plumb.

- Drill metalwork as required for attaching hardware or other materials.

- Round edges to a small uniform radius. Grind burrs, jagged edges, and surface defects smooth. Flame cutting is not permitted.

- Package and clearly tag parts and assemblies in a manner that will protect materials from damage, and facilitate identification and field assembly.

Assembly:

- Fabricate as shown on the Plans.

- Ensure measurements shown on Plans match the dimensioning required for field installation within tolerances given.

- Grind cut edges smooth and straight. Remove fins and ensure smooth surface with no sharp edges on perforated plate.

Finish: Refer to the Plans for colors of finish. Powdercoating shall be applied through a minimum of a seven-step process to provide an acceptable finish:

Step 1: Blast clean to Steel Structures Painting Code SSPC-10 with a surface profile of no greater than 1.5 mils.

Step 2: Etch surfaces with an iron phosphate treatment to remove foreign material

Step 3: Rinse with potable water

Step 4: Rinse with non-chrome seal

Step 5: Oven dry surfaces prior to powder coating

Step 6: Electrostatically apply powdercoat base of zinc rich epoxy primer and partially cure

Step 7: Electrostatically apply final surface finish of polyester powder to a thickness of 3 mils and bake to proper cure schedule

Finish all stainless steel surfaces as follows:
      i.)    #4 surface finish on all plates, strips, and sheets 
      ii.)   180 grit surface finish on all tubes, pipes, and shapes.

Polychromatic Mosaic Film:

Where finish is shown to be polychromatic film, film shall be as manufactured by Gerber Holographix Prismatic Vinyl.  Submit samples for selection by the Engineer.  Clean as for powder coating and apply holographic film and protective UV overlayment per manufacturer’s directions.

Welding:

- Meet requirements of ANSI/AWS D1.1 for techniques of welding employed, appearance, quality of welds made and methods of correcting defective work.

- Meet visual acceptance standards of ANSI/AWS D1.1, paragraph 6.9. Welds shall be ground smooth to required size and be free of putty, pits, pinholes and debris.

- Complete welding before applying finish.

- Welds shall be continuous unless shown otherwise.

- To ensure proper powder coating, metal to metal connections shall be welded in their entirety unless noted as having a mechanical connection.

Installation - General:

- Install metal fabrications plumb or level, accurately fitted, free from distortion or defects.

- Install manufactured products in accordance with the manufacturer’s recommendations.

- Allow for erection loads, and for sufficient temporary bracing to maintain true alignment until completion of erection and installation of permanent attachments.

- Obtain Engineer’s acceptance prior to site cutting or making adjustments not scheduled.

- Construct railing to the line and grade shown on the plans.

Erection Tolerances:

- Ensure that the measurements as shown on the plans match the dimensioning required for field installation within tolerances given.  Where railing abuts adjoining sections, maximum tolerance shall be 1/16”.

- Bolt cut outs to punchplate on pedestrian railings, ping bolt ends at back to prevent casual removal of cut out.

504-4.01 METHOD OF MEASUREMENT.  Add the following:

Steel Cut-Outs. By Lump Sum for all Steel Cut-Outs shown on the plans, regardless of type, installed in place and accepted by the Engineer.

504-5.01 BASIS OF PAYMENT. Add the following:

Welding and fabrication inspection is subsidiary.

Add the following pay items:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 504(3) | Steel Cut-Outs | Lump Sum |

### SECTION 505

### PILING

Special Provisions

505-3.03 Pile Bearing Values.  Delete the first paragraph of this subsection and substitute the following: Drive piles, except piles for lighting standards, to the required ultimate bearing capacity.  For lighting standards, install piles of sufficient length to cut the pile at the required cut off elevation and to provide the minimum installed length shown on the Plans.

505-3.09 Driving Piles.  Add the following: Sites for the lighting standard foundations can contain subsurface soils that consist of very dense sandy gravel with cobbles and boulders.

When the minimum pile length shown on the Plans for a lighting standard foundation can not be achieved, install the pile tip to an elevation established by the Engineer.

505-4.01 Method of Measurement.

Add the following to the second paragraph:

Do not measure piles for lighting standards for payment.

505-5.01 BASIS OF PAYMENT. Add the following to the second paragraph:  Include costs of furnishing and installing piles for lighting standards in Item 660(3) Highway Lighting System Complete.

(04/15/05)R65USC04

SECTION 507

BRIDGE RAILING

507-1.01 DESCRIPTION.  Add the following:  This work also includes the installation of Pedestrian Railings onto barriers at intersections.

507-2.01 MATERIALS. Add the following:

| 4. | Pedestrian Railing | Section 722 |
| --- | --- | --- |
| 5. | Polyester material for powder coating | AAMA 605.2 for mechanical, chemical and corrosion resistance |

507-3.01 CONSTRUCTION REQUIREMENTS.  Add the following:

5.	Pedestrian Railing. 

Provide fabricated product free of warps, kinks, dents, scrapes and other damage or unsightly condition. Round sharp edges to a uniform radius. Grind all edges and corners smooth and straight.

Finish exposed surfaces smooth, uniform, sharp, and true to well-defined lines. After welding is completed, finish all stainless steel surfaces as follows:

      i.)    #4 surface finish on all plates, strips, and sheets 
      ii.)   180 grit surface finish on all tubes, pipes, and shapes.

Package and clearly tag parts and assemblies in a manner that will protect materials from damage, and facilitate identification and field assembly.

Install rail plumb to within a lateral displacement of ¼-inch over the height of the rail.

Allow for erection loads, and for sufficient temporary bracing to maintain true alignment until completion of erection and installation of permanent attachments.

Obtain Engineer’s acceptance prior to site cutting or making adjustments not scheduled.

507-4.01METHOD OF MEASUREMENT. Add the following:

Railing and punch-plate insert that provides background for steel cutouts shall be measured by the linear foot, from center of end post, to center of end post.  for the different types indicated on the plans. Steel cutouts that are to be placed in the Pedestrian Railings paid under section 504.

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 507(2a) | Pedestrian Railing, Type A | Linear Foot |
| 507(2b) | Pedestrian Railing, Type B | Linear Foot |

SECTION 511

MECHANICALLY STABILIZED EARTH (MSE) WALL

Delete this section in it’s entirety and substitute the following:

511-1.01 DESCRIPTION. Mechanically Stabilized Embankment (MSE) Retaining Walls shall be constructed according to these Specifications and at the locations shown on the Plans.  The MSE retaining walls shall consist of precast concrete facing panels connected to a metallic strip or metallic grid reinforcement. The following is the list of acceptable MSE systems for this project. At the Contractor's option, one of the following acceptable MSE systems may be constructed:

“MSE PLUS” of the SSL Company

4740 Scotts Valley Drive, Suite E 209

Scotts Valley, CA  95066

Phone: (831) 430-9300

www.mseplus.com

"Reinforced Earth" of the Reinforced Earth Company

1 Orchard Road, Suite 220

Lake Forest, CA 92630

Phone: (949) 587-3060

www.reinforcedearth.com

"RSE-Smooth Face" of Hilfiker Retaining Walls

P.O. Box 2012

Eureka, CA 95502-2012

Phone: (707) 443-5093

www.hilfiker.com

Use only one MSE wall system for installation on this project. Use of multiple systems will not be allowed. The MSE wall system design shall conform to the requirements of the current AASHTO

LRFD Bridge Design Specifications, Fourth Edition, with the 2007 Interim revisions, as required on the Plans, and in these special provisions.

Submit complete working drawings for the selected wall system in accordance with the provisions in Subsection 105-1.02, "Plans and Working Drawings" of the Standard Specifications. Verify the existing ground elevations at the site before preparing the final working drawings. Working drawings shall contain all information required for the proper construction of the system and any required revisions or additions to drainage or other facilities. Supplement working drawings with calculations for each particular installation. The working drawings and calculations shall be sealed and signed by an Engineer who is licensed as a Civil Engineer in the State of Alaska. Allow the Engineer 3 weeks (21 calendar days) to review the working drawings and calculations.  Preliminary or partial submittals of working drawings and calculations will not be accepted.

Heights, lengths, and depths of MSE systems may vary slightly from, but shall not be less than those of the MSE walls shown on the Plans. The height and length to be used for any system shall be the minimum for the system that will effectively retain the earth behind the structure for the loading conditions, contours, profile, or slope lines shown on the Plans.  In addition, if the Plans show limiting parameters for the systems, the system selected shall conform to those parameters. The construction of the MSE system shall conform to the details on the approved working drawings.

511-2.01 MATERIALS.  Furnish materials for the MSE retaining walls conforming to the following:

General.  Purchase and/or manufacture the face elements, reinforcing-mesh, grid or strips, attachment devices, concrete headwalls, joint filler, and all other necessary components from sources listed in these Specifications and as shown on the Contract Plans.  Do not use materials not conforming to the Plans, Specifications or from sources not listed in the Contract documents without written authorization from the Engineer.

Use fabricated and furnished materials for the MSE wall system on this project conforming to the wall manufacturers requirements of the selected MSE system, and to the applicable design and construction sections of the AASHTO LRFD Bridge Design Specifications, Fourth Edition (2007)..

- MSE Backfill Materials:  All MSE backfill materials used in the structure volume shall be free (less than 1 percent as determined by ATM 203), from organic or otherwise deleterious materials and shall conform to the gradation requirements of Selected Material, Type A with a maximum size of 6-inches or less as determined by WAQTC FOP for AASHTO T27/T11.   The material shall have a sodium sulfate soundness loss of less than 10 percent after four cycles, as determined in accordance with AASHTO T 104.

Electrochemical Requirements. The MSE backfill materials shall meet the following criteria:

Requirements				  Test Methods

Resistivity	>3,000 ohm cm		AASHTO  T 288

pH		          5-10			AASHTO  T 289

Chlorides	<100 parts per million		AASHTO  T 291

Sulfates	<200 parts per million		AASHTO  T 290

If the resistivity is greater or equal to 5000 ohm-cm, the chloride and sulfates requirements may be waived.

- Acceptance of Material.  Furnish to the Engineer a Certificate of Compliance certifying that all of the MSE system materials comply with the applicable Contract Specifications. A copy of all test results performed by the Contractor necessary to assure Contract compliance shall also be furnished to the Engineer.

Acceptance will be based on the Certificate of Compliance, accompanying test reports, and visual inspection by the Engineer. Additional testing may be required by the Engineer. If in the opinion of the Engineer, materials furnished for the MSE system do not meet the requirements as specified above, they will be rejected and shall be replaced at the Contractor’s expense. Final approval and acceptance of the MSE wall system will be subject to field inspection by the Engineer.

CONSTRUCTION REQUIREMENTS

511-3.01 EXCAVATION AND FOUNDATION. Excavate and prepare the foundation in conformance with Section 205, Excavation, Backfill and Foundation Fill for Structures.

Foundation Preparation.  Grade the foundation for the structure level for a width equal to or exceeding the length of reinforcement elements plus one (1) foot or as shown on the Plans. Compact the foundation soil prior to wall construction, except as noted below and where constructed on rock, with a minimum of two passes with a vibratory drum compactor. Remove any foundation soils found to be unsuitable and replace with backfill as per Section 205 and shown on the Plans.  Place a separation geotextile at the base of the subgrade as per Section 630.  Provide a non-reinforced concrete cast-in-place foundation leveling pad of the type shown on the Plans and the approved working drawings.

511-3.02 WALL ERECTION. Provide a on-site representative from the proprietary wall system being used to assist the Contractor and Engineer during the erection of the wall. The services of the representative shall be at no additional cost to the State.

Place concrete panels so that their final position is as shown in the Plans. Panels shall be handled by means of lifting devices connected to the upper edge of the panel or as per the MSE wall suppliers recommendations. Panels shall be placed in successive horizontal lifts in the sequence shown on the working drawings as backfill placement proceeds. As backfill material is placed behind the panels, maintain the panels in vertical position by means of temporary wedges or bracing according to the wall suppliers recommendation. Do not exceed vertical and horizontal tolerances of ¾-inch as measured with a 10-foot straight edge. During construction, the maximum allowable offset in any panel joint is ¾-inch. Do not exceed ½-inch per 10-feet of wall height for the overall vertical tolerance of the wall. Check plumb and tolerances of each panel row at the face prior to erection of the next panel row. Remove backfill and reset panels when any panels are out of tolerance.  Provide uniform horizontal, vertical and slope joint openings between panels no larger than 1 ¼-inch and no smaller than ½-inch.

Place reinforcement elements normal to the face of the wall, unless otherwise shown on the Plans. Prior to placement of the reinforcing elements, compact backfill in accordance with Section 205 of the Standard Specifications and these special provisions.

Backfill Placement.  Closely follow erection of each course of panels with backfill placement. Place backfill in such a manner as to avoid any damage or disturbances of the wall materials or misalignment of the facing panels. Remove and replace any wall materials which become damaged during backfill placement. Correct any misalignment or distortion of the wall facing panels due to placement of backfill outside the limits of this specification.  The backfill placement will be performed in accordance with subsection 203-3.03 of the Standard Specifications.

Compact backfill to 95 percent of the maximum density as determined by WAQTC FOP for AASHTO T99/T180 or ATM 212.  Where spread footings support bridge or other structural loads, compact the top 5-feet below the bottom of the footing elevation to 98 percent of the maximum density.  Field density will be determined in accordance with WAQTC FOP for AASHTO T310.

Achieve compaction within 3-feet of the back face of the wall facing with at least three passes of a lightweight mechanical tamper, roller or vibratory system.

At the end of each day's operation, slope the last level of backfill away from the wall facing to rapidly direct water runoff away from the wall face. In addition, do not allow surface runoff from adjacent areas to enter the wall construction site.

511-401 METHOD OF MEASUREMENT. Mechanically Stabilized Embankment Retaining Walls will be measured by the square foot of wall face measured along the face of the wall. Regardless of the type of system actually constructed, the square foot area for payment will be based on the height and length of each section of mechanically stabilized embankment retaining wall shown on the Plans which was constructed. The height of each section will be taken as the difference in elevation on the outer face from the bottom of the lowermost face panel to the top of the uppermost face panel, based on the approved working drawings.

Tapered wall sections will be measured using the average height resulting from the height measured at each end of the tapered section.

511-5.01 BASIS OF PAYMENT. The Contract price paid per square foot of MSE wall face for MSE Retaining Walls shall include full compensation for furnishing all labor, materials, tools, equipment, and incidentals and for doing all work involved in constructing the earth retaining structure; including reinforcing steel, leveling base, face panels, coping, pipe headwalls, and all parts of or appurtenances to the earth reinforcement system, complete in place, as shown on the Plans, as provided in the Standard Specifications, Standard Modifications and these Special Provisions, and as directed by the Engineer.

Structure excavation and backfill are paid for under Sections 203 and 205.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 511(1) | Mechanically Stabilized Earth Wall | Square Foot |

SECTION 514

MODULAR BLOCK RETAINING WALLS

Special Provisions

514-1.01 DESCRIPTION. The Modular Block Retaining Walls shall be constructed at the locations shown on the plans and as provided in these specifications. The Modular Block Retaining Walls to be constructed shall consist of a precast modular masonry product specifically engineered for the retention of earth.  The modular units shall be a gravity system and shall lock together vertically by pins.  The pins shall also be connected to geogrid or other reinforcement shown in the approved working drawings.

The Contractor shall submit Modular Block Retaining Wall working drawings necessary to augment the wall system shown in the plans in accordance with the provisions in Subsection 105-1.02 of the Standard Specifications for approval. Working Drawings shall be signed and sealed by a professional engineer registered in the State of Alaska. The Contractor shall allow the Engineer 3 weeks to review the working drawings and calculations after a complete set of working drawings and calculations are submitted by the Contractor.

The Contractor shall verify the existing ground elevations at the site before preparing the final working drawings. Working drawings shall contain all information required for the proper construction of the system and any required revisions or additions to drainage or other facilities. The working drawings shall be supplemented with calculations for the particular installation. Working drawings and calculations shall demonstrate the internal stability as well as the external stability of the modular block retaining wall.

The Contractor may submit an alternate modular block system for approval.  The submittal for the alternate modular block retaining wall shall include complete working drawings for the alternate wall system in accordance with the provisions in Subsection 105-1.02.

Heights, lengths, and depths of Modular Block Retaining Wall systems may vary somewhat from, but shall not be less than those shown on the plans.

The height and length to be used for any system shall be the minimum for the system that will effectively retain the earth behind the structure for the loading conditions, profile, or slope lines shown on the plans or on the approved working drawings. In addition, if the plans show limiting parameters for the systems, the system selected shall conform to those parameters.

The design of the Modular Block Retaining Wall system shall consider the live traffic loads, and dead loads of the parking lot and electrical transformer to be placed near the top of the wall.

The construction of the Modular Block Retaining Wall system shall conform to the details shown on the plans and shall be constructed in accordance with the manufacturer’s instructions.  The supplier shall provide technical assistance and training to the Contractor.  The Contractor shall provide evidence of prior installation experience with the specific product being used.

514-2.01 MATERIALS. Materials furnished for the Modular Block Retaining Walls shall conform to the following:

GENERAL. The Contractor shall make his own arrangements to purchase the precast modular block units, geogrid, attachment devices, and all other necessary components from sources listed in these specifications and as shown on the contract plans. Materials not conforming to the plans, specifications or from sources not listed in the contract documents, shall not be used without written consent from the Engineer.

A.	Modular Block Units. The units shall be precast in conformance with the manufacturer’s requirements and the following additions:

1.	Handling, Storage and Shipping: All units shall be handled, stored, and shipped in such a manner as to protect them from chipping, discoloration, cracks, and fractures.

2.	Rejection: Units shall be rejected because of failure to meet any of the requirements specified above. In addition, any of the following defects shall be sufficient cause for rejection.

(a)	Defects caused by faulty casting.

(b)	Defects indicating honeycombed or open texture concrete.

(c)	Cracked or severely chipped units.

(d)	Unreasonable color variation on front face of unit.

3.	Color:   Block color shall be light brown.  Contractor shall submit samples of colors for approval by the Engineer prior to purchase.

B.	Coping. The coping shall be fabricated in conformance with Section 501, with the following exceptions and additions:

1.	The Portland cement concrete shall conform to Class A with a minimum 3,000 psi compressive strength at 28 days.

2.	Concrete Finish and Tolerances: The concrete surface of the exposed faces shall have a smooth faced finish surface. All exposed exterior edges shall have a 3/4" chamfer.  The galvanized steel post sleeves or other galvanized devices shall not contact or be attached to the coping reinforcement steel.

3.	Reinforcing steel for the coping shall be epoxy coated and conform to AASHTO M31.

C.	Soil Reinforcing and Attachment Devices. All reinforcing and attachment devices shall be carefully inspected to insure they are true to size and free from defects that may impair strength and durability. The geogrid shall meet the requirements of AASHTO Standard Specifications for Highway Bridges, latest Edition, and per the modular block unit suppliers design recommendations.

D.	Backfill Materials. All backfill materials for modular block retaining walls shall conform to requirements for selected material, Type A, as set forth in subsection 703-2.07 Selected Material.  It shall have a minimum in-place density of 130 pcf and shall conform to the following criteria for backfill corrosion testing:

| Requirement | Test Method | Value |
| --- | --- | --- |
| Resistivity | - | >3000 ohm-cm |
| pH | ASTM D-1243 | 5.0 to 10.0 |
| Chlorides | ASTM D-512B | less than 200 PPM |
| Sulfates | ASTM D-516B | less than 1000 PPM |
| Sulphides | Standard Methods, 15th Edition, Method 427C | less than 3000 PPM |

Samples will be prepared for backfill corrosion testing by extracting pore water using the methods described in "Methods of Soil Analysis, Part II, Chemical and Microbiological Properties," Chapters 10-2 to 10-4. The Contractor shall submit samples for approval at least 30 days prior to construction of the wall.

E.  	Steel Interface Plate.  The galvanized steel interface plate installed between the modular block retaining wall “E” and the existing galvanized steel bin wall shall conform to requirements set forth in Section 504 Steel Structures and subsection 660-2.15 Galvanizing.

CONSTRUCTION REQUIREMENTS

514-3.01 EXCAVATION AND FOUNDATION. Excavation and preparation of the foundation shall be in conformance with Section 205, Excavation, Backfill and Foundation Fill for Structures.

Foundation Preparation. The foundation for the modular block retaining wall structure shall be graded level for a width as shown on the plans. Prior to wall erection, the foundation backfill shall be compacted to meet the requirements of Section 301. Any foundation soils found to be unsuitable shall be removed and replaced with backfill as per Section 205.

514-3.02 WALL ERECTION. A field representative from the proprietary modular block wall system being used shall be available during the erection of the wall. The Services of the representative shall be at no additional cost to the State.

Precast masonry block units shall be placed so that their final position is vertical, or battered as shown in the plans.  The masonry block units shall be placed in successive horizontal lifts in the sequence shown on the working drawings as backfill placement proceeds.  While placing backfill material behind the first course of masonry block units, place backfill material at the front of the units.  Remove all excess backfill material from the top surface of all masonry block units prior to placement of the next course of masonry block units.

Reinforcement elements shall be placed normal to the face of the wall, unless otherwise shown on the approved working drawings. Prior to placement of the reinforcing elements, backfill shall be compacted in accordance with Section 205.

Backfill Placement. Backfill placement shall closely follow erection of each course of masonry blocks. Backfill shall be placed in such a manner as to avoid any damage or disturbances of the wall materials or misalignment of the facing panels. Any wall materials which become damaged during backfill placement shall be removed and replaced at the Contractor's expense. Any misalignment or distortion of the masonry block units due to placement of backfill outside the limits of this specification shall be corrected by the Contractor.

Backfill shall be compacted to 95 percent of the maximum density as determined by Alaska Test Method T-12 or AASHTO T 180.  The maximum lift thickness after compaction shall not exceed 8 inches. The Contractor shall decrease this lift thickness, if necessary to obtain the specified density. Field density will be determined using Alaska Test Method T-3 or T-11 by the Engineer.

Ride-on mechanical compaction equipment shall be operated no closer than 3 feet of the masonry unit back face.  Compaction within 3 feet of the back face of the wall facing may be achieved by using a lightweight mechanical tamper, roller or vibratory system.

A minimum of one density test shall be taken by the Engineer at each level of soil reinforcement material.  Soil tests shall be taken no closer than 3 feet from the back surface of the masonry modular block units.

At the end of each day's operation, the Contractor shall slope the last level of backfill away from the wall to rapidly direct water runoff away from the wall face. In addition, the Contractor shall not allow surface runoff from adjacent areas to enter the wall construction site.

514-401 METHOD OF MEASUREMENT. Modular Block Retaining Wall will be measured by the square foot of wall face measured along the face of the wall, and including that part of wall which is below grade as indicated on the plans. This measurement shall include the PCC coping.  Measurement shall take place prior to fill or backfill.

514-5.01 BASIS OF PAYMENT. The contract price paid per square foot of wall face for Modular Block Retaining Wall shall include full compensation for furnishing all labor, materials, tools, equipment, and incidentals and for all work involved in constructing the Modular Block Retaining Structure; including precast masonry blocks, Portland cement concrete coping, pins, geogrid, galvanized steel interface plate, backfill soil, excavation, crushed aggregate base course leveling pad, post sleeves, and all parts of or appurtenances to the modular block earth reinforcement system, complete in place.

The galvanized steel interface plate and associated connecting hardware shall be furnished and installed, and shall be subsidiary to 514(3) Modular Block Retaining Wall.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 514(3) | Modular Block Retaining Wall | Square Foot |

SECTION 603

CULVERTS AND STORM DRAINS

# Special Provisions

603-1.01 DESCRIPTION.  Add the following:  This work shall also consist of installing culvert marker posts.

603-2.01 MATERIALS.  Delete the second paragraph and substitute the following:  When Item 603(17-xx), Pipe, is listed in the bid schedule, furnish either Corrugated Steel Pipe (CSP) or Reinforced Concrete Pipe.  Corrugated Polyethylene Pipe is not allowed.  End Sections for Metal Pipe must be of the same material as the pipe.

For Items 603(17-60) and 603(17-72), pipe furnished shall have a Manning’s “n” of 0.013 or better.

Add the following:  Culvert marker posts shall meet the requirements of subsection 730-2.05, Flexible Delineator Posts.  The color shall be blue with no other markings.  The 2.5-inch by 6 foot post shall be rectangular in cross section with reinforcing ribs capable of a minimum bending radius of 9 inches.

Add the following subsection:

603-3.06 CULVERT MARKER POSTS.  Culvert marker posts shall be installed on the approach side of storm drain outfalls 30 inches and smaller, field inlets not in paved parking lots, all end sections to cross culverts, or as directed by the Engineer.  Forty two inches of post shall remain above the ground after driving.

603-4.01 METHOD OF MEASUREMENT.  Add the following:  Culvert marker posts will not be measured for payment.

603-5.01 BASIS OF PAYMENT.  Add the following:  Culvert marker posts will not be paid for directly, but will be subsidiary to pipe items.

SECTION 604

MANHOLES AND INLETS

Special Provisions

604-1.01 DESCRIPTION. Add the following: For the purposes of these Special Provisions, "AWWU" shall mean the Anchorage Water and Wastewater Utility, Engineering Division at (907) 564-2774.

Furnish and install the sanitary sewer manholes and storm sewer manholes as shown on Plans.

This work also includes construction of Petroleum Separator Manholes, as shown on the plans.

604-2.01 MATERIALS. Add the following: Sanitary Sewer Manholes Materials used in the construction of manholes shall conform to the requirements of ASTM C-478 (AASHTO-199) and the plans.  Cones shall be Type (b), eccentric, unless otherwise approved.

Cement for mortar used in the construction of sewer manholes shall conform to the requirements of ASTM C-150, Type II.  Sand shall conform to AASHTO Specification M-45.  Use mortar composed of one (1) part cement and three (3) parts sand.  Construct joints so as to produce a smooth regular watertight surface.  Add only enough water to provide plasticity in placing the mortar.

Frames and Covers The tensile strength of the gray cast iron for sewer manhole frames, covers, and pavement-adjusting rings [Inland Foundary Co., Inc., Model #845-3 (or equal)] shall be 30,000-PSI minimum, conforming to the requirements of ASTM A-48.  The requirements for traverse breaking load shall be 2,000 pounds, conforming to the requirements ASTM A-438.  Contact surfaces between frames and covers shall conform to the details of the Plans.  Where lockable manhole covers are specified, the Contractor shall submit Working Drawings of the locking device for approval of the Engineer.

Each pre-cast sanitary sewer manhole concrete barrel section, pre-cast concrete eccentric cone section, concrete adjusting ring, and manhole cover/frame shall be set and sealed by use of a plastic gasket joint sealer as manufactured by Henry Co., Inc., Ram-Nek Sealant Division, or approved equal and installed according to the manufacturer’s specification.

All sanitary sewer manhole joints shall be sealed with MacWrap external joint seals as manufactured by MarMac Manufacturing Company, or approved equal.  External joint seals to be applied per manufacturer’s written recommendations.

All sanitary sewer exterior manhole concrete surfaces shall be coated for damp proofing with Henry Company #794 Synko-Mastic, or approved equal, brush grade foundation coating applied per manufacturer’s written recommendations.

Sanitary sewer manholes shall be installed with no less than three (3) layers of 8-mil polyethylene encasement on the outside of the manhole.

Refer to Section 501 for concrete.  The use of Transite or Asbestos Cement (AC) pipe to form manhole inverts is prohibited.

Rubber waterstops used in pipe-to-sanitary sewer manhole joints, shall be rings of resilient material that will fit snugly over a pipe.  The resilient material shall be held firmly against pipe surface by means of a stainless steel mechanical take-up device which, when tightened will compress the resilient material or, by a stretch, fit.  The rubber waterstop shall be designed and installed so that leakage between pipe and manhole is eliminated.  Material and manufacture of waterstops shall conform to applicable provision of the ASTM Standard Specifications for Resilient Connectors between Reinforced Concrete Manhole Structure and Pipes, ASTM C923.  Waterstops at manhole pipe penetrations shall be sealed with “Z-lok” and “A-lok” manhole pipe connections or approved equal.

Contractor shall furnish and install Petroleum Separator Manhole, Stormceptor Model STC3600 manufactured by:

Rinker Materials/Stormceptor

800 NE Tenney Road, Suite 413

Vancouver, WA  98685

Phone: 503-572-9894

FAX:  503-296-2023

Local Contact:

D & S Concrete, Inc.

2140 East Dimond Boulevard

Anchorage, AK 99507

Phone: 907-349-6031

FAX  907-349-4597

or an approved equal.

604-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Contact the AWWU Project Manager in writing a minimum of three (3) working days in advance of beginning construction to schedule a pre-inspection of the sanitary sewer manholes and a post inspection after paving operations are complete. Provide the Engineer a copy of the written notice. Contractor shall be responsible for furnishing all the required traffic control and personnel to assist AWWU while locating and performing the pre-construction and post-construction inspections. Contractor forfeits all rights to deny damages done by Contractor or Contractor’s agents during the course of work if Contractor fails to participate in this inspection.

Sanitary sewer manhole covers identified as worn in the pre-inspection shall be replaced with new covers provided by AWWU.  Coordinate with the AWWU Project Manager to obtain replacement covers from the AWWU warehouse.

Delete the fifth paragraph and add the following:  The manhole frames and covers shall be brought to grades as shown on the Plans. Manhole grade rings shall be set in and made secure by the use of “Ram-Nek” with primer (or equal).  In paved streets manhole grade rings and frames shall be placed on a full bed of mortar to prevent settlement.   Each manhole must have a minimum of one (1) six-inch grade ring and a two-inch pavement adjusting ring (Inland Foundary Co. Inc. Model #845-3 or equal).

Use of, and installation of a plastic gasket joint sealer (“Ram-Nek” or equal) for manhole construction shall be strictly in accordance with the manufacturer's printed instructions.  Gaskets shall be trimmed on the inside of the manhole to prevent the excess gasket material from entering the sanitary sewer and storm sewer lines.

Add the following to the sixth paragraph:  Prior to backfilling, the Contractor shall apply a bituminous damp proofing coating to the exterior of all sanitary sewer manholes; MacWrap (or equal) at all sewer manhole joints; and three (3) layers of 8-mil polyethylene encasement on the outside of the sewer manhole.

Delete the third sentence of the tenth paragraph and add the following:  Changes in directions of flow shall be made by forming a smooth radius sized to allow adequate access of a C.C.T.V. camera and/or maintenance equipment into the served sewer pipe.

Delete the eleventh paragraph and add the following:  The invert channels may be formed and poured in place, or may be constructed by laying a full section of sewer conduit through the manhole and breaking out the top half after the surrounding concrete has hardened.

Add the following after the twelfth paragraph:  All dead-end sanitary sewer manholes shall have an invert installed thru the entire sanitary sewer manhole for insertion of C.C.T.V. and/or maintenance equipment.

Add the following after the thirteenth paragraph:  Storm sewer manholes and catch basin manholes shall be constructed in accordance with the Plans. With reinforced concrete manholes, after the mortar has firmly set, the pipe is to be cut off evenly so that not more than two (2”) inches of the pipe protrudes into the manhole.

Add the following paragraphs:  Construct petroleum separator manholes to conform to the requirements of the details and sizes shown on the plans and in accordance with the manufacturer’s recommendations.

The petroleum separator shall be a totally integral manhole manufactured specifically for the purpose. The Contractor shall submit detailed shop drawings prior to ordering the petroleum separator.

The petroleum separator manhole shall be at least 8 feet in diameter, or as appropriate to connect the number and size of pipes at each manhole shown, and have the following features:

1.	A sump where the oily water mixture is stored allowing oil to separate and float on the surface of the water. Sump shall be fashioned in such a manner that oil will not be discharged from the petroleum separator by using a down elbow on the outlet or similar device that does not require servicing. Outlet pipe shall be vented to prevent siphoning. Minimum size of the sump shall be 210 cubic feet.

2.	A trash collection basket at the inlet that will collect trash 1.5 inches or larger without reducing inlet flow. Basket must remain out of the sump portion of the manhole and must be removable for servicing from outside the manhole by means of rails with a manual cable lift or similar device. The lifting device may be storable in the manhole or be positioned on the service truck.

3.	Provide access for a vacuum truck to pump out collected sediment and oil from the sump.

4.	Provide a vent duct designed to provide fresh air and purge noxious gases from inside the manhole by connecting to a portable blower outside the manhole. The vent duct shall be easily accessible from outside the manhole and be storable in the manhole.

5.	A ladder to provide access to a grate located just above the water level of the sump. Ladder shall meet Occupational Safety and Health Administration (OSHA) General Industry Standards, Part 1910.2.27 for fixed ladders.

6.	A ductile iron manhole cover designed for H-20 highway loading. Opening shall be 28 inches minimum. A gravel basket shall be furnished under the cover.

7.  All components inside the manhole shall be stainless steel, fiberglass reinforced plastic, or other  non corrosive material.

604-5.01 BASIS OF PAVEMENT.  Add the following:

Payment for item 604(8) Petroleum Separator Manhole includes all work and materials required to construct the manholes as shown in the plans, and according to the manufacturers instructions. The price will not be adjusted for differing sizes specified in the plans.

Add or change the following pay items:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 604(1A) | Storm Sewer Manhole, Type I | Each |
| 604(1B) | Storm Sewer Manhole, Type II | Each |
| 604(1C) | Storm Sewer Manhole, Type III | Each |
| 604(2) | Sanitary Sewer Manhole, Type A | Each |
| 604(8) | Petroleum Separator Manhole | Each |

SECTION 606

GUARDRAIL

# Special Provisions

606-3.07 REMOVAL AND DISPOSAL OF EXISTING GUARDRAIL.  Delete the last sentence and substitute the following:  Notify the Engineer a minimum of 5 days before removing guardrail for disposal.  The Engineer will notify ADOT&PF M&O (907-338-1466) and have an M&O representative physically identify portions of guardrail to be salvaged.  Deliver guardrail and associated hardware designated for salvage to the ADOT&PF M&O yard located at 5300 East Tudor Road.  Remaining items removed becomes the Contractor’s property.

(06/12/03)R259M98

..

SECTION 607

FENCES

Special Provisions

607-1.01 DESCRIPTION.  Add the following: This work shall also consist of furnishing and installing separation fence in conformance with, and at the locations shown in the plans.

607-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Prior to painting separation fence, prepare the surface in accordance with SSPC SP6 (Steel Structures Painting Council and / or Society for Protective Coatings specifications).  Apply one coat PPG Pitt-guard All Weather Epoxy (97-94X) primer or equal.  Apply primer per manufacturer’s directions.  Paint top coat shall be two coats PPG Pitthane 35 (95-85XX Series) Urethane Enamel or equal, applied per manufacturer’s directions.  Dark Green color is Performa Color No. PC784 Green Metal.  Blue Violet color is PPG Voice of Color System No 244-7 Eggplant.  Contractor shall submit shop drawings of separation fence and all connections for approval by the Engineer prior to fence fabrication.

607-5.01 BASIS OF PAYMENT. Add the following pay item:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 607(7) | Separation Fence | Linear Foot |

## SECTION 608

- SIDEWALKS

### Special Provisions

608-1.01 description.  Add the following:  This work also consists of constructing asphalt pathway(s) and median(s) in conformance with the Plans.

This work also includes the installation of patterned concrete in medians and in the roundabout and placing concrete to create chevrons in the roundabout.

This work also includes the Arctic Blvd Trail Repair shown on the Z sheets in the plans.

608-2.01 MATERIALS.  Delete paragraph number 2 and substitute the following:

2.  Asphalt Sidewalk and Asphalt Pathway

###### Asphalt Cement, PG 52-28					subsection 702-2.01

Aggregate, Type II or III	subsection 703-2.04

Mix Design Requirements (ATM T-17)

Marshall Stability, pounds, min.			1,000

Percent Voids, Total Mix	2-5

Compaction, Blows/side	50

(02/01/00)R47USC

Add the following to the list of numbered paragraphs:

3. Reinforcing Steel							Subsection 709-2.01

Standard Modification

608-3.03 CURB RAMPS.  Delete subsection in its entirety and replace with the following:  Construct curb ramps according to the details and the locations shown on the Plans.  Follow the construction requirements of Subsection 608-3.01.  Give the exposed concrete surface a coarse broom finish.  Install detectable warnings.

Add new subsection:

608-3.04 DETECTABLE WARNINGS.  Construct detectable warnings according to the details and the locations shown on the Plans.  Install detectable warning tile by embedding tile flanges into cast in place concrete construction so there are no vertical changes in grade exceeding 0.25 inch or horizontal gaps exceeding 0.5 inch.  Align pattern on a square grid in the predominant direction of travel.  Install the same type of detectable warning tile throughout the project.  Install one of the following:

1.   Armor-Tile ADA-C Series tactile detectable warning tile made of composite materials, safety yellow color, slip resistant surface, full length flanges on bottom, and truncated dome pattern;

2.   Cast iron, yellow polymer soaked or black asphalt dip finish, with slip resistant surface, with handle or flange on bottom, and with truncated dome pattern; or

3. 	Approved equal.

Detectable warnings shall be manufactured and installed according to the Americans with Disabilities Act Accessibility Guidelines.

E40 (01/27/07)

Special Provision

- Add following subsections:

608-3.05 PATTERNED CONCRETE MEDIANS.  The patterned concrete median and imprinted concrete in the roundabout truck apron (see subsection 608-3.06 below) shall be a cast-in-place, colored, textured and imprinted architectural concrete paving as manufactured by Bomanite Corporation, P.O. Box 599, Madera, California 93639-0599, 559-673-2411, www.bomanite.com. No substitutions will be allowed without prior written approval from the Engineer.

1.  	Description.  Imprinted concrete includes:

a.	Materials: Welded wire fabric (WWF), concrete, hardener, curing compound, release agent and sealer.

b.	Special imprinting and texturing tools.

c.	Concrete placement and finish.

d.	Color hardener and release agent placement.

e.	Pressure washing to remove excess release agent.

f.	Sealer application.

2.	References and Standards.  Install Bomanite/Bomacron imprinted concrete in accordance with the standards and Specifications of Bomanite Corporation and the American Concrete Institute (ACI).

3.	Related Work.

a.	Preparation work, include sub-grade preparation, finish grading, placing and setting screeds, and furnishing and placement of welded wire fabric.

b.	Provide and place concrete with integral color.

c.	Provide and apply color hardener.

d.	Provide and apply liquid release agent.  Bomanite Liquid Release is a clear liquid used to facilitate release of the imprinting tools from concrete surface.

e.	Provide and apply Bomacron imprinting tools.

f.	Provide and apply curing treatment.  Bomanite Con-Shield will help prevent deterioration and spalling from deicing salts used in freeze/thaw conditions.  Bomanite Con-Shield will also increase the abrasion resistance of finished Bomacron surface.

g.	Provide and apply membrane forming sealer.  Bomanite Hydrolock, as membrane forming sealer, meets all EPA VOC Laws and Regulations.

4.	Quality Assurance.

a.		The Bomanite contractor shall provide a qualified foreman or supervisor who has a minimum of 3 years experience with imprinted and textured concrete, and who has successfully completed at least 5 Bomanite/ Bomacron imprinted concrete installations of high quality and similar in scope to that specified herein.  Evidence that the contractor is qualified to complete the project in a workman like manner as specified herein shall be submitted to and approved by the Engineer.

b.	All Bomanite work shall comply with the current Specifications and quality standards issued by Bomanite Corporation.

c.	The Bomanite contractor shall provide a job site sample (referee sample) of 100 square feet minimum to be approved by the Engineer prior to start of construction.  Said sample shall be the standard for the balance of the work installed, and shall be protected against damage until final approval from the Engineer.  Unsightly or poorly finished surfaces will be considered basis for rejection of the work involved.

5.	Concrete Mix Design.

a.	Use Class A concrete that meets the requirements of Section 501, Structural Concrete..

b.	Do not use calcium chloride in mix.

c.	Slump Range: 4” to 5”.  Slumps shall be achieved by using water reducing or plasticizing admixtures, do not exceed the required water cement ratio.

d.	Use Bomanite integral colored admixture.

6.	Coloring, Imprinting, Curing and Sealing Materials.

a.	Bomanite Integral Color:  The patterned concrete median shall be colored with the following integral color: Apricot.

b.	Bomacron Color Hardener:  The following Bomacron Color Hardener color shall be applied to all patterned concrete median surfaces to be imprinted and textured:

Harvest Amber.

c.	Pattern:  The following Bomacron pattern shall be used on the patterned concrete median: Garden Stone

All imprinting tools used in the execution of this project shall be manufactured by Bomanite Corporation.

d.	Reinforcement:  Use 6x6 W14xW1.4 steel welded wire fabric.

e.	Curing and densifier:  The concrete shall receive a cure treatment utilizing Bomanite Con-Shield.

f.	Sealer:  Concrete slabs shall be sealed in accordance with the manufacturer’s recommendations using Bomanite Hydrolock.

7.	Installation Procedures.

a.	The area to receive Bomanite/Bomacron integrally colored patterned concrete shall have the sub-grade prepared and compacted in accordance with 608-3.01 Concrete Sidewalks.

b.	Provide and install 6x6 W1.4xW1.4 steel welded wire fabric.

c.	Control joints and/or expansion joints shall be provided in accordance with Section 608, Sidewalks and the guidelines established by the American Concrete Institute.  The contractor shall advise the Engineer to determine the best location for these joints to minimize the visibility of the joints and to minimize unsightly cracking.

d.		The concrete shall be placed and screeded to the finish grade, and floated to a uniform surface using standard finishing techniques.

e.	Bomanite Color Hardener shall be applied evenly to the troweled surface prior to imprinting.

f.	Bomanite Liquid Release agent shall be applied evenly to the troweled surface prior to imprinting.

g.	While the concrete is still in its plastic stage of set, imprinting tools shall be applied to the surface.

h.	Bomanite Con-Shield shall be applied to Bomacron after Bomanite Liquid Release  has dissipated.

i.	After the initial curing period, the surface of the slab shall be sealed.

At times when the air temperature is at or near freezing, the concrete slab shall instead be cured using a suitable curing blanket, and if possible, the slab shall later be sealed with Bomanite Hydrolock when the temperature is safely above freezing.

If, at any time during the curing period, any of the forms are removed, a coat of curing compound shall be applied immediately to the exposed surface.  Additional coats shall be applied if the Engineer determines that the coverage is not adequate.  The concrete shall be cured for the minimum period of time set forth below.

Type I Portland Cement Concrete					5 days

Type III Portland High Early Strength Cement Concrete		3 days

j.	Protect sidewalk, and curb and gutter from color stains.  When directed by the Engineer, remove surface stains caused by your work to the satisfaction and approval by the Engineer.

608-3.06  CONCRETE SIDEWALK, 8 INCHES THICK (ROUNDABOUT TRUCK APRON). Construct the roundabout truck apron as shown in the plans. For the colored portion of the truck apron meet all the requirements for Patterned Concrete Median in subsection 608-3.05 above, except change paragraphs 6a, 6b, 6c and 6d to the following:

  - Bomanite Integral Color: The truck apron concrete specified as colored, shall be colored with the following integral color: Red Clay

  - Bomacron Color Hardener:  The following Bomacron Color Hardener color shall be applied to all truck apron concrete surfaces to be imprinted and textured:  Brick Red.

  - Pattern:  The following Bomacron pattern shall be used for the truck apron:

Fish Scale Belgian Block

  - Reinforcement:  See the plans for reinforcement of the truck apron.

608-3.07 ARCTIC BLVD TRAIL REPAIR. Reconstruct the multiuse pathway that passes under Arctic Boulevard at Campbell Creek as shown in the plans and as directed. Comply with all conditions of the permits contained in the appendix to these special provisions.

Standard Modification

608-4.01 METHOD OF MEASUREMENT.  Delete fifth paragraph beginning with: “Curb Ramp” and replace with the following:

Curb Ramp.  By each installation, complete in place, including detectable warnings, ramp runs, backing curbs, flares, and landings necessary to provide a single street-level access.

E40(01/27/07)

Special Provision

Add the following:

Concrete Sidewalk, 8 inches thick.  Exclusive of curb, by the area of finished surface of the roundabout truck apron.

Patterned Concrete Median. Exclusive of curb, by the area of finished surface, complete in place, including reinforcement.

Detectable Warning Strip.  Will be measured only when they are installed separate from curb ramps. Detectable Warning Strips installed with curb ramps are subsidiary to the curb ramp.

Exposed Aggregate Finish.  Exclusive of curb, by the area of finished surface.

Arctic Blvd Trail Repair. No measurement of quantities will be made.

608-5.01 BASIS OF PAYMENT.  Add the following:  Asphalt cement for Asphalt Sidewalk will not be paid for separately, but will be subsidiary to respective pay items.

Borrow and bed course materials will be furnished, placed and paid under Sections 203 and 301, respectively.

Backing curb will be subsidiary to Item 608(6) Curb Ramp.

(02/01/00)R47USC

Concrete Sidewalk, 8 inches thick. Payment includes all work and materials necessary for placement and finishing, including concrete, steel reinforcement, color, and patterned imprinting (where specified) for the roundabout truck apron.

Patterned Concrete Median. Payment includes all work and materials necessary for placement and finishing, including concrete, steel reinforcement, color, and patterned imprinting.

Detectable Warning Strip.  Includes all work and materials related to the placement of the Detectable Warning Strip when installed separate from curb ramps. Concrete sidewalk associated with the Detectable Warning Strip will be paid under the respective pay item for concrete sidewalk.

Exposed Aggregate Finish.  Payment includes all work and materials necessary for the finishing of concrete sidewalk only. Concrete sidewalk that receives an Exposed Aggregate Finish will be paid under the respective pay item for concrete sidewalk.

Arctic Blvd Trail Repair. Includes all work and materials related to reconstructing the multi-use pathway under Arctic Boulevard at Campbell Creek as shown in the plans and as directed.

The welded wire fabric (WWF), when specified, is subsidiary to related work.

Add the following pay items:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 608(1c) | Concrete Sidewalk, 8 inches thick | Square Yard |
| 608(9) | Patterned Concrete Median, 4 inches thick | Square Yard |
| 608(10) | Detectable Warning Strip | Each |
| 608(11) | Exposed Aggregate Finish | Square Yard |
| 608(12) | Arctic Blvd Trail Repair | Lump Sum |

SECTION 609

CURBING

609-1.01 DESCRIPTION.  Add the following:  This work also includes the installation of curbs at the borders of landscape beds (mow strips) and around the pedestrian light apron at the back of the sidewalk where shown on the plans.

609-3.02 CAST-IN-PLACE CONCRETE CURBING.  Add the following:  Concrete mow strips shall be formed using flexible form materials to produce smoothly curved shapes that approximate those shown in the plans. The un-labeled dimensions of individual planting beds may be scaled from the plan view and approximated to produce a pleasing appearance as approved. Approximate stations of planting beds are shown in the plans.

Special Provisions

Add the following subsection:

609-3.06 BUMPER CURBS.  Bumper Curb shall conform to subsection 609-3.03, Precast Concrete Curb and the details shown  in the plans.

609-4.01 METHOD OF MEASUREMENT.  Add the following:

Bumper Curb.  By each complete installation.

(02/01/00)R48UCS04

Add the following: All styles of cast in-place curb and / or gutter specified in the plans, including the concrete mow strip and the curb around light aprons will be measured and paid under item 609(2) Curb and Gutter, Type 1. The concrete mow strip will be measured along the centerline of the mow strip, all other styles will be measured along the face of curb.

Special Provisions

609-5.01 BASIS OF PAYMENT.  Add the following pay items:

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 609(7) | Bumper Curb | Each |

(02/01/00)R48UCS04

SECTION 615

STANDARD SIGNS

615-1.01 DESCRIPTION. Add the following: Contact the Department’s Maintenance & Operations Supervisor Tom Grman, through the Engineer, at (907)338-1466 at least 5 working days prior to beginning sign salvage activities. State Maintenance & Operations will mark all signs to be salvaged within the project.

Special Provisions

615-2.01 MATERIALS.  Delete the first paragraph of Item 2, including subitems a., b., c., and replace with:

2.	Sign Fabrication.  Use Type IV reflective sheeting (for lettering symbols, borders, and background) on sheet aluminum panels for all signs except the following:

a.	Orange Background Signs.  Use Type IX fluorescent orange reflective sheeting placed on sheet aluminum panels, except:

For temporary installations the reflective sheeting may be placed on aluminum, plastic, or plywood sheet panels.

For flexible signs (Roll-Up Signs) use fluorescent reflective sheeting Type VI or better (based on durability and reflectivity, as determined by the Engineer).  Roll-Up Sign – 3M Series RS 24, Reflexite Marathon Orange, or approved equal.

  - Railroad Crossbucks and Vertical Crossbuck Supports:  Use white Type VIII or Type IX reflective sheeting for background of sign and strips.

  - Non-Illuminated Overhead Signs with White Legends on Green Backgrounds:  Use Type IX reflective sheeting for legends and background.  Create the legend in one of the following ways:

(1)	Cut border and legend from white Type IX reflective sheeting and adhere to a green Type IX background, or

(2)	Cut stencil of border and legend out of green transparent acrylic film and use transparent adhesive to overlay the film on a white Type IX reflective background.

d.	Fluorescent Yellow-Green School Area Signs:  Use Type VIII or Type IX reflective sheeting for background.

Reflective Sheeting Warranty.  Supply manufacturer’s warranty for reflective sheeting including retention of fluorescent yellow-green (measured according to ASTM E 2301) for ten years according to the following criteria:

Minimum Fluorescent Luminance Factor		YF:  20%

Minimum Total Luminance Factor			YT:  35%

The warranty shall stipulate:  If the sheeting fails to meet the minimum fluorescence values within the first 7 years from the date of fabrication, the manufacturer shall, at the manufacturer’s expense, restore the sign surface to its original effectiveness.  If the reflective sheeting fails to meet the minimum fluorescence values within the 8th through the 10th year from the date of fabrication, the manufacturer shall, at the manufacturer’s expense, provide enough new replacement sign sheeting to the Department to restore the sign surface to its original effectiveness.

R615 (06/17/08)

Add the following subsections:

615-2.03 CANTILEVERED SIGN POLES.  Design, fabricate, and install cantilevered sign poles according to the following requirements.  Furnish poles that have the appearance of the “vertical single post cantilever” shown on Standard Drawing S-22.00.  See the Plans for the size of sign each pole must support, their span, and mast arm heights.

- Design Requirements.  A professional engineer registered in the State of Alaska shall design each cantilevered sign pole according to the following requirements. Submit stamped calculations and shop drawings to the Engineer for review.  The shop drawings shall include the details of the features specified in the fabrication requirements subsection and the Specifications cited below.

Design the cantilevered sign poles according to the 2001, fourth edition of the AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals with the 2006 Interim (referred to hereafter as the Standard Specs for Structural Supports) for the following design parameters.

  - Use non-tapered tubes with a round cross section that features a maximum 32 inch outside diameter.

  - Design for the basic wind speed shown in Standard Specs for Structural Supports or for 100 mph, whichever is greater.

  - Design poles for a 50 year design life.

  - Use a gust effect factor of 1.14.

  - Design poles using fatigue category I importance factors.

  - Design poles to resist galloping forces, vortex shedding, and truck induced loads.  Use an average truck speed of 50 mph per hour in the design.

Design the poles and mast arms using steels that meet the requirements of ASTM A709 plus the fracture critical Charpy V-notch impact test requirements for zone 3 service temperatures listed in table 10 of ASTM A709.

Design each sign pole with a one piece mast arm that bolts to a one piece structural support.  Indicate the diameter, length, and wall thickness of both pieces on the shop drawings.  Provide details of the plates and bolts that attach the mast arm to the structural support.  If needed pick a point to lift a pole or mast arm, weld a tab onto the structure; do not cut holes in the structure.  Remove the tab and repair the finish the pick point when no longer needed.  Include the total weight of each pole on the shop drawings.

Design the pole’s base plate using a 42 inch diameter bolt circle and 2 inch diameter anchor bolts to match the foundation detailed in the Plans.

Include two reinforced hand holes that measure 5.5 inch wide by 7.5 inch high.  See the fabrication requirements subsection for the location of these hand holes.

Furnish a pole installation plan that documents the proper assembly of the pole and mast arm, the location and width of dunnage supports during assembly, and the recommended number and location of lift points during pole installation.

- Fabrication Requirements. Fabricate the various pole components according to the following requirements.

Fabricate the mast arms and structural supports according to the following requirements:

  - Fabricate each piece from one piece of steel.

  - Make welds continuous.

  - Wherever a longitudinal seam intersects a circumferential weld, provide a complete joint penetration (CJP) weld in the longitudinal seam at least 1 foot long.

  - For remaining longitudinal seams, complete welds that provide at least 60% penetration.

  - Discard pieces that vary more than ¾ inches from a straight line throughout their length after they are hot-dip galvanized.

Fabricate tubes with a single longitudinal seam; the Department will not accept laminated tubes or tubes with spiral shaped seams.

Bend one end of the structural support 80 degrees into a circular arc with a radius that measures 12 feet to the centerline of the tube.

Provide a minimum 10 inch diameter electrical access hole centered in the base plate and in the plates that connect the mast arm to the structural support.  Attach these plates to the tube sections with CJP welds.

Install two hand holes in the pole.  Locate one of the hand holes one foot above the base plate at 90 degrees to the mast arm, measured clockwise in the Plan view.  Locate the other in the mast arm, 1 foot from the mast arm connector plate on the same side of the pole as the other hand hole.  Attach the hand hole frames to the tube sections with CJP welds.

NDE 100% of the CJP welds by radiographic testing (RT); NDE at least 25% of the partial joint penetration welds by magnetic particle testing (MT); and NDE 100% of the fillet welds by MT.  Show the NDE symbols for the test type on the shop drawings.

Do not hot dip galvanize the poles until the Contractor gives notice that the Engineer has approved the QC and QA test results.  Hot dip galvanize each pole section according to AASHTO M 111 and these Specifications.  In one dip, completely submerge each section in a kettle of concentrated zinc ammonium chloride flux solution heated to 130oF.  Then, in one dip, completely submerge each section in a separate kettle of prime western grade zinc heated to approximately 760oF.  Furnish bolts and fasteners hot dip galvanized according to AASHTO M 232.

- Construction Requirements. Submit a package that consists of stamped Engineering calculations, shop drawings, mill certifications, welding plan, and pole installation plan to the Engineer for approval.

Assemble the pole sections, furnish and install required dunnage, and lift the assembled pole according to the manufacturer’s pole installation plan.

Furnish required sign mounting hardware per Standard Drawing S-22.00.

615-2.04 SIGN POLE FOUNDATIONS.  Install the cantilevered sign pole foundation detailed in the Plans according to the following requirements.

Longitudinal and circumferential welds made to manufacture and install the piles shall provide complete joint penetration (CJP).

- Materials.

NDE 100% of longitudinal and circumferential welds made to fabricate the piles.  Use the acceptance criteria for cyclically loaded nontubular connections using radiographic, radio scope, real time imaging systems, or ultrasonic methods to complete the NDE.

Furnish steel pipe piles that feature the diameter and wall thickness shown on the Plans.  Only furnish seamless piles or piles with a single longitudinal seam; the Department will not accept piles with spiral shaped seams.

Provide pipe piles that are a minimum 40 feet long and conform to subsection 715-2.02, featuring the diameter, minimum length and wall thickness at the locations shown in the Plans, modified as follows:

  - The carbon equivalency (CE) shall not exceed 0.45 as defined in AWS D1.1, Section XI5.1 and the sulfur content shall not exceed 0.05%.

  - The circumference of the pile shall not vary more than plus or minus 10 mm from the circumference computed from the pile diameter shown on the Plans.

  - The maximum allowable deviation in the edge alignment for the piles is 0.1875 times the wall thickness or 1.6 mm whichever is less.

  - Pipe straightness shall conform to the requirements of API 5L, Section 7.6 “Straightness”.

  - The Department will only accept those piles made by either an automatic fusion or electric resistance weld process that results in CJP.

Use the number, size, and length of ASTM F1554, grade 55, anchor bolts, nuts, and washers as shown in the cantilevered sign pole foundation detail included on the Plans. Furnish bolts that also meet the Charpy V-Notch impact strengths listed in subsection S4 of ASTM F1554.

- Fabrication Requirements.  Fabricate the reinforcing steel cage to ensure the anchor bolts tied into it are equally spaced and form a circle with the diameter shown on the Plans.  Use a steel template to ensure the anchor bolts will match the base plate with no modifications.

3.	Construction Requirements.  Install pipe piles open ended according to Section 505. The Engineer will only accept piles cut from a longer piece.

Secure the anchor bolts to ensure they do not move during concrete placement. Replace, with no additional compensation, finished concrete pile caps that feature anchor bolts that do not match the base plate of the pole or are out of plumb.  The Department will not allow modification of the anchor bolts or base plate to get the base plate set on the leveling nuts.

Embed a 2 inch rigid metal conduit in the foundation.  Terminate one end 2 inch above the top of the foundation and near the center of the foundation and the other end in a Type 1A junction box.

Install a grounding electrode conductor in the foundation according to subsection 660-2.03, Foundations.  Complete bonding and grounding according to subsection 660-2.11, Bonding and Grounding.

Complete Class A Portland cement concrete and reinforcing steel work according to Sections 501 and 503, respectively.

Install the bottoms of the bottom leveling nuts in a level plane within 1 inch of the top of concrete pile cap.  Generously lubricate the bearing surface and internal threads of top nuts with beeswax and tighten the top nuts according to the anchor bolt tightening procedure included in the appendices.

# 615-3.01 CONSTRUCTION REQUIREMENTS. Add the following after the paragraph numbered 7: Coordinate a marking system with the Engineer and the  Department’s M&O Supervisor Tom Grman at (907)338-1466 for the marking of signs to be salvaged. Deliver salvaged signs to:

Department of Transportation Maintenance Yard

5300 East Tudor Road

Anchorage, AK 99504

615-4.01 METHOD OF MEASUREMENT.  Add the following:

Item 615(7) Cantilever Sign Support. By the each sign support structure complete accepted in place.

615-5.01 BASIS OF PAYMENT.  Add the following: Payment for Cantilever Sign Support shall be full compensation for all work and materials to furnish and install the galvanized steel pipe support, sign foundation, galvanized steel anchor bolts, nuts, and washers, and associated hardware.

Add the following pay items:

Pay Item No.	Pay Item	Pay Unit

615(7)  	Cantilever Sign Support 	Each

# Delete the entire section and substitute with the following:

# SECTION 618

# SEEDING

618-1.01  DESCRIPTION.   It is the intent of this work that a living vegetative cover be established over all ground disturbed on this project.  Maintain the cover for the term of the Contract.  This work consists of soil preparation,  applying seed, fertilizer, water, mulch (if hydroseeding) and green dye (if hydroseeding), and maintenance of the seeded areas.

618-2.01  MATERIALS.  Use materials that conform to the following:

| Seed | Section 724 |
| --- | --- |
| Fertilizer | Section 725 |
| Mulch | Subsection 727-2.01 |
| Water | Subsection 712-2.01 |

CONSTRUCTION REQUIREMENTS

618-3.01  SOIL PREPARATION.  Clear all areas to be seeded of stones 4” and larger in diameter and of all weeds, plant growth, sticks, stumps and other debris or irregularities which may interfere with the seeding operation, growth of grass, or subsequent maintenance of grass-covered areas.

Prior to the application of seed, prepare slopes using one or more of the following methods:

- Manual Raking – Requires manual labor with landscaping rakes to produce a uniform pattern of grooves perpendicular to the fall of the slope.

- Mechanical Raking - Requires the use of a scarifying slope board to produce grooves with an approximate width of 1” and no more than 6” apart.  The resultant indentations shall leave a uniform pattern of grooves perpendicular to the fall of the slope.

- Mechanical Track Walking - Requires operating tracked equipment in such a manner as to leave a uniform pattern of grooves perpendicular to the fall of the slope.

The top and bottom of slopes may be rounded to facilitate tracking or raking, and to create a pleasing appearance.  Do not disrupt drainage flow lines.

618-3.02  SEEDING SEASONS.  Perform seeding after the ground is free of snow and no sooner than May 15 and no later than August 15.  Do not seed during windy conditions or when climatic conditions or ground conditions would hinder placement or growth.

618-3.03  APPLICATION.  Apply seed, fertilizer, and mulch at the rates specified in the table below.  Place seed, fertilizer, water, mulch, and green dye using one of the methods detailed below.

| MATERIALS | TYPE | APPLICATION RATE PER ACRE |
| --- | --- | --- |
| Seed* Schedule A | Norcoast Bering Hairgrass Gruening Alpine Bluegrass Wainwright Slender Wheatgrass Annual Ryegrass | 17.4 lb 17.4 lb 6.5 lb 2.2 lb ## Total 43.5 lb |
| Seed* Schedule B | Arctared Fescue Blue Wildrye Nortran Tufted Hairgrass Polargrass | 15.2 lb 15.2 lb 10.9 lb 2.2 lb Total 43.5 lb |
| Seed* Schedule C | Norcoast Bering Hairgrass Arctared Fescue Nortran Tufted Hairgrass | 17.4 lb 17.4 lb 8.7 lb Total 43.5 lb |
| Fertilizer | 20-20-10 | 450.0 lb |
| Mulch** | Natural Wood or Wood Cellulose | 14.0 lb |

*Do not remove the required tags from the seed containers.

**Mulch is required only for hydroseeding, not for mechanical seeding.

Hydraulic Method:

- Seeding by the hydraulic method consists of furnishing and placing a slurry of green dye, seed, fertilizer, mulch and water.

- Do not place seed in the slurry prior to 30 minutes before application.

- Add the proportionate amount of mulch to the water slurry in the hydraulic seeder after the proportionate amounts of seed and fertilizer have been added.  Apply the slurry mixture in such a manner, and at a rate of application, that results in an even distribution of all materials.  Apply seed, fertilizer, and mulch together in one application.

- Hydraulic seeding equipment must be capable of maintaining continuous slurry agitation so that a homogeneous mixture is applied through a spray nozzle.  The pump must be capable of producing sufficient pressure to maintain a continuous, non-fluctuating spray capable of reaching the extremities of the seeding area with the pump & nozzle unit located on the roadbed.  Provide sufficient hose to reach areas not practical to seed from the pump & nozzle unit situated on the road bed.

Mechanical Method:

- Use mechanical spreaders, seed drills or other approved mechanical seeding equipment when seed and fertilizer are to be applied in dry form.

- Water seeding area both prior to and after the application of fertilizer.

- Spread fertilizer separately from seed.

618-3.04  MAINTENANCE OF SEEDED AREAS.  Protect seeded areas against erosion.  Protect seeded areas against traffic by approved warning signs or barricades.  Provide adequate water throughout the seeded are to establish a living vegetative cover.  Be responsible for identifying, re-tracking, reseeding, re-fertilizing and re-mulching gullied or otherwise damaged areas.  Maintain seeded areas in satisfactory condition until final inspection at no additional cost to the Department.  A second application of fertilizer is not required.

618-4.01  METHOD OF MEASUREMENT.  Section 109 and as follows:

Seeding by the Acre.  By the plan area of ground surface acceptably seeded and maintained.  Soil preparation, seed, fertilizer, mulch, green dye, and water used in this work, including identifying, re-tracking, reseeding, re-fertilizing and re-mulching damaged areas, is subsidiary and will not be measured directly for payment.

618-5.01  BASIS OF PAYMENT.  The accepted quantity will be paid for at the Contract price, per unit of measurement, for the pay items listed below that appear on the bid schedule.  No payment will be made until a uniform perennial vegetative cover has been established per Specifications.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 618 (1A) | Seeding - Schedule A | Acre |
| 618 (1B) | Seeding - Schedule B | Acre |
| 618 (1C) | Seeding - Schedule C | Acre |

SECTION 620

TOPSOIL

620-3.01 PLACING. Add the following: Salvage of existing topsoil within the slope limits is allowed with the following conditions. In the opinion of the Engineer, work to salvage existing topsoil must not:

- be detrimental to the development of the project,

- cause the need or use of additional materials that would not have been required,

- cause any additional erosion and sediment control measures that would not have been required by the project.

Salvaged topsoil must meet the requirements of section 726, or as approved and accepted by the Engineer.

620-4.01 METHOD OF MEASUREMENT. Add the following:

Section 109, measured on the slope of the ground surface.  Separate measurement shall be made per depth as indicated on the plans and in the bid schedule.

620-5.01 BASIS OF PAYMENT. Add the following:  Salvage of topsoil, soil repair, maintenance, and replacement are subsidiary. Salvaged topsoil will be measured and paid for as topsoil at the specified depth and respective pay item shown in the bid schedule.

Change the pay items to read:

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 620(1a) | Topsoil, 4” Depth | Square Yard |
| 620(1b) | Topsoil, 18” Depth | Square Yard |

SECTION 621

#### PLANTING TREES AND SHRUBS

Special Provisions

621-1.01 DESCRIPTION.  Add the following:

Work in this section also includes the placement of landscape boulders and landscape edging as shown in the plans.

Standard Modification

621-2.07 TREE WOUND DRESSING—Delete this requirement

621-3.04 PERIOD OF ESTABLISHMENT.  Add the following second paragraph:

The Engineer may, but is not required to, determine the Project is complete except for the period of establishment, and issue a letter of final acceptance.  After final acceptance, work or materials due under this subsection during any remaining period of establishment are considered warranty obligations that continue to be due following final acceptance in accordance with subsection 105-1.16.

E43(01/27/07)

Add the following subsections:

621.2.08 LANDSCAPE BOULDERS.

All boulders supplied shall be uniform in color and character, free of drill holes, paint or sharp edges. Use boulders that have the following dimensions:

| Landscape Boulder Sizing Schedule |  |  |
| --- | --- | --- |
| Type | Circumference (± 2 ft.) | Height (± 0.5 ft) |
| A | 12 ft. | 4 ft. |
| B | 9 ft. | 3 ft. |
| C | 6 ft. | 2 ft. |

Circumference refers to the largest circumference that can be measured on the boulder. Height is measured perpendicular to the axis used for determining the circumference.

621-2.09  LANDSCAPE EDGING.

Landscape Edging shall  be fabricated of 6063 – T6 aluminum alloy and be supplied in individual sections having finished dimensions of  3/16" x 5-1/2" x 16'  with a mill finish of natural aluminum. Sections must include (8) 12"  aluminum stakes and a 4" stakeless snap down connection system to interlock adjacent sections. Use Permaloc Corporation Cleanline Aluminum Edging or an approved equal.

Permaloc Corporation 
13505 Barry Street
Holland, Michigan 49424 USA

1-800-356-9660

http://www.permaloc.com/

Add the following:

621.3.03 CONSTRUCTION REQUIREMENTS.

Stockpiled boulders shall be pressure washed to clean all surfaces.  Stockpiled boulders shall be placed in locations to complement the boulder groupings shown on plans. All boulder locations shall be approved by the Engineer prior to placement. All boulders shall be handled in such a way as to not leave a damaged or scarred surface to the portion of the boulder exposed to view after placement.

Landscape Edging shall be installed to produce smoothly curved shapes that approximate those shown in the plans. The un-labeled dimensions of individual planting beds may be scaled from the plan view and approximated to produce a pleasing appearance as approved. Approximate stations for planting beds are shown in the plans.

621.4.01 METHOD OD MEASUREMENT:  Add the following:

Landscape Boulders shall be measured by each boulder complete and in-place.  All work and materials required for satisfactory placement are subsidiary.

621-5.01 BASIS OF PAYMENT.  Add the following: Transportation and delivery are subsidiary.  Trees and shrubs shall be measured by the heights and sizes indicated on the plans, and reflected in the Planting Legend/Schedule.

Add the following pay items:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 621(1a) | Tree (10 foot height) | Each |
| 621(1b) | Tree (6 foot height) | Each |
| 621(1c) | Tree (2 inch caliper) | Each |
| 621(2) | Shrub | Each |
| 621(5) | Landscape Edging | Linear Foot |
| 621(6a) | Landscape Boulder, Type A | Each |
| 621(6b) | Landscape Boulder, Type B | Each |
| 621(6c) | Landscape Boulder, Type C | Each |

SECTION 626

SANITARY SEWER SYSTEM

Special Provisions

626-1.01 DESCRIPTION. Add the following: For the purposes of these Special Provisions, "AWWU" shall mean the Anchorage Water and Wastewater Utility, Engineering Division at (907) 564-2774. This work shall include the installation and testing of sanitary sewer systems for acceptance by AWWU.  The Contractor shall also provide record drawings in accordance with the conditions prescribed herein.

626-2.01 MATERIALS. Delete this subsection in its entirety and substitute the following: Materials shall conform to the following:

1	Bedding and Backfill	Subsection 204-2.01

2	Ductile Iron Sanitary Sewer Conduit Subsection 707-2.05

Unless otherwise indicated on the drawings all materials used in the manufacture of pipe, fittings, and accessories shall conform to the governing standards.

626-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Contact the AWWU in writing a minimum of three (3) working days in advance of beginning construction to schedule a pre-inspection of the sanitary sewer and a post inspection after paving operations are complete. Provide AWWU a copy of the written notice. Contractor shall be responsible for furnishing all the required traffic control and personnel to assist AWWU while locating and performing the pre-construction and post-construction inspections. Contractor forfeits all rights to deny damages done by Contractor or Contractor’s agents during the course of work if Contractor fails to participate in this inspection.

Sanitary sewer manhole covers identified as worn in the pre-inspection shall be replaced with new covers provided by AWWU.  Coordinate with the AWWU to obtain replacement covers from the AWWU warehouse.

Trench Shoring

The Contractor shall obtain approval from the Engineer for all sheeting, bracing, and shoring materials and/or equipment to be used on the project.  Materials used shall be in accordance with Section 1926.651, Subparagraph 1 of the Federal Register, Volume 37, No. 243, page 27553, OSHA Regs., December 1972.

All construction requirements for design, installation, and use of sheeting, shoring, bracing, and shielding shall be in accordance with current safety regulations.  All sheeting, shoring, bracing, and shielding shall be designed by a Professional Engineer registered in the State of Alaska, hired by the Contractor.  All working drawings and design data shall be submitted to the Engineer for approval.

When shoring and sheeting is left in the trench, sheeting must be driven lower than the bottom of the pipe and cut off on (1) foot below road structural fill.  No traverse bracing will be permitted to remain.

No bracing requiring driven or vibratory installation methods shall be used on this Project. Any Contractor provided portable trench shielding shall comply with relevant OSHA regulations. The Contractor shall provide the Engineer certification of such compliance from the portable shield manufacturer or supplier.

Add the following to the second paragraph:  The Contractor shall remove and dispose of all sewage saturated soils encountered within the trench area.  All sewage-saturated soils shall be considered unsuitable material. Sewage saturated soils may not be used as fill material anywhere within the Municipality and shall be disposed of at the Municipal Landfill. There shall be no separate payment for removal and disposal of sewage saturated soils. Removal and disposal of sewage saturated soils shall be considered incidental to the pay item for the pipe.

Delete the words "or flexible connection" from the third paragraph.

Add the following to the fourth paragraph:  Both line and grade shall be checked and recorded in a field book for each piece of pipe laid, except at tunnels where methods acceptable to the Engineer shall be used to carry forward line and grade.

Delete the fifth paragraph and substitute the following:  When installing new sewer conduit, including grouting and assemblage of fittings, the Contractor shall take every precaution to preclude foreign debris from entering the sanitary sewer system. All temporary screening techniques of the downstream manholes shall be provided by the Contractor and approved by the Engineer. Contractor shall be responsible for removing and cleaning any foreign debris that may have entered the sanitary sewer system, and all costs associated shall be incidental to the Contract.

Pipe shall not be laid when the bottom of the ditch or the sides to one foot above the pipe is frozen. Backfill material shall not contain frozen material.  The trench shall not be left open during freezing weather so that the temperature of the material near the pipe goes below freezing.

Bedding material shall extend six (6) inches above the top of the pipe and be compacted to 95% maximum density.

Delete the seventh paragraph and substitute the following: Installation shall be in accordance with these specifications and current AWWU Design and Construction Practices Manual.

The Contractor shall stagger the joints for the sanitary sewer conduit such that no joint shall be closer than 10 feet from the centerline crossing of the water and sewer conduits. In addition, the vertical separation between the water and sewer conduits shall be 18 inches minimum, outside of pipe to outside of pipe.

Concrete Encasement of Sewer Conduit at Water Crossings. When it is necessary to construct a water conduit crossing below a sewer conduit or within a vertical distance of 3 feet above the sewer conduit (less than 24 inches diameter), and the sewer main is not cast or ductile iron, and provided no joint is within 3 feet horizontally of the crossing or where the Engineer may direct, the sewer conduit shall be encased in a minimum thickness of 4 inches of concrete for a distance of 10 feet perpendicular to and on each side of the water conduit.

Wire fabric or other types of wire mesh, approved by the Engineer, shall be placed around the sewer prior to encasement with concrete to minimize cracking. Construction of concrete encasement shall be in accordance with the applicable details on the plans.

Ductile iron encasement may be substituted for concrete when approved by the Engineer.

Suspension of Work. AWWU, through the Engineer, reserves the right to suspend the sanitary sewer installation at any time that the Contractor fails to meet the requirements set forth herein until such time as the Contractor makes the necessary corrections.  Suspensions of work will not entitle the Contractor to an extension of time for the completion of the project, and will not entitle the Contractor to extra payment for costs incurred.

Interruption of Sewer Service.  Contractor shall provide for continuous sewer service.  If an outage is required, the Contractor shall notify affected customers seven (7) days in advance of the scheduled suspension of service. A temporary sewer service connection shall be provided by the Contractor to provide sewer service in the event of an outage longer than 4 hours. For emergency suspension of service, the Contractor shall provide such notice as is reasonably practicable under the circumstances.  The notification provided shall be done by knocking and leaving a door hanger at each premise notifying the customer of the date and times the suspension of service will be in effect.

Polyethylene Wrapping of Sanitary Sewer Conduit. The outside of all ductile iron and cast iron pipe, fittings and other appurtenances used in sewer conduit construction shall be encased with one (1) layer of 8-mil thick (0.2 mm) polyethylene film.  The polyethylene encasement shall be installed using the following method:

Method

- Cut polyethylene tube to a length approximately 2-feet longer than the length of the pipe section. Slip the tube around the pipe, centering it to provide a 1-foot overlap on each adjacent pipe section and bunch it accordion-fashion lengthwise until it clears the pipe.

- Lower the pipe into the trench and make up the pipe joint with the preceding section of pipe.  A shallow bell hole must be made at the joints to facilitate installation of the polyethylene tube.

- After assembling the pipe joint and testing the bonded joint, make the overlap of the polyethylene tube. Pull the bunched polyethylene from the preceding length of pipe, slip it over the end of the new length of pipe, and secure in place. Then slip the end of the polyethylene from the new pipe section over the end of the first wrap until it overlaps the joint at the end of the preceding length of pipe.  Secure the overlap in place.  Take up the slack width to make a snug, but not tight fit along the barrel of the pipe, securing the fold at quarter points.

- Repair any rips, punctures, or other damage to the polyethylene with adhesive tape or with a short length of polyethylene tube cut open, wrapped around the pipe, and secured in place.  Proceed with installation of the next section of pipe in the same manner.

Verification of Existing Utilities. At a sufficient distance prior to encountering a known utility crossing, buried obstacle, pipe, or tying into an existing manhole or sewer pipe, the Contractor shall expose and verify the exact location of the obstacle or pipe inverts so proper alignment and grade may be determined before the pipe sections are laid in the trench and backfilled.

The cost incurred for removal and realignment of backfilled pipe sections due to improper verification methods shall be borne by the Contractor.

626-3.02 TESTING. Delete in its entirety and substitute the following: The Contractor shall install clean sanitary sewer pipe prior to testing and final inspection.  The Contractor shall notify the Engineer 72 hours in advance of any test.  The Engineer and AWWU shall be present during all tests.  Two hours notice in advance of the scheduled time shall be given to the Engineer if the test is to be postponed or cancelled.

The Contractor shall furnish all tools, equipment, and labor necessary to complete the tests and shall verify from their own observations, or preliminary tests, that each line conforms to this specification before requesting AWWU to observe and record the actual leakage.

All sanitary sewer pipe installed shall be subject to either an infiltration test or an exfiltration test.  In those areas where, in the opinion of AWWU, the water table is high enough to subject the pipe to a satisfactory infiltration test, it is not anticipated that an exfiltration test shall be required.  In checking leakage, there will be no allowance made for external hydrostatic head.  Where in the opinion of AWWU the water table is not high enough to provide a satisfactory infiltration test, an exfiltration test shall be required.

The type of test, either infiltration or exfiltration, shall be determined by AWWU. The Contractor shall have the option of choosing only one method (air or water) of testing for each section tested. All testing shall be considered a subsidiary obligation under this Contract and no extra payment will be allowed for this portion of work.

All wyes, tees, or ends of side sewer stubs and service connections shall be plugged or capped and the plug or cap shall be securely fastened to withstand the internal test pressures. Such plugs or caps shall be readily removable and their removal shall provide a socket suitable for extending the lateral connection.

Infiltration Test. Infiltration testing may be allowed at AWWU's option when the natural ground water table is 6-feet above the crown of the higher end of the test section. The maximum allowable limit for infiltration shall not exceed the rate of 50 gallons per inch diameter per mile per 24 hours.

The Engineer may require the Contractor to repair obvious leaks even though the total length of the test section falls within the maximum allowable leakage of the test used.

Exfiltration Test (Using Water). On completion of a section of sanitary sewer between manholes, or otherwise, the ends of all pipe shall be plugged, including service connections, and the pipe subjected to hydrostatic pressure.  All testing is to be conducted after backfilling, prior to resurfacing, and after service connections are made.

A minimum head of 6-feet of water above the crown at the upper end of the test section shall be maintained for a period of 4 hours, during which time it will be presumed that full absorption of the pipe body has taken place and thereafter for a further period of 1 hour for the actual test of leakage.  During this 1-hour period the measured loss shall not exceed the rate of 50 gallons per inch diameter per mile per 24 hours.

The above listed leakage rate shall also be applied to infiltration of ground water and infiltration or exfiltration in greater amounts will be cause for rejection of the sanitary sewer and all repairs necessary to meet theses requirements and retesting shall be at the expense of the Contractor.

The maximum length of sanitary sewer for the above allowable leakage test shall be one thousand feet (1000’).  If it is not apparent that the leakage test results between any two manholes is satisfactory, then the Engineer may require subsequent tests to establish the more exact location of the leakage areas.  Any section of sanitary sewer between any two manholes that does not meet the above requirements shall be rejected and the Contractor, at his expense, shall make the necessary repairs to the sanitary sewer to meet the requirements, and shall make subsequent tests after repairs to assure compliance with the Specifications.

Exfiltration Test (Using Air).  The Contractor shall furnish all facilities and personnel for conducting the test under the observation of AWWU.  The equipment and personnel shall be subject to the approval of the Engineer.  The Contractor may desire to make an air test prior to backfilling for the Contractor’s own purpose. However, the acceptance air test shall be made after backfilling has been completed, and compacted.

Immediately following the pipe cleaning, the pipe installation shall be tested with low pressure air.  Air shall be slowly supplied to the plugged pipe installation until the internal air pressure reaches 4.0 pounds per square inch greater than the greatest back pressure of any ground water in contact with the pipe.  At least 2 minutes shall be allowed for temperature stabilization before proceeding further.

The pipe shall be considered acceptable when tested at an average pressure of 4.0 psi greater than the greatest back pressure of any ground water in contact with the pipe, if:

The total rate of air loss from any section tested in its entirety between manholes or between manhole and cleanout structures does not exceed 2.0 cubic feet per minute.  The following table may be used as a guideline for a satisfactory test by air for pipe sizes shown:

| Pipe Diameter | Allowable Pressure Drop in 10 Minutes |
| --- | --- |
| 8 inches | 2.7 psi |
| 10 inches | 2.1 psi |
| 12 inches | 1.8 psi |
| 16 inches | 1.4 psi |
| 18 inches | 1.2 psi |
| 24 inches | 0.9 psi |
| 48 inches | 0.5 psi |

Pressure gauges shall be marked in not more than ½ pound increments for accurate tests.

Safety braces shall be required to hold plugs in place and to prevent the sudden release of the compressed air.  Due to the large forces exerted by an escaping plug during the testing of the pipe, workmen shall not be allowed in the manholes in which plugs have been placed while tests are being conducted.  The Contractor’s testing equipment shall be arranged in such a manner that a pressure relief device will prohibit the pressure in the pipe from exceeding 10 psi.

If the pipe installation fails to meet test requirements, the Contractor shall determine at their own expense the source of leakage, and he shall repair (if the extent and type of repairs proposed by the Contractor are acceptable to the Engineer) or replace all defective materials or workmanship.  The completed pipe installation shall meet the requirements of this Section before being considered acceptable.

Check of Line and Grade. After backfilling and cleaning, but before final acceptance, all sections of installed sanitary sewer lines may be checked for line and grade. Excluding service connections, all size sanitary sewer mains 30 inches in diameter and smaller may be checked for line and grade by closed circuit television.  A full circle of light must be seen and no pipe misplaced in line or grade. Any excess deviation in line and grade shall be corrected by the Contractor, at their expense, prior to final acceptance of the pipe line.

Final Inspection. The Contractor shall, upon completion of all work involved, notify the Engineer in writing of completion and request a pre-final inspection of the project.  This inspection will be performed in the presence of the Engineer, AWWU and the Contractor. A punch list of deficiencies found during the inspection will be furnished to the Contractor by the Engineer for remedial action. The Contractor shall notify the Engineer when all corrective action has been completed. Then a final acceptance inspection will be performed.

The Contractor shall take precautions to allow no sewage to enter the new sewer conduit until it has been inspected, tested, and accepted for operation and maintenance by AWWU.  Any deviations shall require written approval.  The new sewer line may be tested and inspected in incremental runs.

626-3.03 AS-BUILT DRAWINGS AND RECORD DOCUMENTS.  Add the following subsection: The Contractor shall maintain record documents on the job site consisting of a complete set of plans, survey line and grade books, and other contract documents, and keep them current on a daily basis.  Record documents shall be available to the Engineer at all times.  The Engineer may periodically review the status of the record documents during the course of the work.  Failure to keep the record documents current and in the required condition will be considered cause for withholding progress payments.

The Contractor shall prepare as-built drawings as the work progresses and final record drawings as described below.  Acceptable as-built drawings will be prepared on copies of the project construction drawings to depict all lines, grades, locations, materials, and other elements of the work as actually constructed with clearly marked final elevations and locations with actual dimensions.  Noted stations, elevations, slopes and other design dimensions shall be shown on the construction drawings with “ASB” if no change occurs in the field.

The Contractor shall survey the work and all utilities and obstructions encountered during construction in a manner producing an accuracy of 0.03 feet vertically and 0.5 feet horizontally, and reference that as-built information to both project survey control and to pipe stationing.

The Contractor shall submit as-built drawings to the Engineer for review each month, providing five (5) working days to review and approve the information, or to return the drawings for additional information.  The Engineer and AWWU will review all Record Documents for completeness and conformance to standards.  The Contractor shall make all corrections, changes, additions, and deletions required by the Engineer.

The Contractor shall prepare final record drawings on a clean set of full-sized construction plans at the completion of water & sewer construction as follows:

- Note the name of the person who prepared the record drawings, the Contractor, and the date of preparation in the appropriate title block on each record drawing sheet.

- Make all additions and collections neat, clean, and legible in red ink or red pencil to clearly describe the work as actually constructed.  Identify any and all changes to the original design.  If additional plan sheets are required, prepare them on reproducible mylar-type material and sized as the original plans.

- Complete the revisions in conformance with the scale of the drawings.

- Show each change, deletion, or omission with the appropriate entries and symbols.  Draw one straight line through stationing, elevations, and/or notes. Crossed out information must remain legible.  For every entry on the construction drawings that was not changed in the field, mark “ASB” next to that entry.

- Cross-hatch any deleted or relocated water or sanitary sewer.

- Note reference information used to prepare record drawings, such as change orders and field books.

- Make profile changes with new elevations or stationing entries only, unless the change is significant.  If the change exceeds 1.5 feet, cross-hatch the original pipe and redraw the profile line.

- Provide complete information for all water and sanitary sewer service connects that are reconnected or constructed.  If the service is reconnected, record the size and material of the service and the pipe station at the main.  If the service is newly constructed, provide horizontal and vertical locations at the property or lease lot line, including swing ties and offsets to property or lease lot corners. Include two or more swing ties from prominent, permanent features to show the location of each installed water and sanitary sewer service connection on the final record drawings.  Swing ties are to be as close to perpendicular to each other as possible.  Where property lot corners are in place, use them as swing tie reference points.

- Provide complete tables for each water and sanitary sewer service connect showing the material and size of the service pipe, pipe stationing of the service at the main and the location and elevation of each service at the property line.

The Contractor shall clearly stamp the as-built drawings “Record Drawings”, and submit them to the Engineer for approval by AWWU. Approved final Record Documents, bearing certification by the Contractor that the Record Documents are a complete and accurate representation of the project as constructed must be delivered to the Engineer within thirty (30) days of Substantial Completion of water and sewer construction.

626-5.01 BASIS OF PAYMENT. Delete the last sentence of the first paragraph and substitute the following: The unit bid prices will include all necessary excavation to the plan grade, shoring, and backfill with native materials and compaction outside the lines of the roadway structural section.  Any excavation of unsuitable material below plan grade approved by the Engineer shall be paid under Item 203(3), Unclassified Excavation.  Backfill and bedding to replace unsuitable material will be paid in accordance with Section 203.

No separate payment will be made for couplings, adjustment of existing sewer cleanouts, providing pumping of effluent during construction, mechanical plugs, encasing the sewer conduit in polyethylene wrap, lowering water service pipes smaller than 2 inches, shoring, mechanical compaction, abandoning in place existing sanitary sewer lines or appurtenances designated on the plans or as directed by the Engineer, and all restoration work associated with the installation of sewer services. These items will be subsidiary to the sewer conduit.

The contract price for Abandon Existing Septic System includes all labor, materials, and equipment to remove existing septic tanks and disposing existing cesspools as indicated on the Plans per ADEC requirements, including backfill and compaction.

Pay items in Section 626 (10) will be withheld until such time that record drawings are approved by AWWU and Contractor signs final record drawings.

Sewer record drawings will be paid for separately per the bid schedule.

Payment for sewer manholes will be made under Section 604.

Delete pay item 626(1), Sanitary Sewer Conduit and add the following pay items:

| Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 626(1-6) | 6-inch Sanitary Sewer Conduit, Class 50 DIP | Linear Foot |
| 626(1-8) | 8-inch Sanitary Sewer Conduit, Class 50 DIP | Linear Foot |
| 626(10) | Sanitary Sewer Record Drawings | Lump Sum |
| 626(11) | Abandon Septic System | Lump Sum |

SECTION 627

WATER SYSTEM

Special Provisions

627-1.01 DESCRIPTION. Add the following before the first paragraph: For purposes of these specifications, “AWWU” shall mean the Anchorage Water and Wastewater Utility, Engineering Division at (907) 564-2774.  This work shall include the installation and testing of the water system for acceptance by AWWU.  The Contractor shall provide record drawings in accordance with the conditions prescribed herein.

Add the following to the first paragraph: It is the intent of this contract that the Contractor shall maintain water service to all current customers in the project area during the entire period of construction activities.

The locations of the existing water utility shown on the Plans are not exact.  The Contractor shall be responsible for all work required locating the existing water mains for connection as shown on the Plans.  No additional compensation shall be allowed for discrepancies in the water utility locations.

Install, test, flush, and disinfect water system for acceptance by the AWWU.

Provide record drawings in accordance with the conditions prescribed herein.

627-2.01 MATERIALS. Delete the section and replace with the following:

- Water Conduit. All water mains, hydrant lines and service lines 3 inches and larger shall be SDR-11 High Density Polyethylene Pipe (HDPE).  Pipe and fitting material shall have a cell classification of 355434C in accordance with ASTM D3350.  In addition, the material must exceed 1000 hours when tested in accordance with the Ring Environmental Stress Crack Resistance Test (Radar Ring Test) with fewer than 20 percent failures.  Also, the extruded pipe shall have impact strengths greater than 15 ft-lb/in. at 32 degrees Fahrenheit when tested in accordance with the ASTM D 256 Charpie Impact Test.  The material shall be listed by the N.S.F. for potable water service and shall be precompounded.  In plant blending shall not be allowed.  HDPE pipe, tubing, and fittings, shall conform to all applicable provisions and requirements of the latest revision of AWWA C901 and AWWA C906 and by inclusion, all appropriate standards referenced therein.

The pipe shall be homogenous throughout and free of visible cracks, holes, foreign inclusions or other injurious defects.  It shall be uniform in color, opacity, density, and other physical properties.

All HDPE water main piping and fittings shall be butt fused in accordance with ASTM D-2657.  Butt fusion of the pipe and fittings shall be performed in accordance with the pipe manufacturer’s recommendations as to the equipment and technique.  The fusion operation shall be performed by an individual who has demonstrated the ability to fuse polyethylene pipe in the manner recommended by the pipe supplier and has provided written certification from an HDPE pipe manufacturer stating he/she has successfully completed an 8-hour (minimum) certification class on butt fusion techniques and procedures.  In addition this individual shall have fused a combined total of more than 5,000 feet of HDPE piping in diameters of 4-inches and larger.  The pipe supplier shall supply a representative to instruct the Contractor’s crew on butt fusion and installation and witness the first twenty joints.

The Contractor shall inspect HDPE piping for damage immediately prior to joining.  Damage is defined as cuts or gouges exceeding 10% of the pipe wall thickness, kinked pipe sections, pipe sections flattened to more than 5% of the original diameter, or any abrasion or cutting of the inside surface of the piping.  Damage portions of piping shall be cut out and discarded.

The Contractor shall ensure that each joint is fused at the temperature and pressure recommended by the pipe manufacturer in order to achieve the maximum pressure rating for that joint.  All butt-fused joints and fabricated fittings shall be documented by a computer data logger that records pressure and temperature applied at each at each fused joint, along with the date and time the joint was fused.  Computer printouts and electronic data for each fitting shall be submitted to AWWU prior to installation of the fitting.  All fittings shall be labeled with a unique identifier that corresponds with the fusion computer printouts for each fitting.

The use of electro-fusion couplings to join HDPE piping may be allowed upon written approval by AWWU.  Electro-fusion couplings shall comply with ASTM F-1055.  The Contractor shall as-built the exact location of any installed electro-fusion couplings.

A maximum of three joints selected at random by AWWU may be tested for compliance with ASTM D-638 as a quality control measure.  Specimens to be tested shall be obtained by cutting the water main piping at least 12-inches on each side of a field made joint.  The Contractor shall then rejoin the ends of the piping and work may proceed.  Cost for removal and repair of butt-fused joints shall be incidental to the Contract.  Labs costs associated with the test of butt-fused joints will be paid by AWWU.

The handling of joined pipe shall be in such a manner that the pipe is not damaged.  Ropes, fabric, or rubber protected slings, or straps shall be used when handling pipe.  Chains, cables, or hooks, inserted into the pipe ends shall not be allowed.  Two slings spread apart shall be used for lifting each length of pipe.  Slings for handling the pipe shall not be positioned at butt-fused joints.

A tracer wire shall be installed above all HDPE water mains in accordance with the manufacturers recommendations.  Tracer wire shall be suitable for direct bury applications and shall be 10 AWG with 30-mil HDPE jacket (jacket color blue), capable of a 575-pound average tensile break load.  Tracer wire shall be Copperhead Industries reinforced tracer wire.  Trace wire shall be installed in continous lengths with no splices.  Terminate each end of the tracer wire at ground surface in a valve box top section with cap.  Provide a minimum  5 feet of additional wire neatly coiled within valve box at each end.

Water service connection lines smaller than 3 inches shall be soft drawn seamless, Type K copper with type stamped on exterior. Water service connection lines 3 inches and larger shall be HDPE SDR-11. Gate valves for the HDPE water service connections shall have the same nominal diameter as the service piping and shall have mechanical joint (MJ) connections as described herein.

All new copper water services, valves, and fittings shall be tape coated as shown in the Plans.  Tape coat and primer shall be products of the same manufacturer. Prepare surfaces by hand-removing all loose dirt, dust, or other foreign matter that may interfere with the tape adhesion.  Power tool cleaning of the surfaces is not required.  Ensure conduit, valves, and fitting surfaces are clean and dry prior to beginning coating application.  Apply a thin coat of primer to the surfaces and spiral wrap the tape with a 50% overlap.  Continuously wrap the tape coat between valve box and base section.  While wrapping, press air pockets out and smooth all lap seams.

- Select Material Type “A”. Material shall conform to Subsection 703-2.07.

3.	Pipe Bedding. All HDPE water system piping shall be installed in Class D pipe bedding as shown in the Plans.  Class D pipe bedding shall conform to the following gradation:

| U.S. Standard Sieve Size | Cumulative Percent Passing by Weight |
| --- | --- |
| ½” | 100 |
| 3/8” | 85-100 |
| No. 4 | 10-30 |
| No. 8 | 0-10 |
| No. 16 | 0-5 |

- Restrained Joints. HDPE pipe shall be restrained joints shall be achieved with HDPE mechanical joint (MJ) adapters where shown in the Plans and complying with AWWA C901 and C906.  Adapters shall be molded from a resin compatible with the HDPE pipe, and shall be as manufactured by Central Plastics, ISCO Pipe or approved equal.

Where specified on the Drawings and/or required in these specifications, ductile iron pipe shall be installed with restrained joint thrust restraint systems. Ductile iron thrust restraint systems shall be EBAA Iron MEGALUG®, Romac Industries GripRing®, or U.S. Pipe Field LOK Gasket System or approved equal.  If the ductile iron pipe restrained joint system proposed for use in the Work is not one of these systems, the Contractor must field demonstrate to the Engineer the installation and/or construction of each new restrained joint or restraining system. The Contractor shall provide AWWU with a minimum of forty-eight (48) hours notice, excluding non-working days, to coordinate the review of the field demonstration. The Engineer will ask for verification that the restrained joint system is installed in accordance with the jointing system manufacturer’s written instructions. If in the opinion of the Engineer the Contractor fails to install the restrained joint system in accordance with the jointing system manufacturer’s recommendations, the Contractor shall remove the disapproved system and replace with a new restrained joint system. The Contractor shall provide access to the field demonstration location and all trench excavation, dewatering and backfill operations prior to, during, and after the restrained joint system is reviewed by the Engineer. The cost for coordinating and providing access for review of the Contractor’s installation and/or construction of the restrained joint system shall be incidental to the bid item under construction.

All restrained joint ductile iron installation areas shall include joints, fittings, and piping deflection points.

The Contractor shall provide pipe manufacturer submittals, which include thrust restraint calculations prior to construction

Tie back rods and/or tie back rod and shackle assemblies will not be acceptable as restrained joints or restraining system for fittings, piping, deflection points, or inside casings.

- Gate Valves.  Gate valves shall be iron body, fully bronzed mounted, double disc, parallel or resilient seat valves as manufactured in accordance with the requirements of AWWA C500 “Gate Valves for Water and Sewer Systems.”  All valves shall be nonrising stem type with an O-ring seal and a two (2) inch square operating nut, and shall open counter-clockwise.  Valves shall be mechanical joint ends.

Valve nuts, bolts, and washers shall be stainless steel, Type 316.  Carbon steel galvanized or zinc plated nuts, bolts, and washers shall not be allowed.

6.	Valve Boxes. Valve boxes shall be cast iron of sliding, adjustable height type with round or oval bottom hood sections to fit over the top of the valve. The top section shall be recessed to receive a close fitting "eared" lid with the word "water" cast into it. Internal diameter of the smallest section shall not be less than five (5) inches.  Minimum thickness of the metal shall not be less than five-sixteenth (5/16) inch.  Castings shall be smooth and the workmanship shall be acceptable to the Engineer.

Valve boxes shall be of sufficient length for the pipe cover depth on the profile drawings and in accordance with the Plans.

Valve box and valve box base sections shall be tape coated as shown in the Plans.  Tape coat and primer shall be products of the same manufacturer.  Prepare surfaces by hand-removing all loose dirt, dust, or other foreign matter that may interfere with the tape adhesion.  Power tool cleaning of the surfaces is not required.  Ensure valve box and base section surfaces are clean and dry prior to beginning coating application.  Apply a thin coat of primer to the surfaces and spiral wrap the tape with a 50% overlap.  Continuously wrap the tape coat between valve box and base section.  While wrapping, press air pockets out and smooth all lap seams.

7.	Fire Hydrants. Fire hydrants shall conform to the requirements of ANSI/AWWA C502 for Dry Barrel Fire Hydrants.  Fire hydrants shall be Mueller Centurian or equal.

a. 	All fire hydrants shall be supplied with 5-1/4-inch main valve opening.

b. 	All double pumper hydrants shall be furnished with a 8-inch ANSI Class 125 standard mechanical joint end with restrained joint.

c. 	All connections shall be restrained mechanical joints unless otherwise indicated in the Contract Documents.

d. 	Fire hydrants shall be double pumper, furnished with one (1) 2-1/2 inch hose connection and two (2) 4-1/2-inch pumper connections.

e. 	Unless otherwise required by the Contract Documents, all hydrants shall be furnished with a barrel length that will allow a minimum of 10 feet of bury.

f.	The main valves shall be of the compression type, where water pressure holds the main valve closed permitting easy maintenance or repair of the entire barrel assembly from above the ground without the need of a water shut-off.

g. 	All fire hydrants shall be furnished with a breakaway flange which allows both barrel and stem to break clean upon impact from any angle. Traffic flange design must be such that repair and replacement can be accomplished above ground.

h. 	Painting and coating shall be in accordance with cited AWWA specifications. After installation, the hydrant section from the traffic flange to the top of the operating nut shall be painted "Caterpillar Yellow".

i. 	Operating and nozzle nuts shall be pentagon shaped with 1-1/2 inch point to flat measurements.

j.	Hose nozzle threading shall be in conformance with NFPA #194 for National (America) Standard Fire Hose Coupling Screw Threads.

k. 	All working parts shall be bronze or noncorrosive metal in accordance with the requirements of ANSI/AWWA C502.

l. 	All hydrants shall be right-hand opening (clockwise).

m. 	All hydrants shall be non-draining

- Hydrant lower barrel, shoe and HDPE MJ adapter shall be tape coated in a manner similar to copper services and valve boxes as shown in the Plans.

8.	Galvanic Anode.  Anodes shall be High Potential Cast Magnesium Anodes.  Anodes utilized for the galvanic anode system installation shall be prepackaged magnesium style anodes weighing twenty pounds bare and seventy pounds packaged.

Anodes shall be packaged in a low resistive backfill consisting of 75% gypsum, 20% bentonite, and 5% sodium sulfate.

Anodes shall be provided with No. 10 AWG stranded copper, single conductor cable with HMWPE insulation.  Lead wire cable shall be rated for 600 volts and designed for direct burial applications.

Equipment and materials used to bond the No. 10 AWG HMWPE to the pipeline shall be “CADWELD” type as manufactured by ERICO Products, Inc. of Cleveland, Ohio, or approved equal.  Exothermic weld areas shall be repaired with Royston “Handy Caps”, Tapecoat TC Mastic or approved equal.

Anodes shall be provided for all water main gate valves, water service gate valves, water service curb stops, and fire hydrants.  Jumper wires shall be installed between valves and hydrants as shown in the Plans.  If more than one one gate valve and/or hydrant is within a 30-foot radius, use two AWG 10 HMWPE lead wires to bond the hydrant and valves.  Use only one anode for the cluster

9.	Temporary Water System.

The Contractor shall only use those materials and equipment listed in this Section to supply temporary water service.  Temporary water service shall be supplied under the service criteria outlined in this Section.  All equipment used shall be specifically designed and properly disinfected for the storage, handling, and delivery of potable water.

Service shall be supplied to each structure presently served by AWWU.  The following minimum criteria shall be used for service to each structure:

- Forty (40) psi minimum, one hundred (100) psi maximum delivery pressure measured at the connection to the structure.

- Five (5) gallons per minute flow at the above delivery pressure measured at the connection to the structure.  Commercial and other business structures may require higher water flows.

- Potable water system and water quality shall conform to 18 AAC 80 Alaska Drinking Water Standards.

- All services to structures shall be valved to allow individual control of service to each structure.

The temporary water service system shall be constructed from one or more of the following materials:  polyvinyl chloride (PVC), high-density polyethylene (HDPE), copper, ductile iron, cast iron or galvanized steel.

The primary water feeder pipe shall be a minimum of three inches (3”) in diameter.

CONSTRUCTION REQUIREMENTS

627-3.01 GENERAL. Delete the first paragraph and add the following: Contact the AWWU in writing a minimum of three (3) working days in advance of beginning construction to schedule a pre-inspection of the valves and valve boxes and a post inspection after paving operations are complete. Provide the AWWU a copy of the written notice. Contractor shall be responsible for furnishing all the required traffic control and personnel to assist AWWU while locating and performing the pre-construction and post-construction inspections. Contractor forfeits all rights to deny damages done by Contractor or Contractor’s agents during the course of work if Contractor fails to participate in this inspection.  It is the Contractor’s responsibility to protect and maintain valves and valve boxes in an operable condition during construction.  If AWWU finds valves or valve boxes damaged or rendered inoperable after the above inspection and before final inspection the Contractor shall repair the valves and/or valve boxes at the Contractor’s expense.

Existing valve box covers identified as worn in the pre-inspection shall be replaced by the Contractor with new covers provided by AWWU.  Coordinate with the AWWU to obtain replacement covers from the AWWU warehouse.

Prior to commencement of work to install the water system, the Contractor shall submit to the Engineer for review, a detailed plan for the installation of the new water systems.  The plan shall be of sufficient detail to clearly indicate the proposed work sequence, schedules, disruption of water service, and temporary water services.

AWWU, through the Engineer, reserves the right to suspend the water system installation at any time that the Contractor fails to meet the requirements set forth herein until such time as the Contractor makes the necessary corrections.  Suspensions of work will not entitle the Contractor to an extension of time for the completion of the project, and will not entitle the Contractor to extra payment for costs incurred.

If construction or excavation require the removal of any existing privately owned facilities or improvements within and outside of the provided temporary construction easements, the Contractor shall be responsible for coordinating with the owner and for reestablishing lawns, driveways, parking lots, etc., at the Contractor’s cost.  Any restorative work will be completed as soon as practicable after the installation, but in no case shall the period of time exceed two weeks.  The Contractor shall restore property disturbed by contract activity to the preconstruction condition.

Trench Shoring

The Contractor shall obtain approval from the Engineer for all sheeting, bracing, and shoring materials and/or equipment to be used on the project.  Materials used shall be in accordance with Section 1926.651, Subparagraph 1 of the Federal Register, Volume 37, No. 243, page 27553, OSHA Regs., December 1972.

All construction requirements for design, installation, and use of sheeting, shoring, bracing, and shielding shall be in accordance with current safety regulations.  All sheeting, shoring, bracing, and shielding shall be designed by a Professional Engineer registered in the State of Alaska, hired by the Contractor.  All working drawings and design data shall be submitted to the Engineer for approval.

When shoring and sheeting is left in the trench, sheeting must be driven lower than the bottom of the pipe and cut off (1) foot minimum below road structural fill.  No traverse bracing will be permitted to remain.

No bracing requiring driven or vibratory installation methods shall be used on this Project. Any Contractor provided portable trench shielding shall comply with relevant OSHA regulations. The Contractor shall provide the Engineer certification of such compliance from the portable shield manufacturer or supplier.

Delete the second paragraph.

Add the following to the fourth sentence of the third paragraph: "so proper alignment and/or grade may be determined before the pipe sections are laid in the trench and backfilled.”

Add the following after the fourth paragraph:  Contractor shall take every effort to protect existing services, both located and unlocated, from damage and shall anticipate one service to each developed lot adjacent to the sewer main.

Repairs to any damaged sewer services shall be made using Class 50 DIP and Romac (or approved equal) repair couplings with stainless steel bands.  Pipe inside diameter shall match the existing pipe or, if the exact match is not available, the new pipe may be slightly larger.  The inverts of the new pipe shall match the inverts of the existing pipe, regardless of pipe diameter.  Pipe shall be bedded and backfilled in accordance with the trench detail.

Contractor shall notify the sewer service user immediately if a service is damaged and advise to user to not introduce any flow into the service until it is repaired. Contractor shall perform the repair immediately to restore service and shall advise the user when the service is usable.  Contractor shall contain any flow that spills from the damaged service and shall dispose of waste and contaminated soil in accordance with DEC regulations.

Repair to any sewer services is incidental to the water pipe construction and no separate payment will be made.

Delete the fifth and sixth paragraphs and substitute the following: At least 72 hours prior to removing or disrupting service to fire hydrants, the Contractor shall contact both the Anchorage Fire Chief, and AWWU.  Any hydrant taken out of service shall be immediately and securely wrapped in burlap to indicate its status.

Contractor shall provide seventy-two (72) hours written notice to the Engineer, AWWU, the Anchorage Fire Department, and affected property owners/businesses prior to anticipated mainline flow interruptions.  It shall be the Contractor’s responsibility to coordinate “turn-off” and “turn-on” with the Engineer.  Additionally, the Contractor shall notify all affected property owners and the Engineer, 72 hours prior to interruption of AWWU's water service.  The Contractor shall provide temporary service to all those property owners with disrupted water service if the interruption exceeds 4 hours duration.

Add the following:

Temporary Water Systems.  The Contractor shall submit a plan for any temporary water systems to the State of Alaska Department of Environmental Conservation (ADEC) for review and approval prior to beginning Work on such systems.  The plan must identify the type of system, the method of construction, and the maintenance and operation procedures to be used.  The plan must identify service to each existing customer except those who agree in writing to have their service temporarily disconnected.   The Contractor shall obtain such agreement.  To be submitted with the plan are any agreements between the Contractor and property owner regarding access and use of private property.  The methods to be employed in maintaining the water service are left to the Contractor.  Surface piping, trailer mounted supply systems, and so forth may be considered as long as they comply with current health standards and requirements.  A copy of the ADEC approved plan shall be provided to the Engineer and AWWU along with copies of any agreements with property owner referred to above.

The Contractor shall submit the name and phone number of a contact person and at least one alternative who shall be available 24-hour basis for repair and/or maintenance of the temporary water system.  In the event that the Contractor fails to repair and/or maintain the temporary system and AWWU is required to perform the repairs and/or maintenance, all costs associated with said repairs and/or maintenance shall be deducted from the Contract amount.

Prior to the construction of the temporary water system the Contractor shall obtain a written “Permission to Enter” from the property owner.  Such permission shall hold the Department, the Municipality of Anchorage, AWWU, and its agent harmless for any claims resulting from damage or harm sustained due to the Contractor’s operation.  The Contractor shall provide a copy of each “Permission to Enter” to the Engineer and AWWU.

The Contractor shall provide any necessary fittings, valves, temporary connections or appurtenances necessary in order to maintain the water distribution system.  Any costs involved in service changeovers and providing temporary water service shall be subsidiary.

All temporary water service equipment shall be disinfected per ANSI/AWWA C652, Disinfection of Water Storage Facilities and ANSI /AWWA C651, Disinfection of Water Mains.  All bacteriological samples required under these Specifications shall be done by a testing laboratory certified by the State of Alaska.  Two bacteriological samples shall be taken 24 hours apart before commissioning a temporary water system.

Following the successful installation of the temporary water system, the existing water service shall be appropriately disconnected at a main shutoff valve inside the structure.  Qualified personnel who are familiar with building plumbing systems shall accomplish the disconnection of the existing water service.  The Work shall be done to prevent backfeeding water through the service connection.

Fire hydrants may be used as a water source for a temporary water system.  The Contractor shall be required to obtain a hydrant permit from AWWU and will be required to meet all permit conditions (winter use of a hydrant shall require special permission from AWWU).  In addition the Contractor shall provide a backflow preventer and gate valve assembly at the fire hydrant as a shut off valve and a for the temporary water system. The Contractor shall be responsible for any damage to the hydrant and temporary service piping and shall repair such damage at no cost to the Department.

The Contractor shall be responsible for all damages incidental to interruption of service that may be due to the Contractor operations.

Delete the tenth and eleventh paragraphs and substitute the following: Where new water mains cross existing sanitary sewer or storm sewer pipes, the new water main shall be installed a minimum of 18 inches vertically from the sanitary sewer or storm sewer pipe.  Water pipe joints shall be a minimum of 9 feet horizontally from sanitary sewer pipes, storm sewer pipes, or manholes.

Where the required clearance cannot be obtained, the existing pipe is to be encased with a jacket of Class A concrete, 4 inches thick for 10 feet on each side of the crossing.  Alternately, the existing pipe may be replaced with Class 52 DIP with joints spaced at least 9 feet from the crossing a heat shrink wrap joints within 10 feet of the pipe intersection.

Add the following:

Trench Excavation and Backfill. Excavation and backfill shall be to the width and depth as shown on the drawings.  Trench width at or below the top of the pipe shall be of a width that will allow compaction equipment to be used at the sides of the pipe.

Contractor shall erect and maintain barricades to prevent access around all excavations left open at the end of the workday.  Contractor shall provide and maintain adequate barricades to ensure public safety at all times during the prosecution of the Work.

Contractor shall perform all excavation of every material encountered.  Excavated material shall be placed in an orderly manner and at a distance from the trench conforming to all State and/or Federal safety codes.  Excavated material meeting the requirements of Select Material shall be stockpiled separately and reused in the Work.

Not more than 200 feet of trench shall be open in advance of the pipe installation unless written authorization is obtained from the Engineer.  Not more than 100 feet of trench shall be left open at the end of the workday, unless otherwise approved by the Engineer.

All bedding material and backfill material shall be placed in uniform layers of not more than 12 inches in depth and compacted in accordance with Subsection 203

3.04. In no case shall bedding material be placed above the springline of the pipe in a single lift.  Ponding or jetting of backfill will not be permitted.

When existing conduits or utilities, which are not scheduled for removal or abandonment, are encountered in the excavation, they shall be adequately supported and protected from damage.

All sheeting and bracing used in excavation shall be removed by the Contractor following the completion of the work.

Remove Existing Pipe.  Pipe, hydrants, and appurtenances called out on the plans to be removed shall be an incidental item of construction.  All removed materials shall become the property of the Contractor, unless specifically addressed otherwise in these special provisions.

Depth of Bury. All water mains and services shall have a minimum of 10 feet of bury at all points except where otherwise indicated.

Final Acceptance. The Contractor shall, upon completion of all work involved, notify the Engineer in writing of completion and request a pre-final inspection of the project. This inspection will be performed in the presence of the Engineer, AWWU, and the Contractor. Copies of a list of any deficiencies indicated by this inspection will be furnished to the Contractor for remedial action.  When all corrective action has been completed, the Contractor shall notify the Engineer, and a final inspection will be performed.

627-3.02 INSTALLATION OF CONDUIT. Delete the first and second paragraphs and substitute the following: Installation shall be in accordance with these specifications, AWWA C600, and the current AWWU Design and Construction Practices Manual. The interior of the conduit and accessories shall be thoroughly cleaned of foreign matter before being lowered into the trench.  The conduit shall be kept clean during laying operations by plugging.  Lay conduit to the grades and lines shown on the Plans. However, at a sufficient distance prior to encountering a known obstacle or tying into an existing conduit, the Contractor shall expose and verify the exact location of the obstacle or conduit so proper alignment and/or grade may be determined before the conduit sections are laid in the trench and backfilled. The costs incurred for removal and realignment of backfilled conduit sections due to improper verification methods shall be borne by the Contractor.

Delete the seventh and eighth paragraphs and substitute the following: Deflections from a straight line or grade, as required by vertical curves, horizontal curves, or offsets shall not exceed 80 percent of the manufacturer's recommended maximum deflection.  If the alignment requires deflection in excess of the above limitations, the Contractor shall furnish special bends to provide angular deflections within the limits allowable.  Wherever possible, the Contractor shall achieve the desired deflection by taking advantage of reduced deflections over multiple joints. Short-radius curves and closures shall be formed by shorter lengths of conduit, bevels, or fabricated specials.  No pipe lengths less than 8’ are allowed.

Conduit shall be so laid in the trench that after the line is completed the bottom of the conduit conforms accurately to the grades and alignment shown on the Plans. A maximum 0.2-foot deviation from design alignment and elevation will be allowed. Both line and grade shall be checked and recorded in a field book for each piece of conduit and appurtenance installed.  All adjustments to line and grade shall be done by scraping away or filling the earth under the body of the conduit and not by blocking or wedging up.

The Contractor shall have survey instruments such as transit and level for transferring alignment and grades from offset hubs.  The Contractor shall also employ a person who is qualified to use such instruments and who shall have the responsibility of placing and maintaining such construction guides. The Contractor shall furnish to the Engineer a copy of the surveyor's record notes for the newly installed conduit and appurtenances. The practice of placing backfill over a section of conduit to provide a platform for the instruments shall be subject to the approval of the Engineer.

A minimum vertical separation of 18 inches shall be maintained at water and sewer or water and storm sewer crossings.  Where a storm sewer and water main cross with less than 3-feet vertical separation (outside of conduit to outside of conduit), insulate the water main with 4-inch thick extruded rigid insulation board (Rmin=4.5 per inch).

Conduit that has the grade or joint disturbed after laying shall be taken up and relaid. Water shall be kept out of the trench until the jointing is completed.  No conduit length less than 8 feet shall be incorporated into the system except those necessary for fire hydrants or valve locations unless restrained by use of mechanical joint adapters for HDPE pipe or field-lok gaskets, meg-a-lug fittings, or equal for ductile iron pipe sections.

Polyethylene Encasement. The outside of all ductile iron and cast iron conduit and fittings used in water system construction shall be encased with one layer of 8 mil thick polyethylene film.  Valves and other appurtenances used in water system construction shall be encased with one layer of 8-mil thick polyethylene film. The polyethylene encasement material for conduit shall conform to AWWA C105/ANSI A21.5. The polyethylene encasement shall be installed using the following method:

Method

- Cut polyethylene tube to a length approximately 2-feet longer than the length of the pipe section. Slip the tube around the pipe, centering it to provide a 1-foot overlap on each adjacent pipe section and bunch it accordion-fashion lengthwise until it clears the pipe.

- Lower the pipe into the trench and make up the pipe joint with the preceding section of pipe.  A shallow bell hole must be made at the joints to facilitate installation of the polyethylene tube.

- After assembling the pipe joint and testing the bonded joint, make the overlap of the polyethylene tube. Pull the bunched polyethylene from the preceding length of pipe, slip it over the end of the new length of pipe, and secure in place. Then slip the end of the polyethylene from the new pipe section over the end of the first wrap until it overlaps the joint at the end of the preceding length of pipe.  Secure the overlap in place.  Take up the slack width to make a snug, but not tight fit along the barrel of the pipe, securing the fold at quarter points.

- Repair any rips, punctures, or other damage to the polyethylene with adhesive tape or with a short length of polyethylene tube cut open, wrapped around the pipe, and secured in place.  Proceed with installation of the next section of pipe in the same manner.

627-3.03 FIRE HYDRANTS. Delete this subsection in its entirety and substitute the following:

The Work under this section consists of the performance of all Work required for furnishing all necessary hydrants, pipe, auxiliary valve, and associated appurtenances required to install new or relocate a hydrant to a location indicated on the plans.

Auxiliary Gate Valve and Valve Box. Auxiliary gate valves and valve boxes shall be furnished and installed in accordance with 627-2.01 and 627-3.05.

Joint Restraint.  The Contractor will be required to use restrained joints on all fire hydrant leads. The Engineer may check any or all restrained joints to assure proper torque as specified by the manufacturer.  All joints shall be restrained in accordance with 627-2.01.

Guard Posts.
Contractor shall install guard posts at each hydrant installation in accordance with the Plans.  If, in the opinion of the Engineer, the guard posts are not to be installed, they shall be delivered to the AWWU Operations and Maintenance Facility.

The AWWU Operations Division will adjust Fire Hydrants to final grade.  The Contractor shall provide AWWU with a minimum of seventy-two (72) hours’ notice, excluding non-working days, to coordinate fire hydrant adjustment.  The Contractor shall be responsible for access to the hydrant location and all trench excavation, dewatering, and backfill operations prior to, during, and after the fire hydrants are adjusted by AWWU personnel.

Hydrants installed but not available for use shall be covered with burlap and securely tied.

Hydrant legs shall be installed level and barrels installed plumb.

Contractor shall paint or use permanent-ink marker to stencil 2-inch black letters on the hydrant bonnet indicating the direction and distance to the auxiliary valve box, to the nearest 0.1 foot.

627-3.04 VALVES. Delete this subsection and substitute the following: Valves shall be installed where shown on the plans with valve operator placed on the side of the water line away from the centerline of the street or easement. Valves shall be installed plumb. Valves shall have the interiors cleaned of all foreign matter before installation.  If the valve is at the end of the line, it shall be plugged prior to backfilling.  The valve shall be inspected by AWWU's representative, in the open and closed positions to ascertain that all parts are in good working condition.

627-3.05 VALVE BOXES. Delete this subsection and substitute the following: Valve boxes shall be installed over the valves as shown on the plans, with base section centered over the operating nut of the valve and resting on well compacted backfill. Top section shall be so set as to allow equal movement above and below finished grade. Final elevation shall be as shown on the Plans.

Top of base section shall be approximately on line with nut at top of valve stem, and the entire assembly shall be plumb.  Provisions shall be made to restrict the soils from entering the bottom section of the valve box.  Wrap burlap inside bottom section under the packing gland and wrap 3 layers of non-woven geotextile fabric around the outside of the valve and base section of the valve box and secure the fabric at the top and bottom with wire or tape.

The Contractor shall expose all valve boxes for pre-final and final inspection. After final inspection of the valves located in unpaved areas, sawdust shall be poured directly over the valve box lid and covered with gravel to facilitate location in the future.

627-3.06 TESTING WATER SYSTEM. Delete this subsection and substitute the following: The Contractor shall notify the Engineer in writing 72 hours in advance  prior to any test.  AWWU and the Engineer shall be present during all tests. Two hours notice in advance of the scheduled time shall be given to the Engineer if the test is to be postponed or canceled.

Contractor shall submit a request to supply water for flushing, testing and disinfecting in writing to the Engineer at least 24 hours prior to obtaining Water Utility supplied water.  The request for water will be subject to water availability and meeting the Contractor’s schedule may not be possible.

AWWU reserves the right to provide a test gauge or to check and test the Contractor’s test gauge at any time.

Flushing. All flushing shall be coordinated with AWWU.  All newly laid water conduit shall be "open-bore" flushed to remove any foreign matter to the satisfaction of AWWU. A detailed plan for cleaning of the lines shall be submitted to the Engineer for review and approval prior to commencement of work.

"Open-bore" flushing shall be accomplished prior to hydrostatic testing and disinfection at all extremities including all stubouts and dead-ends.  The Contractor shall furnish, install and remove all fittings and conduit necessary to perform the flushing.  Under no circumstances will "open-bore" flushing through hydrants or reduced outlets be permitted.

Flushing of newly installed conduit may be required to occur between the hours of 1:00 AM and 6:00 AM, depending on availability of water, as authorized by AWWU. Flushing shall be considered incidental to this work and no separate payment will be made.

When in the opinion of the Engineer, the Contractor’s proposed testing and flushing plan is deficient, inadequate, improper, or conditions are such that the impact to existing water service area are adversely affected by service interruptions, the Contractor will be notified in writing by the Engineer.  Such notification shall be accompanied by a statement of the corrective action to be taken.  Contractor shall adhere to the testing and flushing schedule and comply with instruction as directed by the Engineer.

Hydrostatic Testing. A hydrostatic test shall be conducted on all newly constructed water conduit, service lines, fire hydrant leads and stub-outs after "open-bore" flushing in the presence of the Engineer and AWWU. The Contractor shall use a pressure test.

The Contractor shall furnish all necessary assistance, equipment, labor, materials and supplies (including the test pressure gauge) necessary to complete the test to the satisfaction of AWWU.  The Contractor shall suitably valve off or plug the outlet to the existing or previously-tested water main at the Contractor expense, prior to making the required hydrostatic test.

Prior to testing, all air shall be expelled from the conduit. If permanent air vents are not located at all high points, the Contractor shall, at the Contractor expense, install corporation cocks at such points so the air can be expelled as the conduit is slowly filled with water.

No hydrostatic test section shall exceed 1,000 feet unless approved by AWWU in writing. All main line valves, fire hydrant auxiliary valves, fire hydrant main valves and plugs shall be tested.  All intermediate valves within the section being tested will be fully closed and reopened as directed by the Engineer during the actual test. Only static pressure will be allowed on the opposite side of the end valves of the section being tested.

All hydrostatic testing will be performed through test copper.  Use of fire hydrants and service connections for testing will not be allowed.

The hydrostatic leak test procedure consists of filling the conduit with water, an initial expansion phase, a test phase, and depressurizing.  Before applying pressure, all conduit and all components in the test section shall be restrained and the trench section backfilled.  The maximum test duration is 8 hours to pressurize, allow initial expansion, test, and depressurize the test section.  If the test is not completed due to leakage, equipment failure, or for any other reason, depressurize the test section completely, and allow it to relax for at least 8 hours before pressurizing the test section again.

The hydrostatic pressure shall be 160 psi.  Gradually pressurize the test section to test pressure and maintain the test pressure for 4 hours.  During the initial expansion phase, polyethylene pipe will expand slightly and additional test liquid will be required to maintain pressure.  It will not be necessary to monitor the amount of water added during the initial expansion phase.  Immediately following the initial expansion phase, reduce the test pressure by 10 psi and stop adding test liquid. If the pressure remains constant for 1 hour with no visible leaks, that section of the conduit will not be subjected to any further hydrostatic tests.

Cracked or defective conduit, gaskets, mechanical joints, fittings, valves or hydrants discovered as a consequence of the hydrostatic tests shall be removed and replaced with sound material at the Contractor's expense. The test shall then be repeated until the results are satisfactory.

In the instance where connection is made to an existing water conduit, a new valve shall be installed on the connection.  The Contractor shall suitably seal off the outlet leading to the existing conduit prior to making the field tests.

Continuity Tests. The Contractor shall perform electrical conductivity tests on all DIP water mains in the presence of the Engineer and AWWU.  Continuity testing shall also be performed on all DIP water service connections and extensions greater than two inches in diameter.  The Contractor shall maintain a circuit of 600 amperes DC current for a period of 15 minutes.  Return current shall be at least 90 percent of the input current.  All equipment necessary to maintain the circuit shall be supplied by the Contractor.

All continuity tests will be through wires brought to the surface or through ¾-inch minimum copper pipe connected to the main.  The use of water service thaw wires, fire hydrants and valves, as substitutes for wires will not be accepted.  All wires brought to the surface to complete the continuity test shall be removed to a depth of two feet below finished street grade upon completion of the tests.

Removal of Test and Air Vent Copper Pipe. After completion of testing, all test and air vent copper pipe shall be removed and the corporation stop closed at the main, in the presence of the Engineer and Water Utility.  In addition, a visual inspection for leaks will be performed in the presence of the Engineer and Water Utility.

627-3.07 DISINFECTION OF WATER LINES. Delete this subsection and substitute the following: All portions of the water system shall be disinfected, including all valves and stops and any portion of the existing connection system that might have become contaminated during construction activities.  Disinfection shall be accomplished after completion of pressure and/or leakage tests in compliance with AWWA C651, Disinfecting Water Mains.

Chlorine shall be used for disinfection, and shall be applied only by one of the following methods:

- liquid chlorine gas and water mixture

- direct chlorine gas feed

- calcium hypochlorite and water mixture

Calcium hypochlorite shall be comparable to commercial products known as HTH, Perchloren or Machochlor. The chlorinating agent shall be applied at the beginning of the section adjacent to the feeder connection, insuring treatment of the entire line. Water shall be fed slowly into the new conduit with chlorine applied in amounts to produce a dosage of 40 to 50 ppm. Application of the chlorine solution shall continue until the required dosage is evident at all extremities of the newly-laid conduit. Under no circumstances shall the chlorinating agent be introduced through a fire hydrant .

Chlorine gas-water mixture shall be applied by means of a solution-feed chlorinating device. Chlorine gas shall be fed directly from a chlorine cylinder equipped with a suitable device for regulating the rate of flow and effective diffusion of gas within the conduit. Calcium hypochlorite shall be injected or pumped into the water conduit.  During the chlorination process, all intermediate valves and accessories shall be manipulated so that the strong chlorine solution in the conduit being treated will not flow back into the conduit supplying the water. Hydrostatic testing of water conduit containing the chlorine mixture will not be allowed. The Contractor shall provide a plan for approval by the Engineer and Water Utility for disposal of chlorinated waters from the disinfection of the system.  Under no circumstances shall the spent chlorine solution be discharged to the sewer system.  AWWU shall approve the discharge location.

A residual of not less than 5 ppm chlorine shall be produced in all parts of the water conduit and retained for a minimum period of 24 hours, after which it shall be flushed from the conduit at its extremities until the replacement water tests are equal chemically and bacteriologically to those of the permanent source of supply. Two bacteriological samples shall be taken 24 hours apart. In no instance will a water conduit be chlorinated before "open-bore" flushing.

CHLORINATION

| Conduit Diameter | Dosage (oz. per 100 feet) |
| --- | --- |
| 6 in | 1.35 oz. |
| 8 in | 2.75 oz. |
| 10 in | 4.30 oz. |
| 12 in | 6.19 oz. |
| 16 in | 11.00 oz. |

The above table is to be used as a guide for chlorinating mains by the calcium hypochlorite and water mixture method.  The given dosage per 100 feet results in a minimum chlorine solution of 40 to50 ppm.  This dosage takes into account that Contractors most frequently use granular HTH, which is 65 percent pure.  If another chlorinating agent is used, the dosage must be adjusted.  Caution should be exercised against producing too high a concentration of chlorine in the conduit.

After completion of all testing, including bacteriological tests, all test and air vent copper pipe shall be removed and the corporation cock closed at the main in the presence of the Engineer and AWWU.

Contractor shall prepare and submit a written plan to ADEC for disposal of chlorine solution used for disinfection of water lines.  Upon ADEC approval, Contractor shall dispose of chlorine solution in accordance with the plan.

Add the following subsection:

627-3.08 GALVANIC ANODES: Galvanic anode installation shall be accomplished as specified shown on the Drawings and as specified herein.  The following is a list of general procedures utilized for typical installation of galvanic anodes.

- Anode Installation

Anodes shall be installed 12”-36” from the sidewall of the pipe, to a centerline depth in-line with the approximate horizontal plane of the pipe’s BDC.  Anodes shall be placed on both sides of the pipeline (opposite side of the pipe for every other pipe joint).  Exact anode location shall be shown on the Record Drawings.

- Lead Wire Connection to Pipe

The No. 10 AWG HMWPE lead wires shall be attached to the top of the pipe.  Lead wire connection to the pipe shall utilize exothermic weld connection methodology as outlined above and on the drawings.  Contractor shall follow exothermic manufacturer’s recommendations and instructions for use.

- Backfilling

Anodes or lead wires damaged during backfill procedures shall be repaired at no additional cost to the Department.

Add the following subsection:

627-3.09 AS-BUILT DRAWINGS AND RECORD DOCUMENTS. A complete and accurately dimensioned record of all deviations, deletions, additions and alterations from and to the contract plans and specifications shall be maintained by the Contractor to indicate the work as actually installed. This as-built information shall be recorded on a print of plans affected and on the applicable pages of the specifications with supplementary notes. This record set of plans and specifications shall be kept by the Contractor showing record conditions of all conduit and appurtenances installed.

The Contractor shall maintain record documents on the job site consisting of a complete set of plans, survey line and grade books, and other contract documents, and keep them current on a daily basis. Record documents shall be available to the Engineer at all times.  The Engineer may periodically review the status of the record documents during the course of the work.  Failure to keep the record documents current and in the required condition will be considered cause for withholding progress payments.

Conduit and appurtenances shall be referenced by stationing, showing design line and grade and as-built line and grade.

The Contractor shall prepare asbuilt drawings as the work progresses and final record drawings as described below.  Acceptable record drawings will be prepared on copies of the project construction drawings to depict all lines, grades, locations, materials, and other elements of the work as actually constructed with clearly marked final elevations and locations with actual dimensions.  Noted stations, elevations, slopes and other design dimensions shall be shown on the construction drawings with “ASB” if no change occurs in the field.

The Contractor shall survey the work and all utilities and obstructions encountered during construction in a manner producing an accuracy of 0.03 feet vertically and 0.5 feet horizontally, and reference that as-built information to both project survey control and to pipe stationing.

The Contractor shall submit asbuilt drawings to the Engineer for review each month, providing five (5) working days to review and approve the information, or to return the drawings for additional information.  The Engineer and AWWU will review all Record Documents for completeness and conformance to standards.  The Contractor shall make all corrections, changes, additions, and deletions required by the Engineer.

The Contractor shall prepare final record drawings on a clean set of full-sized construction plans at the completion of water & sewer construction as follows:

- Note the name of the person who prepared the record drawings, the Contractor, and the date of preparation in the appropriate title block on each record drawing sheet.

- Make all additions and collections neat, clean, and legible in red ink or red pencil to clearly describe the work as actually constructed.  Identify any and all changes to the original design.  If additional plan sheets are required, prepare them on reproducible mylar-type material and sized as the original plans.

- Complete the revisions in conformance with the scale of the drawings.

- Show each change, deletion, or omission with the appropriate entries and symbols.  Draw one straight line through stationing, elevations, and/or notes. Crossed out information must remain legible.  For every entry on the construction drawings that was not changed in the field, mark “ASB” next to that entry.

- Cross-hatch any deleted or relocated water or sanitary sewer.

- Note reference information used to prepare record drawings, such as change orders and field books.

- Make profile changes with new elevations or stationing entries only, unless the change is significant.  If the change exceeds 1.5 feet, cross-hatch the original pipe and redraw the profile line.

- Provide complete information for all water and sanitary sewer services that were reconnected or constructed.  If the service was reconnected, record the size and material of the service and the pipe station at the main.  If the service was constructed, provide horizontal and vertical locations at the property or lease lot line, including swing ties and offsets to property or lease lot corners. Include two or more swing ties from prominent, permanent features to show the location of each installed water and sanitary sewer service connection on the final record drawings.  Swing ties are to be as close to perpendicular to each other as possible.  Where property lot corners are in place, use them as swing tie reference points.

- Provide complete tables for each water and sanitary sewer service showing the material and size of the service pipe, pipe stationing of the service at the main and the location and elevation of each service at the property line.

The Contractor shall clearly stamp the as-built drawings “Record Drawings”, and submit them to the Engineer for approval by AWWU. Approved final Record Documents, bearing certification by the Contractor that the Record Documents are a complete and accurate representation of the project as constructed must be delivered to the Engineer within thirty (30) days of Substantial Completion of water and sewer construction.

When the water system additions are complete, the Contractor shall certify the accuracy of the construction survey notes and of each revision on the plans and in the specification by written signature endorsement, and deliver them to the Engineer prior to final acceptance of the system by AWWU.  The Contractor will be required to provide signed Record Drawings approved by AWWU prior to final payment.

627-4.01 METHOD OF MEASUREMENT. Delete this subsection and substitute the following:

- Water Conduit. Measurement for water conduit with appurtenances will be per linear foot of horizontal distance of the various sizes and classes furnished and installed as set forth in the Bid Schedule. Measurement will be from station to station as staked in the field and as shown on the plans. No deduction in length will be made for valves and fittings.

- Fire Hydrant Relocation.  Measurement for fire hydrant relocation shall be per each relocated hydrant.

- Fire Hydrant Installation.  Measurement for fire hydrant installation shall be per each new hydrant assembly.

- Galvanic Bag Anode. The quantity to be paid will be the actual number furnished, installed, and accepted.

- Gate Valves and Valve Boxes .  The quantity to be paid by the number of valves installed.  Valve boxes shall be incidental to valves.

- Record Drawings. Water line record drawings will be measured by acceptance of completed As-built drawings.

- Temporary Water System. Measurement shall be a single lump sum for all temporary systems required, regardless of number of locations.

- Abandon Existing Well.  Measurements shall be a single lump sum for all work necessary to meet ADEC requirements including all materials, labor, and coordination.

- Water Service Connection.  The quantity will be paid by the number of services installed.

627-5.01 BASIS OF PAYMENT. Delete the first through fifth paragraphs and substitute the following:

All labor, tools, equipment, fittings, pipe, and demolition necessary to connect new water main to the existing water mains as shown on the drawings, is subsidiary.

The contract price for Water Conduit includes trench excavation, shoring as required, bedding, backfill, with native soils, compaction, pipe, fittings, tees, reducers, crosses, bends, repair of or provision of polyethylene encasement on ductile iron pipe, couplings, testing, disinfection, connection to existing mains, abandonment or removal of the existing conduit, etc.   Any excavation below plan grade approved by the Engineer shall be paid under Item 203(3) Unclassified Excavation.  Backfill and bedding to replace unsuitable material shall be paid in accordance with Section 203.  The cost for coordinating and providing trenching operations are incidental to the fire hydrant installation.

Measurement and payment for the guard posts shall be incidental to Pay Item 627(5) Fire Hydrant Installation, Double Pumper.  No deduction will be made for guard posts not installed at the direction of the Engineer.

The contract price for Water Service Connection includes installation of curb stop, valve box, service pipe and connection to a new or existing water main with a service saddle, tapped, coupling or corporation stop, anode, and tape coating, as shown on the Plans.

The contract price for Abandon Existing Well includes all material, labor, and equipment necessary to abandon well indicated in the Plans per ADEC requirements.

Pay items in Section 627 (13) will be held until such time that record drawings are approved by AWWU and Contractor signs final record drawings.

Repair and/or restoration of existing improvements on private property and repair of existing utilities damaged by the Contractor will not be paid for directly but will be considered subsidiary.

Add the following pay items:

| Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 627(5) | Furnish and Install Fire Hydrant, Double Pumper | Each |
| 627(11) | Furnish and Install Galvanic Bag Anode | Each |
| 627(12) | Temporary Water System | Lump Sum |
| 627(13) | Water Line Record Drawing | Lump Sum |
| 627(14) | Abandon Existing Well | Lump Sum |

SECTION 631

GEOTEXTILE FOR SUBSURFACE

DRAINAGE AND EROSION CONTROL

631-2.01 MATERIALS. Add the following:  Use permanent erosion control matting that is 100 percent UV (ultra-violet) stabilized polypropylene meeting the requirements established by the Erosion Control Technology Council (ECTC) Specification and the US Department of Transportation, Federal Highway Administration’s Standard Specifications for Construction of Roads and Bridges on Federal Highway Projects, FP-03 2003 Section 713.18 as a Type 5A, B, and C Permanent Turf Reinforcement Mat.

Geotextile, Erosion Control, Class 1 shall be North American Green P550 or an approved equal.

North American Green,

14649 Highway 41 North,

Evansville, Indiana 47725

1-800-772-2040

www.nagreen.com

631-3.01 CONSTRUCTION. Add the following to the numbered paragraph 1. Surface Preparation:  Apply seed and mulch at the rates specified in section 618, to the surface, prior to the placement of the Geotextile, Erosion Control, Class 1.

Delete this Section in its entirety and substitute the following:

SECTION 639

DRIVEWAYS

# Special Provisions

639-1.01 DESCRIPTION.  Construct approaches, residential or commercial driveways at the locations shown in the Plans.

639-2.01 MATERIALS.  Use materials that conform to the standards for the main roadway.

639-3.01 CONSTRUCTION.  Construct driveways and approaches to the dimensions shown on the Plans.

639-4.01 METHOD OF MEASUREMENT.  By the number of driveways and approaches constructed as shown on the Plans or as directed.  Pavement removal and excavation required beyond the limits of the adjacent mainline will be subsidiary.

639-5.01 BASIS OF PAYMENT.  At the Contract unit price shown in the bid schedule.  The Contract unit price for driveways and approaches shall be full compensation for furnishing equipment and labor necessary to complete the work as specified.

Materials required to construct driveways and approaches will be paid for separately under the respective items listed in the bid schedule.

Native material meeting the minimum requirements of Selected Material, Type C will not be paid for directly, but will be considered subsidiary to 639 items.

(05/09/02)R58M98

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

639(1)  	Residence Driveway 	Each

639(2)  	Commercial Driveway 	Each

639(3)  	Public Approach 	Each

639(4)  	Driveway 	Each

639(6)	Approach 	Each

SECTION 640

MOBILIZATION AND DEMOBILIZATION

640-1.01 DESCRIPTION.  Add the following:

6. Verify suitability for sites to be used as staging areas shown in the Plans.

640-3.01 CONSTRUCTION REQUIREMENTS. Add the following: Staging areas shown in the Plans are available for use by the Contractor. Their use as staging areas is not mandatory.

640-4.01 METHOD OF MEASUREMENT. Add the following: No measurement will be made for any work or materials involved in the use of the available staging areas for Contractor’s operations.

Required work shown in the Plans inside or adjacent to the staging areas will be paid under sections:

202 Removal of Structures and Obstructions, 203 Excavation and Embankment, 618 Seeding, 620 Topsoil.

Delete Section 641 in its entirety and substitute the following:

# SECTION 641

EROSION, SEDIMENT, AND POLLUTION CONTROL

641-1.01 DESCRIPTION.  Plan, provide, inspect, and maintain control of erosion, sedimentation, water pollution, and hazardous materials contamination.

Utilities will be relocated by others concurrently with the construction of this project.  Any utility company performing ground disturbing activity on the project shall be identified in the SWPPP.  The Contractor will be responsible for controlling sediment and erosion and stabilizing areas disturbed during underground utility relocation.

641-1.02 DEFINITIONS.

- BMP (Best Management Practices). A wide range of project management practices, schedules, activities, or prohibition of practices, that when used alone or in combination, prevent or reduce erosion, sedimentation, and/or pollution of adjacent water bodies and wetlands.  BMP include temporary or permanent structural and nonstructural devices and practices.  Common BMP can be found on the EPA website: National Menu of Storm Water Best Management Practices.  [www.epa.gov/npdes/stormwater/menuofbmps]

- ESCP (Erosion and Sediment Control Plan).  The ESCP is a project specific document that illustrates measures to control erosion and sediment problems on a project.  The ESCP normally consists of a general narrative and a map or site plan.  It is developed by the Department and included in the project plans and specifications.  It serves as a resource for bid estimation and a framework from which the Contractor develops the project SWPPP.

- Final Stabilization.  A point in time when  ground disturbing activities are complete and permanent erosion and sediment controls are established and functional.  The stabilized site is protected from erosive forces of raindrop impact and water flow.  Typically,  unpaved areas except graveled shoulders, crushed aggregate base course, or other areas not covered by permanent structures are protected by either a uniform blanket of perennial vegetation (at least 70% cover density) or equivalent permanent stabilization measures such as riprap, gabions or geotextiles.

- HMCP (Hazardous Material Control Plan).  The Contractor's detailed plan for prevention of pollution that stems from the use, containment, cleanup, and disposal of hazardous material, including petroleum products generated by construction activities and equipment.

- eNOI. Electronic Notice of Intent to begin  construction activities under the NPDES General Permit. Use EPA Form 3510-9 found at www.epa.gov/npdes/stormwater/enoi

- eNOT. Electronic Notice of Termination of coverage under the NPDES General Permit.  Use EPA Form 3510-13 found at www.epa.gov/npdes/stormwater/cgp

- NPDES General Permit. The Storm Water General Permit for Large and Small Construction Activities, issued by the Environmental Protection Agency (EPA) under the National Pollutant Discharge Elimination System (NPDES).  It requires an approved SWPPP and NOIs listed as active status by the EPA before ground disturbing activities for the project.

- SPCC Plan (Spill Prevention, Control and Countermeasure).  The Contractor’s detailed plan for oil spill prevention and control measures, that meets the requirements of 40 CFR 112.

- SWPPP (Storm Water Pollution Prevention Plan).  The Contractor’s plan for erosion and sediment control and storm water management.  The SWPPP is developed by the Contractor and identifies specific areas where erosion may occur, describes site specific controls to prevent erosion and manage sediment and establishes a record of the installation and removal of these controls.  The approved SWPPP replaces the ESCP.

641-1.03 REFERENCES.

The following websites have up to date information about erosion, sediment and pollution control.

Developing the SWPPP.  EPA.  January 2007.  Includes a SWPPP template in WORD [www.epa.gov/npdes/swpppguide]

National Menu of Storm Water Best Management Practices.  EPA.   [www.epa.gov/npdes/stormwater/menuofbmps]

International Erosion Control Association website [www.ieca.org/Resources/Resources.asp]

Construction Industry Compliance Assistance Center website  [www.CICAcenter.org/bmps.html]

641-1.04 SUBMITTALS.  Submit two copies each of the SWPPP and HMCP to the Engineer for approval.  Submit one copy of the SPCC Plan (if required under subsection 641-2.03) to the Engineer.  Sign submittals.  Deliver these documents to the Engineer.

The Department will review the SWPPP and HMCP submittals within 14 calendar days. Submittals will be returned to the Contractor as either requiring modification, or as approved by the Department.  The approved SWPPP must contain certifications, and be signed according to the Standard Permit Conditions of the NPDES General Permit.  Approval of the SWPPP must be received before submitting the eNOI to the EPA.

For projects that disturb five acres or more of ground, submit a copy of the approved and signed SWPPP, with the required permit fee to the Alaska Department of Environmental Conservation (ADEC) Storm Water Coordinator.  Transmit proof of this submission to the Engineer.

For projects that disturb one acre or more, submit the signed eNOI to EPA.  Submit copies of the signed eNOI receipt to the Engineer and to ADEC.  Transmit proof of the ADEC submission to the Engineer.  The Department will transmit the Department’s NOI to the EPA.  Allow adequate time for state and federal processing, before beginning ground disturbing activities.

The active status NOIs, approved SWPPP, approved HMCP, and submitted SPCC Plan (when required) become the basis of the work required for the project’s erosion, sediment, and pollution control.

Submit the signed eNOT to EPA with a copy to the Engineer when notified by the Engineer that the Project is stabilized.  The Department will transmit the Department’s eNOT to the EPA.

641-2.01 STORM WATER POLLUTION PREVENTION PLAN (SWPPP) REQUIREMENTS.  Prepare a Storm Water Pollution Prevention Plan.  Use the Department's ESCP to develop a SWPPP based on scheduling, equipment, and use of alternative BMPs.  The SWPPP Preparer must visit the project site before preparing the SWPPP.  The plan must include both erosion control and sediment control measures.  The plan must address first preventing erosion, then minimizing erosion, and finally trapping sediment before it leaves the project site.

The SWPPP must follow the format presented in Appendix A of Developing Your Storm Water Pollution Prevention Plan  (EPA, January 2007) found at http://cfpub.epa.gov/npdes/stormwater/swppp.cfm.

The plan must address site specific controls and management plan for the construction site, to include underground utility staging areas and relocation work, as well as for material sites, waste disposal sites, haul roads, and other affected areas, public or private.  The plan must also incorporate the requirements of the project permits.

Specify the line of authority and designate a field representative for implementing SWPPP compliance.

641-2.02 HAZARDOUS MATERIAL CONTROL PLAN (HMCP) REQUIREMENTS.  Prepare a HMCP for the handling, storage, cleanup, and disposal of petroleum products and other hazardous substances.  (See 40 CFR 117 and 302 for listing of hazardous materials.)

List and give the location of hazardous materials, including office materials, to be used and/or stored on site, and estimated quantities.  Detail a plan for storing these materials as well as disposing of waste petroleum products and other hazardous materials generated by the project.

Identify the locations where storage, fueling, and maintenance activities will take place, describe the maintenance activities, and list controls to prevent the accidental spillage of oil, petroleum products, and other hazardous materials.

Detail procedures for containment and cleanup of hazardous substances, including a list of the types and quantities of equipment and materials available on site to be used.

Detail a plan for the prevention, containment, cleanup, and disposal of soil and water contaminated by accidental spills.  Detail a plan for dealing with unexpected contaminated soil and water encountered during construction.

Specify the line of authority and designate a field representative for spill response and one representative for each subcontractor.

641-2.03 SPILL PREVENTION, CONTROL AND COUNTERMEASURE (SPCC) PLAN REQUIREMENTS.  Prepare and implement a SPCC Plan when required by 40 CFR 112, including:

Control

Prepare and implement a SPCC Plan when required by 40 CFR 112, including:

- When oil spills may reach navigable waters; and

- Total above ground oil storage capacity is greater than 1,320 gallons.

Prevention and Countermeasures

Comply with 40 CFR 112 and address the following issues in the SPCC Plan:

- Operating procedures that prevent oil spills;

- Control measures installed to prevent a spill from reaching navigable waters; and

- Countermeasures to contain, clean up, and mitigate the effects of an oil spill.

Self certify the SPCC Plan if the total above ground oil storage capacity is 10,000 gallons or less, and the requirements for self certification in 40 CFR 112 is met.  Otherwise the SPCC Plan must be certified, stamped with the seal of, dated by, and signed by a Professional Engineer registered in the State of Alaska.

641-3.01 CONSTRUCTION REQUIREMENTS.  On projects with 1 acre or more of ground disturbing activity, do not begin construction activities until the EPA has acknowledged receipt of the Contractor’s NOI and Department’s NOI, and has listed both as active status.  The EPA will post the status of the NOIs on the EPA website.  On projects with less than 1 acre of ground disturbing activity, where submittal of an eNOI to EPA is not required, do not begin construction activities until authorized by the Engineer.

Postings

Post at the construction site:

1.	NPDES Permit number, if available, and a copy of the NOI,

2.	Name and phone number of the Contractor’s local contact person, and

3.	Location of a SWPPP available for viewing by the public.

The above notices must be posted at publicly accessible locations.  At a minimum post notices at the BOP, EOP, near the intersection of the highway with a major side street, and the Project Office.

Comply with requirements of the approved HMCP, the submitted SPCC Plan, and state and federal regulations that pertain to the handling, storage, cleanup, and disposal of petroleum products or other hazardous substances.  Contain, clean up, and dispose of discharges of petroleum products and other materials hazardous to the land, air, water, and organic life forms.  Perform fueling operations in a safe and environmentally responsible manner.  Comply with the requirements of 18 AAC 75 and AS 46, Oil and Hazardous Substances Pollution Control.  Report oil spills as required by federal, state and local law, and as described in the SPCC Plan.

Comply with requirements of the NPDES General Permit, implement temporary and permanent erosion and sediment control measures identified in the SWPPP, and ensure that the SWPPP remains current.  Maintain temporary and permanent erosion and sediment control measures in effective operating condition.

Coordinate BMPs with utility companies doing work in the project area.

## Inspections

Perform inspections and prepare inspection reports to comply with the project SWPPP and the NPDES General Permit.

1.	Joint Inspections.  Before start of construction, conduct a joint on site inspection with the Engineer, the SWPPP Preparer, and the Contractor’s field representative to discuss the implementation of the SWPPP.

Conduct the following additional joint on site inspections with the Engineer:

a.	During construction, inspect the following at least once every seven days and within 24 hours of the end of a storm exceeding ½ inch in 24 hours (as recorded at or near the project site):

(1)	Disturbed areas that have not been finally stabilized

(2)	Areas used for storage of erodible materials that are exposed to precipitation

(3)	Sediment and erosion control measures

(4)	Locations where vehicles enter or exit the site

(5)	Offsite materials sources and waste sites

(6) 	Staging and equipment storage areas.

b.	During construction, the SWPPP preparer shall review the Project Site, Materials Sites, Waste Sites, and the SWPPP for conformance with the NPDES General Permit at least once per month and after every major change in earth disturbing activities for compliance with the General Permit.

c.	Before winter shutdown, to ensure that the site has been adequately stabilized and devices are functional.

d.	At project completion, to ensure final stabilization of the project.

2.	Winter Inspections.  During winter shutdown, conduct inspections at least once every month and within 24 hours of a storm resulting in rainfall of 1/2 inch or greater.  The Engineer may waive monthly inspection requirements until one month before thawing conditions are expected to result in a discharge, if all of the following requirements are met:

a.	Below freezing conditions are anticipated to continue for more than one month.

b.	Land disturbance activities have been suspended.

c.	The beginning and ending dates of the waiver period are documented in the SWPPP.

3.	Inspection Reports.  Prepare and submit, within three working days of each inspection, a report on the DOT&PF SWPPP Construction Site Inspection Report (Form 25D-100 - 4/08).  At a minimum the report will contain the following information:

a.	A summary of the scope of the inspection

b.	Name(s) of personnel making the inspection

c.	The date of the inspection

d.	Observations relating to the implementation of the SWPPP

e.	Any actions taken as the result of the inspection

f.	Incidents of noncompliance

Where a report does not identify any incidents of noncompliance, certify that the facility is in compliance with the SWPPP and NPDES General Permit.

The Contractor and the Engineer will sign the report according to the Standard Permit Conditions of the NPDES General Permit.  Include reports as an appendix to the SWPPP.

#### Record Retention

Keep the SWPPP up to date at all times.  The SWPPP shall denote the location, date of installation, date maintenance was performed, and the date of removal for BMPs.  It shall also contain copies of inspection reports and amendments.

Maintain the following records as part of the SWPPP:

1.	Dates when major grading activities occur;

2.	Dates when construction activities temporarily or permanently cease on a portion of the site; and

3.	Dates when stabilization measures are initiated.

4.	Daily precipitation as measured from an on site rain gauge.

Provide the Engineer with copies of SWPPP revisions, up dates, records, and inspection reports at least weekly.

Retain copies of the SWPPP and other records required by the NPDES General Permit for at least three years from the date of final stabilization.

If unanticipated or emergency conditions threaten water quality, take immediate suitable action to preclude erosion and pollution.

Amendments

Submit amendments to the SWPPP to correct problems identified as a result of:

1.	Storm or other circumstance that threatens water quality, and

2.	Inspection that identifies existing or potential problems.

Submit SWPPP amendments to the Engineer within seven days following the storm or inspection.  Detail additional emergency measures required and taken, to include additional or modified measures.  If modifications to existing measures are necessary, complete the implementation within seven days.

Stabilize areas disturbed after the seeding deadline within seven days of the temporary or permanent cessation of ground disturbing activities.

## Notice of Termination

For projects that disturb one acre or more of land, submit the signed eNOT to EPA with a copy to the Engineer when the Engineer notifies that:

- The Project site (including material sources, and disposal sites) has been finally stabilized and that storm water discharges from construction activities authorized by this permit have ceased, or

- The construction activity operator (as defined in the NPDES General Permit) has changed.

641-4.01 METHOD OF MEASUREMENT. Section 109 and as follows:

Items 641(2) and (4) will be measured as specified in the Contract or directive authorizing the work.

641-5.01 BASIS OF PAYMENT. The Bid Schedule will include either items 641(1), (2), and (5) or items 641(1), (3), (4), and (5).

- Item 641(1) Erosion and Pollution Control Administration.  At the Contract lump sum price for administration of work under this Section.  Includes, but is not limited to, plan preparation, plan amendments and updates, inspections, monitoring, reporting, and record keeping.

- Item 641(2) Temporary Erosion and Pollution Control.  At the prices specified in the Contract or as provided in the Directive authorizing the work to install and maintain temporary erosion, sedimentation, and pollution control measures.

- Item 641(3) Temporary Erosion and Pollution Control. At the lump sum price shown on the bid schedule to install and maintain temporary erosion, sedimentation, and pollution control measures required to complete the project according to Plan and with the BMP, the ESCP, and the original approved SWPPP and HMCP.

- Item 641(4) Temporary Erosion and Pollution Control Amendments.  At the prices specified in the Directive for extra, additional, or unanticipated work to install and maintain temporary erosion, sedimentation, and pollution control measures.  Work paid under this Item will be shown as amendments to the original approved SWPPP or HMCP.

- Item 641(5) Erosion and Pollution Control Price Adjustment.  The total value of this Contract will be adjusted as specified in the following Failure section.  In addition, a price adjustment equivalent to penalties levied against the Department by the EPA or other state and federal agencies for violations of the Clean Water Act and the NPDES General Permit will be made if the Department is issued a Notice of Violation (NOV) by these agencies.  This price adjustment is the actual cost of fines levied against the Department.  An amount equal to the maximum fine for the violation will be withheld temporarily until the actual cost of the fine is known.  The difference, excluding price adjustments will be released by the Engineer upon satisfactory completion of the requirements of the NPDES General Permit.  The Contractor is responsible for the payment of the Contractor’s fines.

Temporary erosion and pollution control measures that are required at Contractor furnished sites are subsidiary.

Work that is paid for directly or indirectly under other pay items will not be measured and paid for under this Section, including but not limited to dewatering, shoring, bailing, installation and removal of temporary work pads, temporary accesses, temporary drainage pipes and structures, and diversion channels.

Perform temporary erosion and pollution control measures that are required due to negligence, carelessness, or failure to install permanent controls as a part of the work as scheduled or ordered by the Engineer, or for the Contractor’s convenience, at the Contractor’s expense.

Permanent erosion and pollution control measures will be measured and paid for under other Contract items, when shown on the bid schedule.

## Failure

If the Contractor fails to coordinate temporary or permanent stabilization measures with the earthwork operations in a manner to effectively control erosion and prevent water pollution, the Engineer may suspend earthwork operations and withhold monies due on current estimates for such earthwork items until aspects of the work are coordinated in a satisfactory manner.

If there is failure to:

- Pursue the work required by the approved SWPPP,

- Respond to inspection recommendations and/or deficiencies in the SWPPP, or

- Implement erosion and sedimentation controls identified by the Engineer,

the Contractor will be assessed a permanent price adjustment of $500 per day for each day of non-action, under Item 641(5) Erosion and Pollution Control Price Adjustment.  In addition, the Engineer may, after giving written notice, proceed to perform the work and deduct the cost thereof, including project engineering costs, from progress payments under item 641(5).

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 641(1) | Erosion and Pollution Control Administration | Lump Sum |
| 641(2) | Temporary Erosion and Pollution Control | Contingent Sum |
| 641(3) | Temporary Erosion and Pollution Control | Lump Sum |
| 641(4) | Temporary Erosion and Pollution Control Amendments | Contingent Sum |
| 641(5) | Erosion and Pollution Control Price Adjustment | Contingent Sum |

(04/19/07)R272USC04

SECTION 643

TRAFFIC MAINTENANCE

# Special Provisions

643-1.03 TRAFFIC CONTROL PLAN.  Replace the last paragraph with the following: A waiver may be requested of regulation 17 AAC 25 regarding oversize and overweight vehicle movements within this project in writing.  If the waiver is approved, movements of oversize and overweight vehicles in or near traffic within the project limits will be done according to the provisions of an approved Traffic Control Plan.  Maintain a minimum12 foot lateral separation between the non-street legal vehicles and the motoring public.  The Traffic Control plan shall specify the traffic control devices required for these operations.

643-1.05 CONSTRUCTION PHASING PLAN. Add the following: The following road closures are expected to be part of the construction phasing plan and TCP.

- Weekend Closures of the following intersections will be allowed from Friday at 8:00pm to Monday at 5:00am with restrictions:

- Brandon Street and Old Seward Highway – one weekend only.

- Huffman Road and Old Seward Highway – two consecutive weekends only.

- Klatt Road and Old Seward Highway – three consecutive weekends only.

Weekend closures will require public notification, establishment of detour routes, and coordination with utility companies to accomplish all required work. Access to local businesses must be maintained during any weekend closure.

Standard Modifications

643-2.01 MATERIALS.  Under Item 16. Flagger Paddles, replace the last sentence with the following:  Use reflective sheeting that meets AASHTO M 268 Type VIII or IX.  Use background colors of fluorescent orange on one side and red on the other side. E56(5/01/07)

Special Provisions

643-2.01 MATERIALS.  Add the following:

17.	Flexible Markers.  Refer to subsection 606-2.01 Materials.

Standard Modifications

643-3.01 GENERAL CONSTRUCTION REQUIREMENTS.  Add the following:  Immediately notify the Engineer of a traffic related accident that occurs within the project limits as soon as becoming aware of the accident.  (05/01/07)E56

Special Provisions

643-3.01 GENERAL CONSTRUCTION REQUIREMENTS.  Add the following:  Whenever construction activity encroaches onto the safe route in a traffic control zone, station a flagger at the encroachment to assist pedestrians and bicyclists past the construction activity.

Maintain business accesses during flagging operations and as otherwise required.

643-3.02 ROADWAY CHARACTERISTICS DURING CONSTRUCTION.  Add the following:  Traffic may be maintained on a continuous gravel surface for 1,000 feet.

Standard Modification

643-3.04 TRAFFIC CONTROL DEVICES.

In the sixth paragraph and also in Item 4.b., delete: “ATTSA” and replace with “ATSSA”.  E56(5/01/07)

Special Provisions

643-3.04 TRAFFIC CONTROL DEVICES.

Delete the first sentence of the eighth paragraph and substitute the following: Items paid under this Section remain the Contractor’s property unless stated otherwise.

Add the following to item 1. Embankments.:  Close trenches and excavations at the end of each continuous work shift.

Add the following to item 3. Fixed Objects.:  Remove obstructions greater than 4 inches above the nominal foreslope grade at the end of each continuous work shift.

Delete item 4.b. and replace with the following:  Flagger Certification by ATSSA

Delete item 6 and replace with the following:

6.	Street Sweeping.  Keep free of loose material paved portions of the roadway and haul routes open to the public, including sections of roadway off the project where the Contractor’s operations have deposited loose material using a street sweeper that can collect materials rather than eject them to the shoulder of the road.

7.	Power Brooming.  Keep free of loose material paved portions of the roadway and haul routes open to the public, including sections of roadway off the project where the Contractor’s operations have deposited loose material using a power broom that can eject them to the shoulder of the road.

Change items 7 and 8 to 8 and 9 respectively.

Add the following:

10.	ET-2000 LET.  The price listed in the Traffic Control Rate Schedule will be full compensation for the purchase, installation, maintenance during construction, removal and salvaging the ET-2000 LET unit(s).  Deliver the salvaged unit(s) to the nearest DOT &PF Maintenance and Operations’ district office, or as directed by the Engineer.

643-3.05 AUTHORITY OF THE ENGINEER.  Replace the first sentence with the following:  When existing conditions adversely affect the public’s safety or convenience, the Contractor will receive an oral notice.  A written notice will follow the oral notice according to subsection 105-1.01 Authority of the Engineer.

Add the following after the second sentence:  In no case shall this time exceed 24 hours.

643-3.06 TRAFFIC PRICE ADJUSTMENT.  Add the following:  Failure to maintain an acceptable infrastructure or traffic control plan will result in a price adjustment equal to 100 percent of the applicable rate shown in Table 643-1, for the time the roadway or pedestrian facility is in an unacceptable condition.

Delete Table 643-1 and substitute the following:

TABLE 643-1

ADJUSTMENT RATES

| Published ADT | Dollars/Minute of Delay/Lane |
| --- | --- |
| 0-5,000 | $30 |
| 5,001+ | $40 |

643-3.08 CONSTRUCTION SEQUENCING.  Delete the last sentence and substitute the following: Unless otherwise determined by the Engineer and on an approved Traffic Control Plan (TCP), do not restrict traffic during the times listed below.

1.	No traffic restrictions between 0600 to 0800 and 1600 to 1800 Monday through Friday.

Obtain the local school bus schedule and coordinate work efforts to ensure the school buses are not delayed through the construction zone.  This plan shall be submitted, as a TCP, to the Engineer for approval before the implementation of the school bus coordination plan.

643-3.09 INTERIM PAVEMENT MARKINGS.  In the second paragraph, delete the words “or cover them with black removable preformed marking tape.”

Replace the first sentence in the last paragraph with the following:  Apply final pavement markings according to subsection 670-3.01, Construction Requirements of these Special Provisions.

Standard Modification

- Add the following new subsection:

643-3.11. HIGH VISIBILITY CLOTHING.  Ensure workers within project limits wear an outer visible surface or layer that complies with the following requirements:

- Standards.

Use high visibility garments conforming to the requirements of ANSI/ISEA 107-2004, Class 2 for tops or Class E for bottoms, and Level 2 retroreflective material.

- Labeling.

Use garments labeled in conformance with Section 11.2 of ANSI/ISEA 107-2004; except you may use previously purchased garments labeled in conformance with ANSI/ISEA 107-1999 until 1/1/08.

- Tops.

Wear high visibility vests, jackets, or coverall tops at all times.

- Bottoms.

Wear high visibility pants or coverall bottoms during nighttime work (sunset to sunrise).  Worksite traffic supervisors, employees assigned to traffic control duties, and flaggers wear high visibility pants or coverall bottoms at all times.

- Outer Raingear.

Wear raingear tops and bottoms conforming to requirements of in this subsection 643-3.11.

- Exceptions.

When workers are inside an enclosed compartment of a vehicle, they are not required to wear high visibility clothing.

- Condition.

Furnish and maintain vests, jackets, coveralls, rain gear, hard hats, and other apparel in a neat, clean, and presentable condition.  Maintain retroreflective material to Level 2 standards.  (5/07/07)E56

Special Provision

643-4.01 METHOD OF MEASUREMENT.

Replace the second sentence of Item 2 with the following: Special Construction Signs are measured by the total area of legend bearing sign panel, as determined under subsection 615-4.01 and   compensation for a 24 hour period shall be made under Construction Signs in the Traffic Control Rate Schedule.

Add the following:  No measurement required to provide a 24-hour toll free (1-800-###-####) "hotline road report" telephone with a prerecorded message, and weekly notices with daily updates.  Work will be subsidiary to Item 643(1) or 643(2) Traffic Maintenance. (05/25/07)R222USC04

Standard Modification

643-5.01 BASIS OF PAYMENT. 	Add the following:  Payment for high visibility garments for workers is subsidiary to other items.  (5/01/07)E56

Special Provision

643-5.01 BASIS OF PAYMENT.  Add the following:  The Engineer does not require a change order/directive for Item 643(25) Traffic Control.

TRAFFIC CONTROL RATE SCHEDULE

| Traffic Control Device | Pay Unit | Unit Rate |
| --- | --- | --- |
| Construction Signs | Each/Day | $5.00 |
| Special Construction Sign | Square Foot | $24.00 |
| Type II Barricade | Each/Day | $ 3.00 |
| Type III Barricade | Each/Day | $ 10.00 |
| Traffic Cone or Tubular Marker | Each/Day | $ 1.00 |
| Drums | Each/Day | $ 3.00 |
| Sequential Arrow Panel | Each/Day | $55.00 |
| Portable Concrete Barrier | Each | $60.00 |
| Temporary Crash Cushion / ET-2000 LET | Each | $3,000.00 |
| Pilot Car | Hour | $65.00 |
| Watering | M-Gallon | $ 20.00 |
| Street Sweeping | Hour | $150.00 |
| Power Broom | Hour | $75.00 |
| Plastic Safety Fence | Foot | $.75 |
| Portable Changeable Message Board Sign | Calendar Day | $150.00 |
| Temporary Sidewalk Surfacing | Square Foot | $1.15 |
| Flexible Markers | Each | $50.00 |
| Removal of Pavement Markings | Foot | $1.25 |
| Temporary Guardrail | Foot | $21.00 |

The Engineer will pay for Item 643(15) Flagging on a contingent sum basis at the rate of $41/hour.  The Engineer does not require a change order/directive for the flagging pay item.  Flagging associated with Change Order work will be paid at the prices according to subsection 109-1.05 Compensation for Extra Work.  (05/25/07)R222USC04

Delete Item 643(15) and substitute the following:

Pay Item No.	Pay Item	Pay Unit

643(15)	Flagging 	Contingent Sum

(05/25/07)R222USC04

Add the following:

Road Closures at Brandon Street, Huffman Road, and Klatt Road will include all work and materials required to satisfactorily provide the planning, signage, markings, flagging, and traffic control devices for the duration of the closures that are approved as part of the TCP.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 643(31) | Road Closure – Brandon Intersection | Lump Sum |
| 643(32) | Road Closure – Huffman Intersection | Lump Sum |
| 643(33) | Road Closure – Klatt Intersection | Lump Sum |

SECTION 644

# SERVICES TO BE FURNISHED BY THE CONTRACTOR

# Special Provisions

644-2.01 FIELD OFFICE.  Delete this Subsection in its entirety and substitute the following:  Furnish and maintain a suitable office for the Engineer, available for occupancy from 2 weeks before beginning work, through 30 days after issuance of the notice of project completion as defined in subsection 105-1.15.  The following office requirements shall be met:

1.	A minimum of 1,000 square feet of floor area.  The office area shall be divided so that it contains an office room separated by a closable door. The office room shall have a minimum of 160 square feet of floor area.

2.	A thermostatically controlled interior heating system with necessary fuel.

3.	Adequate electrical lighting and 120 volt, 60 hertz power, with a minimum of 6 electrical outlets.

4.	A minimum of 100 square feet of window area and adequate ventilation.

5.	Adequate parking for a minimum of 16 vehicles, with one handicap parking space meeting the requirements of Americans with Disabilities Act Accessibility Guidelines (ADAAG).

6.	Attached indoor plumbing with sanitary lavatory facilities and potable drinking water provided.

7.	Four telephone service lines available at the office location.  One of the lines provided is to be available for a facsimile machine/dial-up Internet connection.  Provide Internet connection with send and receive data capability supporting 56 kilobytes per second or higher data transfer rate.

8.	If a part of the Contractor's building, it shall be completely partitioned off from the balance of the structure and provided with a separate outside door equipped with a lock.

9.	Located within 3 miles of the project.

10.	Weekly janitorial service consisting of emptying trash receptacles, vacuuming office area and cleaning restrooms and counter areas.

11.	Provide one mobilization and one demobilization of the Engineer’s office equipment and furniture from Anchorage.

Standard Modification

644-2.02 FIELD LABORATORY.  Add the following to the end of the second sentence of the first paragraph: through one week after Project Completion.

644-2.02 FIELD LABORATORY.  Delete sub-item g of item 2 and substitute the following:

g.	500 gallon capacity tank with a pressure pump or a commercial pressurized system.

Replace item 6. a. with the following:

- Supply 240 volt, 60 hertz power, a 100 pound propane bottle, and a 500 gallon capacity water tank with a pressure pump or a commercial pressurized system for a State provided portable asphalt lab at a location designated by the Engineer.

Add the following:

- Provide one mobilization and one demobilization of the Engineer's laboratory equipment from Anchorage.

644-2.05 VEHICLES.  Add the following:  If working after October 1, provide studded snow tires for vehicles provided for the Department’s use.

Equip vehicles used by the Department with CB radios and yellow lightbars wired into the vehicle’s electrical system with a dash mounted switch easily accessible to the vehicle operator.  Provide Code 3; Model 6005H (formerly PE 6200 LE) lightbars, or approved equal.  Approved equals shall have the following characteristics:

Four 55 watt rotators with amber filters

1200 flashes per minute

Two diamond mirrors

55 inches in length

Distance measuring instrument (DMI) on one vehicle (min.) – See subsection 642-2.01

Standard Modification

Add the following new subsection:

644-2.06 NUCLEAR TESTING EQUIPMENT STORAGE SHED.  Design, furnish and maintain a weatherproof, heated, and ventilated nuclear densometer/testing equipment storage shed for the Engineer to use exclusively throughout the Contract.  Install the building at least 15 feet from an occupied area at a location approved by the Engineer.  Install the shed before commencement of construction activities and maintain it until one week after project completion.  Provide sufficient floor area for the nuclear testing equipment and a portable electric heater to maintain a minimum room temperature of 50 °F in freezing weather.  Design the building with enough floor area to provide sufficient clearance between the equipment, heater, and combustibles.  Provide a commercial grade metal-clad exterior entrance door of 3’-0” minimum width by 6’-8” height with dead-bolt lockset.  Hang the door so that hinge pins are not accessible from the exterior.  Provide the Engineer with 2 keys to control access.  Provide a 5/16” x 10 foot long welded steel security chain securely attached inside the structure with tamperproof hardware for the Engineer to secure the testing equipment.  Provide 120-volt, 60-cycle power, an interior light, and a wall receptacle for the heater.  Secure the structure to the ground with tamperproof anchors to resist wind loads and prevent unauthorized movement of the building.  The nuclear testing equipment storage shed remains the property of the Contractor.  Remove the shed from the site following project completion.

Add the following new subsection:

644-2.07 STORAGE CONTAINER.  Furnish, transport and maintain a weathertight, lockable, steel enclosed 20 foot long X 8 foot wide X 8 foot high wooden floored container for the storage of the Department’s materials, supplies and testing equipment (but not nuclear equipment). Provide twenty equally spaced fastening points on the interior walls that are capable of securing the Department’s contents.  Door opening dimensions of the storage container shall be greater than 60 square feet.  Supply necessary equipment to lift and move container with minimal disturbance to the Department’s contents.  The container shall not be moved by skidding or hook lift.  The Contractor shall be listed as the shipper on all documents listing and acknowledging receipt of the Department’s goods for shipment.

Deliver an empty and clean container to the Regional Materials Laboratory, or location acceptable to the Engineer, three weeks prior to transporting to the project site.  Allow 7 days for the Department to load the container.  Transport the loaded container to the project site.  Set up container at a location approved by the Engineer prior to commencing construction work.

1.	Provide electrical service and other facilities as follows:

- Electrical current, 120V (ac), 60-cycle on a 24 hour a day basis.

- Wiring system to support a 20-amp user load demand.

- 2 GFI protected outlets conveniently spaced on the interior walls.

- Four 100-watt incandescent or eight 40-watt fluorescent lights located for maximum illumination.

- Provide a stairway with railing, built to meet the International Building Code, if there is more than 12-inch difference in floor entry and existing ground elevation.

Return the container to the Regional Materials Laboratory, or location acceptable to the Engineer, upon project completion.  Allow 7 days for the Department to unload the container.  The storage container remains your property after you complete the work.

Special Provision

644-3.01 METHOD OF MEASUREMENT. Delete the third paragraph and substitute the following:

Vehicle. For each vehicle provided. If a replacement vehicle is necessary, no additional measurement will be made.

(02/03/03)R245USC

Standard Modification

644-3.01 METHOD OF MEASUREMENT.  Add the following items:

Nuclear Testing Equipment Storage Shed. By the number of storage sheds specified, to include all components, installed and accepted as completed units and ready for equipment storage.

Storage Container. By the number of storage containers specified, to include all components, installed and accepted as completed units and ready for materials and equipment storage.

E44(01/27/07)

Standard Modification

644-4.01 BASIS OF PAYMENT. Add the following items:

Lump Sum Items. Payment for lump sum items will be made as follows:

- A percentage of the lump sum amount, to be determined by the Engineer, will be paid as full compensation for furnishing the facility at the site.

- The balance of the lump sum amount will be prorated over the anticipated active construction period with a portion included as part of each interim payment, for maintenance, repairs, providing all utilities, and for removing it from the site. If anticipated construction period changes, the final increment will be held until final payment.

Nuclear Testing Equipment Storage Shed. At the Contract unit price to include all labor, materials, tools, equipment and supplies required to furnish and install the shed before commencement of construction, to maintain it for the duration of the project and to remove the shed and electrical service after project completion. Electrical service and utility costs are subsidiary to this item.

Storage Container. At the Contract unit price to include all labor, materials, tools, equipment and supplies required to deliver the storage shed to the regional office for loading, to deliver it to the project office, to install it before commencement of construction, to maintain it for the duration of the project, to remove the shed and electrical service after project completion, to deliver it to the regional office for unloading, and to remove the storage shed.  Electrical service and utility costs are subsidiary to this item.

E44(01/27/07)

Special Provisions

Add the following:  All long distance calls made by State personnel and the Internet service provider will be paid by the State.  Local calls and all connection fees shall be paid by the Contractor.

Electricity, propane, and water supplied for the State provided portable asphalt lab will not be paid for separately, but will be subsidiary to Item 644(2) Field Laboratory.

(01/11/07)R63USC

Special Provision	10/29/91

S 16

Add the following section:

SECTION 645

TRAINING PROGRAM

645-1.01 DESCRIPTION. This Training Special Provision implements 23 CFR 230, Subpart A, Appendix B.

As part of the Equal Employment Opportunity Affirmative Action Program, the Contractor shall provide on-the-job training aimed at developing full journey status in the type of trade or job classification involved. The number of individuals to be trained and the number of hours of training to be provided under this contract will be as shown on the bid schedule.

645-2.01 Objective. Training and upgrading of minorities and women toward journey status is the primary objective of this program. The Contractor shall enroll minorities and/or women, where possible, and document good faith efforts prior to the hire of non-minority males in order to demonstrate compliance with this Training Special Provision. Specific good faith efforts required under this Section for the recruitment and employment of minorities and women are found in the Federal EEO Bid Conditions, Form 25A-301, items 7.b, 7.c, 7.d, 7.e, 7.i, 7.j and 7.l, located in the "green pages" of this document.

645-3.01 General. The Contractor shall determine the distribution of the required number of apprentices/trainees and the required number of hours of training among the various work classifications based upon the type of work to be performed, the size of the workforce in each trade or job classification, and the shortage of minority and female journey workers within a reasonable area of recruitment.

Training will be provided in the skilled construction crafts unless the Contractor can establish prior to contract award that training in the skilled classifications is not possible on a project; if so, the Department may then approve training either in lower level management positions such as office engineers, estimators, and timekeepers, where the training is oriented toward construction applications, or in the unskilled classifications, provided that significant and meaningful training can be provided. Some offsite training is permissible as long as the training is an integral part of an approved training program and does not comprise a significant part of the overall training.

Credit for offsite training hours indicated above may only be made to the Contractor where the apprentices/trainees are concurrently employed on the project and the Contractor does one or more of the following: contributes to the cost of the training, provides the instruction to the apprentice/trainee, or pays the apprentice's/trainee's wages during the offsite training period.

Where feasible, 25 percent of apprentices or trainees in each occupation shall be in their first year of apprenticeship or training.

Prior to award of the contract, the Contractor shall submit Form 25A-311, Training Utilization Report, indicating the training program to be used, the number of apprentices/trainees to be trained in each selected classification, the number of hours of training to be provided, and the anticipated starting time for training in each of the classifications.

Training must begin within 2 weeks of the anticipated start date(s); unless otherwise authorized by a Directive. Such authorization will be made only after submission of documentation by the Contractor, and approval by the Engineer, of efforts made in good faith which substantiate the necessity for a change.

Contractors may use a training program approved by the U.S. Department of Labor, Bureau of Apprenticeship & Training (USDOL/BAT), or one developed by the Contractor and approved prior to contract award by the Alaska Department of Transportation and Public facilities (ADOT&PF) Training Program Representative, using Form 25A-310.

The minimum length and type of training for each classification will be established in the training program selected by the Contractor. Training program approval by the Department for use under this section is on a project by project basis.

It is expected that each apprentice/trainee will begin training on the project as soon as feasible after start of work utilizing the skill involved and remain on the project as long as training opportunities exist or until training has been completed. It is not required that apprentices/trainees be continuously employed for the duration of the contract.

If, in the judgment of the Contractor, an apprentice/trainee becomes proficient enough to qualify as a journey worker before the end of the prescribed training period and the Contractor employs that individual as a journey worker in that classification for as long as work in that area remains, the individual's training program will be considered completed and the balance of training hours required for that apprentice/trainee shall be waived.

The Contractor shall furnish each ADOT&PF training program trainee a copy of the program (Form 25A-310) to be followed during training on the project, and with a written certification showing the type and length of training completed on the project. Existing USDOL/BAT apprentices should already have a copy of their program. No employee shall be employed for credit as an apprentice/trainee in a classification in which that employee has previously worked at journey status or has previously completed a training course leading to journey status.

The Contractor shall periodically review the training and promotion potential of minority and women employees and shall encourage eligible employees to apply for such training and promotion.

The Contractor shall provide for the maintenance of records and the furnishing of periodic reports documenting the progress of each apprentice/trainee. The Contractor must submit Form 25A-313 by the 15th of each month and provide each ADOT&PF trainee written evaluation reports for each unit of training provided as established on Form 25A-310.

645-3.02 Wages. Trainees in ADOT&PF approved training programs will be paid prevailing Davis-Bacon fringe benefits plus at least 60 (but less than 100) percent of the appropriate minimum journey rate specified in the contract for the first half of the training period, at least 75 (but less than 100) percent for the third quarter of the training period, and at least 90 (but less than 100) percent for the last quarter of the training period. Trainee wages shall be identified on Form 25A-310. Apprentices in USDOL/BAT training programs shall be paid in accordance with their approved program. Beginning wages of each trainee/apprentice enrolled in a Section 645 Training Program on the project shall be identified on Form 25A-312.

645-3.03 Subcontracts. In the event the Contractor subcontracts a portion of the work, he shall determine how many, if any, of the apprentices/trainees are to be trained by the subcontractor. Any such subcontracts shall include this Section 645, Form 25A-311 and Form 25A-310, where appropriate. However, the responsibility for meeting these training requirements remains with the Contractor; compliance or non-compliance with these provisions rests with the Contractor and sanctions and/or damages, if any, shall be applied to the Contractor in accordance with subsection 645-5.01, Basis of Payment.

645-4.01 Method of Measurement. The Contractor will be credited for each approved apprentice/trainee employed on the project and reimbursed on the basis of hours worked, as listed in the certified payrolls. There shall be no credit for training provided under this section prior to the Contractor's submittal and approval by the Engineer of Form 25A-312 for each apprentice/trainee trained under this Section. Upon completion of each individual training program, no further measurement for payment shall be made.

645-5.01 Basis of Payment. Payment will be made at the contract unit price for each hour of training credited. Where a trainee or apprentice, at the discretion of the Contractor, graduates early and is employed as a journey worker in accordance with the provisions of subsection 645-3.01, the Contractor will receive payment only for those hours of training actually provided.

This payment will be made regardless of any other training program funds the Contractor may receive, unless such other funding sources specifically prohibit the Contractor from receiving other reimbursement.

Payment for training in excess of the number of hours specified on the approved Form 25A-311, may be made only when approved by the Engineer through Change Order.

Non-compliance with these specifications shall result in the withholding of progress payments until good faith efforts documentation has been submitted and acceptable remedial action has been taken.

Payment will be at the end of the project following the completion of all training programs approved for the project. No payment or partial payment will be made to the Contractor if he fails to do any of the following and where such failure indicates a lack of good faith in meeting these requirements:

1.	provide the required hours of training (as shown on the approved Form 25A-311),

2.	train the required number of trainees/apprentices in each training program (as shown on the approved Form 25A-311), or

3.	hire the apprentice/trainee as a journey worker in that classification upon completion of the training program for as long as work in that area remains.

Failure to provide the required training damages the effectiveness and integrity of this affirmative action program and thwarts the Department's federal mandate to bring women and minorities into the construction industry. Although precise damages to the program are impractical to calculate, they are at a minimum, equivalent to the loss to the individuals who were the intended beneficiaries of the program. Therefore, where the Contractor has failed, by the end of the project, to provide the required number of hours of training and has failed to submit acceptable good faith efforts documentation which establishes why he was unable to do so, the Contractor will be assessed an amount equal to the following damages to be deducted from the final progress payment:

Number of hours of training not provided, times the journey worker hourly scale plus benefits. The journey worker scale is that for the classification identified in the approved programs.

Payment will be made under:

| Pay Item | Pay Unit |
| --- | --- |
| 645(1) Training Program, 7 Trainees/Apprentices | Labor Hour |

SECTION 646

CPM SCHEDULING

Special Provisions

646-2.01 SUBMITTAL OF SCHEDULE.  Replace this Subsection with the following:  Submit a detailed initial CPM Schedule at the preconstruction conference for the Engineer’s acceptance as set forth below.

The construction schedule for the entire Project shall not exceed the specified Contract time.  Allow the Engineer 14 days to review the initial CPM Schedule.  Revise promptly.  The finalized CPM Schedule must be completed and accepted before beginning work on the Project.

646-3.01 REQUIREMENTS AND USE OF SCHEDULE.

Delete item 2.  60-Day Preliminary Schedule.

Delete the first sentence of item 3. Schedule Updates.  and substitute the following:  Hold job site progress meetings with the Engineer for the purpose of updating the CPM Schedule.  Meet with the Engineer monthly or as deemed necessary by the Engineer.

(12/13/02)R261M98

Add the following Section:

## SECTION 647

## EQUIPMENT RENTAL

Special Provisions

647-1.01 DESCRIPTION.  This item consists of furnishing construction equipment, operated, fueled and maintained, on a rental basis for use in construction of extra or unanticipated work at the direction of the Engineer.  Construction equipment is defined as that equipment actually used for performing the items of work specified and shall not include support equipment such as, but not limited to, hand tools, power tools, electric power generators, welders, small air compressors and other shop equipment needed for maintenance of the construction equipment.

The work is to be accomplished under the direction of the Engineer, and the Contractor's operations shall at all times be in accordance with the Engineer's instructions.  These instructions by the Engineer shall be to the Contractor's supervisory personnel only, not to the operators or laborers.  In no case shall these instructions by the Engineer be construed as making the Department liable for the Contractor's responsibility to prosecute the work in the safest and most expeditious manner.

647-2.01 EQUIPMENT FURNISHED.  In the performance of this work, the Contractor shall furnish, operate, maintain, service, and repair equipment of the numbers, kinds, sizes, and capacities set forth on the Bid Schedule or as directed by the Engineer.  The operation of equipment shall be by skilled, experienced operators familiar with the equipment.

The kinds, sizes, capacities, and other requirements set forth shall be understood to be minimum requirements.  The number of pieces of equipment to be furnished and used shall be, as the Engineer considers necessary for economical and expeditious performance of the work.  The equipment shall be used only at such times and places as the Engineer may direct.

Equipment shall be in first class working condition and capable of full output and production.  The minimum ratings of various types of equipment shall be as manufactured and based on manufacturer's Specifications.  Alterations will not be considered acceptable in achieving the minimum rating.  Equipment shall be replaced at any time when, in the opinion of the Engineer, their condition is below that normal for efficient output and production.

Equipment shall be fully operated, which shall be understood to include the operators, oilers, tenders, fuel, oil, air hose, lubrication, repairs, maintenance, insurance, and  incidental items and expenses.

647-2.02 EQUIPMENT OPERATORS AND SUPERVISION PERSONNEL. Equipment operators shall be competent and experienced and shall be capable of operating the equipment to its capacity.  Personnel furnished by the Contractor shall be, and shall remain during the work hereunder, employees solely of the Contractor.

The Contractor shall furnish, without direct compensation, a job superintendent or Contractor's representative together with such other personnel as are needed for Union, State, or Federal requirements and in servicing, maintaining, repairing and caring for the equipment, tools, supplies, and materials provided by the Contractor and involved in the performance of the work.  Also, the Contractor shall furnish, without direct compensation, such transportation as may be appropriate for the personnel.

647-3.01 CONSTRUCTION REQUIREMENTS. The performance of the work shall be according to the instructions of the Engineer, and with recognized standards and efficient methods.

The Contractor shall furnish equipment, tools, labor, and materials in the kinds, number, and at times directed by the Engineer and shall begin, continue, and stop any of the several operations involved in the work only as directed by the Engineer.

Normally, the work is to be done when weather conditions are reasonably favorable, 6 days per week, Mondays through Saturdays, holidays excepted.

The Engineer will begin recording time for payment each shift when the equipment begins work on the project.  The serial number and brief description of each item of equipment listing in the bid schedule and the number of hours, or fractions thereof to the nearest one quarter hour, during which equipment is actively engaged in construction of the project shall be recorded by the Engineer.  Each day's activity will be recorded on a separate sheet or sheets, which shall be verified and signed by the Contractor's representative at the end of each shift, and a copy will be provided to the Contractor's representative.

647-4.01 METHOD OF MEASUREMENT. The number of hours of equipment operation to be paid for shall be the actual number of hours each fully operated specified unit of equipment, or each fully operated specified combination of units of equipment, is actually engaged in the performance of the specified work on the designated areas in accordance with the instruction of the Engineer.  The pay time will not include idle periods, and no payment will be made for time used in oiling, servicing, or repairing of equipment, or in making changeovers of parts to the equipment.  Travel time to or from the project, will not be authorized for payment.

647-5.01 BASIS OF PAYMENT. Payment for Item 647(1) Wide Pad Dozer, 65 hp Minimum will be paid on a contingent sum basis at the rate of $125/hour on a per hour basis at the rate shown on the bid schedule.  This shall be full compensation for furnishing, operating, maintaining, servicing and repairing the equipment, and for incidental costs related to the equipment.  Furnishing and operating of equipment of heavier type, larger capacity, or higher wattage than specified will not entitle the Contractor to any extra compensation.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

647(1)	Wide Pad Dozer, 65 hp Minimum	Contingent Sum

647(2)	Wide Pad Dozer, 65 hp Minimum	Hour

647(5)	Backhoe, 4WD, 1 cy Bucket, 75 hp, 15 foot Depth	Contingent Sum

(08/24/05)R15USC

SECTION 660

### SIGNALS AND LIGHTING

660-1.01 DESCRIPTION.  Add the following:  This work also includes the design and installation of a LED lighting system or approved equal,  including wiring, transformers, controls, and all other necessary equipment  for accent lighting of the roundabout concrete wall and steel cutouts (Structure Illumination System).

Add the following subsection:

660-1.03 SUBMITTALS.

Contractor shall provide submittals for the Structure Illumination System as follows:

1.	Submit Working Drawings prior to purchase of the actual system. Provide details for the lighting installation within the roundabout concrete wall type A. Include specific instructions for all phases of installation including preparation, placement, procedures, and instructions for anchoring systems.

2.	Submit one complete sample unit for the Structure Illumination System prior to installation, including all required fittings, surrounds, and appurtenances. The sample may be used in the actual work when approved.

Special Provisions

660-2.01 MATERIALS.

1.	Equipment List(s) and Drawings. Delete item a in its entirety and the last sentence in item d and substitute the following:

- Materials on the Approved Products List: The Approved Products List does not apply to the 660 items.  Provide catalog cuts of materials to the Engineer for review and approval.

- Materials Not Requiring Certification: Only submit these materials for review and approval if they are included on the Materials Certification List (MCL).

2.	As-Built Plans.  Add the following:

The Engineer will deliver one copy each to State Maintenance and Operations; Technical Services; and attach the appropriate sheets of the last set in clear plastic envelopes to the inside of each controller assembly and load center.

In addition, submit two complete sets of all electrical related plan sheets. The Engineer will deliver one copy of each to MOA Signal Electronics and MOA Street Light Maintenance.

Add the following to the list of numbered paragraphs:

4.        The Structure Illumination System for the roundabout concrete wall type A,  shall be a flexible LED lighting system, fully encapsulated capable of meeting the radius required as shown on the plans.  The lighting system shall be a Bruck Orion Belt with white light, manufactured by:

# Bruck Lighting Systems, Inc.

15774 Gateway Circle,

Tustin, CA 92780

Ph. 714-259-9969

http://www.brucklightingsystems.com

or approved equal.  All components must function as a system and be fully compatible.

# CONSTRUCTION REQUIREMENTS

Special Provisions

660-3.01 GENERAL. Delete items 3 through 8 in their entirety and substitute the following:

- Excavating and Backfilling. Complete excavation and backfill required to install the signal and lighting components embedded in the roadway as shown in the Plans, including foundations, conduits, junction boxes, and loop detectors. Provide traffic control to complete this work according to the requirements of Section 643.  Place excavated materials where it will not interfere with surface drainage.

Support and protect conduits and utilities scheduled to remain in service when encountering them during excavation.

Excavate trenches wide enough to install the number of conduits specified side by side, to provide clearances of at least 2½ inches around 2 inch conduits and at least 2 inches around conduits larger than 2 inches, and to compact the bedding and backfill materials according to these specifications.

To install conduits, excavate trenches deep enough to allow for 6 inches of bedding material, the depth of the largest conduit, and the minimum burial depth specified between the top of the conduit and finished grade of the ground above the conduit.  Keep the longitudinal profile of trench bottoms free of irregularities that would prevent the assembled conduit run from continuously contacting the top of the bedding material.

Dispose of, according to subsection 203-3.01, excavated materials that remains after completing backfill work and excavated material not meeting the requirements of Selected Material, Type C, as defined in subsection 703-2.07.

Dewater foundation and conduit excavations immediately before and during embedding and backfilling operations.  Backfill excavations with materials that meet the following requirements

              - Backfill foundations with material that meets the requirements of Selected Material, Type A that passes through a 3 inch sieve.

              - Within the limits of the typical section, embed conduits and backfill trenches using material that meets the requirements of the lift where it is located, reusing excavated materials if it meets the requirements of the applicable lift,

              - In other locations, embed conduits and backfill trenches using material that meets the requirements of Selected Material, Type C, reusing excavated materials if it meets this requirement.

              - Import, when ordered, embedment and backfill materials that satisfy the preceding materials requirements.

Embed conduit(s) between two 6 inch lifts of material gleaned free of rocks exceeding a 1 inch maximum dimension.  Grade and compact the first lift to provide a surface that continuously contacts the assembled conduit run.

Within 6 feet of paved surfaces and around foundations, backfill in uniform layers no more than 6 inches deep and compact each layer according to subsection 203-3.04.  In other locations, compaction may be as approved by the Engineer.

- Welding.  Complete welding according to subsection 504-3.01.8. Welding and approved shop drawings.

Submit shop drawings of the proposed work with the welding plans for approval.  The shop drawings shall include material specifications, component dimensions, the types of welds that will be made, and the proposed type and extent of weld inspection.

Repair the holes, which were used to mount equipment, in reused poles and mast arms by welding in disks flush with the adjoining surface.  For the disk material, use steel that matches the ASTM designation, grade, and thickness of the steel used to fabricate each pole.  Cut disks that match the dimensions of the hole being repaired from pieces of steel plate bent to match the pole’s radius at the hole.  Grind the welds smooth and flush with the adjoining pole and disk surfaces.  Repair the damaged finish according to subsection 660-3.01.8.

- Removing and Replacing Improvements.  The Contractor shall complete the following work at the Contractor’s expense.

- Remove improvements that block completion of the work detailed in the Plans as specified herein.

- Reconstruct with new materials the non-reusable improvements the Contractor removed to complete the work, unless other items in the contract cover the improvements.

- Replace with new materials the reusable items damaged by the Contractor, that are specified for reuse.

- Reconstruct with new materials improvements that the Contractor damaged or removed, that do not conflict with the work and are not scheduled for removal.

Non-reusable improvements consist of cast in place items, including: asphalt concrete pavement, sidewalks, curb and gutter, lawns, and traffic markings.  Reusable improvements include the items that were made before installation.  Crushed aggregate base material may not be used as backfill in the base course if excavation depth exceeds the thickness of the base course.

Complete reconstruction work, including materials, according to the applicable sections of the Alaska SSHC, and leave the work in a satisfactory and serviceable condition.  In completing the reconstruction work, match the alignments, widths, thicknesses, shapes, sizes, cross sections, and finishes of the existing improvements.

If removing a portion of sidewalk or curb and gutter, remove an entire segment between the weakened plane contraction joints or between an expansion joint and a weakened plane contraction joint.

Before removing a segment of Portland or asphalt cement concrete material, cut completely through the material with a saw along the outline of the area to be removed.  Make cuts neat and true and prevent shatter outside the area removed.

To replace lawns, leave the top of the backfilled excavation low enough to install 4 inches of compacted topsoil.  Match the top of the topsoil with the bottom of the vegetative mat.  Apply seed and keep the seeded areas watered according to Section 618.

Remove, keep alive, and replant trees, shrubs, and plants according to Section 621.  Replace the trees, shrubs, and plants that do not survive with plants of like size and type.

- Salvaging and Reusing Electrical Equipment.  When the Plans include existing electrical equipment scheduled for removal or relocation, remove and store the equipment listed in the following paragraph without damaging it.  Deliver removed equipment not scheduled for reuse to the nearest District Maintenance Station or place specified in the Plans or Special Provisions.  Notify the district superintendent or person specified by telephone one-week before planned delivery date.

Salvage the controller assemblies, signal heads, mounting brackets, luminaires, lighting standards, signal posts and poles, mast arms, optical detectors, load centers, light emitting diode optical units, and the lids of junction boxes scheduled for removal and other materials scheduled for relocation.  The Contractor shall replace at the Contractor’s expense salvaged equipment damaged or destroyed before or during delivery or reinstallation.

Controller assemblies and load centers include the cabinet and equipment contained in the cabinet before Contract award.

Remove from the highway right-of-way materials associated with the equipment removed or relocated and not scheduled for reuse, including conduits, junction boxes, conductors, and foundations.  Raze the tops of foundations abandoned in place according to subsection 660-3.02.  Fill the holes left by removing junction boxes and foundations with selected material type A and compact as directed.

With approval, after removing conductors, buried conduits that do not interfere with other construction may be abandoned in place with a credit taken by the Department.  Remove the ends of abandoned conduits from the junction boxes that will remain in service.

Within 15 days of the Notice to Proceed, complete an inventory of the materials that will be salvaged in the presence of the Engineer.  Note the location and condition of the materials.  When material specified for reuse is found in an unserviceable condition, the Engineer will determine whether to repair it or replace it with new material, which will be paid for as extra work under subsection 109-1.05.  Retain a copy of the inventory and give the original documents to the Engineer.

When the Plans specify reinstalling existing equipment at new locations and installing State furnished equipment, complete the following work at the Contractor’s expense.

- For poles, install new foundations, furnishing the new nuts, bolts, washers, and conduits needed to complete the installations.

- For lighting poles, install new illumination tap wires and fused disconnect kits.

- For luminaires, clean the luminaires inside and out and install new lamps of the same wattage.

- For signal heads, furnish and install the mounting brackets needed to complete the relocation, and clean the signal heads inside and out.

- For poles and undisturbed poles from which the Plans specify removing equipment, repair the holes that were made to mount equipment according to subsection 660-3.01.4.  Welding and repair the finishes according to subsection 660-3.01.8.

When ordered, the Engineer will pay for repairing damaged finishes on existing equipment according to subsection 660-3.01.8 as extra work.

If deciding to use new equipment rather than reusing the equipment specified, notify the Engineer of the change and include a submittal according to subsection 660-2.01.1.

All salvaged traffic signal system items shall be delivered to the MOA Traffic Signal warehouse at 5923 Rowan Street. Signal poles and mast arms shall be delivered to the MOA Traffic Signal Pole Yard at 3rd Ave. & Orca Street. Allow MOA maintenance personnel to select the equipment and pole items they would like to salvage and contractor to dispose of all remaining equipment and pole items. Contact Bill Sosnowski, Foreman, at 343-8355 one week before your tentative delivery date.

- Field Tests.  Electrical circuits must pass the following tests before the Engineer will accept the work for payment.  Perform these tests in the presence of the Engineer, and document the results of each test on a per circuit basis.  Retain a copy of test results and give the original documents to the Engineer.  Furnish equipment needed to perform these tests.

Replace or repair at the Contractor’s expense, and in an approved manner, faulty materials and work revealed by these tests.  After making repairs, repeat tests on the repaired circuit and continue this process until circuits have passed required tests.  The Department reserves the right to have the Contractor retest circuits, and to use the retest results to accept or reject individual circuits.

- Grounds. Before completing the circuitry and functional tests, physically examine conduits ends, junction box lids, load centers, and the foundations for signal posts and poles, lighting poles, and controller cabinets to ensure the grounding system required by subsections 660-3.06 and 661-3.01 has been installed and splices and connections are mechanically firm.

- Continuity.  Test each loop detector circuit for continuity at the roadside junction box before splicing the loop detector to the lead-in cable.  Each loop detector must have a resistance less than 0.5 ohms.

After splicing the loop detectors to the lead-in cables, test each pair at the controller or detector cabinet.  Each pair must have a value less than 5 ohms for single pair lead-in cables and 10 ohms for multipair lead-in cables.  The continuity test ohm reading at the cabinet must be greater than the ohm reading measured for the loop detector at the junction box.

- Insulation Resistance (megohm) Test.  Complete this test to verify the integrity of each conductor’s insulation after pulling the conductors and cables into position and before terminating the conductors.  At 500 volts DC, each conductor’s insulation shall measure a minimum resistance of 100 megohms or the minimum specified by the manufacturer.  With single conductors, complete the test between each conductor and ground.  In each multiconductor cable, complete the test between conductors and between each conductor and ground.

After splicing the loops to the shielded pairs in the lead-in cables, measure each pair in the lead-in cables at the controller or detector cabinet between one conductor and the cabinet ground rod.

- Inductance Test. Measure each detector loop and lead-in cable system at the controller or detector cabinet.  The inductance must be in the range of 50 to 500 microhenries.

- Circuit.  Energize every signal indication circuit with lamps installed before installing the load switches.

- Functional.  Perform the following tests on each signal and lighting system after the component circuits have satisfactorily passed the tests for continuity, grounding, insulation integrity, and circuitry.

  - For each new traffic signal system, complete at least 24 hours of flashing operation, followed by not less than 5 days of continuous, satisfactory operation.  The Engineer may decide to omit the flashing portion of the test for modified signal systems and for new signals that replaced existing signals that remained in operation during the construction phase.

If the Engineer omits flashing operation and the system performs unsatisfactorily, correct the condition and repeat the test until the system runs for five days with continuous, satisfactory operation.

Begin the signal functional tests between 9:00 a.m. and 2:00 p.m. on any day, except a Friday, Saturday, Sunday, a legal holiday, or the day before the legal holiday.

Before each system turn on, aim signal faces according to subsection 660-3.08 and ensure equipment specified in the Plans is installed and operable, including: pedestrian signals and push buttons; signal backplates and visors; vehicle detectors; highway lighting; and regulatory, warning, and guide signs.

  - Perform the functional test for each highway lighting system and sign illumination system until the systems burn continuously 5 days without the photocell, followed by a 5 day operational test using the photocell.

  - Perform the functional test for each flashing beacon system for not less than 5 days of continuous, satisfactory operation.

  - Perform a continuous 5 day burning test on each pedestrian overpass and underpass lighting system before final acceptance.

A shut down of the electrical system due to a power interruption does not constitute discontinuity of the functional test if the system functions normally when power is returned.

8.	Repairing Damaged Finishes.  Examine new, reused, and State furnished equipment for damage to its finish before putting the equipment into service.  Repair the damaged finishes found according to the following:

a.	Galvanized.  Repair damaged areas more than 12 inches away from welds and slip fit areas, by applying a minimum 7.8 mils of zinc based alloy applied according to ASTM A780.

If the damaged areas are within 12 inches of welds and slip fit areas, make the repair by applying a minimum 7.8 mils of zinc rich paint applied according to ASTM A780.

b.	Painted.  Repair damage to painted finishes according to the following

(1)	Wash the equipment with a stiff bristle brush using a solution containing two tablespoons of heavy-duty detergent powder per gallon of water.  After rinsing, wire brush surfaces to remove poorly bonded paint, rust, scale, corrosion, grease, or dirt.  Remove dust or residue remaining after wire brushing before priming.

(2)	Factory or shop cleaning methods may be used for metals if equal to the methods specified herein.

(3)	Immediately after cleaning, coat bare metal with pretreatment, vinyl wash primer, followed by 2 prime coats of zinc chromate primer for metal.

(4)	Give signal equipment, excluding standards, a spot finishing coat on newly primed areas, followed by 1 finishing coat over the entire surface.

(5)	Give nongalvanized standards 2 spot finish coats on newly primed areas.

Paint coats may be applied either by hand brushing or by approved spraying machines.  Perform the work in a neat and workmanlike manner.  The Engineer reserves the right to require the use of brushes for the application of paint, should the work done by the paint spraying machine prove unacceptable.

Add the following new item 9:

9.	Regulations and Code. Complete work according to the standards of the NEC, the NESC, and local safety codes as adopted and amended by the authority having jurisdiction.

660-3.02 FOUNDATIONS.  Under item 1.  Cast-in-Place Foundations., add the following to the first paragraph:  Locate the tops of traffic signal post and pole foundations flush with the adjacent finished:  walkway, shoulder, or surrounding ground.

- Cast-in-Place Foundations.  In subparagraph f, revise the second sentence to read: Before placing the form or reinforcing steel cage, remove loose material from the bottom of the hole to ensure the foundation rests on firm, undisturbed ground.

In the second sentence of sub-item i delete “prior to grouting.” and substitute ”before attaching the skirt.”

In the first sentence of sub-item j, delete “concrete pile caps” and substitute “foundations”

Delete item k and add the following new items k and l:

k.	Install the bottoms of the bottom leveling nuts in a level plane within 1 inch of the top of foundations.  Adjust all nuts until their tops form a level plane. Install one washer on top of all leveling nuts and, after setting the pole on these washers, install one washer under all top nuts.

Bring all leveling nuts (bottom nuts) to full bearing on the bottom of the base plate.

Generously lubricate the bearing surface and internal threads of top nuts with beeswax.  Tighten all top nuts to a “snug” condition.  Use a click-type torque wrench to apply 600 foot-pounds of torque to the “snug” top nuts.

After torquing the top nuts, use a hydraulic wrench to rotate all top nuts an additional one sixth (60o) turn, while preventing the leveling nuts from turning.

l.	Attach a 4 AWG, bare, solid copper wire as a grounding electrode conductor to the #4 spiral bar in the reinforcing steel cage.  Use an irreversible compression connector or cadweld to make the attachment.  Protect the attachment during concrete placement.  In foundations that lack reinforcing steel cages, install 21 feet of coiled 4 AWG, bare, solid copper wire as the grounding electrode.  Route the conductor to protrude near the top, center of the foundations.  Slide a minimum 6 inch long, nonmetallic, protective sleeve over the conductor.  Allow 1 inch of the sleeve and 24 inches of conductor to protrude from the foundations.

2.	Pile Foundations. Add the following new item g:

g.	Use no more than one splice per foundation.  Locate the splice at least 7 feet from the top of pile.

Add the following new subsubsection:

4.	High Tower Foundations. Furnish pipe piles that conform to API 5L X 52 and feature the diameter, minimum length and wall thickness shown on the Plans.  Furnish seamless piles or piles with a single longitudinal seam that is electric resistance welded.

Complete welding according to subsection 504-3.01.8 Welding.  Submit a shop drawing of the work with the welding plan.  Furnish Quality Control inspection to ensure materials and workmanship meet Contract requirements.  Visually inspect (VT) 100% of each weld and inspect 100% of full penetration welds by ultrasonic NDE (UT).

Furnish anchor bolts that conform to ASTM F1554, grade 55, and meet the supplementary Charpy V-Notch requirements listed in subsection S4 of the specification.  Furnish each anchor bolt with three nuts and two washers.

Secure the anchor bolts to ensure they do not move during concrete placement.  Replace, with no additional compensation, concrete pile caps with anchor bolts that do not match the base plate of the pole or are out of plumb.  The Department will not allow modification of the anchor bolts or base plate to get the base plate set on the leveling nuts.

Replace subsection 660-3.03 with the following:

660-3.03 CONDUIT.  Electrical conductors shall be installed in conduit, except for overhead wiring, wiring inside poles, and when otherwise specified.  Use rigid metal conduits (RMC) and fittings for raceways, including bored casings, except when the Plans specify using polyethylene conduits.  Install conduits of the sizes specified along the routes detailed on the Plans.  When routing is not shown, route conduits as directed by the Engineer.

- Install conduits at least 30 inches below the finished grade of the ground above the conduit, except conduits that will be sealed under a minimum 4 inch thick Portland cement concrete sidewalk may be installed a minimum of 18 inches below the top back of curb or surface above the conduit, whichever is lower.

- Install conduits that cross unpaved areas and paved roadways that will be overlaid in excavated trenches.  Excavate, bed conduits, and backfill trenches according to subsection 660-3.01.3, Excavating and Backfilling.

- Install conduit(s) under paved roadways and approaches that will not be overlaid by boring or drilling methods.  Jacking conduits into position is allowed.  However, if subsurface conditions prevent the successful completion of the work, install the conduit(s) by boring or drilling methods without additional compensation.

- Sweep both rigid metal and polyethylene conduits through the open bottom of junction boxes by installing 90 degree rigid metal elbows on the ends of conduit runs.  To each elbow, install a nipple that terminates 5 to 12 inches above the bottom edge of each junction box.

- Install the tails of loop detectors without elbows through the walls of junction boxes at elevations that ensure the loops drain into the box.  Extend the ends a minimum of 2 inches beyond the inside wall of the box.

- Drill a 3/8 inch drain hole in the bottom of the lower straight section of elbows and in the bottom of conduits at the low points of conduit runs.  Smooth the edges of the drilled holes on the inside of elbows to prevent scraping the conductors.  Cover the holes with a wrap of approved filter cloth secured with 2 self clinching nylon cable ties.

- Keep conduits clean.  Install grounding bushings and approved plastic insert type plugs on the ends of conduit runs before backfilling around the conduit ends.

- At the low points of conduit runs, install sumps containing a minimum 2 cubic-feet of coarse concrete aggregate material that conforms to subsection 703-2.02.  Compact the aggregate sumps as directed to prevent settlement of the trench backfill.

- Install conduits that must cross existing facilities such as storm drain pipes, duct systems, and other underground utilities at the minimum depths specified, going under the facilities if necessary.  Install additional drains and aggregate sumps at the low spots, if any.

- Position conduits in trenches, junction boxes, and foundations to provide clearances of at least 2½ inches around 2 inch conduits and at least 2 inches around conduits larger than 2 inches.

- Fabricate rigid metal conduits less than 10 feet long from standard lengths of conduit.  Cut conduits squarely to ensure the threading die starts squarely on the conduit.  Cut the same number of threads as found on the factory threaded ends.  Ream the inside of conduit ends cut in the shop or field to remove burrs and sharp edges.  Do not use slip joints or pieces of running thread pipe.

- Coat drilled holes, shop and field cut threads, and the areas with damaged zinc coating with zinc rich paint.

- When standard couplings cannot be used to join conduit components, use approved threaded unions.

- Bury a continuous strip of 4 mils thick, 6 inch wide polyethylene marker tape above underground conduit runs.  Install the tape 9 inches (± 3 inches) below finished grade, using two strips side by side to mark road crossings.  Furnish tapes with a black legend on a red background.

- If encountering obstructions during jacking or drilling operations, obtain approval and cut small holes in the pavement to clear the obstruction.  Locate the bottom inside face of the bore pit no closer than the catch point of a 1¼ to 1 slope (a horizontal to vertical ratio) from the edge of pavement.  Do not leave these pits unattended until installing an approved means of protection.

- When the Plans specify using polyethylene conduit, install RMC in structures and foundations, between type 2 and 3 load centers and the nearest junction box, and on the surfaces of poles and other structures.

- In foundations, install 90 degree elbows and conduits of the size and quantity shown on the Plans.  Extend the conduits a maximum of 2 inches above the top of the foundations for posts and poles with breakaway bases and 4 inches above the top of foundations for fixed base structures.

- Seal conduits leading to electrical equipment mounted on soffits, walls, and other locations below the grade of the serving junction box with an approved duct sealing compound.

- Install expansion fittings in conduits that cross expansion joints.

- Install a polypropylene pull rope with a minimum 200 pound tensile strength in future use or spare conduits, and reinstall the plugs.  Double back at least two feet of pull rope into both ends of each conduit.

- The Contractor may install conduits larger than the sizes specified.  If used, it must be for the entire length of the run.  Reducing couplings or bushings are not allowed.  Complete work associated with installing conduits larger than specified without extra compensation.

- Clean existing conduits that will remain in service using a heavy duty air compressor that delivers at least 125 cubic feet of air per minute at a pressure of 110 pounds per square inch.  Clean the conduits before pulling in new cables and after removing cables specified to be removed or replaced as follows:

  - When the conduits contain cables that will remain in service, leave the cables in place during the cleaning, and

  - Ream empty conduits with a mandrel or cylindrical wire brush before blowing them out with compressed air.

- When modifying existing conduit runs, complete the work as required for new installations using the same sizes and types of conduit.  When extending existing conduits, add no more than 90 degrees of horizontal bend to the extension.

- When installing a junction box in a continuous run of existing conduit, remove a length of conduit in each conduit run and complete the work of installing the conduits, elbows, and nipples as required for a new installation.

- When adjusting existing junction boxes to a new grade, remove cables and replace the nipples as required to provide the clearances specified for new installations.

- Remove the ends of abandoned conduits from junction boxes that will remain in service.

- When Plans call for connecting polyethylene conduit to RMC use an electrofusion coupler rated for direct bury application. The coupler must be rated for same wall thickness as the adjoining conduits.  Thread the ends of the RMC with the same number of threads as found on the factory threaded ends of RMC.  Ream the inside of conduit ends cut in the shop or field to remove burrs and sharp edges.

Replace subsection 660-3.04 with the following:

660-3.04 JUNCTION BOXES.  Install precast reinforced concrete junction boxes of the types specified.  For junction boxes that contain traffic signal conductors, furnish cast iron lids with the word TRAFFIC inscribed into them.  For junction boxes that contain lighting conductors exclusively, furnish cast iron lids with the word LIGHTING inscribed into them.

Junction Box Location

When shown, install junction boxes at the station and offset locations specified.  When lateral locations are not specified, install junction boxes 8 feet from the face of curb or edge of pavement.  If the 8 feet offset falls:

- In a pedestrian facility separated less than 7 feet from the roadway face of curb or edge of pavement, increase the offset and install the junction boxes on the backside of the facility.  When lacking the right of way to install junction boxes outside the pathway, install at locations as directed, avoiding curb ramps, curb ramp landings, and the middle of walkways.

- In a pedestrian facility separated at least 7 feet from the roadway face of curb or edge of pavement, reduce the offset and install the junction box next to the facility.

- Outside the right of way, install the boxes just inside the right of way line.

- In a raised median, install junction boxes near the center of the median.

- In a ditch bottom or area that collects drainage, install the junction boxes at locations as directed.

- Behind guardrails that shield slopes steeper than 3:1 (a horizontal to vertical ratio), install junction boxes between posts and at least 5 feet back from the face of rail.

- On top of underground utilities or storm drains, install the junction boxes at locations as directed.

Longitudinally, install junction boxes adjacent to the loop detectors or pole they serve, except avoid installing type 1A junction boxes in driveways and in locations subject to use by heavy trucks.  When shown near the ends of medians, install junction boxes at least 10 feet from the median end.  When the offsets for electroliers and flashing beacon posts place them near the junction boxes that serve them, install the junction boxes on the side of the electroliers and posts downstream of traffic flow.

## Limitations

Limit the distance between adjacent junction boxes to the following dimensions:

- 400 feet for conduits that contain signal interconnect cable only.

- 300 feet for conduits that exclusively contain two loop lead-in cables.

- 300 feet for conduits that contain a single cable other than signal interconnect.

- 190 feet for conduits that contains more than one cable.

When establishing junction box spacing a bare ground conductor is not considered a cable.

If the preceding limitations require installing additional junction boxes not shown on the Plans, the Engineer will pay for them as extra work, otherwise, installing additional junction boxes will be at the Contractor’s expense.

After grading the roadside, vertically adjust those junction boxes that do not conform to the following criteria.  In unpaved areas that will not be seeded, in areas adjacent to pedestrian facilities, and in paved medians, install the tops of junction boxes 1 inch below finished grade. In seeded areas, install the tops of junction boxes to 2 inches below the seeded surface.

Bond junction box lids to an equipment grounding conductor according to subsection 660-3.06.  Attach the jumpers to the lids with brass or stainless steel hardware.

Install a stone drain under each junction box.  Drains shall consist of coarse aggregate for concrete that conforms to subsection 703-2.02.  Minimum drain dimensions include an 18” depth and a length and width equal to those of the junction box it drains.  Compact the aggregate material as directed to prevent junction box settlement.

In every new and reused junction box, install an electronic marker that consists of an antenna encapsulated in a 4 inch diameter red polyethylene ball.  Furnish markers that conform to the American Public Works Association standards for locating power.  Markers shall respond to locator devices up to 5 feet away, work at all temperatures, and contain no internal power source.

660-3.05 WIRING.  Delete the second paragraph in its entirety and substitute the following:

## Conditions

Do not pull conductors into conduits until the following conditions are met:

  - The prescribed clearances around conduit ends are provided,

  - Crushed rock sumps are installed under junction boxes,

  - Conduit ends protrude above the bottom of junction boxes within the prescribed range,

  - New conduits are free of material that became lodged in them during the completion of the work,

  - Reused conduits are cleaned according to subsection 660-3.03,

  - Junction boxes are set to grade, and

  - Grounding bushings are installed on the ends of metallic conduits.

Delete item 3 in its entirety and substitute the following:

3.	Pull, as a unit, the conductors specified to be installed into clean conduits, leaving existing conductors that will remain in service in place.

Add the following line to Table 660-1 under subitem a. of item 9.

| # LOOP DETECTOR NUMBER | # COLORED PAIR |
| --- | --- |
| Usually a spare pair | Orange and Black |

Delete items 11 and 12 in their entirety and substitute the following:

11.	Encapsulate illumination cable splices in rigid 2 piece plastic molds filled with an insulating and sealing epoxy resin.  Furnish molds large enough to complete the splices and encase the cable jackets in the epoxy resin.  Furnish molds rated for 600 volts AC operation and feature fill and vent funnels for epoxy resin.  Fill the splice mold bodies with epoxy resin that is resistant to weather, aromatic and straight chain solvents, and that will not sustain combustion.

When approved by the Engineer, 1 splice may be used in the following cases;

    - An in-line splice may be used when a planned cable run exceeds the length available from the manufacturer on a single spool of cable.

    - In a run of 1,000 liner feet or more.

When a cable is spliced it shall occur within an appropriately sized j-box or in the base of an electrolier designed for said splice.

12.	Encapsulate loop lead-in and telemetry cable splices in rigid, transparent, PVC molds filled with reenterable polyurethane electrical insulating and sealing compound.  Furnish splice kits rated for 1000 volts AC operation and direct burial.

Provide reuseable four piece molds that are held together with stainless steel hose clamps.  Two pieces form a cylinder and two flexible end caps seal the ends and allow the conductor entry.  Use molds with dimensions suitable for the splice made, encase the cable jackets, and have fill and vent funnels.

Insert a loose woven polyester web that allows a full ¼ inch of insulating compound to flow between the splice and the inside of the mold.  Fill the PVC molds with reenterable polyurethane electrical insulating and sealing compound that cures transparent, is nontoxic, is noncorrosive to copper, and does not support fungi or mold growth.

Add the following items:

18.	Retrofit reused poles with new tap wires, fused disconnect kits, and fuses.

19.	Whenever conductors can not be terminated as specified in the Plans in circuit breakers due to size, splice a piece of #8 AWG power conductor onto the end of each conductor using an overlap type, irreversible compression connector.  Insulate the splice with heat shrink tubing.  Complete the splice in the space between the top of the load center foundation and the bottom of the cabinet. Limit the length of the #8 AWG conductor to 5 feet.

Replace subsection 660-3.06 with the following:

660-3.06 BONDING AND GROUNDING.  Bond and ground branch circuits according to the NEC and the following requirements.  Make noncurrent carrying but electrically conductive components, including: metal conduits, junction box lids, cabinets, transformer cases, and metal posts and poles, mechanically and electrically secure to an equipment grounding conductor.  Make fixtures mounted on metal poles, including signal components and luminaires, mechanically and electrically secure to the pole.

Install grounding bushings with insulated throats on the ends of metallic conduits.

Install a bare stranded copper wire for the equipment grounding conductor in conduits, except those conduits installed for future use.  Install size 8 AWG conductors, except in those conduits that contain circuit conductors larger than 8 AWG.  In this case, install a wire equal in size to the largest circuit conductor.  Attach the grounding conductors to the grounding bushings, leaving 12 inches of slack between each bushing.  Connect grounding conductors together using irreversible compression type connectors to form a fully interconnected and continuous grounding system.

Retrofit existing spare conduits that will contain new cables exclusively with new grounding bushings.  When the Plans require installation or removal of conductors from existing conduits, retrofit with new grounding conductors sized according to the preceding paragraph.

Bond junction box lids to the grounding conductor using copper braid with a cross sectional area equal to an 8 AWG conductor and eyelets spaced at 6 inch intervals.  Connect bonding jumpers to the grounding conductors using irreversible compression type connectors.  Replace missing or damaged conduit and junction box lid bonding jumpers.

Join the equipment grounding conductors from the conduits to the 4 AWG grounding electrode conductor using irreversible compression connectors at Portland cement concrete foundations.  For pile foundations, attach the equipment grounding conductor from the conduit to the pile cap adapter with a listed mechanical grounding connector.

When installing signal poles, signal posts, and lighting standards with frangible coupling bases, run a 4 feet long grounding conductor from the grounding bushing on the conduit to the grounding lug located in the hand hole of each pole.

Bond slip base type standards and pedestals by using 2 conductors from the conduit, one attached with a ground rod clamp to an anchor bolt and the other connected to the grounding lug located in the hand hole of each pole.

Ground one side of the secondary circuit of a transformer.

Install a ¾ inch by 10 feet copper clad ground rod inside each controller cabinet foundation and a 6 AWG bare stranded copper wire for the grounding electrode conductor.

Replace subsection 660-3.08 with the following:

660-3.08 SIGNAL AND LIGHTING INSTALLATION REQUIREMENTS.  Install signal and lighting equipment according to the details shown on the Plans and the following:

Apply antiseizing compound to the following fasteners:  frangible couplings, mechanical grounding connectors, bolts that secure hand hole covers and signal mounting hardware to poles and mast arms.  Remove the fasteners from luminaire mounting brackets, fused disconnect kits, grounding bushings, and signal faces which secure the visors, and apply antiseizing compound to these fasteners before completing the installation.

Before passing conductors through the holes made in posts, poles, and mast arms for wireways, remove the burrs and sharp edges from the inside and outside of these holes.

Until each traffic signal and/or flashing beacon goes into operation, keep the vehicular and pedestrian signal faces covered with beige colored canvas shirts sized to fit the signal faces shown in the Plans.  Each signal shirt shall feature elasticized openings that fit over the visors and at least two straps to secure it to the signal.  Provide shirts with a legend that reads “out of service” and a center section that allows an operator to see the indications during system tests.

When not shown in the Plans, determine the shaft lengths of lighting and signal poles and signal mast arm connector plate locations to provide the plan mounting heights of luminaires and traffic signal heads.

Furnish work to install foundations for relocated poles, including: conduit, excavation, reinforcing steel, class A concrete, anchor bolts, nuts, and washers.

1.	Electrolier Installation.  Before installing electroliers, check the socket position of each luminaire to verify it matches the position indicated in the instructions for the light distribution type shown on the Plans.

Install electroliers with mast arms with a slight rake by plumbing the side of the pole opposite the mast arm.  After the pole has been plumbed, level the luminaire as recommended by the manufacturer.

Install electroliers without mast arms with the centerline of the pole plumb.

- Signal Pole Installation.  Install signal poles with a slight rake by plumbing the side of the pole opposite the mast arm just above the base plate.  Tighten the nuts on the anchor bolts as described in subsection 660-3.02k.

Cover the gap between the foundation and base plate by installing a metal skirt around the base plate, secured with stainless steel sheet metal screws.

3.	Vehicular Signal Head Installation.  With two piece mast arms, do not install signal heads within 12 inches on either side of the slip type field splice.

Attach each side mounted terminal compartment with two ½” x 13 bolts, with washers, threaded into holes tapped into the side of the pole at the location shown on Standard Drawing T-30.  Install the vertical pipe members plumb.

When installing 5 section vertically stacked signal heads on the sides of poles, secure the vertical pipe to the pole using a steel conduit hanger mounted 6 inches below the top horizontal pipe.

Aim through phase vehicular signal faces at a point located a distance from the face as shown in Table 660-2.  If two through signal faces are not visible from this point at a height of 42 inches above finished grade, consult the Engineer for corrective measures.

| TABLE 660-2 |  |
| --- | --- |
| THROUGH PHASE SIGNAL FACE AIMING POINTS |  |
| 85th Percentile Speed (mph) | Minimum Visibility Distance (feet) |
| 20 | 175 |
| 25 | 215 |
| 30 | 270 |
| 35 | 325 |
| 40 | 390 |
| 45 | 460 |
| 50 | 540 |
| 55 | 625 |
| 60 | 715 |

4.	Pedestrian Signal and Push Button Installation.  Orient pedestrian signal faces at the center of the crosswalk on the opposite side of the street.  Attach each clamshell bracket with two ½” x 13 bolts threaded into holes tapped into the side of the pole.  Install a spacer, furnished by the bracket manufacturer, on each bolt.

Install the push button on the crosswalk side of the pole.  Install R10-3B (R or L) push button signs above each push button.  Furnish signs with the arrow pointing in the direction of the appropriate crosswalk.  When channel is used for mounting push button signs, tap the top and bottom sign bolts into the pole.

5.	High Tower Lighting System Installation. Assemble and install high tower poles according to the written instructions furnished by the manufacturer.  To assemble and install poles other than as recommended, furnish a plan stamped by a registered professional engineer to the Engineer for approval.  Furnish timbers required to assemble the pole, regardless of the method of assembly.

Position the pole during assembly to avoid moving the pole on the ground when lifting the pole to install it on its foundation.  When conditions around a foundation preclude assembling the pole on site, assemble the pole as close as possible to the foundation and move the pole into position for installation on its foundation.  Before moving a pole, submit a plan stamped by a registered professional engineer for moving poles without damage to the Engineer for approval.

Install the lowering system including masthead assembly, luminaire ring, winch assembly, and cables as instructed by the manufacturer’s on site representative.

Install and level the luminaires according to the manufacturer’s written installation instructions.

Furnish the Engineer an instruction sheet from the manufacturer for orienting reflectors in luminaires that provide an asymmetrical light distribution.  Adjust the luminaire reflectors on each pole according to this sheet until they are oriented in the same direction and distribute light according to the pattern shown on the illumination sheets.

Use steel templates to accurately locate and hold the anchor rods plumb and in proper alignment during concrete placement.  Leave this template in place for at least 24 hours after completing concrete placement.  The Engineer will reject foundations with anchor rods that are out of position or more than 1:40 out of plumb.  The Department does not allow bending of anchor rods to plumb the ends or to move them into position, or altering a pole’s base plate to match the anchor bolts.

Tighten the nuts that secure high tower lighting poles to concrete foundations according to the following procedure.  Use nuts that conform to ASTM Specification A 194 or A 563 of the grade, surface finish, and style for 2 inch diameter anchor rods that conform to ASTM F 1554, Grade 55.  Washers shall conform to ASTM F 436 Type 1.

Thread nuts onto the anchor rods to within 1 inch above the top of the concrete base and adjust them downward, if necessary, to provide a minimum ¼ inch projection of the rod above the top of the top nut in the tightened position.  Adjust nuts until their tops form a level plane.  Install one washer on top of leveling nuts and, after setting the pole on these washers, install one washer under top nuts.

Bring leveling nuts (bottom nuts) to full bearing on the bottom of the base plate.

Apply beeswax to the top nut bearing face and top nut internal threads before threading it onto the anchor rod.  Tighten top nuts to a “snug” condition.  Use a click type torque wrench to apply 600 foot-pounds of torque to the “snug” top nuts.  Torque the top nuts in the following crisscross pattern.

After torquing the top nuts, use a hydraulic wrench to rotate top nuts an additional one sixth (60o) turn, while preventing the leveling nuts from turning.  Use the crisscross pattern shown above.

6.	Underpass Lighting System Installation.  Mount the luminaires as detailed on the drawings to orient the axis of the lamp perpendicular to the axis of the underpass.

7.	Flashing Beacon Installation.  When the Plans specify using the flasher in a signal controller cabinet to energize beacons, furnish a two pole, fused block with built in fuse pullers and two fuses to protect the flasher.  Furnish and leave 5 feet of cable in the cabinet.  Others will install the fused block and terminate the beacon cables.

8.	Wood Pole Installation.  Place the poles in the ground to at least 6 feet deep.

After setting each pole in the ground, backfill the space around the pole with selected earth or sand, free of rocks 4 inches and larger, or deleterious material. Place the material in layers approximately 4 inches thick and thoroughly compact them with mechanical tampers.

Furnish poles that provide a minimum vertical clearance of 21 feet between the pavement and low point of overhead conductor.

660-3.09 MAINTAINING EXISTING AND TEMPORARY ELECTRICAL SYSTEMS. Delete this subsection in its entirety and substitute the following:  This work consists of protecting and maintaining the existing and temporary electrical systems during the life of the contract.  The work includes: locating, repairing, replacing, adjusting, realigning, cleaning, and relocating components of traffic signals, lighting systems, and flashing beacons to keep them wholly operational and positioned according to the following Specifications.

If the existing lighting systems is not kept fully operational as specified herein, the Engineer will reduce the payments under Item 660(22) Illumination Price Adjustment.

Furnish the Engineer with the name and phone number of the person who will maintain the existing and temporary electrical facilities at the Preconstruction Conference.  Make this person available at times until the date of Acceptance for Traffic and Maintenance and provide labor, materials, and equipment this person may need to complete repairs ordered by the Engineer.

When beginning work, the Engineer will notify the Contractor and the local maintenance agencies in writing of the transfer of maintenance responsibilities, providing an effective date and time.  Maintenance does not include replacing defective equipment or repairing equipment damaged before the transfer of maintenance responsibility.  Therefore, before starting work on the project, inventory the condition of the existing equipment with the Engineer and document the damaged and defective equipment.  If beginning work before providing the Engineer with an inventory, the Contractor waives the right to claim extra compensation when the Engineer later finds damaged or defective equipment.

Keep components of the existing and temporary electrical systems operational during the progress of the work, except when the Engineer allows shutdowns to alter or remove the systems.  The Engineer will consider these systems operational when no damaged or defective equipment is found in service, components are clean, located, and aligned as specified herein, and photoelectric controls operate the lighting systems.  The State will pay for electricity used to operate the systems, if the public benefits from their operation.  Furnish replacement equipment compatible with equipment used in the Central Region.

Begin work to repair, replace, adjust, realign, clean, and/or relocate components of an affected system within one hour when ordered by the Engineer.  If work is not complete, the Engineer may have outside forces complete the repairs and deduct the amount billed from monies due the Contractor.

Records.  When working on a traffic signal system, print a record of work performed in the diary found in each controller cabinet.  Make sure each entry includes

1.	The dates and times beginning and completing work, and the names of the

crewmembers completing the work.

2.	The characteristics of the equipment failure or faulty operation evident before repair.

3.	The changes made or corrective actions taken.

4.   The printed name and signature of the person responsible for making the repairs or changes.

The Engineer will limit signal system shutdowns to the hours traffic restrictions allowed in subsection 643-3.08, Construction Sequencing.  During shutdowns, use flag persons to control traffic.  Provide local traffic enforcement and maintenance agencies 24 hour notice before shutting down a traffic signal system.

Locate existing conduit runs, buried cables, junction boxes, and underground utilities before starting work that may damage these facilities or interfere with these systems.

Where roadways remain open to traffic and the work includes modifying the existing lighting systems, energize the modified circuit by sunset on the same day the Contractor retires the original circuit.

Relocate or replace signal poles, lighting standards, sign poles, flashing beacon poles, load centers, and controller cabinets whenever reducing clearance from the traveled way to less than 6 feet.

Alignment.  During the various phases of construction, shift the signal heads to keep them aligned horizontally and vertically with the approaches according to the following:

1.	For overhead signals located 53 feet and more from the stop line, maintain 17.5 feet to 21.5 feet of clearance between the traveled way and the bottom of each signal.  For closer signals refer to the MUTCD for maximum clearances.

2.	For side mounted signals, maintain nine feet to 11 feet of clearance between the traveled way and the bottom of the signal.

3.	Align overhead signals controlling a single lane with the center of the lane.

4.	Align overhead signals controlling two or more lanes with the lane lines separating the lanes.

5.	When the horizontal angle to the side mounted far right signal exceeds 20o, relocate this signal to an overhead location.  Measure the angle 10 feet back from the stop line on the lane line between the two farthest left through lanes.

i.	With two or more through lanes, center one signal head over each lane.

ii.	With one through lane and protected permitted signal phasing, leave the five section signal over the lane line and center the signal to be relocated over the through lane.

iii.	Otherwise, install the relocated signal 8 feet to the right of the signal centered over the through lane.

6.	For pedestrian signals, maintain 7 to 9 feet between the traveled way and the bottom of each pedestrian signal.

7.	Aim signal heads according to Table 660-2 found in subsection 660-3.08, Signal and Lighting Structures.

When no longer required, salvage original and Department provided equipment according to the Plans and item 6.  Salvaging or Reusing Electrical Equipment found in subsection 660-3.01, and remove other materials used in the temporary systems from the project.

R66USC04(04/17/07)

Add the following subsections:

660-3.11 SIGNAL SYSTEM TIMING AND ADJUSTMENTS.  The Engineer will use Municipality of Anchorage (MOA) signal maintenance personnel for certain work inside controller cabinets.  Before MOA personnel arrive to terminate conductors, ensure terminal connectors are attached to conductor ends and paired loop detector conductors and cables are labeled as specified in subsection 660-3.05, Wiring.

- Loop Detector Wiring.  Municipality of Anchorage Traffic Signal Maintenance (MOA Signal Maintenance) will test and connect paired loop detector conductors to the terminal blocks, and install new detector loop amplifiers and harnesses.

- Control Cable Wiring.  When modifying an operational signal system or controller assembly, MOA Signal Maintenance will connect control cables within the controller cabinet to the terminal blocks.

- Timing Adjustments.  During construction, MOA Signal Maintenance may adjust the system and intersection operational timing to accommodate project conditions.

- Interconnect Wiring.  MOA Signal Maintenance will test and connect interconnect wiring to the terminal blocks.

660-3.12 CONTROLLER CABINET PREPARATION. Ship the traffic controller cabinet(s) and equipment to the Municipality of Anchorage Traffic Signal Electronics Shop at 3650 E. Tudor Road, Building C.  MOA will inspect cabinet wiring, burn in signal equipment, customize cabinets for desired operation, and test the equipment according to subsection 660-3.07, Shop Tests.

660-3.13 TEMPORARY ELECTROLIERS.

Location.  When the Contract includes Item 660(15) Temporary Electrolier, install temporary electroliers at the following locations:

1.	Along roadway segments that are illuminated when beginning work and the following conditions apply:

a.	Maintaining traffic on the subgrade, portions of the new pavement structure, or on the existing pavement.

b.	The permanent lighting system cannot be operational beforehand.

c.	When, because of grading operations, a vehicle is within 4 inches of ground clearance and 5 feet between the tires would snag on the existing foundations, or the tops of the existing foundations are more than 8 inches below the grade of the surrounding embankment.

2.	At locations specified by the Engineer, including

a.		Along detours and diversions, and

b.		Along traveled ways that transition from one typical section to another, and

3.	At temporary traffic signals.

4.	At the locations shown in the Plans.

Lighting Plan.  The Department will not require lighting from midnight June 7 to midnight July 5.  Make temporary electroliers operational by sunset on the day replacing or retiring the existing system, or open a roadway and/or detour to traffic.

Submit a Plan for each temporary electrolier system to the Engineer for review and approval before implementing.  Allow at least two weeks for review.  Provide temporary electroliers on the far right side of approaches at signalized intersections.  Luminaires and mast arms may be installed on the signal poles when they do not conflict with other overhead utilities.  Along roadways, choose one of the following options for temporary lighting Plan:

1.	When one is included, use the temporary lighting Plan detailed in the Plans.

2.	On roadways with existing lighting, provide new foundations and install poles and mast arms sized to keep the existing luminaires in their existing positions horizontally and vertically over the roadway.  In this case, no lighting design is required.

3.	Design temporary lighting system using the Contractor’s choice of luminaires, including the luminaires of the permanent lighting system.  Use a layout pattern, mounting height, and luminaire offset and spacing that provide a light distribution that conforms to AASHTO’s “An Informational Guide for Roadway Lighting” illuminance method of design.  Design the system for the roadway’s functional class as specified in the Department’s Annual Traffic Volume Report.

Furnish and install materials and miscellaneous hardware required to provide a functional lighting system, including foundations, branch circuitry, and electrical load centers.  Size the branch conductors to provide a maximum 5% voltage drop at the most remote luminaire.  Materials shall conform to the Specifications.  The illumination cables may only be directly buried if the cables are listed for direct burial.

###### Poles.  Use any of the following poles:

1.	Existing light poles found within the project limits that are in suitable condition for reuse as determined by the Engineer and scheduled to be removed.

2.	Poles from the permanent lighting system.

3.	The following new poles may be furnished, if a minimum of 30 feet in elevation between a luminaire and the edge of traveled way is maintained.

a.	ANSI Class 4 wood poles.  Installed outside the clear zone during winter shutdown.  To determine the clear zone, see subsection 1130.02 of the Alaska DOT/PF Highway Preconstruction Manual.

b.	Steel, aluminum, or fiberglass poles that meet design criteria for 80 mile per hour wind speeds according to AASHTO’s 1994 edition of the “Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals”.

c.	Poles that are part of the temporary signal systems.

Furnish temporary electrolier service between October 1 through May 15 and located within the clear zone, with an approved yielding type base.  Approved yielding bases consist of FHWA approved slip bases, transformer bases, or frangible couplings.  Install wood poles and other fixed base poles outside the clear zone or behind guardrail or portable concrete barrier that protects against another hazard.

Install temporary electroliers, in service at any time from May 15 through September 30 and located within the clear zone, with approved yielding bases or with fixed bases shielded by 30 feet of barrier and an FHWA approved end treatment.  Provide 2 feet of clearance between the barrier and pole.  Consider the costs of furnishing the barrier and an end treatment a subsidiary obligation of Item 660(15) Temporary Electrolier.  Replace fixed base poles that are located within the clear zone and that will remain in service after October 1 with yielding base poles at no expense to the State.

Load Centers.

Use any of the following load centers to energize the temporary lighting and signal systems. Provide work needed to modify load centers to provide functional temporary lighting and signal systems according to the NEC.

1.	Permanent load centers installed in the Plan location.

2.	Existing load centers scheduled to remain intact until completion of the project.  Relocate and reuse existing load centers only if approved.

3.	Approved temporary load centers with photoelectrical controlled lighting circuits.  Provide a temporary load center when retiring an existing load center that is not approved, and when approved load centers are unavailable.

Approved load centers include load centers UL labeled as Service Equipment, or UL labeled as Industrial Control Equipment and marked "Suitable for use as service equipment".

660-3.14 TEMPORARY SIGNAL SYSTEMS.  Provide temporary traffic signalization as necessary at the intersections of Old Seward Highway and Huffman Road; Old Seward Highway and Klatt Road; Old Seward Highway and O’Malley Centre Drive; and Old Seward Highway and O’Malley Road.  Move traffic through these intersections with fully functional traffic signals, except during shutdowns to change from one system to another.  The Engineer will limit temporary signal system shutdowns to the times when traffic restrictions are allowed in subsection 643-3.08, Construction Sequencing.  Use flag-control to control the flow of traffic during these shutdowns.

Traffic Control Plan.  Submit two copies of a Traffic Control Plan for each temporary signal system to the Engineer for approval before implementation.  The Engineer will submit a copy to the MOA Traffic Department for approval.  Include the same number of signal heads, signal phases, pedestrian pushbuttons, signs, pavement markings, etc. found in the signal system being replaced or modified in the Plan, plus the following details.

1.	A scale drawing of the intersection that includes lanes, their widths, and auxiliary lane pocket lengths.

2.	The location of signal poles, controller cabinet, and the load center that will feed the temporary signal system.

3.	The location, sizes, and type of each signal head.

Temporary Signal Systems.  May consist of a combination of the existing systems, relocated components of the existing systems, guyed wood poles, and parts of the permanent signal system.

1.	Install temporary controller assemblies on Type III junction boxes.

2.	If span wires are used, suspend traffic signals from messenger cables provided mounted with standard span wire hangers and secure them with a second cable to prevent misalignment in a wind.  Leave sufficient signal cable slack at each pole to provide for drip loops and to allow realignment of each signal head.

3.	Use a minimum of two circuits to energize the signals of each phase that include two or more signal faces.  The Engineer will allow splices only at the terminal blocks in the signal faces.

Whenever temporary signals include a span wire attached to a permanent signal pole, install a guy on the permanent pole and provide protective collars to prevent chafe damage.  Exclude poles with breakaway bases in span wire supported signal systems.

Maintain fully actuated traffic signals during the normal course of construction by installing loop detectors, a video detection system, or other means of vehicle detection approved by the Engineer.

Span wire signal systems will not be accepted for Department maintenance over winter shutdown periods.

The Engineer will use Municipality of Anchorage (MOA) signal maintenance personnel for certain work inside controller cabinets.  Prepare the controller cabinet in accordance with Subsection 660-3.11 Signal System Timing and Adjustments.

660-3.15 RELOCATE PARKING LOT ELECTROLIERS. Contractor shall relocate existing parking lot electroliers in the Wendy’s parking lot, to the locations designated on the plans.  Relocation must be completed during the  parking lot reconstruction.  Contractor shall contact the property owner to verify the location of the existing electrical supply circuit and layout.  As part of the new installation the Contractor may be required to construct replacement concrete foundations of similar size and configuration to the existing foundations. Existing foundations may be reused upon approval.  Existing conductors may be used, provided all splices are performed in the electrolier bases or in junction boxes.  All work shall be done in accordance with the National Electrical Code.

Special Provisions:

660-4.01 METHOD OF MEASUREMENT.  Add the following:

Item 660(22) Illumination Price Adjustment.  By the mile for each roadway with all or part of its illumination system inoperative.  A divided roadway is considered one roadway.  Ramps are considered a separate roadway.  The Engineer will measure each unlit section less than one mile long as one mile.

660-5.01 BASIS OF PAYMENT.  Add the following:  Pay Item 660(17) Signal Modifications includes full compensation for modifying the existing signal system to conform with the plans.  This includes removing, salvaging, or abandoning existing signal equipment not required for the modified signal system; constructing concrete foundations; installing junction boxes, wiring, interconnect, conduit, poles, cabinets, and appurtenances; restoring facilities damaged or destroyed during construction; adjusting existing junction boxes to finished grade; performing required tests; and producing required documentation.  Additional materials and labor, not shown on the plans or called for herein and that are necessary to complete the electrical and traffic signal system, shall be included in the contract price.

Pay Items 660(1) Traffic Signal System Complete and 660(17) Signal Modifications will not include payment for 660(11) Traffic Loops, 660(25) Controller Cabinet Preparation, and 660(26) Signal System Timing and Adjustments.  This work will be paid under their respective items.

Saw cutting, planing, asphalt removal, aggregate base course, tack coating, and installing new asphalt concrete associated with the installation of Loop Detectors will be subsidiary to Item 660(11) Traffic Loop, unless it appears in the bid schedule.

Relocation of parking lot electroliers will be paid as item 660(13). Payment includes all work and materials necessary for satisfactory relocation and connection of operable parking lot lighting.

Payment for Item 660(13B) Electrolier and Foundation Removal, includes full compensation for:

a.	Removal of the foundation to at least 1 foot below existing or proposed ground.

b.	Removal and disposal of existing branch circuit conductors,

c.	Removal and disposal of existing junction boxes,

d.	Removal, salvage, and delivery of all junction box lids,

e.	Removal, salvage, and delivery of all slip and transformer base assemblies and the poles and mast arms specified to be salvaged, and

f.	Removal and disposal of all luminaires and the poles and mast arms specified to be disposed of.

The Engineer will pay Item 660(25) Controller Cabinet Preparation, based on paid receipts plus 15 percent for authorized work performed, and expenses incurred, by the Municipality of Anchorage Traffic Signal Maintenance Section.  A directive will not be required to initiate payment for work performed under Item 660(25).  The Contractor shall pay all costs of the Municipality for re-testing of work or equipment that fails to comply with the Plans and Specifications.

The Engineer will pay Item 660(26) Signal System Timing and Adjustments, based on paid receipts plus 15 percent for authorized work performed by the Municipality of Anchorage.  A directive will not be required to initiate payment for work performed under Item 660(26).  Pay costs of the Municipality retesting equipment that fails to comply with the Plans and Specifications.

The amount bid for an item shall include full compensation for:

- Excavation, bedding, and backfill to install the components shown in the Plans.  Dewatering excavations is subsidiary to completion of the excavation work.

- Removing and repairing existing improvements to complete the work, unless other items in the Contract cover the repairs.

- Work associated with installing loop detectors, including:  saw cutting, asphalt removal, aggregate base course, tack coating, and installing new asphalt concrete.

The Engineer will pay for the disposal of surplus and unusable excavation and for imported backfill and bedding material at respective Contract unit prices, or as extra work if the Contract does not include these items.

The cost of repairing damage to finishes on new equipment is subsidiary.

The cost of maintaining the existing and keeping the temporary electrical system fully operational is subsidiary to 660 items included in the Contract.

For each mile of roadway with existing lighting systems that is not kept fully operational, the Engineer will deduct $1275.00 per day from the payments due the Contractor.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

660(22) 	Illumination Price Adjustment	Contingent Sum

660(26) 	Signal System Timing and Adjustments	Contingent Sum

R66USC04(04/17/07)

- Add the following:  Item 660(5) Structure Illumination System Complete includes all work an materials required for design and installation of the lighting for the roundabout concrete wall  as specified.

- Add the following pay items:

| Pay Item No. |  |  | Pay Item | Pay Unit |
| --- | --- | --- | --- | --- |
|  | 660(1A) | Traffic Signal System Complete at Old Seward Highway & Klatt Road |  | Lump Sum |
|  | 660(3B) | Bus Stop Lighting System Complete |  | Lump Sum |
|  | 660(3C) | Pedestrian Lighting System Complete |  | Lump Sum |
|  | 660(5) | Structure Illumination System Complete |  | Lump Sum |
|  | 660(7A) | Temporary Signal System Complete At Old Seward Highway & Huffman Road |  | Lump Sum |
|  | 660(7B) | Temporary Signal System Complete at Old Seward Highway & Klatt Road |  | Lump Sum |
|  | 660(7C) | Temporary Signal System Complete at Old Seward Highway & O’Malley Centre Drive |  | Lump Sum |
|  | 660(7D) | Temporary Signal System Complete at Old Seward Highway & O’Malley Road |  | Lump Sum |
|  | 660(14) | Electrolier Removal |  | Each |
|  | 660(17A) | Traffic Signal Modifications at Old Seward Highway & O’Malley Centre Drive |  | Lump Sum |
|  | 660(17B) | Traffic Signal Modifications at Old Seward Highway & O’Malley Road |  | Lump Sum |
|  | 660(18) | Adjust Junction Box |  | Each |
|  | 660(25) | Controller Cabinet Preparation |  | Contingent Sum |
|  | 660(34A) | Salvage Signal System Complete at Huffman Road |  | Lump Sum |
|  | 660(34B) | Salvage Signal System Complete at Klatt Road |  | Lump Sum |

SECTION 661

ELECTRICAL LOAD CENTERS

Special Provisions

661-1.01 DESCRIPTION.  Add the following to the first paragraph: This work shall also include removing existing load centers, and all additional work and materials as noted or detailed on the Plans.

661-3.01  CONSTRUCTION REQUIREMENTS.  Add the following:

When disconnecting and removing existing load centers, the Contractor shall take all necessary safety precautions as detailed in subsection 660-3.01.2 Safety Precautions.

661-4.01 METHOD OF MEASUREMENT.  Add the following:

Item 661(7), Remove Existing Load Center By each unit; removed and disposed or salvaged as directed.

Add the following pay item:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 661(7) | Remove Existing Load Center | Each |

- Add the following Section:

## SECTION 662

### SIGNAL INTERCONNECT

# Special Provisions

662-1.01 DESCRIPTION.  This item consists of the work required to furnish and install signal interconnect in conduit between the controller assemblies shown on the Plans along the route indicated or on a route as directed by the Engineer.

662-1.02 REGULATIONS AND CODE.  Complete the work according to these Specifications and Section 660, Signals and Lighting.  The Department requires third party certification for high density polyethylene conduit.  Equal to or exceeding UL 651 B and NEMA TC-7.

662-2.01 MATERIALS.  Submit the materials for review and approval according to the requirements of item 1. Equipment List and Drawings. of subsection 660-2.01, Materials.

Furnish a 25 pair #19 telephone cable conforming to REA Specification PE-39 for the interconnect cable.  Install the interconnect cable in a 2 inch polyethylene conduit.

Encapsulate completed splices in waterproof reenterable type splice kits of the same type used for loop lead-in cable splices.  REA Bulletin 344-2 entitled "Lists of Materials Acceptable for use on Telephone Systems of REA Borrowers" provides a list of acceptable splice materials.

662-2.02 RIGID METAL CONDUIT DUCT SYSTEM.  Use rigid metal conduits (RMC) and fittings for the interconnect duct system.  Install conduits of the sizes specified along the routes detailed on the Plans.  When routing is not shown, route conduits as directed by the Engineer.

- Keep junction boxes and ends of conduit covered unless pulling conductors.

Mark underground conduits with a continuous strip of polyethylene marker taped.  Furnish marker tape with a black legend on a red background that is 4 mil thick and 6 inches wide.  Install the tape 6 inches below finished grade.

Use care during compaction operations to prevent damage to the junction boxes and conduits.  Remove and replace items damaged during the backfill and compaction operations at no additional cost to the Department.

After testing and installing the conductors, plug conduit openings with duct seal to prevent water from entering the duct system.

662-2.03 JUNCTION BOX.  Furnish precast, reinforced concrete junction boxes conforming to the sizes and details shown on the Plans.  Install junction box lids made of cast iron.

662-3.01 CONSTRUCTION REQUIREMENTS.  The signal interconnect consists of cable, conduit, junction boxes, other necessary hardware required to complete the item, cable splicing, and the termination of conductors on terminal blocks.

Install junction boxes at all abrupt changes in conduit alignment and on 300 foot maximum centers.  Angle points and curves with delta angles greater than 45 degrees constitute an abrupt change.  Install Type 1A junction boxes, except when splicing interconnect cables together.  Complete the interconnect cable splices in Type II or III junction boxes.  Complete the splices in accordance with Rural Electrification Administration (REA) Specification PC-2 for splicing telephone cables.  The Contractor shall determine the locations for making signal interconnect splices.  The Engineer, however, will not allow splices to be made at low points in the terrain or the bottom of sag vertical curves.  Keep splices in the interconnect cable to an absolute minimum and get the splice locations approved by the Engineer beforehand.

- Furnish the controller cabinets with terminal blocks for the interconnect cable.

662-3.02 EXCAVATING AND BACKFILLING.  Backfill the excavations according to Section 204.

Install conduit in accordance with subsection 660-3.03, Conduit.  Install junction boxes in accordance with subsection 660-3.04 Junction Boxes.

662-4.01 METHOD OF MEASUREMENT.  The Engineer will measure signal interconnect by the linear foot from the center of junction box to center of the next junction box, following the slopes of the existing ground.

662-5.01 BASIS OF PAYMENT.  The Contract unit price paid per linear foot for signal interconnect constitutes full compensation for furnishing work required to complete the work specified.  Terminal blocks for the interconnect cable shall be paid under Item 660(1) Traffic Signal System Complete.

Payment will be made under:

Pay Item No.	Pay Item	Pay Unit

662(1) 	Signal Interconnect	Linear Foot

(06/21/06)R67USC02 MODIFIED

## SECTION 670

TRAFFIC MARKINGS

## Special Provisions

670-1.01 DESCRIPTION.  Delete this subsection in its entirety and substitute the following:  This work consists of furnishing, preparing and placing pavement markings at the locations shown on the Plans or as directed.  Meet these Specifications and the applicable portions of the Alaska Traffic Manual.

670-3.01 CONSTRUCTION REQUIREMENTS.  Delete all paragraphs under item 4. Methyl Methacrylate Pavement Markings. and substitute the following:

a.	General.  15 days before starting work meet with the Engineer for a prestriping meeting.  At this meeting, do the following:

1.	Furnish a striping schedule showing areas and timing of work, placing materials and the Traffic Control Plans to be used.

2.	Discuss placement of materials, potential problems.

3.	Discuss work plan at off ramps, on ramps and intersections.

4.	Discuss material handling procedures.

5.	Provide copies of the manufacturer’s installation instructions and copies of the Material Safety Data Sheets.

b.	Manufacturer’s Representative.  Provide the services of a manufacturer’s representative (the “Manufacturer’s Representative”).  Ensure the Manufacturer’s Representative observes the application of the pavement marking materials.  Cooperate with the Manufacturer’s Representative and the Engineer to ensure that the materials are placed according to these Specifications and the manufacturer’s recommended procedures.

c.	Manufacturer Certified Installers.  Install methyl methacrylate pavement markings using only striping installers certified by the marking materials manufacturer for the specific striping material and method.  Submit these certifications to the Engineer at the Preconstruction Conference.

d.	Preparation.  Prepare the roadway surface to receive methyl methacrylate according to these Specifications and the manufacturer’s recommendations.  Clean and dry the roadway surface.  Completely remove contaminants such as dirt, loose asphalt, curing agents, surface oils, or existing road marking materials before applying pavement marking material.

e.	Application.  Apply methyl methacrylate marking material according to these Specifications and the manufacturer’s recommendations.  Use equipment designed and capable of properly mixing at the point and time of application and approved by the manufacturer for the type of product being installed.  Unless specified otherwise marking shall be surface applied as defined below:

For longitudinal markings use truck mounted automatic extrusion equipment capable of installing a double centerline and a single shoulder line in a single pass.  Use automatic bead applicators that place a uniform layer of beads on the lines.  Hand units will not be allowed.

For Transverse markings legends, symbols, and transverse markings use manual or automatic application equipment.  Stencils or extruders are required to form sharply defined markings

For inlaid applications use grooving equipment that produces a dry cut.  Use vacuum shrouded equipment or other equally effective containment procedures.  Install markings in the same work shift as the grooving operation.

(1)	Longitudinal Markings Surface Applied.  Apply markings for lane lines, edge lines, and centerlines to yield a minimum thickness of 90 mils as measured from the surface of the pavement.

(2)	Longitudinal Extruded Markings Inlaid.  Apply markings for lane lines, edge lines, and centerlines to yield a thickness of 250 mils as measured from the surface of the pavement.    Groove the area for the inlaid markings to a depth of 250 mils.

(3)	Transverse and Symbol Markings Inlaid.  Apply markings for onlys, arrows, stop bars, gore stripes, railroad symbols, and cross walks to yield a thickness of 250 mils as measured from the surface of the pavement.    Groove the area for inlaid marking to a depth of 250 mils.

(4)	Traverse and Symbol Markings Surface Applied.  Apply markings for onlys, arrows, stop bars, gore stripes, and cross walks to yield a thickness of 120 mils as measured from the surface of the pavement.

f.	Disposal of Waste.  Waste material becomes the Contractor’s property.  This includes grindings and removed marking material.  Do not dispose of or store stripe removal wastes material or asphalt grindings on State property.  Dispose of waste material according to applicable Federal, State, and local regulations.

g.	Sampling.   On the form provided by the Engineer, record the following readings, and the locations where they were taken using project stationing, and submit them to the Engineer within 24 hours for evaluation.  Thickness of material and depth of slot are measured from the surface of the pavement.

(1)	For inlay applications, record the depth of the slot every 300 feet during the grinding operation.

(2)	For other longitudinal applications, measure the thickness of the lines (above the pavement surface), at the time of application, every 300 feet.

(3)	For surface applied transverse markings measure the thickness in three locations for each marking.

(4)	Inspect the markings initially, and again two weeks after placement, to ensure the material has cured properly.  Remove soft spots or abnormally darkened areas and replace with material meeting specifications.

(5)	Measure the retroreflecivity of each transverse marking at three locations, and of each line at intervals not to exceed 1,500 feet.  Take these measurements using a Delta LTL2000 Retrometer, a 100 foot retro-reflectometer, or approved similar device.  Perform testing within 72 hours of curing.

The Engineer may elect to use the Contractors readings or perform additional sampling.

670-3.04 PAVEMENT MARKING REMOVAL.  Add the following:  Coordinate removal work with construction activity.  Remove pavement markings the same day permanent markings are applied, unless otherwise directed.  Use vacuum shrouded equipment or other equally effective containment procedures.

Add the following subsection:

670-3.07 TOLERANCES FOR METHYL METHACRYLATE PAVEMENT MARKINGS.

1.	Length of Stripe.  ± 2 inches.

2.	Width of Stripe.  ± 1/8 inch.

3.	Lane Width. ± 4 inches from the width shown in the Plans.

4.	Stripes on Tangent.  Do not vary more than 1 inch laterally within a distance of 100 feet when using the edge of the stripe as a reference.

5.	Stripes on Curves.  Uniform in alignment with no apparent deviations from the true curvature.

6.	All Stripes.  Keep the center of the stripe within 4 inches from the planed alignment.

7.	Double Stripes.  ± ¼ inches

8.	Thickness of surface applied.  Minimum specified to a maximum of + 30 mils.

9.	Depth of Inlay Slot.  Minimum 250 mils to a maximum of 290 mils.

10.	Thickness of Inlaid Marking Material.  Fill inlay area completely from the bottom of the inlay to the surface of the pavement.

If it is determined that the material is being placed too thin, or otherwise not to specification, make immediate adjustments to correct the problem.

Methyl methacrylate pavement markings applied by any method will be unacceptable if:

1.	The marking is not straight or wide enough.

2.	The thickness of the line is not uniform or less than specified.

3.	The top of the line is not smooth and uniform.

4.	The material is uncured.

5.	The material blackens or is inconsistent in color.

6.	The inlay slot is not ground to the specified depth.

7.	The inlay slot is not filled to the specified depth.

8.	The edge of the markings is not clear cut and free from overspray.

9.	The reflective elements are not properly embedded.

10.	The markings exhibit poor adhesion.

11.	The retro-reflectivity of the markings is less than specified.

12.	The color is not as specified.

Perform repairs using equipment similar to the equipment initially used to place the materials.  Do not perform repairs in a “patch work” manner.  If more than one repair is required in a single 300 foot section, grind and repair the entire section.

670-4.01 METHOD OF MEASUREMENT.  Add the following:  Thickness will be measured from the top of the marking to the top of the pavement surface.  Marking material placed in a depression left by pavement line removal will not be included in measuring the thickness of the line.

Delete Items 2 and 3 and replace with the following:

2. 	Square Foot Basis.  Transverse pavement marking lines, stop bars, cross walks and gore stripes will be measured by nominal width times actual length.  This does not include 24” wide lines required for Railroad Markings.

3.	Each. Symbol pavement markings only’s and arrow’s will be measured on a unit basis with each separate word or symbol constituting a unit.  Railroad Markings will be measured by the complete unit shown for each lane of travel.

- Foot Basis. Longitudinal Pavement Markings, surface applied or inlaid, will be measured by the linear foot of 4 inch wide line.  Wider striping will be measured in multiples of 4 inches.

670-5.01 BASIS OF PAYMENT.  Add the following:  There will be no separate or additional payment for the following:

	Over-runs of material caused by the variation of the gradation of the asphalt.

	Additional material required to achieve the thickness specified an open graded pavement.

Milling for installation of the inlaid markings is subsidiary to 670 items.  Payment includes costs associated with this item, including the removal of millings.

Traffic control required for the installation of the permanent and temporary markings is subsidiary to 670 items.

Temporary traffic markings required for all phases of the construction of the roadway is subsidiary to 670 items.

Payment for item 670(13) Painted Parking Lot Markings, will include all work and materials necessary for satisfactory marking all parking lots shown in the plans and as directed.

Payment will be made under:

| Pay Item No. | Pay Item | Pay Unit |
| --- | --- | --- |
| 670(13) | Painted Parking Lot Markings | Linear Foot |

(03/18/08)R246

SECTION 703

AGGREGATES

# Special Provisions

703-2.03 AGGREGATE FOR BASE. Delete Table 703-2 and substitute the following:

###### TABLE 703-2

AGGREGATE FOR UNTREATED BASE

Percent Passing By Weight

| Sieve Designation | Grading C-1 | Grading D-1 | Grading E-1 |
| --- | --- | --- | --- |
| 1 ½ inch | 100 |  |  |
| 1 inch | 70-100 | 100 | 100 |
| ¾ inch | 60-90 | 70-100 | 70-100 |
| 3/8 inch | 45-75 | 50-79 | 50-85 |
| No. 4 | 30-60 | 35-58 | 35-65 |
| No. 8 | 22-52 | 20-47 | 23-50 |
| No. 30 | 10-33 | 10-26 | 13-31 |
| No. 50 | 6-23 | 6-19 | 10-26 |
| No. 200 | 0-6 | 0-6 | 8-15 |

## (01/02/08)R199usc04

Replace subsection 703-2.04 with the following:

703-2.04 AGGREGATE FOR ASPHALT CONCRETE PAVEMENT.

Coarse Aggregate (retained on the No. 4 sieve). Crushed stone or crushed gravel consisting of sound, tough, durable rock of uniform quality.  Remove natural fines passing a #4 sieve before crushing aggregates for Type V or VH asphalt concrete mixtures.  Free from clay balls, organic matter, and other deleterious material.  Not coated with dirt or other finely divided mineral matter.  Meet the following requirements (note A or B indicate class of mix, see Table 401-1), the Engineer may modify the fracture requirements if the hard aggregate sources stated in 106-1.02 do not meet specifications:

|  |  | Type IIA, IV | Type I, IIB, III | Type V | Type VH |
| --- | --- | --- | --- | --- | --- |
| LA Wear, % max | AASHTO T 96 | 45 | 45 | 45 | 45 |
| Degradation Value, min | ATM 313 | 30 | 30 | 30 | 30 |
| Sodium Sulfate Loss % max (5 cycles) | AASHTO T 104 | 9 | 9 | 9 | 9 |
| Fracture, min % | WAQTC FOP for AASHTO TP61 | 90, 2 face | 80, 1 face | 98, 2 face | 98, 2 face |
| Thin-Elongated Pieces, max % 1:5 1:3 | ATM 306 | 8 20 | 8 - | 3 8 | 3 8 |
| Nordic Abrasion, max.% | ATM 312 |  |  | 12 | 8 |
| Absorption, max. % | AASHTO T85 | 2.0 | 2.0 | 2.0 | 2.0 |

TABLE 703-3

BROAD BAND GRADATIONS FOR ASPHALT CONCRETE PAVEMENT AGGREGATE

Percent Passing by Weight

| SIEVE | GRADATION |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Type I | Type II | Type III | Type IV | Type V, VH |
| 1 inch | 100 |  |  |  |  |
| ¾ inch | 80-90 | 100 |  |  | 100 |
| ½ inch | 60-84 | 75-90 | 100 | 100 | 65-80 |
| 3/8 inch | 48-78 | 60-84 | 80-90 | 80-95 | 48-60 |
| No. 4 | 28-63 | 33-70 | 44-81 | 55-70 | 30-45 |
| No. 8 | 14-55 | 19-56 | 26-70 | 35-50 | 20-30 |
| No. 16 | 9-44 | 10-44 | 16-59 | 20-40 | < 22 |
| No. 30 | 6-34 | 7-34 | 9-49 | 15-30 | < 17 |
| No. 50 | 5-24 | 5-24 | 6-36 | 10-24 | < 14 |
| No. 100 | 4-16 | 4-16 | 4-22 | 5-15 | < 12 |
| No. 200 | 3-8 | 3-8 | 3-8 | 3-8 | 3-8 |

Fine Aggregate (passing the #4 sieve). Meet the quality requirements of AASHTO M 29, including S1.1, Sulfate Soundness.

For Type IV, V and VH mixes, remove natural fines passing a #4 sieve before crushing aggregates for this asphalt concrete mixture.  Consist entirely of aggregate produced from aggregate crushing process and be non-plastic as determined by WAQTC FOP for AASHTO T 90, and meets the following:

Property	Test Method	Requirement

Fine Aggregate Angularity	AASHTO T 304			45% min.

(01/02/08)R199usc04

SECTION 712

MISCELLANEOUS

Standard Modification

712-2.06 FRAMES, GRATES, COVERS, AND LADDER RUNGS.  In Gray iron castings, delete text and replace with:  AASHTO M 306 and AASHTO M 105, Class 35B.

###### E46(01/27/07)

###### Special Provisions

712-2.17 METHYL METHACRYLATE PAVEMENT MARKINGS.  Delete the first and second paragraphs under item 1. Quality Requirements: and substitute with the following:  Use a marking material formulated for the application type specified.  Use a marking material manufactured from new materials and free from dirt and other foreign material.  Use a methyl methacrylate based resin system for part “A”.  Use benzoyl peroxide system for part “B”.

Extruded application:  Material formulated for extruded application with factory intermix beads and anti skid aggregate, and additional surface applied beads.

2.	Performance Properties:  Add the following:

l.	Color:	Yellow, PR-1 chart, 33538 Federal Yellow.  White, minimum daylight reflectance of 84.

712-2.18 GLASS BEADS FOR METHYL METHACRYLATE PAVEMENT MARKINGS.  Delete the bead table and substitute the following:  Use the type and amount of beads specified in writing by the marking material manufacturer necessary to meet the performance requirements, such as Swarco,  Swarcolux beads.

SECTION 719

STEEL, GRAY-IRON AND MALLEABLE-IRON CASTINGS

Standard Modification

719-2.02 GENERAL REQUIREMENTS.  In Gray-Iron Castings, delete text and replace with: AASHTO M 306 and AASHTO M 105, Class 35B.

## E47(01/27/07)

## SECTION 724

# SEED

# Special Provisions

724-2-02. MATERIALS.  Delete Table 724-1 and substitute with the following:

TABLE 724-1

Seed Requirements

| Species | Sproutable Seed*, %, Min. |
| --- | --- |
| Arctared Red Fescue | 78 |
| Egan American Sloughgrass | 67 |
| Norcoast Bering Hairgrass | 71 |
| Nortran Tufted Hairgrass | 71 |
| Wainwright Slender Wheatgrass | 88 |
| Alyeska Polargrass | 71 |
| Bluejoint | 71 |
| Tilesy Sagebrush | 71 |
| Tundra Glaucous Bluegrass | 76 |
| Gruening Alpine Bluegrass | 72 |
| Nugget Kentucky Bluegrass | 76 |
| Beach Wildrye | 70 |
| Annual Ryegrass | 76 |
| Perennial Ryegrass | 76 |

* Sproutable Seed is the mathematical product of Germination and Purity.

(01/27/07)R52USC

Delete this Section, except for Table 726-1 and substitute the following:

SECTION 726

TOPSOIL

Special Provisions

726-2.01 TOPSOIL.  Furnish topsoil that is representative of the existing, natural organic blanket of the project area.  Perform a quality test, as defined by ATM 203, on the soil to determine the organic content of the soil.  Supply the results to the Engineer.

Soil with an organic content of 5 percent or more may be reused and spread on the finished slopes where topsoil is noted on the plans.  Remove roots, stumps, unnatural material, and rocks greater than 3 inch in diameter from the organic material before it is graded onto the finished slope.

Soil with an organic content of less than 5 percent cannot be used as topsoil for the project.  In this case, furnish topsoil consisting of a natural friable surface soil without admixtures of undesirable subsoil, refuse, or foreign materials having an organic content of 5 percent or more, as determined by ATM 203.  The material shall be reasonably free from roots, clods, hard clay, rocks greater than 3 inches in diameter, noxious weeds, tall grass, brush, sticks, stubble or other litter, and shall be free draining and nontoxic.  Notify the Engineer of the location topsoil is to be furnished at least 30 calendar days before delivery of topsoil to the project from that location.  The Engineer will inspect the topsoil and its sources before approval will be granted for its use. (11/27/07)R208USC

SECTION 727

SOIL STABILIZATION MATERIAL

727-2.01 MULCH.  Add the following:

### 3. Mulch. Mulch for planting beds and basins shall consist of shredded bark and wood.  Maximum length of any individual component shall be 2-inches and a minimum of 75% of the mulch shall pass through a 1-inch screen.  Mulch shall be free of growth or germination-inhibiting ingredients.  The bark mulch shall have the characteristics of retaining moisture, forming a mat not susceptible to spreading by wind or rain, and providing a good growth medium for plants.  Shredded bark may contain up to 50% shredded wood material.  Wood chips are not acceptable.  Bark mulch containing shredded wood shall be aged for one-year minimum prior to installation.

SECTION 730

SIGN MATERIALS

# Special Provisions

730-2.04 SIGN POSTS.  Add the following item:

7.	Structural Tubing and W-Shape Beams.

a.	Structural tubing shall conform to either ASTM A500, grade B, or ASTM A501. The tubing shall be square and of the dimensions called for in the Plans with 0.2 inch thick walls.  0.4 inch diameter holes shall be drilled as required to permit mounting of the sign.

b.	W-shape beams shall conform to ASTM A36.

c.		Structural tubing and W shape beams shall be hot dip galvanized according to 1.b. of this subsection.  Damaged and abraded tubes and beams shall be repaired according to 1.c. of this subsection.

(06/22/04)R81USC04

## SECTION 740

### SIGNALS AND LIGHTING MATERIALS

Special Provisions

Replace subsection 740-2.02 with the following:

740-2.02 SIGNAL AND LIGHTING POLES.

1.	Design.  Design and fabricate highway lighting and traffic signal structures with pole shaft lengths to 65 feet long to conform to the 1994 Edition of AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals with interim revisions.  For the design and fabrication of high tower poles, see subsection 740-2.04.

A registered professional engineer shall design the structures and provide stamped shop drawings and calculations.  Submit the stamped drawings and calculations for each pole to the Engineer for approval.  Design for stresses on the completed structure with hardware in place.

a.	In the stamped calculations, indicate the edition of Standard Specifications to which the poles are being designed and provide the input data used to design each pole and mast arm, including:  design wind speed, cross section shape, yield strengths of the component materials, dimensions of the pole components, and a summary of the loads used.

b.	On the stamped shop drawings, provide design wind speed and the details for building the poles and mast arms, including:  materials specifications, slip fit joint dimensions, pole component dimensions, welds that will be made, and the welding inspection that will be done.

Submit the mill certifications for the steel items (piles, plates, bolts, and other related items) to the Engineer for approval.

Design poles for 100 mph winds with a 1.3 gust factor.

Design each electrolier to support a sign with an area of 16 square feet with its centroid located 14 feet above the base of the pole.

2.	Fabrication.  Fabricate signal and lighting structures from tapered steel tubes with a round or 16 sided cross section.  Orient hand holes located near the base of poles to face downstream of traffic flow.

Provide traffic signal poles, lighting poles, and signal mast arms in lengths evenly divisible by 5 feet.

Furnish poles and mast arms up to 40 feet long in one piece.  Poles and mast arms longer than 40 feet may be furnished in one piece or in two segments with a slip type field splice.  For slip type joints, provide a minimum overlap of two feet or 1.5 times the inside diameter of the female section whichever is larger.  In mast arms, locate these splices at least one foot away from the Plan location of signal heads and signs.  In signal poles, locate the edge of the female section at least 6 inches above the top of the signal mast arm connection.

Fabricate tubes with walls up to ½ inch thick from the prequalified base metals listed in AWS D1.  Fabricate elements greater than ½ inch thick from steel that conforms to ASTM A 709 and meets the Fracture Critical Impact Test requirements for zone 3.  The Department will not accept structures that contain or are made with laminated steel elements.

Fabricate each tube from no more than 2 pieces of steel.  When using 2 pieces, place the longitudinal welded seams directly opposite one another.  Place the welded seams on adjacent sections to form continuous straight seams from the base to the top of the pole.

When tenons are needed to install traffic signals and luminaires, make them from two inch nominal schedule 40 pipe that conforms to ASTM A 53 Grade B.

Fabricate 10 feet long signal posts from 11 US Standard Gage sheet steel.  Fabricate each post with a minimum inside diameter of five inches at the base plate.  Use a 3½-inch long piece of four inch nominal schedule 40 pipe that conforms to ASTM A 53 Grade B as a post-top adapter.

The Department does not allow holes made for lifting purposes in the ends of tubular segments, except in the free ends of luminaire mast arms.  To add lift points, weld them to the tube opposite the longitudinal seam weld on the outside of female segments and on the inside of male segments.  Before shipment, remove lift points added to the outside of the tubes, grind the area smooth with the base metal, and hot stick repair the finish according to subsection 660-3.01.8.a.  Lift points added to the inside of tubes in place may be left in place.

Hot dip galvanize lighting and signal structures to meet AASHTO M 111 and these specifications.  Completely submerge pole and mast arm segments in one dip in a kettle of concentrated zinc ammonium chloride flux solution heated to 130 oF, then completely submerge in one dip in a separate kettle of prime western grade zinc heated to approximately 825 oF. Galvanize bolts and fasteners to meet AASHTO M 232.

After the poles and mast arms are galvanized, remove all excess zinc from all drip lines and points and the surfaces of all tube ends that form slip type joints to provide a smooth finish.

The Department will reject poles and mast arms that are:

a.	Not fabricated according to these specifications or the approved shop drawings,

b.	Bowed with sweeps exceeding ¾ inch throughout the length of the pole, mast arm, or segment, if furnishing a 2 piece pole or mast arm,

c.	Out of round.  Sections are out of round when the diameters of round members or the dimension across the flats of multisided members exceed 2 percent of the dimension specified on the shop drawings.

Fabricate pile cap adapters from grade X42 steel line pipe that conforms to API 5L and from steel plate that conforms to ASTM A 709 Grade 50. Attach the anchor plate to the pile section with a complete joint penetration (CJP) weld. Fabricate the anchor plate to match the base plate of the lighting standard.

3.	Welding.  Perform welding to conform to subsection 504-3.01 8. Welding and the following:

a.	Make welds continuous.  Grind exposed welds flush with the base metal at slip joints, the length of the slip fit joint plus on half diameter of the female section.

b.	Use partial joint penetration (PJP) welds in longitudinal seams.  PJP welds must provide at least 60% penetration.

c.	Use CJP groove welds to connect base plates to tubes with walls 5/16 inch thick and thicker.  When CJP groove welds are used, the designer may use additional fillet welds when deemed necessary.

d.	Use socket type joints with two fillet welds to connect base plates to tubes with walls less than 5/16 of an inch thick.

e.	On steels 5/16 of an inch thick and thicker, inspect 100 Percent of CJP welds by either radiography (RT) or ultrasound (UT).

f.	Inspect a random 25 percent of PJP and fillet welds by magnetic particle (MT).  If a defect is found, inspect 100% of the PJP and fillet welds made to fill the order.  In steels less than 1/8 inch thick, complete the tests according to AWS D1.3.

g.	Only visually inspect welds made on luminaire mast arms.

4.	Miscellaneous.  Finish the edges of poles and mast arms to conform to the following requirements.  Before hot dip galvanizing, neatly round the following features to the radius specified

a.	On holes through which electrical conductors pass, provide a 1/16 inch radius on both the entrance and exit edges,

b.	On pole base plates, provide a 1/8 inch radius on edges along which plate thickness is measured and a smooth finish on all other exposed edges,

c.	On the ends of tubes that form slip type joints, complete the following tasks on the two surfaces that contact one another.  First, provide 1/16 inch radii on the inside and outside edges of the female and male segments, respectively.  Then for the length of the joint plus 6 inches grind down welds until they feature a radius concentric with the mating surface and remove material protruding from the two surfaces, and

d.		Grind exposed welds flush with the base metal, except fillet welds and seam welds on top of mast arms.  Grinding seam welds on multisided poles is not required, except in slip type joints.

Provide caps to cover the free ends of poles and mast arms.

Identify critical information for poles and arms with visible permanent aluminum tags that contain the information shown in Table 740-1.  The measurements shown are for illustration purposes only.  Use tags large enough to include required information using ¼ inch high text, 3/8 inch of space between successive lines of text, and at least 3/8 inch of space between the edges of the tag and the text.  Secure the tags with two 1/8 inch blind rivets at the base of poles and the under side of mast arms.  If furnishing a two piece signal mast arm with slip type joint, mark both pieces with the same message.

| TABLE 740-1 |  |  |
| --- | --- | --- |
| POLE MARKINGS |  |  |
| Note: Italic type indicates additional Tag Markings if poles have 2 luminaire or 2 signal mast arms. |  |  |
|  | MEASUREMENTS | TAG MARKINGS |
| Signal Poles |  |  |
| a) Signal mast arm length | 45 ft./55 ft. | SMA 45/SMA 55 |
| b) Luminaire mast arm length | 22 ft./18 ft. | LMA 22/LMA 18 |
| c) Pole height | 36 ft. | PH 36 |
| d) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| e) Sum of signal mast arm moments about centerline of signal pole |  | SM 4000/SM 3200 |
| f) Design wind speed | 100 mph | DWS 100 |
| Light Poles |  |  |
| a) Luminaire mast arm length | 15 ft./15 ft. | LMA 15/LMA 15 |
| b) Pole height | 37 ft. | PH 37 |
| Signal Mast Arm |  |  |
| a) Mast arm length | 40 ft. | SMA 40 |
| b) Intersection number (if more than one) -pole number |  | 1 - P 4 |
| c) Sum of signal mast arm moments about centerline of signal pole |  | SM 3740 |
| d) Design wind speed | 100 mph | DWS 100 |
| Luminaire Mast Arm |  |  |
| a) Mast arm length | 18 ft. | LMA 18 |
| b) Pole number (if unique arm design) |  | P 4 |

Replace subsection 740-2.04 with the following:

740-2.04 HIGH TOWER POLES.

1.	Design.  Design and fabricate high tower lighting poles to conform to the 2001 Edition of AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals with interim revisions.

A registered professional engineer shall design the structures and provide stamped shop drawings and calculations.  Submit the stamped drawings and calculations for each pole to the Engineer for approval.  Design for stresses on the completed structure with hardware in place.

a.	In the stamped calculations, indicate the edition of Standard Specifications to which the poles are being designed and provide the input data used to design each pole, including:  design wind speed, cross section shape, yield strengths of the component materials, dimensions of the pole components, and a summary of the loads used.

b.	On the stamped shop drawings, provide the criteria to which the poles are designed and the details for building the poles, including:  materials specifications, slip fit joint dimensions, dimensions of the tube segments and other components, the total weight of each segment, the welds that will be made, and the welding inspection that will be done.

The pole manufacturer shall submit a pole installation plan that details the work required to assemble each pole, the locations of timber supports during and after pole assembly.  Submit this plan with the stamped plans and calculations.

Submit the mill certifications for steel items (piles, plates, bolts, and other related items) to the Engineer for approval.

Design high tower poles for a 50 year design life and the basic wind speed shown in the 2001 AASHTO Standard Specifications for Structural Supports or for 100 mph, whichever is greater.  Use a gust effect factor of 1.14.

For fatigue design, use fatigue category I importance factors for lighting poles, and design poles that taper less than 0.14 inches of diameter per foot to resist the effects of vortex shedding.

Furnish poles fabricated from tapered steel tubes with a round, 16 sided, or 12 sided cross section.  Use no more than four tapered tube segments with slip type field splices to form each pole.  For the slip type joints, provide a minimum overlap of 24 inches or 1.5 times the inside diameter of the female section whichever is larger.

Furnish poles that allow the luminaire ring to descend within five feet of the base plate.

Design poles to support a load that consists of the lowering device and ten luminaires equipped with light shields.  Use the following values for these components.

Component	Effective Projected Area	Weight

One lowering device	8.6 ft2	309 lbs

Ten luminaires	21.5 ft2	617 lbs

Ten light shields	30.0 ft2	22 lbs

2.	Fabrication.  Provide a reinforced rectangular hand hole that provides an opening large enough to install the winch assembly.

Provide a detachable door over the hand hole frame including hinges, nuts to fasten the door to the frame, and a neoprene gasket to provide a watertight seal around the frame. Provide for a locking mechanism for the hand hole door.

Fabricate the reinforced rectangular hand hole to provide maintenance access to the integral luminaire lowering device with a minimum clearance of 12 inches and a maximum clearance of 18 inches between the top of the base plate and the bottom of the hand hole opening.

Fabricate the base plate to match the bolt circle diameter and the quantity and size of anchor bolts of the foundation detailed on the Plans. The anchor bolts conform to ASTM F 1554, Grade 55 with Supplemental Impact Test Requirements of Section S4. The distance from bottom of the leveling nut to the top of the concrete of the anchor bolts will not exceed one inch.

Install a hook to the left of the hand hole for storing the winch control cable away from the top of the foundation.  Provide a 1 inch wide hook that features rounded edges, a 1½ inch radius, and 3 inches between the low point and free end of the hook.

Fabricate tubes with walls up to ½ inch thick from the prequalified base metals listed in AWS D1.1.  Fabricate elements greater than ½ inch thick from steel that conforms to ASTM A 709 and meets the Fracture Critical Impact Test requirements for zone 3.

Fabricate each tube from no more than 2 pieces of steel.  When using 2 pieces, place the longitudinal welded seams directly opposite one another.  Place the welded seams on adjacent segments to form continuous straight seams from the base to the top of the pole.  The Department will not accept poles and mast arms made with laminated steel elements.

The Department does not allow holes made for lifting purposes in the ends of tubular segments.  To add lift points, weld them at least 12 inches away from welds on the outside of female segments and on the inside of male segments.  Before shipment, remove added lift points, grind the area smooth with the base metal, and hot stick repair the finish according to subsection 660-3.01.8.a.

Provide the mounting brackets needed to install the luminaire ring lowering device, including the winch assembly, associated hardware, and the masthead assembly.

Around the top of each pole, provide a stabilizer system that prevents the luminaire ring from swinging freely when the top of the ring is within 24 inches of being fully docked in the masthead fitting.  The stabilizer system shall consist of at least three crooked F shaped brackets located symmetrically around each pole.  The brackets shall form a tapered bottom section and a parallel top section that restricts ring movement.  Bolt each bracket to two channels welded to the pole shaft.  With the Eagle lowering device, locate the brackets between the wheels that line the luminaire ring.  Design and fabricate the brackets from stainless steel tubing to withstand the load and wind speed used to design the poles.  The installed brackets shall just fit through a circle two inches smaller in diameter than the inside diameter of the luminaire ring.

3.	Welding.  Perform welding to conform to subsection 504-3.01 8.  Welding and the following:

a.	Make welds continuous.  Grind exposed welds flush with the base metal at slip joints, the length of the slip fit joint plus on half diameter of the female section.

b.	Use CJP groove welds on longitudinal seams within six inches of CJP circumferential welds.

c.	In the ends of those segments that form a slip type joint, provide CJP longitudinal seam welds at least 12 inches longer than the length of the slip joint plus one half times the diameter of the female section.

d.	Use CJP groove welds to connect base plates to tubes.  When CJP groove welds are used, the designer may use additional fillet welds when deemed necessary.

e.	Use socket type joints with two fillet welds to connect the pole top plates to tubes with walls less than 5/16 inch thick.

f.	Use partial joint penetration (PJP) welds in longitudinal seams between the segments of CJP welds.  PJP welds must provide at least 60% penetration.

g.	Use PJP and fillet welds to attach hand-hole frames to the tube.

h.	On steels 5/16 inch thick and thicker, inspect 100 Percent of CJP welds by either radiography (RT) or ultrasound (UT).

j.	Inspect a random 25 percent of PJP and fillet welds by magnetic particle (MT). If a defect is found, inspect 100% of the PJP and fillet welds made to fill the order.

Weld tags on the ends of segments that form slip type joints to facilitate field assembly.  Locate the tags to ensure segment alignment when the tags are aligned.  Attach the tags at least 12 inches away from the slip type joint.  Include the shop drawing number to which the poles are fabricated and pole length on the tag.

4.	Miscellaneous.  Finish poles to meet the following requirements.  Before they are galvanized, neatly round the following features to the radius specified

a.	On holes through which electrical conductors pass, provide a 1/16-inch radius on both edges,

b.	On pole base plates, provide a 1/8 inch radius on edges along which plate thickness is measured and a smooth finish on all other exposed edges,

c.	On the ends of tubes that form slip type joints, complete the following tasks on the two surfaces that contact one another.  First, provide 1/16 inch radii on the inside and outside edges of the female and male segments, respectively.  Then for the length of the joint plus six inches do two things: grind down welds until a radius concentric is feature with the mating surface and remove material protruding from the two surfaces, and

5.	Rejection.  The Department will reject poles containing segments that

a.	Are not fabricated according to these specifications and the approved shop drawings,

b.	Are bowed with sweeps exceeding ¾ inch throughout the length of the segment,

c.	Are out of round.  Segments are out of round when the diameters of round members or the dimension across the flats of multisided members exceed 2 percent of the dimension specified on the shop drawings.

d.	Do not provide the minimum overlap of 24 inches or 1.5 times the inside diameter of the female section, whichever is larger, in the slip type field splices when the pole is assembled.

6.	Galvanization.  Hot dip galvanize pole segments and attachments to meet AASHTO M 111 and these specifications.  Completely submerge pole segments in one dip in a kettle of concentrated zinc ammonium chloride flux solution heated to 130 oF, then completely submerge in one dip in a separate kettle of prime western grade zinc heated to approximately 825 oF.  Galvanize bolts and fasteners to meet AASHTO M 232.

After the poles and mast arms are galvanized, remove excess zinc from drip lines and points and the surfaces of tube ends that form slip type joints to provide a smooth finish.

740-2.05 CONDUCTORS.  Replace Table 740-2 with the following:

| TABLE 740-2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| CONDUCTOR TERMINATION TABLE |  |  |  |  |
| CONDUCTORS | CIRCUIT | WIRE COLOR | AWG. | BAND |
| PER CABLE |  |  | NO. | LEGEND |
| 7 | Vehicle Red | Red | 14 | Head No. |
|  | Vehicle Yellow | Orange |  |  |
|  | Vehicle Green | Green |  |  |
|  | Common Neutral | White |  |  |
|  | Spare | White/Black |  |  |
|  | Spare | Black |  |  |
|  | Spare | Blue |  |  |
| 7 | Vehicle Red Arrow | Red | 14 | Head No. |
|  | Vehicle Yellow Arrow | Orange |  |  |
|  | Vehicle Green Arrow | Green |  |  |
|  | Common Neutral | White |  |  |
|  | Spare | White/Black |  |  |
|  | Spare | Black |  |  |
|  | Spare | Blue |  |  |
| 7 | Vehicle Red | Red | 14 | Head No. |
|  | Vehicle Yellow | Orange |  |  |
|  | Vehicle Green | Green |  |  |
|  | Common Neutral | White |  |  |
|  | Spare | White/Black |  |  |
|  | Vehicle Yellow Arrow | Black |  |  |
|  | Vehicle Green Arrow | Blue |  |  |
| 5 | Pedestrian Don’t Walk | Red | 14 | Head No. |
|  | Pedestrian Walk | Green |  |  |
|  | Common Neutral | White |  |  |
|  | Spare | Orange |  |  |
|  | Spare | Black |  |  |
| 5 | Photo Electric Control | Black | 14 | PEC |
|  | Load to Contactor | Red |  |  |
|  | Neutral | White |  |  |
|  | Spare | Orange |  |  |
|  | Spare | Green |  |  |
| 3 | Pedestrian Pushbutton | Black | 14 | Head No. |
|  | Neutral | White |  |  |
|  | Spare | Red |  |  |
| 3 | Flashing Beacon | Black | 14 | Head No. |
|  | Neutral | White |  |  |
|  | Spare | Red |  |  |
| 3 | Preemption Confirmation | Black | 14 | “PRECON” |
|  | Neutral | White |  |  |
|  | Spare | Red |  |  |
| 3 | Highway Luminaire | Black | 8 or 6 | Circuit No. |
|  | Highway Luminaire | Red |  | Circuit No. |
|  | Highway Luminaire Spare | White |  |  |
| 3 | Service to Controller | Black | 6 or 4 | “SIG” |
|  | Neutral | White |  | No Band |
|  | Spare | Red |  | No Band |
| 3 | Sign Luminaire | Black | 8 | SIGN |
|  | Sign Luminaire | Red |  | SIGN |
|  | Sign Spare | White |  |  |

Replace Item 7. with the following:

7.	Detector Loops.  Use No. 14 AWG conductors for detector inductive loops that meet IMSA Specification 51-3, Type RHW/USE, or IMSA Specification 51-5, when called for on the Plans or specified in the Special Provisions.

Replace subsection 740-2.06 with the following:

740-2.06 ELECTRICAL CONDUIT AND FITTINGS.  Unless specified otherwise, use rigid metal conduit and fittings for raceways.  Furnish galvanized rigid type conduit and elbows that conform to UL-6 and are manufactured of mild steel according to ANSI C80.1.  Furnish third party certified fittings designed for rigid metal conduit.

For loop detectors, use Schedule 80 polyvinyl chloride (PVC) conduit that conforms to UL-651.  Use PVC fittings meeting NEMA TC 3.

When polyethylene conduits are specified in the Plans, use a smooth wall, schedule 40, high-density polyethylene (HDPE) pipe that conforms to UL 651 B.

Furnish insulated throat grounding bushings made of malleable iron or steel with a mechanically galvanized or zinc plated finish.  Grounding lugs shall either be an integral part of the bushing or consist of an attached tin plated copper saddle.  Grounding lugs shall feature a stainless steel screw, the centerline of which falls within 20 degrees of conduit centerline.  The bushings furnished shall also feature a stainless steel or brass mounting screw that locks the bushing onto the conduit end.

Furnish conduit outlet bodies and their covers with a hot dip galvanized finish and stainless steel screws.  For loop detectors, furnish type X bodies and, for photoelectric control installation, furnish types C and LB conduit bodies.

When Myers hubs are specified, furnish rain tight, grounding type hubs made of malleable iron with a hot dip or mechanically galvanized finish.

At expansion joints, provide watertight expansion fittings capable of the following movements without damaging the conduits attached to it or the conductors that pass through it.  The movements include:  axial expansion or contraction to ¾ inch, angular misalignments in any direction to 30 degrees, and parallel misalignment of the conduits to ¾ inch.  The fittings shall also include a braided copper bonding jumper equal to an 8 AWG conductor, bushings to prevent scraping the conductors, and a smooth inner sleeve that maintains a constant diameter regardless of conduit alignment.

740-2.11 CONTROLLER CABINET. Add the following to the first paragraph of subpart (1) of subitem c. Cabinet Wiring.  of item 1. Standard Features. :  Furnish controller cabinets wired to accommodate five 4 channel inductive loop detector units and two 2 channel inductive loop detector units.

Replace bullet (e) of subpart (3) Field Terminal Blocks of subitem c. Cabinet Wiring.  of item 1. Standard Features. :  On the right side of controller cabinets, install two 16 position bus bars, for terminating the equipment grounding and neutral conductors used inside the cabinets.  On the left side of the controller cabinets, install two 32 position bus bars, for terminating the equipment grounding and neutral conductors from field wiring.

Replace the first three sentences of subpart (5) Light Fixture. of subitem D. Cabinet Accessories. of item 1. Standard Features. with the following :  Mount a third party certified, incandescent luminaire on the inside of each cabinet near the top edge of the door opening.  Install white porcelain, surface mounted lamp holders that fit medium base lamps and are rated for a minimum 600 watts and 250 volts ac.  Furnish each lamp holder with a 100 watt soft white incandescent lamp.

Delete Item 2 in its entirety and substitute the following:

2.	Special Features. Provide the following special features:

  - Coordination “Remote/Time of Day/Free” Switch.  When the switch is in the “Remote” position, all supervisory functions performed on the controller unit from a master coordinator or central computer must operate normally.

When the switch is in the “Time of Day” position, the local controller must use the local coordinator’s time of day plan.  When the switch is in the “Free” position it must be possible to remove any or all coordination devices and maintain normal, non-coordinated controller operation without wire jumpers, jumper plugs, or other special devices.  Provide this switch if a local coordination or system modem/interface unit is shown on the Plans.

740-2.12  STANDARD AUXILIARY EQUIPMENT.  Under item 3. Conflict Monitors, add the following:

d.  	Supply conflict monitors with an RS-232 serial port that allows the monitor to download information through an external dial up modem or to a personal computer using the Microsoft Windows NT operating system.

740-2.13 SPECIAL AUXILIARY EQUIPMENT.  Add the following items:

- Opticom Priority Control System.  Install the following components of the 3M Company’s Opticom Priority Control System according to 3M’s written installation instructions at the signalized intersections listed on the Plans.

Install the quantity of model 711, 721, and 722 optical detectors on the signal pole mast arms shown on the Plans.  Before installing the detectors, gain approval of their final lateral location from the Engineer.  See the Plans for installation details.

Install Model 138 Optical detector lead in cable between the end of each signal mast arm and the controller cabinet.  Furnish enough slack in these cables for them to extend 2 feet beyond the end of each signal mast arm and to leave 10 feet of slack in the controller cabinet.  Seal both ends of each lead in cable with mastic lined, heat shrink tubing end caps.

Before attaching the conductors to the optical detectors, strip the insulation for the conductors and attach four conductors to ground in the controller cabinet.  Attach the signal cable to the confirmation light.  The Municipality of Anchorage Signal Maintenance Section (MOA Signal Maintenance) will tie down the conductors in the controller cabinet under Item 660(26) Signal Timings and Adjustments.

Furnish each controller cabinet with a Model 754 phase selector, a Model 760 card rack, and an Opticom Panel Assembly, U.S. Traffic Corporation part number 103303.  The panel assembly interfaces the card rack to the controller cabinet.  Furnish new controller assemblies with these parts installed by the controller assembly manufacturer.  To retrofit existing controller assemblies, deliver the parts to MOA Signal Maintenance, who will install the parts under Item 660(26) Signal Timings and Adjustments.

7.	Traffic Logging System.  Furnish, and others will install in the controller cabinet, a stand alone unit that collects, time stamps, and stores data in an unattended manner.  The traffic logging system shall conform to the following:

a.	Operation. The unit shall accept a new operating program, operational parameters, and the date and time stamp from a personal computer, downloaded through an RS-232 cable.  The use of replaceable proms to change the operational program is unacceptable. Data collection shall be automatic and not require an operator to reset or start operation.

In the event of a power interruption, data collection shall automatically restart at the proper time.  Other than, the current sample being collected, the unit shall not lose stored data because of the power interruption.  At power up or at the restoration of power after an outage, the unit shall log the date and time at the start of data collection.

The unit shall maintain the operating program, data storage, and date/time for a minimum of 5 years from when power is removed from the unit.  The internal program/data size shall be a minimum of 32,000 bytes.

b.	Input Interface.  The unit shall have a minimum of 28 inputs.  Furnish new and existing controller cabinet only with a loose Detector Systems TLS-1-C1 interface cable to connect the unit to the output of the loop detector units.  The Municipality of Anchorage’s Signal Maintenance Section will install the interface cable in the controller cabinets under Item 660(26) Signal System Timing and Adjustments.  Do not furnish new controller cabinets with a built in interface panel.

c.	Output Interface. Furnish units with an RS-232 serial port that allows a user to download and upload directly between the unit and a personal computer using the Microsoft Windows NT operating system or the external dial-up multi-port modem.

Provide the following special auxiliary equipment with each controller unit/cabinet:

      - Inductive Loop Detectors.  Provide 5 four channel amplifiers and 2 two channel amplifiers with each controller cabinet

      - System Modem/Interface Unit.  Provide integral modem compatible with the MOA computerized traffic control system.

740-2.14 VEHICULAR SIGNAL HEADS.  Replace the first sentence of Item 1. b. with the following:

Use red, yellow, and green LED signal modules that meet the requirements of Chapter 2a of Equipment and Material Standards of the ITE (Publication ST-0017A), Vehicle Traffic Control Signal Heads (VTCHS2), and the following:

Replace item 4 with the following and add item 5:

4.	Backplates.  Backplates shall not be louvered.  Install backplates around vehicular signal faces except post-mounted flashers.  Furnish backplates constructed of 0.063 inch minimum thickness aluminum alloy sheet meeting ASTM B 209, alloy 3003-H14.  For those backplates fabricated from 2 or more pieces of sheeting, furnish them fastened together with 3/16” aluminum rivets or bolts peened after assembly.

For traffic signals that consist of all 8 inch or all 12 inch signal sections, furnish 5 or 5½ inch wide backplates regardless of where the signals are installed, i.e. on mast arms, on top of posts, or on the sides of poles.

For traffic signals that consist of combinations of vertically stacked 8 and 12 inch signal sections, furnish backplates with nominal borders of 8 inch for the 8 inch sections and 5 inch for 12 inch sections.

Furnish backplates with the back and front faces factory finished with 2 coats of dark olive green enamel and 2 coats of flat black enamel, respectively.

5.	Signal Mounting Hardware:  Furnish elevator plumbizers, elbow pipe fittings, and post top adapters (without a terminal compartment) with integral serrated contacts that feature 72 teeth.

Provide signal heads that will be mounted on mast arms or pipe tenons with ferrous or bronze elevator plumbizers.

For signal faces installed on the sides of poles, furnish signal frames that consist of watertight assemblies of 1½ inch nominal diameter standard steel pipe, malleable iron or brass pipe fittings, and bronze terminal compartments.  The side of the terminal compartment opposite the door shall feature a saddle shape for wobble free mounting on round poles and include a cable guide and two holes for mounting the compartment.

Furnish vehicular signal frames with a horizontal dimension between the center of the terminal compartment and the axis of the adjacent signal face of 22 inches in side mounted frames and 11 inches in post top installations.

Post top adapters shall slip fit over 4 inch nominal standard pipe and feature two rows of three cadmium plated steel setscrews.  Furnish post top adapters with terminal compartments, except one way signal heads may be installed on adapters without a terminal compartment provided the adapters include offset openings.  Provide post top adapters without a terminal compartment made of cast iron.

Furnish terminal compartments with a terminal block containing 12 poles, each with two screw type terminals.  Each terminal must accommodate at least three 14 AWG conductors.  Provide terminal compartments with a rain tight door that provide ready access to the terminal block.

For mounting each terminal compartment, furnish two ½” x 13 hot dip galvanized bolts that conform to ASTM A 325 and two ½” hot dip galvanized washers that conform to ASTM F 436.

740-2.15 PEDESTRIAN SIGNALS.  Replace the first sentence of item 2 with the following:  Portland orange “HAND” and a 2 digit digital number display and the lunar white  “WALKING PERSON.”  Symbols shall be a minimum of 12 inches high and 7 inches wide.  The number display shall be a minimum of 9 inches high and 7 inches wide.

Add the following to the end of item 3:  Furnish LED Message Modules that contain internal circuits that automatically learn the pedestrian clearance interval from the Pedestrian Don’t Walk input and display the time remaining for the pedestrian clearance interval on the LED display.

Replace item 11b with the following: Flashing “HAND” and count down display during the pedestrian clearance interval.

Add the following as item 12:  Furnish pedestrian signals side mounted on poles with a 2 piece, hinge connected, cast aluminum clamshell bracket that mounts directly between the pole and the side of the housing.  The bracket shall fit round poles with outside diameters of 4.5 inches and greater without wobbling and allow a minimum rotation of 15 degrees when mounted on a 4.5 inch O.D. pole.  The bracket shall feature a rain-tight terminal compartment and include a 3 position terminal block.  Installed, the bracket shall take less than three inches of space between the housing and pole.

For mounting each clamshell bracket, furnish two ½” x 13 hot dip galvanized bolts that conform to ASTM A 325 and two spacers provided by the bracket manufacturer to keep the bolt head clear of the recess that holds the nut in a through bolted installation.

Replace subsection 740-2.17 with the following:

740-2.17 FLASHING BEACONS.  Furnish beacons that consist of one or more traffic signal sections meeting the requirements of subsection 740-2.14 Vehicular Signal Heads.  See the Plans for the number, size and color of the signal sections required for each beacon.

Use the flasher in signal controller cabinets to energize beacons that flash continuously and are installed near traffic signals.  Otherwise, each flashing beacon controller assembly consists of the following 120 volt ac equipment housed in a NEMA 3R enclosure:  a circuit breaker, a radio interference suppressor, a transient voltage suppressor, a NEMA type 3 flasher, neutral and ground busses, and terminal blocks.

Controller assemblies for school zone speed limit sign beacons shall also include a time switch and a second 120 volt ac circuit breaker that protects a thermostat and heater.

The NEMA 3R enclosure shall feature a single shelf and a top hinged cover with a hasp and staple for sealing and locking the cabinet door.

The radio interference and transient voltage suppressors shall meet the requirements of subsections 740-2.11.1.d.(3) and (4), respectively.

Use a solid state NEMA Type 3 flasher meeting the requirements of NEMA Standard TS 1-1989, Traffic Control Systems.

Use 20 ampere, 600 volt barrier type phenolic terminal blocks with plated brass screw type terminals and integral strips can be marked with a pen or pencil.

Furnish an RTC Manufacturing model AP41-L time switch complete with wiring harness, or an approved, calendar programmable, solid-state time switch with liquid crystal display, keyboard, input/output port, and wiring harness.  The approved time switch shall:

- Operate on line voltages from 95 to 135 volts ac, operate in temperatures from -22 F to 165 F, and include a capacitor that provides 48 hours of back up power to retain programming and time when the unit is disconnected from ac voltage.

- Include a backlit display and provide 2 lines of alphanumeric legend with 16 characters per line.  The display shall automatically prompt the operator while programming the device through the keyboard for ease of use.

- Include an input/output port and keyboard activated special functions that transfer the program to other units and download the program to a printer for a hard copy record of the program.

- Automatically compensate for changes in Daylight Savings Time and leap years and include a keyboard activated special function to quickly change the dates for the begin and end of Daylight Savings Time.

- Provide at least 10 basic plans for daily and/or weekly use and at least 200 program steps that are equally divided amongst the actual number of basic plans.  Each program step shall be assignable to a single day, weekend, weekday, or every day.  The time switch shall also include 20 plans that activate the basic plans to provide one year of time based control.

- Include at least 4 single pole double throw, relay controlled outputs rated for 15 amperes of resistive load at 115 volts ac.  Each pole shall be independently activated for steady on or momentary on and be manually switched on through the keyboard.

When a signal controller cabinet flasher is used to energize a beacon, furnish a two pole, fused block with built in fuse pullers to protect the flasher.  Furnish third party certified blocks that hold 13/32” x 1-1/2” midget ferrule fuses, are rated for 30 amperes, and feature tubular screw terminals that accommodate conductors to 8 AWG.  Furnish blocks with two fast acting, 3 ampere (BAF-3) fuses and flat bases that can be directly mounted on a dead panel.

Replace subsection 740-2.18 with the following:

740-2.18 ROADWAY LUMINAIRES.  Furnish luminaires that conform the following specifications and provide the light distributions specified.  When luminaire performance criteria are specified, luminaires shall also:

- Meet or exceed the minimum initial light levels indicated.

- Provide light distribution uniformity ratios and veiling luminance ratios equal to or less than the maximums indicated.

When luminaire performance criteria are specified, submit the following information for each luminaire type and light distribution type specified:  luminaire specifications, the lumen output of the lamps that will be furnished, and current electronic photometric data to the Engineer for approval.  Furnish the photometric data in Illuminating Engineering Society (I.E.S.) format.  The Engineer will use software that calculates light levels and uniformity ratios according to the American National Standard Practice for Roadway Lighting, A.N.S.I./I.E.S RP-8 to verify each luminaire provides the light levels, uniformities, and veiling luminance ratios specified.

When cut off distributions are specified, furnish luminaires with flat glass lenses and a full cutoff light distribution as defined in the American National Standard Practice for Roadway Lighting, A.N.S.I./I.E.S RP-8, dated 2000.

Furnish each luminaire with a high pressure sodium lamp of the wattage specified and matching ballast with an input voltage equal to circuit voltage.  Furnish lamps that feature a rated life of 24,000 hours based on 10 hours per start and ballasts that conform to subsection 740-2.21.

Luminaries General

Install luminaires that feature:

1.	Corrosion resistant enclosures with gray paint finish and space for the ballast.

2.	Third party certification for use in wet locations.

3.	Glass lenses, unless polycarbonate resin refractors are specified.

4.	Terminal blocks for attaching the illumination tap conductors.

5.	Aluminum reflectors with an ALZAK or ALGLAS finish.

6.	Optical components free of substances that affect photometric performance, e.g. paint.

7.	Housings cast with no provision for a photoelectric control receptacle.

8.	Airtight reflector and lens units that breathe through activated charcoal filters and include elastomer gaskets to seal the gap between the two components.  Gasket material must withstand the temperatures involved and be securely held in place.

9.	Plug in starting aids in fixtures with lamps through 400 watts.

# Luminaries – Cobrahead

Each cobrahead luminaire shall also include:

1.	An easily removed hinged door used exclusively for mounting the ballast.

- A second door that frames the lens, hinges on the house side, and fastens on the street side with an automatic type latch.

- A four bolt mounting brackets that fit 2 inch nominal diameter standard pipe and feature a center pivot for leveling the luminaire.

Offset luminaires shall also include knuckle style pole top adapters that are sized to fit 2 inch nominal diameter standard pipe and feature a wire way meeting NEC requirements for installing three size 10 AWG conductors between the pole and the terminal block located in the luminaire.

High Tower Luminaire.

1.	A 1,000 watt, high pressure sodium lamp that provide 140,000 minimum initial lumens.

2.	A side entry 4 bolt mounting bracket designed for 2 inch nominal diameter pipe with provision for leveling the luminaire.

3.	A die cast aluminum housing attached to the mounting bracket, which provides a weather tight enclosure for the ballast and terminal block and is readily removable without removing the luminaire from the bracket arm.

4.	A cover and reflector that readily detaches from the mounting bracket without removing the luminaire from the bracket arm.

5.	A double fused 480 volt ballast with fuses sized by the luminaire manufacturer.

6.	A hinged lens compatible with add on light shields.

7.	A stainless steel lamp clamp to prevent lamps from loosening, which is separate from the socket.

When the Plans specify shielding areas from illumination, install light shields on luminaires on  high tower poles whose templates touch the shielded areas.  Provide shields that limit light levels to 0.1 footcandle or less at the right of way line.  Whenever stock shields fail to limit light levels to the 0.1 footcandle level, hire the luminaire manufacturer to custom design and fabricate shields.  If the first generation of custom fabricated shields fail to limit light levels to the 0.1 footcandle level, the Engineer may waive the 0.1 footcandle requirement.

Lenses.

When polycarbonate resin lenses are specified, furnish lenses the fabricator certifies conforms to the following criteria.

1.	The lenses are molded in a single piece from virgin polycarbonate resin.

2.	The lenses are free from cracks, blisters, burns, and flow lines, and furnished with the natural molded surface.

3.	The lenses are of uniform density throughout and free from air, gas, or moisture pockets, and uncured areas.

4.	The lenses are transparent with a clear bluish tint, produced from ultraviolet stabilized resin to reduce the effects of ultraviolet radiation on their color properties.

5.	The resins used meet the requirements for the self extinguishing classification of ASTM D 635 and feature a minimum impact strength, Izod notched of 12 foot pounds per inch when tested according to ASTM D 256, Method A, using a 1/8 inch by ½ inch bar molded according to ASTM recommended practice.

Delete subsection 740-2.20, Illumination Control, in its entirety.

740-2.22 HIGH TOWER LUMINAIRE LOWERING SYSTEM.  Delete this subsection in its entirety and substitute the following:  Furnish an integral luminaire lowering device that is compatible with the high tower design and consists of a head frame assembly, luminaire ring assembly, and winch assembly complete with electric motor.

Provide a technician employed by the lowering device manufacturer, who has a minimum three years experience installing the lowering device, to

1.	Teach each crew that assembles the lowering device how to complete the work on the first pole,

2.	Oversee the assembly work on the next three poles or until the technician can assure the Engineer the crew can correctly assemble the lowering devices,

3.	Teach each crew how to initially adjust each lowering device on the first pole installed,

4.	Oversee the adjustment work on the next three installed poles or until the technician can assure the Engineer the crew can correctly adjust the lowering devices,

5.	Come back to teach each new crew how to assemble and adjust the lowering system components, if the installation crews change, and

6.	Make intermediate and final adjustments to all lowering devices installed under the contract at three, six, and twelve month intervals after the State has accepted the high tower poles.

Furnish a complete service manual with instructions on installation, operation, and maintenance for each lowering device, winch assembly, and power drive system furnished on the project.

Install one of the following high mast lowering devices wired for a single circuit, rated 480 VAC single phase, on each high tower pole shown on the Plans. Furnish power cords with four #8 AWG conductors.

Furnish each luminaire ring assembly with guide cones (Millerbernd) or tapered positioning pins (Eagle) painted a safety orange color for their full length.  Use a 2 component, water borne epoxy paint with gloss finish that can be applied to galvanized steel and provides a tough, abrasion resistant coating rated for exterior use.  Complete work according to the paint manufacturer’s written instructions, including: preparing the surfaces and tinting, mixing, and applying the paint.

| Manufacturer | Model No. | Options to be furnished |
| --- | --- | --- |
| Eagle High Mast Lighting Co. | ELC-XX-GV | Hot dip galvanized masthead assembly and transition plate, and integral motor |
| Millerbernd Manufacturing | SSLD-2 | Integral winch and motor assembly |

The Plans will indicate the number of luminaires on each pole, each pole’s height, and whether FAA approved obstruction lights are required.

(4/05/07)R98USC04

Special Provisions

Add the following subsection:

740-2.24 BUS STOP LIGHTING SYSTEM.  Furnish and install electroliers that conform the following Specifications:

1.	Globe:  Made of clear polycarbonate.

2. 	Reflector:  Made of spun Aluminum, mechanically secured.

3. 	Lamp:  100watt, metal halide, ED ½ bulb, mogul base.

4. 	Optics:  A round prismatic borosilicate thermo resistant refractor.

5. 	Guard:  Made of aluminum rods, .840” (21mm) O.D. mechanically secured c/w clear acrylic louvers.

6. 	Locking System:  “Rotomatic” made of cast aluminum, quarter turn system c/w independent pressure points, providing secure anchorage.

7. 	Ballast:  100 watt MH, high power factor of 90% or better, primary voltage 240, -30F (-34C) lamp starting capacity, c/w quick disconnect plug.

8. 	Housing:  Made of cast aluminum, mechanically secured.

9. 	Arm:  Made of bent aluminum tubing, 2 3/6” (60mm) O.D. welded to the adaptor.

10. 	Block Adaptor:  Made of cast aluminum, welded to the central tubing.

11. 	Central Tubing:  Made of aluminum, 4” (120mm) O. D. c/w a tenon penetrating 12” (305mm) inside the pole, mechanically secured.

12. 	Pole:  Made of aluminum, 4” (102mm) O.D., .220” (5mm) wall thickness, welded to the anchor plate.

13. 	Access Door:  Made of aluminum, covering an opening of 4” x 6”, giving access to a ground lug and fused splice connectors.

14. 	Base Cover:  Made of a two-piece cast aluminum component, mechanically secured.

15. 	Wiring: Included from luminaire to the top of the bracket, exceeding the latter by a minimum of 6” (152mm).

16. 	Gasketing:  Neoprene and/or silicone gasketing applied.

17. 	Hardware:  All exposed screws will be stainless steel.

18. 	Finish:  An application of a thermosetting polyester powder coat paint applied by means of an electrostatic process, color Turquoise Green (RAL 6016).

Bus stop electrolier shall include the following components, as manufactured by Lumec, or approved equal.

Component		Model No.

Luminaire		100MH-CAND5L-PC-C-RR5-240-COLTX-LMS11701A

100MH-CAND5L-PC-C-RR5-480-COLTX-LMS11701A

Bracket		LMS1170A-1A-COLTX

Pole				APR4U-12-LBC1-COLTX-LMS1170A

740-2.25 PEDESTRIAN LIGHTING SYSTEM.  Furnish and install electroliers that conform the following Specifications:

1.	Lense:  Tempered Glass.

2. 	Reflector:  Made of hydro-formed Aluminum, mechanically secured.

3. 	Lamp:  100watt, high-pressure sodium, ED ½ bulb, mogul base.

4. 	Optics:  Asymmetrical.

5. 	Locking System:  Pushbutton tool-free access, sealed to IP66 rating

6. 	Ballast:  100 watt HPS, high power factor of 90% or better, primary voltage 240, -30F (-34C) lamp starting capacity, c/w quick disconnect plug.

7. 	Housing:  Made of cast aluminum, mechanically secured.

8. 	Arm:  Made of bent aluminum tubing, 2 3/6” (60mm) O.D. welded to the adaptor.

9. 	Block Adaptor:  Made of cast aluminum, welded to the central tubing.

10. 	Central Tubing:  Made of aluminum, 4” (120mm) O. D. c/w a tenon penetrating 4” (305mm) inside the pole, mechanically secured.

11. 	Pole:  Made of aluminum, 4” (102mm) O.D., .220” (5mm) wall thickness, welded to the anchor plate.

12. 	Access Door:  Made of aluminum, covering an opening of 4” x 6”, giving access to a ground lug and fused splice connectors.

13. 	Base Cover:  Made of a two-piece cast aluminum component, mechanically secured.

14. 	Wiring: Included from luminaire to the top of the bracket, exceeding the latter by a minimum of 6” (152mm).

15. 	Gasketing:  Neoprene and/or silicone gasketing applied.

16. 	Hardware:  All exposed screws will be stainless steel.

17. 	Finish:  An application of a thermosetting polyester powder coat paint applied by means of an electrostatic process, color Turquoise Green (RAL 6016).

Bus stop electrolier shall include the following components, as manufactured by Lumec, or approved equal.

Component		Model No.

Luminaire		AT10-100HPS-AT10-SCB3M-480-FN3-COLTX-LMS11701A

Pole				APR4U-12-LBC1-COLTX-LMS1170A

Standard Modification

INDEX Remove the text: “Approved Products List” and replace with:  Qualified Products List

E36(01/27/07)

APPENDIX A

ENVIRONMENTAL COMMITMENTS

and

PERMITS

APPENDIX B

EROSION and SEDIMENT

CONTROL PLAN

(ESCP)

APPENDIX C

CONSTRUCTION SURVEYING REQUIREMENTS

APPENDIX D

MATERIALS CERTIFICATION LIST

APPENDIX E

ENSTAR’S

“SAFETY REQUIREMENTS FOR EXCAVATION

ADJACENT TO NATURAL GAS PIPELINES”

APPENDIX F

CHUGACH ELECTRIC ASSOCIATIONS ELECTRICAL FACILITY

CLEARANCE REQUIREMENTS

APPENDIX G

SIGN DETAILS