PART 4

STANDARD MODIFICATIONS

AND SPECIAL PROVISIONS

to the STATE OF ALASKA

1988 STANDARD SPECIFICATIONS FOR HIGHWAY CONSTRUCTION

SECTION 101

DEFINITIONS AND TERMS

Standard Modifications

101-1.27  Holidays.  Delete Items 2 and 3 and substitute the following:

2.	Martin Luther King Jr's Birthday - Third Monday in January.

3.	President's Day - Third Monday in February.

(5/7/91)

SECTION 102

BIDDING REQUIREMENTS AND CONDITIONS

Standard Modifications

102-1.01  Qualification of Bidders.  Delete the second paragraph.  (5/12/89)

102-1.06  Preparation of Proposal.  Add the following:  At certain bid openings a bidder may wish to submit bids on more work than he desires to have awarded to him.  The bidder may indicate the total amount desired to be accepted and the Department will determine which of his low bids on these projects, up to the final total indicated, will be accepted.  This limitation will only apply to those projects on which the bidder has added the following statement to the Proposal Form:

"We desire to disqualify all of our bids at this letting which exceed the total of $__________ or _____ contracts and hereby authorize the Department to determine which bids shall be disqualified."

(5/7/91)

102-1.07  Non-Responsive Proposals.  Delete numbered  subsection 3. in its entirety and substitute the following:

3.	If the bidder adds any provisions reserving the right to accept or reject any award, or to enter into a contract pursuant to an award, except for a maximum limit on the total amount of awards acceptable to the bidder at any one bid letting, as provided in Subsection 102-1.06.  (5/7/91)

102-1.07  Non-Responsive Proposals.  Add a new item as follows:

7.	If any of the unit prices bid are excessively unbalanced (either above or below the amount of a reasonable bid) to the potential detriment of the Department.  (5/12/89)

102-1.12   Addenda   Requirements.  In the second sentence, add "or telefacsimile" immediately following the word "telegram".  (5/12/89)

SECTION 103

AWARD AND EXECUTION OF CONTRACT

Special Provisions

103-1.01  Consideration of Proposals.  Add the following:  The apparent low bidder shall, within 5 working days following the bid opening, submit either a list of all firms with which the prime Contractor intends to execute subcontracts for the performance of the contract or a statement that the bidder intends to perform the work without subcontractors.  The list shall include the following information for each proposed subcontractor:

1.	name,

2.	business address,

3.	Alaska business license number,

4.	Contractor's registration number,

5.	the work to be performed, and,

6.	the approximate dollar amount of the work to be performed.

If the apparent low bidder fails to submit either a list of subcontractors or a statement that the bidder intends to perform the work without subcontractors, the apparent low bidder will be found not to be a responsible bidder and may be required to forfeit the bid security.  The Department will then consider the next lowest bidder for the award of the contract.

If the apparent low bidder fails to list a subcontractor or lists more than one subcontractor for a particular portion of work and the value of that work is in excess  of one-half of one percent of the total bid, the bidder agrees to perform that portion of work without the use of a subcontractor and to have represented that he is qualified to perform that work.

A bidder who attempts to circumvent the requirements of this Subsection by listing as a subcontractor another Contractor who, in turn, sublets the majority of the work required under the contract, violates this Subsection.

If a contract is awarded to a bidder who violates this Subsection, the Contracting Officer may:

1.	cancel the contract without any damages accruing to the Department, or,

2.	after notice and a hearing, assess a penalty on the bidder in an amount that does not exceed 10 percent of the value of the subcontract at issue.

A bidder may replace a listed subcontractor who:

1.	fails to comply with AS 08.18,

2.	files for bankruptcy or becomes insolvent,

3.	fails to execute a contract with the bidder involving performance of the work for which the subcontractor was listed and the bidder acted in good faith,

4.	fails to obtain bonding,

5.	fails to obtain insurance acceptable to the Department,

6.	fails to perform the contract with the bidder involving work for which the subcontractor was  listed,

7.	must be replaced in order for the prime Contractor to satisfy required State and/or Federal affirmative action requirements,

8.	refuses to agree or abide with the bidder's labor agreement, or,

9.	is determined by the Contracting Officer not to be responsible.

(9/1/90)

SECTION 104

SCOPE OF WORK

Standard Modifications

104-1.02  Changes.  After the third paragraph add the following:  Before a Change Order or Supplemental Agreement is approved, the Contractor shall submit cost or pricing data regarding the changed or extra work.  The Contractor shall certify that the data submitted is, to his best knowledge and belief, accurate, complete and current as of a mutually determined specified date and that such data will continue to be accurate and complete during the performance of the changed or extra work.  (5/12/89)

Special Provisions

104-1.02  Changes.  Delete the first three paragraphs and substitute the following:  The Engineer reserves the right to make, in writing, at any time during the work, such changes in quantities and such alterations in the work as are necessary to satisfactorily complete the project.  Such changes in quantities and alterations shall not invalidate the contract nor release the surety, and the Contractor agrees to perform the work as altered.

If the alterations or changes in quantities significantly change the character of the work under the contract, whether or not changed by any such different quantities or alterations, an adjustment, excluding loss of anticipated profits, will be made to the contract.  The basis for the adjustment shall be agreed upon prior to the performance of the work.  If a basis cannot be agreed upon, then an adjustment will be made either for or against the Contractor in such amount as the Engineer may determine to be fair and equitable.

If the alterations or changes in quantities do not significantly change the character of the work to be performed under the contract, the altered work will be paid for as provided elsewhere in the contract.

The term "significant change" shall be construed to apply only to the following circumstances:

1.	When the character of the work as altered differs materially in kind or nature from that involved or included in the original proposed construction, or

2.	When a major item of work, as defined elsewhere in the contract, is increased in excess of 125 percent or decreased below 75 percent of the original contract quantity.  Any allowance for an increase in quantity shall apply only to that portion in excess of 125 percent of original contract item quantity, or in case of a decrease below 75 percent, to the actual amount of work performed.

(4/13/89)

104-1.03  Differing Site Conditions.  Delete in its entirety and substitute the following:  During the progress of the work, if subsurface or latent physical conditions are encountered at the site differing materially from those indicated in the contract or if unknown physical conditions of an unusual nature, differing materially from those ordinarily encountered and generally recognized as inherent in the work provided for in the contract, are encountered at the site, the party discovering such conditions shall promptly notify the other party in writing of the specific differing conditions before they are disturbed and before the affected work is performed.

Upon written notification, the Engineer will investigate the conditions, and if he determines that the conditions materially differ and cause an increase or decrease in the cost or time required for the performance of any work under the contract, an adjustment, excluding loss of anticipated profits, will be made and the contract modified in writing accordingly.  The Engineer will notify the Contractor of his determination whether or not an adjustment of the contract is warranted.

No contract adjustment which results in a benefit to the Contractor will be allowed unless the Contractor has provided the required written notice.

(4/13/89)

SECTION 105

CONTROL OF WORK

Standard Modifications

105-1.01  Authority of the Engineer.  Add the following:  The Engineer may, at reasonable times, inspect that part of the plant or place of business of the Contractor or subcontractor that is related to the performance of the contract.

The Engineer may audit the books and records of the Contractor or a subcontractor to the extent that the books and records relate to the performance of the contract or subcontract, including cost or pricing data submitted under subsection 104-1.02.  Books and records that relate to the performance of the contract shall be maintained by the Contractor for a period of three years after the date of final payment under the prime contract and by the subcontractor for a period of three years after the date of final payment under the subcontract, unless a shorter period is authorized in writing by the Contracting Officer.

(5/12/89)

Special Provisions

105-1.06  Cooperation With Utilities.  Add the following:  The Contractor shall request locates from all the Utilities having facilities in the area.  Their telephone numbers are as follows:

DOT/PF Maintenance and Operations        333-2411

Chugach Electric Association             562-2278

Anchorage Telephone Utility              564-1555

ENSTAR Natural Gas Company               264-3740

Anchorage Water & Wastewater Utility     564-2762

Municipal Light and Power                263-5441

Prime Cable Television                   562-3133

There are various utility appurtenances located within the project limits.  The Contractor is required to work around all utility facilities throughout the project.

Standard Modifications

105-1.12  Load Restrictions.  Delete the first paragraph and substitute the following:  The Contractor shall comply with all restrictions as set forth in the "Administrative Permit Manual", and Title 17, Chapter 25, of the Alaska Administrative Code for vehicles traveling with the general public, unless otherwise allowed by an approved Traffic Control Plan.  (5/7/91)

Special Provisions

105-1.17  Claims for Adjustment and Disputes.  Add the following to the fifth paragraph:

5.	A statement certifying that the claim is made in good faith, that the supporting cost and pricing data are accurate and complete to the best of the Contractor's knowledge and belief, and that the amount requested accurately reflects the contract adjustment for which the Contractor believes the Department is liable.  (2/1/91)

Add the following:  Legal actions will be commenced through the Superior Court, Alaska State Courts, Third Judicial District, in Anchorage.  (12/29/87)

SECTION 106

CONTROL OF MATERIALS

Special Provisions

106-1.01  Source of Supply and Quality Requirements.  Add the following:  All steel products which are to be incorporated into the work shall be produced in the United States except that minor amounts of steel products of foreign manufacture may be used provided the aggregate cost of such does not exceed one tenth of one percent (.1 percent) of the total contract amount or $2500, whichever is greater.

A certification of materials origin, attesting to compliance with this provision, shall be furnished to the Engineer prior to incorporating any steel products into the project.

(11/9/84)

106-1.02  Local Material Sources.  General.  Add the following to the first paragraph:  If blend material is required to produce the specified product, it will be considered a subsidiary obligation and no separate payment will be made.  (2/7/89)

Add the following:  Prior to placing or removing any material in/from a location that is outside the project limits, the Contractor shall obtain a written statement from the State Historic Preservation Officer that material placement/extraction is not expected to impact any cultural resources.  A copy of this statement will be given to the Engineer.  The State Historic Preservation Officer is with the Department of Natural Resources in Anchorage, and may be contacted at 762-2622.  Should cultural resources be discovered during material testing or extraction activities, work at that site shall be stopped and the Engineer notified.  (9/1/89)

SECTION 107

LEGAL RELATIONS AND

RESPONSIBILITY TO PUBLIC

Special Provisions

107-1.01  Laws to be Observed.  Add the following:  Specific Equal Employment Opportunity Responsibilities of Federal-Aid Construction Contractors.

1.	General

a.	Equal employment opportunity requirements not to discriminate and to take affirmative action to assure equal employment opportunity as required by Executive Order 11246 and Executive Order 11375 are set forth in Required Contract Provisions (Form 25D-55) and these Special Provisions which are imposed pursuant to Section 140 of Title 23, U.S.C., as established by Section 22 of the Federal-Aid Highway Act of 1968.  The requirements set forth in these Special Provisions shall constitute the specific affirmative action requirements for project activities under this contract and supplement the equal employment opportunity requirements set forth in the Required Contract Provisions.

b.	The Contractor will work with the State highway agencies and the Federal Government in carrying out equal employment opportunity obligations and in their review of his/her activities under the contract.

c.	The Contractor and all his/her subcontractors holding subcontracts not including material suppliers, of $10,000 or more, will comply with the following minimum specific requirement activities of equal employment opportunity:  (The equal employment opportunity requirements of Executive Order 11246, as set forth in Volume 6, Chapter 4, Section 1, Subsection 1 of the Federal-Aid Highway Program Manual, are applicable to material suppliers as well as Contractors and subcontractors.)  The Contractor will include these requirements in every subcontract of $10,000 or more with such modification of language as is necessary to make them binding on the subcontractor.

2.	Equal Employment Opportunity Policy

The Contractor will accept as his operating policy the following statement which is designed to further the provision of equal employment opportunity to all persons without regard to their race, color, religion, sex, or national origin, and to promote the full realization of equal employment opportunity through a positive continuing program:

It is the policy of this Company to assure that applicants are employed, and that employees are treated during employment, without regard to their race, religion, sex, color, or national origin.  Such action shall include:  employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship, preapprenticeship and/or on-the-job training.

3.	Equal Employment Opportunity Officer

The Contractor will designate and make known to the Engineer and equal employment opportunity officer (hereinafter referred to as the EEO Officer) who will have the responsibility for and must be capable of effectively administering and promoting an active Contractor program of equal employment opportunity and who must be assigned adequate authority and responsibility to do so.

4.	Dissemination of Policy

a.	All members of the Contractor's staff who are authorized to hire, supervise, promote, and discharge employees, or who recommend such action, or who are substantially involved in such action, will be made fully cognizant of, and will implement, the Contractor's equal employment opportunity policy and contractual responsibilities to provide equal employment opportunity in each grade and classification of employment.  To ensure that the above agreement will be met, the following actions will be taken as a minimum:

(1)	Periodic meetings of supervisory and personnel office employees will be conducted before the start of work and then not less often than once every six months, at which time the Contractor's equal employment opportunity policy and its implementation will be reviewed and explained.  The meetings will be conducted by the EEO Officer or other knowledgeable company official.

(2)	All new supervisory or personnel office employees will be given a thorough indoctrination by the EEO Officer or other knowledgeable company official covering all major aspects of the Contractor's equal employment opportunity obligations within thirty days following their reporting for duty with the Contractor.

(3)	All personnel who are engaged in direct recruitment for the project will be instructed by the EEO Officer or appropriate company official in the Contractor's procedures for locating and hiring minority group employees.

b.	In order to make the Contractor's equal employment opportunity policy known to all employees, prospective employees and potential sources of employees, i.e., schools, employment agencies, labor unions (where appropriate), college placement officers, etc., the Contractor will take the following actions:

(1)	Notices and posters setting forth the Contractor's equal employment opportunity policy will be placed in areas readily accessible to employees, applicants for employment and potential employees.

(2)	The Contractor's equal employment opportunity policy and the procedures to implement such policy will be brought to the attention of employees by means of meetings, employee handbooks, or other appropriate means.

5.	Recruitment

a.	When advertising for employees, the Contractor will include in all advertisements for employees the notation:  "An Equal Opportunity Employer."  All such advertisements will be published in newspapers or other publications having a large circulation among minority groups in the area from which the project work force would normally be derived.

b.	The Contractor will, unless precluded by a valid bargaining agreement, conduct systematic and direct recruitment through public and private employee referral sources likely to yield qualified minority group applicants, including, but not limited to, State employment agencies, schools, colleges and minority group organizations.  To meet this requirement, the Contractor will, through his EEO Officer, identify sources of potential minority group employees, and establish with such identified sources procedures whereby minority group applicants may be referred to the Contractor for employment consideration.

In the event the Contractor has a valid bargaining agreement providing for exclusive hiring hall referrals, he is expected to observe the provisions of that agreement to the extent that the system permits the Contractor's compliance with equal employment opportunity contract provisions.  (The U.S. Department of Labor has held that where implementation of such agreements have the effect of discriminating against minorities or women, or obligates the Contractor to do the same, such implementation violates Executive Order 11246, as amended.)

c.	The Contractor will encourage his present employees to refer minority group applicants for employment by posting appropriate notices or bulletins in areas accessible to all such employees.  In addition, information and procedures with regard to referring minority group applicants will be discussed with employees.

6.	Personnel Actions

Wages, working conditions, and employee benefits shall be established and administered, and personnel actions of every type, including hiring, upgrading, promotion, transfer, demotion, layoff, and termination, shall be taken without regard to race, color, religion, sex, or national origin.  The following procedures shall be followed:

a.	The Contractor will conduct periodic inspections of project sites to insure that working conditions and employee facilities do not indicate discriminatory treatment of project site personnel.

b.	The Contractor will periodically evaluate the spread of wages paid within each classification to determine any evidence of discriminatory wage practices.

c.	The Contractor will periodically review selected personnel actions in depth to determine whether there is evidence of discrimination.  Where evidence is found, the Contractor will promptly take corrective action.  If the review indicates that the discrimination may extend beyond the actions reviewed, such corrective action shall include all affected persons.

d.	The Contractor will promptly investigate all complaints of alleged discrimination made to the Contractor in connection with his obligations under this contract, will attempt to resolve such complaints, and will take appropriate corrective action within a reasonable time.  If the investigation indicates that the discrimination may affect persons other than the complainant, such corrective action shall include such other persons.  Upon completion of each investigation, the Contractor will inform every complainant of all of his avenues of appeal.

7.	Training and Promotion

a.	The Contractor will assist in locating, qualifying, and increasing the skills of minority group and women employees, and applicants for employment.

b.	Consistent with the Contractor's work force requirements and as permissible under Federal and State regulations, the Contractor shall make full use of training programs, i.e., apprenticeship, and on-the-job training programs for the geographical area of contract performance.  Where feasible, 25 percent of apprentices or trainees in each occupation shall be in their first year of apprenticeship or training.  In the event the Training Special Provision is provided under this contract, this subparagraph will be superseded as indicated.

c.	The Contractor will advise employees and applicants for employment of available training programs and entrance requirements for each.

d.	The Contractor will periodically review the training and promotion potential of minority group and women employees and will encourage eligible employees to apply for such training and promotion.

8.	Unions

If the Contractor relies in whole or in part upon unions as a source of employees, the Contractor will use his/her best efforts to obtain the cooperation of such unions to increase opportunities for minority groups and women within the unions, and to effect referrals by such unions of minority and female employees.  Actions by the Contractor either directly or through a Contractor's association acting as agent will include the procedures set forth below:

a.	The Contractor will use best efforts to develop, in cooperation with the unions, joint training programs aimed toward qualifying more minority group members and women for membership in the unions and increasing the skills of minority group employees and women so that they may qualify for higher paying employment.

b.	The Contractor will use best efforts to incorporate an equal employment opportunity clause into each union agreement to the end that such union will be contractually bound to refer applicants without regard to their race, color, religion, sex, or national origin.

c.	The Contractor is to obtain information as to the referral practices and policies of the labor union except that the extent such information is within the exclusive possession of the labor union and such labor union refuses to furnish such information to the Contractor, the Contractor shall so certify to the State highway department and shall set forth what efforts have been made to obtain such information.

d.	In the event the union is unable to provide the Contractor with a reasonable flow of minority and women referrals within the time limit set forth in the collective bargaining agreement, the Contractor will, through independent recruitment efforts, fill the employment vacancies without regard to race, color, religion, sex, or national origin, making full efforts to obtain qualified and/or qualifiable minority group persons and women.  (The U.S. Department of Labor has held that it shall be no excuse that the union with which the Contractor has a collective bargaining agreement providing for exclusive referral failed to refer minority employees.)  In the event the union referral practice prevents the Contractor from meeting the obligations pursuant to Executive Order 11246, as amended, and these special provisions, such Contractor shall immediately notify the State highway agency.

9.	Subcontracting

a.	The Contractor will use his best efforts to solicit bids from and to utilize minority group subcontractors or subcontractors with meaningful minority group and female representation among their employees.  Contractors shall obtain lists of minority-owned construction firms from State highway agency personnel.

b.	The Contractor will use his best efforts to ensure subcontractor compliance with their equal employment opportunity obligations.

10.	Records and Reports

a.	The Contractor will keep such records as are necessary to determine compliance with the Contractor's equal employment opportunity obligations.  The records kept by the Contractor will be designed to indicate:

(1)	the number of minority and nonminority group members and women employed in each work classification on the project,

(2)	the progress and efforts being made in cooperation with unions to increase employment opportunities for minorities and women (applicable only to Contractors who rely in whole or in part on unions as a source of their work force),

(3)	the progress and efforts being made in locating, hiring, training, qualifying, and upgrading minority and female employees, and

(4)	the progress and efforts being made in securing the services of minority group subcontractors or subcontractors with meaningful minority and female representation among their employees.

b.	All such records must be retained for a period of three years following completion of the contract work and shall be available at reasonable times and places for inspection by authorized representatives of the State highway agency and the Federal Highway Administration.

c.	The Contractor will submit an annual report to the State highway agency each July for the duration of the project, indicating the number of minority, women, and non-minority group employees currently engaged in each work classification required by the contract work.  This information is to be reported on Form PR 1391.  If on-the-job training is being required by "Training Special Provision", the Contractor will be required to furnish State of Alaska Form 25A312.

(4/8/83)

107-1.11  Protection and Restoration of Property and Landscape.  Add the following to the third paragraph:  The Contractor shall not excavate, nor use for fill, any material containing hazardous substances or petroleum fuels.  The Contractor shall not stockpile, nor dispose of, any material at any site suspected of containing hazardous substances or petroleum fuels.

The Contractor shall report immediately to the Engineer any hazardous material discovered, exposed, or released into the air, ground, or water during construction of the project.  Also report any containment, cleanup, or restoration activities anticipated or performed as a result of such release or discovery.  Hazardous materials include, but are not limited to, petroleum products, oils, solvents, paints, and chemicals that are toxic, corrosive, explosive, or flammable.  (5/7/91)

Add the following after Item 10:

11.	If water for any construction purpose is required from a non-municipal water source, the Contractor shall obtain a Temporary Water Use Permit from the Water Resource Manager, and provide a copy to the Engineer.  The Water Resource Manager is with the Department of Natural Resources in Anchorage and may be contacted at 762-2253.

Add the following:  The Contractor shall not use land from any park, recreation area, wildlife or waterfowl refuge, or any historical site located inside or outside of the project limits for excess fill disposal, construction staging activities, equipment or material storage, or for any other purposes unless permitted by the contract.

The Contractor shall do no work, such as stockpiling, staging, fording, parking or trespassing below the ordinary highwater mark of any watercourse, or within the 65-foot watercourse setback along Campbell Creek or the 25-foot setback along Little Campbell Creek.  All activities shall remain on the existing highway embankment within the 100-year floodplain and wetlands unless the actions are permitted.

All debris from the project construction shall be removed from the area as soon as possible and disposed of at a location approved by the Engineer.

Standard Modifications

107-1.13  Responsibility for Damage Claims.  In the first sentence, change "claims or actions for injuries" to read "claims, actions or liabilities for injuries".  (5/12/89)

Special Provisions

107-1.15 Contractor's Responsibility for Work.  Add the following to the end of the first paragraph:  Damage caused by the public, prior to acceptance (Partial Acceptance or Project Completion), shall be corrected at the Contractor's expense.  (5/7/91)

Standard Modifications

107-1.16  Contractor's Responsibility For Utility Property And Services.  In the last sentence of the third paragraph delete: "by the local fire authority."  (5/12/89)

Special Provisions

107-1.16  Contractor's Responsibility for Utility Property and Service.  Delete paragraphs four and five in their entirety, and substitute the following:  If utility facilities are damaged by the Contractor, the owning Utility has the choice of making the repair or having the Contractor correct the damage.  The Contractor shall reimburse the Utility for repair costs, or provide at no cost, all materials, labor and equipment if he repairs the damage.

The Contractor will not be responsible for the costs of repairing damaged facilities when:

1.	The Utility mislocates the facility in the field by more than 2.5-feet horizontally for non-frozen soil conditions, or

2.	When the location or existence of the buried facility is unknown by the Utility.

(9/1/89)

107-1.21 Permits.  Add the following subsection:

The following permits have been received on the Contractor's behalf by the Department:

1.	U.S. Army Corps of Engineers, Nationwide 23 Permit No. D-910524, dated August 27, 1991.

2.	Municipality of Anchorage Flood Hazard Permit No. 91-0020-00, dated August 27, 1991.

The Contractor shall be responsible for conducting all operations in compliance with Anchorage Municipal Code 15.70 (Noise).  If the Contractor can not conform with the restrictions of this Code, it is his responsibility to obtain a Noise Permit authorizing the nonconformance.  Application for this permit can be made through the Municipality of Anchorage, Health and Human Services Division, 825 "L" Street, Anchorage, Alaska,  (907) 343-4200.

The permits obtained by the Department are attached to these specifications as Appendix A.  The terms, conditions, and stipulations contained in all the permits obtained by either the Department or the Contractor are hereby made a part of these specifications.  It is the Contractor's responsibility to abide by the stipulations contained in each permit.  If it is determined that an activity cannot be performed as specified in one of the permits, the Contractor shall cease work and immediately notify the Engineer.  The Engineer will then decide if a permit modification is necessary.

SECTION 108

PROSECUTION AND PROGRESS

Special Provisions

108-1.01  Subletting of Contract.  Add the following:  The hauling of materials for the project by bona fide truck owner-operators who are listed as such on the certified payroll of the Contractor (or an approved subcontractor) shall not be considered as subcontracting under these provisions.  Truck owner-operators shall be required to submit documentation to the Contractor as is necessary to prove the trucker is a bona fide owner-operator.  As a minimum, those records, for each truck owner-operator, shall include current and valid copies of:

1.	Alaska Driver's License.

2.	Business license for trucking together with supporting documents that list the driver as the business owner or corporate officer.

3.	Documents showing the driver's ownership interest in the truck including:

a.	Truck registration, and

b.	Lease (if truck is not registered in driver's name or in the name of the driver's company).

The Contractor shall maintain legible copies of such records for a period of at least three years after final acceptance of the project.

Additionally, to be classified as a valid owner-operator a truck driver must also qualify as an independent contractor under the following Alaska Department of Labor (DOL) criteria which establish whether or not they are an employee or an independent contractor.  The status of owner-operators is subject to evaluation throughout the project period and when the criteria for an independent contractor are not found to exist, amended payrolls must be submitted listing the driver as an employee subject to all labor provisions of the contract.  These criteria are:

1.	the owner-operator's right to control the manner in which the work is to be performed,

2. 	the owner-operator's opportunity for profit or loss depending upon their managerial skill,

3. 	the owner-operator's investment in equipment or materials required for their task, or the employment of helpers,

4. 	whether the service rendered requires a special skill,

5.	the degree of permanence of the working relationship, or

6.	whether the service rendered is an integral part of the owner-operator's business.

The Contractor shall issue a placard to each owner-operator.  The placard shall identify both the truck driver and the vehicle and shall be prominently displayed such that it is visible to the scale person or inspectors.  The identification system must be approved by the Engineer prior to use.

(5/7/91)

Standard Modifications

108-1.03  Prosecution and Progress.  In Item 1. insert ", in a format acceptable to the Engineer," immediately after the words "a progress schedule". (5/12/89)

Special Provisions

108-1.03  Prosecution and Progress.  In the first paragraph, delete the words "At this time" and substitute:  "Five working days before the preconstruction conference".  (5/7/91)

Add the following:  The construction of this project will be planned and recorded with a conventional Critical Path Method (CPM) schedule.  The schedule shall be used for coordination, monitoring, and payment of all work under the contract including all activity of subcontractors, utility companies, manufacturers and suppliers.

1.	Preparation of Schedule.

At the preconstruction conference, the Contractor shall submit a detailed Progress Work Schedule in the activity-on-arrow format.  The schedule shall meet the requirements set forth below.

The construction time, for the entire project or any milestone shall not exceed the specified contract time.

Following the Engineer's review, if revisions to the proposed schedule are required, the Contractor shall do so promptly.  The schedule must be finalized within 60 days of the Notice to Proceed.

2.	Schedule Requirements.

All activity-on-arrow diagrams shall include:

a.	Activity nodes

b.	Activity Description

c.	Activity Duration

d.	Resources required for each of the project activities, including:

1)	labor, showing:

-workdays per week

-holidays

-shifts per day

-hours per shift

2)	equipment, including the number of units of each type of equipment and,

3)	materials

The activity-on-arrow diagram shall show the sequence and interdependence of all activities required for complete performance of all items of work under this contract, including shop drawing submittals and approvals and fabrication and delivery activities.  All network "dummies" are to be shown on the diagram.

No activity duration shall be longer than 15 working days without the Engineer's approval.

The Engineer reserves the right to limit the number of activities on the schedule.

3.	Schedule Updates And Progress Payments.

Job site progress meetings will be held monthly by the Engineer and the Contractor for the purpose of updating the Progress Work Schedule. Progress will be reviewed to verify finish dates of completed activities, remaining duration of uncompleted activities, and any proposed logic and/or time estimate revisions.

The Contractor will revise activity-on-arrow diagrams for the following:

a.	resource availability,

b.	delay in completion of any critical activity,

c.	actual prosecution of the work which is, as determined by the Engineer, significantly different than that represented on the schedule, or,

d.	the addition, deletion, or revision of activities required by contract modification.

The contract completion time will be adjusted only for causes specified in this contract.

As determined by CPM analysis, only delays in activities which affect milestone dates or contract completion dates will be considered for a time extension.

It is understood by the Engineer and the Contractor that float is a shared commodity.

The principles involved and terms used in this section are as set forth in the Associated General Contractors of America publication, "The Use of CPM in Construction, A Manual for General Contractors and the Construction Industry", Copyright 1976.

In addition to the CPM Progress Work Schedule, the Contractor shall, every two weeks during construction, submit a work plan detailing his proposed operations for the  forthcoming two weeks.  This  plan shall detail work

activities, manpower involved by trade, work hours, equipment involved and the location of the work to be performed.

Preparation of the CPM work schedule and two week work plans will not be paid for directly, but will be subsidiary to Item 640(1), Mobilization and Demobilization.

108-1.05  Character of Workmen, Methods and Equipment.  Add the following:  The Contractor shall provide the Engineer with make, model, year, capacity, horsepower, and the related information of every piece of powered equipment used on the project.  This information shall be updated weekly unless otherwise directed by the Engineer.  (9/1/89)

108-1.06  Determination and Extension of Contract Time.  Add the following:

4.	Suspensions of Work Ordered by the Engineer.  If the performance of all or any portion of the work is suspended or delayed by the Engineer in writing for an unreasonable period of time (not originally anticipated, customary, or inherent to the construction industry) and the Contractor believes that additional compensation and/or contract time is due as a result of such suspension or delay, the Contractor shall submit to the Engineer in writing, a request for adjustment within 7 calendar days of receipt of the notice to resume work.  The request shall set forth the reasons and support for such adjustment.

Upon receipt, the Engineer will evaluate the Contractor's request.  If the Engineer agrees that the cost and/or time required for the performance of the contract has increased as a result of such suspension and the suspension was caused by conditions beyond the control of and not the fault of the Contractor, its suppliers, or subcontractors at any approved tier, and not caused by weather, the Engineer will make an adjustment (excluding profit) and modify the contract in writing accordingly.  The Engineer will notify the Contractor of his determination whether or not an adjustment of the contract is warranted.

No contract adjustment will be allowed unless the Contractor has submitted the request for adjustment within the time prescribed.

No contract adjustment will be allowed under this clause to the extent that performance would have been suspended or delayed by any other cause, or for which an adjustment is provided for or excluded under any other term or condition of this contract.

(4/13/89)

SECTION 109

MEASUREMENT AND PAYMENT

Special Provisions

109-1.01  General.  Add the following:  When more than one variety of material or work item is specified for a single pay item number, letter or numeric suffixes will be included within the parenthesis to differentiate the types.  (9/1/89)

Standard Modifications

109-1.03 Scope of Payment.  Delete the last sentence of the fourth paragraph.  (5/7/91)

Special Provisions

109-1.04  Compensation for Altered Quantities.  In the third indented subparagraph, delete the following:    ", except that the total payment for the item shall not exceed 75 percent of the total amount bid for the item".  (4/13/89)

109-1.05  Compensation for Extra Work.  Under 3, Equipment, add the following to the second paragraph:  The rental rate area adjustment factors for this project shall be as specified on the adjustment maps for the "O" Zone.  (9/1/89)

109-1.07  Payment For Materials on Hand.  Add the following:  The location of stockpiled materials for payment in acceptable storage facilities off the project will be in Anchorage, Alaska only.  (9/1/89)

Add the following Section:

SECTION 120

DISADVANTAGED BUSINESS ENTERPRISE (DBE) PROGRAM

Special Provisions

120-1.01  Description.  The work consists of providing Disadvantaged Business Enterprises (DBEs) as defined in title 49, Code of Federal Regulations (CFR), Part 23 with the maximum opportunity to participate in the performance of contracts financed in whole or in part with federal funds.  The Contractor shall not, nor shall subcontractors or others associated with this contract, discriminate on the basis of race, color, national origin, or sex in the award and performance of work under this contract.

120-1.02  Interpretation.  It is the intent of this section to implement the requirements of 49 CFR, Part 23.

120-1.03  Essential Contract Provision.  Failure to comply with the provisions of this section shall be considered a material breach of contract.  The Department also considers failure to comply with this section to be so serious as to justify debarment action as provided in AS 36.30.640(4).

120-1.04  Definitions and Terms.

1.	Ad Hoc Dealer.  A firm established for the purpose of supplying materials for a particular project or a particular Contractor.

2.	Commercially Useful Function.  The execution of a contract or a distinct element of work under a contract by the firm actually performing, controlling, managing, and supervising the work involved.  See Subsection 120-3.03.3 for criteria.

3.	Disadvantaged Business Enterprise.  A small business concern which is owned and controlled by one or more socially and economically disadvantaged individuals and has been certified as such by the Department of Transportation and Public Facilities in accordance with 49 CFR, Part 23.

4.	Disadvantaged Business Enterprise Utilization Goal.  The percent of work that is specified in the contract to be performed by certified DBEs.

5.	Good Faith Effort.  The affirmative action measures taken by a Contractor to meet the Disadvantaged Business Enterprise Program's objectives and goals for a specific project.

6.	Manufacturer.  An established firm that changes the shape, form or composition of original material in some way and then provides that altered material to the general public or the industry at large on a regular basis.

7.	Regular Dealer.  An established firm that supplies one or more materials to the general public or the industry at large on a regular basis.

8.	Supplier.  A 'Regular Dealer' or an 'Ad Hoc Dealer' that provides material in an unaltered state that becomes a part of the permanent work.

120-2.01  Utilization Goal.  The DBE Utilization Goal for this contract is shown on the Bid Schedule as a percentage of the total contract amount.  Measurement of attainment of this goal will be used on the actual amount of money received by the DBEs for commercially useful work on this project.

A bidder must demonstrate the ability to meet the DBE Utilization Goal in order to be eligible for award of this contract.

120-3.01  Determination of Compliance.

1.	Phase I - Bid and Award.  In addition to bid submission requirements, the apparent low bidder must demonstrate DBE responsibility prior to award of this contract by:

a.	Submitting, within 15 days of the notice of intent to award, a copy of the DBE Utilization Report (Form 25A325C) listing the certified DBEs to be used to meet the goal.

b.	If the 25A325C contains less DBE participation than is required to meet the goal, documentation of Good Faith Effort in the form of the Summary of Good Faith Effort Documentation (Form 25A332A and attachments) must be submitted.  If the Good Faith Effort is deemed sufficient, an amended bid schedule showing the revised DBE Utilization Goal will be issued with the award documents.

If the bidder cannot demonstrate the ability to meet the DBE Utilization Goal, failure to document sufficient Good Faith Effort will result in the bid being declared nonresponsive.

2.	Phase II - Construction.  At the preconstruction conference, the Contractor shall submit, in writing, the designation of a DBE officer.

The work items and creditable dollar amounts shown for a DBE firm and the DBE Utilization Report (Form 25A325C) must be included in any subcontract with that firm, or prior written approval for replacement of the DBE must have been granted, before the subcontract can be approved by the Department.

120-3.02  Good Faith Effort.  The bidder must demonstrate that all reasonable efforts have been made to include DBEs in the contract at a level at least equal to the goal established for the contract.  The Contracting Officer will use the following criteria to judge if the bidder, who has not met the contract goal, has demonstrated sufficient Good Faith Effort.  Criteria (1-7) will be utilized to evaluate any request from the Contractor for a reduction in the goal due to the default of a DBE and the Contractor's subsequent inability to obtain additional DBE participation despite Good Faith Effort to do so.

1.	Consideration of all subcontractable items.

2.	Selection of the most appropriate items or portions of items to be performed by DBEs in order to increase the likelihood of achieving the stated goal.

3.	Notification (in writing or by personal contact) to all appropriate DBEs in a timely manner of the bidder's/Contractor's interest in securing the DBE's participation in the prosecution of the work.  Each contact with the DBE must be logged on a "Contact Report" (Form 25A321A).

4.	Meaningful communication with DBEs for specific participation.

5.	Provision of assistance to DBEs who need help in obtaining bonding or insurance required by the bidder.

6.	Providing prospective DBEs with adequate information about requirements of the contract.

7.	Follow-up of initial solicitations for interest by contacting DBEs to determine with certainty whether they were interested in bidding.  Documentation of follow-up contacts must be logged on the "Contact Report" (Form 25A321A).  (See item no. 3 above.)

8.	Advertise for specific DBE participation in appropriate general circulation media, trade association publications, and minority-focus media.  Publication should be for at least 5 consecutive days commencing at least 20 days before the bids are due.  If 20 days are not available, publication for a shorter reasonable time is acceptable.

120-3.03  DBE Credit.  In order for the work of the DBE to be credited toward the DBE Utilization Goal, the Contractor shall ensure that ALL of the following requirements are met:

1.	The DBE must be certified by the Department.  The DBE must be certified at the time of:

a.	Listing on the "DBE Utilization Report" (Form 25A325C) submitted prior to award, and

b.	The Engineer's approval of the subcontract.

c.	Issuance of a purchase order by the Contractor to a DBE manufacturer, regular dealer, or ad hoc dealer.

Should a DBE performing a Commercially Useful Function become decertified during the term of the subcontract or purchase order for reasons beyond the control of and without the fault or neglect of the Contractor, the work remaining under the subcontract or purchase order may be credited toward the DBE Utilization Goal.

Should the DBE be decertified between the time of contract award and the time of the Engineer's subcontract approval, the Contractor shall have the option of:

a.	Withdrawing the subcontract from consideration and expending Good Faith Effort to replace the subcontract with one from a currently certified DBE, or

b.	Having the subcontract for the decertified firm approved.  In this case, the work of the decertified firm would not be credited toward the DBE Utilization Goal.  The Contractor would also be required to submit such additional DBE participation as may be necessary to meet the DBE Utilization Goal or demonstrate Good Faith Effort.

2.	The DBE may perform work in categories for which it is not certified, but only that work performed in the certified categories will be credited toward the DBE Utilization Goal.

3.	The DBE must perform a Commercially Useful Function.  The following criteria will be used by the Engineer to determine if work will be considered Commercially Useful.

a.	The work performed must be necessary and useful work required for the execution of the contract.

b.	The scope of work must be distinct and identifiable.

c.	The work must be performed, controlled, managed, and supervised by the certified DBE.  The DBE must personally supervise the work on site or have an on-site representative, superintendent, or foreman responsible for the work.

d.	The DBE must use their own staff, employees, and equipment for the execution of the work, except as noted in subparagraph e., below.

e.	The manner in which the work is sublet or performed must conform to standard industry practice.  The goods or services must have a market outside of the DBE program and shall not represent a superfluous step in the contracting or purchasing process.

f.	The cost of the goods or services must be reasonable and competitive with the cost of the goods or services outside the DBE program.

g.	All subcontract work, with the exception of truck hauling, must be sublet by the same unit of measure as is contained in the Bid Schedule unless prior written approval of the Engineer is obtained.

h.	The DBE must control all business administration, accounting, billing, and payment transactions.  The prime Contractor shall not perform the business, accounting, billing, and similar functions of the DBE.  The Engineer may, in accordance with AS 36.30.420 (b), inspect the offices of the DBE and to audit the records of the DBE to assure compliance.

i.	If two-party checks are issued by the Contractor to a subcontractor, regular dealer, ad hoc dealer, manufacturer, and/or the employees or suppliers to such firms; the Engineer must be notified in writing in advance.

j.	A DBE trucker must own or have a lease of at least twelve months for two or more trucks, at least one of which must be working on this project.  For all trucks operated by owner-operators, the DBE must maintain all required records.

4.	The Contractor must provide proof of the actual monies paid for the qualifying goods and services provided by DBEs.  The Contractor will receive credit for the commercially useful work performed by DBEs toward the DBE Utilization Goal as provided in this section for portion of the funds actually paid to  the certified DBEs.  Contractor's are encouraged to contact the Engineer in advance of the prosecution of the DBE's work if they have any questions about the work qualifying for participation.

Credit will not be allowed for payments made by the Contractor to others on behalf of the DBE whether or not the DBE has been paid separately for the goods or services.

If the quantity of work of a bid item which involves a DBE is reduced, the DBE Utilization Goal will be adjusted by Change Order.

120-3.04  Default of DBE.  In the event that a DBE who has been placed under contract or to whom a purchase order or similar agreement has been issued defaults on their work for whatever reason, the Contractor shall immediately notify the Engineer of the default and the circumstances surrounding the default.  The Contractor shall take immediate steps, without any order or direction from the Engineer, to retain the services of other DBEs as necessary to assure that the DBE Utilization Goal is met.  In the event that the Contractor cannot obtain additional DBE participation, the Contractor shall submit proof of their Good Faith Effort in accordance with the provisions of Subsection 120-3.02, Good Faith Effort.  The Engineer may adjust the DBE Utilization Goal if, in the opinion of the Engineer, ALL of the following criteria have been met:

1.	The Contractor had no fault or negligence in the default and that the circumstances surrounding the default were beyond the control of the Contractor.

2.	The Contractor is unable to find additional DBE participation and has adequately performed and documented the Good Faith Effort expended in accordance with 120-3.02,  Good Faith Effort.

120-4.01  Method of Measurement.  The Contractor shall be entitled to count toward the DBE Utilization Goal those monies allowed by the Engineer in Subsection 120-3.03, paragraph No. 4,  as actually paid to certified DBE firms for Commercially Useful work performed in the categories for which the DBE firm is certified.  Credit will only be allowed for Commercially Useful work.  The Contractor will receive credit for the utilization of the DBEs, as follows:

1.	If the prime Contractor is a certified DBE, then the Contractor may be credited for up to but not to exceed the amount of the DBE Utilization goal.  The work of a DBE prime Contractor in excess of the DBE Utilization Goal will not be credited when calculating any incentive paid under Subsection 120-5.01, Basis of Payment.

2.	Credit for a DBE joint venture partner is limited to the percent of the DBE's joint venture participation.  A DBE joint venture partner must be responsible for a clearly defined portion of the work to be performed in addition to satisfying requirements for ownership and control.

3.	Credit for work by DBE subcontractors and manufacturers is 100 percent.

4.	Permanent materials furnished by a Regular DBE Dealer are credited at 60 percent of their value.  The value will be the actual cost paid but will not exceed the bid price for the item.

5.	Credit for reasonable fees paid by the Contractor to DBE Ad Hoc Dealers are limited to that portion of the value of the fees for services rendered by the DBE Ad Hoc Dealers that help the Contractor obtain needed supplies, personnel, materials or equipment to perform the work.  Such services and fees would include but are not limited to the following:

a.	The fees charged for the delivery of supplies or permanent materials necessary for the prosecution of the work but not any part of the actual value of the supplies or permanent materials themselves (e.g. drayage services, expediting/freight consolidation).

b.	Agent's fee for providing contractually required bonding or insurance but not any portion of the value of the bonds or policies.

120-5.01  Basis of Payment.  Payment for the work necessary to meet the specified DBE Utilization Goal will be considered subsidiary to other items of work and no separate payment will be made.

Payment for the work necessary to exceed the originally specified DBE Utilization Goal will be paid in the form of an incentive as follows:

1.	Ten percent of the Total Authorized DBE Participation by non-trucking subcontractors which exceeds the DBE Utilization Goal will be paid, but not to exceed $100,000 or two percent of the total contract amount, whichever is less.

2.	The utilization of DBE prime Contractors, Regular DBE Dealers, DBE Manufacturers, DBE trucking subcontractors, and DBE Ad Hoc Dealers will only count toward meeting the DBE Utilization Goal.  No credit for their participation in excess of the original DBE Utilization Goal will be considered in calculating the amount of the incentive.

3.	No incentive will be paid for exceeding a DBE Utilization Goal that has been adjusted for Good Faith Effort as a condition of award per section 120-2.01 until the originally specified DBE Utilization Goal has been exceeded.

If the Contractor fails to utilize the DBEs listed on Form 25A325C as scheduled, or fails to submit required DBE documentation, retainage may be withheld from progress payments.  The retainage shall be sufficient to assure funds are available to cover the cost of the disincentive.

If the Contractor fails to meet the DBE Utilization Goal (as adjusted), payments will be reduced as a disincentive.  The amount of the disincentive shall be equal to 50 percent of the difference between the DBE Utilization Goal expressed in dollars and the Total Authorized DBE Participation as determined by the Engineer per Subsection 120-3.03, paragraph No. 4.

Payment of the incentive will be made on the semi-final or final estimate.  The disincentive will be withheld in the form of retainage during the course of the project.  If sufficient retainage has not been withheld to cover the cost of the disincentive, the Contractor shall remit same to the department within 30 days of being billed for the amount due.

Payment or Deduction will be made under:

Pay Item No.        Pay Item         Pay Unit

120(1)        DBE Adjustment   Contingent Sum

(5/5/89)

SECTION 202

REMOVAL OF STRUCTURES AND OBSTRUCTIONS

Special Provisions

202-2.02  General.  Add the following:  Those fences designated on the plans to be removed shall have the existing fencing material salvaged.  This material shall be used in reconstructing the fence in accordance with Section 607, Fences for reconstructed fences.

202-2.05  Pavement Planing.  Add the following Subsection:  The Contractor shall remove existing asphalt concrete pavement by cold planing at the locations shown on the plans.  The surface of the pavement after planing shall be uniformly rough grooved or ridged.

The Contractor shall remove all planed material from the project immediately after planing.  This material shall be delivered to and stockpiled at the State Maintenance Yard located at 5820 East Tudor Road, Anchorage, AK.

Areas that have been planed shall be repaved within 72 hours after completion of planing unless prevented by weather or other factors beyond the Contractor's control.  If existing pavement not designated for removal is broken or otherwise damaged by the planing operation it shall be repaired by the Contractor at his expense.  During the planing operation, the Contractor shall sweep the streets with mechanical sweepers equipped with vacuum and  water sprinkling devices to control dust and remove all loosened material from the planed areas.  The removal operation shall follow within 50 feet of the planing machine.

The Contractor shall not allow traffic to travel on surfaces that have an abrupt longitudinal planed edge greater than 1.5 inches.  In the event that it is necessary to route traffic across such edges, an asphalt concrete transition 2 feet in width shall be placed adjacent to the edge.

A tolerance of 1/8-inch shall be maintained by the cold planer between adjacent passes.

The planing machine shall be specifically designed for the removal of bituminous pavement without the addition of heat.  The cutting drum shall be a minimum of 60 inches wide and shall be equipped with cutting teeth placed in a variable lacing pattern to produce the desired finish.

The planing machine shall have the following capabilities:

1.	operating speeds from 0 to 40 feet per minute,

2.	self propelled,

3.	able to spray water at the cutting drum to minimize dust,

4.	able to remove material next to the gutter,

5.	designed so that the operator can at all times observe the planing operation without leaving the controls,

6.	adjustable as to slope and depth,

7.	longitudinal grade control automatically actuated by the use of a 30-foot ski, and

8.	able to cut up to 3 inches without producing fumes or smoke.

The Contractor shall provide a smaller machine to trim areas that are inaccessible to the larger machine.

202-3.01  Method of Measurement.  Add the following:  Item 202(15), Pavement Planing will be measured by the square yard, regardless of depth required.

202-4.01  Basis of Payment.  Add the following:  Mechanical sweepers required for the planing operation will be paid for under Item 643(17), Street Sweeping.

Pay Item No.         Pay Item            Pay Unit

202(12)       Removal of Fence      Linear Foot

202(15)       Pavement Planing      Square yard

SECTION 203

EXCAVATION AND EMBANKMENT

Standard Modifications

203-2.05  Borrow.  Add the following:  Borrow, Type A, B, or C when required, shall meet the requirements of Subsection 703-2.07, Selected Material, Type A, B, or C, respectively.  (5/12/89)

203-3.02 Embankment Construction.  On page 97, delete the 5th paragraph and substitute the following:  All embankments shall be constructed with moisture and density control unless the Engineer determines that such controls are not feasible, in accordance with approved methods.  (5/7/91)

Special Provisions

203-3.02 Embankment Construction.  Add the following:  The method of placement and compaction for Selected Material, Type D, shall be at the Contractor's option.  There are no placement or compaction requirements stipulated in this contract for Selected material, Type D.

203-4.01  Method of Measurement.  Add the following:  No deduction from the excavation quantities will be made for pavement removed under Item 202(2), Removal of Pavement.

Standard Modifications

203-5.01  Basis of Payment.  Change Pay items 203(5), (6) and (7) to read:  Borrow, Type _____.

Add the following:  When more than one type of borrow is specified, letter suffixes A, B, or C will be included within the parentheses of the item number in order to differentiate between the different Borrow types.  (5/12/89)

SECTION 204

STRUCTURE EXCAVATION FOR CONDUITS

AND MINOR STRUCTURES

Special Provisions

204-2.01  Materials.  Add the following: Bedding and backfill materials within the pavement structure shall meet the requirements for the applicable lift of material.  Material excavated from the trench shall be utilized for pipe bedding and backfill below or outside the pavement structure if the material meets the minimum requirements of Selected Material, Type C as specified in Subsection 703-2.07, Selected Material.  (9/1/89)

204-3.01 Construction Requirements.  Add the following to the third paragraph:  Material utilized for pipe bedding and backfill outside the pavement structure shall be placed in layers and compacted as approved by the Engineer.

SECTION 301

AGGREGATE BASE COURSE

Special Provisions

301-2.01  Materials.  Delete the second sentence of the first paragraph and substitute the following:  The gradation of base course material shall conform to Table 703-2, Grading D-1.

SECTION 401

ASPHALT CONCRETE PAVEMENT

Special Provisions

401-2.01  Composition of Mixtures.  Add the following to the first paragraph after the first sentence:  The Contractor shall submit, in writing, the proposed ratios at which he plans to blend the various aggregate stockpiles in order to achieve the target gradation submitted.

Add the following to the tolerance table of the fourth paragraph:

Sieve Size			Tolerance

1/2 inch				+ 7

No. 80					+ 4

Add the following after the tolerance table of the fourth paragraph:  The asphalt cement and aggregate submitted by the Contractor for Asphalt Concrete, Type IA Job Mix Design approval as tested according to Alaska T-17 shall conform to the following.  The asphalt content of the mix will be expressed as a percentage of the total mix.

Marshall Stability, pounds, minimum		1800

Voids, Total Mix %						3.0-5.0

Flow Value								8-14

Compaction Blows per Side				75

Voids in Mineral Aggregate, %, min.		14.0

Dust-asphalt ratio (1)					0.6-1.2

(1) Dust-asphalt ratio is defined as the percent of material passing the No. 200 sieve divided by the percent of asphalt (calculated by weight of mix).

The Voids in mineral aggregate is calculated by the following formula:

GmbPs

Voids in mineral aggregate = 100 - (______ )

Gsb

Where:

Gsb = bulk specific gravity of aggregate

Gmb = bulk specific gravity of compacted

mixture (ATM T-18), and

Ps  = aggregate, percent by total weight of

mixture

The Contractor should be cautioned that addition of crushed fines may be required to meet the Voids in Mineral Aggregate requirement.

The Alaska Test Method T-17 section E.4.a shall be deleted and the following should be substituted:

a.	From the data curves, asphalt contents are determined which yield the following:

1.	Maximum Unit Weight

2.	Maximum Stability

3.	Voids Total Mix at 4 percent

Add the following:  The asphalt cement and aggregate for Asphalt Concrete, Type III shall conform to the following:

Marshall Stability, pounds, minimum		1000

Voids, Total Mix %						3-5

Compaction Blows per Side				50

401-2.04  Asphalt Materials.  Add the following:  AC-5 asphalt cement will be used for the new asphalt concrete pavement mix.

401-3.01 Weather Limitations.  Delete in its entirety and substitute the following:  The asphalt mixture shall not be placed on a wet surface, on a surface of which the temperature is less than that determined from the following table for the appropriate mat thickness, or when other conditions would prevent the proper handling or finishing of the mixture.

SURFACE TEMPERATURE LIMITATIONS

| Mat Thickness | Surface Temperature Degrees F, min. |
| --- | --- |
| 3 inches or greater | 40 |
| between 1 and 3 inches | 45 |
| 1 inch or less | 50 |

(5/7/91)

401-3.06  Preparation of Existing Surface.  Add the following:  After planing of a section of the roadway has been completed, that section shall be inspected by the Engineer for areas of distress or failure.  Areas requiring repair shall have the remaining pavement removed, and the distressed area shall be excavated to the depth and limits directed by the Engineer.  The excavated area shall be backfilled, as directed by the Engineer, with crushed aggregate base course material in conformance with the requirements of Section 301 or with Asphalt Concrete, Type IA.

401-3.11  Spreading and Finishing.  Delete the fifth paragraph and substitute the following:  When the section of roadway being paved is under traffic, adjacent traffic lanes shall be paved to the same elevation before the end of the paving shift.  If the Contractor works a double shift, the adjacent travel lane shall be paved to the same elevation by the end of that day.

Add the following:  When pavement marking tape for striping is required, the longitudinal joints on the final lift shall be offset 6-inches from the plan lane lines.  The Contractor shall submit a Paving Plan for the Engineer's approval before starting this work.  The Paving Plan shall be submitted to the Engineer one week prior to initiating the paving operation.  The Paving Plan shall consist of, but not be limited to the following:

1.	Manuals for the paving machine and the rollers.

2.	Traffic Control Plan for the paving operations.

3.	Widths of pavement to be placed.

4.	Traffic marking installation plan.

Asphalt concrete pavement shall be spread and compacted in one layer if the total thickness is 3 inches or less.  In the digout areas, pavement shall be spread and compacted in two 3-inch thick layers.  The final lift across the digout shall be placed continuously with the mainline pavement.

401-3.12  Compaction.  Delete the second paragraph and substitute the following:  Rolling shall continue until all roller marks are eliminated and the mixture is compacted to at least 93% of the maximum theoretical density of the first sample from each lot as determined by AASHTO T-209.  Acceptance testing for field density shall be determined in accordance with ATM T-18.

Add the following:  All rolling operations on Asphalt Concrete, Type III pavement used as a levelling course shall be accomplished with a pneumatic tire roller.

401-3.14  Pavement Samples.  Delete the third sentence of the first paragraph and substitute the following:  Each sample shall be one core with a minimum diameter of 6-inches.

401-4.01 Method of Measurement.  Add the following numbered paragraph:

4.	Volume measurement determined by the use of a flow meter.  Asphalt cement quantities measured by the gallon shall be converted to tons in accordance with Subsection 109-1.02, Measurement of Quantities.  The flow meter shall correct the volume to gallons at 60 degrees F and shall be calibrated to 0.1 percent accuracy prior to production of hot asphalt pavement.  The flow meter shall be inspected and recalibrated as often as the Engineer deems necessary to assure its continued accuracy.

Waste will be computed based on the estimated tons of mix wasted and the percentage of asphalt added at the mixing plant, as determined by the Engineer.

(5/7/91)

401-4.02  Contract Price Adjustments.  Add the following to the first paragraph:  Asphalt Concrete, Type III will not be subject to price adjustments.

In the sixth paragraph, add the following:  Sampling will be done in front of the screed just prior to final placement or from the mat prior to breakdown rolling.

Delete the seventh paragraph and substitute the following:  Sampling for determination of oil content will be from in front of the screed just prior to final placement or from the mat prior to breakdown rolling.

In the eighth paragraph, add the following:  On projects consisting of more than 5000 tons, density evaluation shall be as follows:

For the purpose of evaluating the density of the material, a lot will be represented by fifteen tests, three for each sublot.  Each sublot sample shall consist of three cores randomly sampled throughout the sublot.  A representative single density value for each sublot will  be obtained  by averaging  the three sublot density test values.  This representative density shall become the density value reported for the sublot and the value used to evaluate individual lots for acceptance and price adjustment.

In the ninth paragraph, delete the second sentence and substitute the following:  Prior to computing a reduction in price, the validity of the failing test results for asphalt content and gradation tests shall be ascertained in accordance with ATM T-19.  Tests for density compliance will not be subject to ATM T-19 and no retests will be allowed.

401-5.01  Basis of Payment.  Add the following:  Anti-stripping additives used for Asphalt Concrete, Type 1A, will be paid on a contingent sum basis at a rate of $3.75 per 0.25 percent additive per ton of asphalt cement.

Asphalt cement and anti-stripping additive will not be paid for directly but will be subsidiary to Item 401(1B), Asphalt Concrete, Type III.

The work required for preparation of the existing surface prior to paving as described under Subsection 401-3.06, Preparation of Existing Surface, will be paid for under Item 202(2), Removal of Pavement, Item 203(3), Unclassified Excavation, Item 301(1), Crushed Aggregate Base Course and Item 401(1), Asphalt Concrete, Type IA.

SECTION 402

TACK COAT

Special Provisions

402-3.04  Dilution of Asphalt Material.  Add the following:  CSS-1 Emulsified Asphalt used for tack coat may be diluted not more than 50 percent water by weight or volume at the Engineer's direction.  The determination of this ratio shall be accomplished by weighing the distributor prior to adding water, by sticking the tank, or other means suitable to the Engineer.  Emulsified asphalt as manufactured is approximately 60 percent oil and 40 percent water.  Any required dilution is additional water.

402-3.05  Application of Asphalt Material.  Modify the application rate given in the first paragraph from "0.05 to 0.10 gallons" to "0.05 to 0.15 gallons".

(9/1/89)

SECTION 603

CULVERTS AND STORMDRAINS

Special Provisions

603-1.01  Description.  Add the following:  The new culvert at Sta 61+10 shall be installed at the same line and grade as the existing culvert to be removed.

603-2.01  Materials.  Add the following to the list of materials:

Corrugated Polyethylene Pipe            706-2.07

In the second paragraph, add "Corrugated Polyethylene Pipe (24 inch maximum diameter)" to the list of options allowed under Item 603(17).

Add the following to the last paragraph:  Heights of cover for corrugated polyethylene pipe shall be the same as for aluminum culvert pipe.

603-3.04  Joining Pipe.  Add the following paragraph:  Polyethylene pipe couplings shall be corrugated to match the pipe corrugations and their width shall not be less than one half the nominal pipe diameter.

(5/7/91)

SECTION 604

MANHOLES AND INLETS

Special Provisions

604-3.01  Construction Requirements.  Add the following:	Standard drainage structure steps shall be cast during structure pour or installed before concrete hardens.

604-4.01  Method of Measurement.  Add the following:  Frames, grates and lids will not be measured for payment.

604-5.01  Basis of Payment.  Add the following:  Frames, grates and lids are subsidiary to the drainage structure.

Delete Item 604(1) Storm Sewer Manhole and add the following new pay item:

Pay Item No.			Pay Item	Pay Unit

604(1)      Storm Drain Manhole, Type I	Each

SECTION 606

GUARDRAIL

Special Provisions

606-1.01  Description.  Add the following:  This work shall also consist of installing breakaway cable terminals at the locations shown on the plans.

606-3.01  Posts.  Add the following:  The foundation type for the Breakaway Cable Terminal Posts shall be the "steel post embedment-soil or concrete" option as shown on Standard Drawing G-18.

606-3.02  Rail Elements.  Add the following:  Guardrail elements shall be factory bent for all radii less than 75-feet.

606-3.09  Length of Need Verification.  Add the following subsection:  After shaping the slopes and staking all proposed guardrail locations, the Contractor shall notify the Engineer to field verify the beginning and ends.  The staked location of the guardrail will be approved by the Engineer prior to installation.  The Engineer may determine that additional guardrail is necessary, and the Contractor shall comply without delay.  (3/17/86)

Standard Modifications

606-4.01 Method of Measurement.  Delete the last sentence of the first paragraph and substitute the following:  Double faced (and nested) installations will be measured by dividing the number of panels by two, before multiplying by the panel length.  Thrie beam transition pieces shall be measured by multiplying the number of panels by 6.25 feet and shall be paid for at the contract price for Thrie Beam Guardrail.  (5/12/89)

Special Provisions

606-4.01  Method of Measurement.  Delete the third paragraph and replace with the following:  Breakaway Cable Terminals shall be measured per each installation which shall include anchor cable assembly, terminal posts, terminal end, and all associated hardware.  Rail elements, standard posts, and blocking for Breakaway Cable Terminals shall be measured as Beam Type Guardrail.

606-5.01  Basis of Payment.  Add the following pay item:

Pay Item No.           Pay Item            Pay Unit

606(8)        Breakaway Cable Terminal     Each

SECTION 607

FENCES

Special Provisions

607-3.01 Construction Requirements.  Add the following to the fourteenth paragraph:  Reconstructed fences shall have new posts and foundations installed.

607-4.01 Method of Measurement.  Add the following:  Posts and foundations required for the reconstructed fences will not be measured for payment, but will be subsidiary to Item 607(4), Reconstructed Fence.

SECTION 618

SEEDING

Special Provisions

618-1.01  Description.  Delete this subsection and substitute the following:  All new or disturbed slopes and any other areas directed by the Engineer shall be overlaid with topsoil and seeded.  This work shall consist of tracking the soil, followed by the application of seed, mulch, fertilizer and water.  It is intended to provide a living ground cover as soon as possible on all slopes.

618-2.01  Materials.  Add the following to the list of material specifications:

Mulch                      Subsection 727-1.01

618-3.01  Soil Preparation.  Add the following:  Seed shall be applied as detailed below immediately after the shaping of the slopes.  All slopes to be seeded shall be covered with topsoil in accordance with Section 620 and prepared by "walking" a dozer transversely up and down the slopes, or graded with a scarifying slope board.  The resultant indentations shall be perpendicular to the fall of the slope.  This should be completed as soon as topsoil is placed on the slopes.  The Contractor may round the top and bottom of the slopes to facilitate tracking and to create a pleasing appearance, but drainage flow lines shall not be disrupted.  Where the fill is adjacent to  wetlands, the equipment performing this operation must be kept entirely on the fill slope and must not encroach onto the wetlands.  The performance of this work is incidental to seeding and will not be paid for directly.

618-3.03  Application Method.  In the first sentence of subparagraph 6. under numbered 1., Hydraulic Method, delete the following:  "Item 619(1),".

Add the following:  Seed, mulch and fertilizer shall be applied as shown in the following table per 1,000 square feet.  If the hydraulic method for seed and mulch is used, it shall be made in one application.  All fertilizer shall be applied by the hydraulic method.

Application

Item              Ingredients           Rate Lbs/MSF

Seed Mix       Bering Hairgrass (Norcoast)    0.40 lb.

Kentucky Bluegrass (Nugget)    0.30 lb.

Red Fescue (Arctared)          0.30 lb.

TOTAL           1.00 lbs/MSF

Mulch                                          35.0 lbs.

Fertilizer           20-20-10                  12.0 lbs.

The Contractor shall not remove the required tags from the seed bags.

618-4.01  Method of Measurement.  Delete the second paragraph and substitute the following:  Seeding by the pound will be the number of pounds of seed (Dry Measure) accepted in place.  The amount of mulch and fertilizer in this work, including any water used for initial slurry or maintenance, and any required reseeding, will be subsidiary to seeding and will not be measured separately for payment.

Delete the last paragraph.

618-5.01  Basis of Payment.  Add the following:  Fertilizer and mulch as described above, including water used for maintenance and any required reseeding will not be paid for directly, but will be subsidiary to Item 618(2), Seeding.

(6/1/90)

SECTION 620

TOPSOIL

Special Provisions

620-2.01  Materials.  Add the following:   Prior to seeding, the topsoil shall be tested for pH.  If the pH is less than 6.0, limestone shall be added in accordance with Table 726-1, Limestone Requirements.

620-5.01  Basis of Payment.  Add the following:  Payment for the addition of limestone, if required, will be subsidiary to Item 620(1), Topsoil.

SECTION 630

GEOTEXTILE FOR EMBANKMENT SEPARATION

AND REINFORCEMENT

Standard Modifications

Delete this Section in its entirety and substitute the following:

630-1.01  Description.  Prepare surfaces and furnish and place geotextiles for embankment separation as shown on the plans or as directed.

630-2.01  Materials.  Geotextile material and thread used in joining geotextiles by sewing shall conform to Subsection 729-2.01, Embankment Separation and Reinforcement.

630-3.01  Construction.

1.	Surface Preparation.  Prepare surface by removal of stumps, boulders and other sharp objects, and dewatering any areas as necessary.  Fill holes and large ruts with material as shown on the plans or as approved.  Material used to fill ruts and holes will be paid for at the unit price for the class of material used.  Removal of stumps, boulders, sharp objects and dewatering, if necessary, will be considered subsidiary to this item.

2.	Fabric Laying.  Unroll fabric (geotextile) directly onto the prepared surface.  Stretch fabric to remove any creases or wrinkles.  Keep fabric taut during placement and spreading of cover material.

Lay fabric for embankment separation parallel to the direction of the material spread.  When laid on horizontal curves, it shall be placed in segment lengths not exceeding those listed in Table 630-1, with butt ends cut to match and sewn or overlapped.  When laid on tangents, the fabric shall be straightened and butt ends sewn or overlapped.

TABLE 630-1

GEOTEXTILE PLACEMENT ON CURVES

| Degree of Curve | Maximum Segment Length (feet) |
| --- | --- |
| 1 | 125 |
| 2 | 90 |
| 2 | 75 |
| 4 | 65 |
| 5 | 55 |
| 6 | 50 |

b.	Fabric Joining.  Join fabric by sewing or overlapping.  Bonding or other attachment methods may be used, subject to the approval of the Engineer.  If sewn, all seams shall be sewn by butterfly or J-seams and develop a minimum of 85 percent of the specified geotextile strength.  Seams shall be sewn with a double-thread chain-lock stitch.  The seam shall be 1-1/2 inches (+1/4 inch) from the outside edge of the fabric.  If seams are to be overlapped, adjacent sections of fabric shall be overlapped a minimum of three feet unless otherwise shown on the plans.

4.	Material Placing and Spreading.  During placing and spreading, a minimum depth of 1 foot shall be maintained at all times between the fabric and the wheels or tracks of the construction equipment.  Spread the material in the direction of the fabric overlap.  Maintain a proper overlap and fabric continuity.  If sewn or bonded seams are used, place the cover material and spread in only one direction for the entire length of the geotextile.  On weak subgrades, spread the cover material simultaneously with dumping to minimize the potential of a localized subgrade failure.

Construction equipment shall not make sudden stops, starts, or turns on the cover material.  Use a smooth drum roller to achieve the specified density.

5.	Geotextile Repair.  If fabric used for separation should be torn for any reason, the cover material shall be cleaned from the torn area and the fabric shall be repaired by overlaying with a minimum three foot overlap around the edges of the torn area.  The patch shall remain in place when material is placed over the affected area.

6.	Shipping and Handling.  Protect fabric from direct sunlight, ultraviolet rays, temperatures greater than 140 degrees F, moisture, and contamination from mud, dirt, dust, and debris.  Label or tag each roll to provide product identification.  Geotextiles will be  rejected if at the time cover material is placed

they have been removed from protective wrapping for more than five days, or if they have detrimental defects or damage which  cannot be repaired in the field.

630-4.01  Method of Measurement.  Geotextile will be measured in final position by the square yard, determined by multiplying plan neat line width by the measured length parallel to installation centerline along the ground surface, for installations acceptably completed.  No allowance will be made for overlap, whether at joints or patches.  No payment will be made for geotextile placed beyond the limits shown on the plans unless placed at the prior, written direction of the Engineer.

630-5.01  Basis of Payment.  Payment will be made at the contract unit price per square yard.  This price shall be full compensation for furnishing all materials, surface preparation, delivering and laying the fabric and for all labor, equipment, tools and incidentals necessary to complete this item.

Payment will be made under:

Pay Item No.             Pay Item              Pay Unit

630(1)         Geotextile, Separation     Square Yard

(5/7/91)

SECTION 640

MOBILIZATION AND DEMOBILIZATION

Special Provisions

640-2.01  Method of Measurement.  Delete item 3. and substitute the following:

3.	When the letter of project completion has been issued and the Contractor has made all the required submittals the remaining balance of the amount for this item will be paid.  (5/7/91)

640-3.01  Basis of Payment.  Add the following:  Preparation of the CPM work schedule and two week work plans in accordance with Section 108, will not be paid for directly, but will be subsidiary to Item 640(1) Mobilization and Demobilization.

SECTION 641

TEMPORARY EROSION AND POLLUTION CONTROL

Special Provisions

641-1.01 Description.  Add the following: Silt fence shall be installed prior to any work in or near the locations shown on the plans, and in accordance with the provisions of Subsection 107-1.11, Protection and Restoration of Property and Landscape.  Additional silt fencing may be required at any upland site as directed by the Engineer.

641-1.03 Materials.  Add the following subsection:  The silt fence filtration material shall meet the requirements shown in Table 729-4 in Section 729, Geotextiles.

The silt fence support framework shall be finished 4 x 4-inch wood, 3-inch diameter wood, #6 rebar with PVC sleeves, iron pipe or other posts capable of supporting the installation, as approved by the Engineer.

The mesh support shall be WWF 6x6 W1xW1 or as approved by the Engineer.

641-2.01 Construction Requirements.  Add the following:  The Contractor shall be responsible for the containment, cleanup, and disposal of all construction-related discharges of petroleum fuels, oil, and/or other hazardous substances to the land and water.  The temporary erosion and pollution control plan shall address the measures the Contractor shall implement in the containment, cleanup, and disposal of such substances as well as the methods to be utilized for disposing of waste oil or other hazardous substances generated by construction equipment or activities.  The plan shall also include a list of the quantities and types of materials available on site to be utilized for hazardous substance containment and cleanup activities.  The plan shall comply with the requirements of 18 AAC 75 and Title 46 of the Alaska Statutes.

The silt fence shall be installed as detailed on the plans.  The silt fence shall not be removed until adequate vegetative growth insures no further erosion of the slopes.  The silt fence shall be removed and disposed of off the project upon completion of construction at those sites.  The fabric shall be cut off at ground level and the wire and posts shall be removed.  The silt fence removal shall be performed in such a manner that retained silt is not discharged into wetlands.  If a sediment height in excess of 4 inches above ground remains, the sediment shall be spread on the roadway side of the fence location and seeded immediately in accordance with Section 618, Seeding.

641-2.02  Best Management Practices.  Add the following subsection:  The following factors shall be utilized by the Contractor in the development of the erosion and sediment control measures, which are more easily accomplished if construction operations are properly scheduled.  Operation should be planned, when possible, for that time of year when potential for erosion is low.  Work on pier footings or drainage structures in streams, and grading operations that encroach or border streams, should be performed during low-flow periods.

1.	Clearing by cutting, slashing and disposing of the trees and other debris.

2.	Installation of temporary erosion and sediment control measures on the downhill side of the construction work area before building the embankment or excavating a slope.

3.	Construction of temporary drainage ditches to convey off-site drainage through the work area and diversion of the flow before excavating for the permanent drainage structure.

4.	Installation of all erosion and sediment control measures at the toe of embankment and excavation operations.  Silt fences are a structural method for providing temporary erosion and sediment control.

5.	Construction of the embankment in horizontal lifts, providing protection from erosion by temporarily or permanently mulching and seeding the slopes in vertical increments, preferably of no more than 10-feet.  Keep the top of the work area shaped and compacted so that surface water will run off without causing serious erosion should a storm occur.  At the end of each day's work or before a storm, berms and temporary downdrains must be constructed to control the release of on-site drainage.

6.	Excavation operations performed in the same manner as the embankment operation with the exception of slope drains and compaction.  This operation will release on-site drainage at a point where appropriate control measures have been installed.  The excavated slope must be finished as it is constructed and incrementally protected and seeded.

7.	Shaping and compacting of the embankment surface or cut when the area reaches subgrade elevation.  Surface runoff should be controlled by berms and ditches and released through temporary pipes or ditches.  Detain sediment-laden runoff and trap sediment before releasing runoff from the construction area.

8.	Inspection and maintenance of each erosion and sediment control measure should be performed after each significant storm.  Silt fences should be inspected periodically for damage, such as tearing by wind, animals or equipment, and for the amount of sediment which has accumulated.  Removal of the sediment is generally necessary when it reaches half the height of the silt fence.  In situations where access is available, machinery can be used; otherwise it must be removed manually.  The key elements to remember are:

a.	The sediment deposits should be removed when heavy rain or high water is anticipated.

b.	The sediment removed should be placed in an area where there is little danger of erosion.

641-3.01  Method of Measurement.  Add the following:  Silt fence will be measured by the linear foot along the top of the fence.

641-4.01  Basis of Payment.  Add the following:  Payment for Item 641(2), Silt Fence, will be full compensation for all labor, equipment and materials required to furnish, install, maintain and remove the silt fence in accordance with these specifications.

Add the following pay item:

Pay Item No.           Pay Item           Pay Unit

641(2)              Silt Fence         Linear Foot

(6/1/90)

SECTION 642

CONSTRUCTION SURVEYING

Special Provisions

642-1.01  Description.  Add the following to the first paragraph:  The Contractor shall perform in accordance with the Department's "Construction Surveying Requirements", dated June, 1987.  A copy of this document is attached to these Special Provisions in Appendix B.

642-3.01  Construction Requirements.   Add the following:

12.	The Contractor's survey crews shall comply with approved traffic control plans.  Crews shall coordinate their activities with the project's  Worksite Traffic Supervisor.

SECTION 643

TRAFFIC MAINTENANCE

Special Provisions

643-1.02  Traffic Control Plan.  Add the following to the third paragraph:  All TCP's submitted shall indicate the dates and hours for which the TCP will be in effect.  Each TCP shall provide the name and 24-hour telephone number of the Worksite Traffic Supervisor.

643-1.04 Construction Phasing Plan.  Revise the first sentence to read as follows:  A Construction Phasing Plan shall be submitted at least five working days prior to the preconstruction conference for approval by the Engineer and shall consist of the following:  (5/7/91)

Delete Items 2. and 3. and substitute the following:

2.	Division of the Construction Sequencing Plan into steps.  A plan for each step shall show the work areas and traffic routing consistent with the Progress Schedule.  Changes shall be submitted to the Engineer for approval 30 days in advance of their proposed implementation.

3.	TCP's corresponding to each step of the Construction Sequencing Plan in accordance with Subsection 643-1.02, Traffic Control Plan.

643-2.01  Materials.  Add the following under Item 3. Barricades and Vertical Panels:  Type III barricades shall have a minimum width of 8-feet.

Delete numbered paragraph 8. in its entirety and substitute the following:

8.	Work Zone Pavement Markings.  Work zone pavement markings shall be either paint conforming to Subsection 708-2.03 with glass beads conforming to Subsection 712-2.08, preformed marking tape (removable or non-removable) conforming to Subsection 712-2.14, or temporary raised pavement markers conforming to Subsection 712-2.15 or 712-2.16, as appropriate.  The markings shall be applied in accordance with Section 670, Traffic Markings, and the manufacturer's recommendations.

Add the following:

12.	Portable Changeable Message Boards.  Portable changeable message boards shall be truck or trailer mounted with a self-contained power supply and shall have the following features:

a.	Message sign panel size of 5'-8" by 7'-5", minimum, with a capacity for a three line message.

b.	Eight character display per message line.

c.	Message modules containing at least 36 different preprogrammed messages (three line displays) to be selected by the Engineer.

d.	The capacity to create, preview, and display new messages and message sequences.

e.	A waterproof, lockable cover for the controller keyboard.

f.	An operator's manual, a service manual, and wiring diagram.

g.	Quick release attachments on display panel cover.

h.	Variable flash and sequence rates.

i.	Manual and automatic dimming capability on lamp bulb matrix models.

j.	The ability to mount at least 7 feet above the pavement to the bottom of the message sign panel.

k.	The capacity to operate with a battery pack for 2 hours under full load.

643-3.02  Roadway Characteristics During Construction.  Add the following to the first paragraph:  The maximum spacing between channelizing devices in a taper should be approximately equal in feet to the speed limit.

643-3.03  Public Notice.  Add the following:  The Contractor shall run one-sixteenth page newspaper advertisements for a minimum of one (1) week in advance of commencing construction, resuming construction after seasonal suspension, or any scheduled delay, or closure of driving lanes within the project corridor.  The Contractor  shall then  run continuous one-sixteenth page newspaper advertisements for the duration of that delay, or closure.  All advertisements shall be published in the following newspapers:

1.	Anchorage Daily News, and,

2.	Anchorage Times.

The Contractor shall indicate on the ad order a first preference for the local news section and an exclusion for the classified section.  These advertisements shall have the project name, a map, detailed traffic information, effective dates, and provide the Contractor's name and a "hot-line road report" telephone number for the public to access a pre-recorded message with current roadway status.  Advertisements shall be promptly cancelled when they have served their purpose.  The Worksite Traffic Supervisor shall submit proof advertisements, on the form provided, to the Engineer for review and approval at least forty-eight (48) hours prior to intended release and a copy of the Proof of Publication with tear sheet immediately after publication.

643-3.04  Traffic Control Devices.  Under Item 1., Embankments, change the reference from "Annual Average Daily Traffic (AADT)" to read "Average Daily Traffic (ADT)".

Add the following to Item 1., Embankments:  Barrier reflectors shall be mounted on the face of barrier adjacent to traffic on 50-foot centers and shall be a minimum height of 18 inches above the surface of the roadway.

Delete numbered paragraph 4. in its entirety and substitute the following:

4.	Work Zone Pavement Markings.  Pavement Markings shall be in place before opening a paved roadway to public traffic for longer than one continuous work shift.

Temporary Pavement Markings shall be installed and maintained on all new and overlay Hot Asphalt Concrete Pavements, Seal Coats and Surface Treatments;  whenever existing pavement markings for centerline or lane lines have been obliterated or worn off;  and until final pavement markings (covered under Section 670) can be placed on the final pavement surface.  Temporary Pavement Markings are also required on temporary pavements, detours, and interim paving lifts.

Temporary Pavement Markings shall consist of marking the work zone in accordance with this subsection, the traffic control plans, and Parts III and VI of the Alaska Traffic Manual.

Conflicting pavement markings shall be removed in accordance with Subsection 670-3.04, Paint Removal.  Construction shall be staged so that no traffic is routed over conflicting markings.

Sections of existing roadway that will be opened to traffic during the winter shall be marked at the same location as the existing lines and markings unless shown otherwise on the plans, an approved traffic control plan, or as directed by the Engineer.

Short-term operations.  The following exceptions to Part III of the Alaska Traffic Manual are allowed for Temporary Pavement Markings which will be in place for less than two weeks:

a.	Passing Zones.

Broken line pavement markings shall conform to Table 643-1, Short-Term Markings In Safe Passing Areas.  This applies to both white lane lines for traffic moving in the same direction and yellow center lines for two or three lane two-way roadways when it is safe to pass.

Only temporary raised pavement markers conforming to Subsection 712-2.16 shall be used for short-term markings on seal coat and surface treatment pavements.  The markers shall be installed prior to the application of the asphalt surface material and cover coat and in accordance with Table 643-2.

On multicourse surface treatments the temporary raised pavement markers shall be installed following the full width application of the first layer of cover coat.  The markers shall be installed on each day's completed surface before the pilot car operations are removed and unescorted traffic is allowed on the surface treatment.

If the temporary raised pavement markers cannot be adequately secured to the first course of the cover coat material with the marker's flexible bituminous adhesive, the Contractor shall secure them to the surface with two nails and washers, of the appropriate length and area, so the nails do not pull through the foot of the marker.

After application of the asphalt and cover coat material, the vinyl protective cover shall be removed to expose the retroreflective surfaces of the marker.  Temporary markers shall be installed so that the foot of the marker unit is facing the direction of the approaching distributor.

Final pavement markings shall not be placed until the seal coat or surface treatment has been opened to traffic for at least 14 days.  Final pavement markings shall be applied within 10 days of the completion of the final sweeping or brooming of the mainline seal coat or surface treatment.  Seal coat and surface treatment pavements are exempt from the two week requirement stated in short-term operations.

SHORT-TERM MARKINGS

TABLE 643-1

______________________________________________________________

|                  |     LENGTH OF       |       SKIP          |

|    MARKING       |     MARKINGS        |      SPACING        |

|    MATERIAL      |  NORMAL  |  SEVERE* |  NORMAL  |  SEVERE* |

|                  | CURVATURE| CURVATURE| CURVATURE| CURVATURE|

|                  |          |          |          |          |

|    REMOVABLE     |          |          |          |          |

|    PREFORMED     |  4 feet  |  2 feet  |  36 feet |  18 feet |

|  MARKING TAPE    |          |          |          |          |

|                  |          |          |          |          |

|                  |          |          |          |          |

|    TEMPORARY     | 2 units  | 2 units  |          |          |

| RAISED PAVEMENT  |          |          |          |          |

|     MARKERS      | 3 feet   | 2 feet   |  34 feet |  18 feet |

|                  | on center| on center|          |__________|

*Severe Curvature:  When the degree of curvature is 5 or greater or when it is necessary for motorists to reduce their speed at least 15 miles per hour below the 85th percentile speed.

TABLE 643-2

______________________________________________________________

|                  |     LENGTH OF       |       SKIP          |

|    MARKING       |     MARKINGS        |      SPACING        |

|    MATERIAL      |  NORMAL  |  SEVERE* |  NORMAL  |  SEVERE* |

|                  | CURVATURE| CURVATURE| CURVATURE| CURVATURE|

|                  |          |          |          |          |

|    REMOVABLE     |          |          |          |          |

|    PREFORMED     |  2 feet  |  1 foot  |  38 feet |  19 feet |

|  MARKING TAPE    |          |          |          |          |

|                  |          |          |          |          |

|                  |          |          |          |          |

|    TEMPORARY     | 1 unit   | 1 unit   |          |          |

| RAISED PAVEMENT  |          |          |          |          |

|     MARKERS      | 40 feet  | 20 feet  |  ------  |  ------  |

|                  | on center| on center|          |__________|

* Severe Curvature:  When the degree of curvature is 5 or greater or when it is necessary for motorists to reduce their speed at least 15 miles per hour below the 85th percentile speed.

b.	No-passing zones.  No passing zones, as detailed in Section 3B-3 to 3B-5 of the Alaska Traffic Manual, shall be identified with R4-1, (DO NOT PASS) and R4-2, (PASS WITH CARE) signs and short-term temporary pavement markings.  The signs shall be supplemented with two 18 inch by 18 inch, minimum size, fluorescent red-orange flags mounted above the signs.  The signs shall be mounted so that the bottom of the sign is at least 5 feet above the adjacent roadway.

(1)	Sections of roadway with an Average Daily Traffic (ADT) of less than 2000 vehicles per day, seal coats, and surface treatment pavements shall be marked with temporary pavement markings conforming to Table 643-2.

(2)	Sections of roadway with an ADT of 2000 vehicles per day or greater, shall have broken centerline markings conforming to Table 643-1 and no-passing markings consisting of a continuous 4-inch strip of removable preformed marking tape or temporary raised pavement markers placed on 5-foot centers and the broken center line markings are not required.

c.	Other Markings.  It will not be necessary to install arrows, legend, stop lines, crosswalks, or right edge line markings.  Railroad crossing markings should be considered for areas that have sight restrictions or high accident experience.  Left edge lines will not be required unless they will be the only markings on the paved surface, such as ramps.  All other types of markings are required.  These include channelizing lines and gore area outlines.

The Contractor shall maintain all Temporary Pavement Markings for their intended life without additional compensation for any reapplication that may be required.  There will be no additional compensation to upgrade short-term Temporary Pavement Markings to long term Temporary Pavement Markings when the final pavement markings cannot be placed within the two week time period.

Only temporary raised pavement markers or removable preformed retroreflective marking tape shall be used as Temporary Pavement Markings on the final pavement surface.  They shall be completely removed and disposed of in conjunction with the placement of the final markings.  Final pavement markings shall be in place before work is suspended for the winter.

Temporary Pavement Markings may not be required for construction activities that will be completed within one continuous work shift if the roadway is adequately delineated with a complement of warning signs, channelizing devices, and flaggers as required by the Alaska Traffic Manual.  The Engineer shall determine the need for the Temporary Pavement Markings for these conditions.

(5/7/91)

Add the following:

9.	Portable Changeable Message Boards.  These boards shall be used to notify the travelling public of the upcoming work as deemed necessary by the Engineer.  Based on the TCP contained in the plans, a maximum of two boards are required for this project.

643-3.08  Construction Sequencing.  Delete this subsection in its entirety and substitute the following: A restriction to traffic is considered any condition of the roadway surface or any work operation or traffic control setup that reduces the number of lanes or lane widths, stops traffic, or causes the 85th percentile speed to fall more than 10 mph below the posted speed limit.  An approved Traffic Control Plan is required before any restriction to traffic is implemented.

The following restrictions to traffic will be allowed, except during the peak hours listed below:

1.	Throughout the duration of the project, a minimum of one lane in each direction along the Seward Highway shall remain open to traffic.

2.	Ramps may be closed to traffic for a period not to exceed 12 hours.  Ramp closures shall be limited to two occurring at the same time, one entrance ramp and one exit ramp.

No restrictions to traffic on the project will be permitted during the following peak traffic hours:

1.	Monday through Thursday:

a.	Huffman Road to Tudor Road

Northbound:	7:00 AM to 9:00 AM

Southbound:	3:00 PM to 6:30 PM

b.	Tudor Road to 36th Avenue

Northbound:	7:00 AM to 9:00 AM, and

3:00 PM to 6:30 PM

Southbound:	3:00 PM to 6:30 PM

2.	Friday:

Huffman Road to 36th Avenue

Northbound:	7:00 AM to 9:00 AM

Southbound:	3:00 PM to 10:00 PM

3.	Sunday:

Huffman Road to 36th Avenue

Northbound:	12:00 PM to 10:00 PM

4.	Around any holiday as described below (in addition to times listed in items 1. through 4., above):

Huffman Road to 36th Avenue

Southbound:

If a holiday falls on Sunday, Monday or Tuesday, from 3:00 PM to 10:00 PM on the Friday before the holiday.

If a holiday falls on Wednesday, from 3:00 PM to 10:00 PM on the day before the holiday.

If a holiday falls on Thursday, Friday or Saturday, from 3:00 PM to 10:00 PM on the day before the holiday.

Northbound:

From 12:00 PM to 10:00 PM on all holidays.

Traffic will be permitted on a planed roadway surface for a maximum period of 72 hours prior to resurfacing.  Appropriate signing shall be installed in accordance with subsection 643-3.04, Traffic Control Devices, Item 2., Adjacent Travel Lane Paving.

A fillet or wedge of asphalt concrete material shall be placed at a 3:1 slope on transverse cold-planed joints and at ramp exit and entrance locations as directed by the Engineer.  This material shall be placed in a manner that will provide stability for errant vehicles where the pavement edge dropoff exceeds 1.5 inches.

A portable concrete barrier will be required if an excavation or fill area, as described in Subsection 643-3.04(1), exists within 30 feet from the edge of a traveled way.

643-4.01  Method of Measurement.  Delete the second sentence of the first paragraph under Item 2. and replace with the following:  The quantities to be paid for shall be the number of units of each of the bid items that are installed, accepted and maintained in place during the life of this contract.  Permanent Construction Signing will not be measured for payment, but will include all permanent construction signs, as detailed on the plans, that are installed, accepted and maintained during the life of this contract.

THIS PAGE LEFT BLANK

INTENTIONALLY

Delete the last sentence of the first paragraph under Item 3. and replace with the following:  The quantities to be paid for shall be the number of hours or days that the setups are installed, accepted and maintained in place during the life of this contract.

Delete numbered paragraph 6 in its entirety and substitute the following:

6.	Temporary Pavement Markings will be measured by the single stripe station.  A single stripe is a marking or a temporary raised pavement marker four inches in width.  Wider striping will be measured as multiples of four inches.  Centerline gaps will not be deducted from measurements.  Installation of any word and symbol markings as well as the removal of the Temporary Pavement Markings will not be measured separately but will be subsidiary to this item.  The No-Passing Zone signing, as described in Subsection 643-3.04, 4., b., will not be measured separately but will be subsidiary to this item.

Delete paragraph 7., Seasonal Pavement Markings in its entirety.

(5/7/91)

Pay Item 643(25), Portable Changeable Message Board will be measured by the day for each sign used as approved by the Engineer.

Standard Modifications

643-5.01 Basis of Payment.  Change the pay unit for item 643(3), Permanent Construction Signing, from "Calendar Day" to "Lump Sum."  (5/7/91)

Special Provisions

643-5.01  Basis of Payment.  In the second paragraph, delete Item 1., Seasonal Pavement Markings .

In the fourth paragraph, delete Pay Item No 643(14), Seasonal Pavement Markings.

(5/7/91)

Change the pay unit for item 643(11), Portable Concrete Barrier from "Each" to "Linear Foot".

Add the following:  Barrier reflectors will not be paid for directly, but will be subsidiary to Pay Item 643(11), Portable Concrete Barrier.

Payment for Pay Item 643(25), Portable Changeable Message Board will be full compensation for all labor, equipment, and materials to mobilize, move, maintain, program, and operate a portable message board on the project.

Add the following pay items:

Pay Item No.            Pay Item               Pay Unit

643(25)	  Portable Changeable Message        Day

Board

SECTION 644

SERVICES TO BE FURNISHED

BY THE CONTRACTOR

Special Provisions

644-2.01  Field Office.  Delete this subsection in its entirety and substitute the following:  The Contractor shall furnish and maintain a suitable office for the Engineer, available for occupancy from two weeks prior to commencing work through 30 days after the Engineer issues a letter of project completion.  The following office requirements shall be met:

1.	A minimum of 1000 square feet of floor area.  The office area shall be divided so that it contains an office room separated by a closable door.  The office room shall have a minimum of 150 square feet of floor space.

2.	A thermostatically controlled interior heating system with necessary fuel.

3.	Adequate electrical lighting and 120 volt, 60 cycle power.

4.	A minimum of 100 square feet of window area and adequate ventilation.

5.	Adequate parking for a minimum of 12 vehicles.

6.	Attached indoor plumbing with sanitary lavatory facilities provided.

7.	Telephone service available at the office location.

8.	If a part of the Contractor's building, it shall be completely partitioned off from the balance of the structure and provided with a separate outside door equipped with a lock.

9.	Located within one mile of the project.

Add the following Section:

SECTION 645

TRAINING PROGRAM

Special Provisions

645-1.01  Description.  This Training Special Provision is in implementation of 23 U.S. Code 140(a).

As part of the Contractor's equal employment opportunity affirmative action program, the Contractor shall provide on-the-job training aimed at developing full journeymen in the type of trade or job classification involved.  The number of trainees to be trained under this contract is one.

645-2.01  Objective.  Training and upgrading of minorities and women toward journeyman status is a primary objective of this program.  Accordingly, the Contractor shall make every effort to enroll minority trainees and women to the extent that such persons are available within a reasonable area of recruitment and will be responsible for documenting such efforts in order to demonstrate compliance with this Training Special Provision.  This training commitment is not intended, and shall not be used, to discriminate against any applicant for training, whether a member of a minority group or not.

645-3.01  General.  The Contractor shall determine the distribution of the required number of trainees among the various work classifications based on his needs and the availability of journeymen within a reasonable area of recruitment.

It is the intention of these provisions that training is to be provided in the construction crafts rather than clerk-typists or secretarial-type positions.  Training is permissible in lower level management positions such as office engineers, estimators, timekeepers, etc., where the training is oriented toward construction applications.  Training in the laborer classification may be permitted provided that significant and meaningful training is provided and approved.  Some offsite training is permissible as long as the training is an integral part of an approved training program and does not comprise a significant part of the overall training.

Reimbursement for offsite training indicated above may only be made to the Contractor where he does one or more of the following and the trainees are concurrently employed on a Federal-aid project; contributes to the cost of the training, provides the instruction to the trainee or pays the trainee's wages during the offsite training period.

Where feasible, 25 percent of apprentices or trainees in each occupation shall be in their first year of apprenticeship or training.

Prior to award of the contract, the Contractor shall submit his training proposal for approval, indicating the number of trainees to be trained in each selected classification and the training program to be used.  Furthermore, the Contractor shall specify the starting time for training in each of the classifications.  To this end, completed certification forms, appropriate to the classifications selected, shall be submitted for each trainee.

1.	Trainees in apprenticeship programs currently approved by the U.S. Department of Labor shall be entered on Form 25A311 "Contractor's FHWA Apprenticeship Certification."

2.	Trainees not in approved apprenticeship programs, including laborers and teamsters, shall be entered on Form 25A310 "Contractor's FHWA OJT Certification."  These trainees shall receive at least 500 hours training on the project.

The minimum length and type of training for each classification will be established in the training program selected by the Contractor and approved by the Department.  The Department shall approve any program which will reasonably qualify the trainee for journeyman status in his classification by the end of the overall training program, and which conforms to the Contractor's equal employment obligations.  Existing approved programs shall be considered acceptable except in those cases where the Department has determined that the program is not being administered in a manner consistent with the equal employment obligations stipulated in Federal-Aid provisions.

It is normally expected that a trainee will begin his training on the project as soon as feasible after start of work utilizing the skill involved and remain on the project as long as training opportunities exist in his work classification or until he has completed his training program.  It is not required that all trainees be on board for the entire length of the contract.  A Contractor will have fulfilled his responsibilities under this Training Special Provision if he has provided acceptable training to the number of trainees specified.

If, in the judgement of the Contractor, a trainee becomes proficient enough to qualify as a journeyman before the end of the prescribed training period, and the Contractor so employs such trainee, the individual training program will be considered completed.

The Contractor shall furnish each trainee a copy of the program he will follow during training on the project, and with a certification showing the type and length of training satisfactorily completed.  No employee shall be employed as a trainee in any classification in which he has successfully completed a training course leading to journeyman status, or in which he has been employed as a journeyman.

The Contractor shall advise all employees and applicants for employment of available training programs and entrance requirements for each.

The Contractor shall periodically review the training and promotion potential of minority group and women employees and shall encourage eligible employees to apply for such training and promotion.

The Contractor shall provide for the maintenance of records and the furnishing of periodic reports documenting the progress of each trainee.

645-3.02  Wages.  Trainees will be paid at least 60 percent of the appropriate minimum journeyman's rate specified in the contract for the first half of the training period, 75 percent for the third quarter of the training period, and 90 percent for the last quarter of the training period, unless apprentices or trainees in an approved existing program are enrolled as trainees on this project.  In that case, the appropriate rates approved by the U.S. Department of Labor or Transportation in connection with the existing program shall apply to all trainees being trained for the same classification who are covered by this Training Special Provision.

645-3.03  Subcontracts.  In the event the Contractor subcontracts a portion of the work, he shall determine how many, if any, of the trainees are to be trained by the subcontractor.  Any such subcontracts shall include the appropriate training provisions and pay item.  However, primary responsibility for meeting the training requirements imposed remains with the Contractor.

645-4.01  Method of Measurement.  The Contractor will be credited for each approved trainee employed by him on the project and reimbursed on the basis of man-hours worked, as listed in the certified payrolls.  Upon completion of each individual training program, no further measurement for payment shall be made.

645-5.01  Basis of Payment.  Payment will be made at the contract unit price for each accepted man-hour of training performed.

This payment will be made regardless of any other training program funds the Contractor may receive, unless such other funding sources specifically prohibit the Contractor from receiving other reimbursement.

Payment may be made for training persons in excess of the number specified herein, when approved by the Engineer.

Payment will be made following completion of each approved training program for the project.  No payment will be made to the Contractor if he fails to provide the required training or fails to hire the trainee as a journeyman upon completion of the program, and if such actions indicate a lack of good faith in meeting these requirements.

Payment will be made under:

Pay Item No.          Pay Item          Pay Unit

645(1)         Training Program      Man-Hour

(8/1/88)

Add the following Section:

SECTION 669

AUTOMATED TRAFFIC RECORDER STATIONS

Special Provisions

669-1.01 Description.  This work shall consist of furnishing and installing traffic count stations for the automated collection of traffic data on an intermittent or permanent basis.  The Automated Traffic Recorder (ATR) station is a vehicle detection system.

The ATR station can be a combination of detection, electronics and software and is defined as a system.  Four types of systems are defined as follows:

1.	Each Intermittent ATR station will include the following parts:

a.	inductive loops detectors for detecting the presence of vehicles, and

b.	underground conduit, junction boxes, cabinet, and wiring as specified in the plans.

2.	Each Traffic Volume Count System specified herein shall consist of the following parts:

a.	inductive loop detectors for detecting the presence of vehicles,

b.	electronics for collecting and storing data obtained from the sensors,

c.	communications capabilities (e.g. modem and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel, and

d.	underground conduit, junction boxes, cabinet modem, electrical and telephone service as specified.

3.	Each Automated Vehicle Classification (AVC) System specified herein shall consist of the following parts:

a.	Inductive loop detectors and piezoelectric sensors for detecting vehicle presence and counting axles and measuring axle spacing,

b.	electronics for collecting, analyzing and temporarily storing the data obtained from the sensors,

c.	communications capabilities (e.g. modem, remotely controllable code operated switch and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel, and

d.	underground conduit, junction boxes, cabinet, electrical and telephone service as specified.

4.	Each Weigh In Motion (WIM) System specified herein shall consist of the following parts:

a.	Inductive loops and piezoelectric or bending plate sensors for detecting vehicle presence and counting axles and measuring axle spacing and weight,

b.	electronics for collecting, analyzing and temporarily storing the data obtained from the sensors,

c.	communications capabilities (e.g. modem, remotely controllable code operated switch and cabling) for transmitting the data to IBM PC compatible computers located both in the Highway Data Office in Anchorage, Alaska, and portable laptop computers carried to the equipment site by State personnel,

d.	underground conduit, junction boxes, cabinet, electrical and telephone service as specified,

e.	modification to the pavement section at the WIM installation to provide a smooth approach to and adequate mounting foundation for the axle weight sensors, and

f.	a gravel pad for installation of the equipment cabinet and off-street parking for calibration and service vehicles.

The locations of traffic detection, pedestrian gates and cabinets shown on the plans are approximate and the exact locations shall be established in the field by the Engineer.

Concrete pavement work shall consist of furnishing and placing asphalt concrete for asphalt road section at Weight In Motion (WIM) Installation site in conformance with Section 401 or as established on the plans.

General description of the Automated Traffic Recorders are as  follows:

Assembly H1 -	A permanent traffic volume count system, permanent ATR system.  Includes a four inductive loop configuration and traffic volume electronics without electrical and telephone service.

Assembly H2 -	A two loop configuration, requiring removal of an existing cabinet and conduit and wiring system.

Assembly H3 -	A  permanent traffic volume count system and permanent AVC system, with a eight inductive loop configuration, four piezoelectric sensors and electrical and telephone service to be installed by the Contractor.  Traffic volume electronics, automated vehicle classification electronics, telephone modem, remotely controllable code operated switch will be supplied by the department and installed and commissioned by the Contractor.

Assembly H4 -	A permanent traffic volume count system, permanent AVC system and permanent WIM system. Includes a twenty inductive loop configuration, four piezoelectric cable axle sensors for vehicle classification, four lanes of bending plate WIM sensors, electrical and telephone service to be installed by the Contractor.  The WIM electronics,  traffic volume electronics, AVC electronics, telephone modem and remotely controllable code operated switch will be supplied by the department, and installed and commissioned by the Contractor.  This assembly will require a thickened 288 foot section of asphalt pavement.  In addition, a pedestrian gate shall be installed in the existing 6-ft high chain-link fence.

Assembly H5 -	A four loop configuration, intermittent ATR without electrical, telephone or electronics.  In addition, a pedestrian gate shall be installed in the existing 6-ft high chain-link fence.

Assembly H6 -	A four loop configuration, intermittent ATR without electrical, telephone or electronics.

Assembly H7 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H8 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H9 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H10 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H11 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H12 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H13 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H14 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H15 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H16 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H17 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H18 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H19 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H20 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H21 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H22 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H23 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

Assembly H24 -	A one loop, 6-ft by 6-ft configuration, intermittent ATR without electrical, telephone, or electronics.

669-1.02  Regulation and Code.  All materials and workmanship shall conform to the standards of the Underwriter's Laboratories, Inc. and the National Electrical Safety Code and local safety code requirements, where applicable.

All electrical equipment shall conform to the standards of the National Electrical Manufacturer's Association, where applicable.

669-2.01  Materials.  All materials provided for the work shall be new, unless otherwise stated, and shall meet the following requirements:

1.	Wiring.  All wiring shall be in accordance with Subsection 660-2.09(A), Wiring.  All single wire conductors and cables shall have clear, distinctive and permanent markings on the outer surface throughout the entire length giving the manufacturer's name or trademark, the insulation type-letter designation, the conductor size, voltage rating and the number of conductors if a cable.

2.	Conduit.  All conduit shall be in accordance with Subsection 660-2.05, Conduit.  Nylon pull cords shall be left in all two inch conduit.

3.	Junction Boxes.  All junction boxes shall be in accordance with Subsection 660-2.06, Junction Boxes.  Junction boxes used for ATR installations shall not contain any conduit with 440 voltage.

4.	Terminal Blocks.  All terminal blocks shall be provided with nickel, silver or cadmium plated brass binder head screw terminals.  Terminal blocks shall be a barrier type, 600vac, @20 amps, capacity for 12-18 AWG wire with removable shorting bars in each position and with integral type marking strips.  All conductors shall be terminated to a terminal block.

5.	Inductive Loops.  All inductive loops shall be in accordance with Subsection 660-2.08, Conductors.  Conductors used for detector inductive loops shall be UL listed as Type RHW/USE/XLP 12AWG 600V rating.

Loop lead-in cable home run shall consist of a twisted pair 18AWG stranded tinned copper wire with polyethylene insulation, covered with an aluminum foil shield, stranded copper drain wire, and PE outer jacket conforming to IMSA specification 50-2.

Multiple pair loop lead-in cable shall consist of 18AWG stranded tinned copper wire with each twisted pair containing a 20AWG tinned copper drain wire, an aluminum shield and overall PVC or PE jacket.

6.	Chain-link Fence Gate.  The fence gate shall conform to the requirements of Standard Drawing F-03.

7.	Cabinets.  All style 3 (CBA3) cabinets shall be in accordance with Subsection 660-3.05, Controller Cabinets.  All cabinets shall be unpainted, brushed aluminum and include a thermostatically controlled heater and exhaust (cooling) fan, switched light, 3 shelves, Corbin locks, Ground Fault Interrupt (GFI) circuit breakers, dual sets of four 110 volt receptacles mounted per the plans, and terminal blocks mounted on the walls adjacent to the door.   All cabinets shall have a NEMA 3R specification.  All style 1 and 2 cabinets shall be installed as indicated on the plans.

8.	Asphalt Pavement.  Materials used for asphalt pavement shall conform to Section 401, Asphalt Concrete Pavement for Asphalt Concrete, Type 1A.

9.	Modems.  All modems shall meet or exceed the following specifications:

a.	300, 1200, or 2400 baud selectable, MNP Level 5

b.	Automatic Answer Mode

c.	Hayes 2400 compatible

d.	Pulse or touch-tone dialing

e.	Full or half-duplex operation

f.	External switches for COM port 1-4 selection

g.	Compatible with CCITT V.22, Bell 103, and Bell 212A modem specifications

h.	Meets FCC Part 15, FCC Part 68 regulations for direct connection to telephone lines

10.	Remotely Controllable Code Operated Switch.  All code operated switches shall meet or exceed the following specifications:

a.	Minimum four addressable ports

b.	Speed:  110 to 19,200 bps, each port individually setable

c.	Flow Control:  Hardware X-ON/X-OFF

d.	Data Format:  7 or 8 data bits; odd, even, or no parity

e.	Connectors:  DB25s (female); DTE/DCE strap-setable

f.	Power:  115 VAC, 60 Hz, 5 watts

Suggested Model GS-SW540A (available from Black Box Corporation) or approved equal.

11.	Traffic Volume Counters.  Permanent traffic volume counters shall be GK brand units available from Capital Enterprise & Engineering Corp., P.O. Box 12688, Salem OR 97309, phone (503) 363-9290.  Permanent traffic volume counters shall include:

a.	GK model 6000 TC

b.	2 each loop cards

c.	Communications card

d.	Rechargeable battery

e.	64KB data module

f.	Battery charger

g.	Connective cable

h.	Modem cable

i.	User manual

12.	Automated Vehicle Classification (AVC) Counters.  AVC counters and piezoelectric axle sensors shall be PAT brand C100S available from PAT Equipment Corporation, Inc., 1665 Orchard Drive, Chambersburg, PA 17201, phone (717) 263-7655. AVC counters and sensors shall include:

a.	PAT model C100S

b.	Loop card(s)

c.	Communications card

d.	Loop cable(s)

e.	Power cable

f.	Axle detector cable

g.	Modem cable

h.	User manual

i.	Rechargeable battery

j.	Battery charger

k.	Piezo axle sensor (1 per lane)

l.	Epoxy with hardener for each piezo axle sensor.

13.	Weigh In Motion (WIM) Counters.  WIM electronics and sensors shall be International Road Dynamics (IRD) brand bending plate WIM equipment available from Internation Road Dynamics, 702 43rd Street East, Saskatoon, Saskatchewan S7K 3T9 Canada, phone (306) 934-6777.  WIM electronics and sensors shall include:

a.	IRD Bending plate WIM basic unit, including 386 computer, 110 volt power supply, monitor, keyboard, 3.5" floppy drive, 40Mb hard disk drive, and DOS software

b.	Loop cards

c.	Loop cables

d.	Bending plate cards

e.	Bending plate cables

f.	Dynax axle detector cards

g.	Dynax axle detector cables

h.	Modem cable

i.	User Manuals

j.	IRD WIM software

k.	Bending plate slab scale with frame and installation hardware (2 for each lane)

l.	Epoxy with grout and hardener for each bending plate slab scale

m.	Dynax axle detector (1 per lane)

n.	Epoxy with hardener for each Dynax axle sensor

669-3.01  Construction Requirements.

1.	Wiring.  All wiring shall be installed in accordance with Subsection 660-2.09(A), Wiring.  All unused pairs shall be terminated within splices, at cabinets unused pairs shall be terminated to a terminal block and labeled.

2.	Conduit.  All conduit shall be installed in accordance with Subsection 660-2.05, Conduit or as indicated on the plans.

3.	Junction Boxes.  All junction boxes shall be installed in accordance with Subsection 660-2.06, Junction Boxes or as indicated on the plans.

4.	Terminal Blocks.  All terminal blocks and wire pairs shall be clearly labeled on the block.  Terminal blocks within cabinets shall be mounted so that all terminals are easily accessible from the front of the cabinet.  By convention, wire pairs shall be labeled such that inductive loops and other sensors in the lane nearest to the cabinet are at the top or left side of the block.  All conductors shall terminate and be soldered to "spade" type terminal lugs.

5.	Inductive Loops.  All inductive loops shall be installed and constructed in accordance with Subsection 660-4.01, Installation Details, unless otherwise specified on the plans.

All inductive loops shall be formed of four turns of wire, and shall be six feet square with plus-or-minus one inch tolerance.  All inductive loops in a lane shall be located sixteen feet from leading edge to leading edge, with plus-or-minus one inch tolerance.  All inductive loops located in adjacent lanes shall be aligned within plus-or-minus one inch tolerance.  Inductive loops for entrance or exit ramps shall be 6 feet by 12 feet wide and located as shown on drawings or at the direction of the Project Engineer.

All lead-in conduit from edge of pavement to the inductive loops shall be straight and perpendicular to the center line of the road.

6.	Cabinets.  All style 3 control cabinets shall be installed according to Subsection 660-4.01, Installation Details.  All style 1 and 2 cabinets shall be installed as indicated in the plans.

7.	Piezoelectric Sensors for AVC.  All permanent piezoelectric sensors shall be installed per AVC equipment manufacturer's recommendations.  All coaxial cables shall be run to the equipment cabinet without splices and terminated on the specified terminal block, with at least six feet of slack cable available in the equipment cabinet prior to the terminal block.  Acceptance testing shall be performed by the Contractor to ensure compliance with Section 669-3.02 Acceptance Testing.

8.	Chain-link Fence Gate.  The chain-link fence gate shall be constructed in accordance with the details on Standard Drawing F-03, for a pedestrian gate.

9.	Bending Plate Axle Weight Sensors and Electronics for WIM.  All permanent bending plate axle sensors shall be installed per WIM equipment manufacturer's recommendations.  A manufacturer's representative shall be present to supervise installation of the bending plate sensors and to commission the WIM equipment as a complete and fully functioning system.  All cables shall be run to the equipment cabinet with no more than one splice per cable and terminated on the specified terminal block, with at least two feet of slack cable in each junction box and at least six feet of slack cable available in the equipment cabinet prior to the terminal block.  Acceptance testing shall be performed by the Contractor to ensure compliance with Section 669-3.02 Acceptance Testing.

10.	Coordination.  The Contractor shall coordinate with the local telephone and electrical utility for additional installation requirements for telephone and electrical service installations.

669-3.02 Acceptance Testing.  The Contractor shall perform acceptance testing on all ATR installations.

1.	General Tests.  All ATR installations shall have tests conducted in accordance with Subsection 660-4.01, Installation Details.

2.	AVC Acceptance Tests.  In addition to the General Tests, Acceptance Tests shall be performed by the contractor on all automated vehicle classification installations.  Acceptance tests shall be performed to demonstrate that the AVC system performs at or above the required accuracy.

a.	Accuracy Requirements -  The accuracy of Automated Vehicle Classifiers is such that, if good lane discipline is maintained:

*	not more than plus or minus ten percent (+ 10 %) of the total vehicles in FHWA class one through class three (1 thru 3) and

*	not more than plus or minus five percent (+ 5 %) of the total vehicles in FHWA class four through class thirteen (4 thru 13)

are classified in the wrong bin when compared with a concurrent manual classification count.

b.	The AVC Acceptance Test shall consist of an hour-by-hour and summary comparison of a manual classification count with the output of the permanent AVC.  A manual vehicle classification count shall be performed for sixteen consecutive hours (16 hrs) at the AVC site.  During that 16 hour period, a minimum of five (5) vehicles in an individual vehicle type bin is required in order to be included in the final comparison.

c.	The difference between the number of vehicles in each type bin as observed manually and as recorded by the AVC system shall be computed.  If more than the allowed percentages as listed above are classified in the wrong bin when compared with a concurrent manual classification count, the AVC equipment shall be recalibrated and the test performed again until the system meets the required accuracy.

3.	WIM Acceptance Tests.  In addition to the General Tests, Acceptance Tests shall be performed by the contractor on all weigh in motion installations after Calibration of the WIM system has been performed.  Acceptance tests shall be performed to demonstrate that the WIM system performs at or above the required accuracy.

a.	Acceptance Tests shall consist of three vehicles which will make ten passes over the WIM sensors in each lane at speeds varying from 15 to 70 miles per hour.

b.	The three test vehicles shall consist of a five axle, eighteen wheel single trailer vehicle (FHWA Class 9), a three axle, ten wheel single unit vehicle (FHWA Class 6), and a two axle, six wheel single unit vehicle (FHWA Class 5).  All three test vehicles shall be fully loaded with non-shifting material to near legal weight limits.

c.	All tires on all three test vehicles shall be inflated to recommended pressures.

d.	The gross weight of the vehicles and the weight of each axle group shall be determined by weighing on a certified static scale at a scalehouse operated by the State of Alaska Department of Commerce, Division of Weights and Measures.  An axle group is defined as any two axles whose midpoints are within eight feet of each other.  For the test vehicles, the Class 9 single trailer vehicle has three axle groups, while the Class 6 and Class 5 each have two axle groups.

d.	The difference in value or error between the weight of each axle group or vehicle gross weight shall be computed as follows:

d = 100[(W - R) / R]

where:

d =	difference between WIM value and reference value

W =	WIM value, or weight as measured by the WIM system

R =	Reference value, or weight as 		measured by a static scale

e.	The Accuracy requirements for the WIM equipment consist of a maximum error of plus or minus twelve percent with a ninety-four percent confidence interval (i.e. + 12% with 94% confidence) for axle group weights, and a maximum error of plus or minus ten percent with a ninety-four percent confidence interval (i.e. + 10% with 94% confidence) for gross vehicle weights.

For each test vehicle, no more than two of the axle group weights measured by the WIM system can differ from the axle group weights as measured at the scalehouse by more than twelve percent.  Similarly, for each test vehicle, no more than two of the gross vehicle weights measured by the WIM system can differ from the gross vehicle weights as measured at the scalehouse by more than ten percent.

f.	Errors, or differences between the weights as measured by the WIM and weights as measured at the scalehouse, shall be calculated on ten consecutive passes of each of the three test vehicles at various speeds.  If more than the maximum number of errors is observed, the equipment shall be recalibrated and the Acceptance test performed again until the system meets the accuracy specifications.

669-3.05  Deliverables.  All deliverables shall be submitted to the Engineer prior to final approval of the work or as otherwise called for herein.

1.	Equipment List(s) and Drawings.  The Contractor shall submit for review and approval within thirty days following award of the contract, three collated copies of a portfolio of equipment and materials which he proposes to install.  The portfolio(s) shall consist of a table of contents which includes each item's intended use(s), and a description that includes product name, manufacturer, model or part number.

The Department will not be liable for any materials purchased, labor performed, equipment used or delay to the work before all equipment and materials have been reviewed and approved.

2.	As-Built Plans.  The Contractor shall prepare four complete sets of as-built plans which will be kept current with the construction.  These as-built plans shall detail all  construction changes made to the plans and also include the following information on the appropriate sheets:

a.	the location and depth of all inductive loops and conduit runs, and,

b.	the station and offset of all junction boxes.

Redlines of full size construction plans will be acceptable.

Three sets of as-built plans shall be presented to the Engineer, and one set shall be affixed in a waterproof, clear plastic holder to the inside of the cabinet door at the appropriate Automated Traffic Recorder Installation.

3.	Test Results.  Written or printed copies of the final results of all tests, signed by the Contractor, shall be provided to the Engineer prior to acceptance of the Automated Traffic Recorder Installation.  Tests will be conducted in accordance with Subsection 660-4.01, Installation Details.

Written (computer printout) results and copies of the electronic data files collected during performance of the WIM System acceptance test shall submitted to the Project Engineer prior to acceptance of completion of the WIM system.

669-4.01  Method of Measurement.  The quantity to be paid for will be the actual number of completed and accepted Automated Traffic Recorder Installations as shown on the plans or as directed by the Engineer.

669-5.01  Basis of Payment.  The contract unit bid prices per each Automated Traffic Recorder Installation shall be full compensation for furnishing all equipment, labor and materials necessary to complete the work as specified, with the following exceptions:

1.	Backfill materials required will be paid for under their respective pay items.

2.	Asphalt required will be paid for under Item 401(1A), Asphalt Concrete, Type 1A.

Excavation, pedestrian gates, load centers, and as-built plans and acceptance testing required for these installations will not be paid for separately, but will be subsidiary to the Automated Traffic Recorder Installations.

Payment will be made under:

Pay Item No.              Pay Item               Pay Unit

669(1-H_)      Automated Traffic Recorder      Lump Sum

at Sta ____

669(1-H7)      ATR Assembly H7 through H24     Lump Sum

SECTION 670

TRAFFIC MARKINGS

Special Provisions

670-1.01 Description.  Add the following:  This work shall also consist of removal of raised pavement markings at the locations shown on the plans or as directed by the Engineer.

Standard Modifications

670-3.01  Construction Requirements.  In the last paragraph under Item 2., insert "pneumatic" immediately before "roller".  (5/12/89)

Special Provisions

670-3.04  Paint Removal.  Change title of subsection to "Pavement Markings Removal".

Replace the first sentence of the second paragraph with the following:  Existing pavement markings shall be removed to the fullest extent possible by a grinding method that does not materially damage the surface or texture of the pavement or surfacing.  Any method utilizing burning with an open flame will not be used for the removal of pavement markings.

670-3.05  Preliminary Spotting.  Add the following:  Lines and markings to be replaced at their existing locations shall be referenced by the Contractor at his expense, prior to performing any work that may disturb them.

670-4.01  Method of Measurement.  Add the following to Item 1., Lump Sum Basis:  Removal of raised pavement markers will not be measured for payment.  Repair of any damaged pavement or surfacing caused by the removal operation will be subsidiary to this item.

Add the following:

6.	Station Basis.  Measurement of a traffic stripe will be the length of each individual stripe excluding gaps.  An individual stripe is a longitudinal marking less than six inches wide.

Delete the last paragraph and substitute the following:  Removal of traffic stripes and pavement markings will be measured by the station for payment.  Repair of any damaged pavement or surfacing caused by the pavement marking removal operation will be subsidiary to this item.

670-5.01 Basis of Payment.  Add the following pay items:

Pay Item No.              Pay Item             Pay Unit

670(9)      Removal of Pavement Markings     Station

670(11)      Removal of Raised Pavement     Lump Sum

Markers

SECTION 702

ASPHALT MATERIALS

Standard Modifications

702-2.04  Storage And Application Temperatures.  In Table 702-1, change storage temperatures for ACs from "340 Max" to "325 Max".  (5/12/89)

SECTION 703

AGGREGATES

Standard Modifications

703-2.01  Fine Aggregate For Concrete.  In the first sentence, insert ", class A," after "AASHTO M 6".

Add the following:  AASHTO T 104 shall be performed using sodium sulphate solution.

The maximum mass percent of material finer than No. 200 sieve in (a), concrete subject to surface abrasion, shall be 3.0.

(5/12/89)

703-2.02  Coarse Aggregate For Concrete.  In the first sentence, insert ", class B," after "AASHTO M 80".  (5/12/89)

Standard Modifications

703-2.03  Aggregate for Base.  Add the following to the list under the first paragraph:

Plastic Index      AASHTO T 90      6 max.

(5/7/91)

Special Provisions

703-2.03 Aggregate for Base.  Delete Table 703-2, Aggregate for Untreated Base, and substitute the following:

TABLE 703-2

AGGREGATE FOR UNTREATED BASE

Percent Passing by Weight

Sieve Designation                  Grading D-1

1-1/2 inch                            ---

1 inch                            100

3/4 inch                           70-100

3/8 inch                           50-79

No. 4                             35-58

No. 8                             20-47

No. 40                             8-23

No. 200                            0-6

703-2.04  Aggregate for Plant Mix Asphalt Pavement.  In the second paragraph, after Fine Aggregate, delete the remainder of the sentence after "thereof" and add the following:

The fine aggregate will meet the following requirements:

Plastic Index     AASHTO T-90     4 max.

Sodium Sulfate    AASHTO T-104   15 percent max.

Soundness Loss

Add the following to Table 703-3, Asphalt Concrete Aggregate:

Asphalt Concrete

Sieve Designation                    Type IA

1-inch                             100

3/4-inch                            75-95

1/2-inch                            52-86

3/8-inch                            41-80

No. 4                              21-66

No. 10                             10-58

No. 40                              5-38

No. 80                              4-23

No. 200                             3-10

703-2.07  Selected Material.  Add the following to Item 1., Selected Material Type A:  It shall have 30 to 55 percent maximum by weight of particles passing the No 4 sieve.

Add the following:

4.	Selected material, Type D, shall consist of earth, sand, gravel or rock materials obtained from the excavation, and shall contain no wood, asphalt concrete or other debris.

SECTION 706

CONCRETE, CLAY, FIBER AND PLASTIC PIPE

Special Provisions

706-2.07  Corrugated Polyethylene Pipe.  Delete in its entirety and substitute the following:  Corrugated polyethylene pipe shall conform to the following:

Culverts and Stormdrains	AASHTO M 294

Type S (double wall)

Underdrains	AASHTO M 252

(5/7/91)

SECTION 712

MISCELLANEOUS

Special Provisions

712-2.14  Preformed Pavement Markings.  Add the following to paragraph A., under Item 1., General Requirements:  The preformed ribbon shall consist of one solid piece of required width and length.  In solid stripe areas, the tape length shall, where possible, be a minimum of 100 feet.

712-2.15  Temporary Raised Pavement Markers.  Add the following:  The temporary raised pavement markers shall be installed utilizing an approved raised pavement marker flexible bituminous adhesive.

The color of the raised pavement markers shall conform to the color of the marking for which they supplement, substitute, or serve as a positioning guide.

(5/7/91)

712-2.16  Temporary Raised Pavement Markers for Short-Term Operations, Seal Coats, and Surface Treatments.  Add the following subsection:  The marker shall consist of an L-shaped polyurethane body with retroreflective tape on the top vertical section and with a self-adhesive base.  Both faces of the yellow marker and one face of the white marker shall be reflectorized.  The marker body shall be made from 0.060 inch minimum thick polyurethane; the vertical leg shall be approximately 2 inches high by 4 inches wide and the base approximately 1-1/8 inches wide.  The polyurethane body shall conform to Table 712-1.

The adhesive shall be factory-applied to the marker base, and made of a pressure-sensitive material, a minimum 1/8 inch thick and 3/4 inch wide, with release paper.

Where chip seals, slurry seals or tack coats are to be utilized after placement of the temporary raised pavement markers, the markers shall come with a protective cover made of clear flexible polyvinyl chloride.

The reflective tape shall be metalized polycarbonate microprism retroreflective material with acrylic backing or equal, a minimum 0.25 inch wide by 4 inches long, and provide the minimum optical performance shown in Table 712-2, for an observation angle of 0.2 degrees.

TABLE 712-1

| PROPERTY | RESULT | ASTM TEST METHOD |
| --- | --- | --- |
| Specific Gravity (minimum) | 1.19 | D 792 |
| Hardness | 80A | D 2240 |
| Tensile Strength (min, psi) | 4600 | D 412 |
| Ultimate Elongation (minimum, percent) | 330 | D 412 |
| Modulus at 300 percent (minimum, psi) | 1000 | D 412 |
| Stiffness @-20 degrees F (min, psi) @+72 degrees F (min, psi) | 1700 900 | D 1053 D 1053 |
| Compression Set 22 hrs at 70 degrees C (maximum, percent) | 65 | D 395 |
| Taber Abrasion CS17 wheel wt loss (mg/1000 cycles) | 3 | --- |

TABLE 712-2

| HORIZONTAL ENTRANCE ANGLE | SPECIFIC INTENSITY * White Yellow |  |
| --- | --- | --- |
| 0 degrees | 3.5 | 3.0 |
| 30 degrees | 2.7 | 1.7 |

* Candelas per footcandle of illumination at the reflector on a plane perpendicular to the incident light.

(5/7/91)

SECTION 724

SEED

Standard Modifications

724-2.02  Materials.  Add the following to Table 724-1:

| Seed Type | Germination Period | Percent Purity | Percent Germination | Percent Sproutable Seed |
| --- | --- | --- | --- | --- |
| Bering Hairgrass | 14 days | 95 | 75 | 71 |

(5/12/89)

SECTION 726

TOPSOIL

Standard Modifications

726-2.01  Topsoil.  In the second paragraph, change "not less than 1%" to read "not less than 3%".  (5/12/89)

SECTION 729

GEOTEXTILES

Standard Modifications

Delete this Section in its entirety and substitute the following:

729-2.01  Embankment Separation and Reinforcement.

1.	Fibers used in the manufacturer of geotextiles, and the threads used in joining geotextiles by sewing, shall consist of long chain synthetic polymers, composed of at least 85 percent by weight polyolefins, or polyesters.  The geotextile shall be formed into a stable network such that the filaments or yarns retain their relative position to each other.  Both the geotextile and threads shall be resistant to chemical attack, mildew, and rot.

2.	Nonwoven geotextile may be formed by the needle-punched, spun-bonded or heat-bonded process.

3.	Woven geotextile shall be woven into a uniform pattern with distinct and measurable openings.  Edges of the cloth shall be selvaged to prevent the outer yarn from pulling away from the cloth.  The fabric shall be free from detrimental defects.

4.	The geotextile supplied shall meet the requirements listed in Table 729-1.

5.	The Contractor shall submit certification that the geotextile supplied meets the above requirements before it is used on the project.

Table 729-1

GEOTEXTILE REQUIREMENTS FOR

EMBANKMENT SEPARATION

| Geotextile Property | Test Method (ASTM) | Separation |  |
| --- | --- | --- | --- |
| Grab Elongation, % at breaking load | D-4632 | <50 | >50 |
| Grab Tensile Load, lbs., min. | D-4632 | 175 | 105 |
| Bursting Strength, psi., min. | D-3786 | N/A | N/A |
| Trapezoid Tearing Strength, lbs., min. | D-4533 | 50 | 40 |
| Puncture Resistance, lbs., min. | D-4833 | 70 | 40 |
| Water Permittivity, 1/sec., min. | D-4491 | 0.04 | 0.30 |
| Apparent Opening Size, mm., max. | D-4751 | 0.30 | 0.21 |
| Ultraviolet Degradation at 500 hour exposure, % strength retained | D-4355 | 70 | 70 |
| Geotextile Acceptance, pass or fail | D-4759 | Pass | Pass |

NOTES:

1.	Separation geotextile supplied may have either less than, or greater than 50% elongation measured at breaking load in the Grab Tensile Test (ASTM D-4632).

2.	Geotextile Property Values = Minimum average roll values at a 95% confidence level in the weaker principal direction.

3.	0.21 mm. = US Standard Sieve Size 70.

4.	0.30 mm. = US Standard Sieve Size 50.

(5/7/91)

729-2.04 Temporary Silt Fence.  Add the following subsection:  The geotextile supplied shall meet the physical and mechanical properties listed in Table 729-4.

Table 729-4

GEOTEXTILE REQUIREMENTS FOR

TEMPORARY SILT FENCE

| Geotextile Property | Test Method (ASTM) | Fence Supported Requirements | Self-supported Requirements |
| --- | --- | --- | --- |
| Grab Tensile Strength lbs, min. | D-4632 | 90 | 90 |
| Elongation at 50% minimum tensile strength (45 lb) % max | D-4632 | N/A | 50 |
| Water Permittivity 1/sec, min. | D-4491 | 0.01 | 0.01 |
| Apparent Opening Size mm., max. | D-4751 | 0.84 | 0.84 |
| Ultraviolet Degradation at 500 hour exposure, min % strength retained | D-4355 | 70 | 70 |
| Geotextile Acceptance Pass or Fail | D-4759 | Pass | Pass |

Notes:

1.	Geotextile Property Value = Minimum average roll values 95% confidence level in the weaker principal direction.

2.	0.84 mm. = U.S. Standard Sieve Size 20

APPENDIX A

PERMITS

APPENDIX B

CONSTRUCTION SURVEYING REQUIREMENTS