SECTION 620

TOPSOIL

Special Provisions

620-1.01 DESCRIPTION.  Add the following:

Furnish and place Vegetative Mat where shown on the plans.

620-2.01 MATERIALS.  Add the following:

Vegetative Mat shall be salvaged from area within clearing and grubbing limits.  It shall include surface vegetation, root mat, and organic soil and shall be a minimum of 1’ thick after placed in final location

620-3.01 PLACING.  Add the following:

Vegetative Mat shall be placed in one operation as much as practical to minimize handling and to keep root mat intact.

620-3.02 MAINTENANCE AND REPAIR Add the following:

Water and maintain vegetative mat in a satisfactory condition until the mat is established.  Acceptance is at the discretion of the Engineer.

620-5.01 Basis of Payment.

Payment will be made under:

Pay Item No.								Pay Item										Pay Unit

620(1A)									Vegetative Mat									Square Yard

53726-100113