SECTION 639

DRIVEWAYS

Special Provisions

639-1.01 DESCRIPTION.  Add the following:

Construct Boardwalk Tie-Ins as shown on the Plans.  Reconstruct 5-feet, or to right-of-way if less than 5-feet, of existing boardwalk to transition between existing and new boardwalk grades.

Construct Special Residential Access at locations and as shown on the plans.  Special Residential Access include relocation and reconstruction of existing decking, railing, stairways, doorways and other related items as shown or indicated on the Plans.

639.2.01 MATERIALS. Delete the first sentence and replace it with the following:

Use materials that conform to Section 506 and as shown on the Plans.

639-3.01 CONSTRUCTION.   Add the following:

Construct Boardwalk Tie-Ins and Special Residential Accesses as shown on Plans.  Contractor shall provide temporary access within 24-hours of blocking access to existing boardwalk or residences.  Temporary access shall be approved by the Engineer and shall meet requirements of ADA and IBC and shall remain in place until permanent access is constructed.

639-4.01 METHOD OF MEASUREMENT.  Add the following:

Boardwalk Tie-Ins shall be measured for payment per each tie-in constructed as shown on the Plans or as directed.  Where an existing boardwalk crosses a proposed boardwalk and tie-ins are required on both sides of the proposed boardwalk, two (2) tie-ins will be measured.  Materials used for construction of the tie-in (timbers, fasteners, etc...) shall not be measured separately for payment and shall be considered subsidiary.

Special Residential Access will be measured for payment per each location where special access is required as indicated on the Plans.  The per each measurement shall include all decking, railing, stairways, fasteners and other materials as necessary to provide a complete and functional access way to the residence as shown on the Plans.  Demolition, removal and disposal of existing decking and stairways is subsidiary to the Special Residential Access pay item.

639-5.01 BASIS OF PAYMENT.  Add the following pay items:

Payment will be made under:

Pay Item No. 	Pay Item	Pay Unit

639(3)	Boardwalk Tie-In	Each

639(4)	Special Residential Access	Each

57181-120111