Special Provision

Add the following Section:

SECTION 731

Polyester concrete

Susitna Bridge Repairs: refer to Section 202 Removal of Structures and Obstructions, 501 Structural Concrete, 504 Steel Structures, 507 Bridge Railing, 512 Forms and Falsework, 513 Field Painting of Steel Structures, 514 Bearing Replacement, 515 Polyester Concrete Overlay, and 720 Friction Pendulum Bearings for further repairs or see archived project specifications 58247.

731-1.01 Scope.  Polyester concrete for use in bridge deck overlays.

731-2.01 General Requirements.

Polyester Resin Binder

Use an unsaturated isophthalic polyester-styrene co-polymer resin that conforms to the following requirements:

Viscosity			75 to 200 cps (20 rpm at 77oF) (ASTM D 2196)

Specific Gravity 		1.05 to 1.10 at 77oF (ASTM D 1475)

Elongation			35% minimum (ASTM D 638)

Tensile Strength 		2,500 psi minimum (ASTM D 638)

Conditioning 			18 hours/77F/50% + 5 hours/158F (ASTM D 618)

Styrene Content 		45% to 50% by weight (ASTM D2369)

Silane Coupler 		1.0% minimum (by weight of polyester-styrene resin)

The silane coupler shall be an organosilane ester, gammamethacryloxypropyltrimethoxysilane.  The promoter/hardeners shall be compatible with suitable methyl ethyl ketone peroxide (MEKP) and cumene hydroperoxide (CHP) initiators.  Use MEKP initiators when the surrounding concrete temperatures are above 60F.  A blend of initiators may be used as approved by the Engineer when the surrounding concrete temperature is 50F to 60F.

Polyester resin binder will be accepted based on submittal to the Engineer of a Manufacturer’s Certificate of Compliance conforming to subsection 106-1.05.

High Molecular Weight Methacrylate (HMWM) Resin

In addition to the viscosity and density properties, and the promoter/initiator system specified in subsection 515-2.02, the HMWM resin for polyester concrete shall conform to the following requirements:

Flash Point 			180F minimum (ASTM D 93)

Tack-Free Time	 	400 minutes maximum (California Test 551)

Prior to adding initiator, the HMWM resin shall have a maximum volatile content of 30 percent, when tested in conformance with ASTM D 2369.

HMWM resin will be accepted based on submittal to the Engineer of a Manufacturer’s Certificate of Compliance conforming to subsection 106-1.05.

Aggregate

Use aggregate satisfying the requirements of Section 703 that is thoroughly washed and kiln dried.

Use aggregate that conforms to subsections 703-2.01 and 703-2.02, and one of the following combined aggregate gradings:

| Combined Aggregate |  |  |
| --- | --- | --- |
| Sieve Size | 1/2" Max % Passing | 3/8" Max % Passing |
| 1/2 in | 100 | 100 |
| 3/8 in | 83-100 | 100 |
| No. 4 | 65-82 | 62-85 |
| No. 8 | 45-64 | 45-67 |
| No. 16 | 27-48 | 29-50 |
| No. 30 | 12-30 | 16-36 |
| No. 50 | 6-17 | 5-20 |
| No. 100 | 0-7 | 0-7 |
| No. 200 | 0-3 | 0-3 |

Aggregate retained on the U.S. No. 8 sieve shall have a maximum of 25 percent crushed particles.  Fine aggregate shall consist of natural sand only.

Aggregate absorption shall not exceed one percent.  The moisture content of the aggregate shall not exceed one half of the aggregate absorption at the time of mixing with the polyester resin binder.  The aggregate temperature shall be between 45F and 100F at the time of mixing.

Sand for Abrasive Finish

The sand for abrasive finish shall conform to subsection 515-2.01, and the aggregate moisture content requirements specified above.  (7/26/06)BRIDGE