## ITEM P-165	REMOVAL OF STRUCTURES

DESCRIPTION

165-1.1 Remove and dispose of or salvage existing structures as specified. Backfill the resulting holes and pits.

CONSTRUCTION REQUIREMENTS

165-3.1	GENERAL. Obtain utility locates in the vicinity of the designated items. Work around and preserve any facilities within the work limits. Backfill all excavations with approved embankment or excavated materials and compact in accordance with item P-152.

- Removed Structures Designated for Disposal. Removed structures designated for disposal become your property. Excavate, load, and haul structures to an approved disposal site off of airport property in accordance with applicable Federal and State regulations.

- Removed Structures Designated for Salvage. Removed structures designated for salvage remain the property of the State.

METHOD OF MEASUREMENT

165-4.1 This item will not be measured for payment. The Engineer’s acceptance constitutes measurement.

BASIS OF PAYMENT

165-5.1 Payment will be made at the contract price for work acceptably completed. No separate payment will be made for hauling or transportation. All work associated with removal of specified items, including but not limited to labor, equipment, tools, hauling, transportation, and incidentals will be included in the contract price for removal of structures.

Payment will be made under:

Item P165.010.0000	Removal of Structures – per lump sum

# Comments

Note to Designer: This spec is intended for projects where the designer wants to pay directly for structure removal because a substantial amount of work is required.

For minor structures to be removed, GCP-40-06 states that existing structures encountered within the project’s established lines, grades, or grading sections will be removed by the Contractor unless otherwise specified and the cost will be subsidiary to other items in the contract.

Note to Designer:  List specific structures to be removed. Designate each structure for disposal.

Note to Designer:  List specific structures designated for salvage and describe where each salvaged structure is to be delivered.