## ITEM P-220 CEMENT TREATED SOIL BASE COURSE

DESCRIPTION

220-1.1 This item shall consist of constructing a base course by uniformly mixing soil, Portland cement, and water. The mixed material shall be spread, shaped, and compacted in accordance with these Specifications and in conformity to the dimensions and typical cross-section shown on the Plans. Tests shall be required for each approved soil included within the treated layer.

Runway, taxiway, or apron pavements shall be built in a series of parallel lanes using a plan that reduces the number of longitudinal and transverse joints to a minimum.

Provide an experienced Soil-Cement technician on site to supervise the Soil-Cement process and the related process control testing.

MATERIALS

220-2.1 CEMENT. Portland cement shall conform to the requirements of AASHTO M 85, Type I or II.

220-2.2 WATER. Water used in mixing or curing shall be from potable water sources or shall meet the requirements of ASTM C1602.

220-2.3 SOIL. The soil for this work shall consist of an approved select soil. The soil shall be free of roots, sod, weeds, have an organic content less than 1.5% as determined by ATM 203, shall meet the gradation in Table 220-1, as determined by ATM 304, and have a sulfate content of less than 0.3%.

TABLE 220-1
GRADATION REQUIREMENTS

| SIEVE DESIGNATION PER ATM 304 | PERCENTAGE BY WEIGHT PASSING SIEVES |
| --- | --- |
| 1 inch | 100 |
| No. 4 | 55-100 |
| No. 200 | 0-20 |

220-2.4 ASPHALT MATERIAL.  Not used.

MIX DESIGN

220-3.1 PROPORTIONS. Before the start of base course construction, tests shall be made on the soil or soil-aggregate material to be stabilized to determine the quantity of cement required for the job mix design.

Test specimens containing various amounts of Portland cement shall be compacted per AASHTO T 134, and the optimum moisture determined for each test specimen. Samples at the optimum moisture shall be subjected to the wet-dry and the freeze-thaw test in accordance with ASTM D559 and ASTM D560, respectively.

Cement shall be added at an application rate determined by the job mix design to achieve the strength parameters required by the embankment design.  When not specified in the job mix design, molded soil-cement cylinders tested according to ASTM D1633 Method A shall have a 7-day compressive strength of 300 to 800 psi.

Submit the following to the Engineer at least 30 days before the production of soil-cement base course:

- A letter stating the source of soil, Portland cement, and water proposed for use.

- Furnish a minimum 300 pound representative soil sample for laboratory tests.

- Furnish one sack (94 pounds) of Portland cement proposed for use in the mixture.

The Engineer will evaluate the material using procedures and test methods contained in the Portland Cement Association’s “Soil-Cement Laboratory Handbook” and establish the approved job mix design which will become a part of the contract.

The approved job mix design will specify the target values for Portland cement content, the maximum density, and optimum moisture content of the soil-cement. The amount of Portland cement shall not vary more than 1% from the designated rate.

The following table provides the pre soil-cement job mix design estimating factors, and specifies the tolerance allowed the Contractor during production.

TABLE 220-2
ESTIMATING FACTORS FOR BIDDING CEMENT TREATED SOIL BASE ITEM

| MATERIAL | PRE SOIL-CEMENT JOB MIX DESIGN ESTIMATING FACTOR | PRODUCTION TOLERANCE |
| --- | --- | --- |
| Soil | Dry Unit Weight = 107 lb/ft3 (AASHTO T 99) Optimum Moisture Content = 14% |  |
| Soil-Cement Mixture | Dry Unit Weight = 111 lb/ft3 (AASHTO T 134) Optimum Moisture Content = 13% |  |
| Portland Cement | 7% Portland Cement by weight of soil | ±1% Portland Cement |

220-3.2 CONTRACTOR’S SOIL-CEMENT TECHNICIAN. At the start of production, the Contractor shall provide an onsite technician to supervise the soil-cement process and the related process control of the product for at least 10 days of production. This technician shall have successfully supervised at least five (5) successful projects using soil-cement with similar base material and equipment. The technician must also be qualified to supervise the process control.

At the preconstruction conference, provide a submittal that includes the following information:

- Resume of technician including; successful project(s) listing, owners- contact, address, and telephone number; location of projects and description of soil-cement equipment used on the projects.

- Construction plan including equipment to be used and procedures to be used for mixing and paving.

220-3.3 PRE SOIL-CEMENT PRODUCTION MEETING. Submit a soil-cement base course production plan at the pre soil-cement production meeting to be held a minimum of 10 working days before initiating soil-cement operations. Address the sequence of operations and joint construction. Outline steps to assure product consistency, protection, and curing of the soil-cement base course. Provide calibration records of cement distributor.

CONSTRUCTION METHODS

220-4.1 CONTROL STRIP.  The first half-day of construction shall be considered the control strip.  The Contractor shall demonstrate, in the presence of the Engineer, that the materials, equipment, and construction processes meet the requirements of the Specification.  The sequence and manner of rolling necessary to obtain specified density requirements shall be determined.  The maximum compacted thickness may be increased to a maximum of 12 inches upon the Contractor’s demonstration that approved equipment and operations will uniformly compact the lift to the specified density.  The Engineer must witness this demonstration and approve the lift thickness prior to full production.

Control strips that do not meet Specification requirements shall be reworked, re-compacted or removed and replaced at the Contractor’s expense.  Full operations shall not continue until the control strip has been accepted by the Engineer. The Contractor shall use the same equipment, materials, and construction methods for the remainder of construction, unless adjustments made by the Contractor are approved by the Engineer.

220-4.2 WEATHER LIMITATIONS. The material shall not be mixed or placed while the atmospheric temperature is below 40°F or when conditions indicate that the temperature may fall below 40°F within 24 hours, or when the weather is foggy or rainy, or to soils that are frozen or contain frost, or when the underlying material is frozen.

220-4.3 MAINTENANCE. The material shall be maintained in a condition that will meet all Specification requirements.  When material has been exposed to excessive rain, snow, or freeze-thaw conditions, prior to placement of additional material, the Contractor shall verify that materials still meet all Specification requirements.  Equipment may be routed over completed sections of base course, provided that no damage results and the equipment is routed over the full width of the completed base course. Any damage resulting to the base course from routing equipment over the base course shall be repaired by the Contractor at their expense.

220-4.4 EQUIPMENT. The course may be constructed with any equipment that will meet the requirements for soil pulverization, cement application, mixing, water application, incorporation of materials, compaction, finishing, and curing specified here.  The cement distributor shall be designed to spread a uniform coverage of Portland cement at a specified rate. The spread rate shall be integrated with the speed of travel to maintain a uniform coverage. Equipment must be calibrated prior to use.

220-4.5 PREPARATION. The area to be stabilized shall be graded and shaped to conform to the lines, grades and cross-section shown on the Plans. Any soft or yielding areas in the subgrade shall be removed and replaced with acceptable soil and compacted to the specified density.

220-4.6 PULVERIZATION. After completion of moist-mixing, the soil for the base course shall be pulverized so that 100% by dry weight passes a 1-inch sieve and a minimum of 80% passes a No. 4 sieve.

220-4.7 CEMENT APPLICATION, MIXING, AND FINISHING. Mixing of the soil, Portland cement, and water shall be accomplished by the mixed-in-place method or the central plant mixed method.

- Method A – Mixed-in-place. Shape pulverized material to the cross-section indicated. Portland cement shall be applied so that when uniformly mixed with the soil, the specified cement content is obtained, and a sufficient quantity of cement-treated soil is produced to construct a compacted cement-treated course conforming to the lines, grades, and cross-section indicated.

Immediately after the cement has been distributed, it shall be mixed with the soil. The cement shall not be mixed below the required depth. Continue mixing until the cement has been sufficiently blended with the soil to prevent the formation of cement balls when water is applied.

Determine moisture content of the mixture immediately after completion of mixing of the soil and cement. Provide water supply and pressure distributing equipment that will permit the application within three (3) hours of all mixing water on the section being processed. Incorporate water in the mix so that concentration of water near the surface does not occur. After all mixing water has been applied, continue mixing until the water is uniformly distributed throughout the full depth of the mixture.

Do not apply cement if the soil moisture content exceeds the optimum moisture content specified for the cement-treated mixture. After mixing is complete, the proportions of the mixture shall be in accordance with the approved job mix design.

- Method B – Central plant mixed.  The soil, Portland cement, and water shall be mixed in either a batch or continuous-flow type pugmill. The plant shall be equipped with feeding and metering devices that will add the soil, cement, and water into the mixer in the specified quantities. Soil and cement shall be mixed sufficiently to prevent cement balls from forming when water is added. Mixing shall continue until a uniform mixture of soil, cement, and water is obtained.

The mixture shall be hauled to the project in trucks equipped with protective covers. The mixture shall be placed on the moistened subgrade in a uniform layer by an approved spreader. Not more than 30 minutes shall elapse between the placement of soil-cement in adjacent lanes.

The layer of soil-cement shall be uniform in thickness and surface contour and of sufficient quantity that the completed base conforms to the required line, grade and cross-section. Dumping of the mixture in piles or windrows on the subgrade shall not be permitted.

Not more than 60 minutes shall elapse between the start of moist mixing and the start of compaction of soil-cement.

220-4.8 COMPACTION. Compaction of the course shall begin within 30 minutes after mixing the cement into the subgrade. All compaction operations shall be completed within 2 hours from the start of mixing.

The field density of the compacted mixture shall be at least 98% of the maximum density of laboratory specimens prepared from the job mix design and compacted and tested in accordance with AASHTO T 134. The in-place field density shall be determined in accordance with ATM 213. The in-place moisture content shall be determined in accordance with ASTM D2216.  Test the in-place field density and moisture content at a frequency of 1 test per 1,000 yd2, but not less than four (4) tests per day of production. The moisture content of the mixture at the start of compaction shall be within ±2 percentage points of the optimum moisture content.

220-4.9 FINISHING AND CURING. After the final lift or course of treated subgrade has been compacted, it shall be brought to the required lines and grades in accordance with the cross sections.

Finished portions of treated subgrade shall be protected to prevent equipment from marring, permanently deforming, or damaging completed work.

Not later than 24 hours after completion of final finishing, the surface shall be cured by being kept continuously moist for a period of 7 days with a fog-type water spray. The curing material shall be maintained and applied as needed by the Contractor during the 7-day protection period.

Sufficient protection from freezing shall be provided for at least 7 days after its construction or as approved by the Engineer.

220-4.10 CONSTRUCTION LIMITATIONS. At the end of each day’s construction and/or when operations after application of the cement are interrupted for more than 30 minutes, a straight transverse construction joint shall be formed by a header or by cutting back into the compacted material to form a true vertical face.

Completed portions may be opened to light traffic, if approved by the Engineer, and provided the curing is not impaired.

220-4.11 SURFACE TOLERANCE. In those areas on which a subbase or base course is to be placed, the surface shall be tested for smoothness and accuracy of grade and crown. Any portion lacking the required smoothness or failing in accuracy of grade or crown shall be scarified to a depth of at least 3 inches, reshaped and re-compacted to grade until the required smoothness and accuracy are obtained and approved by the Engineer. The Contractor shall perform all final smoothness and grade checks in the presence of the Engineer.  Any deviation in surface tolerances shall be corrected by the Contractor at the Contractor’s expense.

- Smoothness.  The finished surface shall not vary more than +/- 3/8 inch when tested with a 12-foot straightedge applied parallel with and at right angles to the centerline. The straightedge shall be moved continuously forward at half the length of the 12-foot straightedge for the full length of each line on a 50-foot grid.

- Grade.  The grade and crown shall be measured on a 50-foot grid and shall be within +/-0.05 feet of the specified grade.

220-4.12 ACCEPTANCE SAMPLING AND TESTING.  Cement Treated Solid Base course shall be accepted for density and thickness on an area basis. Two tests will be made for density and thickness for each 1,000 square yards, but not less than four (4) tests per day of production. Sampling locations will be determined on a random basis per ATM SP 4.

- Density.  The Engineer will perform all density tests.

Each area shall be accepted for density when the field density is at least 98% of the maximum density of laboratory specimens compacted and tested according to AASHTO T 134. The in-place field density shall be determined according to ATM 213.  The in-place moisture content shall be determined in accordance with ASTM D2216.  Perform in-place density test immediately after completion of compaction to determine degree of compaction. If the specified density is not attained, the area represented by the failed test must be reworked and/or recompacted at the Contractor’s expense and two additional random tests made. This procedure shall be followed until the specified density is reached.

- Thickness. Depth tests shall be made for each sublot by test holes or cores at least 3 inches in diameter that extend through the base.  Depth tests shall be taken by the Contractor in the presence of the Engineer.  For sublots where the thickness is deficient by more than 1/2-inch, the material shall be removed to full depth and replaced, at Contractor’s expense.

METHOD OF MEASUREMENT

220-5.1 The quantity of cement treated soil base course shall be the number of square yards of completed and accepted base course.

220-5.2 Portland cement shall be measured by the ton.

BASIS OF PAYMENT

220-6.1 Payment shall be made at the contract unit price per square yard for cement treated soil base course. This price shall be full compensation for furnishing all materials, except Portland cement, and for all preparation, delivering, placing, and mixing of these materials; and for all labor, equipment, tools and incidentals necessary to complete the item.

220-6.2 Payment shall be made at the contract unit price per ton for cement. This price shall be full compensation for furnishing this material and for all delivery, placing, and incorporation of this material, and for all labor including the experienced soil-cement technician, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item P220.010.0000	Cement Treated Soil Base Course - per square yard

Item P220.020.0000	Portland Cement - per ton

REFERENCES

The publications listed below form a part of this specification to the extent referenced. The publications are referred to within the text by the basic designation only.

AASHTO M 85	Portland Cement

AASHTO T 99	Moisture–Density Relations of Soils Using a 2.5-kg (5.5-lb) Rammer and a 305-mm (12-in.) Drop

AASHTO T 134	Moisture-Density Relations of Soil-Cement Mixtures

ASTM D559	Wetting and Drying Compacted Soil-Cement Mixtures

ASTM D560	Freezing and Thawing Compacted Soil-Cement Mixtures

ASTM C1602	Mixing Water Used in the Production of Hydraulic Cement Concrete

ASTM D1633	Compressive Strength of Molded Soil-Cement Cylinders

ASTM D2216	Laboratory Determination of Water (Moisture) Content of Soil and Rock by Mass

ATM 203	Organic Content of Soils

ATM 213	In-Place Density and Moisture Content of Soil and Soil-Aggregate by Nuclear Methods (Shallow Depth)

ATM 304	Sieve Analysis of Fine and Coarse Aggregates and Materials Finer than 75-μm (No. 200) Sieve in Mineral Aggregate by Washing

ATM SP 4	Random Sampling