**STATEWIDE AIRPORT SPECIAL PROVISION**

**ASP-4**

## ITEM S-142 EQUIPMENT STORAGE BUILDING

DESCRIPTION

**142-1.1** Furnish all labor, materials and equipment required to construct a new snow removal equipment building at the location indicated on the plans. Comply with the building technical specifications located in Appendix L for work on the building and related systems. This item will construct the new equipment storage building(s) on a new or existing building pad.

MATERIALS

**142-2.1** Materials required to perform this work are outlined in the building technical specifications in Appendix L except as specified in Subsection 142-6.1. Comply with GCP Subsection 60-08 for submittals.

CONSTRUCTION REQUIREMENTS

**142-3.1** Comply with the plans and specifications outlined in the building technical specifications in Appendix L except as specified in Subsection 142-6.1. Submit plans and working drawings in accordance with GCP Subsection 50-02.

**142-3.2 TESTING.** Perform testing in conformance with the plans and specifications outlined in the building technical specifications in Appendix L except as specified in Subsection 142-5.1.

METHOD OF MEASUREMENT

**142-4.1** This item will not be measured for payment.

BASIS OF PAYMENT

**142-5.1** Payment will be made at the contract lump sum price for construction of the building and related systems. This item provides full compensation for this work to include the building and internal systems.

Bollards external to building walls, all required mobilization/demobilization, surveying required for this work, airport lighting equipment, and standard signs are specified and paid for under items F-170, G-100, G-135, L series specifications, and P-661.

Earthwork associated with construction of the building pad, including the area within the building boundary line, will be specified, measured, and paid for under the appropriate earthwork (P series) bid items. Excavation and backfill of building foundation and footings will be subsidiary to Item S142.040.0000.

Payment will also include all labor and materials necessary to connect the fuel oil tank furnished under Item S-143 with the appropriate building heating system.

Payment will be made under:

Item S142.010.0000 Equipment Storage Building (Concrete Floor) – per each

Item S142.020.0000 Equipment Storage Building (Steel Floor on Grade) – per each

Item S142.030.0000 Equipment Storage Building (Steel Floor on Skid) – per each

Item S142.040.0000 Equipment Storage Building – per lump sum